## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1051-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1051-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1051-7_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1051-7_0_5_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_1051-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1051-7_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1051-7_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1051-7_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1051-7_0_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_1051-7_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_1051-7_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1051-7_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1051-7_0_5_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1051-7_0_5_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1051-7_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1051-7_0_5_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1051-7_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1051-7_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1051-7_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1051-7_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1051-7_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1051-7_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1051-7_0_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1051-7_0_5_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_1051-7_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1051-7_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1051-7_0_5_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_1051-7_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1051-7_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1051-7_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1051-7_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1051-7_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1051-7_0_5_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_1051-7_0_5_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1051-7_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1051-7_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1051-7_0_5_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1051-7_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1051-7_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1051-7_0_5_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_1051-7_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1051-7_0_5_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_1051-7_0_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1051-7_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1051-7_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1051-7_0_5_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1051-7_0_5_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_1051-7_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1051-7_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1051-7_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1051-7_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1051-7_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1051-7_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1051-7_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1051-7_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1051-7_0_5_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_1051-7_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_MV_211_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1051-7_0_5_load_0 | 0 | 0.0070955 | 0.0017783 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1051-7_0_5_load_1 | 1 | 0.0046771 | 0.0011722 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1051-7_0_5_load_3 | 2 | 0.0015787 | 0.00039566 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1051-7_0_5_load_40 | 6 | 0.0067906 | 0.0017019 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1051-7_0_5_load_54 | 9 | 0.043662 | 0.010943 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1051-7_0_5_load_36 | 10 | 0.012156 | 0.0030467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1051-7_0_5_load_33 | 12 | 0.004667 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1051-7_0_5_load_32 | 13 | 0.012551 | 0.0031455 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1051-7_0_5_load_50 | 15 | 0.011877 | 0.0029768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1051-7_0_5_load_49 | 17 | 0.025729 | 0.0064483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1051-7_0_5_load_34 | 20 | 0.008788 | 0.0022025 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1051-7_0_5_load_61 | 23 | 0.0098421 | 0.0024667 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1051-7_0_5_load_63 | 26 | 0.003553 | 0.00089046 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1051-7_0_5_load_57 | 32 | 0.020554 | 0.0051512 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1051-7_0_5_load_53 | 33 | 0.0095901 | 0.0024035 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1051-7_0_5_load_56 | 36 | 0.025549 | 0.0064031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1051-7_0_5_load_46 | 37 | 0.0059823 | 0.0014993 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1051-7_0_5_load_51 | 38 | 0.0012616 | 0.00031619 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1051-7_0_5_load_62 | 39 | 0.0079776 | 0.0019994 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1051-7_0_5_load_55 | 42 | 0.015521 | 0.0038901 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1051-7_0_5_load_35 | 44 | 0.0094196 | 0.0023608 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1051-7_0_5_load_59 | 45 | 0.014224 | 0.0035648 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1051-7_0_5_load_60 | 46 | 0.020059 | 0.0050273 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1051-7_0_5_load_37 | 49 | 0.0054827 | 0.0013741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1051-7_0_5_load_52 | 50 | 0.0023007 | 0.00057662 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1051-7_0_5_load_39 | 53 | 0.038666 | 0.0096906 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1051-7_0_5_load_41 | 54 | 0.084409 | 0.021155 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1051-7_0_5_load_47 | 56 | 0.0070312 | 0.0017622 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1051-7_0_5_line_0 |  | 0 | 1 | 0.044073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1051-7_0_5_line_1 |  | 1 | 2 | 0.044128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1051-7_0_5_line_2 |  | 2 | 3 | 0.047232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1051-7_0_5_line_3 |  | 3 | 24 | 0.031407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1051-7_0_5_line_4 |  | 4 | 5 | 0.11574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1051-7_0_5_line_5 |  | 4 | 6 | 0.018946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1051-7_0_5_line_6 |  | 5 | 10 | 0.0042026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1051-7_0_5_line_7 |  | 5 | 7 | 0.042411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1051-7_0_5_line_8 |  | 7 | 8 | 0.0096184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1051-7_0_5_line_9 |  | 7 | 9 | 0.058377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1051-7_0_5_line_10 |  | 8 | 33 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1051-7_0_5_line_11 |  | 8 | 11 | 0.075971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1051-7_0_5_line_12 |  | 10 | 44 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1051-7_0_5_line_13 |  | 11 | 12 | 0.0036411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1051-7_0_5_line_14 |  | 11 | 13 | 0.023744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1051-7_0_5_line_15 |  | 12 | 47 | 0.0047956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1051-7_0_5_line_16 |  | 13 | 24 | 0.0061945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1051-7_0_5_line_17 |  | 14 | 15 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1051-7_0_5_line_18 |  | 14 | 16 | 0.039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1051-7_0_5_line_19 |  | 14 | 17 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1051-7_0_5_line_20 |  | 15 | 48 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1051-7_0_5_line_21 |  | 16 | 33 | 0.015904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1051-7_0_5_line_22 |  | 17 | 29 | 0.0091593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1051-7_0_5_line_23 |  | 18 | 19 | 0.05602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1051-7_0_5_line_24 |  | 18 | 20 | 0.017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1051-7_0_5_line_25 |  | 19 | 28 | 0.018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1051-7_0_5_line_26 |  | 21 | 22 | 0.060159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1051-7_0_5_line_27 |  | 21 | 23 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1051-7_0_5_line_28 |  | 22 | 39 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1051-7_0_5_line_29 |  | 25 | 26 | 0.027747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1051-7_0_5_line_30 |  | 25 | 27 | 0.061251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1051-7_0_5_line_31 |  | 27 | 38 | 0.026964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1051-7_0_5_line_32 |  | 27 | 34 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1051-7_0_5_line_33 |  | 28 | 29 | 0.005568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1051-7_0_5_line_34 |  | 30 | 31 | 0.050143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1051-7_0_5_line_35 |  | 30 | 32 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1051-7_0_5_line_36 |  | 31 | 39 | 0.029067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1051-7_0_5_line_37 |  | 32 | 40 | 0.018192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1051-7_0_5_line_38 |  | 34 | 35 | 0.040884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1051-7_0_5_line_39 |  | 34 | 36 | 0.026588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1051-7_0_5_line_40 |  | 35 | 37 | 0.046238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1051-7_0_5_line_41 |  | 37 | 51 | 0.018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1051-7_0_5_line_42 |  | 38 | 50 | 0.010346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1051-7_0_5_line_43 |  | 40 | 41 | 0.011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1051-7_0_5_line_44 |  | 41 | 46 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1051-7_0_5_line_45 |  | 41 | 52 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1051-7_0_5_line_46 |  | 42 | 43 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1051-7_0_5_line_47 |  | 43 | 52 | 0.021976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1051-7_0_5_line_48 |  | 45 | 46 | 0.0018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1051-7_0_5_line_49 |  | 47 | 53 | 0.008198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1051-7_0_5_line_50 |  | 47 | 49 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1051-7_0_5_line_51 |  | 48 | 51 | 0.028538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1051-7_0_5_line_52 |  | 51 | 54 | 0.027609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1051-7_0_5_line_53 |  | 52 | 56 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1051-7_0_5_line_54 |  | 54 | 55 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1051-7_0_5_line_55 |  | 55 | 56 | 0.0087214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1051-7_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 57 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2670375.0103 | 1213672.2558 | 2670414.8952 | 1213691.0071
1 | 2670444.8088 | 1213695.5582 | 2670446.3484 | 1213690.7391 | 2670440.4286 | 1213685.7994 | 2670434.1764 | 1213688.4161 | 2670431.419 | 1213692.2749 | 2670427.2784 | 1213696.8288 | 2670414.8952 | 1213691.0071
2 | 2670439.6464 | 1213741.0694 | 2670436.0662 | 1213722.6266 | 2670442.8699 | 1213701.6271 | 2670444.8088 | 1213695.5582
3 | 2670409.4482 | 1213734.9423 | 2670428.9645 | 1213736.0734 | 2670434.8121 | 1213738.1216 | 2670439.6464 | 1213741.0694
4 | 2670291.6274 | 1213766.9062 | 2670297.0588 | 1213762.3784 | 2670298.7709 | 1213759.5524 | 2670299.9827 | 1213753.4072 | 2670297.5869 | 1213740.7822 | 2670296.6992 | 1213732.3219 | 2670295.8185 | 1213723.9063 | 2670295.1281 | 1213721.2631 | 2670292.6228 | 1213714.0513 | 2670279.844 | 1213715.5127 | 2670270.0474 | 1213715.3083 | 2670265.8791 | 1213714.492 | 2670260.5436 | 1213712.817 | 2670257.3721 | 1213711.212 | 2670253.4939 | 1213708.3423 | 2670248.5981 | 1213704.1598 | 2670240.3229 | 1213696.035
5 | 2670240.3229 | 1213696.035 | 2670236.5221 | 1213699.4813 | 2670234.6279 | 1213702.2941 | 2670231.8192 | 1213712.3327
6 | 2670291.6274 | 1213766.9062 | 2670287.4266 | 1213767.0294
7 | 2670291.6274 | 1213766.9062 | 2670291.648 | 1213767.7291 | 2670291.7111 | 1213770.1092 | 2670296.8522 | 1213770.2365 | 2670301.0192 | 1213772.4425 | 2670304.4237 | 1213774.2505 | 2670309.5399 | 1213776.49 | 2670320.5542 | 1213775.1968 | 2670328.6179 | 1213771.6229
8 | 2670328.6179 | 1213771.6229 | 2670329.2593 | 1213771.3414 | 2670330.9523 | 1213769.4824 | 2670337.2592 | 1213770.5908
9 | 2670328.6179 | 1213771.6229 | 2670327.3536 | 1213795.0783 | 2670325.589 | 1213801.7173 | 2670297.6253 | 1213803.4648
10 | 2670337.2592 | 1213770.5908 | 2670352.5862 | 1213772.013
11 | 2670337.2592 | 1213770.5908 | 2670337.5207 | 1213769.6711 | 2670338.0601 | 1213767.7318 | 2670338.6073 | 1213765.7815 | 2670339.0753 | 1213764.0971 | 2670339.6622 | 1213762.0027 | 2670340.2879 | 1213759.8309 | 2670341.0085 | 1213757.3378 | 2670346.3715 | 1213737.3774 | 2670348.8103 | 1213728.3227 | 2670350.9123 | 1213728.5031 | 2670370.7792 | 1213730.183 | 2670380.8585 | 1213730.8913
12 | 2670275.0095 | 1213768.277 | 2670281.0331 | 1213767.3594 | 2670286.4906 | 1213767.0568 | 2670287.4266 | 1213767.0294
13 | 2670380.8585 | 1213730.8913 | 2670380.0757 | 1213734.4472
14 | 2670380.8585 | 1213730.8913 | 2670390.2146 | 1213732.3804 | 2670392.152 | 1213731.7028 | 2670393.3299 | 1213731.0163 | 2670394.5009 | 1213730.9189 | 2670396.0245 | 1213731.1926 | 2670397.5335 | 1213732.0554 | 2670399.3308 | 1213733.5998 | 2670402.0789 | 1213733.7435 | 2670403.3341 | 1213733.9477
15 | 2670379.0445 | 1213739.1306 | 2670380.0757 | 1213734.4472
16 | 2670409.4482 | 1213734.9423 | 2670403.3341 | 1213733.9477
17 | 2670369.7531 | 1213806.808 | 2670357.0903 | 1213807.8941
18 | 2670369.7531 | 1213806.808 | 2670368.6775 | 1213796.2553 | 2670373.4751 | 1213784.9382 | 2670373.9062 | 1213783.1643 | 2670374.2702 | 1213780.6448 | 2670374.5152 | 1213775.9781 | 2670373.6046 | 1213773.9661 | 2670368.4222 | 1213773.4824
19 | 2670369.7531 | 1213806.808 | 2670388.703 | 1213805.2685
20 | 2670328.845 | 1213810.3166 | 2670357.0903 | 1213807.8941
21 | 2670368.4222 | 1213773.4824 | 2670352.5862 | 1213772.013
22 | 2670397.8323 | 1213804.5268 | 2670388.703 | 1213805.2685
23 | 2670417.4827 | 1213805.2147 | 2670422.9204 | 1213802.0881 | 2670428.1162 | 1213800.7931 | 2670433.9293 | 1213799.9723 | 2670437.0422 | 1213800.098 | 2670439.5999 | 1213800.9287 | 2670442.2122 | 1213802.2716 | 2670448.3449 | 1213806.5467 | 2670451.5025 | 1213804.8162 | 2670455.1042 | 1213799.5777 | 2670457.0989 | 1213797.2665 | 2670463.491 | 1213804.0129
24 | 2670463.491 | 1213804.0129 | 2670468.4607 | 1213821.0473
25 | 2670403.398 | 1213804.07 | 2670407.9186 | 1213807.8479 | 2670412.0472 | 1213804.9393 | 2670415.3102 | 1213802.643 | 2670416.8535 | 1213804.4624 | 2670417.4827 | 1213805.2147
26 | 2670202.5861 | 1213971.9977 | 2670202.8697 | 1213975.6477 | 2670204.0438 | 1213979.7975 | 2670213.9418 | 1214003.5957 | 2670215.4754 | 1214002.3685 | 2670215.0034 | 1214001.1733 | 2670222.124 | 1213998.3109 | 2670232.6332 | 1213994.0875 | 2670234.5685 | 1213993.5767 | 2670236.6563 | 1213993.0231
27 | 2670236.6563 | 1213993.0231 | 2670231.7709 | 1213980.8802
28 | 2670202.5861 | 1213971.9977 | 2670204.2819 | 1213967.3147 | 2670216.0092 | 1213951.8986 | 2670216.7766 | 1213951.3135
29 | 2670335.575 | 1213943.5799 | 2670342.5459 | 1213916.7229
30 | 2670335.575 | 1213943.5799 | 2670334.1289 | 1213943.1848 | 2670330.7028 | 1213929.0466 | 2670328.2148 | 1213920.3896 | 2670328.4959 | 1213915.2341 | 2670329.5427 | 1213910.8437 | 2670333.3101 | 1213899.9146 | 2670336.7369 | 1213897.8981 | 2670337.1959 | 1213897.6256 | 2670340.0577 | 1213895.8471 | 2670341.1773 | 1213893.0252 | 2670341.9457 | 1213889.054
31 | 2670341.9457 | 1213889.054 | 2670343.5072 | 1213880.9673 | 2670356.0383 | 1213867.0493
32 | 2670330.4273 | 1213877.0773 | 2670333.2697 | 1213878.2338 | 2670335.5779 | 1213880.2511 | 2670336.7638 | 1213882.0996 | 2670337.4838 | 1213884.165 | 2670337.7013 | 1213886.3356 | 2670341.9457 | 1213889.054
33 | 2670397.8323 | 1213804.5268 | 2670403.398 | 1213804.07
34 | 2670239.8924 | 1213933.6905 | 2670256.732 | 1213920.8475 | 2670257.9644 | 1213918.7495 | 2670257.9895 | 1213912.7572 | 2670257.9975 | 1213911.4342 | 2670257.4013 | 1213905.946 | 2670257.0923 | 1213903.1628 | 2670256.8256 | 1213900.6581 | 2670256.7157 | 1213899.6673 | 2670249.363 | 1213900.3033
35 | 2670249.363 | 1213900.3033 | 2670247.6512 | 1213883.9255
36 | 2670239.8924 | 1213933.6905 | 2670216.7766 | 1213951.3135
37 | 2670245.7053 | 1213865.8385 | 2670246.1819 | 1213869.8689 | 2670247.6512 | 1213883.9255
38 | 2670311.4022 | 1213884.5688 | 2670312.9574 | 1213889.2457 | 2670314.8864 | 1213895.0721 | 2670318.3021 | 1213893.3446 | 2670321.0302 | 1213891.9648 | 2670319.5572 | 1213889.3346 | 2670318.9997 | 1213886.3706 | 2670319.4223 | 1213883.3848 | 2670320.7834 | 1213880.6881 | 2670322.9353 | 1213878.5677 | 2670325.2587 | 1213877.361 | 2670327.8169 | 1213876.8575 | 2670330.4273 | 1213877.0773
39 | 2670330.4273 | 1213877.0773 | 2670348.6112 | 1213857.6799
40 | 2670311.4022 | 1213884.5688 | 2670309.9425 | 1213880.1711 | 2670305.7758 | 1213838.7764
41 | 2670303.9727 | 1213820.8634 | 2670305.7758 | 1213838.7764
42 | 2670356.0383 | 1213867.0493 | 2670362.9611 | 1213859.3604
43 | 2670244.3514 | 1213854.3931 | 2670245.7053 | 1213865.8385
44 | 2670244.3514 | 1213854.3931 | 2670230.1828 | 1213855.6984
45 | 2670239.4472 | 1213828.3635 | 2670243.0524 | 1213847.9516 | 2670243.7988 | 1213849.717 | 2670244.3514 | 1213854.3931
46 | 2670253.515 | 1213818.056 | 2670251.9932 | 1213802.1705
47 | 2670239.4472 | 1213828.3635 | 2670239.5592 | 1213822.083 | 2670239.585 | 1213820.5379 | 2670245.4688 | 1213819.5177 | 2670253.515 | 1213818.056
48 | 2670228.3346 | 1213855.8687 | 2670230.1828 | 1213855.6984
49 | 2670379.0445 | 1213739.1306 | 2670377.2865 | 1213747.1371
50 | 2670379.0445 | 1213739.1306 | 2670382.0624 | 1213740.2336 | 2670383.6568 | 1213744.1548 | 2670387.7955 | 1213745.549
51 | 2670303.9727 | 1213820.8634 | 2670317.5781 | 1213820.1455 | 2670327.6586 | 1213811.7257 | 2670328.845 | 1213810.3166
52 | 2670303.9727 | 1213820.8634 | 2670287.3847 | 1213823.2916 | 2670276.6339 | 1213824.7124
53 | 2670239.4472 | 1213828.3635 | 2670252.7787 | 1213827.1134
54 | 2670261.462 | 1213826.2992 | 2670272.169 | 1213825.3025 | 2670276.6339 | 1213824.7124
55 | 2670261.462 | 1213826.2992 | 2670252.7787 | 1213827.1134

## bus_geodata
| x | y | coords
0 | 2670375.0103 | 1213672.2558
1 | 2670414.8952 | 1213691.0071
2 | 2670444.8088 | 1213695.5582
3 | 2670439.6464 | 1213741.0694
4 | 2670240.3229 | 1213696.035
5 | 2670291.6274 | 1213766.9062
6 | 2670231.8192 | 1213712.3327
7 | 2670328.6179 | 1213771.6229
8 | 2670337.2592 | 1213770.5908
9 | 2670297.6253 | 1213803.4648
10 | 2670287.4266 | 1213767.0294
11 | 2670380.8585 | 1213730.8913
12 | 2670380.0757 | 1213734.4472
13 | 2670403.3341 | 1213733.9477
14 | 2670369.7531 | 1213806.808
15 | 2670357.0903 | 1213807.8941
16 | 2670368.4222 | 1213773.4824
17 | 2670388.703 | 1213805.2685
18 | 2670463.491 | 1213804.0129
19 | 2670417.4827 | 1213805.2147
20 | 2670468.4607 | 1213821.0473
21 | 2670236.6563 | 1213993.0231
22 | 2670202.5861 | 1213971.9977
23 | 2670231.7709 | 1213980.8802
24 | 2670409.4482 | 1213734.9423
25 | 2670335.575 | 1213943.5799
26 | 2670342.5459 | 1213916.7229
27 | 2670341.9457 | 1213889.054
28 | 2670403.398 | 1213804.07
29 | 2670397.8323 | 1213804.5268
30 | 2670249.363 | 1213900.3033
31 | 2670239.8924 | 1213933.6905
32 | 2670247.6512 | 1213883.9255
33 | 2670352.5862 | 1213772.013
34 | 2670330.4273 | 1213877.0773
35 | 2670311.4022 | 1213884.5688
36 | 2670348.6112 | 1213857.6799
37 | 2670305.7758 | 1213838.7764
38 | 2670356.0383 | 1213867.0493
39 | 2670216.7766 | 1213951.3135
40 | 2670245.7053 | 1213865.8385
41 | 2670244.3514 | 1213854.3931
42 | 2670251.9932 | 1213802.1705
43 | 2670253.515 | 1213818.056
44 | 2670275.0095 | 1213768.277
45 | 2670228.3346 | 1213855.8687
46 | 2670230.1828 | 1213855.6984
47 | 2670379.0445 | 1213739.1306
48 | 2670328.845 | 1213810.3166
49 | 2670387.7954 | 1213745.549
50 | 2670362.9611 | 1213859.3604
51 | 2670303.9727 | 1213820.8634
52 | 2670239.4472 | 1213828.3635
53 | 2670377.2865 | 1213747.1371
54 | 2670276.6339 | 1213824.7124
55 | 2670261.462 | 1213826.2992
56 | 2670252.7787 | 1213827.1134
57 | 2670328.845 | 1213810.3166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98093 | -0.36757 | 0.0070955 | 0.0017783
1 | 0.98122 | -0.36191 | 0.0046771 | 0.0011722
2 | 0.9817 | -0.35251 | 0.0015787 | 0.00039566
3 | 0.98229 | -0.34111 | 0 | 0
4 | 0.98609 | -0.26712 | 0 | 0
5 | 0.98681 | -0.25303 | 0 | 0
6 | 0.98597 | -0.26942 | 0.0067906 | 0.0017019
7 | 0.98792 | -0.23152 | 0 | 0
8 | 0.98856 | -0.21915 | 0 | 0
9 | 0.98557 | -0.27715 | 0.043662 | 0.010943
10 | 0.98673 | -0.25466 | 0.012156 | 0.0030467
11 | 0.98332 | -0.32095 | 0 | 0
12 | 0.98315 | -0.32415 | 0.004667 | 0.0011697
13 | 0.98275 | -0.33204 | 0.012551 | 0.0031455
14 | 0.99358 | -0.12245 | 0 | 0
15 | 0.99469 | -0.10106 | 0.011877 | 0.0029768
16 | 0.99074 | -0.17693 | 0 | 0
17 | 0.99298 | -0.13404 | 0.025729 | 0.0064483
18 | 0.99226 | -0.14789 | 0 | 0
19 | 0.99271 | -0.13918 | 0 | 0
20 | 0.99212 | -0.15065 | 0.008788 | 0.0022025
21 | 0.98943 | -0.20363 | 0 | 0
22 | 0.98998 | -0.1931 | 0 | 0
23 | 0.98932 | -0.20593 | 0.0098421 | 0.0024667
24 | 0.98267 | -0.33353 | 0 | 0
25 | 0.99646 | -0.067977 | 0 | 0
26 | 0.99637 | -0.069707 | 0.003553 | 0.00089046
27 | 0.99666 | -0.064155 | 0 | 0
28 | 0.99286 | -0.13633 | 0 | 0
29 | 0.99291 | -0.13547 | 0 | 0
30 | 0.9915 | -0.1636 | 0 | 0
31 | 0.99068 | -0.17946 | 0 | 0
32 | 0.99177 | -0.1584 | 0.020554 | 0.0051512
33 | 0.9896 | -0.19903 | 0.0095901 | 0.0024035
34 | 0.99678 | -0.061939 | 0 | 0
35 | 0.99799 | -0.038537 | 0 | 0
36 | 0.99616 | -0.073863 | 0.025549 | 0.0064031
37 | 0.99937 | -0.012137 | 0.0059823 | 0.0014993
38 | 0.99657 | -0.065841 | 0.0012616 | 0.00031619
39 | 0.9902 | -0.18867 | 0.0079776 | 0.0019994
40 | 0.9924 | -0.14603 | 0 | 0
41 | 0.99281 | -0.13821 | 0 | 0
42 | 0.99404 | -0.11454 | 0.015521 | 0.0038901
43 | 0.99426 | -0.11017 | 0 | 0
44 | 0.98662 | -0.25676 | 0.0094196 | 0.0023608
45 | 0.99234 | -0.1473 | 0.014224 | 0.0035648
46 | 0.99236 | -0.14684 | 0.020059 | 0.0050273
47 | 0.98296 | -0.32797 | 0 | 0
48 | 0.99734 | -0.050561 | 0 | 0
49 | 0.9829 | -0.32914 | 0.0054827 | 0.0013741
50 | 0.99655 | -0.066259 | 0.0023007 | 0.00057662
51 | 1 | 0 | -0.42616 | -0.10774
52 | 0.99457 | -0.10416 | 0 | 0
53 | 0.98267 | -0.33369 | 0.038666 | 0.0096906
54 | 0.99774 | -0.043318 | 0.084409 | 0.021155
55 | 0.99641 | -0.068787 | 0 | 0
56 | 0.99565 | -0.083377 | 0.0070312 | 0.0017622
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0070955 | -0.0017783 | 0.0070974 | 0.001779 | 1.9147e-06 | 6.6887e-07 | 0.010763 | 0.010763 | 0.010763 | 0.98093 | -0.36757 | 0.98122 | -0.36191 | 2.957
1 | -0.011774 | -0.0029512 | 0.01178 | 0.002954 | 5.276e-06 | 2.819e-06 | 0.017856 | 0.017856 | 0.017856 | 0.98122 | -0.36191 | 0.9817 | -0.35251 | 4.9055
2 | -0.013358 | -0.0033496 | 0.013366 | 0.0033537 | 7.2621e-06 | 4.0502e-06 | 0.020249 | 0.020248 | 0.020249 | 0.9817 | -0.35251 | 0.98229 | -0.34111 | 5.5628
3 | -0.013366 | -0.0033537 | 0.013371 | 0.0033564 | 4.8288e-06 | 2.6927e-06 | 0.020248 | 0.020248 | 0.020248 | 0.98229 | -0.34111 | 0.98267 | -0.33353 | 5.5628
4 | -0.0067914 | -0.0017021 | 0.006796 | 0.0017036 | 4.5582e-06 | 1.4397e-06 | 0.010248 | 0.010248 | 0.010248 | 0.98609 | -0.26712 | 0.98681 | -0.25303 | 2.8155
5 | 0.0067914 | 0.0017021 | -0.0067906 | -0.0017019 | 7.4619e-07 | 2.359e-07 | 0.010248 | 0.010248 | 0.010248 | 0.98609 | -0.26712 | 0.98597 | -0.26942 | 2.8155
6 | 0.021579 | 0.0054089 | -0.021577 | -0.0054079 | 1.6686e-06 | 1.0142e-06 | 0.032539 | 0.032539 | 0.032539 | 0.98681 | -0.25303 | 0.98673 | -0.25466 | 8.9392
7 | -0.028375 | -0.0071125 | 0.028404 | 0.0071306 | 2.9115e-05 | 1.8091e-05 | 0.042786 | 0.042786 | 0.042786 | 0.98681 | -0.25303 | 0.98792 | -0.23152 | 11.7545
8 | -0.072161 | -0.018133 | 0.072203 | 0.018161 | 4.2623e-05 | 2.7156e-05 | 0.10871 | 0.10871 | 0.10871 | 0.98792 | -0.23152 | 0.98856 | -0.21915 | 29.8644
9 | 0.043757 | 0.011003 | -0.043662 | -0.010943 | 9.5129e-05 | 6.0137e-05 | 0.06592 | 0.065921 | 0.065921 | 0.98792 | -0.23152 | 0.98557 | -0.27715 | 18.11
10 | -0.14735 | -0.037155 | 0.14749 | 0.037245 | 0.00014208 | 9.0534e-05 | 0.22187 | 0.22187 | 0.22187 | 0.98856 | -0.21915 | 0.9896 | -0.19903 | 30.477
11 | 0.075143 | 0.018994 | -0.074778 | -0.018762 | 0.00036485 | 0.00023253 | 0.11317 | 0.11317 | 0.11317 | 0.98856 | -0.21915 | 0.98332 | -0.32095 | 31.0896
12 | 0.0094205 | 0.0023612 | -0.0094196 | -0.0023608 | 9.457e-07 | 4.4565e-07 | 0.014206 | 0.014207 | 0.014207 | 0.98673 | -0.25466 | 0.98662 | -0.25676 | 3.9029
13 | 0.048842 | 0.012251 | -0.048835 | -0.012246 | 7.4597e-06 | 4.728e-06 | 0.073914 | 0.073914 | 0.073914 | 0.98332 | -0.32095 | 0.98315 | -0.32415 | 20.3062
14 | 0.025936 | 0.0065109 | -0.025922 | -0.0065024 | 1.3719e-05 | 8.4788e-06 | 0.039252 | 0.039252 | 0.039252 | 0.98332 | -0.32095 | 0.98275 | -0.33204 | 10.7835
15 | 0.044168 | 0.011077 | -0.04416 | -0.011071 | 8.0369e-06 | 5.0828e-06 | 0.066851 | 0.066851 | 0.066851 | 0.98315 | -0.32415 | 0.98296 | -0.32797 | 18.3657
16 | 0.013372 | 0.0033569 | -0.013371 | -0.0033564 | 9.5239e-07 | 5.3105e-07 | 0.020248 | 0.020248 | 0.020248 | 0.98275 | -0.33204 | 0.98267 | -0.33353 | 5.5627
17 | -0.1922 | -0.048684 | 0.1924 | 0.04881 | 0.00019769 | 0.00012619 | 0.28803 | 0.28803 | 0.28803 | 0.99358 | -0.12245 | 0.99469 | -0.10106 | 39.5642
18 | 0.15766 | 0.040018 | -0.15724 | -0.039755 | 0.00041202 | 0.00026268 | 0.23629 | 0.23629 | 0.23629 | 0.99358 | -0.12245 | 0.99074 | -0.17693 | 32.4577
19 | 0.034543 | 0.0086658 | -0.034524 | -0.0086539 | 1.9083e-05 | 1.1967e-05 | 0.051736 | 0.051736 | 0.051736 | 0.99358 | -0.12245 | 0.99298 | -0.13404 | 14.2132
20 | -0.20428 | -0.051787 | 0.20477 | 0.052104 | 0.00049705 | 0.00031738 | 0.3058 | 0.3058 | 0.3058 | 0.99469 | -0.10106 | 0.99734 | -0.050561 | 42.0049
21 | 0.15724 | 0.039755 | -0.15708 | -0.039649 | 0.0001665 | 0.00010615 | 0.23629 | 0.23629 | 0.23629 | 0.99074 | -0.17693 | 0.9896 | -0.19903 | 32.4577
22 | 0.0087949 | 0.0022055 | -0.0087943 | -0.0022053 | 5.9666e-07 | 2.6339e-07 | 0.01318 | 0.01318 | 0.01318 | 0.99298 | -0.13404 | 0.99291 | -0.13547 | 3.6209
23 | -0.0087891 | -0.002203 | 0.0087928 | 0.0022046 | 3.6494e-06 | 1.6117e-06 | 0.01318 | 0.01318 | 0.01318 | 0.99226 | -0.14789 | 0.99271 | -0.13918 | 3.621
24 | 0.0087891 | 0.002203 | -0.008788 | -0.0022025 | 1.156e-06 | 5.1066e-07 | 0.01318 | 0.01318 | 0.01318 | 0.99226 | -0.14789 | 0.99212 | -0.15065 | 3.621
25 | -0.0087928 | -0.0022046 | 0.008794 | 0.0022051 | 1.192e-06 | 5.2627e-07 | 0.01318 | 0.01318 | 0.01318 | 0.99271 | -0.13918 | 0.99286 | -0.13633 | 3.6209
26 | -0.0098432 | -0.0024672 | 0.0098481 | 0.0024696 | 4.9436e-06 | 2.3908e-06 | 0.014803 | 0.014803 | 0.014803 | 0.98943 | -0.20363 | 0.98998 | -0.1931 | 4.0668
27 | 0.0098432 | 0.0024672 | -0.0098421 | -0.0024667 | 1.0756e-06 | 5.203e-07 | 0.014803 | 0.014803 | 0.014803 | 0.98943 | -0.20363 | 0.98932 | -0.20593 | 4.0669
28 | -0.0098481 | -0.0024696 | 0.0098502 | 0.0024706 | 2.0802e-06 | 1.0058e-06 | 0.014803 | 0.014803 | 0.014803 | 0.98998 | -0.1931 | 0.9902 | -0.18867 | 4.0668
29 | 0.0035533 | 0.00089029 | -0.003553 | -0.00089046 | 2.9295e-07 | -1.7393e-07 | 0.005306 | 0.0053062 | 0.0053062 | 0.99646 | -0.067977 | 0.99637 | -0.069707 | 1.4577
30 | -0.0035533 | -0.00089029 | 0.0035539 | 0.00088991 | 6.4664e-07 | -3.8421e-07 | 0.005306 | 0.0053057 | 0.005306 | 0.99646 | -0.067977 | 0.99666 | -0.064155 | 1.4577
31 | 0.0035627 | 0.00089254 | -0.0035624 | -0.0008927 | 2.8608e-07 | -1.6827e-07 | 0.005319 | 0.0053191 | 0.0053191 | 0.99666 | -0.064155 | 0.99657 | -0.065841 | 1.4613
32 | -0.0071166 | -0.0017824 | 0.0071174 | 0.0017827 | 7.5094e-07 | 2.4939e-07 | 0.010625 | 0.010625 | 0.010625 | 0.99666 | -0.064155 | 0.99678 | -0.061939 | 2.9189
33 | -0.008794 | -0.0022051 | 0.0087943 | 0.0022053 | 3.6271e-07 | 1.6012e-07 | 0.01318 | 0.01318 | 0.01318 | 0.99286 | -0.13633 | 0.99291 | -0.13547 | 3.6209
34 | 0.017849 | 0.0044826 | -0.017836 | -0.0044746 | 1.3497e-05 | 7.9916e-06 | 0.026791 | 0.026791 | 0.026791 | 0.9915 | -0.1636 | 0.99068 | -0.17946 | 7.3602
35 | -0.017849 | -0.0044826 | 0.017854 | 0.0044852 | 4.4322e-06 | 2.6242e-06 | 0.026791 | 0.026791 | 0.026791 | 0.9915 | -0.1636 | 0.99177 | -0.1584 | 7.3601
36 | 0.017836 | 0.0044746 | -0.017828 | -0.00447 | 7.8238e-06 | 4.6332e-06 | 0.026791 | 0.026791 | 0.026791 | 0.99068 | -0.17946 | 0.9902 | -0.18867 | 7.3602
37 | -0.038407 | -0.0096365 | 0.03843 | 0.0096507 | 2.2656e-05 | 1.4265e-05 | 0.057629 | 0.057629 | 0.057629 | 0.99177 | -0.1584 | 0.9924 | -0.14603 | 15.8321
38 | -0.03268 | -0.0081947 | 0.032717 | 0.0082175 | 3.6492e-05 | 2.2822e-05 | 0.048788 | 0.048788 | 0.048788 | 0.99678 | -0.061939 | 0.99799 | -0.038537 | 13.4032
39 | 0.025563 | 0.006412 | -0.025549 | -0.0064031 | 1.4521e-05 | 8.9472e-06 | 0.038163 | 0.038163 | 0.038163 | 0.99678 | -0.061939 | 0.99616 | -0.073863 | 10.4844
40 | -0.032717 | -0.0082175 | 0.032758 | 0.0082433 | 4.1271e-05 | 2.5808e-05 | 0.048788 | 0.048787 | 0.048788 | 0.99799 | -0.038537 | 0.99937 | -0.012137 | 13.4032
41 | -0.038741 | -0.0097426 | 0.038763 | 0.0097568 | 2.2473e-05 | 1.4147e-05 | 0.057695 | 0.057695 | 0.057695 | 0.99937 | -0.012137 | 1 | 0 | 15.8502
42 | 0.0023008 | 0.00057651 | -0.0023007 | -0.00057662 | 4.5788e-08 | -1.055e-07 | 0.0034353 | 0.0034354 | 0.0034354 | 0.99657 | -0.065841 | 0.99655 | -0.066259 | 0.94378
43 | -0.03843 | -0.0096507 | 0.038444 | 0.0096598 | 1.4356e-05 | 9.0387e-06 | 0.057629 | 0.057629 | 0.057629 | 0.9924 | -0.14603 | 0.99281 | -0.13821 | 15.8321
44 | 0.034297 | 0.008601 | -0.034283 | -0.0085922 | 1.41e-05 | 8.8401e-06 | 0.051406 | 0.051406 | 0.051406 | 0.99281 | -0.13821 | 0.99236 | -0.14684 | 14.1226
45 | -0.072741 | -0.018261 | 0.07286 | 0.018336 | 0.00011834 | 7.5393e-05 | 0.10903 | 0.10903 | 0.10903 | 0.99281 | -0.13821 | 0.99457 | -0.10416 | 29.9546
46 | -0.015521 | -0.0038901 | 0.015525 | 0.0038919 | 3.2307e-06 | 1.8607e-06 | 0.023235 | 0.023235 | 0.023235 | 0.99404 | -0.11454 | 0.99426 | -0.11017 | 6.3832
47 | -0.015525 | -0.0038919 | 0.015529 | 0.0038945 | 4.4489e-06 | 2.5622e-06 | 0.023235 | 0.023235 | 0.023235 | 0.99426 | -0.11017 | 0.99457 | -0.10416 | 6.3832
48 | -0.014224 | -0.0035648 | 0.014224 | 0.0035649 | 3.1662e-07 | 1.7866e-07 | 0.021328 | 0.021328 | 0.021328 | 0.99234 | -0.1473 | 0.99236 | -0.14684 | 5.8594
49 | 0.038677 | 0.0096973 | -0.038666 | -0.0096906 | 1.0539e-05 | 6.6412e-06 | 0.058551 | 0.058551 | 0.058551 | 0.98296 | -0.32797 | 0.98267 | -0.33369 | 16.0854
50 | 0.005483 | 0.0013741 | -0.0054827 | -0.0013741 | 3.052e-07 | 4.5593e-08 | 0.0083002 | 0.0083003 | 0.0083003 | 0.98296 | -0.32797 | 0.9829 | -0.32914 | 2.2803
51 | -0.20477 | -0.052104 | 0.20527 | 0.052423 | 0.00050036 | 0.00031949 | 0.3058 | 0.30579 | 0.3058 | 0.99734 | -0.050561 | 1 | 0 | 42.0048
52 | 0.18047 | 0.045559 | -0.1801 | -0.045321 | 0.00037366 | 0.00023842 | 0.26866 | 0.26866 | 0.26866 | 1 | 0 | 0.99774 | -0.043318 | 36.9044
53 | -0.088389 | -0.022231 | 0.088477 | 0.022287 | 8.7847e-05 | 5.6048e-05 | 0.13227 | 0.13227 | 0.13227 | 0.99457 | -0.10416 | 0.99565 | -0.083377 | 36.3377
54 | 0.095691 | 0.024166 | -0.095574 | -0.024091 | 0.00011663 | 7.4446e-05 | 0.14278 | 0.14278 | 0.14278 | 0.99774 | -0.043318 | 0.99641 | -0.068787 | 39.2246
55 | 0.095574 | 0.024091 | -0.095508 | -0.024049 | 6.6671e-05 | 4.2556e-05 | 0.14278 | 0.14278 | 0.14278 | 0.99641 | -0.068787 | 0.99565 | -0.083377 | 39.2246

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42616 | 0.10774

## res_load
| p_mw | q_mvar
0 | 0.0070955 | 0.0017783
1 | 0.0046771 | 0.0011722
2 | 0.0015787 | 0.00039566
3 | 0.0067906 | 0.0017019
4 | 0.043662 | 0.010943
5 | 0.012156 | 0.0030467
6 | 0.004667 | 0.0011697
7 | 0.012551 | 0.0031455
8 | 0.011877 | 0.0029768
9 | 0.025729 | 0.0064483
10 | 0.008788 | 0.0022025
11 | 0.0098421 | 0.0024667
12 | 0.003553 | 0.00089046
13 | 0.020554 | 0.0051512
14 | 0.0095901 | 0.0024035
15 | 0.025549 | 0.0064031
16 | 0.0059823 | 0.0014993
17 | 0.0012616 | 0.00031619
18 | 0.0079776 | 0.0019994
19 | 0.015521 | 0.0038901
20 | 0.0094196 | 0.0023608
21 | 0.014224 | 0.0035648
22 | 0.020059 | 0.0050273
23 | 0.0054827 | 0.0013741
24 | 0.0023007 | 0.00057662
25 | 0.038666 | 0.0096906
26 | 0.084409 | 0.021155
27 | 0.0070312 | 0.0017622

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1