## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1051-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1051-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1051-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1051-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1051-9_0_4_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_1051-9_0_4_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_1051-9_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1051-9_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1051-9_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1051-9_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_1051-9_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1051-9_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1051-9_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1051-9_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1051-9_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1051-9_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1051-9_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1051-9_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1051-9_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1051-9_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1051-9_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1051-9_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1051-9_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1051-9_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_1051-9_0_4_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_1051-9_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1051-9_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1051-9_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1051-9_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_1051-9_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1051-9_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1051-9_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1051-9_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1051-9_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1051-9_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1051-9_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1051-9_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1051-9_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1051-9_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1051-9_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1051-9_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1051-9_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1051-9_0_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1051-9_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_1051-9_0_4_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_1051-9_0_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_1051-9_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1051-9_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_1051-9_0_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_1051-9_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1051-9_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1051-9_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1051-9_0_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1051-9_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_1051-9_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1051-9_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1051-9_0_4_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1051-9_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_1051-9_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_1051-9_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1051-9_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_1051-9_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_1051-9_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1051-9_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_1051-9_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1051-9_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1051-9_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_1051-9_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_1051-9_0_4_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_1051-9_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_1051-9_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_1051-9_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_1051-9_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1051-9_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_1051-9_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1051-9_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_1051-9_0_4_node_81 | 0.4 | n |  | TRUE
77 | bus_MV_211_0_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1051-9_0_4_load_0 | 0 | 0.0019695 | 0.00049361 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1051-9_0_4_load_1 | 1 | 0.0018921 | 0.00047421 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1051-9_0_4_load_2 | 2 | 0.0031164 | 0.00078104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1051-9_0_4_load_32 | 4 | 0.0019214 | 0.00048155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1051-9_0_4_load_37 | 6 | 0.0019965 | 0.00050038 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1051-9_0_4_load_47 | 8 | 0.0019425 | 0.00048682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1051-9_0_4_load_44 | 9 | 0.0073016 | 0.00183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1051-9_0_4_load_4 | 10 | 0.0028773 | 0.00072111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1051-9_0_4_load_27 | 15 | 0.0025663 | 0.00064318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1051-9_0_4_load_52 | 17 | 0.00042378 | 0.00010621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1051-9_0_4_load_40 | 18 | 0.023732 | 0.0059478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1051-9_0_4_load_58 | 23 | 0.0035949 | 0.00090097 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1051-9_0_4_load_64 | 24 | 0.0018868 | 0.00047287 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1051-9_0_4_load_56 | 26 | 0.00062802 | 0.0001574 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1051-9_0_4_load_55 | 27 | 0.0037914 | 0.00095021 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1051-9_0_4_load_76 | 28 | 0.0042591 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1051-9_0_4_load_36 | 30 | 0.0023388 | 0.00058617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1051-9_0_4_load_35 | 31 | 0.003803 | 0.00095313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1051-9_0_4_load_43 | 36 | 0.056453 | 0.014148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1051-9_0_4_load_29 | 37 | 0.005581 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1051-9_0_4_load_28 | 38 | 0.025966 | 0.0065076 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1051-9_0_4_load_51 | 40 | 0.060984 | 0.015284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1051-9_0_4_load_70 | 42 | 0.0021854 | 0.00054772 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1051-9_0_4_load_82 | 43 | 0.0073197 | 0.0018345 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1051-9_0_4_load_73 | 44 | 0.021569 | 0.0054057 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1051-9_0_4_load_68 | 45 | 0.019596 | 0.0049112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1051-9_0_4_load_26 | 46 | 0.0024554 | 0.00061538 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1051-9_0_4_load_69 | 47 | 0.048226 | 0.012087 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1051-9_0_4_load_39 | 49 | 0.0019612 | 0.00049152 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1051-9_0_4_load_57 | 50 | 0.0041738 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1051-9_0_4_load_62 | 51 | 0.00049349 | 0.00012368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1051-9_0_4_load_74 | 52 | 0.0011409 | 0.00028592 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1051-9_0_4_load_31 | 53 | 0.0038798 | 0.00097236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1051-9_0_4_load_71 | 56 | 0.0028531 | 0.00071506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1051-9_0_4_load_38 | 58 | 0.0030618 | 0.00076735 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1051-9_0_4_load_79 | 61 | 0.0019708 | 0.00049394 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1051-9_0_4_load_46 | 62 | 0.0014554 | 0.00036477 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1051-9_0_4_load_49 | 63 | 0.0017533 | 0.00043943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1051-9_0_4_load_50 | 64 | 0.0032661 | 0.00081857 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1051-9_0_4_load_53 | 65 | 0.038114 | 0.0095522 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1051-9_0_4_load_77 | 66 | 0.0033911 | 0.00084988 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1051-9_0_4_load_54 | 67 | 0.00037603 | 9.4242e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1051-9_0_4_load_78 | 68 | 0.0035502 | 0.00088977 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1051-9_0_4_load_60 | 69 | 0.001431 | 0.00035865 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1051-9_0_4_load_75 | 70 | 0.00087597 | 0.00021954 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1051-9_0_4_load_59 | 71 | 0.0042982 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1051-9_0_4_load_61 | 72 | 0.0028234 | 0.00070761 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1051-9_0_4_load_65 | 73 | 0.088265 | 0.022121 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1051-9_0_4_load_80 | 75 | 0.0057243 | 0.0014346 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1051-9_0_4_load_81 | 76 | 0.0025042 | 0.00062761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1051-9_0_4_line_0 |  | 0 | 1 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1051-9_0_4_line_1 |  | 0 | 2 | 0.0073877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1051-9_0_4_line_2 |  | 1 | 3 | 0.021473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1051-9_0_4_line_3 |  | 3 | 4 | 0.0052108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1051-9_0_4_line_4 |  | 3 | 5 | 0.036087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1051-9_0_4_line_5 |  | 4 | 6 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1051-9_0_4_line_6 |  | 5 | 9 | 0.034174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1051-9_0_4_line_7 |  | 5 | 7 | 0.035099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1051-9_0_4_line_8 |  | 6 | 58 | 0.006965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1051-9_0_4_line_9 |  | 7 | 8 | 0.0026477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1051-9_0_4_line_10 |  | 8 | 59 | 0.061474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1051-9_0_4_line_11 |  | 9 | 60 | 0.037388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1051-9_0_4_line_12 |  | 10 | 11 | 0.012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1051-9_0_4_line_13 |  | 11 | 12 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1051-9_0_4_line_14 |  | 11 | 13 | 0.066658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1051-9_0_4_line_15 |  | 12 | 14 | 0.17577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1051-9_0_4_line_16 |  | 12 | 15 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1051-9_0_4_line_17 |  | 13 | 38 | 0.054793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1051-9_0_4_line_18 |  | 13 | 29 | 0.053968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1051-9_0_4_line_19 |  | 14 | 43 | 0.008432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1051-9_0_4_line_20 |  | 14 | 41 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1051-9_0_4_line_21 |  | 15 | 46 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1051-9_0_4_line_22 |  | 16 | 17 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1051-9_0_4_line_23 |  | 16 | 18 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1051-9_0_4_line_24 |  | 17 | 19 | 0.014921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1051-9_0_4_line_25 |  | 18 | 49 | 0.020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1051-9_0_4_line_26 |  | 19 | 20 | 0.047931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1051-9_0_4_line_27 |  | 19 | 21 | 0.098089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1051-9_0_4_line_28 |  | 20 | 28 | 0.049072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1051-9_0_4_line_29 |  | 20 | 22 | 0.021414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1051-9_0_4_line_30 |  | 21 | 44 | 0.007591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1051-9_0_4_line_31 |  | 21 | 45 | 0.0024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1051-9_0_4_line_32 |  | 22 | 23 | 0.041852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1051-9_0_4_line_33 |  | 22 | 24 | 0.036974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1051-9_0_4_line_34 |  | 23 | 50 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1051-9_0_4_line_35 |  | 24 | 51 | 0.026611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1051-9_0_4_line_36 |  | 25 | 26 | 0.030312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1051-9_0_4_line_37 |  | 25 | 27 | 0.029325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1051-9_0_4_line_38 |  | 26 | 52 | 0.026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1051-9_0_4_line_39 |  | 29 | 30 | 0.0099509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1051-9_0_4_line_40 |  | 29 | 31 | 0.027703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1051-9_0_4_line_41 |  | 31 | 32 | 0.009372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1051-9_0_4_line_42 |  | 32 | 33 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1051-9_0_4_line_43 |  | 33 | 53 | 0.027879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1051-9_0_4_line_44 |  | 33 | 37 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1051-9_0_4_line_45 |  | 34 | 35 | 0.12997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1051-9_0_4_line_46 |  | 34 | 36 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1051-9_0_4_line_47 |  | 35 | 37 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1051-9_0_4_line_48 |  | 36 | 54 | 0.0022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1051-9_0_4_line_49 |  | 39 | 40 | 0.015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1051-9_0_4_line_50 |  | 40 | 55 | 0.025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1051-9_0_4_line_51 |  | 41 | 42 | 0.036241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1051-9_0_4_line_52 |  | 42 | 56 | 0.0047911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1051-9_0_4_line_53 |  | 45 | 57 | 0.026524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1051-9_0_4_line_54 |  | 47 | 48 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1051-9_0_4_line_55 |  | 48 | 73 | 0.031101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1051-9_0_4_line_56 |  | 49 | 54 | 0.024899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1051-9_0_4_line_57 |  | 50 | 71 | 0.035446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1051-9_0_4_line_58 |  | 51 | 72 | 0.0092831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1051-9_0_4_line_59 |  | 52 | 70 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1051-9_0_4_line_60 |  | 54 | 55 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1051-9_0_4_line_61 |  | 55 | 60 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1051-9_0_4_line_62 |  | 56 | 74 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1051-9_0_4_line_63 |  | 57 | 73 | 0.049811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1051-9_0_4_line_64 |  | 58 | 61 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1051-9_0_4_line_65 |  | 59 | 63 | 0.0027945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1051-9_0_4_line_66 |  | 59 | 64 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1051-9_0_4_line_67 |  | 60 | 62 | 0.021557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1051-9_0_4_line_68 |  | 63 | 65 | 0.038789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1051-9_0_4_line_69 |  | 64 | 66 | 0.016427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1051-9_0_4_line_70 |  | 65 | 67 | 0.059035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1051-9_0_4_line_71 |  | 66 | 68 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1051-9_0_4_line_72 |  | 67 | 69 | 0.0015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1051-9_0_4_line_73 |  | 69 | 70 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1051-9_0_4_line_74 |  | 74 | 75 | 0.018393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1051-9_0_4_line_75 |  | 75 | 76 | 0.0083073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1051-9_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 77 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2671512.7839 | 1213891.323 | 2671511.1368 | 1213889.1906 | 2671509.3704 | 1213882.5653 | 2671511.0944 | 1213876.8935 | 2671518.6757 | 1213871.3503
1 | 2671517.3001 | 1213897.1696 | 2671512.7839 | 1213891.323
2 | 2671534.1724 | 1213857.1577 | 2671532.0993 | 1213861.5356 | 2671518.6757 | 1213871.3503
3 | 2671534.1724 | 1213857.1577 | 2671539.3383 | 1213856.4748
4 | 2671534.1724 | 1213857.1577 | 2671533.8409 | 1213854.3964 | 2671524.9679 | 1213841.8043 | 2671525.0449 | 1213837.925 | 2671527.9657 | 1213830.6332 | 2671524.1421 | 1213825.7954
5 | 2671539.3383 | 1213856.4748 | 2671543.8003 | 1213853.0484 | 2671547.3875 | 1213845.9314 | 2671548.1588 | 1213843.7481
6 | 2671524.1421 | 1213825.7954 | 2671502.9497 | 1213798.9856
7 | 2671524.1421 | 1213825.7954 | 2671527.9657 | 1213830.6332 | 2671538.7325 | 1213803.7787
8 | 2671550.479 | 1213837.1809 | 2671548.1588 | 1213843.7481
9 | 2671538.7325 | 1213803.7787 | 2671539.7166 | 1213801.3206
10 | 2671548.2817 | 1213741.0536 | 2671548.7803 | 1213765.3305 | 2671545.0388 | 1213784.6645 | 2671543.3125 | 1213790.5253 | 2671541.2619 | 1213797.4606 | 2671539.7166 | 1213801.3206
11 | 2671474.6083 | 1213795.3824 | 2671485.8706 | 1213786.1115 | 2671490.6554 | 1213786.1689 | 2671494.5338 | 1213788.339 | 2671502.9497 | 1213798.9856
12 | 2671551.8023 | 1214045.7662 | 2671552.0741 | 1214045.9028 | 2671553.3442 | 1214047.0299 | 2671554.4863 | 1214049.334 | 2671555.0116 | 1214052.3978 | 2671554.9975 | 1214057.5463
13 | 2671551.8023 | 1214045.7662 | 2671549.4617 | 1214044.5929 | 2671545.4446 | 1214043.8665 | 2671533.9363 | 1214042.0273 | 2671527.3582 | 1214040.7698
14 | 2671551.8023 | 1214045.7662 | 2671551.8825 | 1214044.7776 | 2671552.2634 | 1214040.2571 | 2671560.1841 | 1214040.3967 | 2671567.6742 | 1214034.0158 | 2671573.6657 | 1214029.7183 | 2671578.4237 | 1214026.3066 | 2671581.0889 | 1214029.5407 | 2671585.4377 | 1214026.6799 | 2671593.4508 | 1214022.9293 | 2671595.5039 | 1214022.109 | 2671604.5024 | 1214018.5258
15 | 2671372.6859 | 1213989.9737 | 2671375.9067 | 1213987.4218 | 2671385.6259 | 1213977.5652 | 2671388.4983 | 1213976.1987 | 2671391.684 | 1213975.9478 | 2671394.7063 | 1213976.6511 | 2671398.4158 | 1213978.3299 | 2671405.8527 | 1213982.7217 | 2671451.3969 | 1214010.6514 | 2671468.4162 | 1214020.3948 | 2671479.8105 | 1214026.046 | 2671487.1499 | 1214029.0581 | 2671494.2341 | 1214031.8115 | 2671505.9497 | 1214035.3764 | 2671519.9921 | 1214039.3584 | 2671527.3582 | 1214040.7698
16 | 2671527.3582 | 1214040.7698 | 2671524.8316 | 1214053.1042
17 | 2671604.5024 | 1214018.5258 | 2671610.5167 | 1214016.1299 | 2671616.2643 | 1214011.2736 | 2671626.5702 | 1213996.866 | 2671628.6382 | 1213989.753 | 2671627.2636 | 1213984.6777 | 2671624.5517 | 1213981.5321 | 2671619.4786 | 1213977.8621
18 | 2671562.5868 | 1213996.5422 | 2671568.8704 | 1214004.6116 | 2671577.2015 | 1214014.8625 | 2671582.0101 | 1214017.3551 | 2671588.5691 | 1214018.3011 | 2671593.35 | 1214017.4024 | 2671594.8955 | 1214017.1096 | 2671603.6802 | 1214015.5141 | 2671604.5024 | 1214018.5258
19 | 2671372.6859 | 1213989.9737 | 2671378.1616 | 1213996.3989
20 | 2671372.6859 | 1213989.9737 | 2671369.6951 | 1213992.3506 | 2671368.8686 | 1213993.4969 | 2671368.5449 | 1213995.7945 | 2671365.8825 | 1213998.0196
21 | 2671520.6505 | 1214073.0639 | 2671521.8556 | 1214067.6319 | 2671524.8316 | 1214053.1042
22 | 2671409 | 1213803.7018 | 2671401.3542 | 1213794.1763
23 | 2671409 | 1213803.7018 | 2671420.1785 | 1213795.8365
24 | 2671391.0737 | 1213783.3633 | 2671401.2237 | 1213794.0137 | 2671401.3542 | 1213794.1763
25 | 2671436.64 | 1213794.3714 | 2671429.431 | 1213789.3263 | 2671420.1785 | 1213795.8365
26 | 2671379.9575 | 1213748.0969 | 2671379.1771 | 1213751.7343 | 2671377.0333 | 1213756.3226 | 2671372.2991 | 1213760.2796 | 2671373.2413 | 1213760.8913 | 2671375.5476 | 1213762.3976 | 2671379.663 | 1213765.0819 | 2671381.0725 | 1213765.9993 | 2671383.5523 | 1213767.6078 | 2671386.4165 | 1213769.4766 | 2671387.2682 | 1213770.0316 | 2671386.6955 | 1213772.1816 | 2671386.3212 | 1213776.1685 | 2671386.8009 | 1213778.6092 | 2671388.7559 | 1213780.9118 | 2671391.0737 | 1213783.3633
27 | 2671385.1023 | 1213848.1327 | 2671372.3736 | 1213833.36 | 2671353.6466 | 1213812.0113 | 2671361.1881 | 1213802.6067 | 2671364.0312 | 1213799.8946 | 2671367.2647 | 1213798.1877 | 2671371.4486 | 1213795.7807 | 2671376.7182 | 1213795.3213 | 2671379.2796 | 1213796.4638 | 2671379.9649 | 1213795.6937 | 2671381.7284 | 1213793.6913 | 2671383.5455 | 1213791.6451 | 2671385.1703 | 1213789.8078 | 2671386.8874 | 1213787.8716 | 2671390.3658 | 1213784.122 | 2671391.0737 | 1213783.3633
28 | 2671379.9575 | 1213748.0969 | 2671374.0503 | 1213749.1491 | 2671372.311 | 1213752.308 | 2671370.3473 | 1213755.1641 | 2671367.3324 | 1213757.6407 | 2671364.0255 | 1213757.8568 | 2671360.9636 | 1213757.2754 | 2671338.5601 | 1213744.7495
29 | 2671379.141 | 1213726.8404 | 2671380.7382 | 1213744.4372 | 2671379.9575 | 1213748.0969
30 | 2671390.6114 | 1213842.8954 | 2671385.1023 | 1213848.1327
31 | 2671385.1023 | 1213848.1327 | 2671386.6972 | 1213849.9845
32 | 2671379.141 | 1213726.8404 | 2671377.6964 | 1213713.6258 | 2671375.2032 | 1213687.7575 | 2671374.9919 | 1213685.1954
33 | 2671379.141 | 1213726.8404 | 2671359.8571 | 1213728.5107 | 2671347.1152 | 1213726.2346 | 2671342.8748 | 1213724.2672
34 | 2671372.9734 | 1213660.658 | 2671373.7771 | 1213670.4628 | 2671374.9919 | 1213685.1954
35 | 2671324.1167 | 1213706.4557 | 2671330.197 | 1213716.2037 | 2671337.0303 | 1213721.5555 | 2671342.8748 | 1213724.2672
36 | 2671376.6756 | 1213655.5103 | 2671388.476 | 1213655.8628 | 2671406.0651 | 1213661.6155
37 | 2671376.6756 | 1213655.5103 | 2671374.07 | 1213626.3008
38 | 2671431.3247 | 1213669.8769 | 2671406.0651 | 1213661.6155
39 | 2671562.5868 | 1213996.5422 | 2671565.2341 | 1213994.317 | 2671570.4532 | 1213990.455
40 | 2671562.5868 | 1213996.5422 | 2671552.9146 | 1213984.1072 | 2671545.1954 | 1213974.9858
41 | 2671539.1412 | 1213967.8317 | 2671545.1954 | 1213974.9858
42 | 2671539.1412 | 1213967.8317 | 2671540.6903 | 1213965.9713 | 2671535.4302 | 1213955.5239 | 2671528.9455 | 1213947.7412
43 | 2671528.9455 | 1213947.7412 | 2671539.2018 | 1213943.795 | 2671556.1554 | 1213944.4655
44 | 2671528.9455 | 1213947.7412 | 2671521.1259 | 1213938.3519
45 | 2671434.9995 | 1213827.9396 | 2671458.473 | 1213858.2177 | 2671484.2499 | 1213891.4809 | 2671486.1446 | 1213896.2733 | 2671484.2805 | 1213900.965 | 2671492.6706 | 1213911.3833 | 2671503.7916 | 1213925.2698 | 2671511.783 | 1213927.1335
46 | 2671434.9995 | 1213827.9396 | 2671450.2078 | 1213815.4373
47 | 2671511.783 | 1213927.1335 | 2671521.1259 | 1213938.3519
48 | 2671451.9155 | 1213814.0334 | 2671450.2078 | 1213815.4373
49 | 2671490.9587 | 1213834.9812 | 2671480.827 | 1213822.8149
50 | 2671464.7349 | 1213803.4915 | 2671480.827 | 1213822.8149
51 | 2671365.8825 | 1213998.0196 | 2671385.1556 | 1214021.2761 | 2671386.8915 | 1214027.0578
52 | 2671386.8915 | 1214027.0578 | 2671387.9094 | 1214030.4482 | 2671387.5967 | 1214031.6597
53 | 2671404.2037 | 1213869.9085 | 2671396.2876 | 1213861.1192 | 2671386.6972 | 1213849.9845
54 | 2671460.0126 | 1213897.6944 | 2671469.8997 | 1213909.3424 | 2671476.3304 | 1213917.6174
55 | 2671460.0126 | 1213897.6944 | 2671439.8873 | 1213873.9832
56 | 2671451.9155 | 1213814.0334 | 2671436.64 | 1213794.3714
57 | 2671372.9734 | 1213660.658 | 2671371.782 | 1213646.1236 | 2671369.7702 | 1213625.3579
58 | 2671317.7084 | 1213700.1593 | 2671321.4842 | 1213702.2351 | 2671324.1167 | 1213706.4557
59 | 2671431.3247 | 1213669.8769 | 2671454.5714 | 1213677.48
60 | 2671451.9155 | 1213814.0334 | 2671464.7349 | 1213803.4915
61 | 2671474.6083 | 1213795.3824 | 2671464.7349 | 1213803.4915
62 | 2671372.7708 | 1214055.2048 | 2671385.5118 | 1214039.7364 | 2671387.5967 | 1214031.6597
63 | 2671404.2037 | 1213869.9085 | 2671423.5652 | 1213854.7529 | 2671439.8873 | 1213873.9832
64 | 2671556.2728 | 1213827.1149 | 2671553.8473 | 1213829.8431 | 2671551.2011 | 1213835.1369 | 2671550.479 | 1213837.1809
65 | 2671548.2817 | 1213741.0536 | 2671546.4896 | 1213738.9094
66 | 2671548.2817 | 1213741.0536 | 2671568.3737 | 1213755.4941
67 | 2671474.6083 | 1213795.3824 | 2671461.6044 | 1213778.1894
68 | 2671546.4896 | 1213738.9094 | 2671537.2809 | 1213727.8911 | 2671521.4978 | 1213714.4489 | 2671518.4071 | 1213712.4194
69 | 2671580.698 | 1213766.2923 | 2671573.0442 | 1213758.8508 | 2671568.3737 | 1213755.4941
70 | 2671518.4071 | 1213712.4194 | 2671486.9715 | 1213691.7763 | 2671467.6717 | 1213682.4677
71 | 2671580.698 | 1213766.2923 | 2671591.4847 | 1213776.7797
72 | 2671466.3047 | 1213681.8083 | 2671467.6717 | 1213682.4677
73 | 2671466.3047 | 1213681.8083 | 2671463.1432 | 1213680.2835 | 2671454.5714 | 1213677.48
74 | 2671372.7708 | 1214055.2048 | 2671386.9094 | 1214066.9699
75 | 2671393.295 | 1214072.2835 | 2671386.9094 | 1214066.9699

## bus_geodata
| x | y | coords
0 | 2671512.7839 | 1213891.323
1 | 2671518.6757 | 1213871.3503
2 | 2671517.3001 | 1213897.1696
3 | 2671534.1724 | 1213857.1577
4 | 2671539.3383 | 1213856.4748
5 | 2671524.1421 | 1213825.7954
6 | 2671548.1588 | 1213843.7481
7 | 2671538.7325 | 1213803.7787
8 | 2671539.7166 | 1213801.3206
9 | 2671502.9497 | 1213798.9856
10 | 2671554.9975 | 1214057.5463
11 | 2671551.8023 | 1214045.7662
12 | 2671527.3582 | 1214040.7698
13 | 2671604.5024 | 1214018.5258
14 | 2671372.6859 | 1213989.9737
15 | 2671524.8316 | 1214053.1042
16 | 2671409 | 1213803.7018
17 | 2671401.3542 | 1213794.1763
18 | 2671420.1785 | 1213795.8365
19 | 2671391.0737 | 1213783.3633
20 | 2671379.9575 | 1213748.0969
21 | 2671385.1023 | 1213848.1327
22 | 2671379.141 | 1213726.8404
23 | 2671374.9919 | 1213685.1954
24 | 2671342.8748 | 1213724.2672
25 | 2671376.6756 | 1213655.5103
26 | 2671406.0651 | 1213661.6155
27 | 2671374.07 | 1213626.3008
28 | 2671338.5601 | 1213744.7495
29 | 2671562.5868 | 1213996.5422
30 | 2671570.4532 | 1213990.455
31 | 2671545.1954 | 1213974.9858
32 | 2671539.1412 | 1213967.8317
33 | 2671528.9455 | 1213947.7412
34 | 2671434.9995 | 1213827.9396
35 | 2671511.783 | 1213927.1335
36 | 2671450.2078 | 1213815.4373
37 | 2671521.1259 | 1213938.3519
38 | 2671619.4786 | 1213977.8621
39 | 2671490.9587 | 1213834.9812
40 | 2671480.827 | 1213822.8149
41 | 2671365.8825 | 1213998.0196
42 | 2671386.8915 | 1214027.0578
43 | 2671378.1616 | 1213996.3989
44 | 2671390.6114 | 1213842.8954
45 | 2671386.6972 | 1213849.9845
46 | 2671520.6505 | 1214073.0639
47 | 2671476.3304 | 1213917.6174
48 | 2671460.0126 | 1213897.6944
49 | 2671436.64 | 1213794.3714
50 | 2671372.9734 | 1213660.658
51 | 2671324.1167 | 1213706.4557
52 | 2671431.3247 | 1213669.8769
53 | 2671556.1554 | 1213944.4655
54 | 2671451.9155 | 1213814.0334
55 | 2671464.7349 | 1213803.4915
56 | 2671387.5967 | 1214031.6597
57 | 2671404.2037 | 1213869.9085
58 | 2671550.479 | 1213837.1809
59 | 2671548.2817 | 1213741.0536
60 | 2671474.6083 | 1213795.3824
61 | 2671556.2728 | 1213827.1149
62 | 2671461.6044 | 1213778.1894
63 | 2671546.4896 | 1213738.9094
64 | 2671568.3737 | 1213755.4941
65 | 2671518.4071 | 1213712.4194
66 | 2671580.698 | 1213766.2923
67 | 2671467.6717 | 1213682.4677
68 | 2671591.4847 | 1213776.7797
69 | 2671466.3047 | 1213681.8083
70 | 2671454.5714 | 1213677.48
71 | 2671369.7702 | 1213625.3579
72 | 2671317.7084 | 1213700.1593
73 | 2671439.8873 | 1213873.9832
74 | 2671372.7708 | 1214055.2048
75 | 2671386.9094 | 1214066.9699
76 | 2671393.295 | 1214072.2835
77 | 2671458.473 | 1213858.2177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98859 | -0.21824 | 0.0019695 | 0.00049361
1 | 0.9887 | -0.21598 | 0.0018921 | 0.00047421
2 | 0.98857 | -0.21865 | 0.0031164 | 0.00078104
3 | 0.98884 | -0.21331 | 0 | 0
4 | 0.9888 | -0.21414 | 0.0019214 | 0.00048155
5 | 0.98937 | -0.20307 | 0 | 0
6 | 0.98869 | -0.21614 | 0.0019965 | 0.00050038
7 | 0.98741 | -0.24081 | 0 | 0
8 | 0.98727 | -0.24367 | 0.0019425 | 0.00048682
9 | 0.99177 | -0.15681 | 0.0073016 | 0.00183
10 | 0.97553 | -0.47058 | 0.0028773 | 0.00072111
11 | 0.97557 | -0.4699 | 0 | 0
12 | 0.97497 | -0.48163 | 0 | 0
13 | 0.97734 | -0.43518 | 0 | 0
14 | 0.97159 | -0.54823 | 0 | 0
15 | 0.97491 | -0.48279 | 0.0025663 | 0.00064318
16 | 0.99132 | -0.16496 | 0 | 0
17 | 0.99076 | -0.17578 | 0.00042378 | 0.00010621
18 | 0.99196 | -0.15287 | 0.023732 | 0.0059478
19 | 0.99007 | -0.18898 | 0 | 0
20 | 0.98912 | -0.20736 | 0 | 0
21 | 0.98603 | -0.26677 | 0 | 0
22 | 0.98878 | -0.21395 | 0 | 0
23 | 0.98832 | -0.22296 | 0.0035949 | 0.00090097
24 | 0.98861 | -0.21738 | 0.0018868 | 0.00047287
25 | 0.9813 | -0.36001 | 0 | 0
26 | 0.9814 | -0.35792 | 0.00062802 | 0.0001574
27 | 0.9812 | -0.36202 | 0.0037914 | 0.00095021
28 | 0.98893 | -0.21108 | 0.0042591 | 0.0010674
29 | 0.98008 | -0.38169 | 0 | 0
30 | 0.98005 | -0.38211 | 0.0023388 | 0.00058617
31 | 0.98154 | -0.35318 | 0.003803 | 0.00095313
32 | 0.98207 | -0.34291 | 0 | 0
33 | 0.98344 | -0.3164 | 0 | 0
34 | 0.99359 | -0.12164 | 0 | 0
35 | 0.98512 | -0.28382 | 0 | 0
36 | 0.99423 | -0.10947 | 0.056453 | 0.014148
37 | 0.98417 | -0.30221 | 0.005581 | 0.0013987
38 | 0.97602 | -0.46117 | 0.025966 | 0.0065076
39 | 1 | 0 | -0.50671 | -0.1294
40 | 0.99818 | -0.034407 | 0.060984 | 0.015284
41 | 0.97146 | -0.55093 | 0 | 0
42 | 0.97101 | -0.55982 | 0.0021854 | 0.00054772
43 | 0.97153 | -0.54937 | 0.0073197 | 0.0018345
44 | 0.98588 | -0.2697 | 0.021569 | 0.0054057
45 | 0.98585 | -0.27019 | 0.019596 | 0.0049112
46 | 0.97487 | -0.48371 | 0.0024554 | 0.00061538
47 | 0.9736 | -0.50918 | 0.048226 | 0.012087
48 | 0.97476 | -0.48637 | 0 | 0
49 | 0.993 | -0.13299 | 0.0019612 | 0.00049152
50 | 0.98813 | -0.22668 | 0.0041738 | 0.0010461
51 | 0.98853 | -0.21896 | 0.00049349 | 0.00012368
52 | 0.98151 | -0.3558 | 0.0011409 | 0.00028592
53 | 0.98334 | -0.31835 | 0.0038798 | 0.00097236
54 | 0.9943 | -0.10823 | 0 | 0
55 | 0.99564 | -0.08257 | 0 | 0
56 | 0.97096 | -0.5608 | 0.0028531 | 0.00071506
57 | 0.98248 | -0.33533 | 0 | 0
58 | 0.98866 | -0.21676 | 0.0030618 | 0.00076735
59 | 0.98396 | -0.308 | 0 | 0
60 | 0.99465 | -0.10165 | 0 | 0
61 | 0.98864 | -0.21718 | 0.0019708 | 0.00049394
62 | 0.99462 | -0.1022 | 0.0014554 | 0.00036477
63 | 0.98383 | -0.31042 | 0.0017533 | 0.00043943
64 | 0.98372 | -0.31255 | 0.0032661 | 0.00081857
65 | 0.98217 | -0.34286 | 0.038114 | 0.0095522
66 | 0.98362 | -0.3146 | 0.0033911 | 0.00084988
67 | 0.98172 | -0.35166 | 0.00037603 | 9.4242e-05
68 | 0.98357 | -0.31557 | 0.0035502 | 0.00088977
69 | 0.98171 | -0.35188 | 0.001431 | 0.00035865
70 | 0.98164 | -0.35334 | 0.00087597 | 0.00021954
71 | 0.98799 | -0.2294 | 0.0042982 | 0.0010772
72 | 0.9885 | -0.21942 | 0.0028234 | 0.00070761
73 | 0.97616 | -0.45889 | 0.088265 | 0.022121
74 | 0.97074 | -0.56512 | 0 | 0
75 | 0.9706 | -0.56792 | 0.0057243 | 0.0014346
76 | 0.97058 | -0.5683 | 0.0025042 | 0.00062761
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.005086 | -0.0012746 | 0.0050865 | 0.0012746 | 5.4657e-07 | 3.0884e-08 | 0.0076553 | 0.0076552 | 0.0076553 | 0.98859 | -0.21824 | 0.9887 | -0.21598 | 2.1031
1 | 0.0031164 | 0.00078098 | -0.0031164 | -0.00078104 | 6.096e-08 | -5.5706e-08 | 0.0046908 | 0.0046909 | 0.0046909 | 0.98859 | -0.21824 | 0.98857 | -0.21865 | 1.2887
2 | -0.0069786 | -0.0017488 | 0.0069795 | 0.0017491 | 8.8825e-07 | 2.9306e-07 | 0.010503 | 0.010503 | 0.010503 | 0.9887 | -0.21598 | 0.98884 | -0.21331 | 2.8854
3 | 0.0089517 | 0.0022435 | -0.0089514 | -0.0022433 | 3.5458e-07 | 1.6009e-07 | 0.013471 | 0.013471 | 0.013471 | 0.98884 | -0.21331 | 0.9888 | -0.21414 | 3.7007
4 | -0.015931 | -0.0039926 | 0.015939 | 0.0039971 | 7.7775e-06 | 4.5144e-06 | 0.023973 | 0.023973 | 0.023973 | 0.98884 | -0.21331 | 0.98937 | -0.20307 | 6.5861
5 | 0.00703 | 0.0017618 | -0.0070293 | -0.0017615 | 6.678e-07 | 2.2332e-07 | 0.010579 | 0.010579 | 0.010579 | 0.9888 | -0.21414 | 0.98869 | -0.21614 | 2.9064
6 | -0.076583 | -0.019341 | 0.076753 | 0.019449 | 0.00017017 | 0.00010847 | 0.11523 | 0.11523 | 0.11523 | 0.98937 | -0.20307 | 0.99177 | -0.15681 | 31.6577
7 | 0.060644 | 0.015344 | -0.060534 | -0.015274 | 0.00010962 | 6.9707e-05 | 0.091261 | 0.091261 | 0.091261 | 0.98937 | -0.20307 | 0.98741 | -0.24081 | 25.0717
8 | 0.0050328 | 0.0012612 | -0.0050326 | -0.0012612 | 1.4985e-07 | 6.5852e-09 | 0.0075744 | 0.0075745 | 0.0075745 | 0.98869 | -0.21614 | 0.98866 | -0.21676 | 2.0809
9 | 0.060534 | 0.015274 | -0.060526 | -0.015269 | 8.2694e-06 | 5.2586e-06 | 0.091261 | 0.091261 | 0.091261 | 0.98741 | -0.24081 | 0.98727 | -0.24367 | 25.0717
10 | 0.058584 | 0.014782 | -0.058404 | -0.014667 | 0.00017988 | 0.00011434 | 0.088333 | 0.088333 | 0.088333 | 0.98727 | -0.24367 | 0.98396 | -0.308 | 24.2674
11 | -0.084055 | -0.021279 | 0.084278 | 0.021421 | 0.00022326 | 0.0001424 | 0.12619 | 0.12619 | 0.12619 | 0.99177 | -0.15681 | 0.99465 | -0.10165 | 34.6673
12 | -0.0028773 | -0.00072111 | 0.0028774 | 0.00072101 | 9.2678e-08 | -1.0089e-07 | 0.0043888 | 0.0043887 | 0.0043888 | 0.97553 | -0.47058 | 0.97557 | -0.4699 | 1.2057
13 | 0.0257 | 0.0064723 | -0.025686 | -0.0064634 | 1.4404e-05 | 8.9066e-06 | 0.039211 | 0.039211 | 0.039211 | 0.97557 | -0.4699 | 0.97497 | -0.48163 | 10.7723
14 | -0.028577 | -0.0071933 | 0.028625 | 0.0072229 | 4.7517e-05 | 2.9577e-05 | 0.0436 | 0.043599 | 0.0436 | 0.97557 | -0.4699 | 0.97734 | -0.43518 | 11.9779
15 | 0.020663 | 0.005205 | -0.020598 | -0.0051652 | 6.5598e-05 | 3.9798e-05 | 0.031546 | 0.031547 | 0.031547 | 0.97497 | -0.48163 | 0.97159 | -0.54823 | 8.6668
16 | 0.0050221 | 0.0012584 | -0.0050219 | -0.0012584 | 2.7738e-07 | 2.0519e-08 | 0.0076648 | 0.0076648 | 0.0076648 | 0.97497 | -0.48163 | 0.97491 | -0.48279 | 2.1057
17 | 0.025998 | 0.0065276 | -0.025966 | -0.0065076 | 3.22e-05 | 1.9922e-05 | 0.039587 | 0.039587 | 0.039587 | 0.97734 | -0.43518 | 0.97602 | -0.46117 | 10.8755
18 | -0.054623 | -0.01375 | 0.054763 | 0.013839 | 0.00014004 | 8.895e-05 | 0.083186 | 0.083186 | 0.083186 | 0.97734 | -0.43518 | 0.98008 | -0.38169 | 22.8533
19 | 0.0073201 | 0.0018346 | -0.0073197 | -0.0018345 | 3.9742e-07 | 1.4993e-07 | 0.011211 | 0.011211 | 0.011211 | 0.97159 | -0.54823 | 0.97153 | -0.54937 | 3.0799
20 | 0.013278 | 0.0033305 | -0.013276 | -0.0033296 | 1.7076e-06 | 9.5655e-07 | 0.020336 | 0.020336 | 0.020336 | 0.97159 | -0.54823 | 0.97146 | -0.55093 | 5.5869
21 | 0.0024555 | 0.0006152 | -0.0024554 | -0.00061538 | 1.0742e-07 | -1.8553e-07 | 0.0037478 | 0.0037479 | 0.0037479 | 0.97491 | -0.48279 | 0.97487 | -0.48371 | 1.0296
22 | 0.20193 | 0.051503 | -0.20183 | -0.051436 | 0.00010543 | 6.6846e-05 | 0.30343 | 0.30343 | 0.30343 | 0.99132 | -0.16496 | 0.99076 | -0.17578 | 20.84
23 | -0.20193 | -0.051503 | 0.20205 | 0.051578 | 0.00011798 | 7.4802e-05 | 0.30343 | 0.30343 | 0.30343 | 0.99132 | -0.16496 | 0.99196 | -0.15287 | 20.84
24 | 0.20141 | 0.05133 | -0.20128 | -0.051249 | 0.00012825 | 8.1313e-05 | 0.30279 | 0.30279 | 0.30279 | 0.99076 | -0.17578 | 0.99007 | -0.18898 | 20.7963
25 | -0.22578 | -0.057526 | 0.226 | 0.057664 | 0.00021673 | 0.00013766 | 0.33903 | 0.33903 | 0.33903 | 0.99196 | -0.15287 | 0.993 | -0.13299 | 23.2851
26 | 0.021563 | 0.0054135 | -0.021544 | -0.005402 | 1.8882e-05 | 1.1469e-05 | 0.032411 | 0.032412 | 0.032412 | 0.99007 | -0.18898 | 0.98912 | -0.20736 | 8.9043
27 | 0.17971 | 0.045835 | -0.17904 | -0.04541 | 0.00067229 | 0.00042524 | 0.27038 | 0.27039 | 0.27039 | 0.99007 | -0.18898 | 0.98603 | -0.26677 | 18.5704
28 | 0.0042598 | 0.0010673 | -0.0042591 | -0.0010674 | 7.5572e-07 | -1.4608e-07 | 0.0064082 | 0.0064085 | 0.0064085 | 0.98912 | -0.20736 | 0.98893 | -0.21108 | 1.7606
29 | 0.017284 | 0.0043348 | -0.017279 | -0.0043316 | 5.4298e-06 | 3.2003e-06 | 0.026003 | 0.026003 | 0.026003 | 0.98912 | -0.20736 | 0.98878 | -0.21395 | 7.1438
30 | 0.021572 | 0.0054075 | -0.021569 | -0.0054057 | 3.0169e-06 | 1.834e-06 | 0.032555 | 0.032555 | 0.032555 | 0.98603 | -0.26677 | 0.98588 | -0.2697 | 8.9436
31 | 0.15747 | 0.040003 | -0.15744 | -0.039986 | 2.5919e-05 | 1.6526e-05 | 0.23783 | 0.23783 | 0.23783 | 0.98603 | -0.26677 | 0.98585 | -0.27019 | 32.6691
32 | 0.012074 | 0.0030276 | -0.012069 | -0.0030248 | 5.1821e-06 | 2.78e-06 | 0.018171 | 0.018171 | 0.018171 | 0.98878 | -0.21395 | 0.98832 | -0.22296 | 4.9921
33 | 0.0052048 | 0.001304 | -0.005204 | -0.0013039 | 8.5063e-07 | 7.0233e-08 | 0.0078325 | 0.0078327 | 0.0078327 | 0.98878 | -0.21395 | 0.98861 | -0.21738 | 2.1518
34 | 0.0084741 | 0.0021238 | -0.0084726 | -0.0021232 | 1.5029e-06 | 6.4643e-07 | 0.012759 | 0.012759 | 0.012759 | 0.98832 | -0.22296 | 0.98813 | -0.22668 | 3.5051
35 | 0.0033172 | 0.00083103 | -0.0033169 | -0.00083121 | 2.4877e-07 | -1.8197e-07 | 0.0049928 | 0.0049929 | 0.0049929 | 0.98861 | -0.21738 | 0.98853 | -0.21896 | 1.3717
36 | -0.0037917 | -0.00095007 | 0.0037921 | 0.00094993 | 3.7576e-07 | -1.4249e-07 | 0.0057496 | 0.0057495 | 0.0057496 | 0.9813 | -0.36001 | 0.9814 | -0.35792 | 1.5796
37 | 0.0037917 | 0.00095007 | -0.0037914 | -0.00095021 | 3.6355e-07 | -1.3776e-07 | 0.0057496 | 0.0057498 | 0.0057498 | 0.9813 | -0.36001 | 0.9812 | -0.36202 | 1.5796
38 | -0.0044201 | -0.0011073 | 0.0044206 | 0.0011073 | 4.476e-07 | -4.939e-08 | 0.0067017 | 0.0067016 | 0.0067017 | 0.9814 | -0.35792 | 0.98151 | -0.3558 | 1.8411
39 | 0.0023389 | 0.00058607 | -0.0023388 | -0.00058617 | 4.7055e-08 | -9.5281e-08 | 0.003551 | 0.003551 | 0.003551 | 0.98008 | -0.38169 | 0.98005 | -0.38211 | 0.97556
40 | -0.057102 | -0.014425 | 0.05718 | 0.014475 | 7.8156e-05 | 4.967e-05 | 0.086737 | 0.086737 | 0.086737 | 0.98008 | -0.38169 | 0.98154 | -0.35318 | 23.8288
41 | -0.060983 | -0.015428 | 0.061013 | 0.015447 | 3.0072e-05 | 1.9128e-05 | 0.092502 | 0.092502 | 0.092502 | 0.98154 | -0.35318 | 0.98207 | -0.34291 | 25.4126
42 | -0.061013 | -0.015447 | 0.061091 | 0.015497 | 7.7741e-05 | 4.9447e-05 | 0.092502 | 0.092502 | 0.092502 | 0.98207 | -0.34291 | 0.98344 | -0.3164 | 25.4126
43 | 0.0038801 | 0.00097224 | -0.0038798 | -0.00097236 | 3.6035e-07 | -1.2308e-07 | 0.0058709 | 0.005871 | 0.005871 | 0.98344 | -0.3164 | 0.98334 | -0.31835 | 1.6129
44 | -0.064971 | -0.016469 | 0.065015 | 0.016497 | 4.4342e-05 | 2.8224e-05 | 0.098373 | 0.098373 | 0.098373 | 0.98344 | -0.3164 | 0.98417 | -0.30221 | 27.0255
45 | 0.071215 | 0.01829 | -0.070659 | -0.017936 | 0.00055603 | 0.00035419 | 0.10681 | 0.10681 | 0.10681 | 0.99359 | -0.12164 | 0.98512 | -0.28382 | 29.3436
46 | -0.071215 | -0.01829 | 0.071257 | 0.018316 | 4.2113e-05 | 2.6442e-05 | 0.10681 | 0.10681 | 0.10681 | 0.99359 | -0.12164 | 0.99423 | -0.10947 | 14.6717
47 | 0.070659 | 0.017936 | -0.070596 | -0.017896 | 6.2459e-05 | 3.9788e-05 | 0.10681 | 0.10681 | 0.10681 | 0.98512 | -0.28382 | 0.98417 | -0.30221 | 29.3436
48 | -0.12771 | -0.032465 | 0.12772 | 0.03247 | 7.5846e-06 | 4.7394e-06 | 0.1913 | 0.1913 | 0.1913 | 0.99423 | -0.10947 | 0.9943 | -0.10823 | 13.1387
49 | 0.50506 | 0.1294 | -0.50422 | -0.12886 | 0.00084059 | 0.00053715 | 0.75254 | 0.75254 | 0.75254 | 1 | 0 | 0.99818 | -0.034407 | 51.6856
50 | 0.44324 | 0.11358 | -0.44221 | -0.11292 | 0.001032 | 0.00065918 | 0.66163 | 0.66163 | 0.66163 | 0.99818 | -0.034407 | 0.99564 | -0.08257 | 45.4418
51 | 0.013276 | 0.0033296 | -0.01327 | -0.0033264 | 5.6205e-06 | 3.1487e-06 | 0.020336 | 0.020336 | 0.020336 | 0.97146 | -0.55093 | 0.97101 | -0.55982 | 5.5869
52 | 0.011085 | 0.0027787 | -0.011084 | -0.0027784 | 5.1847e-07 | 2.7256e-07 | 0.016987 | 0.016987 | 0.016987 | 0.97101 | -0.55982 | 0.97096 | -0.5608 | 4.6669
53 | 0.13785 | 0.035075 | -0.13742 | -0.034799 | 0.00043138 | 0.00027574 | 0.20825 | 0.20825 | 0.20825 | 0.98585 | -0.27019 | 0.98248 | -0.33533 | 57.2126
54 | -0.048226 | -0.012087 | 0.048278 | 0.01212 | 5.2476e-05 | 3.3264e-05 | 0.073706 | 0.073706 | 0.073706 | 0.9736 | -0.50918 | 0.97476 | -0.48637 | 20.2489
55 | -0.048278 | -0.01212 | 0.048342 | 0.01216 | 6.3359e-05 | 4.0161e-05 | 0.073706 | 0.073706 | 0.073706 | 0.97476 | -0.48637 | 0.97616 | -0.45889 | 20.2489
56 | -0.22796 | -0.058155 | 0.22824 | 0.058328 | 0.00027297 | 0.00017341 | 0.34197 | 0.34197 | 0.34197 | 0.993 | -0.13299 | 0.9943 | -0.10823 | 23.4869
57 | 0.0042987 | 0.0010771 | -0.0042982 | -0.0010772 | 5.5702e-07 | -9.7499e-08 | 0.0064733 | 0.0064735 | 0.0064735 | 0.98813 | -0.22668 | 0.98799 | -0.2294 | 1.7784
58 | 0.0028235 | 0.00070753 | -0.0028234 | -0.00070761 | 6.2881e-08 | -7.8762e-08 | 0.0042501 | 0.0042501 | 0.0042501 | 0.98853 | -0.21896 | 0.9885 | -0.21942 | 1.1676
59 | -0.0055614 | -0.0013932 | 0.0055621 | 0.0013933 | 6.5197e-07 | 1.081e-07 | 0.0084312 | 0.0084311 | 0.0084312 | 0.98151 | -0.3558 | 0.98164 | -0.35334 | 2.3163
60 | -0.35595 | -0.090798 | 0.35639 | 0.09108 | 0.00044176 | 0.00028186 | 0.53327 | 0.53327 | 0.53327 | 0.9943 | -0.10823 | 0.99564 | -0.08257 | 36.6255
61 | 0.085812 | 0.021836 | -0.085734 | -0.021786 | 7.8822e-05 | 5.028e-05 | 0.12837 | 0.12837 | 0.12837 | 0.99564 | -0.08257 | 0.99465 | -0.10165 | 35.2654
62 | 0.0082313 | 0.0020634 | -0.0082296 | -0.0020627 | 1.6937e-06 | 7.3302e-07 | 0.012615 | 0.012615 | 0.012615 | 0.97096 | -0.5608 | 0.97074 | -0.56512 | 3.4657
63 | 0.13742 | 0.034799 | -0.13661 | -0.034281 | 0.00081011 | 0.00051784 | 0.20825 | 0.20825 | 0.20825 | 0.98248 | -0.33533 | 0.97616 | -0.45889 | 57.2126
64 | 0.0019709 | 0.00049381 | -0.0019708 | -0.00049394 | 3.8726e-08 | -1.2572e-07 | 0.0029663 | 0.0029663 | 0.0029663 | 0.98866 | -0.21676 | 0.98864 | -0.21718 | 0.81493
65 | 0.048193 | 0.012108 | -0.048188 | -0.012104 | 5.5679e-06 | 3.528e-06 | 0.072892 | 0.072892 | 0.072892 | 0.98396 | -0.308 | 0.98383 | -0.31042 | 20.0253
66 | 0.01021 | 0.0025595 | -0.010208 | -0.0025584 | 2.2123e-06 | 1.1017e-06 | 0.015441 | 0.015441 | 0.015441 | 0.98396 | -0.308 | 0.98372 | -0.31255 | 4.2421
67 | 0.0014555 | 0.00036451 | -0.0014554 | -0.00036477 | 3.8325e-08 | -2.5525e-07 | 0.0021773 | 0.0021774 | 0.0021774 | 0.99465 | -0.10165 | 0.99462 | -0.1022 | 0.59819
68 | 0.046434 | 0.011665 | -0.046363 | -0.01162 | 7.1765e-05 | 4.5438e-05 | 0.07024 | 0.070241 | 0.070241 | 0.98383 | -0.31042 | 0.98217 | -0.34286 | 19.2969
69 | 0.0069421 | 0.0017398 | -0.0069414 | -0.0017396 | 6.7926e-07 | 2.262e-07 | 0.010501 | 0.010501 | 0.010501 | 0.98372 | -0.31255 | 0.98362 | -0.3146 | 2.8849
70 | 0.0082491 | 0.0020674 | -0.0082457 | -0.0020659 | 3.4578e-06 | 1.4662e-06 | 0.012498 | 0.012498 | 0.012498 | 0.98217 | -0.34286 | 0.98172 | -0.35166 | 3.4335
71 | 0.0035504 | 0.00088968 | -0.0035502 | -0.00088977 | 1.6275e-07 | -8.6792e-08 | 0.0053709 | 0.005371 | 0.005371 | 0.98362 | -0.3146 | 0.98357 | -0.31557 | 1.4756
72 | 0.0078696 | 0.0019717 | -0.0078696 | -0.0019716 | 8.0974e-08 | 3.2633e-08 | 0.011928 | 0.011928 | 0.011928 | 0.98172 | -0.35166 | 0.98171 | -0.35188 | 3.2769
73 | 0.0064385 | 0.001613 | -0.0064381 | -0.0016128 | 4.4744e-07 | 1.2796e-07 | 0.0097588 | 0.0097589 | 0.0097589 | 0.98171 | -0.35188 | 0.98164 | -0.35334 | 2.681
74 | 0.0082296 | 0.0020627 | -0.0082285 | -0.0020622 | 1.0977e-06 | 4.7515e-07 | 0.012615 | 0.012615 | 0.012615 | 0.97074 | -0.56512 | 0.9706 | -0.56792 | 3.4657
75 | 0.0025042 | 0.00062754 | -0.0025042 | -0.00062761 | 4.5917e-08 | -7.3282e-08 | 0.0038392 | 0.0038392 | 0.0038392 | 0.9706 | -0.56792 | 0.97058 | -0.5683 | 1.0547

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50671 | 0.1294

## res_load
| p_mw | q_mvar
0 | 0.0019695 | 0.00049361
1 | 0.0018921 | 0.00047421
2 | 0.0031164 | 0.00078104
3 | 0.0019214 | 0.00048155
4 | 0.0019965 | 0.00050038
5 | 0.0019425 | 0.00048682
6 | 0.0073016 | 0.00183
7 | 0.0028773 | 0.00072111
8 | 0.0025663 | 0.00064318
9 | 0.00042378 | 0.00010621
10 | 0.023732 | 0.0059478
11 | 0.0035949 | 0.00090097
12 | 0.0018868 | 0.00047287
13 | 0.00062802 | 0.0001574
14 | 0.0037914 | 0.00095021
15 | 0.0042591 | 0.0010674
16 | 0.0023388 | 0.00058617
17 | 0.003803 | 0.00095313
18 | 0.056453 | 0.014148
19 | 0.005581 | 0.0013987
20 | 0.025966 | 0.0065076
21 | 0.060984 | 0.015284
22 | 0.0021854 | 0.00054772
23 | 0.0073197 | 0.0018345
24 | 0.021569 | 0.0054057
25 | 0.019596 | 0.0049112
26 | 0.0024554 | 0.00061538
27 | 0.048226 | 0.012087
28 | 0.0019612 | 0.00049152
29 | 0.0041738 | 0.0010461
30 | 0.00049349 | 0.00012368
31 | 0.0011409 | 0.00028592
32 | 0.0038798 | 0.00097236
33 | 0.0028531 | 0.00071506
34 | 0.0030618 | 0.00076735
35 | 0.0019708 | 0.00049394
36 | 0.0014554 | 0.00036477
37 | 0.0017533 | 0.00043943
38 | 0.0032661 | 0.00081857
39 | 0.038114 | 0.0095522
40 | 0.0033911 | 0.00084988
41 | 0.00037603 | 9.4242e-05
42 | 0.0035502 | 0.00088977
43 | 0.001431 | 0.00035865
44 | 0.00087597 | 0.00021954
45 | 0.0042982 | 0.0010772
46 | 0.0028234 | 0.00070761
47 | 0.088265 | 0.022121
48 | 0.0057243 | 0.0014346
49 | 0.0025042 | 0.00062761

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1