## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1052-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1052-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1052-11_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1052-11_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1052-11_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1052-11_0_3_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_1052-11_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1052-11_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1052-11_0_3_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_1052-11_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1052-11_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1052-11_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1052-11_0_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_1052-11_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1052-11_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1052-11_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1052-11_0_3_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_1052-11_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1052-11_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1052-11_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1052-11_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1052-11_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1052-11_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1052-11_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1052-11_0_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_1052-11_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1052-11_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_1052-11_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1052-11_0_3_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_1052-11_0_3_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_1052-11_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1052-11_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1052-11_0_3_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_1052-11_0_3_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1052-11_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1052-11_0_3_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1052-11_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1052-11_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_1052-11_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1052-11_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1052-11_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1052-11_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1052-11_0_3_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1052-11_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_1052-11_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1052-11_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1052-11_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1052-11_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1052-11_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1052-11_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1052-11_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1052-11_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1052-11_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_1052-11_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1052-11_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1052-11_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1052-11_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_1052-11_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1052-11_0_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_1052-11_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1052-11_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1052-11_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_1052-11_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1052-11_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_1052-11_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_1052-11_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_1052-11_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_1052-11_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_1052-11_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_1052-11_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_1052-11_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1052-11_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_1052-11_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_MV_212_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1052-11_0_3_load_0 | 0 | 0.034304 | 0.0085975 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1052-11_0_3_load_64 | 6 | 0.017913 | 0.0044894 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1052-11_0_3_load_65 | 8 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1052-11_0_3_load_29 | 11 | 0.015404 | 0.0038606 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1052-11_0_3_load_78 | 12 | 0.0093128 | 0.002334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1052-11_0_3_load_70 | 16 | 0.0039928 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1052-11_0_3_load_25 | 17 | 0.016008 | 0.0040121 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1052-11_0_3_load_31 | 18 | 0.018574 | 0.004655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1052-11_0_3_load_20 | 22 | 0.0036139 | 0.00090573 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1052-11_0_3_load_26 | 23 | 0.016176 | 0.004054 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1052-11_0_3_load_69 | 24 | 0.0026783 | 0.00067124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1052-11_0_3_load_23 | 25 | 0.0085438 | 0.0021413 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1052-11_0_3_load_77 | 26 | 0.0027029 | 0.0006774 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1052-11_0_3_load_75 | 28 | 0.0023725 | 0.00059462 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1052-11_0_3_load_76 | 29 | 0.0055548 | 0.0013922 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1052-11_0_3_load_21 | 30 | 0.0083024 | 0.0020808 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1052-11_0_3_load_61 | 32 | 0.017911 | 0.004489 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1052-11_0_3_load_73 | 33 | 0.004079 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1052-11_0_3_load_30 | 34 | 0.015926 | 0.0039913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1052-11_0_3_load_71 | 35 | 0.0033124 | 0.00083016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1052-11_0_3_load_24 | 36 | 0.0137 | 0.0034336 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1052-11_0_3_load_19 | 37 | 0.0043246 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1052-11_0_3_load_27 | 38 | 0.011807 | 0.0029591 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1052-11_0_3_load_53 | 39 | 0.0026891 | 0.00067395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1052-11_0_3_load_49 | 40 | 0.0040751 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1052-11_0_3_load_43 | 41 | 0.004061 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1052-11_0_3_load_60 | 42 | 0.0057416 | 0.001439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1052-11_0_3_load_58 | 43 | 0.0058159 | 0.0014576 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1052-11_0_3_load_28 | 44 | 0.0025981 | 0.00065115 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1052-11_0_3_load_33 | 45 | 0.004131 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1052-11_0_3_load_34 | 46 | 0.00409 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1052-11_0_3_load_36 | 48 | 0.0042233 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1052-11_0_3_load_38 | 50 | 0.0087752 | 0.0021993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1052-11_0_3_load_39 | 51 | 0.0052544 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1052-11_0_3_load_66 | 52 | 0.0020124 | 0.00050434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1052-11_0_3_load_47 | 55 | 0.0024878 | 0.00062351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1052-11_0_3_load_40 | 56 | 0.0024858 | 0.00062301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1052-11_0_3_load_68 | 58 | 0.0036453 | 0.0009136 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1052-11_0_3_load_67 | 59 | 0.0041959 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1052-11_0_3_load_44 | 60 | 0.0028686 | 0.00071894 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1052-11_0_3_load_50 | 63 | 0.0027378 | 0.00068616 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1052-11_0_3_load_51 | 64 | 0.0027378 | 0.00068616 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1052-11_0_3_load_52 | 65 | 0.0028208 | 0.00070695 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1052-11_0_3_load_54 | 66 | 0.0028259 | 0.00070823 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1052-11_0_3_load_74 | 67 | 0.0028208 | 0.00070695 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1052-11_0_3_load_55 | 68 | 0.0050084 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1052-11_0_3_load_56 | 69 | 0.0055232 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1052-11_0_3_load_57 | 70 | 0.0054295 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1052-11_0_3_load_59 | 71 | 0.003128 | 0.00078396 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1052-11_0_3_load_72 | 72 | 0.0029129 | 0.00073005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1052-11_0_3_line_0 |  | 0 | 1 | 0.038369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1052-11_0_3_line_1 |  | 1 | 2 | 0.061708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1052-11_0_3_line_2 |  | 1 | 3 | 0.076716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1052-11_0_3_line_3 |  | 2 | 7 | 0.004117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1052-11_0_3_line_4 |  | 2 | 8 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1052-11_0_3_line_5 |  | 3 | 15 | 0.033175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1052-11_0_3_line_6 |  | 3 | 18 | 0.030427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1052-11_0_3_line_7 |  | 4 | 5 | 0.007973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1052-11_0_3_line_8 |  | 4 | 6 | 0.040827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1052-11_0_3_line_9 |  | 5 | 32 | 0.024135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1052-11_0_3_line_10 |  | 6 | 31 | 0.035147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1052-11_0_3_line_11 |  | 7 | 12 | 0.007928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1052-11_0_3_line_12 |  | 8 | 33 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1052-11_0_3_line_13 |  | 8 | 31 | 0.003852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1052-11_0_3_line_14 |  | 9 | 10 | 0.026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1052-11_0_3_line_15 |  | 9 | 11 | 0.027533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1052-11_0_3_line_16 |  | 10 | 17 | 0.033258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1052-11_0_3_line_17 |  | 11 | 34 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1052-11_0_3_line_18 |  | 13 | 14 | 0.029508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1052-11_0_3_line_19 |  | 13 | 15 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1052-11_0_3_line_20 |  | 13 | 16 | 0.0017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1052-11_0_3_line_21 |  | 14 | 21 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1052-11_0_3_line_22 |  | 14 | 24 | 0.061703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1052-11_0_3_line_23 |  | 15 | 25 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1052-11_0_3_line_24 |  | 16 | 35 | 0.025154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1052-11_0_3_line_25 |  | 17 | 36 | 0.034665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1052-11_0_3_line_26 |  | 18 | 34 | 0.024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1052-11_0_3_line_27 |  | 19 | 20 | 0.029275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1052-11_0_3_line_28 |  | 19 | 21 | 0.022306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1052-11_0_3_line_29 |  | 19 | 22 | 0.0068012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1052-11_0_3_line_30 |  | 20 | 23 | 0.062004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1052-11_0_3_line_31 |  | 21 | 26 | 0.054158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1052-11_0_3_line_32 |  | 22 | 37 | 0.015354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1052-11_0_3_line_33 |  | 23 | 38 | 0.046408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1052-11_0_3_line_34 |  | 24 | 39 | 0.00028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1052-11_0_3_line_35 |  | 26 | 28 | 0.0020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1052-11_0_3_line_36 |  | 27 | 28 | 0.0060686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1052-11_0_3_line_37 |  | 27 | 29 | 0.034478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1052-11_0_3_line_38 |  | 27 | 30 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1052-11_0_3_line_39 |  | 33 | 48 | 0.023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1052-11_0_3_line_40 |  | 35 | 72 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1052-11_0_3_line_41 |  | 38 | 44 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1052-11_0_3_line_42 |  | 39 | 64 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1052-11_0_3_line_43 |  | 40 | 41 | 0.021559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1052-11_0_3_line_44 |  | 41 | 49 | 0.028256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1052-11_0_3_line_45 |  | 42 | 43 | 0.020986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1052-11_0_3_line_46 |  | 43 | 69 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1052-11_0_3_line_47 |  | 45 | 46 | 0.026005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1052-11_0_3_line_48 |  | 45 | 47 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1052-11_0_3_line_49 |  | 46 | 48 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1052-11_0_3_line_50 |  | 47 | 49 | 0.004073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1052-11_0_3_line_51 |  | 47 | 50 | 0.0037299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1052-11_0_3_line_52 |  | 49 | 51 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1052-11_0_3_line_53 |  | 50 | 52 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1052-11_0_3_line_54 |  | 51 | 56 | 0.001352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1052-11_0_3_line_55 |  | 52 | 54 | 0.009803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1052-11_0_3_line_56 |  | 53 | 54 | 0.003685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1052-11_0_3_line_57 |  | 53 | 55 | 0.007706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1052-11_0_3_line_58 |  | 54 | 59 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1052-11_0_3_line_59 |  | 56 | 57 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1052-11_0_3_line_60 |  | 57 | 58 | 0.028446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1052-11_0_3_line_61 |  | 59 | 62 | 0.016722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1052-11_0_3_line_62 |  | 60 | 61 | 0.0060667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1052-11_0_3_line_63 |  | 61 | 62 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1052-11_0_3_line_64 |  | 63 | 64 | 0.0064122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1052-11_0_3_line_65 |  | 63 | 65 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1052-11_0_3_line_66 |  | 65 | 66 | 0.0059597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1052-11_0_3_line_67 |  | 66 | 67 | 0.0064554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1052-11_0_3_line_68 |  | 68 | 69 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1052-11_0_3_line_69 |  | 68 | 70 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1052-11_0_3_line_70 |  | 70 | 71 | 0.020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1052-11_0_3_line_71 |  | 71 | 72 | 0.0086972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1052-11_0_3_trafo_78 | 0.63 MVA 20/0.4 kV | 73 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2669152.8049 | 1216451.2845 | 2669188.0107 | 1216466.5411
1 | 2669152.8049 | 1216451.2845 | 2669154.4516 | 1216448.0905 | 2669160.1763 | 1216450.0693 | 2669162.7798 | 1216450.1328 | 2669165.243 | 1216449.2053 | 2669167.6657 | 1216446.5317 | 2669170.1436 | 1216444.9928 | 2669174.533 | 1216444.2655 | 2669178.3331 | 1216444.5987 | 2669179.3762 | 1216441.7312 | 2669188.8421 | 1216443.2198 | 2669198.6573 | 1216444.7124 | 2669207.5248 | 1216448.0396
2 | 2669152.8049 | 1216451.2845 | 2669154.4516 | 1216448.0905 | 2669149.7972 | 1216444.8345 | 2669148.5797 | 1216442.4411 | 2669148.4826 | 1216438.3818 | 2669147.7846 | 1216437.0284 | 2669145.4934 | 1216434.9116 | 2669141.1832 | 1216432.0821 | 2669144.2012 | 1216427.1806 | 2669145.2309 | 1216421.5446 | 2669150.5601 | 1216422.2735 | 2669153.797 | 1216421.4105 | 2669159.4455 | 1216418.8299 | 2669180.9768 | 1216407.1946
3 | 2669207.5248 | 1216448.0396 | 2669208.8154 | 1216444.1299
4 | 2669222.9193 | 1216454.8671 | 2669211.6372 | 1216449.5884 | 2669207.5248 | 1216448.0396
5 | 2669210.773 | 1216392.5978 | 2669203.6133 | 1216397.1621 | 2669180.9768 | 1216407.1946
6 | 2669180.9768 | 1216407.1946 | 2669166.1487 | 1216402.5752 | 2669153.3229 | 1216395.0003
7 | 2669187.8136 | 1216526.5605 | 2669184.3062 | 1216533.7244
8 | 2669187.8136 | 1216526.5605 | 2669205.7678 | 1216489.8931
9 | 2669184.3062 | 1216533.7244 | 2669202.556 | 1216542.4528 | 2669205.9011 | 1216544.469
10 | 2669221.2239 | 1216458.3274 | 2669205.7678 | 1216489.8931
11 | 2669211.2946 | 1216436.5984 | 2669208.8154 | 1216444.1299
12 | 2669222.9193 | 1216454.8671 | 2669233.7831 | 1216460.4951
13 | 2669222.9193 | 1216454.8671 | 2669221.2239 | 1216458.3274
14 | 2669079.4509 | 1216337.4623 | 2669083.077 | 1216354.7708 | 2669084.8538 | 1216363.2745
15 | 2669084.8538 | 1216363.2745 | 2669098.4603 | 1216362.5984 | 2669110.437 | 1216369.6719
16 | 2669079.4509 | 1216337.4623 | 2669091.5823 | 1216336.9692 | 2669100.575 | 1216333.4489 | 2669111.2183 | 1216334.2617 | 2669111.897 | 1216334.6562
17 | 2669110.437 | 1216369.6719 | 2669132.423 | 1216382.6568
18 | 2669216.9037 | 1216401.4635 | 2669214.8419 | 1216396.592 | 2669220.3097 | 1216393.2312 | 2669222.4892 | 1216391.889 | 2669225.1992 | 1216394.5554 | 2669228.7361 | 1216395.9752 | 2669232.5483 | 1216395.9194 | 2669236.0435 | 1216394.3924
19 | 2669210.773 | 1216392.5978 | 2669214.8419 | 1216396.592 | 2669216.9037 | 1216401.4635
20 | 2669216.9037 | 1216401.4635 | 2669218.6117 | 1216401.0363
21 | 2669236.0435 | 1216394.3924 | 2669238.8426 | 1216391.3563 | 2669240.1105 | 1216387.4352 | 2669250.4437 | 1216385.5207
22 | 2669236.0435 | 1216394.3924 | 2669241.164 | 1216401.3229 | 2669244.3133 | 1216404.0834 | 2669261.1648 | 1216410.9835 | 2669289.4714 | 1216422.8374
23 | 2669210.773 | 1216392.5978 | 2669205.6698 | 1216390.7152 | 2669193.0077 | 1216383.3969
24 | 2669218.6117 | 1216401.0363 | 2669223.4448 | 1216399.8273 | 2669234.3902 | 1216400.1101 | 2669236.2536 | 1216401.1435 | 2669241.4671 | 1216405.9516 | 2669241.4671 | 1216405.9516
25 | 2669111.897 | 1216334.6562 | 2669141.8662 | 1216352.0769
26 | 2669153.3229 | 1216395.0003 | 2669132.423 | 1216382.6568
27 | 2669244.801 | 1216368.6445 | 2669241.0797 | 1216366.1108 | 2669253.7851 | 1216349.5367 | 2669250.4602 | 1216347.5191
28 | 2669250.4437 | 1216385.5207 | 2669249.9361 | 1216382.1571 | 2669247.3781 | 1216382.094 | 2669244.7612 | 1216380.5626 | 2669242.9913 | 1216378.6742 | 2669242.1346 | 1216375.9515 | 2669242.6946 | 1216372.8449 | 2669243.8677 | 1216369.9011 | 2669244.801 | 1216368.6445
29 | 2669244.801 | 1216368.6445 | 2669248.8458 | 1216363.1768
30 | 2669250.4602 | 1216347.5191 | 2669197.484 | 1216315.2997
31 | 2669250.4437 | 1216385.5207 | 2669255.3668 | 1216384.6106 | 2669278.3471 | 1216382.8987 | 2669298.6944 | 1216383.0019 | 2669304.4271 | 1216383.5578
32 | 2669257.9771 | 1216350.8334 | 2669248.8458 | 1216363.1768
33 | 2669197.484 | 1216315.2997 | 2669157.8332 | 1216291.1847
34 | 2669289.7341 | 1216422.9474 | 2669289.4714 | 1216422.8374
35 | 2669306.465 | 1216383.7554 | 2669304.4271 | 1216383.5578
36 | 2669312.5052 | 1216384.3411 | 2669306.465 | 1216383.7554
37 | 2669345.6256 | 1216394.0435 | 2669328.3851 | 1216387.9502 | 2669312.5052 | 1216384.3411
38 | 2669312.5052 | 1216384.3411 | 2669311.0092 | 1216375.8739 | 2669312.4873 | 1216371.5217 | 2669315.6093 | 1216368.6617
39 | 2669254.6982 | 1216471.3302 | 2669233.7831 | 1216460.4951
40 | 2669241.4671 | 1216405.9516 | 2669248.7648 | 1216409.7721 | 2669252.5751 | 1216411.3385
41 | 2669157.8332 | 1216291.1847 | 2669131.05 | 1216274.8955
42 | 2669289.7341 | 1216422.9474 | 2669301.3621 | 1216427.8168 | 2669310.9922 | 1216432.1469
43 | 2669284.9131 | 1216491.3008 | 2669265.8548 | 1216481.2235
44 | 2669309.8925 | 1216504.5089 | 2669284.9131 | 1216491.3008
45 | 2669340.3425 | 1216449.819 | 2669358.9633 | 1216459.4978
46 | 2669340.3425 | 1216449.819 | 2669328.2396 | 1216443.5281 | 2669320.7149 | 1216440.1955
47 | 2669266.3948 | 1216477.3896 | 2669289.485 | 1216489.3515
48 | 2669311.6361 | 1216500.8269 | 2669289.485 | 1216489.3515
49 | 2669266.3948 | 1216477.3896 | 2669254.6982 | 1216471.3302
50 | 2669311.6361 | 1216500.8269 | 2669309.8925 | 1216504.5089
51 | 2669311.6361 | 1216500.8269 | 2669314.9205 | 1216502.5944
52 | 2669309.8925 | 1216504.5089 | 2669304.7964 | 1216516.2033
53 | 2669314.9205 | 1216502.5944 | 2669336.769 | 1216514.3522
54 | 2669304.7964 | 1216516.2033 | 2669304.2563 | 1216517.4428
55 | 2669345.4014 | 1216518.9977 | 2669336.769 | 1216514.3522
56 | 2669343.7232 | 1216522.2802 | 2669345.4014 | 1216518.9977
57 | 2669343.7232 | 1216522.2802 | 2669340.2115 | 1216529.1437
58 | 2669345.4014 | 1216518.9977 | 2669357.2054 | 1216525.8912
59 | 2669294.3222 | 1216540.2395 | 2669304.2563 | 1216517.4428
60 | 2669294.3222 | 1216540.2395 | 2669298.5026 | 1216546.3808 | 2669305.0711 | 1216550.86 | 2669316.9054 | 1216556.4001
61 | 2669371.645 | 1216534.3238 | 2669357.2054 | 1216525.8912
62 | 2669370.247 | 1216537.0203 | 2669364.9687 | 1216534.0297
63 | 2669371.645 | 1216534.3238 | 2669370.247 | 1216537.0203
64 | 2669316.8461 | 1216434.7641 | 2669312.2009 | 1216432.6904 | 2669310.9922 | 1216432.1469
65 | 2669316.8461 | 1216434.7641 | 2669320.5626 | 1216436.4233 | 2669333.4094 | 1216442.4143
66 | 2669333.4094 | 1216442.4143 | 2669338.6564 | 1216444.8612 | 2669338.8075 | 1216444.9396
67 | 2669344.5376 | 1216447.9124 | 2669338.8075 | 1216444.9396
68 | 2669302.04 | 1216431.9247 | 2669320.7149 | 1216440.1955
69 | 2669302.04 | 1216431.9247 | 2669294.1571 | 1216428.4335 | 2669279.3679 | 1216422.3534
70 | 2669260.6191 | 1216414.6455 | 2669279.3679 | 1216422.3534
71 | 2669260.6191 | 1216414.6455 | 2669252.5751 | 1216411.3385

## bus_geodata
| x | y | coords
0 | 2669188.0107 | 1216466.5411
1 | 2669152.8049 | 1216451.2845
2 | 2669207.5248 | 1216448.0396
3 | 2669180.9768 | 1216407.1946
4 | 2669187.8136 | 1216526.5605
5 | 2669184.3062 | 1216533.7244
6 | 2669205.7678 | 1216489.8931
7 | 2669208.8154 | 1216444.1299
8 | 2669222.9193 | 1216454.8671
9 | 2669084.8538 | 1216363.2745
10 | 2669079.4509 | 1216337.4623
11 | 2669110.437 | 1216369.6719
12 | 2669211.2946 | 1216436.5984
13 | 2669216.9037 | 1216401.4635
14 | 2669236.0435 | 1216394.3924
15 | 2669210.773 | 1216392.5978
16 | 2669218.6117 | 1216401.0363
17 | 2669111.897 | 1216334.6562
18 | 2669153.3229 | 1216395.0003
19 | 2669244.801 | 1216368.6445
20 | 2669250.4602 | 1216347.5191
21 | 2669250.4437 | 1216385.5207
22 | 2669248.8458 | 1216363.1768
23 | 2669197.484 | 1216315.2997
24 | 2669289.4714 | 1216422.8374
25 | 2669193.0077 | 1216383.3969
26 | 2669304.4271 | 1216383.5578
27 | 2669312.5052 | 1216384.3411
28 | 2669306.465 | 1216383.7554
29 | 2669345.6256 | 1216394.0435
30 | 2669315.6093 | 1216368.6617
31 | 2669221.2239 | 1216458.3274
32 | 2669205.9011 | 1216544.469
33 | 2669233.7831 | 1216460.4951
34 | 2669132.423 | 1216382.6568
35 | 2669241.4671 | 1216405.9516
36 | 2669141.8662 | 1216352.0769
37 | 2669257.9771 | 1216350.8334
38 | 2669157.8332 | 1216291.1847
39 | 2669289.7341 | 1216422.9474
40 | 2669265.8548 | 1216481.2235
41 | 2669284.9131 | 1216491.3008
42 | 2669358.9633 | 1216459.4978
43 | 2669340.3425 | 1216449.819
44 | 2669131.05 | 1216274.8955
45 | 2669289.485 | 1216489.3515
46 | 2669266.3948 | 1216477.3896
47 | 2669311.6361 | 1216500.8269
48 | 2669254.6982 | 1216471.3302
49 | 2669309.8925 | 1216504.5089
50 | 2669314.9205 | 1216502.5944
51 | 2669304.7964 | 1216516.2033
52 | 2669336.769 | 1216514.3522
53 | 2669343.7232 | 1216522.2802
54 | 2669345.4014 | 1216518.9977
55 | 2669340.2115 | 1216529.1437
56 | 2669304.2563 | 1216517.4428
57 | 2669294.3222 | 1216540.2395
58 | 2669316.9054 | 1216556.4001
59 | 2669357.2054 | 1216525.8912
60 | 2669364.9687 | 1216534.0297
61 | 2669370.247 | 1216537.0203
62 | 2669371.645 | 1216534.3238
63 | 2669316.8461 | 1216434.7641
64 | 2669310.9922 | 1216432.1469
65 | 2669333.4094 | 1216442.4143
66 | 2669338.8075 | 1216444.9396
67 | 2669344.5376 | 1216447.9124
68 | 2669302.04 | 1216431.9247
69 | 2669320.7149 | 1216440.1955
70 | 2669279.3679 | 1216422.3534
71 | 2669260.6191 | 1216414.6455
72 | 2669252.5751 | 1216411.3386
73 | 2669208.8154 | 1216444.1299

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99068 | -0.17728 | 0.034304 | 0.0085975
1 | 0.99188 | -0.15393 | 0 | 0
2 | 0.99875 | -0.023582 | 0 | 0
3 | 0.98455 | -0.29484 | 0 | 0
4 | 0.99534 | -0.089323 | 0 | 0
5 | 0.9952 | -0.091836 | 0 | 0
6 | 0.996 | -0.076465 | 0.017913 | 0.0044894
7 | 0.99918 | -0.015515 | 0 | 0
8 | 0.99727 | -0.051948 | 0.0042154 | 0.0010565
9 | 0.97911 | -0.40105 | 0 | 0
10 | 0.97838 | -0.4153 | 0 | 0
11 | 0.97987 | -0.38618 | 0.015404 | 0.0038606
12 | 1 | 0 | -0.34334 | -0.087631
13 | 0.97946 | -0.39387 | 0 | 0
14 | 0.97735 | -0.43512 | 0 | 0
15 | 0.98066 | -0.37041 | 0 | 0
16 | 0.97939 | -0.39518 | 0.0039928 | 0.0010007
17 | 0.97747 | -0.43331 | 0.016008 | 0.0040121
18 | 0.98231 | -0.33849 | 0.018574 | 0.004655
19 | 0.97554 | -0.47054 | 0 | 0
20 | 0.97471 | -0.48695 | 0 | 0
21 | 0.97634 | -0.45481 | 0 | 0
22 | 0.97549 | -0.47153 | 0.0036139 | 0.00090573
23 | 0.97294 | -0.5218 | 0.016176 | 0.004054
24 | 0.97624 | -0.45689 | 0.0026783 | 0.00067124
25 | 0.9805 | -0.37352 | 0.0085438 | 0.0021413
26 | 0.97539 | -0.47358 | 0.0027029 | 0.0006774
27 | 0.97528 | -0.47573 | 0 | 0
28 | 0.97536 | -0.47419 | 0.0023725 | 0.00059462
29 | 0.9751 | -0.47924 | 0.0055548 | 0.0013922
30 | 0.97515 | -0.47838 | 0.0083024 | 0.0020808
31 | 0.99715 | -0.054367 | 0 | 0
32 | 0.99481 | -0.099447 | 0.017911 | 0.004489
33 | 0.99664 | -0.064048 | 0.004079 | 0.0010223
34 | 0.98094 | -0.36529 | 0.015926 | 0.0039913
35 | 0.97853 | -0.41205 | 0.0033124 | 0.00083016
36 | 0.97702 | -0.44198 | 0.0137 | 0.0034336
37 | 0.97543 | -0.47274 | 0.0043246 | 0.0010838
38 | 0.97232 | -0.53412 | 0.011807 | 0.0029591
39 | 0.97624 | -0.45698 | 0.0026891 | 0.00067395
40 | 0.99263 | -0.1416 | 0.0040751 | 0.0010213
41 | 0.99271 | -0.14005 | 0.004061 | 0.0010178
42 | 0.9762 | -0.45776 | 0.0057416 | 0.001439
43 | 0.97632 | -0.45556 | 0.0058159 | 0.0014576
44 | 0.97224 | -0.53562 | 0.0025981 | 0.00065115
45 | 0.9939 | -0.11701 | 0.004131 | 0.0010353
46 | 0.99494 | -0.096843 | 0.00409 | 0.001025
47 | 0.99299 | -0.13458 | 0 | 0
48 | 0.99552 | -0.085695 | 0.0042233 | 0.0010585
49 | 0.99292 | -0.13598 | 0 | 0
50 | 0.99292 | -0.13592 | 0.0087752 | 0.0021993
51 | 0.99278 | -0.13855 | 0.0052544 | 0.0013169
52 | 0.99266 | -0.14099 | 0.0020124 | 0.00050434
53 | 0.99256 | -0.14281 | 0 | 0
54 | 0.99257 | -0.14265 | 0 | 0
55 | 0.99255 | -0.14315 | 0.0024878 | 0.00062351
56 | 0.99278 | -0.1387 | 0.0024858 | 0.00062301
57 | 0.99269 | -0.1403 | 0 | 0
58 | 0.9926 | -0.14214 | 0.0036453 | 0.0009136
59 | 0.99248 | -0.14436 | 0.0041959 | 0.0010516
60 | 0.99242 | -0.14567 | 0.0028686 | 0.00071894
61 | 0.99243 | -0.14536 | 0 | 0
62 | 0.99244 | -0.14521 | 0 | 0
63 | 0.97587 | -0.4642 | 0.0027378 | 0.00068616
64 | 0.97594 | -0.46289 | 0.0027378 | 0.00068616
65 | 0.97573 | -0.46703 | 0.0028208 | 0.00070695
66 | 0.97569 | -0.46765 | 0.0028259 | 0.00070823
67 | 0.97568 | -0.46798 | 0.0028208 | 0.00070695
68 | 0.97687 | -0.44456 | 0.0050084 | 0.0012552
69 | 0.97655 | -0.45094 | 0.0055232 | 0.0013843
70 | 0.97738 | -0.43464 | 0.0054295 | 0.0013608
71 | 0.9779 | -0.42446 | 0.003128 | 0.00078396
72 | 0.97814 | -0.4196 | 0.0029129 | 0.00073005
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.034304 | -0.0085975 | 0.034343 | 0.0086214 | 3.82e-05 | 2.3954e-05 | 0.051526 | 0.051526 | 0.051526 | 0.99068 | -0.17728 | 0.99188 | -0.15393 | 14.1555
1 | -0.24294 | -0.061986 | 0.24448 | 0.06297 | 0.0015402 | 0.00098415 | 0.36486 | 0.36486 | 0.36486 | 0.99188 | -0.15393 | 0.99875 | -0.023582 | 50.1176
2 | 0.2086 | 0.053365 | -0.20719 | -0.052463 | 0.0014122 | 0.00090184 | 0.31333 | 0.31333 | 0.31333 | 0.99188 | -0.15393 | 0.98455 | -0.29484 | 43.0401
3 | -0.3413 | -0.087382 | 0.34143 | 0.087467 | 0.00013341 | 8.522e-05 | 0.50915 | 0.50915 | 0.50915 | 0.99875 | -0.023582 | 0.99918 | -0.015515 | 46.6255
4 | 0.096817 | 0.024411 | -0.096685 | -0.024328 | 0.00013125 | 8.3777e-05 | 0.1443 | 0.1443 | 0.1443 | 0.99875 | -0.023582 | 0.99727 | -0.051948 | 39.6419
5 | 0.12721 | 0.032281 | -0.12675 | -0.031986 | 0.00046058 | 0.00029435 | 0.19241 | 0.19241 | 0.19241 | 0.98455 | -0.29484 | 0.98066 | -0.37041 | 52.8602
6 | 0.079975 | 0.020182 | -0.079808 | -0.020076 | 0.00016684 | 0.00010639 | 0.12092 | 0.12092 | 0.12092 | 0.98455 | -0.29484 | 0.98231 | -0.33849 | 33.2201
7 | 0.01792 | 0.0044941 | -0.017918 | -0.0044928 | 2.146e-06 | 1.2699e-06 | 0.026791 | 0.026791 | 0.026791 | 0.99534 | -0.089323 | 0.9952 | -0.091836 | 7.3602
8 | -0.01792 | -0.0044941 | 0.017931 | 0.0045006 | 1.0989e-05 | 6.502e-06 | 0.026791 | 0.026791 | 0.026791 | 0.99534 | -0.089323 | 0.996 | -0.076465 | 7.3602
9 | 0.017918 | 0.0044928 | -0.017911 | -0.004489 | 6.4964e-06 | 3.8442e-06 | 0.026791 | 0.026791 | 0.026791 | 0.9952 | -0.091836 | 0.99481 | -0.099447 | 7.3603
10 | -0.035844 | -0.00899 | 0.035882 | 0.0090137 | 3.7798e-05 | 2.3733e-05 | 0.053553 | 0.053552 | 0.053553 | 0.996 | -0.076465 | 0.99715 | -0.054367 | 14.7122
11 | -0.34143 | -0.087467 | 0.34169 | 0.087631 | 0.0002569 | 0.0001641 | 0.50915 | 0.50915 | 0.50915 | 0.99918 | -0.015515 | 1 | 0 | 46.6255
12 | 0.056584 | 0.014255 | -0.056551 | -0.014234 | 3.2725e-05 | 2.0785e-05 | 0.084454 | 0.084454 | 0.084454 | 0.99727 | -0.051948 | 0.99664 | -0.064048 | 23.2017
13 | 0.035886 | 0.0090163 | -0.035882 | -0.0090137 | 4.1426e-06 | 2.601e-06 | 0.053552 | 0.053552 | 0.053552 | 0.99727 | -0.051948 | 0.99715 | -0.054367 | 14.7122
14 | 0.02976 | 0.0074774 | -0.02974 | -0.0074648 | 2.0236e-05 | 1.262e-05 | 0.045235 | 0.045235 | 0.045235 | 0.97911 | -0.40105 | 0.97838 | -0.4153 | 12.4273
15 | -0.02976 | -0.0074774 | 0.029781 | 0.0074906 | 2.1127e-05 | 1.3175e-05 | 0.045235 | 0.045235 | 0.045235 | 0.97911 | -0.40105 | 0.97987 | -0.38618 | 12.4273
16 | 0.02974 | 0.0074648 | -0.029714 | -0.0074489 | 2.552e-05 | 1.5916e-05 | 0.045235 | 0.045235 | 0.045235 | 0.97838 | -0.4153 | 0.97747 | -0.43331 | 12.4273
17 | -0.045185 | -0.011351 | 0.04523 | 0.01138 | 4.5097e-05 | 2.854e-05 | 0.068627 | 0.068627 | 0.068627 | 0.97987 | -0.38618 | 0.98094 | -0.36529 | 18.8537
18 | 0.077128 | 0.019466 | -0.076976 | -0.019369 | 0.00015205 | 9.6944e-05 | 0.11722 | 0.11722 | 0.11722 | 0.97946 | -0.39387 | 0.97735 | -0.43512 | 32.2045
19 | -0.11808 | -0.02976 | 0.11821 | 0.029844 | 0.00013272 | 8.4805e-05 | 0.17945 | 0.17944 | 0.17945 | 0.97946 | -0.39387 | 0.98066 | -0.37041 | 49.2981
20 | 0.040948 | 0.010293 | -0.040946 | -0.010292 | 2.556e-06 | 1.6137e-06 | 0.062221 | 0.062221 | 0.062221 | 0.97946 | -0.39387 | 0.97939 | -0.39518 | 17.0937
21 | 0.05764 | 0.014515 | -0.057585 | -0.01448 | 5.4207e-05 | 3.4458e-05 | 0.087781 | 0.087781 | 0.087781 | 0.97735 | -0.43512 | 0.97634 | -0.45481 | 24.1158
22 | 0.019336 | 0.0048548 | -0.019316 | -0.0048427 | 2.0059e-05 | 1.2065e-05 | 0.029443 | 0.029443 | 0.029443 | 0.97735 | -0.43512 | 0.97624 | -0.45689 | 8.0888
23 | 0.008545 | 0.0021418 | -0.0085438 | -0.0021413 | 1.2649e-06 | 5.5646e-07 | 0.012966 | 0.012966 | 0.012966 | 0.98066 | -0.37041 | 0.9805 | -0.37352 | 3.5621
24 | 0.036953 | 0.009291 | -0.036923 | -0.0092723 | 2.9745e-05 | 1.872e-05 | 0.056155 | 0.056155 | 0.056155 | 0.97939 | -0.39518 | 0.97853 | -0.41205 | 15.4271
25 | 0.013706 | 0.0034368 | -0.0137 | -0.0034336 | 5.6596e-06 | 3.1878e-06 | 0.020866 | 0.020866 | 0.020866 | 0.97747 | -0.43331 | 0.97702 | -0.44198 | 5.7324
26 | 0.061234 | 0.015421 | -0.061156 | -0.015371 | 7.8363e-05 | 4.9845e-05 | 0.092785 | 0.092785 | 0.092785 | 0.98231 | -0.33849 | 0.98094 | -0.36529 | 25.4905
27 | 0.030664 | 0.0077156 | -0.03064 | -0.0077006 | 2.4028e-05 | 1.5013e-05 | 0.046784 | 0.046784 | 0.046784 | 0.97554 | -0.47054 | 0.97471 | -0.48695 | 12.8527
28 | -0.038603 | -0.0097053 | 0.038632 | 0.0097236 | 2.9013e-05 | 1.8289e-05 | 0.058893 | 0.058893 | 0.058893 | 0.97554 | -0.47054 | 0.97634 | -0.45481 | 16.1795
29 | 0.0079391 | 0.0019897 | -0.0079388 | -0.0019895 | 3.7401e-07 | 1.5446e-07 | 0.01211 | 0.01211 | 0.01211 | 0.97554 | -0.47054 | 0.97549 | -0.47153 | 3.3269
30 | 0.03064 | 0.0077006 | -0.030589 | -0.0076688 | 5.0892e-05 | 3.1799e-05 | 0.046784 | 0.046784 | 0.046784 | 0.97471 | -0.48695 | 0.97294 | -0.5218 | 12.8528
31 | 0.018953 | 0.0047566 | -0.018936 | -0.0047464 | 1.6949e-05 | 1.017e-05 | 0.028888 | 0.028888 | 0.028888 | 0.97634 | -0.45481 | 0.97539 | -0.47358 | 7.9364
32 | 0.0043249 | 0.0010838 | -0.0043246 | -0.0010838 | 2.5059e-07 | -3.1292e-08 | 0.0065971 | 0.0065972 | 0.0065972 | 0.97549 | -0.47153 | 0.97543 | -0.47274 | 1.8124
33 | 0.014414 | 0.0036148 | -0.014405 | -0.0036099 | 8.4576e-06 | 4.8369e-06 | 0.022045 | 0.022045 | 0.022045 | 0.97294 | -0.5218 | 0.97232 | -0.53412 | 6.0564
34 | 0.016638 | 0.0041715 | -0.016638 | -0.0041715 | 6.8674e-08 | 4.0391e-08 | 0.025361 | 0.025361 | 0.025361 | 0.97624 | -0.45689 | 0.97624 | -0.45698 | 6.9673
35 | 0.016233 | 0.004069 | -0.016233 | -0.0040688 | 4.7088e-07 | 2.7581e-07 | 0.024765 | 0.024765 | 0.024765 | 0.97539 | -0.47358 | 0.97536 | -0.47419 | 6.8036
36 | -0.013859 | -0.0034736 | 0.01386 | 0.0034741 | 1.0175e-06 | 5.7549e-07 | 0.021145 | 0.021145 | 0.021145 | 0.97528 | -0.47573 | 0.97536 | -0.47419 | 5.8092
37 | 0.0055558 | 0.0013923 | -0.0055548 | -0.0013922 | 9.2901e-07 | 1.644e-07 | 0.0084765 | 0.0084767 | 0.0084767 | 0.97528 | -0.47573 | 0.9751 | -0.47924 | 2.3288
38 | 0.0083034 | 0.0020812 | -0.0083024 | -0.0020808 | 1.049e-06 | 4.539e-07 | 0.012669 | 0.012669 | 0.012669 | 0.97528 | -0.47573 | 0.97515 | -0.47838 | 3.4805
39 | 0.052472 | 0.013212 | -0.052418 | -0.013177 | 5.4244e-05 | 3.4409e-05 | 0.078364 | 0.078364 | 0.078364 | 0.99664 | -0.064048 | 0.99552 | -0.085695 | 21.5287
40 | 0.033611 | 0.0084421 | -0.033599 | -0.0084345 | 1.2109e-05 | 7.5943e-06 | 0.051118 | 0.051118 | 0.051118 | 0.97853 | -0.41205 | 0.97814 | -0.4196 | 14.0433
41 | 0.0025983 | 0.00065088 | -0.0025981 | -0.00065115 | 1.8587e-07 | -2.6982e-07 | 0.0039763 | 0.0039764 | 0.0039764 | 0.97232 | -0.53412 | 0.97224 | -0.53562 | 1.0924
42 | 0.013949 | 0.0034975 | -0.013945 | -0.0034953 | 3.9272e-06 | 2.2239e-06 | 0.021262 | 0.021262 | 0.021262 | 0.97624 | -0.45698 | 0.97594 | -0.46289 | 5.8413
43 | -0.0040751 | -0.0010213 | 0.0040754 | 0.0010212 | 3.017e-07 | -8.5612e-08 | 0.0061089 | 0.0061088 | 0.0061089 | 0.99263 | -0.1416 | 0.99271 | -0.14005 | 1.6783
44 | -0.0081364 | -0.002039 | 0.008138 | 0.0020397 | 1.5761e-06 | 6.433e-07 | 0.012196 | 0.012196 | 0.012196 | 0.99271 | -0.14005 | 0.99292 | -0.13598 | 3.3506
45 | -0.0057416 | -0.001439 | 0.0057422 | 0.0014391 | 6.0279e-07 | 1.2338e-07 | 0.0087519 | 0.0087518 | 0.0087519 | 0.9762 | -0.45776 | 0.97632 | -0.45556 | 2.4044
46 | -0.011558 | -0.0028967 | 0.011561 | 0.0028981 | 2.545e-06 | 1.3552e-06 | 0.017616 | 0.017616 | 0.017616 | 0.97632 | -0.45556 | 0.97655 | -0.45094 | 4.8395
47 | -0.044037 | -0.011051 | 0.044079 | 0.011078 | 4.2395e-05 | 2.6795e-05 | 0.065935 | 0.065935 | 0.065935 | 0.9939 | -0.11701 | 0.99494 | -0.096843 | 18.114
48 | 0.039906 | 0.010016 | -0.039872 | -0.0099945 | 3.3399e-05 | 2.1052e-05 | 0.05975 | 0.05975 | 0.05975 | 0.9939 | -0.11701 | 0.99299 | -0.13458 | 16.4149
49 | -0.048169 | -0.012103 | 0.048195 | 0.012119 | 2.5645e-05 | 1.6242e-05 | 0.072052 | 0.072052 | 0.072052 | 0.99494 | -0.096843 | 0.99552 | -0.085695 | 19.7944
50 | 0.019527 | 0.0048944 | -0.019526 | -0.0048936 | 1.3078e-06 | 7.8431e-07 | 0.029262 | 0.029262 | 0.029262 | 0.99299 | -0.13458 | 0.99292 | -0.13598 | 8.0389
51 | 0.020346 | 0.0051001 | -0.020344 | -0.0050993 | 1.3002e-06 | 7.8387e-07 | 0.030489 | 0.030489 | 0.030489 | 0.99299 | -0.13458 | 0.99292 | -0.13592 | 8.376
52 | 0.011388 | 0.0028539 | -0.011386 | -0.0028532 | 1.3932e-06 | 7.2668e-07 | 0.017066 | 0.017066 | 0.017066 | 0.99292 | -0.13598 | 0.99278 | -0.13855 | 4.6884
53 | 0.011569 | 0.0029001 | -0.011566 | -0.0028986 | 2.7969e-06 | 1.4692e-06 | 0.017338 | 0.017338 | 0.017338 | 0.99292 | -0.13592 | 0.99266 | -0.14099 | 4.7632
54 | 0.0061318 | 0.0015363 | -0.0061317 | -0.0015363 | 4.2824e-08 | 9.9247e-09 | 0.0091904 | 0.0091904 | 0.0091904 | 0.99278 | -0.13855 | 0.99278 | -0.1387 | 2.5248
55 | 0.0095539 | 0.0023943 | -0.0095532 | -0.0023939 | 7.5399e-07 | 3.5584e-07 | 0.014321 | 0.014322 | 0.014322 | 0.99266 | -0.14099 | 0.99257 | -0.14265 | 3.9345
56 | -0.0024879 | -0.00062343 | 0.0024879 | 0.0006234 | 1.9223e-08 | -3.5326e-08 | 0.0037297 | 0.0037297 | 0.0037297 | 0.99256 | -0.14281 | 0.99257 | -0.14265 | 1.0246
57 | 0.0024879 | 0.00062343 | -0.0024878 | -0.00062351 | 4.0198e-08 | -7.387e-08 | 0.0037297 | 0.0037297 | 0.0037297 | 0.99256 | -0.14281 | 0.99255 | -0.14315 | 1.0246
58 | 0.0070653 | 0.0017705 | -0.0070647 | -0.0017703 | 5.7508e-07 | 1.9139e-07 | 0.010592 | 0.010592 | 0.010592 | 0.99257 | -0.14265 | 0.99248 | -0.14436 | 2.9099
59 | 0.0036459 | 0.00091329 | -0.0036456 | -0.00091343 | 2.7846e-07 | -1.433e-07 | 0.0054645 | 0.0054646 | 0.0054646 | 0.99278 | -0.1387 | 0.99269 | -0.1403 | 1.5013
60 | 0.0036456 | 0.00091343 | -0.0036453 | -0.0009136 | 3.1855e-07 | -1.6385e-07 | 0.0054646 | 0.0054647 | 0.0054647 | 0.99269 | -0.1403 | 0.9926 | -0.14214 | 1.5013
61 | 0.0028688 | 0.00071872 | -0.0028686 | -0.00071886 | 1.16e-07 | -1.4184e-07 | 0.004301 | 0.0043011 | 0.0043011 | 0.99248 | -0.14436 | 0.99244 | -0.14521 | 1.1816
62 | -0.0028686 | -0.00071894 | 0.0028686 | 0.00071888 | 4.2086e-08 | -5.1453e-08 | 0.0043011 | 0.0043011 | 0.0043011 | 0.99242 | -0.14567 | 0.99243 | -0.14536 | 1.1816
63 | -0.0028686 | -0.00071888 | 0.0028686 | 0.00071886 | 2.1062e-08 | -2.575e-08 | 0.0043011 | 0.0043011 | 0.0043011 | 0.99243 | -0.14536 | 0.99244 | -0.14521 | 1.1816
64 | -0.011207 | -0.0028088 | 0.011207 | 0.0028091 | 7.0213e-07 | 3.6925e-07 | 0.017088 | 0.017088 | 0.017088 | 0.97587 | -0.4642 | 0.97594 | -0.46289 | 4.6945
65 | 0.0084687 | 0.0021226 | -0.0084676 | -0.0021221 | 1.1409e-06 | 5.0227e-07 | 0.012913 | 0.012913 | 0.012913 | 0.97587 | -0.4642 | 0.97573 | -0.46703 | 3.5476
66 | 0.0056468 | 0.0014152 | -0.0056467 | -0.0014151 | 1.6574e-07 | 3.1638e-08 | 0.0086116 | 0.0086116 | 0.0086116 | 0.97573 | -0.46703 | 0.97569 | -0.46765 | 2.3658
67 | 0.0028208 | 0.0007069 | -0.0028208 | -0.00070695 | 4.4801e-08 | -5.1949e-08 | 0.004302 | 0.004302 | 0.004302 | 0.97569 | -0.46765 | 0.97568 | -0.46798 | 1.1819
68 | 0.017089 | 0.0042854 | -0.017084 | -0.0042823 | 5.1903e-06 | 3.0661e-06 | 0.026032 | 0.026032 | 0.026032 | 0.97687 | -0.44456 | 0.97655 | -0.45094 | 7.1516
69 | -0.022097 | -0.0055406 | 0.022108 | 0.005547 | 1.0457e-05 | 6.3843e-06 | 0.033661 | 0.033661 | 0.033661 | 0.97687 | -0.44456 | 0.97738 | -0.43464 | 9.2474
70 | -0.027537 | -0.0069078 | 0.027551 | 0.0069161 | 1.3363e-05 | 8.298e-06 | 0.041927 | 0.041927 | 0.041927 | 0.97738 | -0.43464 | 0.9779 | -0.42446 | 11.5184
71 | -0.030679 | -0.0077 | 0.030686 | 0.0077045 | 7.1087e-06 | 4.4404e-06 | 0.046686 | 0.046686 | 0.046686 | 0.9779 | -0.42446 | 0.97814 | -0.4196 | 12.826

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35265 | 0.089965

## res_load
| p_mw | q_mvar
0 | 0.034304 | 0.0085975
1 | 0.017913 | 0.0044894
2 | 0.0042154 | 0.0010565
3 | 0.015404 | 0.0038606
4 | 0.0093128 | 0.002334
5 | 0.0039928 | 0.0010007
6 | 0.016008 | 0.0040121
7 | 0.018574 | 0.004655
8 | 0.0036139 | 0.00090573
9 | 0.016176 | 0.004054
10 | 0.0026783 | 0.00067124
11 | 0.0085438 | 0.0021413
12 | 0.0027029 | 0.0006774
13 | 0.0023725 | 0.00059462
14 | 0.0055548 | 0.0013922
15 | 0.0083024 | 0.0020808
16 | 0.017911 | 0.004489
17 | 0.004079 | 0.0010223
18 | 0.015926 | 0.0039913
19 | 0.0033124 | 0.00083016
20 | 0.0137 | 0.0034336
21 | 0.0043246 | 0.0010838
22 | 0.011807 | 0.0029591
23 | 0.0026891 | 0.00067395
24 | 0.0040751 | 0.0010213
25 | 0.004061 | 0.0010178
26 | 0.0057416 | 0.001439
27 | 0.0058159 | 0.0014576
28 | 0.0025981 | 0.00065115
29 | 0.004131 | 0.0010353
30 | 0.00409 | 0.001025
31 | 0.0042233 | 0.0010585
32 | 0.0087752 | 0.0021993
33 | 0.0052544 | 0.0013169
34 | 0.0020124 | 0.00050434
35 | 0.0024878 | 0.00062351
36 | 0.0024858 | 0.00062301
37 | 0.0036453 | 0.0009136
38 | 0.0041959 | 0.0010516
39 | 0.0028686 | 0.00071894
40 | 0.0027378 | 0.00068616
41 | 0.0027378 | 0.00068616
42 | 0.0028208 | 0.00070695
43 | 0.0028259 | 0.00070823
44 | 0.0028208 | 0.00070695
45 | 0.0050084 | 0.0012552
46 | 0.0055232 | 0.0013843
47 | 0.0054295 | 0.0013608
48 | 0.003128 | 0.00078396
49 | 0.0029129 | 0.00073005

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1