## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1052-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1052-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1052-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1052-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1052-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1052-8_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1052-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1052-8_0_4_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_1052-8_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1052-8_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1052-8_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1052-8_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1052-8_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1052-8_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1052-8_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1052-8_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1052-8_0_4_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_1052-8_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1052-8_0_4_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_1052-8_0_4_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_1052-8_0_4_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_1052-8_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_1052-8_0_4_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_1052-8_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_1052-8_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_1052-8_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1052-8_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1052-8_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1052-8_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1052-8_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1052-8_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1052-8_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1052-8_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1052-8_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1052-8_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1052-8_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1052-8_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1052-8_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1052-8_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1052-8_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1052-8_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1052-8_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1052-8_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1052-8_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1052-8_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_1052-8_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1052-8_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1052-8_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1052-8_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1052-8_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1052-8_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1052-8_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1052-8_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_1052-8_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1052-8_0_4_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_1052-8_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1052-8_0_4_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_1052-8_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1052-8_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_1052-8_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_1052-8_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1052-8_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1052-8_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1052-8_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1052-8_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1052-8_0_4_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_1052-8_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_1052-8_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1052-8_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_1052-8_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_1052-8_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_1052-8_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1052-8_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1052-8_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_1052-8_0_4_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_1052-8_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_1052-8_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_1052-8_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_1052-8_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_1052-8_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_1052-8_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_1052-8_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_1052-8_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_1052-8_0_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_1052-8_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_1052-8_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_1052-8_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_1052-8_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_1052-8_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_1052-8_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_1052-8_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_1052-8_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_1052-8_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_212_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1052-8_0_4_load_0 | 0 | 0.010824 | 0.0027127 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1052-8_0_4_load_1 | 1 | 0.0039128 | 0.00098065 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1052-8_0_4_load_2 | 2 | 0.0029547 | 0.00074051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1052-8_0_4_load_4 | 4 | 0.0050069 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1052-8_0_4_load_89 | 7 | 0.0052949 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1052-8_0_4_load_15 | 11 | 0.0086059 | 0.0021568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1052-8_0_4_load_5 | 12 | 0.003538 | 0.0008867 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1052-8_0_4_load_8 | 14 | 0.0068337 | 0.0017127 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1052-8_0_4_load_85 | 16 | 0.002323 | 0.0005822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1052-8_0_4_load_87 | 18 | 0.0038272 | 0.00095918 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1052-8_0_4_load_79 | 20 | 0.002833 | 0.00071001 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1052-8_0_4_load_77 | 22 | 0.0032817 | 0.00082246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1052-8_0_4_load_56 | 23 | 0.0035146 | 0.00088084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1052-8_0_4_load_11 | 25 | 0.0063758 | 0.0015979 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1052-8_0_4_load_13 | 27 | 0.0059349 | 0.0014874 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1052-8_0_4_load_18 | 28 | 0.0095757 | 0.0023999 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1052-8_0_4_load_37 | 31 | 0.012851 | 0.0032209 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1052-8_0_4_load_16 | 32 | 0.0029283 | 0.00073389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1052-8_0_4_load_30 | 33 | 0.013995 | 0.0035076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1052-8_0_4_load_27 | 34 | 0.014233 | 0.0035672 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1052-8_0_4_load_20 | 36 | 0.010801 | 0.002707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1052-8_0_4_load_48 | 37 | 0.017636 | 0.0044199 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1052-8_0_4_load_23 | 39 | 0.0097429 | 0.0024418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1052-8_0_4_load_24 | 40 | 0.015057 | 0.0037737 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1052-8_0_4_load_39 | 43 | 0.013804 | 0.0034595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1052-8_0_4_load_88 | 44 | 0.0026715 | 0.00066954 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1052-8_0_4_load_45 | 47 | 0.013701 | 0.0034338 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1052-8_0_4_load_32 | 49 | 0.00974 | 0.0024411 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1052-8_0_4_load_33 | 50 | 0.0087034 | 0.0021813 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1052-8_0_4_load_34 | 51 | 0.0094871 | 0.0023777 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1052-8_0_4_load_35 | 52 | 0.017458 | 0.0043755 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1052-8_0_4_load_46 | 55 | 0.0096427 | 0.0024167 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1052-8_0_4_load_91 | 56 | 0.019346 | 0.0048485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1052-8_0_4_load_44 | 58 | 0.015393 | 0.0038579 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1052-8_0_4_load_52 | 59 | 0.0026743 | 0.00067024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1052-8_0_4_load_49 | 60 | 0.010165 | 0.0025477 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1052-8_0_4_load_50 | 61 | 0.0027004 | 0.00067678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1052-8_0_4_load_51 | 62 | 0.0027004 | 0.00067678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1052-8_0_4_load_53 | 63 | 0.0022365 | 0.00056051 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1052-8_0_4_load_57 | 64 | 0.002766 | 0.00069323 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1052-8_0_4_load_86 | 65 | 0.002686 | 0.00067317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1052-8_0_4_load_65 | 66 | 0.0025347 | 0.00063526 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1052-8_0_4_load_84 | 68 | 0.0049163 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1052-8_0_4_load_75 | 70 | 0.0025464 | 0.00063818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1052-8_0_4_load_60 | 71 | 0.0019361 | 0.00048523 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1052-8_0_4_load_97 | 74 | 0.0019039 | 0.00047717 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1052-8_0_4_load_66 | 75 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1052-8_0_4_load_67 | 76 | 0.0060055 | 0.0015051 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1052-8_0_4_load_68 | 77 | 0.0028188 | 0.00070646 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1052-8_0_4_load_73 | 78 | 0.0052821 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1052-8_0_4_load_71 | 79 | 0.0049004 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1052-8_0_4_load_70 | 80 | 0.0028168 | 0.00070596 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1052-8_0_4_load_69 | 81 | 0.0043005 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1052-8_0_4_load_72 | 82 | 0.003349 | 0.00083933 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1052-8_0_4_load_94 | 83 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1052-8_0_4_load_82 | 84 | 0.0039465 | 0.0009891 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1052-8_0_4_load_81 | 85 | 0.007146 | 0.0017909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1052-8_0_4_load_74 | 86 | 0.0029397 | 0.00073676 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1052-8_0_4_load_80 | 87 | 0.002222 | 0.00055688 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1052-8_0_4_load_76 | 88 | 0.0024613 | 0.00061687 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1052-8_0_4_load_78 | 89 | 0.0020978 | 0.00052577 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1052-8_0_4_load_95 | 90 | 0.00065153 | 0.00016329 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1052-8_0_4_load_83 | 91 | 0.0027297 | 0.00068412 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1052-8_0_4_load_90 | 92 | 0.01671 | 0.004188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1052-8_0_4_line_0 |  | 0 | 1 | 0.033847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1052-8_0_4_line_1 |  | 0 | 2 | 0.029868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1052-8_0_4_line_2 |  | 1 | 3 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1052-8_0_4_line_3 |  | 2 | 4 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1052-8_0_4_line_4 |  | 3 | 5 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1052-8_0_4_line_5 |  | 4 | 6 | 0.033195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1052-8_0_4_line_6 |  | 5 | 7 | 0.0032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1052-8_0_4_line_7 |  | 5 | 8 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1052-8_0_4_line_8 |  | 6 | 12 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1052-8_0_4_line_9 |  | 7 | 44 | 0.024303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1052-8_0_4_line_10 |  | 8 | 39 | 0.00058911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1052-8_0_4_line_11 |  | 9 | 10 | 0.005252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1052-8_0_4_line_12 |  | 9 | 11 | 0.01628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1052-8_0_4_line_13 |  | 10 | 35 | 0.009263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1052-8_0_4_line_14 |  | 10 | 36 | 0.02607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1052-8_0_4_line_15 |  | 11 | 32 | 0.0052893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1052-8_0_4_line_16 |  | 12 | 13 | 0.04263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1052-8_0_4_line_17 |  | 13 | 14 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1052-8_0_4_line_18 |  | 13 | 15 | 0.077632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1052-8_0_4_line_19 |  | 14 | 16 | 0.0009617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1052-8_0_4_line_20 |  | 15 | 17 | 0.031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1052-8_0_4_line_21 |  | 15 | 18 | 0.067082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1052-8_0_4_line_22 |  | 16 | 20 | 0.032322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1052-8_0_4_line_23 |  | 17 | 19 | 0.061229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1052-8_0_4_line_24 |  | 18 | 21 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1052-8_0_4_line_25 |  | 19 | 22 | 0.039789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1052-8_0_4_line_26 |  | 20 | 87 | 0.0075115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1052-8_0_4_line_27 |  | 21 | 65 | 0.0076134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1052-8_0_4_line_28 |  | 21 | 24 | 0.003534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1052-8_0_4_line_29 |  | 22 | 70 | 0.00088217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1052-8_0_4_line_30 |  | 23 | 24 | 0.035777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1052-8_0_4_line_31 |  | 24 | 64 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1052-8_0_4_line_32 |  | 24 | 63 | 0.026903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1052-8_0_4_line_33 |  | 25 | 26 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1052-8_0_4_line_34 |  | 26 | 27 | 0.017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1052-8_0_4_line_35 |  | 27 | 28 | 0.00089567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1052-8_0_4_line_36 |  | 28 | 32 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1052-8_0_4_line_37 |  | 29 | 30 | 0.041352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1052-8_0_4_line_38 |  | 29 | 31 | 0.0090429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1052-8_0_4_line_39 |  | 30 | 33 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1052-8_0_4_line_40 |  | 30 | 34 | 0.010336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1052-8_0_4_line_41 |  | 33 | 35 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1052-8_0_4_line_42 |  | 34 | 45 | 0.098988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1052-8_0_4_line_43 |  | 35 | 37 | 0.045821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1052-8_0_4_line_44 |  | 36 | 38 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1052-8_0_4_line_45 |  | 38 | 39 | 0.031019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1052-8_0_4_line_46 |  | 40 | 41 | 0.034067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1052-8_0_4_line_47 |  | 41 | 42 | 0.030692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1052-8_0_4_line_48 |  | 41 | 43 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1052-8_0_4_line_49 |  | 42 | 59 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1052-8_0_4_line_50 |  | 42 | 60 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1052-8_0_4_line_51 |  | 43 | 57 | 0.029585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1052-8_0_4_line_52 |  | 44 | 59 | 0.00057905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1052-8_0_4_line_53 |  | 45 | 46 | 0.065375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1052-8_0_4_line_54 |  | 46 | 47 | 0.059449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1052-8_0_4_line_55 |  | 47 | 48 | 0.02333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1052-8_0_4_line_56 |  | 48 | 55 | 0.018951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1052-8_0_4_line_57 |  | 48 | 52 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1052-8_0_4_line_58 |  | 49 | 50 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1052-8_0_4_line_59 |  | 49 | 51 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1052-8_0_4_line_60 |  | 50 | 52 | 0.034644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1052-8_0_4_line_61 |  | 51 | 53 | 0.038071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1052-8_0_4_line_62 |  | 53 | 54 | 0.05495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1052-8_0_4_line_63 |  | 54 | 56 | 0.049625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1052-8_0_4_line_64 |  | 56 | 92 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1052-8_0_4_line_65 |  | 57 | 58 | 0.0024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1052-8_0_4_line_66 |  | 60 | 61 | 0.0049624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1052-8_0_4_line_67 |  | 61 | 62 | 0.00053262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1052-8_0_4_line_68 |  | 65 | 66 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1052-8_0_4_line_69 |  | 66 | 69 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1052-8_0_4_line_70 |  | 67 | 68 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1052-8_0_4_line_71 |  | 67 | 69 | 0.003498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1052-8_0_4_line_72 |  | 69 | 71 | 0.0099582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1052-8_0_4_line_73 |  | 70 | 88 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1052-8_0_4_line_74 |  | 71 | 72 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1052-8_0_4_line_75 |  | 72 | 73 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1052-8_0_4_line_76 |  | 73 | 74 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1052-8_0_4_line_77 |  | 75 | 76 | 0.024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1052-8_0_4_line_78 |  | 75 | 77 | 0.006324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1052-8_0_4_line_79 |  | 75 | 78 | 0.0048045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1052-8_0_4_line_80 |  | 76 | 79 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1052-8_0_4_line_81 |  | 77 | 80 | 0.0063224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1052-8_0_4_line_82 |  | 79 | 82 | 0.022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1052-8_0_4_line_83 |  | 79 | 81 | 0.0096388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1052-8_0_4_line_84 |  | 80 | 83 | 0.0058725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1052-8_0_4_line_85 |  | 82 | 84 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1052-8_0_4_line_86 |  | 84 | 85 | 0.026825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1052-8_0_4_line_87 |  | 85 | 87 | 0.031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1052-8_0_4_line_88 |  | 85 | 86 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1052-8_0_4_line_89 |  | 88 | 89 | 0.023659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1052-8_0_4_line_90 |  | 88 | 90 | 0.068691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1052-8_0_4_line_91 |  | 89 | 91 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1052-8_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 93 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2669482.263 | 1216458.6993 | 2669451.3146 | 1216444.9948
1 | 2669482.263 | 1216458.6993 | 2669509.5735 | 1216470.793
2 | 2669444.5692 | 1216428.3279 | 2669446.1261 | 1216438.0633 | 2669451.3146 | 1216444.9948
3 | 2669509.5735 | 1216470.793 | 2669528.5712 | 1216479.2056
4 | 2669444.5692 | 1216428.3279 | 2669432.6562 | 1216427.0328 | 2669427.3647 | 1216425.0254
5 | 2669558.9233 | 1216492.6461 | 2669528.5712 | 1216479.2056
6 | 2669427.3647 | 1216425.0254 | 2669424.3687 | 1216423.888
7 | 2669427.3647 | 1216425.0254 | 2669428.6026 | 1216421.0929 | 2669431.8841 | 1216415.75
8 | 2669558.9233 | 1216492.6461 | 2669553.0344 | 1216504.2345
9 | 2669424.3687 | 1216423.888 | 2669401.6484 | 1216415.2621
10 | 2669432.3913 | 1216416.0497 | 2669431.8841 | 1216415.75
11 | 2669495.8368 | 1216415.1502 | 2669500.5266 | 1216412.7589
12 | 2669495.8368 | 1216415.1502 | 2669504.1546 | 1216429.1449
13 | 2669508.7912 | 1216408.5304 | 2669500.5266 | 1216412.7589
14 | 2669500.5266 | 1216412.7589 | 2669498.1969 | 1216408.0955 | 2669495.7523 | 1216408.067 | 2669477.9692 | 1216412.8381
15 | 2669504.1546 | 1216429.1449 | 2669508.4239 | 1216432.2674
16 | 2669533.7217 | 1216542.2391 | 2669553.0344 | 1216504.2345
17 | 2669533.7217 | 1216542.2391 | 2669517.284 | 1216535.0911
18 | 2669504.4133 | 1216609.3843 | 2669514.9269 | 1216590.0279 | 2669526.1856 | 1216569.2905 | 2669523.5694 | 1216564.457 | 2669523.6327 | 1216559.032 | 2669527.4221 | 1216551.1601 | 2669529.1542 | 1216551.7251 | 2669533.7217 | 1216542.2391
19 | 2669517.284 | 1216535.0911 | 2669516.402 | 1216534.7076
20 | 2669504.4133 | 1216609.3843 | 2669521.3583 | 1216618.6099 | 2669515.4455 | 1216629.5257
21 | 2669504.4133 | 1216609.3843 | 2669446.1089 | 1216576.2082
22 | 2669486.9207 | 1216521.4745 | 2669493.305 | 1216524.1564 | 2669504.638 | 1216529.5919 | 2669516.402 | 1216534.7076
23 | 2669483.2833 | 1216681.6727 | 2669515.4455 | 1216629.5257
24 | 2669432.1417 | 1216568.2606 | 2669446.1089 | 1216576.2082
25 | 2669483.2833 | 1216681.6727 | 2669449.8989 | 1216660.025
26 | 2669486.9207 | 1216521.4745 | 2669494.2984 | 1216520.0628
27 | 2669432.1417 | 1216568.2606 | 2669425.5247 | 1216564.4952
28 | 2669431.4863 | 1216571.7329 | 2669432.1417 | 1216568.2606
29 | 2669449.1587 | 1216659.545 | 2669449.8989 | 1216660.025
30 | 2669431.4863 | 1216571.7329 | 2669462.6114 | 1216589.3749
31 | 2669431.4863 | 1216571.7329 | 2669421.0945 | 1216565.8442
32 | 2669431.4863 | 1216571.7329 | 2669431.162 | 1216573.4969 | 2669432.8368 | 1216586.1467 | 2669436.3582 | 1216597.9832
33 | 2669544.0672 | 1216450.7907 | 2669562.0562 | 1216460.1752
34 | 2669544.0672 | 1216450.7907 | 2669528.638 | 1216442.9941
35 | 2669527.8386 | 1216442.5901 | 2669528.638 | 1216442.9941
36 | 2669527.8386 | 1216442.5901 | 2669510.6892 | 1216433.9242 | 2669508.4239 | 1216432.2674
37 | 2669545.1384 | 1216381.7818 | 2669555.6027 | 1216399.8597 | 2669569.6341 | 1216414.8107
38 | 2669569.6341 | 1216414.8107 | 2669577.1399 | 1216419.8542
39 | 2669545.1384 | 1216381.7818 | 2669529.8927 | 1216393.0014
40 | 2669545.1384 | 1216381.7818 | 2669554.7639 | 1216378.0162
41 | 2669508.7912 | 1216408.5304 | 2669529.8927 | 1216393.0014
42 | 2669645.152 | 1216409.5334 | 2669618.0807 | 1216393.5738 | 2669589.7152 | 1216379.1891 | 2669579.3772 | 1216376.3111 | 2669568.1159 | 1216375.1123 | 2669557.0603 | 1216377.1179 | 2669554.7639 | 1216378.0162
43 | 2669508.7912 | 1216408.5304 | 2669500.4225 | 1216393.6901 | 2669487.7684 | 1216379.7671 | 2669479.6463 | 1216373.9857
44 | 2669461.6379 | 1216417.2197 | 2669477.9692 | 1216412.8381
45 | 2669461.6379 | 1216417.2197 | 2669446.9288 | 1216421.3065 | 2669441.1272 | 1216420.7274 | 2669437.4869 | 1216419.0618 | 2669432.3913 | 1216416.0497
46 | 2669406.3487 | 1216384.5663 | 2669421.4188 | 1216390.5566 | 2669432.8019 | 1216393.0241 | 2669438.9847 | 1216393.5244
47 | 2669406.3487 | 1216384.5663 | 2669391.2919 | 1216411.3302
48 | 2669406.3487 | 1216384.5663 | 2669414.7532 | 1216369.6177
49 | 2669391.2919 | 1216411.3302 | 2669401.107 | 1216415.0565
50 | 2669391.2919 | 1216411.3302 | 2669378.2098 | 1216406.378
51 | 2669429.2523 | 1216343.8294 | 2669414.7532 | 1216369.6177
52 | 2669401.6484 | 1216415.2621 | 2669401.107 | 1216415.0565
53 | 2669645.152 | 1216409.5334 | 2669655.9261 | 1216392.6486 | 2669650.8392 | 1216385.4846 | 2669651.1667 | 1216380.1962 | 2669648.7133 | 1216375.0866 | 2669655.3975 | 1216363.1682 | 2669661.5985 | 1216352.9787
54 | 2669661.5985 | 1216352.9787 | 2669635.9848 | 1216337.0138 | 2669630.6331 | 1216333.6603 | 2669628.3064 | 1216325.4946 | 2669615.6939 | 1216318.4206
55 | 2669602.4565 | 1216301.1329 | 2669605.6708 | 1216302.2156 | 2669612.5456 | 1216307.7882 | 2669615.6939 | 1216318.4206
56 | 2669602.4565 | 1216301.1329 | 2669613.2784 | 1216285.5751
57 | 2669602.4565 | 1216301.1329 | 2669591.1629 | 1216294.408
58 | 2669545.76 | 1216267.3722 | 2669545.76 | 1216267.3722 | 2669561.3961 | 1216276.6829
59 | 2669545.76 | 1216267.3722 | 2669555.4625 | 1216251.9215
60 | 2669561.3961 | 1216276.6829 | 2669591.1629 | 1216294.408
61 | 2669575.7089 | 1216219.6803 | 2669555.4625 | 1216251.9215
62 | 2669575.7089 | 1216219.6803 | 2669569.0756 | 1216217.4793 | 2669557.6394 | 1216216.9344 | 2669548.2895 | 1216218.493 | 2669537.2068 | 1216218.2302 | 2669532.7325 | 1216217.1107 | 2669522.7652 | 1216211.7132
63 | 2669522.7652 | 1216211.7132 | 2669509.6107 | 1216236.7424 | 2669506.9666 | 1216237.5454 | 2669498.1729 | 1216253.9199
64 | 2669483.7529 | 1216246.599 | 2669498.1729 | 1216253.9199
65 | 2669429.2523 | 1216343.8294 | 2669431.4047 | 1216345.0738
66 | 2669378.2098 | 1216406.378 | 2669373.5688 | 1216404.6212
67 | 2669373.5688 | 1216404.6212 | 2669373.0707 | 1216404.4326
68 | 2669425.5247 | 1216564.4952 | 2669403.3335 | 1216551.8676
69 | 2669390.2733 | 1216544.4359 | 2669403.3335 | 1216551.8676
70 | 2669389.1792 | 1216547.7586 | 2669388.9234 | 1216549.5122 | 2669389.4877 | 1216553.21 | 2669392.9379 | 1216565.9805
71 | 2669390.2733 | 1216544.4359 | 2669389.1792 | 1216547.7586
72 | 2669390.2733 | 1216544.4359 | 2669385.6271 | 1216541.7912 | 2669381.5588 | 1216539.6185
73 | 2669449.1587 | 1216659.545 | 2669443.5793 | 1216655.9271 | 2669440.2026 | 1216651.8518 | 2669439.2281 | 1216649.6027
74 | 2669371.645 | 1216534.3238 | 2669381.5588 | 1216539.6185
75 | 2669371.645 | 1216534.3238 | 2669370.247 | 1216537.0203
76 | 2669370.247 | 1216537.0203 | 2669370.3769 | 1216540.8576 | 2669377.2045 | 1216564.174
77 | 2669377.2819 | 1216465.4828 | 2669395.0532 | 1216475.6257 | 2669398.3023 | 1216477.3635
78 | 2669377.2819 | 1216465.4828 | 2669371.7895 | 1216462.3481
79 | 2669378.1131 | 1216470.2149 | 2669377.2819 | 1216465.4828
80 | 2669408.4598 | 1216486.3697 | 2669398.3023 | 1216477.3635
81 | 2669371.7895 | 1216462.3481 | 2669366.2985 | 1216459.2141
82 | 2669408.4598 | 1216486.3697 | 2669417.0236 | 1216490.8356 | 2669428.7523 | 1216496.1208
83 | 2669408.4598 | 1216486.3697 | 2669417.9836 | 1216487.854
84 | 2669361.091 | 1216456.5001 | 2669366.0598 | 1216459.0779 | 2669366.2985 | 1216459.2141
85 | 2669428.7523 | 1216496.1208 | 2669440.6547 | 1216498.0337
86 | 2669465.4691 | 1216508.2239 | 2669440.6547 | 1216498.0337
87 | 2669494.2984 | 1216520.0628 | 2669465.4691 | 1216508.2239
88 | 2669455.0271 | 1216507.9611 | 2669465.4691 | 1216508.2239
89 | 2669429.8221 | 1216627.8942 | 2669439.2281 | 1216649.6027
90 | 2669439.2281 | 1216649.6027 | 2669373.1225 | 1216668.2702
91 | 2669424.4765 | 1216615.5568 | 2669429.8221 | 1216627.8942

## bus_geodata
| x | y | coords
0 | 2669482.263 | 1216458.6993
1 | 2669451.3146 | 1216444.9948
2 | 2669509.5735 | 1216470.793
3 | 2669444.5692 | 1216428.3279
4 | 2669528.5712 | 1216479.2056
5 | 2669427.3647 | 1216425.0254
6 | 2669558.9233 | 1216492.6461
7 | 2669424.3687 | 1216423.888
8 | 2669431.8841 | 1216415.75
9 | 2669495.8368 | 1216415.1502
10 | 2669500.5266 | 1216412.759
11 | 2669504.1546 | 1216429.1449
12 | 2669553.0344 | 1216504.2345
13 | 2669533.7217 | 1216542.2391
14 | 2669517.284 | 1216535.0911
15 | 2669504.4133 | 1216609.3843
16 | 2669516.402 | 1216534.7076
17 | 2669515.4455 | 1216629.5257
18 | 2669446.1089 | 1216576.2082
19 | 2669483.2833 | 1216681.6727
20 | 2669486.9207 | 1216521.4745
21 | 2669432.1417 | 1216568.2606
22 | 2669449.8989 | 1216660.025
23 | 2669462.6114 | 1216589.3749
24 | 2669431.4863 | 1216571.7329
25 | 2669562.0562 | 1216460.1752
26 | 2669544.0672 | 1216450.7907
27 | 2669528.638 | 1216442.9941
28 | 2669527.8386 | 1216442.5901
29 | 2669569.6341 | 1216414.8107
30 | 2669545.1384 | 1216381.7818
31 | 2669577.1399 | 1216419.8542
32 | 2669508.4239 | 1216432.2674
33 | 2669529.8927 | 1216393.0014
34 | 2669554.7639 | 1216378.0162
35 | 2669508.7912 | 1216408.5304
36 | 2669477.9692 | 1216412.8381
37 | 2669479.6463 | 1216373.9857
38 | 2669461.6379 | 1216417.2197
39 | 2669432.3913 | 1216416.0497
40 | 2669438.9847 | 1216393.5244
41 | 2669406.3487 | 1216384.5663
42 | 2669391.2919 | 1216411.3302
43 | 2669414.7532 | 1216369.6177
44 | 2669401.6484 | 1216415.2621
45 | 2669645.152 | 1216409.5334
46 | 2669661.5985 | 1216352.9787
47 | 2669615.6939 | 1216318.4206
48 | 2669602.4565 | 1216301.1329
49 | 2669545.76 | 1216267.3722
50 | 2669561.3961 | 1216276.6829
51 | 2669555.4625 | 1216251.9215
52 | 2669591.1629 | 1216294.408
53 | 2669575.7089 | 1216219.6803
54 | 2669522.7652 | 1216211.7132
55 | 2669613.2784 | 1216285.5751
56 | 2669498.1729 | 1216253.9199
57 | 2669429.2523 | 1216343.8294
58 | 2669431.4047 | 1216345.0738
59 | 2669401.107 | 1216415.0565
60 | 2669378.2098 | 1216406.378
61 | 2669373.5688 | 1216404.6212
62 | 2669373.0707 | 1216404.4326
63 | 2669436.3582 | 1216597.9832
64 | 2669421.0945 | 1216565.8442
65 | 2669425.5247 | 1216564.4952
66 | 2669403.3335 | 1216551.8676
67 | 2669389.1792 | 1216547.7586
68 | 2669392.9379 | 1216565.9805
69 | 2669390.2733 | 1216544.4359
70 | 2669449.1587 | 1216659.545
71 | 2669381.5588 | 1216539.6185
72 | 2669371.645 | 1216534.3238
73 | 2669370.247 | 1216537.0203
74 | 2669377.2045 | 1216564.174
75 | 2669377.2819 | 1216465.4828
76 | 2669398.3023 | 1216477.3635
77 | 2669371.7895 | 1216462.3481
78 | 2669378.1131 | 1216470.2149
79 | 2669408.4598 | 1216486.3697
80 | 2669366.2985 | 1216459.2141
81 | 2669417.9836 | 1216487.854
82 | 2669428.7523 | 1216496.1208
83 | 2669361.091 | 1216456.5001
84 | 2669440.6547 | 1216498.0337
85 | 2669465.4691 | 1216508.2239
86 | 2669455.0271 | 1216507.9611
87 | 2669494.2984 | 1216520.0628
88 | 2669439.2281 | 1216649.6027
89 | 2669429.8221 | 1216627.8942
90 | 2669373.1225 | 1216668.2702
91 | 2669424.4765 | 1216615.5568
92 | 2669483.7529 | 1216246.599
93 | 2669477.9692 | 1216412.8381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99017 | -0.18659 | 0.010824 | 0.0027127
1 | 0.99215 | -0.14882 | 0.0039128 | 0.00098065
2 | 0.98857 | -0.21716 | 0.0029547 | 0.00074051
3 | 0.99327 | -0.12758 | 0 | 0
4 | 0.9864 | -0.25876 | 0.0050069 | 0.0012549
5 | 0.99433 | -0.10744 | 0 | 0
6 | 0.98308 | -0.3226 | 0 | 0
7 | 0.99412 | -0.11142 | 0.0052949 | 0.001327
8 | 0.99529 | -0.089129 | 0 | 0
9 | 0.99747 | -0.047928 | 0 | 0
10 | 0.99763 | -0.044853 | 0 | 0
11 | 0.99698 | -0.057465 | 0.0086059 | 0.0021568
12 | 0.98179 | -0.34772 | 0.003538 | 0.0008867
13 | 0.97767 | -0.42781 | 0 | 0
14 | 0.97661 | -0.44855 | 0.0068337 | 0.0017127
15 | 0.97477 | -0.48476 | 0 | 0
16 | 0.97656 | -0.44954 | 0.002323 | 0.0005822
17 | 0.97437 | -0.49278 | 0 | 0
18 | 0.97313 | -0.51721 | 0.0038272 | 0.00095918
19 | 0.97358 | -0.50827 | 0 | 0
20 | 0.97493 | -0.48161 | 0.002833 | 0.00071001
21 | 0.97279 | -0.52387 | 0 | 0
22 | 0.97307 | -0.51835 | 0.0032817 | 0.00082246
23 | 0.97264 | -0.52674 | 0.0035146 | 0.00088084
24 | 0.97276 | -0.52443 | 0 | 0
25 | 0.99619 | -0.072625 | 0.0063758 | 0.0015979
26 | 0.99631 | -0.070353 | 0 | 0
27 | 0.99641 | -0.068418 | 0.0059349 | 0.0014874
28 | 0.99642 | -0.068224 | 0.0095757 | 0.0023999
29 | 0.99352 | -0.12308 | 0 | 0
30 | 0.99401 | -0.1137 | 0 | 0
31 | 0.99342 | -0.12513 | 0.012851 | 0.0032209
32 | 0.99686 | -0.059767 | 0.0029283 | 0.00073389
33 | 0.99517 | -0.091703 | 0.013995 | 0.0035076
34 | 0.99344 | -0.12456 | 0.014233 | 0.0035672
35 | 0.99693 | -0.058127 | 0 | 0
36 | 1 | 0 | -0.41476 | -0.10596
37 | 0.9962 | -0.072309 | 0.017636 | 0.0044199
38 | 0.99836 | -0.030985 | 0 | 0
39 | 0.99535 | -0.088091 | 0.0097429 | 0.0024418
40 | 0.99035 | -0.18435 | 0.015057 | 0.0037737
41 | 0.99082 | -0.17524 | 0 | 0
42 | 0.99207 | -0.15115 | 0 | 0
43 | 0.99036 | -0.18413 | 0.013804 | 0.0034595
44 | 0.99267 | -0.1394 | 0.0026715 | 0.00066954
45 | 0.98861 | -0.21662 | 0 | 0
46 | 0.98543 | -0.27791 | 0 | 0
47 | 0.98253 | -0.33398 | 0.013701 | 0.0034338
48 | 0.98056 | -0.37243 | 0 | 0
49 | 0.97656 | -0.45059 | 0.00974 | 0.0024411
50 | 0.9775 | -0.43222 | 0.0087034 | 0.0021813
51 | 0.97578 | -0.46579 | 0.0094871 | 0.0023777
52 | 0.97956 | -0.39186 | 0.017458 | 0.0043755
53 | 0.9745 | -0.49095 | 0 | 0
54 | 0.97265 | -0.52739 | 0 | 0
55 | 0.98039 | -0.37575 | 0.0096427 | 0.0024167
56 | 0.97098 | -0.56041 | 0.019346 | 0.0048485
57 | 0.98995 | -0.19223 | 0 | 0
58 | 0.98991 | -0.19291 | 0.015393 | 0.0038579
59 | 0.99264 | -0.14004 | 0.0026743 | 0.00067024
60 | 0.99187 | -0.15501 | 0.010165 | 0.0025477
61 | 0.99184 | -0.15548 | 0.0027004 | 0.00067678
62 | 0.99184 | -0.15551 | 0.0027004 | 0.00067678
63 | 0.9727 | -0.52553 | 0.0022365 | 0.00056051
64 | 0.97273 | -0.52503 | 0.002766 | 0.00069323
65 | 0.97269 | -0.52583 | 0.002686 | 0.00067317
66 | 0.97242 | -0.53115 | 0.0025347 | 0.00063526
67 | 0.97228 | -0.53389 | 0 | 0
68 | 0.9722 | -0.53559 | 0.0049163 | 0.0012322
69 | 0.9723 | -0.53357 | 0 | 0
70 | 0.97306 | -0.51852 | 0.0025464 | 0.00063818
71 | 0.97226 | -0.53428 | 0.0019361 | 0.00048523
72 | 0.97224 | -0.53467 | 0 | 0
73 | 0.97224 | -0.53478 | 0 | 0
74 | 0.97219 | -0.53577 | 0.0019039 | 0.00047717
75 | 0.97044 | -0.57021 | 0.0028163 | 0.00070584
76 | 0.97081 | -0.56282 | 0.0060055 | 0.0015051
77 | 0.97039 | -0.5712 | 0.0028188 | 0.00070646
78 | 0.97041 | -0.57068 | 0.0052821 | 0.0013238
79 | 0.9711 | -0.55716 | 0.0049004 | 0.0012282
80 | 0.97035 | -0.57186 | 0.0028168 | 0.00070596
81 | 0.97106 | -0.55792 | 0.0043005 | 0.0010778
82 | 0.97177 | -0.54394 | 0.003349 | 0.00083933
83 | 0.97034 | -0.57217 | 0.0028163 | 0.00070584
84 | 0.97216 | -0.53614 | 0.0039465 | 0.0009891
85 | 0.97314 | -0.51683 | 0.007146 | 0.0017909
86 | 0.97311 | -0.5174 | 0.0029397 | 0.00073676
87 | 0.97457 | -0.48869 | 0.002222 | 0.00055688
88 | 0.97295 | -0.52063 | 0.0024613 | 0.00061687
89 | 0.97285 | -0.52273 | 0.0020978 | 0.00052577
90 | 0.97291 | -0.52146 | 0.00065153 | 0.00016329
91 | 0.97281 | -0.52341 | 0.0027297 | 0.00068412
92 | 0.97073 | -0.56541 | 0.01671 | 0.004188
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12753 | -0.032638 | 0.12776 | 0.032787 | 0.00023369 | 0.00014869 | 0.19189 | 0.19189 | 0.19189 | 0.99017 | -0.18659 | 0.99215 | -0.14882 | 26.3591
1 | 0.11671 | 0.029925 | -0.11653 | -0.029815 | 0.00017274 | 0.00010979 | 0.17563 | 0.17563 | 0.17563 | 0.99017 | -0.18659 | 0.98857 | -0.21716 | 24.1248
2 | -0.13168 | -0.033767 | 0.13181 | 0.033854 | 0.00013579 | 8.6427e-05 | 0.19776 | 0.19776 | 0.19776 | 0.99215 | -0.14882 | 0.99327 | -0.12758 | 27.1651
3 | 0.11358 | 0.029075 | -0.11335 | -0.028929 | 0.00022831 | 0.00014585 | 0.17118 | 0.17118 | 0.17118 | 0.98857 | -0.21716 | 0.9864 | -0.25876 | 47.0278
4 | -0.13181 | -0.033854 | 0.13194 | 0.033936 | 0.00012902 | 8.2116e-05 | 0.19776 | 0.19776 | 0.19776 | 0.99327 | -0.12758 | 0.99433 | -0.10744 | 27.1651
5 | 0.10834 | 0.027674 | -0.10801 | -0.027461 | 0.00033329 | 0.00021288 | 0.16363 | 0.16363 | 0.16363 | 0.9864 | -0.25876 | 0.98308 | -0.3226 | 44.9528
6 | 0.070675 | 0.017794 | -0.070661 | -0.017785 | 1.345e-05 | 8.5667e-06 | 0.10579 | 0.10579 | 0.10579 | 0.99433 | -0.10744 | 0.99412 | -0.11142 | 29.0641
7 | -0.20262 | -0.05173 | 0.2028 | 0.051844 | 0.00017948 | 0.00011459 | 0.30355 | 0.30355 | 0.30355 | 0.99433 | -0.10744 | 0.99529 | -0.089129 | 41.697
8 | 0.10801 | 0.027461 | -0.10788 | -0.027378 | 0.00013051 | 8.3364e-05 | 0.16363 | 0.16363 | 0.16363 | 0.98308 | -0.3226 | 0.98179 | -0.34772 | 44.9529
9 | 0.065366 | 0.016458 | -0.065279 | -0.016403 | 8.729e-05 | 5.5551e-05 | 0.097868 | 0.097868 | 0.097868 | 0.99412 | -0.11142 | 0.99267 | -0.1394 | 26.8869
10 | -0.2028 | -0.051844 | 0.20281 | 0.051851 | 1.0178e-05 | 6.4987e-06 | 0.30355 | 0.30355 | 0.30355 | 0.99529 | -0.089129 | 0.99535 | -0.088091 | 41.697
11 | -0.033449 | -0.0083929 | 0.033454 | 0.008396 | 4.9044e-06 | 3.0703e-06 | 0.049902 | 0.049902 | 0.049902 | 0.99747 | -0.047928 | 0.99763 | -0.044853 | 13.7093
12 | 0.033449 | 0.0083929 | -0.033434 | -0.0083834 | 1.5203e-05 | 9.5172e-06 | 0.049902 | 0.049902 | 0.049902 | 0.99747 | -0.047928 | 0.99698 | -0.057465 | 13.7093
13 | 0.16577 | 0.042414 | -0.16566 | -0.042346 | 0.00010644 | 6.788e-05 | 0.24756 | 0.24756 | 0.24756 | 0.99763 | -0.044853 | 0.99693 | -0.058127 | 34.0052
14 | -0.19922 | -0.05081 | 0.19965 | 0.051086 | 0.0004325 | 0.00027612 | 0.29746 | 0.29746 | 0.29746 | 0.99763 | -0.044853 | 1 | 0 | 40.8597
15 | 0.024828 | 0.0062266 | -0.024825 | -0.0062249 | 2.7238e-06 | 1.6743e-06 | 0.037057 | 0.037057 | 0.037057 | 0.99698 | -0.057465 | 0.99686 | -0.059767 | 10.1806
16 | 0.10434 | 0.026491 | -0.10394 | -0.026236 | 0.00040043 | 0.00025574 | 0.15827 | 0.15827 | 0.15827 | 0.98179 | -0.34772 | 0.97767 | -0.42781 | 43.4798
17 | 0.063665 | 0.016076 | -0.063602 | -0.016035 | 6.3168e-05 | 4.0203e-05 | 0.096941 | 0.096941 | 0.096941 | 0.97767 | -0.42781 | 0.97661 | -0.44855 | 26.6321
18 | 0.040277 | 0.01016 | -0.040168 | -0.010091 | 0.00010949 | 6.9101e-05 | 0.061326 | 0.061326 | 0.061326 | 0.97767 | -0.42781 | 0.97477 | -0.48476 | 16.8478
19 | 0.056768 | 0.014323 | -0.056765 | -0.014321 | 2.7002e-06 | 1.7161e-06 | 0.086529 | 0.086529 | 0.086529 | 0.97661 | -0.44855 | 0.97656 | -0.44954 | 23.7716
20 | 0.013792 | 0.0034626 | -0.013787 | -0.0034596 | 5.2717e-06 | 2.9788e-06 | 0.021056 | 0.021056 | 0.021056 | 0.97477 | -0.48476 | 0.97437 | -0.49278 | 5.7846
21 | 0.026376 | 0.0066282 | -0.026335 | -0.0066029 | 4.0795e-05 | 2.5274e-05 | 0.04027 | 0.04027 | 0.04027 | 0.97477 | -0.48476 | 0.97313 | -0.51721 | 11.0633
22 | 0.054442 | 0.013739 | -0.054359 | -0.013686 | 8.3478e-05 | 5.3022e-05 | 0.082989 | 0.082989 | 0.082989 | 0.97656 | -0.44954 | 0.97493 | -0.48161 | 22.7992
23 | 0.013787 | 0.0034596 | -0.013777 | -0.0034539 | 1.018e-05 | 5.7532e-06 | 0.021056 | 0.021056 | 0.021056 | 0.97437 | -0.49278 | 0.97358 | -0.50827 | 5.7847
24 | 0.022508 | 0.0056438 | -0.022501 | -0.0056394 | 7.1388e-06 | 4.3693e-06 | 0.034418 | 0.034418 | 0.034418 | 0.97313 | -0.51721 | 0.97279 | -0.52387 | 9.4556
25 | 0.013777 | 0.0034539 | -0.01377 | -0.0034501 | 6.6155e-06 | 3.7394e-06 | 0.021056 | 0.021057 | 0.021057 | 0.97358 | -0.50827 | 0.97307 | -0.51835 | 5.7848
26 | 0.051526 | 0.012976 | -0.051508 | -0.012965 | 1.7431e-05 | 1.1062e-05 | 0.078665 | 0.078665 | 0.078665 | 0.97493 | -0.48161 | 0.97457 | -0.48869 | 21.6113
27 | 0.013983 | 0.0035053 | -0.013982 | -0.0035045 | 1.3062e-06 | 7.4144e-07 | 0.021389 | 0.021389 | 0.021389 | 0.97279 | -0.52387 | 0.97269 | -0.52583 | 5.8762
28 | 0.0085179 | 0.0021341 | -0.0085177 | -0.002134 | 2.2497e-07 | 1.0011e-07 | 0.013029 | 0.013029 | 0.013029 | 0.97279 | -0.52387 | 0.97276 | -0.52443 | 3.5794
29 | 0.010488 | 0.0026277 | -0.010488 | -0.0026276 | 8.5094e-08 | 4.3502e-08 | 0.016038 | 0.016038 | 0.016038 | 0.97307 | -0.51835 | 0.97306 | -0.51852 | 4.4061
30 | -0.0035146 | -0.00088084 | 0.003515 | 0.00088065 | 3.8787e-07 | -1.9586e-07 | 0.0053769 | 0.0053767 | 0.0053769 | 0.97264 | -0.52674 | 0.97276 | -0.52443 | 1.4772
31 | 0.0027661 | 0.00069313 | -0.002766 | -0.00069323 | 8.0192e-08 | -9.6954e-08 | 0.0042312 | 0.0042313 | 0.0042313 | 0.97276 | -0.52443 | 0.97273 | -0.52503 | 1.1624
32 | 0.0022366 | 0.00056025 | -0.0022365 | -0.00056051 | 1.1808e-07 | -2.5839e-07 | 0.0034212 | 0.0034213 | 0.0034213 | 0.97276 | -0.52443 | 0.9727 | -0.52553 | 0.93991
33 | -0.0063758 | -0.0015979 | 0.0063764 | 0.0015981 | 6.9007e-07 | 1.7745e-07 | 0.0095235 | 0.0095234 | 0.0095235 | 0.99619 | -0.072625 | 0.99631 | -0.070353 | 2.6163
34 | -0.0063764 | -0.0015981 | 0.006377 | 0.0015982 | 5.8794e-07 | 1.5114e-07 | 0.0095234 | 0.0095233 | 0.0095234 | 0.99631 | -0.070353 | 0.99641 | -0.068418 | 2.6163
35 | -0.012312 | -0.0030857 | 0.012312 | 0.0030857 | 1.1355e-07 | 6.1003e-08 | 0.018386 | 0.018386 | 0.018386 | 0.99641 | -0.068418 | 0.99642 | -0.068224 | 5.0512
36 | -0.021888 | -0.0054856 | 0.021897 | 0.005491 | 8.8227e-06 | 5.3596e-06 | 0.032686 | 0.032686 | 0.032686 | 0.99642 | -0.068224 | 0.99686 | -0.059767 | 8.9798
37 | -0.012853 | -0.0032216 | 0.012858 | 0.0032247 | 5.7461e-06 | 3.1418e-06 | 0.01925 | 0.01925 | 0.01925 | 0.99352 | -0.12308 | 0.99401 | -0.1137 | 5.2884
38 | 0.012853 | 0.0032216 | -0.012851 | -0.0032209 | 1.2566e-06 | 6.8712e-07 | 0.01925 | 0.01925 | 0.01925 | 0.99352 | -0.12308 | 0.99342 | -0.12513 | 5.2884
39 | -0.13363 | -0.034168 | 0.13378 | 0.034258 | 0.00014238 | 9.0632e-05 | 0.20029 | 0.20029 | 0.20029 | 0.99401 | -0.1137 | 0.99517 | -0.091703 | 27.5124
40 | 0.12078 | 0.030943 | -0.12071 | -0.030903 | 6.3519e-05 | 4.0384e-05 | 0.18104 | 0.18104 | 0.18104 | 0.99401 | -0.1137 | 0.99344 | -0.12456 | 24.8682
41 | -0.14777 | -0.037766 | 0.14801 | 0.037919 | 0.0002404 | 0.00015317 | 0.22122 | 0.22122 | 0.22122 | 0.99517 | -0.091703 | 0.99693 | -0.058127 | 30.3868
42 | 0.10648 | 0.027335 | -0.10601 | -0.027035 | 0.0004735 | 0.00030049 | 0.15972 | 0.15972 | 0.15972 | 0.99344 | -0.12456 | 0.98861 | -0.21662 | 21.94
43 | 0.017647 | 0.0044269 | -0.017636 | -0.0044199 | 1.1923e-05 | 7.0339e-06 | 0.026342 | 0.026342 | 0.026342 | 0.99693 | -0.058127 | 0.9962 | -0.072309 | 7.2369
44 | 0.21346 | 0.054873 | -0.21314 | -0.054668 | 0.00032084 | 0.0002049 | 0.31812 | 0.31812 | 0.31812 | 1 | 0 | 0.99836 | -0.030985 | 43.6977
45 | 0.21314 | 0.054668 | -0.21255 | -0.054293 | 0.00058859 | 0.00037589 | 0.31812 | 0.31812 | 0.31812 | 0.99836 | -0.030985 | 0.99535 | -0.088091 | 43.6977
46 | -0.015057 | -0.0037737 | 0.015064 | 0.0037775 | 6.5388e-06 | 3.7463e-06 | 0.022624 | 0.022624 | 0.022624 | 0.99035 | -0.18435 | 0.99082 | -0.17524 | 6.2153
47 | -0.04428 | -0.011106 | 0.044331 | 0.011139 | 5.0901e-05 | 3.2181e-05 | 0.066502 | 0.066502 | 0.066502 | 0.99082 | -0.17524 | 0.99207 | -0.15115 | 18.2698
48 | 0.029216 | 0.0073289 | -0.029203 | -0.0073212 | 1.2382e-05 | 7.7035e-06 | 0.043879 | 0.043879 | 0.043879 | 0.99082 | -0.17524 | 0.99036 | -0.18413 | 12.0546
49 | -0.0599 | -0.015041 | 0.059931 | 0.015062 | 3.1787e-05 | 2.0208e-05 | 0.089855 | 0.089855 | 0.089855 | 0.99207 | -0.15115 | 0.99264 | -0.14004 | 24.6854
50 | 0.015569 | 0.0039029 | -0.015566 | -0.0039013 | 2.8606e-06 | 1.6502e-06 | 0.023353 | 0.023353 | 0.023353 | 0.99207 | -0.15115 | 0.99187 | -0.15501 | 6.4156
51 | 0.0154 | 0.0038616 | -0.015394 | -0.0038582 | 5.9399e-06 | 3.421e-06 | 0.023139 | 0.023139 | 0.023139 | 0.99036 | -0.18413 | 0.98995 | -0.19223 | 6.3568
52 | 0.062608 | 0.015733 | -0.062606 | -0.015732 | 1.9131e-06 | 1.2169e-06 | 0.093864 | 0.093864 | 0.093864 | 0.99267 | -0.1394 | 0.99264 | -0.14004 | 25.7867
53 | 0.10601 | 0.027035 | -0.10569 | -0.026837 | 0.00031272 | 0.00019847 | 0.15972 | 0.15972 | 0.15972 | 0.98861 | -0.21662 | 0.98543 | -0.27791 | 21.9401
54 | 0.10569 | 0.026837 | -0.10541 | -0.026656 | 0.00028437 | 0.00018049 | 0.15972 | 0.15972 | 0.15972 | 0.98543 | -0.27791 | 0.98253 | -0.33398 | 21.9401
55 | 0.091708 | 0.023222 | -0.091539 | -0.023114 | 0.00016897 | 0.00010785 | 0.13897 | 0.13897 | 0.13897 | 0.98253 | -0.33398 | 0.98056 | -0.37243 | 38.1799
56 | 0.0096442 | 0.0024174 | -0.0096427 | -0.0024167 | 1.5223e-06 | 7.3523e-07 | 0.014635 | 0.014636 | 0.014636 | 0.98056 | -0.37243 | 0.98039 | -0.37575 | 4.0207
57 | 0.081895 | 0.020697 | -0.081819 | -0.020648 | 7.6205e-05 | 4.8606e-05 | 0.12434 | 0.12434 | 0.12434 | 0.98056 | -0.37243 | 0.97956 | -0.39186 | 34.1592
58 | -0.055484 | -0.013982 | 0.055533 | 0.014013 | 4.8809e-05 | 3.101e-05 | 0.08457 | 0.08457 | 0.08457 | 0.97656 | -0.45059 | 0.9775 | -0.43222 | 23.2336
59 | 0.045744 | 0.01154 | -0.045711 | -0.011519 | 3.3265e-05 | 2.1062e-05 | 0.069729 | 0.069729 | 0.069729 | 0.97656 | -0.45059 | 0.97578 | -0.46579 | 19.1564
60 | -0.064236 | -0.016194 | 0.064361 | 0.016273 | 0.00012431 | 7.9125e-05 | 0.097819 | 0.097819 | 0.097819 | 0.9775 | -0.43222 | 0.97956 | -0.39186 | 26.8735
61 | 0.036224 | 0.0091417 | -0.03618 | -0.0091143 | 4.3599e-05 | 2.7429e-05 | 0.055262 | 0.055262 | 0.055262 | 0.97578 | -0.46579 | 0.9745 | -0.49095 | 15.1819
62 | 0.03618 | 0.0091143 | -0.036117 | -0.0090747 | 6.293e-05 | 3.9592e-05 | 0.055262 | 0.055262 | 0.055262 | 0.9745 | -0.49095 | 0.97265 | -0.52739 | 15.182
63 | 0.036117 | 0.0090747 | -0.03606 | -0.0090389 | 5.6832e-05 | 3.5758e-05 | 0.055262 | 0.055263 | 0.055263 | 0.97265 | -0.52739 | 0.97098 | -0.56041 | 15.182
64 | 0.016714 | 0.0041904 | -0.01671 | -0.004188 | 3.9792e-06 | 2.3467e-06 | 0.025615 | 0.025615 | 0.025615 | 0.97098 | -0.56041 | 0.97073 | -0.56541 | 7.0372
65 | 0.015394 | 0.0038582 | -0.015393 | -0.0038579 | 4.9918e-07 | 2.8751e-07 | 0.023139 | 0.023139 | 0.023139 | 0.98995 | -0.19223 | 0.98991 | -0.19291 | 6.3568
66 | 0.0054009 | 0.0013536 | -0.0054008 | -0.0013536 | 1.2217e-07 | 1.4141e-08 | 0.0081025 | 0.0081025 | 0.0081025 | 0.99187 | -0.15501 | 0.99184 | -0.15548 | 2.226
67 | 0.0027004 | 0.00067678 | -0.0027004 | -0.00067678 | 3.2782e-09 | -4.7763e-09 | 0.0040513 | 0.0040513 | 0.0040513 | 0.99184 | -0.15548 | 0.99184 | -0.15551 | 1.113
68 | 0.011296 | 0.0028313 | -0.011293 | -0.0028298 | 2.8591e-06 | 1.513e-06 | 0.01728 | 0.01728 | 0.01728 | 0.97269 | -0.52583 | 0.97242 | -0.53115 | 4.7474
69 | 0.0087581 | 0.0021946 | -0.0087571 | -0.0021941 | 1.0121e-06 | 4.6134e-07 | 0.013402 | 0.013402 | 0.013402 | 0.97242 | -0.53115 | 0.9723 | -0.53357 | 3.6818
70 | 0.0049167 | 0.0012322 | -0.0049163 | -0.0012322 | 3.9793e-07 | 2.227e-08 | 0.0075247 | 0.0075248 | 0.0075248 | 0.97228 | -0.53389 | 0.9722 | -0.53559 | 2.0673
71 | -0.0049167 | -0.0012322 | 0.0049168 | 0.0012322 | 7.4273e-08 | 4.1516e-09 | 0.0075247 | 0.0075247 | 0.0075247 | 0.97228 | -0.53389 | 0.9723 | -0.53357 | 2.0672
72 | 0.0038403 | 0.00096192 | -0.0038402 | -0.00096197 | 1.2898e-07 | -4.0953e-08 | 0.0058771 | 0.0058771 | 0.0058771 | 0.9723 | -0.53357 | 0.97226 | -0.53428 | 1.6146
73 | 0.0079418 | 0.0019895 | -0.007941 | -0.0019891 | 7.9606e-07 | 3.307e-07 | 0.012144 | 0.012144 | 0.012144 | 0.97306 | -0.51852 | 0.97295 | -0.52063 | 3.3364
74 | 0.0019041 | 0.00047673 | -0.001904 | -0.00047685 | 3.5788e-08 | -1.1648e-07 | 0.002914 | 0.002914 | 0.002914 | 0.97226 | -0.53428 | 0.97224 | -0.53467 | 0.80055
75 | 0.001904 | 0.00047685 | -0.001904 | -0.00047688 | 9.6675e-09 | -3.1462e-08 | 0.002914 | 0.002914 | 0.002914 | 0.97224 | -0.53467 | 0.97224 | -0.53478 | 0.80055
76 | 0.001904 | 0.00047688 | -0.0019039 | -0.00047717 | 8.9591e-08 | -2.9153e-07 | 0.002914 | 0.0029141 | 0.0029141 | 0.97224 | -0.53478 | 0.97219 | -0.53577 | 0.80059
77 | -0.016551 | -0.0041481 | 0.016557 | 0.0041516 | 5.8321e-06 | 3.4341e-06 | 0.025379 | 0.025379 | 0.025379 | 0.97044 | -0.57021 | 0.97081 | -0.56282 | 6.9722
78 | 0.0084526 | 0.0021184 | -0.0084522 | -0.0021183 | 3.9837e-07 | 1.7683e-07 | 0.012961 | 0.012961 | 0.012961 | 0.97044 | -0.57021 | 0.97039 | -0.5712 | 3.5607
79 | 0.0052823 | 0.0013238 | -0.0052821 | -0.0013238 | 1.182e-07 | 1.6286e-08 | 0.0080995 | 0.0080995 | 0.0080995 | 0.97044 | -0.57021 | 0.97041 | -0.57068 | 2.2252
80 | -0.022563 | -0.0056567 | 0.022569 | 0.0056604 | 6.0886e-06 | 3.7288e-06 | 0.034584 | 0.034584 | 0.034584 | 0.97081 | -0.56282 | 0.9711 | -0.55716 | 9.501
81 | 0.0056334 | 0.0014118 | -0.0056332 | -0.0014118 | 1.7692e-07 | 3.5126e-08 | 0.0086384 | 0.0086384 | 0.0086384 | 0.97039 | -0.5712 | 0.97035 | -0.57186 | 2.3732
82 | -0.03177 | -0.0079664 | 0.03179 | 0.0079789 | 2.0017e-05 | 1.2532e-05 | 0.048682 | 0.048682 | 0.048682 | 0.9711 | -0.55716 | 0.97177 | -0.54394 | 13.3743
83 | 0.0043007 | 0.0010778 | -0.0043005 | -0.0010778 | 1.5697e-07 | -1.8785e-08 | 0.0065899 | 0.0065899 | 0.0065899 | 0.9711 | -0.55716 | 0.97106 | -0.55792 | 1.8104
84 | 0.0028164 | 0.0007058 | -0.0028163 | -0.00070584 | 4.1077e-08 | -4.6253e-08 | 0.0043188 | 0.0043189 | 0.0043189 | 0.97035 | -0.57186 | 0.97034 | -0.57217 | 1.1865
85 | -0.035139 | -0.0088182 | 0.035152 | 0.0088264 | 1.309e-05 | 8.2281e-06 | 0.05381 | 0.05381 | 0.05381 | 0.97177 | -0.54394 | 0.97216 | -0.53614 | 14.7831
86 | -0.039098 | -0.0098155 | 0.039134 | 0.0098383 | 3.6034e-05 | 2.2729e-05 | 0.059851 | 0.059851 | 0.059851 | 0.97216 | -0.53614 | 0.97314 | -0.51683 | 16.4426
87 | -0.04922 | -0.012366 | 0.049286 | 0.012408 | 6.6219e-05 | 4.1992e-05 | 0.075273 | 0.075273 | 0.075273 | 0.97314 | -0.51683 | 0.97457 | -0.48869 | 20.6793
88 | 0.0029398 | 0.00073668 | -0.0029397 | -0.00073676 | 7.9148e-08 | -7.9114e-08 | 0.0044951 | 0.0044952 | 0.0044952 | 0.97314 | -0.51683 | 0.97311 | -0.5174 | 1.2349
89 | 0.0048281 | 0.0012098 | -0.0048276 | -0.0012098 | 4.8373e-07 | 1.5795e-08 | 0.0073839 | 0.007384 | 0.007384 | 0.97295 | -0.52063 | 0.97285 | -0.52273 | 2.0286
90 | 0.00065155 | 0.00016245 | -0.00065153 | -0.00016329 | 2.557e-08 | -8.3669e-07 | 0.00099617 | 0.00099648 | 0.00099648 | 0.97295 | -0.52063 | 0.97291 | -0.52146 | 0.27376
91 | 0.0027298 | 0.00068401 | -0.0027297 | -0.00068412 | 8.79e-08 | -1.1069e-07 | 0.0041753 | 0.0041753 | 0.0041753 | 0.97285 | -0.52273 | 0.97281 | -0.52341 | 1.1471

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42556 | 0.10867

## res_load
| p_mw | q_mvar
0 | 0.010824 | 0.0027127
1 | 0.0039128 | 0.00098065
2 | 0.0029547 | 0.00074051
3 | 0.0050069 | 0.0012549
4 | 0.0052949 | 0.001327
5 | 0.0086059 | 0.0021568
6 | 0.003538 | 0.0008867
7 | 0.0068337 | 0.0017127
8 | 0.002323 | 0.0005822
9 | 0.0038272 | 0.00095918
10 | 0.002833 | 0.00071001
11 | 0.0032817 | 0.00082246
12 | 0.0035146 | 0.00088084
13 | 0.0063758 | 0.0015979
14 | 0.0059349 | 0.0014874
15 | 0.0095757 | 0.0023999
16 | 0.012851 | 0.0032209
17 | 0.0029283 | 0.00073389
18 | 0.013995 | 0.0035076
19 | 0.014233 | 0.0035672
20 | 0.010801 | 0.002707
21 | 0.017636 | 0.0044199
22 | 0.0097429 | 0.0024418
23 | 0.015057 | 0.0037737
24 | 0.013804 | 0.0034595
25 | 0.0026715 | 0.00066954
26 | 0.013701 | 0.0034338
27 | 0.00974 | 0.0024411
28 | 0.0087034 | 0.0021813
29 | 0.0094871 | 0.0023777
30 | 0.017458 | 0.0043755
31 | 0.0096427 | 0.0024167
32 | 0.019346 | 0.0048485
33 | 0.015393 | 0.0038579
34 | 0.0026743 | 0.00067024
35 | 0.010165 | 0.0025477
36 | 0.0027004 | 0.00067678
37 | 0.0027004 | 0.00067678
38 | 0.0022365 | 0.00056051
39 | 0.002766 | 0.00069323
40 | 0.002686 | 0.00067317
41 | 0.0025347 | 0.00063526
42 | 0.0049163 | 0.0012322
43 | 0.0025464 | 0.00063818
44 | 0.0019361 | 0.00048523
45 | 0.0019039 | 0.00047717
46 | 0.0028163 | 0.00070584
47 | 0.0060055 | 0.0015051
48 | 0.0028188 | 0.00070646
49 | 0.0052821 | 0.0013238
50 | 0.0049004 | 0.0012282
51 | 0.0028168 | 0.00070596
52 | 0.0043005 | 0.0010778
53 | 0.003349 | 0.00083933
54 | 0.0028163 | 0.00070584
55 | 0.0039465 | 0.0009891
56 | 0.007146 | 0.0017909
57 | 0.0029397 | 0.00073676
58 | 0.002222 | 0.00055688
59 | 0.0024613 | 0.00061687
60 | 0.0020978 | 0.00052577
61 | 0.00065153 | 0.00016329
62 | 0.0027297 | 0.00068412
63 | 0.01671 | 0.004188

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1