## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1053-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1053-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1053-2_0_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1053-2_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1053-2_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1053-2_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1053-2_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1053-2_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1053-2_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1053-2_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1053-2_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1053-2_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1053-2_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1053-2_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1053-2_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_1053-2_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1053-2_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1053-2_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1053-2_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1053-2_0_4_node_86 | 0.4 | n |  | TRUE
20 | bus_LV_1053-2_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1053-2_0_4_node_107 | 0.4 | n |  | TRUE
22 | bus_LV_1053-2_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1053-2_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1053-2_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1053-2_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1053-2_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1053-2_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1053-2_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1053-2_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1053-2_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1053-2_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1053-2_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1053-2_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1053-2_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1053-2_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1053-2_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1053-2_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1053-2_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1053-2_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1053-2_0_4_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_1053-2_0_4_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_1053-2_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1053-2_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1053-2_0_4_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_1053-2_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_1053-2_0_4_node_112 | 0.4 | n |  | TRUE
47 | bus_LV_1053-2_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1053-2_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_1053-2_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1053-2_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1053-2_0_4_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_1053-2_0_4_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_1053-2_0_4_node_80 | 0.4 | n |  | TRUE
54 | bus_MV_5_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1053-2_0_4_load_0 | 0 | 0.00025672 | 6.434e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1053-2_0_4_load_1 | 1 | 0.0065562 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1053-2_0_4_load_6 | 3 | 0.0040325 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1053-2_0_4_load_9 | 5 | 0.0056682 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1053-2_0_4_load_10 | 6 | 0.0024123 | 0.00060458 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1053-2_0_4_load_11 | 8 | 0.0093098 | 0.0023333 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1053-2_0_4_load_12 | 9 | 0.0091577 | 0.0022951 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1053-2_0_4_load_14 | 11 | 0.011117 | 0.0027861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1053-2_0_4_load_16 | 13 | 0.0027695 | 0.0006941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1053-2_0_4_load_59 | 14 | 0.0012576 | 0.00031519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1053-2_0_4_load_17 | 15 | 0.0071665 | 0.0017961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1053-2_0_4_load_19 | 17 | 0.0068151 | 0.001708 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1053-2_0_4_load_86 | 19 | 0.0020126 | 0.00050441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1053-2_0_4_load_107 | 21 | 0.0056266 | 0.0014102 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1053-2_0_4_load_21 | 22 | 0.0032626 | 0.00081767 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1053-2_0_4_load_54 | 26 | 0.009744 | 0.0024421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1053-2_0_4_load_25 | 27 | 0.017161 | 0.0043009 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1053-2_0_4_load_26 | 28 | 0.0053456 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1053-2_0_4_load_28 | 30 | 0.025634 | 0.0064244 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1053-2_0_4_load_29 | 31 | 0.01674 | 0.0041955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1053-2_0_4_load_30 | 32 | 0.005052 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1053-2_0_4_load_33 | 33 | 0.0028881 | 0.00072382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1053-2_0_4_load_39 | 34 | 0.016134 | 0.0040435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1053-2_0_4_load_31 | 35 | 0.022493 | 0.0056373 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1053-2_0_4_load_32 | 36 | 0.025256 | 0.0063298 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1053-2_0_4_load_35 | 38 | 0.014972 | 0.0037522 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1053-2_0_4_load_95 | 40 | 0.00514 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1053-2_0_4_load_111 | 41 | 0.0090166 | 0.0022598 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1053-2_0_4_load_87 | 44 | 0.0015871 | 0.00039775 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1053-2_0_4_load_60 | 45 | 0.0042233 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1053-2_0_4_load_112 | 46 | 0.012297 | 0.0030818 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1053-2_0_4_load_55 | 47 | 0.003862 | 0.00096791 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1053-2_0_4_load_57 | 49 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1053-2_0_4_load_58 | 50 | 0.0038143 | 0.00095596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1053-2_0_4_load_99 | 51 | 0.0050632 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1053-2_0_4_load_79 | 52 | 0.0040325 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1053-2_0_4_load_80 | 53 | 0.0015353 | 0.00038479 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1053-2_0_4_line_0 |  | 0 | 1 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1053-2_0_4_line_1 |  | 1 | 2 | 0.13945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1053-2_0_4_line_2 |  | 2 | 5 | 0.034201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1053-2_0_4_line_3 |  | 2 | 3 | 0.11565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1053-2_0_4_line_4 |  | 3 | 4 | 0.084651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1053-2_0_4_line_5 |  | 4 | 6 | 0.03365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1053-2_0_4_line_6 |  | 5 | 7 | 0.023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1053-2_0_4_line_7 |  | 7 | 40 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1053-2_0_4_line_8 |  | 7 | 39 | 0.052798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1053-2_0_4_line_9 |  | 8 | 9 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1053-2_0_4_line_10 |  | 8 | 10 | 0.022372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1053-2_0_4_line_11 |  | 9 | 11 | 0.060358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1053-2_0_4_line_12 |  | 10 | 12 | 0.040819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1053-2_0_4_line_13 |  | 10 | 13 | 0.05841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1053-2_0_4_line_14 |  | 12 | 14 | 0.028892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1053-2_0_4_line_15 |  | 14 | 45 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1053-2_0_4_line_16 |  | 15 | 16 | 0.037673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1053-2_0_4_line_17 |  | 16 | 17 | 0.03256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1053-2_0_4_line_18 |  | 16 | 18 | 0.037667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1053-2_0_4_line_19 |  | 17 | 19 | 0.013159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1053-2_0_4_line_20 |  | 18 | 20 | 0.028222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1053-2_0_4_line_21 |  | 18 | 21 | 0.083493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1053-2_0_4_line_22 |  | 19 | 44 | 0.019316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1053-2_0_4_line_23 |  | 20 | 39 | 0.07036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1053-2_0_4_line_24 |  | 20 | 38 | 0.035409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1053-2_0_4_line_25 |  | 22 | 23 | 0.038137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1053-2_0_4_line_26 |  | 22 | 24 | 0.25466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1053-2_0_4_line_27 |  | 23 | 25 | 0.169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1053-2_0_4_line_28 |  | 24 | 26 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1053-2_0_4_line_29 |  | 25 | 34 | 0.040461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1053-2_0_4_line_30 |  | 27 | 28 | 0.02411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1053-2_0_4_line_31 |  | 27 | 29 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1053-2_0_4_line_32 |  | 28 | 30 | 0.0021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1053-2_0_4_line_33 |  | 29 | 31 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1053-2_0_4_line_34 |  | 29 | 32 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1053-2_0_4_line_35 |  | 30 | 33 | 0.025744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1053-2_0_4_line_36 |  | 31 | 34 | 0.027471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1053-2_0_4_line_37 |  | 33 | 35 | 0.002987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1053-2_0_4_line_38 |  | 35 | 36 | 0.025994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1053-2_0_4_line_39 |  | 36 | 37 | 0.0037074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1053-2_0_4_line_40 |  | 37 | 38 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1053-2_0_4_line_41 |  | 39 | 41 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1053-2_0_4_line_42 |  | 39 | 42 | 0.009817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1053-2_0_4_line_43 |  | 40 | 50 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1053-2_0_4_line_44 |  | 41 | 53 | 0.027707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1053-2_0_4_line_45 |  | 42 | 46 | 0.030942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1053-2_0_4_line_46 |  | 43 | 44 | 0.024013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1053-2_0_4_line_47 |  | 43 | 45 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1053-2_0_4_line_48 |  | 47 | 48 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1053-2_0_4_line_49 |  | 48 | 49 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1053-2_0_4_line_50 |  | 48 | 50 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1053-2_0_4_line_51 |  | 49 | 51 | 0.0030307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1053-2_0_4_line_52 |  | 52 | 53 | 0.0052784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1053-2_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 54 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2670435.9847 | 1216812.3907 | 2670413.2738 | 1216790.2563
1 | 2670467.1344 | 1216661.6297 | 2670413.2738 | 1216790.2563
2 | 2670467.1344 | 1216661.6297 | 2670478.4764 | 1216653.3808 | 2670487.5687 | 1216649.8193 | 2670497.7006 | 1216647.4239
3 | 2670467.1344 | 1216661.6297 | 2670553.9651 | 1216738.0222
4 | 2670617.5207 | 1216793.9377 | 2670553.9651 | 1216738.0222
5 | 2670601.1762 | 1216823.2739 | 2670608.6584 | 1216810.7768 | 2670613.631 | 1216803.1197 | 2670617.5207 | 1216793.9377
6 | 2670520.6199 | 1216642.0052 | 2670497.7006 | 1216647.4239
7 | 2670520.6199 | 1216642.0052 | 2670530.211 | 1216650.8243 | 2670538.2659 | 1216657.8235
8 | 2670520.6199 | 1216642.0052 | 2670538.0008 | 1216636.7186 | 2670550.2981 | 1216630.5157 | 2670557.7265 | 1216623.2101 | 2670562.605 | 1216617.0862 | 2670560.8052 | 1216615.197
9 | 2670683.55 | 1216530.3991 | 2670681.73 | 1216531.3984 | 2670679.071 | 1216532.1785 | 2670672.3912 | 1216526.7904
10 | 2670699.7064 | 1216515.0011 | 2670691.8113 | 1216522.579 | 2670684.8023 | 1216529.7115 | 2670683.55 | 1216530.3991
11 | 2670633.8212 | 1216515.7353 | 2670646.5706 | 1216501.7851 | 2670648.3864 | 1216501.0506 | 2670657.2614 | 1216508.1603 | 2670658.9923 | 1216508.1808 | 2670661.2318 | 1216508.2073 | 2670662.9589 | 1216508.5391 | 2670664.7729 | 1216509.8726 | 2670666.2663 | 1216512.6365 | 2670666.5571 | 1216514.3633 | 2670666.533 | 1216516.3976 | 2670666.1916 | 1216518.9285 | 2670666.1663 | 1216521.0629 | 2670667.068 | 1216522.4967 | 2670672.3912 | 1216526.7904
12 | 2670699.7064 | 1216515.0011 | 2670701.2502 | 1216516.7094 | 2670715.8133 | 1216534.5824 | 2670725.9084 | 1216546.354
13 | 2670699.7064 | 1216515.0011 | 2670698.055 | 1216513.4027 | 2670684.3409 | 1216501.3992 | 2670668.4553 | 1216491.9493 | 2670652.6041 | 1216480.7596
14 | 2670725.9084 | 1216546.354 | 2670734.6081 | 1216559.2543 | 2670735.8599 | 1216561.2593 | 2670737.1616 | 1216563.5318 | 2670742.5596 | 1216569.9019
15 | 2670742.5596 | 1216569.9019 | 2670753.3349 | 1216582.6175
16 | 2670676.8801 | 1216608.0563 | 2670676.4505 | 1216602.67 | 2670674.9226 | 1216597.0594 | 2670671.4005 | 1216592.5148 | 2670656.917 | 1216577.7186
17 | 2670676.8801 | 1216608.0563 | 2670709.4248 | 1216607.0513
18 | 2670639.6015 | 1216613.1399 | 2670650.4526 | 1216611.1005 | 2670657.2935 | 1216609.8141 | 2670676.8801 | 1216608.0563
19 | 2670709.4248 | 1216607.0513 | 2670722.5776 | 1216606.6451
20 | 2670613.415 | 1216623.3918 | 2670622.259 | 1216619.016 | 2670625.8484 | 1216617.2462 | 2670639.6015 | 1216613.1399
21 | 2670639.6015 | 1216613.1399 | 2670638.1709 | 1216608.9314 | 2670631.9485 | 1216601.5975 | 2670605.517 | 1216571.6542 | 2670605.0745 | 1216566.0677 | 2670603.432 | 1216561.1562 | 2670591.8096 | 1216546.4975
22 | 2670722.5776 | 1216606.6451 | 2670741.8846 | 1216606.0489
23 | 2670613.415 | 1216623.3918 | 2670605.3176 | 1216628.8438 | 2670597.0238 | 1216635.4942 | 2670590.0462 | 1216642.5494 | 2670577.3841 | 1216630.8365 | 2670562.605 | 1216617.0862 | 2670560.8052 | 1216615.197
24 | 2670613.415 | 1216623.3918 | 2670639.4576 | 1216644.4915 | 2670640.9177 | 1216645.6945
25 | 2670802.5912 | 1216957.9705 | 2670788.8737 | 1216971.9164 | 2670783.4007 | 1216976.9547 | 2670776.6235 | 1216981.2214 | 2670773.8515 | 1216982.6703
26 | 2670773.8515 | 1216982.6703 | 2670557.43 | 1217116.876
27 | 2670804.3489 | 1216788.9838 | 2670802.5912 | 1216957.9705
28 | 2670557.43 | 1217116.876 | 2670544.286 | 1217104.2063
29 | 2670804.3489 | 1216788.9838 | 2670774.0728 | 1216762.1421
30 | 2670732.8242 | 1216725.5734 | 2670714.7828 | 1216709.5802
31 | 2670742.0647 | 1216733.7649 | 2670732.8242 | 1216725.5734
32 | 2670713.2109 | 1216708.1867 | 2670714.7828 | 1216709.5802
33 | 2670742.0647 | 1216733.7649 | 2670753.5169 | 1216743.9179
34 | 2670742.0647 | 1216733.7649 | 2670749.5858 | 1216724.7406
35 | 2670713.2109 | 1216708.1867 | 2670693.9465 | 1216691.1094
36 | 2670774.0728 | 1216762.1421 | 2670753.5169 | 1216743.9179
37 | 2670691.7113 | 1216689.128 | 2670693.9465 | 1216691.1094
38 | 2670691.7113 | 1216689.128 | 2670674.2195 | 1216673.622 | 2670672.2346 | 1216671.914
39 | 2670669.4244 | 1216669.4958 | 2670672.2346 | 1216671.914
40 | 2670669.4244 | 1216669.4958 | 2670660.8565 | 1216662.1229 | 2670640.9177 | 1216645.6945
41 | 2670560.8052 | 1216615.197 | 2670571.5717 | 1216601.7048
42 | 2670560.8052 | 1216615.197 | 2670554.0259 | 1216608.0789
43 | 2670547.3164 | 1216665.6879 | 2670538.2659 | 1216657.8235
44 | 2670571.5717 | 1216601.7048 | 2670565.2706 | 1216574.7241
45 | 2670529.5938 | 1216626.635 | 2670536.9728 | 1216622.8643 | 2670543.122 | 1216619.0791 | 2670554.0259 | 1216608.0789
46 | 2670765.892 | 1216605.6995 | 2670754.3823 | 1216605.6629 | 2670741.8846 | 1216606.0489
47 | 2670765.892 | 1216605.6995 | 2670765.55 | 1216601.2593 | 2670763.8548 | 1216595.6801 | 2670760.2983 | 1216590.8348 | 2670753.3349 | 1216582.6175
48 | 2670561.5639 | 1216678.0682 | 2670575.4925 | 1216663.306
49 | 2670561.5639 | 1216678.0682 | 2670551.867 | 1216688.9018
50 | 2670561.5639 | 1216678.0682 | 2670547.3164 | 1216665.6879
51 | 2670549.8457 | 1216691.16 | 2670551.867 | 1216688.9018
52 | 2670565.2706 | 1216574.7241 | 2670561.418 | 1216571.1159

## bus_geodata
| x | y | coords
0 | 2670435.9847 | 1216812.3907
1 | 2670413.2738 | 1216790.2563
2 | 2670467.1344 | 1216661.6297
3 | 2670553.9651 | 1216738.0222
4 | 2670617.5207 | 1216793.9377
5 | 2670497.7006 | 1216647.4239
6 | 2670601.1762 | 1216823.2739
7 | 2670520.6199 | 1216642.0052
8 | 2670683.55 | 1216530.3991
9 | 2670672.3912 | 1216526.7904
10 | 2670699.7064 | 1216515.0011
11 | 2670633.8212 | 1216515.7353
12 | 2670725.9084 | 1216546.354
13 | 2670652.6041 | 1216480.7596
14 | 2670742.5596 | 1216569.9019
15 | 2670656.917 | 1216577.7186
16 | 2670676.8801 | 1216608.0563
17 | 2670709.4248 | 1216607.0513
18 | 2670639.6015 | 1216613.1399
19 | 2670722.5776 | 1216606.6451
20 | 2670613.415 | 1216623.3918
21 | 2670591.8096 | 1216546.4975
22 | 2670773.8515 | 1216982.6703
23 | 2670802.5912 | 1216957.9705
24 | 2670557.43 | 1217116.876
25 | 2670804.3489 | 1216788.9838
26 | 2670544.286 | 1217104.2063
27 | 2670732.8242 | 1216725.5734
28 | 2670714.7828 | 1216709.5802
29 | 2670742.0647 | 1216733.7649
30 | 2670713.2109 | 1216708.1867
31 | 2670753.5169 | 1216743.9179
32 | 2670749.5858 | 1216724.7406
33 | 2670693.9465 | 1216691.1094
34 | 2670774.0728 | 1216762.1421
35 | 2670691.7113 | 1216689.128
36 | 2670672.2346 | 1216671.914
37 | 2670669.4244 | 1216669.4958
38 | 2670640.9177 | 1216645.6945
39 | 2670560.8052 | 1216615.197
40 | 2670538.2659 | 1216657.8235
41 | 2670571.5717 | 1216601.7048
42 | 2670554.0259 | 1216608.0789
43 | 2670765.892 | 1216605.6995
44 | 2670741.8846 | 1216606.0489
45 | 2670753.3349 | 1216582.6175
46 | 2670529.5938 | 1216626.635
47 | 2670575.4925 | 1216663.306
48 | 2670561.5639 | 1216678.0682
49 | 2670551.867 | 1216688.9018
50 | 2670547.3164 | 1216665.6879
51 | 2670549.8457 | 1216691.16
52 | 2670561.418 | 1216571.1159
53 | 2670565.2706 | 1216574.7241
54 | 2670644.986 | 1216700.7483

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98508 | -0.28707 | 0.00025672 | 6.434e-05
1 | 0.98509 | -0.28693 | 0.0065562 | 0.0016431
2 | 0.98596 | -0.26987 | 0 | 0
3 | 0.98528 | -0.28325 | 0.0040325 | 0.0010106
4 | 0.98509 | -0.28692 | 0 | 0
5 | 0.98638 | -0.26173 | 0.0056682 | 0.0014206
6 | 0.98502 | -0.28838 | 0.0024123 | 0.00060458
7 | 0.98679 | -0.25375 | 0 | 0
8 | 0.98213 | -0.34421 | 0.0093098 | 0.0023333
9 | 0.98188 | -0.34913 | 0.0091577 | 0.0022951
10 | 0.98274 | -0.33225 | 0 | 0
11 | 0.98126 | -0.36127 | 0.011117 | 0.0027861
12 | 0.98396 | -0.30844 | 0 | 0
13 | 0.98259 | -0.33517 | 0.0027695 | 0.0006941
14 | 0.98482 | -0.29163 | 0.0012576 | 0.00031519
15 | 0.98953 | -0.20038 | 0.0071665 | 0.0017961
16 | 0.98978 | -0.19558 | 0 | 0
17 | 0.98833 | -0.22357 | 0.0068151 | 0.001708
18 | 0.9917 | -0.1585 | 0 | 0
19 | 0.98783 | -0.23331 | 0.0020126 | 0.00050441
20 | 0.99329 | -0.12801 | 0 | 0
21 | 0.99127 | -0.16683 | 0.0056266 | 0.0014102
22 | 0.98762 | -0.23862 | 0.0032626 | 0.00081767
23 | 0.98808 | -0.22976 | 0 | 0
24 | 0.98534 | -0.28309 | 0 | 0
25 | 0.9901 | -0.19056 | 0 | 0
26 | 0.98517 | -0.28628 | 0.009744 | 0.0024421
27 | 0.99253 | -0.14339 | 0.017161 | 0.0043009
28 | 0.99404 | -0.11438 | 0.0053456 | 0.0013397
29 | 0.99196 | -0.15452 | 0 | 0
30 | 0.99418 | -0.11165 | 0.025634 | 0.0064244
31 | 0.99132 | -0.16698 | 0.01674 | 0.0041955
32 | 0.9919 | -0.15558 | 0.005052 | 0.0012662
33 | 0.99651 | -0.066774 | 0.0028881 | 0.00072382
34 | 0.99058 | -0.18119 | 0.016134 | 0.0040435
35 | 0.99679 | -0.061429 | 0.022493 | 0.0056373
36 | 0.99975 | -0.0048388 | 0.025256 | 0.0063298
37 | 1 | 0 | -0.29887 | -0.07547
38 | 0.99753 | -0.047038 | 0.014972 | 0.0037522
39 | 0.98883 | -0.21409 | 0 | 0
40 | 0.98629 | -0.26356 | 0.00514 | 0.0012882
41 | 0.9886 | -0.21857 | 0.0090166 | 0.0022598
42 | 0.98872 | -0.21624 | 0 | 0
43 | 0.98629 | -0.26319 | 0 | 0
44 | 0.98712 | -0.24693 | 0.0015871 | 0.00039775
45 | 0.98534 | -0.28156 | 0.0042233 | 0.0010585
46 | 0.98837 | -0.22303 | 0.012297 | 0.0030818
47 | 0.98577 | -0.27361 | 0.003862 | 0.00096791
48 | 0.98584 | -0.27221 | 0 | 0
49 | 0.98571 | -0.27489 | 0.0052289 | 0.0013105
50 | 0.98609 | -0.26742 | 0.0038143 | 0.00095596
51 | 0.98569 | -0.27517 | 0.0050632 | 0.001269
52 | 0.98844 | -0.2217 | 0.0040325 | 0.0010106
53 | 0.98846 | -0.22132 | 0.0015353 | 0.00038479
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00025672 | -6.434e-05 | 0.00025672 | 6.3938e-05 | 1.7877e-09 | -4.0259e-07 | 0.00038779 | 0.00038765 | 0.00038779 | 0.98508 | -0.28707 | 0.98509 | -0.28693 | 0.10654
1 | -0.0068129 | -0.0017071 | 0.0068185 | 0.0017088 | 5.5378e-06 | 1.7673e-06 | 0.010291 | 0.01029 | 0.010291 | 0.98509 | -0.28693 | 0.98596 | -0.26987 | 2.8272
2 | -0.013268 | -0.0033241 | 0.013273 | 0.0033269 | 5.1421e-06 | 2.8546e-06 | 0.020024 | 0.020023 | 0.020024 | 0.98596 | -0.26987 | 0.98638 | -0.26173 | 5.501
3 | 0.0064495 | 0.0016152 | -0.0064453 | -0.0016141 | 4.1088e-06 | 1.1556e-06 | 0.0097331 | 0.0097336 | 0.0097336 | 0.98596 | -0.26987 | 0.98528 | -0.28325 | 2.6741
4 | 0.0024129 | 0.00060345 | -0.0024125 | -0.00060426 | 4.2148e-07 | -8.0816e-07 | 0.0036436 | 0.003644 | 0.003644 | 0.98528 | -0.28325 | 0.98509 | -0.28692 | 1.0011
5 | 0.0024125 | 0.00060426 | -0.0024123 | -0.00060458 | 1.6757e-07 | -3.2112e-07 | 0.003644 | 0.0036441 | 0.0036441 | 0.98509 | -0.28692 | 0.98502 | -0.28838 | 1.0011
6 | -0.018941 | -0.0047475 | 0.018948 | 0.0047518 | 7.2109e-06 | 4.3142e-06 | 0.028574 | 0.028574 | 0.028574 | 0.98638 | -0.26173 | 0.98679 | -0.25375 | 7.8501
7 | 0.023127 | 0.0058025 | -0.023117 | -0.0057959 | 1.0811e-05 | 6.6164e-06 | 0.034877 | 0.034877 | 0.034877 | 0.98679 | -0.25375 | 0.98629 | -0.26356 | 9.5816
8 | -0.042076 | -0.010554 | 0.042156 | 0.010605 | 7.9712e-05 | 5.034e-05 | 0.063451 | 0.063451 | 0.063451 | 0.98679 | -0.25375 | 0.98883 | -0.21409 | 17.4316
9 | 0.020286 | 0.0050875 | -0.020281 | -0.0050846 | 4.7575e-06 | 2.8749e-06 | 0.030736 | 0.030736 | 0.030736 | 0.98213 | -0.34421 | 0.98188 | -0.34913 | 8.4439
10 | -0.029595 | -0.0074208 | 0.029612 | 0.0074313 | 1.6869e-05 | 1.0513e-05 | 0.044841 | 0.044841 | 0.044841 | 0.98213 | -0.34421 | 0.98274 | -0.33225 | 12.319
11 | 0.011123 | 0.0027895 | -0.011117 | -0.0027861 | 6.4323e-06 | 3.3537e-06 | 0.016858 | 0.016858 | 0.016858 | 0.98188 | -0.34913 | 0.98126 | -0.36127 | 4.6313
12 | -0.032382 | -0.0081249 | 0.032419 | 0.0081479 | 3.6805e-05 | 2.3037e-05 | 0.049035 | 0.049035 | 0.049035 | 0.98274 | -0.33225 | 0.98396 | -0.30844 | 13.4711
13 | 0.0027699 | 0.00069361 | -0.0027695 | -0.0006941 | 3.8527e-07 | -4.9339e-07 | 0.0041938 | 0.0041941 | 0.0041941 | 0.98274 | -0.33225 | 0.98259 | -0.33517 | 1.1522
14 | -0.032419 | -0.0081479 | 0.032445 | 0.0081642 | 2.605e-05 | 1.6305e-05 | 0.049035 | 0.049035 | 0.049035 | 0.98396 | -0.30844 | 0.98482 | -0.29163 | 13.4711
15 | -0.033703 | -0.0084794 | 0.033719 | 0.0084896 | 1.6215e-05 | 1.0165e-05 | 0.050935 | 0.050935 | 0.050935 | 0.98482 | -0.29163 | 0.98534 | -0.28156 | 13.9931
16 | -0.0071665 | -0.0017961 | 0.0071681 | 0.0017967 | 1.6407e-06 | 5.6596e-07 | 0.010777 | 0.010777 | 0.010777 | 0.98953 | -0.20038 | 0.98978 | -0.19558 | 2.9606
17 | 0.04853 | 0.012268 | -0.048465 | -0.012226 | 6.5062e-05 | 4.1222e-05 | 0.072997 | 0.072997 | 0.072997 | 0.98978 | -0.19558 | 0.98833 | -0.22357 | 20.0541
18 | -0.055698 | -0.014064 | 0.055798 | 0.014127 | 9.913e-05 | 6.2958e-05 | 0.083773 | 0.083773 | 0.083773 | 0.98978 | -0.19558 | 0.9917 | -0.1585 | 23.0146
19 | 0.04165 | 0.010518 | -0.041631 | -0.010506 | 1.9422e-05 | 1.2262e-05 | 0.062736 | 0.062736 | 0.062736 | 0.98833 | -0.22357 | 0.98783 | -0.23331 | 17.2352
20 | -0.061426 | -0.015538 | 0.061516 | 0.015595 | 9.0004e-05 | 5.7238e-05 | 0.092219 | 0.092219 | 0.092219 | 0.9917 | -0.1585 | 0.99329 | -0.12801 | 25.3349
21 | 0.0056288 | 0.0014105 | -0.0056266 | -0.0014102 | 2.2335e-06 | 3.5262e-07 | 0.0084458 | 0.0084462 | 0.0084462 | 0.9917 | -0.1585 | 0.99127 | -0.16683 | 2.3204
22 | 0.039618 | 0.010002 | -0.039592 | -0.0099854 | 2.5821e-05 | 1.6278e-05 | 0.059705 | 0.059705 | 0.059705 | 0.98783 | -0.23331 | 0.98712 | -0.24693 | 16.4024
23 | 0.069331 | 0.017528 | -0.069046 | -0.017346 | 0.00028492 | 0.00018144 | 0.10392 | 0.10392 | 0.10392 | 0.99329 | -0.12801 | 0.98883 | -0.21409 | 28.5484
24 | -0.13085 | -0.033123 | 0.13136 | 0.033449 | 0.00051081 | 0.00032646 | 0.19613 | 0.19613 | 0.19613 | 0.99329 | -0.12801 | 0.99753 | -0.047038 | 53.8831
25 | -0.013029 | -0.0032704 | 0.013034 | 0.0032735 | 5.5118e-06 | 3.0393e-06 | 0.019632 | 0.019632 | 0.019632 | 0.98762 | -0.23862 | 0.98808 | -0.22976 | 5.3933
26 | 0.0097661 | 0.0024528 | -0.0097454 | -0.0024428 | 2.0683e-05 | 9.9858e-06 | 0.014716 | 0.014717 | 0.014717 | 0.98762 | -0.23862 | 0.98534 | -0.28309 | 4.0432
27 | -0.013034 | -0.0032735 | 0.013059 | 0.0032869 | 2.4423e-05 | 1.3462e-05 | 0.019632 | 0.019631 | 0.019632 | 0.98808 | -0.22976 | 0.9901 | -0.19056 | 5.3933
28 | 0.0097454 | 0.0024428 | -0.009744 | -0.0024421 | 1.4829e-06 | 7.1653e-07 | 0.014717 | 0.014717 | 0.014717 | 0.98534 | -0.28309 | 0.98517 | -0.28628 | 4.0432
29 | -0.013059 | -0.0032869 | 0.013064 | 0.0032902 | 5.8471e-06 | 3.2215e-06 | 0.019631 | 0.019631 | 0.019631 | 0.9901 | -0.19056 | 0.99058 | -0.18119 | 5.3931
30 | -0.068226 | -0.017143 | 0.06832 | 0.017203 | 9.4618e-05 | 6.0243e-05 | 0.1023 | 0.1023 | 0.1023 | 0.99253 | -0.14339 | 0.99404 | -0.11438 | 28.1044
31 | 0.051065 | 0.012842 | -0.051038 | -0.012825 | 2.7152e-05 | 1.7218e-05 | 0.076573 | 0.076573 | 0.076573 | 0.99253 | -0.14339 | 0.99196 | -0.15452 | 21.0365
32 | -0.073666 | -0.018543 | 0.073675 | 0.018549 | 9.584e-06 | 6.1065e-06 | 0.1103 | 0.1103 | 0.1103 | 0.99404 | -0.11438 | 0.99418 | -0.11165 | 30.3027
33 | 0.045986 | 0.011559 | -0.045958 | -0.011541 | 2.732e-05 | 1.7287e-05 | 0.068994 | 0.068994 | 0.068994 | 0.99196 | -0.15452 | 0.99132 | -0.16698 | 18.9544
34 | 0.0050523 | 0.0012662 | -0.005052 | -0.0012662 | 2.5303e-07 | 1.0301e-08 | 0.0075788 | 0.0075789 | 0.0075789 | 0.99196 | -0.15452 | 0.9919 | -0.15558 | 2.0821
35 | -0.099309 | -0.024973 | 0.099522 | 0.02511 | 0.00021337 | 0.00013623 | 0.14867 | 0.14867 | 0.14867 | 0.99418 | -0.11165 | 0.99651 | -0.066774 | 40.8429
36 | 0.029218 | 0.007346 | -0.029198 | -0.0073337 | 1.9823e-05 | 1.2333e-05 | 0.043866 | 0.043866 | 0.043866 | 0.99132 | -0.16698 | 0.99058 | -0.18119 | 12.0512
37 | -0.10241 | -0.025834 | 0.10244 | 0.02585 | 2.6214e-05 | 1.6738e-05 | 0.15298 | 0.15298 | 0.15298 | 0.99651 | -0.066774 | 0.99679 | -0.061429 | 42.0277
38 | -0.12493 | -0.031488 | 0.12527 | 0.031704 | 0.00033926 | 0.00021679 | 0.18656 | 0.18656 | 0.18656 | 0.99679 | -0.061429 | 0.99975 | -0.0048388 | 51.2523
39 | -0.15053 | -0.038034 | 0.15056 | 0.038056 | 3.4925e-05 | 2.2255e-05 | 0.22415 | 0.22415 | 0.22415 | 0.99975 | -0.0048388 | 1 | 0 | 30.7898
40 | 0.14666 | 0.037413 | -0.14633 | -0.037201 | 0.00033235 | 0.00021173 | 0.21847 | 0.21847 | 0.21847 | 1 | 0 | 0.99753 | -0.047038 | 30.0093
41 | 0.014588 | 0.003657 | -0.014585 | -0.0036553 | 3.1164e-06 | 1.7734e-06 | 0.021953 | 0.021953 | 0.021953 | 0.98883 | -0.21409 | 0.9886 | -0.21857 | 6.0311
42 | 0.012302 | 0.0030846 | -0.012301 | -0.003084 | 1.2617e-06 | 6.8155e-07 | 0.018513 | 0.018513 | 0.018513 | 0.98883 | -0.21409 | 0.98872 | -0.21624 | 5.0859
43 | 0.017977 | 0.0045077 | -0.017973 | -0.0045057 | 3.3075e-06 | 1.9638e-06 | 0.027122 | 0.027122 | 0.027122 | 0.98629 | -0.26356 | 0.98609 | -0.26742 | 7.4512
44 | 0.0055686 | 0.0013955 | -0.0055679 | -0.0013954 | 7.2993e-07 | 1.1195e-07 | 0.0083816 | 0.0083818 | 0.0083818 | 0.9886 | -0.21857 | 0.98846 | -0.22132 | 2.3027
45 | 0.012301 | 0.003084 | -0.012297 | -0.0030818 | 3.9766e-06 | 2.1484e-06 | 0.018513 | 0.018513 | 0.018513 | 0.98872 | -0.21624 | 0.98837 | -0.22303 | 5.0859
46 | -0.037976 | -0.009569 | 0.038005 | 0.0095876 | 2.9579e-05 | 1.8624e-05 | 0.057312 | 0.057312 | 0.057312 | 0.98629 | -0.26319 | 0.98712 | -0.24693 | 15.7452
47 | 0.037976 | 0.009569 | -0.037942 | -0.009548 | 3.3339e-05 | 2.0992e-05 | 0.057312 | 0.057313 | 0.057313 | 0.98629 | -0.26319 | 0.98534 | -0.28156 | 15.7452
48 | -0.003862 | -0.00096791 | 0.0038622 | 0.00096781 | 2.5865e-07 | -9.3227e-08 | 0.0058296 | 0.0058295 | 0.0058296 | 0.98577 | -0.27361 | 0.98584 | -0.27221 | 1.6015
49 | 0.010294 | 0.0025801 | -0.010292 | -0.0025795 | 1.3162e-06 | 6.57e-07 | 0.015537 | 0.015537 | 0.015537 | 0.98584 | -0.27221 | 0.98571 | -0.27489 | 4.2684
50 | -0.014156 | -0.0035479 | 0.014159 | 0.0035498 | 3.2313e-06 | 1.8273e-06 | 0.021367 | 0.021366 | 0.021367 | 0.98584 | -0.27221 | 0.98609 | -0.26742 | 5.8699
51 | 0.0050633 | 0.001269 | -0.0050632 | -0.001269 | 6.6398e-08 | 3.863e-09 | 0.0076435 | 0.0076435 | 0.0076435 | 0.98571 | -0.27489 | 0.98569 | -0.27517 | 2.0999
52 | -0.0040325 | -0.0010106 | 0.0040325 | 0.0010106 | 7.2944e-08 | -2.0975e-08 | 0.0060705 | 0.0060705 | 0.0060705 | 0.98844 | -0.2217 | 0.98846 | -0.22132 | 1.6677

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29887 | 0.07547

## res_load
| p_mw | q_mvar
0 | 0.00025672 | 6.434e-05
1 | 0.0065562 | 0.0016431
2 | 0.0040325 | 0.0010106
3 | 0.0056682 | 0.0014206
4 | 0.0024123 | 0.00060458
5 | 0.0093098 | 0.0023333
6 | 0.0091577 | 0.0022951
7 | 0.011117 | 0.0027861
8 | 0.0027695 | 0.0006941
9 | 0.0012576 | 0.00031519
10 | 0.0071665 | 0.0017961
11 | 0.0068151 | 0.001708
12 | 0.0020126 | 0.00050441
13 | 0.0056266 | 0.0014102
14 | 0.0032626 | 0.00081767
15 | 0.009744 | 0.0024421
16 | 0.017161 | 0.0043009
17 | 0.0053456 | 0.0013397
18 | 0.025634 | 0.0064244
19 | 0.01674 | 0.0041955
20 | 0.005052 | 0.0012662
21 | 0.0028881 | 0.00072382
22 | 0.016134 | 0.0040435
23 | 0.022493 | 0.0056373
24 | 0.025256 | 0.0063298
25 | 0.014972 | 0.0037522
26 | 0.00514 | 0.0012882
27 | 0.0090166 | 0.0022598
28 | 0.0015871 | 0.00039775
29 | 0.0042233 | 0.0010585
30 | 0.012297 | 0.0030818
31 | 0.003862 | 0.00096791
32 | 0.0052289 | 0.0013105
33 | 0.0038143 | 0.00095596
34 | 0.0050632 | 0.001269
35 | 0.0040325 | 0.0010106
36 | 0.0015353 | 0.00038479

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1