## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-17_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1054-17_0_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1054-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1054-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1054-17_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_1054-17_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1054-17_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1054-17_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1054-17_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1054-17_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1054-17_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1054-17_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1054-17_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1054-17_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1054-17_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1054-17_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1054-17_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1054-17_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1054-17_0_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1054-17_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1054-17_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1054-17_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1054-17_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1054-17_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1054-17_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1054-17_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1054-17_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1054-17_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1054-17_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1054-17_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1054-17_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1054-17_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1054-17_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1054-17_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1054-17_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_MV_212_1_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-17_0_3_load_0 | 0 | 0.0013755 | 0.00034472 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-17_0_3_load_13 | 2 | 0.0076032 | 0.0019055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-17_0_3_load_38 | 5 | 0.0085167 | 0.0021345 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-17_0_3_load_21 | 6 | 0.0060939 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-17_0_3_load_30 | 8 | 0.027393 | 0.0068654 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-17_0_3_load_28 | 10 | 0.026184 | 0.0065624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-17_0_3_load_17 | 12 | 0.042035 | 0.010535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-17_0_3_load_14 | 14 | 0.016337 | 0.0040944 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-17_0_3_load_16 | 16 | 0.017776 | 0.0044552 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-17_0_3_load_18 | 17 | 0.006417 | 0.0016083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-17_0_3_load_31 | 19 | 0.0067287 | 0.0016864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-17_0_3_load_35 | 20 | 0.010851 | 0.0027194 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-17_0_3_load_34 | 21 | 0.016857 | 0.0042247 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-17_0_3_load_29 | 22 | 0.0274 | 0.006867 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-17_0_3_load_15 | 23 | 0.02469 | 0.0061878 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-17_0_3_load_33 | 24 | 0.0098017 | 0.0024565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-17_0_3_load_32 | 25 | 0.038979 | 0.0097691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-17_0_3_load_19 | 26 | 0.0043009 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-17_0_3_load_36 | 27 | 0.011818 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-17_0_3_load_20 | 28 | 0.0041324 | 0.0010357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-17_0_3_load_37 | 29 | 0.0043028 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-17_0_3_load_22 | 31 | 0.011523 | 0.0028879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-17_0_3_load_27 | 35 | 0.016166 | 0.0040516 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-17_0_3_line_0 |  | 0 | 1 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-17_0_3_line_1 |  | 1 | 2 | 0.046664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-17_0_3_line_2 |  | 2 | 5 | 0.044393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-17_0_3_line_3 |  | 3 | 4 | 0.027713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1054-17_0_3_line_4 |  | 3 | 5 | 0.0098257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-17_0_3_line_5 |  | 4 | 6 | 0.030962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-17_0_3_line_6 |  | 6 | 9 | 0.019824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-17_0_3_line_7 |  | 7 | 8 | 0.026626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-17_0_3_line_8 |  | 7 | 9 | 0.043642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-17_0_3_line_9 |  | 7 | 10 | 0.0043107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-17_0_3_line_10 |  | 10 | 22 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-17_0_3_line_11 |  | 11 | 12 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1054-17_0_3_line_12 |  | 11 | 13 | 0.046173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-17_0_3_line_13 |  | 11 | 14 | 0.050026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1054-17_0_3_line_14 |  | 12 | 22 | 0.023362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-17_0_3_line_15 |  | 13 | 18 | 0.07973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-17_0_3_line_16 |  | 13 | 19 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-17_0_3_line_17 |  | 14 | 23 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-17_0_3_line_18 |  | 15 | 16 | 0.031807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-17_0_3_line_19 |  | 15 | 17 | 0.016416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-17_0_3_line_20 |  | 16 | 23 | 0.020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-17_0_3_line_21 |  | 17 | 26 | 0.029436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-17_0_3_line_22 |  | 18 | 20 | 0.019737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-17_0_3_line_23 |  | 18 | 21 | 0.023531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-17_0_3_line_24 |  | 19 | 25 | 0.040175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-17_0_3_line_25 |  | 20 | 27 | 0.036163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-17_0_3_line_26 |  | 24 | 25 | 0.04018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-17_0_3_line_27 |  | 26 | 28 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-17_0_3_line_28 |  | 28 | 29 | 0.0018977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-17_0_3_line_29 |  | 29 | 30 | 0.16916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1054-17_0_3_line_30 |  | 30 | 33 | 0.34516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1054-17_0_3_line_31 |  | 31 | 32 | 0.0050216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1054-17_0_3_line_32 |  | 32 | 34 | 0.008623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-17_0_3_line_33 |  | 33 | 34 | 0.008423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1054-17_0_3_line_34 |  | 34 | 35 | 0.0013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-17_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 36 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2668732.0799 | 1215285.5515 | 2668732.975 | 1215288.2746 | 2668734.9474 | 1215291.744 | 2668742.5375 | 1215299.4662
1 | 2668732.0799 | 1215285.5515 | 2668726.6316 | 1215267.3995 | 2668721.3347 | 1215261.1456 | 2668707.3612 | 1215247.5215
2 | 2668675.5761 | 1215216.5311 | 2668707.3612 | 1215247.5215
3 | 2668649.5301 | 1215195.3884 | 2668654.5272 | 1215198.0142 | 2668659.0254 | 1215205.7153 | 2668665.2661 | 1215211.8021 | 2668665.7016 | 1215212.2296 | 2668668.0958 | 1215210.078 | 2668668.5409 | 1215209.6718
4 | 2668668.5409 | 1215209.6718 | 2668675.5761 | 1215216.5311
5 | 2668649.5301 | 1215195.3884 | 2668652.2599 | 1215185.8582 | 2668657.4995 | 1215173.3663 | 2668657.9027 | 1215170.6692 | 2668657.6759 | 1215167.2867 | 2668657.2435 | 1215165.9711
6 | 2668644.5644 | 1215151.1367 | 2668653.6799 | 1215159.5025 | 2668656.4506 | 1215163.5591 | 2668657.2435 | 1215165.9711
7 | 2668675.2301 | 1215146.5202 | 2668669.2499 | 1215154.0783 | 2668668.5559 | 1215158.9401 | 2668669.4236 | 1215166.6771 | 2668669.3742 | 1215170.9682
8 | 2668644.5644 | 1215151.1367 | 2668647.8411 | 1215147.5277 | 2668649.0816 | 1215148.6205 | 2668655.8267 | 1215153.1121 | 2668660.9386 | 1215155.0054 | 2668669.0746 | 1215141.6018 | 2668674.583 | 1215146.0013 | 2668675.2301 | 1215146.5202
9 | 2668675.2301 | 1215146.5202 | 2668678.1012 | 1215143.3047
10 | 2668684.8008 | 1215135.8014 | 2668678.1012 | 1215143.3047
11 | 2668717.1514 | 1215107.5898 | 2668711.9476 | 1215108.397 | 2668709.1158 | 1215109.6318 | 2668705.7892 | 1215112.2951 | 2668700.3602 | 1215118.3754
12 | 2668717.1514 | 1215107.5898 | 2668716.3337 | 1215106.7131 | 2668710.8724 | 1215100.8687 | 2668709.9872 | 1215099.9246 | 2668721.7019 | 1215094.2894 | 2668731.4588 | 1215088.5204 | 2668741.1489 | 1215082.6173
13 | 2668717.1514 | 1215107.5898 | 2668722.5671 | 1215107.5077 | 2668730.962 | 1215111.1845 | 2668756.9745 | 1215135.2607
14 | 2668684.8008 | 1215135.8014 | 2668700.3602 | 1215118.3754
15 | 2668741.1489 | 1215082.6173 | 2668745.3261 | 1215079.9638 | 2668771.0959 | 1215063.3282 | 2668775.2471 | 1215068.1903 | 2668802.6215 | 1215094.1334
16 | 2668741.1489 | 1215082.6173 | 2668741.9509 | 1215083.5382 | 2668747.3848 | 1215089.7826 | 2668748.4416 | 1215090.9955 | 2668748.4416 | 1215090.9955
17 | 2668756.9745 | 1215135.2607 | 2668776.5199 | 1215153.3511
18 | 2668810.6618 | 1215191.6653 | 2668801.8781 | 1215183.5255 | 2668800.5927 | 1215179.0968 | 2668798.6622 | 1215175.2832 | 2668795.9845 | 1215171.7279 | 2668793.2535 | 1215168.839 | 2668791.4046 | 1215167.1277
19 | 2668810.6618 | 1215191.6653 | 2668808.7326 | 1215193.6666 | 2668806.6804 | 1215195.7887 | 2668798.9087 | 1215203.1202
20 | 2668776.5199 | 1215153.3511 | 2668791.4046 | 1215167.1277
21 | 2668777.4971 | 1215223.3191 | 2668798.9087 | 1215203.1202
22 | 2668802.6215 | 1215094.1334 | 2668816.4674 | 1215080.0672
23 | 2668802.6215 | 1215094.1334 | 2668819.701 | 1215110.3205
24 | 2668748.4416 | 1215090.9955 | 2668747.6685 | 1215094.1553 | 2668748.3084 | 1215098.5988 | 2668752.5701 | 1215104.4071 | 2668770.8827 | 1215121.7598
25 | 2668841.9342 | 1215058.7911 | 2668828.8689 | 1215072.3226 | 2668826.2437 | 1215070.1354 | 2668816.4674 | 1215080.0672
26 | 2668800.0485 | 1215149.3967 | 2668770.8827 | 1215121.7598
27 | 2668777.4971 | 1215223.3191 | 2668763.6872 | 1215236.347
28 | 2668762.3067 | 1215237.6492 | 2668763.6872 | 1215236.347
29 | 2668671.9348 | 1215372.5244 | 2668670.6167 | 1215366.3053 | 2668672.266 | 1215353.0048 | 2668677.7894 | 1215331.6995 | 2668686.7382 | 1215313.6468 | 2668699.4856 | 1215298.762 | 2668741.665 | 1215257.1219 | 2668762.3067 | 1215237.6492
30 | 2668613.1112 | 1215194.4687 | 2668602.2243 | 1215206.0618 | 2668585.011 | 1215222.3185 | 2668583.2253 | 1215223.7322 | 2668574.8045 | 1215219.0101 | 2668562.1775 | 1215216.1854 | 2668567.2929 | 1215220.4135 | 2668588.2559 | 1215230.7055 | 2668593.0271 | 1215231.85 | 2668615.936 | 1215252.5377 | 2668668.7645 | 1215301.6544 | 2668614.352 | 1215362.4108 | 2668626.2339 | 1215368.5847 | 2668638.1003 | 1215374.7807 | 2668650.8637 | 1215376.9401 | 2668671.9348 | 1215372.5244
31 | 2668624.4397 | 1215184.7596 | 2668620.8631 | 1215188.2845
32 | 2668618.0125 | 1215187.6096 | 2668620.1331 | 1215186.1331 | 2668622.7399 | 1215183.328 | 2668624.4397 | 1215184.7596
33 | 2668613.1112 | 1215194.4687 | 2668618.0125 | 1215187.6096
34 | 2668618.0125 | 1215187.6096 | 2668618.8705 | 1215186.6261

## bus_geodata
| x | y | coords
0 | 2668742.5375 | 1215299.4662
1 | 2668732.0799 | 1215285.5515
2 | 2668707.3612 | 1215247.5215
3 | 2668668.5409 | 1215209.6718
4 | 2668649.5301 | 1215195.3884
5 | 2668675.5761 | 1215216.5311
6 | 2668657.2435 | 1215165.9711
7 | 2668675.2301 | 1215146.5202
8 | 2668669.3742 | 1215170.9682
9 | 2668644.5644 | 1215151.1367
10 | 2668678.1012 | 1215143.3047
11 | 2668717.1514 | 1215107.5898
12 | 2668700.3602 | 1215118.3754
13 | 2668741.1489 | 1215082.6173
14 | 2668756.9745 | 1215135.2607
15 | 2668810.6618 | 1215191.6653
16 | 2668791.4046 | 1215167.1277
17 | 2668798.9087 | 1215203.1202
18 | 2668802.6215 | 1215094.1334
19 | 2668748.4416 | 1215090.9955
20 | 2668816.4674 | 1215080.0672
21 | 2668819.701 | 1215110.3205
22 | 2668684.8008 | 1215135.8014
23 | 2668776.5199 | 1215153.3511
24 | 2668800.0486 | 1215149.3967
25 | 2668770.8827 | 1215121.7598
26 | 2668777.4971 | 1215223.3191
27 | 2668841.9342 | 1215058.7911
28 | 2668763.6872 | 1215236.347
29 | 2668762.3067 | 1215237.6492
30 | 2668671.9348 | 1215372.5244
31 | 2668620.8631 | 1215188.2845
32 | 2668624.4397 | 1215184.7596
33 | 2668613.1112 | 1215194.4687
34 | 2668618.0125 | 1215187.6096
35 | 2668618.8705 | 1215186.6261
36 | 2668717.1514 | 1215107.5898

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98699 | -0.25058 | 0.0013755 | 0.00034472
1 | 0.98701 | -0.25014 | 0 | 0
2 | 0.98707 | -0.24899 | 0.0076032 | 0.0019055
3 | 0.98759 | -0.23879 | 0 | 0
4 | 0.98804 | -0.23013 | 0 | 0
5 | 0.98744 | -0.24186 | 0.0085167 | 0.0021345
6 | 0.98854 | -0.22046 | 0.0060939 | 0.0015273
7 | 0.98991 | -0.19379 | 0 | 0
8 | 0.98924 | -0.20677 | 0.027393 | 0.0068654
9 | 0.98897 | -0.21212 | 0 | 0
10 | 0.99011 | -0.18988 | 0.026184 | 0.0065624
11 | 0.99446 | -0.10594 | 0 | 0
12 | 0.99306 | -0.13281 | 0.042035 | 0.010535
13 | 0.99043 | -0.1836 | 0 | 0
14 | 1 | 0 | -0.33572 | -0.084922
15 | 0.99525 | -0.090726 | 0 | 0
16 | 0.99662 | -0.064534 | 0.017776 | 0.0044552
17 | 0.99454 | -0.10427 | 0.006417 | 0.0016083
18 | 0.98753 | -0.23976 | 0 | 0
19 | 0.98986 | -0.19456 | 0.0067287 | 0.0016864
20 | 0.98712 | -0.24776 | 0.010851 | 0.0027194
21 | 0.98717 | -0.24685 | 0.016857 | 0.0042247
22 | 0.99082 | -0.17609 | 0.0274 | 0.006867
23 | 0.99782 | -0.041556 | 0.02469 | 0.0061878
24 | 0.9877 | -0.23652 | 0.0098017 | 0.0024565
25 | 0.98806 | -0.22949 | 0.038979 | 0.0097691
26 | 0.99344 | -0.12527 | 0.0043009 | 0.0010779
27 | 0.98673 | -0.25541 | 0.011818 | 0.002962
28 | 0.99281 | -0.1374 | 0.0041324 | 0.0010357
29 | 0.99275 | -0.13847 | 0.0043028 | 0.0010784
30 | 0.98841 | -0.22172 | 0 | 0
31 | 0.9792 | -0.4009 | 0.011523 | 0.0028879
32 | 0.97925 | -0.39984 | 0 | 0
33 | 0.97956 | -0.3938 | 0 | 0
34 | 0.97934 | -0.39804 | 0 | 0
35 | 0.97932 | -0.39842 | 0.016166 | 0.0040516
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013755 | -0.00034472 | 0.0013755 | 0.00034451 | 2.8517e-08 | -2.0777e-07 | 0.0020737 | 0.0020736 | 0.0020737 | 0.98699 | -0.25058 | 0.98701 | -0.25014 | 0.56969
1 | -0.0013755 | -0.00034451 | 0.0013756 | 0.00034397 | 7.5234e-08 | -5.4828e-07 | 0.0020736 | 0.0020734 | 0.0020736 | 0.98701 | -0.25014 | 0.98707 | -0.24899 | 0.56967
2 | -0.0089787 | -0.0022495 | 0.0089818 | 0.0022509 | 3.0498e-06 | 1.3842e-06 | 0.013535 | 0.013535 | 0.013535 | 0.98707 | -0.24899 | 0.98744 | -0.24186 | 3.7185
3 | -0.017501 | -0.0043869 | 0.017508 | 0.0043911 | 7.2261e-06 | 4.2699e-06 | 0.026369 | 0.026369 | 0.026369 | 0.98759 | -0.23879 | 0.98804 | -0.23013 | 7.2443
4 | 0.017501 | 0.0043869 | -0.017498 | -0.0043854 | 2.562e-06 | 1.514e-06 | 0.026369 | 0.026369 | 0.026369 | 0.98759 | -0.23879 | 0.98744 | -0.24186 | 7.2443
5 | -0.017508 | -0.0043911 | 0.017516 | 0.0043959 | 8.0731e-06 | 4.7701e-06 | 0.026369 | 0.026369 | 0.026369 | 0.98804 | -0.23013 | 0.98854 | -0.22046 | 7.2442
6 | -0.02361 | -0.0059232 | 0.02362 | 0.005929 | 9.3908e-06 | 5.7559e-06 | 0.035542 | 0.035542 | 0.035542 | 0.98854 | -0.22046 | 0.98897 | -0.21212 | 9.7643
7 | 0.02741 | 0.0068759 | -0.027393 | -0.0068654 | 1.6952e-05 | 1.0507e-05 | 0.041205 | 0.041205 | 0.041205 | 0.98991 | -0.19379 | 0.98924 | -0.20677 | 11.32
8 | 0.02364 | 0.0059416 | -0.02362 | -0.005929 | 2.0673e-05 | 1.267e-05 | 0.035542 | 0.035542 | 0.035542 | 0.98991 | -0.19379 | 0.98897 | -0.21212 | 9.7642
9 | -0.05105 | -0.012818 | 0.05106 | 0.012824 | 9.5213e-06 | 6.0382e-06 | 0.076746 | 0.076746 | 0.076746 | 0.98991 | -0.19379 | 0.99011 | -0.18988 | 21.0841
10 | -0.077244 | -0.019386 | 0.077295 | 0.019418 | 5.0844e-05 | 3.2411e-05 | 0.1161 | 0.1161 | 0.1161 | 0.99011 | -0.18988 | 0.99082 | -0.17609 | 31.8951
11 | 0.14713 | 0.037079 | -0.14695 | -0.036959 | 0.00018887 | 0.00012034 | 0.22023 | 0.22023 | 0.22023 | 0.99446 | -0.10594 | 0.99306 | -0.13281 | 30.2516
12 | 0.095629 | 0.024194 | -0.095274 | -0.023968 | 0.00035492 | 0.00022655 | 0.14317 | 0.14317 | 0.14317 | 0.99446 | -0.10594 | 0.99043 | -0.1836 | 39.3326
13 | -0.24276 | -0.061273 | 0.244 | 0.062064 | 0.0012387 | 0.00079147 | 0.3634 | 0.3634 | 0.3634 | 0.99446 | -0.10594 | 1 | 0 | 49.9179
14 | 0.10491 | 0.026424 | -0.10469 | -0.026285 | 0.00021662 | 0.00013833 | 0.15725 | 0.15725 | 0.15725 | 0.99306 | -0.13281 | 0.99082 | -0.17609 | 43.1997
15 | 0.03965 | 0.0099839 | -0.039544 | -0.009917 | 0.00010616 | 6.6919e-05 | 0.059587 | 0.059588 | 0.059588 | 0.99043 | -0.1836 | 0.98753 | -0.23976 | 16.3702
16 | 0.055623 | 0.013984 | -0.055594 | -0.013965 | 2.91e-05 | 1.8481e-05 | 0.083584 | 0.083584 | 0.083584 | 0.99043 | -0.1836 | 0.98986 | -0.19456 | 22.9626
17 | 0.090064 | 0.022857 | -0.089884 | -0.022743 | 0.00017964 | 0.00011462 | 0.13412 | 0.13412 | 0.13412 | 1 | 0 | 0.99782 | -0.041556 | 36.8453
18 | -0.047286 | -0.012016 | 0.047346 | 0.012054 | 5.9716e-05 | 3.7804e-05 | 0.070757 | 0.070757 | 0.070757 | 0.99525 | -0.090726 | 0.99662 | -0.064534 | 19.4387
19 | 0.047286 | 0.012016 | -0.047255 | -0.011997 | 3.082e-05 | 1.9512e-05 | 0.070757 | 0.070757 | 0.070757 | 0.99525 | -0.090726 | 0.99454 | -0.10427 | 19.4388
20 | -0.065122 | -0.016509 | 0.065194 | 0.016555 | 7.2002e-05 | 4.5817e-05 | 0.097298 | 0.097298 | 0.097298 | 0.99662 | -0.064534 | 0.99782 | -0.041556 | 26.7302
21 | 0.040838 | 0.010388 | -0.040797 | -0.010362 | 4.1284e-05 | 2.604e-05 | 0.061156 | 0.061156 | 0.061156 | 0.99454 | -0.10427 | 0.99344 | -0.12527 | 16.8011
22 | 0.022682 | 0.0056889 | -0.022673 | -0.0056837 | 8.6463e-06 | 5.2812e-06 | 0.034179 | 0.034179 | 0.034179 | 0.98753 | -0.23976 | 0.98712 | -0.24776 | 9.3898
23 | 0.016862 | 0.004228 | -0.016857 | -0.0042247 | 5.6971e-06 | 3.3452e-06 | 0.025409 | 0.025409 | 0.025409 | 0.98753 | -0.23976 | 0.98717 | -0.24685 | 6.9805
24 | 0.048866 | 0.012279 | -0.048784 | -0.012227 | 8.1319e-05 | 5.1528e-05 | 0.073469 | 0.073469 | 0.073469 | 0.98986 | -0.19456 | 0.98806 | -0.22949 | 20.1838
25 | 0.011823 | 0.0029643 | -0.011818 | -0.002962 | 4.3075e-06 | 2.2947e-06 | 0.017822 | 0.017822 | 0.017822 | 0.98712 | -0.24776 | 0.98673 | -0.25541 | 4.8963
26 | -0.0098017 | -0.0024565 | 0.0098049 | 0.0024581 | 3.2855e-06 | 1.5883e-06 | 0.014767 | 0.014766 | 0.014767 | 0.9877 | -0.23652 | 0.98806 | -0.22949 | 4.0568
27 | 0.036496 | 0.0092844 | -0.036475 | -0.009271 | 2.1313e-05 | 1.3395e-05 | 0.054714 | 0.054714 | 0.054714 | 0.99344 | -0.12527 | 0.99281 | -0.1374 | 15.0314
28 | 0.032342 | 0.0082353 | -0.032341 | -0.0082343 | 1.6754e-06 | 1.0477e-06 | 0.048521 | 0.048521 | 0.048521 | 0.99281 | -0.1374 | 0.99275 | -0.13847 | 13.3299
29 | 0.028038 | 0.0071559 | -0.027925 | -0.0070862 | 0.00011228 | 6.9684e-05 | 0.042071 | 0.042072 | 0.042072 | 0.99275 | -0.13847 | 0.98841 | -0.22172 | 11.5583
30 | 0.027925 | 0.0070862 | -0.027696 | -0.006944 | 0.00022912 | 0.00014225 | 0.042072 | 0.042074 | 0.042074 | 0.98841 | -0.22172 | 0.97956 | -0.3938 | 11.5587
31 | -0.011523 | -0.0028879 | 0.011524 | 0.0028882 | 5.774e-07 | 3.0637e-07 | 0.017511 | 0.017511 | 0.017511 | 0.9792 | -0.4009 | 0.97925 | -0.39984 | 4.8106
32 | -0.011524 | -0.0028882 | 0.011525 | 0.0028888 | 9.915e-07 | 5.2607e-07 | 0.017511 | 0.017511 | 0.017511 | 0.97925 | -0.39984 | 0.97934 | -0.39804 | 4.8106
33 | 0.027696 | 0.006944 | -0.027691 | -0.0069405 | 5.5914e-06 | 3.4725e-06 | 0.042074 | 0.042074 | 0.042074 | 0.97956 | -0.3938 | 0.97934 | -0.39804 | 11.5587
34 | 0.016166 | 0.0040517 | -0.016166 | -0.0040516 | 2.953e-07 | 1.7257e-07 | 0.024563 | 0.024563 | 0.024563 | 0.97934 | -0.39804 | 0.97932 | -0.39842 | 6.7481

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35205 | 0.089016

## res_load
| p_mw | q_mvar
0 | 0.0013755 | 0.00034472
1 | 0.0076032 | 0.0019055
2 | 0.0085167 | 0.0021345
3 | 0.0060939 | 0.0015273
4 | 0.027393 | 0.0068654
5 | 0.026184 | 0.0065624
6 | 0.042035 | 0.010535
7 | 0.016337 | 0.0040944
8 | 0.017776 | 0.0044552
9 | 0.006417 | 0.0016083
10 | 0.0067287 | 0.0016864
11 | 0.010851 | 0.0027194
12 | 0.016857 | 0.0042247
13 | 0.0274 | 0.006867
14 | 0.02469 | 0.0061878
15 | 0.0098017 | 0.0024565
16 | 0.038979 | 0.0097691
17 | 0.0043009 | 0.0010779
18 | 0.011818 | 0.002962
19 | 0.0041324 | 0.0010357
20 | 0.0043028 | 0.0010784
21 | 0.011523 | 0.0028879
22 | 0.016166 | 0.0040516

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1