## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-18_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1054-18_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1054-18_0_6_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_1054-18_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_1054-18_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1054-18_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1054-18_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1054-18_0_6_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_1054-18_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1054-18_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1054-18_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1054-18_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1054-18_0_6_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_1054-18_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1054-18_0_6_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1054-18_0_6_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1054-18_0_6_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1054-18_0_6_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_1054-18_0_6_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_1054-18_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1054-18_0_6_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1054-18_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1054-18_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1054-18_0_6_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1054-18_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1054-18_0_6_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_1054-18_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1054-18_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1054-18_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1054-18_0_6_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1054-18_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1054-18_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1054-18_0_6_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1054-18_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1054-18_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1054-18_0_6_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_1054-18_0_6_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_1054-18_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1054-18_0_6_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_1054-18_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1054-18_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1054-18_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1054-18_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1054-18_0_6_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_1054-18_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1054-18_0_6_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_1054-18_0_6_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_1054-18_0_6_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1054-18_0_6_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_1054-18_0_6_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1054-18_0_6_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_1054-18_0_6_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_1054-18_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_1054-18_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_1054-18_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1054-18_0_6_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_1054-18_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1054-18_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_1054-18_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1054-18_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_1054-18_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1054-18_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_1054-18_0_6_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1054-18_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1054-18_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1054-18_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1054-18_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1054-18_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_1054-18_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_1054-18_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_MV_212_1_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-18_0_6_load_0 | 0 | 0.035261 | 0.0088373 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-18_0_6_load_33 | 4 | 0.0069121 | 0.0017323 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-18_0_6_load_36 | 5 | 0.0059311 | 0.0014865 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-18_0_6_load_13 | 6 | 0.0049103 | 0.0012306 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-18_0_6_load_39 | 8 | 0.0045975 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-18_0_6_load_79 | 9 | 0.0056973 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-18_0_6_load_17 | 12 | 0.027075 | 0.0067856 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-18_0_6_load_80 | 14 | 0.0071099 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-18_0_6_load_34 | 15 | 0.0068032 | 0.001705 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-18_0_6_load_32 | 16 | 0.0069176 | 0.0017337 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-18_0_6_load_35 | 17 | 0.0056611 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-18_0_6_load_71 | 20 | 0.0050119 | 0.0012561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-18_0_6_load_40 | 22 | 0.0045288 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-18_0_6_load_10 | 23 | 0.015521 | 0.0038898 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-18_0_6_load_29 | 25 | 0.048098 | 0.012055 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-18_0_6_load_31 | 26 | 0.0054429 | 0.0013641 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-18_0_6_load_70 | 27 | 0.0043236 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-18_0_6_load_14 | 29 | 0.0242 | 0.006065 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-18_0_6_load_30 | 31 | 0.0067129 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-18_0_6_load_27 | 33 | 0.0084417 | 0.0021157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-18_0_6_load_73 | 37 | 0.012219 | 0.0030623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-18_0_6_load_78 | 38 | 0.045319 | 0.011358 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-18_0_6_load_26 | 41 | 0.004536 | 0.0011368 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-18_0_6_load_52 | 43 | 0.012411 | 0.0031105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-18_0_6_load_48 | 44 | 0.01341 | 0.0033609 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-18_0_6_load_49 | 46 | 0.008736 | 0.0021895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-18_0_6_load_67 | 48 | 0.016004 | 0.0040109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-18_0_6_load_65 | 50 | 0.0097426 | 0.0024417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-18_0_6_load_28 | 51 | 0.0093956 | 0.0023548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-18_0_6_load_60 | 52 | 0.0086343 | 0.002164 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-18_0_6_load_61 | 53 | 0.012344 | 0.0030936 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1054-18_0_6_load_37 | 54 | 0.0057642 | 0.0014446 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1054-18_0_6_load_38 | 55 | 0.00616 | 0.0015438 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1054-18_0_6_load_41 | 56 | 0.004638 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1054-18_0_6_load_77 | 57 | 0.014537 | 0.0036432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1054-18_0_6_load_53 | 58 | 0.0044889 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1054-18_0_6_load_43 | 59 | 0.0034563 | 0.00086622 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1054-18_0_6_load_44 | 60 | 0.0049105 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1054-18_0_6_load_45 | 61 | 0.0081882 | 0.0020521 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1054-18_0_6_load_46 | 62 | 0.0055283 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1054-18_0_6_load_47 | 63 | 0.0029504 | 0.00073945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1054-18_0_6_load_64 | 64 | 0.003291 | 0.0008248 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1054-18_0_6_load_59 | 65 | 0.0056766 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1054-18_0_6_load_56 | 66 | 0.0036558 | 0.00091624 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1054-18_0_6_load_68 | 68 | 0.0098496 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1054-18_0_6_load_54 | 69 | 0.0027711 | 0.00069449 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1054-18_0_6_load_72 | 70 | 0.012347 | 0.0030944 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1054-18_0_6_load_74 | 71 | 0.020232 | 0.0050705 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-18_0_6_line_0 |  | 0 | 1 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-18_0_6_line_1 |  | 1 | 2 | 0.056316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-18_0_6_line_2 |  | 2 | 6 | 0.019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-18_0_6_line_3 |  | 2 | 7 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1054-18_0_6_line_4 |  | 2 | 8 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-18_0_6_line_5 |  | 3 | 4 | 0.0010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-18_0_6_line_6 |  | 3 | 5 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-18_0_6_line_7 |  | 4 | 16 | 0.015576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-18_0_6_line_8 |  | 5 | 17 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-18_0_6_line_9 |  | 6 | 21 | 0.032073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-18_0_6_line_10 |  | 7 | 9 | 0.030159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-18_0_6_line_11 |  | 8 | 22 | 0.015734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-18_0_6_line_12 |  | 9 | 11 | 0.0092896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-18_0_6_line_13 |  | 10 | 11 | 0.086059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-18_0_6_line_14 |  | 10 | 12 | 0.0013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-18_0_6_line_15 |  | 13 | 14 | 0.007461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-18_0_6_line_16 |  | 13 | 15 | 0.0086899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-18_0_6_line_17 |  | 15 | 16 | 0.015577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-18_0_6_line_18 |  | 17 | 54 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-18_0_6_line_19 |  | 18 | 19 | 0.050849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-18_0_6_line_20 |  | 18 | 20 | 0.085254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-18_0_6_line_21 |  | 19 | 58 | 0.042336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-18_0_6_line_22 |  | 19 | 49 | 0.079785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-18_0_6_line_23 |  | 20 | 27 | 0.020922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-18_0_6_line_24 |  | 21 | 24 | 0.029031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1054-18_0_6_line_25 |  | 21 | 23 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-18_0_6_line_26 |  | 22 | 56 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-18_0_6_line_27 |  | 24 | 25 | 0.023645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1054-18_0_6_line_28 |  | 25 | 28 | 0.045141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1054-18_0_6_line_29 |  | 26 | 27 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1054-18_0_6_line_30 |  | 28 | 31 | 0.048304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1054-18_0_6_line_31 |  | 28 | 30 | 0.057385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1054-18_0_6_line_32 |  | 29 | 30 | 0.039888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-18_0_6_line_33 |  | 31 | 39 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1054-18_0_6_line_34 |  | 32 | 33 | 0.0026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1054-18_0_6_line_35 |  | 32 | 34 | 0.02983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-18_0_6_line_36 |  | 33 | 41 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1054-18_0_6_line_37 |  | 34 | 42 | 0.029751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1054-18_0_6_line_38 |  | 34 | 43 | 0.055634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1054-18_0_6_line_39 |  | 34 | 44 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1054-18_0_6_line_40 |  | 35 | 36 | 0.026006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1054-18_0_6_line_41 |  | 35 | 37 | 0.021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1054-18_0_6_line_42 |  | 36 | 38 | 0.033785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1054-18_0_6_line_43 |  | 37 | 45 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1054-18_0_6_line_44 |  | 39 | 40 | 0.00583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1054-18_0_6_line_45 |  | 40 | 53 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1054-18_0_6_line_46 |  | 41 | 51 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1054-18_0_6_line_47 |  | 42 | 52 | 0.016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1054-18_0_6_line_48 |  | 43 | 45 | 0.015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1054-18_0_6_line_49 |  | 44 | 46 | 0.0005779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1054-18_0_6_line_50 |  | 45 | 67 | 0.008669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1054-18_0_6_line_51 |  | 47 | 48 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1054-18_0_6_line_52 |  | 47 | 49 | 0.007315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1054-18_0_6_line_53 |  | 47 | 50 | 0.022674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1054-18_0_6_line_54 |  | 48 | 71 | 0.040769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1054-18_0_6_line_55 |  | 49 | 57 | 0.047211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1054-18_0_6_line_56 |  | 50 | 67 | 0.048391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1054-18_0_6_line_57 |  | 52 | 53 | 0.00028857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1054-18_0_6_line_58 |  | 54 | 55 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1054-18_0_6_line_59 |  | 55 | 56 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1054-18_0_6_line_60 |  | 58 | 69 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1054-18_0_6_line_61 |  | 59 | 60 | 0.0057264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1054-18_0_6_line_62 |  | 59 | 61 | 0.021733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1054-18_0_6_line_63 |  | 60 | 62 | 0.015607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1054-18_0_6_line_64 |  | 61 | 63 | 0.00071096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1054-18_0_6_line_65 |  | 62 | 64 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1054-18_0_6_line_66 |  | 63 | 65 | 0.0044179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1054-18_0_6_line_67 |  | 64 | 66 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1054-18_0_6_line_68 |  | 66 | 69 | 0.01872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1054-18_0_6_line_69 |  | 67 | 68 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1054-18_0_6_line_70 |  | 68 | 70 | 0.00054177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-18_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 72 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2669161.3277 | 1215502.3288 | 2669159.809 | 1215504.279 | 2669152.3045 | 1215515.9298
1 | 2669137.6505 | 1215463.6743 | 2669142.0609 | 1215467.7391 | 2669137.491 | 1215472.1778 | 2669141.9718 | 1215476.0766 | 2669137.9184 | 1215480.5102 | 2669161.3277 | 1215502.3288
2 | 2669137.6505 | 1215463.6743 | 2669150.7718 | 1215449.3061
3 | 2669137.6505 | 1215463.6743 | 2669142.0609 | 1215467.7391 | 2669147.907 | 1215473.0769
4 | 2669137.6505 | 1215463.6743 | 2669118.3681 | 1215445.8711
5 | 2669030.9177 | 1215365.3869 | 2669030.1232 | 1215364.6273
6 | 2669030.9177 | 1215365.3869 | 2669045.6925 | 1215378.9617
7 | 2669030.1232 | 1215364.6273 | 2669018.8647 | 1215353.8631
8 | 2669045.6925 | 1215378.9617 | 2669057.091 | 1215389.4344
9 | 2669172.5065 | 1215425.7212 | 2669166.2942 | 1215432.3089 | 2669150.7718 | 1215449.3061
10 | 2669147.907 | 1215473.0769 | 2669174.8288 | 1215459.4834
11 | 2669106.8083 | 1215435.1981 | 2669118.3681 | 1215445.8711
12 | 2669183.1212 | 1215455.2964 | 2669174.8288 | 1215459.4834
13 | 2669183.1212 | 1215455.2964 | 2669199.132 | 1215447.2104 | 2669261.0932 | 1215418.9008
14 | 2669261.0932 | 1215418.9008 | 2669262.3039 | 1215418.3418
15 | 2669001.3248 | 1215337.0933 | 2668996.0786 | 1215331.7882
16 | 2669001.3248 | 1215337.0933 | 2669007.6059 | 1215343.0986
17 | 2669007.6059 | 1215343.0986 | 2669018.8647 | 1215353.8631
18 | 2669068.608 | 1215400.0159 | 2669057.091 | 1215389.4344
19 | 2668935.7436 | 1215226.7098 | 2668940.051 | 1215222.6459 | 2668943.9538 | 1215219.4112 | 2668947.9733 | 1215216.6003 | 2668957.3873 | 1215211.5949 | 2668970.0894 | 1215206.6054 | 2668980.4532 | 1215204.1793
20 | 2668935.7436 | 1215226.7098 | 2669001.3379 | 1215281.168
21 | 2668980.4532 | 1215204.1793 | 2668982.4488 | 1215212.1963 | 2668984.3775 | 1215216.1544 | 2669006.348 | 1215236.0969
22 | 2668980.4532 | 1215204.1793 | 2668995.6311 | 1215200.497 | 2669021.9168 | 1215196.3874 | 2669054.918 | 1215190.1211 | 2669058.8365 | 1215189.4772
23 | 2669017.4352 | 1215294.5324 | 2669001.3379 | 1215281.168
24 | 2669172.5065 | 1215425.7212 | 2669150.3995 | 1215406.8307
25 | 2669172.5065 | 1215425.7212 | 2669181.2365 | 1215433.1828
26 | 2669106.8083 | 1215435.1981 | 2669095.4698 | 1215424.7295
27 | 2669150.3995 | 1215406.8307 | 2669166.3612 | 1215389.3859
28 | 2669196.8336 | 1215356.0818 | 2669166.3612 | 1215389.3859
29 | 2669017.4352 | 1215294.5324 | 2669036.1345 | 1215310.0572
30 | 2669196.8336 | 1215356.0818 | 2669161.3103 | 1215323.3504
31 | 2669235.5765 | 1215313.7493 | 2669212.4861 | 1215338.9749 | 2669196.8336 | 1215356.0818
32 | 2669235.5765 | 1215313.7493 | 2669264.0785 | 1215341.6539
33 | 2669152.5103 | 1215315.2419 | 2669161.3103 | 1215323.3504
34 | 2669215.4493 | 1215266.2635 | 2669214.1318 | 1215268.5379
35 | 2669187.552 | 1215255.4885 | 2669215.4493 | 1215266.2635
36 | 2669214.1318 | 1215268.5379 | 2669205.4438 | 1215283.5354
37 | 2669187.552 | 1215255.4885 | 2669172.4683 | 1215281.1519
38 | 2669187.552 | 1215255.4885 | 2669135.8258 | 1215235.0053
39 | 2669187.552 | 1215255.4885 | 2669193.3218 | 1215240.9788
40 | 2669123.9588 | 1215182.1271 | 2669137.4708 | 1215182.6285 | 2669133.3396 | 1215194.4102
41 | 2669133.3396 | 1215194.4102 | 2669126.2034 | 1215214.759
42 | 2669123.9588 | 1215182.1271 | 2669123.606 | 1215173.9178 | 2669123.7269 | 1215170.039 | 2669124.6919 | 1215165.4139 | 2669126.2372 | 1215162.4744 | 2669135.8328 | 1215152.778
43 | 2669121.1423 | 1215229.1907 | 2669126.2034 | 1215214.759
44 | 2669148.2123 | 1215311.2896 | 2669152.5103 | 1215315.2419
45 | 2669148.2123 | 1215311.2896 | 2669162.0021 | 1215294.156
46 | 2669196.6621 | 1215298.695 | 2669205.4438 | 1215283.5354
47 | 2669172.4683 | 1215281.1519 | 2669162.183 | 1215293.9312
48 | 2669121.1423 | 1215229.1907 | 2669135.8258 | 1215235.0053
49 | 2669193.5354 | 1215240.4418 | 2669193.3218 | 1215240.9788
50 | 2669121.1423 | 1215229.1907 | 2669117.2251 | 1215236.928
51 | 2669066.0938 | 1215188.405 | 2669063.6676 | 1215182.8178 | 2669047.0677 | 1215163.0448
52 | 2669058.8365 | 1215189.4772 | 2669066.0938 | 1215188.405
53 | 2669066.0938 | 1215188.405 | 2669069.0248 | 1215192.3748 | 2669071.2484 | 1215195.7805 | 2669076.0455 | 1215203.1963 | 2669079.7897 | 1215206.2633
54 | 2669047.0677 | 1215163.0448 | 2669020.8538 | 1215131.8202
55 | 2669058.8365 | 1215189.4772 | 2669057.2094 | 1215179.1519 | 2669033.5388 | 1215151.03
56 | 2669117.2251 | 1215236.928 | 2669079.7897 | 1215206.2633
57 | 2669162.183 | 1215293.9312 | 2669162.0021 | 1215294.156
58 | 2669068.608 | 1215400.0159 | 2669080.2328 | 1215410.6965
59 | 2669095.4698 | 1215424.7295 | 2669088.0164 | 1215417.8479 | 2669080.2328 | 1215410.6965
60 | 2669006.348 | 1215236.0969 | 2669021.1917 | 1215249.5704
61 | 2669077.6563 | 1215300.8228 | 2669081.8964 | 1215304.6716
62 | 2669097.9884 | 1215319.2782 | 2669081.8964 | 1215304.6716
63 | 2669066.0997 | 1215290.333 | 2669077.6563 | 1215300.8228
64 | 2669098.5149 | 1215319.756 | 2669097.9884 | 1215319.2782
65 | 2669066.0997 | 1215290.333 | 2669050.5061 | 1215276.1788
66 | 2669101.7861 | 1215322.7253 | 2669098.5149 | 1215319.756
67 | 2669050.5061 | 1215276.1788 | 2669035.053 | 1215262.1522
68 | 2669021.1917 | 1215249.5704 | 2669035.053 | 1215262.1522
69 | 2669117.2251 | 1215236.928 | 2669107.3983 | 1215249.1735
70 | 2669107.3983 | 1215249.1735 | 2669107.0593 | 1215249.5961

## bus_geodata
| x | y | coords
0 | 2669152.3045 | 1215515.9298
1 | 2669161.3277 | 1215502.3288
2 | 2669137.6505 | 1215463.6743
3 | 2669030.9177 | 1215365.3869
4 | 2669030.1232 | 1215364.6273
5 | 2669045.6925 | 1215378.9617
6 | 2669150.7718 | 1215449.3061
7 | 2669147.907 | 1215473.0769
8 | 2669118.3681 | 1215445.8711
9 | 2669174.8288 | 1215459.4834
10 | 2669261.0932 | 1215418.9008
11 | 2669183.1212 | 1215455.2964
12 | 2669262.3039 | 1215418.3418
13 | 2669001.3248 | 1215337.0933
14 | 2668996.0786 | 1215331.7882
15 | 2669007.6059 | 1215343.0986
16 | 2669018.8647 | 1215353.8631
17 | 2669057.091 | 1215389.4344
18 | 2668935.7436 | 1215226.7098
19 | 2668980.4532 | 1215204.1793
20 | 2669001.3379 | 1215281.168
21 | 2669172.5065 | 1215425.7212
22 | 2669106.8083 | 1215435.1981
23 | 2669181.2365 | 1215433.1828
24 | 2669150.3995 | 1215406.8307
25 | 2669166.3612 | 1215389.3859
26 | 2669036.1345 | 1215310.0572
27 | 2669017.4352 | 1215294.5324
28 | 2669196.8336 | 1215356.0818
29 | 2669264.0785 | 1215341.6539
30 | 2669235.5765 | 1215313.7493
31 | 2669161.3103 | 1215323.3504
32 | 2669215.4493 | 1215266.2635
33 | 2669214.1318 | 1215268.5379
34 | 2669187.552 | 1215255.4885
35 | 2669133.3396 | 1215194.4102
36 | 2669123.9588 | 1215182.1271
37 | 2669126.2034 | 1215214.759
38 | 2669135.8328 | 1215152.778
39 | 2669152.5103 | 1215315.2419
40 | 2669148.2123 | 1215311.2896
41 | 2669205.4438 | 1215283.5354
42 | 2669172.4683 | 1215281.1519
43 | 2669135.8258 | 1215235.0053
44 | 2669193.3218 | 1215240.9788
45 | 2669121.1423 | 1215229.1907
46 | 2669193.5354 | 1215240.4418
47 | 2669066.0938 | 1215188.405
48 | 2669047.0677 | 1215163.0448
49 | 2669058.8365 | 1215189.4772
50 | 2669079.7897 | 1215206.2633
51 | 2669196.6621 | 1215298.695
52 | 2669162.183 | 1215293.9312
53 | 2669162.0021 | 1215294.156
54 | 2669068.608 | 1215400.0159
55 | 2669080.2328 | 1215410.6965
56 | 2669095.4698 | 1215424.7295
57 | 2669033.5388 | 1215151.03
58 | 2669006.348 | 1215236.0969
59 | 2669081.8964 | 1215304.6716
60 | 2669077.6563 | 1215300.8228
61 | 2669097.9884 | 1215319.2782
62 | 2669066.0997 | 1215290.333
63 | 2669098.5149 | 1215319.756
64 | 2669050.5061 | 1215276.1788
65 | 2669101.7861 | 1215322.7253
66 | 2669035.053 | 1215262.1522
67 | 2669117.2251 | 1215236.928
68 | 2669107.3983 | 1215249.1735
69 | 2669021.1917 | 1215249.5704
70 | 2669107.0593 | 1215249.5961
71 | 2669020.8538 | 1215131.8202
72 | 2669152.5103 | 1215315.2419

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98052 | -0.37441 | 0.035261 | 0.0088373
1 | 0.98105 | -0.36398 | 0 | 0
2 | 0.98289 | -0.32808 | 0 | 0
3 | 0.9764 | -0.45498 | 0 | 0
4 | 0.97638 | -0.45554 | 0.0069121 | 0.0017323
5 | 0.97692 | -0.44481 | 0.0059311 | 0.0014865
6 | 0.98529 | -0.28148 | 0.0049103 | 0.0012306
7 | 0.98247 | -0.33631 | 0 | 0
8 | 0.98131 | -0.35892 | 0.0045975 | 0.0011522
9 | 0.98155 | -0.35418 | 0.0056973 | 0.0014279
10 | 0.97916 | -0.401 | 0 | 0
11 | 0.98132 | -0.35873 | 0 | 0
12 | 0.97913 | -0.40165 | 0.027075 | 0.0067856
13 | 0.97582 | -0.46657 | 0 | 0
14 | 0.97577 | -0.46754 | 0.0071099 | 0.0017819
15 | 0.97587 | -0.46544 | 0.0068032 | 0.001705
16 | 0.97607 | -0.46147 | 0.0069176 | 0.0017337
17 | 0.97741 | -0.43529 | 0.0056611 | 0.0014188
18 | 0.97588 | -0.46445 | 0 | 0
19 | 0.97658 | -0.4507 | 0 | 0
20 | 0.97471 | -0.48754 | 0.0050119 | 0.0012561
21 | 0.98939 | -0.20236 | 0 | 0
22 | 0.98042 | -0.37615 | 0.0045288 | 0.001135
23 | 0.98923 | -0.20553 | 0.015521 | 0.0038898
24 | 0.99145 | -0.16277 | 0 | 0
25 | 0.99257 | -0.14134 | 0.048098 | 0.012055
26 | 0.9744 | -0.49371 | 0.0054429 | 0.0013641
27 | 0.97452 | -0.49129 | 0.0043236 | 0.0010836
28 | 0.99537 | -0.08782 | 0 | 0
29 | 0.99323 | -0.12932 | 0.0242 | 0.006065
30 | 0.99411 | -0.11228 | 0 | 0
31 | 0.99873 | -0.024072 | 0.0067129 | 0.0016824
32 | 0.99384 | -0.1172 | 0 | 0
33 | 0.99379 | -0.11824 | 0.0084417 | 0.0021157
34 | 0.99445 | -0.10543 | 0 | 0
35 | 0.98813 | -0.22691 | 0 | 0
36 | 0.98704 | -0.24797 | 0 | 0
37 | 0.98903 | -0.20948 | 0.012219 | 0.0030623
38 | 0.98563 | -0.2754 | 0.045319 | 0.011358
39 | 0.99958 | -0.0078794 | 0 | 0
40 | 1 | 0 | -0.5193 | -0.13255
41 | 0.99357 | -0.1225 | 0.004536 | 0.0011368
42 | 0.9968 | -0.060633 | 0 | 0
43 | 0.99081 | -0.1751 | 0.012411 | 0.0031105
44 | 0.99414 | -0.11153 | 0.01341 | 0.0033609
45 | 0.98983 | -0.19381 | 0 | 0
46 | 0.99413 | -0.11162 | 0.008736 | 0.0021895
47 | 0.98153 | -0.3542 | 0 | 0
48 | 0.98046 | -0.37514 | 0.016004 | 0.0040109
49 | 0.98102 | -0.36403 | 0 | 0
50 | 0.98386 | -0.30899 | 0.0097426 | 0.0024417
51 | 0.99342 | -0.12541 | 0.0093956 | 0.0023548
52 | 0.9981 | -0.036022 | 0.0086343 | 0.002164
53 | 0.99812 | -0.035575 | 0.012344 | 0.0030936
54 | 0.97798 | -0.42407 | 0.0057642 | 0.0014446
55 | 0.97864 | -0.41111 | 0.00616 | 0.0015438
56 | 0.97962 | -0.3918 | 0.004638 | 0.0011624
57 | 0.98039 | -0.37647 | 0.014537 | 0.0036432
58 | 0.97481 | -0.48552 | 0.0044889 | 0.001125
59 | 0.97165 | -0.54773 | 0.0034563 | 0.00086622
60 | 0.97176 | -0.54559 | 0.0049105 | 0.0012307
61 | 0.97131 | -0.55448 | 0.0081882 | 0.0020521
62 | 0.97213 | -0.53834 | 0.0055283 | 0.0013855
63 | 0.97131 | -0.5546 | 0.0029504 | 0.00073945
64 | 0.97273 | -0.52642 | 0.003291 | 0.0008248
65 | 0.97128 | -0.55506 | 0.0056766 | 0.0014227
66 | 0.9734 | -0.51336 | 0.0036558 | 0.00091624
67 | 0.98926 | -0.2048 | 0 | 0
68 | 0.98894 | -0.21101 | 0.0098496 | 0.0024686
69 | 0.97405 | -0.5004 | 0.0027711 | 0.00069449
70 | 0.98894 | -0.21113 | 0.012347 | 0.0030944
71 | 0.9797 | -0.39011 | 0.020232 | 0.0050705
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035261 | -0.0088373 | 0.035279 | 0.0088483 | 1.7535e-05 | 1.1017e-05 | 0.053511 | 0.053511 | 0.053511 | 0.98052 | -0.37441 | 0.98105 | -0.36398 | 14.7009
1 | -0.035279 | -0.0088483 | 0.035339 | 0.0088863 | 6.0472e-05 | 3.7989e-05 | 0.053511 | 0.053511 | 0.053511 | 0.98105 | -0.36398 | 0.98289 | -0.32808 | 14.7009
2 | -0.13356 | -0.033664 | 0.13386 | 0.033855 | 0.00029853 | 0.00019081 | 0.20227 | 0.20227 | 0.20227 | 0.98289 | -0.32808 | 0.98529 | -0.28148 | 55.5682
3 | 0.032875 | 0.0082772 | -0.032862 | -0.0082691 | 1.2932e-05 | 8.1001e-06 | 0.049783 | 0.049783 | 0.049783 | 0.98289 | -0.32808 | 0.98247 | -0.33631 | 13.6767
4 | 0.065347 | 0.016501 | -0.06525 | -0.01644 | 9.6407e-05 | 6.1368e-05 | 0.098974 | 0.098974 | 0.098974 | 0.98289 | -0.32808 | 0.98131 | -0.35892 | 27.1907
5 | 0.027753 | 0.0069588 | -0.027752 | -0.0069583 | 7.3738e-07 | 4.5818e-07 | 0.042296 | 0.042296 | 0.042296 | 0.9764 | -0.45498 | 0.97638 | -0.45554 | 11.6197
6 | -0.027753 | -0.0069588 | 0.027766 | 0.0069671 | 1.346e-05 | 8.3633e-06 | 0.042296 | 0.042296 | 0.042296 | 0.9764 | -0.45498 | 0.97692 | -0.44481 | 11.6197
7 | 0.02084 | 0.005226 | -0.020834 | -0.0052224 | 5.8925e-06 | 3.5765e-06 | 0.031762 | 0.031762 | 0.031762 | 0.97638 | -0.45554 | 0.97607 | -0.46147 | 8.7257
8 | -0.033697 | -0.0084536 | 0.033713 | 0.0084632 | 1.5294e-05 | 9.5941e-06 | 0.05133 | 0.05133 | 0.05133 | 0.97692 | -0.44481 | 0.97741 | -0.43529 | 14.1015
9 | -0.13877 | -0.035086 | 0.1393 | 0.035424 | 0.00052882 | 0.00033803 | 0.20968 | 0.20968 | 0.20968 | 0.98529 | -0.28148 | 0.98939 | -0.20236 | 57.6055
10 | 0.032862 | 0.0082691 | -0.032834 | -0.0082516 | 2.8029e-05 | 1.7557e-05 | 0.049783 | 0.049783 | 0.049783 | 0.98247 | -0.33631 | 0.98155 | -0.35418 | 13.6767
11 | 0.060653 | 0.015287 | -0.060603 | -0.015256 | 4.9941e-05 | 3.1764e-05 | 0.092003 | 0.092003 | 0.092003 | 0.98131 | -0.35892 | 0.98042 | -0.37615 | 25.2755
12 | 0.027136 | 0.0068237 | -0.02713 | -0.00682 | 5.8978e-06 | 3.6572e-06 | 0.041146 | 0.041146 | 0.041146 | 0.98155 | -0.35418 | 0.98132 | -0.35873 | 11.304
13 | -0.027076 | -0.0067862 | 0.02713 | 0.00682 | 5.4638e-05 | 3.3883e-05 | 0.041147 | 0.041146 | 0.041147 | 0.97916 | -0.401 | 0.98132 | -0.35873 | 11.3041
14 | 0.027076 | 0.0067862 | -0.027075 | -0.0067856 | 8.4662e-07 | 5.2506e-07 | 0.041147 | 0.041147 | 0.041147 | 0.97916 | -0.401 | 0.97913 | -0.40165 | 11.3041
15 | 0.0071102 | 0.001782 | -0.0071099 | -0.0017819 | 3.2891e-07 | 1.173e-07 | 0.010842 | 0.010842 | 0.010842 | 0.97582 | -0.46657 | 0.97577 | -0.46754 | 2.9787
16 | -0.0071102 | -0.001782 | 0.0071106 | 0.0017822 | 3.8308e-07 | 1.3661e-07 | 0.010842 | 0.010842 | 0.010842 | 0.97582 | -0.46657 | 0.97587 | -0.46544 | 2.9787
17 | -0.013914 | -0.0034872 | 0.013916 | 0.0034887 | 2.6292e-06 | 1.488e-06 | 0.021216 | 0.021216 | 0.021216 | 0.97587 | -0.46544 | 0.97607 | -0.46147 | 5.8285
18 | -0.039374 | -0.009882 | 0.039395 | 0.0098953 | 2.1077e-05 | 1.3293e-05 | 0.059948 | 0.059948 | 0.059948 | 0.97741 | -0.43529 | 0.97798 | -0.42407 | 16.4693
19 | -0.014797 | -0.0037141 | 0.014807 | 0.0037197 | 9.7086e-06 | 5.5777e-06 | 0.022564 | 0.022564 | 0.022564 | 0.97588 | -0.46445 | 0.97658 | -0.4507 | 6.199
20 | 0.014797 | 0.0037141 | -0.014781 | -0.0037048 | 1.6278e-05 | 9.3541e-06 | 0.022564 | 0.022565 | 0.022565 | 0.97588 | -0.46445 | 0.97471 | -0.48754 | 6.1991
21 | 0.045099 | 0.011372 | -0.045024 | -0.011324 | 7.5023e-05 | 4.7486e-05 | 0.068742 | 0.068743 | 0.068743 | 0.97658 | -0.4507 | 0.97481 | -0.48552 | 18.8853
22 | -0.059906 | -0.015091 | 0.060155 | 0.01525 | 0.00024943 | 0.00015863 | 0.091307 | 0.091306 | 0.091307 | 0.97658 | -0.4507 | 0.98102 | -0.36403 | 25.0842
23 | 0.0097689 | 0.0024487 | -0.0097672 | -0.0024478 | 1.745e-06 | 8.5609e-07 | 0.014914 | 0.014914 | 0.014914 | 0.97471 | -0.48754 | 0.97452 | -0.49129 | 4.0972
24 | -0.15482 | -0.039315 | 0.15512 | 0.039504 | 0.00029559 | 0.00018843 | 0.23303 | 0.23303 | 0.23303 | 0.98939 | -0.20236 | 0.99145 | -0.16277 | 32.0096
25 | 0.015523 | 0.0038912 | -0.015521 | -0.0038898 | 2.3473e-06 | 1.3548e-06 | 0.023346 | 0.023346 | 0.023346 | 0.98939 | -0.20236 | 0.98923 | -0.20553 | 6.4138
26 | 0.056074 | 0.014121 | -0.056032 | -0.014094 | 4.1939e-05 | 2.6647e-05 | 0.085129 | 0.085129 | 0.085129 | 0.98042 | -0.37615 | 0.97962 | -0.3918 | 23.3872
27 | -0.15512 | -0.039504 | 0.15528 | 0.039605 | 0.0001605 | 0.0001018 | 0.23303 | 0.23303 | 0.23303 | 0.99145 | -0.16277 | 0.99257 | -0.14134 | 21.3397
28 | -0.20338 | -0.05166 | 0.2039 | 0.051994 | 0.00052537 | 0.00033448 | 0.30513 | 0.30513 | 0.30513 | 0.99257 | -0.14134 | 0.99537 | -0.08782 | 27.9428
29 | -0.0054429 | -0.0013641 | 0.0054436 | 0.0013642 | 6.2967e-07 | 1.0021e-07 | 0.008312 | 0.0083118 | 0.008312 | 0.9744 | -0.49371 | 0.97452 | -0.49129 | 2.2835
30 | -0.22815 | -0.058089 | 0.22885 | 0.058537 | 0.0007037 | 0.00044848 | 0.34139 | 0.34139 | 0.34139 | 0.99537 | -0.08782 | 0.99873 | -0.024072 | 31.2627
31 | 0.024248 | 0.0060944 | -0.024219 | -0.0060771 | 2.8286e-05 | 1.7358e-05 | 0.036255 | 0.036255 | 0.036255 | 0.99537 | -0.08782 | 0.99411 | -0.11228 | 9.9602
32 | -0.0242 | -0.006065 | 0.024219 | 0.0060771 | 1.9661e-05 | 1.2066e-05 | 0.036255 | 0.036255 | 0.036255 | 0.99323 | -0.12932 | 0.99411 | -0.11228 | 9.9602
33 | -0.23556 | -0.06022 | 0.23575 | 0.060337 | 0.00018469 | 0.00011773 | 0.35139 | 0.35139 | 0.35139 | 0.99873 | -0.024072 | 0.99958 | -0.0078794 | 32.1785
34 | 0.022379 | 0.0056101 | -0.022377 | -0.0056095 | 1.1066e-06 | 6.7418e-07 | 0.033507 | 0.033507 | 0.033507 | 0.99384 | -0.1172 | 0.99379 | -0.11824 | 9.2051
35 | -0.022379 | -0.0056101 | 0.022391 | 0.0056178 | 1.2559e-05 | 7.6507e-06 | 0.033507 | 0.033506 | 0.033507 | 0.99384 | -0.1172 | 0.99445 | -0.10543 | 9.2051
36 | 0.013936 | 0.0034938 | -0.013933 | -0.0034922 | 2.83e-06 | 1.5867e-06 | 0.020867 | 0.020867 | 0.020867 | 0.99379 | -0.11824 | 0.99357 | -0.1225 | 5.7326
37 | -0.25947 | -0.066029 | 0.26004 | 0.066387 | 0.00056162 | 0.00035828 | 0.38861 | 0.38861 | 0.38861 | 0.99445 | -0.10543 | 0.9968 | -0.060633 | 35.5871
38 | 0.21493 | 0.054857 | -0.21421 | -0.054398 | 0.00072085 | 0.00045919 | 0.32196 | 0.32196 | 0.32196 | 0.99445 | -0.10543 | 0.99081 | -0.1751 | 29.4833
39 | 0.022153 | 0.0055543 | -0.022146 | -0.0055504 | 6.4342e-06 | 3.9153e-06 | 0.033148 | 0.033148 | 0.033148 | 0.99445 | -0.10543 | 0.99414 | -0.11153 | 9.1067
40 | 0.045424 | 0.011424 | -0.045378 | -0.011395 | 4.5651e-05 | 2.8884e-05 | 0.068418 | 0.068418 | 0.068418 | 0.98813 | -0.22691 | 0.98704 | -0.24797 | 18.7961
41 | -0.045424 | -0.011424 | 0.045462 | 0.011448 | 3.7852e-05 | 2.3949e-05 | 0.068418 | 0.068418 | 0.068418 | 0.98813 | -0.22691 | 0.98903 | -0.20948 | 18.7961
42 | 0.045378 | 0.011395 | -0.045319 | -0.011358 | 5.9305e-05 | 3.7524e-05 | 0.068418 | 0.068418 | 0.068418 | 0.98704 | -0.24797 | 0.98563 | -0.2754 | 18.7962
43 | -0.05768 | -0.014511 | 0.057723 | 0.014538 | 4.321e-05 | 2.7458e-05 | 0.086801 | 0.086801 | 0.086801 | 0.98903 | -0.20948 | 0.98983 | -0.19381 | 23.8464
44 | -0.23575 | -0.060337 | 0.23584 | 0.060395 | 8.9982e-05 | 5.7359e-05 | 0.35139 | 0.35139 | 0.35139 | 0.99958 | -0.0078794 | 1 | 0 | 32.1785
45 | 0.28181 | 0.072156 | -0.28133 | -0.071846 | 0.00048469 | 0.00030934 | 0.41988 | 0.41988 | 0.41988 | 1 | 0 | 0.99812 | -0.035575 | 38.451
46 | 0.0093969 | 0.0023554 | -0.0093956 | -0.0023548 | 1.3012e-06 | 6.0591e-07 | 0.014073 | 0.014073 | 0.014073 | 0.99357 | -0.1225 | 0.99342 | -0.12541 | 3.8663
47 | -0.26004 | -0.066387 | 0.26035 | 0.066585 | 0.00030967 | 0.00019754 | 0.38861 | 0.38861 | 0.38861 | 0.9968 | -0.060633 | 0.9981 | -0.036022 | 35.5871
48 | 0.2018 | 0.051287 | -0.20162 | -0.051172 | 0.00018162 | 0.00011563 | 0.30332 | 0.30332 | 0.30332 | 0.99081 | -0.1751 | 0.98983 | -0.19381 | 27.7764
49 | 0.0087361 | 0.0021895 | -0.008736 | -0.0021895 | 3.7054e-08 | 1.6222e-08 | 0.013076 | 0.013076 | 0.013076 | 0.99414 | -0.11153 | 0.99413 | -0.11162 | 3.5923
50 | 0.14389 | 0.036634 | -0.14382 | -0.036585 | 7.6201e-05 | 4.8546e-05 | 0.21652 | 0.21652 | 0.21652 | 0.98983 | -0.19381 | 0.98926 | -0.2048 | 29.7415
51 | 0.036286 | 0.0091129 | -0.03625 | -0.0090901 | 3.6218e-05 | 2.2777e-05 | 0.055017 | 0.055017 | 0.055017 | 0.98153 | -0.3542 | 0.98046 | -0.37514 | 15.1145
52 | 0.074736 | 0.018921 | -0.074701 | -0.018898 | 3.5256e-05 | 2.2472e-05 | 0.11337 | 0.11337 | 0.11337 | 0.98153 | -0.3542 | 0.98102 | -0.36403 | 31.1454
53 | -0.11102 | -0.028034 | 0.11126 | 0.028188 | 0.00024109 | 0.00015401 | 0.16839 | 0.16839 | 0.16839 | 0.98153 | -0.3542 | 0.98386 | -0.30899 | 46.2599
54 | 0.020246 | 0.0050793 | -0.020232 | -0.0050705 | 1.4436e-05 | 8.7255e-06 | 0.030729 | 0.030729 | 0.030729 | 0.98046 | -0.37514 | 0.9797 | -0.39011 | 8.442
55 | 0.014545 | 0.0036481 | -0.014537 | -0.0036432 | 8.6181e-06 | 4.9199e-06 | 0.022063 | 0.022063 | 0.022063 | 0.98102 | -0.36403 | 0.98039 | -0.37647 | 6.0614
56 | -0.12101 | -0.030629 | 0.12161 | 0.031018 | 0.00060852 | 0.00038884 | 0.18312 | 0.18312 | 0.18312 | 0.98386 | -0.30899 | 0.98926 | -0.2048 | 50.3079
57 | -0.26898 | -0.068749 | 0.26899 | 0.068753 | 5.8142e-06 | 3.7098e-06 | 0.40148 | 0.40148 | 0.40148 | 0.9981 | -0.036022 | 0.99812 | -0.035575 | 36.7658
58 | -0.045159 | -0.01134 | 0.045187 | 0.011358 | 2.7955e-05 | 1.7693e-05 | 0.068718 | 0.068718 | 0.068718 | 0.97798 | -0.42407 | 0.97864 | -0.41111 | 18.8787
59 | -0.051347 | -0.012901 | 0.051394 | 0.012932 | 4.7363e-05 | 3.0052e-05 | 0.078085 | 0.078084 | 0.078085 | 0.97864 | -0.41111 | 0.97962 | -0.3918 | 21.4518
60 | 0.040535 | 0.010199 | -0.040507 | -0.010181 | 2.8795e-05 | 1.8179e-05 | 0.06189 | 0.06189 | 0.06189 | 0.97481 | -0.48552 | 0.97405 | -0.5004 | 17.0029
61 | -0.020277 | -0.0050837 | 0.020279 | 0.005085 | 2.0708e-06 | 1.2544e-06 | 0.031053 | 0.031053 | 0.031053 | 0.97165 | -0.54773 | 0.97176 | -0.54559 | 8.5312
62 | 0.016821 | 0.0042175 | -0.016815 | -0.0042143 | 5.4082e-06 | 3.1921e-06 | 0.02576 | 0.02576 | 0.02576 | 0.97165 | -0.54773 | 0.97131 | -0.55448 | 7.0771
63 | -0.02519 | -0.0063157 | 0.025198 | 0.0063211 | 8.708e-06 | 5.3797e-06 | 0.038573 | 0.038572 | 0.038573 | 0.97176 | -0.54559 | 0.97213 | -0.53834 | 10.5969
64 | 0.0086272 | 0.0021622 | -0.0086271 | -0.0021622 | 4.657e-08 | 2.1005e-08 | 0.013217 | 0.013217 | 0.013217 | 0.97131 | -0.55448 | 0.97131 | -0.5546 | 3.6309
65 | -0.030727 | -0.0077066 | 0.030744 | 0.0077175 | 1.7471e-05 | 1.092e-05 | 0.047035 | 0.047034 | 0.047035 | 0.97213 | -0.53834 | 0.97273 | -0.52642 | 12.9216
66 | 0.0056767 | 0.0014227 | -0.0056766 | -0.0014227 | 1.253e-07 | 2.551e-08 | 0.0086965 | 0.0086965 | 0.0086965 | 0.97131 | -0.5546 | 0.97128 | -0.55506 | 2.3892
67 | -0.034035 | -0.0085423 | 0.034056 | 0.0085556 | 2.1218e-05 | 1.332e-05 | 0.052069 | 0.052069 | 0.052069 | 0.97273 | -0.52642 | 0.9734 | -0.51336 | 14.3046
68 | -0.037712 | -0.0094719 | 0.037735 | 0.0094866 | 2.3337e-05 | 1.4703e-05 | 0.057657 | 0.057657 | 0.057657 | 0.9734 | -0.51336 | 0.97405 | -0.5004 | 15.8399
69 | 0.022203 | 0.0055669 | -0.022196 | -0.0055629 | 6.5674e-06 | 4.0016e-06 | 0.033398 | 0.033398 | 0.033398 | 0.98926 | -0.2048 | 0.98894 | -0.21101 | 9.1752
70 | 0.012347 | 0.0030944 | -0.012347 | -0.0030944 | 7.0117e-08 | 3.7923e-08 | 0.018577 | 0.018577 | 0.018577 | 0.98894 | -0.21101 | 0.98894 | -0.21113 | 5.1037

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5193 | 0.13255

## res_load
| p_mw | q_mvar
0 | 0.035261 | 0.0088373
1 | 0.0069121 | 0.0017323
2 | 0.0059311 | 0.0014865
3 | 0.0049103 | 0.0012306
4 | 0.0045975 | 0.0011522
5 | 0.0056973 | 0.0014279
6 | 0.027075 | 0.0067856
7 | 0.0071099 | 0.0017819
8 | 0.0068032 | 0.001705
9 | 0.0069176 | 0.0017337
10 | 0.0056611 | 0.0014188
11 | 0.0050119 | 0.0012561
12 | 0.0045288 | 0.001135
13 | 0.015521 | 0.0038898
14 | 0.048098 | 0.012055
15 | 0.0054429 | 0.0013641
16 | 0.0043236 | 0.0010836
17 | 0.0242 | 0.006065
18 | 0.0067129 | 0.0016824
19 | 0.0084417 | 0.0021157
20 | 0.012219 | 0.0030623
21 | 0.045319 | 0.011358
22 | 0.004536 | 0.0011368
23 | 0.012411 | 0.0031105
24 | 0.01341 | 0.0033609
25 | 0.008736 | 0.0021895
26 | 0.016004 | 0.0040109
27 | 0.0097426 | 0.0024417
28 | 0.0093956 | 0.0023548
29 | 0.0086343 | 0.002164
30 | 0.012344 | 0.0030936
31 | 0.0057642 | 0.0014446
32 | 0.00616 | 0.0015438
33 | 0.004638 | 0.0011624
34 | 0.014537 | 0.0036432
35 | 0.0044889 | 0.001125
36 | 0.0034563 | 0.00086622
37 | 0.0049105 | 0.0012307
38 | 0.0081882 | 0.0020521
39 | 0.0055283 | 0.0013855
40 | 0.0029504 | 0.00073945
41 | 0.003291 | 0.0008248
42 | 0.0056766 | 0.0014227
43 | 0.0036558 | 0.00091624
44 | 0.0098496 | 0.0024686
45 | 0.0027711 | 0.00069449
46 | 0.012347 | 0.0030944
47 | 0.020232 | 0.0050705

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1