## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1054-1_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1054-1_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1054-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1054-1_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1054-1_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1054-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1054-1_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1054-1_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1054-1_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1054-1_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1054-1_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1054-1_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1054-1_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1054-1_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1054-1_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1054-1_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_1054-1_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1054-1_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1054-1_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1054-1_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1054-1_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1054-1_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1054-1_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1054-1_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1054-1_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1054-1_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_1054-1_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1054-1_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1054-1_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1054-1_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1054-1_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1054-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1054-1_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1054-1_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1054-1_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_1054-1_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1054-1_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1054-1_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1054-1_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1054-1_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1054-1_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1054-1_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1054-1_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1054-1_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1054-1_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1054-1_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1054-1_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1054-1_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1054-1_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1054-1_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1054-1_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_MV_212_1_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-1_0_4_load_0 | 0 | 0.0064774 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-1_0_4_load_1 | 1 | 0.026858 | 0.0067313 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-1_0_4_load_30 | 7 | 0.049348 | 0.012368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-1_0_4_load_12 | 10 | 0.024745 | 0.0062017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-1_0_4_load_23 | 11 | 0.011734 | 0.0029408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-1_0_4_load_41 | 12 | 0.0021331 | 0.00053461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-1_0_4_load_14 | 15 | 0.091906 | 0.023034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-1_0_4_load_17 | 16 | 0.0016068 | 0.0004027 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-1_0_4_load_54 | 18 | 0.00057115 | 0.00014314 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-1_0_4_load_22 | 19 | 0.014903 | 0.0037351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-1_0_4_load_33 | 21 | 0.00084996 | 0.00021302 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-1_0_4_load_42 | 24 | 0.016663 | 0.0041763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-1_0_4_load_56 | 25 | 0.013143 | 0.003294 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-1_0_4_load_55 | 27 | 0.015465 | 0.0038758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-1_0_4_load_13 | 29 | 8.5716e-05 | 2.1482e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-1_0_4_load_15 | 30 | 0.0013859 | 0.00034734 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-1_0_4_load_16 | 31 | 0.0011713 | 0.00029355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-1_0_4_load_29 | 32 | 0.0027123 | 0.00067976 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-1_0_4_load_27 | 35 | 0.00073462 | 0.00018411 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-1_0_4_load_28 | 36 | 0.051517 | 0.012911 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-1_0_4_load_43 | 37 | 0.012424 | 0.0031137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-1_0_4_load_47 | 38 | 0.011821 | 0.0029627 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-1_0_4_load_31 | 39 | 0.0034695 | 0.00086954 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-1_0_4_load_32 | 40 | 0.00084674 | 0.00021221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-1_0_4_load_45 | 42 | 0.0070899 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-1_0_4_load_52 | 43 | 0.012381 | 0.0031029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-1_0_4_load_46 | 45 | 0.013993 | 0.0035071 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-1_0_4_load_36 | 46 | 0.0007509 | 0.00018819 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-1_0_4_load_53 | 50 | 0.013158 | 0.0032978 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-1_0_4_load_50 | 51 | 0.012135 | 0.0030413 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-1_0_4_load_51 | 52 | 0.012871 | 0.0032257 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1054-1_0_4_load_44 | 53 | 0.011989 | 0.0030046 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-1_0_4_line_0 |  | 0 | 1 | 0.077952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-1_0_4_line_1 |  | 1 | 2 | 0.020908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-1_0_4_line_2 |  | 2 | 3 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1054-1_0_4_line_3 |  | 2 | 4 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1054-1_0_4_line_4 |  | 3 | 9 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1054-1_0_4_line_5 |  | 3 | 7 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-1_0_4_line_6 |  | 4 | 11 | 0.055506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-1_0_4_line_7 |  | 4 | 12 | 0.0081705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1054-1_0_4_line_8 |  | 5 | 6 | 0.016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-1_0_4_line_9 |  | 5 | 7 | 0.0045299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-1_0_4_line_10 |  | 6 | 18 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-1_0_4_line_11 |  | 6 | 17 | 0.042708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-1_0_4_line_12 |  | 8 | 9 | 0.003792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-1_0_4_line_13 |  | 8 | 10 | 0.040039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-1_0_4_line_14 |  | 9 | 15 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1054-1_0_4_line_15 |  | 11 | 19 | 0.038155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-1_0_4_line_16 |  | 12 | 13 | 0.014378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1054-1_0_4_line_17 |  | 13 | 14 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1054-1_0_4_line_18 |  | 14 | 20 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1054-1_0_4_line_19 |  | 14 | 21 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-1_0_4_line_20 |  | 15 | 29 | 0.10051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1054-1_0_4_line_21 |  | 16 | 17 | 0.034517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-1_0_4_line_22 |  | 20 | 41 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-1_0_4_line_23 |  | 20 | 42 | 0.042106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1054-1_0_4_line_24 |  | 21 | 40 | 0.04233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-1_0_4_line_25 |  | 22 | 23 | 0.075921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-1_0_4_line_26 |  | 22 | 24 | 0.051919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-1_0_4_line_27 |  | 23 | 25 | 0.047673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-1_0_4_line_28 |  | 24 | 37 | 0.063485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-1_0_4_line_29 |  | 26 | 27 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1054-1_0_4_line_30 |  | 26 | 28 | 0.068949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1054-1_0_4_line_31 |  | 28 | 38 | 0.088657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1054-1_0_4_line_32 |  | 29 | 30 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-1_0_4_line_33 |  | 30 | 31 | 0.015196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1054-1_0_4_line_34 |  | 31 | 32 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1054-1_0_4_line_35 |  | 32 | 33 | 0.016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-1_0_4_line_36 |  | 33 | 34 | 0.035875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1054-1_0_4_line_37 |  | 34 | 35 | 0.023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1054-1_0_4_line_38 |  | 35 | 36 | 0.0094428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1054-1_0_4_line_39 |  | 37 | 53 | 0.0075001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1054-1_0_4_line_40 |  | 38 | 49 | 0.088638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1054-1_0_4_line_41 |  | 39 | 40 | 0.012268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1054-1_0_4_line_42 |  | 41 | 43 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1054-1_0_4_line_43 |  | 41 | 44 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1054-1_0_4_line_44 |  | 42 | 45 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1054-1_0_4_line_45 |  | 43 | 52 | 0.0063039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1054-1_0_4_line_46 |  | 44 | 47 | 0.027803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1054-1_0_4_line_47 |  | 44 | 46 | 0.028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1054-1_0_4_line_48 |  | 47 | 51 | 0.073738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1054-1_0_4_line_49 |  | 47 | 48 | 0.03879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1054-1_0_4_line_50 |  | 48 | 49 | 0.037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1054-1_0_4_line_51 |  | 48 | 50 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1054-1_0_4_line_52 |  | 51 | 53 | 0.0037033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-1_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 54 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2668956.2273 | 1215321.4564 | 2668942.8194 | 1215308.9433 | 2668940.6073 | 1215304.5372 | 2668906.7651 | 1215272.6037 | 2668902.2313 | 1215265.8292
1 | 2668887.7426 | 1215250.8592 | 2668900.0987 | 1215262.6427 | 2668902.2313 | 1215265.8292
2 | 2668866.6398 | 1215240.2198 | 2668872.2412 | 1215244.4316 | 2668874.7634 | 1215243.6936 | 2668879.9058 | 1215244.2534 | 2668887.7426 | 1215250.8592
3 | 2668887.7426 | 1215250.8592 | 2668890.766 | 1215247.492 | 2668896.5588 | 1215241.0548 | 2668900.336 | 1215236.8625
4 | 2668851.0401 | 1215228.499 | 2668855.8285 | 1215232.0899 | 2668858.2754 | 1215233.9304 | 2668860.8202 | 1215235.8388 | 2668862.4539 | 1215237.0695 | 2668866.6398 | 1215240.2198
5 | 2668866.6398 | 1215240.2198 | 2668861.4846 | 1215262.3204
6 | 2668900.336 | 1215236.8625 | 2668857.9228 | 1215202.0062 | 2668857.4709 | 1215201.6009
7 | 2668900.336 | 1215236.8625 | 2668905.7833 | 1215237.9817 | 2668908.3832 | 1215237.7593
8 | 2668860.4556 | 1215266.7318 | 2668860.6172 | 1215275.7504 | 2668858.519 | 1215283.1753
9 | 2668860.4556 | 1215266.7318 | 2668861.4846 | 1215262.3204
10 | 2668858.519 | 1215283.1753 | 2668867.9125 | 1215287.153 | 2668879.8074 | 1215296.7057
11 | 2668832.378 | 1215316.8836 | 2668854.9528 | 1215289.4826 | 2668858.519 | 1215283.1753
12 | 2668851.0401 | 1215228.499 | 2668849.9658 | 1215224.8621
13 | 2668849.9658 | 1215224.8621 | 2668838.6298 | 1215230.5904 | 2668834.0195 | 1215232.6162 | 2668825.0333 | 1215234.7916 | 2668820.3924 | 1215234.2044 | 2668816.8555 | 1215231.4062 | 2668819.3139 | 1215228.419
14 | 2668851.0401 | 1215228.499 | 2668853.5508 | 1215240.5912 | 2668854.3484 | 1215249.5915
15 | 2668857.4709 | 1215201.6009 | 2668829.0704 | 1215176.1212
16 | 2668919.9667 | 1215243.4491 | 2668912.8905 | 1215236.752 | 2668909.6754 | 1215237.6487 | 2668908.3832 | 1215237.7593
17 | 2668935.7436 | 1215226.7098 | 2668926.4156 | 1215236.1079 | 2668922.3216 | 1215240.7635 | 2668919.9667 | 1215243.4491
18 | 2668947.9733 | 1215216.6003 | 2668943.9538 | 1215219.4112 | 2668940.051 | 1215222.6459 | 2668935.7436 | 1215226.7098
19 | 2668935.7436 | 1215226.7098 | 2668954.4128 | 1215242.2095
20 | 2668810.8289 | 1215334.8979 | 2668824.6448 | 1215319.7184 | 2668841.7745 | 1215298.903 | 2668849.5394 | 1215288.7196 | 2668852.9693 | 1215281.7214 | 2668854.9095 | 1215274.1724 | 2668855.3335 | 1215269.6745 | 2668855.049 | 1215257.4969 | 2668854.3484 | 1215249.5915
21 | 2668832.378 | 1215316.8836 | 2668857.1051 | 1215340.9668
22 | 2668957.3873 | 1215211.5949 | 2668947.9733 | 1215216.6003
23 | 2668947.9733 | 1215216.6003 | 2668935.7037 | 1215210.4657 | 2668922.0282 | 1215209.6627 | 2668907.4237 | 1215211.2354
24 | 2668986.9815 | 1215269.2489 | 2668954.4128 | 1215242.2095
25 | 2668855.9095 | 1215044.3171 | 2668828.8689 | 1215072.3226 | 2668826.2437 | 1215070.1354 | 2668802.6215 | 1215094.1334
26 | 2668855.9095 | 1215044.3171 | 2668892.9016 | 1215080.7473
27 | 2668837.275 | 1215126.9762 | 2668802.6215 | 1215094.1334
28 | 2668892.9016 | 1215080.7473 | 2668905.9565 | 1215093.604 | 2668932.1911 | 1215116.2659 | 2668936.2561 | 1215125.9412 | 2668936.2561 | 1215125.9412
29 | 2668891.0983 | 1215032.1603 | 2668906.8237 | 1215050.1311
30 | 2668891.0983 | 1215032.1603 | 2668910.632 | 1215036.0329 | 2668919.88 | 1215034.2386 | 2668929.0919 | 1215030.3093 | 2668949.5008 | 1215051.7476
31 | 2668949.5008 | 1215051.7476 | 2668953.8597 | 1215056.3676 | 2669006.8612 | 1215119.3358
32 | 2668810.8289 | 1215334.8979 | 2668806.1388 | 1215340.051 | 2668799.753 | 1215345.9032 | 2668795.7663 | 1215346.5465 | 2668793.0586 | 1215346.2484 | 2668789.7748 | 1215345.2099 | 2668788.0944 | 1215343.9731
33 | 2668776.8383 | 1215333.8185 | 2668784.1423 | 1215341.0645 | 2668788.0944 | 1215343.9731
34 | 2668767.2395 | 1215324.2959 | 2668776.8383 | 1215333.8185
35 | 2668755.3187 | 1215312.4697 | 2668767.2395 | 1215324.2959
36 | 2668732.0799 | 1215285.5515 | 2668732.975 | 1215288.2746 | 2668734.9474 | 1215291.744 | 2668755.3187 | 1215312.4697
37 | 2668732.0799 | 1215285.5515 | 2668749.3065 | 1215269.8544
38 | 2668756.2862 | 1215263.4944 | 2668749.3065 | 1215269.8544
39 | 2668941.5824 | 1215131.2215 | 2668936.2561 | 1215125.9412
40 | 2669058.8365 | 1215189.4772 | 2669057.2094 | 1215179.1519 | 2669006.8612 | 1215119.3358
41 | 2668996.4205 | 1215277.0855 | 2668986.9815 | 1215269.2489
42 | 2668957.3873 | 1215211.5949 | 2668957.5151 | 1215195.9532
43 | 2668957.3873 | 1215211.5949 | 2668970.0894 | 1215206.6054 | 2668980.4532 | 1215204.1793
44 | 2668886.3563 | 1215211.7963 | 2668900.6771 | 1215211.9619 | 2668907.4237 | 1215211.2354
45 | 2668957.5151 | 1215195.9532 | 2668963.6779 | 1215194.6269
46 | 2668980.4532 | 1215204.1793 | 2668995.6311 | 1215200.497 | 2668994.8446 | 1215194.9622 | 2668992.066 | 1215188.9818
47 | 2668980.4532 | 1215204.1793 | 2668982.4488 | 1215212.1963 | 2668984.3775 | 1215216.1544 | 2668995.8012 | 1215226.5236
48 | 2668992.066 | 1215188.9818 | 2668984.7213 | 1215173.9874 | 2668944.2124 | 1215133.8287
49 | 2669021.9168 | 1215196.3874 | 2668995.6311 | 1215200.497 | 2668994.8446 | 1215194.9622 | 2668992.066 | 1215188.9818
50 | 2669021.9168 | 1215196.3874 | 2669054.918 | 1215190.1211 | 2669058.8365 | 1215189.4772
51 | 2669021.9168 | 1215196.3874 | 2669019.5894 | 1215181.6068
52 | 2668941.5824 | 1215131.2215 | 2668944.2124 | 1215133.8287

## bus_geodata
| x | y | coords
0 | 2668956.2273 | 1215321.4564
1 | 2668902.2313 | 1215265.8292
2 | 2668887.7426 | 1215250.8592
3 | 2668866.6398 | 1215240.2198
4 | 2668900.336 | 1215236.8625
5 | 2668860.4556 | 1215266.7318
6 | 2668858.519 | 1215283.1753
7 | 2668861.4846 | 1215262.3204
8 | 2668849.9658 | 1215224.8621
9 | 2668851.0401 | 1215228.499
10 | 2668819.3139 | 1215228.419
11 | 2668857.4709 | 1215201.6009
12 | 2668908.3832 | 1215237.7593
13 | 2668919.9667 | 1215243.4491
14 | 2668935.7436 | 1215226.7098
15 | 2668854.3484 | 1215249.5915
16 | 2668857.1051 | 1215340.9668
17 | 2668832.378 | 1215316.8836
18 | 2668879.8074 | 1215296.7057
19 | 2668829.0704 | 1215176.1212
20 | 2668947.9733 | 1215216.6003
21 | 2668954.4128 | 1215242.2095
22 | 2668855.9095 | 1215044.3171
23 | 2668802.6215 | 1215094.1334
24 | 2668892.9016 | 1215080.7473
25 | 2668837.275 | 1215126.9762
26 | 2668891.0983 | 1215032.1603
27 | 2668906.8237 | 1215050.1311
28 | 2668949.5008 | 1215051.7476
29 | 2668810.8289 | 1215334.8979
30 | 2668788.0944 | 1215343.9731
31 | 2668776.8383 | 1215333.8185
32 | 2668767.2395 | 1215324.2959
33 | 2668755.3187 | 1215312.4697
34 | 2668732.0799 | 1215285.5515
35 | 2668749.3065 | 1215269.8544
36 | 2668756.2862 | 1215263.4944
37 | 2668936.2561 | 1215125.9412
38 | 2669006.8612 | 1215119.3358
39 | 2668996.4205 | 1215277.0855
40 | 2668986.9815 | 1215269.2489
41 | 2668957.3873 | 1215211.5949
42 | 2668907.4237 | 1215211.2354
43 | 2668957.5151 | 1215195.9532
44 | 2668980.4532 | 1215204.1793
45 | 2668886.3563 | 1215211.7963
46 | 2668995.8012 | 1215226.5236
47 | 2668992.066 | 1215188.9818
48 | 2669021.9168 | 1215196.3874
49 | 2669058.8365 | 1215189.4772
50 | 2669019.5894 | 1215181.6068
51 | 2668944.2124 | 1215133.8287
52 | 2668963.6779 | 1215194.6269
53 | 2668941.5824 | 1215131.2215
54 | 2668947.9733 | 1215216.6003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98744 | -0.24052 | 0.0064774 | 0.0016234
1 | 0.98791 | -0.2315 | 0.026858 | 0.0067313
2 | 0.98855 | -0.21906 | 0 | 0
3 | 0.98724 | -0.24427 | 0 | 0
4 | 0.98967 | -0.19733 | 0 | 0
5 | 0.98616 | -0.26538 | 0 | 0
6 | 0.98613 | -0.26604 | 0 | 0
7 | 0.98617 | -0.26521 | 0.049348 | 0.012368
8 | 0.98637 | -0.26117 | 0 | 0
9 | 0.98646 | -0.25949 | 0 | 0
10 | 0.98546 | -0.27893 | 0.024745 | 0.0062017
11 | 0.98831 | -0.22368 | 0.011734 | 0.0029408
12 | 0.99021 | -0.18695 | 0.0021331 | 0.00053461
13 | 0.99116 | -0.16857 | 0 | 0
14 | 0.99269 | -0.13926 | 0 | 0
15 | 0.98572 | -0.27382 | 0.091906 | 0.023034
16 | 0.98601 | -0.26826 | 0.0016068 | 0.0004027
17 | 0.98606 | -0.26727 | 0 | 0
18 | 0.98611 | -0.2663 | 0.00057115 | 0.00014314
19 | 0.98779 | -0.23383 | 0.014903 | 0.0037351
20 | 0.99376 | -0.11871 | 0 | 0
21 | 0.99257 | -0.14148 | 0.00084996 | 0.00021302
22 | 0.97992 | -0.38675 | 0 | 0
23 | 0.97899 | -0.40488 | 0 | 0
24 | 0.98055 | -0.37437 | 0.016663 | 0.0041763
25 | 0.97841 | -0.41629 | 0.013143 | 0.003294
26 | 0.98042 | -0.37704 | 0 | 0
27 | 0.98008 | -0.38374 | 0.015465 | 0.0038758
28 | 0.9814 | -0.35773 | 0 | 0
29 | 0.98303 | -0.3259 | 8.5716e-05 | 2.1482e-05
30 | 0.98154 | -0.35491 | 0.0013859 | 0.00034734
31 | 0.98075 | -0.37036 | 0.0011713 | 0.00029355
32 | 0.98006 | -0.38383 | 0.0027123 | 0.00067976
33 | 0.97924 | -0.39977 | 0 | 0
34 | 0.9775 | -0.4339 | 0 | 0
35 | 0.97637 | -0.45614 | 0.00073462 | 0.00018411
36 | 0.97592 | -0.46504 | 0.051517 | 0.012911
37 | 0.9823 | -0.34012 | 0.012424 | 0.0031137
38 | 0.98267 | -0.33294 | 0.011821 | 0.0029627
39 | 0.99237 | -0.14546 | 0.0034695 | 0.00086954
40 | 0.99241 | -0.14471 | 0.00084674 | 0.00021221
41 | 0.99246 | -0.14368 | 0 | 0
42 | 0.99789 | -0.03991 | 0.0070899 | 0.0017769
43 | 0.99209 | -0.15068 | 0.012381 | 0.0031029
44 | 0.99005 | -0.18992 | 0 | 0
45 | 1 | 0 | -0.44083 | -0.11247
46 | 0.99003 | -0.19029 | 0.0007509 | 0.00018819
47 | 0.9873 | -0.24287 | 0 | 0
48 | 0.98586 | -0.27097 | 0 | 0
49 | 0.98491 | -0.28938 | 0 | 0
50 | 0.98567 | -0.2745 | 0.013158 | 0.0032978
51 | 0.98278 | -0.33077 | 0.012135 | 0.0030413
52 | 0.99202 | -0.15211 | 0.012871 | 0.0032257
53 | 0.9826 | -0.3344 | 0.011989 | 0.0030046
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0064774 | -0.0016234 | 0.0064802 | 0.0016242 | 2.785e-06 | 7.8481e-07 | 0.009761 | 0.0097607 | 0.009761 | 0.98744 | -0.24052 | 0.98791 | -0.2315 | 2.6816
1 | -0.033338 | -0.0083554 | 0.033358 | 0.0083678 | 1.9771e-05 | 1.2385e-05 | 0.050215 | 0.050215 | 0.050215 | 0.98791 | -0.2315 | 0.98855 | -0.21906 | 13.7954
2 | 0.22687 | 0.057271 | -0.2266 | -0.057097 | 0.00027363 | 0.00017384 | 0.34164 | 0.34164 | 0.34164 | 0.98855 | -0.21906 | 0.98724 | -0.24427 | 23.4645
3 | -0.26023 | -0.065639 | 0.2605 | 0.065811 | 0.00027104 | 0.0001725 | 0.39186 | 0.39186 | 0.39186 | 0.98855 | -0.21906 | 0.98967 | -0.19733 | 26.9133
4 | 0.17502 | 0.044152 | -0.17489 | -0.044071 | 0.00012739 | 8.0535e-05 | 0.2639 | 0.2639 | 0.2639 | 0.98724 | -0.24427 | 0.98646 | -0.25949 | 18.1248
5 | 0.051578 | 0.012945 | -0.051526 | -0.012912 | 5.144e-05 | 3.2632e-05 | 0.077747 | 0.077747 | 0.077747 | 0.98724 | -0.24427 | 0.98617 | -0.26521 | 21.359
6 | 0.026678 | 0.0067008 | -0.026644 | -0.00668 | 3.3498e-05 | 2.0727e-05 | 0.040117 | 0.040117 | 0.040117 | 0.98967 | -0.19733 | 0.98831 | -0.22368 | 11.0212
7 | -0.28718 | -0.072512 | 0.28732 | 0.072603 | 0.00014293 | 9.1057e-05 | 0.43197 | 0.43197 | 0.43197 | 0.98967 | -0.19733 | 0.99021 | -0.18695 | 29.6685
8 | 0.0021782 | 0.00054448 | -0.0021781 | -0.00054465 | 6.7783e-08 | -1.7017e-07 | 0.0032862 | 0.0032862 | 0.0032862 | 0.98616 | -0.26538 | 0.98613 | -0.26604 | 0.90281
9 | -0.0021782 | -0.00054448 | 0.0021782 | 0.00054443 | 1.8344e-08 | -4.6055e-08 | 0.0032862 | 0.0032861 | 0.0032862 | 0.98616 | -0.26538 | 0.98617 | -0.26521 | 0.90279
10 | 0.00057116 | 0.00014282 | -0.00057115 | -0.00014314 | 7.09e-09 | -3.2023e-07 | 0.00086174 | 0.00086186 | 0.00086186 | 0.98613 | -0.26604 | 0.98611 | -0.2663 | 0.23677
11 | 0.001607 | 0.00040182 | -0.0016069 | -0.00040231 | 9.4149e-08 | -4.8457e-07 | 0.0024245 | 0.0024247 | 0.0024247 | 0.98613 | -0.26604 | 0.98606 | -0.26727 | 0.66612
12 | -0.024766 | -0.0062146 | 0.024768 | 0.0062158 | 1.9852e-06 | 1.2221e-06 | 0.037364 | 0.037364 | 0.037364 | 0.98637 | -0.26117 | 0.98646 | -0.25949 | 10.2649
13 | 0.024766 | 0.0062146 | -0.024745 | -0.0062017 | 2.0962e-05 | 1.2905e-05 | 0.037364 | 0.037364 | 0.037364 | 0.98637 | -0.26117 | 0.98546 | -0.27893 | 10.2649
14 | 0.15012 | 0.037856 | -0.15002 | -0.037791 | 0.00010289 | 6.4756e-05 | 0.22653 | 0.22653 | 0.22653 | 0.98646 | -0.25949 | 0.98572 | -0.27382 | 15.5586
15 | 0.01491 | 0.0037392 | -0.014903 | -0.0037351 | 7.2115e-06 | 4.1267e-06 | 0.02245 | 0.02245 | 0.02245 | 0.98831 | -0.22368 | 0.98779 | -0.23383 | 6.1677
16 | -0.28945 | -0.073138 | 0.28971 | 0.0733 | 0.00025527 | 0.00016263 | 0.43518 | 0.43518 | 0.43518 | 0.99021 | -0.18695 | 0.99116 | -0.16857 | 29.8887
17 | -0.28971 | -0.0733 | 0.29012 | 0.07356 | 0.00040809 | 0.00025999 | 0.43518 | 0.43518 | 0.43518 | 0.99116 | -0.16857 | 0.99269 | -0.13926 | 29.8887
18 | -0.29528 | -0.074855 | 0.29557 | 0.075041 | 0.00029188 | 0.00018598 | 0.44292 | 0.44292 | 0.44292 | 0.99269 | -0.13926 | 0.99376 | -0.11871 | 30.4206
19 | 0.0051675 | 0.0012946 | -0.005167 | -0.0012946 | 5.4595e-07 | 3.5744e-08 | 0.0077458 | 0.0077459 | 0.0077459 | 0.99269 | -0.13926 | 0.99257 | -0.14148 | 2.128
20 | 0.058113 | 0.014757 | -0.057968 | -0.014667 | 0.00014526 | 9.0414e-05 | 0.087794 | 0.087795 | 0.087795 | 0.98572 | -0.27382 | 0.98303 | -0.3259 | 12.0598
21 | -0.0016068 | -0.0004027 | 0.0016069 | 0.00040231 | 7.6103e-08 | -3.9158e-07 | 0.0024248 | 0.0024247 | 0.0024248 | 0.98601 | -0.26826 | 0.98606 | -0.26727 | 0.66617
22 | 0.13404 | 0.034064 | -0.13388 | -0.033961 | 0.00016096 | 0.00010288 | 0.20087 | 0.20087 | 0.20087 | 0.99376 | -0.11871 | 0.99246 | -0.14368 | 55.1838
23 | -0.42961 | -0.1091 | 0.43125 | 0.11015 | 0.0016361 | 0.0010449 | 0.64379 | 0.64379 | 0.64379 | 0.99376 | -0.11871 | 0.99789 | -0.03991 | 44.2166
24 | 0.004317 | 0.0010815 | -0.0043164 | -0.0010817 | 6.6487e-07 | -1.2152e-07 | 0.0064717 | 0.0064719 | 0.0064719 | 0.99257 | -0.14148 | 0.99241 | -0.14471 | 1.778
25 | 0.013162 | 0.0033043 | -0.013151 | -0.003298 | 1.1375e-05 | 6.3247e-06 | 0.019989 | 0.019989 | 0.019989 | 0.97992 | -0.38675 | 0.97899 | -0.40488 | 5.4914
26 | -0.013162 | -0.0033043 | 0.01317 | 0.0033087 | 7.7788e-06 | 4.324e-06 | 0.019989 | 0.019988 | 0.019989 | 0.97992 | -0.38675 | 0.98055 | -0.37437 | 5.4914
27 | 0.013151 | 0.003298 | -0.013143 | -0.003294 | 7.1431e-06 | 3.9725e-06 | 0.019989 | 0.019989 | 0.019989 | 0.97899 | -0.40488 | 0.97841 | -0.41629 | 5.4915
28 | -0.029833 | -0.0074849 | 0.029882 | 0.0075154 | 4.8801e-05 | 3.043e-05 | 0.045276 | 0.045275 | 0.045276 | 0.98055 | -0.37437 | 0.9823 | -0.34012 | 12.4384
29 | 0.015469 | 0.0038786 | -0.015465 | -0.0038758 | 4.9307e-06 | 2.8549e-06 | 0.023479 | 0.023479 | 0.023479 | 0.98042 | -0.37704 | 0.98008 | -0.38374 | 6.4503
30 | -0.015469 | -0.0038786 | 0.015484 | 0.0038869 | 1.4253e-05 | 8.2518e-06 | 0.023479 | 0.023479 | 0.023479 | 0.98042 | -0.37704 | 0.9814 | -0.35773 | 6.4503
31 | -0.015484 | -0.0038869 | 0.015502 | 0.0038975 | 1.8327e-05 | 1.0608e-05 | 0.023479 | 0.023478 | 0.023479 | 0.9814 | -0.35773 | 0.98267 | -0.33294 | 6.4502
32 | 0.057882 | 0.014645 | -0.057801 | -0.014594 | 8.0472e-05 | 5.1149e-05 | 0.087666 | 0.087666 | 0.087666 | 0.98303 | -0.3259 | 0.98154 | -0.35491 | 24.084
33 | 0.056416 | 0.014247 | -0.056374 | -0.01422 | 4.1719e-05 | 2.6509e-05 | 0.085565 | 0.085565 | 0.085565 | 0.98154 | -0.35491 | 0.98075 | -0.37036 | 23.5068
34 | 0.055203 | 0.013927 | -0.055167 | -0.013904 | 3.5596e-05 | 2.2611e-05 | 0.083788 | 0.083788 | 0.083788 | 0.98075 | -0.37036 | 0.98006 | -0.38383 | 23.0186
35 | 0.052455 | 0.013224 | -0.052415 | -0.013199 | 3.9968e-05 | 2.5368e-05 | 0.07967 | 0.07967 | 0.07967 | 0.98006 | -0.38383 | 0.97924 | -0.39977 | 21.8873
36 | 0.052415 | 0.013199 | -0.052329 | -0.013145 | 8.5391e-05 | 5.42e-05 | 0.07967 | 0.07967 | 0.07967 | 0.97924 | -0.39977 | 0.9775 | -0.4339 | 21.8873
37 | 0.052329 | 0.013145 | -0.052274 | -0.013109 | 5.5473e-05 | 3.5211e-05 | 0.07967 | 0.07967 | 0.07967 | 0.9775 | -0.4339 | 0.97637 | -0.45614 | 21.8874
38 | 0.051539 | 0.012925 | -0.051517 | -0.012911 | 2.1849e-05 | 1.3865e-05 | 0.07855 | 0.07855 | 0.07855 | 0.97637 | -0.45614 | 0.97592 | -0.46504 | 21.5798
39 | -0.042306 | -0.010629 | 0.042317 | 0.010636 | 1.1554e-05 | 7.2998e-06 | 0.064095 | 0.064095 | 0.064095 | 0.9823 | -0.34012 | 0.9826 | -0.3344 | 17.6085
40 | -0.027323 | -0.0068602 | 0.02738 | 0.0068955 | 5.6911e-05 | 3.5298e-05 | 0.041379 | 0.041378 | 0.041379 | 0.98267 | -0.33294 | 0.98491 | -0.28938 | 11.3678
41 | -0.0034695 | -0.00086954 | 0.0034696 | 0.00086946 | 1.2451e-07 | -7.8821e-08 | 0.0052024 | 0.0052023 | 0.0052024 | 0.99237 | -0.14546 | 0.99241 | -0.14471 | 1.4292
42 | 0.025261 | 0.0063343 | -0.025252 | -0.0063291 | 8.4147e-06 | 5.1834e-06 | 0.037875 | 0.037875 | 0.037875 | 0.99246 | -0.14368 | 0.99209 | -0.15068 | 10.4053
43 | 0.10862 | 0.027627 | -0.10837 | -0.027473 | 0.00024138 | 0.00015417 | 0.16299 | 0.16299 | 0.16299 | 0.99246 | -0.14368 | 0.99005 | -0.18992 | 44.7786
44 | -0.43834 | -0.11193 | 0.43918 | 0.11247 | 0.00084731 | 0.00054118 | 0.65436 | 0.65436 | 0.65436 | 0.99789 | -0.03991 | 1 | 0 | 44.9426
45 | 0.012872 | 0.0032262 | -0.012871 | -0.0032257 | 8.8108e-07 | 4.825e-07 | 0.019306 | 0.019306 | 0.019306 | 0.99209 | -0.15068 | 0.99202 | -0.15211 | 5.3038
46 | 0.10762 | 0.027285 | -0.10735 | -0.02711 | 0.00027317 | 0.00017447 | 0.16187 | 0.16187 | 0.16187 | 0.99005 | -0.18992 | 0.9873 | -0.24287 | 44.4686
47 | 0.00075091 | 0.00018784 | -0.0007509 | -0.00018819 | 1.3417e-08 | -3.5266e-07 | 0.0011285 | 0.0011286 | 0.0011286 | 0.99005 | -0.18992 | 0.99003 | -0.19029 | 0.31006
48 | 0.06673 | 0.016867 | -0.06645 | -0.016688 | 0.00027998 | 0.00017825 | 0.10062 | 0.10062 | 0.10062 | 0.9873 | -0.24287 | 0.98278 | -0.33077 | 27.6439
49 | 0.040619 | 0.010244 | -0.040565 | -0.010209 | 5.4557e-05 | 3.4421e-05 | 0.061242 | 0.061243 | 0.061243 | 0.9873 | -0.24287 | 0.98586 | -0.27097 | 16.8249
50 | 0.027404 | 0.0069104 | -0.02738 | -0.0068955 | 2.4117e-05 | 1.4956e-05 | 0.041378 | 0.041378 | 0.041378 | 0.98586 | -0.27097 | 0.98491 | -0.28938 | 11.3677
51 | 0.013161 | 0.003299 | -0.013158 | -0.0032978 | 2.2141e-06 | 1.2263e-06 | 0.019864 | 0.019865 | 0.019865 | 0.98586 | -0.27097 | 0.98567 | -0.2745 | 5.4573
52 | 0.054315 | 0.013647 | -0.054306 | -0.013641 | 9.395e-06 | 5.9659e-06 | 0.08225 | 0.08225 | 0.08225 | 0.98278 | -0.33077 | 0.9826 | -0.3344 | 22.5962

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45483 | 0.11597

## res_load
| p_mw | q_mvar
0 | 0.0064774 | 0.0016234
1 | 0.026858 | 0.0067313
2 | 0.049348 | 0.012368
3 | 0.024745 | 0.0062017
4 | 0.011734 | 0.0029408
5 | 0.0021331 | 0.00053461
6 | 0.091906 | 0.023034
7 | 0.0016068 | 0.0004027
8 | 0.00057115 | 0.00014314
9 | 0.014903 | 0.0037351
10 | 0.00084996 | 0.00021302
11 | 0.016663 | 0.0041763
12 | 0.013143 | 0.003294
13 | 0.015465 | 0.0038758
14 | 8.5716e-05 | 2.1482e-05
15 | 0.0013859 | 0.00034734
16 | 0.0011713 | 0.00029355
17 | 0.0027123 | 0.00067976
18 | 0.00073462 | 0.00018411
19 | 0.051517 | 0.012911
20 | 0.012424 | 0.0031137
21 | 0.011821 | 0.0029627
22 | 0.0034695 | 0.00086954
23 | 0.00084674 | 0.00021221
24 | 0.0070899 | 0.0017769
25 | 0.012381 | 0.0031029
26 | 0.013993 | 0.0035071
27 | 0.0007509 | 0.00018819
28 | 0.013158 | 0.0032978
29 | 0.012135 | 0.0030413
30 | 0.012871 | 0.0032257
31 | 0.011989 | 0.0030046

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1