## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-20_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1054-20_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1054-20_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1054-20_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1054-20_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1054-20_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1054-20_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1054-20_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1054-20_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1054-20_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_1054-20_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1054-20_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1054-20_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1054-20_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1054-20_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1054-20_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1054-20_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1054-20_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1054-20_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1054-20_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1054-20_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1054-20_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1054-20_0_3_node_130 | 0.4 | n |  | TRUE
24 | bus_LV_1054-20_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1054-20_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1054-20_0_3_node_131 | 0.4 | n |  | TRUE
27 | bus_LV_1054-20_0_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_1054-20_0_3_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_1054-20_0_3_node_132 | 0.4 | n |  | TRUE
30 | bus_LV_1054-20_0_3_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_1054-20_0_3_node_128 | 0.4 | n |  | TRUE
32 | bus_LV_1054-20_0_3_node_126 | 0.4 | n |  | TRUE
33 | bus_LV_1054-20_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1054-20_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1054-20_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1054-20_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1054-20_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1054-20_0_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_1054-20_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_1054-20_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1054-20_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1054-20_0_3_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_1054-20_0_3_node_127 | 0.4 | n |  | TRUE
44 | bus_LV_1054-20_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1054-20_0_3_node_129 | 0.4 | n |  | TRUE
46 | bus_LV_1054-20_0_3_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_1054-20_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1054-20_0_3_node_136 | 0.4 | n |  | TRUE
49 | bus_LV_1054-20_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1054-20_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1054-20_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1054-20_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_1054-20_0_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_1054-20_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1054-20_0_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_1054-20_0_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_1054-20_0_3_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_1054-20_0_3_node_124 | 0.4 | n |  | TRUE
59 | bus_MV_212_1_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-20_0_3_load_0 | 0 | 0.00069999 | 0.00017543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-20_0_3_load_5 | 3 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-20_0_3_load_6 | 4 | 0.034824 | 0.0087277 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-20_0_3_load_9 | 5 | 0.0014114 | 0.00035372 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-20_0_3_load_13 | 7 | 0.0028011 | 0.00070202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-20_0_3_load_8 | 9 | 0.0010514 | 0.00026351 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-20_0_3_load_16 | 13 | 0.004373 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-20_0_3_load_14 | 14 | 0.0058347 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-20_0_3_load_15 | 15 | 0.0042332 | 0.0010609 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-20_0_3_load_17 | 16 | 0.0059924 | 0.0015018 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-20_0_3_load_27 | 17 | 0.0049886 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-20_0_3_load_18 | 18 | 0.031645 | 0.0079311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-20_0_3_load_19 | 19 | 0.019662 | 0.0049278 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-20_0_3_load_20 | 20 | 0.031024 | 0.0077754 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-20_0_3_load_130 | 23 | 0.0022881 | 0.00057346 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-20_0_3_load_45 | 24 | 0.002062 | 0.00051678 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-20_0_3_load_131 | 26 | 0.01226 | 0.0030725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-20_0_3_load_132 | 29 | 0.012642 | 0.0031684 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-20_0_3_load_128 | 31 | 0.012819 | 0.0032128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-20_0_3_load_28 | 33 | 0.005992 | 0.0015017 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-20_0_3_load_29 | 34 | 0.0075065 | 0.0018813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-20_0_3_load_36 | 36 | 0.0074444 | 0.0018658 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-20_0_3_load_55 | 38 | 0.0078291 | 0.0019621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-20_0_3_load_41 | 40 | 0.0065179 | 0.0016335 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-20_0_3_load_43 | 41 | 0.0021012 | 0.0005266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-20_0_3_load_122 | 42 | 0.00059607 | 0.00014939 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-20_0_3_load_127 | 43 | 0.020716 | 0.0051918 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-20_0_3_load_129 | 45 | 0.019335 | 0.0048457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-20_0_3_load_82 | 46 | 0.0024678 | 0.00061848 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-20_0_3_load_59 | 47 | 0.017244 | 0.0043218 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-20_0_3_load_136 | 48 | 0.020939 | 0.0052478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1054-20_0_3_load_60 | 50 | 0.014062 | 0.0035243 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1054-20_0_3_load_67 | 51 | 0.0046294 | 0.0011602 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1054-20_0_3_load_68 | 52 | 0.0042391 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1054-20_0_3_load_69 | 53 | 0.011111 | 0.0027848 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1054-20_0_3_load_74 | 54 | 0.004596 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1054-20_0_3_load_75 | 55 | 0.011113 | 0.0027851 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1054-20_0_3_load_124 | 58 | 0.00059607 | 0.00014939 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-20_0_3_line_0 |  | 0 | 1 | 0.0457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-20_0_3_line_1 |  | 1 | 2 | 0.009158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-20_0_3_line_2 |  | 1 | 3 | 0.030278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-20_0_3_line_3 |  | 2 | 4 | 0.13564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1054-20_0_3_line_4 |  | 3 | 5 | 0.055545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-20_0_3_line_5 |  | 5 | 9 | 0.054315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-20_0_3_line_6 |  | 6 | 7 | 0.12228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-20_0_3_line_7 |  | 6 | 8 | 0.15031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-20_0_3_line_8 |  | 8 | 11 | 0.10985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-20_0_3_line_9 |  | 9 | 10 | 0.06246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-20_0_3_line_10 |  | 10 | 43 | 0.031461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1054-20_0_3_line_11 |  | 11 | 12 | 0.045384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-20_0_3_line_12 |  | 12 | 13 | 0.016464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-20_0_3_line_13 |  | 13 | 14 | 0.0009723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-20_0_3_line_14 |  | 14 | 15 | 0.044148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-20_0_3_line_15 |  | 15 | 16 | 0.0014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-20_0_3_line_16 |  | 16 | 17 | 0.043865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-20_0_3_line_17 |  | 17 | 33 | 0.0014681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-20_0_3_line_18 |  | 18 | 19 | 0.033066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-20_0_3_line_19 |  | 18 | 20 | 0.036696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-20_0_3_line_20 |  | 19 | 21 | 0.055913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-20_0_3_line_21 |  | 21 | 22 | 0.009557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-20_0_3_line_22 |  | 22 | 42 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-20_0_3_line_23 |  | 23 | 24 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-20_0_3_line_24 |  | 23 | 25 | 0.046335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-20_0_3_line_25 |  | 24 | 41 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-20_0_3_line_26 |  | 25 | 44 | 0.024549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-20_0_3_line_27 |  | 25 | 45 | 0.02648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-20_0_3_line_28 |  | 25 | 37 | 0.003638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-20_0_3_line_29 |  | 26 | 27 | 0.0098198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1054-20_0_3_line_30 |  | 26 | 28 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1054-20_0_3_line_31 |  | 27 | 35 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1054-20_0_3_line_32 |  | 28 | 29 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1054-20_0_3_line_33 |  | 29 | 30 | 0.027384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1054-20_0_3_line_34 |  | 30 | 31 | 0.025892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1054-20_0_3_line_35 |  | 30 | 50 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-20_0_3_line_36 |  | 30 | 56 | 0.053433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1054-20_0_3_line_37 |  | 31 | 32 | 0.042451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1054-20_0_3_line_38 |  | 32 | 43 | 0.02514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1054-20_0_3_line_39 |  | 32 | 58 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1054-20_0_3_line_40 |  | 33 | 34 | 0.046605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1054-20_0_3_line_41 |  | 34 | 35 | 0.026687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1054-20_0_3_line_42 |  | 35 | 38 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1054-20_0_3_line_43 |  | 35 | 39 | 0.024704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1054-20_0_3_line_44 |  | 36 | 37 | 0.05068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1054-20_0_3_line_45 |  | 38 | 49 | 0.047761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1054-20_0_3_line_46 |  | 39 | 48 | 0.036315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1054-20_0_3_line_47 |  | 40 | 41 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1054-20_0_3_line_48 |  | 42 | 57 | 0.025552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1054-20_0_3_line_49 |  | 44 | 46 | 0.043621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1054-20_0_3_line_50 |  | 45 | 47 | 0.0027186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1054-20_0_3_line_51 |  | 47 | 49 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1054-20_0_3_line_52 |  | 51 | 52 | 0.032435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1054-20_0_3_line_53 |  | 51 | 53 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1054-20_0_3_line_54 |  | 53 | 54 | 0.063493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1054-20_0_3_line_55 |  | 54 | 55 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1054-20_0_3_line_56 |  | 55 | 56 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1054-20_0_3_line_57 |  | 57 | 58 | 0.028387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-20_0_3_trafo_136 | 0.63 MVA 20/0.4 kV | 59 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2669520.4358 | 1216062.5362 | 2669524.0589 | 1216065.6916 | 2669530.6981 | 1216068.0482 | 2669554.8256 | 1216091.7913
1 | 2669514.4248 | 1216069.4594 | 2669520.4358 | 1216062.5362
2 | 2669520.4358 | 1216062.5362 | 2669523.3297 | 1216059.2012 | 2669539.8251 | 1216039.2824
3 | 2669514.4248 | 1216069.4594 | 2669416.377 | 1215975.7256
4 | 2669539.8251 | 1216039.2824 | 2669545.2795 | 1216032.6959 | 2669558.0352 | 1216021.0596 | 2669580.1197 | 1216017.515 | 2669586.9624 | 1216014.8043
5 | 2669610.6804 | 1215967.2418 | 2669604.8723 | 1215974.0654 | 2669596.3342 | 1215984.7502 | 2669592.9687 | 1215997.897 | 2669590.86 | 1216007.4562 | 2669586.9624 | 1216014.8043 | 2669586.9624 | 1216014.8043
6 | 2669299.6977 | 1215854.7242 | 2669191.1267 | 1215798.4628
7 | 2669396.2981 | 1215739.5639 | 2669299.6977 | 1215854.7242
8 | 2669396.2981 | 1215739.5639 | 2669385.4063 | 1215737.1801 | 2669368.3314 | 1215733.657 | 2669377.0427 | 1215730.9233 | 2669380.2671 | 1215725.3017 | 2669383.854 | 1215708.1103 | 2669383.4161 | 1215694.1965 | 2669390.6148 | 1215685.7193 | 2669392.9387 | 1215683.0891 | 2669402.442 | 1215672.3374 | 2669405.372 | 1215675.051 | 2669406.251 | 1215675.8617
9 | 2669649.1957 | 1215918.0698 | 2669610.6804 | 1215967.2418
10 | 2669649.1957 | 1215918.0698 | 2669625.7374 | 1215897.1055
11 | 2669406.251 | 1215675.8617 | 2669408.9537 | 1215672.0019 | 2669427.1219 | 1215653.3905 | 2669429.411 | 1215652.4499 | 2669432.937 | 1215652.8801 | 2669435.9655 | 1215649.7356 | 2669438.925 | 1215646.657
12 | 2669438.925 | 1215646.657 | 2669450.9313 | 1215657.9227
13 | 2669450.9313 | 1215657.9227 | 2669451.6403 | 1215658.588
14 | 2669484.1669 | 1215688.4341 | 2669469.94 | 1215675.7589 | 2669451.6403 | 1215658.588
15 | 2669484.1669 | 1215688.4341 | 2669485.255 | 1215689.4035
16 | 2669485.255 | 1215689.4035 | 2669518.0072 | 1215718.5835
17 | 2669519.1033 | 1215719.5601 | 2669518.0072 | 1215718.5835
18 | 2669482.3442 | 1215777.3934 | 2669464.6014 | 1215758.5156 | 2669459.7902 | 1215753.2138
19 | 2669437.6632 | 1215724.0006 | 2669453.5579 | 1215746.346 | 2669459.7902 | 1215753.2138
20 | 2669522.0043 | 1215816.7992 | 2669487.3278 | 1215782.6957 | 2669482.3442 | 1215777.3934
21 | 2669522.0043 | 1215816.7992 | 2669528.5703 | 1215809.838
22 | 2669528.5703 | 1215809.838 | 2669548.0393 | 1215827.8887
23 | 2669605.0489 | 1215704.0762 | 2669599.9866 | 1215699.9907 | 2669586.4664 | 1215688.6419
24 | 2669643.0119 | 1215730.5346 | 2669626.8102 | 1215720.5279 | 2669614.7762 | 1215711.9264 | 2669605.0489 | 1215704.0762
25 | 2669586.4664 | 1215688.6419 | 2669584.9693 | 1215687.3852 | 2669568.9931 | 1215671.5074
26 | 2669643.0119 | 1215730.5346 | 2669664.382 | 1215742.7252
27 | 2669643.0119 | 1215730.5346 | 2669635.0117 | 1215743.2381 | 2669629.7173 | 1215753.4102
28 | 2669643.0119 | 1215730.5346 | 2669644.9539 | 1215727.4553
29 | 2669576.1843 | 1215775.7719 | 2669584.1589 | 1215781.5019
30 | 2669601.9754 | 1215793.0171 | 2669584.1589 | 1215781.5019
31 | 2669576.1843 | 1215775.7719 | 2669577.2724 | 1215773.6277 | 2669577.7099 | 1215771.2757 | 2669577.4568 | 1215768.8935 | 2669576.5335 | 1215766.6702 | 2669575.0214 | 1215764.807
32 | 2669601.9754 | 1215793.0171 | 2669624.6215 | 1215806.2409
33 | 2669644.867 | 1215823.9041 | 2669638.5321 | 1215814.9689 | 2669631.8569 | 1215810.4659 | 2669624.6215 | 1215806.2409
34 | 2669644.867 | 1215823.9041 | 2669638.7839 | 1215836.9636 | 2669632.9037 | 1215846.8293
35 | 2669644.867 | 1215823.9041 | 2669649.1181 | 1215813.6139 | 2669649.8233 | 1215811.3019
36 | 2669644.867 | 1215823.9041 | 2669650.6934 | 1215832.1552 | 2669658.7538 | 1215839.6318 | 2669670.5772 | 1215847.386 | 2669677.2076 | 1215836.879 | 2669680.957 | 1215832.4867
37 | 2669606.9921 | 1215880.3531 | 2669619.0126 | 1215866.0399 | 2669628.4981 | 1215854.221 | 2669632.9037 | 1215846.8293
38 | 2669606.9921 | 1215880.3531 | 2669625.7374 | 1215897.1055
39 | 2669606.9921 | 1215880.3531 | 2669588.1659 | 1215863.9254
40 | 2669519.1033 | 1215719.5601 | 2669539.1953 | 1215737.4607 | 2669553.6487 | 1215750.8404
41 | 2669575.0214 | 1215764.807 | 2669572.5492 | 1215763.2216 | 2669569.6787 | 1215762.5877 | 2669566.7582 | 1215762.9761 | 2669553.6487 | 1215750.8404
42 | 2669575.0214 | 1215764.807 | 2669582.3877 | 1215757.5995 | 2669584.4494 | 1215756.6229
43 | 2669557.3501 | 1215766.8576 | 2669560.7052 | 1215763.0611 | 2669569.0606 | 1215770.6522 | 2669575.0214 | 1215764.807
44 | 2669644.9539 | 1215727.4553 | 2669627.6109 | 1215716.3458 | 2669606.7538 | 1215702.4824 | 2669602.7846 | 1215699.3776
45 | 2669619.8433 | 1215775.4368 | 2669619.2559 | 1215776.3194 | 2669616.7987 | 1215779.9486 | 2669616.5127 | 1215780.3788 | 2669614.7881 | 1215779.1579 | 2669615.854 | 1215777.6139 | 2669588.1865 | 1215758.4788 | 2669584.4494 | 1215756.6229
46 | 2669557.3501 | 1215766.8576 | 2669538.0273 | 1215788.7461 | 2669534.982 | 1215791.3789 | 2669531.9502 | 1215792.1996
47 | 2669550.578 | 1215651.4034 | 2669559.5672 | 1215662.1396 | 2669568.9931 | 1215671.5074
48 | 2669566.7772 | 1215845.2616 | 2669548.0393 | 1215827.8887
49 | 2669664.382 | 1215742.7252 | 2669667.3589 | 1215747.2518 | 2669675.3094 | 1215754.3936 | 2669682.0606 | 1215762.133 | 2669684.7149 | 1215768.9238 | 2669686.115 | 1215775.8223 | 2669686.2478 | 1215778.7352
50 | 2669629.7173 | 1215753.4102 | 2669628.4622 | 1215755.8217
51 | 2669619.8433 | 1215775.4368 | 2669620.677 | 1215772.3224 | 2669624.0201 | 1215764.3564 | 2669628.4622 | 1215755.8217
52 | 2669785.3423 | 1215848.2485 | 2669788.6593 | 1215854.7938 | 2669794.5213 | 1215862.5895 | 2669804.7399 | 1215874.0357
53 | 2669785.3423 | 1215848.2485 | 2669783.3824 | 1215844.381 | 2669780.8715 | 1215834.4342 | 2669780.8715 | 1215834.4342
54 | 2669717.9929 | 1215825.6246 | 2669780.8715 | 1215834.4342
55 | 2669717.9929 | 1215825.6246 | 2669710.5106 | 1215828.5964 | 2669703.4604 | 1215827.6022 | 2669703.4604 | 1215827.6022
56 | 2669680.957 | 1215832.4867 | 2669688.8391 | 1215829.8772 | 2669697.1824 | 1215828.0958 | 2669703.4604 | 1215827.6022
57 | 2669566.7772 | 1215845.2616 | 2669588.1659 | 1215863.9254

## bus_geodata
| x | y | coords
0 | 2669554.8256 | 1216091.7913
1 | 2669520.4358 | 1216062.5362
2 | 2669514.4248 | 1216069.4594
3 | 2669539.8251 | 1216039.2824
4 | 2669416.377 | 1215975.7256
5 | 2669586.9624 | 1216014.8043
6 | 2669299.6977 | 1215854.7242
7 | 2669191.1267 | 1215798.4628
8 | 2669396.2981 | 1215739.5639
9 | 2669610.6804 | 1215967.2418
10 | 2669649.1956 | 1215918.0698
11 | 2669406.251 | 1215675.8617
12 | 2669438.925 | 1215646.657
13 | 2669450.9313 | 1215657.9227
14 | 2669451.6403 | 1215658.588
15 | 2669484.1669 | 1215688.4341
16 | 2669485.255 | 1215689.4035
17 | 2669518.0072 | 1215718.5835
18 | 2669459.7902 | 1215753.2138
19 | 2669482.3442 | 1215777.3934
20 | 2669437.6632 | 1215724.0006
21 | 2669522.0043 | 1215816.7992
22 | 2669528.5703 | 1215809.838
23 | 2669605.0489 | 1215704.0762
24 | 2669586.4664 | 1215688.6419
25 | 2669643.0119 | 1215730.5346
26 | 2669584.1589 | 1215781.5019
27 | 2669576.1843 | 1215775.7719
28 | 2669601.9754 | 1215793.0171
29 | 2669624.6215 | 1215806.2409
30 | 2669644.867 | 1215823.9041
31 | 2669632.9037 | 1215846.8293
32 | 2669606.9921 | 1215880.3531
33 | 2669519.1033 | 1215719.5601
34 | 2669553.6487 | 1215750.8404
35 | 2669575.0214 | 1215764.807
36 | 2669602.7846 | 1215699.3776
37 | 2669644.9539 | 1215727.4553
38 | 2669584.4494 | 1215756.6229
39 | 2669557.3501 | 1215766.8576
40 | 2669550.578 | 1215651.4034
41 | 2669568.9931 | 1215671.5074
42 | 2669548.0393 | 1215827.8887
43 | 2669625.7374 | 1215897.1055
44 | 2669664.382 | 1215742.7252
45 | 2669629.7173 | 1215753.4102
46 | 2669686.2478 | 1215778.7352
47 | 2669628.4622 | 1215755.8217
48 | 2669531.9502 | 1215792.1996
49 | 2669619.8433 | 1215775.4368
50 | 2669649.8233 | 1215811.3019
51 | 2669785.3423 | 1215848.2485
52 | 2669804.7399 | 1215874.0357
53 | 2669780.8715 | 1215834.4342
54 | 2669717.9929 | 1215825.6246
55 | 2669703.4604 | 1215827.6022
56 | 2669680.957 | 1215832.4867
57 | 2669566.7772 | 1215845.2616
58 | 2669588.1659 | 1215863.9254
59 | 2669557.3501 | 1215766.8576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97575 | -0.46604 | 0.00069999 | 0.00017543
1 | 0.97578 | -0.46545 | 0 | 0
2 | 0.97549 | -0.47129 | 0 | 0
3 | 0.97679 | -0.44578 | 0.001172 | 0.00029374
4 | 0.97108 | -0.55821 | 0.034824 | 0.0087277
5 | 0.97869 | -0.40861 | 0.0014114 | 0.00035372
6 | 0.98878 | -0.21502 | 0 | 0
7 | 0.98846 | -0.22113 | 0.0028011 | 0.00070202
8 | 0.98916 | -0.2075 | 0 | 0
9 | 0.98062 | -0.37101 | 0.0010514 | 0.00026351
10 | 0.98291 | -0.32677 | 0 | 0
11 | 0.98944 | -0.202 | 0 | 0
12 | 0.98956 | -0.19972 | 0 | 0
13 | 0.9896 | -0.1989 | 0.004373 | 0.001096
14 | 0.98961 | -0.19877 | 0.0058347 | 0.0014623
15 | 0.99014 | -0.18855 | 0.0042332 | 0.0010609
16 | 0.99016 | -0.1881 | 0.0059924 | 0.0015018
17 | 0.99109 | -0.16998 | 0.0049886 | 0.0012503
18 | 0.97258 | -0.52862 | 0.031645 | 0.0079311
19 | 0.97452 | -0.49051 | 0.019662 | 0.0049278
20 | 0.97152 | -0.54962 | 0.031024 | 0.0077754
21 | 0.97881 | -0.40639 | 0 | 0
22 | 0.97954 | -0.39209 | 0 | 0
23 | 0.98784 | -0.23294 | 0.0022881 | 0.00057346
24 | 0.98761 | -0.23755 | 0.002062 | 0.00051678
25 | 0.98839 | -0.22221 | 0 | 0
26 | 0.99205 | -0.15099 | 0.01226 | 0.0030725
27 | 0.99275 | -0.13761 | 0 | 0
28 | 0.99062 | -0.17841 | 0 | 0
29 | 0.98884 | -0.21242 | 0.012642 | 0.0031684
30 | 0.9871 | -0.246 | 0 | 0
31 | 0.98584 | -0.27015 | 0.012819 | 0.0032128
32 | 0.98395 | -0.30662 | 0 | 0
33 | 0.99113 | -0.16925 | 0.005992 | 0.0015017
34 | 0.99259 | -0.14098 | 0.0075065 | 0.0018813
35 | 0.99361 | -0.1213 | 0 | 0
36 | 0.98802 | -0.22943 | 0.0074444 | 0.0018658
37 | 0.98837 | -0.2227 | 0 | 0
38 | 0.99283 | -0.13626 | 0.0078291 | 0.0019621
39 | 0.9962 | -0.072002 | 0 | 0
40 | 0.98725 | -0.2445 | 0.0065179 | 0.0016335
41 | 0.98741 | -0.24132 | 0.0021012 | 0.0005266
42 | 0.98158 | -0.35246 | 0.00059607 | 0.00014939
43 | 0.98348 | -0.31566 | 0.020716 | 0.0051918
44 | 0.98834 | -0.22329 | 0 | 0
45 | 0.98895 | -0.2114 | 0.019335 | 0.0048457
46 | 0.98824 | -0.22521 | 0.0024678 | 0.00061848
47 | 0.98906 | -0.20936 | 0.017244 | 0.0043218
48 | 1 | 0 | -0.34717 | -0.088758
49 | 0.99023 | -0.18662 | 0 | 0
50 | 0.98692 | -0.24941 | 0.014062 | 0.0035243
51 | 0.98294 | -0.32691 | 0.0046294 | 0.0011602
52 | 0.98282 | -0.32939 | 0.0042391 | 0.0010624
53 | 0.98306 | -0.32457 | 0.011111 | 0.0027848
54 | 0.98423 | -0.30172 | 0.004596 | 0.0011519
55 | 0.98458 | -0.29501 | 0.011113 | 0.0027851
56 | 0.98534 | -0.28018 | 0 | 0
57 | 0.98257 | -0.33331 | 0 | 0
58 | 0.9833 | -0.31916 | 0.00059607 | 0.00014939
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00069999 | -0.00017543 | 0.00070001 | 0.00017488 | 1.9525e-08 | -5.5836e-07 | 0.0010675 | 0.0010673 | 0.0010675 | 0.97575 | -0.46604 | 0.97578 | -0.46545 | 0.29326
1 | 0.034979 | 0.0088249 | -0.034969 | -0.0088187 | 9.7788e-06 | 6.1441e-06 | 0.053361 | 0.053361 | 0.053361 | 0.97578 | -0.46545 | 0.97549 | -0.47129 | 14.6597
2 | -0.035679 | -0.0089997 | 0.035712 | 0.0090209 | 3.3636e-05 | 2.1149e-05 | 0.054429 | 0.054429 | 0.054429 | 0.97578 | -0.46545 | 0.97679 | -0.44578 | 14.9529
3 | 0.034969 | 0.0088187 | -0.034824 | -0.0087277 | 0.00014484 | 9.1013e-05 | 0.053361 | 0.053362 | 0.053362 | 0.97549 | -0.47129 | 0.97108 | -0.55821 | 14.6599
4 | -0.036884 | -0.0093146 | 0.03695 | 0.009356 | 6.5821e-05 | 4.1429e-05 | 0.056214 | 0.056214 | 0.056214 | 0.97679 | -0.44578 | 0.97869 | -0.40861 | 15.4434
5 | -0.038361 | -0.0097098 | 0.038431 | 0.0097535 | 6.9371e-05 | 4.3713e-05 | 0.05836 | 0.058359 | 0.05836 | 0.97869 | -0.40861 | 0.98062 | -0.37101 | 16.0328
6 | 0.0028019 | 0.00070097 | -0.0028011 | -0.00070202 | 8.1524e-07 | -1.0462e-06 | 0.0042162 | 0.0042167 | 0.0042167 | 0.98878 | -0.21502 | 0.98846 | -0.22113 | 1.1584
7 | -0.0028019 | -0.00070097 | 0.0028029 | 0.00069968 | 1.0018e-06 | -1.2876e-06 | 0.0042162 | 0.0042155 | 0.0042162 | 0.98878 | -0.21502 | 0.98916 | -0.2075 | 1.1583
8 | -0.0028029 | -0.00069968 | 0.0028036 | 0.00069874 | 7.3192e-07 | -9.4203e-07 | 0.0042155 | 0.004215 | 0.0042155 | 0.98916 | -0.2075 | 0.98944 | -0.202 | 1.1581
9 | -0.039482 | -0.010017 | 0.039566 | 0.01007 | 8.4194e-05 | 5.3094e-05 | 0.059955 | 0.059954 | 0.059955 | 0.98062 | -0.37101 | 0.98291 | -0.32677 | 16.4711
10 | -0.039566 | -0.01007 | 0.039588 | 0.010083 | 2.1204e-05 | 1.2772e-05 | 0.059954 | 0.059954 | 0.059954 | 0.98291 | -0.32677 | 0.98348 | -0.31566 | 8.2355
11 | -0.0028036 | -0.00069874 | 0.0028039 | 0.00069835 | 3.0234e-07 | -3.8947e-07 | 0.004215 | 0.0042148 | 0.004215 | 0.98944 | -0.202 | 0.98956 | -0.19972 | 1.158
12 | -0.0028039 | -0.00069835 | 0.002804 | 0.00069821 | 1.0968e-07 | -1.4133e-07 | 0.0042148 | 0.0042147 | 0.0042148 | 0.98956 | -0.19972 | 0.9896 | -0.1989 | 1.1579
13 | -0.007177 | -0.0017942 | 0.0071771 | 0.0017942 | 4.2451e-08 | 1.4676e-08 | 0.01079 | 0.01079 | 0.01079 | 0.9896 | -0.1989 | 0.98961 | -0.19877 | 2.9643
14 | -0.013012 | -0.0032565 | 0.013018 | 0.00326 | 6.3362e-06 | 3.4877e-06 | 0.019563 | 0.019563 | 0.019563 | 0.98961 | -0.19877 | 0.99014 | -0.18855 | 5.3746
15 | -0.017251 | -0.0043209 | 0.017252 | 0.0043212 | 3.6729e-07 | 2.1632e-07 | 0.025925 | 0.025925 | 0.025925 | 0.99014 | -0.18855 | 0.99016 | -0.1881 | 7.1223
16 | -0.023244 | -0.005823 | 0.023264 | 0.0058353 | 2.0071e-05 | 1.228e-05 | 0.03493 | 0.03493 | 0.03493 | 0.99016 | -0.1881 | 0.99109 | -0.16998 | 9.5963
17 | -0.028253 | -0.0070855 | 0.028254 | 0.0070862 | 9.9067e-07 | 6.1511e-07 | 0.04242 | 0.04242 | 0.04242 | 0.99109 | -0.16998 | 0.99113 | -0.16925 | 11.6539
18 | -0.062701 | -0.015726 | 0.062815 | 0.015799 | 0.00011412 | 7.2626e-05 | 0.095934 | 0.095934 | 0.095934 | 0.97258 | -0.52862 | 0.97452 | -0.49051 | 26.3556
19 | 0.031055 | 0.0077948 | -0.031024 | -0.0077754 | 3.1072e-05 | 1.9431e-05 | 0.047518 | 0.047518 | 0.047518 | 0.97258 | -0.52862 | 0.97152 | -0.54962 | 13.0544
20 | -0.082477 | -0.020726 | 0.08281 | 0.020939 | 0.00033265 | 0.0002122 | 0.12596 | 0.12596 | 0.12596 | 0.97452 | -0.49051 | 0.97881 | -0.40639 | 34.6035
21 | -0.08281 | -0.020939 | 0.082866 | 0.020975 | 5.6858e-05 | 3.6269e-05 | 0.12596 | 0.12596 | 0.12596 | 0.97881 | -0.40639 | 0.97954 | -0.39209 | 34.6034
22 | -0.082866 | -0.020975 | 0.083024 | 0.021076 | 0.00015795 | 0.00010075 | 0.12596 | 0.12596 | 0.12596 | 0.97954 | -0.39209 | 0.98158 | -0.35246 | 34.6034
23 | 0.010686 | 0.0026791 | -0.010684 | -0.0026779 | 2.3473e-06 | 1.1931e-06 | 0.016097 | 0.016097 | 0.016097 | 0.98784 | -0.23294 | 0.98761 | -0.23755 | 4.4223
24 | -0.012974 | -0.0032525 | 0.012981 | 0.0032562 | 6.6365e-06 | 3.6539e-06 | 0.019544 | 0.019543 | 0.019544 | 0.98784 | -0.23294 | 0.98839 | -0.22221 | 5.3691
25 | 0.0086216 | 0.0021611 | -0.0086201 | -0.0021604 | 1.549e-06 | 6.7821e-07 | 0.01299 | 0.01299 | 0.01299 | 0.98761 | -0.23755 | 0.98741 | -0.24132 | 3.5688
26 | 0.0024681 | 0.00061783 | -0.002468 | -0.00061807 | 1.2709e-07 | -2.3328e-07 | 0.0037155 | 0.0037156 | 0.0037156 | 0.98839 | -0.22221 | 0.98834 | -0.22329 | 1.0208
27 | -0.022896 | -0.0057407 | 0.022908 | 0.0057479 | 1.1799e-05 | 7.2117e-06 | 0.03447 | 0.03447 | 0.03447 | 0.98839 | -0.22221 | 0.98895 | -0.2114 | 9.4699
28 | 0.007447 | 0.0018667 | -0.0074468 | -0.0018666 | 1.7148e-07 | 6.3124e-08 | 0.011211 | 0.011212 | 0.011212 | 0.98839 | -0.22221 | 0.98837 | -0.2227 | 3.0801
29 | -0.23375 | -0.059686 | 0.2339 | 0.059782 | 0.00015123 | 9.6407e-05 | 0.35101 | 0.35101 | 0.35101 | 0.99205 | -0.15099 | 0.99275 | -0.13761 | 32.1434
30 | 0.22149 | 0.056613 | -0.2212 | -0.056426 | 0.00029337 | 0.00018694 | 0.33262 | 0.33262 | 0.33262 | 0.99205 | -0.15099 | 0.99062 | -0.17841 | 30.4595
31 | -0.2339 | -0.059782 | 0.23409 | 0.0599 | 0.00018476 | 0.00011778 | 0.35101 | 0.35101 | 0.35101 | 0.99275 | -0.13761 | 0.99361 | -0.1213 | 32.1434
32 | 0.2212 | 0.056426 | -0.22084 | -0.056195 | 0.00036266 | 0.00023109 | 0.33262 | 0.33262 | 0.33262 | 0.99062 | -0.17841 | 0.98884 | -0.21242 | 30.4595
33 | 0.20819 | 0.053027 | -0.20786 | -0.052812 | 0.00033662 | 0.00021438 | 0.31359 | 0.31359 | 0.31359 | 0.98884 | -0.21242 | 0.9871 | -0.246 | 28.7174
34 | 0.15799 | 0.040272 | -0.15781 | -0.040155 | 0.00018395 | 0.00011674 | 0.23841 | 0.23841 | 0.23841 | 0.9871 | -0.246 | 0.98584 | -0.27015 | 21.8321
35 | 0.014065 | 0.0035256 | -0.014062 | -0.0035243 | 2.2843e-06 | 1.2888e-06 | 0.021202 | 0.021202 | 0.021202 | 0.9871 | -0.246 | 0.98692 | -0.24941 | 5.8248
36 | 0.035803 | 0.0090152 | -0.035745 | -0.0089786 | 5.8402e-05 | 3.6695e-05 | 0.053987 | 0.053987 | 0.053987 | 0.9871 | -0.246 | 0.98534 | -0.28018 | 14.8317
37 | 0.14499 | 0.036942 | -0.14473 | -0.036781 | 0.00025463 | 0.00016134 | 0.21906 | 0.21906 | 0.21906 | 0.98584 | -0.27015 | 0.98395 | -0.30662 | 20.0602
38 | 0.060329 | 0.01529 | -0.060303 | -0.015275 | 2.6193e-05 | 1.5806e-05 | 0.091297 | 0.091297 | 0.091297 | 0.98395 | -0.30662 | 0.98348 | -0.31566 | 8.3605
39 | 0.084402 | 0.02149 | -0.084351 | -0.021459 | 5.098e-05 | 3.1676e-05 | 0.12776 | 0.12776 | 0.12776 | 0.98395 | -0.30662 | 0.9833 | -0.31916 | 11.6997
40 | -0.034246 | -0.0085879 | 0.034292 | 0.0086169 | 4.6202e-05 | 2.8968e-05 | 0.051416 | 0.051416 | 0.051416 | 0.99113 | -0.16925 | 0.99259 | -0.14098 | 14.1253
41 | -0.041798 | -0.010498 | 0.041838 | 0.010523 | 3.9304e-05 | 2.4809e-05 | 0.062669 | 0.062669 | 0.062669 | 0.99259 | -0.14098 | 0.99361 | -0.1213 | 17.2168
42 | 0.067576 | 0.017043 | -0.067528 | -0.017013 | 4.8379e-05 | 3.08e-05 | 0.10124 | 0.10124 | 0.10124 | 0.99361 | -0.1213 | 0.99283 | -0.13626 | 27.813
43 | -0.3435 | -0.087466 | 0.34432 | 0.087989 | 0.00081874 | 0.00052303 | 0.51491 | 0.51491 | 0.51491 | 0.99361 | -0.1213 | 0.9962 | -0.072002 | 47.1532
44 | -0.0074444 | -0.0018658 | 0.0074468 | 0.0018666 | 2.3889e-06 | 8.7963e-07 | 0.011212 | 0.011212 | 0.011212 | 0.98802 | -0.22943 | 0.98837 | -0.2227 | 3.0801
45 | 0.059699 | 0.01505 | -0.059555 | -0.014959 | 0.00014349 | 9.1215e-05 | 0.089505 | 0.089506 | 0.089506 | 0.99283 | -0.13626 | 0.99023 | -0.18662 | 24.5895
46 | -0.34432 | -0.087989 | 0.34552 | 0.088758 | 0.0012035 | 0.00076885 | 0.51491 | 0.51491 | 0.51491 | 0.9962 | -0.072002 | 1 | 0 | 47.1532
47 | -0.0065179 | -0.0016335 | 0.0065189 | 0.0016338 | 9.8773e-07 | 2.8311e-07 | 0.0098241 | 0.0098239 | 0.0098241 | 0.98725 | -0.2445 | 0.98741 | -0.24132 | 2.6989
48 | -0.083621 | -0.021225 | 0.083698 | 0.021274 | 7.7104e-05 | 4.87e-05 | 0.12686 | 0.12686 | 0.12686 | 0.98158 | -0.35246 | 0.98257 | -0.33331 | 17.4258
49 | 0.002468 | 0.00061807 | -0.0024678 | -0.00061848 | 2.2584e-07 | -4.1441e-07 | 0.0037156 | 0.0037158 | 0.0037158 | 0.98834 | -0.22329 | 0.98824 | -0.22521 | 1.0208
50 | -0.042242 | -0.010594 | 0.042246 | 0.010596 | 4.1188e-06 | 2.6011e-06 | 0.063562 | 0.063562 | 0.063562 | 0.98895 | -0.2114 | 0.98906 | -0.20936 | 17.4621
51 | -0.059491 | -0.014918 | 0.059555 | 0.014959 | 6.4545e-05 | 4.1033e-05 | 0.089506 | 0.089506 | 0.089506 | 0.98906 | -0.20936 | 0.99023 | -0.18662 | 24.5895
52 | 0.0042396 | 0.0010623 | -0.0042391 | -0.0010624 | 5.0102e-07 | -9.0434e-08 | 0.006418 | 0.0064181 | 0.0064181 | 0.98294 | -0.32691 | 0.98282 | -0.32939 | 1.7632
53 | -0.0088689 | -0.0022225 | 0.0088699 | 0.002223 | 9.8654e-07 | 4.4637e-07 | 0.013426 | 0.013426 | 0.013426 | 0.98294 | -0.32691 | 0.98306 | -0.32457 | 3.6885
54 | -0.019981 | -0.0050078 | 0.020003 | 0.0050209 | 2.178e-05 | 1.3133e-05 | 0.030245 | 0.030244 | 0.030245 | 0.98306 | -0.32457 | 0.98423 | -0.30172 | 8.309
55 | -0.024599 | -0.0061728 | 0.024607 | 0.0061776 | 7.8697e-06 | 4.8438e-06 | 0.037193 | 0.037193 | 0.037193 | 0.98423 | -0.30172 | 0.98458 | -0.29501 | 10.2178
56 | -0.035719 | -0.0089627 | 0.035745 | 0.0089786 | 2.5282e-05 | 1.5886e-05 | 0.053987 | 0.053987 | 0.053987 | 0.98458 | -0.29501 | 0.98534 | -0.28018 | 14.8317
57 | -0.083698 | -0.021274 | 0.083755 | 0.021309 | 5.7105e-05 | 3.5468e-05 | 0.12686 | 0.12686 | 0.12686 | 0.98257 | -0.33331 | 0.9833 | -0.31916 | 11.6172

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36811 | 0.094006

## res_load
| p_mw | q_mvar
0 | 0.00069999 | 0.00017543
1 | 0.001172 | 0.00029374
2 | 0.034824 | 0.0087277
3 | 0.0014114 | 0.00035372
4 | 0.0028011 | 0.00070202
5 | 0.0010514 | 0.00026351
6 | 0.004373 | 0.001096
7 | 0.0058347 | 0.0014623
8 | 0.0042332 | 0.0010609
9 | 0.0059924 | 0.0015018
10 | 0.0049886 | 0.0012503
11 | 0.031645 | 0.0079311
12 | 0.019662 | 0.0049278
13 | 0.031024 | 0.0077754
14 | 0.0022881 | 0.00057346
15 | 0.002062 | 0.00051678
16 | 0.01226 | 0.0030725
17 | 0.012642 | 0.0031684
18 | 0.012819 | 0.0032128
19 | 0.005992 | 0.0015017
20 | 0.0075065 | 0.0018813
21 | 0.0074444 | 0.0018658
22 | 0.0078291 | 0.0019621
23 | 0.0065179 | 0.0016335
24 | 0.0021012 | 0.0005266
25 | 0.00059607 | 0.00014939
26 | 0.020716 | 0.0051918
27 | 0.019335 | 0.0048457
28 | 0.0024678 | 0.00061848
29 | 0.017244 | 0.0043218
30 | 0.020939 | 0.0052478
31 | 0.014062 | 0.0035243
32 | 0.0046294 | 0.0011602
33 | 0.0042391 | 0.0010624
34 | 0.011111 | 0.0027848
35 | 0.004596 | 0.0011519
36 | 0.011113 | 0.0027851
37 | 0.00059607 | 0.00014939

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1