## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1054-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1054-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1054-22_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1054-22_0_4_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1054-22_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1054-22_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1054-22_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1054-22_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1054-22_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1054-22_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1054-22_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1054-22_0_4_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_1054-22_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1054-22_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_1054-22_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1054-22_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1054-22_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1054-22_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1054-22_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_1054-22_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1054-22_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1054-22_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1054-22_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1054-22_0_4_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_1054-22_0_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_1054-22_0_4_node_107 | 0.4 | n |  | TRUE
29 | bus_LV_1054-22_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1054-22_0_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_1054-22_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1054-22_0_4_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_1054-22_0_4_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_1054-22_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_1054-22_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_1054-22_0_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_1054-22_0_4_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_1054-22_0_4_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_1054-22_0_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_1054-22_0_4_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_1054-22_0_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_1054-22_0_4_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_1054-22_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_1054-22_0_4_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_1054-22_0_4_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_1054-22_0_4_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_1054-22_0_4_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_1054-22_0_4_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_1054-22_0_4_node_109 | 0.4 | n |  | TRUE
50 | bus_LV_1054-22_0_4_node_108 | 0.4 | n |  | TRUE
51 | bus_MV_212_1_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-22_0_4_load_0 | 0 | 0.032217 | 0.0080743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-22_0_4_load_1 | 1 | 0.0027244 | 0.00068281 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-22_0_4_load_3 | 3 | 0.0041843 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-22_0_4_load_4 | 4 | 0.0073605 | 0.0018447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-22_0_4_load_24 | 5 | 0.010453 | 0.0026198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-22_0_4_load_35 | 6 | 0.0034254 | 0.00085848 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-22_0_4_load_37 | 9 | 0.0068746 | 0.0017229 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-22_0_4_load_12 | 10 | 0.011992 | 0.0030054 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-22_0_4_load_13 | 11 | 0.00095244 | 0.0002387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-22_0_4_load_14 | 12 | 0.027221 | 0.0068221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-22_0_4_load_15 | 13 | 0.00070902 | 0.0001777 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-22_0_4_load_81 | 14 | 0.00047985 | 0.00012026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-22_0_4_load_26 | 15 | 0.0051811 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-22_0_4_load_50 | 16 | 0.0015752 | 0.00039478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-22_0_4_load_32 | 17 | 0.0036006 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-22_0_4_load_33 | 18 | 0.0033966 | 0.00085127 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-22_0_4_load_36 | 20 | 0.0036014 | 0.00090259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-22_0_4_load_72 | 21 | 0.0024686 | 0.00061869 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-22_0_4_load_39 | 23 | 0.013989 | 0.0035059 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-22_0_4_load_111 | 27 | 0.0059222 | 0.0014843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-22_0_4_load_107 | 28 | 0.0033868 | 0.00084882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-22_0_4_load_64 | 30 | 0.012215 | 0.0030615 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-22_0_4_load_61 | 32 | 0.010672 | 0.0026747 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-22_0_4_load_104 | 33 | 0.022281 | 0.0055841 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-22_0_4_load_51 | 34 | 0.0034507 | 0.00086483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-22_0_4_load_105 | 38 | 0.061852 | 0.015502 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-22_0_4_load_79 | 39 | 0.012215 | 0.0030615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-22_0_4_load_77 | 40 | 0.001661 | 0.00041628 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-22_0_4_load_78 | 41 | 0.001026 | 0.00025715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-22_0_4_load_87 | 42 | 0.0066238 | 0.0016601 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-22_0_4_load_89 | 43 | 0.0048784 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1054-22_0_4_load_100 | 44 | 0.0068469 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1054-22_0_4_load_101 | 45 | 0.017175 | 0.0043044 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1054-22_0_4_load_103 | 47 | 0.035121 | 0.0088022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1054-22_0_4_load_110 | 48 | 0.01263 | 0.0031655 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1054-22_0_4_load_109 | 49 | 0.022646 | 0.0056756 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1054-22_0_4_load_108 | 50 | 0.022646 | 0.0056756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-22_0_4_line_0 |  | 0 | 1 | 0.0045667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1054-22_0_4_line_1 |  | 0 | 2 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1054-22_0_4_line_2 |  | 1 | 3 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1054-22_0_4_line_3 |  | 2 | 4 | 0.03783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1054-22_0_4_line_4 |  | 3 | 5 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1054-22_0_4_line_5 |  | 4 | 6 | 0.037035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1054-22_0_4_line_6 |  | 5 | 8 | 0.01548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1054-22_0_4_line_7 |  | 6 | 18 | 0.025357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-22_0_4_line_8 |  | 7 | 8 | 0.039311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1054-22_0_4_line_9 |  | 7 | 9 | 0.046581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1054-22_0_4_line_10 |  | 8 | 15 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-22_0_4_line_11 |  | 9 | 22 | 0.033383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1054-22_0_4_line_12 |  | 10 | 11 | 0.057284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-22_0_4_line_13 |  | 10 | 12 | 0.020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-22_0_4_line_14 |  | 11 | 13 | 0.056343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-22_0_4_line_15 |  | 13 | 14 | 0.0012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-22_0_4_line_16 |  | 14 | 41 | 0.0010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-22_0_4_line_17 |  | 15 | 16 | 0.0015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-22_0_4_line_18 |  | 16 | 34 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-22_0_4_line_19 |  | 17 | 18 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-22_0_4_line_20 |  | 17 | 19 | 0.016489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-22_0_4_line_21 |  | 19 | 20 | 0.059238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-22_0_4_line_22 |  | 19 | 21 | 0.10035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-22_0_4_line_23 |  | 21 | 40 | 0.033877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-22_0_4_line_24 |  | 22 | 23 | 0.040724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-22_0_4_line_25 |  | 22 | 24 | 0.01508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-22_0_4_line_26 |  | 22 | 25 | 0.039314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1054-22_0_4_line_27 |  | 24 | 26 | 0.061093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-22_0_4_line_28 |  | 24 | 27 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-22_0_4_line_29 |  | 25 | 28 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1054-22_0_4_line_30 |  | 26 | 42 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1054-22_0_4_line_31 |  | 28 | 50 | 0.04632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1054-22_0_4_line_32 |  | 29 | 30 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-22_0_4_line_33 |  | 29 | 31 | 0.041377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1054-22_0_4_line_34 |  | 29 | 32 | 0.078733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1054-22_0_4_line_35 |  | 30 | 39 | 0.037273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-22_0_4_line_36 |  | 31 | 33 | 0.026426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1054-22_0_4_line_37 |  | 33 | 46 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1054-22_0_4_line_38 |  | 35 | 36 | 0.065635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1054-22_0_4_line_39 |  | 35 | 37 | 0.048548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1054-22_0_4_line_40 |  | 35 | 38 | 0.019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1054-22_0_4_line_41 |  | 36 | 48 | 0.040303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1054-22_0_4_line_42 |  | 36 | 49 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1054-22_0_4_line_43 |  | 37 | 43 | 0.024181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1054-22_0_4_line_44 |  | 38 | 47 | 0.011579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1054-22_0_4_line_45 |  | 40 | 41 | 0.025671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1054-22_0_4_line_46 |  | 44 | 45 | 0.059862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1054-22_0_4_line_47 |  | 45 | 46 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1054-22_0_4_line_48 |  | 46 | 47 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1054-22_0_4_line_49 |  | 49 | 50 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-22_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 51 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2668559.93 | 1215496.7026 | 2668557.0789 | 1215493.1352
1 | 2668556.5946 | 1215510.7064 | 2668559.357 | 1215502.9444 | 2668559.93 | 1215496.7026
2 | 2668557.0789 | 1215493.1352 | 2668550.6221 | 1215485.0563
3 | 2668556.5946 | 1215510.7064 | 2668532.2736 | 1215494.6835 | 2668524.983 | 1215489.9256
4 | 2668540.101 | 1215470.8345 | 2668546.702 | 1215480.1513 | 2668550.6221 | 1215485.0563
5 | 2668493.9677 | 1215469.6853 | 2668524.983 | 1215489.9256
6 | 2668531.1516 | 1215458.2032 | 2668540.101 | 1215470.8345
7 | 2668472.2935 | 1215456.5349 | 2668487.9467 | 1215465.756 | 2668493.9677 | 1215469.6853
8 | 2668531.1516 | 1215458.2032 | 2668547.9494 | 1215444.332 | 2668558.5824 | 1215430.3343
9 | 2668558.5824 | 1215430.3343 | 2668586.1243 | 1215392.7681
10 | 2668531.1516 | 1215458.2032 | 2668520.9378 | 1215447.6347 | 2668515.9977 | 1215441.8154
11 | 2668603.9155 | 1215364.5921 | 2668596.2281 | 1215378.6458 | 2668587.0431 | 1215391.5149 | 2668586.1243 | 1215392.7681
12 | 2668457.3 | 1215640.237 | 2668454.0779 | 1215636.986 | 2668415.2863 | 1215601.304
13 | 2668471.6268 | 1215654.6925 | 2668457.3 | 1215640.237
14 | 2668415.2863 | 1215601.304 | 2668413.0498 | 1215599.2469 | 2668409.1787 | 1215593.8102 | 2668407.5365 | 1215588.6881 | 2668403.2763 | 1215570.1721 | 2668401.4711 | 1215564.7035 | 2668397.8681 | 1215557.7355 | 2668393.3005 | 1215550.3922
15 | 2668392.6503 | 1215549.3468 | 2668393.3005 | 1215550.3922
16 | 2668392.0705 | 1215548.4147 | 2668392.6503 | 1215549.3468
17 | 2668515.0027 | 1215440.6433 | 2668515.9977 | 1215441.8154
18 | 2668506.4025 | 1215430.5125 | 2668515.0027 | 1215440.6433
19 | 2668472.2935 | 1215456.5349 | 2668460.7096 | 1215449.7109 | 2668457.1515 | 1215446.9345
20 | 2668444.1514 | 1215436.7905 | 2668457.1515 | 1215446.9345
21 | 2668444.1514 | 1215436.7905 | 2668442.5648 | 1215432.1138 | 2668431.9179 | 1215419.5726 | 2668424.4621 | 1215408.8581 | 2668411.0624 | 1215387.9958
22 | 2668444.1514 | 1215436.7905 | 2668364.0506 | 1215497.2445
23 | 2668364.0506 | 1215497.2445 | 2668368.534 | 1215501.4193 | 2668375.9821 | 1215512.1336 | 2668378.5117 | 1215526.6162
24 | 2668603.9155 | 1215364.5921 | 2668631.9238 | 1215381.6028 | 2668638.8526 | 1215385.5108
25 | 2668603.9155 | 1215364.5921 | 2668606.9617 | 1215358.5678 | 2668614.352 | 1215362.4108
26 | 2668603.9155 | 1215364.5921 | 2668606.9617 | 1215358.5678 | 2668578.4293 | 1215342.8742
27 | 2668671.9348 | 1215372.5244 | 2668650.8637 | 1215376.9401 | 2668638.1003 | 1215374.7807 | 2668626.2339 | 1215368.5847 | 2668614.352 | 1215362.4108
28 | 2668614.352 | 1215362.4108 | 2668628.7186 | 1215346.3692
29 | 2668578.4293 | 1215342.8742 | 2668583.2209 | 1215333.6568 | 2668584.9221 | 1215332.4264
30 | 2668671.9348 | 1215372.5244 | 2668670.6167 | 1215366.3053 | 2668672.266 | 1215353.0048 | 2668673.8796 | 1215346.7807
31 | 2668584.9221 | 1215332.4264 | 2668591.9968 | 1215327.3093 | 2668603.4582 | 1215291.5106
32 | 2668504.3767 | 1215331.9272 | 2668499.1803 | 1215332.101 | 2668488.3895 | 1215321.0696
33 | 2668504.3767 | 1215331.9272 | 2668509.5997 | 1215322.826 | 2668516.4439 | 1215314.0657 | 2668520.4032 | 1215308.5411 | 2668510.2824 | 1215300.4308
34 | 2668504.3767 | 1215331.9272 | 2668501.2305 | 1215340.0518 | 2668478.336 | 1215361.7247 | 2668475.4489 | 1215361.8471 | 2668472.413 | 1215360.378 | 2668450.0365 | 1215337.1785
35 | 2668488.3895 | 1215321.0696 | 2668462.326 | 1215294.425
36 | 2668510.2824 | 1215300.4308 | 2668518.0024 | 1215294.1044 | 2668526.6823 | 1215282.886 | 2668527.9562 | 1215281.0182
37 | 2668537.3837 | 1215257.682 | 2668534.916 | 1215266.8928 | 2668532.4833 | 1215274.3807 | 2668527.9562 | 1215281.0182
38 | 2668562.1775 | 1215216.1854 | 2668567.2929 | 1215220.4135 | 2668588.2559 | 1215230.7055 | 2668593.0271 | 1215231.85 | 2668615.936 | 1215252.5377
39 | 2668562.1775 | 1215216.1854 | 2668574.8045 | 1215219.0101 | 2668583.2253 | 1215223.7322 | 2668585.011 | 1215222.3185 | 2668602.2243 | 1215206.0618
40 | 2668562.1775 | 1215216.1854 | 2668547.9783 | 1215229.2192
41 | 2668615.936 | 1215252.5377 | 2668645.4522 | 1215279.9801
42 | 2668615.936 | 1215252.5377 | 2668610.8823 | 1215268.3222
43 | 2668602.2243 | 1215206.0618 | 2668584.898 | 1215189.194
44 | 2668547.9783 | 1215229.2192 | 2668547.9783 | 1215229.2192 | 2668543.4404 | 1215239.8717
45 | 2668392.0705 | 1215548.4147 | 2668378.5117 | 1215526.6162 | 2668378.5117 | 1215526.6162
46 | 2668494.5436 | 1215212.8839 | 2668508.534 | 1215216.0243 | 2668514.2599 | 1215228.5869 | 2668507.2721 | 1215247.841 | 2668517.0628 | 1215253.3506
47 | 2668537.3837 | 1215257.682 | 2668524.1737 | 1215257.3522 | 2668517.0628 | 1215253.3506
48 | 2668537.3837 | 1215257.682 | 2668539.9705 | 1215248.0168 | 2668543.4404 | 1215239.8717
49 | 2668610.8823 | 1215268.3222 | 2668603.4582 | 1215291.5106

## bus_geodata
| x | y | coords
0 | 2668559.93 | 1215496.7026
1 | 2668557.0789 | 1215493.1352
2 | 2668556.5946 | 1215510.7064
3 | 2668550.6221 | 1215485.0563
4 | 2668524.983 | 1215489.9256
5 | 2668540.101 | 1215470.8345
6 | 2668493.9677 | 1215469.6853
7 | 2668558.5824 | 1215430.3343
8 | 2668531.1516 | 1215458.2032
9 | 2668586.1243 | 1215392.7681
10 | 2668457.3 | 1215640.237
11 | 2668415.2863 | 1215601.304
12 | 2668471.6268 | 1215654.6925
13 | 2668393.3005 | 1215550.3922
14 | 2668392.6503 | 1215549.3468
15 | 2668515.9977 | 1215441.8154
16 | 2668515.0028 | 1215440.6433
17 | 2668457.1515 | 1215446.9345
18 | 2668472.2935 | 1215456.5349
19 | 2668444.1514 | 1215436.7905
20 | 2668411.0624 | 1215387.9958
21 | 2668364.0506 | 1215497.2445
22 | 2668603.9155 | 1215364.5921
23 | 2668638.8526 | 1215385.5108
24 | 2668614.352 | 1215362.4108
25 | 2668578.4293 | 1215342.8742
26 | 2668671.9348 | 1215372.5244
27 | 2668628.7186 | 1215346.3692
28 | 2668584.9221 | 1215332.4264
29 | 2668504.3767 | 1215331.9272
30 | 2668488.3895 | 1215321.0696
31 | 2668510.2824 | 1215300.4308
32 | 2668450.0365 | 1215337.1785
33 | 2668527.9562 | 1215281.0182
34 | 2668506.4025 | 1215430.5125
35 | 2668562.1775 | 1215216.1854
36 | 2668615.936 | 1215252.5377
37 | 2668602.2243 | 1215206.0618
38 | 2668547.9783 | 1215229.2192
39 | 2668462.326 | 1215294.425
40 | 2668378.5117 | 1215526.6162
41 | 2668392.0705 | 1215548.4147
42 | 2668673.8796 | 1215346.7807
43 | 2668584.898 | 1215189.194
44 | 2668494.5436 | 1215212.8839
45 | 2668517.0628 | 1215253.3506
46 | 2668537.3837 | 1215257.682
47 | 2668543.4404 | 1215239.8717
48 | 2668645.4522 | 1215279.9801
49 | 2668610.8823 | 1215268.3222
50 | 2668603.4582 | 1215291.5106
51 | 2668606.9617 | 1215358.5678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98751 | -0.23854 | 0.032217 | 0.0080743
1 | 0.98772 | -0.23446 | 0.0027244 | 0.00068281
2 | 0.98705 | -0.24735 | 0 | 0
3 | 0.98821 | -0.22496 | 0.0041843 | 0.0010487
4 | 0.98585 | -0.27036 | 0.0073605 | 0.0018447
5 | 0.98909 | -0.20807 | 0.010453 | 0.0026198
6 | 0.98481 | -0.29049 | 0.0034254 | 0.00085848
7 | 0.99225 | -0.14734 | 0 | 0
8 | 0.98993 | -0.19188 | 0 | 0
9 | 0.995 | -0.094832 | 0.0068746 | 0.0017229
10 | 0.97071 | -0.56567 | 0.011992 | 0.0030054
11 | 0.97281 | -0.52421 | 0.00095244 | 0.0002387
12 | 0.97019 | -0.57592 | 0.027221 | 0.0068221
13 | 0.97493 | -0.48262 | 0.00070902 | 0.0001777
14 | 0.97497 | -0.48169 | 0.00047985 | 0.00012026
15 | 0.98972 | -0.19593 | 0.0051811 | 0.0012985
16 | 0.98971 | -0.19607 | 0.0015752 | 0.00039478
17 | 0.98256 | -0.33395 | 0.0036006 | 0.00090241
18 | 0.98346 | -0.31655 | 0.0033966 | 0.00085127
19 | 0.98179 | -0.34888 | 0 | 0
20 | 0.98159 | -0.35274 | 0.0036014 | 0.00090259
21 | 0.97743 | -0.43367 | 0.0024686 | 0.00061869
22 | 0.99708 | -0.055366 | 0 | 0
23 | 0.99656 | -0.065359 | 0.013989 | 0.0035059
24 | 0.99691 | -0.058684 | 0 | 0
25 | 1 | 0 | -0.41356 | -0.10564
26 | 0.99654 | -0.065786 | 0 | 0
27 | 0.99679 | -0.060921 | 0.0059222 | 0.0014843
28 | 0.99859 | -0.026656 | 0.0033868 | 0.00084882
29 | 0.97606 | -0.46171 | 0 | 0
30 | 0.97559 | -0.47094 | 0.012215 | 0.0030615
31 | 0.97741 | -0.43517 | 0 | 0
32 | 0.97528 | -0.4771 | 0.010672 | 0.0026747
33 | 0.97827 | -0.41826 | 0.022281 | 0.0055841
34 | 0.98967 | -0.19689 | 0.0034507 | 0.00086483
35 | 0.9839 | -0.30845 | 0 | 0
36 | 0.98947 | -0.20077 | 0 | 0
37 | 0.98368 | -0.31272 | 0 | 0
38 | 0.98231 | -0.33945 | 0.061852 | 0.015502
39 | 0.97517 | -0.47928 | 0.012215 | 0.0030615
40 | 0.97603 | -0.46093 | 0.001661 | 0.00041628
41 | 0.97502 | -0.48086 | 0.001026 | 0.00025715
42 | 0.99638 | -0.068831 | 0.0066238 | 0.0016601
43 | 0.98357 | -0.31484 | 0.0048784 | 0.0012226
44 | 0.97878 | -0.40849 | 0.0068469 | 0.001716
45 | 0.97915 | -0.40103 | 0.017175 | 0.0043044
46 | 0.97963 | -0.3917 | 0 | 0
47 | 0.98105 | -0.36386 | 0.035121 | 0.0088022
48 | 0.989 | -0.20984 | 0.01263 | 0.0031655
49 | 0.99097 | -0.17191 | 0.022646 | 0.0056756
50 | 0.99343 | -0.1248 | 0.022646 | 0.0056756
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10089 | -0.025584 | 0.10091 | 0.025597 | 1.9819e-05 | 1.2567e-05 | 0.15214 | 0.15214 | 0.15214 | 0.98751 | -0.23854 | 0.98772 | -0.23446 | 20.8981
1 | 0.068677 | 0.01751 | -0.068648 | -0.017492 | 2.919e-05 | 1.8311e-05 | 0.10359 | 0.10359 | 0.10359 | 0.98751 | -0.23854 | 0.98705 | -0.24735 | 14.2298
2 | -0.10364 | -0.02628 | 0.10369 | 0.02631 | 4.7338e-05 | 3.0031e-05 | 0.15624 | 0.15624 | 0.15624 | 0.98772 | -0.23446 | 0.98821 | -0.22496 | 21.4619
3 | 0.068648 | 0.017492 | -0.068572 | -0.017444 | 7.6121e-05 | 4.7751e-05 | 0.10359 | 0.10359 | 0.10359 | 0.98705 | -0.24735 | 0.98585 | -0.27036 | 14.2298
4 | -0.10787 | -0.027358 | 0.10796 | 0.027414 | 8.7668e-05 | 5.5654e-05 | 0.16254 | 0.16254 | 0.16254 | 0.98821 | -0.22496 | 0.98909 | -0.20807 | 22.3273
5 | 0.061212 | 0.015599 | -0.061152 | -0.015562 | 5.9395e-05 | 3.7069e-05 | 0.092484 | 0.092484 | 0.092484 | 0.98585 | -0.27036 | 0.98481 | -0.29049 | 12.7038
6 | -0.11841 | -0.030034 | 0.1185 | 0.030092 | 9.2243e-05 | 5.8638e-05 | 0.17827 | 0.17827 | 0.17827 | 0.98909 | -0.20807 | 0.98993 | -0.19188 | 24.4874
7 | 0.057727 | 0.014704 | -0.057654 | -0.014658 | 7.2484e-05 | 4.6067e-05 | 0.087308 | 0.087308 | 0.087308 | 0.98481 | -0.29049 | 0.98346 | -0.31655 | 23.9858
8 | 0.12899 | 0.032827 | -0.12871 | -0.032651 | 0.00027631 | 0.00017582 | 0.19361 | 0.19361 | 0.19361 | 0.99225 | -0.14734 | 0.98993 | -0.19188 | 26.5954
9 | -0.12899 | -0.032827 | 0.12932 | 0.033036 | 0.0003274 | 0.00020833 | 0.19361 | 0.19361 | 0.19361 | 0.99225 | -0.14734 | 0.995 | -0.094832 | 26.5953
10 | 0.010209 | 0.002559 | -0.010207 | -0.002558 | 1.9721e-06 | 9.7512e-07 | 0.015346 | 0.015346 | 0.015346 | 0.98993 | -0.19188 | 0.98972 | -0.19593 | 4.216
11 | -0.13619 | -0.034759 | 0.13645 | 0.034924 | 0.00026022 | 0.00016567 | 0.20389 | 0.20389 | 0.20389 | 0.995 | -0.094832 | 0.99708 | -0.055366 | 28.0075
12 | -0.039225 | -0.0098357 | 0.039303 | 0.0098847 | 7.7671e-05 | 4.9e-05 | 0.060131 | 0.060131 | 0.060131 | 0.97071 | -0.56567 | 0.97281 | -0.52421 | 16.5195
13 | 0.027234 | 0.0068304 | -0.027221 | -0.0068221 | 1.3303e-05 | 8.2622e-06 | 0.041749 | 0.041749 | 0.041749 | 0.97071 | -0.56567 | 0.97019 | -0.57592 | 11.4695
14 | -0.040256 | -0.010123 | 0.040336 | 0.010174 | 8.0141e-05 | 5.0589e-05 | 0.061588 | 0.061587 | 0.061588 | 0.97281 | -0.52421 | 0.97493 | -0.48262 | 16.9196
15 | -0.041045 | -0.010352 | 0.041047 | 0.010353 | 1.8131e-06 | 1.145e-06 | 0.062669 | 0.062669 | 0.062669 | 0.97493 | -0.48262 | 0.97497 | -0.48169 | 17.2169
16 | -0.041526 | -0.010473 | 0.041528 | 0.010474 | 1.6547e-06 | 1.0453e-06 | 0.063402 | 0.063402 | 0.063402 | 0.97497 | -0.48169 | 0.97502 | -0.48086 | 17.4181
17 | 0.0050261 | 0.0012595 | -0.005026 | -0.0012595 | 3.2921e-08 | 1.312e-09 | 0.0075565 | 0.0075565 | 0.0075565 | 0.98972 | -0.19593 | 0.98971 | -0.19607 | 2.076
18 | 0.0034509 | 0.00086475 | -0.0034507 | -0.00086483 | 1.3414e-07 | -8.4915e-08 | 0.0051882 | 0.0051883 | 0.0051883 | 0.98971 | -0.19607 | 0.98967 | -0.19689 | 1.4254
19 | -0.054212 | -0.013777 | 0.054258 | 0.013806 | 4.5467e-05 | 2.8871e-05 | 0.082169 | 0.082169 | 0.082169 | 0.98256 | -0.33395 | 0.98346 | -0.31655 | 22.574
20 | 0.050612 | 0.012875 | -0.050575 | -0.012852 | 3.6393e-05 | 2.3083e-05 | 0.076716 | 0.076716 | 0.076716 | 0.98256 | -0.33395 | 0.98179 | -0.34888 | 21.0759
21 | 0.003602 | 0.00090227 | -0.0036014 | -0.00090259 | 6.6207e-07 | -3.2523e-07 | 0.0054592 | 0.0054594 | 0.0054594 | 0.98179 | -0.34888 | 0.98159 | -0.35274 | 1.4998
22 | 0.046973 | 0.01195 | -0.046782 | -0.011829 | 0.00019108 | 0.00012103 | 0.071257 | 0.071258 | 0.071258 | 0.98179 | -0.34888 | 0.97743 | -0.43367 | 19.5763
23 | 0.044314 | 0.01121 | -0.044256 | -0.011173 | 5.7881e-05 | 3.662e-05 | 0.0675 | 0.0675 | 0.0675 | 0.97743 | -0.43367 | 0.97603 | -0.46093 | 18.5439
24 | 0.013995 | 0.0035097 | -0.013989 | -0.0035059 | 6.6627e-06 | 3.7332e-06 | 0.020887 | 0.020887 | 0.020887 | 0.99708 | -0.055366 | 0.99656 | -0.065359 | 5.7383
25 | 0.012552 | 0.0031464 | -0.01255 | -0.0031454 | 1.9844e-06 | 1.0734e-06 | 0.018732 | 0.018732 | 0.018732 | 0.99708 | -0.055366 | 0.99691 | -0.058684 | 5.1463
26 | -0.163 | -0.04158 | 0.16344 | 0.041859 | 0.00043712 | 0.00027873 | 0.24351 | 0.24351 | 0.24351 | 0.99708 | -0.055366 | 1 | 0 | 33.4496
27 | 0.006627 | 0.001661 | -0.0066248 | -0.0016604 | 2.2417e-06 | 6.3845e-07 | 0.0098917 | 0.009892 | 0.009892 | 0.99691 | -0.058684 | 0.99654 | -0.065786 | 2.7176
28 | 0.0059229 | 0.0014844 | -0.0059222 | -0.0014843 | 6.3116e-07 | 1.232e-07 | 0.0088407 | 0.0088408 | 0.0088408 | 0.99691 | -0.058684 | 0.99679 | -0.060921 | 2.4288
29 | 0.24847 | 0.063785 | -0.24815 | -0.06358 | 0.00032102 | 0.00020512 | 0.37027 | 0.37027 | 0.37027 | 1 | 0 | 0.99859 | -0.026656 | 50.8613
30 | 0.0066248 | 0.0016604 | -0.0066238 | -0.0016601 | 9.6102e-07 | 2.739e-07 | 0.009892 | 0.0098921 | 0.0098921 | 0.99654 | -0.065786 | 0.99638 | -0.068831 | 2.7176
31 | 0.24477 | 0.062731 | -0.24361 | -0.061991 | 0.0011585 | 0.00074022 | 0.36522 | 0.36522 | 0.36522 | 0.99859 | -0.026656 | 0.99343 | -0.1248 | 50.1682
32 | 0.024447 | 0.0061322 | -0.024436 | -0.0061256 | 1.0747e-05 | 6.6204e-06 | 0.037271 | 0.037271 | 0.037271 | 0.97606 | -0.46171 | 0.97559 | -0.47094 | 10.2393
33 | -0.035126 | -0.0088109 | 0.035171 | 0.0088389 | 4.45e-05 | 2.7962e-05 | 0.053553 | 0.053553 | 0.053553 | 0.97606 | -0.46171 | 0.97741 | -0.43517 | 14.7124
34 | 0.01068 | 0.0026787 | -0.010672 | -0.0026747 | 7.8277e-06 | 4.0264e-06 | 0.016282 | 0.016283 | 0.016283 | 0.97606 | -0.46171 | 0.97528 | -0.4771 | 4.4733
35 | 0.01222 | 0.0030641 | -0.012215 | -0.0030615 | 4.8561e-06 | 2.6427e-06 | 0.018639 | 0.01864 | 0.01864 | 0.97559 | -0.47094 | 0.97517 | -0.47928 | 5.1208
36 | -0.035171 | -0.0088389 | 0.035199 | 0.0088567 | 2.8421e-05 | 1.7858e-05 | 0.053553 | 0.053553 | 0.053553 | 0.97741 | -0.43517 | 0.97827 | -0.41826 | 14.7124
37 | -0.05748 | -0.014441 | 0.057553 | 0.014487 | 7.2955e-05 | 4.6371e-05 | 0.087443 | 0.087443 | 0.087443 | 0.97827 | -0.41826 | 0.97963 | -0.3917 | 24.0229
38 | -0.18395 | -0.046367 | 0.1849 | 0.046976 | 0.00095314 | 0.00060833 | 0.2783 | 0.2783 | 0.2783 | 0.9839 | -0.30845 | 0.98947 | -0.20077 | 38.2277
39 | 0.0048798 | 0.0012227 | -0.0048789 | -0.0012226 | 9.9158e-07 | 1.8183e-08 | 0.00738 | 0.0073802 | 0.0073802 | 0.9839 | -0.30845 | 0.98368 | -0.31272 | 2.0275
40 | 0.17907 | 0.045145 | -0.17881 | -0.044975 | 0.00026525 | 0.00016927 | 0.27092 | 0.27092 | 0.27092 | 0.9839 | -0.30845 | 0.98231 | -0.33945 | 37.214
41 | 0.012636 | 0.0031684 | -0.01263 | -0.0031655 | 5.4578e-06 | 2.9756e-06 | 0.019003 | 0.019003 | 0.019003 | 0.98947 | -0.20077 | 0.989 | -0.20984 | 5.2207
42 | -0.19754 | -0.050144 | 0.19782 | 0.050319 | 0.00027467 | 0.00017536 | 0.2973 | 0.2973 | 0.2973 | 0.98947 | -0.20077 | 0.99097 | -0.17191 | 40.8379
43 | 0.0048789 | 0.0012226 | -0.0048784 | -0.0012226 | 4.9392e-07 | 9.1731e-09 | 0.0073802 | 0.0073803 | 0.0073803 | 0.98368 | -0.31272 | 0.98357 | -0.31484 | 2.0276
44 | 0.11695 | 0.029474 | -0.11682 | -0.029387 | 0.00013637 | 8.7133e-05 | 0.17722 | 0.17722 | 0.17722 | 0.98231 | -0.33945 | 0.98105 | -0.36386 | 48.6876
45 | 0.042595 | 0.010757 | -0.042554 | -0.010731 | 4.0632e-05 | 2.5684e-05 | 0.064968 | 0.064968 | 0.064968 | 0.97603 | -0.46093 | 0.97502 | -0.48086 | 17.8483
46 | -0.0068469 | -0.001716 | 0.0068494 | 0.0017168 | 2.4323e-06 | 8.0399e-07 | 0.010409 | 0.010409 | 0.010409 | 0.97878 | -0.40849 | 0.97915 | -0.40103 | 2.8597
47 | -0.024024 | -0.0060213 | 0.024035 | 0.0060278 | 1.0684e-05 | 6.5686e-06 | 0.03651 | 0.03651 | 0.03651 | 0.97915 | -0.40103 | 0.97963 | -0.3917 | 10.0301
48 | -0.081588 | -0.020515 | 0.081697 | 0.020584 | 0.00010866 | 6.9303e-05 | 0.12395 | 0.12395 | 0.12395 | 0.97963 | -0.3917 | 0.98105 | -0.36386 | 34.053
49 | -0.22046 | -0.055995 | 0.22096 | 0.056315 | 0.00050109 | 0.00032007 | 0.3313 | 0.3313 | 0.3313 | 0.99097 | -0.17191 | 0.99343 | -0.1248 | 45.5089

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41356 | 0.10564

## res_load
| p_mw | q_mvar
0 | 0.032217 | 0.0080743
1 | 0.0027244 | 0.00068281
2 | 0.0041843 | 0.0010487
3 | 0.0073605 | 0.0018447
4 | 0.010453 | 0.0026198
5 | 0.0034254 | 0.00085848
6 | 0.0068746 | 0.0017229
7 | 0.011992 | 0.0030054
8 | 0.00095244 | 0.0002387
9 | 0.027221 | 0.0068221
10 | 0.00070902 | 0.0001777
11 | 0.00047985 | 0.00012026
12 | 0.0051811 | 0.0012985
13 | 0.0015752 | 0.00039478
14 | 0.0036006 | 0.00090241
15 | 0.0033966 | 0.00085127
16 | 0.0036014 | 0.00090259
17 | 0.0024686 | 0.00061869
18 | 0.013989 | 0.0035059
19 | 0.0059222 | 0.0014843
20 | 0.0033868 | 0.00084882
21 | 0.012215 | 0.0030615
22 | 0.010672 | 0.0026747
23 | 0.022281 | 0.0055841
24 | 0.0034507 | 0.00086483
25 | 0.061852 | 0.015502
26 | 0.012215 | 0.0030615
27 | 0.001661 | 0.00041628
28 | 0.001026 | 0.00025715
29 | 0.0066238 | 0.0016601
30 | 0.0048784 | 0.0012226
31 | 0.0068469 | 0.001716
32 | 0.017175 | 0.0043044
33 | 0.035121 | 0.0088022
34 | 0.01263 | 0.0031655
35 | 0.022646 | 0.0056756
36 | 0.022646 | 0.0056756

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1