## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1054-23_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1054-23_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1054-23_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1054-23_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1054-23_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1054-23_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_1054-23_0_4_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_1054-23_0_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_1054-23_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1054-23_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1054-23_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1054-23_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1054-23_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1054-23_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1054-23_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1054-23_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1054-23_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1054-23_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1054-23_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1054-23_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1054-23_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1054-23_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1054-23_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1054-23_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1054-23_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1054-23_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1054-23_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1054-23_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1054-23_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1054-23_0_4_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_1054-23_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_1054-23_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_1054-23_0_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_1054-23_0_4_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_1054-23_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_1054-23_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1054-23_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1054-23_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1054-23_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1054-23_0_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_1054-23_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1054-23_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1054-23_0_4_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_1054-23_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1054-23_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1054-23_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_1054-23_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_1054-23_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1054-23_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_1054-23_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_1054-23_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1054-23_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1054-23_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1054-23_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1054-23_0_4_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_1054-23_0_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_1054-23_0_4_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_1054-23_0_4_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_1054-23_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1054-23_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1054-23_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1054-23_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_1054-23_0_4_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_1054-23_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1054-23_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_1054-23_0_4_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_1054-23_0_4_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_1054-23_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1054-23_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1054-23_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1054-23_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_1054-23_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_1054-23_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_1054-23_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_1054-23_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_1054-23_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_1054-23_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_1054-23_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_1054-23_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_1054-23_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_1054-23_0_4_node_92 | 0.4 | n |  | TRUE
84 | bus_MV_212_1_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-23_0_4_load_0 | 0 | 0.0011955 | 0.00029961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-23_0_4_load_1 | 1 | 0.0025383 | 0.00063617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-23_0_4_load_2 | 2 | 0.0014568 | 0.00036511 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-23_0_4_load_7 | 3 | 0.00028497 | 7.1419e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-23_0_4_load_6 | 6 | 0.0030116 | 0.00075479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-23_0_4_load_4 | 7 | 0.0015721 | 0.000394 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-23_0_4_load_54 | 9 | 0.0015002 | 0.00037598 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-23_0_4_load_50 | 10 | 0.0030885 | 0.00077406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-23_0_4_load_8 | 11 | 0.011353 | 0.0028454 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-23_0_4_load_13 | 13 | 0.012181 | 0.0030529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-23_0_4_load_16 | 16 | 0.01532 | 0.0038394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-23_0_4_load_17 | 17 | 0.011002 | 0.0027573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-23_0_4_load_28 | 18 | 0.011325 | 0.0028384 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-23_0_4_load_24 | 19 | 0.0089554 | 0.0022444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-23_0_4_load_23 | 20 | 0.0082594 | 0.00207 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-23_0_4_load_18 | 21 | 0.011329 | 0.0028393 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-23_0_4_load_27 | 23 | 0.0067984 | 0.0017038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-23_0_4_load_35 | 25 | 0.010505 | 0.0026328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-23_0_4_load_20 | 27 | 0.0097274 | 0.0024379 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-23_0_4_load_21 | 28 | 0.014701 | 0.0036843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-23_0_4_load_22 | 29 | 0.0065261 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-23_0_4_load_25 | 30 | 0.0086035 | 0.0021562 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-23_0_4_load_26 | 31 | 0.0052637 | 0.0013192 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-23_0_4_load_78 | 32 | 0.0083423 | 0.0020908 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-23_0_4_load_70 | 33 | 0.0054169 | 0.0013576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-23_0_4_load_67 | 34 | 0.0032775 | 0.00082142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-23_0_4_load_79 | 35 | 0.0089014 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-23_0_4_load_68 | 37 | 0.0089752 | 0.0022494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-23_0_4_load_29 | 38 | 0.015467 | 0.0038763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-23_0_4_load_33 | 39 | 0.0066569 | 0.0016684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-23_0_4_load_36 | 40 | 0.016085 | 0.0040313 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1054-23_0_4_load_39 | 41 | 0.005548 | 0.0013905 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1054-23_0_4_load_73 | 42 | 0.0089752 | 0.0022494 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1054-23_0_4_load_83 | 45 | 0.0053532 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1054-23_0_4_load_43 | 47 | 0.0051666 | 0.0012949 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1054-23_0_4_load_74 | 48 | 0.008935 | 0.0022393 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1054-23_0_4_load_82 | 49 | 0.0086036 | 0.0021563 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1054-23_0_4_load_77 | 51 | 0.0056642 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1054-23_0_4_load_76 | 52 | 0.0040872 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1054-23_0_4_load_45 | 53 | 0.0024868 | 0.00062325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1054-23_0_4_load_48 | 55 | 0.0028067 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1054-23_0_4_load_49 | 56 | 0.0025645 | 0.00064272 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1054-23_0_4_load_88 | 57 | 0.0036452 | 0.00091357 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1054-23_0_4_load_75 | 58 | 0.0043861 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1054-23_0_4_load_86 | 59 | 0.0038445 | 0.00096352 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1054-23_0_4_load_85 | 60 | 0.0020175 | 0.00050564 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1054-23_0_4_load_51 | 62 | 0.0019735 | 0.00049461 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1054-23_0_4_load_53 | 63 | 0.0019492 | 0.00048851 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1054-23_0_4_load_56 | 64 | 0.0032426 | 0.00081266 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1054-23_0_4_load_87 | 65 | 0.0020127 | 0.00050444 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1054-23_0_4_load_57 | 66 | 0.0018245 | 0.00045726 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1054-23_0_4_load_58 | 67 | 0.001835 | 0.00045988 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1054-23_0_4_load_80 | 68 | 0.0024715 | 0.00061941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1054-23_0_4_load_81 | 69 | 0.0020738 | 0.00051973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1054-23_0_4_load_59 | 70 | 0.0033808 | 0.0008473 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1054-23_0_4_load_60 | 71 | 0.0028074 | 0.0007036 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1054-23_0_4_load_62 | 73 | 0.010976 | 0.0027509 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1054-23_0_4_load_63 | 74 | 0.0039921 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1054-23_0_4_load_64 | 75 | 0.0030911 | 0.0007747 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1054-23_0_4_load_72 | 77 | 0.0094157 | 0.0023598 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1054-23_0_4_load_69 | 78 | 0.0040019 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1054-23_0_4_load_84 | 79 | 0.0018343 | 0.00045972 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1054-23_0_4_load_89 | 80 | 0.004368 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1054-23_0_4_load_90 | 81 | 0.0020739 | 0.00051978 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1054-23_0_4_load_91 | 82 | 0.0018343 | 0.00045972 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1054-23_0_4_load_92 | 83 | 0.001965 | 0.00049248 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-23_0_4_line_0 |  | 0 | 1 | 0.031739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-23_0_4_line_1 |  | 0 | 2 | 0.019622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-23_0_4_line_2 |  | 1 | 3 | 0.16591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-23_0_4_line_3 |  | 1 | 4 | 0.12688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1054-23_0_4_line_4 |  | 2 | 5 | 0.014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-23_0_4_line_5 |  | 4 | 6 | 0.13132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-23_0_4_line_6 |  | 5 | 7 | 0.022388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-23_0_4_line_7 |  | 6 | 8 | 0.013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-23_0_4_line_8 |  | 8 | 9 | 0.022607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-23_0_4_line_9 |  | 8 | 10 | 0.013414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-23_0_4_line_10 |  | 9 | 64 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-23_0_4_line_11 |  | 10 | 62 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-23_0_4_line_12 |  | 11 | 12 | 0.064556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-23_0_4_line_13 |  | 12 | 13 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-23_0_4_line_14 |  | 12 | 14 | 0.007648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-23_0_4_line_15 |  | 13 | 15 | 0.0049305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-23_0_4_line_16 |  | 14 | 16 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-23_0_4_line_17 |  | 14 | 17 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-23_0_4_line_18 |  | 15 | 20 | 0.018378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-23_0_4_line_19 |  | 15 | 21 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1054-23_0_4_line_20 |  | 17 | 22 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-23_0_4_line_21 |  | 18 | 19 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-23_0_4_line_22 |  | 19 | 27 | 0.0049551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-23_0_4_line_23 |  | 20 | 23 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-23_0_4_line_24 |  | 21 | 24 | 0.026286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1054-23_0_4_line_25 |  | 22 | 25 | 0.0027372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-23_0_4_line_26 |  | 22 | 26 | 0.039243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-23_0_4_line_27 |  | 23 | 34 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-23_0_4_line_28 |  | 24 | 27 | 0.038328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-23_0_4_line_29 |  | 24 | 28 | 0.046479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1054-23_0_4_line_30 |  | 24 | 29 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1054-23_0_4_line_31 |  | 25 | 40 | 0.039655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1054-23_0_4_line_32 |  | 26 | 39 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-23_0_4_line_33 |  | 26 | 38 | 0.052155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1054-23_0_4_line_34 |  | 28 | 30 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1054-23_0_4_line_35 |  | 29 | 31 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-23_0_4_line_36 |  | 30 | 32 | 0.0057307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1054-23_0_4_line_37 |  | 31 | 33 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1054-23_0_4_line_38 |  | 32 | 35 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1054-23_0_4_line_39 |  | 33 | 36 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1054-23_0_4_line_40 |  | 34 | 37 | 0.010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1054-23_0_4_line_41 |  | 35 | 49 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1054-23_0_4_line_42 |  | 36 | 76 | 0.006364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1054-23_0_4_line_43 |  | 36 | 74 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1054-23_0_4_line_44 |  | 37 | 78 | 0.0055808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1054-23_0_4_line_45 |  | 41 | 42 | 0.018078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1054-23_0_4_line_46 |  | 42 | 48 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1054-23_0_4_line_47 |  | 43 | 44 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1054-23_0_4_line_48 |  | 43 | 45 | 0.054277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1054-23_0_4_line_49 |  | 44 | 46 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1054-23_0_4_line_50 |  | 45 | 49 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1054-23_0_4_line_51 |  | 46 | 47 | 0.085275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1054-23_0_4_line_52 |  | 47 | 50 | 0.079574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1054-23_0_4_line_53 |  | 48 | 78 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1054-23_0_4_line_54 |  | 50 | 53 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1054-23_0_4_line_55 |  | 50 | 54 | 0.004643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1054-23_0_4_line_56 |  | 51 | 52 | 0.072872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1054-23_0_4_line_57 |  | 52 | 58 | 0.0045395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1054-23_0_4_line_58 |  | 54 | 55 | 0.0071499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1054-23_0_4_line_59 |  | 54 | 56 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1054-23_0_4_line_60 |  | 55 | 57 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1054-23_0_4_line_61 |  | 56 | 58 | 0.0095087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1054-23_0_4_line_62 |  | 57 | 61 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1054-23_0_4_line_63 |  | 59 | 60 | 0.013862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1054-23_0_4_line_64 |  | 60 | 65 | 0.00078194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1054-23_0_4_line_65 |  | 61 | 65 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1054-23_0_4_line_66 |  | 61 | 63 | 0.0091441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1054-23_0_4_line_67 |  | 62 | 63 | 0.00099414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1054-23_0_4_line_68 |  | 64 | 66 | 0.025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1054-23_0_4_line_69 |  | 66 | 67 | 0.0019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1054-23_0_4_line_70 |  | 67 | 68 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1054-23_0_4_line_71 |  | 68 | 69 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1054-23_0_4_line_72 |  | 69 | 79 | 0.0027132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1054-23_0_4_line_73 |  | 70 | 71 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1054-23_0_4_line_74 |  | 70 | 72 | 0.0063437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1054-23_0_4_line_75 |  | 71 | 73 | 0.016573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1054-23_0_4_line_76 |  | 72 | 74 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1054-23_0_4_line_77 |  | 72 | 75 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1054-23_0_4_line_78 |  | 76 | 77 | 0.0107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1054-23_0_4_line_79 |  | 79 | 80 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1054-23_0_4_line_80 |  | 80 | 81 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1054-23_0_4_line_81 |  | 81 | 82 | 0.0030838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1054-23_0_4_line_82 |  | 82 | 83 | 0.0051256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-23_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 84 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2669320.7323 | 1214751.5247 | 2669326.2821 | 1214757.3527 | 2669331.1826 | 1214769.5951 | 2669333.1194 | 1214772.853 | 2669337.7055 | 1214777.7572
1 | 2669320.7323 | 1214751.5247 | 2669320.062 | 1214750.8207 | 2669306.3486 | 1214738.8204 | 2669306.0509 | 1214738.5142
2 | 2669337.7055 | 1214777.7572 | 2669486.6232 | 1214704.6189
3 | 2669230.5039 | 1214845.629 | 2669337.7055 | 1214777.7572
4 | 2669295.9016 | 1214728.0701 | 2669306.0509 | 1214738.5142
5 | 2669230.5039 | 1214845.629 | 2669222.8868 | 1214847.564 | 2669215.4215 | 1214845.5761 | 2669208.6628 | 1214840.9503 | 2669200.6065 | 1214840.8011 | 2669189.2821 | 1214844.7945 | 2669178.9798 | 1214847.7435 | 2669163.7196 | 1214848.6115 | 2669150.0162 | 1214846.2177 | 2669137.0912 | 1214844.8115 | 2669125.606 | 1214847.6023 | 2669118.4711 | 1214851.8334 | 2669104.507 | 1214855.5517
6 | 2669295.9016 | 1214728.0701 | 2669289.5687 | 1214715.5553 | 2669286.1216 | 1214707.9371
7 | 2669095.0291 | 1214864.7032 | 2669104.507 | 1214855.5517
8 | 2669095.0291 | 1214864.7032 | 2669114.5501 | 1214876.1061
9 | 2669095.0291 | 1214864.7032 | 2669083.4473 | 1214857.9354
10 | 2669114.5501 | 1214876.1061 | 2669124.0821 | 1214881.6741
11 | 2669083.4473 | 1214857.9354 | 2669066.2984 | 1214847.9146
12 | 2668955.9619 | 1215054.5241 | 2668997.4701 | 1215103.9666
13 | 2668955.9619 | 1215054.5241 | 2668975.1805 | 1215037.8021
14 | 2668955.9619 | 1215054.5241 | 2668953.8044 | 1215051.9531 | 2668949.5008 | 1215051.7476
15 | 2668978.9002 | 1215034.5657 | 2668975.1805 | 1215037.8021
16 | 2668949.5008 | 1215051.7476 | 2668953.8597 | 1215056.3676 | 2668961.3199 | 1215065.2306
17 | 2668949.5008 | 1215051.7476 | 2668941.6743 | 1215043.5264
18 | 2668978.9002 | 1215034.5657 | 2668972.555 | 1215028.3328 | 2668974.8833 | 1215024.6685 | 2668971.2029 | 1215021.0778
19 | 2668978.9002 | 1215034.5657 | 2668988.6726 | 1215026.066
20 | 2668929.0919 | 1215030.3093 | 2668941.6743 | 1215043.5264
21 | 2669041.8961 | 1215066.4346 | 2669038.418 | 1215060.7709 | 2669030.1019 | 1215046.324
22 | 2669027.6299 | 1215042.0295 | 2669030.1019 | 1215046.324
23 | 2668957.9533 | 1215008.1515 | 2668971.2029 | 1215021.0778
24 | 2669008.5053 | 1215008.8142 | 2669004.0403 | 1215012.6983 | 2669000.5727 | 1215015.7156 | 2668988.6726 | 1215026.066
25 | 2668929.0919 | 1215030.3093 | 2668927.2047 | 1215028.3267
26 | 2668929.0919 | 1215030.3093 | 2668919.88 | 1215034.2386 | 2668910.632 | 1215036.0329 | 2668891.0983 | 1215032.1603
27 | 2668957.9533 | 1215008.1515 | 2668940.8897 | 1214991.5042
28 | 2669008.5053 | 1215008.8142 | 2669010.6941 | 1215012.6086 | 2669027.6299 | 1215042.0295
29 | 2669008.5053 | 1215008.8142 | 2669004.6944 | 1215002.1214 | 2668984.1906 | 1214969.208 | 2668984.1906 | 1214969.208
30 | 2669008.5053 | 1215008.8142 | 2669012.9075 | 1215000.5155 | 2669017.9395 | 1214997.5051 | 2669019.3606 | 1214997.3156
31 | 2668899.8633 | 1214999.6039 | 2668927.2047 | 1215028.3267
32 | 2668891.0983 | 1215032.1603 | 2668906.8237 | 1215050.1311
33 | 2668891.0983 | 1215032.1603 | 2668870.7877 | 1215027.167 | 2668863.6473 | 1215025.339 | 2668840.9613 | 1215017.9192
34 | 2668984.1906 | 1214969.208 | 2668968.3383 | 1214948.4182
35 | 2669039.8914 | 1214992.4133 | 2669035.0459 | 1214995.2239 | 2669019.3606 | 1214997.3156
36 | 2668968.3383 | 1214948.4182 | 2668965.2113 | 1214944.3173 | 2668964.807 | 1214943.9103
37 | 2669039.8914 | 1214992.4133 | 2669053.654 | 1214984.4303
38 | 2668964.807 | 1214943.9103 | 2668951.0664 | 1214930.0791
39 | 2669089.0703 | 1214995.4719 | 2669059.0999 | 1214981.2714 | 2669053.654 | 1214984.4303
40 | 2668933.3541 | 1214984.1523 | 2668940.8897 | 1214991.5042
41 | 2668940.3989 | 1214919.3412 | 2668951.0664 | 1214930.0791
42 | 2669089.0703 | 1214995.4719 | 2669094.8331 | 1214998.2071
43 | 2669089.0703 | 1214995.4719 | 2669103.8297 | 1214982.3574
44 | 2668933.3541 | 1214984.1523 | 2668929.3595 | 1214980.2552
45 | 2668906.1808 | 1214957.6419 | 2668893.2408 | 1214945.0176
46 | 2668906.1808 | 1214957.6419 | 2668914.1669 | 1214965.4332
47 | 2668888.2749 | 1214852.6371 | 2668886.4701 | 1214856.9967 | 2668887.0365 | 1214861.217 | 2668888.6566 | 1214863.6373 | 2668890.9053 | 1214866.2093 | 2668890.5436 | 1214866.6165 | 2668888.1347 | 1214869.3682
48 | 2668888.1347 | 1214869.3682 | 2668924.7627 | 1214903.6018 | 2668927.6816 | 1214906.54
49 | 2668888.2749 | 1214852.6371 | 2668887.5975 | 1214852.1067 | 2668885.6482 | 1214850.5721 | 2668891.6836 | 1214842.2366 | 2668897.0148 | 1214838.3179 | 2668903.7147 | 1214834.9154
50 | 2668940.3989 | 1214919.3412 | 2668927.6816 | 1214906.54
51 | 2668903.7147 | 1214834.9154 | 2668914.7807 | 1214834.8655 | 2668927.945 | 1214838.5755 | 2668949.0196 | 1214848.4809 | 2668965.5676 | 1214859.0455 | 2668978.8225 | 1214870.643
52 | 2669029.2952 | 1214877.3388 | 2669030.5191 | 1214879.2097 | 2669031.6201 | 1214886.4381 | 2669029.8671 | 1214892.8774 | 2669025.4165 | 1214897.4843 | 2669020.4303 | 1214899.1499 | 2669015.062 | 1214899.0544 | 2669009.7783 | 1214896.903 | 2669004.1225 | 1214892.7794 | 2668978.8225 | 1214870.643
53 | 2668914.1669 | 1214965.4332 | 2668929.3595 | 1214980.2552
54 | 2669029.2952 | 1214877.3388 | 2669026.6459 | 1214873.3056 | 2669019.7282 | 1214866.9329
55 | 2669033.7828 | 1214876.101 | 2669032.9447 | 1214876.3359 | 2669029.2952 | 1214877.3388
56 | 2669028.6233 | 1214899.9452 | 2669025.6658 | 1214901.5342 | 2669018.9083 | 1214902.7012 | 2669015.2747 | 1214902.3367 | 2669010.9405 | 1214900.8189 | 2669006.9942 | 1214898.6052 | 2668968.8085 | 1214866.5013
57 | 2669032.0825 | 1214897.0056 | 2669028.6233 | 1214899.9452 | 2669028.6233 | 1214899.9452
58 | 2669033.7828 | 1214876.101 | 2669035.8246 | 1214875.5466 | 2669040.6121 | 1214873.9899
59 | 2669033.7828 | 1214876.101 | 2669035.5937 | 1214879.7465 | 2669036.5135 | 1214884.916 | 2669036.3114 | 1214888.5937 | 2669036.3114 | 1214888.5937
60 | 2669050.2318 | 1214857.3257 | 2669047.1643 | 1214863.6704 | 2669040.6121 | 1214873.9899
61 | 2669032.0825 | 1214897.0056 | 2669032.0825 | 1214897.0056 | 2669035.1202 | 1214892.4268 | 2669036.3114 | 1214888.5937
62 | 2669057.545 | 1214842.7997 | 2669055.3267 | 1214846.7876 | 2669050.2318 | 1214857.3257
63 | 2669039.7289 | 1214832.3925 | 2669027.7596 | 1214825.4007
64 | 2669039.7289 | 1214832.3925 | 2669040.4041 | 1214832.7869
65 | 2669057.545 | 1214842.7997 | 2669040.4041 | 1214832.7869
66 | 2669057.545 | 1214842.7997 | 2669065.44 | 1214847.4131
67 | 2669065.44 | 1214847.4131 | 2669066.2984 | 1214847.9146
68 | 2669146.2367 | 1214894.6153 | 2669124.0821 | 1214881.6741
69 | 2669146.2367 | 1214894.6153 | 2669147.9305 | 1214895.6048
70 | 2669147.9305 | 1214895.6048 | 2669158.4898 | 1214901.7728
71 | 2669175.3154 | 1214911.8208 | 2669161.578 | 1214903.5768 | 2669158.4898 | 1214901.7728
72 | 2669177.6418 | 1214913.2169 | 2669175.3154 | 1214911.8208
73 | 2669113.021 | 1214966.8333 | 2669095.4225 | 1214947.6641
74 | 2669117.3111 | 1214971.5063 | 2669113.021 | 1214966.8333
75 | 2669084.2144 | 1214935.4557 | 2669095.4225 | 1214947.6641
76 | 2669117.3111 | 1214971.5063 | 2669106.8192 | 1214979.701 | 2669103.8297 | 1214982.3574
77 | 2669117.3111 | 1214971.5063 | 2669129.1232 | 1214984.3736 | 2669131.601 | 1214987.1522
78 | 2669094.8331 | 1214998.2071 | 2669093.595 | 1215002.1619 | 2669094.3412 | 1215007.2293 | 2669095.0719 | 1215008.4625
79 | 2669177.6418 | 1214913.2169 | 2669187.6909 | 1214919.2476
80 | 2669203.2011 | 1214928.8206 | 2669198.3984 | 1214925.6734 | 2669187.6909 | 1214919.2476
81 | 2669205.7804 | 1214930.5108 | 2669203.2011 | 1214928.8206
82 | 2669205.7804 | 1214930.5108 | 2669210.0675 | 1214933.3201

## bus_geodata
| x | y | coords
0 | 2669320.7323 | 1214751.5247
1 | 2669337.7055 | 1214777.7572
2 | 2669306.0509 | 1214738.5142
3 | 2669486.6232 | 1214704.6189
4 | 2669230.5039 | 1214845.629
5 | 2669295.9016 | 1214728.0701
6 | 2669104.507 | 1214855.5517
7 | 2669286.1216 | 1214707.9371
8 | 2669095.0291 | 1214864.7032
9 | 2669114.5501 | 1214876.1061
10 | 2669083.4473 | 1214857.9354
11 | 2668997.4701 | 1215103.9666
12 | 2668955.9619 | 1215054.5241
13 | 2668975.1805 | 1215037.8021
14 | 2668949.5008 | 1215051.7476
15 | 2668978.9002 | 1215034.5657
16 | 2668961.3199 | 1215065.2306
17 | 2668941.6743 | 1215043.5264
18 | 2669041.8961 | 1215066.4346
19 | 2669030.1019 | 1215046.324
20 | 2668971.2029 | 1215021.0778
21 | 2668988.6726 | 1215026.066
22 | 2668929.0919 | 1215030.3093
23 | 2668957.9533 | 1215008.1515
24 | 2669008.5053 | 1215008.8142
25 | 2668927.2047 | 1215028.3267
26 | 2668891.0983 | 1215032.1603
27 | 2669027.6299 | 1215042.0295
28 | 2668984.1906 | 1214969.208
29 | 2669019.3606 | 1214997.3156
30 | 2668968.3383 | 1214948.4182
31 | 2669039.8914 | 1214992.4133
32 | 2668964.807 | 1214943.9103
33 | 2669053.654 | 1214984.4303
34 | 2668940.8897 | 1214991.5042
35 | 2668951.0664 | 1214930.0791
36 | 2669089.0703 | 1214995.4719
37 | 2668933.3541 | 1214984.1523
38 | 2668840.9613 | 1215017.9192
39 | 2668906.8237 | 1215050.1311
40 | 2668899.8633 | 1214999.6039
41 | 2668893.2408 | 1214945.0176
42 | 2668906.1808 | 1214957.6419
43 | 2668888.1347 | 1214869.3682
44 | 2668888.2749 | 1214852.6371
45 | 2668927.6816 | 1214906.54
46 | 2668903.7147 | 1214834.9154
47 | 2668978.8225 | 1214870.643
48 | 2668914.1669 | 1214965.4332
49 | 2668940.3989 | 1214919.3412
50 | 2669029.2952 | 1214877.3388
51 | 2668968.8085 | 1214866.5013
52 | 2669028.6233 | 1214899.9452
53 | 2669019.7282 | 1214866.9329
54 | 2669033.7828 | 1214876.101
55 | 2669040.6121 | 1214873.9899
56 | 2669036.3114 | 1214888.5937
57 | 2669050.2318 | 1214857.3257
58 | 2669032.0825 | 1214897.0056
59 | 2669027.7596 | 1214825.4007
60 | 2669039.7289 | 1214832.3925
61 | 2669057.545 | 1214842.7997
62 | 2669066.2984 | 1214847.9146
63 | 2669065.44 | 1214847.4131
64 | 2669124.0821 | 1214881.6741
65 | 2669040.4041 | 1214832.7869
66 | 2669146.2367 | 1214894.6153
67 | 2669147.9305 | 1214895.6048
68 | 2669158.4898 | 1214901.7728
69 | 2669175.3154 | 1214911.8208
70 | 2669113.021 | 1214966.8333
71 | 2669095.4225 | 1214947.6641
72 | 2669117.3111 | 1214971.5063
73 | 2669084.2144 | 1214935.4557
74 | 2669103.8297 | 1214982.3574
75 | 2669131.601 | 1214987.1522
76 | 2669094.8331 | 1214998.2071
77 | 2669095.0719 | 1215008.4625
78 | 2668929.3595 | 1214980.2552
79 | 2669177.6418 | 1214913.2169
80 | 2669187.6909 | 1214919.2476
81 | 2669203.2011 | 1214928.8206
82 | 2669205.7804 | 1214930.5108
83 | 2669210.0675 | 1214933.3201
84 | 2669008.5053 | 1215008.8142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97032 | -0.57214 | 0.0011955 | 0.00029961
1 | 0.97044 | -0.56966 | 0.0025383 | 0.00063617
2 | 0.97026 | -0.57324 | 0.0014568 | 0.00036511
3 | 0.9704 | -0.57054 | 0.00028497 | 7.1419e-05
4 | 0.97128 | -0.5531 | 0 | 0
5 | 0.97024 | -0.57366 | 0 | 0
6 | 0.97214 | -0.53598 | 0.0030116 | 0.00075479
7 | 0.97021 | -0.57432 | 0.0015721 | 0.000394
8 | 0.97227 | -0.53353 | 0 | 0
9 | 0.97174 | -0.54397 | 0.0015002 | 0.00037598
10 | 0.97271 | -0.52485 | 0.0030885 | 0.00077406
11 | 0.98873 | -0.21655 | 0.011353 | 0.0028454
12 | 0.98941 | -0.20349 | 0 | 0
13 | 0.99143 | -0.16439 | 0.012181 | 0.0030529
14 | 0.98888 | -0.21372 | 0 | 0
15 | 0.99187 | -0.15577 | 0 | 0
16 | 0.98863 | -0.21862 | 0.01532 | 0.0038394
17 | 0.98826 | -0.22581 | 0.011002 | 0.0027573
18 | 0.99339 | -0.12671 | 0.011325 | 0.0028384
19 | 0.99363 | -0.12205 | 0.0089554 | 0.0022444
20 | 0.99095 | -0.17362 | 0.0082594 | 0.00207
21 | 0.99278 | -0.13819 | 0.011329 | 0.0028393
22 | 0.98744 | -0.24169 | 0 | 0
23 | 0.99016 | -0.18892 | 0.0067984 | 0.0017038
24 | 0.99477 | -0.099994 | 0 | 0
25 | 0.98737 | -0.24299 | 0.010505 | 0.0026328
26 | 0.98664 | -0.25722 | 0 | 0
27 | 0.99372 | -0.12027 | 0.0097274 | 0.0024379
28 | 1 | 0 | -0.3722 | -0.09456
29 | 0.99399 | -0.11496 | 0.0065261 | 0.0016356
30 | 0.99854 | -0.027522 | 0.0086035 | 0.0021562
31 | 0.99312 | -0.13174 | 0.0052637 | 0.0013192
32 | 0.99824 | -0.033135 | 0.0083423 | 0.0020908
33 | 0.99255 | -0.14274 | 0.0054169 | 0.0013576
34 | 0.98929 | -0.20576 | 0.0032775 | 0.00082142
35 | 0.99731 | -0.050828 | 0.0089014 | 0.0022309
36 | 0.99134 | -0.16627 | 0 | 0
37 | 0.98894 | -0.2126 | 0.0089752 | 0.0022494
38 | 0.9859 | -0.27168 | 0.015467 | 0.0038763
39 | 0.98649 | -0.26006 | 0.0066569 | 0.0016684
40 | 0.98679 | -0.2544 | 0.016085 | 0.0040313
41 | 0.9881 | -0.22889 | 0.005548 | 0.0013905
42 | 0.98819 | -0.2271 | 0.0089752 | 0.0022494
43 | 0.99182 | -0.15445 | 0 | 0
44 | 0.99035 | -0.18241 | 0 | 0
45 | 0.99591 | -0.077056 | 0.0053532 | 0.0013416
46 | 0.98826 | -0.22236 | 0 | 0
47 | 0.98184 | -0.34614 | 0.0051666 | 0.0012949
48 | 0.98834 | -0.22421 | 0.008935 | 0.0022393
49 | 0.99664 | -0.063405 | 0.0086036 | 0.0021563
50 | 0.97623 | -0.45559 | 0 | 0
51 | 0.97516 | -0.47661 | 0.0056642 | 0.0014196
52 | 0.97554 | -0.46905 | 0.0040872 | 0.0010243
53 | 0.9762 | -0.45623 | 0.0024868 | 0.00062325
54 | 0.97591 | -0.4618 | 0 | 0
55 | 0.97554 | -0.46919 | 0.0028067 | 0.00070344
56 | 0.97571 | -0.46578 | 0.0025645 | 0.00064272
57 | 0.97457 | -0.48814 | 0.0036452 | 0.00091357
58 | 0.97558 | -0.46824 | 0.0043861 | 0.0010992
59 | 0.97361 | -0.50701 | 0.0038445 | 0.00096352
60 | 0.97366 | -0.50603 | 0.0020175 | 0.00050564
61 | 0.97381 | -0.50307 | 0 | 0
62 | 0.97342 | -0.51089 | 0.0019735 | 0.00049461
63 | 0.97345 | -0.51016 | 0.0019492 | 0.00048851
64 | 0.9715 | -0.54876 | 0.0032426 | 0.00081266
65 | 0.97367 | -0.50595 | 0.0020127 | 0.00050444
66 | 0.97101 | -0.55838 | 0.0018245 | 0.00045726
67 | 0.97098 | -0.55905 | 0.001835 | 0.00045988
68 | 0.97079 | -0.56281 | 0.0024715 | 0.00061941
69 | 0.97053 | -0.56794 | 0.0020738 | 0.00051973
70 | 0.99048 | -0.18293 | 0.0033808 | 0.0008473
71 | 0.99015 | -0.1893 | 0.0028074 | 0.0007036
72 | 0.99058 | -0.18099 | 0 | 0
73 | 0.98998 | -0.19254 | 0.010976 | 0.0027509
74 | 0.9909 | -0.17476 | 0.0039921 | 0.0010005
75 | 0.99052 | -0.18216 | 0.0030911 | 0.0007747
76 | 0.99128 | -0.16733 | 0 | 0
77 | 0.99119 | -0.16912 | 0.0094157 | 0.0023598
78 | 0.9888 | -0.21533 | 0.0040019 | 0.001003
79 | 0.9705 | -0.56854 | 0.0018343 | 0.00045972
80 | 0.97039 | -0.57077 | 0.004368 | 0.0010947
81 | 0.97029 | -0.57275 | 0.0020739 | 0.00051978
82 | 0.97027 | -0.57297 | 0.0018343 | 0.00045972
83 | 0.97027 | -0.57315 | 0.001965 | 0.00049248
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042246 | -0.0010582 | 0.0042251 | 0.0010581 | 4.9951e-07 | -7.2406e-08 | 0.0064784 | 0.0064782 | 0.0064784 | 0.97032 | -0.57214 | 0.97044 | -0.56966 | 1.7798
1 | 0.0030291 | 0.00075857 | -0.003029 | -0.00075871 | 1.5877e-07 | -1.4074e-07 | 0.0046451 | 0.0046452 | 0.0046452 | 0.97032 | -0.57214 | 0.97026 | -0.57324 | 1.2761
2 | 0.00028498 | 6.9377e-05 | -0.00028497 | -7.1419e-05 | 1.186e-08 | -2.0422e-06 | 0.00043624 | 0.00043697 | 0.00043697 | 0.97044 | -0.56966 | 0.9704 | -0.57054 | 0.12005
3 | -0.0070484 | -0.0017637 | 0.007054 | 0.0017656 | 5.5562e-06 | 1.987e-06 | 0.010807 | 0.010806 | 0.010807 | 0.97044 | -0.56966 | 0.97128 | -0.5531 | 2.9688
4 | 0.0015722 | 0.0003936 | -0.0015721 | -0.00039376 | 3.1746e-08 | -1.5954e-07 | 0.002411 | 0.002411 | 0.002411 | 0.97026 | -0.57324 | 0.97024 | -0.57366 | 0.66237
5 | -0.007054 | -0.0017656 | 0.0070597 | 0.0017677 | 5.75e-06 | 2.0533e-06 | 0.010806 | 0.010805 | 0.010806 | 0.97128 | -0.5531 | 0.97214 | -0.53598 | 2.9687
6 | 0.0015721 | 0.00039376 | -0.0015721 | -0.000394 | 4.8805e-08 | -2.4525e-07 | 0.002411 | 0.0024111 | 0.0024111 | 0.97024 | -0.57366 | 0.97021 | -0.57432 | 0.6624
7 | -0.010071 | -0.0025225 | 0.010073 | 0.0025231 | 1.174e-06 | 5.8801e-07 | 0.015415 | 0.015415 | 0.015415 | 0.97214 | -0.53598 | 0.97227 | -0.53353 | 4.2349
8 | 0.025059 | 0.0062929 | -0.025047 | -0.0062852 | 1.2473e-05 | 7.7024e-06 | 0.038357 | 0.038357 | 0.038357 | 0.97227 | -0.53353 | 0.97174 | -0.54397 | 10.5375
9 | -0.035132 | -0.0088159 | 0.035146 | 0.0088251 | 1.4545e-05 | 9.1421e-06 | 0.053772 | 0.053772 | 0.053772 | 0.97227 | -0.53353 | 0.97271 | -0.52485 | 14.7724
10 | 0.023547 | 0.0059092 | -0.023541 | -0.0059059 | 5.3828e-06 | 3.3083e-06 | 0.036059 | 0.03606 | 0.03606 | 0.97174 | -0.54397 | 0.9715 | -0.54876 | 9.9065
11 | -0.038235 | -0.0095991 | 0.03826 | 0.0096152 | 2.5487e-05 | 1.6065e-05 | 0.058496 | 0.058496 | 0.058496 | 0.97271 | -0.52485 | 0.97342 | -0.51089 | 16.0704
12 | -0.011353 | -0.0028454 | 0.01136 | 0.0028491 | 7.0674e-06 | 3.6947e-06 | 0.017086 | 0.017086 | 0.017086 | 0.98873 | -0.21655 | 0.98941 | -0.20349 | 4.6941
13 | -0.086545 | -0.021748 | 0.086707 | 0.021851 | 0.0001619 | 0.00010329 | 0.13018 | 0.13018 | 0.13018 | 0.98941 | -0.20349 | 0.99143 | -0.16439 | 35.7637
14 | 0.075185 | 0.018899 | -0.075148 | -0.018875 | 3.6682e-05 | 2.3379e-05 | 0.11309 | 0.11309 | 0.11309 | 0.98941 | -0.20349 | 0.98888 | -0.21372 | 31.0698
15 | -0.098888 | -0.024904 | 0.098929 | 0.02493 | 4.0753e-05 | 2.6018e-05 | 0.14846 | 0.14846 | 0.14846 | 0.99143 | -0.16439 | 0.99187 | -0.15577 | 40.7864
16 | 0.015323 | 0.0038415 | -0.01532 | -0.0038394 | 3.5761e-06 | 2.0587e-06 | 0.023058 | 0.023058 | 0.023058 | 0.98888 | -0.21372 | 0.98863 | -0.21862 | 6.3346
17 | 0.059825 | 0.015034 | -0.05979 | -0.015012 | 3.4506e-05 | 2.1938e-05 | 0.090036 | 0.090036 | 0.090036 | 0.98888 | -0.21372 | 0.98826 | -0.22581 | 24.7352
18 | 0.054911 | 0.013815 | -0.054864 | -0.013785 | 4.6789e-05 | 2.9708e-05 | 0.082397 | 0.082397 | 0.082397 | 0.99187 | -0.15577 | 0.99095 | -0.17362 | 22.6366
19 | -0.15384 | -0.038745 | 0.15397 | 0.038828 | 0.00012943 | 8.2498e-05 | 0.23086 | 0.23086 | 0.23086 | 0.99187 | -0.15577 | 0.99278 | -0.13819 | 31.7114
20 | 0.048789 | 0.012255 | -0.048752 | -0.012231 | 3.6939e-05 | 2.3408e-05 | 0.073471 | 0.073471 | 0.073471 | 0.98826 | -0.22581 | 0.98744 | -0.24169 | 20.1843
21 | -0.011325 | -0.0028384 | 0.011328 | 0.0028397 | 2.5162e-06 | 1.3085e-06 | 0.016964 | 0.016964 | 0.016964 | 0.99339 | -0.12671 | 0.99363 | -0.12205 | 4.6605
22 | -0.020283 | -0.0050841 | 0.020285 | 0.0050851 | 1.7145e-06 | 1.0331e-06 | 0.030375 | 0.030375 | 0.030375 | 0.99363 | -0.12205 | 0.99372 | -0.12027 | 8.3449
23 | 0.046605 | 0.011715 | -0.046571 | -0.011694 | 3.4008e-05 | 2.1527e-05 | 0.069995 | 0.069995 | 0.069995 | 0.99095 | -0.17362 | 0.99016 | -0.18892 | 19.2293
24 | -0.1653 | -0.041667 | 0.1656 | 0.04186 | 0.00030274 | 0.00019307 | 0.24784 | 0.24784 | 0.24784 | 0.99278 | -0.13819 | 0.99477 | -0.099994 | 34.0439
25 | 0.0266 | 0.0066702 | -0.026599 | -0.0066692 | 1.6494e-06 | 1.0206e-06 | 0.040086 | 0.040086 | 0.040086 | 0.98744 | -0.24169 | 0.98737 | -0.24299 | 11.0128
26 | 0.022151 | 0.0055611 | -0.022135 | -0.0055511 | 1.6402e-05 | 9.9954e-06 | 0.033384 | 0.033385 | 0.033385 | 0.98744 | -0.24169 | 0.98664 | -0.25722 | 9.1716
27 | 0.039773 | 0.0099901 | -0.039741 | -0.0099699 | 3.1945e-05 | 2.0139e-05 | 0.059778 | 0.059778 | 0.059778 | 0.99016 | -0.18892 | 0.98929 | -0.20576 | 16.4226
28 | 0.030041 | 0.0075411 | -0.030012 | -0.0075231 | 2.9029e-05 | 1.8082e-05 | 0.044941 | 0.044941 | 0.044941 | 0.99477 | -0.099994 | 0.99372 | -0.12027 | 12.3465
29 | -0.24667 | -0.062247 | 0.24786 | 0.063006 | 0.0011874 | 0.00075875 | 0.36913 | 0.36913 | 0.36913 | 0.99477 | -0.099994 | 1 | 0 | 50.7042
30 | 0.051025 | 0.012846 | -0.050989 | -0.012823 | 3.6484e-05 | 2.3133e-05 | 0.076346 | 0.076346 | 0.076346 | 0.99477 | -0.099994 | 0.99399 | -0.11496 | 20.9742
31 | 0.016094 | 0.0040364 | -0.016085 | -0.0040313 | 8.7487e-06 | 5.0923e-06 | 0.024255 | 0.024255 | 0.024255 | 0.98737 | -0.24299 | 0.98679 | -0.2544 | 6.6636
32 | 0.0066578 | 0.0016687 | -0.0066569 | -0.0016684 | 9.0179e-07 | 2.7259e-07 | 0.010041 | 0.010041 | 0.010041 | 0.98664 | -0.25722 | 0.98649 | -0.26006 | 2.7586
33 | 0.015477 | 0.0038825 | -0.015467 | -0.0038763 | 1.0658e-05 | 6.1553e-06 | 0.023344 | 0.023344 | 0.023344 | 0.98664 | -0.25722 | 0.9859 | -0.27168 | 6.4131
34 | 0.12269 | 0.031554 | -0.12253 | -0.03145 | 0.0001639 | 0.00010421 | 0.18285 | 0.18285 | 0.18285 | 1 | 0 | 0.99854 | -0.027522 | 25.1168
35 | 0.044463 | 0.011187 | -0.044427 | -0.011165 | 3.5613e-05 | 2.2515e-05 | 0.066576 | 0.066577 | 0.066577 | 0.99399 | -0.11496 | 0.99312 | -0.13174 | 18.2903
36 | 0.11392 | 0.029293 | -0.11389 | -0.029274 | 3.1064e-05 | 1.9731e-05 | 0.17003 | 0.17003 | 0.17003 | 0.99854 | -0.027522 | 0.99824 | -0.033135 | 23.3558
37 | 0.039163 | 0.0098453 | -0.039143 | -0.0098324 | 2.0551e-05 | 1.2947e-05 | 0.05869 | 0.05869 | 0.05869 | 0.99312 | -0.13174 | 0.99255 | -0.14274 | 16.1236
38 | 0.10555 | 0.027183 | -0.10546 | -0.027125 | 9.079e-05 | 5.7596e-05 | 0.15759 | 0.1576 | 0.1576 | 0.99824 | -0.033135 | 0.99731 | -0.050828 | 21.6477
39 | 0.033726 | 0.0084748 | -0.033688 | -0.0084511 | 3.7841e-05 | 2.3709e-05 | 0.050569 | 0.050569 | 0.050569 | 0.99255 | -0.14274 | 0.99134 | -0.16627 | 13.8926
40 | 0.036463 | 0.0091485 | -0.036451 | -0.009141 | 1.1877e-05 | 7.466e-06 | 0.054848 | 0.054849 | 0.054849 | 0.98929 | -0.20576 | 0.98894 | -0.2126 | 15.0683
41 | 0.096557 | 0.024894 | -0.096498 | -0.024857 | 5.9106e-05 | 3.7433e-05 | 0.14431 | 0.14431 | 0.14431 | 0.99731 | -0.050828 | 0.99664 | -0.063405 | 19.8234
42 | 0.009417 | 0.0023604 | -0.0094165 | -0.0023602 | 4.7683e-07 | 2.2312e-07 | 0.014135 | 0.014135 | 0.014135 | 0.99134 | -0.16627 | 0.99128 | -0.16733 | 3.8833
43 | 0.024271 | 0.0060907 | -0.024261 | -0.0060846 | 9.8285e-06 | 6.0358e-06 | 0.036434 | 0.036434 | 0.036434 | 0.99134 | -0.16627 | 0.9909 | -0.17476 | 10.0094
44 | 0.027476 | 0.0068916 | -0.027472 | -0.0068894 | 3.5773e-06 | 2.2178e-06 | 0.041344 | 0.041344 | 0.041344 | 0.98894 | -0.2126 | 0.9888 | -0.21533 | 11.3582
45 | -0.005548 | -0.0013905 | 0.0055485 | 0.0013905 | 4.7323e-07 | 7.1283e-08 | 0.008355 | 0.0083549 | 0.008355 | 0.9881 | -0.22889 | 0.98819 | -0.2271 | 2.2953
46 | -0.014524 | -0.0036399 | 0.014526 | 0.0036411 | 2.0011e-06 | 1.1377e-06 | 0.02187 | 0.02187 | 0.02187 | 0.98819 | -0.2271 | 0.98834 | -0.22421 | 6.0082
47 | 0.082172 | 0.021124 | -0.082061 | -0.021053 | 0.00011145 | 7.1078e-05 | 0.12347 | 0.12347 | 0.12347 | 0.99182 | -0.15445 | 0.99035 | -0.18241 | 33.9208
48 | -0.082172 | -0.021124 | 0.082483 | 0.021322 | 0.0003103 | 0.00019789 | 0.12347 | 0.12347 | 0.12347 | 0.99182 | -0.15445 | 0.99591 | -0.077056 | 33.9208
49 | 0.082061 | 0.021053 | -0.081902 | -0.020952 | 0.00015872 | 0.00010122 | 0.12347 | 0.12347 | 0.12347 | 0.99035 | -0.18241 | 0.98826 | -0.22236 | 33.9208
50 | -0.087836 | -0.022664 | 0.087894 | 0.022701 | 5.8478e-05 | 3.6956e-05 | 0.13147 | 0.13147 | 0.13147 | 0.99591 | -0.077056 | 0.99664 | -0.063405 | 18.059
51 | 0.081902 | 0.020952 | -0.081415 | -0.020641 | 0.00048752 | 0.00031092 | 0.12347 | 0.12347 | 0.12347 | 0.98826 | -0.22236 | 0.98184 | -0.34614 | 33.9209
52 | 0.076248 | 0.019346 | -0.075849 | -0.019092 | 0.00039906 | 0.0002544 | 0.11564 | 0.11564 | 0.11564 | 0.98184 | -0.34614 | 0.97623 | -0.45559 | 31.7699
53 | -0.023461 | -0.0058804 | 0.023471 | 0.0058865 | 9.9304e-06 | 6.0833e-06 | 0.035322 | 0.035322 | 0.035322 | 0.98834 | -0.22421 | 0.9888 | -0.21533 | 9.7038
54 | 0.0024869 | 0.00062312 | -0.0024868 | -0.00062325 | 7.6681e-08 | -1.2885e-07 | 0.0037906 | 0.0037906 | 0.0037906 | 0.97623 | -0.45559 | 0.9762 | -0.45623 | 1.0414
55 | 0.073362 | 0.018469 | -0.07334 | -0.018455 | 2.1783e-05 | 1.3883e-05 | 0.11185 | 0.11185 | 0.11185 | 0.97623 | -0.45559 | 0.97591 | -0.4618 | 30.7285
56 | -0.0056642 | -0.0014196 | 0.0056663 | 0.00142 | 2.0413e-06 | 3.9698e-07 | 0.0086431 | 0.0086428 | 0.0086431 | 0.97516 | -0.47661 | 0.97554 | -0.46905 | 2.3745
57 | -0.0097535 | -0.0024443 | 0.0097538 | 0.0024445 | 3.7677e-07 | 1.8445e-07 | 0.014877 | 0.014877 | 0.014877 | 0.97554 | -0.46905 | 0.97558 | -0.46824 | 4.0871
58 | 0.056631 | 0.014266 | -0.056611 | -0.014253 | 2.0003e-05 | 1.2713e-05 | 0.086374 | 0.086374 | 0.086374 | 0.97591 | -0.4618 | 0.97554 | -0.46919 | 23.7291
59 | 0.016709 | 0.0041893 | -0.016706 | -0.0041874 | 3.1655e-06 | 1.8635e-06 | 0.025478 | 0.025478 | 0.025478 | 0.97591 | -0.4618 | 0.97571 | -0.46578 | 6.9994
60 | 0.053804 | 0.013549 | -0.053756 | -0.013518 | 4.8702e-05 | 3.0929e-05 | 0.082093 | 0.082093 | 0.082093 | 0.97554 | -0.46919 | 0.97457 | -0.48814 | 22.553
61 | 0.014142 | 0.0035447 | -0.01414 | -0.0035438 | 1.6586e-06 | 9.4273e-07 | 0.021567 | 0.021567 | 0.021567 | 0.97571 | -0.46578 | 0.97558 | -0.46824 | 5.925
62 | 0.05011 | 0.012605 | -0.050075 | -0.012582 | 3.5728e-05 | 2.2664e-05 | 0.076527 | 0.076527 | 0.076527 | 0.97457 | -0.48814 | 0.97381 | -0.50307 | 21.024
63 | -0.0038445 | -0.00096352 | 0.0038447 | 0.00096346 | 1.7946e-07 | -5.7542e-08 | 0.0058757 | 0.0058756 | 0.0058757 | 0.97361 | -0.50701 | 0.97366 | -0.50603 | 1.6142
64 | -0.0058622 | -0.0014691 | 0.0058622 | 0.0014691 | 2.3535e-08 | 5.3373e-09 | 0.0089589 | 0.0089589 | 0.0089589 | 0.97366 | -0.50603 | 0.97367 | -0.50595 | 2.4612
65 | 0.007876 | 0.001974 | -0.0078749 | -0.0019735 | 1.0782e-06 | 4.4312e-07 | 0.012035 | 0.012035 | 0.012035 | 0.97381 | -0.50307 | 0.97367 | -0.50595 | 3.3063
66 | 0.042199 | 0.010608 | -0.042184 | -0.010599 | 1.4262e-05 | 9.0142e-06 | 0.064493 | 0.064493 | 0.064493 | 0.97381 | -0.50307 | 0.97345 | -0.51016 | 17.7177
67 | -0.040234 | -0.01011 | 0.040235 | 0.010111 | 1.4106e-06 | 8.9045e-07 | 0.061513 | 0.061513 | 0.061513 | 0.97342 | -0.51089 | 0.97345 | -0.51016 | 16.8992
68 | 0.020299 | 0.0050932 | -0.020289 | -0.0050876 | 9.3019e-06 | 5.6357e-06 | 0.031093 | 0.031093 | 0.031093 | 0.9715 | -0.54876 | 0.97101 | -0.55838 | 8.5421
69 | 0.018465 | 0.0046303 | -0.018464 | -0.00463 | 5.8902e-07 | 3.5271e-07 | 0.028297 | 0.028297 | 0.028297 | 0.97101 | -0.55838 | 0.97098 | -0.55905 | 7.774
70 | 0.016629 | 0.0041701 | -0.016626 | -0.0041683 | 2.9785e-06 | 1.755e-06 | 0.025485 | 0.025485 | 0.025485 | 0.97098 | -0.55905 | 0.97079 | -0.56281 | 7.0014
71 | 0.014155 | 0.0035489 | -0.014151 | -0.003547 | 3.4597e-06 | 1.972e-06 | 0.021697 | 0.021697 | 0.021697 | 0.97079 | -0.56281 | 0.97053 | -0.56794 | 5.9607
72 | 0.012078 | 0.0030272 | -0.012077 | -0.003027 | 3.4888e-07 | 1.8976e-07 | 0.018518 | 0.018518 | 0.018518 | 0.97053 | -0.56794 | 0.9705 | -0.56854 | 5.0872
73 | 0.01379 | 0.0034577 | -0.013785 | -0.0034554 | 4.1882e-06 | 2.3457e-06 | 0.020717 | 0.020717 | 0.020717 | 0.99048 | -0.18293 | 0.99015 | -0.1893 | 5.6915
74 | -0.01717 | -0.004305 | 0.017172 | 0.004306 | 1.583e-06 | 9.3145e-07 | 0.025796 | 0.025796 | 0.025796 | 0.99048 | -0.18293 | 0.99058 | -0.18099 | 7.0868
75 | 0.010978 | 0.0027518 | -0.010976 | -0.0027509 | 1.6916e-06 | 8.695e-07 | 0.016498 | 0.016498 | 0.016498 | 0.99015 | -0.1893 | 0.98998 | -0.19254 | 4.5324
76 | -0.020263 | -0.0050805 | 0.020269 | 0.0050841 | 6.0152e-06 | 3.6268e-06 | 0.030439 | 0.030439 | 0.030439 | 0.99058 | -0.18099 | 0.9909 | -0.17476 | 8.3625
77 | 0.0030913 | 0.00077454 | -0.0030911 | -0.0007747 | 1.7134e-07 | -1.6311e-07 | 0.0046435 | 0.0046436 | 0.0046436 | 0.99058 | -0.18099 | 0.99052 | -0.18216 | 1.2757
78 | 0.0094165 | 0.0023602 | -0.0094157 | -0.0023598 | 8.0168e-07 | 3.7515e-07 | 0.014135 | 0.014135 | 0.014135 | 0.99128 | -0.16733 | 0.99119 | -0.16912 | 3.8833
79 | 0.010243 | 0.0025673 | -0.010242 | -0.0025668 | 1.084e-06 | 5.4897e-07 | 0.015705 | 0.015705 | 0.015705 | 0.9705 | -0.56854 | 0.97039 | -0.57077 | 4.3146
80 | 0.0058739 | 0.001472 | -0.0058733 | -0.0014719 | 5.5461e-07 | 1.2977e-07 | 0.0090072 | 0.0090072 | 0.0090072 | 0.97039 | -0.57077 | 0.97029 | -0.57275 | 2.4745
81 | 0.0037994 | 0.00095214 | -0.0037994 | -0.00095216 | 3.9261e-08 | -1.2961e-08 | 0.0058267 | 0.0058267 | 0.0058267 | 0.97029 | -0.57275 | 0.97027 | -0.57297 | 1.6007
82 | 0.0019651 | 0.00049243 | -0.001965 | -0.00049248 | 1.7456e-08 | -5.2133e-08 | 0.0030136 | 0.0030136 | 0.0030136 | 0.97027 | -0.57297 | 0.97027 | -0.57315 | 0.82792

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3869 | 0.098244

## res_load
| p_mw | q_mvar
0 | 0.0011955 | 0.00029961
1 | 0.0025383 | 0.00063617
2 | 0.0014568 | 0.00036511
3 | 0.00028497 | 7.1419e-05
4 | 0.0030116 | 0.00075479
5 | 0.0015721 | 0.000394
6 | 0.0015002 | 0.00037598
7 | 0.0030885 | 0.00077406
8 | 0.011353 | 0.0028454
9 | 0.012181 | 0.0030529
10 | 0.01532 | 0.0038394
11 | 0.011002 | 0.0027573
12 | 0.011325 | 0.0028384
13 | 0.0089554 | 0.0022444
14 | 0.0082594 | 0.00207
15 | 0.011329 | 0.0028393
16 | 0.0067984 | 0.0017038
17 | 0.010505 | 0.0026328
18 | 0.0097274 | 0.0024379
19 | 0.014701 | 0.0036843
20 | 0.0065261 | 0.0016356
21 | 0.0086035 | 0.0021562
22 | 0.0052637 | 0.0013192
23 | 0.0083423 | 0.0020908
24 | 0.0054169 | 0.0013576
25 | 0.0032775 | 0.00082142
26 | 0.0089014 | 0.0022309
27 | 0.0089752 | 0.0022494
28 | 0.015467 | 0.0038763
29 | 0.0066569 | 0.0016684
30 | 0.016085 | 0.0040313
31 | 0.005548 | 0.0013905
32 | 0.0089752 | 0.0022494
33 | 0.0053532 | 0.0013416
34 | 0.0051666 | 0.0012949
35 | 0.008935 | 0.0022393
36 | 0.0086036 | 0.0021563
37 | 0.0056642 | 0.0014196
38 | 0.0040872 | 0.0010243
39 | 0.0024868 | 0.00062325
40 | 0.0028067 | 0.00070344
41 | 0.0025645 | 0.00064272
42 | 0.0036452 | 0.00091357
43 | 0.0043861 | 0.0010992
44 | 0.0038445 | 0.00096352
45 | 0.0020175 | 0.00050564
46 | 0.0019735 | 0.00049461
47 | 0.0019492 | 0.00048851
48 | 0.0032426 | 0.00081266
49 | 0.0020127 | 0.00050444
50 | 0.0018245 | 0.00045726
51 | 0.001835 | 0.00045988
52 | 0.0024715 | 0.00061941
53 | 0.0020738 | 0.00051973
54 | 0.0033808 | 0.0008473
55 | 0.0028074 | 0.0007036
56 | 0.010976 | 0.0027509
57 | 0.0039921 | 0.0010005
58 | 0.0030911 | 0.0007747
59 | 0.0094157 | 0.0023598
60 | 0.0040019 | 0.001003
61 | 0.0018343 | 0.00045972
62 | 0.004368 | 0.0010947
63 | 0.0020739 | 0.00051978
64 | 0.0018343 | 0.00045972
65 | 0.001965 | 0.00049248

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1