## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-7_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1054-7_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1054-7_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1054-7_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1054-7_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1054-7_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1054-7_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1054-7_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1054-7_0_3_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_1054-7_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1054-7_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1054-7_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1054-7_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1054-7_0_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1054-7_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1054-7_0_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1054-7_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_1054-7_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1054-7_0_3_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_1054-7_0_3_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_1054-7_0_3_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1054-7_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_1054-7_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1054-7_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_1054-7_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1054-7_0_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_1054-7_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1054-7_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_1054-7_0_3_node_66 | 0.4 | n |  | TRUE
31 | bus_MV_213_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-7_0_3_load_0 | 0 | 0.0080413 | 0.0020153 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-7_0_3_load_20 | 5 | 0.004047 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-7_0_3_load_17 | 6 | 0.0072311 | 0.0018123 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-7_0_3_load_16 | 8 | 0.0030938 | 0.00077539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-7_0_3_load_61 | 10 | 0.0053816 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-7_0_3_load_22 | 12 | 0.0063459 | 0.0015904 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-7_0_3_load_28 | 13 | 0.0053964 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-7_0_3_load_52 | 17 | 0.0064968 | 0.0016282 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-7_0_3_load_56 | 18 | 0.012471 | 0.0031255 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-7_0_3_load_68 | 20 | 0.0087302 | 0.002188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-7_0_3_load_67 | 22 | 0.011343 | 0.0028428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-7_0_3_load_55 | 25 | 0.034055 | 0.008535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-7_0_3_load_51 | 26 | 0.0041369 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-7_0_3_load_54 | 27 | 0.024094 | 0.0060385 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-7_0_3_load_57 | 28 | 0.012143 | 0.0030433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-7_0_3_load_64 | 29 | 0.010751 | 0.0026945 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-7_0_3_load_66 | 30 | 0.01059 | 0.0026542 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-7_0_3_line_0 |  | 0 | 1 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-7_0_3_line_1 |  | 1 | 2 | 0.04784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-7_0_3_line_2 |  | 1 | 3 | 0.077471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-7_0_3_line_3 |  | 2 | 4 | 0.003031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1054-7_0_3_line_4 |  | 2 | 5 | 0.065849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-7_0_3_line_5 |  | 3 | 7 | 0.072022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-7_0_3_line_6 |  | 4 | 6 | 0.022623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1054-7_0_3_line_7 |  | 5 | 11 | 0.033568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-7_0_3_line_8 |  | 6 | 8 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-7_0_3_line_9 |  | 7 | 15 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1054-7_0_3_line_10 |  | 7 | 16 | 0.07299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-7_0_3_line_11 |  | 7 | 17 | 0.04731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-7_0_3_line_12 |  | 7 | 18 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-7_0_3_line_13 |  | 8 | 9 | 0.027359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-7_0_3_line_14 |  | 9 | 10 | 0.032054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-7_0_3_line_15 |  | 10 | 14 | 0.052599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1054-7_0_3_line_16 |  | 11 | 12 | 0.021873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-7_0_3_line_17 |  | 13 | 14 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-7_0_3_line_18 |  | 15 | 24 | 0.0089476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-7_0_3_line_19 |  | 16 | 22 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-7_0_3_line_20 |  | 16 | 23 | 0.03637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-7_0_3_line_21 |  | 17 | 26 | 0.035594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-7_0_3_line_22 |  | 18 | 28 | 0.058584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-7_0_3_line_23 |  | 19 | 20 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-7_0_3_line_24 |  | 19 | 21 | 0.055129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-7_0_3_line_25 |  | 21 | 30 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-7_0_3_line_26 |  | 21 | 23 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-7_0_3_line_27 |  | 23 | 29 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-7_0_3_line_28 |  | 24 | 25 | 0.0041147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-7_0_3_line_29 |  | 25 | 27 | 0.038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-7_0_3_trafo_46 | 0.63 MVA 20/0.4 kV | 31 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2666622.1866 | 1213365.7549 | 2666616.8673 | 1213361.8264 | 2666610.8953 | 1213357.457
1 | 2666622.1866 | 1213365.7549 | 2666629.9904 | 1213371.6679 | 2666633.9636 | 1213375.0478 | 2666636.4021 | 1213377.7656 | 2666638.0246 | 1213380.0851 | 2666638.416 | 1213381.0901 | 2666639.3609 | 1213383.5467 | 2666639.6133 | 1213385.4284 | 2666640.5822 | 1213392.5326 | 2666641.7017 | 1213400.4389 | 2666642.719 | 1213405.9314
2 | 2666622.1866 | 1213365.7549 | 2666626.7321 | 1213360.747 | 2666642.4911 | 1213368.5501 | 2666685.2047 | 1213380.2347 | 2666688.3135 | 1213381.4257 | 2666691.3956 | 1213376.8573
3 | 2666642.719 | 1213405.9314 | 2666645.7032 | 1213405.3533
4 | 2666642.719 | 1213405.9314 | 2666640.6102 | 1213406.3414 | 2666633.6263 | 1213407.264 | 2666624.2675 | 1213406.5813 | 2666615.1972 | 1213404.5565 | 2666605.9858 | 1213400.8847 | 2666583.7632 | 1213383.7483
5 | 2666691.3956 | 1213376.8573 | 2666722.7728 | 1213330.3682 | 2666725.4358 | 1213326.6068 | 2666731.2205 | 1213330.3405 | 2666733.323 | 1213326.4282
6 | 2666645.7032 | 1213405.3533 | 2666647.5756 | 1213410.4663 | 2666650.5824 | 1213416.0255 | 2666656.7102 | 1213423.0428 | 2666657.8092 | 1213424.1243
7 | 2666557.1809 | 1213363.2499 | 2666583.7632 | 1213383.7483
8 | 2666671.5503 | 1213437.6467 | 2666657.8092 | 1213424.1243
9 | 2666733.323 | 1213326.4282 | 2666736.5287 | 1213328.4653 | 2666747.0318 | 1213334.8312
10 | 2666678.4494 | 1213330.1503 | 2666685.9702 | 1213329.4561 | 2666688.9869 | 1213325.2984 | 2666697.2116 | 1213313.9722 | 2666722.7728 | 1213330.3682 | 2666725.4358 | 1213326.6068 | 2666731.2205 | 1213330.3405 | 2666733.323 | 1213326.4282
11 | 2666733.323 | 1213326.4282 | 2666740.0413 | 1213313.9512 | 2666741.626 | 1213306.0751 | 2666741.4922 | 1213299.0248 | 2666741.8004 | 1213290.4896 | 2666743.562 | 1213285.8175 | 2666746.0932 | 1213282.0735
12 | 2666733.323 | 1213326.4282 | 2666715.751 | 1213315.2541
13 | 2666689.8434 | 1213457.8904 | 2666683.4966 | 1213449.403 | 2666671.5503 | 1213437.6467
14 | 2666689.8434 | 1213457.8904 | 2666689.9027 | 1213489.9443
15 | 2666689.9027 | 1213489.9443 | 2666648.4071 | 1213522.2673
16 | 2666557.1809 | 1213363.2499 | 2666562.3643 | 1213363.0187 | 2666566.241 | 1213361.4388 | 2666574.6446 | 1213352.1879
17 | 2666648.4071 | 1213522.2673 | 2666636.6071 | 1213518.4553 | 2666634.2454 | 1213517.7062 | 2666630.2685 | 1213514.4695
18 | 2666742.1092 | 1213342.303 | 2666742.3874 | 1213341.8837 | 2666744.5203 | 1213338.6388 | 2666746.4909 | 1213335.6479 | 2666747.0318 | 1213334.8312
19 | 2666671.6328 | 1213322.9029 | 2666677.4687 | 1213327.5043 | 2666678.4494 | 1213330.1503
20 | 2666657.3361 | 1213351.4386 | 2666657.0036 | 1213342.4516 | 2666660.6835 | 1213336.7336 | 2666664.4195 | 1213331.4276 | 2666678.4494 | 1213330.1503
21 | 2666774.2013 | 1213261.2007 | 2666764.7328 | 1213269.6221 | 2666756.9873 | 1213272.7374 | 2666748.5752 | 1213278.4023 | 2666746.0932 | 1213282.0735
22 | 2666715.751 | 1213315.2541 | 2666711.7353 | 1213312.7004 | 2666691.9553 | 1213299.6601 | 2666670.4254 | 1213285.4995 | 2666666.7759 | 1213283.1074
23 | 2666620.6372 | 1213291.6249 | 2666622.4054 | 1213295.1913 | 2666626.5733 | 1213298.1396 | 2666629.0688 | 1213299.157 | 2666636.5438 | 1213298.4846
24 | 2666643.6023 | 1213340.5006 | 2666648.6353 | 1213339.4562 | 2666646.6944 | 1213314.6524 | 2666651.0168 | 1213308.5414 | 2666636.5438 | 1213298.4846
25 | 2666624.1688 | 1213325.6855 | 2666621.0825 | 1213329.9536 | 2666633.6449 | 1213338.9996 | 2666640.0333 | 1213337.659 | 2666643.6023 | 1213340.5006
26 | 2666657.3361 | 1213351.4386 | 2666643.6023 | 1213340.5006
27 | 2666657.3361 | 1213351.4386 | 2666669.2251 | 1213360.9107
28 | 2666742.1092 | 1213342.303 | 2666745.6458 | 1213344.4062
29 | 2666745.6458 | 1213344.4062 | 2666778.8461 | 1213364.1497

## bus_geodata
| x | y | coords
0 | 2666610.8953 | 1213357.457
1 | 2666622.1866 | 1213365.7549
2 | 2666642.719 | 1213405.9314
3 | 2666691.3956 | 1213376.8573
4 | 2666645.7032 | 1213405.3533
5 | 2666583.7632 | 1213383.7483
6 | 2666657.8092 | 1213424.1243
7 | 2666733.323 | 1213326.4282
8 | 2666671.5503 | 1213437.6467
9 | 2666689.8434 | 1213457.8904
10 | 2666689.9027 | 1213489.9443
11 | 2666557.1809 | 1213363.2499
12 | 2666574.6446 | 1213352.1879
13 | 2666630.2685 | 1213514.4695
14 | 2666648.4071 | 1213522.2673
15 | 2666747.0318 | 1213334.8312
16 | 2666678.4494 | 1213330.1503
17 | 2666746.0932 | 1213282.0735
18 | 2666715.751 | 1213315.2541
19 | 2666636.5438 | 1213298.4846
20 | 2666620.6372 | 1213291.6249
21 | 2666643.6023 | 1213340.5006
22 | 2666671.6328 | 1213322.9029
23 | 2666657.3361 | 1213351.4386
24 | 2666742.1092 | 1213342.303
25 | 2666745.6458 | 1213344.4062
26 | 2666774.2013 | 1213261.2007
27 | 2666778.8461 | 1213364.1497
28 | 2666666.7759 | 1213283.1074
29 | 2666669.2251 | 1213360.9107
30 | 2666624.1688 | 1213325.6855
31 | 2666671.6328 | 1213322.9029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98554 | -0.27819 | 0.0080413 | 0.0020153
1 | 0.98564 | -0.27616 | 0 | 0
2 | 0.98425 | -0.30324 | 0 | 0
3 | 0.98846 | -0.22135 | 0 | 0
4 | 0.98419 | -0.30439 | 0 | 0
5 | 0.98362 | -0.31557 | 0.004047 | 0.0010143
6 | 0.98375 | -0.31299 | 0.0072311 | 0.0018123
7 | 0.99109 | -0.17067 | 0 | 0
8 | 0.9835 | -0.31781 | 0.0030938 | 0.00077539
9 | 0.98323 | -0.32313 | 0 | 0
10 | 0.98291 | -0.32936 | 0.0053816 | 0.0013488
11 | 0.98342 | -0.31941 | 0 | 0
12 | 0.98329 | -0.32191 | 0.0063459 | 0.0015904
13 | 0.98255 | -0.33643 | 0.0053964 | 0.0013525
14 | 0.98265 | -0.33448 | 0 | 0
15 | 0.99023 | -0.18724 | 0 | 0
16 | 1 | 0 | -0.17754 | -0.044667
17 | 0.99063 | -0.1796 | 0.0064968 | 0.0016282
18 | 0.99062 | -0.17977 | 0.012471 | 0.0031255
19 | 0.99826 | -0.033418 | 0 | 0
20 | 0.99811 | -0.036357 | 0.0087302 | 0.002188
21 | 0.9987 | -0.025002 | 0 | 0
22 | 0.99989 | -0.0020247 | 0.011343 | 0.0028428
23 | 0.99901 | -0.019085 | 0 | 0
24 | 0.98976 | -0.19649 | 0 | 0
25 | 0.98954 | -0.20075 | 0.034055 | 0.008535
26 | 0.99049 | -0.18222 | 0.0041369 | 0.0010368
27 | 0.98868 | -0.21733 | 0.024094 | 0.0060385
28 | 0.98997 | -0.19241 | 0.012143 | 0.0030433
29 | 0.99886 | -0.021935 | 0.010751 | 0.0026945
30 | 0.99839 | -0.030885 | 0.01059 | 0.0026542
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0080413 | -0.0020153 | 0.0080421 | 0.0020157 | 7.7458e-07 | 3.1716e-07 | 0.012141 | 0.012141 | 0.012141 | 0.98554 | -0.27819 | 0.98564 | -0.27616 | 3.3355
1 | 0.031565 | 0.0079337 | -0.031525 | -0.0079082 | 4.0754e-05 | 2.5474e-05 | 0.047662 | 0.047662 | 0.047662 | 0.98564 | -0.27616 | 0.98425 | -0.30324 | 13.0941
2 | -0.039607 | -0.0099494 | 0.039711 | 0.010015 | 0.0001039 | 6.5507e-05 | 0.059803 | 0.059803 | 0.059803 | 0.98564 | -0.27616 | 0.98846 | -0.22135 | 16.4295
3 | 0.021124 | 0.0052999 | -0.021123 | -0.0052992 | 1.1594e-06 | 7.0347e-07 | 0.031937 | 0.031938 | 0.031938 | 0.98425 | -0.30324 | 0.98419 | -0.30439 | 8.774
4 | 0.010401 | 0.0026083 | -0.010395 | -0.0026052 | 6.1061e-06 | 3.0716e-06 | 0.015725 | 0.015725 | 0.015725 | 0.98425 | -0.30324 | 0.98362 | -0.31557 | 4.3201
5 | -0.039711 | -0.010015 | 0.039808 | 0.010076 | 9.6592e-05 | 6.0893e-05 | 0.059803 | 0.059803 | 0.059803 | 0.98846 | -0.22135 | 0.99109 | -0.17067 | 16.4294
6 | 0.021123 | 0.0052992 | -0.021114 | -0.005294 | 8.6535e-06 | 5.2509e-06 | 0.031938 | 0.031938 | 0.031938 | 0.98419 | -0.30439 | 0.98375 | -0.31299 | 8.7741
7 | 0.0063478 | 0.0015909 | -0.0063466 | -0.0015906 | 1.1608e-06 | 3.1694e-07 | 0.0096029 | 0.0096031 | 0.0096031 | 0.98362 | -0.31557 | 0.98342 | -0.31941 | 2.6382
8 | 0.013883 | 0.0034817 | -0.01388 | -0.0034799 | 3.1882e-06 | 1.7957e-06 | 0.021 | 0.021 | 0.021 | 0.98375 | -0.31299 | 0.9835 | -0.31781 | 5.7692
9 | 0.058251 | 0.014638 | -0.058205 | -0.014609 | 4.604e-05 | 2.9259e-05 | 0.087472 | 0.087472 | 0.087472 | 0.99109 | -0.17067 | 0.99023 | -0.18724 | 24.0309
10 | -0.13333 | -0.033561 | 0.13443 | 0.034262 | 0.0010974 | 0.00070138 | 0.20023 | 0.20023 | 0.20023 | 0.99109 | -0.17067 | 1 | 0 | 55.0089
11 | 0.010639 | 0.0026672 | -0.010634 | -0.0026649 | 4.5266e-06 | 2.2876e-06 | 0.015973 | 0.015973 | 0.015973 | 0.99109 | -0.17067 | 0.99063 | -0.1796 | 4.3883
12 | 0.024632 | 0.0061793 | -0.024621 | -0.0061728 | 1.0681e-05 | 6.5679e-06 | 0.036984 | 0.036984 | 0.036984 | 0.99109 | -0.17067 | 0.99062 | -0.17977 | 10.1606
13 | 0.010786 | 0.0027045 | -0.010783 | -0.0027031 | 2.7323e-06 | 1.4016e-06 | 0.016319 | 0.016319 | 0.016319 | 0.9835 | -0.31781 | 0.98323 | -0.32313 | 4.4833
14 | 0.010783 | 0.0027031 | -0.01078 | -0.0027015 | 3.2012e-06 | 1.6424e-06 | 0.016319 | 0.016319 | 0.016319 | 0.98323 | -0.32313 | 0.98291 | -0.32936 | 4.4833
15 | 0.0053982 | 0.0013527 | -0.0053969 | -0.0013525 | 1.3173e-06 | 1.766e-07 | 0.0081722 | 0.0081724 | 0.0081724 | 0.98291 | -0.32936 | 0.98265 | -0.33448 | 2.2452
16 | 0.0063466 | 0.0015906 | -0.0063459 | -0.0015904 | 7.5641e-07 | 2.0662e-07 | 0.0096031 | 0.0096032 | 0.0096032 | 0.98342 | -0.31941 | 0.98329 | -0.32191 | 2.6382
17 | -0.0053964 | -0.0013525 | 0.0053969 | 0.0013525 | 5.0106e-07 | 6.7273e-08 | 0.0081725 | 0.0081724 | 0.0081725 | 0.98255 | -0.33643 | 0.98265 | -0.33448 | 2.2452
18 | 0.058205 | 0.014609 | -0.05818 | -0.014593 | 2.5673e-05 | 1.6316e-05 | 0.087472 | 0.087472 | 0.087472 | 0.99023 | -0.18724 | 0.98976 | -0.19649 | 24.0309
19 | 0.011344 | 0.0028434 | -0.011343 | -0.0028428 | 1.0942e-06 | 5.6596e-07 | 0.01688 | 0.01688 | 0.01688 | 1 | 0 | 0.99989 | -0.0020247 | 4.6375
20 | 0.030114 | 0.0075613 | -0.030086 | -0.0075442 | 2.7392e-05 | 1.7054e-05 | 0.044815 | 0.044815 | 0.044815 | 1 | 0 | 0.99901 | -0.019085 | 12.3118
21 | 0.0041374 | 0.0010367 | -0.0041369 | -0.0010368 | 5.1552e-07 | -1.2825e-07 | 0.0062147 | 0.0062148 | 0.0062148 | 0.99063 | -0.1796 | 0.99049 | -0.18222 | 1.7074
22 | 0.01215 | 0.0030472 | -0.012143 | -0.0030433 | 7.3185e-06 | 3.9301e-06 | 0.018252 | 0.018252 | 0.018252 | 0.99062 | -0.17977 | 0.98997 | -0.19241 | 5.0143
23 | 0.0087315 | 0.0021885 | -0.0087302 | -0.002188 | 1.2226e-06 | 5.3088e-07 | 0.013015 | 0.013015 | 0.013015 | 0.99826 | -0.033418 | 0.99811 | -0.036357 | 3.5756
24 | -0.0087315 | -0.0021885 | 0.008735 | 0.0021901 | 3.5019e-06 | 1.5202e-06 | 0.013015 | 0.013015 | 0.013015 | 0.99826 | -0.033418 | 0.9987 | -0.025002 | 3.5756
25 | 0.010593 | 0.0026557 | -0.01059 | -0.0026542 | 2.9689e-06 | 1.4844e-06 | 0.015784 | 0.015784 | 0.015784 | 0.9987 | -0.025002 | 0.99839 | -0.030885 | 4.3363
26 | -0.019328 | -0.0048457 | 0.019334 | 0.004849 | 5.4512e-06 | 3.2593e-06 | 0.028799 | 0.028799 | 0.028799 | 0.9987 | -0.025002 | 0.99901 | -0.019085 | 7.9118
27 | 0.010753 | 0.0026952 | -0.010751 | -0.0026945 | 1.4596e-06 | 7.3552e-07 | 0.016016 | 0.016016 | 0.016016 | 0.99901 | -0.019085 | 0.99886 | -0.021935 | 4.4
28 | 0.05818 | 0.014593 | -0.058168 | -0.014585 | 1.1806e-05 | 7.5031e-06 | 0.087472 | 0.087472 | 0.087472 | 0.98976 | -0.19649 | 0.98954 | -0.20075 | 24.0309
29 | 0.024113 | 0.0060502 | -0.024094 | -0.0060385 | 1.9047e-05 | 1.1694e-05 | 0.036262 | 0.036262 | 0.036262 | 0.98954 | -0.20075 | 0.98868 | -0.21733 | 9.9622

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17754 | 0.044667

## res_load
| p_mw | q_mvar
0 | 0.0080413 | 0.0020153
1 | 0.004047 | 0.0010143
2 | 0.0072311 | 0.0018123
3 | 0.0030938 | 0.00077539
4 | 0.0053816 | 0.0013488
5 | 0.0063459 | 0.0015904
6 | 0.0053964 | 0.0013525
7 | 0.0064968 | 0.0016282
8 | 0.012471 | 0.0031255
9 | 0.0087302 | 0.002188
10 | 0.011343 | 0.0028428
11 | 0.034055 | 0.008535
12 | 0.0041369 | 0.0010368
13 | 0.024094 | 0.0060385
14 | 0.012143 | 0.0030433
15 | 0.010751 | 0.0026945
16 | 0.01059 | 0.0026542

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1