## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1054-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1054-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1054-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1054-8_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1054-8_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1054-8_0_6_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1054-8_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1054-8_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1054-8_0_6_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1054-8_0_6_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1054-8_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1054-8_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1054-8_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1054-8_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1054-8_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1054-8_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1054-8_0_6_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_1054-8_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1054-8_0_6_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1054-8_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1054-8_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1054-8_0_6_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1054-8_0_6_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1054-8_0_6_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1054-8_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1054-8_0_6_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1054-8_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1054-8_0_6_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1054-8_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1054-8_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1054-8_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1054-8_0_6_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_1054-8_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1054-8_0_6_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_1054-8_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1054-8_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1054-8_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1054-8_0_6_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_1054-8_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1054-8_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1054-8_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1054-8_0_6_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1054-8_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1054-8_0_6_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1054-8_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1054-8_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1054-8_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1054-8_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_MV_212_1_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1054-8_0_6_load_0 | 0 | 0.016192 | 0.004058 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1054-8_0_6_load_1 | 1 | 0.07961 | 0.019952 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1054-8_0_6_load_2 | 2 | 0.018841 | 0.0047219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1054-8_0_6_load_3 | 4 | 0.0063281 | 0.001586 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1054-8_0_6_load_28 | 5 | 0.0053283 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1054-8_0_6_load_8 | 10 | 0.013697 | 0.0034328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1054-8_0_6_load_5 | 11 | 0.014007 | 0.0035105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1054-8_0_6_load_39 | 16 | 0.016733 | 0.0041937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1054-8_0_6_load_38 | 18 | 0.017027 | 0.0042673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1054-8_0_6_load_25 | 19 | 0.010665 | 0.0026729 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1054-8_0_6_load_36 | 21 | 0.0021221 | 0.00053185 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1054-8_0_6_load_46 | 22 | 0.00085408 | 0.00021405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1054-8_0_6_load_41 | 23 | 0.02483 | 0.006223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1054-8_0_6_load_33 | 24 | 0.00098102 | 0.00024587 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1054-8_0_6_load_29 | 25 | 0.0076547 | 0.0019184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1054-8_0_6_load_51 | 27 | 0.036368 | 0.0091148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1054-8_0_6_load_23 | 30 | 0.00014537 | 3.6433e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1054-8_0_6_load_44 | 31 | 0.0011791 | 0.0002955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1054-8_0_6_load_42 | 34 | 0.056044 | 0.014046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1054-8_0_6_load_27 | 35 | 0.0030086 | 0.00075402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1054-8_0_6_load_26 | 36 | 0.013099 | 0.0032829 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1054-8_0_6_load_52 | 37 | 0.0072522 | 0.0018176 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1054-8_0_6_load_40 | 38 | 0.0068816 | 0.0017247 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1054-8_0_6_load_37 | 39 | 0.0073941 | 0.0018531 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1054-8_0_6_load_34 | 40 | 0.0076228 | 0.0019105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1054-8_0_6_load_47 | 41 | 0.045951 | 0.011516 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1054-8_0_6_load_50 | 42 | 0.036172 | 0.0090656 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1054-8_0_6_load_30 | 44 | 7.5515e-05 | 1.8926e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1054-8_0_6_load_45 | 45 | 0.0030987 | 0.0007766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1054-8_0_6_load_35 | 46 | 0.002818 | 0.00070626 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1054-8_0_6_load_43 | 47 | 0.00067257 | 0.00016856 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1054-8_0_6_line_0 |  | 0 | 1 | 0.040169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1054-8_0_6_line_1 |  | 0 | 2 | 0.0044543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1054-8_0_6_line_2 |  | 2 | 3 | 0.019196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1054-8_0_6_line_3 |  | 3 | 6 | 0.058908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1054-8_0_6_line_4 |  | 3 | 7 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1054-8_0_6_line_5 |  | 3 | 8 | 0.12978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1054-8_0_6_line_6 |  | 3 | 9 | 0.052577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1054-8_0_6_line_7 |  | 4 | 5 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1054-8_0_6_line_8 |  | 5 | 7 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1054-8_0_6_line_9 |  | 6 | 10 | 0.0645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1054-8_0_6_line_10 |  | 6 | 11 | 0.061363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1054-8_0_6_line_11 |  | 7 | 25 | 0.036815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1054-8_0_6_line_12 |  | 8 | 31 | 0.048268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1054-8_0_6_line_13 |  | 8 | 28 | 0.018172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1054-8_0_6_line_14 |  | 9 | 34 | 0.03909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1054-8_0_6_line_15 |  | 9 | 26 | 0.005551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1054-8_0_6_line_16 |  | 10 | 35 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1054-8_0_6_line_17 |  | 11 | 12 | 0.0305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1054-8_0_6_line_18 |  | 12 | 13 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1054-8_0_6_line_19 |  | 12 | 14 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1054-8_0_6_line_20 |  | 13 | 21 | 0.068293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1054-8_0_6_line_21 |  | 13 | 24 | 0.068813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1054-8_0_6_line_22 |  | 14 | 23 | 0.0045427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1054-8_0_6_line_23 |  | 15 | 16 | 0.073683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1054-8_0_6_line_24 |  | 15 | 17 | 0.22651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1054-8_0_6_line_25 |  | 15 | 18 | 0.021557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1054-8_0_6_line_26 |  | 16 | 37 | 0.038728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1054-8_0_6_line_27 |  | 17 | 19 | 0.14773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1054-8_0_6_line_28 |  | 18 | 39 | 0.039429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1054-8_0_6_line_29 |  | 19 | 36 | 0.00021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1054-8_0_6_line_30 |  | 20 | 21 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1054-8_0_6_line_31 |  | 20 | 22 | 0.025651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1054-8_0_6_line_32 |  | 24 | 40 | 0.0019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1054-8_0_6_line_33 |  | 26 | 27 | 0.043137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1054-8_0_6_line_34 |  | 27 | 32 | 0.075285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1054-8_0_6_line_35 |  | 28 | 29 | 0.0904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1054-8_0_6_line_36 |  | 28 | 30 | 0.070909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1054-8_0_6_line_37 |  | 29 | 44 | 0.033184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1054-8_0_6_line_38 |  | 31 | 45 | 0.079478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1054-8_0_6_line_39 |  | 32 | 33 | 0.079902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1054-8_0_6_line_40 |  | 33 | 41 | 0.070898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1054-8_0_6_line_41 |  | 35 | 36 | 0.040799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1054-8_0_6_line_42 |  | 37 | 38 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1054-8_0_6_line_43 |  | 40 | 46 | 0.084287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1054-8_0_6_line_44 |  | 41 | 43 | 0.02943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1054-8_0_6_line_45 |  | 42 | 43 | 0.041891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1054-8_0_6_line_46 |  | 46 | 47 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1054-8_0_6_trafo_6 | 0.63 MVA 20/0.4 kV | 48 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2668766.9904 | 1215435.484 | 2668794.9166 | 1215453.037 | 2668800.1283 | 1215448.0914
1 | 2668766.9904 | 1215435.484 | 2668763.2191 | 1215433.1136
2 | 2668746.9671 | 1215422.8984 | 2668763.2191 | 1215433.1136
3 | 2668746.9671 | 1215422.8984 | 2668741.2077 | 1215433.0495 | 2668732.6837 | 1215441.2676 | 2668735.7589 | 1215455.1228 | 2668736.9682 | 1215467.4668 | 2668735.5695 | 1215476.1561
4 | 2668746.9671 | 1215422.8984 | 2668748.7584 | 1215419.6837 | 2668753.092 | 1215412.0066 | 2668764.2537 | 1215395.0135
5 | 2668746.9671 | 1215422.8984 | 2668748.7584 | 1215419.6837 | 2668740.0397 | 1215415.147 | 2668751.3712 | 1215397.9224 | 2668759.8595 | 1215391.494 | 2668766.2664 | 1215389.7223 | 2668775.4802 | 1215387.5494 | 2668783.5553 | 1215384.6852 | 2668787.7538 | 1215380.1641 | 2668789.8103 | 1215375.029 | 2668789.7925 | 1215365.3894 | 2668785.9436 | 1215358.0404 | 2668781.2618 | 1215353.1166 | 2668778.3786 | 1215355.5293 | 2668783.8545 | 1215362.0522 | 2668790.3606 | 1215356.9573 | 2668793.5219 | 1215358.0834
6 | 2668707.8854 | 1215431.0865 | 2668716.8012 | 1215429.0657 | 2668725.7971 | 1215427.3461 | 2668728.0978 | 1215423.4146 | 2668730.8277 | 1215424.4133 | 2668736.2619 | 1215420.7292 | 2668740.0397 | 1215415.147 | 2668748.7584 | 1215419.6837 | 2668746.9671 | 1215422.8984
7 | 2668801.4831 | 1215412.138 | 2668786.902 | 1215398.8793
8 | 2668764.2537 | 1215395.0135 | 2668773.1664 | 1215393.9267 | 2668784.0141 | 1215396.2533 | 2668786.902 | 1215398.8793
9 | 2668735.5695 | 1215476.1561 | 2668743.6958 | 1215478.707 | 2668753.1109 | 1215483.4296 | 2668767.8986 | 1215492.428 | 2668771.9843 | 1215495.6994 | 2668780.3739 | 1215502.4226 | 2668789.0181 | 1215510.9661
10 | 2668735.5695 | 1215476.1561 | 2668732.2223 | 1215487.2023 | 2668723.9124 | 1215508.4643 | 2668716.4849 | 1215526.9682 | 2668714.1197 | 1215533.6131
11 | 2668764.2537 | 1215395.0135 | 2668765.1114 | 1215387.1518 | 2668762.9528 | 1215382.713 | 2668745.4351 | 1215366.3503
12 | 2668793.5219 | 1215358.0834 | 2668793.0263 | 1215361.5465 | 2668794.0672 | 1215370.0528 | 2668796.8535 | 1215374.7212 | 2668819.3809 | 1215395.6709
13 | 2668793.5219 | 1215358.0834 | 2668794.3722 | 1215352.1895 | 2668799.399 | 1215351.5693 | 2668805.0165 | 1215347.1425
14 | 2668707.8854 | 1215431.0865 | 2668713.5632 | 1215438.5455 | 2668719.6461 | 1215447.7547 | 2668722.9306 | 1215459.2665 | 2668722.9489 | 1215465.9743
15 | 2668704.7948 | 1215426.4702 | 2668707.8854 | 1215431.0865
16 | 2668802.808 | 1215524.5953 | 2668789.0181 | 1215510.9661
17 | 2668706.3029 | 1215563.0847 | 2668710.0176 | 1215547.8179 | 2668713.7773 | 1215534.5751 | 2668714.1197 | 1215533.6131
18 | 2668706.3029 | 1215563.0847 | 2668703.0897 | 1215580.9589
19 | 2668691.2085 | 1215558.9526 | 2668695.4778 | 1215560.1359 | 2668700.9964 | 1215561.6337 | 2668706.3029 | 1215563.0847
20 | 2668703.0897 | 1215580.9589 | 2668701.2173 | 1215595.1685 | 2668699.0828 | 1215613.6667 | 2668698.0269 | 1215624.2389 | 2668697.6054 | 1215648.9497
21 | 2668703.0897 | 1215580.9589 | 2668707.7148 | 1215581.5681 | 2668712.8494 | 1215584.0956 | 2668753.9384 | 1215625.6305
22 | 2668691.2085 | 1215558.9526 | 2668692.9685 | 1215554.7647
23 | 2668885.5578 | 1215497.6782 | 2668848.5156 | 1215534.4402 | 2668833.2437 | 1215519.3134
24 | 2668885.5578 | 1215497.6782 | 2668991.6724 | 1215602.1264 | 2668953.7699 | 1215640.3898 | 2668942.298 | 1215652.0201 | 2668941.1764 | 1215653.1412 | 2668937.0508 | 1215657.2738
25 | 2668885.5578 | 1215497.6782 | 2668870.0811 | 1215482.672
26 | 2668833.2437 | 1215519.3134 | 2668814.5122 | 1215500.7599 | 2668822.9662 | 1215491.7393
27 | 2668937.0508 | 1215657.2738 | 2668831.9782 | 1215553.4256
28 | 2668870.0811 | 1215482.672 | 2668849.8491 | 1215463.0551 | 2668842.1572 | 1215471.2624
29 | 2668831.9782 | 1215553.4256 | 2668831.8259 | 1215553.2751
30 | 2668695.4012 | 1215668.2253 | 2668696.6812 | 1215658.634 | 2668697.6054 | 1215648.9497
31 | 2668695.4012 | 1215668.2253 | 2668697.6236 | 1215678.3239 | 2668701.744 | 1215693.0696
32 | 2668755.3356 | 1215627.0428 | 2668753.9384 | 1215625.6305
33 | 2668704.7948 | 1215426.4702 | 2668672.9758 | 1215404.7567 | 2668668.9555 | 1215402.4892
34 | 2668603.9155 | 1215364.5921 | 2668631.9238 | 1215381.6028 | 2668668.9555 | 1215402.4892
35 | 2668805.0165 | 1215347.1425 | 2668832.378 | 1215316.8836 | 2668867.9132 | 1215351.4935
36 | 2668805.0165 | 1215347.1425 | 2668857.5633 | 1215394.755
37 | 2668867.9132 | 1215351.4935 | 2668891.6349 | 1215374.6989
38 | 2668819.3809 | 1215395.6709 | 2668863.7741 | 1215436.955 | 2668877.5817 | 1215449.7954
39 | 2668603.9155 | 1215364.5921 | 2668596.2281 | 1215378.6458 | 2668587.0431 | 1215391.5149 | 2668558.5824 | 1215430.3343
40 | 2668558.5824 | 1215430.3343 | 2668581.8042 | 1215447.5232 | 2668615.7877 | 1215472.2155
41 | 2668802.808 | 1215524.5953 | 2668831.8259 | 1215553.2751
42 | 2668832.4951 | 1215481.572 | 2668822.9662 | 1215491.7393
43 | 2668754.9139 | 1215689.2906 | 2668778.1808 | 1215666.7786 | 2668781.3285 | 1215662.49 | 2668782.8328 | 1215657.1595 | 2668781.0278 | 1215653.0139 | 2668755.3356 | 1215627.0428
44 | 2668639.5962 | 1215489.5146 | 2668615.7877 | 1215472.2155
45 | 2668639.5962 | 1215489.5146 | 2668619.4192 | 1215526.2266
46 | 2668754.9139 | 1215689.2906 | 2668739.7765 | 1215703.9369 | 2668740.3126 | 1215704.6696

## bus_geodata
| x | y | coords
0 | 2668766.9904 | 1215435.484
1 | 2668800.1283 | 1215448.0914
2 | 2668763.2191 | 1215433.1136
3 | 2668746.9671 | 1215422.8984
4 | 2668801.4831 | 1215412.138
5 | 2668786.902 | 1215398.8793
6 | 2668735.5695 | 1215476.1561
7 | 2668764.2537 | 1215395.0135
8 | 2668793.5219 | 1215358.0834
9 | 2668707.8854 | 1215431.0865
10 | 2668789.0181 | 1215510.9661
11 | 2668714.1197 | 1215533.6131
12 | 2668706.3029 | 1215563.0847
13 | 2668703.0897 | 1215580.9589
14 | 2668691.2085 | 1215558.9526
15 | 2668885.5578 | 1215497.6782
16 | 2668833.2437 | 1215519.3134
17 | 2668937.0508 | 1215657.2738
18 | 2668870.0811 | 1215482.672
19 | 2668831.9782 | 1215553.4256
20 | 2668695.4012 | 1215668.2253
21 | 2668697.6054 | 1215648.9497
22 | 2668701.744 | 1215693.0696
23 | 2668692.9685 | 1215554.7647
24 | 2668753.9384 | 1215625.6305
25 | 2668745.4351 | 1215366.3503
26 | 2668704.7948 | 1215426.4702
27 | 2668668.9555 | 1215402.4892
28 | 2668805.0165 | 1215347.1425
29 | 2668867.9132 | 1215351.4935
30 | 2668857.5633 | 1215394.755
31 | 2668819.3809 | 1215395.6709
32 | 2668603.9155 | 1215364.5921
33 | 2668558.5824 | 1215430.3343
34 | 2668722.9489 | 1215465.9743
35 | 2668802.808 | 1215524.5953
36 | 2668831.8259 | 1215553.2751
37 | 2668822.9662 | 1215491.7393
38 | 2668832.4951 | 1215481.572
39 | 2668842.1572 | 1215471.2624
40 | 2668755.3356 | 1215627.0428
41 | 2668615.7877 | 1215472.2155
42 | 2668619.4192 | 1215526.2266
43 | 2668639.5962 | 1215489.5146
44 | 2668891.6349 | 1215374.6989
45 | 2668877.5817 | 1215449.7954
46 | 2668754.9139 | 1215689.2906
47 | 2668740.3126 | 1215704.6696
48 | 2668728.2434 | 1215474.6596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99194 | -0.15417 | 0.016192 | 0.004058
1 | 0.989 | -0.21099 | 0.07961 | 0.019952
2 | 0.99233 | -0.14662 | 0.018841 | 0.0047219
3 | 0.99434 | -0.10774 | 0 | 0
4 | 0.99339 | -0.12606 | 0.0063281 | 0.001586
5 | 0.99351 | -0.12386 | 0.0053283 | 0.0013354
6 | 1 | 0 | -0.47028 | -0.11974
7 | 0.99376 | -0.11893 | 0 | 0
8 | 0.99381 | -0.11807 | 0 | 0
9 | 0.99152 | -0.16183 | 0 | 0
10 | 0.99714 | -0.053992 | 0.013697 | 0.0034328
11 | 0.99699 | -0.057843 | 0.014007 | 0.0035105
12 | 0.99588 | -0.079212 | 0 | 0
13 | 0.99563 | -0.084027 | 0 | 0
14 | 0.99552 | -0.086044 | 0 | 0
15 | 0.97333 | -0.51241 | 0 | 0
16 | 0.97121 | -0.55435 | 0.016733 | 0.0041937
17 | 0.98502 | -0.2847 | 0 | 0
18 | 0.97284 | -0.5221 | 0.017027 | 0.0042673
19 | 0.99266 | -0.13907 | 0.010665 | 0.0026729
20 | 0.99543 | -0.087897 | 0 | 0
21 | 0.99544 | -0.087605 | 0.0021221 | 0.00053185
22 | 0.99541 | -0.088282 | 0.00085408 | 0.00021405
23 | 0.99542 | -0.088028 | 0.02483 | 0.006223
24 | 0.99487 | -0.098677 | 0.00098102 | 0.00024587
25 | 0.99351 | -0.1239 | 0.0076547 | 0.0019184
26 | 0.99131 | -0.16572 | 0 | 0
27 | 0.98973 | -0.19599 | 0.036368 | 0.0091148
28 | 0.99381 | -0.11815 | 0 | 0
29 | 0.9938 | -0.11827 | 0 | 0
30 | 0.9938 | -0.11833 | 0.00014537 | 3.6433e-05
31 | 0.99362 | -0.12172 | 0.0011791 | 0.0002955
32 | 0.98685 | -0.25116 | 0 | 0
33 | 0.98074 | -0.36933 | 0 | 0
34 | 0.98951 | -0.20075 | 0.056044 | 0.014046
35 | 0.99566 | -0.081929 | 0.0030086 | 0.00075402
36 | 0.99267 | -0.13882 | 0.013099 | 0.0032829
37 | 0.97069 | -0.56447 | 0.0072522 | 0.0018176
38 | 0.9706 | -0.56624 | 0.0068816 | 0.0017247
39 | 0.97257 | -0.52747 | 0.0073941 | 0.0018531
40 | 0.99485 | -0.099066 | 0.0076228 | 0.0019105
41 | 0.97532 | -0.47543 | 0.045951 | 0.011516
42 | 0.97291 | -0.52282 | 0.036172 | 0.0090656
43 | 0.97433 | -0.49496 | 0 | 0
44 | 0.9938 | -0.11832 | 7.5515e-05 | 1.8926e-05
45 | 0.9934 | -0.12607 | 0.0030987 | 0.0007766
46 | 0.99458 | -0.10425 | 0.002818 | 0.00070626
47 | 0.99457 | -0.10451 | 0.00067257 | 0.00016856
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.079826 | 0.02009 | -0.07961 | -0.019952 | 0.00021611 | 0.0001378 | 0.11978 | 0.11978 | 0.11978 | 0.99194 | -0.15417 | 0.989 | -0.21099 | 32.9061
1 | -0.096018 | -0.024148 | 0.096053 | 0.02417 | 3.4669e-05 | 2.2131e-05 | 0.14407 | 0.14407 | 0.14407 | 0.99194 | -0.15417 | 0.99233 | -0.14662 | 39.579
2 | -0.11489 | -0.028892 | 0.11511 | 0.029029 | 0.00021375 | 0.00013655 | 0.17232 | 0.17232 | 0.17232 | 0.99233 | -0.14662 | 0.99434 | -0.10774 | 47.3404
3 | -0.31543 | -0.079985 | 0.31707 | 0.081034 | 0.001643 | 0.0010492 | 0.47236 | 0.47236 | 0.47236 | 0.99434 | -0.10774 | 1 | 0 | 43.2564
4 | 0.019327 | 0.0048483 | -0.019316 | -0.0048421 | 1.0298e-05 | 6.1653e-06 | 0.028923 | 0.028924 | 0.028924 | 0.99434 | -0.10774 | 0.99376 | -0.11893 | 7.9461
5 | 0.0045022 | 0.0011237 | -0.0045 | -0.0011239 | 2.2083e-06 | -2.692e-07 | 0.0067358 | 0.0067364 | 0.0067364 | 0.99434 | -0.10774 | 0.99381 | -0.11807 | 1.8507
6 | 0.17649 | 0.044984 | -0.17603 | -0.044692 | 0.00045938 | 0.00029196 | 0.26438 | 0.26438 | 0.26438 | 0.99434 | -0.10774 | 0.99152 | -0.16183 | 24.2108
7 | -0.0063281 | -0.001586 | 0.0063287 | 0.0015861 | 6.6402e-07 | 1.698e-07 | 0.0094789 | 0.0094788 | 0.0094789 | 0.99339 | -0.12606 | 0.99351 | -0.12386 | 2.6041
8 | -0.011657 | -0.0029215 | 0.01166 | 0.002923 | 2.7407e-06 | 1.4435e-06 | 0.017459 | 0.017459 | 0.017459 | 0.99351 | -0.12386 | 0.99376 | -0.11893 | 4.7965
9 | 0.097436 | 0.025064 | -0.097181 | -0.024902 | 0.00025502 | 0.00016153 | 0.14521 | 0.14522 | 0.14522 | 1 | 0 | 0.99714 | -0.053992 | 19.9472
10 | 0.054122 | 0.013642 | -0.053972 | -0.013547 | 0.00014934 | 9.4778e-05 | 0.080561 | 0.080562 | 0.080562 | 1 | 0 | 0.99699 | -0.057843 | 22.1323
11 | 0.0076565 | 0.0019191 | -0.0076547 | -0.0019184 | 1.8146e-06 | 6.8447e-07 | 0.011465 | 0.011465 | 0.011465 | 0.99376 | -0.11893 | 0.99351 | -0.1239 | 3.1496
12 | 0.0042791 | 0.0010713 | -0.0042784 | -0.0010715 | 7.4296e-07 | -1.4981e-07 | 0.0064066 | 0.0064069 | 0.0064069 | 0.99381 | -0.11807 | 0.99362 | -0.12172 | 1.7601
13 | 0.00022089 | 5.2605e-05 | -0.00022089 | -5.284e-05 | 7.413e-10 | -2.3499e-07 | 0.00032978 | 0.00032986 | 0.00032986 | 0.99381 | -0.11807 | 0.99381 | -0.11815 | 0.090622
14 | 0.056148 | 0.014112 | -0.056044 | -0.014046 | 0.00010412 | 6.6132e-05 | 0.084278 | 0.084278 | 0.084278 | 0.99152 | -0.16183 | 0.98951 | -0.20075 | 23.1533
15 | 0.11988 | 0.030581 | -0.11986 | -0.030566 | 2.2508e-05 | 1.419e-05 | 0.1801 | 0.18011 | 0.18011 | 0.99152 | -0.16183 | 0.99131 | -0.16572 | 16.4931
16 | 0.083484 | 0.021469 | -0.08337 | -0.021397 | 0.0001132 | 7.2194e-05 | 0.12478 | 0.12478 | 0.12478 | 0.99714 | -0.053992 | 0.99566 | -0.081929 | 34.2791
17 | 0.039965 | 0.010037 | -0.039925 | -0.010011 | 4.0704e-05 | 2.5653e-05 | 0.059656 | 0.059656 | 0.059656 | 0.99699 | -0.057843 | 0.99588 | -0.079212 | 16.3891
18 | 0.015084 | 0.0037817 | -0.015081 | -0.0037797 | 3.46e-06 | 1.9782e-06 | 0.022539 | 0.022539 | 0.022539 | 0.99588 | -0.079212 | 0.99563 | -0.084027 | 6.192
19 | 0.024841 | 0.0062294 | -0.024832 | -0.0062245 | 8.0853e-06 | 4.971e-06 | 0.037117 | 0.037118 | 0.037118 | 0.99588 | -0.079212 | 0.99552 | -0.086044 | 10.1971
20 | 0.0029767 | 0.00074477 | -0.0029762 | -0.00074534 | 5.0681e-07 | -5.6361e-07 | 0.0044484 | 0.0044487 | 0.0044487 | 0.99563 | -0.084027 | 0.99544 | -0.087605 | 1.2222
21 | 0.012104 | 0.0030349 | -0.012095 | -0.0030304 | 8.4451e-06 | 4.5106e-06 | 0.01809 | 0.018091 | 0.018091 | 0.99563 | -0.084027 | 0.99487 | -0.098677 | 4.97
22 | 0.024832 | 0.0062245 | -0.02483 | -0.006223 | 2.347e-06 | 1.443e-06 | 0.037118 | 0.037118 | 0.037118 | 0.99552 | -0.086044 | 0.99542 | -0.088028 | 10.1971
23 | 0.030936 | 0.0077787 | -0.030874 | -0.00774 | 6.183e-05 | 3.8657e-05 | 0.047304 | 0.047304 | 0.047304 | 0.97333 | -0.51241 | 0.97121 | -0.55435 | 12.9957
24 | -0.05537 | -0.013907 | 0.055979 | 0.014294 | 0.0006088 | 0.00038678 | 0.08466 | 0.084659 | 0.08466 | 0.97333 | -0.51241 | 0.98502 | -0.2847 | 23.2582
25 | 0.024434 | 0.0061281 | -0.024423 | -0.0061211 | 1.1281e-05 | 6.952e-06 | 0.037356 | 0.037356 | 0.037356 | 0.97333 | -0.51241 | 0.97284 | -0.5221 | 10.2627
26 | 0.014141 | 0.0035463 | -0.014134 | -0.0035425 | 6.8179e-06 | 3.8845e-06 | 0.021667 | 0.021667 | 0.021667 | 0.97121 | -0.55435 | 0.97069 | -0.56447 | 5.9525
27 | -0.055979 | -0.014294 | 0.056376 | 0.014546 | 0.00039705 | 0.00025222 | 0.084659 | 0.084658 | 0.084659 | 0.98502 | -0.2847 | 0.99266 | -0.13907 | 23.2579
28 | 0.0073959 | 0.0018538 | -0.0073941 | -0.0018531 | 1.8923e-06 | 7.2162e-07 | 0.011313 | 0.011313 | 0.011313 | 0.97284 | -0.5221 | 0.97257 | -0.52747 | 3.1079
29 | -0.067041 | -0.017219 | 0.067042 | 0.017219 | 8.132e-07 | 5.1768e-07 | 0.10064 | 0.10064 | 0.10064 | 0.99266 | -0.13907 | 0.99267 | -0.13882 | 27.6496
30 | -0.0008541 | -0.00021373 | 0.00085411 | 0.00021348 | 1.1859e-08 | -2.4467e-07 | 0.0012766 | 0.0012765 | 0.0012766 | 0.99543 | -0.087897 | 0.99544 | -0.087605 | 0.35072
31 | 0.0008541 | 0.00021373 | -0.00085408 | -0.00021405 | 1.5678e-08 | -3.2341e-07 | 0.0012766 | 0.0012767 | 0.0012767 | 0.99543 | -0.087897 | 0.99541 | -0.088282 | 0.35075
32 | 0.011114 | 0.0027846 | -0.011114 | -0.0027845 | 2.0587e-07 | 1.0596e-07 | 0.016623 | 0.016623 | 0.016623 | 0.99487 | -0.098677 | 0.99485 | -0.099066 | 4.5669
33 | 0.11986 | 0.030566 | -0.11969 | -0.030456 | 0.00017491 | 0.00011028 | 0.18011 | 0.18011 | 0.18011 | 0.99131 | -0.16572 | 0.98973 | -0.19599 | 16.4932
34 | 0.083317 | 0.021341 | -0.083095 | -0.021201 | 0.00022208 | 0.0001402 | 0.12543 | 0.12543 | 0.12543 | 0.98973 | -0.19599 | 0.98685 | -0.25116 | 17.2292
35 | 7.5515e-05 | 1.7325e-05 | -7.5515e-05 | -1.8496e-05 | 4.3072e-10 | -1.171e-06 | 0.00011253 | 0.00011292 | 0.00011292 | 0.99381 | -0.11815 | 0.9938 | -0.11827 | 0.031021
36 | 0.00014537 | 3.5516e-05 | -0.00014537 | -3.6433e-05 | 1.258e-09 | -9.1798e-07 | 0.00021734 | 0.00021767 | 0.00021767 | 0.99381 | -0.11815 | 0.9938 | -0.11833 | 0.059798
37 | 7.5515e-05 | 1.8496e-05 | -7.5515e-05 | -1.8926e-05 | 1.5888e-10 | -4.2987e-07 | 0.00011292 | 0.00011307 | 0.00011307 | 0.9938 | -0.11827 | 0.9938 | -0.11832 | 0.031063
38 | 0.0030993 | 0.00077598 | -0.0030987 | -0.0007766 | 6.4204e-07 | -6.183e-07 | 0.0046411 | 0.0046415 | 0.0046415 | 0.99362 | -0.12172 | 0.9934 | -0.12607 | 1.2751
39 | 0.083095 | 0.021201 | -0.082624 | -0.0209 | 0.00047139 | 0.00030068 | 0.12543 | 0.12543 | 0.12543 | 0.98685 | -0.25116 | 0.98074 | -0.36933 | 34.4585
40 | 0.082624 | 0.0209 | -0.082205 | -0.020634 | 0.00041828 | 0.00026681 | 0.12543 | 0.12543 | 0.12543 | 0.98074 | -0.36933 | 0.97532 | -0.47543 | 34.4586
41 | 0.080362 | 0.020643 | -0.08014 | -0.020502 | 0.00022134 | 0.00014113 | 0.12028 | 0.12028 | 0.12028 | 0.99566 | -0.081929 | 0.99267 | -0.13882 | 33.0439
42 | 0.0068822 | 0.0017249 | -0.0068816 | -0.0017247 | 5.8161e-07 | 1.9999e-07 | 0.01055 | 0.01055 | 0.01055 | 0.97069 | -0.56447 | 0.9706 | -0.56624 | 2.8984
43 | 0.0034915 | 0.000874 | -0.0034906 | -0.00087455 | 8.6194e-07 | -5.4249e-07 | 0.0052219 | 0.0052223 | 0.0052223 | 0.99485 | -0.099066 | 0.99458 | -0.10425 | 1.4347
44 | 0.036254 | 0.0091171 | -0.03622 | -0.0090959 | 3.3778e-05 | 2.1251e-05 | 0.055323 | 0.055323 | 0.055323 | 0.97532 | -0.47543 | 0.97433 | -0.49496 | 15.1987
45 | -0.036172 | -0.0090656 | 0.03622 | 0.0090959 | 4.8081e-05 | 3.0251e-05 | 0.055323 | 0.055323 | 0.055323 | 0.97291 | -0.52282 | 0.97433 | -0.49496 | 15.1987
46 | 0.00067258 | 0.00016828 | -0.00067257 | -0.00016856 | 8.3417e-09 | -2.7979e-07 | 0.0010062 | 0.0010063 | 0.0010063 | 0.99458 | -0.10425 | 0.99457 | -0.10451 | 0.27644

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47028 | 0.11974

## res_load
| p_mw | q_mvar
0 | 0.016192 | 0.004058
1 | 0.07961 | 0.019952
2 | 0.018841 | 0.0047219
3 | 0.0063281 | 0.001586
4 | 0.0053283 | 0.0013354
5 | 0.013697 | 0.0034328
6 | 0.014007 | 0.0035105
7 | 0.016733 | 0.0041937
8 | 0.017027 | 0.0042673
9 | 0.010665 | 0.0026729
10 | 0.0021221 | 0.00053185
11 | 0.00085408 | 0.00021405
12 | 0.02483 | 0.006223
13 | 0.00098102 | 0.00024587
14 | 0.0076547 | 0.0019184
15 | 0.036368 | 0.0091148
16 | 0.00014537 | 3.6433e-05
17 | 0.0011791 | 0.0002955
18 | 0.056044 | 0.014046
19 | 0.0030086 | 0.00075402
20 | 0.013099 | 0.0032829
21 | 0.0072522 | 0.0018176
22 | 0.0068816 | 0.0017247
23 | 0.0073941 | 0.0018531
24 | 0.0076228 | 0.0019105
25 | 0.045951 | 0.011516
26 | 0.036172 | 0.0090656
27 | 7.5515e-05 | 1.8926e-05
28 | 0.0030987 | 0.0007766
29 | 0.002818 | 0.00070626
30 | 0.00067257 | 0.00016856

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1