## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1058-12_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1058-12_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1058-12_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1058-12_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1058-12_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_1058-12_0_4_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_1058-12_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1058-12_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1058-12_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1058-12_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1058-12_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1058-12_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1058-12_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_1058-12_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1058-12_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1058-12_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1058-12_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_1058-12_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1058-12_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1058-12_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_1058-12_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1058-12_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_1058-12_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1058-12_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1058-12_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1058-12_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1058-12_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1058-12_0_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_1058-12_0_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_1058-12_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1058-12_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1058-12_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1058-12_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1058-12_0_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_1058-12_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_1058-12_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1058-12_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1058-12_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_1058-12_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1058-12_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1058-12_0_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_1058-12_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1058-12_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_1058-12_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1058-12_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1058-12_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1058-12_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1058-12_0_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1058-12_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_1058-12_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1058-12_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_1058-12_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1058-12_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1058-12_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1058-12_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_1058-12_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_1058-12_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1058-12_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_1058-12_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_1058-12_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1058-12_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_1058-12_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_23_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-12_0_4_load_0 | 0 | 0.0092874 | 0.0023276 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-12_0_4_load_34 | 7 | 0.0024035 | 0.00060238 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-12_0_4_load_73 | 9 | 0.015398 | 0.0038592 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-12_0_4_load_74 | 10 | 0.017761 | 0.0044512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-12_0_4_load_46 | 13 | 0.0050449 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-12_0_4_load_44 | 15 | 0.003228 | 0.00080902 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-12_0_4_load_70 | 17 | 0.035998 | 0.0090219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-12_0_4_load_56 | 21 | 0.01294 | 0.0032431 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-12_0_4_load_68 | 24 | 0.0021543 | 0.00053993 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-12_0_4_load_59 | 26 | 0.029261 | 0.0073336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-12_0_4_load_50 | 28 | 0.0020986 | 0.00052595 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-12_0_4_load_67 | 30 | 0.025123 | 0.0062963 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-12_0_4_load_66 | 32 | 0.030257 | 0.0075832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-12_0_4_load_71 | 33 | 0.013589 | 0.0034057 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-12_0_4_load_32 | 37 | 0.013034 | 0.0032666 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-12_0_4_load_62 | 38 | 0.01806 | 0.0045263 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-12_0_4_load_54 | 40 | 0.0064846 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-12_0_4_load_51 | 41 | 0.010543 | 0.0026423 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-12_0_4_load_47 | 44 | 0.0061507 | 0.0015415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-12_0_4_load_72 | 45 | 0.010662 | 0.0026721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-12_0_4_load_63 | 47 | 0.0058244 | 0.0014597 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-12_0_4_load_45 | 48 | 0.0051702 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-12_0_4_load_57 | 50 | 0.0087713 | 0.0021983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-12_0_4_load_64 | 52 | 0.0086956 | 0.0021793 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-12_0_4_load_35 | 53 | 0.0024001 | 0.00060153 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-12_0_4_load_33 | 55 | 0.0053783 | 0.0013479 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-12_0_4_load_48 | 56 | 0.0057338 | 0.001437 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-12_0_4_load_60 | 57 | 0.0087713 | 0.0021983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-12_0_4_load_61 | 58 | 0.010789 | 0.002704 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-12_0_4_load_65 | 59 | 0.0097337 | 0.0024395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-12_0_4_load_36 | 61 | 0.0041386 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-12_0_4_load_43 | 63 | 0.0091865 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-12_0_4_load_58 | 64 | 0.073809 | 0.018498 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-12_0_4_load_69 | 66 | 0.0068726 | 0.0017224 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-12_0_4_line_0 |  | 0 | 1 | 0.036225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-12_0_4_line_1 |  | 0 | 2 | 0.040982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-12_0_4_line_2 |  | 1 | 3 | 0.002488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-12_0_4_line_3 |  | 1 | 4 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-12_0_4_line_4 |  | 2 | 5 | 0.003672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1058-12_0_4_line_5 |  | 2 | 6 | 0.032714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1058-12_0_4_line_6 |  | 3 | 7 | 0.0092034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-12_0_4_line_7 |  | 4 | 8 | 0.055656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-12_0_4_line_8 |  | 4 | 9 | 0.002832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-12_0_4_line_9 |  | 5 | 12 | 0.00207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-12_0_4_line_10 |  | 5 | 14 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1058-12_0_4_line_11 |  | 6 | 10 | 0.008842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-12_0_4_line_12 |  | 6 | 11 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1058-12_0_4_line_13 |  | 7 | 53 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-12_0_4_line_14 |  | 8 | 38 | 0.0082572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-12_0_4_line_15 |  | 8 | 20 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-12_0_4_line_16 |  | 11 | 32 | 0.0080959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-12_0_4_line_17 |  | 11 | 25 | 0.035491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1058-12_0_4_line_18 |  | 12 | 13 | 0.02099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-12_0_4_line_19 |  | 13 | 23 | 0.036521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-12_0_4_line_20 |  | 14 | 15 | 0.036929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1058-12_0_4_line_21 |  | 15 | 35 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1058-12_0_4_line_22 |  | 16 | 17 | 0.019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-12_0_4_line_23 |  | 16 | 18 | 0.093028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-12_0_4_line_24 |  | 16 | 19 | 0.032179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-12_0_4_line_25 |  | 18 | 33 | 0.051899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-12_0_4_line_26 |  | 19 | 46 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-12_0_4_line_27 |  | 19 | 47 | 0.047259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-12_0_4_line_28 |  | 20 | 21 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-12_0_4_line_29 |  | 21 | 43 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-12_0_4_line_30 |  | 22 | 23 | 0.051717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-12_0_4_line_31 |  | 22 | 24 | 0.013381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-12_0_4_line_32 |  | 23 | 27 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-12_0_4_line_33 |  | 24 | 54 | 0.06908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-12_0_4_line_34 |  | 25 | 26 | 0.039121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-12_0_4_line_35 |  | 26 | 46 | 0.030237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-12_0_4_line_36 |  | 27 | 28 | 0.0026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-12_0_4_line_37 |  | 29 | 30 | 0.004837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-12_0_4_line_38 |  | 29 | 31 | 0.061012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-12_0_4_line_39 |  | 29 | 32 | 0.033626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-12_0_4_line_40 |  | 31 | 41 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-12_0_4_line_41 |  | 34 | 35 | 0.049471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-12_0_4_line_42 |  | 34 | 36 | 0.076469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-12_0_4_line_43 |  | 34 | 37 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-12_0_4_line_44 |  | 35 | 48 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-12_0_4_line_45 |  | 35 | 49 | 0.043237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-12_0_4_line_46 |  | 36 | 45 | 0.00481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-12_0_4_line_47 |  | 37 | 55 | 0.029807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-12_0_4_line_48 |  | 39 | 40 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-12_0_4_line_49 |  | 39 | 41 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-12_0_4_line_50 |  | 42 | 43 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1058-12_0_4_line_51 |  | 42 | 44 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1058-12_0_4_line_52 |  | 43 | 50 | 0.0025615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-12_0_4_line_53 |  | 44 | 56 | 0.0026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-12_0_4_line_54 |  | 49 | 51 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-12_0_4_line_55 |  | 49 | 52 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-12_0_4_line_56 |  | 50 | 57 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1058-12_0_4_line_57 |  | 51 | 59 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-12_0_4_line_58 |  | 51 | 60 | 0.07665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1058-12_0_4_line_59 |  | 54 | 66 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1058-12_0_4_line_60 |  | 57 | 58 | 0.028621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1058-12_0_4_line_61 |  | 60 | 64 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1058-12_0_4_line_62 |  | 61 | 62 | 0.0030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1058-12_0_4_line_63 |  | 62 | 63 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1058-12_0_4_line_64 |  | 63 | 65 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1058-12_0_4_line_65 |  | 64 | 65 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-12_0_4_trafo_11 | 0.63 MVA 20/0.4 kV | 67 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2666176.1083 | 1207797.1075 | 2666144.5246 | 1207779.3667
1 | 2666108.7634 | 1207759.3496 | 2666123.5902 | 1207767.6077 | 2666144.5246 | 1207779.3667
2 | 2666176.1083 | 1207797.1075 | 2666174.7847 | 1207799.2163
3 | 2666176.1083 | 1207797.1075 | 2666181.503 | 1207788.5398 | 2666183.9805 | 1207783.8533 | 2666182.7209 | 1207782.9388
4 | 2666108.7634 | 1207759.3496 | 2666108.778 | 1207760.0946 | 2666108.8748 | 1207763.0197
5 | 2666114.6997 | 1207732.7769 | 2666108.379 | 1207732.9625 | 2666108.4521 | 1207746.2715 | 2666108.7634 | 1207759.3496
6 | 2666174.7847 | 1207799.2163 | 2666166.7178 | 1207794.7861
7 | 2666182.7209 | 1207782.9388 | 2666187.7812 | 1207774.3563 | 2666188.1371 | 1207773.8044 | 2666190.1878 | 1207770.5807 | 2666190.1532 | 1207768.2233 | 2666189.1493 | 1207765.4994 | 2666187.5294 | 1207764.1584 | 2666184.8893 | 1207762.2502 | 2666184.4836 | 1207760.4335 | 2666185.1199 | 1207757.9057 | 2666186.3495 | 1207756.0515 | 2666190.2998 | 1207755.0058 | 2666194.8412 | 1207754.1333 | 2666198.7038 | 1207752.7642 | 2666195.7201 | 1207742.0802
8 | 2666180.1723 | 1207781.6876 | 2666182.7209 | 1207782.9388
9 | 2666108.9356 | 1207765.0883 | 2666108.8748 | 1207763.0197
10 | 2666099.8082 | 1207745.453 | 2666100.0096 | 1207757.4737 | 2666104.2567 | 1207760.5226 | 2666108.8748 | 1207763.0197
11 | 2666122.7879 | 1207736.402 | 2666114.6997 | 1207732.7769
12 | 2666114.6997 | 1207732.7769 | 2666114.6281 | 1207722.0806 | 2666114.5674 | 1207717.9552 | 2666118.4604 | 1207717.965
13 | 2666166.7178 | 1207794.7861 | 2666148.0918 | 1207784.557
14 | 2666195.7201 | 1207742.0802 | 2666191.9124 | 1207734.7533
15 | 2666216.2995 | 1207731.4463 | 2666196.6697 | 1207737.3545 | 2666195.7201 | 1207742.0802
16 | 2666118.4604 | 1207717.965 | 2666119.1472 | 1207715.6823 | 2666119.4835 | 1207709.9801
17 | 2666086.8107 | 1207710.6991 | 2666090.6319 | 1207713.0651 | 2666094.7199 | 1207714.6891 | 2666097.6994 | 1207714.7999 | 2666103.7569 | 1207715.0338 | 2666103.7858 | 1207717.9136 | 2666108.2718 | 1207717.93 | 2666114.5674 | 1207717.9552 | 2666118.4604 | 1207717.965
18 | 2666108.9356 | 1207765.0883 | 2666108.8857 | 1207774.3934 | 2666107.7107 | 1207786.0192
19 | 2666105.1151 | 1207822.3698 | 2666105.2849 | 1207815.9678 | 2666105.2648 | 1207804.0492 | 2666107.2717 | 1207790.3631 | 2666107.7107 | 1207786.0192
20 | 2666099.8082 | 1207745.453 | 2666097.2884 | 1207747.7821 | 2666093.758 | 1207749.3662 | 2666091.6682 | 1207749.2542 | 2666088.2173 | 1207747.7817 | 2666072.9761 | 1207739.1634 | 2666067.8892 | 1207735.4896
21 | 2666054.3368 | 1207724.3036 | 2666055.3908 | 1207725.2492 | 2666065.4403 | 1207733.7211 | 2666067.8892 | 1207735.4896
22 | 2666098.8808 | 1207590.9708 | 2666079.5806 | 1207591.1239
23 | 2666098.8808 | 1207590.9708 | 2666100.6369 | 1207540.893 | 2666104.3534 | 1207541.0565 | 2666109.6514 | 1207541.2375 | 2666131.9298 | 1207542.018 | 2666136.7184 | 1207542.1822 | 2666136.6595 | 1207545.4391 | 2666136.5973 | 1207548.9962
24 | 2666095.1556 | 1207619.7471 | 2666096.086 | 1207619.5017 | 2666099.556 | 1207618.5729 | 2666099.0978 | 1207611.8859 | 2666098.7908 | 1207604.5892 | 2666098.8808 | 1207590.9708
25 | 2666136.5973 | 1207548.9962 | 2666116.5361 | 1207548.4959 | 2666116.3872 | 1207552.3299 | 2666120.6664 | 1207552.4885 | 2666119.7644 | 1207576.2486
26 | 2666093.1877 | 1207642.2724 | 2666097.1669 | 1207642.0496 | 2666097.1442 | 1207638.6028 | 2666096.554 | 1207631.4808 | 2666095.3583 | 1207621.3503 | 2666095.1556 | 1207619.7471
27 | 2666095.1556 | 1207619.7471 | 2666051.5439 | 1207637.9534
28 | 2666216.2995 | 1207731.4463 | 2666212.0962 | 1207715.8466
29 | 2666205.1552 | 1207690.0864 | 2666212.0962 | 1207715.8466
30 | 2666073.3513 | 1207848.8011 | 2666074.0066 | 1207841.1258 | 2666074.5748 | 1207834.4392 | 2666077.0838 | 1207833.0883 | 2666084.1112 | 1207830.8647 | 2666087.1853 | 1207827.9192 | 2666089.6153 | 1207822.7096 | 2666090.6057 | 1207820.4747 | 2666094.4476 | 1207820.9731 | 2666097.5378 | 1207821.3742 | 2666100.6355 | 1207821.7866 | 2666105.1151 | 1207822.3698
31 | 2666073.3513 | 1207848.8011 | 2666060.6209 | 1207849.683 | 2666060.0025 | 1207849.7337
32 | 2666115.7619 | 1207837.9861 | 2666113.6234 | 1207836.7839 | 2666110.1594 | 1207833.7549 | 2666107.172 | 1207830.253 | 2666105.4925 | 1207826.054 | 2666105.1151 | 1207822.3698
33 | 2665991.9289 | 1207858.7845 | 2666021.1393 | 1207851.4251 | 2666030.1262 | 1207850.7797 | 2666041.7622 | 1207851.2308 | 2666060.0025 | 1207849.7337
34 | 2666086.8107 | 1207710.6991 | 2666089.1505 | 1207704.7102 | 2666089.5648 | 1207695.4536 | 2666089.0747 | 1207677.226 | 2666089.1622 | 1207672.0352
35 | 2666093.1877 | 1207642.2724 | 2666092.609 | 1207654.6958 | 2666089.252 | 1207666.7104 | 2666089.1622 | 1207672.0352
36 | 2666115.7619 | 1207837.9861 | 2666118.0743 | 1207839.2792
37 | 2666121.8274 | 1207676.2324 | 2666116.9813 | 1207676.4566
38 | 2666156.7897 | 1207646.0235 | 2666155.7027 | 1207646.6785 | 2666151.4504 | 1207647.5319 | 2666146.3272 | 1207649.4318 | 2666137.1942 | 1207654.3114 | 2666133.7296 | 1207655.4404 | 2666130.9118 | 1207655.8317 | 2666123.9109 | 1207654.9536 | 2666121.2481 | 1207655.0909 | 2666118.0923 | 1207657.1683 | 2666116.467 | 1207660.4301 | 2666116.2451 | 1207666.0421 | 2666116.9813 | 1207676.4566
39 | 2666116.9813 | 1207676.4566 | 2666118.1269 | 1207692.4791 | 2666119.5404 | 1207709.016 | 2666119.4835 | 1207709.9801
40 | 2666156.7897 | 1207646.0235 | 2666157.8462 | 1207645.3792 | 2666158.9726 | 1207643.913 | 2666159.7412 | 1207641.798 | 2666155.4224 | 1207627.0449
41 | 2666048.0431 | 1207746.0917 | 2666047.0275 | 1207745.7914 | 2666043.9733 | 1207744.8793 | 2666051.1987 | 1207726.1589 | 2666043.3396 | 1207718.3228 | 2666046.175 | 1207717.02 | 2666054.3368 | 1207724.3036
42 | 2666048.0431 | 1207746.0917 | 2666049.3939 | 1207743.5829 | 2666050.6675 | 1207741.8626 | 2666052.3702 | 1207740.5362 | 2666054.0872 | 1207739.9771 | 2666055.709 | 1207739.7838 | 2666056.9623 | 1207739.8977 | 2666058.7132 | 1207740.3952 | 2666061.3326 | 1207741.4359 | 2666065.3623 | 1207743.5151 | 2666076.7735 | 1207749.8675 | 2666071.6425 | 1207760.0391 | 2666071.2823 | 1207760.9801 | 2666069.5672 | 1207765.4861 | 2666068.1878 | 1207771.2633 | 2666064.8075 | 1207790.193
43 | 2666048.0431 | 1207746.0917 | 2666045.9225 | 1207751.516 | 2666044.7238 | 1207756.0833 | 2666043.7374 | 1207764.1329 | 2666042.0523 | 1207775.7953
44 | 2666054.3368 | 1207724.3036 | 2666064.1524 | 1207706.9698
45 | 2666024.5364 | 1207736.1257 | 2666025.7371 | 1207727.2558 | 2666026.0632 | 1207725.9586 | 2666030.7472 | 1207723.8869 | 2666043.3396 | 1207718.3228 | 2666046.175 | 1207717.02 | 2666054.3368 | 1207724.3036
46 | 2666069.5826 | 1207790.8796 | 2666064.8075 | 1207790.193
47 | 2666042.0523 | 1207775.7953 | 2666039.1921 | 1207795.5907 | 2666038.0318 | 1207801.5037 | 2666037.0817 | 1207805.1624
48 | 2666150.3928 | 1207609.8639 | 2666161.8039 | 1207605.0096
49 | 2666150.3928 | 1207609.8639 | 2666155.4224 | 1207627.0449
50 | 2666208.6936 | 1207678.8743 | 2666211.3699 | 1207688.4877 | 2666205.1552 | 1207690.0864
51 | 2666208.6936 | 1207678.8743 | 2666210.8596 | 1207678.2869 | 2666218.7613 | 1207676.1065 | 2666232.1178 | 1207672.4315
52 | 2666205.1552 | 1207690.0864 | 2666204.4887 | 1207687.6131
53 | 2666234.6588 | 1207671.7324 | 2666232.1178 | 1207672.4315
54 | 2666010.9594 | 1207733.7853 | 2666024.5364 | 1207736.1257
55 | 2666024.5364 | 1207736.1257 | 2666021.7092 | 1207752.4685
56 | 2666204.4887 | 1207687.6131 | 2666200.0636 | 1207671.191
57 | 2666010.9594 | 1207733.7853 | 2666008.3623 | 1207749.9438
58 | 2665960.545 | 1207718.8412 | 2665960.4161 | 1207725.6884 | 2665967.314 | 1207730.3786 | 2665981.3484 | 1207733.9914 | 2665990.0601 | 1207735.5553 | 2665992.2761 | 1207735.9467 | 2665992.1829 | 1207743.6837 | 2665993.9695 | 1207742.336 | 2665994.5648 | 1207739.3852 | 2665995.9185 | 1207731.7956 | 2666010.9594 | 1207733.7853
59 | 2665989.3686 | 1207877.8456 | 2665991.9289 | 1207858.7845
60 | 2666192.6171 | 1207643.5557 | 2666200.0636 | 1207671.191
61 | 2665960.545 | 1207718.8412 | 2665963.1956 | 1207702.2902
62 | 2665937.6573 | 1207672.1044 | 2665934.7356 | 1207671.4152
63 | 2665937.6573 | 1207672.1044 | 2665957.4955 | 1207676.8069
64 | 2665969.6839 | 1207679.6961 | 2665957.4955 | 1207676.8069
65 | 2665969.6839 | 1207679.6961 | 2665964.0161 | 1207697.1664 | 2665963.1956 | 1207702.2902

## bus_geodata
| x | y | coords
0 | 2666144.5246 | 1207779.3667
1 | 2666176.1083 | 1207797.1075
2 | 2666108.7634 | 1207759.3496
3 | 2666174.7847 | 1207799.2163
4 | 2666182.7209 | 1207782.9388
5 | 2666108.8748 | 1207763.0197
6 | 2666114.6997 | 1207732.7769
7 | 2666166.7178 | 1207794.7861
8 | 2666195.7201 | 1207742.0802
9 | 2666180.1723 | 1207781.6876
10 | 2666122.7879 | 1207736.402
11 | 2666118.4604 | 1207717.965
12 | 2666108.9356 | 1207765.0883
13 | 2666107.7107 | 1207786.0192
14 | 2666099.8082 | 1207745.453
15 | 2666067.8892 | 1207735.4896
16 | 2666098.8808 | 1207590.9708
17 | 2666079.5806 | 1207591.1239
18 | 2666136.5973 | 1207548.9962
19 | 2666095.1556 | 1207619.7471
20 | 2666216.2995 | 1207731.4463
21 | 2666212.0962 | 1207715.8466
22 | 2666073.3513 | 1207848.8011
23 | 2666105.1151 | 1207822.3698
24 | 2666060.0025 | 1207849.7337
25 | 2666086.8107 | 1207710.6991
26 | 2666089.1622 | 1207672.0352
27 | 2666115.7619 | 1207837.9861
28 | 2666118.0743 | 1207839.2792
29 | 2666116.9813 | 1207676.4566
30 | 2666121.8274 | 1207676.2324
31 | 2666156.7897 | 1207646.0235
32 | 2666119.4835 | 1207709.9801
33 | 2666119.7644 | 1207576.2486
34 | 2666048.0431 | 1207746.0917
35 | 2666054.3368 | 1207724.3036
36 | 2666064.8075 | 1207790.193
37 | 2666042.0523 | 1207775.7953
38 | 2666191.9124 | 1207734.7533
39 | 2666150.3928 | 1207609.8639
40 | 2666161.8039 | 1207605.0096
41 | 2666155.4224 | 1207627.0449
42 | 2666208.6936 | 1207678.8743
43 | 2666205.1552 | 1207690.0864
44 | 2666232.1178 | 1207672.4315
45 | 2666069.5826 | 1207790.8796
46 | 2666093.1877 | 1207642.2724
47 | 2666051.5439 | 1207637.9534
48 | 2666064.1524 | 1207706.9698
49 | 2666024.5364 | 1207736.1257
50 | 2666204.4887 | 1207687.6131
51 | 2666010.9594 | 1207733.7853
52 | 2666021.7092 | 1207752.4685
53 | 2666148.0918 | 1207784.557
54 | 2665991.9289 | 1207858.7845
55 | 2666037.0817 | 1207805.1624
56 | 2666234.6588 | 1207671.7324
57 | 2666200.0636 | 1207671.191
58 | 2666192.6171 | 1207643.5557
59 | 2666008.3623 | 1207749.9438
60 | 2665960.545 | 1207718.8412
61 | 2665934.7356 | 1207671.4152
62 | 2665937.6573 | 1207672.1044
63 | 2665957.4955 | 1207676.8069
64 | 2665963.1956 | 1207702.2902
65 | 2665969.6839 | 1207679.6961
66 | 2665989.3686 | 1207877.8456
67 | 2666097.6994 | 1207714.7999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98812 | -0.22643 | 0.0092874 | 0.0023276
1 | 0.98505 | -0.28574 | 0 | 0
2 | 0.99194 | -0.15303 | 0 | 0
3 | 0.98504 | -0.28595 | 0 | 0
4 | 0.98369 | -0.31218 | 0 | 0
5 | 0.99176 | -0.15649 | 0 | 0
6 | 0.99457 | -0.10295 | 0 | 0
7 | 0.985 | -0.28675 | 0.0024035 | 0.00060238
8 | 0.98001 | -0.38385 | 0 | 0
9 | 0.98365 | -0.31296 | 0.015398 | 0.0038592
10 | 0.99443 | -0.10572 | 0.017761 | 0.0044512
11 | 0.99618 | -0.072474 | 0 | 0
12 | 0.99173 | -0.15708 | 0 | 0
13 | 0.99142 | -0.1631 | 0.0050449 | 0.0012644
14 | 0.99077 | -0.17552 | 0 | 0
15 | 0.98832 | -0.22253 | 0.003228 | 0.00080902
16 | 0.99265 | -0.1413 | 0 | 0
17 | 0.99202 | -0.15356 | 0.035998 | 0.0090219
18 | 0.99149 | -0.16369 | 0 | 0
19 | 0.99411 | -0.11311 | 0 | 0
20 | 0.97877 | -0.40825 | 0 | 0
21 | 0.97797 | -0.42389 | 0.01294 | 0.0032431
22 | 0.99062 | -0.1786 | 0 | 0
23 | 0.99105 | -0.17031 | 0 | 0
24 | 0.99051 | -0.18075 | 0.0021543 | 0.00053993
25 | 1 | 0 | -0.44231 | -0.11272
26 | 0.99698 | -0.057917 | 0.029261 | 0.0073336
27 | 0.99101 | -0.17105 | 0 | 0
28 | 0.99101 | -0.17115 | 0.0020986 | 0.00052595
29 | 0.99435 | -0.10773 | 0 | 0
30 | 0.99424 | -0.10987 | 0.025123 | 0.0062963
31 | 0.9934 | -0.12606 | 0 | 0
32 | 0.99564 | -0.082776 | 0.030257 | 0.0075832
33 | 0.99085 | -0.1762 | 0.013589 | 0.0034057
34 | 0.98585 | -0.27025 | 0 | 0
35 | 0.98718 | -0.24449 | 0 | 0
36 | 0.9851 | -0.28489 | 0 | 0
37 | 0.98534 | -0.28031 | 0.013034 | 0.0032666
38 | 0.97988 | -0.38655 | 0.01806 | 0.0045263
39 | 0.99297 | -0.13435 | 0 | 0
40 | 0.9929 | -0.13577 | 0.0064846 | 0.0016252
41 | 0.99308 | -0.1323 | 0.010543 | 0.0026423
42 | 0.97679 | -0.44703 | 0 | 0
43 | 0.97697 | -0.44347 | 0 | 0
44 | 0.97652 | -0.4523 | 0.0061507 | 0.0015415
45 | 0.98506 | -0.28581 | 0.010662 | 0.0026721
46 | 0.99544 | -0.087348 | 0 | 0
47 | 0.99386 | -0.11797 | 0.0058244 | 0.0014597
48 | 0.98708 | -0.24633 | 0.0051702 | 0.0012958
49 | 0.98293 | -0.32648 | 0 | 0
50 | 0.97691 | -0.44479 | 0.0087713 | 0.0021983
51 | 0.98169 | -0.35052 | 0 | 0
52 | 0.9828 | -0.32908 | 0.0086956 | 0.0021793
53 | 0.98495 | -0.28766 | 0.0024001 | 0.00060153
54 | 0.99008 | -0.18919 | 0 | 0
55 | 0.98519 | -0.28319 | 0.0053783 | 0.0013479
56 | 0.97651 | -0.45258 | 0.0057338 | 0.001437
57 | 0.9766 | -0.45087 | 0.0087713 | 0.0021983
58 | 0.97631 | -0.45652 | 0.010789 | 0.002704
59 | 0.98154 | -0.3534 | 0.0097337 | 0.0024395
60 | 0.97547 | -0.47208 | 0 | 0
61 | 0.97357 | -0.50949 | 0.0041386 | 0.0010372
62 | 0.97359 | -0.50926 | 0 | 0
63 | 0.97367 | -0.50771 | 0.0091865 | 0.0023024
64 | 0.97411 | -0.49888 | 0.073809 | 0.018498
65 | 0.97382 | -0.50464 | 0 | 0
66 | 0.98996 | -0.19154 | 0.0068726 | 0.0017224
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.092194 | 0.023404 | -0.091932 | -0.023237 | 0.00026225 | 0.00016738 | 0.13894 | 0.13894 | 0.13894 | 0.98812 | -0.22643 | 0.98505 | -0.28574 | 38.1709
1 | -0.10148 | -0.025732 | 0.10184 | 0.025961 | 0.00035942 | 0.0002295 | 0.15293 | 0.15293 | 0.15293 | 0.98812 | -0.22643 | 0.99194 | -0.15303 | 42.0131
2 | 0.004804 | 0.0012037 | -0.0048039 | -0.0012037 | 4.9132e-08 | -2.273e-10 | 0.0072568 | 0.0072568 | 0.0072568 | 0.98505 | -0.28574 | 0.98504 | -0.28595 | 1.9936
3 | 0.087128 | 0.022033 | -0.087018 | -0.021963 | 0.00011036 | 7.0415e-05 | 0.13169 | 0.13169 | 0.13169 | 0.98505 | -0.28574 | 0.98369 | -0.31218 | 36.1773
4 | 0.16108 | 0.041086 | -0.16105 | -0.041069 | 2.6855e-05 | 1.7045e-05 | 0.24189 | 0.24189 | 0.24189 | 0.99194 | -0.15303 | 0.99176 | -0.15649 | 22.1507
5 | -0.26292 | -0.067048 | 0.26355 | 0.067454 | 0.00063743 | 0.00040668 | 0.39481 | 0.39481 | 0.39481 | 0.99194 | -0.15303 | 0.99457 | -0.10295 | 36.155
6 | 0.0048039 | 0.0012037 | -0.0048037 | -0.0012037 | 1.8175e-07 | -8.3375e-10 | 0.0072568 | 0.0072568 | 0.0072568 | 0.98504 | -0.28595 | 0.985 | -0.28675 | 1.9936
7 | 0.071619 | 0.018103 | -0.071373 | -0.017947 | 0.00024521 | 0.00015623 | 0.10839 | 0.10839 | 0.10839 | 0.98369 | -0.31218 | 0.98001 | -0.38385 | 29.778
8 | 0.015399 | 0.0038595 | -0.015398 | -0.0038592 | 5.7624e-07 | 3.3285e-07 | 0.023294 | 0.023294 | 0.023294 | 0.98369 | -0.31218 | 0.98365 | -0.31296 | 6.3994
9 | 0.016188 | 0.0040606 | -0.016187 | -0.0040603 | 4.5794e-07 | 2.6637e-07 | 0.024289 | 0.024289 | 0.024289 | 0.99176 | -0.15649 | 0.99173 | -0.15708 | 6.6727
10 | 0.14486 | 0.037009 | -0.14473 | -0.036924 | 0.00013317 | 8.4359e-05 | 0.2176 | 0.2176 | 0.2176 | 0.99176 | -0.15649 | 0.99077 | -0.17552 | 19.9265
11 | 0.017763 | 0.0044526 | -0.017761 | -0.0044512 | 2.3419e-06 | 1.3841e-06 | 0.026576 | 0.026576 | 0.026576 | 0.99457 | -0.10295 | 0.99443 | -0.10572 | 7.3012
12 | -0.28132 | -0.071907 | 0.28173 | 0.072172 | 0.00041541 | 0.00026513 | 0.42139 | 0.42139 | 0.42139 | 0.99457 | -0.10295 | 0.99618 | -0.072474 | 38.5887
13 | 0.0024002 | 0.00060133 | -0.0024001 | -0.00060153 | 1.0477e-07 | -2.0342e-07 | 0.0036259 | 0.003626 | 0.003626 | 0.985 | -0.28675 | 0.98495 | -0.28766 | 0.99615
14 | 0.018062 | 0.0045276 | -0.01806 | -0.0045263 | 2.329e-06 | 1.3865e-06 | 0.027425 | 0.027425 | 0.027425 | 0.98001 | -0.38385 | 0.97988 | -0.38655 | 7.5345
15 | 0.053311 | 0.013419 | -0.053249 | -0.01338 | 6.2115e-05 | 3.9436e-05 | 0.080967 | 0.080967 | 0.080967 | 0.98001 | -0.38385 | 0.97877 | -0.40825 | 22.2436
16 | 0.072517 | 0.018215 | -0.072481 | -0.018192 | 3.5631e-05 | 2.2699e-05 | 0.10833 | 0.10833 | 0.10833 | 0.99618 | -0.072474 | 0.99564 | -0.082776 | 29.7623
17 | -0.35425 | -0.090387 | 0.35549 | 0.091182 | 0.0012449 | 0.00079533 | 0.52972 | 0.52972 | 0.52972 | 0.99618 | -0.072474 | 1 | 0 | 48.5093
18 | 0.016187 | 0.0040603 | -0.016182 | -0.0040576 | 4.6436e-06 | 2.7012e-06 | 0.024289 | 0.024289 | 0.024289 | 0.99173 | -0.15708 | 0.99142 | -0.1631 | 6.6727
19 | 0.011137 | 0.0027932 | -0.011134 | -0.0027912 | 3.8273e-06 | 1.9787e-06 | 0.016717 | 0.016717 | 0.016717 | 0.99142 | -0.1631 | 0.99105 | -0.17031 | 4.5926
20 | 0.14473 | 0.036924 | -0.1444 | -0.036715 | 0.00032786 | 0.00020888 | 0.2176 | 0.2176 | 0.2176 | 0.99077 | -0.17552 | 0.98832 | -0.22253 | 29.8898
21 | 0.14117 | 0.035906 | -0.14102 | -0.035811 | 0.00014919 | 9.5029e-05 | 0.21274 | 0.21274 | 0.21274 | 0.98832 | -0.22253 | 0.98718 | -0.24449 | 29.2222
22 | 0.036019 | 0.0090351 | -0.035998 | -0.0090219 | 2.1042e-05 | 1.3218e-05 | 0.053996 | 0.053996 | 0.053996 | 0.99265 | -0.1413 | 0.99202 | -0.15356 | 14.8342
23 | 0.013612 | 0.0034183 | -0.013597 | -0.0034102 | 1.4528e-05 | 8.0967e-06 | 0.020407 | 0.020407 | 0.020407 | 0.99265 | -0.1413 | 0.99149 | -0.16369 | 5.6064
24 | -0.04963 | -0.012453 | 0.049697 | 0.012496 | 6.6801e-05 | 4.2336e-05 | 0.074403 | 0.074403 | 0.074403 | 0.99265 | -0.1413 | 0.99411 | -0.11311 | 20.4404
25 | 0.013597 | 0.0034102 | -0.013589 | -0.0034057 | 8.1052e-06 | 4.5184e-06 | 0.020407 | 0.020407 | 0.020407 | 0.99149 | -0.16369 | 0.99085 | -0.1762 | 5.6064
26 | -0.055523 | -0.013956 | 0.055591 | 0.013999 | 6.8392e-05 | 4.3428e-05 | 0.083123 | 0.083123 | 0.083123 | 0.99411 | -0.11311 | 0.99544 | -0.087348 | 22.836
27 | 0.0058258 | 0.00146 | -0.0058244 | -0.0014597 | 1.3477e-06 | 2.4994e-07 | 0.0087202 | 0.0087204 | 0.0087204 | 0.99411 | -0.11311 | 0.99386 | -0.11797 | 2.3957
28 | 0.053249 | 0.01338 | -0.053209 | -0.013355 | 3.9717e-05 | 2.5216e-05 | 0.080967 | 0.080967 | 0.080967 | 0.97877 | -0.40825 | 0.97797 | -0.42389 | 22.2436
29 | 0.040269 | 0.010112 | -0.040232 | -0.010088 | 3.7567e-05 | 2.3709e-05 | 0.061278 | 0.061278 | 0.061278 | 0.97797 | -0.42389 | 0.97697 | -0.44347 | 16.8346
30 | -0.0090314 | -0.0022639 | 0.009035 | 0.0022655 | 3.5693e-06 | 1.6182e-06 | 0.013566 | 0.013566 | 0.013566 | 0.99062 | -0.1786 | 0.99105 | -0.17031 | 3.727
31 | 0.0090314 | 0.0022639 | -0.0090305 | -0.0022635 | 9.2354e-07 | 4.1881e-07 | 0.013566 | 0.013566 | 0.013566 | 0.99062 | -0.1786 | 0.99051 | -0.18075 | 3.727
32 | 0.0020986 | 0.00052571 | -0.0020986 | -0.00052592 | 7.3962e-08 | -2.0863e-07 | 0.0031509 | 0.003151 | 0.003151 | 0.99105 | -0.17031 | 0.99101 | -0.17105 | 0.86566
33 | 0.0068762 | 0.0017236 | -0.0068734 | -0.0017227 | 2.7643e-06 | 8.804e-07 | 0.01033 | 0.01033 | 0.01033 | 0.99051 | -0.18075 | 0.99008 | -0.18919 | 2.838
34 | 0.085167 | 0.021533 | -0.084931 | -0.021383 | 0.00023586 | 0.00015044 | 0.1268 | 0.1268 | 0.1268 | 1 | 0 | 0.99698 | -0.057917 | 34.8342
35 | 0.05567 | 0.014049 | -0.055591 | -0.013999 | 7.8346e-05 | 4.9747e-05 | 0.083123 | 0.083123 | 0.083123 | 0.99698 | -0.057917 | 0.99544 | -0.087348 | 22.836
36 | 0.0020986 | 0.00052592 | -0.0020986 | -0.00052595 | 9.8644e-09 | -2.7822e-08 | 0.003151 | 0.003151 | 0.003151 | 0.99101 | -0.17105 | 0.99101 | -0.17115 | 0.86567
37 | 0.025125 | 0.0062979 | -0.025123 | -0.0062963 | 2.5643e-06 | 1.5784e-06 | 0.037599 | 0.037599 | 0.037599 | 0.99435 | -0.10773 | 0.99424 | -0.10987 | 10.3295
38 | 0.017049 | 0.0042795 | -0.017034 | -0.0042708 | 1.4895e-05 | 8.7422e-06 | 0.025515 | 0.025515 | 0.025515 | 0.99435 | -0.10773 | 0.9934 | -0.12606 | 7.0097
39 | -0.042174 | -0.010577 | 0.042224 | 0.010609 | 5.0231e-05 | 3.1711e-05 | 0.063115 | 0.063114 | 0.063115 | 0.99435 | -0.10773 | 0.99564 | -0.082776 | 17.3391
40 | 0.017034 | 0.0042708 | -0.017029 | -0.0042678 | 5.0558e-06 | 2.9677e-06 | 0.025515 | 0.025515 | 0.025515 | 0.9934 | -0.12606 | 0.99308 | -0.1323 | 7.0097
41 | -0.029091 | -0.007296 | 0.029127 | 0.0073183 | 3.5771e-05 | 2.2262e-05 | 0.043911 | 0.043911 | 0.043911 | 0.98585 | -0.27025 | 0.98718 | -0.24449 | 12.0636
42 | 0.01067 | 0.0026762 | -0.010662 | -0.0026724 | 7.4383e-06 | 3.7862e-06 | 0.016105 | 0.016106 | 0.016106 | 0.98585 | -0.27025 | 0.9851 | -0.28489 | 4.4247
43 | 0.018422 | 0.0046198 | -0.018413 | -0.0046146 | 8.8256e-06 | 5.2605e-06 | 0.027806 | 0.027806 | 0.027806 | 0.98585 | -0.27025 | 0.98534 | -0.28031 | 7.639
44 | 0.0051706 | 0.0012958 | -0.0051702 | -0.0012958 | 4.5377e-07 | 3.5761e-08 | 0.0077939 | 0.007794 | 0.007794 | 0.98718 | -0.24449 | 0.98708 | -0.24633 | 2.1412
45 | 0.10673 | 0.027197 | -0.1063 | -0.026929 | 0.00042045 | 0.00026854 | 0.16103 | 0.16103 | 0.16103 | 0.98718 | -0.24449 | 0.98293 | -0.32648 | 44.2399
46 | 0.010662 | 0.0026724 | -0.010662 | -0.0026721 | 4.6789e-07 | 2.3821e-07 | 0.016106 | 0.016106 | 0.016106 | 0.9851 | -0.28489 | 0.98506 | -0.28581 | 4.4247
47 | 0.005379 | 0.001348 | -0.0053783 | -0.0013479 | 7.3757e-07 | 9.2439e-08 | 0.0081231 | 0.0081233 | 0.0081233 | 0.98534 | -0.28031 | 0.98519 | -0.28319 | 2.2317
48 | 0.006485 | 0.0016253 | -0.0064846 | -0.0016252 | 4.3919e-07 | 1.2068e-07 | 0.0097182 | 0.0097182 | 0.0097182 | 0.99297 | -0.13435 | 0.9929 | -0.13577 | 2.6698
49 | -0.006485 | -0.0016253 | 0.0064857 | 0.0016255 | 6.3401e-07 | 1.7417e-07 | 0.0097182 | 0.0097181 | 0.0097182 | 0.99297 | -0.13435 | 0.99308 | -0.1323 | 2.6698
50 | -0.011888 | -0.0029802 | 0.01189 | 0.0029813 | 2.0164e-06 | 1.0852e-06 | 0.018109 | 0.018109 | 0.018109 | 0.97679 | -0.44703 | 0.97697 | -0.44347 | 4.9751
51 | 0.011888 | 0.0029802 | -0.011885 | -0.0029786 | 2.9878e-06 | 1.6082e-06 | 0.018109 | 0.01811 | 0.01811 | 0.97679 | -0.44703 | 0.97652 | -0.4523 | 4.9752
52 | 0.028342 | 0.0071066 | -0.02834 | -0.0071055 | 1.7901e-06 | 1.1136e-06 | 0.043169 | 0.043169 | 0.043169 | 0.97697 | -0.44347 | 0.97691 | -0.44479 | 11.8595
53 | 0.0057339 | 0.0014371 | -0.0057338 | -0.001437 | 7.5443e-08 | 1.5315e-08 | 0.0087373 | 0.0087373 | 0.0087373 | 0.97652 | -0.4523 | 0.97651 | -0.45258 | 2.4004
54 | 0.097608 | 0.024749 | -0.097496 | -0.024677 | 0.00011264 | 7.1917e-05 | 0.14787 | 0.14787 | 0.14787 | 0.98293 | -0.32648 | 0.98169 | -0.35052 | 40.623
55 | 0.0086967 | 0.0021798 | -0.0086956 | -0.0021793 | 1.0781e-06 | 4.7977e-07 | 0.013166 | 0.013166 | 0.013166 | 0.98293 | -0.32648 | 0.9828 | -0.32908 | 3.617
56 | 0.019569 | 0.0049072 | -0.019563 | -0.0049038 | 5.6671e-06 | 3.414e-06 | 0.029808 | 0.029808 | 0.029808 | 0.97691 | -0.44479 | 0.9766 | -0.45087 | 8.1891
57 | 0.0097351 | 0.0024402 | -0.0097337 | -0.0024395 | 1.3364e-06 | 6.4838e-07 | 0.014756 | 0.014756 | 0.014756 | 0.98169 | -0.35052 | 0.98154 | -0.3534 | 4.0539
58 | 0.08776 | 0.022237 | -0.087251 | -0.021912 | 0.0005093 | 0.00032499 | 0.13311 | 0.13311 | 0.13311 | 0.98169 | -0.35052 | 0.97547 | -0.47208 | 36.5692
59 | 0.0068734 | 0.0017227 | -0.0068726 | -0.0017224 | 7.6975e-07 | 2.453e-07 | 0.01033 | 0.01033 | 0.01033 | 0.99008 | -0.18919 | 0.98996 | -0.19154 | 2.838
60 | 0.010792 | 0.0027055 | -0.010789 | -0.002704 | 2.9022e-06 | 1.4994e-06 | 0.016444 | 0.016444 | 0.016444 | 0.9766 | -0.45087 | 0.97631 | -0.45652 | 4.5176
61 | 0.087251 | 0.021912 | -0.08714 | -0.021841 | 0.00011138 | 7.1071e-05 | 0.13311 | 0.13311 | 0.13311 | 0.97547 | -0.47208 | 0.97411 | -0.49888 | 36.5692
62 | -0.0041386 | -0.0010372 | 0.0041387 | 0.0010372 | 4.5041e-08 | -8.5027e-09 | 0.0063255 | 0.0063255 | 0.0063255 | 0.97357 | -0.50949 | 0.97359 | -0.50926 | 1.7378
63 | -0.0041387 | -0.0010372 | 0.004139 | 0.0010372 | 3.059e-07 | -5.7776e-08 | 0.0063255 | 0.0063254 | 0.0063255 | 0.97359 | -0.50926 | 0.97367 | -0.50771 | 1.7378
64 | -0.013325 | -0.0033395 | 0.013327 | 0.0033406 | 1.9481e-06 | 1.0909e-06 | 0.020365 | 0.020365 | 0.020365 | 0.97367 | -0.50771 | 0.97382 | -0.50464 | 5.5947
65 | 0.013331 | 0.0033427 | -0.013327 | -0.0033406 | 3.6634e-06 | 2.0514e-06 | 0.020365 | 0.020365 | 0.020365 | 0.97411 | -0.49888 | 0.97382 | -0.50464 | 5.5947

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44231 | 0.11272

## res_load
| p_mw | q_mvar
0 | 0.0092874 | 0.0023276
1 | 0.0024035 | 0.00060238
2 | 0.015398 | 0.0038592
3 | 0.017761 | 0.0044512
4 | 0.0050449 | 0.0012644
5 | 0.003228 | 0.00080902
6 | 0.035998 | 0.0090219
7 | 0.01294 | 0.0032431
8 | 0.0021543 | 0.00053993
9 | 0.029261 | 0.0073336
10 | 0.0020986 | 0.00052595
11 | 0.025123 | 0.0062963
12 | 0.030257 | 0.0075832
13 | 0.013589 | 0.0034057
14 | 0.013034 | 0.0032666
15 | 0.01806 | 0.0045263
16 | 0.0064846 | 0.0016252
17 | 0.010543 | 0.0026423
18 | 0.0061507 | 0.0015415
19 | 0.010662 | 0.0026721
20 | 0.0058244 | 0.0014597
21 | 0.0051702 | 0.0012958
22 | 0.0087713 | 0.0021983
23 | 0.0086956 | 0.0021793
24 | 0.0024001 | 0.00060153
25 | 0.0053783 | 0.0013479
26 | 0.0057338 | 0.001437
27 | 0.0087713 | 0.0021983
28 | 0.010789 | 0.002704
29 | 0.0097337 | 0.0024395
30 | 0.0041386 | 0.0010372
31 | 0.0091865 | 0.0023024
32 | 0.073809 | 0.018498
33 | 0.0068726 | 0.0017224

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1