## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1058-14_0_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_1058-14_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1058-14_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1058-14_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1058-14_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1058-14_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1058-14_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1058-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1058-14_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1058-14_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1058-14_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_1058-14_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1058-14_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1058-14_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1058-14_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1058-14_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_1058-14_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1058-14_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1058-14_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1058-14_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_1058-14_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1058-14_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_1058-14_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1058-14_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1058-14_0_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_1058-14_0_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1058-14_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1058-14_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1058-14_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1058-14_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_1058-14_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1058-14_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1058-14_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1058-14_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1058-14_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1058-14_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1058-14_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1058-14_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1058-14_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1058-14_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1058-14_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_1058-14_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_1058-14_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_1058-14_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_1058-14_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1058-14_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1058-14_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1058-14_0_3_node_17 | 0.4 | n |  | TRUE
53 | bus_LV_1058-14_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1058-14_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1058-14_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1058-14_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_1058-14_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_1058-14_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1058-14_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_1058-14_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1058-14_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_MV_23_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-14_0_3_load_0 | 0 | 0.0073908 | 0.0018523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-14_0_3_load_1 | 1 | 0.0061627 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-14_0_3_load_2 | 2 | 0.0077776 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-14_0_3_load_3 | 3 | 0.0080321 | 0.002013 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-14_0_3_load_4 | 4 | 0.0072143 | 0.0018081 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-14_0_3_load_40 | 5 | 0.0061651 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-14_0_3_load_11 | 6 | 0.0074914 | 0.0018775 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-14_0_3_load_41 | 7 | 0.006842 | 0.0017148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-14_0_3_load_5 | 9 | 0.0072645 | 0.0018207 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-14_0_3_load_10 | 14 | 0.0056514 | 0.0014164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-14_0_3_load_39 | 15 | 0.011746 | 0.0029439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-14_0_3_load_37 | 16 | 0.0092058 | 0.0023072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-14_0_3_load_35 | 18 | 0.012626 | 0.0031643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-14_0_3_load_13 | 21 | 0.0098042 | 0.0024572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-14_0_3_load_61 | 26 | 0.0016756 | 0.00041993 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-14_0_3_load_62 | 30 | 0.0049038 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-14_0_3_load_53 | 32 | 0.0088078 | 0.0022074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-14_0_3_load_14 | 33 | 0.0053096 | 0.0013307 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-14_0_3_load_54 | 34 | 0.0092182 | 0.0023103 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-14_0_3_load_60 | 36 | 0.012776 | 0.003202 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-14_0_3_load_48 | 37 | 0.0047026 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-14_0_3_load_52 | 39 | 0.027223 | 0.0068228 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-14_0_3_load_59 | 46 | 0.01231 | 0.0030852 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-14_0_3_load_64 | 48 | 0.0091093 | 0.002283 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-14_0_3_load_65 | 49 | 0.0089974 | 0.002255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-14_0_3_load_43 | 50 | 0.0069134 | 0.0017327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-14_0_3_load_49 | 51 | 0.013852 | 0.0034715 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-14_0_3_load_50 | 53 | 0.0057039 | 0.0014295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-14_0_3_load_55 | 54 | 0.009633 | 0.0024143 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-14_0_3_load_51 | 55 | 0.023019 | 0.0057691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-14_0_3_load_66 | 57 | 0.01359 | 0.003406 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-14_0_3_load_47 | 59 | 0.017202 | 0.0043113 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-14_0_3_load_44 | 60 | 0.0089328 | 0.0022388 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-14_0_3_load_45 | 61 | 0.0054 | 0.0013534 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-14_0_3_line_0 |  | 0 | 1 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-14_0_3_line_1 |  | 0 | 2 | 0.00098729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-14_0_3_line_2 |  | 1 | 3 | 0.0077157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-14_0_3_line_3 |  | 2 | 4 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-14_0_3_line_4 |  | 3 | 5 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-14_0_3_line_5 |  | 4 | 6 | 0.0044231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-14_0_3_line_6 |  | 5 | 7 | 0.028285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-14_0_3_line_7 |  | 6 | 8 | 0.034317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-14_0_3_line_8 |  | 7 | 56 | 0.0021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-14_0_3_line_9 |  | 8 | 22 | 0.080902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-14_0_3_line_10 |  | 9 | 10 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-14_0_3_line_11 |  | 9 | 11 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-14_0_3_line_12 |  | 10 | 12 | 0.009702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-14_0_3_line_13 |  | 11 | 13 | 0.023995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-14_0_3_line_14 |  | 11 | 14 | 0.041649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-14_0_3_line_15 |  | 12 | 15 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-14_0_3_line_16 |  | 13 | 16 | 0.031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1058-14_0_3_line_17 |  | 13 | 17 | 0.003081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-14_0_3_line_18 |  | 13 | 18 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-14_0_3_line_19 |  | 15 | 19 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-14_0_3_line_20 |  | 16 | 20 | 0.001749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1058-14_0_3_line_21 |  | 17 | 21 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-14_0_3_line_22 |  | 19 | 42 | 0.035291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-14_0_3_line_23 |  | 20 | 46 | 0.027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-14_0_3_line_24 |  | 20 | 52 | 0.00351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1058-14_0_3_line_25 |  | 21 | 33 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-14_0_3_line_26 |  | 22 | 51 | 0.027865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-14_0_3_line_27 |  | 23 | 24 | 0.026311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-14_0_3_line_28 |  | 23 | 25 | 0.05315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-14_0_3_line_29 |  | 23 | 26 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-14_0_3_line_30 |  | 23 | 27 | 0.016992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-14_0_3_line_31 |  | 24 | 49 | 0.007833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-14_0_3_line_32 |  | 25 | 34 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-14_0_3_line_33 |  | 25 | 28 | 0.026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-14_0_3_line_34 |  | 27 | 54 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-14_0_3_line_35 |  | 28 | 29 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-14_0_3_line_36 |  | 28 | 30 | 0.0035783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-14_0_3_line_37 |  | 29 | 57 | 0.008627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-14_0_3_line_38 |  | 31 | 32 | 0.015284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-14_0_3_line_39 |  | 31 | 33 | 0.048103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-14_0_3_line_40 |  | 32 | 34 | 0.0303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-14_0_3_line_41 |  | 35 | 36 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-14_0_3_line_42 |  | 35 | 37 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-14_0_3_line_43 |  | 36 | 47 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-14_0_3_line_44 |  | 37 | 58 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-14_0_3_line_45 |  | 38 | 39 | 0.034213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-14_0_3_line_46 |  | 38 | 40 | 0.063019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-14_0_3_line_47 |  | 39 | 41 | 0.046186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-14_0_3_line_48 |  | 40 | 50 | 0.047409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-14_0_3_line_49 |  | 41 | 42 | 0.05161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-14_0_3_line_50 |  | 43 | 44 | 0.081127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1058-14_0_3_line_51 |  | 43 | 45 | 0.059985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1058-14_0_3_line_52 |  | 43 | 46 | 0.041107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-14_0_3_line_53 |  | 43 | 47 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-14_0_3_line_54 |  | 44 | 48 | 0.094894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-14_0_3_line_55 |  | 45 | 55 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-14_0_3_line_56 |  | 52 | 53 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1058-14_0_3_line_57 |  | 53 | 56 | 0.032693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-14_0_3_line_58 |  | 58 | 59 | 0.0044671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1058-14_0_3_line_59 |  | 58 | 60 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1058-14_0_3_line_60 |  | 60 | 61 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-14_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 62 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2666232.1591 | 1207607.8864 | 2666227.4672 | 1207592.5521 | 2666226.3377 | 1207584.7456
1 | 2666232.1591 | 1207607.8864 | 2666232.4479 | 1207608.8305
2 | 2666226.3377 | 1207584.7456 | 2666225.9559 | 1207582.1067 | 2666226.2001 | 1207577.0633
3 | 2666239.0258 | 1207630.3287 | 2666232.4479 | 1207608.8305
4 | 2666230.0984 | 1207563.0721 | 2666227.8356 | 1207568.9529 | 2666226.311 | 1207574.7729 | 2666226.2001 | 1207577.0633
5 | 2666240.3199 | 1207634.5583 | 2666239.0258 | 1207630.3287
6 | 2666241.5558 | 1207537.2244 | 2666232.5725 | 1207556.6424 | 2666230.0984 | 1207563.0721
7 | 2666250.3605 | 1207667.3739 | 2666240.3199 | 1207634.5583
8 | 2666242.4435 | 1207535.3055 | 2666241.5558 | 1207537.2244
9 | 2666250.3605 | 1207667.3739 | 2666252.3896 | 1207666.7961 | 2666253.2286 | 1207666.5608 | 2666255.5463 | 1207667.3759 | 2666302.6961 | 1207661.996 | 2666305.6648 | 1207661.7066 | 2666303.2498 | 1207636.7979
10 | 2666211.8636 | 1207443.8773 | 2666209.8894 | 1207461.7888
11 | 2666207.9912 | 1207479.0113 | 2666209.8894 | 1207461.7888
12 | 2666211.8636 | 1207443.8773 | 2666216.853 | 1207435.5498
13 | 2666207.9912 | 1207479.0113 | 2666231.8479 | 1207482.1667
14 | 2666207.9912 | 1207479.0113 | 2666166.6862 | 1207473.6663
15 | 2666216.853 | 1207435.5498 | 2666234.6755 | 1207441.0391
16 | 2666231.8479 | 1207482.1667 | 2666232.6755 | 1207482.2759 | 2666241.6397 | 1207483.0425 | 2666263.4415 | 1207483.6345
17 | 2666231.8479 | 1207482.1667 | 2666230.6076 | 1207484.988
18 | 2666231.8479 | 1207482.1667 | 2666234.9591 | 1207475.2081 | 2666237.824 | 1207469.3262
19 | 2666249.3936 | 1207445.5724 | 2666234.6755 | 1207441.0391
20 | 2666265.1898 | 1207483.682 | 2666263.4415 | 1207483.6345
21 | 2666230.6076 | 1207484.988 | 2666211.0854 | 1207482.6177
22 | 2666264.0306 | 1207413.4485 | 2666249.3936 | 1207445.5724
23 | 2666265.1898 | 1207483.682 | 2666292.8298 | 1207484.2641
24 | 2666264.9762 | 1207487.1706 | 2666265.094 | 1207486.8273 | 2666265.1898 | 1207483.682
25 | 2666183.9571 | 1207479.4277 | 2666195.3346 | 1207480.7054 | 2666211.0854 | 1207482.6177
26 | 2666303.2498 | 1207636.7979 | 2666300.5661 | 1207609.0626
27 | 2666170.2098 | 1207528.8118 | 2666169.7769 | 1207543.1713 | 2666181.709 | 1207543.715
28 | 2666132.0481 | 1207538.2059 | 2666134.3134 | 1207538.2643 | 2666162.183 | 1207539.5183 | 2666162.1302 | 1207542.9086 | 2666169.7769 | 1207543.1713 | 2666181.709 | 1207543.715
29 | 2666181.709 | 1207543.715 | 2666181.0903 | 1207554.6459
30 | 2666198.7142 | 1207544.8264 | 2666181.709 | 1207543.715
31 | 2666170.2098 | 1207528.8118 | 2666162.3577 | 1207528.5691
32 | 2666132.0481 | 1207538.2059 | 2666132.639 | 1207519.5542
33 | 2666132.0481 | 1207538.2059 | 2666131.9298 | 1207542.018 | 2666136.7184 | 1207542.1822 | 2666136.6595 | 1207545.4391 | 2666136.5973 | 1207548.9962 | 2666136.4021 | 1207559.745
34 | 2666198.7142 | 1207544.8264 | 2666199.0155 | 1207531.3771
35 | 2666146.9825 | 1207561.4966 | 2666146.3208 | 1207560.144 | 2666136.4021 | 1207559.745
36 | 2666136.4021 | 1207559.745 | 2666136.3382 | 1207563.3227
37 | 2666155.6231 | 1207561.9481 | 2666146.9825 | 1207561.4966
38 | 2666136.1328 | 1207474.2677 | 2666135.4284 | 1207489.5353
39 | 2666136.1328 | 1207474.2677 | 2666153.4811 | 1207476.0053 | 2666183.9571 | 1207479.4277
40 | 2666135.4284 | 1207489.5353 | 2666134.8618 | 1207501.8148 | 2666132.9953 | 1207508.3092 | 2666132.639 | 1207519.5542
41 | 2666331.0516 | 1207529.8747 | 2666331.1932 | 1207526.0295 | 2666331.8149 | 1207515.1599
42 | 2666331.0516 | 1207529.8747 | 2666308.0096 | 1207529.3741
43 | 2666332.9399 | 1207498.1764 | 2666332.2597 | 1207507.3856 | 2666331.8149 | 1207515.1599
44 | 2666308.1296 | 1207542.5279 | 2666308.0096 | 1207529.3741
45 | 2666232.697 | 1207355.6434 | 2666233.7947 | 1207360.2028 | 2666231.4958 | 1207365.2137 | 2666229.1624 | 1207368.5454 | 2666229.2657 | 1207373.6274 | 2666231.2616 | 1207377.4074 | 2666236.6388 | 1207380.0576 | 2666241.099 | 1207378.974
46 | 2666178.7405 | 1207377.3584 | 2666178.9604 | 1207373.3028 | 2666179.1749 | 1207370.4146 | 2666183.5866 | 1207370.2967 | 2666202.6092 | 1207367.8172 | 2666209.6487 | 1207365.2492 | 2666214.5925 | 1207363.0916 | 2666232.697 | 1207355.6434
47 | 2666285.4333 | 1207366.4685 | 2666259.4541 | 1207372.9397 | 2666252.4371 | 1207376.2194 | 2666241.099 | 1207378.974
48 | 2666178.7405 | 1207377.3584 | 2666179.2382 | 1207397.6207 | 2666181.8068 | 1207401.874 | 2666203.3508 | 1207407.113
49 | 2666285.4333 | 1207366.4685 | 2666264.0306 | 1207413.4485
50 | 2666331.3721 | 1207404.5797 | 2666332.6585 | 1207407.8848 | 2666334.4068 | 1207414.0969 | 2666335.6354 | 1207418.4911 | 2666336.9903 | 1207428.6345 | 2666337.1084 | 1207434.4282 | 2666336.5443 | 1207449.5979 | 2666333.932 | 1207484.8571
51 | 2666302.8882 | 1207513.3074 | 2666301.8035 | 1207511.0162 | 2666301.9793 | 1207499.2999 | 2666302.0147 | 1207496.7987 | 2666303.0081 | 1207494.9865 | 2666303.0102 | 1207487.2707 | 2666323.281 | 1207487.3958 | 2666333.7269 | 1207487.5787 | 2666333.932 | 1207484.8571
52 | 2666333.932 | 1207484.8571 | 2666296.4653 | 1207484.3406 | 2666292.8298 | 1207484.2641
53 | 2666332.9399 | 1207498.1764 | 2666333.7269 | 1207487.5787 | 2666333.932 | 1207484.8571
54 | 2666284.109 | 1207450.0937 | 2666286.4951 | 1207455.7125 | 2666288.3091 | 1207458.0674 | 2666292.2743 | 1207459.1232 | 2666302.6696 | 1207459.7501 | 2666306.0471 | 1207458.2645 | 2666307.9164 | 1207455.6392 | 2666310.2914 | 1207415.719 | 2666311.4415 | 1207413.4971 | 2666313.0868 | 1207411.881 | 2666331.3721 | 1207404.5797
55 | 2666302.8882 | 1207513.3074 | 2666302.8847 | 1207515.6755 | 2666289.22 | 1207515.7127
56 | 2666264.9762 | 1207487.1706 | 2666263.7506 | 1207490.7147 | 2666256.539 | 1207505.8069
57 | 2666242.4435 | 1207535.3055 | 2666256.539 | 1207505.8069
58 | 2666308.1296 | 1207542.5279 | 2666312.1923 | 1207544.3852
59 | 2666308.1296 | 1207542.5279 | 2666284.4388 | 1207543.9915
60 | 2666284.4388 | 1207543.9915 | 2666270.4677 | 1207544.8546

## bus_geodata
| x | y | coords
0 | 2666232.1591 | 1207607.8864
1 | 2666226.3377 | 1207584.7456
2 | 2666232.4479 | 1207608.8305
3 | 2666226.2001 | 1207577.0633
4 | 2666239.0258 | 1207630.3287
5 | 2666230.0984 | 1207563.0721
6 | 2666240.3199 | 1207634.5583
7 | 2666241.5558 | 1207537.2244
8 | 2666250.3605 | 1207667.3739
9 | 2666209.8894 | 1207461.7888
10 | 2666211.8636 | 1207443.8773
11 | 2666207.9912 | 1207479.0113
12 | 2666216.853 | 1207435.5497
13 | 2666231.8479 | 1207482.1667
14 | 2666166.6863 | 1207473.6663
15 | 2666234.6755 | 1207441.0391
16 | 2666263.4415 | 1207483.6345
17 | 2666230.6076 | 1207484.988
18 | 2666237.824 | 1207469.3262
19 | 2666249.3936 | 1207445.5724
20 | 2666265.1898 | 1207483.682
21 | 2666211.0854 | 1207482.6177
22 | 2666303.2498 | 1207636.7979
23 | 2666181.709 | 1207543.715
24 | 2666170.2098 | 1207528.8118
25 | 2666132.0481 | 1207538.2059
26 | 2666181.0903 | 1207554.6459
27 | 2666198.7142 | 1207544.8264
28 | 2666136.4021 | 1207559.745
29 | 2666146.9825 | 1207561.4966
30 | 2666136.3382 | 1207563.3227
31 | 2666136.1328 | 1207474.2677
32 | 2666135.4284 | 1207489.5353
33 | 2666183.9571 | 1207479.4277
34 | 2666132.639 | 1207519.5542
35 | 2666331.0516 | 1207529.8747
36 | 2666331.8149 | 1207515.1599
37 | 2666308.0096 | 1207529.3741
38 | 2666232.697 | 1207355.6434
39 | 2666241.099 | 1207378.974
40 | 2666178.7405 | 1207377.3584
41 | 2666285.4333 | 1207366.4685
42 | 2666264.0306 | 1207413.4485
43 | 2666333.932 | 1207484.8571
44 | 2666331.3721 | 1207404.5797
45 | 2666302.8882 | 1207513.3074
46 | 2666292.8298 | 1207484.2641
47 | 2666332.9399 | 1207498.1764
48 | 2666284.109 | 1207450.0937
49 | 2666162.3577 | 1207528.5691
50 | 2666203.3508 | 1207407.113
51 | 2666300.5661 | 1207609.0626
52 | 2666264.9762 | 1207487.1706
53 | 2666256.539 | 1207505.8069
54 | 2666199.0155 | 1207531.3771
55 | 2666289.22 | 1207515.7127
56 | 2666242.4435 | 1207535.3055
57 | 2666155.6231 | 1207561.9481
58 | 2666308.1296 | 1207542.5279
59 | 2666312.1923 | 1207544.3852
60 | 2666284.4388 | 1207543.9915
61 | 2666270.4677 | 1207544.8546
62 | 2666264.9762 | 1207487.1706

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99401 | -0.11502 | 0.0073908 | 0.0018523
1 | 0.99497 | -0.096579 | 0.0061627 | 0.0015445
2 | 0.99398 | -0.11565 | 0.0077776 | 0.0019492
3 | 0.99532 | -0.089804 | 0.0080321 | 0.002013
4 | 0.9934 | -0.12698 | 0.0072143 | 0.0018081
5 | 0.99609 | -0.074925 | 0.0061651 | 0.0015451
6 | 0.99331 | -0.12865 | 0.0074914 | 0.0018775
7 | 0.99775 | -0.043132 | 0.006842 | 0.0017148
8 | 0.99287 | -0.13706 | 0 | 0
9 | 0.99295 | -0.1349 | 0.0072645 | 0.0018207
10 | 0.99219 | -0.14953 | 0 | 0
11 | 0.9938 | -0.11863 | 0 | 0
12 | 0.99178 | -0.15742 | 0 | 0
13 | 0.99509 | -0.093762 | 0 | 0
14 | 0.99358 | -0.12279 | 0.0056514 | 0.0014164
15 | 0.991 | -0.1726 | 0.011746 | 0.0029439
16 | 0.99717 | -0.053915 | 0.0092058 | 0.0023072
17 | 0.99489 | -0.097665 | 0 | 0
18 | 0.99493 | -0.096911 | 0.012626 | 0.0031643
19 | 0.99051 | -0.18193 | 0 | 0
20 | 0.99729 | -0.051576 | 0 | 0
21 | 0.99359 | -0.12261 | 0.0098042 | 0.0024572
22 | 0.99185 | -0.15689 | 0 | 0
23 | 0.98572 | -0.27493 | 0 | 0
24 | 0.9855 | -0.27917 | 0 | 0
25 | 0.98671 | -0.25558 | 0 | 0
26 | 0.9857 | -0.27526 | 0.0016756 | 0.00041993
27 | 0.98557 | -0.27786 | 0 | 0
28 | 0.98627 | -0.26425 | 0 | 0
29 | 0.98613 | -0.26703 | 0 | 0
30 | 0.98625 | -0.26457 | 0.0049038 | 0.001229
31 | 0.98952 | -0.20117 | 0 | 0
32 | 0.98872 | -0.21665 | 0.0088078 | 0.0022074
33 | 0.99203 | -0.15263 | 0.0053096 | 0.0013307
34 | 0.98738 | -0.24263 | 0.0092182 | 0.0023103
35 | 0.99002 | -0.19179 | 0 | 0
36 | 0.99051 | -0.1823 | 0.012776 | 0.003202
37 | 0.98925 | -0.20666 | 0.0047026 | 0.0011786
38 | 0.98612 | -0.26724 | 0 | 0
39 | 0.98634 | -0.263 | 0.027223 | 0.0068228
40 | 0.98572 | -0.27506 | 0 | 0
41 | 0.98779 | -0.23479 | 0 | 0
42 | 0.98941 | -0.20337 | 0 | 0
43 | 0.99187 | -0.15589 | 0 | 0
44 | 0.9912 | -0.16899 | 0 | 0
45 | 0.99061 | -0.18038 | 0 | 0
46 | 0.99493 | -0.096966 | 0.01231 | 0.0030852
47 | 0.99127 | -0.16749 | 0 | 0
48 | 0.9904 | -0.18434 | 0.0091093 | 0.002283
49 | 0.98544 | -0.28044 | 0.0089974 | 0.002255
50 | 0.98542 | -0.28094 | 0.0069134 | 0.0017327
51 | 0.9915 | -0.16373 | 0.013852 | 0.0034715
52 | 0.99769 | -0.044012 | 0 | 0
53 | 1 | 0 | -0.32133 | -0.081159
54 | 0.98545 | -0.28019 | 0.009633 | 0.0024143
55 | 0.99027 | -0.18694 | 0.023019 | 0.0057691
56 | 0.99788 | -0.040507 | 0 | 0
57 | 0.98602 | -0.26913 | 0.01359 | 0.003406
58 | 0.98887 | -0.21405 | 0 | 0
59 | 0.9888 | -0.21542 | 0.017202 | 0.0043113
60 | 0.98856 | -0.22011 | 0.0089328 | 0.0022388
61 | 0.98849 | -0.22146 | 0.0054 | 0.0013534
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.043767 | -0.010983 | 0.043806 | 0.011007 | 3.8517e-05 | 2.434e-05 | 0.065523 | 0.065523 | 0.065523 | 0.99401 | -0.11502 | 0.99497 | -0.096579 | 18.0009
1 | 0.036376 | 0.0091307 | -0.036375 | -0.00913 | 1.098e-06 | 6.8995e-07 | 0.054459 | 0.054459 | 0.054459 | 0.99401 | -0.11502 | 0.99398 | -0.11565 | 14.9614
2 | -0.049968 | -0.012552 | 0.049985 | 0.012562 | 1.6162e-05 | 1.0244e-05 | 0.07474 | 0.07474 | 0.07474 | 0.99497 | -0.096579 | 0.99532 | -0.089804 | 20.5329
3 | 0.028598 | 0.0071808 | -0.028582 | -0.0071712 | 1.5455e-05 | 9.6003e-06 | 0.042816 | 0.042816 | 0.042816 | 0.99398 | -0.11565 | 0.9934 | -0.12698 | 11.7627
4 | -0.058017 | -0.014575 | 0.058058 | 0.014601 | 4.123e-05 | 2.6197e-05 | 0.086748 | 0.086748 | 0.086748 | 0.99532 | -0.089804 | 0.99609 | -0.074925 | 23.8318
5 | 0.021368 | 0.0053631 | -0.021366 | -0.005362 | 1.6995e-06 | 1.0304e-06 | 0.03201 | 0.03201 | 0.03201 | 0.9934 | -0.12698 | 0.99331 | -0.12865 | 8.7939
6 | -0.064223 | -0.016146 | 0.064321 | 0.016209 | 9.7665e-05 | 6.2137e-05 | 0.095957 | 0.095957 | 0.095957 | 0.99609 | -0.074925 | 0.99775 | -0.043132 | 26.3619
7 | 0.013875 | 0.0034845 | -0.013869 | -0.0034814 | 5.561e-06 | 3.115e-06 | 0.020787 | 0.020788 | 0.020788 | 0.99331 | -0.12865 | 0.99287 | -0.13706 | 5.7109
8 | -0.071163 | -0.017923 | 0.071172 | 0.017929 | 8.9356e-06 | 5.6912e-06 | 0.10616 | 0.10616 | 0.10616 | 0.99775 | -0.043132 | 0.99788 | -0.040507 | 29.1652
9 | 0.013869 | 0.0034814 | -0.013856 | -0.0034741 | 1.311e-05 | 7.3453e-06 | 0.020788 | 0.020788 | 0.020788 | 0.99287 | -0.13706 | 0.99185 | -0.15689 | 5.711
10 | 0.04612 | 0.011647 | -0.046087 | -0.011626 | 3.2308e-05 | 2.0444e-05 | 0.069145 | 0.069145 | 0.069145 | 0.99295 | -0.1349 | 0.99219 | -0.14953 | 18.996
11 | -0.053384 | -0.013467 | 0.053426 | 0.013494 | 4.1617e-05 | 2.6411e-05 | 0.080032 | 0.080032 | 0.080032 | 0.99295 | -0.1349 | 0.9938 | -0.11863 | 21.9867
12 | 0.046087 | 0.011626 | -0.04607 | -0.011615 | 1.7395e-05 | 1.1007e-05 | 0.069145 | 0.069145 | 0.069145 | 0.99219 | -0.14953 | 0.99178 | -0.15742 | 18.996
13 | -0.059078 | -0.01491 | 0.059149 | 0.014955 | 7.0468e-05 | 4.4788e-05 | 0.088495 | 0.088495 | 0.088495 | 0.9938 | -0.11863 | 0.99509 | -0.093762 | 24.3118
14 | 0.0056525 | 0.0014165 | -0.0056514 | -0.0014164 | 1.1188e-06 | 1.7648e-07 | 0.0084634 | 0.0084636 | 0.0084636 | 0.9938 | -0.11863 | 0.99358 | -0.12279 | 2.3252
15 | 0.04607 | 0.011615 | -0.046037 | -0.011594 | 3.3435e-05 | 2.1158e-05 | 0.069145 | 0.069145 | 0.069145 | 0.99178 | -0.15742 | 0.991 | -0.1726 | 18.996
16 | -0.1442 | -0.036455 | 0.14448 | 0.036631 | 0.00027613 | 0.0001759 | 0.21574 | 0.21574 | 0.21574 | 0.99509 | -0.093762 | 0.99717 | -0.053915 | 29.6347
17 | 0.072422 | 0.018334 | -0.072409 | -0.018326 | 1.3567e-05 | 8.6428e-06 | 0.10836 | 0.10836 | 0.10836 | 0.99509 | -0.093762 | 0.99489 | -0.097665 | 29.7699
18 | 0.012628 | 0.0031654 | -0.012626 | -0.0031643 | 1.8941e-06 | 1.0282e-06 | 0.018883 | 0.018883 | 0.018883 | 0.99509 | -0.093762 | 0.99493 | -0.096911 | 5.1877
19 | 0.03429 | 0.00865 | -0.034275 | -0.0086404 | 1.5322e-05 | 9.6076e-06 | 0.051508 | 0.051508 | 0.051508 | 0.991 | -0.1726 | 0.99051 | -0.18193 | 14.1505
20 | -0.15368 | -0.038938 | 0.1537 | 0.038949 | 1.7269e-05 | 1.1006e-05 | 0.22948 | 0.22948 | 0.22948 | 0.99717 | -0.053915 | 0.99729 | -0.051576 | 31.5216
21 | 0.072409 | 0.018326 | -0.072322 | -0.018271 | 8.6595e-05 | 5.5166e-05 | 0.10836 | 0.10836 | 0.10836 | 0.99489 | -0.097665 | 0.99359 | -0.12261 | 29.7699
22 | 0.034275 | 0.0086404 | -0.03424 | -0.0086184 | 3.5111e-05 | 2.2017e-05 | 0.051508 | 0.051508 | 0.051508 | 0.99051 | -0.18193 | 0.98941 | -0.20337 | 14.1505
23 | 0.094053 | 0.0238 | -0.093849 | -0.02367 | 0.0002044 | 0.00013046 | 0.14041 | 0.14041 | 0.14041 | 0.99729 | -0.051576 | 0.99493 | -0.096966 | 38.575
24 | -0.24775 | -0.062749 | 0.24784 | 0.062807 | 9.0044e-05 | 5.7536e-05 | 0.36989 | 0.36989 | 0.36989 | 0.99729 | -0.051576 | 0.99769 | -0.044012 | 50.8091
25 | 0.062518 | 0.015813 | -0.062428 | -0.015756 | 8.9894e-05 | 5.7179e-05 | 0.09368 | 0.09368 | 0.09368 | 0.99359 | -0.12261 | 0.99203 | -0.15263 | 25.7362
26 | 0.013856 | 0.0034741 | -0.013852 | -0.0034715 | 4.5156e-06 | 2.5305e-06 | 0.020788 | 0.020788 | 0.020788 | 0.99185 | -0.15689 | 0.9915 | -0.16373 | 5.711
27 | 0.0089997 | 0.002256 | -0.0089979 | -0.0022552 | 1.8211e-06 | 8.3022e-07 | 0.013586 | 0.013586 | 0.013586 | 0.98572 | -0.27493 | 0.9855 | -0.27917 | 3.7324
28 | -0.020311 | -0.0050913 | 0.020329 | 0.0051026 | 1.8737e-05 | 1.1314e-05 | 0.030661 | 0.030661 | 0.030661 | 0.98572 | -0.27493 | 0.98671 | -0.25558 | 8.4233
29 | 0.0016756 | 0.00041981 | -0.0016756 | -0.00041993 | 2.6267e-08 | -1.2275e-07 | 0.0025294 | 0.0025294 | 0.0025294 | 0.98572 | -0.27493 | 0.9857 | -0.27526 | 0.6949
30 | 0.0096354 | 0.0024154 | -0.0096341 | -0.0024148 | 1.3482e-06 | 6.4625e-07 | 0.014546 | 0.014546 | 0.014546 | 0.98572 | -0.27493 | 0.98557 | -0.27786 | 3.9961
31 | 0.0089979 | 0.0022552 | -0.0089974 | -0.002255 | 5.4218e-07 | 2.472e-07 | 0.013586 | 0.013586 | 0.013586 | 0.9855 | -0.27917 | 0.98544 | -0.28044 | 3.7324
32 | -0.038834 | -0.0097439 | 0.038858 | 0.009759 | 2.4004e-05 | 1.5124e-05 | 0.058568 | 0.058568 | 0.058568 | 0.98671 | -0.25558 | 0.98738 | -0.24263 | 16.0902
33 | 0.018505 | 0.0046413 | -0.018497 | -0.0046368 | 7.6436e-06 | 4.5578e-06 | 0.027908 | 0.027908 | 0.027908 | 0.98671 | -0.25558 | 0.98627 | -0.26425 | 7.6669
34 | 0.0096341 | 0.0024148 | -0.009633 | -0.0024143 | 1.0674e-06 | 5.1169e-07 | 0.014546 | 0.014546 | 0.014546 | 0.98557 | -0.27786 | 0.98545 | -0.28019 | 3.9961
35 | 0.013593 | 0.0034078 | -0.013591 | -0.0034068 | 1.7986e-06 | 1.0056e-06 | 0.020509 | 0.020509 | 0.020509 | 0.98627 | -0.26425 | 0.98613 | -0.26703 | 5.6343
36 | 0.0049039 | 0.001229 | -0.0049038 | -0.001229 | 7.3454e-08 | 1.3473e-09 | 0.0073987 | 0.0073987 | 0.0073987 | 0.98627 | -0.26425 | 0.98625 | -0.26457 | 2.0326
37 | 0.013591 | 0.0034068 | -0.01359 | -0.003406 | 1.3608e-06 | 7.6084e-07 | 0.020509 | 0.020509 | 0.020509 | 0.98613 | -0.26703 | 0.98602 | -0.26913 | 5.6344
38 | 0.056986 | 0.014341 | -0.056944 | -0.014315 | 4.211e-05 | 2.6754e-05 | 0.085716 | 0.085716 | 0.085716 | 0.98952 | -0.20117 | 0.98872 | -0.21665 | 23.5483
39 | -0.056986 | -0.014341 | 0.057119 | 0.014426 | 0.00013253 | 8.4201e-05 | 0.085716 | 0.085716 | 0.085716 | 0.98952 | -0.20117 | 0.99203 | -0.15263 | 23.5483
40 | 0.048136 | 0.012107 | -0.048077 | -0.012069 | 5.966e-05 | 3.7794e-05 | 0.07246 | 0.07246 | 0.07246 | 0.98872 | -0.21665 | 0.98738 | -0.24263 | 19.9067
41 | -0.03628 | -0.0091082 | 0.036297 | 0.0091185 | 1.6434e-05 | 1.0328e-05 | 0.054535 | 0.054535 | 0.054535 | 0.99002 | -0.19179 | 0.99051 | -0.1823 | 14.9822
42 | 0.03628 | 0.0091082 | -0.036254 | -0.009092 | 2.5704e-05 | 1.6155e-05 | 0.054535 | 0.054535 | 0.054535 | 0.99002 | -0.19179 | 0.98925 | -0.20666 | 14.9822
43 | -0.049072 | -0.01232 | 0.049107 | 0.012342 | 3.4697e-05 | 2.1987e-05 | 0.073728 | 0.073728 | 0.073728 | 0.99051 | -0.1823 | 0.99127 | -0.16749 | 20.255
44 | 0.031552 | 0.0079134 | -0.031541 | -0.0079065 | 1.1112e-05 | 6.9428e-06 | 0.047462 | 0.047462 | 0.047462 | 0.98925 | -0.20666 | 0.98887 | -0.21405 | 13.039
45 | -0.0069179 | -0.0017341 | 0.0069193 | 0.0017346 | 1.3981e-06 | 4.5819e-07 | 0.010439 | 0.010439 | 0.010439 | 0.98612 | -0.26724 | 0.98634 | -0.263 | 2.8678
46 | 0.0069179 | 0.0017341 | -0.0069153 | -0.0017333 | 2.5753e-06 | 8.4454e-07 | 0.010439 | 0.010439 | 0.010439 | 0.98612 | -0.26724 | 0.98572 | -0.27506 | 2.8679
47 | -0.034142 | -0.0085574 | 0.034188 | 0.0085862 | 4.5952e-05 | 2.8819e-05 | 0.051508 | 0.051508 | 0.051508 | 0.98634 | -0.263 | 0.98779 | -0.23479 | 14.1507
48 | 0.0069153 | 0.0017333 | -0.0069134 | -0.0017327 | 1.9375e-06 | 6.3584e-07 | 0.010439 | 0.010439 | 0.010439 | 0.98572 | -0.27506 | 0.98542 | -0.28094 | 2.868
49 | -0.034188 | -0.0085862 | 0.03424 | 0.0086184 | 5.1347e-05 | 3.22e-05 | 0.051508 | 0.051508 | 0.051508 | 0.98779 | -0.23479 | 0.98941 | -0.20337 | 14.1506
50 | 0.0091217 | 0.0022886 | -0.009116 | -0.002286 | 5.698e-06 | 2.6003e-06 | 0.013685 | 0.013686 | 0.013686 | 0.99187 | -0.15589 | 0.9912 | -0.16899 | 3.7598
51 | 0.023053 | 0.0057899 | -0.023026 | -0.0057735 | 2.6912e-05 | 1.645e-05 | 0.034589 | 0.034589 | 0.034589 | 0.99187 | -0.15589 | 0.99061 | -0.18038 | 9.5025
52 | -0.081309 | -0.020438 | 0.081538 | 0.020585 | 0.00022944 | 0.00014631 | 0.122 | 0.122 | 0.122 | 0.99187 | -0.15589 | 0.99493 | -0.096966 | 33.517
53 | 0.049134 | 0.01236 | -0.049107 | -0.012342 | 2.7226e-05 | 1.7252e-05 | 0.073728 | 0.073728 | 0.073728 | 0.99187 | -0.15589 | 0.99127 | -0.16749 | 20.255
54 | 0.009116 | 0.002286 | -0.0091093 | -0.002283 | 6.6653e-06 | 3.0436e-06 | 0.013686 | 0.013686 | 0.013686 | 0.9912 | -0.16899 | 0.9904 | -0.18434 | 3.7599
55 | 0.023026 | 0.0057735 | -0.023019 | -0.0057691 | 7.1931e-06 | 4.3973e-06 | 0.034589 | 0.034589 | 0.034589 | 0.99061 | -0.18038 | 0.99027 | -0.18694 | 9.5025
56 | -0.24784 | -0.062807 | 0.24837 | 0.063142 | 0.0005253 | 0.00033566 | 0.36989 | 0.36989 | 0.36989 | 0.99769 | -0.044012 | 1 | 0 | 50.8091
57 | 0.07131 | 0.018017 | -0.071172 | -0.017929 | 0.00013817 | 8.8002e-05 | 0.10616 | 0.10616 | 0.10616 | 1 | 0 | 0.99788 | -0.040507 | 29.1652
58 | 0.017203 | 0.004312 | -0.017202 | -0.0043113 | 1.1226e-06 | 6.6116e-07 | 0.025887 | 0.025887 | 0.025887 | 0.98887 | -0.21405 | 0.9888 | -0.21542 | 7.1119
59 | 0.014337 | 0.0035945 | -0.014333 | -0.0035922 | 4.1431e-06 | 2.3472e-06 | 0.021575 | 0.021575 | 0.021575 | 0.98887 | -0.21405 | 0.98856 | -0.22011 | 5.9271
60 | 0.0054004 | 0.0013534 | -0.0054 | -0.0013534 | 3.4685e-07 | 4.2537e-08 | 0.0081288 | 0.0081289 | 0.0081289 | 0.98856 | -0.22011 | 0.98849 | -0.22146 | 2.2332

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32703 | 0.082589

## res_load
| p_mw | q_mvar
0 | 0.0073908 | 0.0018523
1 | 0.0061627 | 0.0015445
2 | 0.0077776 | 0.0019492
3 | 0.0080321 | 0.002013
4 | 0.0072143 | 0.0018081
5 | 0.0061651 | 0.0015451
6 | 0.0074914 | 0.0018775
7 | 0.006842 | 0.0017148
8 | 0.0072645 | 0.0018207
9 | 0.0056514 | 0.0014164
10 | 0.011746 | 0.0029439
11 | 0.0092058 | 0.0023072
12 | 0.012626 | 0.0031643
13 | 0.0098042 | 0.0024572
14 | 0.0016756 | 0.00041993
15 | 0.0049038 | 0.001229
16 | 0.0088078 | 0.0022074
17 | 0.0053096 | 0.0013307
18 | 0.0092182 | 0.0023103
19 | 0.012776 | 0.003202
20 | 0.0047026 | 0.0011786
21 | 0.027223 | 0.0068228
22 | 0.01231 | 0.0030852
23 | 0.0091093 | 0.002283
24 | 0.0089974 | 0.002255
25 | 0.0069134 | 0.0017327
26 | 0.013852 | 0.0034715
27 | 0.0057039 | 0.0014295
28 | 0.009633 | 0.0024143
29 | 0.023019 | 0.0057691
30 | 0.01359 | 0.003406
31 | 0.017202 | 0.0043113
32 | 0.0089328 | 0.0022388
33 | 0.0054 | 0.0013534

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1