## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1058-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1058-15_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1058-15_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1058-15_0_3_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_1058-15_0_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_1058-15_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_1058-15_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1058-15_0_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_1058-15_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1058-15_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1058-15_0_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1058-15_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1058-15_0_3_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_1058-15_0_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_1058-15_0_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_1058-15_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1058-15_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_1058-15_0_3_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_1058-15_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1058-15_0_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1058-15_0_3_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_1058-15_0_3_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_1058-15_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1058-15_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1058-15_0_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_1058-15_0_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_1058-15_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_1058-15_0_3_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_1058-15_0_3_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_1058-15_0_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_1058-15_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_1058-15_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_1058-15_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1058-15_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1058-15_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1058-15_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1058-15_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1058-15_0_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_1058-15_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_1058-15_0_3_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_1058-15_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_1058-15_0_3_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_1058-15_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1058-15_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_1058-15_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1058-15_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_1058-15_0_3_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_1058-15_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1058-15_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_1058-15_0_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_1058-15_0_3_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_1058-15_0_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_1058-15_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_MV_23_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-15_0_3_load_0 | 0 | 0.0027311 | 0.00068447 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-15_0_3_load_1 | 1 | 0.0023341 | 0.00058498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-15_0_3_load_2 | 2 | 0.0016952 | 0.00042485 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-15_0_3_load_3 | 3 | 0.0022709 | 0.00056915 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-15_0_3_load_5 | 5 | 0.0020549 | 0.00051501 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-15_0_3_load_70 | 8 | 0.0022253 | 0.00055772 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-15_0_3_load_64 | 12 | 0.023658 | 0.0059292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-15_0_3_load_37 | 13 | 0.0013277 | 0.00033276 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-15_0_3_load_48 | 15 | 0.0001912 | 4.7919e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-15_0_3_load_45 | 16 | 0.00021281 | 5.3336e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-15_0_3_load_60 | 18 | 0.0088014 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-15_0_3_load_71 | 19 | 0.002148 | 0.00053834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-15_0_3_load_77 | 22 | 0.00421 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-15_0_3_load_88 | 26 | 0.036284 | 0.0090937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-15_0_3_load_30 | 28 | 0.0033488 | 0.00083929 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-15_0_3_load_84 | 29 | 0.0063402 | 0.001589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-15_0_3_load_82 | 30 | 0.082933 | 0.020785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-15_0_3_load_83 | 32 | 0.072673 | 0.018214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-15_0_3_load_86 | 34 | 0.020388 | 0.0051096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-15_0_3_load_50 | 36 | 0.0001333 | 3.3409e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-15_0_3_load_46 | 37 | 0.00041156 | 0.00010315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-15_0_3_load_47 | 38 | 0.00011884 | 2.9783e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-15_0_3_load_49 | 39 | 0.00013126 | 3.2898e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-15_0_3_load_52 | 41 | 0.00019563 | 4.9029e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-15_0_3_load_53 | 42 | 0.002388 | 0.0005985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-15_0_3_load_58 | 43 | 0.00027497 | 6.8914e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-15_0_3_load_66 | 45 | 0.0013554 | 0.00033971 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-15_0_3_load_69 | 46 | 0.00158 | 0.00039599 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-15_0_3_load_55 | 47 | 0.003408 | 0.00085413 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-15_0_3_load_56 | 48 | 0.0035892 | 0.00089954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-15_0_3_load_61 | 49 | 0.0088013 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-15_0_3_load_63 | 50 | 0.0088013 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-15_0_3_load_67 | 53 | 0.0013553 | 0.00033967 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-15_0_3_load_68 | 54 | 0.0013554 | 0.00033971 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1058-15_0_3_load_76 | 55 | 0.0015497 | 0.00038839 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1058-15_0_3_load_72 | 56 | 0.0021022 | 0.00052685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1058-15_0_3_load_87 | 57 | 0.044952 | 0.011266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-15_0_3_line_0 |  | 0 | 1 | 0.031735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-15_0_3_line_1 |  | 0 | 2 | 0.021289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-15_0_3_line_2 |  | 1 | 3 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-15_0_3_line_3 |  | 2 | 4 | 0.053098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-15_0_3_line_4 |  | 2 | 5 | 0.02671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-15_0_3_line_5 |  | 3 | 6 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-15_0_3_line_6 |  | 4 | 7 | 0.004058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-15_0_3_line_7 |  | 5 | 8 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-15_0_3_line_8 |  | 6 | 9 | 0.008437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-15_0_3_line_9 |  | 6 | 10 | 0.05392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-15_0_3_line_10 |  | 7 | 11 | 0.034461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-15_0_3_line_11 |  | 7 | 12 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-15_0_3_line_12 |  | 8 | 19 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-15_0_3_line_13 |  | 9 | 46 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-15_0_3_line_14 |  | 9 | 44 | 0.029321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-15_0_3_line_15 |  | 10 | 47 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-15_0_3_line_16 |  | 11 | 13 | 0.045587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-15_0_3_line_17 |  | 12 | 17 | 0.016983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-15_0_3_line_18 |  | 13 | 27 | 0.089301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-15_0_3_line_19 |  | 14 | 15 | 0.023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-15_0_3_line_20 |  | 14 | 16 | 0.015159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-15_0_3_line_21 |  | 15 | 36 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-15_0_3_line_22 |  | 16 | 37 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-15_0_3_line_23 |  | 17 | 18 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-15_0_3_line_24 |  | 18 | 49 | 0.038789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-15_0_3_line_25 |  | 19 | 56 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-15_0_3_line_26 |  | 20 | 21 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-15_0_3_line_27 |  | 20 | 22 | 0.028792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-15_0_3_line_28 |  | 21 | 29 | 0.056625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-15_0_3_line_29 |  | 21 | 30 | 0.047867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-15_0_3_line_30 |  | 23 | 24 | 0.062905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-15_0_3_line_31 |  | 23 | 25 | 0.043113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-15_0_3_line_32 |  | 24 | 26 | 0.042548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-15_0_3_line_33 |  | 25 | 33 | 0.071071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1058-15_0_3_line_34 |  | 25 | 32 | 0.046861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1058-15_0_3_line_35 |  | 27 | 28 | 0.046675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-15_0_3_line_36 |  | 30 | 31 | 0.037446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-15_0_3_line_37 |  | 31 | 32 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-15_0_3_line_38 |  | 33 | 35 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1058-15_0_3_line_39 |  | 33 | 57 | 0.0022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-15_0_3_line_40 |  | 34 | 35 | 0.036425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1058-15_0_3_line_41 |  | 36 | 39 | 0.023248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-15_0_3_line_42 |  | 37 | 38 | 0.00016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-15_0_3_line_43 |  | 39 | 40 | 0.000372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-15_0_3_line_44 |  | 40 | 41 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-15_0_3_line_45 |  | 40 | 42 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-15_0_3_line_46 |  | 41 | 43 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-15_0_3_line_47 |  | 42 | 44 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-15_0_3_line_48 |  | 44 | 45 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-15_0_3_line_49 |  | 45 | 53 | 0.0090073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-15_0_3_line_50 |  | 47 | 48 | 0.013747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1058-15_0_3_line_51 |  | 49 | 50 | 0.036912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1058-15_0_3_line_52 |  | 50 | 51 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-15_0_3_line_53 |  | 51 | 52 | 0.033482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-15_0_3_line_54 |  | 52 | 57 | 0.03339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-15_0_3_line_55 |  | 53 | 54 | 0.0090075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-15_0_3_line_56 |  | 54 | 55 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-15_0_3_trafo_86 | 0.63 MVA 20/0.4 kV | 58 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2665853.6261 | 1208024.8143 | 2665827.9454 | 1208043.4587
1 | 2665871.2626 | 1208012.9572 | 2665866.1914 | 1208015.6918 | 2665853.6261 | 1208024.8143
2 | 2665827.9454 | 1208043.4587 | 2665817.559 | 1208050.9993 | 2665815.8851 | 1208051.8131
3 | 2665871.2626 | 1208012.9572 | 2665880.2603 | 1208009.2431 | 2665895.2664 | 1208002.6158 | 2665920.9322 | 1207993.9382
4 | 2665871.2626 | 1208012.9572 | 2665872.6101 | 1208017.6194 | 2665872.5721 | 1208021.0655 | 2665866.1898 | 1208038.3345
5 | 2665804.3651 | 1208057.4133 | 2665815.8851 | 1208051.8131
6 | 2665924.7863 | 1207992.6355 | 2665920.9322 | 1207993.9382
7 | 2665866.1898 | 1208038.3345 | 2665861.3272 | 1208051.4916
8 | 2665804.3651 | 1208057.4133 | 2665805.4989 | 1208049.0541
9 | 2665804.3651 | 1208057.4133 | 2665800.7258 | 1208091.6497 | 2665799.5416 | 1208104.5778 | 2665799.7513 | 1208111.073
10 | 2665924.7863 | 1207992.6355 | 2665925.4193 | 1207989.0181 | 2665954.05 | 1208000.3412
11 | 2665924.7863 | 1207992.6355 | 2665920.9095 | 1208004.9447 | 2665920.0628 | 1208007.1839
12 | 2665857.8552 | 1208060.8863 | 2665861.3272 | 1208051.4916
13 | 2665805.4989 | 1208049.0541 | 2665792.9787 | 1208048.4134
14 | 2665805.4989 | 1208049.0541 | 2665808.4893 | 1208019.8915
15 | 2665799.7513 | 1208111.073 | 2665813.9221 | 1208111.2071 | 2665813.9221 | 1208111.2071
16 | 2665954.05 | 1208000.3412 | 2665963.8879 | 1207955.8287
17 | 2665914.0563 | 1208023.069 | 2665920.0628 | 1208007.1839
18 | 2665977.0428 | 1207867.5809 | 2665975.733 | 1207880.1407 | 2665968.8407 | 1207933.4193 | 2665963.8879 | 1207955.8287
19 | 2665817.0528 | 1207936.2793 | 2665814.6181 | 1207960.0469
20 | 2665817.0528 | 1207936.2793 | 2665829.8972 | 1207944.33
21 | 2665814.6181 | 1207960.0469 | 2665813.4782 | 1207971.1747
22 | 2665829.8972 | 1207944.33 | 2665843.3674 | 1207952.7728
23 | 2665914.0563 | 1208023.069 | 2665909.8059 | 1208034.3101
24 | 2665909.8059 | 1208034.3101 | 2665905.1435 | 1208046.6405 | 2665896.4061 | 1208070.7108
25 | 2665853.9114 | 1208071.5571 | 2665857.8552 | 1208060.8863
26 | 2666048.8939 | 1208042.2374 | 2666046.9954 | 1208041.3381 | 2666050.8717 | 1208025.6603
27 | 2666048.8939 | 1208042.2374 | 2666041.9013 | 1208070.1672
28 | 2666050.8717 | 1208025.6603 | 2666061.2119 | 1207983.7936 | 2666063.4237 | 1207976.3135 | 2666064.3128 | 1207973.6105 | 2666065.2175 | 1207970.9031
29 | 2666050.8717 | 1208025.6603 | 2666003.942 | 1208016.2356
30 | 2666025.0972 | 1208134.1748 | 2666031.4802 | 1208133.1336 | 2666045.8264 | 1208129.7791 | 2666057.5506 | 1208125.6508 | 2666066.5314 | 1208126.206 | 2666081.1878 | 1208132.6055 | 2666083.1611 | 1208128.8028
31 | 2665988.1892 | 1208121.3145 | 2665992.6051 | 1208128.3342 | 2666000.2911 | 1208133.9004 | 2666001.7922 | 1208134.9843 | 2666014.8829 | 1208135.8406 | 2666020.8291 | 1208135.1059 | 2666025.0972 | 1208134.1748
32 | 2666083.1611 | 1208128.8028 | 2666094.061 | 1208107.7995 | 2666112.5278 | 1208112.0398
33 | 2665923.5846 | 1208091.7717 | 2665925.0936 | 1208092.133 | 2665945.8164 | 1208101.4008 | 2665957.306 | 1208106.7977 | 2665988.1892 | 1208121.3145
34 | 2665988.1892 | 1208121.3145 | 2665989.4538 | 1208114.2241 | 2665985.911 | 1208109.382 | 2665993.712 | 1208076.6396
35 | 2665977.0428 | 1207867.5809 | 2665934.5365 | 1207877.4729 | 2665931.5723 | 1207878.1155
36 | 2665997.8309 | 1208053.1794 | 2666003.942 | 1208016.2356
37 | 2665997.8309 | 1208053.1794 | 2665997.2893 | 1208058.1543 | 2665994.3228 | 1208074.0756 | 2665993.712 | 1208076.6396
38 | 2665934.9204 | 1208083.5696 | 2665928.9384 | 1208080.6573 | 2665923.5846 | 1208091.7717
39 | 2665923.5846 | 1208091.7717 | 2665921.9776 | 1208092.0207 | 2665921.7554 | 1208092.5773
40 | 2665934.9204 | 1208083.5696 | 2665946.1821 | 1208051.1075 | 2665946.5211 | 1208049.0705
41 | 2665811.1091 | 1207994.3011 | 2665813.4782 | 1207971.1747
42 | 2665843.5046 | 1207952.8588 | 2665843.3674 | 1207952.7728
43 | 2665811.0712 | 1207994.6712 | 2665811.1091 | 1207994.3011
44 | 2665811.0712 | 1207994.6712 | 2665824.9548 | 1207995.8042
45 | 2665811.0712 | 1207994.6712 | 2665809.57 | 1208009.3349
46 | 2665838.6389 | 1207996.9209 | 2665824.9548 | 1207995.8042
47 | 2665808.4893 | 1208019.8915 | 2665809.57 | 1208009.3349
48 | 2665808.4893 | 1208019.8915 | 2665793.6424 | 1208018.4546
49 | 2665793.6424 | 1208018.4546 | 2665784.677 | 1208017.5869
50 | 2665813.9221 | 1208111.2071 | 2665827.3107 | 1208114.328
51 | 2665896.4061 | 1208070.7108 | 2665883.8113 | 1208105.4079
52 | 2665882.8679 | 1208122.2075 | 2665878.6461 | 1208119.6371 | 2665883.8113 | 1208105.4079
53 | 2665882.8679 | 1208122.2075 | 2665892.7315 | 1208128.1978 | 2665906.4932 | 1208130.9513 | 2665909.3801 | 1208123.5898
54 | 2665909.3801 | 1208123.5898 | 2665921.7554 | 1208092.5773
55 | 2665775.7114 | 1208016.7192 | 2665784.677 | 1208017.5869
56 | 2665763.1372 | 1208026.6515 | 2665767.8891 | 1208019.077 | 2665770.614 | 1208017.4282 | 2665774.911 | 1208016.6417 | 2665775.7114 | 1208016.7192

## bus_geodata
| x | y | coords
0 | 2665853.6261 | 1208024.8143
1 | 2665827.9454 | 1208043.4587
2 | 2665871.2626 | 1208012.9572
3 | 2665815.8851 | 1208051.8131
4 | 2665920.9322 | 1207993.9382
5 | 2665866.1898 | 1208038.3345
6 | 2665804.3651 | 1208057.4133
7 | 2665924.7863 | 1207992.6355
8 | 2665861.3272 | 1208051.4916
9 | 2665805.4989 | 1208049.0541
10 | 2665799.7513 | 1208111.073
11 | 2665954.05 | 1208000.3412
12 | 2665920.0628 | 1208007.1839
13 | 2665963.8879 | 1207955.8287
14 | 2665817.0528 | 1207936.2793
15 | 2665814.6181 | 1207960.0469
16 | 2665829.8972 | 1207944.33
17 | 2665914.0563 | 1208023.069
18 | 2665909.8059 | 1208034.3101
19 | 2665857.8552 | 1208060.8863
20 | 2666048.8939 | 1208042.2374
21 | 2666050.8717 | 1208025.6603
22 | 2666041.9013 | 1208070.1672
23 | 2666025.0972 | 1208134.1748
24 | 2666083.1611 | 1208128.8028
25 | 2665988.1892 | 1208121.3145
26 | 2666112.5278 | 1208112.0398
27 | 2665977.0428 | 1207867.5809
28 | 2665931.5723 | 1207878.1155
29 | 2666065.2175 | 1207970.9031
30 | 2666003.942 | 1208016.2356
31 | 2665997.8309 | 1208053.1794
32 | 2665993.712 | 1208076.6396
33 | 2665923.5846 | 1208091.7717
34 | 2665946.5211 | 1208049.0705
35 | 2665934.9204 | 1208083.5696
36 | 2665813.4782 | 1207971.1747
37 | 2665843.3674 | 1207952.7728
38 | 2665843.5046 | 1207952.8588
39 | 2665811.1091 | 1207994.3011
40 | 2665811.0712 | 1207994.6712
41 | 2665824.9548 | 1207995.8042
42 | 2665809.57 | 1208009.3349
43 | 2665838.6389 | 1207996.9209
44 | 2665808.4893 | 1208019.8915
45 | 2665793.6424 | 1208018.4546
46 | 2665792.9787 | 1208048.4134
47 | 2665813.9221 | 1208111.2071
48 | 2665827.3107 | 1208114.328
49 | 2665896.4061 | 1208070.7108
50 | 2665883.8113 | 1208105.4079
51 | 2665882.8679 | 1208122.2075
52 | 2665909.3801 | 1208123.5898
53 | 2665784.677 | 1208017.5869
54 | 2665775.7114 | 1208016.7192
55 | 2665763.1372 | 1208026.6515
56 | 2665853.9114 | 1208071.5571
57 | 2665921.7554 | 1208092.5773
58 | 2665934.9204 | 1208083.5696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97653 | -0.45229 | 0.0027311 | 0.00068447
1 | 0.97586 | -0.46557 | 0.0023341 | 0.00058498
2 | 0.97704 | -0.44234 | 0.0016952 | 0.00042485
3 | 0.97558 | -0.47109 | 0.0022709 | 0.00056915
4 | 0.97881 | -0.40767 | 0 | 0
5 | 0.97683 | -0.4465 | 0.0020549 | 0.00051501
6 | 0.97536 | -0.47538 | 0 | 0
7 | 0.97894 | -0.40502 | 0 | 0
8 | 0.97674 | -0.44816 | 0.0022253 | 0.00055772
9 | 0.97527 | -0.47712 | 0 | 0
10 | 0.97501 | -0.48229 | 0 | 0
11 | 0.97879 | -0.40796 | 0 | 0
12 | 0.97952 | -0.39376 | 0.023658 | 0.0059292
13 | 0.97859 | -0.41184 | 0.0013277 | 0.00033276
14 | 0.97489 | -0.48454 | 0 | 0
15 | 0.97491 | -0.48422 | 0.0001912 | 4.7919e-05
16 | 0.97488 | -0.48475 | 0.00021281 | 5.3336e-05
17 | 0.98053 | -0.37398 | 0 | 0
18 | 0.98124 | -0.36001 | 0.0088014 | 0.0022058
19 | 0.9767 | -0.44894 | 0.002148 | 0.00053834
20 | 0.98039 | -0.37764 | 0 | 0
21 | 0.98046 | -0.37625 | 0 | 0
22 | 0.98028 | -0.37984 | 0.00421 | 0.0010551
23 | 0.98838 | -0.22223 | 0 | 0
24 | 0.98627 | -0.26304 | 0 | 0
25 | 0.98982 | -0.19436 | 0 | 0
26 | 0.98485 | -0.29075 | 0.036284 | 0.0090937
27 | 0.97832 | -0.41729 | 0 | 0
28 | 0.97817 | -0.42014 | 0.0033488 | 0.00083929
29 | 0.98013 | -0.38276 | 0.0063402 | 0.001589
30 | 0.98093 | -0.36709 | 0.082933 | 0.020785
31 | 0.98416 | -0.30389 | 0 | 0
32 | 0.98622 | -0.26387 | 0.072673 | 0.018214
33 | 0.99424 | -0.10941 | 0 | 0
34 | 1 | 0 | -0.34471 | -0.08795
35 | 0.99621 | -0.0718 | 0 | 0
36 | 0.97492 | -0.48403 | 0.0001333 | 3.3409e-05
37 | 0.97488 | -0.48491 | 0.00041156 | 0.00010315
38 | 0.97488 | -0.48491 | 0.00011884 | 2.9783e-05
39 | 0.97494 | -0.48357 | 0.00013126 | 3.2898e-05
40 | 0.97494 | -0.48356 | 0 | 0
41 | 0.97494 | -0.48368 | 0.00019563 | 4.9029e-05
42 | 0.97497 | -0.48311 | 0.002388 | 0.0005985
43 | 0.97493 | -0.48375 | 0.00027497 | 6.8914e-05
44 | 0.97501 | -0.48232 | 0 | 0
45 | 0.97493 | -0.48386 | 0.0013554 | 0.00033971
46 | 0.97525 | -0.47748 | 0.00158 | 0.00039599
47 | 0.97492 | -0.48411 | 0.003408 | 0.00085413
48 | 0.97487 | -0.48502 | 0.0035892 | 0.00089954
49 | 0.98387 | -0.3089 | 0.0088013 | 0.0022058
50 | 0.98666 | -0.25471 | 0.0088013 | 0.0022058
51 | 0.98835 | -0.2222 | 0 | 0
52 | 0.99116 | -0.16824 | 0 | 0
53 | 0.97489 | -0.48456 | 0.0013553 | 0.00033967
54 | 0.97487 | -0.48504 | 0.0013554 | 0.00033971
55 | 0.97484 | -0.48553 | 0.0015497 | 0.00038839
56 | 0.97668 | -0.44937 | 0.0021022 | 0.00052685
57 | 0.99396 | -0.11473 | 0.044952 | 0.011266
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022887 | 0.0057432 | -0.022872 | -0.0057343 | 1.4476e-05 | 8.8679e-06 | 0.034877 | 0.034877 | 0.034877 | 0.97653 | -0.45229 | 0.97586 | -0.46557 | 9.5816
1 | -0.025618 | -0.0064277 | 0.02563 | 0.0064352 | 1.2167e-05 | 7.5202e-06 | 0.039038 | 0.039038 | 0.039038 | 0.97653 | -0.45229 | 0.97704 | -0.44234 | 10.7248
2 | 0.020538 | 0.0051494 | -0.020533 | -0.0051461 | 5.4054e-06 | 3.2759e-06 | 0.031318 | 0.031318 | 0.031318 | 0.97586 | -0.46557 | 0.97558 | -0.47109 | 8.6038
3 | -0.035858 | -0.0089987 | 0.035917 | 0.0090361 | 5.9394e-05 | 3.7346e-05 | 0.054615 | 0.054615 | 0.054615 | 0.97704 | -0.44234 | 0.97881 | -0.40767 | 15.0043
4 | 0.0085328 | 0.0021387 | -0.0085311 | -0.0021379 | 1.6916e-06 | 7.4817e-07 | 0.012995 | 0.012996 | 0.012996 | 0.97704 | -0.44234 | 0.97683 | -0.4465 | 3.5702
5 | 0.018262 | 0.0045769 | -0.018258 | -0.0045747 | 3.7268e-06 | 2.2252e-06 | 0.027854 | 0.027854 | 0.027854 | 0.97558 | -0.47109 | 0.97536 | -0.47538 | 7.6523
6 | -0.035917 | -0.0090361 | 0.035922 | 0.0090389 | 4.5391e-06 | 2.854e-06 | 0.054615 | 0.054615 | 0.054615 | 0.97881 | -0.40767 | 0.97894 | -0.40502 | 15.0042
7 | 0.0064762 | 0.0016229 | -0.0064757 | -0.0016228 | 5.1193e-07 | 1.5206e-07 | 0.0098652 | 0.0098653 | 0.0098653 | 0.97683 | -0.4465 | 0.97674 | -0.44816 | 2.7102
8 | 0.011258 | 0.0028201 | -0.011257 | -0.0028196 | 9.3323e-07 | 4.9198e-07 | 0.017174 | 0.017175 | 0.017175 | 0.97536 | -0.47538 | 0.97527 | -0.47712 | 4.7183
9 | 0.0070003 | 0.0017546 | -0.006998 | -0.0017538 | 2.3063e-06 | 8.0331e-07 | 0.01068 | 0.01068 | 0.01068 | 0.97536 | -0.47538 | 0.97501 | -0.48229 | 2.9341
10 | 0.0046794 | 0.0011712 | -0.0046787 | -0.0011712 | 6.5369e-07 | -1.4831e-08 | 0.0071122 | 0.0071123 | 0.0071123 | 0.97894 | -0.40502 | 0.97879 | -0.40796 | 1.9539
11 | -0.040601 | -0.01021 | 0.040623 | 0.010224 | 2.186e-05 | 1.3798e-05 | 0.061727 | 0.061727 | 0.061727 | 0.97894 | -0.40502 | 0.97952 | -0.39376 | 16.9581
12 | 0.0042504 | 0.0010651 | -0.0042502 | -0.0010651 | 1.5748e-07 | -2.4568e-08 | 0.0064751 | 0.0064752 | 0.0064752 | 0.97674 | -0.44816 | 0.9767 | -0.44894 | 1.7789
13 | 0.00158 | 0.00039585 | -0.00158 | -0.00039599 | 2.7321e-08 | -1.3895e-07 | 0.0024107 | 0.0024107 | 0.0024107 | 0.97527 | -0.47712 | 0.97525 | -0.47748 | 0.66229
14 | 0.0096768 | 0.0024238 | -0.0096744 | -0.0024226 | 2.3967e-06 | 1.1681e-06 | 0.014764 | 0.014764 | 0.014764 | 0.97527 | -0.47712 | 0.97501 | -0.48232 | 4.056
15 | 0.006998 | 0.0017538 | -0.0069974 | -0.0017536 | 6.0617e-07 | 2.1122e-07 | 0.01068 | 0.01068 | 0.01068 | 0.97501 | -0.48229 | 0.97492 | -0.48411 | 2.9341
16 | 0.0046787 | 0.0011712 | -0.0046778 | -0.0011712 | 8.6478e-07 | -1.9389e-08 | 0.0071123 | 0.0071125 | 0.0071125 | 0.97879 | -0.40796 | 0.97859 | -0.41184 | 1.954
17 | -0.064281 | -0.016153 | 0.064342 | 0.016192 | 6.0748e-05 | 3.8665e-05 | 0.097667 | 0.097667 | 0.097667 | 0.97952 | -0.39376 | 0.98053 | -0.37398 | 26.8315
18 | 0.0033501 | 0.00083843 | -0.0033493 | -0.00083899 | 8.6892e-07 | -5.6552e-07 | 0.0050937 | 0.0050941 | 0.0050941 | 0.97859 | -0.41184 | 0.97832 | -0.41729 | 1.3995
19 | -0.00074322 | -0.00018588 | 0.00074323 | 0.00018559 | 1.1526e-08 | -2.9053e-07 | 0.0011343 | 0.0011342 | 0.0011343 | 0.97489 | -0.48454 | 0.97491 | -0.48422 | 0.31161
20 | 0.00074322 | 0.00018588 | -0.00074321 | -0.00018607 | 7.3139e-09 | -1.8433e-07 | 0.0011343 | 0.0011343 | 0.0011343 | 0.97489 | -0.48454 | 0.97488 | -0.48475 | 0.31163
21 | -0.00093443 | -0.00023351 | 0.00093444 | 0.00023338 | 8.5294e-09 | -1.3402e-07 | 0.001426 | 0.0014259 | 0.001426 | 0.97491 | -0.48422 | 0.97492 | -0.48403 | 0.39175
22 | 0.0005304 | 0.00013273 | -0.00053039 | -0.00013293 | 3.9069e-09 | -1.9572e-07 | 0.0008095 | 0.00080957 | 0.00080957 | 0.97488 | -0.48475 | 0.97488 | -0.48491 | 0.22241
23 | -0.064342 | -0.016192 | 0.064385 | 0.016219 | 4.2988e-05 | 2.7361e-05 | 0.097667 | 0.097666 | 0.097667 | 0.98053 | -0.37398 | 0.98124 | -0.36001 | 26.8315
24 | -0.073186 | -0.018425 | 0.073365 | 0.018539 | 0.00017927 | 0.00011424 | 0.11101 | 0.11101 | 0.11101 | 0.98124 | -0.36001 | 0.98387 | -0.3089 | 30.4982
25 | 0.0021022 | 0.00052674 | -0.0021022 | -0.00052685 | 4.3759e-08 | -1.1437e-07 | 0.0032027 | 0.0032028 | 0.0032028 | 0.9767 | -0.44894 | 0.97668 | -0.44937 | 0.87988
26 | -0.0042104 | -0.001055 | 0.0042107 | 0.001055 | 2.7949e-07 | -5.1279e-08 | 0.0063905 | 0.0063904 | 0.0063905 | 0.98039 | -0.37764 | 0.98046 | -0.37625 | 1.7556
27 | 0.0042104 | 0.001055 | -0.00421 | -0.0010551 | 4.4093e-07 | -8.082e-08 | 0.0063905 | 0.0063906 | 0.0063906 | 0.98039 | -0.37764 | 0.98028 | -0.37984 | 1.7557
28 | 0.0063422 | 0.0015896 | -0.0063402 | -0.001589 | 1.9674e-06 | 5.4522e-07 | 0.0096254 | 0.0096256 | 0.0096256 | 0.98046 | -0.37625 | 0.98013 | -0.38276 | 2.6444
29 | -0.010553 | -0.0026445 | 0.010558 | 0.0026469 | 4.6042e-06 | 2.3427e-06 | 0.016016 | 0.016016 | 0.016016 | 0.98046 | -0.37625 | 0.98093 | -0.36709 | 4.3999
30 | 0.036403 | 0.0091684 | -0.036332 | -0.0091239 | 7.0896e-05 | 4.4569e-05 | 0.054822 | 0.054822 | 0.054822 | 0.98838 | -0.22223 | 0.98627 | -0.26304 | 15.061
31 | -0.036403 | -0.0091684 | 0.036452 | 0.009199 | 4.859e-05 | 3.0544e-05 | 0.054822 | 0.054821 | 0.054822 | 0.98838 | -0.22223 | 0.98982 | -0.19436 | 15.0609
32 | 0.036332 | 0.0091239 | -0.036284 | -0.0090937 | 4.7954e-05 | 3.0148e-05 | 0.054822 | 0.054822 | 0.054822 | 0.98627 | -0.26304 | 0.98485 | -0.29075 | 15.061
33 | -0.20363 | -0.051494 | 0.20447 | 0.052025 | 0.00083343 | 0.00053064 | 0.30629 | 0.30629 | 0.30629 | 0.98982 | -0.19436 | 0.99424 | -0.10941 | 28.0486
34 | 0.16718 | 0.042295 | -0.16663 | -0.041941 | 0.00055562 | 0.0003544 | 0.25147 | 0.25147 | 0.25147 | 0.98982 | -0.19436 | 0.98622 | -0.26387 | 34.5425
35 | 0.0033493 | 0.00083899 | -0.0033488 | -0.00083929 | 4.5422e-07 | -2.9529e-07 | 0.0050941 | 0.0050943 | 0.0050943 | 0.97832 | -0.41729 | 0.97817 | -0.42014 | 1.3995
36 | -0.093491 | -0.023432 | 0.093773 | 0.023612 | 0.00028243 | 0.00018028 | 0.14182 | 0.14182 | 0.14182 | 0.98093 | -0.36709 | 0.98416 | -0.30389 | 38.9618
37 | -0.093773 | -0.023612 | 0.093953 | 0.023727 | 0.00017978 | 0.00011475 | 0.14182 | 0.14182 | 0.14182 | 0.98416 | -0.30389 | 0.98622 | -0.26387 | 38.9618
38 | -0.34125 | -0.086794 | 0.34187 | 0.08719 | 0.00061962 | 0.00039582 | 0.51118 | 0.51118 | 0.51118 | 0.99424 | -0.10941 | 0.99621 | -0.0718 | 46.8115
39 | 0.13679 | 0.03477 | -0.13675 | -0.034747 | 3.5036e-05 | 2.2394e-05 | 0.20489 | 0.20489 | 0.20489 | 0.99424 | -0.10941 | 0.99396 | -0.11473 | 56.289
40 | 0.34306 | 0.08795 | -0.34187 | -0.08719 | 0.0011898 | 0.00076002 | 0.51118 | 0.51118 | 0.51118 | 1 | 0 | 0.99621 | -0.0718 | 46.8115
41 | -0.0010677 | -0.00026679 | 0.0010678 | 0.00026651 | 2.3144e-08 | -2.7508e-07 | 0.0016294 | 0.0016293 | 0.0016294 | 0.97492 | -0.48403 | 0.97494 | -0.48357 | 0.44764
42 | 0.00011884 | 2.9781e-05 | -0.00011884 | -2.9783e-05 | 2.6445e-12 | -2.0177e-09 | 0.00018139 | 0.00018139 | 0.00018139 | 0.97488 | -0.48491 | 0.97488 | -0.48491 | 0.049832
43 | -0.001199 | -0.00029941 | 0.001199 | 0.00029941 | 4.6684e-10 | -4.3399e-09 | 0.0018296 | 0.0018296 | 0.0018296 | 0.97494 | -0.48357 | 0.97494 | -0.48356 | 0.50265
44 | 0.0004706 | 0.0001176 | -0.0004706 | -0.00011777 | 2.6942e-09 | -1.7198e-07 | 0.00071814 | 0.0007182 | 0.0007182 | 0.97494 | -0.48356 | 0.97494 | -0.48368 | 0.19731
45 | -0.0016696 | -0.00041701 | 0.0016697 | 0.00041684 | 3.588e-08 | -1.6085e-07 | 0.0025478 | 0.0025477 | 0.0025478 | 0.97494 | -0.48356 | 0.97497 | -0.48311 | 0.69994
46 | 0.00027497 | 6.8743e-05 | -0.00027497 | -6.8914e-05 | 9.067e-10 | -1.7063e-07 | 0.00041962 | 0.00041968 | 0.00041968 | 0.97494 | -0.48368 | 0.97493 | -0.48375 | 0.1153
47 | -0.0040577 | -0.0010153 | 0.0040579 | 0.0010153 | 1.5259e-07 | -3.4683e-08 | 0.0061924 | 0.0061923 | 0.0061924 | 0.97497 | -0.48311 | 0.97501 | -0.48232 | 1.7012
48 | 0.0056166 | 0.0014073 | -0.0056162 | -0.0014072 | 4.1098e-07 | 7.7012e-08 | 0.0085716 | 0.0085717 | 0.0085717 | 0.97501 | -0.48232 | 0.97493 | -0.48386 | 2.3549
49 | 0.0042607 | 0.0010675 | -0.0042606 | -0.0010675 | 1.4284e-07 | -2.0898e-08 | 0.0065029 | 0.006503 | 0.006503 | 0.97493 | -0.48386 | 0.97489 | -0.48456 | 1.7865
50 | 0.0035894 | 0.00089947 | -0.0035892 | -0.00089954 | 1.5473e-07 | -7.2389e-08 | 0.0054784 | 0.0054785 | 0.0054785 | 0.97492 | -0.48411 | 0.97487 | -0.48502 | 1.5051
51 | -0.082167 | -0.020745 | 0.082381 | 0.020881 | 0.00021395 | 0.00013646 | 0.12432 | 0.12432 | 0.12432 | 0.98387 | -0.3089 | 0.98666 | -0.25471 | 34.1551
52 | -0.091182 | -0.023087 | 0.091324 | 0.023178 | 0.00014257 | 9.0987e-05 | 0.1376 | 0.1376 | 0.1376 | 0.98666 | -0.25471 | 0.98835 | -0.2222 | 37.8016
53 | -0.091324 | -0.023178 | 0.091562 | 0.02333 | 0.00023772 | 0.00015171 | 0.1376 | 0.1376 | 0.1376 | 0.98835 | -0.2222 | 0.99116 | -0.16824 | 37.8015
54 | -0.091562 | -0.02333 | 0.091799 | 0.023481 | 0.00023707 | 0.00015129 | 0.1376 | 0.1376 | 0.1376 | 0.99116 | -0.16824 | 0.99396 | -0.11473 | 37.8015
55 | 0.0029053 | 0.00072784 | -0.0029052 | -0.00072791 | 6.6419e-08 | -6.9802e-08 | 0.0044343 | 0.0044343 | 0.0044343 | 0.97489 | -0.48456 | 0.97487 | -0.48504 | 1.2182
56 | 0.0015497 | 0.0003882 | -0.0015497 | -0.00038839 | 3.6298e-08 | -1.9245e-07 | 0.0023654 | 0.0023655 | 0.0023655 | 0.97487 | -0.48504 | 0.97484 | -0.48553 | 0.64986

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3651 | 0.09306

## res_load
| p_mw | q_mvar
0 | 0.0027311 | 0.00068447
1 | 0.0023341 | 0.00058498
2 | 0.0016952 | 0.00042485
3 | 0.0022709 | 0.00056915
4 | 0.0020549 | 0.00051501
5 | 0.0022253 | 0.00055772
6 | 0.023658 | 0.0059292
7 | 0.0013277 | 0.00033276
8 | 0.0001912 | 4.7919e-05
9 | 0.00021281 | 5.3336e-05
10 | 0.0088014 | 0.0022058
11 | 0.002148 | 0.00053834
12 | 0.00421 | 0.0010551
13 | 0.036284 | 0.0090937
14 | 0.0033488 | 0.00083929
15 | 0.0063402 | 0.001589
16 | 0.082933 | 0.020785
17 | 0.072673 | 0.018214
18 | 0.020388 | 0.0051096
19 | 0.0001333 | 3.3409e-05
20 | 0.00041156 | 0.00010315
21 | 0.00011884 | 2.9783e-05
22 | 0.00013126 | 3.2898e-05
23 | 0.00019563 | 4.9029e-05
24 | 0.002388 | 0.0005985
25 | 0.00027497 | 6.8914e-05
26 | 0.0013554 | 0.00033971
27 | 0.00158 | 0.00039599
28 | 0.003408 | 0.00085413
29 | 0.0035892 | 0.00089954
30 | 0.0088013 | 0.0022058
31 | 0.0088013 | 0.0022058
32 | 0.0013553 | 0.00033967
33 | 0.0013554 | 0.00033971
34 | 0.0015497 | 0.00038839
35 | 0.0021022 | 0.00052685
36 | 0.044952 | 0.011266

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1