## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-15_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1058-15_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1058-15_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_1058-15_1_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1058-15_1_2_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_1058-15_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1058-15_1_2_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1058-15_1_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1058-15_1_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1058-15_1_2_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_1058-15_1_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1058-15_1_2_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_1058-15_1_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1058-15_1_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1058-15_1_2_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1058-15_1_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1058-15_1_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1058-15_1_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1058-15_1_2_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_1058-15_1_2_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1058-15_1_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1058-15_1_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1058-15_1_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1058-15_1_2_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1058-15_1_2_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1058-15_1_2_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_1058-15_1_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1058-15_1_2_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_1058-15_1_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1058-15_1_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1058-15_1_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1058-15_1_2_node_41 | 0.4 | n |  | TRUE
32 | bus_MV_23_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-15_1_2_load_6 | 0 | 0.041697 | 0.01045 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-15_1_2_load_44 | 4 | 0.0011801 | 0.00029576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-15_1_2_load_40 | 6 | 0.0034659 | 0.00086863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-15_1_2_load_91 | 9 | 0.027141 | 0.0068023 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-15_1_2_load_81 | 11 | 0.0034916 | 0.00087509 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-15_1_2_load_36 | 12 | 0.0051178 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-15_1_2_load_89 | 18 | 0.020783 | 0.0052087 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-15_1_2_load_42 | 23 | 0.00066418 | 0.00016646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-15_1_2_load_38 | 24 | 0.0015004 | 0.00037604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-15_1_2_load_92 | 25 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-15_1_2_load_90 | 27 | 0.0012427 | 0.00031145 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-15_1_2_load_29 | 28 | 0.00035643 | 8.933e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-15_1_2_load_35 | 29 | 0.012394 | 0.0031063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-15_1_2_load_39 | 30 | 0.065584 | 0.016437 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-15_1_2_load_41 | 31 | 0.029448 | 0.0073805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-15_1_2_line_0 |  | 0 | 1 | 0.022246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-15_1_2_line_1 |  | 1 | 2 | 0.0081923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-15_1_2_line_2 |  | 2 | 3 | 0.046031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1058-15_1_2_line_3 |  | 2 | 4 | 0.059578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1058-15_1_2_line_4 |  | 3 | 5 | 0.054864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1058-15_1_2_line_5 |  | 3 | 6 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-15_1_2_line_6 |  | 4 | 15 | 0.026721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-15_1_2_line_7 |  | 5 | 12 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1058-15_1_2_line_8 |  | 5 | 10 | 0.12121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-15_1_2_line_9 |  | 6 | 30 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-15_1_2_line_10 |  | 7 | 8 | 0.062382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-15_1_2_line_11 |  | 7 | 9 | 0.008288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-15_1_2_line_12 |  | 8 | 25 | 0.003128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-15_1_2_line_13 |  | 8 | 22 | 0.065302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-15_1_2_line_14 |  | 10 | 11 | 0.081865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-15_1_2_line_15 |  | 11 | 13 | 0.058213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-15_1_2_line_16 |  | 12 | 29 | 0.053535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1058-15_1_2_line_17 |  | 13 | 14 | 0.5744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-15_1_2_line_18 |  | 14 | 28 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-15_1_2_line_19 |  | 15 | 16 | 0.052141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-15_1_2_line_20 |  | 16 | 26 | 0.059727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-15_1_2_line_21 |  | 17 | 18 | 0.03325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-15_1_2_line_22 |  | 17 | 19 | 0.009759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-15_1_2_line_23 |  | 19 | 23 | 0.0049051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-15_1_2_line_24 |  | 20 | 21 | 0.021935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-15_1_2_line_25 |  | 20 | 22 | 0.0393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-15_1_2_line_26 |  | 20 | 23 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-15_1_2_line_27 |  | 21 | 27 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-15_1_2_line_28 |  | 21 | 26 | 0.029958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-15_1_2_line_29 |  | 22 | 24 | 0.017911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-15_1_2_line_30 |  | 30 | 31 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-15_1_2_trafo_35 | 0.63 MVA 20/0.4 kV | 32 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2665738.307 | 1207749.687 | 2665743.0217 | 1207727.946
1 | 2665738.307 | 1207749.687 | 2665739.5509 | 1207749.9675 | 2665741.8795 | 1207750.4934 | 2665745.3306 | 1207751.2653 | 2665746.3016 | 1207751.4761
2 | 2665746.3016 | 1207751.4761 | 2665745.2979 | 1207756.3013 | 2665743.2471 | 1207765.7734 | 2665742.638 | 1207768.6017 | 2665765.2892 | 1207774.1212 | 2665770.436 | 1207774.8895
3 | 2665746.3016 | 1207751.4761 | 2665748.9983 | 1207738.5979 | 2665756.279 | 1207704.4239 | 2665758.6896 | 1207693.2003
4 | 2665770.436 | 1207774.8895 | 2665772.2319 | 1207791.3081 | 2665779.1714 | 1207791.5403 | 2665795.3555 | 1207791.2073 | 2665810.5162 | 1207789.9069
5 | 2665770.436 | 1207774.8895 | 2665777.6594 | 1207774.2019 | 2665784.3619 | 1207773.1752
6 | 2665764.3701 | 1207667.0903 | 2665763.1638 | 1207672.3691 | 2665758.6896 | 1207693.2003
7 | 2665810.5162 | 1207789.9069 | 2665808.5646 | 1207778.9221
8 | 2665810.5162 | 1207789.9069 | 2665795.3555 | 1207791.2073 | 2665804.7316 | 1207795.2686 | 2665841.411 | 1207798.0525 | 2665848.3852 | 1207797.8959 | 2665848.0872 | 1207799.4047 | 2665845.6435 | 1207812.7637 | 2665842.1132 | 1207849.4916
9 | 2665784.3619 | 1207773.1752 | 2665789.8132 | 1207770.4558 | 2665792.0012 | 1207767.1779 | 2665793.0316 | 1207764.7544 | 2665794.4251 | 1207756.2869 | 2665795.1889 | 1207751.1477 | 2665794.4331 | 1207744.4901
10 | 2665917.2894 | 1207745.5243 | 2665917.7403 | 1207736.3681 | 2665922.6038 | 1207718.044 | 2665921.5268 | 1207715.7307 | 2665915.8808 | 1207705.0841 | 2665898.013 | 1207713.2696
11 | 2665924.1703 | 1207749.6917 | 2665921.1288 | 1207749.0132 | 2665917.2894 | 1207745.5243
12 | 2665898.013 | 1207713.2696 | 2665898.1306 | 1207716.395
13 | 2665887.5054 | 1207661.5555 | 2665877.5552 | 1207698.4682 | 2665877.8643 | 1207702.8409 | 2665890.271 | 1207709.2706 | 2665898.013 | 1207713.2696
14 | 2665842.1132 | 1207849.4916 | 2665854.8394 | 1207848.9872 | 2665867.8159 | 1207851.9877 | 2665880.1049 | 1207853.9022 | 2665896.1959 | 1207853.7241 | 2665923.1177 | 1207849.3138
15 | 2665980.5651 | 1207839.9029 | 2665923.1177 | 1207849.3138
16 | 2665799.2002 | 1207726.2127 | 2665808.5646 | 1207778.9221
17 | 2665842.5785 | 1207876.2352 | 2665854.0752 | 1207878.9637 | 2665872.9917 | 1207880.4288 | 2665897.003 | 1207879.7822 | 2665917.3917 | 1207876.6832 | 2665935.9805 | 1207872.7082 | 2665973.1339 | 1207863.5241 | 2665991.9289 | 1207858.7845 | 2666021.1393 | 1207851.4251 | 2666030.1262 | 1207850.7797 | 2666041.7622 | 1207851.2308 | 2666060.6209 | 1207849.683 | 2666073.3513 | 1207848.8011 | 2666074.0066 | 1207841.1258 | 2666074.5748 | 1207834.4392 | 2666077.0838 | 1207833.0883 | 2666084.1112 | 1207830.8647 | 2666087.1853 | 1207827.9192 | 2666089.6153 | 1207822.7096 | 2666090.6057 | 1207820.4747 | 2666090.745 | 1207814.0724 | 2666092.0275 | 1207809.4949 | 2666095.0186 | 1207804.4249 | 2666096.8929 | 1207797.9083 | 2666098.2641 | 1207790.8081 | 2666099.2391 | 1207783.1031 | 2666100.1358 | 1207765.3021 | 2666100.1019 | 1207762.8669 | 2666076.7735 | 1207749.8675 | 2666078.4682 | 1207746.5175 | 2666066.0786 | 1207738.5644 | 2666051.1987 | 1207726.1589 | 2666043.3396 | 1207718.3228 | 2666030.7472 | 1207723.8869 | 2666026.0632 | 1207725.9586 | 2666025.7371 | 1207727.2558 | 2666024.5364 | 1207736.1257 | 2666010.9594 | 1207733.7853 | 2665995.9185 | 1207731.7956 | 2665994.5648 | 1207739.3852 | 2665993.9695 | 1207742.336 | 2665992.1829 | 1207743.6837 | 2665991.4316 | 1207746.9886 | 2665986.6474 | 1207784.9477 | 2665980.7987 | 1207838.0377 | 2665980.5651 | 1207839.9029
18 | 2665842.5785 | 1207876.2352 | 2665853.7804 | 1207882.2513 | 2665855.968 | 1207882.4673
19 | 2665764.3701 | 1207667.0903 | 2665767.9571 | 1207651.398 | 2665771.0319 | 1207642.86 | 2665774.9494 | 1207634.4425 | 2665777.7755 | 1207630.5268 | 2665781.34 | 1207628.6093 | 2665785.2048 | 1207628.4296 | 2665789.7378 | 1207630.3918
20 | 2665789.7378 | 1207630.3918 | 2665790.1021 | 1207629.7621 | 2665792.187 | 1207626.1829 | 2665792.5357 | 1207625.5864 | 2665804.1568 | 1207632.9523 | 2665813.0341 | 1207637.4417 | 2665820.3008 | 1207641.113 | 2665830.8013 | 1207644.5864 | 2665837.9911 | 1207646.9671 | 2665841.5624 | 1207647.8737
21 | 2665904.9717 | 1207640.8578 | 2665904.9358 | 1207607.615
22 | 2665904.9717 | 1207640.8578 | 2665895.9342 | 1207637.1114
23 | 2665895.9342 | 1207637.1114 | 2665891.0411 | 1207636.7683
24 | 2665873.3452 | 1207635.5612 | 2665869.1139 | 1207631.7566 | 2665852.8127 | 1207631.6323
25 | 2665873.3452 | 1207635.5612 | 2665873.0382 | 1207648.2211 | 2665871.0561 | 1207655.5703 | 2665887.9177 | 1207660.0258 | 2665887.5054 | 1207661.5555
26 | 2665873.3452 | 1207635.5612 | 2665876.4773 | 1207638.3752 | 2665887.5673 | 1207638.7311 | 2665891.0411 | 1207636.7683
27 | 2665852.8127 | 1207631.6323 | 2665853.5213 | 1207609.4599
28 | 2665852.8127 | 1207631.6323 | 2665852.2081 | 1207650.5928 | 2665841.5624 | 1207647.8737
29 | 2665887.5054 | 1207661.5555 | 2665870.1051 | 1207657.3073
30 | 2665790.2893 | 1207716.2162 | 2665791.3049 | 1207726.1897 | 2665793.9276 | 1207740.0381 | 2665794.4331 | 1207744.4901

## bus_geodata
| x | y | coords
0 | 2665743.0217 | 1207727.946
1 | 2665738.307 | 1207749.687
2 | 2665746.3016 | 1207751.4761
3 | 2665770.436 | 1207774.8895
4 | 2665758.6896 | 1207693.2003
5 | 2665810.5162 | 1207789.9069
6 | 2665784.3619 | 1207773.1752
7 | 2665917.2894 | 1207745.5243
8 | 2665898.013 | 1207713.2696
9 | 2665924.1703 | 1207749.6917
10 | 2665842.1132 | 1207849.4916
11 | 2665923.1177 | 1207849.3138
12 | 2665808.5646 | 1207778.9221
13 | 2665980.5651 | 1207839.9029
14 | 2665842.5785 | 1207876.2352
15 | 2665764.3701 | 1207667.0903
16 | 2665789.7378 | 1207630.3918
17 | 2665904.9717 | 1207640.8578
18 | 2665904.9358 | 1207607.615
19 | 2665895.9342 | 1207637.1114
20 | 2665873.3452 | 1207635.5612
21 | 2665852.8127 | 1207631.6323
22 | 2665887.5054 | 1207661.5555
23 | 2665891.0411 | 1207636.7683
24 | 2665870.1051 | 1207657.3073
25 | 2665898.1306 | 1207716.395
26 | 2665841.5624 | 1207647.8737
27 | 2665853.5213 | 1207609.4599
28 | 2665855.968 | 1207882.4673
29 | 2665799.2002 | 1207726.2127
30 | 2665794.4331 | 1207744.4901
31 | 2665790.2893 | 1207716.2162
32 | 2665810.5162 | 1207789.9069

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98581 | -0.27138 | 0.041697 | 0.01045
1 | 0.98667 | -0.25476 | 0 | 0
2 | 0.98698 | -0.24864 | 0 | 0
3 | 0.98902 | -0.20929 | 0 | 0
4 | 0.98548 | -0.2775 | 0.0011801 | 0.00029576
5 | 0.99395 | -0.1148 | 0 | 0
6 | 0.98775 | -0.23395 | 0.0034659 | 0.00086863
7 | 0.97168 | -0.54687 | 0 | 0
8 | 0.97326 | -0.51566 | 0 | 0
9 | 0.97147 | -0.55102 | 0.027141 | 0.0068023
10 | 0.99353 | -0.12308 | 0 | 0
11 | 0.99324 | -0.12868 | 0.0034916 | 0.00087509
12 | 0.99497 | -0.095314 | 0.0051178 | 0.0012826
13 | 0.99322 | -0.12907 | 0 | 0
14 | 0.99303 | -0.13279 | 0 | 0
15 | 0.98416 | -0.3029 | 0 | 0
16 | 0.98159 | -0.35265 | 0 | 0
17 | 0.97545 | -0.47269 | 0 | 0
18 | 0.9748 | -0.48535 | 0.020783 | 0.0052087
19 | 0.97564 | -0.46897 | 0 | 0
20 | 0.97611 | -0.45953 | 0 | 0
21 | 0.97717 | -0.43883 | 0 | 0
22 | 0.97501 | -0.48126 | 0 | 0
23 | 0.97573 | -0.4671 | 0.00066418 | 0.00016646
24 | 0.97498 | -0.48175 | 0.0015004 | 0.00037604
25 | 0.97326 | -0.51575 | 0.0015404 | 0.00038606
26 | 0.97865 | -0.40996 | 0 | 0
27 | 0.97714 | -0.43934 | 0.0012427 | 0.00031145
28 | 0.99303 | -0.13288 | 0.00035643 | 8.933e-05
29 | 1 | 0 | -0.20821 | -0.053048
30 | 0.98485 | -0.29039 | 0.065584 | 0.016437
31 | 0.98407 | -0.30553 | 0.029448 | 0.0073805
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.041697 | -0.01045 | 0.04173 | 0.010471 | 3.3046e-05 | 2.0865e-05 | 0.062938 | 0.062938 | 0.062938 | 0.98581 | -0.27138 | 0.98667 | -0.25476 | 17.2907
1 | -0.04173 | -0.010471 | 0.041742 | 0.010479 | 1.2169e-05 | 7.6836e-06 | 0.062938 | 0.062938 | 0.062938 | 0.98667 | -0.25476 | 0.98698 | -0.24864 | 17.2906
2 | -0.096485 | -0.02446 | 0.096668 | 0.024576 | 0.00018288 | 0.00011586 | 0.14556 | 0.14556 | 0.14556 | 0.98698 | -0.24864 | 0.98902 | -0.20929 | 19.9951
3 | 0.054743 | 0.013982 | -0.054667 | -0.013934 | 7.6266e-05 | 4.729e-05 | 0.082627 | 0.082627 | 0.082627 | 0.98698 | -0.24864 | 0.98548 | -0.2775 | 11.3499
4 | -0.19556 | -0.049514 | 0.19645 | 0.050083 | 0.00089162 | 0.00056922 | 0.29441 | 0.2944 | 0.29441 | 0.98902 | -0.20929 | 0.99395 | -0.1148 | 40.4403
5 | 0.098893 | 0.024937 | -0.098776 | -0.024863 | 0.00011661 | 7.4452e-05 | 0.14884 | 0.14884 | 0.14884 | 0.98902 | -0.20929 | 0.98775 | -0.23395 | 40.8905
6 | 0.053487 | 0.013638 | -0.053421 | -0.013597 | 6.5494e-05 | 4.1576e-05 | 0.080845 | 0.080846 | 0.080846 | 0.98548 | -0.2775 | 0.98416 | -0.3029 | 22.2103
7 | -0.2003 | -0.051038 | 0.20049 | 0.051158 | 0.00018848 | 0.00012034 | 0.30017 | 0.30017 | 0.30017 | 0.99395 | -0.1148 | 0.99497 | -0.095314 | 41.2316
8 | 0.0038507 | 0.00095507 | -0.0038492 | -0.00095567 | 1.5088e-06 | -6.0469e-07 | 0.0057612 | 0.0057618 | 0.0057618 | 0.99395 | -0.1148 | 0.99353 | -0.12308 | 1.5829
9 | 0.09531 | 0.023994 | -0.095054 | -0.023831 | 0.00025637 | 0.00016365 | 0.14362 | 0.14362 | 0.14362 | 0.98775 | -0.23395 | 0.98485 | -0.29039 | 39.4562
10 | -0.027147 | -0.0068056 | 0.027187 | 0.0068307 | 4.043e-05 | 2.5101e-05 | 0.041573 | 0.041572 | 0.041573 | 0.97168 | -0.54687 | 0.97326 | -0.51566 | 11.4211
11 | 0.027147 | 0.0068056 | -0.027141 | -0.0068023 | 5.3715e-06 | 3.3351e-06 | 0.041573 | 0.041573 | 0.041573 | 0.97168 | -0.54687 | 0.97147 | -0.55102 | 11.4211
12 | 0.0015404 | 0.00038603 | -0.0015404 | -0.00038606 | 6.5062e-09 | -3.4708e-08 | 0.0023551 | 0.0023551 | 0.0023551 | 0.97326 | -0.51566 | 0.97326 | -0.51575 | 0.64701
13 | -0.028728 | -0.0072167 | 0.028775 | 0.0072461 | 4.7253e-05 | 2.9429e-05 | 0.043928 | 0.043927 | 0.043928 | 0.97326 | -0.51566 | 0.97501 | -0.48126 | 12.068
14 | 0.0038492 | 0.00095567 | -0.0038481 | -0.00095608 | 1.0192e-06 | -4.0754e-07 | 0.0057618 | 0.0057621 | 0.0057621 | 0.99353 | -0.12308 | 0.99324 | -0.12868 | 1.583
15 | 0.0003565 | 8.0996e-05 | -0.0003565 | -8.1745e-05 | 6.1643e-09 | -7.4946e-07 | 0.00053127 | 0.00053152 | 0.00053152 | 0.99324 | -0.12868 | 0.99322 | -0.12907 | 0.14602
16 | -0.20561 | -0.052441 | 0.20656 | 0.053048 | 0.00095111 | 0.00060731 | 0.30782 | 0.30782 | 0.30782 | 0.99497 | -0.095314 | 1 | 0 | 42.2829
17 | 0.0003565 | 8.1745e-05 | -0.00035643 | -8.9139e-05 | 6.1135e-08 | -7.3934e-06 | 0.00053152 | 0.00053403 | 0.00053403 | 0.99322 | -0.12907 | 0.99303 | -0.13279 | 0.14671
18 | 0.00035643 | 8.9139e-05 | -0.00035643 | -8.933e-05 | 1.5951e-09 | -1.9192e-07 | 0.00053403 | 0.0005341 | 0.0005341 | 0.99303 | -0.13279 | 0.99303 | -0.13288 | 0.14673
19 | 0.053421 | 0.013597 | -0.053293 | -0.013516 | 0.0001278 | 8.113e-05 | 0.080846 | 0.080846 | 0.080846 | 0.98416 | -0.3029 | 0.98159 | -0.35265 | 22.2104
20 | 0.053293 | 0.013516 | -0.053147 | -0.013423 | 0.00014639 | 9.2939e-05 | 0.080846 | 0.080846 | 0.080846 | 0.98159 | -0.35265 | 0.97865 | -0.40996 | 22.2105
21 | 0.020795 | 0.0052163 | -0.020783 | -0.0052087 | 1.2549e-05 | 7.6166e-06 | 0.031724 | 0.031724 | 0.031724 | 0.97545 | -0.47269 | 0.9748 | -0.48535 | 8.7155
22 | -0.020795 | -0.0052163 | 0.020799 | 0.0052185 | 3.6832e-06 | 2.2354e-06 | 0.031724 | 0.031724 | 0.031724 | 0.97545 | -0.47269 | 0.97564 | -0.46897 | 8.7155
23 | -0.020799 | -0.0052185 | 0.020801 | 0.0052196 | 1.8512e-06 | 1.1235e-06 | 0.031724 | 0.031724 | 0.031724 | 0.97564 | -0.46897 | 0.97573 | -0.4671 | 8.7155
24 | -0.05178 | -0.013032 | 0.051831 | 0.013065 | 5.1276e-05 | 3.2542e-05 | 0.078954 | 0.078954 | 0.078954 | 0.97611 | -0.45953 | 0.97717 | -0.43883 | 21.6907
25 | 0.030307 | 0.0076416 | -0.030275 | -0.007622 | 3.148e-05 | 1.9656e-05 | 0.046217 | 0.046217 | 0.046217 | 0.97611 | -0.45953 | 0.97501 | -0.48126 | 12.697
26 | 0.021473 | 0.0053908 | -0.021465 | -0.0053861 | 7.7551e-06 | 4.7221e-06 | 0.032737 | 0.032737 | 0.032737 | 0.97611 | -0.45953 | 0.97573 | -0.4671 | 8.9937
27 | 0.0012427 | 0.00031119 | -0.0012427 | -0.00031145 | 2.9795e-08 | -2.5888e-07 | 0.0018923 | 0.0018924 | 0.0018924 | 0.97717 | -0.43883 | 0.97714 | -0.43934 | 0.51989
28 | -0.053074 | -0.013376 | 0.053147 | 0.013423 | 7.3427e-05 | 4.6617e-05 | 0.080846 | 0.080846 | 0.080846 | 0.97717 | -0.43883 | 0.97865 | -0.40996 | 22.2105
29 | 0.0015005 | 0.00037584 | -0.0015004 | -0.00037604 | 3.522e-08 | -2.0084e-07 | 0.0022899 | 0.0022899 | 0.0022899 | 0.97501 | -0.48126 | 0.97498 | -0.48175 | 0.6291
30 | 0.02947 | 0.0073937 | -0.029448 | -0.0073805 | 2.1266e-05 | 1.3247e-05 | 0.044529 | 0.044529 | 0.044529 | 0.98485 | -0.29039 | 0.98407 | -0.30553 | 12.2332

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2206 | 0.056154

## res_load
| p_mw | q_mvar
0 | 0.041697 | 0.01045
1 | 0.0011801 | 0.00029576
2 | 0.0034659 | 0.00086863
3 | 0.027141 | 0.0068023
4 | 0.0034916 | 0.00087509
5 | 0.0051178 | 0.0012826
6 | 0.020783 | 0.0052087
7 | 0.00066418 | 0.00016646
8 | 0.0015004 | 0.00037604
9 | 0.0015404 | 0.00038606
10 | 0.0012427 | 0.00031145
11 | 0.00035643 | 8.933e-05
12 | 0.012394 | 0.0031063
13 | 0.065584 | 0.016437
14 | 0.029448 | 0.0073805

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1