## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-17_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1058-17_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1058-17_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1058-17_0_5_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_1058-17_0_5_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_1058-17_0_5_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_1058-17_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1058-17_0_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_1058-17_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1058-17_0_5_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1058-17_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1058-17_0_5_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1058-17_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1058-17_0_5_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_1058-17_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1058-17_0_5_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_1058-17_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1058-17_0_5_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_1058-17_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1058-17_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1058-17_0_5_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_1058-17_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1058-17_0_5_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1058-17_0_5_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_1058-17_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1058-17_0_5_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1058-17_0_5_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1058-17_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1058-17_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1058-17_0_5_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_1058-17_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1058-17_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1058-17_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1058-17_0_5_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_1058-17_0_5_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_1058-17_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1058-17_0_5_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1058-17_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1058-17_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1058-17_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1058-17_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1058-17_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_1058-17_0_5_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1058-17_0_5_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_1058-17_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1058-17_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1058-17_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1058-17_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1058-17_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1058-17_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1058-17_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1058-17_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_1058-17_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_1058-17_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1058-17_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1058-17_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1058-17_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_1058-17_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_1058-17_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_1058-17_0_5_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_1058-17_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_MV_23_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-17_0_5_load_0 | 0 | 0.015308 | 0.0038365 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-17_0_5_load_66 | 5 | 0.078502 | 0.019674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-17_0_5_load_67 | 7 | 0.012439 | 0.0031176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-17_0_5_load_20 | 8 | 0.014121 | 0.003539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-17_0_5_load_60 | 9 | 0.013141 | 0.0032935 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-17_0_5_load_54 | 11 | 0.0043651 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-17_0_5_load_17 | 13 | 0.0039689 | 0.00099469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-17_0_5_load_64 | 15 | 0.0031103 | 0.0007795 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-17_0_5_load_62 | 17 | 0.0072588 | 0.0018192 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-17_0_5_load_61 | 19 | 0.048411 | 0.012133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-17_0_5_load_48 | 21 | 0.027802 | 0.0069678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-17_0_5_load_52 | 22 | 0.015529 | 0.003892 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-17_0_5_load_51 | 25 | 0.0067265 | 0.0016858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-17_0_5_load_50 | 28 | 0.0022317 | 0.00055932 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-17_0_5_load_34 | 29 | 0.0030788 | 0.00077161 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-17_0_5_load_18 | 30 | 0.0099991 | 0.002506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-17_0_5_load_58 | 35 | 0.0039398 | 0.00098742 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-17_0_5_load_57 | 36 | 0.0028843 | 0.00072286 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-17_0_5_load_59 | 38 | 0.0060048 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-17_0_5_load_21 | 40 | 0.0021809 | 0.00054659 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-17_0_5_load_28 | 42 | 0.0025278 | 0.00063353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-17_0_5_load_56 | 43 | 0.0022611 | 0.0005667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-17_0_5_load_55 | 44 | 0.0026512 | 0.00066444 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-17_0_5_load_19 | 45 | 0.007095 | 0.0017782 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-17_0_5_load_43 | 46 | 0.0036518 | 0.00091522 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-17_0_5_load_44 | 47 | 0.0032722 | 0.00082008 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-17_0_5_load_40 | 48 | 0.0040772 | 0.0010219 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-17_0_5_load_47 | 49 | 0.0061121 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-17_0_5_load_29 | 50 | 0.0025131 | 0.00062985 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-17_0_5_load_30 | 51 | 0.0014621 | 0.00036643 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-17_0_5_load_32 | 53 | 0.0020114 | 0.00050411 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-17_0_5_load_41 | 56 | 0.0092107 | 0.0023084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-17_0_5_load_35 | 57 | 0.002408 | 0.0006035 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-17_0_5_load_36 | 58 | 0.0017226 | 0.00043172 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1058-17_0_5_load_37 | 59 | 0.0017978 | 0.00045058 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1058-17_0_5_load_39 | 61 | 0.003397 | 0.00085138 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1058-17_0_5_load_65 | 62 | 0.010082 | 0.0025268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-17_0_5_line_0 |  | 0 | 1 | 0.0091664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-17_0_5_line_1 |  | 1 | 2 | 0.21869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-17_0_5_line_2 |  | 1 | 3 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-17_0_5_line_3 |  | 2 | 7 | 0.005559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-17_0_5_line_4 |  | 3 | 8 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1058-17_0_5_line_5 |  | 3 | 9 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1058-17_0_5_line_6 |  | 4 | 5 | 0.024167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-17_0_5_line_7 |  | 4 | 6 | 0.008176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-17_0_5_line_8 |  | 6 | 28 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-17_0_5_line_9 |  | 6 | 29 | 0.0075983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-17_0_5_line_10 |  | 8 | 12 | 0.038888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1058-17_0_5_line_11 |  | 9 | 18 | 0.076433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1058-17_0_5_line_12 |  | 10 | 11 | 0.0078976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1058-17_0_5_line_13 |  | 11 | 26 | 0.0054184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1058-17_0_5_line_14 |  | 12 | 13 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1058-17_0_5_line_15 |  | 13 | 30 | 0.030313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1058-17_0_5_line_16 |  | 14 | 15 | 0.059726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-17_0_5_line_17 |  | 14 | 16 | 0.22803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-17_0_5_line_18 |  | 14 | 17 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-17_0_5_line_19 |  | 16 | 18 | 0.005048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-17_0_5_line_20 |  | 16 | 19 | 0.076079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-17_0_5_line_21 |  | 17 | 31 | 0.00021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-17_0_5_line_22 |  | 20 | 21 | 0.028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1058-17_0_5_line_23 |  | 20 | 22 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1058-17_0_5_line_24 |  | 21 | 32 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1058-17_0_5_line_25 |  | 22 | 25 | 0.021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1058-17_0_5_line_26 |  | 23 | 24 | 0.041293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1058-17_0_5_line_27 |  | 23 | 25 | 0.046334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1058-17_0_5_line_28 |  | 24 | 33 | 0.035926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1058-17_0_5_line_29 |  | 26 | 27 | 0.032905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1058-17_0_5_line_30 |  | 26 | 28 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-17_0_5_line_31 |  | 27 | 43 | 0.028135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1058-17_0_5_line_32 |  | 27 | 44 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-17_0_5_line_33 |  | 29 | 52 | 0.005827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-17_0_5_line_34 |  | 30 | 45 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1058-17_0_5_line_35 |  | 31 | 62 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-17_0_5_line_36 |  | 32 | 47 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1058-17_0_5_line_37 |  | 32 | 49 | 0.030145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-17_0_5_line_38 |  | 33 | 36 | 0.032532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1058-17_0_5_line_39 |  | 34 | 35 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1058-17_0_5_line_40 |  | 34 | 36 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1058-17_0_5_line_41 |  | 35 | 37 | 0.035258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1058-17_0_5_line_42 |  | 37 | 38 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1058-17_0_5_line_43 |  | 37 | 39 | 0.10063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-17_0_5_line_44 |  | 38 | 48 | 0.04698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1058-17_0_5_line_45 |  | 39 | 40 | 0.031033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-17_0_5_line_46 |  | 40 | 41 | 0.0070184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-17_0_5_line_47 |  | 41 | 42 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-17_0_5_line_48 |  | 43 | 61 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1058-17_0_5_line_49 |  | 45 | 46 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_1058-17_0_5_line_50 |  | 46 | 47 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1058-17_0_5_line_51 |  | 48 | 60 | 0.0050739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1058-17_0_5_line_52 |  | 50 | 51 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-17_0_5_line_53 |  | 50 | 52 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-17_0_5_line_54 |  | 51 | 53 | 0.021684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-17_0_5_line_55 |  | 52 | 54 | 0.041881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-17_0_5_line_56 |  | 54 | 55 | 0.003483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1058-17_0_5_line_57 |  | 55 | 56 | 0.0023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-17_0_5_line_58 |  | 57 | 58 | 0.0095719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1058-17_0_5_line_59 |  | 58 | 59 | 0.009902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1058-17_0_5_line_60 |  | 59 | 60 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1058-17_0_5_line_61 |  | 60 | 61 | 0.0017501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-17_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 63 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2665799.4278 | 1208716.0722 | 2665791.5516 | 1208720.7612
1 | 2665755.1539 | 1208600.6472 | 2665753.7676 | 1208603.6449 | 2665750.3411 | 1208611.0339 | 2665746.1208 | 1208609.7311 | 2665745.0558 | 1208609.7861 | 2665744.4778 | 1208609.813 | 2665742.3451 | 1208610.1676 | 2665738.6969 | 1208611.4615 | 2665737.3547 | 1208612.5252 | 2665736.8559 | 1208613.6314 | 2665737.484 | 1208616.6624 | 2665737.2089 | 1208619.5501 | 2665735.1754 | 1208623.33 | 2665732.8891 | 1208624.5166 | 2665731.7217 | 1208626.2826 | 2665732.1802 | 1208628.8337 | 2665734.573 | 1208630.3943 | 2665733.6121 | 1208632.7296 | 2665723.1416 | 1208628.0671 | 2665710.5965 | 1208657.1467 | 2665725.061 | 1208662.9428 | 2665728.8113 | 1208668.9433 | 2665797.3952 | 1208697.0271 | 2665801.8945 | 1208697.1434 | 2665804.0873 | 1208702.3597 | 2665807.7691 | 1208711.1167 | 2665799.4278 | 1208716.0722
2 | 2665799.4278 | 1208716.0722 | 2665807.7691 | 1208711.1167 | 2665808.2581 | 1208712.2784 | 2665810.6574 | 1208719.4425 | 2665811.3976 | 1208719.195 | 2665813.5801 | 1208718.4519 | 2665815.6479 | 1208717.7632 | 2665817.403 | 1208717.171
3 | 2665755.1539 | 1208600.6472 | 2665750.0155 | 1208598.4893
4 | 2665817.403 | 1208717.171 | 2665813.5354 | 1208705.966 | 2665812.8849 | 1208701.5696
5 | 2665817.403 | 1208717.171 | 2665821.683 | 1208729.5925 | 2665822.1817 | 1208730.6717
6 | 2665793.7446 | 1208572.3662 | 2665788.6745 | 1208575.0453 | 2665780.5926 | 1208591.6331
7 | 2665793.7446 | 1208572.3662 | 2665800.9865 | 1208568.5326
8 | 2665800.9865 | 1208568.5326 | 2665808.5458 | 1208578.5837
9 | 2665800.9865 | 1208568.5326 | 2665796.5712 | 1208562.3488
10 | 2665814.9891 | 1208663.078 | 2665812.8704 | 1208673.8946 | 2665811.4773 | 1208684.3968 | 2665811.5402 | 1208692.4802 | 2665812.8849 | 1208701.5696
11 | 2665865.7089 | 1208790.1484 | 2665860.0746 | 1208788.8632 | 2665854.8672 | 1208785.4037 | 2665844.28 | 1208774.8138 | 2665840.369 | 1208768.9226 | 2665828.5512 | 1208744.4551 | 2665822.1817 | 1208730.6717
12 | 2665824.735 | 1208614.8894 | 2665825.6472 | 1208610.7636 | 2665826.4015 | 1208607.1697
13 | 2665823.3873 | 1208602.667 | 2665826.4015 | 1208607.1697
14 | 2665814.9891 | 1208663.078 | 2665829.8517 | 1208668.9928
15 | 2665829.8517 | 1208668.9928 | 2665842.8893 | 1208674.1814 | 2665851.1389 | 1208670.6591 | 2665856.9878 | 1208666.2726
16 | 2665992.6805 | 1208663.8845 | 2665991.3221 | 1208666.4155 | 2665987.3764 | 1208673.2872 | 2665983.1258 | 1208688.4828 | 2665984.4148 | 1208691.5434 | 2665988.1882 | 1208691.9965 | 2665993.1491 | 1208685.4362 | 2665998.4525 | 1208676.1002 | 2666004.4093 | 1208672.2971
17 | 2665866.7062 | 1208785.2008 | 2665868.0252 | 1208785.5489 | 2665874.2715 | 1208787.1744 | 2665879.2346 | 1208768.0063 | 2665885.4572 | 1208745.628 | 2665890.6034 | 1208745.6848 | 2665897.8778 | 1208745.7763 | 2665900.4766 | 1208745.2046 | 2665905.0651 | 1208741.3751 | 2665906.9486 | 1208736.7264 | 2665908.0309 | 1208731.6575 | 2665909.1191 | 1208725.3657 | 2665910.8424 | 1208716.646 | 2665911.7262 | 1208710.9634 | 2665915.0547 | 1208704.8965 | 2665920.4584 | 1208695.4059 | 2665926.2502 | 1208687.9542 | 2665936.7344 | 1208680.3431 | 2665951.5434 | 1208668.7106 | 2665972.7187 | 1208650.6113 | 2665989.6111 | 1208650.6425 | 2665994.2934 | 1208651.4058 | 2665996.3149 | 1208652.8513 | 2665998.1731 | 1208655.3066 | 2665998.1977 | 1208657.8974 | 2665995.9746 | 1208660.9302 | 2665992.6805 | 1208663.8845
18 | 2665992.6805 | 1208663.8845 | 2665983.7957 | 1208667.0994 | 2665975.5511 | 1208671.1897
19 | 2665866.7062 | 1208785.2008 | 2665865.7089 | 1208790.1484
20 | 2665866.7062 | 1208785.2008 | 2665867.0281 | 1208783.5923 | 2665871.2213 | 1208766.6727 | 2665872.5522 | 1208762.4959 | 2665873.6074 | 1208759.1944 | 2665880.2814 | 1208744.1255 | 2665889.1528 | 1208720.7647 | 2665892.2188 | 1208713.7142
21 | 2665975.3562 | 1208671.2864 | 2665975.5511 | 1208671.1897
22 | 2665935.5891 | 1208642.952 | 2665924.0916 | 1208633.5526 | 2665910.3037 | 1208635.3348
23 | 2665935.5891 | 1208642.952 | 2665948.0389 | 1208626.724
24 | 2665890.877 | 1208621.0894 | 2665900.6923 | 1208628.6246 | 2665910.3037 | 1208635.3348
25 | 2665948.0389 | 1208626.724 | 2665961.2121 | 1208609.5537
26 | 2665989.4154 | 1208572.7927 | 2665963.8267 | 1208554.7656 | 2665956.6752 | 1208549.7168 | 2665955.5964 | 1208548.96
27 | 2665989.4154 | 1208572.7927 | 2665961.2121 | 1208609.5537
28 | 2665926.1907 | 1208528.2003 | 2665955.5964 | 1208548.96
29 | 2665832.9033 | 1208571.1861 | 2665831.2043 | 1208578.4051 | 2665823.3873 | 1208602.667
30 | 2665823.3873 | 1208602.667 | 2665820.5533 | 1208595.6204 | 2665818.8866 | 1208592.3333 | 2665808.5458 | 1208578.5837
31 | 2665832.9033 | 1208571.1861 | 2665839.3513 | 1208543.7996
32 | 2665832.9033 | 1208571.1861 | 2665845.7323 | 1208577.0164
33 | 2665793.1851 | 1208557.6066 | 2665796.5712 | 1208562.3488
34 | 2665856.9878 | 1208666.2726 | 2665860.7519 | 1208663.4496 | 2665867.439 | 1208657.8059
35 | 2665973.3663 | 1208686.2403 | 2665975.3562 | 1208671.2864
36 | 2665890.877 | 1208621.0894 | 2665884.8796 | 1208632.5532
37 | 2665890.877 | 1208621.0894 | 2665911.009 | 1208598.6524
38 | 2665926.1907 | 1208528.2003 | 2665899.6163 | 1208509.4352
39 | 2665888.0176 | 1208499.995 | 2665880.0143 | 1208492.0039
40 | 2665888.0176 | 1208499.995 | 2665898.6634 | 1208508.7623 | 2665899.6163 | 1208509.4352
41 | 2665858.045 | 1208464.4315 | 2665879.6857 | 1208491.6758 | 2665880.0143 | 1208492.0039
42 | 2665858.045 | 1208464.4315 | 2665854.6811 | 1208478.7126
43 | 2665833.4333 | 1208422.5567 | 2665846.8977 | 1208412.2322 | 2665850.4373 | 1208410.459 | 2665852.9983 | 1208409.1865 | 2665862.1061 | 1208406.4631 | 2665865.456 | 1208406.0442 | 2665866.9239 | 1208406.683 | 2665868.0434 | 1208407.885 | 2665868.4156 | 1208409.9793 | 2665867.2306 | 1208414.7135 | 2665868.1024 | 1208414.9344 | 2665870.3996 | 1208415.5268 | 2665858.045 | 1208464.4315
44 | 2665843.9096 | 1208524.4415 | 2665854.6811 | 1208478.7126
45 | 2665833.4333 | 1208422.5567 | 2665814.9236 | 1208436.7502 | 2665809.1844 | 1208441.895
46 | 2665803.9584 | 1208446.5797 | 2665809.1844 | 1208441.895
47 | 2665803.9584 | 1208446.5797 | 2665804.1058 | 1208449.7611 | 2665803.7697 | 1208456.795 | 2665803.7061 | 1208459.8073
48 | 2665842.3452 | 1208531.0837 | 2665839.3513 | 1208543.7996
49 | 2665880.2312 | 1208643.7397 | 2665879.4765 | 1208647.6465 | 2665867.439 | 1208657.8059
50 | 2665880.2312 | 1208643.7397 | 2665880.9359 | 1208640.0914 | 2665884.8796 | 1208632.5532
51 | 2665842.7463 | 1208529.3802 | 2665843.9096 | 1208524.4415
52 | 2665771.9272 | 1208527.8205 | 2665783.7607 | 1208544.4014
53 | 2665793.1851 | 1208557.6066 | 2665783.7607 | 1208544.4014
54 | 2665774.2932 | 1208508.5907 | 2665768.2086 | 1208522.61 | 2665771.9272 | 1208527.8205
55 | 2665757.8951 | 1208551.9699 | 2665760.4978 | 1208546.2173 | 2665766.4383 | 1208548.7176 | 2665768.9863 | 1208547.923 | 2665783.449 | 1208553.8971 | 2665789.0636 | 1208557.6835 | 2665793.1851 | 1208557.6066
56 | 2665757.8951 | 1208551.9699 | 2665756.4612 | 1208555.145
57 | 2665756.4612 | 1208555.145 | 2665758.6481 | 1208556.0807
58 | 2665817.6314 | 1208502.5532 | 2665811.628 | 1208495.098
59 | 2665817.6314 | 1208502.5532 | 2665823.8418 | 1208510.2656
60 | 2665842.7463 | 1208529.3802 | 2665834.2614 | 1208523.2051 | 2665823.8418 | 1208510.2656
61 | 2665842.7463 | 1208529.3802 | 2665842.3452 | 1208531.0837

## bus_geodata
| x | y | coords
0 | 2665791.5516 | 1208720.7612
1 | 2665799.4278 | 1208716.0722
2 | 2665755.1539 | 1208600.6472
3 | 2665817.403 | 1208717.171
4 | 2665793.7446 | 1208572.3662
5 | 2665780.5926 | 1208591.6331
6 | 2665800.9865 | 1208568.5326
7 | 2665750.0155 | 1208598.4893
8 | 2665812.8849 | 1208701.5696
9 | 2665822.1817 | 1208730.6717
10 | 2665824.735 | 1208614.8894
11 | 2665826.4015 | 1208607.1697
12 | 2665814.9891 | 1208663.078
13 | 2665829.8517 | 1208668.9928
14 | 2665992.6805 | 1208663.8845
15 | 2666004.4093 | 1208672.2971
16 | 2665866.7062 | 1208785.2008
17 | 2665975.5511 | 1208671.1897
18 | 2665865.7089 | 1208790.1484
19 | 2665892.2188 | 1208713.7142
20 | 2665935.5891 | 1208642.952
21 | 2665910.3037 | 1208635.3348
22 | 2665948.0389 | 1208626.724
23 | 2665989.4154 | 1208572.7927
24 | 2665955.5964 | 1208548.96
25 | 2665961.2121 | 1208609.5537
26 | 2665823.3873 | 1208602.667
27 | 2665832.9033 | 1208571.1861
28 | 2665808.5458 | 1208578.5837
29 | 2665796.5712 | 1208562.3488
30 | 2665856.9878 | 1208666.2726
31 | 2665975.3562 | 1208671.2864
32 | 2665890.877 | 1208621.0894
33 | 2665926.1907 | 1208528.2003
34 | 2665888.0176 | 1208499.995
35 | 2665880.0143 | 1208492.0039
36 | 2665899.6163 | 1208509.4352
37 | 2665858.045 | 1208464.4315
38 | 2665854.6811 | 1208478.7126
39 | 2665833.4333 | 1208422.5567
40 | 2665809.1844 | 1208441.895
41 | 2665803.9584 | 1208446.5797
42 | 2665803.7061 | 1208459.8073
43 | 2665839.3513 | 1208543.7996
44 | 2665845.7323 | 1208577.0164
45 | 2665867.439 | 1208657.8059
46 | 2665880.2312 | 1208643.7397
47 | 2665884.8796 | 1208632.5532
48 | 2665843.9096 | 1208524.4415
49 | 2665911.009 | 1208598.6524
50 | 2665783.7607 | 1208544.4014
51 | 2665771.9272 | 1208527.8205
52 | 2665793.1851 | 1208557.6066
53 | 2665774.2932 | 1208508.5907
54 | 2665757.8951 | 1208551.9699
55 | 2665756.4612 | 1208555.145
56 | 2665758.6481 | 1208556.0807
57 | 2665811.628 | 1208495.098
58 | 2665817.6314 | 1208502.5532
59 | 2665823.8418 | 1208510.2656
60 | 2665842.7463 | 1208529.3802
61 | 2665842.3452 | 1208531.0837
62 | 2665973.3663 | 1208686.2403
63 | 2665820.8072 | 1208613.9566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97658 | -0.45005 | 0.015308 | 0.0038365
1 | 0.97671 | -0.44749 | 0 | 0
2 | 0.97418 | -0.49733 | 0 | 0
3 | 0.97737 | -0.43449 | 0 | 0
4 | 0.99488 | -0.098107 | 0 | 0
5 | 0.99315 | -0.13157 | 0.078502 | 0.019674
6 | 0.99547 | -0.086811 | 0 | 0
7 | 0.97412 | -0.4986 | 0.012439 | 0.0031176
8 | 0.97771 | -0.42797 | 0.014121 | 0.003539
9 | 0.97716 | -0.43878 | 0.013141 | 0.0032935
10 | 1 | 0 | -0.35419 | -0.090352
11 | 0.99949 | -0.0095689 | 0.0043651 | 0.001094
12 | 0.97861 | -0.41041 | 0 | 0
13 | 0.97897 | -0.4032 | 0.0039689 | 0.00099469
14 | 0.97084 | -0.56312 | 0 | 0
15 | 0.97066 | -0.56656 | 0.0031103 | 0.0007795
16 | 0.97519 | -0.47724 | 0 | 0
17 | 0.97053 | -0.5691 | 0.0072588 | 0.0018192
18 | 0.97552 | -0.47087 | 0 | 0
19 | 0.97176 | -0.54498 | 0.048411 | 0.012133
20 | 0.98298 | -0.32522 | 0 | 0
21 | 0.98199 | -0.34452 | 0.027802 | 0.0069678
22 | 0.98369 | -0.31153 | 0.015529 | 0.003892
23 | 0.98628 | -0.26123 | 0 | 0
24 | 0.98788 | -0.23049 | 0 | 0
25 | 0.98449 | -0.29585 | 0.0067265 | 0.0016858
26 | 0.99915 | -0.016057 | 0 | 0
27 | 0.99766 | -0.044136 | 0 | 0
28 | 0.99658 | -0.065426 | 0.0022317 | 0.00055932
29 | 0.99534 | -0.089254 | 0.0030788 | 0.00077161
30 | 0.9797 | -0.38911 | 0.0099991 | 0.002506
31 | 0.97053 | -0.56914 | 0 | 0
32 | 0.98128 | -0.3583 | 0 | 0
33 | 0.98927 | -0.20382 | 0 | 0
34 | 0.99111 | -0.16852 | 0 | 0
35 | 0.99156 | -0.16006 | 0.0039398 | 0.00098742
36 | 0.99053 | -0.17973 | 0.0028843 | 0.00072286
37 | 0.99296 | -0.13323 | 0 | 0
38 | 0.99356 | -0.12184 | 0.0060048 | 0.0015049
39 | 0.99253 | -0.14161 | 0 | 0
40 | 0.9924 | -0.1442 | 0.0021809 | 0.00054659
41 | 0.99238 | -0.14451 | 0 | 0
42 | 0.99235 | -0.1451 | 0.0025278 | 0.00063353
43 | 0.9964 | -0.067949 | 0.0022611 | 0.0005667
44 | 0.99763 | -0.04479 | 0.0026512 | 0.00066444
45 | 0.98004 | -0.38237 | 0.007095 | 0.0017782
46 | 0.98057 | -0.372 | 0.0036518 | 0.00091522
47 | 0.98091 | -0.36541 | 0.0032722 | 0.00082008
48 | 0.99553 | -0.084471 | 0.0040772 | 0.0010219
49 | 0.98111 | -0.36163 | 0.0061121 | 0.0015318
50 | 0.99517 | -0.092522 | 0.0025131 | 0.00062985
51 | 0.9951 | -0.093768 | 0.0014621 | 0.00036643
52 | 0.99526 | -0.090813 | 0 | 0
53 | 0.99507 | -0.094536 | 0.0020114 | 0.00050411
54 | 0.99491 | -0.097604 | 0 | 0
55 | 0.99488 | -0.098168 | 0 | 0
56 | 0.99486 | -0.098554 | 0.0092107 | 0.0023084
57 | 0.99554 | -0.084322 | 0.002408 | 0.0006035
58 | 0.99556 | -0.083917 | 0.0017226 | 0.00043172
59 | 0.9956 | -0.083198 | 0.0017978 | 0.00045058
60 | 0.99575 | -0.080372 | 0 | 0
61 | 0.99582 | -0.078922 | 0.003397 | 0.00085138
62 | 0.97039 | -0.57196 | 0.010082 | 0.0025268
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015308 | -0.0038365 | 0.01531 | 0.0038376 | 1.8701e-06 | 1.0821e-06 | 0.023325 | 0.023325 | 0.023325 | 0.97658 | -0.45005 | 0.97671 | -0.44749 | 6.4079
1 | 0.01247 | 0.0031342 | -0.01244 | -0.003118 | 2.9608e-05 | 1.6219e-05 | 0.019001 | 0.019002 | 0.019002 | 0.97671 | -0.44749 | 0.97418 | -0.49733 | 5.2202
2 | -0.027779 | -0.0069718 | 0.027797 | 0.0069825 | 1.7222e-05 | 1.0701e-05 | 0.042325 | 0.042325 | 0.042325 | 0.97671 | -0.44749 | 0.97737 | -0.43449 | 11.6278
3 | 0.01244 | 0.003118 | -0.012439 | -0.0031176 | 7.5268e-07 | 4.1251e-07 | 0.019002 | 0.019002 | 0.019002 | 0.97418 | -0.49733 | 0.97412 | -0.4986 | 5.2202
4 | -0.11019 | -0.027776 | 0.11023 | 0.027797 | 3.4426e-05 | 2.1011e-05 | 0.16782 | 0.16782 | 0.16782 | 0.97737 | -0.43449 | 0.97771 | -0.42797 | 9.2209
5 | 0.082395 | 0.020794 | -0.082378 | -0.020784 | 1.6923e-05 | 9.933e-06 | 0.12549 | 0.1255 | 0.1255 | 0.97737 | -0.43449 | 0.97716 | -0.43878 | 6.8953
6 | 0.078627 | 0.019754 | -0.078502 | -0.019674 | 0.00012537 | 7.9925e-05 | 0.11762 | 0.11762 | 0.11762 | 0.99488 | -0.098107 | 0.99315 | -0.13157 | 32.3126
7 | -0.078627 | -0.019754 | 0.078669 | 0.019781 | 4.2415e-05 | 2.7039e-05 | 0.11762 | 0.11762 | 0.11762 | 0.99488 | -0.098107 | 0.99547 | -0.086811 | 32.3125
8 | -0.096953 | -0.024365 | 0.097052 | 0.024428 | 9.9087e-05 | 6.3252e-05 | 0.14495 | 0.14495 | 0.14495 | 0.99547 | -0.086811 | 0.99658 | -0.065426 | 39.8209
9 | 0.018284 | 0.0045836 | -0.018281 | -0.0045824 | 2.1284e-06 | 1.2634e-06 | 0.027331 | 0.027331 | 0.027331 | 0.99547 | -0.086811 | 0.99534 | -0.089254 | 7.5084
10 | -0.12435 | -0.031336 | 0.12445 | 0.031401 | 0.00010453 | 6.4456e-05 | 0.18931 | 0.18931 | 0.18931 | 0.97771 | -0.42797 | 0.97861 | -0.41041 | 10.4017
11 | 0.069237 | 0.017491 | -0.06913 | -0.017425 | 0.00010631 | 6.5169e-05 | 0.10548 | 0.10548 | 0.10548 | 0.97716 | -0.43878 | 0.97552 | -0.47087 | 9.6598
12 | 0.35254 | 0.090352 | -0.35237 | -0.090248 | 0.00016344 | 0.00010408 | 0.52529 | 0.52529 | 0.52529 | 1 | 0 | 0.99949 | -0.0095689 | 28.8619
13 | 0.34801 | 0.089154 | -0.3479 | -0.089084 | 0.00010937 | 6.9644e-05 | 0.51879 | 0.51879 | 0.51879 | 0.99949 | -0.0095689 | 0.99915 | -0.016057 | 28.5049
14 | -0.12445 | -0.031401 | 0.12449 | 0.031427 | 4.2995e-05 | 2.6512e-05 | 0.18931 | 0.18931 | 0.18931 | 0.97861 | -0.41041 | 0.97897 | -0.4032 | 10.4016
15 | -0.12846 | -0.032422 | 0.12855 | 0.032476 | 8.6753e-05 | 5.3615e-05 | 0.19534 | 0.19534 | 0.19534 | 0.97897 | -0.4032 | 0.9797 | -0.38911 | 10.7331
16 | 0.0031108 | 0.00077909 | -0.0031103 | -0.0007795 | 5.0915e-07 | -4.1254e-07 | 0.0047677 | 0.004768 | 0.004768 | 0.97084 | -0.56312 | 0.97066 | -0.56656 | 1.3099
17 | -0.020458 | -0.0051287 | 0.020542 | 0.0051797 | 8.4074e-05 | 5.0975e-05 | 0.031357 | 0.031356 | 0.031357 | 0.97084 | -0.56312 | 0.97519 | -0.47724 | 8.6145
18 | 0.017347 | 0.0043496 | -0.017342 | -0.0043467 | 4.9449e-06 | 2.9342e-06 | 0.026589 | 0.026589 | 0.026589 | 0.97084 | -0.56312 | 0.97053 | -0.5691 | 7.3047
19 | -0.069109 | -0.017412 | 0.06913 | 0.017425 | 2.1064e-05 | 1.3418e-05 | 0.10548 | 0.10548 | 0.10548 | 0.97519 | -0.47724 | 0.97552 | -0.47087 | 28.9794
20 | 0.048567 | 0.012232 | -0.048411 | -0.012133 | 0.00015678 | 9.9391e-05 | 0.074129 | 0.07413 | 0.07413 | 0.97519 | -0.47724 | 0.97176 | -0.54498 | 20.3653
21 | 0.010083 | 0.0025275 | -0.010083 | -0.0025275 | 1.9502e-08 | 9.7919e-09 | 0.01546 | 0.01546 | 0.01546 | 0.97053 | -0.5691 | 0.97053 | -0.56914 | 4.2472
22 | 0.18698 | 0.047305 | -0.1868 | -0.047196 | 0.00017296 | 0.00010887 | 0.2832 | 0.2832 | 0.2832 | 0.98298 | -0.32522 | 0.98199 | -0.34452 | 15.5606
23 | -0.18698 | -0.047305 | 0.1871 | 0.047382 | 0.00012292 | 7.7373e-05 | 0.2832 | 0.2832 | 0.2832 | 0.98298 | -0.32522 | 0.98369 | -0.31153 | 15.5605
24 | 0.159 | 0.040228 | -0.1589 | -0.040162 | 0.00010503 | 6.5696e-05 | 0.24107 | 0.24107 | 0.24107 | 0.98199 | -0.34452 | 0.98128 | -0.3583 | 13.2459
25 | -0.20263 | -0.051274 | 0.20278 | 0.05137 | 0.00015267 | 9.6334e-05 | 0.30669 | 0.30669 | 0.30669 | 0.98369 | -0.31153 | 0.98449 | -0.29585 | 16.8512
26 | -0.20986 | -0.053276 | 0.21017 | 0.053473 | 0.00031093 | 0.00019636 | 0.31686 | 0.31686 | 0.31686 | 0.98628 | -0.26123 | 0.98788 | -0.23049 | 17.4097
27 | 0.20986 | 0.053276 | -0.20951 | -0.053056 | 0.00034889 | 0.00022034 | 0.31686 | 0.31686 | 0.31686 | 0.98628 | -0.26123 | 0.98449 | -0.29585 | 17.4098
28 | -0.21017 | -0.053473 | 0.21044 | 0.053644 | 0.00027052 | 0.00017083 | 0.31686 | 0.31686 | 0.31686 | 0.98788 | -0.23049 | 0.98927 | -0.20382 | 17.4097
29 | 0.24838 | 0.063947 | -0.24804 | -0.063732 | 0.00033878 | 0.00021467 | 0.37051 | 0.37051 | 0.37051 | 0.99915 | -0.016057 | 0.99766 | -0.044136 | 20.3577
30 | 0.099519 | 0.025137 | -0.099284 | -0.024988 | 0.00023486 | 0.00014994 | 0.14828 | 0.14828 | 0.14828 | 0.99915 | -0.016057 | 0.99658 | -0.065426 | 40.7364
31 | 0.24539 | 0.063068 | -0.2451 | -0.062888 | 0.00028353 | 0.00017962 | 0.36656 | 0.36656 | 0.36656 | 0.99766 | -0.044136 | 0.9964 | -0.067949 | 20.1405
32 | 0.0026512 | 0.00066431 | -0.0026512 | -0.00066444 | 8.263e-08 | -1.3112e-07 | 0.0039543 | 0.0039544 | 0.0039544 | 0.99766 | -0.044136 | 0.99763 | -0.04479 | 1.0864
33 | 0.015203 | 0.0038108 | -0.015202 | -0.0038101 | 1.1288e-06 | 6.4667e-07 | 0.022728 | 0.022728 | 0.022728 | 0.99534 | -0.089254 | 0.99526 | -0.090813 | 6.244
34 | -0.13855 | -0.034982 | 0.13859 | 0.03501 | 4.4728e-05 | 2.7778e-05 | 0.21053 | 0.21053 | 0.21053 | 0.9797 | -0.38911 | 0.98004 | -0.38237 | 11.5675
35 | 0.010083 | 0.0025275 | -0.010082 | -0.0025268 | 1.3523e-06 | 6.7906e-07 | 0.01546 | 0.01546 | 0.01546 | 0.97053 | -0.56914 | 0.97039 | -0.57196 | 4.2472
36 | 0.15278 | 0.03863 | -0.15273 | -0.038598 | 5.214e-05 | 3.2552e-05 | 0.2318 | 0.2318 | 0.2318 | 0.98128 | -0.3583 | 0.98091 | -0.36541 | 12.7365
37 | 0.0061131 | 0.0015321 | -0.0061121 | -0.0015318 | 9.7142e-07 | 2.4097e-07 | 0.00927 | 0.0092701 | 0.0092701 | 0.98128 | -0.3583 | 0.98111 | -0.36163 | 2.5467
38 | -0.21044 | -0.053644 | 0.21068 | 0.053798 | 0.00024496 | 0.00015468 | 0.31686 | 0.31685 | 0.31686 | 0.98927 | -0.20382 | 0.99053 | -0.17973 | 17.4096
39 | -0.21368 | -0.054594 | 0.21377 | 0.054649 | 8.7505e-05 | 5.5274e-05 | 0.32119 | 0.32119 | 0.32119 | 0.99111 | -0.16852 | 0.99156 | -0.16006 | 17.6476
40 | 0.21368 | 0.054594 | -0.21357 | -0.054521 | 0.00011573 | 7.3104e-05 | 0.32119 | 0.32119 | 0.32119 | 0.99111 | -0.16852 | 0.99053 | -0.17973 | 17.6477
41 | -0.21771 | -0.055637 | 0.21799 | 0.055816 | 0.00028293 | 0.0001788 | 0.3271 | 0.3271 | 0.3271 | 0.99156 | -0.16006 | 0.99296 | -0.13323 | 17.9725
42 | -0.22271 | -0.056995 | 0.22283 | 0.057073 | 0.00012287 | 7.7689e-05 | 0.33416 | 0.33416 | 0.33416 | 0.99296 | -0.13323 | 0.99356 | -0.12184 | 18.3603
43 | 0.0047113 | 0.0011798 | -0.0047094 | -0.0011799 | 1.881e-06 | -9.7316e-08 | 0.0070598 | 0.0070603 | 0.0070603 | 0.99296 | -0.13323 | 0.99253 | -0.14161 | 1.9396
44 | -0.22883 | -0.058578 | 0.22925 | 0.058841 | 0.0004149 | 0.00026249 | 0.34315 | 0.34315 | 0.34315 | 0.99356 | -0.12184 | 0.99553 | -0.084471 | 18.8544
45 | 0.0047094 | 0.0011799 | -0.0047088 | -0.0011799 | 5.801e-07 | -2.975e-08 | 0.0070603 | 0.0070604 | 0.0070604 | 0.99253 | -0.14161 | 0.9924 | -0.1442 | 1.9397
46 | 0.0025279 | 0.00063334 | -0.0025279 | -0.00063341 | 3.7812e-08 | -6.6481e-08 | 0.0037903 | 0.0037904 | 0.0037904 | 0.9924 | -0.1442 | 0.99238 | -0.14451 | 1.0413
47 | 0.0025279 | 0.00063341 | -0.0025278 | -0.00063353 | 7.1343e-08 | -1.2542e-07 | 0.0037904 | 0.0037904 | 0.0037904 | 0.99238 | -0.14451 | 0.99235 | -0.1451 | 1.0413
48 | 0.24284 | 0.062322 | -0.24271 | -0.06224 | 0.00012923 | 8.1858e-05 | 0.36318 | 0.36318 | 0.36318 | 0.9964 | -0.067949 | 0.99582 | -0.078922 | 19.9549
49 | -0.14569 | -0.036788 | 0.14576 | 0.036833 | 7.2471e-05 | 4.5138e-05 | 0.2213 | 0.2213 | 0.2213 | 0.98004 | -0.38237 | 0.98057 | -0.372 | 12.1594
50 | -0.14941 | -0.037748 | 0.14946 | 0.037777 | 4.7172e-05 | 2.9419e-05 | 0.22684 | 0.22684 | 0.22684 | 0.98057 | -0.372 | 0.98091 | -0.36541 | 12.4638
51 | -0.23332 | -0.059862 | 0.23337 | 0.059892 | 4.6415e-05 | 2.9376e-05 | 0.34924 | 0.34924 | 0.34924 | 0.99553 | -0.084471 | 0.99575 | -0.080372 | 19.1892
52 | 0.0034738 | 0.00087017 | -0.0034736 | -0.0008703 | 2.0608e-07 | -1.3276e-07 | 0.005194 | 0.0051941 | 0.0051941 | 0.99517 | -0.092522 | 0.9951 | -0.093768 | 1.4269
53 | -0.0059869 | -0.0015 | 0.0059874 | 0.0015001 | 4.8751e-07 | 1.012e-07 | 0.0089517 | 0.0089516 | 0.0089517 | 0.99517 | -0.092522 | 0.99526 | -0.090813 | 2.4593
54 | 0.0020115 | 0.00050388 | -0.0020114 | -0.00050411 | 7.3567e-08 | -2.3461e-07 | 0.0030078 | 0.0030079 | 0.0030079 | 0.9951 | -0.093768 | 0.99507 | -0.094536 | 0.82634
55 | 0.0092141 | 0.00231 | -0.0092112 | -0.0023086 | 2.9807e-06 | 1.3636e-06 | 0.013776 | 0.013777 | 0.013777 | 0.99526 | -0.090813 | 0.99491 | -0.097604 | 3.7848
56 | 0.0092112 | 0.0023086 | -0.0092109 | -0.0023085 | 2.4789e-07 | 1.1342e-07 | 0.013777 | 0.013777 | 0.013777 | 0.99491 | -0.097604 | 0.99488 | -0.098168 | 3.7848
57 | 0.0092109 | 0.0023085 | -0.0092107 | -0.0023084 | 1.6929e-07 | 7.7462e-08 | 0.013777 | 0.013777 | 0.013777 | 0.99488 | -0.098168 | 0.99486 | -0.098554 | 3.7848
58 | -0.002408 | -0.0006035 | 0.002408 | 0.00060341 | 4.6498e-08 | -9.4703e-08 | 0.0035992 | 0.0035991 | 0.0035992 | 0.99554 | -0.084322 | 0.99556 | -0.083917 | 0.98879
59 | -0.0041306 | -0.0010351 | 0.0041308 | 0.0010351 | 1.4153e-07 | -3.8181e-08 | 0.0061738 | 0.0061738 | 0.0061738 | 0.99556 | -0.083917 | 0.9956 | -0.083198 | 1.6961
60 | -0.0059286 | -0.0014857 | 0.0059294 | 0.0014858 | 7.981e-07 | 1.5823e-07 | 0.0088608 | 0.0088607 | 0.0088608 | 0.9956 | -0.083198 | 0.99575 | -0.080372 | 2.4343
61 | -0.2393 | -0.061378 | 0.23932 | 0.061388 | 1.6832e-05 | 1.0659e-05 | 0.3581 | 0.3581 | 0.3581 | 0.99575 | -0.080372 | 0.99582 | -0.078922 | 19.676

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35419 | 0.090352

## res_load
| p_mw | q_mvar
0 | 0.015308 | 0.0038365
1 | 0.078502 | 0.019674
2 | 0.012439 | 0.0031176
3 | 0.014121 | 0.003539
4 | 0.013141 | 0.0032935
5 | 0.0043651 | 0.001094
6 | 0.0039689 | 0.00099469
7 | 0.0031103 | 0.0007795
8 | 0.0072588 | 0.0018192
9 | 0.048411 | 0.012133
10 | 0.027802 | 0.0069678
11 | 0.015529 | 0.003892
12 | 0.0067265 | 0.0016858
13 | 0.0022317 | 0.00055932
14 | 0.0030788 | 0.00077161
15 | 0.0099991 | 0.002506
16 | 0.0039398 | 0.00098742
17 | 0.0028843 | 0.00072286
18 | 0.0060048 | 0.0015049
19 | 0.0021809 | 0.00054659
20 | 0.0025278 | 0.00063353
21 | 0.0022611 | 0.0005667
22 | 0.0026512 | 0.00066444
23 | 0.007095 | 0.0017782
24 | 0.0036518 | 0.00091522
25 | 0.0032722 | 0.00082008
26 | 0.0040772 | 0.0010219
27 | 0.0061121 | 0.0015318
28 | 0.0025131 | 0.00062985
29 | 0.0014621 | 0.00036643
30 | 0.0020114 | 0.00050411
31 | 0.0092107 | 0.0023084
32 | 0.002408 | 0.0006035
33 | 0.0017226 | 0.00043172
34 | 0.0017978 | 0.00045058
35 | 0.003397 | 0.00085138
36 | 0.010082 | 0.0025268

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1