## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-1_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1058-1_0_5_node_32 | 0.4 | n |  | TRUE
3 | bus_LV_1058-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-1_0_5_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_1058-1_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1058-1_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1058-1_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1058-1_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1058-1_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1058-1_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1058-1_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1058-1_0_5_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1058-1_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1058-1_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1058-1_0_5_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1058-1_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1058-1_0_5_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1058-1_0_5_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1058-1_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1058-1_0_5_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1058-1_0_5_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1058-1_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1058-1_0_5_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_1058-1_0_5_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1058-1_0_5_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_1058-1_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1058-1_0_5_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_1058-1_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1058-1_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1058-1_0_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_1058-1_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1058-1_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_1058-1_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1058-1_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1058-1_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1058-1_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1058-1_0_5_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_1058-1_0_5_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_1058-1_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1058-1_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1058-1_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1058-1_0_5_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1058-1_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_1058-1_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_1058-1_0_5_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1058-1_0_5_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1058-1_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1058-1_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1058-1_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1058-1_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1058-1_0_5_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_1058-1_0_5_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1058-1_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1058-1_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_1058-1_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1058-1_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1058-1_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1058-1_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1058-1_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_MV_23_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-1_0_5_load_0 | 0 | 0.048386 | 0.012127 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-1_0_5_load_32 | 2 | 0.008104 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-1_0_5_load_41 | 7 | 0.0099814 | 0.0025016 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-1_0_5_load_37 | 15 | 0.0046356 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-1_0_5_load_42 | 20 | 0.010001 | 0.0025066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-1_0_5_load_33 | 22 | 0.083469 | 0.020919 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-1_0_5_load_58 | 25 | 0.0069565 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-1_0_5_load_62 | 27 | 0.014572 | 0.0036521 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-1_0_5_load_40 | 29 | 0.027772 | 0.0069604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-1_0_5_load_57 | 30 | 0.016837 | 0.0042197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-1_0_5_load_36 | 33 | 0.0084931 | 0.0021286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-1_0_5_load_39 | 35 | 0.0074689 | 0.0018719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-1_0_5_load_38 | 36 | 0.0069472 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-1_0_5_load_59 | 37 | 0.0061173 | 0.0015332 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-1_0_5_load_47 | 39 | 0.0065251 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-1_0_5_load_35 | 40 | 0.091663 | 0.022973 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-1_0_5_load_60 | 42 | 0.013261 | 0.0033236 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-1_0_5_load_56 | 43 | 0.018187 | 0.0045581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-1_0_5_load_46 | 45 | 0.0083724 | 0.0020983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-1_0_5_load_52 | 46 | 0.0065641 | 0.0016451 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-1_0_5_load_45 | 47 | 0.010091 | 0.0025291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-1_0_5_load_50 | 49 | 0.0057662 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-1_0_5_load_49 | 50 | 0.017717 | 0.0044404 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-1_0_5_load_53 | 52 | 0.0061897 | 0.0015513 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-1_0_5_load_44 | 53 | 0.0089358 | 0.0022395 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-1_0_5_load_61 | 54 | 0.063897 | 0.016014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-1_0_5_load_54 | 55 | 0.0050668 | 0.0012699 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-1_0_5_load_43 | 56 | 0.011254 | 0.0028204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-1_0_5_load_48 | 57 | 0.027231 | 0.0068248 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-1_0_5_load_55 | 58 | 0.014013 | 0.0035121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-1_0_5_load_51 | 59 | 0.0028487 | 0.00071394 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-1_0_5_line_0 |  | 0 | 1 | 0.069093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1058-1_0_5_line_1 |  | 1 | 2 | 0.0366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1058-1_0_5_line_2 |  | 2 | 3 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1058-1_0_5_line_3 |  | 3 | 4 | 0.15629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1058-1_0_5_line_4 |  | 4 | 45 | 0.055054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1058-1_0_5_line_5 |  | 4 | 47 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-1_0_5_line_6 |  | 5 | 6 | 0.2919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1058-1_0_5_line_7 |  | 5 | 7 | 0.047924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1058-1_0_5_line_8 |  | 6 | 43 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1058-1_0_5_line_9 |  | 6 | 10 | 0.075201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1058-1_0_5_line_10 |  | 6 | 41 | 0.034536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-1_0_5_line_11 |  | 7 | 23 | 0.059097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1058-1_0_5_line_12 |  | 8 | 9 | 0.071959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-1_0_5_line_13 |  | 8 | 10 | 0.033659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1058-1_0_5_line_14 |  | 8 | 11 | 0.063428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-1_0_5_line_15 |  | 8 | 12 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-1_0_5_line_16 |  | 9 | 27 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-1_0_5_line_17 |  | 10 | 30 | 0.036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-1_0_5_line_18 |  | 10 | 31 | 0.029196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-1_0_5_line_19 |  | 11 | 40 | 0.054038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-1_0_5_line_20 |  | 12 | 55 | 0.0076123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-1_0_5_line_21 |  | 12 | 21 | 0.053632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-1_0_5_line_22 |  | 13 | 14 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-1_0_5_line_23 |  | 13 | 15 | 0.028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-1_0_5_line_24 |  | 14 | 39 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-1_0_5_line_25 |  | 14 | 34 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-1_0_5_line_26 |  | 16 | 17 | 0.036426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1058-1_0_5_line_27 |  | 16 | 18 | 0.07307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-1_0_5_line_28 |  | 16 | 19 | 0.050882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1058-1_0_5_line_29 |  | 16 | 20 | 0.028944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-1_0_5_line_30 |  | 17 | 50 | 0.031845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-1_0_5_line_31 |  | 17 | 23 | 0.032325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1058-1_0_5_line_32 |  | 17 | 44 | 0.036733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1058-1_0_5_line_33 |  | 18 | 53 | 0.0068352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-1_0_5_line_34 |  | 19 | 28 | 0.08366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1058-1_0_5_line_35 |  | 19 | 29 | 0.016599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-1_0_5_line_36 |  | 20 | 56 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-1_0_5_line_37 |  | 21 | 22 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-1_0_5_line_38 |  | 24 | 25 | 0.044378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-1_0_5_line_39 |  | 24 | 26 | 0.10927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-1_0_5_line_40 |  | 26 | 37 | 0.006306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-1_0_5_line_41 |  | 26 | 32 | 0.023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-1_0_5_line_42 |  | 28 | 54 | 0.007107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-1_0_5_line_43 |  | 31 | 36 | 0.025117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-1_0_5_line_44 |  | 31 | 38 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-1_0_5_line_45 |  | 32 | 33 | 0.056123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-1_0_5_line_46 |  | 33 | 38 | 0.034238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-1_0_5_line_47 |  | 34 | 35 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-1_0_5_line_48 |  | 34 | 36 | 0.028099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-1_0_5_line_49 |  | 39 | 57 | 0.024652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-1_0_5_line_50 |  | 41 | 42 | 0.004189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1058-1_0_5_line_51 |  | 43 | 58 | 0.029728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1058-1_0_5_line_52 |  | 44 | 45 | 0.042678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_1058-1_0_5_line_53 |  | 44 | 46 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-1_0_5_line_54 |  | 46 | 59 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-1_0_5_line_55 |  | 48 | 49 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-1_0_5_line_56 |  | 48 | 50 | 0.045688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1058-1_0_5_line_57 |  | 49 | 51 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-1_0_5_line_58 |  | 51 | 52 | 0.001602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-1_0_5_trafo_55 | 0.63 MVA 20/0.4 kV | 60 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2665973.2789 | 1207312.5454 | 2665977.9637 | 1207353.0663 | 2665980.7777 | 1207381.2285
1 | 2665973.2789 | 1207312.5454 | 2665969.2249 | 1207276.1702
2 | 2665967.6614 | 1207262.1416 | 2665969.2249 | 1207276.1702
3 | 2665870.3838 | 1207203.9323 | 2665878.0229 | 1207204.9172 | 2665881.7969 | 1207205.4036 | 2665881.1728 | 1207212.3453 | 2665899.1255 | 1207211.0649 | 2665913.3228 | 1207209.6874 | 2665924.2074 | 1207208.7403 | 2665928.2112 | 1207208.3843 | 2665962.2525 | 1207205.9365 | 2665963.6292 | 1207222.4173 | 2665964.6767 | 1207234.9698 | 2665965.0931 | 1207239.9552 | 2665967.6614 | 1207262.1416
4 | 2665870.3838 | 1207203.9323 | 2665870.7401 | 1207201.9684 | 2665870.9911 | 1207200.5814 | 2665874.7175 | 1207200.5558 | 2665876.4102 | 1207199.4627 | 2665877.8643 | 1207197.2441 | 2665879.3293 | 1207188.5216 | 2665881.9572 | 1207164.7028 | 2665882.7163 | 1207154.2842
5 | 2665870.3838 | 1207203.9323 | 2665852.8274 | 1207201.6817 | 2665852.2042 | 1207201.6902
6 | 2666002.4699 | 1207138.7288 | 2666004.1069 | 1207161.2273 | 2665999.2681 | 1207172.4473 | 2666001.5515 | 1207182.5787 | 2666007.0476 | 1207187.5536 | 2666008.2976 | 1207202.4209 | 2666011.4694 | 1207202.3448 | 2666009.5533 | 1207176.897 | 2666029.1739 | 1207174.7126 | 2666027.9325 | 1207157.0103 | 2666030.657 | 1207154.7613 | 2666045.1607 | 1207161.4369 | 2666062.4971 | 1207169.1445 | 2666077.6809 | 1207174.1488 | 2666077.9754 | 1207175.7086 | 2666082.1331 | 1207182.7478 | 2666089.092 | 1207192.9643 | 2666094.8414 | 1207203.9013 | 2666102.8619 | 1207222.6237 | 2666104.5099 | 1207227.6228 | 2666106.5632 | 1207238.5966 | 2666107.3946 | 1207250.7243 | 2666107.8252 | 1207255.7877 | 2666108.4187 | 1207268.1129 | 2666105.926 | 1207266.6066
7 | 2666002.4699 | 1207138.7288 | 2665964.1524 | 1207121.4171 | 2665958.6175 | 1207119.4408
8 | 2666105.926 | 1207266.6066 | 2666102.5344 | 1207264.5567 | 2666095.8704 | 1207263.4156 | 2666080.8607 | 1207263.0947
9 | 2666105.926 | 1207266.6066 | 2666108.4187 | 1207268.1129 | 2666108.2184 | 1207280.018 | 2666107.7972 | 1207304.9952 | 2666107.0071 | 1207335.8163 | 2666109.1435 | 1207335.8511 | 2666111.5764 | 1207335.8892
10 | 2666105.926 | 1207266.6066 | 2666108.4187 | 1207268.1129 | 2666115.3845 | 1207267.4007 | 2666116.8813 | 1207266.1388 | 2666118.1212 | 1207264.7294 | 2666117.9617 | 1207259.9025 | 2666115.9699 | 1207244.0708
11 | 2665907.8771 | 1207089.9655 | 2665942.1104 | 1207113.5467 | 2665958.6175 | 1207119.4408
12 | 2666082.7679 | 1207306.7192 | 2666089.858 | 1207307.1313 | 2666089.4359 | 1207338.379 | 2666089.5269 | 1207350.7653 | 2666102.7446 | 1207353.3576 | 2666102.5143 | 1207361.1042
13 | 2666102.5143 | 1207361.1042 | 2666102.7446 | 1207353.3576 | 2666103.2818 | 1207335.7528 | 2666104.1182 | 1207335.7621 | 2666107.0071 | 1207335.8163 | 2666109.1435 | 1207335.8511 | 2666111.5764 | 1207335.8892
14 | 2666048.0353 | 1207354.4974 | 2666064.29 | 1207354.7662 | 2666075.4303 | 1207354.745 | 2666082.7558 | 1207353.8144 | 2666086.92 | 1207352.015 | 2666089.5269 | 1207350.7653 | 2666102.7446 | 1207353.3576 | 2666102.5143 | 1207361.1042
15 | 2666101.9424 | 1207377.7303 | 2666102.1859 | 1207368.783 | 2666102.4205 | 1207364.0828 | 2666102.5143 | 1207361.1042
16 | 2666063.4969 | 1207311.0086 | 2666065.7354 | 1207310.0661 | 2666073.438 | 1207309.4176 | 2666082.7679 | 1207306.7192
17 | 2666117.1758 | 1207305.4437 | 2666111.3704 | 1207305.0681 | 2666110.3682 | 1207326.2032 | 2666110.3652 | 1207333.3409 | 2666111.5764 | 1207335.8892
18 | 2666110.9719 | 1207365.0669 | 2666111.0929 | 1207361.6884 | 2666111.4932 | 1207350.2637 | 2666111.755 | 1207338.3037 | 2666111.5764 | 1207335.8892
19 | 2666048.0353 | 1207354.4974 | 2666045.3288 | 1207354.4452 | 2666045.4655 | 1207359.2719 | 2666045.7872 | 1207372.1166 | 2666046.3962 | 1207383.7415 | 2666049.1785 | 1207405.1075 | 2666049.2495 | 1207405.5687
20 | 2666101.9424 | 1207377.7303 | 2666099.0598 | 1207375.0411 | 2666098.0588 | 1207374.1073 | 2666097.7126 | 1207373.781 | 2666097.6305 | 1207371.9574
21 | 2666100.1473 | 1207431.3208 | 2666101.409 | 1207392.9336 | 2666101.9424 | 1207377.7303
22 | 2666183.5866 | 1207370.2967 | 2666182.5815 | 1207373.8433 | 2666182.4847 | 1207375.7212 | 2666182.7155 | 1207377.5359 | 2666178.7405 | 1207377.3584
23 | 2666178.7405 | 1207377.3584 | 2666173.6933 | 1207377.1802 | 2666150.4104 | 1207376.3416
24 | 2666183.5866 | 1207370.2967 | 2666195.9801 | 1207368.6813
25 | 2666162.5764 | 1207370.2972 | 2666173.1812 | 1207370.5593 | 2666179.1749 | 1207370.4146 | 2666183.5866 | 1207370.2967
26 | 2665878.922 | 1207050.4442 | 2665879.0783 | 1207054.1927 | 2665880.5001 | 1207057.666 | 2665883.0322 | 1207060.4401 | 2665885.1159 | 1207061.8083 | 2665886.1625 | 1207065.511 | 2665887.7469 | 1207072.8441 | 2665885.596 | 1207072.7425 | 2665880.0019 | 1207072.4806 | 2665881.4488 | 1207075.743
27 | 2665860.6835 | 1207006.5941 | 2665876.0099 | 1207013.2005 | 2665886.4108 | 1207017.529 | 2665897.1097 | 1207023.7953 | 2665893.6754 | 1207029.0384 | 2665885.9538 | 1207038.2588 | 2665884.1726 | 1207042.5529 | 2665881.6481 | 1207044.6041 | 2665879.8386 | 1207047.3191 | 2665878.922 | 1207050.4442
28 | 2665878.922 | 1207050.4442 | 2665879.8386 | 1207047.3191 | 2665881.6481 | 1207044.6041 | 2665884.1726 | 1207042.5529 | 2665886.6406 | 1207041.4906 | 2665889.2918 | 1207041.0529 | 2665891.9661 | 1207041.2825 | 2665894.5038 | 1207042.1666 | 2665897.4989 | 1207044.3343 | 2665899.5944 | 1207047.3927 | 2665900.5359 | 1207050.9719 | 2665910.7411 | 1207050.9734 | 2665910.7162 | 1207049.7835 | 2665910.5814 | 1207042.7111 | 2665910.5673 | 1207041.9215
29 | 2665878.922 | 1207050.4442 | 2665851.6902 | 1207048.3759 | 2665850.056 | 1207048.3845
30 | 2665881.4488 | 1207075.743 | 2665876.3957 | 1207078.1443 | 2665866.947 | 1207081.2531 | 2665857.607 | 1207086.9202 | 2665853.5829 | 1207090.4891
31 | 2665881.4488 | 1207075.743 | 2665883.7712 | 1207080.9829 | 2665890.5367 | 1207080.5129 | 2665896.9864 | 1207083.1745 | 2665907.8771 | 1207089.9655
32 | 2665881.4488 | 1207075.743 | 2665883.7712 | 1207080.9829 | 2665885.5242 | 1207086.1276 | 2665885.7686 | 1207089.4768 | 2665885.5802 | 1207095.5229 | 2665884.9457 | 1207111.6701
33 | 2665860.6835 | 1207006.5941 | 2665855.3929 | 1207002.2665
34 | 2665910.5673 | 1207041.9215 | 2665907.557 | 1207041.8216 | 2665904.1796 | 1207040.5391 | 2665901.6511 | 1207038.8101 | 2665899.7428 | 1207036.71 | 2665898.6988 | 1207032.7739 | 2665899.0086 | 1207030.198 | 2665900.9221 | 1207025.6385 | 2665907.0742 | 1207017.368 | 2665915.8685 | 1207006.0471 | 2665919.7497 | 1207000.9646 | 2665929.752 | 1207009.0244 | 2665944.8317 | 1207013.1712
35 | 2665910.5673 | 1207041.9215 | 2665911.8445 | 1207041.9579 | 2665927.1384 | 1207041.0417
36 | 2665850.056 | 1207048.3845 | 2665826.4383 | 1207048.5078
37 | 2666100.1473 | 1207431.3208 | 2666099.2921 | 1207458.2558
38 | 2666167.6577 | 1207438.7175 | 2666211.8636 | 1207443.8773
39 | 2666137.8897 | 1207467.3718 | 2666137.7858 | 1207470.5726 | 2666142.0788 | 1207470.8648 | 2666157.7173 | 1207472.5057 | 2666207.9912 | 1207479.0113 | 2666211.8636 | 1207443.8773
40 | 2666137.8897 | 1207467.3718 | 2666138.0812 | 1207461.0701
41 | 2666113.9537 | 1207465.8725 | 2666124.2355 | 1207466.4534 | 2666137.8897 | 1207467.3718
42 | 2665949.4015 | 1207007.7184 | 2665944.8317 | 1207013.1712
43 | 2666110.9719 | 1207365.0669 | 2666112.943 | 1207367.657 | 2666114.5138 | 1207368.6417 | 2666118.0751 | 1207369.0925 | 2666134.4874 | 1207369.5486
44 | 2666110.5278 | 1207379.0706 | 2666110.5666 | 1207377.6257 | 2666110.7216 | 1207371.8683 | 2666110.9307 | 1207366.0337 | 2666110.9719 | 1207365.0669
45 | 2666113.9537 | 1207465.8725 | 2666112.4946 | 1207465.7896 | 2666110.4421 | 1207465.0553 | 2666108.8266 | 1207463.3031 | 2666108.3574 | 1207461.7302 | 2666108.2406 | 1207457.1706 | 2666108.933 | 1207428.9944 | 2666109.4696 | 1207413.2921
46 | 2666110.5278 | 1207379.0706 | 2666110.3313 | 1207386.5062 | 2666109.8218 | 1207402.9884 | 2666109.4696 | 1207413.2921
47 | 2666162.5764 | 1207370.2972 | 2666163.0355 | 1207345.3427
48 | 2666162.5764 | 1207370.2972 | 2666150.0179 | 1207369.9801 | 2666134.4874 | 1207369.5486
49 | 2666195.9801 | 1207368.6813 | 2666202.6092 | 1207367.8172 | 2666209.6487 | 1207365.2492 | 2666214.5925 | 1207363.0916 | 2666219.2902 | 1207361.159
50 | 2666115.9699 | 1207244.0708 | 2666120.1689 | 1207243.9394
51 | 2666051.1393 | 1207262.4591 | 2666080.8607 | 1207263.0947
52 | 2665884.9457 | 1207111.6701 | 2665883.9289 | 1207137.6414 | 2665882.7163 | 1207154.2842
53 | 2665884.9457 | 1207111.6701 | 2665880.3314 | 1207111.5191 | 2665871.2858 | 1207127.5996
54 | 2665859.4569 | 1207145.8602 | 2665868.0061 | 1207133.4298 | 2665871.2858 | 1207127.5996
55 | 2665829.7388 | 1207129.461 | 2665814.6274 | 1207119.3748
56 | 2665829.7388 | 1207129.461 | 2665853.5829 | 1207090.4891
57 | 2665800.8372 | 1207111.2759 | 2665813.7503 | 1207118.7894 | 2665814.6274 | 1207119.3748
58 | 2665801.7566 | 1207109.963 | 2665800.8372 | 1207111.2759

## bus_geodata
| x | y | coords
0 | 2665980.7777 | 1207381.2285
1 | 2665973.2789 | 1207312.5454
2 | 2665969.2249 | 1207276.1702
3 | 2665967.6614 | 1207262.1416
4 | 2665870.3838 | 1207203.9323
5 | 2666002.4699 | 1207138.7288
6 | 2666105.926 | 1207266.6066
7 | 2665958.6175 | 1207119.4408
8 | 2666102.5143 | 1207361.1042
9 | 2666082.7679 | 1207306.7192
10 | 2666111.5764 | 1207335.8892
11 | 2666048.0353 | 1207354.4974
12 | 2666101.9424 | 1207377.7302
13 | 2666178.7405 | 1207377.3584
14 | 2666183.5866 | 1207370.2967
15 | 2666150.4104 | 1207376.3416
16 | 2665878.922 | 1207050.4442
17 | 2665881.4488 | 1207075.743
18 | 2665860.6835 | 1207006.5941
19 | 2665910.5673 | 1207041.9215
20 | 2665850.056 | 1207048.3845
21 | 2666100.1473 | 1207431.3208
22 | 2666099.2921 | 1207458.2558
23 | 2665907.8771 | 1207089.9655
24 | 2666211.8636 | 1207443.8773
25 | 2666167.6577 | 1207438.7175
26 | 2666137.8897 | 1207467.3718
27 | 2666063.4969 | 1207311.0086
28 | 2665944.8317 | 1207013.1712
29 | 2665927.1384 | 1207041.0417
30 | 2666117.1758 | 1207305.4437
31 | 2666110.9719 | 1207365.0669
32 | 2666113.9537 | 1207465.8725
33 | 2666109.4696 | 1207413.2921
34 | 2666162.5764 | 1207370.2972
35 | 2666163.0355 | 1207345.3427
36 | 2666134.4874 | 1207369.5486
37 | 2666138.0812 | 1207461.0701
38 | 2666110.5278 | 1207379.0706
39 | 2666195.9801 | 1207368.6813
40 | 2666049.2495 | 1207405.5687
41 | 2666115.9699 | 1207244.0708
42 | 2666120.1689 | 1207243.9394
43 | 2666080.8607 | 1207263.0947
44 | 2665884.9457 | 1207111.6701
45 | 2665882.7163 | 1207154.2842
46 | 2665871.2858 | 1207127.5996
47 | 2665852.2042 | 1207201.6902
48 | 2665829.7388 | 1207129.461
49 | 2665814.6274 | 1207119.3748
50 | 2665853.5829 | 1207090.4891
51 | 2665800.8372 | 1207111.2759
52 | 2665801.7566 | 1207109.963
53 | 2665855.3929 | 1207002.2665
54 | 2665949.4015 | 1207007.7184
55 | 2666097.6305 | 1207371.9574
56 | 2665826.4383 | 1207048.5078
57 | 2666219.2902 | 1207361.159
58 | 2666051.1393 | 1207262.4591
59 | 2665859.4569 | 1207145.8602
60 | 2666036.5788 | 1207262.1478

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97003 | -0.57744 | 0.048386 | 0.012127
1 | 0.97065 | -0.56506 | 0 | 0
2 | 0.97098 | -0.55851 | 0.008104 | 0.002031
3 | 0.97113 | -0.55556 | 0 | 0
4 | 0.97278 | -0.52296 | 0 | 0
5 | 0.98087 | -0.36464 | 0 | 0
6 | 0.99427 | -0.10794 | 0 | 0
7 | 0.97867 | -0.40745 | 0.0099814 | 0.0025016
8 | 0.98458 | -0.29395 | 0 | 0
9 | 0.98361 | -0.31283 | 0 | 0
10 | 0.98762 | -0.2352 | 0 | 0
11 | 0.97916 | -0.39907 | 0 | 0
12 | 0.98321 | -0.32048 | 0 | 0
13 | 0.98241 | -0.33664 | 0 | 0
14 | 0.98246 | -0.33569 | 0 | 0
15 | 0.98229 | -0.33901 | 0.0046356 | 0.0011618
16 | 0.97381 | -0.50261 | 0 | 0
17 | 0.97464 | -0.4863 | 0 | 0
18 | 0.97321 | -0.51462 | 0 | 0
19 | 0.97294 | -0.51977 | 0 | 0
20 | 0.97324 | -0.51392 | 0.010001 | 0.0025066
21 | 0.97905 | -0.40154 | 0 | 0
22 | 0.97697 | -0.44253 | 0.083469 | 0.020919
23 | 0.97607 | -0.45835 | 0 | 0
24 | 0.98299 | -0.32533 | 0 | 0
25 | 0.98271 | -0.3309 | 0.0069565 | 0.0017435
26 | 0.9837 | -0.31162 | 0 | 0
27 | 0.98334 | -0.31803 | 0.014572 | 0.0036521
28 | 0.97195 | -0.53948 | 0 | 0
29 | 0.97251 | -0.52827 | 0.027772 | 0.0069604
30 | 0.98705 | -0.24631 | 0.016837 | 0.0042197
31 | 0.98562 | -0.27409 | 0 | 0
32 | 0.98398 | -0.30599 | 0 | 0
33 | 0.98466 | -0.29278 | 0.0084931 | 0.0021286
34 | 0.9832 | -0.32113 | 0 | 0
35 | 0.98303 | -0.32449 | 0.0074689 | 0.0018719
36 | 0.98439 | -0.29792 | 0.0069472 | 0.0017411
37 | 0.98366 | -0.31232 | 0.0061173 | 0.0015332
38 | 0.98534 | -0.27951 | 0 | 0
39 | 0.98207 | -0.34331 | 0.0065251 | 0.0016353
40 | 0.97456 | -0.48954 | 0.091663 | 0.022973
41 | 0.99386 | -0.11602 | 0 | 0
42 | 0.9938 | -0.117 | 0.013261 | 0.0033236
43 | 0.99688 | -0.058581 | 0.018187 | 0.0045581
44 | 0.97406 | -0.49769 | 0 | 0
45 | 0.97347 | -0.50946 | 0.0083724 | 0.0020983
46 | 0.97386 | -0.50168 | 0.0065641 | 0.0016451
47 | 0.97261 | -0.52637 | 0.010091 | 0.0025291
48 | 0.97325 | -0.51371 | 0 | 0
49 | 0.97305 | -0.5177 | 0.0057662 | 0.0014451
50 | 0.97376 | -0.50366 | 0.017717 | 0.0044404
51 | 0.97296 | -0.51953 | 0 | 0
52 | 0.97295 | -0.51971 | 0.0061897 | 0.0015513
53 | 0.97315 | -0.51574 | 0.0089358 | 0.0022395
54 | 0.97152 | -0.54786 | 0.063897 | 0.016014
55 | 0.98317 | -0.32118 | 0.0050668 | 0.0012699
56 | 0.97299 | -0.51882 | 0.011254 | 0.0028204
57 | 0.98145 | -0.35545 | 0.027231 | 0.0068248
58 | 1 | 0 | -0.57721 | -0.14893
59 | 0.9738 | -0.50282 | 0.0028487 | 0.00071394
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048386 | -0.012127 | 0.048414 | 0.012141 | 2.8548e-05 | 1.4003e-05 | 0.074223 | 0.074222 | 0.074223 | 0.97003 | -0.57744 | 0.97065 | -0.56506 | 4.0782
1 | -0.048414 | -0.012141 | 0.048429 | 0.012148 | 1.5122e-05 | 7.4152e-06 | 0.074222 | 0.074221 | 0.074222 | 0.97065 | -0.56506 | 0.97098 | -0.55851 | 4.0781
2 | -0.056533 | -0.014179 | 0.056541 | 0.014183 | 7.9468e-06 | 4.2129e-06 | 0.08664 | 0.08664 | 0.08664 | 0.97098 | -0.55851 | 0.97113 | -0.55556 | 4.7604
3 | -0.056541 | -0.014183 | 0.056629 | 0.01423 | 8.7983e-05 | 4.6624e-05 | 0.08664 | 0.086636 | 0.08664 | 0.97113 | -0.55556 | 0.97278 | -0.52296 | 4.7604
4 | -0.066722 | -0.01676 | 0.066765 | 0.016784 | 4.3021e-05 | 2.4114e-05 | 0.10208 | 0.10207 | 0.10208 | 0.97278 | -0.52296 | 0.97347 | -0.50946 | 5.6085
5 | 0.010093 | 0.0025299 | -0.010091 | -0.0025291 | 1.6378e-06 | 8.2076e-07 | 0.015439 | 0.015439 | 0.015439 | 0.97278 | -0.52296 | 0.97261 | -0.52637 | 4.2414
6 | -0.24788 | -0.062853 | 0.25098 | 0.064818 | 0.0031 | 0.0019654 | 0.3763 | 0.3763 | 0.3763 | 0.98087 | -0.36464 | 0.99427 | -0.10794 | 20.6761
7 | 0.24788 | 0.062853 | -0.24737 | -0.06253 | 0.00050897 | 0.00032272 | 0.3763 | 0.37631 | 0.37631 | 0.98087 | -0.36464 | 0.97867 | -0.40745 | 20.6761
8 | -0.5544 | -0.14247 | 0.55573 | 0.14332 | 0.0013328 | 0.00085135 | 0.83096 | 0.83096 | 0.83096 | 0.99427 | -0.10794 | 0.99688 | -0.058581 | 45.6572
9 | 0.29015 | 0.074327 | -0.28837 | -0.073192 | 0.0017772 | 0.0011345 | 0.43481 | 0.43481 | 0.43481 | 0.99427 | -0.10794 | 0.98762 | -0.2352 | 39.8177
10 | 0.013267 | 0.0033267 | -0.013262 | -0.0033239 | 5.1059e-06 | 2.8201e-06 | 0.019856 | 0.019856 | 0.019856 | 0.99427 | -0.10794 | 0.99386 | -0.11602 | 5.4549
11 | 0.23739 | 0.060029 | -0.23681 | -0.059663 | 0.00057804 | 0.00036624 | 0.36113 | 0.36113 | 0.36113 | 0.97867 | -0.40745 | 0.97607 | -0.45835 | 19.8424
12 | 0.014589 | 0.0036616 | -0.014576 | -0.0036541 | 1.312e-05 | 7.4827e-06 | 0.02205 | 0.02205 | 0.02205 | 0.98458 | -0.29395 | 0.98361 | -0.31283 | 6.0578
13 | -0.19625 | -0.049758 | 0.19681 | 0.050113 | 0.00055596 | 0.00035496 | 0.29681 | 0.29681 | 0.29681 | 0.98458 | -0.29395 | 0.98762 | -0.2352 | 40.7701
14 | 0.092526 | 0.023524 | -0.09206 | -0.023226 | 0.00046591 | 0.00029738 | 0.13996 | 0.13996 | 0.13996 | 0.98458 | -0.29395 | 0.97916 | -0.39907 | 38.4496
15 | 0.089138 | 0.022573 | -0.089024 | -0.022501 | 0.00011339 | 7.2356e-05 | 0.1348 | 0.1348 | 0.1348 | 0.98458 | -0.29395 | 0.98321 | -0.32048 | 37.0329
16 | 0.014576 | 0.0036541 | -0.014572 | -0.0036521 | 3.6133e-06 | 2.061e-06 | 0.02205 | 0.022051 | 0.022051 | 0.98361 | -0.31283 | 0.98334 | -0.31803 | 6.0578
17 | 0.016846 | 0.0042249 | -0.016837 | -0.0042197 | 8.9202e-06 | 5.2367e-06 | 0.025382 | 0.025382 | 0.025382 | 0.98762 | -0.2352 | 0.98705 | -0.24631 | 6.9731
18 | 0.074719 | 0.018854 | -0.07458 | -0.018766 | 0.00013887 | 8.8504e-05 | 0.11262 | 0.11262 | 0.11262 | 0.98762 | -0.2352 | 0.98562 | -0.27409 | 30.9403
19 | 0.09206 | 0.023226 | -0.091663 | -0.022973 | 0.00039694 | 0.00025336 | 0.13996 | 0.13996 | 0.13996 | 0.97916 | -0.39907 | 0.97456 | -0.48954 | 38.4497
20 | 0.005067 | 0.0012699 | -0.0050668 | -0.0012699 | 1.6787e-07 | 1.0898e-08 | 0.0076685 | 0.0076686 | 0.0076686 | 0.98321 | -0.32048 | 0.98317 | -0.32118 | 2.1068
21 | 0.083957 | 0.021231 | -0.083632 | -0.021023 | 0.00032506 | 0.00020736 | 0.12713 | 0.12713 | 0.12713 | 0.98321 | -0.32048 | 0.97905 | -0.40154 | 34.9262
22 | -0.0046361 | -0.0011618 | 0.0046363 | 0.0011618 | 2.1013e-07 | -9.4137e-09 | 0.007022 | 0.007022 | 0.007022 | 0.98241 | -0.33664 | 0.98246 | -0.33569 | 1.9291
23 | 0.0046361 | 0.0011618 | -0.0046356 | -0.0011618 | 5.242e-07 | -2.3412e-08 | 0.007022 | 0.0070222 | 0.0070222 | 0.98241 | -0.33664 | 0.98229 | -0.33901 | 1.9292
24 | 0.033784 | 0.0084776 | -0.033772 | -0.0084699 | 1.2273e-05 | 7.6968e-06 | 0.051173 | 0.051173 | 0.051173 | 0.98246 | -0.33569 | 0.98207 | -0.34331 | 14.0585
25 | -0.038421 | -0.0096394 | 0.038447 | 0.0096562 | 2.6691e-05 | 1.6816e-05 | 0.058195 | 0.058195 | 0.058195 | 0.98246 | -0.33569 | 0.9832 | -0.32113 | 15.9876
26 | -0.12205 | -0.030654 | 0.12215 | 0.030712 | 9.5046e-05 | 5.8561e-05 | 0.18652 | 0.18652 | 0.18652 | 0.97381 | -0.50261 | 0.97464 | -0.4863 | 10.2485
27 | 0.0089414 | 0.0022421 | -0.0089363 | -0.0022397 | 5.1154e-06 | 2.3654e-06 | 0.013663 | 0.013663 | 0.013663 | 0.97381 | -0.50261 | 0.97321 | -0.51462 | 3.7537
28 | 0.091842 | 0.023076 | -0.091767 | -0.023031 | 7.518e-05 | 4.4953e-05 | 0.14036 | 0.14036 | 0.14036 | 0.97381 | -0.50261 | 0.97294 | -0.51977 | 7.712
29 | 0.021269 | 0.0053353 | -0.021258 | -0.0053284 | 1.1466e-05 | 6.9782e-06 | 0.032501 | 0.032502 | 0.032502 | 0.97381 | -0.50261 | 0.97324 | -0.51392 | 8.929
30 | 0.029706 | 0.0074566 | -0.029682 | -0.0074413 | 2.4568e-05 | 1.5327e-05 | 0.045358 | 0.045358 | 0.045358 | 0.97464 | -0.4863 | 0.97376 | -0.50366 | 12.4609
31 | -0.23649 | -0.059462 | 0.23681 | 0.059663 | 0.00031618 | 0.00020034 | 0.36113 | 0.36113 | 0.36113 | 0.97464 | -0.4863 | 0.97607 | -0.45835 | 19.8424
32 | 0.08464 | 0.021294 | -0.084594 | -0.021266 | 4.6026e-05 | 2.7169e-05 | 0.12925 | 0.12925 | 0.12925 | 0.97464 | -0.4863 | 0.97406 | -0.49769 | 7.1018
33 | 0.0089363 | 0.0022397 | -0.0089358 | -0.0022395 | 4.7853e-07 | 2.2133e-07 | 0.013663 | 0.013664 | 0.013664 | 0.97321 | -0.51462 | 0.97315 | -0.51574 | 3.7537
34 | 0.063983 | 0.016064 | -0.063923 | -0.01603 | 6.0096e-05 | 3.3272e-05 | 0.097866 | 0.097867 | 0.097867 | 0.97294 | -0.51977 | 0.97195 | -0.53948 | 5.3773
35 | 0.027784 | 0.0069674 | -0.027772 | -0.0069604 | 1.124e-05 | 6.9874e-06 | 0.042494 | 0.042494 | 0.042494 | 0.97294 | -0.51977 | 0.97251 | -0.52827 | 11.6741
36 | 0.011256 | 0.0028218 | -0.011254 | -0.0028204 | 2.6233e-06 | 1.3855e-06 | 0.01721 | 0.01721 | 0.01721 | 0.97324 | -0.51392 | 0.97299 | -0.51882 | 4.7281
37 | 0.083632 | 0.021023 | -0.083469 | -0.020919 | 0.00016333 | 0.00010419 | 0.12713 | 0.12713 | 0.12713 | 0.97905 | -0.40154 | 0.97697 | -0.44253 | 34.9263
38 | 0.0069584 | 0.0017441 | -0.0069565 | -0.0017435 | 1.8465e-06 | 6.1932e-07 | 0.010533 | 0.010534 | 0.010534 | 0.98299 | -0.32533 | 0.98271 | -0.3309 | 2.8938
39 | -0.0069584 | -0.0017441 | 0.0069629 | 0.0017456 | 4.5461e-06 | 1.5233e-06 | 0.010533 | 0.010533 | 0.010533 | 0.98299 | -0.32533 | 0.9837 | -0.31162 | 2.8938
40 | 0.0061175 | 0.0015332 | -0.0061173 | -0.0015332 | 2.025e-07 | 4.9551e-08 | 0.0092539 | 0.0092539 | 0.0092539 | 0.9837 | -0.31162 | 0.98366 | -0.31232 | 2.5423
41 | -0.01308 | -0.0032788 | 0.013084 | 0.0032808 | 3.5108e-06 | 1.9433e-06 | 0.019787 | 0.019787 | 0.019787 | 0.9837 | -0.31162 | 0.98398 | -0.30599 | 5.4359
42 | 0.063923 | 0.01603 | -0.063897 | -0.016014 | 2.5527e-05 | 1.6249e-05 | 0.097867 | 0.097867 | 0.097867 | 0.97195 | -0.53948 | 0.97152 | -0.54786 | 26.8867
43 | 0.052976 | 0.01334 | -0.052916 | -0.013302 | 6.0284e-05 | 3.8262e-05 | 0.080002 | 0.080002 | 0.080002 | 0.98562 | -0.27409 | 0.98439 | -0.29792 | 21.9785
44 | 0.021605 | 0.0054256 | -0.021599 | -0.0054222 | 5.591e-06 | 3.3997e-06 | 0.032621 | 0.032621 | 0.032621 | 0.98562 | -0.27409 | 0.98534 | -0.27951 | 8.9618
45 | -0.013084 | -0.0032808 | 0.013092 | 0.0032853 | 8.2397e-06 | 4.56e-06 | 0.019787 | 0.019786 | 0.019787 | 0.98398 | -0.30599 | 0.98466 | -0.29278 | 5.4359
46 | -0.021585 | -0.0054139 | 0.021599 | 0.0054222 | 1.3663e-05 | 8.3083e-06 | 0.032621 | 0.032621 | 0.032621 | 0.98466 | -0.29278 | 0.98534 | -0.27951 | 8.9618
47 | 0.0074701 | 0.0018723 | -0.0074689 | -0.0018719 | 1.1966e-06 | 4.4926e-07 | 0.011306 | 0.011306 | 0.011306 | 0.9832 | -0.32113 | 0.98303 | -0.32449 | 3.106
48 | -0.045918 | -0.011529 | 0.045968 | 0.011561 | 5.0898e-05 | 3.2218e-05 | 0.069501 | 0.0695 | 0.069501 | 0.9832 | -0.32113 | 0.98439 | -0.29792 | 19.0936
49 | 0.027247 | 0.0068346 | -0.027231 | -0.0068248 | 1.5758e-05 | 9.7734e-06 | 0.041286 | 0.041286 | 0.041286 | 0.98207 | -0.34331 | 0.98145 | -0.35545 | 11.3424
50 | 0.013262 | 0.0033239 | -0.013261 | -0.0033236 | 6.1933e-07 | 3.4209e-07 | 0.019856 | 0.019856 | 0.019856 | 0.99386 | -0.11602 | 0.9938 | -0.117 | 5.4549
51 | -0.57392 | -0.14788 | 0.57556 | 0.14893 | 0.0016418 | 0.0010488 | 0.85811 | 0.85811 | 0.85811 | 0.99688 | -0.058581 | 1 | 0 | 47.1488
52 | 0.07518 | 0.018907 | -0.075137 | -0.018882 | 4.2237e-05 | 2.4377e-05 | 0.11487 | 0.11487 | 0.11487 | 0.97406 | -0.49769 | 0.97347 | -0.50946 | 6.3116
53 | 0.0094147 | 0.0023598 | -0.0094129 | -0.0023589 | 1.7893e-06 | 8.5808e-07 | 0.014382 | 0.014382 | 0.014382 | 0.97406 | -0.49769 | 0.97386 | -0.50168 | 3.9512
54 | 0.0028488 | 0.00071377 | -0.0028487 | -0.00071394 | 1.5472e-07 | -1.7191e-07 | 0.0043528 | 0.0043529 | 0.0043529 | 0.97386 | -0.50168 | 0.9738 | -0.50282 | 1.1958
55 | 0.011959 | 0.0029978 | -0.011957 | -0.0029966 | 2.2777e-06 | 1.232e-06 | 0.018284 | 0.018284 | 0.018284 | 0.97325 | -0.51371 | 0.97305 | -0.5177 | 5.0231
56 | -0.011959 | -0.0029978 | 0.011965 | 0.0030009 | 5.7276e-06 | 3.0976e-06 | 0.018284 | 0.018284 | 0.018284 | 0.97325 | -0.51371 | 0.97376 | -0.50366 | 5.0231
57 | 0.0061903 | 0.0015515 | -0.0061898 | -0.0015513 | 5.375e-07 | 1.4534e-07 | 0.0094664 | 0.0094665 | 0.0094665 | 0.97305 | -0.5177 | 0.97296 | -0.51953 | 2.6007
58 | 0.0061898 | 0.0015513 | -0.0061897 | -0.0015513 | 5.3836e-08 | 1.4559e-08 | 0.0094665 | 0.0094665 | 0.0094665 | 0.97296 | -0.51953 | 0.97295 | -0.51971 | 2.6007

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59122 | 0.15244

## res_load
| p_mw | q_mvar
0 | 0.048386 | 0.012127
1 | 0.008104 | 0.002031
2 | 0.0099814 | 0.0025016
3 | 0.0046356 | 0.0011618
4 | 0.010001 | 0.0025066
5 | 0.083469 | 0.020919
6 | 0.0069565 | 0.0017435
7 | 0.014572 | 0.0036521
8 | 0.027772 | 0.0069604
9 | 0.016837 | 0.0042197
10 | 0.0084931 | 0.0021286
11 | 0.0074689 | 0.0018719
12 | 0.0069472 | 0.0017411
13 | 0.0061173 | 0.0015332
14 | 0.0065251 | 0.0016353
15 | 0.091663 | 0.022973
16 | 0.013261 | 0.0033236
17 | 0.018187 | 0.0045581
18 | 0.0083724 | 0.0020983
19 | 0.0065641 | 0.0016451
20 | 0.010091 | 0.0025291
21 | 0.0057662 | 0.0014451
22 | 0.017717 | 0.0044404
23 | 0.0061897 | 0.0015513
24 | 0.0089358 | 0.0022395
25 | 0.063897 | 0.016014
26 | 0.0050668 | 0.0012699
27 | 0.011254 | 0.0028204
28 | 0.027231 | 0.0068248
29 | 0.014013 | 0.0035121
30 | 0.0028487 | 0.00071394

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1