## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-21_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1058-21_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1058-21_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1058-21_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1058-21_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1058-21_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1058-21_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_1058-21_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1058-21_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1058-21_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1058-21_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1058-21_0_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_1058-21_0_3_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1058-21_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1058-21_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1058-21_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1058-21_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_1058-21_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1058-21_0_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_1058-21_0_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_1058-21_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1058-21_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1058-21_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1058-21_0_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_1058-21_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1058-21_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1058-21_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1058-21_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1058-21_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1058-21_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1058-21_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1058-21_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1058-21_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1058-21_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1058-21_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1058-21_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1058-21_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1058-21_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1058-21_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1058-21_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_1058-21_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1058-21_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1058-21_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_1058-21_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1058-21_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1058-21_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1058-21_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1058-21_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1058-21_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1058-21_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1058-21_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_1058-21_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_1058-21_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1058-21_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1058-21_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_MV_23_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-21_0_3_load_0 | 0 | 0.012054 | 0.003021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-21_0_3_load_35 | 6 | 0.039894 | 0.0099983 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-21_0_3_load_48 | 9 | 0.006504 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-21_0_3_load_52 | 11 | 0.0016594 | 0.00041589 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-21_0_3_load_49 | 14 | 0.017996 | 0.0045102 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-21_0_3_load_46 | 15 | 0.0041723 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-21_0_3_load_36 | 16 | 0.015818 | 0.0039645 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-21_0_3_load_60 | 19 | 0.029076 | 0.007287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-21_0_3_load_58 | 21 | 0.00062241 | 0.00015599 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-21_0_3_load_59 | 22 | 0.002181 | 0.00054661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-21_0_3_load_57 | 24 | 0.01228 | 0.0030776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-21_0_3_load_55 | 26 | 0.024818 | 0.00622 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-21_0_3_load_39 | 28 | 0.0083541 | 0.0020937 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-21_0_3_load_31 | 30 | 0.0076713 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-21_0_3_load_37 | 31 | 0.0043402 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-21_0_3_load_42 | 33 | 0.0058771 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-21_0_3_load_56 | 36 | 0.007915 | 0.0019837 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-21_0_3_load_40 | 38 | 0.0036943 | 0.00092588 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-21_0_3_load_45 | 40 | 0.066793 | 0.01674 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-21_0_3_load_38 | 43 | 0.011449 | 0.0028695 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-21_0_3_load_33 | 44 | 0.017037 | 0.0042699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-21_0_3_load_61 | 45 | 0.022446 | 0.0056256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-21_0_3_load_50 | 46 | 0.0038396 | 0.00096229 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-21_0_3_load_34 | 48 | 0.03388 | 0.0084912 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-21_0_3_load_47 | 49 | 0.010182 | 0.0025518 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-21_0_3_load_54 | 50 | 0.0021316 | 0.00053423 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-21_0_3_load_29 | 52 | 0.0051606 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-21_0_3_load_28 | 53 | 0.0074802 | 0.0018747 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-21_0_3_load_30 | 54 | 0.0071718 | 0.0017974 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-21_0_3_load_32 | 55 | 0.016559 | 0.0041501 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-21_0_3_load_43 | 56 | 0.017818 | 0.0044656 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-21_0_3_load_44 | 57 | 0.018322 | 0.004592 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-21_0_3_line_0 |  | 0 | 1 | 0.050668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-21_0_3_line_1 |  | 0 | 2 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-21_0_3_line_2 |  | 1 | 3 | 0.046198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-21_0_3_line_3 |  | 2 | 4 | 0.03681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-21_0_3_line_4 |  | 3 | 22 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-21_0_3_line_5 |  | 3 | 18 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-21_0_3_line_6 |  | 4 | 10 | 0.042012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-21_0_3_line_7 |  | 4 | 11 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-21_0_3_line_8 |  | 5 | 6 | 0.036237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1058-21_0_3_line_9 |  | 5 | 7 | 0.015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1058-21_0_3_line_10 |  | 6 | 47 | 0.039743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1058-21_0_3_line_11 |  | 7 | 8 | 0.039684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1058-21_0_3_line_12 |  | 7 | 9 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-21_0_3_line_13 |  | 8 | 28 | 0.010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-21_0_3_line_14 |  | 8 | 29 | 0.05388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-21_0_3_line_15 |  | 8 | 30 | 0.011916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-21_0_3_line_16 |  | 8 | 31 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1058-21_0_3_line_17 |  | 9 | 49 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-21_0_3_line_18 |  | 10 | 16 | 0.066638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1058-21_0_3_line_19 |  | 10 | 17 | 0.035307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1058-21_0_3_line_20 |  | 11 | 27 | 0.018221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-21_0_3_line_21 |  | 12 | 13 | 0.0213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-21_0_3_line_22 |  | 12 | 14 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-21_0_3_line_23 |  | 12 | 15 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-21_0_3_line_24 |  | 13 | 46 | 0.037196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-21_0_3_line_25 |  | 15 | 49 | 0.03149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-21_0_3_line_26 |  | 16 | 47 | 0.055116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1058-21_0_3_line_27 |  | 17 | 44 | 0.04586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1058-21_0_3_line_28 |  | 17 | 39 | 0.066415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-21_0_3_line_29 |  | 18 | 19 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-21_0_3_line_30 |  | 20 | 21 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-21_0_3_line_31 |  | 20 | 22 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-21_0_3_line_32 |  | 20 | 23 | 0.015049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-21_0_3_line_33 |  | 23 | 24 | 0.022939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-21_0_3_line_34 |  | 25 | 26 | 0.026192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-21_0_3_line_35 |  | 25 | 27 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-21_0_3_line_36 |  | 26 | 34 | 0.029775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-21_0_3_line_37 |  | 27 | 51 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-21_0_3_line_38 |  | 29 | 32 | 0.043354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-21_0_3_line_39 |  | 29 | 33 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-21_0_3_line_40 |  | 30 | 52 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-21_0_3_line_41 |  | 31 | 43 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1058-21_0_3_line_42 |  | 32 | 37 | 0.088038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-21_0_3_line_43 |  | 34 | 35 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-21_0_3_line_44 |  | 35 | 36 | 0.021498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-21_0_3_line_45 |  | 37 | 38 | 0.034742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-21_0_3_line_46 |  | 39 | 40 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-21_0_3_line_47 |  | 41 | 42 | 0.043019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1058-21_0_3_line_48 |  | 41 | 43 | 0.041509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1058-21_0_3_line_49 |  | 42 | 45 | 0.025564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-21_0_3_line_50 |  | 44 | 48 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1058-21_0_3_line_51 |  | 47 | 56 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1058-21_0_3_line_52 |  | 50 | 51 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-21_0_3_line_53 |  | 52 | 53 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-21_0_3_line_54 |  | 53 | 54 | 0.0076439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-21_0_3_line_55 |  | 54 | 55 | 0.0088756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-21_0_3_line_56 |  | 56 | 57 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-21_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 58 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2666410.5761 | 1207945.7348 | 2666410.2522 | 1207946.8208 | 2666410.2659 | 1207949.6893 | 2666413.3478 | 1207958.3511 | 2666415.6302 | 1207962.3234 | 2666417.6804 | 1207963.9361 | 2666419.4755 | 1207964.5564 | 2666422.4885 | 1207964.3676 | 2666445.7905 | 1207955.0211 | 2666446.0308 | 1207954.9286
1 | 2666454.6216 | 1207955.3863 | 2666453.251 | 1207952.1469 | 2666446.0308 | 1207954.9286
2 | 2666401.1754 | 1207902.2592 | 2666399.4181 | 1207911.223 | 2666399.6079 | 1207911.9366 | 2666400.9001 | 1207916.7539 | 2666401.4799 | 1207924.0982 | 2666401.7492 | 1207928.5928 | 2666403.6394 | 1207932.2828 | 2666408.3128 | 1207943.4527 | 2666410.5761 | 1207945.7348
3 | 2666428.6483 | 1207975.1983 | 2666428.6975 | 1207974.1982 | 2666428.8351 | 1207971.398 | 2666429.0175 | 1207967.9869 | 2666429.0663 | 1207967.0202 | 2666430.0158 | 1207965.0517 | 2666454.6216 | 1207955.3863
4 | 2666401.1754 | 1207902.2592 | 2666406.3414 | 1207901.2828 | 2666411.6772 | 1207900.0226
5 | 2666387.8143 | 1207907.8919 | 2666387.9501 | 1207907.3042 | 2666388.8843 | 1207903.301 | 2666393.0494 | 1207903.4363 | 2666401.4692 | 1207899.0939 | 2666401.1754 | 1207902.2592
6 | 2666398.001 | 1207959.3144 | 2666399.2135 | 1207958.9943 | 2666401.6156 | 1207958.3651 | 2666405.7433 | 1207968.6951 | 2666411.749 | 1207970.1517 | 2666416.8336 | 1207971.0199 | 2666428.8351 | 1207971.398 | 2666428.6975 | 1207974.1982 | 2666428.6483 | 1207975.1983
7 | 2666428.6483 | 1207975.1983 | 2666428.9846 | 1207990.8786
8 | 2666320.618 | 1208106.0106 | 2666327.3279 | 1208108.3977 | 2666331.7435 | 1208108.5691 | 2666345.5503 | 1208101.785 | 2666348.6815 | 1208093.0145
9 | 2666314.8908 | 1208120.5559 | 2666316.3915 | 1208116.8814 | 2666320.618 | 1208106.0106
10 | 2666381.4048 | 1208070.5422 | 2666360.7975 | 1208085.8114 | 2666348.6815 | 1208093.0145
11 | 2666307.2195 | 1208095.2108 | 2666314.8912 | 1208097.2639 | 2666308.7553 | 1208116.4297 | 2666316.3915 | 1208116.8814 | 2666314.8908 | 1208120.5559
12 | 2666314.8908 | 1208120.5559 | 2666323.2293 | 1208122.1272 | 2666329.6304 | 1208121.5091
13 | 2666307.2195 | 1208095.2108 | 2666310.4162 | 1208085.2058
14 | 2666307.2195 | 1208095.2108 | 2666314.8912 | 1208097.2639 | 2666313.8789 | 1208083.6777 | 2666323.5507 | 1208052.844
15 | 2666307.2195 | 1208095.2108 | 2666295.709 | 1208092.1305
16 | 2666307.2195 | 1208095.2108 | 2666308.2543 | 1208097.2012 | 2666304.168 | 1208109.1924
17 | 2666329.6304 | 1208121.5091 | 2666347.8038 | 1208109.821
18 | 2666398.001 | 1207959.3144 | 2666402.4432 | 1207974.8621 | 2666404.1456 | 1207984.4981 | 2666404.3601 | 1207995.2848 | 2666403.9999 | 1208002.374 | 2666401.0999 | 1208012.9038 | 2666398.5944 | 1208024.5102
19 | 2666364.0833 | 1207967.4311 | 2666365.0551 | 1207968.2424 | 2666380.6361 | 1207963.9908 | 2666387.0888 | 1207962.1725 | 2666395.4693 | 1207959.9755 | 2666397.3986 | 1207959.4744 | 2666398.001 | 1207959.3144
20 | 2666423.9578 | 1208007.2323 | 2666424.2569 | 1207998.119 | 2666429.0287 | 1207992.9356 | 2666428.9846 | 1207990.8786
21 | 2666401.1222 | 1208104.5045 | 2666396.9191 | 1208097.5424 | 2666387.0333 | 1208088.8049
22 | 2666387.0333 | 1208088.8049 | 2666389.4443 | 1208085.3184 | 2666389.375 | 1208083.3498 | 2666389.8934 | 1208081.8546 | 2666393.658 | 1208075.6149 | 2666396.2863 | 1208070.3631
23 | 2666387.0333 | 1208088.8049 | 2666384.9236 | 1208091.8611 | 2666381.5465 | 1208091.2898 | 2666376.5232 | 1208092.4458 | 2666374.5875 | 1208093.3326
24 | 2666401.1222 | 1208104.5045 | 2666401.861 | 1208111.2279 | 2666400.376 | 1208116.9037 | 2666390.6778 | 1208139.4738
25 | 2666374.5875 | 1208093.3326 | 2666370.6005 | 1208095.1594 | 2666347.8038 | 1208109.821
26 | 2666381.4048 | 1208070.5422 | 2666386.8359 | 1208072.3815 | 2666390.0933 | 1208063.8903 | 2666398.5944 | 1208024.5102
27 | 2666364.0833 | 1207967.4311 | 2666356.8685 | 1207991.2877 | 2666351.4189 | 1208008.2042 | 2666350.4909 | 1208011.2283
28 | 2666353.0874 | 1207994.2253 | 2666358.9728 | 1207975.7238 | 2666356.8967 | 1207961.4031 | 2666359.3361 | 1207951.9467 | 2666363.5912 | 1207952.8834 | 2666365.859 | 1207953.3867 | 2666363.1079 | 1207962.8397 | 2666365.1388 | 1207963.4515 | 2666364.0833 | 1207967.4311
29 | 2666387.8143 | 1207907.8919 | 2666382.6239 | 1207930.2034
30 | 2666424.3326 | 1207907.987 | 2666424.918 | 1207895.0189
31 | 2666424.918 | 1207895.0189 | 2666420.105 | 1207897.0666 | 2666412.4555 | 1207899.8388 | 2666411.6772 | 1207900.0226
32 | 2666438.8733 | 1207889.2929 | 2666432.4507 | 1207891.8119 | 2666424.918 | 1207895.0189
33 | 2666438.8733 | 1207889.2929 | 2666447.8466 | 1207885.7684 | 2666460.1808 | 1207880.7965
34 | 2666447.6147 | 1208012.4321 | 2666442.3866 | 1208038.0971
35 | 2666423.9578 | 1208007.2323 | 2666447.6147 | 1208012.4321
36 | 2666464.4643 | 1208054.6899 | 2666458.0989 | 1208054.1409 | 2666441.9926 | 1208040.0308 | 2666442.3866 | 1208038.0971
37 | 2666423.9578 | 1208007.2323 | 2666410.1459 | 1208004.1991
38 | 2666323.5507 | 1208052.844 | 2666335.4776 | 1208014.7866 | 2666332.3075 | 1208013.3728
39 | 2666323.5507 | 1208052.844 | 2666318.6059 | 1208049.6649 | 2666305.8247 | 1208044.8867 | 2666303.1728 | 1208043.3675 | 2666303.4986 | 1208040.7362
40 | 2666295.709 | 1208092.1305 | 2666280.4977 | 1208088.0599
41 | 2666304.168 | 1208109.1924 | 2666300.6149 | 1208119.619 | 2666297.6071 | 1208128.652
42 | 2666332.3075 | 1208013.3728 | 2666305.0028 | 1208001.162 | 2666285.3794 | 1207993.5617 | 2666281.6609 | 1207992.2307 | 2666268.7951 | 1207987.5295 | 2666260.1078 | 1207983.8086 | 2666257.1582 | 1207993.3483
43 | 2666464.4643 | 1208054.6899 | 2666464.904 | 1208050.7146 | 2666465.0901 | 1208044.246
44 | 2666465.0901 | 1208044.246 | 2666465.3249 | 1208036.1326 | 2666465.3322 | 1208022.7511
45 | 2666257.1582 | 1207993.3483 | 2666252.2841 | 1208009.1261 | 2666257.7476 | 1208012.8446 | 2666253.0123 | 1208023.4555
46 | 2666353.0874 | 1207994.2253 | 2666372.4999 | 1207996.5393
47 | 2666282.3401 | 1208167.2341 | 2666255.4232 | 1208154.3941 | 2666243.5113 | 1208148.7141
48 | 2666282.3401 | 1208167.2341 | 2666284.5061 | 1208162.5219 | 2666289.1314 | 1208151.3442 | 2666296.6978 | 1208131.3827 | 2666297.6071 | 1208128.652
49 | 2666243.5113 | 1208148.7141 | 2666251.8737 | 1208129.6396 | 2666249.134 | 1208125.7624
50 | 2666350.4909 | 1208011.2283 | 2666346.8116 | 1208023.2177 | 2666342.4366 | 1208037.632
51 | 2666381.4048 | 1208070.5422 | 2666370.0941 | 1208066.8587 | 2666369.2132 | 1208066.5785
52 | 2666410.1459 | 1208004.1991 | 2666410.9498 | 1207997.5484 | 2666411.1883 | 1207993.204 | 2666411.0785 | 1207985.2548
53 | 2666267.6579 | 1208083.7645 | 2666267.6579 | 1208083.7645 | 2666269.4223 | 1208085.0961 | 2666280.4977 | 1208088.0599
54 | 2666267.6579 | 1208083.7645 | 2666267.306 | 1208081.904 | 2666269.3119 | 1208076.5148
55 | 2666272.4079 | 1208068.1966 | 2666269.3119 | 1208076.5148
56 | 2666357.6687 | 1208062.9071 | 2666369.2132 | 1208066.5785

## bus_geodata
| x | y | coords
0 | 2666446.0308 | 1207954.9286
1 | 2666410.5761 | 1207945.7348
2 | 2666454.6216 | 1207955.3863
3 | 2666401.1754 | 1207902.2592
4 | 2666428.6483 | 1207975.1983
5 | 2666320.618 | 1208106.0106
6 | 2666348.6815 | 1208093.0145
7 | 2666314.8908 | 1208120.5559
8 | 2666307.2195 | 1208095.2108
9 | 2666329.6304 | 1208121.5091
10 | 2666398.001 | 1207959.3144
11 | 2666428.9846 | 1207990.8786
12 | 2666387.0333 | 1208088.8049
13 | 2666401.1222 | 1208104.5045
14 | 2666396.2863 | 1208070.3631
15 | 2666374.5875 | 1208093.3326
16 | 2666398.5944 | 1208024.5102
17 | 2666364.0833 | 1207967.4311
18 | 2666387.8143 | 1207907.8919
19 | 2666382.6239 | 1207930.2034
20 | 2666424.918 | 1207895.0189
21 | 2666424.3326 | 1207907.987
22 | 2666411.6772 | 1207900.0226
23 | 2666438.8733 | 1207889.2929
24 | 2666460.1808 | 1207880.7965
25 | 2666447.6147 | 1208012.4321
26 | 2666442.3866 | 1208038.0971
27 | 2666423.9578 | 1208007.2323
28 | 2666310.4162 | 1208085.2058
29 | 2666323.5507 | 1208052.844
30 | 2666295.709 | 1208092.1305
31 | 2666304.168 | 1208109.1924
32 | 2666332.3075 | 1208013.3728
33 | 2666303.4986 | 1208040.7362
34 | 2666464.4643 | 1208054.6899
35 | 2666465.0901 | 1208044.246
36 | 2666465.3322 | 1208022.7511
37 | 2666257.1582 | 1207993.3483
38 | 2666253.0123 | 1208023.4555
39 | 2666353.0874 | 1207994.2253
40 | 2666372.4999 | 1207996.5393
41 | 2666282.3401 | 1208167.2341
42 | 2666243.5113 | 1208148.7141
43 | 2666297.6071 | 1208128.652
44 | 2666350.4909 | 1208011.2283
45 | 2666249.134 | 1208125.7624
46 | 2666390.6778 | 1208139.4738
47 | 2666381.4048 | 1208070.5422
48 | 2666342.4366 | 1208037.632
49 | 2666347.8038 | 1208109.821
50 | 2666411.0785 | 1207985.2548
51 | 2666410.1459 | 1208004.1991
52 | 2666280.4977 | 1208088.0599
53 | 2666267.6579 | 1208083.7645
54 | 2666269.3119 | 1208076.5148
55 | 2666272.4079 | 1208068.1966
56 | 2666369.2132 | 1208066.5785
57 | 2666357.6687 | 1208062.9071
58 | 2666320.618 | 1208106.0106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98118 | -0.36003 | 0.012054 | 0.003021
1 | 0.9791 | -0.40063 | 0 | 0
2 | 0.98176 | -0.34859 | 0 | 0
3 | 0.9772 | -0.4378 | 0 | 0
4 | 0.98368 | -0.31124 | 0 | 0
5 | 0.97482 | -0.48374 | 0 | 0
6 | 0.97643 | -0.45212 | 0.039894 | 0.0099983
7 | 0.97413 | -0.49741 | 0 | 0
8 | 0.97289 | -0.52179 | 0 | 0
9 | 0.97353 | -0.50911 | 0.006504 | 0.0016301
10 | 0.9873 | -0.2413 | 0 | 0
11 | 0.98316 | -0.32156 | 0.0016594 | 0.00041589
12 | 0.97175 | -0.54442 | 0 | 0
13 | 0.97167 | -0.54593 | 0 | 0
14 | 0.97139 | -0.55138 | 0.017996 | 0.0045102
15 | 0.97204 | -0.5386 | 0.0041723 | 0.0010457
16 | 0.98244 | -0.33502 | 0.015818 | 0.0039645
17 | 0.99088 | -0.17262 | 0 | 0
18 | 0.97662 | -0.44924 | 0 | 0
19 | 0.976 | -0.46142 | 0.029076 | 0.007287
20 | 0.97688 | -0.4441 | 0 | 0
21 | 0.97688 | -0.44424 | 0.00062241 | 0.00015599
22 | 0.97705 | -0.44076 | 0.002181 | 0.00054661
23 | 0.97671 | -0.44747 | 0 | 0
24 | 0.97645 | -0.45262 | 0.01228 | 0.0030776
25 | 0.98184 | -0.34731 | 0 | 0
26 | 0.98105 | -0.36283 | 0.024818 | 0.00622
27 | 0.98257 | -0.33302 | 0 | 0
28 | 0.97281 | -0.52341 | 0.0083541 | 0.0020937
29 | 0.97241 | -0.5313 | 0 | 0
30 | 0.9724 | -0.53146 | 0.0076713 | 0.0019226
31 | 0.97271 | -0.52529 | 0.0043402 | 0.0010878
32 | 0.97226 | -0.53425 | 0 | 0
33 | 0.97227 | -0.53403 | 0.0058771 | 0.0014729
34 | 0.98083 | -0.36709 | 0 | 0
35 | 0.98075 | -0.3686 | 0 | 0
36 | 0.98059 | -0.37168 | 0.007915 | 0.0019837
37 | 0.97196 | -0.54026 | 0 | 0
38 | 0.97184 | -0.54263 | 0.0036943 | 0.00092588
39 | 0.9868 | -0.2517 | 0 | 0
40 | 0.9856 | -0.2751 | 0.066793 | 0.01674
41 | 0.97221 | -0.53529 | 0 | 0
42 | 0.97176 | -0.5442 | 0 | 0
43 | 0.9725 | -0.52957 | 0.011449 | 0.0028695
44 | 0.99648 | -0.066212 | 0.017037 | 0.0042699
45 | 0.97122 | -0.5548 | 0.022446 | 0.0056256
46 | 0.97154 | -0.54856 | 0.0038396 | 0.00096229
47 | 0.97869 | -0.40795 | 0 | 0
48 | 1 | 0 | -0.42141 | -0.10846
49 | 0.9728 | -0.52351 | 0.010182 | 0.0025518
50 | 0.9825 | -0.3343 | 0.0021316 | 0.00053423
51 | 0.98254 | -0.33357 | 0 | 0
52 | 0.97187 | -0.54202 | 0.0051606 | 0.0012934
53 | 0.97147 | -0.5499 | 0.0074802 | 0.0018747
54 | 0.9713 | -0.55325 | 0.0071718 | 0.0017974
55 | 0.97116 | -0.55597 | 0.016559 | 0.0041501
56 | 0.97826 | -0.41638 | 0.017818 | 0.0044656
57 | 0.97806 | -0.42043 | 0.018322 | 0.004592
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.044365 | 0.011197 | -0.044279 | -0.011142 | 8.6085e-05 | 5.4456e-05 | 0.06731 | 0.067311 | 0.067311 | 0.98118 | -0.36003 | 0.9791 | -0.40063 | 18.4919
1 | -0.056419 | -0.014218 | 0.05645 | 0.014237 | 3.0919e-05 | 1.9646e-05 | 0.085591 | 0.085591 | 0.085591 | 0.98118 | -0.36003 | 0.98176 | -0.34859 | 23.514
2 | 0.044279 | 0.011142 | -0.044201 | -0.011093 | 7.8492e-05 | 4.9655e-05 | 0.067311 | 0.067311 | 0.067311 | 0.9791 | -0.40063 | 0.9772 | -0.4378 | 18.492
3 | -0.05645 | -0.014237 | 0.056551 | 0.014302 | 0.00010112 | 6.4253e-05 | 0.085591 | 0.085591 | 0.085591 | 0.98176 | -0.34859 | 0.98368 | -0.31124 | 23.514
4 | 0.015092 | 0.0037851 | -0.01509 | -0.0037839 | 2.1273e-06 | 1.227e-06 | 0.022982 | 0.022983 | 0.022983 | 0.9772 | -0.4378 | 0.97705 | -0.44076 | 6.3139
5 | 0.029108 | 0.0073074 | -0.029092 | -0.0072975 | 1.5868e-05 | 9.8858e-06 | 0.044328 | 0.044329 | 0.044329 | 0.9772 | -0.4378 | 0.97662 | -0.44924 | 12.1782
6 | -0.093162 | -0.023509 | 0.093476 | 0.023709 | 0.00031314 | 0.00019987 | 0.14098 | 0.14098 | 0.14098 | 0.98368 | -0.31124 | 0.9873 | -0.2413 | 38.7318
7 | 0.036611 | 0.0092074 | -0.036593 | -0.009196 | 1.8047e-05 | 1.1351e-05 | 0.055393 | 0.055393 | 0.055393 | 0.98368 | -0.31124 | 0.98316 | -0.32156 | 15.2179
8 | -0.14329 | -0.036054 | 0.14351 | 0.036192 | 0.00021681 | 0.0001374 | 0.21878 | 0.21878 | 0.21878 | 0.97482 | -0.48374 | 0.97643 | -0.45212 | 20.0349
9 | 0.14329 | 0.036054 | -0.1432 | -0.035995 | 9.3532e-05 | 5.9276e-05 | 0.21878 | 0.21878 | 0.21878 | 0.97482 | -0.48374 | 0.97413 | -0.49741 | 20.0349
10 | -0.1834 | -0.04619 | 0.18379 | 0.046437 | 0.0003883 | 0.00024702 | 0.27958 | 0.27957 | 0.27958 | 0.97643 | -0.45212 | 0.97869 | -0.40795 | 25.6021
11 | 0.10043 | 0.025246 | -0.10031 | -0.025172 | 0.00011678 | 7.3257e-05 | 0.15343 | 0.15343 | 0.15343 | 0.97413 | -0.49741 | 0.97289 | -0.52179 | 14.0505
12 | 0.042774 | 0.010749 | -0.04275 | -0.010734 | 2.3887e-05 | 1.5102e-05 | 0.065349 | 0.065349 | 0.065349 | 0.97413 | -0.49741 | 0.97353 | -0.50911 | 17.9531
13 | 0.0083547 | 0.002094 | -0.0083541 | -0.0020937 | 6.4315e-07 | 2.812e-07 | 0.012778 | 0.012778 | 0.012778 | 0.97289 | -0.52179 | 0.97281 | -0.52341 | 3.5106
14 | 0.0095785 | 0.0024003 | -0.0095742 | -0.0023982 | 4.3366e-06 | 2.1067e-06 | 0.01465 | 0.01465 | 0.01465 | 0.97289 | -0.52179 | 0.97241 | -0.5313 | 4.0248
15 | 0.044099 | 0.011074 | -0.044079 | -0.011061 | 2.0333e-05 | 1.2865e-05 | 0.067457 | 0.067457 | 0.067457 | 0.97289 | -0.52179 | 0.9724 | -0.53146 | 18.532
16 | 0.038276 | 0.0096044 | -0.03827 | -0.0096009 | 6.3892e-06 | 3.5337e-06 | 0.058547 | 0.058547 | 0.058547 | 0.97289 | -0.52179 | 0.97271 | -0.52529 | 5.3615
17 | 0.036246 | 0.0091043 | -0.036221 | -0.0090886 | 2.4876e-05 | 1.5652e-05 | 0.055408 | 0.055408 | 0.055408 | 0.97353 | -0.50911 | 0.9728 | -0.52351 | 15.2221
18 | 0.23761 | 0.060644 | -0.23654 | -0.059962 | 0.0010706 | 0.00068265 | 0.35851 | 0.35851 | 0.35851 | 0.9873 | -0.2413 | 0.98244 | -0.33502 | 32.8307
19 | -0.33109 | -0.084353 | 0.33219 | 0.085056 | 0.0011011 | 0.00070335 | 0.49949 | 0.49949 | 0.49949 | 0.9873 | -0.2413 | 0.99088 | -0.17262 | 45.7412
20 | 0.034934 | 0.0087801 | -0.034915 | -0.0087681 | 1.9108e-05 | 1.1998e-05 | 0.052882 | 0.052882 | 0.052882 | 0.98316 | -0.32156 | 0.98257 | -0.33302 | 14.528
21 | 0.0038404 | 0.00096205 | -0.0038401 | -0.00096214 | 2.7622e-07 | -8.7075e-08 | 0.0058805 | 0.0058806 | 0.0058806 | 0.97175 | -0.54442 | 0.97167 | -0.54593 | 1.6156
22 | 0.018002 | 0.0045138 | -0.017996 | -0.0045102 | 5.9706e-06 | 3.5617e-06 | 0.027567 | 0.027567 | 0.027567 | 0.97175 | -0.54442 | 0.97139 | -0.55138 | 7.5733
23 | -0.021842 | -0.0054759 | 0.021848 | 0.0054795 | 6.0505e-06 | 3.6936e-06 | 0.033447 | 0.033447 | 0.033447 | 0.97175 | -0.54442 | 0.97204 | -0.5386 | 9.1888
24 | 0.0038401 | 0.00096214 | -0.0038396 | -0.00096229 | 4.8238e-07 | -1.5195e-07 | 0.0058806 | 0.0058808 | 0.0058808 | 0.97167 | -0.54593 | 0.97154 | -0.54856 | 1.6156
25 | -0.026021 | -0.0065252 | 0.026039 | 0.0065368 | 1.8738e-05 | 1.1602e-05 | 0.039834 | 0.039834 | 0.039834 | 0.97204 | -0.5386 | 0.9728 | -0.52351 | 10.9435
26 | 0.22072 | 0.055997 | -0.21995 | -0.055506 | 0.00077111 | 0.00049142 | 0.33455 | 0.33455 | 0.33455 | 0.98244 | -0.33502 | 0.97869 | -0.40795 | 30.6367
27 | -0.39931 | -0.10201 | 0.40137 | 0.10333 | 0.002066 | 0.0013204 | 0.60033 | 0.60033 | 0.60033 | 0.99088 | -0.17262 | 0.99648 | -0.066212 | 54.9756
28 | 0.067121 | 0.016949 | -0.066868 | -0.016787 | 0.00025326 | 0.00016124 | 0.10084 | 0.10084 | 0.10084 | 0.99088 | -0.17262 | 0.9868 | -0.2517 | 27.7037
29 | 0.029092 | 0.0072975 | -0.029076 | -0.007287 | 1.6881e-05 | 1.0518e-05 | 0.044329 | 0.044329 | 0.044329 | 0.97662 | -0.44924 | 0.976 | -0.46142 | 12.1782
30 | 0.00062242 | 0.00015583 | -0.00062241 | -0.00015599 | 4.3763e-09 | -1.5975e-07 | 0.00094802 | 0.00094808 | 0.00094808 | 0.97688 | -0.4441 | 0.97688 | -0.44424 | 0.26046
31 | -0.012907 | -0.0032361 | 0.012909 | 0.0032373 | 2.0535e-06 | 1.1369e-06 | 0.019661 | 0.019661 | 0.019661 | 0.97688 | -0.4441 | 0.97705 | -0.44076 | 5.4014
32 | 0.012285 | 0.0030803 | -0.012283 | -0.0030792 | 1.9762e-06 | 1.0764e-06 | 0.018713 | 0.018713 | 0.018713 | 0.97688 | -0.4441 | 0.97671 | -0.44747 | 5.141
33 | 0.012283 | 0.0030792 | -0.01228 | -0.0030776 | 3.0123e-06 | 1.6409e-06 | 0.018713 | 0.018713 | 0.018713 | 0.97671 | -0.44747 | 0.97645 | -0.45262 | 5.141
34 | 0.032761 | 0.0082202 | -0.032737 | -0.0082051 | 2.4216e-05 | 1.5167e-05 | 0.049654 | 0.049654 | 0.049654 | 0.98184 | -0.34731 | 0.98105 | -0.36283 | 13.6412
35 | -0.032761 | -0.0082202 | 0.032783 | 0.0082342 | 2.2332e-05 | 1.3987e-05 | 0.049654 | 0.049654 | 0.049654 | 0.98184 | -0.34731 | 0.98257 | -0.33302 | 13.6411
36 | 0.0079183 | 0.001985 | -0.0079167 | -0.0019844 | 1.6107e-06 | 6.5496e-07 | 0.01201 | 0.012011 | 0.012011 | 0.98105 | -0.36283 | 0.98083 | -0.36709 | 3.2996
37 | 0.0021317 | 0.00053389 | -0.0021317 | -0.00053404 | 5.5111e-08 | -1.4334e-07 | 0.0032282 | 0.0032283 | 0.0032283 | 0.98257 | -0.33302 | 0.98254 | -0.33357 | 0.88688
38 | 0.0036963 | 0.00092509 | -0.0036958 | -0.0009253 | 5.2005e-07 | -2.049e-07 | 0.0056557 | 0.0056559 | 0.0056559 | 0.97241 | -0.5313 | 0.97226 | -0.53425 | 1.5538
39 | 0.0058779 | 0.0014731 | -0.0058771 | -0.0014729 | 7.6548e-07 | 1.7695e-07 | 0.0089945 | 0.0089946 | 0.0089946 | 0.97241 | -0.5313 | 0.97227 | -0.53403 | 2.4711
40 | 0.036408 | 0.0091381 | -0.036389 | -0.0091265 | 1.8332e-05 | 1.1537e-05 | 0.055718 | 0.055718 | 0.055718 | 0.9724 | -0.53146 | 0.97187 | -0.54202 | 15.3071
41 | 0.03393 | 0.0085131 | -0.033923 | -0.0085095 | 6.9166e-06 | 3.6621e-06 | 0.051908 | 0.051908 | 0.051908 | 0.97271 | -0.52529 | 0.9725 | -0.52957 | 4.7535
42 | 0.0036958 | 0.0009253 | -0.0036947 | -0.00092571 | 1.0562e-06 | -4.1551e-07 | 0.0056559 | 0.0056563 | 0.0056563 | 0.97226 | -0.53425 | 0.97196 | -0.54026 | 1.5539
43 | 0.0079167 | 0.0019844 | -0.0079162 | -0.0019842 | 5.6654e-07 | 2.3042e-07 | 0.012011 | 0.012011 | 0.012011 | 0.98083 | -0.36709 | 0.98075 | -0.3686 | 3.2996
44 | 0.0079162 | 0.0019842 | -0.007915 | -0.0019837 | 1.163e-06 | 4.7306e-07 | 0.012011 | 0.012011 | 0.012011 | 0.98075 | -0.3686 | 0.98059 | -0.37168 | 3.2997
45 | 0.0036947 | 0.00092571 | -0.0036943 | -0.00092588 | 4.1683e-07 | -1.6376e-07 | 0.0056563 | 0.0056565 | 0.0056565 | 0.97196 | -0.54026 | 0.97184 | -0.54263 | 1.554
46 | 0.066868 | 0.016787 | -0.066793 | -0.01674 | 7.4551e-05 | 4.7463e-05 | 0.10084 | 0.10084 | 0.10084 | 0.9868 | -0.2517 | 0.9856 | -0.2751 | 27.7037
47 | 0.022467 | 0.0056376 | -0.022458 | -0.0056326 | 9.5397e-06 | 5.039e-06 | 0.03439 | 0.03439 | 0.03439 | 0.97221 | -0.53529 | 0.97176 | -0.5442 | 4.7239
48 | -0.022467 | -0.0056376 | 0.022473 | 0.00564 | 6.1362e-06 | 2.3826e-06 | 0.03439 | 0.034389 | 0.03439 | 0.97221 | -0.53529 | 0.9725 | -0.52957 | 3.1493
49 | 0.022458 | 0.0056326 | -0.022446 | -0.0056256 | 1.1338e-05 | 6.9397e-06 | 0.03439 | 0.03439 | 0.03439 | 0.97176 | -0.5442 | 0.97122 | -0.5548 | 9.4479
50 | -0.41841 | -0.1076 | 0.41976 | 0.10846 | 0.0013512 | 0.00086371 | 0.62577 | 0.62577 | 0.62577 | 0.99648 | -0.066212 | 1 | 0 | 57.3053
51 | 0.036158 | 0.0090689 | -0.036144 | -0.0090597 | 1.4531e-05 | 9.1388e-06 | 0.054978 | 0.054978 | 0.054978 | 0.97869 | -0.40795 | 0.97826 | -0.41638 | 15.1039
52 | -0.0021316 | -0.00053423 | 0.0021317 | 0.00053404 | 7.4256e-08 | -1.931e-07 | 0.0032283 | 0.0032283 | 0.0032283 | 0.9825 | -0.3343 | 0.98254 | -0.33357 | 0.88691
53 | 0.031229 | 0.0078331 | -0.031217 | -0.0078258 | 1.1725e-05 | 7.3349e-06 | 0.047816 | 0.047816 | 0.047816 | 0.97187 | -0.54202 | 0.97147 | -0.5499 | 13.1364
54 | 0.023737 | 0.0059511 | -0.023733 | -0.0059488 | 3.7894e-06 | 2.3306e-06 | 0.036359 | 0.036359 | 0.036359 | 0.97147 | -0.5499 | 0.9713 | -0.55325 | 9.9887
55 | 0.016561 | 0.0041513 | -0.016559 | -0.0041501 | 2.1425e-06 | 1.2614e-06 | 0.025372 | 0.025372 | 0.025372 | 0.9713 | -0.55325 | 0.97116 | -0.55597 | 6.9702
56 | 0.018326 | 0.0045941 | -0.018322 | -0.004592 | 3.53e-06 | 2.1071e-06 | 0.027876 | 0.027876 | 0.027876 | 0.97826 | -0.41638 | 0.97806 | -0.42043 | 7.6581

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45529 | 0.11695

## res_load
| p_mw | q_mvar
0 | 0.012054 | 0.003021
1 | 0.039894 | 0.0099983
2 | 0.006504 | 0.0016301
3 | 0.0016594 | 0.00041589
4 | 0.017996 | 0.0045102
5 | 0.0041723 | 0.0010457
6 | 0.015818 | 0.0039645
7 | 0.029076 | 0.007287
8 | 0.00062241 | 0.00015599
9 | 0.002181 | 0.00054661
10 | 0.01228 | 0.0030776
11 | 0.024818 | 0.00622
12 | 0.0083541 | 0.0020937
13 | 0.0076713 | 0.0019226
14 | 0.0043402 | 0.0010878
15 | 0.0058771 | 0.0014729
16 | 0.007915 | 0.0019837
17 | 0.0036943 | 0.00092588
18 | 0.066793 | 0.01674
19 | 0.011449 | 0.0028695
20 | 0.017037 | 0.0042699
21 | 0.022446 | 0.0056256
22 | 0.0038396 | 0.00096229
23 | 0.03388 | 0.0084912
24 | 0.010182 | 0.0025518
25 | 0.0021316 | 0.00053423
26 | 0.0051606 | 0.0012934
27 | 0.0074802 | 0.0018747
28 | 0.0071718 | 0.0017974
29 | 0.016559 | 0.0041501
30 | 0.017818 | 0.0044656
31 | 0.018322 | 0.004592

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1