## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-23_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1058-23_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1058-23_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1058-23_0_3_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_1058-23_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1058-23_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1058-23_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1058-23_0_3_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_1058-23_0_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_1058-23_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1058-23_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1058-23_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1058-23_0_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1058-23_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1058-23_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1058-23_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1058-23_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1058-23_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1058-23_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1058-23_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1058-23_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1058-23_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1058-23_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1058-23_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1058-23_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1058-23_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1058-23_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_1058-23_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1058-23_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1058-23_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1058-23_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1058-23_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1058-23_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1058-23_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1058-23_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1058-23_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1058-23_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1058-23_0_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1058-23_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1058-23_0_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_1058-23_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1058-23_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1058-23_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1058-23_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1058-23_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1058-23_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1058-23_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1058-23_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1058-23_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_MV_23_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-23_0_3_load_0 | 0 | 0.03256 | 0.0081603 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-23_0_3_load_44 | 6 | 0.006419 | 0.0016087 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-23_0_3_load_45 | 7 | 0.0083538 | 0.0020937 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-23_0_3_load_43 | 10 | 0.012091 | 0.0030303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-23_0_3_load_46 | 11 | 0.0097101 | 0.0024336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-23_0_3_load_35 | 13 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-23_0_3_load_34 | 15 | 0.0053891 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-23_0_3_load_26 | 19 | 0.013912 | 0.0034866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-23_0_3_load_28 | 20 | 0.0048724 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-23_0_3_load_32 | 23 | 0.010357 | 0.0025956 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-23_0_3_load_37 | 25 | 0.0096994 | 0.0024309 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-23_0_3_load_27 | 27 | 0.0063003 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-23_0_3_load_51 | 29 | 0.0041449 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-23_0_3_load_52 | 30 | 0.0053107 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-23_0_3_load_50 | 31 | 0.0055188 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-23_0_3_load_36 | 34 | 0.064391 | 0.016138 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-23_0_3_load_48 | 36 | 0.003286 | 0.00082355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-23_0_3_load_41 | 37 | 0.016751 | 0.0041982 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-23_0_3_load_38 | 38 | 0.010934 | 0.0027403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-23_0_3_load_42 | 39 | 0.011722 | 0.0029378 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-23_0_3_load_55 | 40 | 0.0048724 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-23_0_3_load_53 | 42 | 0.013592 | 0.0034066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-23_0_3_load_47 | 43 | 0.003564 | 0.00089323 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-23_0_3_load_39 | 44 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-23_0_3_load_30 | 45 | 0.0048742 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-23_0_3_load_31 | 46 | 0.013592 | 0.0034064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-23_0_3_load_56 | 47 | 0.0048724 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-23_0_3_load_40 | 49 | 0.012701 | 0.0031832 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-23_0_3_load_49 | 50 | 0.003568 | 0.00089424 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-23_0_3_load_57 | 51 | 0.0048743 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-23_0_3_line_0 |  | 0 | 1 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-23_0_3_line_1 |  | 0 | 2 | 0.0099028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-23_0_3_line_2 |  | 1 | 3 | 0.063369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-23_0_3_line_3 |  | 2 | 4 | 0.032232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1058-23_0_3_line_4 |  | 3 | 7 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-23_0_3_line_5 |  | 4 | 5 | 0.037475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-23_0_3_line_6 |  | 4 | 6 | 0.015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-23_0_3_line_7 |  | 5 | 13 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1058-23_0_3_line_8 |  | 5 | 14 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-23_0_3_line_9 |  | 5 | 15 | 0.040003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-23_0_3_line_10 |  | 6 | 12 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-23_0_3_line_11 |  | 8 | 9 | 0.0058149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-23_0_3_line_12 |  | 8 | 10 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-23_0_3_line_13 |  | 9 | 11 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-23_0_3_line_14 |  | 10 | 12 | 0.0085147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-23_0_3_line_15 |  | 13 | 39 | 6.9448e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-23_0_3_line_16 |  | 14 | 20 | 0.0098318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-23_0_3_line_17 |  | 15 | 17 | 0.0084721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-23_0_3_line_18 |  | 16 | 17 | 0.0089327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-23_0_3_line_19 |  | 16 | 18 | 0.013029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-23_0_3_line_20 |  | 16 | 19 | 0.010168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-23_0_3_line_21 |  | 18 | 28 | 0.005086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-23_0_3_line_22 |  | 18 | 29 | 0.0079155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-23_0_3_line_23 |  | 19 | 27 | 0.026051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-23_0_3_line_24 |  | 20 | 41 | 0.0053329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-23_0_3_line_25 |  | 21 | 22 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-23_0_3_line_26 |  | 21 | 23 | 0.013538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-23_0_3_line_27 |  | 22 | 42 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-23_0_3_line_28 |  | 22 | 40 | 0.0089732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-23_0_3_line_29 |  | 24 | 25 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-23_0_3_line_30 |  | 24 | 26 | 0.036404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-23_0_3_line_31 |  | 24 | 27 | 0.011533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-23_0_3_line_32 |  | 26 | 30 | 0.023035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-23_0_3_line_33 |  | 28 | 31 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-23_0_3_line_34 |  | 31 | 35 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-23_0_3_line_35 |  | 32 | 33 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-23_0_3_line_36 |  | 32 | 34 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-23_0_3_line_37 |  | 33 | 37 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-23_0_3_line_38 |  | 33 | 38 | 0.033741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-23_0_3_line_39 |  | 35 | 36 | 0.032258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-23_0_3_line_40 |  | 36 | 43 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-23_0_3_line_41 |  | 38 | 44 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-23_0_3_line_42 |  | 39 | 49 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-23_0_3_line_43 |  | 41 | 45 | 0.0024921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-23_0_3_line_44 |  | 41 | 46 | 0.005015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-23_0_3_line_45 |  | 42 | 48 | 0.0017382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-23_0_3_line_46 |  | 43 | 50 | 0.0045525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-23_0_3_line_47 |  | 44 | 49 | 0.020898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-23_0_3_line_48 |  | 45 | 47 | 0.0078309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-23_0_3_line_49 |  | 47 | 48 | 0.0079137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-23_0_3_line_50 |  | 48 | 51 | 0.003325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-23_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 52 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2666138.661 | 1208154.4774 | 2666150.9703 | 1208160.214
1 | 2666159.9462 | 1208164.3971 | 2666150.9703 | 1208160.214
2 | 2666119.4326 | 1208212.1219 | 2666125.431 | 1208199.803 | 2666128.0762 | 1208194.3734 | 2666138.1869 | 1208170.4931 | 2666138.4891 | 1208165.8714 | 2666137.7004 | 1208163.6279 | 2666135.4869 | 1208160.9684 | 2666135.7903 | 1208160.3492 | 2666137.2062 | 1208157.452 | 2666138.3497 | 1208155.1188 | 2666138.661 | 1208154.4774
3 | 2666159.9462 | 1208164.3971 | 2666159.5572 | 1208165.1933 | 2666158.4138 | 1208167.5153 | 2666156.9433 | 1208170.5342 | 2666156.5312 | 1208171.3635 | 2666160.8526 | 1208172.4787 | 2666178.9288 | 1208181.0621
4 | 2666119.4326 | 1208212.1219 | 2666104.9187 | 1208205.3828
5 | 2666178.9288 | 1208181.0621 | 2666182.2416 | 1208182.6331 | 2666183.535 | 1208183.2367 | 2666192.0966 | 1208187.3007 | 2666194.4261 | 1208188.405 | 2666212.7819 | 1208197.1361
6 | 2666178.9288 | 1208181.0621 | 2666172.2765 | 1208194.8944
7 | 2666212.7819 | 1208197.1361 | 2666210.696 | 1208201.4934 | 2666208.0347 | 1208207.7034
8 | 2666211.9704 | 1208188.7331 | 2666210.4209 | 1208192.0179 | 2666214.4752 | 1208193.9085 | 2666212.7819 | 1208197.1361
9 | 2666212.7819 | 1208197.1361 | 2666232.7624 | 1208206.7636 | 2666241.998 | 1208210.3794 | 2666245.7667 | 1208211.2773 | 2666249.2326 | 1208213.3378
10 | 2666167.6908 | 1208204.4296 | 2666172.2765 | 1208194.8944
11 | 2666156.1341 | 1208227.7491 | 2666157.4286 | 1208226.8851 | 2666159.1367 | 1208223.691 | 2666158.5619 | 1208223.4178
12 | 2666158.5619 | 1208223.4178 | 2666164.0015 | 1208212.1034
13 | 2666156.1341 | 1208227.7491 | 2666156.1683 | 1208228.7834 | 2666155.0618 | 1208231.206 | 2666149.6055 | 1208240.0298
14 | 2666167.6908 | 1208204.4296 | 2666164.0015 | 1208212.1034
15 | 2666208.0073 | 1208207.7672 | 2666208.0347 | 1208207.7034
16 | 2666211.9704 | 1208188.7331 | 2666216.1506 | 1208179.8342
17 | 2666256.515 | 1208217.6672 | 2666249.2326 | 1208213.3378
18 | 2666256.515 | 1208217.6672 | 2666258.4367 | 1208214.4087 | 2666260.0819 | 1208211.4029 | 2666260.9047 | 1208209.8889
19 | 2666260.9047 | 1208209.8889 | 2666260.0819 | 1208211.4029 | 2666262.9993 | 1208212.9696 | 2666265.9394 | 1208214.5476 | 2666268.2672 | 1208215.7964 | 2666270.0434 | 1208216.7501
20 | 2666260.9047 | 1208209.8889 | 2666265.7762 | 1208200.9641
21 | 2666270.0434 | 1208216.7501 | 2666272.4425 | 1208212.2628
22 | 2666270.0434 | 1208216.7501 | 2666268.7001 | 1208219.27 | 2666266.3101 | 1208223.7299
23 | 2666265.7762 | 1208200.9641 | 2666267.0513 | 1208198.628 | 2666277.4853 | 1208177.6951
24 | 2666218.4181 | 1208175.0073 | 2666216.1506 | 1208179.8342
25 | 2666232.9874 | 1208144.0278 | 2666243.5113 | 1208148.7141
26 | 2666243.5113 | 1208148.7141 | 2666248.9471 | 1208136.3151
27 | 2666232.9874 | 1208144.0278 | 2666226.921 | 1208156.9325
28 | 2666232.9874 | 1208144.0278 | 2666224.8106 | 1208140.332
29 | 2666282.3401 | 1208167.2341 | 2666284.5061 | 1208162.5219 | 2666288.1701 | 1208153.6673
30 | 2666282.3401 | 1208167.2341 | 2666287.9066 | 1208169.8864 | 2666298.0161 | 1208146.173 | 2666302.4732 | 1208146.0224
31 | 2666282.3401 | 1208167.2341 | 2666277.9305 | 1208176.8021 | 2666277.4853 | 1208177.6951
32 | 2666302.4732 | 1208146.0224 | 2666306.3751 | 1208145.8879 | 2666315.8187 | 1208151.3183 | 2666322.9863 | 1208155.3776
33 | 2666272.4425 | 1208212.2628 | 2666292.1117 | 1208220.071
34 | 2666302.3503 | 1208224.1355 | 2666292.1117 | 1208220.071
35 | 2666222.624 | 1208260.5173 | 2666223.2818 | 1208263.5821 | 2666213.2213 | 1208276.7563
36 | 2666222.624 | 1208260.5173 | 2666229.6519 | 1208251.3195
37 | 2666213.2213 | 1208276.7563 | 2666203.8184 | 1208288.2257 | 2666201.7164 | 1208294.7175 | 2666199.6258 | 1208297.436
38 | 2666213.2213 | 1208276.7563 | 2666185.2927 | 1208257.824
39 | 2666302.3503 | 1208224.1355 | 2666315.044 | 1208194.4804
40 | 2666320.2363 | 1208173.1919 | 2666320.2363 | 1208173.1919 | 2666320.7281 | 1208178.8786 | 2666319.9366 | 1208183.0501 | 2666315.044 | 1208194.4804
41 | 2666191.8695 | 1208243.491 | 2666185.2927 | 1208257.824
42 | 2666200.585 | 1208224.4971 | 2666204.4128 | 1208216.1549 | 2666208.0073 | 1208207.7672
43 | 2666218.4181 | 1208175.0073 | 2666219.479 | 1208172.7523
44 | 2666222.9015 | 1208177.2807 | 2666218.4181 | 1208175.0073
45 | 2666226.1815 | 1208158.5056 | 2666226.921 | 1208156.9325
46 | 2666320.2363 | 1208173.1919 | 2666321.865 | 1208168.9407
47 | 2666191.8695 | 1208243.491 | 2666200.585 | 1208224.4971
48 | 2666222.8126 | 1208165.6664 | 2666219.479 | 1208172.7523
49 | 2666226.1815 | 1208158.5056 | 2666222.8126 | 1208165.6664
50 | 2666223.0856 | 1208157.2705 | 2666226.1815 | 1208158.5056

## bus_geodata
| x | y | coords
0 | 2666150.9703 | 1208160.214
1 | 2666138.661 | 1208154.4774
2 | 2666159.9462 | 1208164.3971
3 | 2666119.4326 | 1208212.1219
4 | 2666178.9288 | 1208181.0621
5 | 2666212.7819 | 1208197.1361
6 | 2666172.2765 | 1208194.8944
7 | 2666104.9187 | 1208205.3828
8 | 2666158.5619 | 1208223.4178
9 | 2666156.1341 | 1208227.7491
10 | 2666164.0015 | 1208212.1034
11 | 2666149.6055 | 1208240.0298
12 | 2666167.6908 | 1208204.4296
13 | 2666208.0347 | 1208207.7034
14 | 2666211.9704 | 1208188.7331
15 | 2666249.2326 | 1208213.3378
16 | 2666260.9047 | 1208209.8889
17 | 2666256.515 | 1208217.6671
18 | 2666270.0434 | 1208216.7501
19 | 2666265.7762 | 1208200.9641
20 | 2666216.1506 | 1208179.8342
21 | 2666243.5113 | 1208148.7141
22 | 2666232.9874 | 1208144.0278
23 | 2666248.9471 | 1208136.3151
24 | 2666282.3401 | 1208167.2341
25 | 2666288.1701 | 1208153.6673
26 | 2666302.4732 | 1208146.0224
27 | 2666277.4853 | 1208177.6951
28 | 2666272.4425 | 1208212.2628
29 | 2666266.3101 | 1208223.7299
30 | 2666322.9863 | 1208155.3776
31 | 2666292.1117 | 1208220.071
32 | 2666222.624 | 1208260.5173
33 | 2666213.2213 | 1208276.7563
34 | 2666229.6519 | 1208251.3195
35 | 2666302.3503 | 1208224.1355
36 | 2666315.044 | 1208194.4804
37 | 2666199.6258 | 1208297.436
38 | 2666185.2927 | 1208257.824
39 | 2666208.0073 | 1208207.7672
40 | 2666224.8106 | 1208140.332
41 | 2666218.4181 | 1208175.0073
42 | 2666226.921 | 1208156.9325
43 | 2666320.2363 | 1208173.1919
44 | 2666191.8695 | 1208243.491
45 | 2666219.479 | 1208172.7523
46 | 2666222.9015 | 1208177.2807
47 | 2666222.8126 | 1208165.6664
48 | 2666226.1815 | 1208158.5056
49 | 2666200.585 | 1208224.4971
50 | 2666321.865 | 1208168.9407
51 | 2666223.0856 | 1208157.2705
52 | 2666212.7819 | 1208197.1361

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99506 | -0.095043 | 0.03256 | 0.0081603
1 | 0.99495 | -0.097041 | 0 | 0
2 | 0.99543 | -0.087913 | 0 | 0
3 | 0.99447 | -0.10637 | 0 | 0
4 | 0.99663 | -0.064743 | 0 | 0
5 | 0.99899 | -0.019383 | 0 | 0
6 | 0.99623 | -0.072347 | 0.006419 | 0.0016087
7 | 0.99435 | -0.10872 | 0.0083538 | 0.0020937
8 | 0.99574 | -0.081804 | 0 | 0
9 | 0.99569 | -0.082796 | 0 | 0
10 | 0.99585 | -0.079661 | 0.012091 | 0.0030303
11 | 0.99557 | -0.085199 | 0.0097101 | 0.0024336
12 | 0.99602 | -0.076399 | 0 | 0
13 | 1 | 0 | -0.32435 | -0.081472
14 | 0.99833 | -0.032096 | 0 | 0
15 | 0.99678 | -0.061886 | 0.0053891 | 0.0013506
16 | 0.9959 | -0.078789 | 0 | 0
17 | 0.99635 | -0.07011 | 0 | 0
18 | 0.99566 | -0.083389 | 0 | 0
19 | 0.99557 | -0.085085 | 0.013912 | 0.0034866
20 | 0.99777 | -0.042746 | 0.0048724 | 0.0012211
21 | 0.99653 | -0.066716 | 0 | 0
22 | 0.99664 | -0.064628 | 0 | 0
23 | 0.9964 | -0.069177 | 0.010357 | 0.0025956
24 | 0.99491 | -0.097902 | 0 | 0
25 | 0.99478 | -0.10043 | 0.0096994 | 0.0024309
26 | 0.99473 | -0.10131 | 0 | 0
27 | 0.99507 | -0.094854 | 0.0063003 | 0.001579
28 | 0.99559 | -0.084814 | 0 | 0
29 | 0.99563 | -0.083966 | 0.0041449 | 0.0010388
30 | 0.99462 | -0.10346 | 0.0053107 | 0.001331
31 | 0.99528 | -0.090748 | 0.0055188 | 0.0013831
32 | 0.99102 | -0.17262 | 0 | 0
33 | 0.99218 | -0.15014 | 0 | 0
34 | 0.99034 | -0.18586 | 0.064391 | 0.016138
35 | 0.99518 | -0.092768 | 0 | 0
36 | 0.99487 | -0.098685 | 0.003286 | 0.00082355
37 | 0.9918 | -0.15758 | 0.016751 | 0.0041982
38 | 0.99469 | -0.10179 | 0.010934 | 0.0027403
39 | 0.99999 | -0.00015664 | 0.011722 | 0.0029378
40 | 0.9966 | -0.065395 | 0.0048724 | 0.0012211
41 | 0.9975 | -0.048073 | 0 | 0
42 | 0.99684 | -0.060817 | 0.013592 | 0.0034066
43 | 0.99472 | -0.1015 | 0.003564 | 0.00089323
44 | 0.99602 | -0.076244 | 0.012904 | 0.003234
45 | 0.9974 | -0.049969 | 0.0048742 | 0.0012216
46 | 0.99743 | -0.049267 | 0.013592 | 0.0034064
47 | 0.99712 | -0.055263 | 0.0048724 | 0.0012211
48 | 0.99688 | -0.059939 | 0 | 0
49 | 0.99802 | -0.037776 | 0.012701 | 0.0031832
50 | 0.99471 | -0.10178 | 0.003568 | 0.00089424
51 | 0.99687 | -0.060223 | 0.0048743 | 0.0012216
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0083592 | 0.0020959 | -0.0083584 | -0.0020956 | 7.9583e-07 | 3.3294e-07 | 0.012501 | 0.012501 | 0.012501 | 0.99506 | -0.095043 | 0.99495 | -0.097041 | 3.4343
1 | -0.040919 | -0.010256 | 0.040933 | 0.010265 | 1.3905e-05 | 8.7704e-06 | 0.061191 | 0.061191 | 0.061191 | 0.99506 | -0.095043 | 0.99543 | -0.087913 | 16.8107
2 | 0.0083584 | 0.0020956 | -0.0083547 | -0.002094 | 3.7136e-06 | 1.5541e-06 | 0.012501 | 0.012501 | 0.012501 | 0.99495 | -0.097041 | 0.99447 | -0.10637 | 3.4344
3 | -0.040933 | -0.010265 | 0.040978 | 0.010294 | 4.5258e-05 | 2.8546e-05 | 0.061191 | 0.061191 | 0.061191 | 0.99543 | -0.087913 | 0.99663 | -0.064743 | 16.8107
4 | 0.0083547 | 0.002094 | -0.0083538 | -0.0020937 | 9.3779e-07 | 3.9259e-07 | 0.012501 | 0.012501 | 0.012501 | 0.99447 | -0.10637 | 0.99435 | -0.10872 | 3.4344
5 | -0.069219 | -0.017378 | 0.069369 | 0.017474 | 0.00015013 | 9.5593e-05 | 0.10336 | 0.10336 | 0.10336 | 0.99663 | -0.064743 | 0.99899 | -0.019383 | 28.3951
6 | 0.028241 | 0.0070848 | -0.02823 | -0.0070785 | 1.0234e-05 | 6.35e-06 | 0.042167 | 0.042167 | 0.042167 | 0.99663 | -0.064743 | 0.99623 | -0.072347 | 11.5844
7 | -0.19229 | -0.0484 | 0.19247 | 0.048514 | 0.00017832 | 0.00011382 | 0.28649 | 0.28649 | 0.28649 | 0.99899 | -0.019383 | 1 | 0 | 39.3533
8 | 0.062018 | 0.015586 | -0.061981 | -0.015562 | 3.7614e-05 | 2.3919e-05 | 0.092393 | 0.092393 | 0.092393 | 0.99899 | -0.019383 | 0.99833 | -0.032096 | 25.3826
9 | 0.060902 | 0.015341 | -0.060778 | -0.015262 | 0.00012352 | 7.8531e-05 | 0.090741 | 0.090742 | 0.090742 | 0.99899 | -0.019383 | 0.99678 | -0.061886 | 24.929
10 | 0.021811 | 0.0054697 | -0.021807 | -0.0054672 | 4.2115e-06 | 2.5576e-06 | 0.03258 | 0.03258 | 0.03258 | 0.99623 | -0.072347 | 0.99602 | -0.076399 | 8.9505
11 | 0.0097117 | 0.0024343 | -0.0097112 | -0.0024341 | 4.593e-07 | 2.1831e-07 | 0.014513 | 0.014513 | 0.014513 | 0.99574 | -0.081804 | 0.99569 | -0.082796 | 3.9871
12 | -0.0097117 | -0.0024343 | 0.0097127 | 0.0024348 | 9.9158e-07 | 4.7129e-07 | 0.014513 | 0.014513 | 0.014513 | 0.99574 | -0.081804 | 0.99585 | -0.079661 | 3.9871
13 | 0.0097112 | 0.0024341 | -0.0097101 | -0.0024336 | 1.1116e-06 | 5.2838e-07 | 0.014513 | 0.014513 | 0.014513 | 0.99569 | -0.082796 | 0.99557 | -0.085199 | 3.9871
14 | -0.021804 | -0.0054651 | 0.021807 | 0.0054672 | 3.3892e-06 | 2.0583e-06 | 0.03258 | 0.03258 | 0.03258 | 0.99585 | -0.079661 | 0.99602 | -0.076399 | 8.9505
15 | 0.13023 | 0.032958 | -0.13023 | -0.032957 | 9.7909e-07 | 6.2571e-07 | 0.19389 | 0.19389 | 0.19389 | 1 | 0 | 0.99999 | -0.00015664 | 53.2677
16 | 0.061981 | 0.015562 | -0.061949 | -0.015542 | 3.1473e-05 | 2.0014e-05 | 0.092393 | 0.092393 | 0.092393 | 0.99833 | -0.032096 | 0.99777 | -0.042746 | 25.3826
17 | 0.055389 | 0.013912 | -0.055367 | -0.013898 | 2.1727e-05 | 1.3795e-05 | 0.082697 | 0.082697 | 0.082697 | 0.99678 | -0.061886 | 0.99635 | -0.07011 | 22.7189
18 | -0.055344 | -0.013883 | 0.055367 | 0.013898 | 2.2908e-05 | 1.4545e-05 | 0.082697 | 0.082697 | 0.082697 | 0.9959 | -0.078789 | 0.99635 | -0.07011 | 22.7189
19 | 0.020097 | 0.0050411 | -0.020092 | -0.0050384 | 4.4058e-06 | 2.6502e-06 | 0.030029 | 0.030029 | 0.030029 | 0.9959 | -0.078789 | 0.99566 | -0.083389 | 8.2498
20 | 0.035247 | 0.0088421 | -0.035237 | -0.0088355 | 1.0577e-05 | 6.6368e-06 | 0.052668 | 0.052668 | 0.052668 | 0.9959 | -0.078789 | 0.99557 | -0.085085 | 14.4691
21 | 0.015947 | 0.0039996 | -0.015946 | -0.003999 | 1.0835e-06 | 6.2728e-07 | 0.023834 | 0.023834 | 0.023834 | 0.99566 | -0.083389 | 0.99559 | -0.084814 | 6.5479
22 | 0.004145 | 0.0010388 | -0.0041449 | -0.0010388 | 1.1391e-07 | -3.0041e-08 | 0.0061947 | 0.0061948 | 0.0061948 | 0.99566 | -0.083389 | 0.99563 | -0.083966 | 1.7019
23 | 0.021325 | 0.0053488 | -0.021315 | -0.0053428 | 9.9253e-06 | 6.0136e-06 | 0.031875 | 0.031875 | 0.031875 | 0.99557 | -0.085085 | 0.99507 | -0.094854 | 8.7568
24 | 0.057077 | 0.01432 | -0.057062 | -0.014311 | 1.4492e-05 | 9.2052e-06 | 0.085126 | 0.085126 | 0.085126 | 0.99777 | -0.042746 | 0.9975 | -0.048073 | 23.3864
25 | -0.010358 | -0.0025962 | 0.010359 | 0.0025967 | 1.0309e-06 | 5.1001e-07 | 0.015466 | 0.015466 | 0.015466 | 0.99653 | -0.066716 | 0.99664 | -0.064628 | 4.249
26 | 0.010358 | 0.0025962 | -0.010357 | -0.0025956 | 1.2144e-06 | 6.0086e-07 | 0.015466 | 0.015466 | 0.015466 | 0.99653 | -0.066716 | 0.9964 | -0.069177 | 4.249
27 | -0.015231 | -0.0038178 | 0.015234 | 0.0038194 | 2.7654e-06 | 1.584e-06 | 0.022741 | 0.022741 | 0.022741 | 0.99664 | -0.064628 | 0.99684 | -0.060817 | 6.2476
28 | 0.0048726 | 0.0012211 | -0.0048724 | -0.0012211 | 1.7809e-07 | -2.951e-09 | 0.0072749 | 0.0072749 | 0.0072749 | 0.99664 | -0.064628 | 0.9966 | -0.065395 | 1.9986
29 | 0.0097006 | 0.0024315 | -0.0096994 | -0.0024309 | 1.1658e-06 | 5.5436e-07 | 0.014509 | 0.014509 | 0.014509 | 0.99491 | -0.097902 | 0.99478 | -0.10043 | 3.9859
30 | 0.0053121 | 0.0013311 | -0.0053112 | -0.001331 | 8.6171e-07 | 7.8834e-08 | 0.0079449 | 0.007945 | 0.007945 | 0.99491 | -0.097902 | 0.99473 | -0.10131 | 2.1827
31 | -0.015013 | -0.0037626 | 0.015015 | 0.0037638 | 2.1804e-06 | 1.2457e-06 | 0.022453 | 0.022453 | 0.022453 | 0.99491 | -0.097902 | 0.99507 | -0.094854 | 6.1685
32 | 0.0053112 | 0.001331 | -0.0053107 | -0.001331 | 5.4528e-07 | 4.9981e-08 | 0.007945 | 0.0079451 | 0.0079451 | 0.99473 | -0.10131 | 0.99462 | -0.10346 | 2.1827
33 | 0.015946 | 0.003999 | -0.015942 | -0.0039964 | 4.5082e-06 | 2.6102e-06 | 0.023834 | 0.023835 | 0.023835 | 0.99559 | -0.084814 | 0.99528 | -0.090748 | 6.5479
34 | 0.010423 | 0.0026133 | -0.010422 | -0.0026128 | 1.0032e-06 | 4.9889e-07 | 0.015584 | 0.015584 | 0.015584 | 0.99528 | -0.090748 | 0.99518 | -0.092768 | 4.2812
35 | -0.064431 | -0.016164 | 0.0645 | 0.016208 | 6.9136e-05 | 4.3993e-05 | 0.096749 | 0.096749 | 0.096749 | 0.99102 | -0.17262 | 0.99218 | -0.15014 | 26.5794
36 | 0.064431 | 0.016164 | -0.064391 | -0.016138 | 4.0632e-05 | 2.5855e-05 | 0.096749 | 0.096749 | 0.096749 | 0.99102 | -0.17262 | 0.99034 | -0.18586 | 26.5794
37 | 0.016757 | 0.0042017 | -0.016751 | -0.0041982 | 5.9414e-06 | 3.4787e-06 | 0.025132 | 0.025132 | 0.025132 | 0.99218 | -0.15014 | 0.9918 | -0.15758 | 6.9045
38 | -0.081257 | -0.020409 | 0.081445 | 0.020529 | 0.00018796 | 0.00011986 | 0.12188 | 0.12188 | 0.12188 | 0.99218 | -0.15014 | 0.99469 | -0.10179 | 33.4838
39 | 0.010422 | 0.0026128 | -0.010419 | -0.0026113 | 2.9377e-06 | 1.4611e-06 | 0.015584 | 0.015584 | 0.015584 | 0.99518 | -0.092768 | 0.99487 | -0.098685 | 4.2812
40 | 0.0071331 | 0.0017878 | -0.0071321 | -0.0017874 | 9.5559e-07 | 3.2092e-07 | 0.010669 | 0.010669 | 0.010669 | 0.99487 | -0.098685 | 0.99472 | -0.1015 | 2.931
41 | -0.092379 | -0.02327 | 0.092492 | 0.023342 | 0.00011301 | 7.212e-05 | 0.13824 | 0.13824 | 0.13824 | 0.99469 | -0.10179 | 0.99602 | -0.076244 | 37.9773
42 | 0.11851 | 0.03002 | -0.11829 | -0.029883 | 0.00021371 | 0.00013654 | 0.17645 | 0.17645 | 0.17645 | 0.99999 | -0.00015664 | 0.99802 | -0.037776 | 48.4759
43 | 0.04347 | 0.010904 | -0.043466 | -0.010902 | 3.9302e-06 | 2.4828e-06 | 0.064849 | 0.06485 | 0.06485 | 0.9975 | -0.048073 | 0.9974 | -0.049969 | 17.8158
44 | 0.013593 | 0.0034069 | -0.013592 | -0.0034064 | 7.7322e-07 | 4.294e-07 | 0.020277 | 0.020277 | 0.020277 | 0.9975 | -0.048073 | 0.99743 | -0.049267 | 5.5706
45 | -0.028826 | -0.007226 | 0.028828 | 0.0072267 | 1.207e-06 | 7.4981e-07 | 0.043031 | 0.043031 | 0.043031 | 0.99684 | -0.060817 | 0.99688 | -0.059939 | 11.8217
46 | 0.0035681 | 0.00089421 | -0.003568 | -0.00089424 | 4.8637e-08 | -2.7969e-08 | 0.0053375 | 0.0053376 | 0.0053376 | 0.99472 | -0.1015 | 0.99471 | -0.10178 | 1.4664
47 | -0.1054 | -0.026576 | 0.10559 | 0.0267 | 0.00019444 | 0.00012417 | 0.15752 | 0.15752 | 0.15752 | 0.99602 | -0.076244 | 0.99802 | -0.037776 | 43.2735
48 | 0.038592 | 0.0096803 | -0.038582 | -0.0096742 | 9.7353e-06 | 6.1284e-06 | 0.057578 | 0.057578 | 0.057578 | 0.9974 | -0.049969 | 0.99712 | -0.055263 | 15.818
49 | 0.033709 | 0.008453 | -0.033702 | -0.0084483 | 7.5104e-06 | 4.7034e-06 | 0.050307 | 0.050307 | 0.050307 | 0.99712 | -0.055263 | 0.99688 | -0.059939 | 13.8205
50 | 0.0048743 | 0.0012216 | -0.0048743 | -0.0012216 | 6.6006e-08 | -1.1055e-09 | 0.0072758 | 0.0072758 | 0.0072758 | 0.99688 | -0.059939 | 0.99687 | -0.060223 | 1.9988

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33507 | 0.084161

## res_load
| p_mw | q_mvar
0 | 0.03256 | 0.0081603
1 | 0.006419 | 0.0016087
2 | 0.0083538 | 0.0020937
3 | 0.012091 | 0.0030303
4 | 0.0097101 | 0.0024336
5 | 0.010729 | 0.002689
6 | 0.0053891 | 0.0013506
7 | 0.013912 | 0.0034866
8 | 0.0048724 | 0.0012211
9 | 0.010357 | 0.0025956
10 | 0.0096994 | 0.0024309
11 | 0.0063003 | 0.001579
12 | 0.0041449 | 0.0010388
13 | 0.0053107 | 0.001331
14 | 0.0055188 | 0.0013831
15 | 0.064391 | 0.016138
16 | 0.003286 | 0.00082355
17 | 0.016751 | 0.0041982
18 | 0.010934 | 0.0027403
19 | 0.011722 | 0.0029378
20 | 0.0048724 | 0.0012211
21 | 0.013592 | 0.0034066
22 | 0.003564 | 0.00089323
23 | 0.012904 | 0.003234
24 | 0.0048742 | 0.0012216
25 | 0.013592 | 0.0034064
26 | 0.0048724 | 0.0012211
27 | 0.012701 | 0.0031832
28 | 0.003568 | 0.00089424
29 | 0.0048743 | 0.0012216

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1