## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-24_1_4_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_1058-24_1_4_node_56 | 0.4 | n |  | TRUE
2 | bus_LV_1058-24_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_1058-24_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1058-24_1_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1058-24_1_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1058-24_1_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1058-24_1_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1058-24_1_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1058-24_1_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1058-24_1_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1058-24_1_4_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1058-24_1_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_1058-24_1_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1058-24_1_4_node_102 | 0.4 | n |  | TRUE
15 | bus_LV_1058-24_1_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1058-24_1_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1058-24_1_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_1058-24_1_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1058-24_1_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_1058-24_1_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_1058-24_1_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_1058-24_1_4_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_1058-24_1_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_1058-24_1_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1058-24_1_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1058-24_1_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1058-24_1_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1058-24_1_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1058-24_1_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1058-24_1_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1058-24_1_4_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_1058-24_1_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1058-24_1_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1058-24_1_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1058-24_1_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1058-24_1_4_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_1058-24_1_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_1058-24_1_4_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_1058-24_1_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1058-24_1_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1058-24_1_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_1058-24_1_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_1058-24_1_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1058-24_1_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_1058-24_1_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_1058-24_1_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_1058-24_1_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_1058-24_1_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_1058-24_1_4_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_1058-24_1_4_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_1058-24_1_4_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_1058-24_1_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_1058-24_1_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_1058-24_1_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1058-24_1_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1058-24_1_4_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_1058-24_1_4_node_79 | 0.4 | n |  | TRUE
58 | bus_MV_23_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-24_1_4_load_55 | 0 | 0.0058117 | 0.0014565 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-24_1_4_load_56 | 1 | 0.0093357 | 0.0023397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-24_1_4_load_8 | 3 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-24_1_4_load_14 | 5 | 0.0074204 | 0.0018597 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-24_1_4_load_12 | 6 | 0.01321 | 0.0033107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-24_1_4_load_44 | 7 | 0.009199 | 0.0023055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-24_1_4_load_50 | 12 | 0.0044188 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-24_1_4_load_102 | 14 | 0.0096145 | 0.0024096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-24_1_4_load_45 | 15 | 0.009199 | 0.0023055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-24_1_4_load_26 | 16 | 0.025959 | 0.006506 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-24_1_4_load_61 | 17 | 0.0049632 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-24_1_4_load_51 | 19 | 0.0042525 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-24_1_4_load_63 | 20 | 0.009617 | 0.0024103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-24_1_4_load_82 | 22 | 0.0047704 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-24_1_4_load_25 | 24 | 0.016529 | 0.0041425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-24_1_4_load_27 | 25 | 0.012709 | 0.0031851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-24_1_4_load_38 | 26 | 0.0040189 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-24_1_4_load_39 | 27 | 0.0034476 | 0.00086406 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-24_1_4_load_41 | 29 | 0.0021072 | 0.00052811 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-24_1_4_load_42 | 30 | 0.0064661 | 0.0016206 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-24_1_4_load_58 | 31 | 0.0020935 | 0.00052468 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-24_1_4_load_47 | 32 | 0.0017376 | 0.00043549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-24_1_4_load_48 | 33 | 0.001476 | 0.00036993 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-24_1_4_load_46 | 34 | 0.016151 | 0.0040479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-24_1_4_load_94 | 36 | 0.0023792 | 0.00059628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-24_1_4_load_71 | 37 | 0.00448 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-24_1_4_load_88 | 38 | 0.0023792 | 0.00059629 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-24_1_4_load_52 | 39 | 0.0035466 | 0.00088886 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-24_1_4_load_54 | 40 | 0.0032647 | 0.00081821 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-24_1_4_load_89 | 41 | 0.0051652 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-24_1_4_load_59 | 42 | 0.0040727 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-24_1_4_load_57 | 43 | 0.002552 | 0.00063959 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-24_1_4_load_60 | 44 | 0.0046226 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-24_1_4_load_62 | 45 | 0.0060395 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1058-24_1_4_load_69 | 46 | 0.0029242 | 0.00073287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1058-24_1_4_load_70 | 47 | 0.0028387 | 0.00071145 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1058-24_1_4_load_67 | 48 | 0.001756 | 0.00044009 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1058-24_1_4_load_87 | 51 | 0.0027215 | 0.00068207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1058-24_1_4_load_86 | 52 | 0.0028008 | 0.00070194 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1058-24_1_4_load_72 | 53 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1058-24_1_4_load_74 | 54 | 0.0020411 | 0.00051154 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1058-24_1_4_load_77 | 55 | 0.0022608 | 0.00056662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1058-24_1_4_load_93 | 56 | 0.0021066 | 0.00052796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-24_1_4_line_0 |  | 0 | 1 | 0.018886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1058-24_1_4_line_1 |  | 0 | 2 | 0.06215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1058-24_1_4_line_2 |  | 1 | 43 | 0.0022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1058-24_1_4_line_3 |  | 2 | 4 | 0.063513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1058-24_1_4_line_4 |  | 2 | 3 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-24_1_4_line_5 |  | 4 | 5 | 0.020063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-24_1_4_line_6 |  | 4 | 6 | 0.048093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1058-24_1_4_line_7 |  | 5 | 7 | 0.0045735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-24_1_4_line_8 |  | 6 | 8 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1058-24_1_4_line_9 |  | 7 | 15 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-24_1_4_line_10 |  | 8 | 9 | 0.06162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1058-24_1_4_line_11 |  | 9 | 10 | 0.008323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-24_1_4_line_12 |  | 9 | 11 | 0.0625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1058-24_1_4_line_13 |  | 9 | 12 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1058-24_1_4_line_14 |  | 10 | 16 | 0.022445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-24_1_4_line_15 |  | 11 | 17 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1058-24_1_4_line_16 |  | 11 | 18 | 0.003557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-24_1_4_line_17 |  | 12 | 19 | 0.014835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-24_1_4_line_18 |  | 13 | 14 | 0.041746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1058-24_1_4_line_19 |  | 14 | 20 | 0.060155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1058-24_1_4_line_20 |  | 15 | 34 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-24_1_4_line_21 |  | 16 | 24 | 0.022076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-24_1_4_line_22 |  | 17 | 42 | 0.00050965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1058-24_1_4_line_23 |  | 18 | 31 | 0.0087444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-24_1_4_line_24 |  | 19 | 39 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-24_1_4_line_25 |  | 20 | 43 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1058-24_1_4_line_26 |  | 21 | 22 | 0.01958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-24_1_4_line_27 |  | 21 | 23 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-24_1_4_line_28 |  | 23 | 37 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-24_1_4_line_29 |  | 23 | 35 | 0.003966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-24_1_4_line_30 |  | 24 | 25 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-24_1_4_line_31 |  | 26 | 27 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-24_1_4_line_32 |  | 26 | 28 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-24_1_4_line_33 |  | 27 | 29 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-24_1_4_line_34 |  | 28 | 30 | 0.015379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-24_1_4_line_35 |  | 29 | 31 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-24_1_4_line_36 |  | 32 | 33 | 0.027241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-24_1_4_line_37 |  | 33 | 35 | 0.041356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-24_1_4_line_38 |  | 35 | 36 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-24_1_4_line_39 |  | 36 | 38 | 0.002805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-24_1_4_line_40 |  | 37 | 53 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1058-24_1_4_line_41 |  | 39 | 40 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-24_1_4_line_42 |  | 40 | 41 | 0.062399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-24_1_4_line_43 |  | 42 | 44 | 0.027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1058-24_1_4_line_44 |  | 44 | 45 | 0.038547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1058-24_1_4_line_45 |  | 45 | 46 | 0.073394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1058-24_1_4_line_46 |  | 46 | 47 | 0.036766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1058-24_1_4_line_47 |  | 47 | 51 | 0.0782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1058-24_1_4_line_48 |  | 48 | 49 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-24_1_4_line_49 |  | 49 | 50 | 0.053067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-24_1_4_line_50 |  | 50 | 56 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1058-24_1_4_line_51 |  | 50 | 57 | 0.003753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1058-24_1_4_line_52 |  | 51 | 52 | 0.039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1058-24_1_4_line_53 |  | 52 | 57 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1058-24_1_4_line_54 |  | 53 | 54 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1058-24_1_4_line_55 |  | 54 | 55 | 0.020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1058-24_1_4_line_56 |  | 55 | 56 | 0.0053614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-24_1_4_trafo_16 | 0.63 MVA 20/0.4 kV | 58 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2668462.9826 | 1206584.3841 | 2668459.36 | 1206599.3815 | 2668458.0515 | 1206602.5813
1 | 2668507.8622 | 1206541.3911 | 2668462.9826 | 1206584.3841
2 | 2668458.0515 | 1206602.5813 | 2668457.2046 | 1206604.6522
3 | 2668507.8622 | 1206541.3911 | 2668522.6602 | 1206603.1542
4 | 2668507.8622 | 1206541.3911 | 2668535.0923 | 1206536.4876
5 | 2668522.6602 | 1206603.1542 | 2668542.7195 | 1206602.7789
6 | 2668522.6602 | 1206603.1542 | 2668531.6171 | 1206650.4061
7 | 2668542.7195 | 1206602.7789 | 2668547.2922 | 1206602.6934
8 | 2668534.1837 | 1206663.9459 | 2668531.6171 | 1206650.4061
9 | 2668547.2922 | 1206602.6934 | 2668560.8892 | 1206602.439
10 | 2668534.1837 | 1206663.9459 | 2668538.0782 | 1206663.2235 | 2668548.1188 | 1206720.0069
11 | 2668548.1188 | 1206720.0069 | 2668556.2836 | 1206718.2773
12 | 2668548.1188 | 1206720.0069 | 2668546.0071 | 1206720.4496 | 2668544.9398 | 1206720.6708 | 2668545.1409 | 1206721.7071 | 2668547.2614 | 1206736.3849 | 2668549.2122 | 1206749.9489 | 2668551.287 | 1206765.9603 | 2668551.9839 | 1206776.1301 | 2668552.0065 | 1206779.4546
13 | 2668548.1188 | 1206720.0069 | 2668551.0725 | 1206737.5679
14 | 2668556.2836 | 1206718.2773 | 2668552.6313 | 1206696.131
15 | 2668552.0065 | 1206779.4546 | 2668552.1412 | 1206798.1899 | 2668551.9983 | 1206805.9726
16 | 2668552.0065 | 1206779.4546 | 2668548.4391 | 1206779.5137
17 | 2668551.0725 | 1206737.5679 | 2668553.5331 | 1206752.1972
18 | 2668487.4292 | 1206707.5363 | 2668488.7275 | 1206690.4963 | 2668473.8322 | 1206683.6101 | 2668467.5517 | 1206678.1904
19 | 2668467.5517 | 1206678.1904 | 2668450.7529 | 1206620.4291
20 | 2668576.4176 | 1206602.1485 | 2668560.8892 | 1206602.439
21 | 2668549.0392 | 1206674.3497 | 2668552.6313 | 1206696.131
22 | 2668551.989 | 1206806.4821 | 2668551.9983 | 1206805.9726
23 | 2668548.4391 | 1206779.5137 | 2668544.7195 | 1206779.5822 | 2668544.2167 | 1206774.5832
24 | 2668553.5331 | 1206752.1972 | 2668553.9776 | 1206754.8399 | 2668555.2223 | 1206768.2958 | 2668555.3728 | 1206771.697
25 | 2668450.7529 | 1206620.4291 | 2668457.2046 | 1206604.6522
26 | 2668407.1053 | 1206723.4142 | 2668403.6872 | 1206718.4054 | 2668394.4941 | 1206708.4979
27 | 2668397.0188 | 1206729.5803 | 2668407.1053 | 1206723.4142
28 | 2668397.0188 | 1206729.5803 | 2668381.8754 | 1206741.0024
29 | 2668400.3246 | 1206731.7862 | 2668397.0188 | 1206729.5803
30 | 2668547.0692 | 1206662.404 | 2668549.0392 | 1206674.3497
31 | 2668536.8142 | 1206739.5493 | 2668538.9462 | 1206752.5327 | 2668538.9462 | 1206752.5327
32 | 2668541.5303 | 1206726.8466 | 2668537.5691 | 1206727.4237 | 2668538.047 | 1206731.4983 | 2668535.9538 | 1206734.3094 | 2668536.8142 | 1206739.5493
33 | 2668543.1723 | 1206764.2001 | 2668542.665 | 1206759.1572 | 2668538.9462 | 1206752.5327
34 | 2668541.5303 | 1206726.8466 | 2668538.812 | 1206711.7099
35 | 2668543.1723 | 1206764.2001 | 2668544.2167 | 1206774.5832
36 | 2668464.9951 | 1206712.5528 | 2668450.8 | 1206713.1308 | 2668437.926 | 1206715.1683
37 | 2668400.3246 | 1206731.7862 | 2668411.825 | 1206725.0026 | 2668422.0871 | 1206720.1061 | 2668434.6861 | 1206715.6811 | 2668437.926 | 1206715.1683
38 | 2668400.3246 | 1206731.7862 | 2668383.588 | 1206743.3882
39 | 2668381.2827 | 1206744.9863 | 2668383.588 | 1206743.3882
40 | 2668381.8754 | 1206741.0024 | 2668365.9937 | 1206752.9812
41 | 2668555.6339 | 1206798.0965 | 2668555.8321 | 1206782.0779 | 2668555.3728 | 1206771.697
42 | 2668554.4721 | 1206860.4778 | 2668554.9827 | 1206850.7325 | 2668555.6339 | 1206798.0965
43 | 2668551.989 | 1206806.4821 | 2668551.5925 | 1206828.0797 | 2668551.6308 | 1206834.4037
44 | 2668551.6308 | 1206834.4037 | 2668551.7316 | 1206851.062 | 2668550.4445 | 1206865.7896 | 2668549.2246 | 1206872.7888
45 | 2668549.2246 | 1206872.7888 | 2668476.2924 | 1206864.5656
46 | 2668476.2924 | 1206864.5656 | 2668467.1706 | 1206857.2513 | 2668455.0039 | 1206850.5299 | 2668444.1401 | 1206847.9149
47 | 2668370.1506 | 1206822.5998 | 2668444.1401 | 1206847.9149
48 | 2668284.1452 | 1206799.3758 | 2668299.1211 | 1206787.2618 | 2668299.7788 | 1206783.6116 | 2668299.2211 | 1206778.5231
49 | 2668284.1452 | 1206799.3758 | 2668291.5062 | 1206805.4081 | 2668299.8882 | 1206809.94 | 2668301.4084 | 1206810.669 | 2668303.9449 | 1206806.9957 | 2668306.4044 | 1206806.0566 | 2668307.009 | 1206806.386 | 2668309.7523 | 1206807.8961 | 2668320.2332 | 1206791.8395 | 2668321.6901 | 1206790.1328
50 | 2668321.6901 | 1206790.1328 | 2668329.4546 | 1206781.6404
51 | 2668324.8146 | 1206792.2254 | 2668321.6901 | 1206790.1328
52 | 2668337.4308 | 1206800.6781 | 2668370.1506 | 1206822.5998
53 | 2668324.8146 | 1206792.2254 | 2668337.4308 | 1206800.6781
54 | 2668365.9937 | 1206752.9812 | 2668349.6221 | 1206765.3296
55 | 2668349.6221 | 1206765.3296 | 2668346.258 | 1206767.867 | 2668333.3956 | 1206778.031
56 | 2668333.3956 | 1206778.031 | 2668331.0857 | 1206779.8563 | 2668329.4546 | 1206781.6404

## bus_geodata
| x | y | coords
0 | 2668462.9826 | 1206584.3841
1 | 2668458.0515 | 1206602.5813
2 | 2668507.8622 | 1206541.3911
3 | 2668535.0923 | 1206536.4876
4 | 2668522.6602 | 1206603.1542
5 | 2668542.7195 | 1206602.7789
6 | 2668531.6171 | 1206650.4061
7 | 2668547.2922 | 1206602.6934
8 | 2668534.1837 | 1206663.9459
9 | 2668548.1188 | 1206720.0069
10 | 2668556.2836 | 1206718.2773
11 | 2668552.0065 | 1206779.4546
12 | 2668551.0725 | 1206737.5679
13 | 2668487.4292 | 1206707.5363
14 | 2668467.5517 | 1206678.1904
15 | 2668560.8892 | 1206602.439
16 | 2668552.6313 | 1206696.131
17 | 2668551.9983 | 1206805.9726
18 | 2668548.4391 | 1206779.5137
19 | 2668553.5331 | 1206752.1972
20 | 2668450.7529 | 1206620.4291
21 | 2668407.1053 | 1206723.4142
22 | 2668394.4941 | 1206708.4979
23 | 2668397.0188 | 1206729.5803
24 | 2668549.0392 | 1206674.3497
25 | 2668547.0692 | 1206662.404
26 | 2668536.8142 | 1206739.5493
27 | 2668538.9462 | 1206752.5327
28 | 2668541.5303 | 1206726.8466
29 | 2668543.1723 | 1206764.2001
30 | 2668538.812 | 1206711.7099
31 | 2668544.2167 | 1206774.5832
32 | 2668464.9951 | 1206712.5528
33 | 2668437.926 | 1206715.1683
34 | 2668576.4176 | 1206602.1485
35 | 2668400.3246 | 1206731.7862
36 | 2668383.588 | 1206743.3882
37 | 2668381.8754 | 1206741.0024
38 | 2668381.2827 | 1206744.9863
39 | 2668555.3728 | 1206771.697
40 | 2668555.6339 | 1206798.0965
41 | 2668554.4721 | 1206860.4778
42 | 2668551.989 | 1206806.4821
43 | 2668457.2046 | 1206604.6522
44 | 2668551.6308 | 1206834.4037
45 | 2668549.2246 | 1206872.7888
46 | 2668476.2924 | 1206864.5656
47 | 2668444.1401 | 1206847.9149
48 | 2668299.2211 | 1206778.5231
49 | 2668284.1452 | 1206799.3758
50 | 2668321.6901 | 1206790.1329
51 | 2668370.1506 | 1206822.5998
52 | 2668337.4308 | 1206800.6781
53 | 2668365.9937 | 1206752.9812
54 | 2668349.6221 | 1206765.3296
55 | 2668333.3956 | 1206778.031
56 | 2668329.4546 | 1206781.6404
57 | 2668324.8146 | 1206792.2254
58 | 2668467.5517 | 1206678.1904

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9923 | -0.14646 | 0.0058117 | 0.0014565
1 | 0.99325 | -0.12825 | 0.0093357 | 0.0023397
2 | 0.98925 | -0.20499 | 0 | 0
3 | 0.98914 | -0.20706 | 0.0041921 | 0.0010506
4 | 0.9862 | -0.26399 | 0 | 0
5 | 0.98542 | -0.27909 | 0.0074204 | 0.0018597
6 | 0.98435 | -0.29983 | 0.01321 | 0.0033107
7 | 0.98528 | -0.28193 | 0.009199 | 0.0023055
8 | 0.98386 | -0.3093 | 0 | 0
9 | 0.98168 | -0.35177 | 0 | 0
10 | 0.98126 | -0.36008 | 0 | 0
11 | 0.98057 | -0.37354 | 0 | 0
12 | 0.98134 | -0.35843 | 0.0044188 | 0.0011075
13 | 1 | 0 | -0.25461 | -0.064885
14 | 0.9976 | -0.045427 | 0.0096145 | 0.0024096
15 | 0.98496 | -0.28812 | 0.009199 | 0.0023055
16 | 0.98011 | -0.38254 | 0.025959 | 0.006506
17 | 0.98021 | -0.3806 | 0.0049632 | 0.0012439
18 | 0.98051 | -0.3747 | 0 | 0
19 | 0.98112 | -0.36279 | 0.0042525 | 0.0010658
20 | 0.99427 | -0.10872 | 0.009617 | 0.0024103
21 | 0.97677 | -0.44813 | 0 | 0
22 | 0.97669 | -0.44983 | 0.0047704 | 0.0011956
23 | 0.97683 | -0.4471 | 0 | 0
24 | 0.97952 | -0.39426 | 0.016529 | 0.0041425
25 | 0.97937 | -0.39705 | 0.012709 | 0.0031851
26 | 0.97992 | -0.38632 | 0.0040189 | 0.0010072
27 | 0.98005 | -0.38382 | 0.0034476 | 0.00086406
28 | 0.97982 | -0.38831 | 0 | 0
29 | 0.98021 | -0.38062 | 0.0021072 | 0.00052811
30 | 0.97973 | -0.39011 | 0.0064661 | 0.0016206
31 | 0.98037 | -0.37758 | 0.0020935 | 0.00052468
32 | 0.97663 | -0.45097 | 0.0017376 | 0.00043549
33 | 0.97667 | -0.45011 | 0.001476 | 0.00036993
34 | 0.98473 | -0.29263 | 0.016151 | 0.0040479
35 | 0.9768 | -0.44768 | 0 | 0
36 | 0.97671 | -0.44945 | 0.0023792 | 0.00059628
37 | 0.97705 | -0.44268 | 0.00448 | 0.0011228
38 | 0.9767 | -0.44957 | 0.0023792 | 0.00059629
39 | 0.98091 | -0.36704 | 0.0035466 | 0.00088886
40 | 0.9807 | -0.37107 | 0.0032647 | 0.00081821
41 | 0.9804 | -0.37692 | 0.0051652 | 0.0012945
42 | 0.9802 | -0.38073 | 0.0040727 | 0.0010207
43 | 0.99337 | -0.12601 | 0.002552 | 0.00063959
44 | 0.97988 | -0.38703 | 0.0046226 | 0.0011585
45 | 0.97948 | -0.39492 | 0.0060395 | 0.0015136
46 | 0.97882 | -0.40796 | 0.0029242 | 0.00073287
47 | 0.97851 | -0.414 | 0.0028387 | 0.00071145
48 | 0.97737 | -0.43634 | 0.001756 | 0.00044009
49 | 0.97742 | -0.43544 | 0 | 0
50 | 0.9775 | -0.43374 | 0 | 0
51 | 0.97791 | -0.42586 | 0.0027215 | 0.00068207
52 | 0.97763 | -0.43134 | 0.0028008 | 0.00070194
53 | 0.97721 | -0.43955 | 0.0023549 | 0.0005902
54 | 0.9773 | -0.43772 | 0.0020411 | 0.00051154
55 | 0.97741 | -0.43569 | 0.0022608 | 0.00056662
56 | 0.97743 | -0.43511 | 0.0021066 | 0.00052796
57 | 0.97753 | -0.43327 | 0 | 0
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.22013 | -0.055999 | 0.22032 | 0.056122 | 0.00019327 | 0.00012272 | 0.33039 | 0.33039 | 0.33039 | 0.9923 | -0.14646 | 0.99325 | -0.12825 | 22.6919
1 | 0.21432 | 0.054543 | -0.21371 | -0.05416 | 0.00060292 | 0.00038267 | 0.32168 | 0.32168 | 0.32168 | 0.9923 | -0.14646 | 0.98925 | -0.20499 | 22.0934
2 | -0.22966 | -0.058462 | 0.22968 | 0.058477 | 2.4875e-05 | 1.5804e-05 | 0.34438 | 0.34438 | 0.34438 | 0.99325 | -0.12825 | 0.99337 | -0.12601 | 23.6524
3 | 0.20952 | 0.053109 | -0.20893 | -0.052734 | 0.00059223 | 0.00037577 | 0.31537 | 0.31538 | 0.31538 | 0.98925 | -0.20499 | 0.9862 | -0.26399 | 21.6604
4 | 0.0041925 | 0.0010505 | -0.0041921 | -0.0010506 | 4.1263e-07 | -9.11e-08 | 0.0063063 | 0.0063064 | 0.0063064 | 0.98925 | -0.20499 | 0.98914 | -0.20706 | 1.7325
5 | 0.042016 | 0.010547 | -0.041985 | -0.010528 | 3.0242e-05 | 1.9099e-05 | 0.063401 | 0.063401 | 0.063401 | 0.9862 | -0.26399 | 0.98542 | -0.27909 | 17.4179
6 | 0.16691 | 0.042186 | -0.16663 | -0.042006 | 0.00028627 | 0.00018076 | 0.25197 | 0.25198 | 0.25198 | 0.9862 | -0.26399 | 0.98435 | -0.29983 | 17.306
7 | 0.034565 | 0.0086684 | -0.03456 | -0.0086655 | 4.6726e-06 | 2.9322e-06 | 0.052196 | 0.052196 | 0.052196 | 0.98542 | -0.27909 | 0.98528 | -0.28193 | 14.3396
8 | 0.15342 | 0.038695 | -0.15335 | -0.038651 | 6.9542e-05 | 4.3807e-05 | 0.23201 | 0.23201 | 0.23201 | 0.98435 | -0.29983 | 0.98386 | -0.3093 | 15.9345
9 | 0.025361 | 0.00636 | -0.025354 | -0.0063554 | 7.4821e-06 | 4.6154e-06 | 0.038303 | 0.038303 | 0.038303 | 0.98528 | -0.28193 | 0.98496 | -0.28812 | 10.5229
10 | 0.15335 | 0.038651 | -0.15304 | -0.038455 | 0.00031095 | 0.00019589 | 0.23201 | 0.23201 | 0.23201 | 0.98386 | -0.3093 | 0.98168 | -0.35177 | 15.9346
11 | 0.055296 | 0.013896 | -0.055274 | -0.013882 | 2.1934e-05 | 1.3932e-05 | 0.08383 | 0.08383 | 0.08383 | 0.98168 | -0.35177 | 0.98126 | -0.36008 | 23.0303
12 | 0.077079 | 0.019376 | -0.076999 | -0.019328 | 8.0012e-05 | 4.805e-05 | 0.11686 | 0.11686 | 0.11686 | 0.98168 | -0.35177 | 0.98057 | -0.37354 | 8.0258
13 | 0.020663 | 0.0051829 | -0.020657 | -0.0051789 | 6.5516e-06 | 3.968e-06 | 0.031322 | 0.031322 | 0.031322 | 0.98168 | -0.35177 | 0.98134 | -0.35843 | 8.6051
14 | 0.055274 | 0.013882 | -0.055215 | -0.013845 | 5.9151e-05 | 3.7573e-05 | 0.08383 | 0.08383 | 0.08383 | 0.98126 | -0.36008 | 0.98011 | -0.38254 | 23.0303
15 | 0.058855 | 0.014778 | -0.058835 | -0.014766 | 1.9836e-05 | 1.1358e-05 | 0.089322 | 0.089323 | 0.089323 | 0.98057 | -0.37354 | 0.98021 | -0.3806 | 6.1348
16 | 0.018144 | 0.0045502 | -0.018143 | -0.0045496 | 1.0112e-06 | 6.0233e-07 | 0.027534 | 0.027534 | 0.027534 | 0.98057 | -0.37354 | 0.98051 | -0.3747 | 7.5643
17 | 0.016238 | 0.0040715 | -0.016234 | -0.0040695 | 3.3726e-06 | 1.9711e-06 | 0.024622 | 0.024622 | 0.024622 | 0.98134 | -0.35843 | 0.98112 | -0.36279 | 6.7644
18 | 0.25296 | 0.064885 | -0.2524 | -0.064531 | 0.00055605 | 0.00035369 | 0.37693 | 0.37693 | 0.37693 | 1 | 0 | 0.9976 | -0.045427 | 25.8883
19 | 0.24279 | 0.062122 | -0.24205 | -0.06165 | 0.00074145 | 0.0004714 | 0.36259 | 0.36259 | 0.36259 | 0.9976 | -0.045427 | 0.99427 | -0.10872 | 24.9035
20 | 0.016155 | 0.0040499 | -0.016151 | -0.0040479 | 3.4693e-06 | 2.0227e-06 | 0.024406 | 0.024406 | 0.024406 | 0.98496 | -0.28812 | 0.98473 | -0.29263 | 6.705
21 | 0.029256 | 0.0073387 | -0.029239 | -0.0073286 | 1.6333e-05 | 1.0175e-05 | 0.044418 | 0.044419 | 0.044419 | 0.98011 | -0.38254 | 0.97952 | -0.39426 | 12.2029
22 | 0.053872 | 0.013523 | -0.053872 | -0.013522 | 3.1961e-07 | 1.7886e-07 | 0.081788 | 0.081788 | 0.081788 | 0.98021 | -0.3806 | 0.9802 | -0.38073 | 5.6173
23 | 0.018143 | 0.0045496 | -0.01814 | -0.0045482 | 2.486e-06 | 1.4808e-06 | 0.027534 | 0.027534 | 0.027534 | 0.98051 | -0.3747 | 0.98037 | -0.37758 | 7.5643
24 | 0.011982 | 0.0030037 | -0.01198 | -0.0030024 | 2.4271e-06 | 1.3059e-06 | 0.018173 | 0.018173 | 0.018173 | 0.98112 | -0.36279 | 0.98091 | -0.36704 | 4.9925
25 | 0.23243 | 0.05924 | -0.23224 | -0.059117 | 0.00019375 | 0.00012311 | 0.3482 | 0.3482 | 0.3482 | 0.99427 | -0.10872 | 0.99337 | -0.12601 | 23.915
26 | 0.0047708 | 0.0011956 | -0.0047704 | -0.0011956 | 3.8783e-07 | 3.1585e-09 | 0.0072678 | 0.0072679 | 0.0072679 | 0.97677 | -0.44813 | 0.97669 | -0.44983 | 1.9967
27 | -0.0047708 | -0.0011956 | 0.004771 | 0.0011956 | 2.3369e-07 | 1.8793e-09 | 0.0072678 | 0.0072677 | 0.0072678 | 0.97677 | -0.44813 | 0.97683 | -0.4471 | 1.9966
28 | -0.012744 | -0.0031931 | 0.012747 | 0.0031945 | 2.6807e-06 | 1.4781e-06 | 0.019413 | 0.019413 | 0.019413 | 0.97683 | -0.4471 | 0.97705 | -0.44268 | 5.3333
29 | 0.0079732 | 0.0019975 | -0.0079729 | -0.0019974 | 2.1939e-07 | 9.0761e-08 | 0.012145 | 0.012145 | 0.012145 | 0.97683 | -0.4471 | 0.9768 | -0.44768 | 3.3366
30 | 0.01271 | 0.003186 | -0.012709 | -0.0031851 | 1.6927e-06 | 9.3098e-07 | 0.019309 | 0.019309 | 0.019309 | 0.97952 | -0.39426 | 0.97937 | -0.39705 | 5.3047
31 | -0.010486 | -0.0026281 | 0.010487 | 0.0026288 | 1.251e-06 | 6.3488e-07 | 0.015923 | 0.015923 | 0.015923 | 0.97992 | -0.38632 | 0.98005 | -0.38382 | 4.3745
32 | 0.0064673 | 0.0016209 | -0.0064667 | -0.0016207 | 6.1197e-07 | 1.7852e-07 | 0.0098207 | 0.0098207 | 0.0098207 | 0.97992 | -0.38632 | 0.97982 | -0.38831 | 2.698
33 | -0.013935 | -0.0034928 | 0.013937 | 0.003494 | 2.1261e-06 | 1.2011e-06 | 0.021158 | 0.021158 | 0.021158 | 0.98005 | -0.38382 | 0.98021 | -0.38062 | 5.8126
34 | 0.0064667 | 0.0016207 | -0.0064661 | -0.0016206 | 5.5622e-07 | 1.623e-07 | 0.0098207 | 0.0098208 | 0.0098208 | 0.97982 | -0.38831 | 0.97973 | -0.39011 | 2.698
35 | -0.016044 | -0.0040221 | 0.016047 | 0.0040235 | 2.3216e-06 | 1.3542e-06 | 0.024357 | 0.024357 | 0.024357 | 0.98021 | -0.38062 | 0.98037 | -0.37758 | 6.6914
36 | -0.0017376 | -0.00043549 | 0.0017377 | 0.00043519 | 7.1597e-08 | -2.9507e-07 | 0.0026475 | 0.0026473 | 0.0026475 | 0.97663 | -0.45097 | 0.97667 | -0.45011 | 0.72733
37 | -0.0032137 | -0.00080512 | 0.0032141 | 0.00080484 | 3.7176e-07 | -2.7968e-07 | 0.0048962 | 0.004896 | 0.0048962 | 0.97667 | -0.45011 | 0.9768 | -0.44768 | 1.3451
38 | 0.0047589 | 0.0011926 | -0.0047584 | -0.0011925 | 4.0135e-07 | 1.9707e-09 | 0.0072494 | 0.0072495 | 0.0072495 | 0.9768 | -0.44768 | 0.97671 | -0.44945 | 1.9916
39 | 0.0023793 | 0.00059627 | -0.0023792 | -0.00059629 | 1.3821e-08 | -2.6259e-08 | 0.0036248 | 0.0036248 | 0.0036248 | 0.97671 | -0.44945 | 0.9767 | -0.44957 | 0.99583
40 | -0.017227 | -0.0043173 | 0.017229 | 0.0043185 | 2.5674e-06 | 1.1448e-06 | 0.026236 | 0.026236 | 0.026236 | 0.97705 | -0.44268 | 0.97721 | -0.43955 | 3.6038
41 | 0.008433 | 0.0021136 | -0.0084314 | -0.0021129 | 1.6209e-06 | 7.0403e-07 | 0.012793 | 0.012793 | 0.012793 | 0.98091 | -0.36704 | 0.9807 | -0.37107 | 3.5145
42 | 0.0051667 | 0.0012947 | -0.0051652 | -0.0012945 | 1.4381e-06 | 1.3327e-07 | 0.0078393 | 0.0078396 | 0.0078396 | 0.9807 | -0.37107 | 0.9804 | -0.37692 | 2.1537
43 | 0.049799 | 0.012502 | -0.049784 | -0.012493 | 1.4965e-05 | 8.1702e-06 | 0.075606 | 0.075606 | 0.075606 | 0.9802 | -0.38073 | 0.97988 | -0.38703 | 5.1927
44 | 0.045162 | 0.011335 | -0.045145 | -0.011326 | 1.7e-05 | 8.9384e-06 | 0.068587 | 0.068587 | 0.068587 | 0.97988 | -0.38703 | 0.97948 | -0.39492 | 4.7107
45 | 0.039105 | 0.0098124 | -0.039081 | -0.0098005 | 2.4288e-05 | 1.1852e-05 | 0.059412 | 0.059414 | 0.059414 | 0.97948 | -0.39492 | 0.97882 | -0.40796 | 4.0806
46 | 0.036157 | 0.0090677 | -0.036146 | -0.0090628 | 1.0415e-05 | 4.8175e-06 | 0.054968 | 0.054969 | 0.054969 | 0.97882 | -0.40796 | 0.97851 | -0.414 | 3.7753
47 | 0.033307 | 0.0083514 | -0.033289 | -0.0083433 | 1.881e-05 | 8.1115e-06 | 0.050652 | 0.050653 | 0.050653 | 0.97851 | -0.414 | 0.97791 | -0.42586 | 3.4789
48 | -0.001756 | -0.00044009 | 0.0017561 | 0.00043979 | 7.5283e-08 | -3.0387e-07 | 0.0026734 | 0.0026733 | 0.0026734 | 0.97737 | -0.43634 | 0.97742 | -0.43544 | 0.73446
49 | -0.0017561 | -0.00043979 | 0.0017562 | 0.00043921 | 1.422e-07 | -5.7416e-07 | 0.0026733 | 0.0026731 | 0.0026733 | 0.97742 | -0.43544 | 0.9775 | -0.43374 | 0.73442
50 | 0.025999 | 0.0065158 | -0.025997 | -0.0065153 | 1.6898e-06 | 5.045e-07 | 0.039577 | 0.039577 | 0.039577 | 0.9775 | -0.43374 | 0.97743 | -0.43511 | 2.7182
51 | -0.027755 | -0.0069551 | 0.027756 | 0.0069553 | 6.2807e-07 | 2.1378e-07 | 0.04225 | 0.04225 | 0.04225 | 0.9775 | -0.43374 | 0.97753 | -0.43327 | 2.9018
52 | 0.030567 | 0.0076612 | -0.030559 | -0.0076581 | 7.988e-06 | 3.1364e-06 | 0.046512 | 0.046513 | 0.046513 | 0.97791 | -0.42586 | 0.97763 | -0.43134 | 3.1946
53 | 0.027758 | 0.0069561 | -0.027756 | -0.0069553 | 2.5414e-06 | 8.6491e-07 | 0.04225 | 0.04225 | 0.04225 | 0.97763 | -0.43134 | 0.97753 | -0.43327 | 2.9018
54 | -0.019584 | -0.0049087 | 0.019586 | 0.0049088 | 1.7097e-06 | 6.6484e-08 | 0.029822 | 0.029821 | 0.029822 | 0.97721 | -0.43955 | 0.9773 | -0.43772 | 2.0482
55 | -0.021627 | -0.0054203 | 0.021629 | 0.0054206 | 2.0948e-06 | 3.0769e-07 | 0.032929 | 0.032929 | 0.032929 | 0.9773 | -0.43772 | 0.97741 | -0.43569 | 2.2616
56 | -0.02389 | -0.0059872 | 0.023891 | 0.0059874 | 6.6489e-07 | 1.5674e-07 | 0.036371 | 0.03637 | 0.036371 | 0.97741 | -0.43569 | 0.97743 | -0.43511 | 2.498

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25461 | 0.064885

## res_load
| p_mw | q_mvar
0 | 0.0058117 | 0.0014565
1 | 0.0093357 | 0.0023397
2 | 0.0041921 | 0.0010506
3 | 0.0074204 | 0.0018597
4 | 0.01321 | 0.0033107
5 | 0.009199 | 0.0023055
6 | 0.0044188 | 0.0011075
7 | 0.0096145 | 0.0024096
8 | 0.009199 | 0.0023055
9 | 0.025959 | 0.006506
10 | 0.0049632 | 0.0012439
11 | 0.0042525 | 0.0010658
12 | 0.009617 | 0.0024103
13 | 0.0047704 | 0.0011956
14 | 0.016529 | 0.0041425
15 | 0.012709 | 0.0031851
16 | 0.0040189 | 0.0010072
17 | 0.0034476 | 0.00086406
18 | 0.0021072 | 0.00052811
19 | 0.0064661 | 0.0016206
20 | 0.0020935 | 0.00052468
21 | 0.0017376 | 0.00043549
22 | 0.001476 | 0.00036993
23 | 0.016151 | 0.0040479
24 | 0.0023792 | 0.00059628
25 | 0.00448 | 0.0011228
26 | 0.0023792 | 0.00059629
27 | 0.0035466 | 0.00088886
28 | 0.0032647 | 0.00081821
29 | 0.0051652 | 0.0012945
30 | 0.0040727 | 0.0010207
31 | 0.002552 | 0.00063959
32 | 0.0046226 | 0.0011585
33 | 0.0060395 | 0.0015136
34 | 0.0029242 | 0.00073287
35 | 0.0028387 | 0.00071145
36 | 0.001756 | 0.00044009
37 | 0.0027215 | 0.00068207
38 | 0.0028008 | 0.00070194
39 | 0.0023549 | 0.0005902
40 | 0.0020411 | 0.00051154
41 | 0.0022608 | 0.00056662
42 | 0.0021066 | 0.00052796

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1