## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-3_1_4_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_1058-3_1_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_1058-3_1_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_1058-3_1_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1058-3_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1058-3_1_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1058-3_1_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1058-3_1_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1058-3_1_4_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_1058-3_1_4_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_1058-3_1_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1058-3_1_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1058-3_1_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1058-3_1_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_1058-3_1_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_1058-3_1_4_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_1058-3_1_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1058-3_1_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1058-3_1_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1058-3_1_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1058-3_1_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1058-3_1_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1058-3_1_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1058-3_1_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1058-3_1_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1058-3_1_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1058-3_1_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1058-3_1_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1058-3_1_4_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_1058-3_1_4_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_1058-3_1_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_1058-3_1_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1058-3_1_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1058-3_1_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_1058-3_1_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1058-3_1_4_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_1058-3_1_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1058-3_1_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1058-3_1_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1058-3_1_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1058-3_1_4_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_1058-3_1_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1058-3_1_4_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_1058-3_1_4_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_1058-3_1_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1058-3_1_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1058-3_1_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1058-3_1_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_1058-3_1_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1058-3_1_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1058-3_1_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1058-3_1_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_1058-3_1_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1058-3_1_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1058-3_1_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_1058-3_1_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_1058-3_1_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_1058-3_1_4_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_1058-3_1_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1058-3_1_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1058-3_1_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1058-3_1_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1058-3_1_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1058-3_1_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1058-3_1_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_1058-3_1_4_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_1058-3_1_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1058-3_1_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_1058-3_1_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1058-3_1_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1058-3_1_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_1058-3_1_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_1058-3_1_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_1058-3_1_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1058-3_1_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_1058-3_1_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1058-3_1_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_1058-3_1_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_1058-3_1_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_1058-3_1_4_node_82 | 0.4 | n |  | TRUE
80 | bus_MV_23_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-3_1_4_load_3 | 0 | 0.0037587 | 0.00094201 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-3_1_4_load_4 | 1 | 0.0017419 | 0.00043655 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-3_1_4_load_6 | 3 | 0.0059785 | 0.0014984 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-3_1_4_load_53 | 6 | 0.0081359 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-3_1_4_load_87 | 8 | 0.006949 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-3_1_4_load_37 | 12 | 0.0025381 | 0.00063611 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-3_1_4_load_77 | 13 | 0.011974 | 0.0030011 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-3_1_4_load_54 | 14 | 0.007995 | 0.0020037 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-3_1_4_load_91 | 15 | 0.0069488 | 0.0017415 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-3_1_4_load_32 | 16 | 0.0025845 | 0.00064774 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-3_1_4_load_36 | 17 | 0.002492 | 0.00062455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-3_1_4_load_18 | 18 | 0.020277 | 0.005082 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-3_1_4_load_19 | 19 | 0.023669 | 0.005932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-3_1_4_load_21 | 21 | 0.018438 | 0.0046211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-3_1_4_load_26 | 26 | 0.011193 | 0.0028051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-3_1_4_load_93 | 28 | 0.018284 | 0.0045825 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-3_1_4_load_86 | 30 | 0.020888 | 0.0052351 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-3_1_4_load_41 | 32 | 0.01657 | 0.0041529 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-3_1_4_load_81 | 33 | 0.015168 | 0.0038015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-3_1_4_load_89 | 35 | 0.043816 | 0.010981 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-3_1_4_load_40 | 37 | 0.03137 | 0.007862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-3_1_4_load_94 | 40 | 0.010424 | 0.0026126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-3_1_4_load_90 | 42 | 0.016132 | 0.004043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-3_1_4_load_85 | 43 | 0.013736 | 0.0034426 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-3_1_4_load_43 | 44 | 0.031361 | 0.0078597 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-3_1_4_load_33 | 47 | 0.0025914 | 0.00064945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-3_1_4_load_35 | 48 | 0.0057465 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-3_1_4_load_38 | 51 | 0.0025113 | 0.0006294 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-3_1_4_load_39 | 52 | 0.0024327 | 0.0006097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-3_1_4_load_62 | 53 | 0.0024954 | 0.00062541 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-3_1_4_load_63 | 54 | 0.002369 | 0.00059373 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-3_1_4_load_75 | 55 | 0.0048822 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-3_1_4_load_69 | 56 | 0.0022106 | 0.00055404 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-3_1_4_load_76 | 57 | 0.0050815 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1058-3_1_4_load_47 | 58 | 0.0014641 | 0.00036694 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1058-3_1_4_load_56 | 63 | 0.0013771 | 0.00034513 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1058-3_1_4_load_73 | 64 | 0.0012977 | 0.00032523 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1058-3_1_4_load_92 | 65 | 0.00443 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1058-3_1_4_load_68 | 67 | 0.0039058 | 0.00097889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1058-3_1_4_load_66 | 68 | 0.0011969 | 0.00029996 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1058-3_1_4_load_55 | 69 | 0.0013588 | 0.00034054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1058-3_1_4_load_71 | 70 | 0.001089 | 0.00027292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1058-3_1_4_load_57 | 71 | 0.0041289 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1058-3_1_4_load_58 | 72 | 0.0011257 | 0.00028214 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1058-3_1_4_load_64 | 73 | 0.001227 | 0.00030752 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1058-3_1_4_load_65 | 74 | 0.001206 | 0.00030226 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1058-3_1_4_load_67 | 75 | 0.0011305 | 0.00028333 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1058-3_1_4_load_70 | 76 | 0.0055465 | 0.0013901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1058-3_1_4_load_72 | 77 | 0.00488 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1058-3_1_4_load_74 | 78 | 0.0050762 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1058-3_1_4_load_82 | 79 | 0.015164 | 0.0038003 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-3_1_4_line_0 |  | 0 | 1 | 0.004922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-3_1_4_line_1 |  | 0 | 2 | 0.13987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1058-3_1_4_line_2 |  | 1 | 3 | 0.026677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-3_1_4_line_3 |  | 2 | 4 | 0.003946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1058-3_1_4_line_4 |  | 4 | 5 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1058-3_1_4_line_5 |  | 4 | 6 | 0.039463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-3_1_4_line_6 |  | 5 | 13 | 0.0078359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-3_1_4_line_7 |  | 5 | 11 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1058-3_1_4_line_8 |  | 6 | 14 | 0.0066338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-3_1_4_line_9 |  | 7 | 8 | 0.008214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-3_1_4_line_10 |  | 7 | 9 | 0.024943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-3_1_4_line_11 |  | 7 | 10 | 0.002937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1058-3_1_4_line_12 |  | 9 | 15 | 0.012764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-3_1_4_line_13 |  | 10 | 16 | 0.0094066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1058-3_1_4_line_14 |  | 10 | 11 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1058-3_1_4_line_15 |  | 11 | 12 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-3_1_4_line_16 |  | 12 | 17 | 0.0021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-3_1_4_line_17 |  | 16 | 47 | 0.0027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1058-3_1_4_line_18 |  | 17 | 51 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-3_1_4_line_19 |  | 18 | 19 | 0.049695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-3_1_4_line_20 |  | 18 | 20 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-3_1_4_line_21 |  | 19 | 21 | 0.03557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-3_1_4_line_22 |  | 20 | 22 | 0.24223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-3_1_4_line_23 |  | 21 | 23 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1058-3_1_4_line_24 |  | 22 | 28 | 0.009231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-3_1_4_line_25 |  | 22 | 29 | 0.032525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-3_1_4_line_26 |  | 23 | 27 | 0.069042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1058-3_1_4_line_27 |  | 23 | 24 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-3_1_4_line_28 |  | 24 | 25 | 0.12844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-3_1_4_line_29 |  | 24 | 26 | 0.044847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-3_1_4_line_30 |  | 25 | 30 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-3_1_4_line_31 |  | 26 | 31 | 0.028138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-3_1_4_line_32 |  | 27 | 32 | 0.034111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1058-3_1_4_line_33 |  | 29 | 33 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-3_1_4_line_34 |  | 31 | 38 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-3_1_4_line_35 |  | 32 | 37 | 0.068495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1058-3_1_4_line_36 |  | 33 | 79 | 0.052353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-3_1_4_line_37 |  | 34 | 35 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-3_1_4_line_38 |  | 34 | 36 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-3_1_4_line_39 |  | 36 | 44 | 0.026824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-3_1_4_line_40 |  | 36 | 45 | 0.099961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1058-3_1_4_line_41 |  | 36 | 37 | 0.048789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1058-3_1_4_line_42 |  | 38 | 42 | 0.006676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-3_1_4_line_43 |  | 38 | 39 | 0.076325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-3_1_4_line_44 |  | 39 | 40 | 0.003978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-3_1_4_line_45 |  | 39 | 41 | 0.0074385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-3_1_4_line_46 |  | 41 | 43 | 0.085708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-3_1_4_line_47 |  | 45 | 46 | 0.041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1058-3_1_4_line_48 |  | 46 | 55 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1058-3_1_4_line_49 |  | 47 | 48 | 0.032011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1058-3_1_4_line_50 |  | 48 | 49 | 0.012578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1058-3_1_4_line_51 |  | 49 | 50 | 0.026688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1058-3_1_4_line_52 |  | 50 | 64 | 0.016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1058-3_1_4_line_53 |  | 50 | 59 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-3_1_4_line_54 |  | 51 | 52 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-3_1_4_line_55 |  | 52 | 53 | 0.0060289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-3_1_4_line_56 |  | 53 | 54 | 0.0080582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1058-3_1_4_line_57 |  | 54 | 56 | 0.0058032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-3_1_4_line_58 |  | 55 | 57 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1058-3_1_4_line_59 |  | 57 | 78 | 0.0023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1058-3_1_4_line_60 |  | 58 | 59 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1058-3_1_4_line_61 |  | 58 | 60 | 0.00080185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1058-3_1_4_line_62 |  | 59 | 61 | 0.003407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1058-3_1_4_line_63 |  | 60 | 62 | 0.00409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1058-3_1_4_line_64 |  | 61 | 63 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1058-3_1_4_line_65 |  | 62 | 65 | 0.03455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1058-3_1_4_line_66 |  | 63 | 69 | 0.007138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1058-3_1_4_line_67 |  | 64 | 70 | 0.006301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_1058-3_1_4_line_68 |  | 66 | 67 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1058-3_1_4_line_69 |  | 66 | 68 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1058-3_1_4_line_70 |  | 68 | 75 | 0.0057263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1058-3_1_4_line_71 |  | 69 | 71 | 0.005506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1058-3_1_4_line_72 |  | 70 | 76 | 0.0031953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1058-3_1_4_line_73 |  | 71 | 72 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1058-3_1_4_line_74 |  | 72 | 73 | 0.0055497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1058-3_1_4_line_75 |  | 73 | 74 | 0.0025092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1058-3_1_4_line_76 |  | 74 | 75 | 0.0065055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1058-3_1_4_line_77 |  | 76 | 77 | 0.0059111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_1058-3_1_4_line_78 |  | 77 | 78 | 0.0069413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-3_1_4_trafo_41 | 0.63 MVA 20/0.4 kV | 80 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2665499.0252 | 1206978.8441 | 2665494.1287 | 1206978.344
1 | 2665549.8802 | 1207103.9003 | 2665547.2979 | 1207098.0684 | 2665544.1708 | 1207087.1386 | 2665542.7747 | 1207073.6928 | 2665539.9663 | 1207069.0592 | 2665528.5019 | 1207058.3825 | 2665523.3829 | 1207051.5666 | 2665519.6958 | 1207041.7646 | 2665516.6508 | 1207028.2007 | 2665510.6527 | 1206992.7023 | 2665508.5141 | 1206987.3089 | 2665503.3819 | 1206981.6825 | 2665499.0252 | 1206978.8441
2 | 2665472.8154 | 1206991.1055 | 2665473.9542 | 1206989.1198 | 2665479.2217 | 1206982.4069 | 2665484.4424 | 1206979.2844 | 2665492.4394 | 1206978.1714 | 2665494.1287 | 1206978.344
3 | 2665553.4204 | 1207102.1381 | 2665549.8802 | 1207103.9003
4 | 2665553.4204 | 1207102.1381 | 2665558.0309 | 1207112.3171
5 | 2665553.4204 | 1207102.1381 | 2665588.7741 | 1207084.6044
6 | 2665558.0309 | 1207112.3171 | 2665560.3251 | 1207117.3787 | 2665561.1288 | 1207119.5109
7 | 2665558.0309 | 1207112.3171 | 2665557.3059 | 1207112.5537 | 2665554.1542 | 1207113.5642 | 2665560.3259 | 1207127.685
8 | 2665594.7172 | 1207081.6569 | 2665588.7741 | 1207084.6044
9 | 2665532.9051 | 1207131.7754 | 2665528.3338 | 1207124.9433
10 | 2665514.9273 | 1207148.4883 | 2665519.431 | 1207142.0782 | 2665523.5021 | 1207137.6758 | 2665529.0294 | 1207133.6229 | 2665532.9051 | 1207131.7754
11 | 2665532.9051 | 1207131.7754 | 2665534.4212 | 1207134.2936
12 | 2665514.9273 | 1207148.4883 | 2665506.6695 | 1207138.7362
13 | 2665534.4212 | 1207134.2936 | 2665529.2154 | 1207137.4606 | 2665526.8176 | 1207139.7469
14 | 2665560.3259 | 1207127.685 | 2665556.1133 | 1207128.3614 | 2665547.6116 | 1207129.7355 | 2665534.4212 | 1207134.2936
15 | 2665560.3259 | 1207127.685 | 2665565.3708 | 1207147.4746 | 2665565.4339 | 1207154.6544
16 | 2665565.4531 | 1207156.8497 | 2665565.4339 | 1207154.6544
17 | 2665526.8176 | 1207139.7469 | 2665524.8446 | 1207141.6281
18 | 2665565.4531 | 1207156.8497 | 2665565.5127 | 1207163.6305 | 2665564.4749 | 1207168.5328
19 | 2665717.7389 | 1207123.0423 | 2665719.5405 | 1207121.409 | 2665724.9806 | 1207116.9995 | 2665727.787 | 1207114.8958 | 2665731.2729 | 1207111.1652 | 2665733.9838 | 1207107.3706 | 2665735.7636 | 1207102.5094 | 2665741.6678 | 1207081.5172
20 | 2665759.4512 | 1207086.6606 | 2665741.6678 | 1207081.5172 | 2665741.6678 | 1207081.5172
21 | 2665717.7389 | 1207123.0423 | 2665709.9929 | 1207130.0648 | 2665705.3692 | 1207135.6061 | 2665703.9901 | 1207139.3043 | 2665701.585 | 1207145.7151 | 2665700.3533 | 1207152.7107
22 | 2665651.1161 | 1206969.2972 | 2665655.3286 | 1206967.9538 | 2665661.2151 | 1206965.8284 | 2665663.8096 | 1206964.3338 | 2665665.7364 | 1206962.6873 | 2665671.7404 | 1206956.116 | 2665672.6794 | 1206955.0924 | 2665678.6326 | 1206959.3493 | 2665683.4277 | 1206961.0475 | 2665696.2369 | 1206961.4665 | 2665702.9017 | 1206962.5627 | 2665709.3554 | 1206964.8684 | 2665716.6729 | 1206969.5407 | 2665736.1305 | 1206987.7325 | 2665741.3963 | 1206990.8702 | 2665745.563 | 1206992.3058 | 2665746.0046 | 1206997.7807 | 2665788.59 | 1207011.6136 | 2665774.8768 | 1207055.9673 | 2665759.4512 | 1207086.6606
23 | 2665700.1387 | 1207165.8781 | 2665699.1026 | 1207163.9767 | 2665698.9163 | 1207160.8727 | 2665700.3533 | 1207152.7107
24 | 2665651.1161 | 1206969.2972 | 2665647.7822 | 1206966.1142 | 2665646.2408 | 1206961.7502
25 | 2665651.1161 | 1206969.2972 | 2665649.0784 | 1206969.953 | 2665638.6706 | 1206976.5982 | 2665634.5256 | 1206979.4099 | 2665631.6697 | 1206981.1685 | 2665627.3987 | 1206983.6897 | 2665625.2269 | 1206984.7888 | 2665623.1241 | 1206985.833
26 | 2665634.3159 | 1207164.4312 | 2665639.2445 | 1207166.4199 | 2665651.0425 | 1207169.5515 | 2665671.545 | 1207173.5905 | 2665684.1457 | 1207173.5735 | 2665693.1473 | 1207170.9821 | 2665700.1387 | 1207165.8781
27 | 2665700.1387 | 1207165.8781 | 2665702.2402 | 1207167.013 | 2665704.4565 | 1207168.0825 | 2665711.1042 | 1207170.0235 | 2665725.1596 | 1207174.6254 | 2665723.1293 | 1207180.1509
28 | 2665678.8398 | 1207297.0792 | 2665682.1052 | 1207298.1713 | 2665709.6087 | 1207213.9894 | 2665719.0172 | 1207190.3341 | 2665723.1293 | 1207180.1509
29 | 2665723.1293 | 1207180.1509 | 2665747.2417 | 1207185.0749 | 2665751.1957 | 1207184.4069 | 2665754.3321 | 1207180.6503 | 2665759.7201 | 1207171.3039 | 2665759.9775 | 1207170.8235
30 | 2665665.4451 | 1207292.5736 | 2665678.8398 | 1207297.0792
31 | 2665772.4287 | 1207145.6171 | 2665768.0664 | 1207155.7308 | 2665759.9775 | 1207170.8235
32 | 2665634.3159 | 1207164.4312 | 2665643.6923 | 1207147.8242 | 2665633.3218 | 1207158.7168
33 | 2665623.1241 | 1206985.833 | 2665622.8348 | 1206985.1738 | 2665622.1081 | 1206983.487 | 2665621.7817 | 1206982.7385 | 2665621.1291 | 1206981.2305 | 2665620.7658 | 1206980.3815 | 2665620.1428 | 1206978.9404 | 2665619.7425 | 1206978.0021 | 2665619.2455 | 1206976.8627 | 2665618.0071 | 1206973.9918
34 | 2665772.4287 | 1207145.6171 | 2665774.0129 | 1207146.0793 | 2665781.1097 | 1207148.6702 | 2665783.1569 | 1207146.458 | 2665785.494 | 1207142.7704
35 | 2665599.3295 | 1207218.1821 | 2665633.3218 | 1207158.7168
36 | 2665618.0071 | 1206973.9918 | 2665620.8119 | 1206968.5748 | 2665603.7008 | 1206925.6034
37 | 2665590.63 | 1207241.8094 | 2665597.5891 | 1207245.1656 | 2665612.9322 | 1207250.215 | 2665617.6056 | 1207251.8896
38 | 2665575.1168 | 1207260.5393 | 2665578.6019 | 1207262.4009 | 2665590.63 | 1207241.8094
39 | 2665575.1168 | 1207260.5393 | 2665571.9947 | 1207258.8595 | 2665548.6494 | 1207258.1917
40 | 2665516.439 | 1207268.4667 | 2665517.1911 | 1207272.6886 | 2665518.4156 | 1207276.8268 | 2665521.3104 | 1207282.5843 | 2665522.65 | 1207284.5446 | 2665525.015 | 1207288.006 | 2665529.5178 | 1207292.7472 | 2665539.0252 | 1207300.8676 | 2665543.0886 | 1207302.0018 | 2665546.4562 | 1207302.0943 | 2665549.9339 | 1207301.1653 | 2665553.3768 | 1207298.5682 | 2665575.1168 | 1207260.5393
41 | 2665575.1168 | 1207260.5393 | 2665599.3295 | 1207218.1821
42 | 2665785.494 | 1207142.7704 | 2665786.1673 | 1207141.7105 | 2665790.7975 | 1207144.5522
43 | 2665785.494 | 1207142.7704 | 2665783.1569 | 1207146.458 | 2665781.1097 | 1207148.6702 | 2665780.4106 | 1207150.697 | 2665789.9302 | 1207157.695 | 2665800.7252 | 1207165.5743 | 2665809.9898 | 1207166.7327 | 2665809.7107 | 1207169.2867 | 2665810.6306 | 1207181.7155 | 2665810.2449 | 1207184.9688 | 2665807.8165 | 1207189.3447 | 2665802.5578 | 1207196.6134
44 | 2665802.5578 | 1207196.6134 | 2665799.2517 | 1207194.3867
45 | 2665802.5578 | 1207196.6134 | 2665805.2903 | 1207198.4558 | 2665808.1134 | 1207200.3547 | 2665808.7247 | 1207200.7728
46 | 2665761.4906 | 1207217.6627 | 2665756.4897 | 1207225.6903 | 2665770.2838 | 1207235.3592 | 2665780.5598 | 1207239.953 | 2665792.5577 | 1207223.5529 | 2665808.7247 | 1207200.7728
47 | 2665516.439 | 1207268.4667 | 2665515.6342 | 1207268.3578 | 2665511.2679 | 1207267.7985 | 2665511.7331 | 1207262.8228 | 2665512.7534 | 1207257.8531 | 2665514.4389 | 1207253.2466 | 2665521.6485 | 1207242.0967 | 2665526.5136 | 1207235.3126
48 | 2665526.5136 | 1207235.3126 | 2665515.4866 | 1207227.0755 | 2665514.3395 | 1207226.3685
49 | 2665505.5171 | 1207167.101 | 2665510.8252 | 1207160.5728 | 2665523.5209 | 1207142.8903 | 2665524.8446 | 1207141.6281
50 | 2665497.5821 | 1207176.8597 | 2665505.5171 | 1207167.101
51 | 2665476.0039 | 1207192.5326 | 2665484.2012 | 1207187.6973 | 2665497.5821 | 1207176.8597
52 | 2665476.0039 | 1207192.5326 | 2665482.3148 | 1207201.6073 | 2665487.7061 | 1207204.0283
53 | 2665476.0039 | 1207192.5326 | 2665466.9141 | 1207197.6249
54 | 2665556.7253 | 1207190.8737 | 2665558.3266 | 1207187.8552 | 2665563.1787 | 1207174.656 | 2665564.4749 | 1207168.5328
55 | 2665556.7253 | 1207190.8737 | 2665553.8999 | 1207196.1996
56 | 2665553.8999 | 1207196.1996 | 2665551.5011 | 1207200.7214 | 2665549.7798 | 1207203.1042
57 | 2665549.7798 | 1207203.1042 | 2665546.3817 | 1207207.8084
58 | 2665514.3395 | 1207226.3685 | 2665509.6102 | 1207223.4533 | 2665507.2982 | 1207218.3906
59 | 2665507.2982 | 1207218.3906 | 2665506.625 | 1207216.9166 | 2665506.0071 | 1207216.455
60 | 2665466.9141 | 1207197.6249 | 2665448.4149 | 1207207.2071
61 | 2665448.4149 | 1207207.2071 | 2665447.7028 | 1207207.5759
62 | 2665464.9063 | 1207194.8679 | 2665466.9141 | 1207197.6249
63 | 2665445.2292 | 1207204.3135 | 2665447.7028 | 1207207.5759
64 | 2665464.9063 | 1207194.8679 | 2665458.3451 | 1207187.3091
65 | 2665445.2292 | 1207204.3135 | 2665437.6282 | 1207194.3019 | 2665421.0577 | 1207179.7893
66 | 2665453.1281 | 1207182.4822 | 2665456.3906 | 1207185.0575 | 2665458.3451 | 1207187.3091
67 | 2665493.4869 | 1207206.5329 | 2665491.3498 | 1207205.6644 | 2665487.7061 | 1207204.0283
68 | 2665478.7779 | 1207157.3305 | 2665481.2817 | 1207156.4574 | 2665483.9676 | 1207153.5407 | 2665485.9244 | 1207151.9278 | 2665482.4866 | 1207149.2107
69 | 2665478.7779 | 1207157.3305 | 2665476.7778 | 1207158.0312 | 2665472.8146 | 1207156.7648 | 2665469.5087 | 1207151.0362 | 2665463.1226 | 1207148.1199 | 2665460.2525 | 1207149.1113 | 2665459.1526 | 1207149.9119
70 | 2665459.1526 | 1207149.9119 | 2665454.523 | 1207153.2818
71 | 2665453.1281 | 1207182.4822 | 2665448.8063 | 1207179.0707
72 | 2665496.0985 | 1207208.2915 | 2665494.696 | 1207207.0242 | 2665493.4869 | 1207206.5329
73 | 2665443.4016 | 1207162.5254 | 2665443.3831 | 1207162.5457 | 2665440.8847 | 1207167.0877 | 2665443.2795 | 1207171.9947 | 2665448.8063 | 1207179.0707 | 2665448.8063 | 1207179.0707
74 | 2665443.4016 | 1207162.5254 | 2665447.1411 | 1207158.4246
75 | 2665449.1619 | 1207156.9618 | 2665447.5087 | 1207158.0215 | 2665447.1411 | 1207158.4246
76 | 2665449.1619 | 1207156.9618 | 2665451.7207 | 1207155.3216 | 2665454.523 | 1207153.2818
77 | 2665496.0985 | 1207208.2915 | 2665500.4842 | 1207212.2547
78 | 2665500.4842 | 1207212.2547 | 2665500.9607 | 1207212.6852 | 2665506.0071 | 1207216.455

## bus_geodata
| x | y | coords
0 | 2665499.0252 | 1206978.8441
1 | 2665494.1287 | 1206978.344
2 | 2665549.8802 | 1207103.9003
3 | 2665472.8154 | 1206991.1055
4 | 2665553.4204 | 1207102.1381
5 | 2665558.0309 | 1207112.3171
6 | 2665588.7741 | 1207084.6044
7 | 2665532.9051 | 1207131.7754
8 | 2665528.3338 | 1207124.9433
9 | 2665514.9273 | 1207148.4883
10 | 2665534.4212 | 1207134.2936
11 | 2665560.326 | 1207127.685
12 | 2665565.4339 | 1207154.6544
13 | 2665561.1288 | 1207119.5109
14 | 2665594.7172 | 1207081.6569
15 | 2665506.6695 | 1207138.7362
16 | 2665526.8176 | 1207139.7469
17 | 2665565.4531 | 1207156.8497
18 | 2665741.6678 | 1207081.5172
19 | 2665717.7389 | 1207123.0423
20 | 2665759.4512 | 1207086.6606
21 | 2665700.3533 | 1207152.7107
22 | 2665651.1161 | 1206969.2972
23 | 2665700.1387 | 1207165.8781
24 | 2665723.1293 | 1207180.1509
25 | 2665678.8398 | 1207297.0792
26 | 2665759.9775 | 1207170.8235
27 | 2665634.3159 | 1207164.4312
28 | 2665646.2408 | 1206961.7502
29 | 2665623.1241 | 1206985.833
30 | 2665665.4451 | 1207292.5736
31 | 2665772.4287 | 1207145.6171
32 | 2665633.3218 | 1207158.7168
33 | 2665618.0071 | 1206973.9918
34 | 2665590.63 | 1207241.8094
35 | 2665617.6056 | 1207251.8896
36 | 2665575.1168 | 1207260.5393
37 | 2665599.3295 | 1207218.1821
38 | 2665785.494 | 1207142.7704
39 | 2665802.5578 | 1207196.6134
40 | 2665799.2517 | 1207194.3867
41 | 2665808.7247 | 1207200.7728
42 | 2665790.7975 | 1207144.5522
43 | 2665761.4906 | 1207217.6627
44 | 2665548.6494 | 1207258.1917
45 | 2665516.439 | 1207268.4667
46 | 2665526.5136 | 1207235.3126
47 | 2665524.8446 | 1207141.6281
48 | 2665505.5171 | 1207167.101
49 | 2665497.5821 | 1207176.8597
50 | 2665476.0039 | 1207192.5326
51 | 2665564.4749 | 1207168.5328
52 | 2665556.7253 | 1207190.8737
53 | 2665553.8999 | 1207196.1996
54 | 2665549.7798 | 1207203.1042
55 | 2665514.3395 | 1207226.3685
56 | 2665546.3817 | 1207207.8084
57 | 2665507.2982 | 1207218.3906
58 | 2665448.4149 | 1207207.2071
59 | 2665466.9141 | 1207197.6249
60 | 2665447.7028 | 1207207.5759
61 | 2665464.9063 | 1207194.8679
62 | 2665445.2292 | 1207204.3135
63 | 2665458.3451 | 1207187.3091
64 | 2665487.7061 | 1207204.0283
65 | 2665421.0577 | 1207179.7893
66 | 2665478.7779 | 1207157.3305
67 | 2665482.4866 | 1207149.2107
68 | 2665459.1526 | 1207149.9119
69 | 2665453.1281 | 1207182.4822
70 | 2665493.4869 | 1207206.5329
71 | 2665448.8063 | 1207179.0707
72 | 2665443.4016 | 1207162.5254
73 | 2665447.1411 | 1207158.4246
74 | 2665449.1619 | 1207156.9618
75 | 2665454.523 | 1207153.2818
76 | 2665496.0985 | 1207208.2915
77 | 2665500.4842 | 1207212.2547
78 | 2665506.0071 | 1207216.455
79 | 2665603.7008 | 1206925.6034
80 | 2665634.3159 | 1207164.4312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97031 | -0.57307 | 0.0037587 | 0.00094201
1 | 0.97028 | -0.57377 | 0.0017419 | 0.00043655
2 | 0.97106 | -0.55821 | 0 | 0
3 | 0.97013 | -0.57673 | 0.0059785 | 0.0014984
4 | 0.97108 | -0.55779 | 0 | 0
5 | 0.97123 | -0.55494 | 0 | 0
6 | 0.97049 | -0.56957 | 0.0081359 | 0.0020391
7 | 0.97226 | -0.53458 | 0 | 0
8 | 0.9722 | -0.53564 | 0.006949 | 0.0017416
9 | 0.9721 | -0.53778 | 0 | 0
10 | 0.9723 | -0.53383 | 0 | 0
11 | 0.97159 | -0.54782 | 0 | 0
12 | 0.97115 | -0.55651 | 0.0025381 | 0.00063611
13 | 0.97114 | -0.55668 | 0.011974 | 0.0030011
14 | 0.97044 | -0.57055 | 0.007995 | 0.0020037
15 | 0.97201 | -0.53942 | 0.0069488 | 0.0017415
16 | 0.97261 | -0.52771 | 0.0025845 | 0.00064774
17 | 0.97112 | -0.5571 | 0.002492 | 0.00062455
18 | 0.98432 | -0.29976 | 0.020277 | 0.005082
19 | 0.98751 | -0.23836 | 0.023669 | 0.005932
20 | 0.98348 | -0.31597 | 0 | 0
21 | 0.99056 | -0.17969 | 0.018438 | 0.0046211
22 | 0.97248 | -0.53061 | 0 | 0
23 | 0.99126 | -0.16633 | 0 | 0
24 | 0.98909 | -0.20809 | 0 | 0
25 | 0.98663 | -0.25601 | 0 | 0
26 | 0.98697 | -0.24932 | 0.011193 | 0.0028051
27 | 0.99711 | -0.05468 | 0 | 0
28 | 0.97232 | -0.53372 | 0.018284 | 0.0045825
29 | 0.97156 | -0.54881 | 0 | 0
30 | 0.98636 | -0.26129 | 0.020888 | 0.0052351
31 | 0.98592 | -0.26963 | 0 | 0
32 | 1 | 0 | -0.431 | -0.11052
33 | 0.97119 | -0.55604 | 0.015168 | 0.0038015
34 | 0.98662 | -0.25503 | 0 | 0
35 | 0.98546 | -0.27763 | 0.043816 | 0.010981
36 | 0.98774 | -0.23324 | 0 | 0
37 | 0.99243 | -0.14342 | 0.03137 | 0.007862
38 | 0.98531 | -0.28162 | 0 | 0
39 | 0.98361 | -0.31479 | 0 | 0
40 | 0.98357 | -0.31554 | 0.010424 | 0.0026126
41 | 0.98351 | -0.31663 | 0 | 0
42 | 0.98521 | -0.28355 | 0.016132 | 0.004043
43 | 0.98243 | -0.33787 | 0.013736 | 0.0034426
44 | 0.98697 | -0.24828 | 0.031361 | 0.0078597
45 | 0.98159 | -0.35175 | 0 | 0
46 | 0.97902 | -0.40177 | 0 | 0
47 | 0.9727 | -0.52588 | 0.0025914 | 0.00064945
48 | 0.97383 | -0.50358 | 0.0057465 | 0.0014402
49 | 0.97431 | -0.49416 | 0 | 0
50 | 0.97532 | -0.47422 | 0 | 0
51 | 0.97099 | -0.55972 | 0.0025113 | 0.0006294
52 | 0.97078 | -0.56389 | 0.0024327 | 0.0006097
53 | 0.97074 | -0.56468 | 0.0024954 | 0.00062541
54 | 0.9707 | -0.56537 | 0.002369 | 0.00059373
55 | 0.9781 | -0.41991 | 0.0048822 | 0.0012236
56 | 0.97069 | -0.5656 | 0.0022106 | 0.00055404
57 | 0.97744 | -0.43278 | 0.0050815 | 0.0012736
58 | 0.97499 | -0.48077 | 0.0014641 | 0.00036694
59 | 0.97511 | -0.47852 | 0 | 0
60 | 0.97499 | -0.48084 | 0 | 0
61 | 0.97505 | -0.47956 | 0 | 0
62 | 0.97497 | -0.48117 | 0 | 0
63 | 0.9749 | -0.48262 | 0.0013771 | 0.00034513
64 | 0.97615 | -0.45807 | 0.0012977 | 0.00032523
65 | 0.97483 | -0.48398 | 0.00443 | 0.0011103
66 | 0.97433 | -0.49381 | 0 | 0
67 | 0.97428 | -0.49477 | 0.0039058 | 0.00097889
68 | 0.97442 | -0.49206 | 0.0011969 | 0.00029996
69 | 0.9748 | -0.48462 | 0.0013588 | 0.00034054
70 | 0.97646 | -0.452 | 0.001089 | 0.00027292
71 | 0.97472 | -0.48602 | 0.0041289 | 0.0010348
72 | 0.97455 | -0.48956 | 0.0011257 | 0.00028214
73 | 0.9745 | -0.49044 | 0.001227 | 0.00030752
74 | 0.97448 | -0.49078 | 0.001206 | 0.00030226
75 | 0.97445 | -0.49153 | 0.0011305 | 0.00028333
76 | 0.97661 | -0.44889 | 0.0055465 | 0.0013901
77 | 0.97692 | -0.44285 | 0.00488 | 0.001223
78 | 0.9773 | -0.43544 | 0.0050762 | 0.0012722
79 | 0.97045 | -0.57072 | 0.015164 | 0.0038003
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0077215 | 0.0019352 | -0.0077212 | -0.0019351 | 2.588e-07 | 1.0484e-07 | 0.011841 | 0.011841 | 0.011841 | 0.97031 | -0.57307 | 0.97028 | -0.57377 | 3.2531
1 | -0.01148 | -0.0028772 | 0.011488 | 0.002879 | 8.1277e-06 | 1.7438e-06 | 0.017605 | 0.017604 | 0.017605 | 0.97031 | -0.57307 | 0.97106 | -0.55821 | 2.4183
2 | 0.0059793 | 0.0014986 | -0.0059785 | -0.0014984 | 8.4122e-07 | 2.0894e-07 | 0.0091699 | 0.00917 | 0.00917 | 0.97028 | -0.57377 | 0.97013 | -0.57673 | 2.5192
3 | -0.011488 | -0.002879 | 0.011488 | 0.002879 | 2.2929e-07 | 4.911e-08 | 0.017604 | 0.017604 | 0.017604 | 0.97106 | -0.55821 | 0.97108 | -0.55779 | 2.4181
4 | -0.027629 | -0.0069273 | 0.027633 | 0.0069294 | 3.7544e-06 | 2.1264e-06 | 0.042337 | 0.042337 | 0.042337 | 0.97108 | -0.55779 | 0.97123 | -0.55494 | 5.8156
5 | 0.01614 | 0.0040482 | -0.016131 | -0.0040429 | 9.0529e-06 | 5.3059e-06 | 0.024733 | 0.024733 | 0.024733 | 0.97108 | -0.55779 | 0.97049 | -0.56957 | 6.7949
6 | 0.011975 | 0.0030016 | -0.011974 | -0.0030011 | 9.8918e-07 | 5.3612e-07 | 0.018348 | 0.018348 | 0.018348 | 0.97123 | -0.55494 | 0.97114 | -0.55668 | 5.0406
7 | -0.039608 | -0.009931 | 0.039621 | 0.0099391 | 1.3453e-05 | 8.1275e-06 | 0.060685 | 0.060685 | 0.060685 | 0.97123 | -0.55494 | 0.97159 | -0.54782 | 8.3358
8 | 0.0079954 | 0.0020039 | -0.007995 | -0.0020037 | 3.7386e-07 | 1.573e-07 | 0.012259 | 0.012259 | 0.012259 | 0.97049 | -0.56957 | 0.97044 | -0.57055 | 3.3679
9 | 0.0069494 | 0.0017417 | -0.006949 | -0.0017416 | 3.4844e-07 | 1.2114e-07 | 0.010636 | 0.010636 | 0.010636 | 0.97226 | -0.53458 | 0.9722 | -0.53564 | 2.9219
10 | 0.0069504 | 0.0017421 | -0.0069494 | -0.0017417 | 1.0584e-06 | 3.6812e-07 | 0.010638 | 0.010638 | 0.010638 | 0.97226 | -0.53458 | 0.9721 | -0.53778 | 2.9224
11 | -0.0139 | -0.0034838 | 0.0139 | 0.0034841 | 4.9843e-07 | 2.8257e-07 | 0.021273 | 0.021273 | 0.021273 | 0.97226 | -0.53458 | 0.9723 | -0.53383 | 5.8443
12 | 0.0069494 | 0.0017417 | -0.0069488 | -0.0017415 | 5.4164e-07 | 1.8842e-07 | 0.010638 | 0.010638 | 0.010638 | 0.9721 | -0.53778 | 0.97201 | -0.53942 | 2.9224
13 | -0.07062 | -0.017726 | 0.070641 | 0.017739 | 2.0606e-05 | 1.2954e-05 | 0.10809 | 0.10809 | 0.10809 | 0.9723 | -0.53383 | 0.97261 | -0.52771 | 14.8472
14 | 0.05672 | 0.014242 | -0.056682 | -0.014218 | 3.782e-05 | 2.3541e-05 | 0.086814 | 0.086815 | 0.086815 | 0.9723 | -0.53383 | 0.97159 | -0.54782 | 11.9251
15 | 0.017061 | 0.0042791 | -0.017053 | -0.0042749 | 7.0674e-06 | 4.1815e-06 | 0.02613 | 0.02613 | 0.02613 | 0.97159 | -0.54782 | 0.97115 | -0.55651 | 7.1786
16 | 0.014515 | 0.0036388 | -0.014515 | -0.0036386 | 4.0724e-07 | 2.3347e-07 | 0.022241 | 0.022241 | 0.022241 | 0.97115 | -0.55651 | 0.97112 | -0.5571 | 6.1102
17 | -0.073225 | -0.018387 | 0.073232 | 0.018391 | 6.4164e-06 | 4.0389e-06 | 0.11204 | 0.11204 | 0.11204 | 0.97261 | -0.52771 | 0.9727 | -0.52588 | 15.3903
18 | 0.012023 | 0.003014 | -0.012021 | -0.0030132 | 1.5008e-06 | 8.1464e-07 | 0.018423 | 0.018423 | 0.018423 | 0.97112 | -0.5571 | 0.97099 | -0.55972 | 5.0612
19 | -0.069485 | -0.017641 | 0.069691 | 0.017772 | 0.00020594 | 0.00013117 | 0.10512 | 0.10512 | 0.10512 | 0.98432 | -0.29976 | 0.98751 | -0.23836 | 28.8802
20 | 0.049208 | 0.012559 | -0.04917 | -0.012534 | 3.85e-05 | 2.4405e-05 | 0.07447 | 0.074471 | 0.074471 | 0.98432 | -0.29976 | 0.98348 | -0.31597 | 20.4589
21 | -0.093361 | -0.023704 | 0.093625 | 0.023873 | 0.00026439 | 0.00016875 | 0.14079 | 0.14079 | 0.14079 | 0.98751 | -0.23836 | 0.99056 | -0.17969 | 38.6783
22 | 0.04917 | 0.012534 | -0.048666 | -0.012215 | 0.00050377 | 0.00031937 | 0.074471 | 0.074472 | 0.074472 | 0.98348 | -0.31597 | 0.97248 | -0.53061 | 20.4592
23 | -0.11206 | -0.028494 | 0.11214 | 0.02854 | 7.2189e-05 | 4.5851e-05 | 0.16849 | 0.16849 | 0.16849 | 0.99056 | -0.17969 | 0.99126 | -0.16633 | 23.1437
24 | 0.018287 | 0.0045841 | -0.018284 | -0.0045825 | 2.7104e-06 | 1.6201e-06 | 0.027982 | 0.027982 | 0.027982 | 0.97248 | -0.53061 | 0.97232 | -0.53372 | 7.6873
25 | 0.030379 | 0.007631 | -0.030353 | -0.0076145 | 2.6361e-05 | 1.6468e-05 | 0.04649 | 0.04649 | 0.04649 | 0.97248 | -0.53061 | 0.97156 | -0.54881 | 12.772
26 | -0.18493 | -0.04694 | 0.18593 | 0.047578 | 0.00099912 | 0.00063764 | 0.27781 | 0.27781 | 0.27781 | 0.99126 | -0.16633 | 0.99711 | -0.05468 | 38.161
27 | 0.072792 | 0.0184 | -0.072646 | -0.018308 | 0.00014545 | 9.2669e-05 | 0.10933 | 0.10933 | 0.10933 | 0.99126 | -0.16633 | 0.98909 | -0.20809 | 30.0347
28 | 0.020942 | 0.0052673 | -0.020894 | -0.0052383 | 4.7829e-05 | 2.8966e-05 | 0.031512 | 0.031512 | 0.031512 | 0.98909 | -0.20809 | 0.98663 | -0.25601 | 8.6572
29 | 0.051705 | 0.01304 | -0.051603 | -0.012976 | 0.00010183 | 6.4599e-05 | 0.077815 | 0.077815 | 0.077815 | 0.98909 | -0.20809 | 0.98697 | -0.24932 | 21.3777
30 | 0.020894 | 0.0052383 | -0.020888 | -0.0052351 | 5.2487e-06 | 3.1792e-06 | 0.031512 | 0.031512 | 0.031512 | 0.98663 | -0.25601 | 0.98636 | -0.26129 | 8.6572
31 | 0.04041 | 0.010171 | -0.040371 | -0.010146 | 3.9186e-05 | 2.472e-05 | 0.06094 | 0.06094 | 0.06094 | 0.98697 | -0.24932 | 0.98592 | -0.26963 | 16.7419
32 | -0.18593 | -0.047578 | 0.18642 | 0.047893 | 0.00049362 | 0.00031503 | 0.27781 | 0.27781 | 0.27781 | 0.99711 | -0.05468 | 1 | 0 | 38.161
33 | 0.030353 | 0.0076145 | -0.030342 | -0.007608 | 1.0455e-05 | 6.5316e-06 | 0.04649 | 0.04649 | 0.04649 | 0.97156 | -0.54881 | 0.97119 | -0.55604 | 12.772
34 | 0.040371 | 0.010146 | -0.040348 | -0.010131 | 2.3097e-05 | 1.4571e-05 | 0.06094 | 0.06094 | 0.06094 | 0.98592 | -0.26963 | 0.98531 | -0.28162 | 16.7419
35 | 0.24293 | 0.062624 | -0.24124 | -0.061548 | 0.0016839 | 0.0010759 | 0.3621 | 0.3621 | 0.3621 | 1 | 0 | 0.99243 | -0.14342 | 49.7392
36 | 0.015174 | 0.0038065 | -0.015164 | -0.0038003 | 1.0613e-05 | 6.1449e-06 | 0.02325 | 0.023251 | 0.023251 | 0.97119 | -0.55604 | 0.97045 | -0.57072 | 6.3875
37 | 0.043863 | 0.011011 | -0.043816 | -0.010981 | 4.7225e-05 | 2.9857e-05 | 0.066161 | 0.066161 | 0.066161 | 0.98662 | -0.25503 | 0.98546 | -0.27763 | 18.1761
38 | -0.043863 | -0.011011 | 0.043909 | 0.01104 | 4.563e-05 | 2.8848e-05 | 0.066161 | 0.066161 | 0.066161 | 0.98662 | -0.25503 | 0.98774 | -0.23324 | 18.176
39 | 0.031383 | 0.0078738 | -0.031361 | -0.0078597 | 2.2487e-05 | 1.4049e-05 | 0.047281 | 0.047281 | 0.047281 | 0.98774 | -0.23324 | 0.98697 | -0.24828 | 12.9894
40 | 0.13367 | 0.034192 | -0.13291 | -0.033707 | 0.00076195 | 0.00048511 | 0.20163 | 0.20163 | 0.20163 | 0.98774 | -0.23324 | 0.98159 | -0.35175 | 27.6961
41 | -0.20897 | -0.053106 | 0.20988 | 0.053686 | 0.0009081 | 0.00057993 | 0.31507 | 0.31507 | 0.31507 | 0.98774 | -0.23324 | 0.99243 | -0.14342 | 43.2785
42 | 0.016133 | 0.0040439 | -0.016132 | -0.004043 | 1.4862e-06 | 8.6615e-07 | 0.024365 | 0.024365 | 0.024365 | 0.98531 | -0.28162 | 0.98521 | -0.28355 | 6.6937
43 | 0.024215 | 0.0060875 | -0.024176 | -0.0060639 | 3.829e-05 | 2.3535e-05 | 0.036576 | 0.036576 | 0.036576 | 0.98531 | -0.28162 | 0.98361 | -0.31479 | 10.0483
44 | 0.010425 | 0.0026128 | -0.010424 | -0.0026126 | 3.7103e-07 | 1.8697e-07 | 0.015771 | 0.015771 | 0.015771 | 0.98361 | -0.31479 | 0.98357 | -0.31554 | 4.3327
45 | 0.013751 | 0.0034511 | -0.01375 | -0.0034505 | 1.2074e-06 | 6.7834e-07 | 0.020805 | 0.020805 | 0.020805 | 0.98361 | -0.31479 | 0.98351 | -0.31663 | 5.7157
46 | 0.01375 | 0.0034505 | -0.013736 | -0.0034426 | 1.3912e-05 | 7.8174e-06 | 0.020805 | 0.020805 | 0.020805 | 0.98351 | -0.31663 | 0.98243 | -0.33787 | 5.7158
47 | 0.13291 | 0.033707 | -0.13259 | -0.033504 | 0.00031875 | 0.00020294 | 0.20163 | 0.20163 | 0.20163 | 0.98159 | -0.35175 | 0.97902 | -0.40177 | 27.6961
48 | 0.13259 | 0.033504 | -0.13248 | -0.033431 | 0.00011519 | 7.3341e-05 | 0.20163 | 0.20163 | 0.20163 | 0.97902 | -0.40177 | 0.9781 | -0.41991 | 27.6961
49 | -0.075823 | -0.01904 | 0.075904 | 0.019091 | 8.0772e-05 | 5.0898e-05 | 0.11601 | 0.11601 | 0.11601 | 0.9727 | -0.52588 | 0.97383 | -0.50358 | 15.9349
50 | -0.08165 | -0.020531 | 0.081687 | 0.020554 | 3.6723e-05 | 2.3189e-05 | 0.12479 | 0.12479 | 0.12479 | 0.97383 | -0.50358 | 0.97431 | -0.49416 | 17.141
51 | -0.081687 | -0.020554 | 0.081765 | 0.020604 | 7.792e-05 | 4.9203e-05 | 0.12479 | 0.12479 | 0.12479 | 0.97431 | -0.49416 | 0.97532 | -0.47422 | 17.141
52 | -0.10433 | -0.026263 | 0.10441 | 0.026314 | 8.0627e-05 | 5.1177e-05 | 0.15921 | 0.15921 | 0.15921 | 0.97532 | -0.47422 | 0.97615 | -0.45807 | 21.8701
53 | 0.022565 | 0.0056589 | -0.022561 | -0.0056561 | 4.6215e-06 | 2.828e-06 | 0.034429 | 0.034429 | 0.034429 | 0.97532 | -0.47422 | 0.97511 | -0.47852 | 9.4584
54 | 0.0095101 | 0.0023838 | -0.0095082 | -0.0023829 | 1.8909e-06 | 9.1659e-07 | 0.014574 | 0.014574 | 0.014574 | 0.97099 | -0.55972 | 0.97078 | -0.56389 | 4.0039
55 | 0.0070755 | 0.0017732 | -0.0070752 | -0.0017731 | 2.6592e-07 | 9.5655e-08 | 0.010845 | 0.010845 | 0.010845 | 0.97078 | -0.56389 | 0.97074 | -0.56468 | 2.9795
56 | 0.0045798 | 0.0011477 | -0.0045797 | -0.0011477 | 1.4893e-07 | -4.3038e-09 | 0.0070202 | 0.0070203 | 0.0070203 | 0.97074 | -0.56468 | 0.9707 | -0.56537 | 1.9286
57 | 0.0022107 | 0.00055398 | -0.0022106 | -0.00055404 | 2.4991e-08 | -5.5743e-08 | 0.0033888 | 0.0033888 | 0.0033888 | 0.9707 | -0.56537 | 0.97069 | -0.5656 | 0.93099
58 | 0.1276 | 0.032207 | -0.12752 | -0.032157 | 7.8642e-05 | 5.0052e-05 | 0.1942 | 0.1942 | 0.1942 | 0.9781 | -0.41991 | 0.97744 | -0.43278 | 26.6759
59 | 0.12244 | 0.030884 | -0.12242 | -0.030874 | 1.5592e-05 | 9.9191e-06 | 0.18646 | 0.18646 | 0.18646 | 0.97744 | -0.43278 | 0.9773 | -0.43544 | 25.6132
60 | -0.0058948 | -0.0014772 | 0.0058955 | 0.0014773 | 6.3232e-07 | 1.4483e-07 | 0.0089965 | 0.0089964 | 0.0089965 | 0.97499 | -0.48077 | 0.97511 | -0.47852 | 2.4716
61 | 0.0044307 | 0.0011102 | -0.0044307 | -0.0011102 | 1.3749e-08 | -1.2005e-09 | 0.006762 | 0.006762 | 0.006762 | 0.97499 | -0.48077 | 0.97499 | -0.48084 | 1.8577
62 | 0.016665 | 0.0041788 | -0.016665 | -0.0041783 | 8.2637e-07 | 4.8638e-07 | 0.025432 | 0.025432 | 0.025432 | 0.97511 | -0.47852 | 0.97505 | -0.47956 | 6.9869
63 | 0.0044307 | 0.0011102 | -0.0044306 | -0.0011102 | 7.0131e-08 | -6.1228e-09 | 0.006762 | 0.006762 | 0.006762 | 0.97499 | -0.48084 | 0.97497 | -0.48117 | 1.8577
64 | 0.016665 | 0.0041783 | -0.016662 | -0.0041769 | 2.4277e-06 | 1.4289e-06 | 0.025432 | 0.025432 | 0.025432 | 0.97505 | -0.47956 | 0.9749 | -0.48262 | 6.9869
65 | 0.0044306 | 0.0011102 | -0.00443 | -0.0011103 | 5.9244e-07 | -5.1642e-08 | 0.006762 | 0.0067622 | 0.0067622 | 0.97497 | -0.48117 | 0.97483 | -0.48398 | 1.8577
66 | 0.015285 | 0.0038318 | -0.015284 | -0.0038309 | 1.457e-06 | 8.4347e-07 | 0.02333 | 0.02333 | 0.02333 | 0.9749 | -0.48262 | 0.9748 | -0.48462 | 6.4095
67 | -0.10571 | -0.026639 | 0.10574 | 0.026658 | 3.0697e-05 | 1.9489e-05 | 0.16119 | 0.16119 | 0.16119 | 0.97615 | -0.45807 | 0.97646 | -0.452 | 22.1418
68 | 0.003906 | 0.00097884 | -0.0039058 | -0.00097889 | 1.803e-07 | -5.2873e-08 | 0.0059653 | 0.0059654 | 0.0059654 | 0.97433 | -0.49381 | 0.97428 | -0.49477 | 1.6388
69 | -0.003906 | -0.00097884 | 0.0039063 | 0.00097874 | 3.2441e-07 | -9.5187e-08 | 0.0059653 | 0.0059652 | 0.0059653 | 0.97433 | -0.49381 | 0.97442 | -0.49206 | 1.6388
70 | -0.0051032 | -0.0012787 | 0.0051033 | 0.0012787 | 1.3041e-07 | 1.2128e-08 | 0.0077929 | 0.0077929 | 0.0077929 | 0.97442 | -0.49206 | 0.97445 | -0.49153 | 2.1409
71 | 0.013925 | 0.0034904 | -0.013924 | -0.0034899 | 9.3292e-07 | 5.2843e-07 | 0.021256 | 0.021256 | 0.021256 | 0.9748 | -0.48462 | 0.97472 | -0.48602 | 5.8396
72 | -0.10683 | -0.026931 | 0.10684 | 0.026941 | 1.5889e-05 | 1.0089e-05 | 0.16285 | 0.16285 | 0.16285 | 0.97646 | -0.452 | 0.97661 | -0.44889 | 22.3698
73 | 0.009795 | 0.002455 | -0.0097933 | -0.0024542 | 1.6476e-06 | 8.096e-07 | 0.014953 | 0.014953 | 0.014953 | 0.97472 | -0.48602 | 0.97455 | -0.48956 | 4.108
74 | 0.0086676 | 0.0021721 | -0.0086672 | -0.0021719 | 3.6451e-07 | 1.6414e-07 | 0.013234 | 0.013234 | 0.013234 | 0.97455 | -0.48956 | 0.9745 | -0.49044 | 3.6358
75 | 0.0074402 | 0.0018644 | -0.0074401 | -0.0018644 | 1.2145e-07 | 4.6465e-08 | 0.011361 | 0.011361 | 0.011361 | 0.9745 | -0.49044 | 0.97448 | -0.49078 | 3.1211
76 | 0.0062341 | 0.0015621 | -0.0062338 | -0.0015621 | 2.2106e-07 | 6.0434e-08 | 0.0095192 | 0.0095192 | 0.0095192 | 0.97448 | -0.49078 | 0.97445 | -0.49153 | 2.6152
77 | -0.11239 | -0.028331 | 0.11242 | 0.028352 | 3.2524e-05 | 2.0667e-05 | 0.1713 | 0.1713 | 0.1713 | 0.97661 | -0.44889 | 0.97692 | -0.44285 | 23.5306
78 | -0.1173 | -0.029575 | 0.11734 | 0.029602 | 4.1578e-05 | 2.6436e-05 | 0.17874 | 0.17874 | 0.17874 | 0.97692 | -0.44285 | 0.9773 | -0.43544 | 24.5516

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44757 | 0.11467

## res_load
| p_mw | q_mvar
0 | 0.0037587 | 0.00094201
1 | 0.0017419 | 0.00043655
2 | 0.0059785 | 0.0014984
3 | 0.0081359 | 0.0020391
4 | 0.006949 | 0.0017416
5 | 0.0025381 | 0.00063611
6 | 0.011974 | 0.0030011
7 | 0.007995 | 0.0020037
8 | 0.0069488 | 0.0017415
9 | 0.0025845 | 0.00064774
10 | 0.002492 | 0.00062455
11 | 0.020277 | 0.005082
12 | 0.023669 | 0.005932
13 | 0.018438 | 0.0046211
14 | 0.011193 | 0.0028051
15 | 0.018284 | 0.0045825
16 | 0.020888 | 0.0052351
17 | 0.01657 | 0.0041529
18 | 0.015168 | 0.0038015
19 | 0.043816 | 0.010981
20 | 0.03137 | 0.007862
21 | 0.010424 | 0.0026126
22 | 0.016132 | 0.004043
23 | 0.013736 | 0.0034426
24 | 0.031361 | 0.0078597
25 | 0.0025914 | 0.00064945
26 | 0.0057465 | 0.0014402
27 | 0.0025113 | 0.0006294
28 | 0.0024327 | 0.0006097
29 | 0.0024954 | 0.00062541
30 | 0.002369 | 0.00059373
31 | 0.0048822 | 0.0012236
32 | 0.0022106 | 0.00055404
33 | 0.0050815 | 0.0012736
34 | 0.0014641 | 0.00036694
35 | 0.0013771 | 0.00034513
36 | 0.0012977 | 0.00032523
37 | 0.00443 | 0.0011103
38 | 0.0039058 | 0.00097889
39 | 0.0011969 | 0.00029996
40 | 0.0013588 | 0.00034054
41 | 0.001089 | 0.00027292
42 | 0.0041289 | 0.0010348
43 | 0.0011257 | 0.00028214
44 | 0.001227 | 0.00030752
45 | 0.001206 | 0.00030226
46 | 0.0011305 | 0.00028333
47 | 0.0055465 | 0.0013901
48 | 0.00488 | 0.001223
49 | 0.0050762 | 0.0012722
50 | 0.015164 | 0.0038003

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1