## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1058-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1058-4_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1058-4_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_1058-4_0_4_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_1058-4_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1058-4_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1058-4_0_4_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_1058-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1058-4_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1058-4_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1058-4_0_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_1058-4_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1058-4_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1058-4_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1058-4_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1058-4_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_1058-4_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1058-4_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1058-4_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1058-4_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_1058-4_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1058-4_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1058-4_0_4_node_6 | 0.4 | n |  | TRUE
28 | bus_LV_1058-4_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1058-4_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1058-4_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1058-4_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1058-4_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1058-4_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1058-4_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1058-4_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1058-4_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1058-4_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1058-4_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1058-4_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1058-4_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1058-4_0_4_node_7 | 0.4 | n |  | TRUE
42 | bus_LV_1058-4_0_4_node_9 | 0.4 | n |  | TRUE
43 | bus_LV_1058-4_0_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_1058-4_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1058-4_0_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_1058-4_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1058-4_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1058-4_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1058-4_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1058-4_0_4_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_1058-4_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1058-4_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1058-4_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1058-4_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1058-4_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1058-4_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1058-4_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1058-4_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_1058-4_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1058-4_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_1058-4_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_MV_215_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-4_0_4_load_0 | 0 | 0.0087641 | 0.0021965 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-4_0_4_load_4 | 4 | 0.0086338 | 0.0021638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-4_0_4_load_5 | 5 | 0.013793 | 0.0034568 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-4_0_4_load_43 | 7 | 0.004649 | 0.0011651 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-4_0_4_load_57 | 8 | 0.0085239 | 0.0021363 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-4_0_4_load_42 | 11 | 0.0035079 | 0.00087917 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-4_0_4_load_55 | 15 | 0.018278 | 0.004581 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-4_0_4_load_44 | 17 | 0.015431 | 0.0038674 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-4_0_4_load_56 | 20 | 0.0094487 | 0.0023681 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-4_0_4_load_53 | 21 | 0.0092456 | 0.0023172 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-4_0_4_load_54 | 24 | 0.0056534 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-4_0_4_load_6 | 27 | 0.0087361 | 0.0021895 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-4_0_4_load_40 | 28 | 0.017189 | 0.0043079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-4_0_4_load_32 | 29 | 0.022148 | 0.0055508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-4_0_4_load_26 | 31 | 0.012919 | 0.0032378 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-4_0_4_load_31 | 32 | 0.0079898 | 0.0020024 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-4_0_4_load_41 | 33 | 0.016915 | 0.0042393 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-4_0_4_load_36 | 34 | 0.014721 | 0.0036895 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-4_0_4_load_37 | 38 | 0.0081181 | 0.0020346 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-4_0_4_load_34 | 39 | 0.010893 | 0.00273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-4_0_4_load_28 | 40 | 0.013069 | 0.0032753 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-4_0_4_load_9 | 42 | 0.0084722 | 0.0021233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-4_0_4_load_66 | 43 | 0.0057531 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-4_0_4_load_35 | 44 | 0.011943 | 0.0029931 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-4_0_4_load_64 | 45 | 0.010798 | 0.0027061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-4_0_4_load_27 | 46 | 0.0060235 | 0.0015096 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-4_0_4_load_62 | 49 | 0.018301 | 0.0045866 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-4_0_4_load_63 | 50 | 0.010827 | 0.0027136 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-4_0_4_load_52 | 51 | 0.010394 | 0.002605 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-4_0_4_load_45 | 52 | 0.012324 | 0.0030886 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-4_0_4_load_65 | 54 | 0.014421 | 0.0036143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1058-4_0_4_load_58 | 56 | 0.0066962 | 0.0016782 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1058-4_0_4_load_38 | 57 | 0.0084018 | 0.0021057 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1058-4_0_4_load_49 | 58 | 0.011694 | 0.0029307 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1058-4_0_4_load_59 | 59 | 0.0092498 | 0.0023182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1058-4_0_4_load_61 | 60 | 0.0093218 | 0.0023363 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1058-4_0_4_load_50 | 61 | 0.0098496 | 0.0024685 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-4_0_4_line_0 |  | 0 | 1 | 0.0033288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1058-4_0_4_line_1 |  | 0 | 2 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1058-4_0_4_line_2 |  | 1 | 3 | 0.035007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1058-4_0_4_line_3 |  | 1 | 4 | 0.019465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1058-4_0_4_line_4 |  | 2 | 5 | 0.01833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-4_0_4_line_5 |  | 3 | 6 | 0.054591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-4_0_4_line_6 |  | 3 | 7 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1058-4_0_4_line_7 |  | 4 | 8 | 0.022754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1058-4_0_4_line_8 |  | 5 | 9 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-4_0_4_line_9 |  | 6 | 32 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-4_0_4_line_10 |  | 6 | 30 | 0.038265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-4_0_4_line_11 |  | 8 | 22 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1058-4_0_4_line_12 |  | 9 | 40 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-4_0_4_line_13 |  | 10 | 11 | 0.0044578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1058-4_0_4_line_14 |  | 10 | 12 | 0.050918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1058-4_0_4_line_15 |  | 11 | 14 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1058-4_0_4_line_16 |  | 12 | 26 | 0.024576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-4_0_4_line_17 |  | 12 | 27 | 0.0080962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-4_0_4_line_18 |  | 12 | 22 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1058-4_0_4_line_19 |  | 13 | 14 | 0.0096267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1058-4_0_4_line_20 |  | 13 | 15 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1058-4_0_4_line_21 |  | 14 | 33 | 0.0087312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-4_0_4_line_22 |  | 15 | 19 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1058-4_0_4_line_23 |  | 16 | 17 | 0.031854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-4_0_4_line_24 |  | 16 | 18 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-4_0_4_line_25 |  | 17 | 52 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-4_0_4_line_26 |  | 18 | 28 | 0.024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-4_0_4_line_27 |  | 18 | 29 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-4_0_4_line_28 |  | 19 | 20 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-4_0_4_line_29 |  | 19 | 21 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-4_0_4_line_30 |  | 20 | 49 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-4_0_4_line_31 |  | 21 | 24 | 0.026496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-4_0_4_line_32 |  | 23 | 24 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-4_0_4_line_33 |  | 23 | 25 | 0.0090013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-4_0_4_line_34 |  | 25 | 34 | 0.0082148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-4_0_4_line_35 |  | 26 | 43 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-4_0_4_line_36 |  | 27 | 41 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-4_0_4_line_37 |  | 28 | 45 | 0.029678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-4_0_4_line_38 |  | 29 | 32 | 0.030761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-4_0_4_line_39 |  | 30 | 31 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-4_0_4_line_40 |  | 31 | 46 | 0.0014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-4_0_4_line_41 |  | 34 | 37 | 0.0095242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-4_0_4_line_42 |  | 35 | 36 | 0.069302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-4_0_4_line_43 |  | 35 | 37 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-4_0_4_line_44 |  | 35 | 38 | 0.033445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1058-4_0_4_line_45 |  | 36 | 56 | 0.020417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1058-4_0_4_line_46 |  | 37 | 39 | 0.027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1058-4_0_4_line_47 |  | 38 | 57 | 0.029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1058-4_0_4_line_48 |  | 39 | 44 | 0.04035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1058-4_0_4_line_49 |  | 41 | 42 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1058-4_0_4_line_50 |  | 47 | 48 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1058-4_0_4_line_51 |  | 47 | 49 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1058-4_0_4_line_52 |  | 48 | 50 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1058-4_0_4_line_53 |  | 48 | 51 | 0.041839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1058-4_0_4_line_54 |  | 51 | 61 | 0.016242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1058-4_0_4_line_55 |  | 53 | 54 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1058-4_0_4_line_56 |  | 53 | 55 | 0.008954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1058-4_0_4_line_57 |  | 55 | 58 | 0.00547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1058-4_0_4_line_58 |  | 56 | 59 | 0.070235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1058-4_0_4_line_59 |  | 58 | 61 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1058-4_0_4_line_60 |  | 59 | 60 | 0.011881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-4_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 62 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2666327.3153 | 1209657.035 | 2666324.0629 | 1209656.3264
1 | 2666313.2795 | 1209653.9772 | 2666324.0629 | 1209656.3264
2 | 2666327.3153 | 1209657.035 | 2666361.6124 | 1209664.5208
3 | 2666327.3153 | 1209657.035 | 2666327.8577 | 1209654.0614 | 2666330.8141 | 1209637.8869
4 | 2666313.2795 | 1209653.9772 | 2666305.3478 | 1209652.2436 | 2666300.76 | 1209650.5805 | 2666297.2836 | 1209646.5381
5 | 2666361.6124 | 1209664.5208 | 2666377.7106 | 1209668.0353 | 2666382.3058 | 1209669.0426 | 2666377.218 | 1209702.0618
6 | 2666361.6124 | 1209664.5208 | 2666364.515 | 1209650.9447 | 2666362.8154 | 1209646.872
7 | 2666336.5415 | 1209615.8849 | 2666336.2206 | 1209617.6876 | 2666331.3946 | 1209634.7111 | 2666330.8141 | 1209637.8869
8 | 2666297.3002 | 1209634.2765 | 2666295.8732 | 1209641.6207 | 2666296.7827 | 1209645.9557 | 2666297.2836 | 1209646.5381
9 | 2666377.218 | 1209702.0618 | 2666381.1186 | 1209702.6389 | 2666381.6043 | 1209702.711 | 2666383.1962 | 1209693.3129
10 | 2666352.8 | 1209702.3349 | 2666365.4638 | 1209713.2491 | 2666367.7135 | 1209713.9523 | 2666369.7133 | 1209713.2074 | 2666371.0422 | 1209711.2766 | 2666372.5737 | 1209701.3764 | 2666373.4464 | 1209701.5084 | 2666377.218 | 1209702.0618
11 | 2666340.0043 | 1209598.7069 | 2666338.0692 | 1209607.3018 | 2666336.5415 | 1209615.8849
12 | 2666297.3002 | 1209634.2765 | 2666300.1751 | 1209619.4706
13 | 2666402.4908 | 1209594.2656 | 2666403.5132 | 1209590.508 | 2666403.6636 | 1209589.9649
14 | 2666351.6316 | 1209593.4773 | 2666357.7843 | 1209593.8682 | 2666363.3218 | 1209594.2189 | 2666375.4144 | 1209594.9982 | 2666402.4908 | 1209594.2656
15 | 2666418.6067 | 1209581.8706 | 2666415.1157 | 1209584.778 | 2666409.2928 | 1209588.2265 | 2666403.6636 | 1209589.9649
16 | 2666363.4877 | 1209581.3573 | 2666363.3218 | 1209594.2189 | 2666357.7843 | 1209593.8682 | 2666351.6316 | 1209593.4773
17 | 2666351.6316 | 1209593.4773 | 2666343.5519 | 1209592.9611
18 | 2666340.0043 | 1209598.7069 | 2666344.0767 | 1209598.8745 | 2666348.8118 | 1209598.9271 | 2666350.4565 | 1209597.9893 | 2666351.2868 | 1209596.4642 | 2666351.6316 | 1209593.4773
19 | 2666418.6067 | 1209581.8706 | 2666419.2306 | 1209582.5002 | 2666422.0942 | 1209585.4227 | 2666424.6044 | 1209587.9967 | 2666425.3409 | 1209588.7498
20 | 2666425.3409 | 1209588.7498 | 2666431.7554 | 1209582.017 | 2666435.6873 | 1209577.0577 | 2666436.5193 | 1209575.5685
21 | 2666418.6067 | 1209581.8706 | 2666423.4171 | 1209577.8884 | 2666425.0111 | 1209575.9802
22 | 2666442.7708 | 1209559.3924 | 2666442.4991 | 1209562.6358 | 2666441.8803 | 1209564.9526 | 2666439.5885 | 1209570.0747 | 2666436.5193 | 1209575.5685
23 | 2666402.7138 | 1209643.8874 | 2666403.4084 | 1209634.7451 | 2666404.534 | 1209625.8188 | 2666405.2679 | 1209623.3922 | 2666412.8133 | 1209615.179
24 | 2666395.5296 | 1209646.7093 | 2666395.69 | 1209645.955 | 2666396.4684 | 1209642.2614 | 2666402.7138 | 1209643.8874
25 | 2666412.8133 | 1209615.179 | 2666428.2604 | 1209598.3652
26 | 2666395.5296 | 1209646.7093 | 2666404.913 | 1209647.0805 | 2666415.2459 | 1209646.8287 | 2666419.8714 | 1209645.7906
27 | 2666395.5296 | 1209646.7093 | 2666394.7167 | 1209646.6669 | 2666391.7247 | 1209647.7787 | 2666390.361 | 1209649.4201 | 2666389.6388 | 1209652.1582 | 2666388.3242 | 1209662.983
28 | 2666442.7708 | 1209559.3924 | 2666465.5339 | 1209553.1271
29 | 2666442.7708 | 1209559.3924 | 2666443.0994 | 1209553.0922 | 2666442.6025 | 1209548.5728 | 2666440.4867 | 1209542.6678 | 2666439.5623 | 1209540.8136
30 | 2666480.5066 | 1209553.5762 | 2666478.9133 | 1209549.3331 | 2666473.712 | 1209550.8761 | 2666465.5339 | 1209553.1271
31 | 2666439.5623 | 1209540.8136 | 2666437.2821 | 1209536.2393 | 2666432.5279 | 1209530.3939 | 2666427.2197 | 1209525.8321 | 2666420.8953 | 1209523.1971
32 | 2666406.3871 | 1209520.7972 | 2666408.9501 | 1209520.6812 | 2666411.5847 | 1209520.9551 | 2666418.9119 | 1209522.3708 | 2666420.8953 | 1209523.1971
33 | 2666406.3871 | 1209520.7972 | 2666406.4598 | 1209521.7764 | 2666406.7225 | 1209525.4927 | 2666406.9584 | 1209528.8863 | 2666407.0169 | 1209529.7764
34 | 2666407.0169 | 1209529.7764 | 2666405.695 | 1209529.7061 | 2666398.9647 | 1209531.1853
35 | 2666374.4968 | 1209576.3544 | 2666367.2568 | 1209576.6741 | 2666365.811 | 1209578.1811 | 2666363.4877 | 1209581.3573
36 | 2666328.4565 | 1209591.9966 | 2666343.5519 | 1209592.9611
37 | 2666419.8714 | 1209645.7906 | 2666424.8649 | 1209643.7894 | 2666428.483 | 1209641.7506 | 2666437.3354 | 1209633.8332 | 2666442.0852 | 1209628.4605 | 2666442.7225 | 1209627.5662
38 | 2666388.3242 | 1209662.983 | 2666388.2999 | 1209663.1834 | 2666383.1962 | 1209693.3129
39 | 2666352.8 | 1209702.3349 | 2666352.4002 | 1209685.219
40 | 2666352.3675 | 1209683.8188 | 2666352.4002 | 1209685.219
41 | 2666389.6625 | 1209533.2299 | 2666398.9647 | 1209531.1853
42 | 2666378.5957 | 1209531.7948 | 2666377.9122 | 1209528.3184 | 2666377.7546 | 1209526.7713 | 2666378.4831 | 1209516.6398 | 2666383.6869 | 1209515.5526 | 2666386.6689 | 1209484.6112 | 2666387.0387 | 1209480.7574 | 2666393.0903 | 1209468.3838
43 | 2666378.5957 | 1209531.7948 | 2666379.1494 | 1209534.6361 | 2666379.3223 | 1209535.4941 | 2666389.6625 | 1209533.2299
44 | 2666378.5957 | 1209531.7948 | 2666371.3002 | 1209532.9922 | 2666357.9655 | 1209533.1663 | 2666345.3661 | 1209531.4496
45 | 2666393.0903 | 1209468.3838 | 2666413.2741 | 1209465.3036
46 | 2666389.6625 | 1209533.2299 | 2666388.8376 | 1209534.2658 | 2666382.4701 | 1209542.2443 | 2666367.9807 | 1209543.7174 | 2666366.2064 | 1209543.6399
47 | 2666315.8279 | 1209527.7457 | 2666323.7579 | 1209528.5055 | 2666345.3661 | 1209531.4496
48 | 2666326.0163 | 1209540.8472 | 2666328.0471 | 1209540.6272 | 2666345.1117 | 1209542.7182 | 2666366.2064 | 1209543.6399
49 | 2666328.4565 | 1209591.9966 | 2666326.5652 | 1209591.8756 | 2666319.7508 | 1209592.8782 | 2666314.0497 | 1209596.1073
50 | 2666484.657 | 1209563.9171 | 2666488.405 | 1209573.4203 | 2666498.081 | 1209568.6918 | 2666499.9631 | 1209569.6467
51 | 2666484.657 | 1209563.9171 | 2666481.785 | 1209556.9809 | 2666480.5066 | 1209553.5762
52 | 2666499.9631 | 1209569.6467 | 2666488.8234 | 1209576.1155 | 2666485.514 | 1209578.4766
53 | 2666499.9631 | 1209569.6467 | 2666506.5107 | 1209575.5233 | 2666506.8219 | 1209578.2951 | 2666504.7338 | 1209587.6331 | 2666501.9214 | 1209595.1286 | 2666497.3067 | 1209606.9366
54 | 2666491.3088 | 1209622.029 | 2666492.313 | 1209619.7144 | 2666497.3067 | 1209606.9366
55 | 2666464.3188 | 1209658.482 | 2666475.3977 | 1209658.8167
56 | 2666475.3977 | 1209658.8167 | 2666476.7753 | 1209657.976 | 2666478.0925 | 1209656.4119 | 2666479.7676 | 1209651.383
57 | 2666479.7676 | 1209651.383 | 2666481.6717 | 1209646.2552
58 | 2666476.7475 | 1209483.1128 | 2666469.8315 | 1209476.1759 | 2666459.3107 | 1209470.0661 | 2666446.7135 | 1209462.6992 | 2666433.3553 | 1209462.2391 | 2666413.2741 | 1209465.3036
59 | 2666481.6717 | 1209646.2552 | 2666486.8596 | 1209632.2836 | 2666491.3088 | 1209622.029
60 | 2666476.7475 | 1209483.1128 | 2666485.4697 | 1209491.1798

## bus_geodata
| x | y | coords
0 | 2666324.0629 | 1209656.3264
1 | 2666327.3153 | 1209657.035
2 | 2666313.2795 | 1209653.9772
3 | 2666361.6124 | 1209664.5208
4 | 2666330.8141 | 1209637.8869
5 | 2666297.2836 | 1209646.5381
6 | 2666377.218 | 1209702.0618
7 | 2666362.8154 | 1209646.872
8 | 2666336.5415 | 1209615.8849
9 | 2666297.3002 | 1209634.2765
10 | 2666402.4908 | 1209594.2656
11 | 2666403.6636 | 1209589.9649
12 | 2666351.6316 | 1209593.4773
13 | 2666425.3409 | 1209588.7498
14 | 2666418.6067 | 1209581.8706
15 | 2666436.5193 | 1209575.5685
16 | 2666402.7138 | 1209643.8874
17 | 2666412.8134 | 1209615.179
18 | 2666395.5296 | 1209646.7093
19 | 2666442.7708 | 1209559.3924
20 | 2666465.5339 | 1209553.1271
21 | 2666439.5623 | 1209540.8136
22 | 2666340.0043 | 1209598.7069
23 | 2666406.3871 | 1209520.7972
24 | 2666420.8953 | 1209523.1971
25 | 2666407.0169 | 1209529.7764
26 | 2666363.4877 | 1209581.3573
27 | 2666343.5519 | 1209592.9611
28 | 2666419.8714 | 1209645.7906
29 | 2666388.3242 | 1209662.983
30 | 2666352.8 | 1209702.3349
31 | 2666352.4002 | 1209685.219
32 | 2666383.1962 | 1209693.3129
33 | 2666425.0111 | 1209575.9802
34 | 2666398.9647 | 1209531.1853
35 | 2666378.5957 | 1209531.7948
36 | 2666393.0903 | 1209468.3838
37 | 2666389.6625 | 1209533.2299
38 | 2666345.3661 | 1209531.4496
39 | 2666366.2064 | 1209543.6399
40 | 2666300.1751 | 1209619.4706
41 | 2666328.4565 | 1209591.9966
42 | 2666314.0497 | 1209596.1073
43 | 2666374.4968 | 1209576.3544
44 | 2666326.0163 | 1209540.8472
45 | 2666442.7225 | 1209627.5662
46 | 2666352.3675 | 1209683.8188
47 | 2666484.657 | 1209563.9171
48 | 2666499.9631 | 1209569.6467
49 | 2666480.5066 | 1209553.5762
50 | 2666485.514 | 1209578.4766
51 | 2666497.3067 | 1209606.9366
52 | 2666428.2604 | 1209598.3652
53 | 2666475.3977 | 1209658.8167
54 | 2666464.3188 | 1209658.482
55 | 2666479.7676 | 1209651.383
56 | 2666413.2741 | 1209465.3036
57 | 2666315.8279 | 1209527.7457
58 | 2666481.6717 | 1209646.2552
59 | 2666476.7475 | 1209483.1128
60 | 2666485.4697 | 1209491.1798
61 | 2666491.3088 | 1209622.029
62 | 2666401.4047 | 1209598.2782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99014 | -0.18785 | 0.0087641 | 0.0021965
1 | 0.99025 | -0.18574 | 0 | 0
2 | 0.98987 | -0.19312 | 0 | 0
3 | 0.98669 | -0.25411 | 0 | 0
4 | 0.99156 | -0.16067 | 0.0086338 | 0.0021638
5 | 0.98942 | -0.20188 | 0.013793 | 0.0034568
6 | 0.98138 | -0.35712 | 0 | 0
7 | 0.98661 | -0.25563 | 0.004649 | 0.0011651
8 | 0.99317 | -0.12971 | 0.0085239 | 0.0021363
9 | 0.98927 | -0.20483 | 0 | 0
10 | 1 | 0 | -0.40976 | -0.10422
11 | 0.99955 | -0.0084689 | 0.0035079 | 0.00087917
12 | 0.99565 | -0.082555 | 0 | 0
13 | 0.99699 | -0.057345 | 0 | 0
14 | 0.99786 | -0.040692 | 0 | 0
15 | 0.99542 | -0.087404 | 0.018278 | 0.004581
16 | 0.97673 | -0.44819 | 0 | 0
17 | 0.97591 | -0.46436 | 0.015431 | 0.0038674
18 | 0.97702 | -0.44262 | 0 | 0
19 | 0.99397 | -0.11512 | 0 | 0
20 | 0.99213 | -0.15056 | 0.0094487 | 0.0023681
21 | 0.99231 | -0.1471 | 0.0092456 | 0.0023172
22 | 0.99449 | -0.10462 | 0 | 0
23 | 0.98916 | -0.20798 | 0 | 0
24 | 0.99024 | -0.18705 | 0.0056534 | 0.0014169
25 | 0.9885 | -0.22072 | 0 | 0
26 | 0.99552 | -0.085042 | 0 | 0
27 | 0.99552 | -0.085005 | 0.0087361 | 0.0021895
28 | 0.97638 | -0.45513 | 0.017189 | 0.0043079
29 | 0.97804 | -0.42241 | 0.022148 | 0.0055508
30 | 0.98071 | -0.37024 | 0 | 0
31 | 0.98041 | -0.37612 | 0.012919 | 0.0032378
32 | 0.98027 | -0.37885 | 0.0079898 | 0.0020024
33 | 0.99773 | -0.043278 | 0.016915 | 0.0042393
34 | 0.9879 | -0.23235 | 0.014721 | 0.0036895
35 | 0.98678 | -0.25408 | 0 | 0
36 | 0.98517 | -0.28549 | 0 | 0
37 | 0.98733 | -0.24335 | 0 | 0
38 | 0.98627 | -0.26398 | 0.0081181 | 0.0020346
39 | 0.98675 | -0.25474 | 0.010893 | 0.00273
40 | 0.98909 | -0.20835 | 0.013069 | 0.0032753
41 | 0.9954 | -0.08726 | 0 | 0
42 | 0.99529 | -0.089545 | 0.0084722 | 0.0021233
43 | 0.99545 | -0.086382 | 0.0057531 | 0.0014419
44 | 0.9863 | -0.26337 | 0.011943 | 0.0029931
45 | 0.97608 | -0.46099 | 0.010798 | 0.0027061
46 | 0.9804 | -0.37627 | 0.0060235 | 0.0015096
47 | 0.99027 | -0.18656 | 0 | 0
48 | 0.98906 | -0.21007 | 0 | 0
49 | 0.99085 | -0.17524 | 0.018301 | 0.0045866
50 | 0.98889 | -0.21334 | 0.010827 | 0.0027136
51 | 0.98727 | -0.24469 | 0.010394 | 0.002605
52 | 0.97565 | -0.46951 | 0.012324 | 0.0030886
53 | 0.98592 | -0.27107 | 0 | 0
54 | 0.98577 | -0.27393 | 0.014421 | 0.0036143
55 | 0.98604 | -0.26876 | 0 | 0
56 | 0.98469 | -0.29476 | 0.0066962 | 0.0016782
57 | 0.98604 | -0.26846 | 0.0084018 | 0.0021057
58 | 0.98611 | -0.26734 | 0.011694 | 0.0029307
59 | 0.98349 | -0.31823 | 0.0092498 | 0.0023182
60 | 0.98339 | -0.32023 | 0.0093218 | 0.0023363
61 | 0.98674 | -0.25514 | 0.0098496 | 0.0024685
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035647 | -0.0089419 | 0.035651 | 0.0089442 | 3.5829e-06 | 2.2502e-06 | 0.053575 | 0.053575 | 0.053575 | 0.99014 | -0.18785 | 0.99025 | -0.18574 | 14.7184
1 | 0.026883 | 0.0067454 | -0.026877 | -0.0067413 | 6.7562e-06 | 4.1821e-06 | 0.040404 | 0.040404 | 0.040404 | 0.99014 | -0.18785 | 0.98987 | -0.19312 | 11.1
2 | 0.11073 | 0.028238 | -0.11037 | -0.028005 | 0.00036421 | 0.00023265 | 0.16657 | 0.16657 | 0.16657 | 0.99025 | -0.18574 | 0.98669 | -0.25411 | 45.7598
3 | -0.14638 | -0.037182 | 0.14656 | 0.037295 | 0.00017687 | 0.0001127 | 0.22014 | 0.22014 | 0.22014 | 0.99025 | -0.18574 | 0.99156 | -0.16067 | 30.239
4 | 0.026877 | 0.0067413 | -0.026865 | -0.0067343 | 1.1222e-05 | 6.9463e-06 | 0.040404 | 0.040404 | 0.040404 | 0.98987 | -0.19312 | 0.98942 | -0.20188 | 11.1
5 | 0.10572 | 0.02684 | -0.1052 | -0.026508 | 0.00052115 | 0.00033285 | 0.15955 | 0.15955 | 0.15955 | 0.98669 | -0.25411 | 0.98138 | -0.35712 | 43.8337
6 | 0.0046493 | 0.0011651 | -0.004649 | -0.0011651 | 3.373e-07 | -1.7795e-08 | 0.0070115 | 0.0070116 | 0.0070116 | 0.98669 | -0.25411 | 0.98661 | -0.25563 | 1.9263
7 | -0.15519 | -0.039459 | 0.15542 | 0.039607 | 0.00023181 | 0.00014777 | 0.2331 | 0.2331 | 0.2331 | 0.99156 | -0.16067 | 0.99317 | -0.12971 | 32.0188
8 | 0.013073 | 0.0032776 | -0.013071 | -0.0032765 | 1.8379e-06 | 1.0135e-06 | 0.019661 | 0.019661 | 0.019661 | 0.98942 | -0.20188 | 0.98927 | -0.20483 | 5.4014
9 | 0.086236 | 0.02175 | -0.086147 | -0.021693 | 8.9609e-05 | 5.7173e-05 | 0.1308 | 0.1308 | 0.1308 | 0.98138 | -0.35712 | 0.98027 | -0.37885 | 35.9354
10 | 0.01896 | 0.0047578 | -0.018948 | -0.0047507 | 1.1861e-05 | 7.1077e-06 | 0.02875 | 0.02875 | 0.02875 | 0.98138 | -0.35712 | 0.98071 | -0.37024 | 7.8984
11 | -0.16395 | -0.041743 | 0.16415 | 0.04187 | 0.00019867 | 0.0001267 | 0.24587 | 0.24587 | 0.24587 | 0.99317 | -0.12971 | 0.99449 | -0.10462 | 33.773
12 | 0.013071 | 0.0032765 | -0.013069 | -0.0032753 | 2.1863e-06 | 1.2056e-06 | 0.019661 | 0.019661 | 0.019661 | 0.98927 | -0.20483 | 0.98909 | -0.20835 | 5.4014
13 | 0.22007 | 0.056001 | -0.21998 | -0.055943 | 8.9798e-05 | 5.7354e-05 | 0.32777 | 0.32777 | 0.32777 | 1 | 0 | 0.99955 | -0.0084689 | 45.0237
14 | 0.18804 | 0.048216 | -0.18729 | -0.047738 | 0.00074951 | 0.00047835 | 0.28019 | 0.28019 | 0.28019 | 1 | 0 | 0.99565 | -0.082555 | 38.4877
15 | 0.21648 | 0.055064 | -0.21614 | -0.05485 | 0.00033557 | 0.00021431 | 0.32255 | 0.32255 | 0.32255 | 0.99955 | -0.0084689 | 0.99786 | -0.040692 | 44.3064
16 | 0.0057542 | 0.0014421 | -0.0057535 | -0.0014419 | 6.8159e-07 | 1.1664e-07 | 0.0085997 | 0.0085998 | 0.0085998 | 0.99565 | -0.082555 | 0.99552 | -0.085042 | 2.3626
17 | 0.017212 | 0.0043148 | -0.01721 | -0.0043136 | 2.0091e-06 | 1.1805e-06 | 0.025724 | 0.025724 | 0.025724 | 0.99565 | -0.082555 | 0.99552 | -0.085005 | 7.0671
18 | 0.16432 | 0.041981 | -0.16415 | -0.04187 | 0.00017509 | 0.00011166 | 0.24587 | 0.24587 | 0.24587 | 0.99565 | -0.082555 | 0.99449 | -0.10462 | 33.773
19 | -0.19906 | -0.050507 | 0.19922 | 0.050609 | 0.00015956 | 0.00010187 | 0.29732 | 0.29732 | 0.29732 | 0.99699 | -0.057345 | 0.99786 | -0.040692 | 40.8412
20 | 0.19906 | 0.050507 | -0.19878 | -0.050324 | 0.00028732 | 0.00018343 | 0.29732 | 0.29732 | 0.29732 | 0.99699 | -0.057345 | 0.99542 | -0.087404 | 40.8412
21 | 0.016917 | 0.0042405 | -0.016915 | -0.0042393 | 2.0837e-06 | 1.2195e-06 | 0.025227 | 0.025227 | 0.025227 | 0.99786 | -0.040692 | 0.99773 | -0.043278 | 6.9305
22 | 0.1805 | 0.045743 | -0.18026 | -0.04559 | 0.00023999 | 0.00015314 | 0.27 | 0.27 | 0.27 | 0.99542 | -0.087404 | 0.99397 | -0.11512 | 37.088
23 | 0.027779 | 0.006971 | -0.027758 | -0.0069577 | 2.1398e-05 | 1.3296e-05 | 0.042324 | 0.042324 | 0.042324 | 0.97673 | -0.44819 | 0.97591 | -0.46436 | 11.6275
24 | -0.027779 | -0.006971 | 0.027787 | 0.0069755 | 7.3887e-06 | 4.5911e-06 | 0.042324 | 0.042324 | 0.042324 | 0.97673 | -0.44819 | 0.97702 | -0.44262 | 11.6274
25 | 0.012327 | 0.0030902 | -0.012324 | -0.0030886 | 3.0247e-06 | 1.6506e-06 | 0.018795 | 0.018795 | 0.018795 | 0.97591 | -0.46436 | 0.97565 | -0.46951 | 5.1635
26 | 0.028006 | 0.007026 | -0.027989 | -0.0070156 | 1.6695e-05 | 1.0379e-05 | 0.042657 | 0.042657 | 0.042657 | 0.97702 | -0.44262 | 0.97638 | -0.45513 | 11.7189
27 | -0.055793 | -0.014002 | 0.055847 | 0.014036 | 5.3827e-05 | 3.42e-05 | 0.08498 | 0.08498 | 0.08498 | 0.97702 | -0.44262 | 0.97804 | -0.42241 | 23.3462
28 | 0.085381 | 0.021569 | -0.085236 | -0.021477 | 0.00014478 | 9.2356e-05 | 0.12788 | 0.12788 | 0.12788 | 0.99397 | -0.11512 | 0.99213 | -0.15056 | 35.1317
29 | 0.094878 | 0.02402 | -0.094732 | -0.023928 | 0.00014543 | 9.2825e-05 | 0.14212 | 0.14212 | 0.14212 | 0.99397 | -0.11512 | 0.99231 | -0.1471 | 39.0443
30 | 0.075788 | 0.019109 | -0.075698 | -0.019052 | 8.9408e-05 | 5.6983e-05 | 0.11371 | 0.11371 | 0.11371 | 0.99213 | -0.15056 | 0.99085 | -0.17524 | 31.2385
31 | 0.085487 | 0.02161 | -0.085323 | -0.021506 | 0.00016345 | 0.00010427 | 0.12826 | 0.12826 | 0.12826 | 0.99231 | -0.1471 | 0.99024 | -0.18705 | 35.2355
32 | -0.07959 | -0.020038 | 0.07967 | 0.020089 | 7.9742e-05 | 5.0844e-05 | 0.11976 | 0.11976 | 0.11976 | 0.98916 | -0.20798 | 0.99024 | -0.18705 | 32.9017
33 | 0.07959 | 0.020038 | -0.079542 | -0.020008 | 4.8414e-05 | 3.087e-05 | 0.11976 | 0.11976 | 0.11976 | 0.98916 | -0.20798 | 0.9885 | -0.22072 | 32.9017
34 | 0.079542 | 0.020008 | -0.079497 | -0.019979 | 4.4184e-05 | 2.8173e-05 | 0.11976 | 0.11976 | 0.11976 | 0.9885 | -0.22072 | 0.9879 | -0.23235 | 32.9017
35 | 0.0057535 | 0.0014419 | -0.0057531 | -0.0014419 | 3.6731e-07 | 6.2894e-08 | 0.0085998 | 0.0085999 | 0.0085999 | 0.99552 | -0.085042 | 0.99545 | -0.086382 | 2.3626
36 | 0.0084741 | 0.0021241 | -0.0084732 | -0.0021237 | 9.1006e-07 | 3.8579e-07 | 0.012666 | 0.012666 | 0.012666 | 0.99552 | -0.085005 | 0.9954 | -0.08726 | 3.4798
37 | 0.010801 | 0.0027077 | -0.010798 | -0.0027061 | 3.0155e-06 | 1.5589e-06 | 0.01646 | 0.016461 | 0.016461 | 0.97638 | -0.45513 | 0.97608 | -0.46099 | 4.5221
38 | -0.077995 | -0.019587 | 0.078157 | 0.01969 | 0.00016246 | 0.00010359 | 0.11868 | 0.11868 | 0.11868 | 0.97804 | -0.42241 | 0.98027 | -0.37885 | 32.6035
39 | 0.018948 | 0.0047507 | -0.018943 | -0.0047475 | 5.3068e-06 | 3.1804e-06 | 0.02875 | 0.02875 | 0.02875 | 0.98071 | -0.37024 | 0.98041 | -0.37612 | 7.8984
40 | 0.0060235 | 0.0015096 | -0.0060235 | -0.0015096 | 4.39e-08 | 1.0433e-08 | 0.0091422 | 0.0091422 | 0.0091422 | 0.98041 | -0.37612 | 0.9804 | -0.37627 | 2.5116
41 | 0.064776 | 0.01629 | -0.064742 | -0.016268 | 3.4014e-05 | 2.1647e-05 | 0.097588 | 0.097588 | 0.097588 | 0.9879 | -0.23235 | 0.98733 | -0.24335 | 26.81
42 | 0.025339 | 0.0063759 | -0.025301 | -0.0063525 | 3.796e-05 | 2.3411e-05 | 0.038219 | 0.038219 | 0.038219 | 0.98678 | -0.25408 | 0.98517 | -0.28549 | 10.4997
43 | -0.041868 | -0.010521 | 0.04189 | 0.010535 | 2.1464e-05 | 1.3554e-05 | 0.063145 | 0.063145 | 0.063145 | 0.98678 | -0.25408 | 0.98733 | -0.24335 | 17.3476
44 | 0.016529 | 0.0041456 | -0.016522 | -0.004141 | 7.7928e-06 | 4.5603e-06 | 0.024927 | 0.024927 | 0.024927 | 0.98678 | -0.25408 | 0.98627 | -0.26398 | 6.848
45 | 0.025301 | 0.0063525 | -0.02529 | -0.0063456 | 1.1184e-05 | 6.8978e-06 | 0.038219 | 0.038219 | 0.038219 | 0.98517 | -0.28549 | 0.98469 | -0.29476 | 10.4997
46 | 0.022853 | 0.0057332 | -0.02284 | -0.0057257 | 1.24e-05 | 7.5796e-06 | 0.034443 | 0.034443 | 0.034443 | 0.98733 | -0.24335 | 0.98675 | -0.25474 | 9.4625
47 | 0.0084036 | 0.0021065 | -0.0084018 | -0.0021057 | 1.7949e-06 | 7.6886e-07 | 0.012679 | 0.012679 | 0.012679 | 0.98627 | -0.26398 | 0.98604 | -0.26846 | 3.4833
48 | 0.011947 | 0.0029957 | -0.011943 | -0.0029931 | 4.912e-06 | 2.6285e-06 | 0.018017 | 0.018017 | 0.018017 | 0.98675 | -0.25474 | 0.9863 | -0.26337 | 4.9498
49 | 0.0084732 | 0.0021237 | -0.0084722 | -0.0021233 | 9.2263e-07 | 3.9117e-07 | 0.012666 | 0.012667 | 0.012667 | 0.9954 | -0.08726 | 0.99529 | -0.089545 | 3.4798
50 | 0.057366 | 0.014446 | -0.057302 | -0.014405 | 6.4392e-05 | 4.0914e-05 | 0.086225 | 0.086225 | 0.086225 | 0.99027 | -0.18656 | 0.98906 | -0.21007 | 23.6883
51 | -0.057366 | -0.014446 | 0.057398 | 0.014465 | 3.107e-05 | 1.9742e-05 | 0.086225 | 0.086225 | 0.086225 | 0.99027 | -0.18656 | 0.99085 | -0.17524 | 23.6883
52 | 0.010829 | 0.0027145 | -0.010827 | -0.0027136 | 1.6869e-06 | 8.6216e-07 | 0.016292 | 0.016292 | 0.016292 | 0.98906 | -0.21007 | 0.98889 | -0.21334 | 4.4759
53 | 0.046473 | 0.01169 | -0.046396 | -0.011642 | 7.6733e-05 | 4.8573e-05 | 0.069933 | 0.069933 | 0.069933 | 0.98906 | -0.21007 | 0.98727 | -0.24469 | 19.2125
54 | 0.036002 | 0.0090368 | -0.035984 | -0.0090255 | 1.7937e-05 | 1.1272e-05 | 0.054267 | 0.054267 | 0.054267 | 0.98727 | -0.24469 | 0.98674 | -0.25514 | 14.9087
55 | 0.014423 | 0.0036155 | -0.014421 | -0.0036143 | 1.964e-06 | 1.1161e-06 | 0.021769 | 0.021769 | 0.021769 | 0.98592 | -0.27107 | 0.98577 | -0.27393 | 5.9805
56 | -0.014423 | -0.0036155 | 0.014425 | 0.0036164 | 1.5912e-06 | 9.0416e-07 | 0.021769 | 0.021769 | 0.021769 | 0.98592 | -0.27107 | 0.98604 | -0.26876 | 5.9805
57 | -0.014425 | -0.0036164 | 0.014426 | 0.0036169 | 9.7205e-07 | 5.5234e-07 | 0.021769 | 0.021769 | 0.021769 | 0.98604 | -0.26876 | 0.98611 | -0.26734 | 5.9805
58 | 0.018593 | 0.0046673 | -0.018572 | -0.0046549 | 2.0797e-05 | 1.2418e-05 | 0.0281 | 0.0281 | 0.0281 | 0.98469 | -0.29476 | 0.98349 | -0.31823 | 7.7198
59 | -0.026119 | -0.0065476 | 0.026135 | 0.006557 | 1.5194e-05 | 9.3912e-06 | 0.039414 | 0.039414 | 0.039414 | 0.98611 | -0.26734 | 0.98674 | -0.25514 | 10.8281
60 | 0.0093227 | 0.0023367 | -0.0093218 | -0.0023363 | 8.8642e-07 | 4.1656e-07 | 0.014105 | 0.014105 | 0.014105 | 0.98349 | -0.31823 | 0.98339 | -0.32023 | 3.8751

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40976 | 0.10422

## res_load
| p_mw | q_mvar
0 | 0.0087641 | 0.0021965
1 | 0.0086338 | 0.0021638
2 | 0.013793 | 0.0034568
3 | 0.004649 | 0.0011651
4 | 0.0085239 | 0.0021363
5 | 0.0035079 | 0.00087917
6 | 0.018278 | 0.004581
7 | 0.015431 | 0.0038674
8 | 0.0094487 | 0.0023681
9 | 0.0092456 | 0.0023172
10 | 0.0056534 | 0.0014169
11 | 0.0087361 | 0.0021895
12 | 0.017189 | 0.0043079
13 | 0.022148 | 0.0055508
14 | 0.012919 | 0.0032378
15 | 0.0079898 | 0.0020024
16 | 0.016915 | 0.0042393
17 | 0.014721 | 0.0036895
18 | 0.0081181 | 0.0020346
19 | 0.010893 | 0.00273
20 | 0.013069 | 0.0032753
21 | 0.0084722 | 0.0021233
22 | 0.0057531 | 0.0014419
23 | 0.011943 | 0.0029931
24 | 0.010798 | 0.0027061
25 | 0.0060235 | 0.0015096
26 | 0.018301 | 0.0045866
27 | 0.010827 | 0.0027136
28 | 0.010394 | 0.002605
29 | 0.012324 | 0.0030886
30 | 0.014421 | 0.0036143
31 | 0.0066962 | 0.0016782
32 | 0.0084018 | 0.0021057
33 | 0.011694 | 0.0029307
34 | 0.0092498 | 0.0023182
35 | 0.0093218 | 0.0023363
36 | 0.0098496 | 0.0024685

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1