## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1058-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1058-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1058-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1058-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1058-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1058-5_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1058-5_0_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1058-5_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1058-5_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1058-5_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1058-5_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1058-5_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1058-5_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1058-5_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1058-5_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_1058-5_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1058-5_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1058-5_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1058-5_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1058-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1058-5_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1058-5_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1058-5_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1058-5_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1058-5_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1058-5_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1058-5_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1058-5_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1058-5_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1058-5_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1058-5_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1058-5_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1058-5_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_1058-5_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1058-5_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1058-5_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1058-5_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1058-5_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1058-5_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1058-5_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1058-5_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1058-5_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1058-5_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1058-5_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1058-5_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1058-5_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_MV_216_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1058-5_0_4_load_0 | 0 | 0.013308 | 0.0033352 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1058-5_0_4_load_1 | 1 | 0.01032 | 0.0025865 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1058-5_0_4_load_2 | 2 | 0.009844 | 0.0024671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1058-5_0_4_load_3 | 3 | 0.013394 | 0.0033569 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1058-5_0_4_load_26 | 5 | 0.0096124 | 0.0024091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1058-5_0_4_load_43 | 6 | 0.011459 | 0.0028718 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1058-5_0_4_load_27 | 8 | 0.019489 | 0.0048845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1058-5_0_4_load_15 | 11 | 0.019979 | 0.0050073 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1058-5_0_4_load_23 | 13 | 0.027903 | 0.0069933 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1058-5_0_4_load_5 | 14 | 0.0091159 | 0.0022847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1058-5_0_4_load_6 | 15 | 0.0090252 | 0.0022619 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1058-5_0_4_load_9 | 17 | 0.009591 | 0.0024037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1058-5_0_4_load_10 | 18 | 0.014756 | 0.0036982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1058-5_0_4_load_11 | 19 | 0.0089747 | 0.0022493 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1058-5_0_4_load_13 | 21 | 0.0092253 | 0.0023121 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1058-5_0_4_load_21 | 23 | 0.013637 | 0.0034178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1058-5_0_4_load_31 | 25 | 0.0083804 | 0.0021003 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1058-5_0_4_load_30 | 26 | 0.0078137 | 0.0019583 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1058-5_0_4_load_20 | 27 | 0.0090523 | 0.0022687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1058-5_0_4_load_29 | 28 | 0.0079178 | 0.0019844 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1058-5_0_4_load_24 | 29 | 0.023213 | 0.0058177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1058-5_0_4_load_28 | 30 | 0.013695 | 0.0034324 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1058-5_0_4_load_48 | 31 | 0.017201 | 0.0043109 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1058-5_0_4_load_33 | 33 | 0.0047178 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1058-5_0_4_load_34 | 34 | 0.0050916 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1058-5_0_4_load_35 | 35 | 0.014367 | 0.0036007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1058-5_0_4_load_36 | 36 | 0.0050383 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1058-5_0_4_load_50 | 41 | 0.017638 | 0.0044204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1058-5_0_4_load_45 | 43 | 0.001897 | 0.00047542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1058-5_0_4_load_46 | 44 | 0.0026665 | 0.0006683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1058-5_0_4_load_44 | 45 | 0.0023725 | 0.00059461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1058-5_0_4_line_0 |  | 0 | 1 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1058-5_0_4_line_1 |  | 0 | 2 | 0.0065645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1058-5_0_4_line_2 |  | 1 | 3 | 0.0079931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1058-5_0_4_line_3 |  | 2 | 4 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1058-5_0_4_line_4 |  | 3 | 5 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1058-5_0_4_line_5 |  | 4 | 6 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1058-5_0_4_line_6 |  | 4 | 7 | 0.083504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1058-5_0_4_line_7 |  | 5 | 8 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1058-5_0_4_line_8 |  | 6 | 9 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1058-5_0_4_line_9 |  | 7 | 12 | 0.093277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1058-5_0_4_line_10 |  | 7 | 13 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1058-5_0_4_line_11 |  | 7 | 10 | 0.025321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1058-5_0_4_line_12 |  | 9 | 37 | 0.059904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1058-5_0_4_line_13 |  | 10 | 11 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1058-5_0_4_line_14 |  | 11 | 24 | 0.0066612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1058-5_0_4_line_15 |  | 12 | 29 | 0.080189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1058-5_0_4_line_16 |  | 14 | 15 | 0.04624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1058-5_0_4_line_17 |  | 14 | 16 | 0.001039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1058-5_0_4_line_18 |  | 16 | 17 | 0.012691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1058-5_0_4_line_19 |  | 16 | 18 | 0.051145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1058-5_0_4_line_20 |  | 17 | 19 | 0.031948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1058-5_0_4_line_21 |  | 19 | 20 | 0.038635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1058-5_0_4_line_22 |  | 20 | 21 | 0.032066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1058-5_0_4_line_23 |  | 21 | 22 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1058-5_0_4_line_24 |  | 22 | 23 | 0.022633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1058-5_0_4_line_25 |  | 22 | 24 | 0.004486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1058-5_0_4_line_26 |  | 23 | 30 | 0.0065079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1058-5_0_4_line_27 |  | 24 | 27 | 0.031349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1058-5_0_4_line_28 |  | 25 | 26 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1058-5_0_4_line_29 |  | 26 | 28 | 0.017711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1058-5_0_4_line_30 |  | 27 | 28 | 0.029011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1058-5_0_4_line_31 |  | 31 | 32 | 0.038658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1058-5_0_4_line_32 |  | 32 | 38 | 0.066986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1058-5_0_4_line_33 |  | 33 | 34 | 0.020986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1058-5_0_4_line_34 |  | 33 | 35 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1058-5_0_4_line_35 |  | 34 | 36 | 0.00015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1058-5_0_4_line_36 |  | 36 | 37 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1058-5_0_4_line_37 |  | 37 | 38 | 0.086626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1058-5_0_4_line_38 |  | 38 | 39 | 0.13342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1058-5_0_4_line_39 |  | 38 | 40 | 0.17983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1058-5_0_4_line_40 |  | 38 | 41 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1058-5_0_4_line_41 |  | 39 | 44 | 0.071002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1058-5_0_4_line_42 |  | 40 | 45 | 0.0062695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1058-5_0_4_line_43 |  | 40 | 42 | 0.010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1058-5_0_4_line_44 |  | 42 | 43 | 0.006488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1058-5_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 46 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2666152.9256 | 1209501.1698 | 2666161.9228 | 1209501.2373 | 2666177.3691 | 1209499.8107
1 | 2666152.9256 | 1209501.1698 | 2666146.3613 | 1209501.1207
2 | 2666177.3691 | 1209499.8107 | 2666185.3284 | 1209499.0756
3 | 2666124.8082 | 1209500.9592 | 2666146.3613 | 1209501.1207
4 | 2666210.6434 | 1209496.7375 | 2666185.3284 | 1209499.0756
5 | 2666124.8082 | 1209500.9592 | 2666117.5568 | 1209497.4989 | 2666108.0084 | 1209494.9145
6 | 2666141.7331 | 1209575.3145 | 2666146.4794 | 1209573.6661 | 2666143.1284 | 1209570.8161 | 2666139.15 | 1209564.2235 | 2666137.1079 | 1209556.4406 | 2666135.3764 | 1209522.7007 | 2666131.6911 | 1209510.23 | 2666124.8082 | 1209500.9592
7 | 2666226.4033 | 1209495.282 | 2666210.6434 | 1209496.7375
8 | 2666086.8479 | 1209489.1871 | 2666108.0084 | 1209494.9145
9 | 2666049.8289 | 1209590.8064 | 2666053.547 | 1209590.7141 | 2666064.8544 | 1209590.3279 | 2666082.9039 | 1209587.2147 | 2666090.2756 | 1209585.2951 | 2666125.088 | 1209579.9552 | 2666130.6838 | 1209579.1611 | 2666141.7331 | 1209575.3145
10 | 2666141.7331 | 1209575.3145 | 2666138.8443 | 1209571.9137 | 2666136.2971 | 1209567.8719 | 2666133.4709 | 1209560.1915 | 2666132.976 | 1209553.0171
11 | 2666141.7331 | 1209575.3145 | 2666146.4794 | 1209573.6661 | 2666148.3995 | 1209575.3106 | 2666153.6317 | 1209577.8257 | 2666160.1988 | 1209578.5545 | 2666165.4979 | 1209577.7794
12 | 2666088.1109 | 1209429.3867 | 2666088.6174 | 1209471.4959 | 2666086.8479 | 1209489.1871
13 | 2666165.4979 | 1209577.7794 | 2666167.4395 | 1209577.4896 | 2666175.6403 | 1209572.7776 | 2666178.4887 | 1209570.3768
14 | 2666183.582 | 1209566.0838 | 2666178.4887 | 1209570.3768
15 | 2666049.8289 | 1209590.8064 | 2666073.2114 | 1209541.3126 | 2666082.2246 | 1209517.5125
16 | 2666256.6043 | 1209594.325 | 2666260.4636 | 1209583.036 | 2666272.0852 | 1209568.0558 | 2666283.8749 | 1209558.2256
17 | 2666256.2682 | 1209595.3081 | 2666256.6043 | 1209594.325
18 | 2666256.2682 | 1209595.3081 | 2666244.6181 | 1209590.2757
19 | 2666256.2682 | 1209595.3081 | 2666255.6161 | 1209597.2131 | 2666252.87 | 1209605.61 | 2666256.2015 | 1209621.8459 | 2666261.1965 | 1209621.7568 | 2666268.432 | 1209621.8372 | 2666268.7149 | 1209633.3251
20 | 2666244.6181 | 1209590.2757 | 2666248.0685 | 1209582.7983 | 2666242.0614 | 1209563.82 | 2666238.2622 | 1209564.0642
21 | 2666226.2832 | 1209543.0766 | 2666226.663 | 1209544.4706 | 2666220.9882 | 1209551.7009 | 2666220.7206 | 1209558.0018 | 2666224.5126 | 1209564.9482 | 2666238.2622 | 1209564.0642
22 | 2666226.2832 | 1209543.0766 | 2666220.2742 | 1209545.4892 | 2666208.4013 | 1209552.295 | 2666198.8321 | 1209559.3786
23 | 2666185.4523 | 1209570.1626 | 2666194.5213 | 1209562.5696 | 2666198.8321 | 1209559.3786
24 | 2666185.4523 | 1209570.1626 | 2666188.4803 | 1209576.7669 | 2666192.2827 | 1209591.6566
25 | 2666185.4523 | 1209570.1626 | 2666183.582 | 1209566.0838
26 | 2666193.8929 | 1209597.9621 | 2666192.2827 | 1209591.6566
27 | 2666183.582 | 1209566.0838 | 2666203.3707 | 1209549.4264 | 2666208.1043 | 1209546.6594
28 | 2666283.6654 | 1209526.5783 | 2666276.2922 | 1209526.6883 | 2666251.536 | 1209530.2056
29 | 2666234.4066 | 1209534.6327 | 2666236.1898 | 1209533.9921 | 2666249.8737 | 1209530.4418 | 2666251.536 | 1209530.2056
30 | 2666208.1043 | 1209546.6594 | 2666216.6604 | 1209541.6579 | 2666223.9027 | 1209538.4029 | 2666224.9024 | 1209538.0471 | 2666234.4066 | 1209534.6327
31 | 2666238.7745 | 1209418.9613 | 2666259.0949 | 1209423.6119 | 2666267.3413 | 1209427.1501 | 2666274.1017 | 1209432.8447
32 | 2666238.7745 | 1209418.9613 | 2666208.5422 | 1209419.7375 | 2666171.6472 | 1209421.5517
33 | 2666131.3852 | 1209454.8725 | 2666113.3023 | 1209444.2228
34 | 2666151.8629 | 1209463.1468 | 2666138.6351 | 1209459.1423 | 2666131.3852 | 1209454.8725
35 | 2666113.3023 | 1209444.2228 | 2666113.1724 | 1209444.1463
36 | 2666088.1109 | 1209429.3867 | 2666113.1724 | 1209444.1463
37 | 2666088.1109 | 1209429.3867 | 2666095.0657 | 1209428.7522 | 2666124.3512 | 1209416.002 | 2666141.2195 | 1209416.6448 | 2666171.6472 | 1209421.5517
38 | 2666171.6472 | 1209421.5517 | 2666170.6549 | 1209414.3808 | 2666170.6219 | 1209403.6516 | 2666171.8299 | 1209392.0579 | 2666174.0151 | 1209383.5102 | 2666184.6867 | 1209376.7466 | 2666199.291 | 1209353.9946 | 2666213.5502 | 1209330.8274 | 2666226.8645 | 1209321.5806 | 2666235.7698 | 1209313.7079
39 | 2666080.7693 | 1209328.3768 | 2666079.6088 | 1209337.7586 | 2666077.8517 | 1209344.7212 | 2666079.5233 | 1209356.458 | 2666083.4056 | 1209374.4898 | 2666084.8733 | 1209376.4962 | 2666107.1887 | 1209379.4895 | 2666118.4752 | 1209381.0266 | 2666129.5567 | 1209382.5392 | 2666140.623 | 1209384.0516 | 2666151.5679 | 1209385.5516 | 2666157.4805 | 1209386.362 | 2666160.0283 | 1209388.9919 | 2666162.2119 | 1209388.1267 | 2666174.0151 | 1209383.5102 | 2666171.8299 | 1209392.0579 | 2666170.6219 | 1209403.6516 | 2666170.6549 | 1209414.3808 | 2666171.6472 | 1209421.5517
40 | 2666199.2314 | 1209433.3426 | 2666171.6472 | 1209421.5517
41 | 2666235.7698 | 1209313.7079 | 2666249.2653 | 1209303.2179 | 2666261.0258 | 1209295.6215 | 2666291.7223 | 1209272.9595 | 2666293.2478 | 1209272.0965
42 | 2666080.7693 | 1209328.3768 | 2666081.5366 | 1209322.1544
43 | 2666080.7693 | 1209328.3768 | 2666070.007 | 1209327.5461
44 | 2666070.007 | 1209327.5461 | 2666070.299 | 1209321.0646

## bus_geodata
| x | y | coords
0 | 2666152.9256 | 1209501.1698
1 | 2666177.3691 | 1209499.8107
2 | 2666146.3613 | 1209501.1207
3 | 2666185.3284 | 1209499.0756
4 | 2666124.8082 | 1209500.9592
5 | 2666210.6434 | 1209496.7375
6 | 2666108.0084 | 1209494.9145
7 | 2666141.7331 | 1209575.3145
8 | 2666226.4033 | 1209495.282
9 | 2666086.8479 | 1209489.1871
10 | 2666165.4979 | 1209577.7794
11 | 2666178.4887 | 1209570.3768
12 | 2666049.8289 | 1209590.8064
13 | 2666132.976 | 1209553.0171
14 | 2666256.6043 | 1209594.325
15 | 2666283.8749 | 1209558.2256
16 | 2666256.2682 | 1209595.3081
17 | 2666244.6181 | 1209590.2757
18 | 2666268.7149 | 1209633.3251
19 | 2666238.2622 | 1209564.0642
20 | 2666226.2832 | 1209543.0766
21 | 2666198.8321 | 1209559.3786
22 | 2666185.4523 | 1209570.1626
23 | 2666192.2827 | 1209591.6566
24 | 2666183.582 | 1209566.0838
25 | 2666283.6654 | 1209526.5783
26 | 2666251.536 | 1209530.2056
27 | 2666208.1043 | 1209546.6594
28 | 2666234.4066 | 1209534.6327
29 | 2666082.2246 | 1209517.5125
30 | 2666193.8929 | 1209597.9621
31 | 2666274.1017 | 1209432.8447
32 | 2666238.7745 | 1209418.9613
33 | 2666131.3852 | 1209454.8725
34 | 2666113.3023 | 1209444.2228
35 | 2666151.8629 | 1209463.1468
36 | 2666113.1724 | 1209444.1463
37 | 2666088.1109 | 1209429.3867
38 | 2666171.6472 | 1209421.5517
39 | 2666235.7698 | 1209313.7079
40 | 2666080.7693 | 1209328.3768
41 | 2666199.2314 | 1209433.3426
42 | 2666070.007 | 1209327.5461
43 | 2666070.299 | 1209321.0646
44 | 2666293.2478 | 1209272.0965
45 | 2666081.5366 | 1209322.1544
46 | 2666226.4033 | 1209495.282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.997 | -0.056911 | 0.013308 | 0.0033352
1 | 0.99924 | -0.014326 | 0.01032 | 0.0025865
2 | 0.99643 | -0.067838 | 0.009844 | 0.0024671
3 | 1 | 0 | -0.3428 | -0.086976
4 | 0.99461 | -0.10256 | 0 | 0
5 | 0.99933 | -0.012904 | 0.0096124 | 0.0024091
6 | 0.99325 | -0.12864 | 0.011459 | 0.0028718
7 | 0.98968 | -0.19734 | 0 | 0
8 | 0.99905 | -0.018289 | 0.019489 | 0.0048845
9 | 0.99182 | -0.15619 | 0 | 0
10 | 0.98858 | -0.21857 | 0 | 0
11 | 0.9876 | -0.23765 | 0.019979 | 0.0050073
12 | 0.98769 | -0.23595 | 0 | 0
13 | 0.98905 | -0.20957 | 0.027903 | 0.0069933
14 | 0.9805 | -0.37586 | 0.0091159 | 0.0022847
15 | 0.98012 | -0.38343 | 0.0090252 | 0.0022619
16 | 0.98052 | -0.37552 | 0 | 0
17 | 0.98091 | -0.36795 | 0.009591 | 0.0024037
18 | 0.97982 | -0.38921 | 0.014756 | 0.0036982
19 | 0.98216 | -0.34339 | 0.0089747 | 0.0022493
20 | 0.984 | -0.30753 | 0 | 0
21 | 0.98553 | -0.27787 | 0.0092253 | 0.0023121
22 | 0.98649 | -0.25916 | 0 | 0
23 | 0.98592 | -0.27025 | 0.013637 | 0.0034178
24 | 0.98685 | -0.25209 | 0 | 0
25 | 0.98474 | -0.2933 | 0.0083804 | 0.0021003
26 | 0.98499 | -0.28842 | 0.0078137 | 0.0019583
27 | 0.9859 | -0.27072 | 0.0090523 | 0.0022687
28 | 0.98525 | -0.28327 | 0.0079178 | 0.0019844
29 | 0.98598 | -0.26927 | 0.023213 | 0.0058177
30 | 0.98584 | -0.27184 | 0.013695 | 0.0034324
31 | 0.98289 | -0.32946 | 0.017201 | 0.0043109
32 | 0.9835 | -0.31747 | 0 | 0
33 | 0.98675 | -0.25428 | 0.0047178 | 0.0011824
34 | 0.98712 | -0.24711 | 0.0050916 | 0.0012761
35 | 0.98646 | -0.26 | 0.014367 | 0.0036007
36 | 0.98712 | -0.24704 | 0.0050383 | 0.0012627
37 | 0.9879 | -0.23186 | 0 | 0
38 | 0.98457 | -0.29673 | 0 | 0
39 | 0.98424 | -0.30314 | 0 | 0
40 | 0.98386 | -0.31056 | 0 | 0
41 | 0.98408 | -0.30623 | 0.017638 | 0.0044204
42 | 0.98384 | -0.31093 | 0 | 0
43 | 0.98383 | -0.31115 | 0.001897 | 0.00047542
44 | 0.98406 | -0.30655 | 0.0026665 | 0.0006683
45 | 0.98385 | -0.31083 | 0.0023725 | 0.00059461
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.30087 | -0.076548 | 0.30149 | 0.076943 | 0.00061889 | 0.00039513 | 0.44946 | 0.44945 | 0.44946 | 0.997 | -0.056911 | 0.99924 | -0.014326 | 41.1589
1 | 0.28757 | 0.073213 | -0.28741 | -0.073116 | 0.00015144 | 9.6662e-05 | 0.42959 | 0.42959 | 0.42959 | 0.997 | -0.056911 | 0.99643 | -0.067838 | 39.3401
2 | -0.31181 | -0.07953 | 0.31203 | 0.079668 | 0.00021588 | 0.00013785 | 0.46482 | 0.46482 | 0.46482 | 0.99924 | -0.014326 | 1 | 0 | 42.5662
3 | 0.27757 | 0.070649 | -0.27711 | -0.070353 | 0.00046377 | 0.00029597 | 0.41489 | 0.41489 | 0.41489 | 0.99643 | -0.067838 | 0.99461 | -0.10256 | 37.9939
4 | 0.029125 | 0.0073077 | -0.029107 | -0.0072965 | 1.7908e-05 | 1.1128e-05 | 0.043341 | 0.043341 | 0.043341 | 1 | 0 | 0.99933 | -0.012904 | 11.9068
5 | 0.083105 | 0.021074 | -0.083001 | -0.021008 | 0.00010407 | 6.6369e-05 | 0.12442 | 0.12442 | 0.12442 | 0.99461 | -0.10256 | 0.99325 | -0.12864 | 34.1811
6 | 0.194 | 0.049279 | -0.19312 | -0.048719 | 0.00088072 | 0.00056043 | 0.29047 | 0.29048 | 0.29048 | 0.99461 | -0.10256 | 0.98968 | -0.19734 | 26.6003
7 | 0.019494 | 0.0048875 | -0.019489 | -0.0048845 | 5.0011e-06 | 2.9934e-06 | 0.029028 | 0.029028 | 0.029028 | 0.99933 | -0.012904 | 0.99905 | -0.018289 | 7.9747
8 | 0.071543 | 0.018136 | -0.071448 | -0.018075 | 9.4564e-05 | 6.0237e-05 | 0.10725 | 0.10725 | 0.10725 | 0.99325 | -0.12864 | 0.99182 | -0.15619 | 29.465
9 | 0.023293 | 0.0058666 | -0.02325 | -0.0058403 | 4.2928e-05 | 2.6277e-05 | 0.035032 | 0.035032 | 0.035032 | 0.98968 | -0.19734 | 0.98769 | -0.23595 | 9.6242
10 | 0.02792 | 0.0070034 | -0.027903 | -0.0069933 | 1.6268e-05 | 1.0095e-05 | 0.04198 | 0.04198 | 0.04198 | 0.98968 | -0.19734 | 0.98905 | -0.20957 | 11.5331
11 | 0.14191 | 0.035849 | -0.14176 | -0.035758 | 0.00014422 | 9.1328e-05 | 0.21346 | 0.21346 | 0.21346 | 0.98968 | -0.19734 | 0.98858 | -0.21857 | 19.548
12 | 0.071448 | 0.018075 | -0.07119 | -0.017911 | 0.00025841 | 0.00016461 | 0.10725 | 0.10725 | 0.10725 | 0.99182 | -0.15619 | 0.9879 | -0.23186 | 29.4651
13 | 0.14176 | 0.035758 | -0.14163 | -0.035675 | 0.00012941 | 8.2433e-05 | 0.21346 | 0.21346 | 0.21346 | 0.98858 | -0.21857 | 0.9876 | -0.23765 | 29.322
14 | 0.12166 | 0.030668 | -0.12157 | -0.030614 | 8.3984e-05 | 5.3665e-05 | 0.18336 | 0.18336 | 0.18336 | 0.9876 | -0.23765 | 0.98685 | -0.25209 | 50.374
15 | 0.02325 | 0.0058403 | -0.023213 | -0.0058177 | 3.6905e-05 | 2.2595e-05 | 0.035032 | 0.035033 | 0.035033 | 0.98769 | -0.23595 | 0.98598 | -0.26927 | 9.6243
16 | 0.0090284 | 0.0022634 | -0.0090252 | -0.0022619 | 3.2555e-06 | 1.5005e-06 | 0.013702 | 0.013702 | 0.013702 | 0.9805 | -0.37586 | 0.98012 | -0.38343 | 3.7643
17 | -0.018144 | -0.0045481 | 0.018145 | 0.0045483 | 2.9542e-07 | 1.7597e-07 | 0.027536 | 0.027536 | 0.027536 | 0.9805 | -0.37586 | 0.98052 | -0.37552 | 7.5649
18 | -0.03291 | -0.008252 | 0.032922 | 0.0082594 | 1.1871e-05 | 7.4376e-06 | 0.049945 | 0.049945 | 0.049945 | 0.98052 | -0.37552 | 0.98091 | -0.36795 | 13.7213
19 | 0.014766 | 0.0037037 | -0.014756 | -0.0036982 | 9.6316e-06 | 5.5196e-06 | 0.022409 | 0.022409 | 0.022409 | 0.98052 | -0.37552 | 0.97982 | -0.38921 | 6.1565
20 | -0.042513 | -0.010663 | 0.042563 | 0.010695 | 4.9834e-05 | 3.149e-05 | 0.064495 | 0.064495 | 0.064495 | 0.98091 | -0.36795 | 0.98216 | -0.34339 | 17.7183
21 | -0.051538 | -0.012944 | 0.051626 | 0.013 | 8.8352e-05 | 5.6056e-05 | 0.078092 | 0.078092 | 0.078092 | 0.98216 | -0.34339 | 0.984 | -0.30753 | 21.4538
22 | -0.051626 | -0.013 | 0.051699 | 0.013047 | 7.3331e-05 | 4.6524e-05 | 0.078092 | 0.078091 | 0.078092 | 0.984 | -0.30753 | 0.98553 | -0.27787 | 21.4537
23 | -0.060925 | -0.015359 | 0.060979 | 0.015393 | 5.4589e-05 | 3.4718e-05 | 0.09202 | 0.09202 | 0.09202 | 0.98553 | -0.27787 | 0.98649 | -0.25916 | 25.2803
24 | 0.027348 | 0.0068597 | -0.027334 | -0.0068508 | 1.4444e-05 | 8.9555e-06 | 0.041254 | 0.041254 | 0.041254 | 0.98649 | -0.25916 | 0.98592 | -0.27025 | 11.3334
25 | -0.088327 | -0.022253 | 0.088357 | 0.022272 | 2.988e-05 | 1.9066e-05 | 0.13327 | 0.13327 | 0.13327 | 0.98649 | -0.25916 | 0.98685 | -0.25209 | 36.6137
26 | 0.013696 | 0.003433 | -0.013695 | -0.0034324 | 1.0429e-06 | 5.8444e-07 | 0.020672 | 0.020672 | 0.020672 | 0.98592 | -0.27025 | 0.98584 | -0.27184 | 5.679
27 | 0.033214 | 0.0083422 | -0.033185 | -0.0083238 | 2.9493e-05 | 1.8476e-05 | 0.050088 | 0.050088 | 0.050088 | 0.98685 | -0.25209 | 0.9859 | -0.27072 | 13.7604
28 | -0.0083804 | -0.0021003 | 0.0083824 | 0.0021012 | 1.9471e-06 | 8.3413e-07 | 0.012663 | 0.012663 | 0.012663 | 0.98474 | -0.2933 | 0.98499 | -0.28842 | 3.479
29 | -0.016196 | -0.0040595 | 0.0162 | 0.0040618 | 3.976e-06 | 2.3191e-06 | 0.024467 | 0.024467 | 0.024467 | 0.98499 | -0.28842 | 0.98525 | -0.28327 | 6.7218
30 | 0.024132 | 0.006055 | -0.024118 | -0.0060462 | 1.4434e-05 | 8.8683e-06 | 0.036425 | 0.036425 | 0.036425 | 0.9859 | -0.27072 | 0.98525 | -0.28327 | 10.007
31 | -0.017201 | -0.0043109 | 0.01721 | 0.0043167 | 9.8303e-06 | 5.8011e-06 | 0.02604 | 0.02604 | 0.02604 | 0.98289 | -0.32946 | 0.9835 | -0.31747 | 7.1539
32 | -0.01721 | -0.0043167 | 0.017227 | 0.0043267 | 1.7033e-05 | 1.005e-05 | 0.02604 | 0.02604 | 0.02604 | 0.9835 | -0.31747 | 0.98457 | -0.29673 | 7.1539
33 | -0.019089 | -0.0047853 | 0.019095 | 0.0047892 | 6.5211e-06 | 3.9054e-06 | 0.028786 | 0.028786 | 0.028786 | 0.98675 | -0.25428 | 0.98712 | -0.24711 | 7.9083
34 | 0.014371 | 0.0036029 | -0.014367 | -0.0036007 | 3.916e-06 | 2.2223e-06 | 0.021672 | 0.021672 | 0.021672 | 0.98675 | -0.25428 | 0.98646 | -0.26 | 5.9538
35 | -0.024187 | -0.0060653 | 0.024187 | 0.0060653 | 7.5169e-08 | 4.6181e-08 | 0.036461 | 0.036461 | 0.036461 | 0.98712 | -0.24711 | 0.98712 | -0.24704 | 10.0168
36 | -0.029225 | -0.0073281 | 0.029246 | 0.0073412 | 2.1169e-05 | 1.3176e-05 | 0.044056 | 0.044056 | 0.044056 | 0.98712 | -0.24704 | 0.9879 | -0.23186 | 12.1033
37 | 0.041943 | 0.01057 | -0.041813 | -0.010488 | 0.00012974 | 8.1928e-05 | 0.063197 | 0.063197 | 0.063197 | 0.9879 | -0.23186 | 0.98457 | -0.29673 | 17.3619
38 | 0.0026678 | 0.0006665 | -0.002667 | -0.00066767 | 8.1317e-07 | -1.1758e-06 | 0.0040312 | 0.0040318 | 0.0040318 | 0.98457 | -0.29673 | 0.98424 | -0.30314 | 1.1076
39 | 0.0042724 | 0.0010693 | -0.0042696 | -0.0010698 | 2.8115e-06 | -4.8595e-07 | 0.0064565 | 0.0064573 | 0.0064573 | 0.98457 | -0.29673 | 0.98386 | -0.31056 | 1.774
40 | 0.017646 | 0.0044252 | -0.017638 | -0.0044204 | 7.9819e-06 | 4.728e-06 | 0.02667 | 0.02667 | 0.02667 | 0.98457 | -0.29673 | 0.98408 | -0.30623 | 7.3269
41 | 0.002667 | 0.00066767 | -0.0026665 | -0.0006683 | 4.3284e-07 | -6.2518e-07 | 0.0040318 | 0.0040321 | 0.0040321 | 0.98424 | -0.30314 | 0.98406 | -0.30655 | 1.1077
42 | 0.0023726 | 0.00059455 | -0.0023725 | -0.00059461 | 3.0272e-08 | -6.0242e-08 | 0.0035883 | 0.0035883 | 0.0035883 | 0.98386 | -0.31056 | 0.98385 | -0.31083 | 0.98581
43 | 0.001897 | 0.00047524 | -0.001897 | -0.00047535 | 3.3223e-08 | -1.1542e-07 | 0.002869 | 0.0028691 | 0.0028691 | 0.98386 | -0.31056 | 0.98384 | -0.31093 | 0.7882
44 | 0.001897 | 0.00047535 | -0.001897 | -0.00047542 | 2.0028e-08 | -6.9571e-08 | 0.0028691 | 0.0028691 | 0.0028691 | 0.98384 | -0.31093 | 0.98383 | -0.31115 | 0.78821

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3562 | 0.090333

## res_load
| p_mw | q_mvar
0 | 0.013308 | 0.0033352
1 | 0.01032 | 0.0025865
2 | 0.009844 | 0.0024671
3 | 0.013394 | 0.0033569
4 | 0.0096124 | 0.0024091
5 | 0.011459 | 0.0028718
6 | 0.019489 | 0.0048845
7 | 0.019979 | 0.0050073
8 | 0.027903 | 0.0069933
9 | 0.0091159 | 0.0022847
10 | 0.0090252 | 0.0022619
11 | 0.009591 | 0.0024037
12 | 0.014756 | 0.0036982
13 | 0.0089747 | 0.0022493
14 | 0.0092253 | 0.0023121
15 | 0.013637 | 0.0034178
16 | 0.0083804 | 0.0021003
17 | 0.0078137 | 0.0019583
18 | 0.0090523 | 0.0022687
19 | 0.0079178 | 0.0019844
20 | 0.023213 | 0.0058177
21 | 0.013695 | 0.0034324
22 | 0.017201 | 0.0043109
23 | 0.0047178 | 0.0011824
24 | 0.0050916 | 0.0012761
25 | 0.014367 | 0.0036007
26 | 0.0050383 | 0.0012627
27 | 0.017638 | 0.0044204
28 | 0.001897 | 0.00047542
29 | 0.0026665 | 0.0006683
30 | 0.0023725 | 0.00059461

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1