## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-11_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1059-11_0_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1059-11_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1059-11_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1059-11_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1059-11_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1059-11_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1059-11_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1059-11_0_2_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_1059-11_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1059-11_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1059-11_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1059-11_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1059-11_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1059-11_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1059-11_0_2_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_1059-11_0_2_node_143 | 0.4 | n |  | TRUE
21 | bus_LV_1059-11_0_2_node_190 | 0.4 | n |  | TRUE
22 | bus_LV_1059-11_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1059-11_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1059-11_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1059-11_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1059-11_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1059-11_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1059-11_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1059-11_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1059-11_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1059-11_0_2_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_1059-11_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1059-11_0_2_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_1059-11_0_2_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_1059-11_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1059-11_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1059-11_0_2_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_1059-11_0_2_node_185 | 0.4 | n |  | TRUE
39 | bus_LV_1059-11_0_2_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_1059-11_0_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_1059-11_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_1059-11_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_1059-11_0_2_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_1059-11_0_2_node_141 | 0.4 | n |  | TRUE
45 | bus_LV_1059-11_0_2_node_138 | 0.4 | n |  | TRUE
46 | bus_LV_1059-11_0_2_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_1059-11_0_2_node_192 | 0.4 | n |  | TRUE
48 | bus_LV_1059-11_0_2_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_1059-11_0_2_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_1059-11_0_2_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_1059-11_0_2_node_136 | 0.4 | n |  | TRUE
52 | bus_LV_1059-11_0_2_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_1059-11_0_2_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_1059-11_0_2_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_1059-11_0_2_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_1059-11_0_2_node_130 | 0.4 | n |  | TRUE
57 | bus_LV_1059-11_0_2_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_1059-11_0_2_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_1059-11_0_2_node_187 | 0.4 | n |  | TRUE
60 | bus_LV_1059-11_0_2_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_1059-11_0_2_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_1059-11_0_2_node_191 | 0.4 | n |  | TRUE
63 | bus_LV_1059-11_0_2_node_126 | 0.4 | n |  | TRUE
64 | bus_LV_1059-11_0_2_node_125 | 0.4 | n |  | TRUE
65 | bus_LV_1059-11_0_2_node_194 | 0.4 | n |  | TRUE
66 | bus_LV_1059-11_0_2_node_193 | 0.4 | n |  | TRUE
67 | bus_LV_1059-11_0_2_node_129 | 0.4 | n |  | TRUE
68 | bus_LV_1059-11_0_2_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_1059-11_0_2_node_132 | 0.4 | n |  | TRUE
70 | bus_LV_1059-11_0_2_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_1059-11_0_2_node_133 | 0.4 | n |  | TRUE
72 | bus_LV_1059-11_0_2_node_135 | 0.4 | n |  | TRUE
73 | bus_LV_1059-11_0_2_node_137 | 0.4 | n |  | TRUE
74 | bus_LV_1059-11_0_2_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_1059-11_0_2_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_1059-11_0_2_node_146 | 0.4 | n |  | TRUE
77 | bus_LV_1059-11_0_2_node_139 | 0.4 | n |  | TRUE
78 | bus_LV_1059-11_0_2_node_184 | 0.4 | n |  | TRUE
79 | bus_LV_1059-11_0_2_node_189 | 0.4 | n |  | TRUE
80 | bus_LV_1059-11_0_2_node_145 | 0.4 | n |  | TRUE
81 | bus_LV_1059-11_0_2_node_188 | 0.4 | n |  | TRUE
82 | bus_LV_1059-11_0_2_node_186 | 0.4 | n |  | TRUE
83 | bus_MV_24_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-11_0_2_load_0 | 0 | 0.0020172 | 0.00050555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-11_0_2_load_2 | 2 | 0.012743 | 0.0031938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-11_0_2_load_12 | 5 | 0.0020308 | 0.00050898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-11_0_2_load_4 | 6 | 0.0005859 | 0.00014684 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-11_0_2_load_6 | 8 | 0.0020353 | 0.0005101 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-11_0_2_load_14 | 11 | 0.0012894 | 0.00032315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-11_0_2_load_77 | 12 | 0.0044106 | 0.0011054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-11_0_2_load_15 | 13 | 0.0022734 | 0.00056977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-11_0_2_load_16 | 14 | 0.002172 | 0.00054434 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-11_0_2_load_17 | 15 | 0.0027686 | 0.00069389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-11_0_2_load_142 | 19 | 0.0038268 | 0.0009591 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-11_0_2_load_190 | 21 | 0.0052174 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-11_0_2_load_21 | 22 | 0.0063282 | 0.001586 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-11_0_2_load_22 | 23 | 0.0068902 | 0.0017268 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-11_0_2_load_23 | 24 | 0.0052263 | 0.0013098 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-11_0_2_load_28 | 25 | 0.0054544 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-11_0_2_load_33 | 29 | 0.019223 | 0.0048178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-11_0_2_load_30 | 30 | 0.0063196 | 0.0015838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-11_0_2_load_72 | 31 | 0.019352 | 0.0048501 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-11_0_2_load_31 | 35 | 0.005781 | 0.0014489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-11_0_2_load_76 | 37 | 0.0053968 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-11_0_2_load_67 | 39 | 0.0044659 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-11_0_2_load_68 | 40 | 0.0094927 | 0.0023791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-11_0_2_load_70 | 41 | 0.0090489 | 0.0022679 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-11_0_2_load_74 | 42 | 0.0066056 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-11_0_2_load_138 | 45 | 0.0090084 | 0.0022577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-11_0_2_load_75 | 46 | 0.0083239 | 0.0020862 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-11_0_2_load_192 | 47 | 0.0046698 | 0.0011704 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-11_0_2_load_84 | 48 | 0.0026617 | 0.00066708 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-11_0_2_load_85 | 49 | 0.0041749 | 0.0010463 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-11_0_2_load_86 | 50 | 0.0026874 | 0.00067351 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-11_0_2_load_88 | 52 | 0.002653 | 0.00066492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-11_0_2_load_89 | 53 | 0.002174 | 0.00054485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-11_0_2_load_90 | 54 | 0.002408 | 0.00060349 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-11_0_2_load_91 | 55 | 0.0026522 | 0.0006647 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-11_0_2_load_130 | 56 | 0.0023509 | 0.0005892 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-11_0_2_load_121 | 58 | 0.0057396 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-11_0_2_load_187 | 59 | 0.0042155 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-11_0_2_load_191 | 62 | 0.0042771 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-11_0_2_load_194 | 65 | 0.0099997 | 0.0025062 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-11_0_2_load_193 | 66 | 0.0071532 | 0.0017928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-11_0_2_load_129 | 67 | 0.0019006 | 0.00047634 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-11_0_2_load_131 | 68 | 0.00076296 | 0.00019122 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-11_0_2_load_132 | 69 | 0.0020251 | 0.00050755 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-11_0_2_load_134 | 70 | 0.0036279 | 0.00090923 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-11_0_2_load_133 | 71 | 0.0071123 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-11_0_2_load_140 | 75 | 0.0020272 | 0.00050807 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-11_0_2_load_139 | 77 | 0.0024506 | 0.00061419 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-11_0_2_load_184 | 78 | 0.0083793 | 0.0021001 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-11_0_2_load_189 | 79 | 0.0033103 | 0.00082963 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-11_0_2_load_145 | 80 | 0.0028559 | 0.00071575 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-11_0_2_load_188 | 81 | 0.0040915 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-11_0_2_load_186 | 82 | 0.0016479 | 0.00041301 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-11_0_2_line_0 |  | 0 | 1 | 0.034875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-11_0_2_line_1 |  | 1 | 2 | 0.032201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-11_0_2_line_2 |  | 1 | 3 | 0.062821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-11_0_2_line_3 |  | 3 | 4 | 0.004887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-11_0_2_line_4 |  | 3 | 5 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-11_0_2_line_5 |  | 4 | 10 | 0.080866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-11_0_2_line_6 |  | 4 | 11 | 0.030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-11_0_2_line_7 |  | 5 | 9 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-11_0_2_line_8 |  | 6 | 7 | 0.038151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-11_0_2_line_9 |  | 7 | 8 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-11_0_2_line_10 |  | 8 | 9 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-11_0_2_line_11 |  | 10 | 12 | 0.0042187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-11_0_2_line_12 |  | 11 | 13 | 0.0034979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-11_0_2_line_13 |  | 12 | 37 | 0.031446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-11_0_2_line_14 |  | 14 | 15 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-11_0_2_line_15 |  | 14 | 16 | 0.025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-11_0_2_line_16 |  | 15 | 17 | 0.0071691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-11_0_2_line_17 |  | 16 | 18 | 0.007074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-11_0_2_line_18 |  | 17 | 19 | 0.007425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-11_0_2_line_19 |  | 17 | 20 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-11_0_2_line_20 |  | 18 | 21 | 0.00731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-11_0_2_line_21 |  | 20 | 79 | 0.006844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-11_0_2_line_22 |  | 20 | 74 | 0.032275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-11_0_2_line_23 |  | 22 | 23 | 0.033776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-11_0_2_line_24 |  | 23 | 24 | 0.038616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-11_0_2_line_25 |  | 24 | 25 | 0.038832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-11_0_2_line_26 |  | 24 | 26 | 0.035295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-11_0_2_line_27 |  | 25 | 32 | 0.022392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-11_0_2_line_28 |  | 26 | 27 | 0.003971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-11_0_2_line_29 |  | 26 | 28 | 0.032165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-11_0_2_line_30 |  | 27 | 29 | 0.0027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-11_0_2_line_31 |  | 27 | 30 | 0.043441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-11_0_2_line_32 |  | 28 | 31 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-11_0_2_line_33 |  | 29 | 38 | 0.12461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-11_0_2_line_34 |  | 30 | 35 | 0.037022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-11_0_2_line_35 |  | 32 | 33 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-11_0_2_line_36 |  | 32 | 34 | 0.00388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-11_0_2_line_37 |  | 33 | 57 | 0.003941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1059-11_0_2_line_38 |  | 33 | 58 | 0.0092198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1059-11_0_2_line_39 |  | 34 | 59 | 0.004942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-11_0_2_line_40 |  | 35 | 36 | 0.003092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-11_0_2_line_41 |  | 36 | 37 | 0.092709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-11_0_2_line_42 |  | 38 | 82 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-11_0_2_line_43 |  | 39 | 40 | 0.0092337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-11_0_2_line_44 |  | 40 | 41 | 0.034945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-11_0_2_line_45 |  | 41 | 42 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-11_0_2_line_46 |  | 42 | 46 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-11_0_2_line_47 |  | 43 | 44 | 0.039861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-11_0_2_line_48 |  | 43 | 45 | 0.029771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-11_0_2_line_49 |  | 44 | 78 | 0.005618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-11_0_2_line_50 |  | 44 | 63 | 0.037066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-11_0_2_line_51 |  | 45 | 77 | 0.038288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-11_0_2_line_52 |  | 46 | 47 | 0.048286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-11_0_2_line_53 |  | 47 | 61 | 0.00567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-11_0_2_line_54 |  | 48 | 49 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-11_0_2_line_55 |  | 49 | 50 | 0.035958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-11_0_2_line_56 |  | 50 | 51 | 0.12353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-11_0_2_line_57 |  | 51 | 72 | 0.091565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-11_0_2_line_58 |  | 52 | 53 | 0.00029855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-11_0_2_line_59 |  | 52 | 54 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-11_0_2_line_60 |  | 54 | 55 | 0.0078813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-11_0_2_line_61 |  | 55 | 56 | 0.0057819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-11_0_2_line_62 |  | 56 | 67 | 0.019824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-11_0_2_line_63 |  | 57 | 62 | 0.00487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_1059-11_0_2_line_64 |  | 58 | 60 | 0.0031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_1059-11_0_2_line_65 |  | 60 | 61 | 0.003835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_1059-11_0_2_line_66 |  | 61 | 63 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-11_0_2_line_67 |  | 63 | 66 | 0.006106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-11_0_2_line_68 |  | 63 | 64 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-11_0_2_line_69 |  | 64 | 65 | 0.004109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-11_0_2_line_70 |  | 67 | 68 | 0.0052142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-11_0_2_line_71 |  | 68 | 69 | 0.0073592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-11_0_2_line_72 |  | 69 | 70 | 0.0090482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-11_0_2_line_73 |  | 70 | 71 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-11_0_2_line_74 |  | 71 | 72 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-11_0_2_line_75 |  | 72 | 73 | 0.052006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-11_0_2_line_76 |  | 73 | 74 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-11_0_2_line_77 |  | 73 | 75 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-11_0_2_line_78 |  | 73 | 76 | 0.013513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-11_0_2_line_79 |  | 74 | 81 | 0.004236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-11_0_2_line_80 |  | 75 | 77 | 0.03649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-11_0_2_line_81 |  | 76 | 80 | 0.04987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-11_0_2_trafo_191 | 0.63 MVA 20/0.4 kV | 83 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2663880.3666 | 1210326.8669 | 2663871.3793 | 1210360.5635
1 | 2663880.3666 | 1210326.8669 | 2663850.2931 | 1210315.3578
2 | 2663943.2259 | 1210329.9641 | 2663937.7442 | 1210330.1389 | 2663894.1873 | 1210328.6826 | 2663880.3666 | 1210326.8669
3 | 2663945.5748 | 1210325.6756 | 2663943.2259 | 1210329.9641
4 | 2663943.2259 | 1210329.9641 | 2663966.2215 | 1210329.3522
5 | 2663910.1222 | 1210254.4746 | 2663941.77 | 1210319.0196 | 2663943.4921 | 1210325.6977 | 2663945.5748 | 1210325.6756
6 | 2663945.5748 | 1210325.6756 | 2663950.2257 | 1210317.2091 | 2663962.3591 | 1210306.9773 | 2663962.3205 | 1210301.6668
7 | 2663980.5755 | 1210329.0972 | 2663969.4316 | 1210329.2667 | 2663966.2215 | 1210329.3522
8 | 2664001.2044 | 1210333.1875 | 2664001.2349 | 1210350.8876 | 2663994.2673 | 1210354.2593 | 2663981.5614 | 1210353.9159
9 | 2664001.2044 | 1210333.1875 | 2663990.883 | 1210333.2379
10 | 2663980.5755 | 1210329.0972 | 2663980.5568 | 1210332.2545 | 2663980.5457 | 1210333.2883 | 2663990.883 | 1210333.2379
11 | 2663910.1222 | 1210254.4746 | 2663914.2022 | 1210255.5473
12 | 2663962.3205 | 1210301.6668 | 2663962.295 | 1210298.169
13 | 2663944.7389 | 1210262.8914 | 2663939.9229 | 1210262.3097 | 2663914.2022 | 1210255.5473
14 | 2664166.7157 | 1210137.5737 | 2664158.1277 | 1210136.7411 | 2664144.3241 | 1210135.4421
15 | 2664192.4387 | 1210140.0676 | 2664166.7157 | 1210137.5737
16 | 2664137.1865 | 1210134.7704 | 2664144.3241 | 1210135.4421
17 | 2664199.4998 | 1210140.7551 | 2664192.4387 | 1210140.0676
18 | 2664137.1865 | 1210134.7704 | 2664136.5674 | 1210142.1683
19 | 2664137.1865 | 1210134.7704 | 2664128.7964 | 1210133.9798 | 2664107.7819 | 1210136.0108 | 2664106.4636 | 1210136.3302
20 | 2664199.4998 | 1210140.7551 | 2664198.6768 | 1210148.0173
21 | 2664106.4636 | 1210136.3302 | 2664108.0642 | 1210142.9848
22 | 2664078.507 | 1210144.2793 | 2664079.8329 | 1210139.713 | 2664082.1523 | 1210141.0164 | 2664087.8314 | 1210140.8773 | 2664106.4636 | 1210136.3302
23 | 2664145.6337 | 1210199.8597 | 2664149.3735 | 1210200.1969 | 2664162.4923 | 1210202.2725 | 2664177.0449 | 1210205.3197 | 2664178.8428 | 1210205.8362
24 | 2664107.0715 | 1210198.6444 | 2664121.7341 | 1210198.4544 | 2664133.9747 | 1210198.8083 | 2664145.6337 | 1210199.8597
25 | 2664107.0715 | 1210198.6444 | 2664100.6323 | 1210198.7279 | 2664092.2046 | 1210198.6151 | 2664079.4922 | 1210197.6113 | 2664068.3831 | 1210196.0942
26 | 2664107.0715 | 1210198.6444 | 2664113.4773 | 1210233.3537
27 | 2664046.4882 | 1210191.4978 | 2664051.4236 | 1210192.6626 | 2664062.7045 | 1210195.3186 | 2664068.3831 | 1210196.0942
28 | 2664113.4773 | 1210233.3537 | 2664113.754 | 1210237.3146
29 | 2664082.7118 | 1210236.0916 | 2664090.3544 | 1210239.2423 | 2664104.4 | 1210234.9905 | 2664113.4773 | 1210233.3537
30 | 2664114.1357 | 1210239.987 | 2664113.754 | 1210237.3146
31 | 2664113.754 | 1210237.3146 | 2664111.2279 | 1210237.5654 | 2664099.6917 | 1210239.5761 | 2664086.0367 | 1210243.543 | 2664071.7351 | 1210247.9759
32 | 2664082.7118 | 1210236.0916 | 2664081.7962 | 1210235.7149 | 2664068.6835 | 1210235.1443
33 | 2664114.1357 | 1210239.987 | 2664143.3639 | 1210361.1195
34 | 2664071.7351 | 1210247.9759 | 2664054.4888 | 1210253.3214 | 2664036.3334 | 1210258.8078
35 | 2664046.4882 | 1210191.4978 | 2664034.708 | 1210187.9026
36 | 2664046.4882 | 1210191.4978 | 2664045.5736 | 1210195.2681
37 | 2664033.5503 | 1210191.6702 | 2664034.708 | 1210187.9026
38 | 2664034.708 | 1210187.9026 | 2664026.0123 | 1210184.8385
39 | 2664044.4048 | 1210200.0696 | 2664045.5736 | 1210195.2681
40 | 2664035.3922 | 1210255.8625 | 2664036.3334 | 1210258.8078
41 | 2664035.3922 | 1210255.8625 | 2664033.1727 | 1210254.4601 | 2664023.316 | 1210256.4889 | 2663993.8051 | 1210265.5669 | 2663947.1947 | 1210263.1881 | 2663944.7389 | 1210262.8914
42 | 2664142.9223 | 1210375.3346 | 2664143.3639 | 1210361.1195
43 | 2663925.0521 | 1210214.7786 | 2663933.9087 | 1210217.3908
44 | 2663967.4257 | 1210227.2766 | 2663933.9087 | 1210217.3908
45 | 2663967.4257 | 1210227.2766 | 2663979.4869 | 1210230.8341
46 | 2664000.8255 | 1210237.1279 | 2663979.4869 | 1210230.8341
47 | 2663955.3243 | 1210137.9765 | 2663951.3279 | 1210136.4216 | 2663950.1017 | 1210135.9415 | 2663949.0526 | 1210143.0569 | 2663950.5137 | 1210149.2652 | 2663953.37 | 1210153.6652 | 2663958.1749 | 1210157.0743 | 2663966.7799 | 1210161.2135
48 | 2663955.3243 | 1210137.9765 | 2663957.4972 | 1210135.2203 | 2663962.0126 | 1210132.3225 | 2663964.1069 | 1210131.9336 | 2663969.2557 | 1210131.6331 | 2663977.5984 | 1210133.3013 | 2663982.5527 | 1210134.5148
49 | 2663964.3466 | 1210166.2794 | 2663966.7799 | 1210161.2135
50 | 2664000.1223 | 1210177.6031 | 2663993.1592 | 1210174.1597 | 2663970.0388 | 1210162.7938 | 2663966.7799 | 1210161.2135
51 | 2663982.5527 | 1210134.5148 | 2663995.5417 | 1210137.6963 | 2664013.067 | 1210139.263 | 2664020.3869 | 1210139.2385
52 | 2664019.82 | 1210192.7347 | 2664000.8255 | 1210237.1279
53 | 2664021.7318 | 1210187.3964 | 2664019.82 | 1210192.7347
54 | 2664037.6291 | 1210015.804 | 2664042.076 | 1210018.4115 | 2664061.8463 | 1210028.741
55 | 2664061.8463 | 1210028.741 | 2664085.1581 | 1210040.9209 | 2664093.9934 | 1210044.8173
56 | 2664206.8716 | 1210088.5692 | 2664202.1049 | 1210087.2615 | 2664201.6275 | 1210087.1341 | 2664201.7047 | 1210084.9002 | 2664199.2925 | 1210081.6278 | 2664194.531 | 1210079.1307 | 2664177.7515 | 1210075.3479 | 2664139.6065 | 1210063.0971 | 2664109.706 | 1210051.7467 | 2664093.9934 | 1210044.8173
57 | 2664120.0111 | 1210108.4365 | 2664141.3388 | 1210102.0395 | 2664170.0049 | 1210098.8123 | 2664194.1751 | 1210097.3713 | 2664198.3637 | 1210096.6048 | 2664201.4406 | 1210095.3149 | 2664205.1442 | 1210092.2973 | 2664206.8716 | 1210088.5692
58 | 2664011.6255 | 1210073.7634 | 2664011.9005 | 1210073.8796
59 | 2664011.9005 | 1210073.8796 | 2664032.1628 | 1210082.4416
60 | 2664039.4226 | 1210085.5092 | 2664032.1628 | 1210082.4416
61 | 2664039.4226 | 1210085.5092 | 2664044.7486 | 1210087.7598
62 | 2664063.0092 | 1210095.4759 | 2664044.7486 | 1210087.7598
63 | 2664033.5503 | 1210191.6702 | 2664032.1171 | 1210196.3244
64 | 2664023.0247 | 1210183.7858 | 2664026.0123 | 1210184.8385
65 | 2664021.7318 | 1210187.3964 | 2664023.0247 | 1210183.7858
66 | 2664021.7318 | 1210187.3964 | 2664018.0077 | 1210185.9667 | 2664012.5291 | 1210183.7177 | 2664000.1223 | 1210177.6031
67 | 2664000.1223 | 1210177.6031 | 2663997.343 | 1210183.0433
68 | 2663998.4757 | 1210168.1464 | 2663996.6514 | 1210171.7067 | 2664001.7838 | 1210174.3412 | 2664000.1223 | 1210177.6031
69 | 2663998.4757 | 1210168.1464 | 2664000.3467 | 1210164.4864
70 | 2664067.9855 | 1210096.9902 | 2664064.4846 | 1210096.0994 | 2664063.0092 | 1210095.4759
71 | 2664067.9855 | 1210096.9902 | 2664075.1175 | 1210098.8049
72 | 2664084.1022 | 1210099.6121 | 2664076.8019 | 1210099.2335 | 2664075.1175 | 1210098.8049
73 | 2664108.6639 | 1210096.3739 | 2664108.6639 | 1210096.3739 | 2664102.9967 | 1210096.1128 | 2664087.3456 | 1210099.7804 | 2664084.1022 | 1210099.6121
74 | 2664120.0111 | 1210108.4365 | 2664113.485 | 1210098.9828 | 2664108.6639 | 1210096.3739
75 | 2664071.3489 | 1210127.1476 | 2664120.0111 | 1210108.4365
76 | 2664071.3489 | 1210127.1476 | 2664074.1229 | 1210132.8252 | 2664076.5995 | 1210137.8883 | 2664079.8329 | 1210139.713 | 2664078.507 | 1210144.2793
77 | 2664071.3489 | 1210127.1476 | 2664055.9708 | 1210132.4587
78 | 2664071.3489 | 1210127.1476 | 2664074.1229 | 1210132.8252 | 2664079.8522 | 1210130.1296 | 2664080.6315 | 1210129.7599
79 | 2664078.507 | 1210144.2793 | 2664077.3232 | 1210148.3469
80 | 2664055.9708 | 1210132.4587 | 2664046.3415 | 1210135.7844 | 2664029.6596 | 1210139.2076 | 2664020.3869 | 1210139.2385
81 | 2664080.6315 | 1210129.7599 | 2664081.597 | 1210128.325 | 2664082.9086 | 1210127.2161 | 2664086.7739 | 1210125.401 | 2664103.4249 | 1210119.2093 | 2664120.0611 | 1210112.9842 | 2664126.3408 | 1210110.872

## bus_geodata
| x | y | coords
0 | 2663871.3793 | 1210360.5635
1 | 2663880.3666 | 1210326.8669
2 | 2663850.2931 | 1210315.3578
3 | 2663943.2259 | 1210329.9641
4 | 2663945.5748 | 1210325.6756
5 | 2663966.2215 | 1210329.3522
6 | 2663981.5614 | 1210353.9159
7 | 2664001.2044 | 1210333.1875
8 | 2663990.883 | 1210333.2379
9 | 2663980.5755 | 1210329.0972
10 | 2663910.1222 | 1210254.4746
11 | 2663962.3205 | 1210301.6668
12 | 2663914.2022 | 1210255.5473
13 | 2663962.295 | 1210298.169
14 | 2664166.7157 | 1210137.5737
15 | 2664144.3241 | 1210135.4421
16 | 2664192.4387 | 1210140.0676
17 | 2664137.1865 | 1210134.7704
18 | 2664199.4998 | 1210140.7551
19 | 2664136.5674 | 1210142.1683
20 | 2664106.4636 | 1210136.3302
21 | 2664198.6768 | 1210148.0173
22 | 2664178.8428 | 1210205.8362
23 | 2664145.6337 | 1210199.8597
24 | 2664107.0715 | 1210198.6444
25 | 2664068.3831 | 1210196.0942
26 | 2664113.4773 | 1210233.3537
27 | 2664113.754 | 1210237.3146
28 | 2664082.7118 | 1210236.0916
29 | 2664114.1357 | 1210239.987
30 | 2664071.7351 | 1210247.9759
31 | 2664068.6835 | 1210235.1443
32 | 2664046.4882 | 1210191.4978
33 | 2664034.708 | 1210187.9026
34 | 2664045.5736 | 1210195.2681
35 | 2664036.3334 | 1210258.8078
36 | 2664035.3922 | 1210255.8625
37 | 2663944.7389 | 1210262.8914
38 | 2664143.3639 | 1210361.1195
39 | 2663925.0521 | 1210214.7786
40 | 2663933.9087 | 1210217.3908
41 | 2663967.4257 | 1210227.2766
42 | 2663979.4869 | 1210230.8341
43 | 2663955.3243 | 1210137.9765
44 | 2663966.7799 | 1210161.2135
45 | 2663982.5527 | 1210134.5148
46 | 2664000.8255 | 1210237.1279
47 | 2664019.82 | 1210192.7347
48 | 2664037.6291 | 1210015.804
49 | 2664061.8463 | 1210028.741
50 | 2664093.9934 | 1210044.8173
51 | 2664206.8716 | 1210088.5692
52 | 2664011.9005 | 1210073.8796
53 | 2664011.6255 | 1210073.7634
54 | 2664032.1628 | 1210082.4416
55 | 2664039.4226 | 1210085.5092
56 | 2664044.7486 | 1210087.7598
57 | 2664033.5503 | 1210191.6702
58 | 2664026.0123 | 1210184.8385
59 | 2664044.4048 | 1210200.0696
60 | 2664023.0247 | 1210183.7858
61 | 2664021.7318 | 1210187.3964
62 | 2664032.1171 | 1210196.3244
63 | 2664000.1223 | 1210177.6031
64 | 2663998.4757 | 1210168.1464
65 | 2664000.3467 | 1210164.4864
66 | 2663997.343 | 1210183.0433
67 | 2664063.0092 | 1210095.4759
68 | 2664067.9855 | 1210096.9902
69 | 2664075.1175 | 1210098.8049
70 | 2664084.1022 | 1210099.6121
71 | 2664108.6639 | 1210096.3739
72 | 2664120.0111 | 1210108.4365
73 | 2664071.3489 | 1210127.1476
74 | 2664078.507 | 1210144.2793
75 | 2664055.9708 | 1210132.4587
76 | 2664080.6315 | 1210129.7599
77 | 2664020.3869 | 1210139.2385
78 | 2663964.3466 | 1210166.2794
79 | 2664108.0642 | 1210142.9848
80 | 2664126.3408 | 1210110.872
81 | 2664077.3232 | 1210148.3469
82 | 2664142.9223 | 1210375.3346
83 | 2664033.5503 | 1210191.6702

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97906 | -0.40421 | 0.0020172 | 0.00050555
1 | 0.97913 | -0.40293 | 0 | 0
2 | 0.97875 | -0.41039 | 0.012743 | 0.0031938
3 | 0.97998 | -0.38608 | 0 | 0
4 | 0.98007 | -0.38436 | 0 | 0
5 | 0.97989 | -0.38803 | 0.0020308 | 0.00050898
6 | 0.97979 | -0.38992 | 0.0005859 | 0.00014684
7 | 0.97981 | -0.38951 | 0 | 0
8 | 0.97982 | -0.3894 | 0.0020353 | 0.0005101
9 | 0.97985 | -0.38871 | 0 | 0
10 | 0.98179 | -0.35069 | 0 | 0
11 | 0.97997 | -0.38635 | 0.0012894 | 0.00032315
12 | 0.98188 | -0.34894 | 0.0044106 | 0.0011054
13 | 0.97996 | -0.3865 | 0.0022734 | 0.00056977
14 | 0.98104 | -0.36483 | 0.002172 | 0.00054434
15 | 0.98119 | -0.36182 | 0.0027686 | 0.00069389
16 | 0.98092 | -0.36727 | 0 | 0
17 | 0.98126 | -0.3605 | 0 | 0
18 | 0.98088 | -0.36794 | 0 | 0
19 | 0.98123 | -0.36101 | 0.0038268 | 0.0009591
20 | 0.98166 | -0.3527 | 0 | 0
21 | 0.98085 | -0.36863 | 0.0052174 | 0.0013076
22 | 0.99105 | -0.17119 | 0.0063282 | 0.001586
23 | 0.99125 | -0.16739 | 0.0068902 | 0.0017268
24 | 0.99171 | -0.15834 | 0.0052263 | 0.0013098
25 | 0.99541 | -0.087326 | 0.0054544 | 0.001367
26 | 0.98895 | -0.21174 | 0 | 0
27 | 0.98871 | -0.2164 | 0 | 0
28 | 0.98838 | -0.22284 | 0 | 0
29 | 0.98866 | -0.2174 | 0.019223 | 0.0048178
30 | 0.98691 | -0.25124 | 0.0063196 | 0.0015838
31 | 0.98813 | -0.22772 | 0.019352 | 0.0048501
32 | 0.99766 | -0.044476 | 0 | 0
33 | 0.99894 | -0.020146 | 0 | 0
34 | 0.99765 | -0.044762 | 0 | 0
35 | 0.98559 | -0.27683 | 0.005781 | 0.0014489
36 | 0.98549 | -0.27865 | 0 | 0
37 | 0.98268 | -0.33338 | 0.0053968 | 0.0013526
38 | 0.98847 | -0.22107 | 0 | 0
39 | 0.99461 | -0.10326 | 0.0044659 | 0.0011193
40 | 0.99465 | -0.10254 | 0.0094927 | 0.0023791
41 | 0.9951 | -0.093945 | 0.0090489 | 0.0022679
42 | 0.99536 | -0.088854 | 0.0066056 | 0.0016555
43 | 0.99004 | -0.19009 | 0 | 0
44 | 0.9928 | -0.13712 | 0 | 0
45 | 0.98798 | -0.22985 | 0.0090084 | 0.0022577
46 | 0.99596 | -0.07727 | 0.0083239 | 0.0020862
47 | 0.99763 | -0.045133 | 0.0046698 | 0.0011704
48 | 0.9786 | -0.41273 | 0.0026617 | 0.00066708
49 | 0.97866 | -0.4114 | 0.0041749 | 0.0010463
50 | 0.97889 | -0.40692 | 0.0026874 | 0.00067351
51 | 0.97998 | -0.38554 | 0 | 0
52 | 0.97914 | -0.40207 | 0.002653 | 0.00066492
53 | 0.97914 | -0.40208 | 0.002174 | 0.00054485
54 | 0.97924 | -0.40014 | 0.002408 | 0.00060349
55 | 0.97929 | -0.3991 | 0.0026522 | 0.0006647
56 | 0.97934 | -0.39807 | 0.0023509 | 0.0005892
57 | 0.99941 | -0.01113 | 0 | 0
58 | 0.99831 | -0.032137 | 0.0057396 | 0.0014385
59 | 0.99763 | -0.045127 | 0.0042155 | 0.0010565
60 | 0.9981 | -0.036102 | 0 | 0
61 | 0.99785 | -0.040903 | 0 | 0
62 | 1 | 0 | -0.26666 | -0.067553
63 | 0.99566 | -0.082656 | 0 | 0
64 | 0.99553 | -0.085018 | 0 | 0
65 | 0.9955 | -0.085741 | 0.0099997 | 0.0025062
66 | 0.99562 | -0.083424 | 0.0071532 | 0.0017928
67 | 0.97957 | -0.39366 | 0.0019006 | 0.00047634
68 | 0.97963 | -0.39232 | 0.00076296 | 0.00019122
69 | 0.97974 | -0.39033 | 0.0020251 | 0.00050755
70 | 0.97988 | -0.38755 | 0.0036279 | 0.00090923
71 | 0.98035 | -0.37822 | 0.0071123 | 0.0017825
72 | 0.98079 | -0.36971 | 0 | 0
73 | 0.98258 | -0.33472 | 0 | 0
74 | 0.98218 | -0.34261 | 0 | 0
75 | 0.9835 | -0.31668 | 0.0020272 | 0.00050807
76 | 0.98254 | -0.33541 | 0 | 0
77 | 0.98565 | -0.27503 | 0.0024506 | 0.00061419
78 | 0.99276 | -0.13795 | 0.0083793 | 0.0021001
79 | 0.98164 | -0.35311 | 0.0033103 | 0.00082963
80 | 0.98241 | -0.33799 | 0.0028559 | 0.00071575
81 | 0.98216 | -0.34292 | 0.0040915 | 0.0010254
82 | 0.98845 | -0.22149 | 0.0016479 | 0.00041301
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020172 | -0.00050555 | 0.0020173 | 0.00050519 | 1.2292e-07 | -3.5993e-07 | 0.0030658 | 0.0030656 | 0.0030658 | 0.97906 | -0.40421 | 0.97913 | -0.40293 | 0.84225
1 | 0.012748 | 0.0031963 | -0.012743 | -0.0031938 | 4.5325e-06 | 2.4959e-06 | 0.019374 | 0.019374 | 0.019374 | 0.97913 | -0.40293 | 0.97875 | -0.41039 | 5.3226
2 | -0.014765 | -0.0037015 | 0.014777 | 0.0037083 | 1.1862e-05 | 6.8009e-06 | 0.02244 | 0.022439 | 0.02244 | 0.97913 | -0.40293 | 0.97998 | -0.38608 | 6.1647
3 | -0.01943 | -0.0048733 | 0.019431 | 0.0048743 | 1.5952e-06 | 9.5937e-07 | 0.029504 | 0.029504 | 0.029504 | 0.97998 | -0.38608 | 0.98007 | -0.38436 | 8.1054
4 | 0.0046527 | 0.001165 | -0.0046523 | -0.0011651 | 4.305e-07 | -1.4282e-08 | 0.0070643 | 0.0070644 | 0.0070644 | 0.97998 | -0.38608 | 0.97989 | -0.38803 | 1.9408
5 | -0.022994 | -0.005767 | 0.023031 | 0.0057896 | 3.6964e-05 | 2.2636e-05 | 0.034913 | 0.034913 | 0.034913 | 0.98007 | -0.38436 | 0.98179 | -0.35069 | 9.5916
6 | 0.0035631 | 0.00089271 | -0.0035628 | -0.00089289 | 3.3848e-07 | -1.7199e-07 | 0.0054097 | 0.0054099 | 0.0054099 | 0.98007 | -0.38436 | 0.97997 | -0.38635 | 1.4862
7 | 0.0026214 | 0.00065608 | -0.0026213 | -0.00065621 | 8.5299e-08 | -1.2625e-07 | 0.0039804 | 0.0039805 | 0.0039805 | 0.97989 | -0.38803 | 0.97985 | -0.38871 | 1.0935
8 | -0.0005859 | -0.00014684 | 0.00058592 | 0.00014637 | 1.1326e-08 | -4.7325e-07 | 0.00088982 | 0.00088965 | 0.00088982 | 0.97979 | -0.38992 | 0.97981 | -0.38951 | 0.24446
9 | -0.00058592 | -0.00014637 | 0.00058592 | 0.00014624 | 3.0633e-09 | -1.2804e-07 | 0.00088965 | 0.0008896 | 0.00088965 | 0.97981 | -0.38951 | 0.97982 | -0.3894 | 0.24441
10 | -0.0026212 | -0.00065634 | 0.0026213 | 0.00065621 | 8.6326e-08 | -1.2775e-07 | 0.0039806 | 0.0039805 | 0.0039806 | 0.97982 | -0.3894 | 0.97985 | -0.38871 | 1.0936
11 | -0.023031 | -0.0057896 | 0.023033 | 0.0057908 | 1.9283e-06 | 1.1808e-06 | 0.034913 | 0.034913 | 0.034913 | 0.98179 | -0.35069 | 0.98188 | -0.34894 | 9.5915
12 | 0.0022734 | 0.00056973 | -0.0022734 | -0.00056977 | 1.5631e-08 | -3.4066e-08 | 0.003452 | 0.003452 | 0.003452 | 0.97997 | -0.38635 | 0.97996 | -0.3865 | 0.94836
13 | -0.027444 | -0.0068962 | 0.027464 | 0.0069089 | 2.0404e-05 | 1.2661e-05 | 0.041597 | 0.041597 | 0.041597 | 0.98188 | -0.34894 | 0.98268 | -0.33338 | 11.4278
14 | -0.0073903 | -0.001852 | 0.0073913 | 0.0018524 | 1.0598e-06 | 3.9423e-07 | 0.011209 | 0.011209 | 0.011209 | 0.98104 | -0.36483 | 0.98119 | -0.36182 | 3.0795
15 | 0.0052183 | 0.0013077 | -0.0052177 | -0.0013076 | 6.0714e-07 | 6.2294e-08 | 0.0079149 | 0.0079151 | 0.0079151 | 0.98104 | -0.36483 | 0.98092 | -0.36727 | 2.1745
16 | -0.01016 | -0.0025463 | 0.010161 | 0.0025466 | 6.3824e-07 | 3.1792e-07 | 0.015408 | 0.015408 | 0.015408 | 0.98119 | -0.36182 | 0.98126 | -0.3605 | 4.233
17 | 0.0052177 | 0.0013076 | -0.0052175 | -0.0013076 | 1.6619e-07 | 1.7068e-08 | 0.0079151 | 0.0079151 | 0.0079151 | 0.98092 | -0.36727 | 0.98088 | -0.36794 | 2.1745
18 | 0.0038269 | 0.00095906 | -0.0038268 | -0.0009591 | 9.3772e-08 | -3.3777e-08 | 0.0058033 | 0.0058033 | 0.0058033 | 0.98126 | -0.3605 | 0.98123 | -0.36101 | 1.5943
19 | -0.013988 | -0.0035057 | 0.013993 | 0.0035086 | 5.1978e-06 | 2.9373e-06 | 0.021211 | 0.021211 | 0.021211 | 0.98126 | -0.3605 | 0.98166 | -0.3527 | 5.8273
20 | 0.0052175 | 0.0013076 | -0.0052174 | -0.0013076 | 1.7174e-07 | 1.7644e-08 | 0.0079151 | 0.0079151 | 0.0079151 | 0.98088 | -0.36794 | 0.98085 | -0.36863 | 2.1745
21 | 0.0033103 | 0.00082958 | -0.0033103 | -0.00082963 | 6.4621e-08 | -4.5166e-08 | 0.0050178 | 0.0050178 | 0.0050178 | 0.98166 | -0.3527 | 0.98164 | -0.35311 | 1.3785
22 | -0.017303 | -0.0043382 | 0.017311 | 0.0043431 | 8.3264e-06 | 4.9207e-06 | 0.026229 | 0.026229 | 0.026229 | 0.98166 | -0.3527 | 0.98218 | -0.34261 | 7.2057
23 | -0.0063282 | -0.001586 | 0.0063293 | 0.0015863 | 1.1434e-06 | 2.9649e-07 | 0.0095015 | 0.0095013 | 0.0095015 | 0.99105 | -0.17119 | 0.99125 | -0.16739 | 2.6103
24 | -0.01322 | -0.0033131 | 0.013225 | 0.0033163 | 5.7026e-06 | 3.1517e-06 | 0.019845 | 0.019844 | 0.019845 | 0.99125 | -0.16739 | 0.99171 | -0.15834 | 5.4518
25 | -0.1041 | -0.026291 | 0.10445 | 0.026518 | 0.00035559 | 0.00022708 | 0.15627 | 0.15627 | 0.15627 | 0.99171 | -0.15834 | 0.99541 | -0.087326 | 42.9301
26 | 0.085647 | 0.021665 | -0.085428 | -0.021526 | 0.00021882 | 0.00013959 | 0.12858 | 0.12858 | 0.12858 | 0.99171 | -0.15834 | 0.98895 | -0.21174 | 35.324
27 | -0.10991 | -0.027885 | 0.11014 | 0.02803 | 0.000227 | 0.00014499 | 0.16442 | 0.16442 | 0.16442 | 0.99541 | -0.087326 | 0.99766 | -0.044476 | 45.17
28 | 0.066061 | 0.016667 | -0.066046 | -0.016657 | 1.4724e-05 | 9.3725e-06 | 0.099437 | 0.099437 | 0.099437 | 0.98895 | -0.21174 | 0.98871 | -0.2164 | 27.318
29 | 0.019367 | 0.004859 | -0.019357 | -0.0048528 | 1.0244e-05 | 6.1436e-06 | 0.029142 | 0.029142 | 0.029142 | 0.98895 | -0.21174 | 0.98838 | -0.22284 | 8.0061
30 | 0.020872 | 0.0052298 | -0.020871 | -0.0052292 | 9.991e-07 | 6.048e-07 | 0.031413 | 0.031413 | 0.031413 | 0.98871 | -0.2164 | 0.98866 | -0.2174 | 8.6299
31 | 0.045174 | 0.011427 | -0.045098 | -0.01138 | 7.5381e-05 | 4.7688e-05 | 0.068025 | 0.068025 | 0.068025 | 0.98871 | -0.2164 | 0.98691 | -0.25124 | 18.6881
32 | 0.019357 | 0.0048528 | -0.019352 | -0.0048501 | 4.4954e-06 | 2.6962e-06 | 0.029142 | 0.029142 | 0.029142 | 0.98838 | -0.22284 | 0.98813 | -0.22772 | 8.0061
33 | 0.0016482 | 0.00041143 | -0.0016479 | -0.00041284 | 2.875e-07 | -1.4136e-06 | 0.0024801 | 0.0024807 | 0.0024807 | 0.98866 | -0.2174 | 0.98847 | -0.22107 | 0.68152
34 | 0.038779 | 0.009796 | -0.038731 | -0.009766 | 4.7506e-05 | 2.9932e-05 | 0.058496 | 0.058497 | 0.058497 | 0.98691 | -0.25124 | 0.98559 | -0.27683 | 16.0705
35 | -0.11435 | -0.029087 | 0.11448 | 0.029173 | 0.00013424 | 8.5751e-05 | 0.17071 | 0.17071 | 0.17071 | 0.99766 | -0.044476 | 0.99894 | -0.020146 | 46.8973
36 | 0.0042156 | 0.0010565 | -0.0042155 | -0.0010565 | 5.7521e-08 | -1.3851e-08 | 0.0062876 | 0.0062876 | 0.0062876 | 0.99766 | -0.044476 | 0.99765 | -0.044762 | 1.7274
37 | -0.26475 | -0.067389 | 0.26486 | 0.067462 | 0.00011514 | 7.3585e-05 | 0.39474 | 0.39474 | 0.39474 | 0.99894 | -0.020146 | 0.99941 | -0.01113 | 54.2219
38 | 0.15026 | 0.038216 | -0.15018 | -0.038161 | 8.6762e-05 | 5.5287e-05 | 0.22403 | 0.22403 | 0.22403 | 0.99894 | -0.020146 | 0.99831 | -0.032137 | 30.7732
39 | 0.0042155 | 0.0010565 | -0.0042155 | -0.0010565 | 7.3266e-08 | -1.7639e-08 | 0.0062876 | 0.0062876 | 0.0062876 | 0.99765 | -0.044762 | 0.99763 | -0.045127 | 1.7274
40 | 0.03295 | 0.0083172 | -0.032947 | -0.0083154 | 2.872e-06 | 1.7987e-06 | 0.049769 | 0.049769 | 0.049769 | 0.98559 | -0.27683 | 0.98549 | -0.27865 | 13.6727
41 | 0.032947 | 0.0083154 | -0.032861 | -0.0082614 | 8.6113e-05 | 5.3934e-05 | 0.049769 | 0.049769 | 0.049769 | 0.98549 | -0.27865 | 0.98268 | -0.33338 | 13.6728
42 | 0.0016479 | 0.00041284 | -0.0016479 | -0.00041301 | 3.2828e-08 | -1.6133e-07 | 0.0024807 | 0.0024808 | 0.0024808 | 0.98847 | -0.22107 | 0.98845 | -0.22149 | 0.68153
43 | -0.0044659 | -0.0011193 | 0.0044661 | 0.0011192 | 1.5457e-07 | -2.0917e-08 | 0.0066813 | 0.0066813 | 0.0066813 | 0.99461 | -0.10326 | 0.99465 | -0.10254 | 1.8355
44 | -0.013959 | -0.0034983 | 0.013964 | 0.0035015 | 5.7144e-06 | 3.2035e-06 | 0.020882 | 0.020882 | 0.020882 | 0.99465 | -0.10254 | 0.9951 | -0.093945 | 5.7369
45 | -0.023013 | -0.0057694 | 0.023019 | 0.0057728 | 5.5846e-06 | 3.4108e-06 | 0.034414 | 0.034414 | 0.034414 | 0.9951 | -0.093945 | 0.99536 | -0.088854 | 9.4543
46 | -0.029625 | -0.0074283 | 0.029641 | 0.0074385 | 1.6364e-05 | 1.0184e-05 | 0.044289 | 0.044288 | 0.044289 | 0.99536 | -0.088854 | 0.99596 | -0.07727 | 12.1672
47 | -0.075522 | -0.019152 | 0.075715 | 0.019275 | 0.00019286 | 0.00012292 | 0.11359 | 0.11359 | 0.11359 | 0.99004 | -0.19009 | 0.9928 | -0.13712 | 31.2055
48 | 0.075522 | 0.019152 | -0.075378 | -0.01906 | 0.00014404 | 9.1806e-05 | 0.11359 | 0.11359 | 0.11359 | 0.99004 | -0.19009 | 0.98798 | -0.22985 | 31.2055
49 | 0.0083797 | 0.0021002 | -0.0083793 | -0.0021001 | 3.3232e-07 | 1.4004e-07 | 0.012559 | 0.012559 | 0.012559 | 0.9928 | -0.13712 | 0.99276 | -0.13795 | 3.4504
50 | -0.084094 | -0.021375 | 0.084316 | 0.021516 | 0.00022119 | 0.00014108 | 0.12615 | 0.12615 | 0.12615 | 0.9928 | -0.13712 | 0.99566 | -0.082656 | 34.6558
51 | 0.066369 | 0.016802 | -0.066226 | -0.016711 | 0.00014364 | 9.144e-05 | 0.10002 | 0.10002 | 0.10002 | 0.98798 | -0.22985 | 0.98565 | -0.27503 | 27.4782
52 | -0.037965 | -0.0095247 | 0.038023 | 0.0095613 | 5.8264e-05 | 3.6659e-05 | 0.056725 | 0.056725 | 0.056725 | 0.99596 | -0.07727 | 0.99763 | -0.045133 | 15.5838
53 | -0.042693 | -0.010732 | 0.042702 | 0.010737 | 8.6249e-06 | 5.4459e-06 | 0.06369 | 0.06369 | 0.06369 | 0.99763 | -0.045133 | 0.99785 | -0.040903 | 17.4972
54 | -0.0026617 | -0.00066708 | 0.0026618 | 0.00066684 | 1.6868e-07 | -2.3708e-07 | 0.0040472 | 0.0040471 | 0.0040472 | 0.9786 | -0.41273 | 0.97866 | -0.4114 | 1.1119
55 | -0.0068368 | -0.0017132 | 0.0068382 | 0.0017137 | 1.457e-06 | 4.8056e-07 | 0.010395 | 0.010395 | 0.010395 | 0.97866 | -0.4114 | 0.97889 | -0.40692 | 2.8557
56 | -0.0095256 | -0.0023872 | 0.0095353 | 0.0023918 | 9.7124e-06 | 4.6612e-06 | 0.01448 | 0.014479 | 0.01448 | 0.97889 | -0.40692 | 0.97998 | -0.38554 | 3.978
57 | -0.0095353 | -0.0023918 | 0.0095425 | 0.0023953 | 7.1985e-06 | 3.4524e-06 | 0.014479 | 0.014479 | 0.014479 | 0.97998 | -0.38554 | 0.98079 | -0.36971 | 3.9778
58 | 0.002174 | 0.00054485 | -0.002174 | -0.00054485 | 1.2224e-09 | -2.9729e-09 | 0.0033038 | 0.0033038 | 0.0033038 | 0.97914 | -0.40207 | 0.97914 | -0.40208 | 0.90765
59 | -0.004827 | -0.0012098 | 0.0048275 | 0.0012098 | 4.4389e-07 | 7.392e-09 | 0.0073357 | 0.0073356 | 0.0073357 | 0.97914 | -0.40207 | 0.97924 | -0.40014 | 2.0153
60 | -0.0072354 | -0.0018133 | 0.0072358 | 0.0018134 | 3.5727e-07 | 1.295e-07 | 0.010995 | 0.010995 | 0.010995 | 0.97924 | -0.40014 | 0.97929 | -0.3991 | 3.0205
61 | -0.009888 | -0.0024781 | 0.0098885 | 0.0024783 | 4.8945e-07 | 2.405e-07 | 0.015025 | 0.015025 | 0.015025 | 0.97929 | -0.3991 | 0.97934 | -0.39807 | 4.1276
62 | -0.012239 | -0.0030675 | 0.012242 | 0.0030689 | 2.5709e-06 | 1.3959e-06 | 0.018597 | 0.018597 | 0.018597 | 0.97934 | -0.39807 | 0.97957 | -0.39366 | 5.109
63 | -0.26486 | -0.067462 | 0.26501 | 0.067553 | 0.00014228 | 9.0931e-05 | 0.39474 | 0.39474 | 0.39474 | 0.99941 | -0.01113 | 1 | 0 | 54.2219
64 | 0.14444 | 0.036722 | -0.14441 | -0.036705 | 2.7576e-05 | 1.7566e-05 | 0.21547 | 0.21547 | 0.21547 | 0.99831 | -0.032137 | 0.9981 | -0.036102 | 29.5981
65 | 0.14441 | 0.036705 | -0.14438 | -0.036684 | 3.3385e-05 | 2.1266e-05 | 0.21547 | 0.21547 | 0.21547 | 0.9981 | -0.036102 | 0.99785 | -0.040903 | 29.5981
66 | 0.10167 | 0.025946 | -0.10147 | -0.025816 | 0.00020463 | 0.00013066 | 0.15178 | 0.15178 | 0.15178 | 0.99785 | -0.040903 | 0.99566 | -0.082656 | 41.6991
67 | 0.0071535 | 0.0017929 | -0.0071532 | -0.0017928 | 2.6171e-07 | 8.8087e-08 | 0.010691 | 0.010691 | 0.010691 | 0.99566 | -0.082656 | 0.99562 | -0.083424 | 2.9371
68 | 0.010001 | 0.0025069 | -0.01 | -0.0025063 | 1.1252e-06 | 5.4547e-07 | 0.014947 | 0.014947 | 0.014947 | 0.99566 | -0.082656 | 0.99553 | -0.085018 | 4.1063
69 | 0.01 | 0.0025063 | -0.0099997 | -0.0025062 | 3.4425e-07 | 1.6689e-07 | 0.014947 | 0.014947 | 0.014947 | 0.99553 | -0.085018 | 0.9955 | -0.085741 | 4.1063
70 | -0.014143 | -0.0035453 | 0.014143 | 0.0035458 | 9.0247e-07 | 5.1194e-07 | 0.021484 | 0.021484 | 0.021484 | 0.97957 | -0.39366 | 0.97963 | -0.39232 | 5.9021
71 | -0.014906 | -0.003737 | 0.014908 | 0.0037378 | 1.4149e-06 | 8.1284e-07 | 0.022643 | 0.022642 | 0.022643 | 0.97963 | -0.39232 | 0.97974 | -0.39033 | 6.2205
72 | -0.016933 | -0.0042454 | 0.016935 | 0.0042467 | 2.2443e-06 | 1.3224e-06 | 0.025718 | 0.025718 | 0.025718 | 0.97974 | -0.39033 | 0.97988 | -0.38755 | 7.0655
73 | -0.020563 | -0.0051559 | 0.020572 | 0.0051614 | 9.1405e-06 | 5.5349e-06 | 0.031227 | 0.031227 | 0.031227 | 0.97988 | -0.38755 | 0.98035 | -0.37822 | 8.579
74 | -0.027685 | -0.006944 | 0.027696 | 0.0069509 | 1.1237e-05 | 6.9778e-06 | 0.042023 | 0.042023 | 0.042023 | 0.98035 | -0.37822 | 0.98079 | -0.36971 | 11.5447
75 | -0.037238 | -0.0093462 | 0.037301 | 0.0093854 | 6.2259e-05 | 3.9188e-05 | 0.056501 | 0.056501 | 0.056501 | 0.98079 | -0.36971 | 0.98258 | -0.33472 | 15.5224
76 | 0.021411 | 0.0053735 | -0.021403 | -0.0053686 | 8.0534e-06 | 4.8956e-06 | 0.032427 | 0.032428 | 0.032428 | 0.98258 | -0.33472 | 0.98218 | -0.34261 | 8.9087
77 | -0.061568 | -0.015474 | 0.061621 | 0.015508 | 5.3056e-05 | 3.375e-05 | 0.093254 | 0.093254 | 0.093254 | 0.98258 | -0.33472 | 0.9835 | -0.31668 | 25.6192
78 | 0.0028563 | 0.00071523 | -0.0028562 | -0.00071534 | 9.481e-08 | -1.1048e-07 | 0.0043254 | 0.0043254 | 0.0043254 | 0.98258 | -0.33472 | 0.98254 | -0.33541 | 1.1883
79 | 0.0040916 | 0.0010254 | -0.0040915 | -0.0010254 | 6.1039e-08 | -1.4544e-08 | 0.0061988 | 0.0061989 | 0.0061989 | 0.98218 | -0.34261 | 0.98216 | -0.34292 | 1.703
80 | -0.063648 | -0.016016 | 0.063775 | 0.016097 | 0.00012695 | 8.0786e-05 | 0.096321 | 0.096321 | 0.096321 | 0.9835 | -0.31668 | 0.98565 | -0.27503 | 26.4618
81 | 0.0028562 | 0.00071534 | -0.0028559 | -0.00071575 | 3.4991e-07 | -4.0759e-07 | 0.0043254 | 0.0043257 | 0.0043257 | 0.98254 | -0.33541 | 0.98241 | -0.33799 | 1.1884

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27093 | 0.068625

## res_load
| p_mw | q_mvar
0 | 0.0020172 | 0.00050555
1 | 0.012743 | 0.0031938
2 | 0.0020308 | 0.00050898
3 | 0.0005859 | 0.00014684
4 | 0.0020353 | 0.0005101
5 | 0.0012894 | 0.00032315
6 | 0.0044106 | 0.0011054
7 | 0.0022734 | 0.00056977
8 | 0.002172 | 0.00054434
9 | 0.0027686 | 0.00069389
10 | 0.0038268 | 0.0009591
11 | 0.0052174 | 0.0013076
12 | 0.0063282 | 0.001586
13 | 0.0068902 | 0.0017268
14 | 0.0052263 | 0.0013098
15 | 0.0054544 | 0.001367
16 | 0.019223 | 0.0048178
17 | 0.0063196 | 0.0015838
18 | 0.019352 | 0.0048501
19 | 0.005781 | 0.0014489
20 | 0.0053968 | 0.0013526
21 | 0.0044659 | 0.0011193
22 | 0.0094927 | 0.0023791
23 | 0.0090489 | 0.0022679
24 | 0.0066056 | 0.0016555
25 | 0.0090084 | 0.0022577
26 | 0.0083239 | 0.0020862
27 | 0.0046698 | 0.0011704
28 | 0.0026617 | 0.00066708
29 | 0.0041749 | 0.0010463
30 | 0.0026874 | 0.00067351
31 | 0.002653 | 0.00066492
32 | 0.002174 | 0.00054485
33 | 0.002408 | 0.00060349
34 | 0.0026522 | 0.0006647
35 | 0.0023509 | 0.0005892
36 | 0.0057396 | 0.0014385
37 | 0.0042155 | 0.0010565
38 | 0.0042771 | 0.0010719
39 | 0.0099997 | 0.0025062
40 | 0.0071532 | 0.0017928
41 | 0.0019006 | 0.00047634
42 | 0.00076296 | 0.00019122
43 | 0.0020251 | 0.00050755
44 | 0.0036279 | 0.00090923
45 | 0.0071123 | 0.0017825
46 | 0.0020272 | 0.00050807
47 | 0.0024506 | 0.00061419
48 | 0.0083793 | 0.0021001
49 | 0.0033103 | 0.00082963
50 | 0.0028559 | 0.00071575
51 | 0.0040915 | 0.0010254
52 | 0.0016479 | 0.00041301

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1