## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-13_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-13_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-13_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1059-13_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1059-13_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1059-13_0_5_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_1059-13_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1059-13_0_5_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1059-13_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1059-13_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1059-13_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1059-13_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1059-13_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1059-13_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1059-13_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1059-13_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1059-13_0_5_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1059-13_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1059-13_0_5_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1059-13_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1059-13_0_5_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1059-13_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1059-13_0_5_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1059-13_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1059-13_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1059-13_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1059-13_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_1059-13_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1059-13_0_5_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_1059-13_0_5_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1059-13_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_1059-13_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1059-13_0_5_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1059-13_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1059-13_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1059-13_0_5_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_1059-13_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1059-13_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1059-13_0_5_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1059-13_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1059-13_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1059-13_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1059-13_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1059-13_0_5_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1059-13_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1059-13_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1059-13_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_MV_24_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-13_0_5_load_0 | 0 | 0.0050853 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-13_0_5_load_1 | 1 | 0.0031698 | 0.00079442 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-13_0_5_load_2 | 2 | 0.0035631 | 0.000893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-13_0_5_load_3 | 3 | 0.0040948 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-13_0_5_load_4 | 4 | 0.0041977 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-13_0_5_load_6 | 6 | 0.031595 | 0.0079184 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-13_0_5_load_7 | 7 | 0.0044071 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-13_0_5_load_42 | 8 | 0.0087796 | 0.0022004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-13_0_5_load_44 | 10 | 0.0105 | 0.0026316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-13_0_5_load_40 | 11 | 0.0093926 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-13_0_5_load_8 | 13 | 0.0049425 | 0.0012387 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-13_0_5_load_38 | 18 | 0.077663 | 0.019464 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-13_0_5_load_52 | 20 | 0.01027 | 0.002574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-13_0_5_load_61 | 24 | 0.045859 | 0.011493 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-13_0_5_load_56 | 30 | 0.0025019 | 0.00062704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-13_0_5_load_54 | 32 | 0.0054524 | 0.0013665 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-13_0_5_load_55 | 33 | 0.0059232 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-13_0_5_load_58 | 34 | 0.0073819 | 0.0018501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-13_0_5_load_47 | 35 | 0.0071696 | 0.0017969 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-13_0_5_load_46 | 36 | 0.0097507 | 0.0024438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-13_0_5_load_57 | 39 | 0.010632 | 0.0026646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-13_0_5_load_43 | 41 | 0.0058822 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-13_0_5_load_60 | 42 | 0.047328 | 0.011862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-13_0_5_load_48 | 43 | 0.008197 | 0.0020544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-13_0_5_load_39 | 44 | 0.067194 | 0.01684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-13_0_5_load_36 | 45 | 0.011641 | 0.0029176 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-13_0_5_load_53 | 46 | 0.0082421 | 0.0020657 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-13_0_5_load_59 | 47 | 0.043125 | 0.010808 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-13_0_5_load_51 | 48 | 0.010911 | 0.0027345 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-13_0_5_load_50 | 49 | 0.0078927 | 0.0019781 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-13_0_5_load_49 | 50 | 0.0094376 | 0.0023653 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-13_0_5_line_0 |  | 0 | 1 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-13_0_5_line_1 |  | 0 | 2 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-13_0_5_line_2 |  | 1 | 3 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-13_0_5_line_3 |  | 2 | 4 | 0.0078012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-13_0_5_line_4 |  | 3 | 5 | 0.0030673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-13_0_5_line_5 |  | 4 | 6 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-13_0_5_line_6 |  | 4 | 7 | 0.0072858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1059-13_0_5_line_7 |  | 5 | 8 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-13_0_5_line_8 |  | 5 | 9 | 0.007147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-13_0_5_line_9 |  | 7 | 10 | 0.007177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1059-13_0_5_line_10 |  | 9 | 11 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-13_0_5_line_11 |  | 10 | 12 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1059-13_0_5_line_12 |  | 11 | 44 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-13_0_5_line_13 |  | 12 | 41 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1059-13_0_5_line_14 |  | 12 | 17 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-13_0_5_line_15 |  | 13 | 14 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-13_0_5_line_16 |  | 14 | 15 | 0.039128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-13_0_5_line_17 |  | 15 | 18 | 0.033161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-13_0_5_line_18 |  | 16 | 17 | 0.006306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-13_0_5_line_19 |  | 16 | 18 | 0.034675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-13_0_5_line_20 |  | 17 | 45 | 0.0096438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-13_0_5_line_21 |  | 19 | 20 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1059-13_0_5_line_22 |  | 19 | 21 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-13_0_5_line_23 |  | 19 | 22 | 0.027064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1059-13_0_5_line_24 |  | 20 | 46 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1059-13_0_5_line_25 |  | 21 | 33 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-13_0_5_line_26 |  | 22 | 43 | 0.021979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-13_0_5_line_27 |  | 22 | 40 | 0.0085859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1059-13_0_5_line_28 |  | 23 | 24 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-13_0_5_line_29 |  | 23 | 25 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-13_0_5_line_30 |  | 23 | 26 | 0.029793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-13_0_5_line_31 |  | 25 | 31 | 0.024588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-13_0_5_line_32 |  | 25 | 32 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1059-13_0_5_line_33 |  | 26 | 42 | 0.018961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-13_0_5_line_34 |  | 27 | 28 | 0.04296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-13_0_5_line_35 |  | 27 | 29 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-13_0_5_line_36 |  | 27 | 30 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-13_0_5_line_37 |  | 28 | 35 | 0.024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-13_0_5_line_38 |  | 28 | 36 | 0.042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-13_0_5_line_39 |  | 29 | 44 | 0.030617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-13_0_5_line_40 |  | 31 | 34 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-13_0_5_line_41 |  | 32 | 46 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1059-13_0_5_line_42 |  | 33 | 38 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-13_0_5_line_43 |  | 34 | 47 | 0.0072217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-13_0_5_line_44 |  | 37 | 38 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-13_0_5_line_45 |  | 37 | 39 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-13_0_5_line_46 |  | 40 | 41 | 0.00067852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1059-13_0_5_line_47 |  | 43 | 50 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-13_0_5_line_48 |  | 48 | 49 | 0.0026276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-13_0_5_line_49 |  | 49 | 50 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-13_0_5_trafo_32 | 0.63 MVA 20/0.4 kV | 51 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2663732.0968 | 1209530.066 | 2663721.4563 | 1209524.3731
1 | 2663732.0968 | 1209530.066 | 2663738.3882 | 1209533.432 | 2663741.9371 | 1209534.9166
2 | 2663721.4563 | 1209524.3731 | 2663709.8172 | 1209518.146
3 | 2663749.134 | 1209537.9272 | 2663741.9371 | 1209534.9166
4 | 2663707.1127 | 1209516.699 | 2663709.8172 | 1209518.146
5 | 2663749.134 | 1209537.9272 | 2663754.7293 | 1209520.0761
6 | 2663749.134 | 1209537.9272 | 2663753.0161 | 1209539.5475 | 2663756.0437 | 1209540.1087
7 | 2663707.1127 | 1209516.699 | 2663697.1119 | 1209511.8338
8 | 2663707.1127 | 1209516.699 | 2663700.6713 | 1209519.8322
9 | 2663763.1005 | 1209541.4167 | 2663756.0437 | 1209540.1087
10 | 2663700.6713 | 1209519.8322 | 2663699.9042 | 1209539.1785
11 | 2663779.0997 | 1209547.0418 | 2663767.21 | 1209542.1785 | 2663763.1005 | 1209541.4167
12 | 2663699.3669 | 1209552.7287 | 2663699.9042 | 1209539.1785
13 | 2663779.0997 | 1209547.0418 | 2663772.7485 | 1209553.8225 | 2663769.1726 | 1209557.1937
14 | 2663779.0997 | 1209547.0418 | 2663789.7668 | 1209536.1491
15 | 2663849.839 | 1209485.8051 | 2663848.6139 | 1209483.7908 | 2663845.167 | 1209481.2746 | 2663841.0261 | 1209480.3965 | 2663836.4036 | 1209481.1808 | 2663822.0519 | 1209484.2592
16 | 2663849.839 | 1209485.8051 | 2663851.6765 | 1209488.8377 | 2663852.2605 | 1209491.0898 | 2663852.8396 | 1209490.9515 | 2663856.3144 | 1209490.1548 | 2663857.2215 | 1209493.4665 | 2663860.6651 | 1209509.0684 | 2663861.3627 | 1209517.0474 | 2663861.4968 | 1209518.7165
17 | 2663861.4968 | 1209518.7165 | 2663858.9061 | 1209519.3003 | 2663829.1575 | 1209526.0509
18 | 2663795.1758 | 1209532.8827 | 2663789.7668 | 1209536.1491
19 | 2663795.1758 | 1209532.8827 | 2663810.5736 | 1209530.2679 | 2663829.1575 | 1209526.0509
20 | 2663789.7668 | 1209536.1491 | 2663790.0178 | 1209531.8603 | 2663789.664 | 1209526.5244
21 | 2663757.3628 | 1209583.0537 | 2663758.9579 | 1209584.5828 | 2663767.7246 | 1209587.4714
22 | 2663753.7488 | 1209592.621 | 2663754.0148 | 1209591.9123 | 2663755.0083 | 1209589.2768 | 2663757.0812 | 1209583.7956 | 2663757.3628 | 1209583.0537
23 | 2663774.6406 | 1209563.8377 | 2663762.2202 | 1209572.3658 | 2663760.3005 | 1209574.1797 | 2663759.1401 | 1209576.78 | 2663757.8079 | 1209580.5236 | 2663757.3628 | 1209583.0537
24 | 2663787.1757 | 1209593.7008 | 2663778.2428 | 1209590.9371 | 2663767.7246 | 1209587.4714
25 | 2663753.7488 | 1209592.621 | 2663766.5225 | 1209595.8371 | 2663769.876 | 1209596.7724
26 | 2663774.6406 | 1209563.8377 | 2663780.2201 | 1209558.8498 | 2663786.8847 | 1209553.3177 | 2663792.0714 | 1209550.648
27 | 2663768.6789 | 1209557.6591 | 2663768.8668 | 1209557.8501 | 2663771.0695 | 1209560.1417 | 2663774.1068 | 1209563.2872 | 2663774.6406 | 1209563.8377
28 | 2663829.2737 | 1209615.4419 | 2663823.0695 | 1209628.3835
29 | 2663824.8366 | 1209605.3106 | 2663824.6091 | 1209605.9641 | 2663823.6524 | 1209608.7111 | 2663822.6408 | 1209611.6131 | 2663822.3272 | 1209612.5103 | 2663824.9095 | 1209613.4163 | 2663829.2737 | 1209615.4419
30 | 2663829.2737 | 1209615.4419 | 2663838.1986 | 1209619.6066 | 2663856.3356 | 1209628.0724
31 | 2663848.9203 | 1209604.3119 | 2663840.2794 | 1209604.1528 | 2663831.471 | 1209604.0252 | 2663825.6915 | 1209604.2635 | 2663824.8366 | 1209605.3106
32 | 2663824.8366 | 1209605.3106 | 2663813.5349 | 1209601.6319 | 2663802.8913 | 1209598.4734
33 | 2663856.3356 | 1209628.0724 | 2663850.184 | 1209646.0074
34 | 2663707.4082 | 1209576.572 | 2663707.3295 | 1209577.5384 | 2663706.8656 | 1209583.2592 | 2663706.3834 | 1209589.2577 | 2663706.3042 | 1209590.2686 | 2663708.6178 | 1209590.7157 | 2663713.9443 | 1209590.906 | 2663718.6513 | 1209590.734 | 2663718.7148 | 1209607.556
35 | 2663698.1539 | 1209583.3218 | 2663706.8656 | 1209583.2592 | 2663707.3295 | 1209577.5384 | 2663707.4082 | 1209576.572
36 | 2663707.4082 | 1209576.572 | 2663710.2988 | 1209574.2459 | 2663711.3419 | 1209569.8099 | 2663712.005 | 1209563.9467 | 2663713.0609 | 1209560.1602
37 | 2663718.7148 | 1209607.556 | 2663694.4459 | 1209611.4452
38 | 2663718.7148 | 1209607.556 | 2663743.2708 | 1209603.6158 | 2663746.2443 | 1209620.7012
39 | 2663698.1539 | 1209583.3218 | 2663699.3669 | 1209552.7287
40 | 2663848.9203 | 1209604.3119 | 2663853.2895 | 1209594.5083 | 2663854.2059 | 1209587.4038
41 | 2663787.1757 | 1209593.7008 | 2663795.8119 | 1209596.3726 | 2663802.8913 | 1209598.4734
42 | 2663779.4513 | 1209605.8702 | 2663776.7221 | 1209605.1962 | 2663776.3961 | 1209605.1149 | 2663777.549 | 1209600.3688 | 2663776.9749 | 1209599.3287 | 2663775.435 | 1209598.3227 | 2663769.876 | 1209596.7724
43 | 2663855.1297 | 1209580.2415 | 2663854.2059 | 1209587.4038
44 | 2663778.9657 | 1209622.8532 | 2663775.449 | 1209620.4697 | 2663779.4513 | 1209605.8702
45 | 2663778.9657 | 1209622.8532 | 2663778.2612 | 1209626.8926 | 2663777.7581 | 1209632.0014 | 2663777.1661 | 1209637.6096 | 2663775.333 | 1209644.1943
46 | 2663768.6789 | 1209557.6591 | 2663769.1726 | 1209557.1937
47 | 2663792.0714 | 1209550.648 | 2663793.4656 | 1209549.9304 | 2663798.1448 | 1209548.1015 | 2663811.2746 | 1209544.3284 | 2663813.3935 | 1209543.8255
48 | 2663829.6844 | 1209540.2574 | 2663827.0904 | 1209540.6764
49 | 2663813.3935 | 1209543.8255 | 2663825.7538 | 1209540.8922 | 2663827.0904 | 1209540.6764

## bus_geodata
| x | y | coords
0 | 2663732.0968 | 1209530.066
1 | 2663721.4563 | 1209524.3731
2 | 2663741.9371 | 1209534.9166
3 | 2663709.8172 | 1209518.146
4 | 2663749.134 | 1209537.9272
5 | 2663707.1127 | 1209516.699
6 | 2663754.7293 | 1209520.0761
7 | 2663756.0437 | 1209540.1087
8 | 2663697.1119 | 1209511.8338
9 | 2663700.6713 | 1209519.8322
10 | 2663763.1005 | 1209541.4167
11 | 2663699.9042 | 1209539.1785
12 | 2663779.0997 | 1209547.0418
13 | 2663822.0519 | 1209484.2592
14 | 2663849.839 | 1209485.8051
15 | 2663861.4968 | 1209518.7165
16 | 2663795.1758 | 1209532.8827
17 | 2663789.7668 | 1209536.1491
18 | 2663829.1575 | 1209526.0509
19 | 2663757.3628 | 1209583.0537
20 | 2663767.7246 | 1209587.4714
21 | 2663753.7488 | 1209592.621
22 | 2663774.6406 | 1209563.8377
23 | 2663829.2737 | 1209615.4419
24 | 2663823.0695 | 1209628.3835
25 | 2663824.8366 | 1209605.3106
26 | 2663856.3356 | 1209628.0724
27 | 2663707.4082 | 1209576.572
28 | 2663718.7148 | 1209607.556
29 | 2663698.1539 | 1209583.3218
30 | 2663713.0609 | 1209560.1602
31 | 2663848.9203 | 1209604.3119
32 | 2663802.8913 | 1209598.4735
33 | 2663769.876 | 1209596.7724
34 | 2663854.2059 | 1209587.4038
35 | 2663694.4459 | 1209611.4452
36 | 2663746.2443 | 1209620.7012
37 | 2663778.9657 | 1209622.8532
38 | 2663779.4513 | 1209605.8703
39 | 2663775.333 | 1209644.1943
40 | 2663768.6789 | 1209557.6591
41 | 2663769.1726 | 1209557.1937
42 | 2663850.184 | 1209646.0074
43 | 2663792.0714 | 1209550.648
44 | 2663699.3669 | 1209552.7287
45 | 2663789.664 | 1209526.5244
46 | 2663787.1757 | 1209593.7008
47 | 2663855.1297 | 1209580.2415
48 | 2663829.6844 | 1209540.2574
49 | 2663827.0904 | 1209540.6764
50 | 2663813.3935 | 1209543.8255
51 | 2663771.0695 | 1209560.1417

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99268 | -0.14011 | 0.0050853 | 0.0012745
1 | 0.99144 | -0.16406 | 0.0031698 | 0.00079442
2 | 0.99386 | -0.11738 | 0.0035631 | 0.000893
3 | 0.99012 | -0.18958 | 0.0040948 | 0.0010262
4 | 0.99473 | -0.10078 | 0.0041977 | 0.001052
5 | 0.98982 | -0.19529 | 0 | 0
6 | 0.99419 | -0.11119 | 0.031595 | 0.0079184
7 | 0.99525 | -0.090739 | 0.0044071 | 0.0011045
8 | 0.98973 | -0.19703 | 0.0087796 | 0.0022004
9 | 0.98919 | -0.20751 | 0 | 0
10 | 0.99578 | -0.080584 | 0.0105 | 0.0026316
11 | 0.98748 | -0.24068 | 0.0093926 | 0.002354
12 | 0.99712 | -0.05497 | 0 | 0
13 | 0.99225 | -0.14882 | 0.0049425 | 0.0012387
14 | 0.99239 | -0.14617 | 0 | 0
15 | 0.99257 | -0.14275 | 0 | 0
16 | 0.99533 | -0.089321 | 0 | 0
17 | 0.99581 | -0.08016 | 0 | 0
18 | 0.99272 | -0.13985 | 0.077663 | 0.019464
19 | 0.99772 | -0.04355 | 0 | 0
20 | 0.99684 | -0.060357 | 0.01027 | 0.002574
21 | 0.99757 | -0.046515 | 0 | 0
22 | 1 | 0 | -0.4976 | -0.12575
23 | 0.99144 | -0.16437 | 0 | 0
24 | 0.99084 | -0.17604 | 0.045859 | 0.011493
25 | 0.99273 | -0.13933 | 0 | 0
26 | 0.99015 | -0.18941 | 0 | 0
27 | 0.98558 | -0.27773 | 0 | 0
28 | 0.98491 | -0.29079 | 0 | 0
29 | 0.98585 | -0.27236 | 0 | 0
30 | 0.98554 | -0.27855 | 0.0025019 | 0.00062704
31 | 0.9916 | -0.16132 | 0 | 0
32 | 0.99425 | -0.11017 | 0.0054524 | 0.0013665
33 | 0.99731 | -0.051346 | 0.0059232 | 0.0014845
34 | 0.99077 | -0.17736 | 0.0073819 | 0.0018501
35 | 0.98475 | -0.29395 | 0.0071696 | 0.0017969
36 | 0.98453 | -0.29819 | 0.0097507 | 0.0024438
37 | 0.99696 | -0.058097 | 0 | 0
38 | 0.99715 | -0.054483 | 0 | 0
39 | 0.99675 | -0.062145 | 0.010632 | 0.0026646
40 | 0.99893 | -0.02034 | 0 | 0
41 | 0.99885 | -0.021949 | 0.0058822 | 0.0014742
42 | 0.98933 | -0.20537 | 0.047328 | 0.011862
43 | 0.99927 | -0.01397 | 0.008197 | 0.0020544
44 | 0.9864 | -0.2617 | 0.067194 | 0.01684
45 | 0.99571 | -0.082134 | 0.011641 | 0.0029176
46 | 0.99537 | -0.088593 | 0.0082421 | 0.0020657
47 | 0.99049 | -0.18289 | 0.043125 | 0.010808
48 | 0.99843 | -0.030155 | 0.010911 | 0.0027345
49 | 0.99846 | -0.029654 | 0.0078927 | 0.0019781
50 | 0.9987 | -0.025033 | 0.0094376 | 0.0023653
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11267 | 0.028475 | -0.11254 | -0.028393 | 0.00012921 | 8.2541e-05 | 0.16898 | 0.16898 | 0.16898 | 0.99268 | -0.14011 | 0.99144 | -0.16406 | 46.4221
1 | -0.11776 | -0.02975 | 0.11788 | 0.029832 | 0.00012844 | 8.2059e-05 | 0.1766 | 0.1766 | 0.1766 | 0.99268 | -0.14011 | 0.99386 | -0.11738 | 48.5162
2 | 0.10937 | 0.027598 | -0.10924 | -0.027513 | 0.00013349 | 8.5266e-05 | 0.16422 | 0.16422 | 0.16422 | 0.99144 | -0.16406 | 0.99012 | -0.18958 | 45.1151
3 | -0.12145 | -0.030725 | 0.12154 | 0.030787 | 9.6832e-05 | 6.1871e-05 | 0.18193 | 0.18193 | 0.18193 | 0.99386 | -0.11738 | 0.99473 | -0.10078 | 49.9818
4 | 0.10514 | 0.026487 | -0.10511 | -0.026468 | 2.8738e-05 | 1.8353e-05 | 0.15807 | 0.15807 | 0.15807 | 0.99012 | -0.18958 | 0.98982 | -0.19529 | 43.4245
5 | 0.03161 | 0.0079282 | -0.031595 | -0.0079184 | 1.5687e-05 | 9.7973e-06 | 0.047288 | 0.047288 | 0.047288 | 0.99473 | -0.10078 | 0.99419 | -0.11119 | 12.9913
6 | -0.15735 | -0.039767 | 0.15743 | 0.039815 | 7.5765e-05 | 4.83e-05 | 0.2355 | 0.2355 | 0.2355 | 0.99473 | -0.10078 | 0.99525 | -0.090739 | 32.3491
7 | 0.0087804 | 0.0022007 | -0.0087796 | -0.0022004 | 7.2664e-07 | 3.2211e-07 | 0.0132 | 0.0132 | 0.0132 | 0.98982 | -0.19529 | 0.98973 | -0.19703 | 3.6263
8 | 0.096335 | 0.024268 | -0.096278 | -0.024232 | 5.6245e-05 | 3.5905e-05 | 0.14487 | 0.14487 | 0.14487 | 0.98982 | -0.19529 | 0.98919 | -0.20751 | 39.7982
9 | -0.16184 | -0.04092 | 0.16191 | 0.04097 | 7.8868e-05 | 5.0289e-05 | 0.24209 | 0.24209 | 0.24209 | 0.99525 | -0.090739 | 0.99578 | -0.080584 | 33.2542
10 | 0.096278 | 0.024232 | -0.096126 | -0.024135 | 0.00015237 | 9.7269e-05 | 0.14487 | 0.14487 | 0.14487 | 0.98919 | -0.20751 | 0.98748 | -0.24068 | 39.7982
11 | -0.17241 | -0.043602 | 0.17263 | 0.043737 | 0.00021213 | 0.00013532 | 0.25778 | 0.25778 | 0.25778 | 0.99578 | -0.080584 | 0.99712 | -0.05497 | 35.4095
12 | 0.086733 | 0.021781 | -0.086646 | -0.021725 | 8.6886e-05 | 5.5434e-05 | 0.13071 | 0.13071 | 0.13071 | 0.98748 | -0.24068 | 0.9864 | -0.2617 | 35.9099
13 | -0.26723 | -0.067581 | 0.26765 | 0.067852 | 0.00042403 | 0.00027101 | 0.399 | 0.399 | 0.399 | 0.99712 | -0.05497 | 0.99885 | -0.021949 | 54.8077
14 | 0.094599 | 0.023844 | -0.094485 | -0.023771 | 0.00011387 | 7.2678e-05 | 0.14122 | 0.14122 | 0.14122 | 0.99712 | -0.05497 | 0.99581 | -0.08016 | 38.7965
15 | -0.0049425 | -0.0012387 | 0.0049431 | 0.0012387 | 6.2265e-07 | 8.0331e-09 | 0.0074119 | 0.0074117 | 0.0074119 | 0.99225 | -0.14882 | 0.99239 | -0.14617 | 2.0362
16 | -0.0049431 | -0.0012387 | 0.0049439 | 0.0012387 | 8.0602e-07 | 1.0218e-08 | 0.0074117 | 0.0074116 | 0.0074117 | 0.99239 | -0.14617 | 0.99257 | -0.14275 | 2.0362
17 | -0.0049439 | -0.0012387 | 0.0049446 | 0.0012387 | 6.8307e-07 | 8.499e-09 | 0.0074116 | 0.0074114 | 0.0074116 | 0.99257 | -0.14275 | 0.99272 | -0.13985 | 2.0361
18 | -0.082806 | -0.02083 | 0.082843 | 0.020853 | 3.6256e-05 | 2.3122e-05 | 0.12382 | 0.12382 | 0.12382 | 0.99533 | -0.089321 | 0.99581 | -0.08016 | 34.0171
19 | 0.082806 | 0.02083 | -0.082607 | -0.020703 | 0.00019936 | 0.00012714 | 0.12382 | 0.12382 | 0.12382 | 0.99533 | -0.089321 | 0.99272 | -0.13985 | 34.0171
20 | 0.011642 | 0.0029182 | -0.011641 | -0.0029176 | 1.0946e-06 | 5.7507e-07 | 0.017397 | 0.017397 | 0.017397 | 0.99581 | -0.08016 | 0.99571 | -0.082134 | 4.7795
21 | 0.1687 | 0.04268 | -0.16856 | -0.042594 | 0.00013594 | 8.67e-05 | 0.25174 | 0.25174 | 0.25174 | 0.99772 | -0.04355 | 0.99684 | -0.060357 | 34.5797
22 | 0.016567 | 0.0041554 | -0.016564 | -0.004154 | 2.3415e-06 | 1.365e-06 | 0.024709 | 0.024709 | 0.024709 | 0.99772 | -0.04355 | 0.99757 | -0.046515 | 6.7882
23 | -0.18526 | -0.046836 | 0.18565 | 0.047083 | 0.00038781 | 0.00024749 | 0.27645 | 0.27645 | 0.27645 | 0.99772 | -0.04355 | 1 | 0 | 37.9738
24 | 0.15829 | 0.04002 | -0.15808 | -0.039883 | 0.00021404 | 0.00013645 | 0.23641 | 0.23641 | 0.23641 | 0.99684 | -0.060357 | 0.99537 | -0.088593 | 32.4739
25 | 0.016564 | 0.004154 | -0.01656 | -0.0041518 | 3.8129e-06 | 2.2229e-06 | 0.024709 | 0.024709 | 0.024709 | 0.99757 | -0.046515 | 0.99731 | -0.051346 | 6.7882
26 | 0.036482 | 0.0091594 | -0.036457 | -0.0091441 | 2.4294e-05 | 1.526e-05 | 0.054291 | 0.054291 | 0.054291 | 1 | 0 | 0.99927 | -0.01397 | 14.9152
27 | 0.27382 | 0.069511 | -0.27355 | -0.06934 | 0.00026767 | 0.00017108 | 0.40776 | 0.40776 | 0.40776 | 1 | 0 | 0.99893 | -0.02034 | 56.0114
28 | 0.045885 | 0.01151 | -0.045859 | -0.011493 | 2.5519e-05 | 1.6147e-05 | 0.06887 | 0.06887 | 0.06887 | 0.99144 | -0.16437 | 0.99084 | -0.17604 | 18.9204
29 | -0.093306 | -0.02343 | 0.093417 | 0.023501 | 0.00011161 | 7.1232e-05 | 0.14006 | 0.14006 | 0.14006 | 0.99144 | -0.16437 | 0.99273 | -0.13933 | 38.4767
30 | 0.047421 | 0.01192 | -0.047364 | -0.011884 | 5.6614e-05 | 3.5849e-05 | 0.071185 | 0.071185 | 0.071185 | 0.99144 | -0.16437 | 0.99015 | -0.18941 | 19.5563
31 | 0.05061 | 0.012724 | -0.050557 | -0.01269 | 5.308e-05 | 3.3654e-05 | 0.075874 | 0.075874 | 0.075874 | 0.99273 | -0.13933 | 0.9916 | -0.16132 | 20.8444
32 | -0.14403 | -0.036225 | 0.14423 | 0.036353 | 0.00020096 | 0.00012802 | 0.21593 | 0.21593 | 0.21593 | 0.99273 | -0.13933 | 0.99425 | -0.11017 | 29.6605
33 | 0.047364 | 0.011884 | -0.047328 | -0.011862 | 3.603e-05 | 2.2815e-05 | 0.071185 | 0.071185 | 0.071185 | 0.99015 | -0.18941 | 0.98933 | -0.20537 | 19.5563
34 | 0.016935 | 0.0042489 | -0.016925 | -0.0042427 | 1.0533e-05 | 6.1943e-06 | 0.02557 | 0.025571 | 0.025571 | 0.98558 | -0.27773 | 0.98491 | -0.29079 | 7.0249
35 | -0.019437 | -0.0048757 | 0.019442 | 0.0048787 | 4.9808e-06 | 2.9911e-06 | 0.029348 | 0.029348 | 0.029348 | 0.98558 | -0.27773 | 0.98585 | -0.27236 | 8.0626
36 | 0.002502 | 0.00062687 | -0.0025019 | -0.00062704 | 9.6847e-08 | -1.6865e-07 | 0.0037774 | 0.0037775 | 0.0037775 | 0.98558 | -0.27773 | 0.98554 | -0.27855 | 1.0378
37 | 0.0071707 | 0.0017972 | -0.0071696 | -0.0017969 | 1.0818e-06 | 3.7959e-07 | 0.010834 | 0.010834 | 0.010834 | 0.98491 | -0.29079 | 0.98475 | -0.29395 | 2.9763
38 | 0.0097541 | 0.0024454 | -0.0097507 | -0.0024438 | 3.4379e-06 | 1.6633e-06 | 0.014737 | 0.014737 | 0.014737 | 0.98491 | -0.29079 | 0.98453 | -0.29819 | 4.0487
39 | -0.019442 | -0.0048787 | 0.019452 | 0.0048847 | 9.8888e-06 | 5.9382e-06 | 0.029348 | 0.029348 | 0.029348 | 0.98585 | -0.27236 | 0.9864 | -0.2617 | 8.0626
40 | 0.050557 | 0.01269 | -0.050518 | -0.012665 | 3.8635e-05 | 2.4496e-05 | 0.075874 | 0.075874 | 0.075874 | 0.9916 | -0.16132 | 0.99077 | -0.17736 | 20.8444
41 | -0.14968 | -0.037719 | 0.14984 | 0.037818 | 0.00015464 | 9.8546e-05 | 0.22409 | 0.22409 | 0.22409 | 0.99425 | -0.11017 | 0.99537 | -0.088593 | 30.7814
42 | 0.010637 | 0.0026673 | -0.010636 | -0.0026665 | 1.5898e-06 | 7.9791e-07 | 0.015871 | 0.015872 | 0.015872 | 0.99731 | -0.051346 | 0.99715 | -0.054483 | 4.3603
43 | 0.043136 | 0.010815 | -0.043125 | -0.010808 | 1.1367e-05 | 7.1819e-06 | 0.064787 | 0.064787 | 0.064787 | 0.99077 | -0.17736 | 0.99049 | -0.18289 | 17.7986
44 | -0.010634 | -0.0026656 | 0.010636 | 0.0026665 | 1.8313e-06 | 9.1922e-07 | 0.015872 | 0.015872 | 0.015872 | 0.99696 | -0.058097 | 0.99715 | -0.054483 | 4.3603
45 | 0.010634 | 0.0026656 | -0.010632 | -0.0026646 | 2.0507e-06 | 1.0294e-06 | 0.015872 | 0.015872 | 0.015872 | 0.99696 | -0.058097 | 0.99675 | -0.062145 | 4.3604
46 | 0.27355 | 0.06934 | -0.27353 | -0.069326 | 2.1153e-05 | 1.352e-05 | 0.40776 | 0.40776 | 0.40776 | 0.99893 | -0.02034 | 0.99885 | -0.021949 | 56.0114
47 | 0.02826 | 0.0070897 | -0.028246 | -0.0070805 | 1.4898e-05 | 9.2412e-06 | 0.042085 | 0.042085 | 0.042085 | 0.99927 | -0.01397 | 0.9987 | -0.025033 | 11.5619
48 | -0.010911 | -0.0027345 | 0.010911 | 0.0027347 | 2.6055e-07 | 1.3239e-07 | 0.016261 | 0.016261 | 0.016261 | 0.99843 | -0.030155 | 0.99846 | -0.029654 | 4.4673
49 | -0.018804 | -0.0047128 | 0.018808 | 0.0047152 | 4.1399e-06 | 2.4656e-06 | 0.028024 | 0.028024 | 0.028024 | 0.99846 | -0.029654 | 0.9987 | -0.025033 | 7.6988

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4976 | 0.12575

## res_load
| p_mw | q_mvar
0 | 0.0050853 | 0.0012745
1 | 0.0031698 | 0.00079442
2 | 0.0035631 | 0.000893
3 | 0.0040948 | 0.0010262
4 | 0.0041977 | 0.001052
5 | 0.031595 | 0.0079184
6 | 0.0044071 | 0.0011045
7 | 0.0087796 | 0.0022004
8 | 0.0105 | 0.0026316
9 | 0.0093926 | 0.002354
10 | 0.0049425 | 0.0012387
11 | 0.077663 | 0.019464
12 | 0.01027 | 0.002574
13 | 0.045859 | 0.011493
14 | 0.0025019 | 0.00062704
15 | 0.0054524 | 0.0013665
16 | 0.0059232 | 0.0014845
17 | 0.0073819 | 0.0018501
18 | 0.0071696 | 0.0017969
19 | 0.0097507 | 0.0024438
20 | 0.010632 | 0.0026646
21 | 0.0058822 | 0.0014742
22 | 0.047328 | 0.011862
23 | 0.008197 | 0.0020544
24 | 0.067194 | 0.01684
25 | 0.011641 | 0.0029176
26 | 0.0082421 | 0.0020657
27 | 0.043125 | 0.010808
28 | 0.010911 | 0.0027345
29 | 0.0078927 | 0.0019781
30 | 0.0094376 | 0.0023653

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1