## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-14_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-14_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1059-14_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1059-14_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_1059-14_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1059-14_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1059-14_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1059-14_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1059-14_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1059-14_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1059-14_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1059-14_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1059-14_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1059-14_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1059-14_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1059-14_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1059-14_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1059-14_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1059-14_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1059-14_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1059-14_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1059-14_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1059-14_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_1059-14_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1059-14_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1059-14_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1059-14_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1059-14_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1059-14_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1059-14_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1059-14_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1059-14_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1059-14_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_1059-14_0_4_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_1059-14_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1059-14_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1059-14_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1059-14_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1059-14_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1059-14_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1059-14_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1059-14_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1059-14_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1059-14_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1059-14_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1059-14_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1059-14_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1059-14_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_1059-14_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_1059-14_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_1059-14_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1059-14_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1059-14_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1059-14_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_1059-14_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1059-14_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1059-14_0_4_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1059-14_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_1059-14_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_1059-14_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_1059-14_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_1059-14_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1059-14_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1059-14_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_1059-14_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_1059-14_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_1059-14_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1059-14_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_1059-14_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1059-14_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_MV_24_1_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-14_0_4_load_0 | 0 | 0.0014779 | 0.00037039 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-14_0_4_load_1 | 1 | 0.0042022 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-14_0_4_load_3 | 3 | 0.0087294 | 0.0021878 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-14_0_4_load_4 | 4 | 0.0015855 | 0.00039736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-14_0_4_load_5 | 5 | 0.004443 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-14_0_4_load_27 | 7 | 0.0034661 | 0.00086868 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-14_0_4_load_66 | 8 | 0.0075443 | 0.0018908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-14_0_4_load_26 | 10 | 0.0014663 | 0.0003675 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-14_0_4_load_6 | 11 | 0.0051704 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-14_0_4_load_7 | 12 | 0.0039763 | 0.00099656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-14_0_4_load_8 | 13 | 0.0030485 | 0.00076404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-14_0_4_load_9 | 14 | 0.0027357 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-14_0_4_load_10 | 15 | 0.00305 | 0.00076441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-14_0_4_load_29 | 16 | 0.0039744 | 0.00099608 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-14_0_4_load_32 | 17 | 0.002735 | 0.00068545 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-14_0_4_load_11 | 18 | 0.0026711 | 0.00066943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-14_0_4_load_33 | 22 | 0.0077024 | 0.0019304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-14_0_4_load_30 | 23 | 0.0036792 | 0.0009221 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-14_0_4_load_80 | 27 | 0.0059124 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-14_0_4_load_46 | 30 | 0.0045707 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-14_0_4_load_44 | 32 | 0.0085569 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-14_0_4_load_47 | 33 | 0.00091285 | 0.00022878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-14_0_4_load_31 | 35 | 0.001389 | 0.0003481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-14_0_4_load_35 | 36 | 0.0019703 | 0.0004938 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-14_0_4_load_68 | 37 | 0.013819 | 0.0034634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-14_0_4_load_67 | 38 | 0.0056676 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-14_0_4_load_34 | 39 | 0.0013766 | 0.000345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-14_0_4_load_40 | 41 | 0.010006 | 0.0025079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-14_0_4_load_45 | 42 | 0.0030706 | 0.00076956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-14_0_4_load_48 | 43 | 0.0062973 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-14_0_4_load_78 | 44 | 0.012276 | 0.0030767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-14_0_4_load_36 | 46 | 0.0068524 | 0.0017174 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-14_0_4_load_37 | 47 | 0.007746 | 0.0019413 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-14_0_4_load_38 | 48 | 0.01376 | 0.0034485 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-14_0_4_load_39 | 49 | 0.0062837 | 0.0015748 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-14_0_4_load_41 | 50 | 0.0099204 | 0.0024863 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-14_0_4_load_60 | 52 | 0.0044203 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-14_0_4_load_72 | 54 | 0.0034071 | 0.0008539 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-14_0_4_load_50 | 55 | 0.010184 | 0.0025522 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-14_0_4_load_58 | 56 | 0.0040867 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-14_0_4_load_49 | 57 | 0.0009121 | 0.00022859 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-14_0_4_load_51 | 58 | 0.011306 | 0.0028334 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-14_0_4_load_53 | 59 | 0.012572 | 0.0031508 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-14_0_4_load_54 | 60 | 0.014705 | 0.0036855 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-14_0_4_load_70 | 61 | 0.01401 | 0.0035112 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-14_0_4_load_69 | 62 | 0.0040035 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-14_0_4_load_71 | 63 | 0.0073503 | 0.0018422 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-14_0_4_load_73 | 64 | 0.015656 | 0.0039237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-14_0_4_load_74 | 65 | 0.005006 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-14_0_4_load_59 | 66 | 0.0024966 | 0.00062572 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-14_0_4_load_61 | 67 | 0.0024952 | 0.00062535 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-14_0_4_load_62 | 68 | 0.0029533 | 0.00074016 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-14_0_4_load_63 | 69 | 0.003144 | 0.00078797 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-14_0_4_load_64 | 70 | 0.01332 | 0.0033384 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1059-14_0_4_load_65 | 71 | 0.016209 | 0.0040624 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1059-14_0_4_load_75 | 72 | 0.013708 | 0.0034356 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1059-14_0_4_load_76 | 73 | 0.016568 | 0.0041523 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1059-14_0_4_load_77 | 74 | 0.01427 | 0.0035763 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-14_0_4_line_0 |  | 0 | 1 | 0.025634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-14_0_4_line_1 |  | 0 | 2 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-14_0_4_line_2 |  | 1 | 3 | 0.0013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-14_0_4_line_3 |  | 2 | 4 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-14_0_4_line_4 |  | 2 | 5 | 0.007878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-14_0_4_line_5 |  | 3 | 6 | 0.015418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-14_0_4_line_6 |  | 4 | 7 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-14_0_4_line_7 |  | 6 | 8 | 0.020715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-14_0_4_line_8 |  | 6 | 9 | 0.025952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-14_0_4_line_9 |  | 7 | 10 | 0.0087253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-14_0_4_line_10 |  | 8 | 22 | 5.0635e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-14_0_4_line_11 |  | 9 | 23 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-14_0_4_line_12 |  | 10 | 24 | 0.038411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1059-14_0_4_line_13 |  | 11 | 12 | 0.0028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-14_0_4_line_14 |  | 11 | 13 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-14_0_4_line_15 |  | 12 | 14 | 0.00073259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-14_0_4_line_16 |  | 13 | 15 | 0.010908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-14_0_4_line_17 |  | 14 | 16 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-14_0_4_line_18 |  | 16 | 17 | 0.014491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-14_0_4_line_19 |  | 17 | 21 | 0.0053832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-14_0_4_line_20 |  | 18 | 19 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-14_0_4_line_21 |  | 19 | 20 | 0.081356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-14_0_4_line_22 |  | 20 | 37 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-14_0_4_line_23 |  | 20 | 38 | 0.055571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-14_0_4_line_24 |  | 21 | 22 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-14_0_4_line_25 |  | 23 | 35 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-14_0_4_line_26 |  | 24 | 25 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1059-14_0_4_line_27 |  | 25 | 28 | 0.008503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1059-14_0_4_line_28 |  | 25 | 33 | 0.019973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-14_0_4_line_29 |  | 26 | 27 | 0.02785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-14_0_4_line_30 |  | 26 | 28 | 0.097875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-14_0_4_line_31 |  | 28 | 30 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1059-14_0_4_line_32 |  | 29 | 30 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1059-14_0_4_line_33 |  | 29 | 31 | 0.020706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1059-14_0_4_line_34 |  | 29 | 32 | 0.055651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-14_0_4_line_35 |  | 31 | 40 | 0.073406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1059-14_0_4_line_36 |  | 31 | 41 | 0.030226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-14_0_4_line_37 |  | 32 | 42 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-14_0_4_line_38 |  | 33 | 43 | 0.0039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-14_0_4_line_39 |  | 34 | 35 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-14_0_4_line_40 |  | 34 | 36 | 0.0013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-14_0_4_line_41 |  | 36 | 39 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-14_0_4_line_42 |  | 37 | 44 | 0.0063436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-14_0_4_line_43 |  | 38 | 45 | 0.016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-14_0_4_line_44 |  | 40 | 51 | 0.071248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-14_0_4_line_45 |  | 40 | 52 | 0.033705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1059-14_0_4_line_46 |  | 41 | 50 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-14_0_4_line_47 |  | 42 | 49 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-14_0_4_line_48 |  | 43 | 57 | 0.0035182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-14_0_4_line_49 |  | 44 | 74 | 0.027628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-14_0_4_line_50 |  | 45 | 62 | 0.044015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-14_0_4_line_51 |  | 45 | 53 | 0.126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-14_0_4_line_52 |  | 46 | 47 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-14_0_4_line_53 |  | 46 | 48 | 0.0048326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-14_0_4_line_54 |  | 47 | 49 | 0.0091362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-14_0_4_line_55 |  | 51 | 55 | 0.049834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-14_0_4_line_56 |  | 52 | 56 | 0.026829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1059-14_0_4_line_57 |  | 53 | 54 | 0.107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-14_0_4_line_58 |  | 54 | 64 | 0.039436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-14_0_4_line_59 |  | 55 | 58 | 0.040004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-14_0_4_line_60 |  | 56 | 66 | 0.022304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1059-14_0_4_line_61 |  | 58 | 59 | 0.040672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-14_0_4_line_62 |  | 60 | 61 | 0.054135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-14_0_4_line_63 |  | 61 | 63 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-14_0_4_line_64 |  | 62 | 65 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-14_0_4_line_65 |  | 63 | 65 | 0.030852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-14_0_4_line_66 |  | 66 | 67 | 0.0070803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_1059-14_0_4_line_67 |  | 67 | 68 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_1059-14_0_4_line_68 |  | 68 | 69 | 0.0077569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_1059-14_0_4_line_69 |  | 69 | 70 | 0.042291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_1059-14_0_4_line_70 |  | 70 | 71 | 0.016371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_1059-14_0_4_line_71 |  | 71 | 72 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1059-14_0_4_line_72 |  | 72 | 73 | 0.027911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-14_0_4_line_73 |  | 73 | 74 | 0.0079509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-14_0_4_trafo_63 | 0.63 MVA 20/0.4 kV | 75 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2663614.7837 | 1209848.2607 | 2663589.9224 | 1209842.0137
1 | 2663626.0127 | 1209851.0822 | 2663614.7837 | 1209848.2607
2 | 2663588.6595 | 1209841.6963 | 2663589.9224 | 1209842.0137
3 | 2663626.0127 | 1209851.0822 | 2663642.5901 | 1209855.6916
4 | 2663626.0127 | 1209851.0822 | 2663629.3189 | 1209858.2329
5 | 2663573.7066 | 1209837.9391 | 2663588.6595 | 1209841.6963
6 | 2663657.2316 | 1209859.7627 | 2663642.5901 | 1209855.6916
7 | 2663573.7066 | 1209837.9391 | 2663553.6379 | 1209832.8066
8 | 2663581.0105 | 1209813.0351 | 2663573.7066 | 1209837.9391
9 | 2663657.2316 | 1209859.7627 | 2663665.638 | 1209862.1002
10 | 2663553.6379 | 1209832.8066 | 2663553.5888 | 1209832.7941
11 | 2663581.0105 | 1209813.0351 | 2663596.0255 | 1209816.9288
12 | 2663702.6455 | 1209872.3903 | 2663665.638 | 1209862.1002
13 | 2663505.0149 | 1209839.3999 | 2663507.7591 | 1209840.2624
14 | 2663505.0149 | 1209839.3999 | 2663492.7875 | 1209835.5568
15 | 2663507.7591 | 1209840.2624 | 2663508.458 | 1209840.4821
16 | 2663482.381 | 1209832.2859 | 2663492.7875 | 1209835.5568
17 | 2663520.4712 | 1209843.7335 | 2663517.0165 | 1209843.1721 | 2663508.458 | 1209840.4821
18 | 2663526.1186 | 1209831.3156 | 2663522.5259 | 1209842.5748 | 2663521.4098 | 1209843.886 | 2663520.4712 | 1209843.7335
19 | 2663527.755 | 1209826.1872 | 2663526.1186 | 1209831.3156
20 | 2663410.1648 | 1209882.3377 | 2663411.1633 | 1209882.0704 | 2663416.5209 | 1209880.7376 | 2663422.6384 | 1209876.5556 | 2663424.776 | 1209873.5187
21 | 2663359.447 | 1209937.8997 | 2663359.095 | 1209935.261 | 2663358.9475 | 1209934.1254 | 2663357.9453 | 1209925.4317 | 2663358.5104 | 1209923.7478 | 2663361.3969 | 1209920.343 | 2663381.3982 | 1209899.2536 | 2663403.1129 | 1209885.7538 | 2663407.2224 | 1209883.1292 | 2663410.1648 | 1209882.3377
22 | 2663359.447 | 1209937.8997 | 2663379.4724 | 1209943.971
23 | 2663359.447 | 1209937.8997 | 2663359.8872 | 1209940.8284 | 2663360.6831 | 1209946.04 | 2663362.8808 | 1209965.9754 | 2663357.9917 | 1209972.5831 | 2663357.9764 | 1209981.8998 | 2663355.1009 | 1209991.2103
24 | 2663527.755 | 1209826.1872 | 2663553.5888 | 1209832.7941
25 | 2663621.2516 | 1209823.4706 | 2663596.0255 | 1209816.9288
26 | 2663701.7475 | 1209891.0032 | 2663704.8471 | 1209878.3285 | 2663705.3207 | 1209873.1304 | 2663702.6455 | 1209872.3903
27 | 2663701.7475 | 1209891.0032 | 2663701.1869 | 1209897.2343 | 2663701.1401 | 1209899.4796
28 | 2663701.7475 | 1209891.0032 | 2663700.828 | 1209891.6938 | 2663697.3789 | 1209894.3808 | 2663692.1348 | 1209897.1821 | 2663687.4467 | 1209897.032 | 2663683.731 | 1209896.1683
29 | 2663753.6429 | 1209970.2389 | 2663750.8923 | 1209975.1347 | 2663748.9934 | 1209976.4374 | 2663746.4216 | 1209977.4106 | 2663743.9786 | 1209976.9953 | 2663741.7701 | 1209975.9711 | 2663739.3525 | 1209973.1769 | 2663735.3753 | 1209965.5409
30 | 2663701.1401 | 1209899.4796 | 2663702.3669 | 1209907.0195 | 2663703.1805 | 1209910.5526 | 2663709.723 | 1209908.5879 | 2663713.7653 | 1209919.3821 | 2663716.2392 | 1209923.3109 | 2663719.5802 | 1209926.4707 | 2663731.5665 | 1209934.3145 | 2663740.1295 | 1209941.0101 | 2663743.0728 | 1209945.1106 | 2663745.3867 | 1209951.2057 | 2663746.1753 | 1209958.4964 | 2663746.5973 | 1209962.3922 | 2663748.4761 | 1209966.5259 | 2663751.2901 | 1209969.2131 | 2663753.6429 | 1209970.2389
31 | 2663701.1401 | 1209899.4796 | 2663698.4155 | 1209899.0948 | 2663697.451 | 1209899.0178 | 2663696.9774 | 1209900.6581 | 2663696.2525 | 1209903.063 | 2663692.9447 | 1209915.3018 | 2663691.9226 | 1209919.8827
32 | 2663679.3461 | 1209933.8792 | 2663681.9137 | 1209926.1908 | 2663685.917 | 1209927.8234 | 2663689.4742 | 1209929.2511 | 2663691.1406 | 1209923.3875 | 2663691.9226 | 1209919.8827
33 | 2663679.3461 | 1209933.8792 | 2663678.4133 | 1209937.9606 | 2663678.5884 | 1209939.3522 | 2663674.1956 | 1209940.7395 | 2663674.8165 | 1209943.8036 | 2663674.6179 | 1209944.613 | 2663673.8116 | 1209946.0942 | 2663671.5821 | 1209948.4608 | 2663670.618 | 1209949.7735
34 | 2663679.3461 | 1209933.8792 | 2663673.6062 | 1209937.5646 | 2663668.7406 | 1209937.6683 | 2663638.1932 | 1209929.104 | 2663635.7802 | 1209927.2994 | 2663630.1806 | 1209919.9686
35 | 2663670.618 | 1209949.7735 | 2663670.2119 | 1209955.0613 | 2663669.8172 | 1209956.4357 | 2663668.7324 | 1209958.3698 | 2663667.2402 | 1209960.7442 | 2663665.1972 | 1209963.4351 | 2663662.7015 | 1209965.8211 | 2663658.5513 | 1209970.1128 | 2663655.5599 | 1209974.7948 | 2663652.3806 | 1209977.8517 | 2663648.4504 | 1209981.4675 | 2663642.8995 | 1209987.3897 | 2663638.1665 | 1209992.1644 | 2663634.0955 | 1209996.8683 | 2663629.6021 | 1210002.7018 | 2663626.7059 | 1210007.0068
36 | 2663670.618 | 1209949.7735 | 2663657.8914 | 1209946.4802 | 2663649.2942 | 1209940.8518 | 2663643.0093 | 1209938.2439
37 | 2663630.1806 | 1209919.9686 | 2663630.1806 | 1209919.9686 | 2663626.9527 | 1209918.311 | 2663607.7527 | 1209913.0425
38 | 2663683.731 | 1209896.1683 | 2663679.8948 | 1209895.2766
39 | 2663633.0091 | 1209826.5196 | 2663621.2516 | 1209823.4706
40 | 2663633.0091 | 1209826.5196 | 2663634.332 | 1209826.9053
41 | 2663648.483 | 1209831.0309 | 2663634.332 | 1209826.9053
42 | 2663379.4724 | 1209943.971 | 2663385.5431 | 1209945.8115
43 | 2663350.2073 | 1210007.0548 | 2663355.1009 | 1209991.2103
44 | 2663611.3213 | 1210066.9572 | 2663616.3984 | 1210067.6784 | 2663615.1761 | 1210061.8507 | 2663611.922 | 1210056.9575 | 2663610.8664 | 1210054.0222 | 2663609.9717 | 1210051.6779 | 2663609.9376 | 1210049.8876 | 2663610.5627 | 1210046.8591 | 2663613.4072 | 1210040.2743 | 2663616.0265 | 1210034.1318 | 2663617.5992 | 1210029.9126 | 2663618.3447 | 1210026.2962 | 2663618.0965 | 1210022.4801 | 2663619.3519 | 1210018.0908 | 2663621.7642 | 1210013.5359 | 2663626.7059 | 1210007.0068
45 | 2663626.7059 | 1210007.0068 | 2663617.196 | 1210004.2927 | 2663601.5394 | 1210000.6459 | 2663594.1659 | 1209998.2953
46 | 2663643.0093 | 1209938.2439 | 2663638.8438 | 1209936.5155 | 2663630.3947 | 1209931.2444 | 2663623.5406 | 1209928.6916
47 | 2663595.8779 | 1209909.7841 | 2663607.7527 | 1209913.0425
48 | 2663676.4679 | 1209894.48 | 2663679.8948 | 1209895.2766
49 | 2663411.9825 | 1209953.8275 | 2663385.5431 | 1209945.8115
50 | 2663350.2073 | 1210007.0548 | 2663392.2327 | 1210020.1394
51 | 2663250.9012 | 1210000.898 | 2663250.2683 | 1210000.3798 | 2663245.6716 | 1209996.6288 | 2663241.8588 | 1209993.4977 | 2663241.4444 | 1209993.1597 | 2663244.1853 | 1209991.9992 | 2663246.2728 | 1209989.3864 | 2663263.3988 | 1209985.6545 | 2663265.5945 | 1209985.7445 | 2663269.5736 | 1209987.521 | 2663289.2243 | 1209988.6856 | 2663350.2073 | 1210007.0548
52 | 2663575.8417 | 1209904.2862 | 2663587.0674 | 1209907.3665
53 | 2663571.1814 | 1209903.0074 | 2663575.8417 | 1209904.2862
54 | 2663595.8779 | 1209909.7841 | 2663587.0674 | 1209907.3665
55 | 2663611.3213 | 1210066.9572 | 2663610.0164 | 1210063.1632 | 2663605.0985 | 1210054.6389 | 2663593.3649 | 1210040.9278 | 2663585.4155 | 1210037.2742 | 2663576.6181 | 1210034.6313
56 | 2663568.6047 | 1209990.1467 | 2663594.1659 | 1209998.2953
57 | 2663250.9012 | 1210000.898 | 2663252.2288 | 1209998.9886 | 2663255.2512 | 1209997.0862 | 2663262.691 | 1209995.7753 | 2663274.7071 | 1209995.1134 | 2663282.8241 | 1209995.8888 | 2663293.9513 | 1209998.0526 | 2663353.3018 | 1210016.062
58 | 2663353.3018 | 1210016.062 | 2663391.0385 | 1210027.5129
59 | 2663576.6181 | 1210034.6313 | 2663538.3059 | 1210023.1218
60 | 2663568.6047 | 1209990.1467 | 2663547.3548 | 1209983.3725
61 | 2663499.3535 | 1210011.42 | 2663538.3059 | 1210023.1218
62 | 2663512.2897 | 1210056.4092 | 2663508.3113 | 1210055.4199 | 2663460.3995 | 1210040.9968
63 | 2663460.3995 | 1210040.9968 | 2663436.3068 | 1210033.744
64 | 2663406.8165 | 1210024.6801 | 2663392.2327 | 1210020.1394
65 | 2663436.3068 | 1210033.744 | 2663424.8878 | 1210030.3065 | 2663406.8165 | 1210024.6801
66 | 2663547.3548 | 1209983.3725 | 2663540.609 | 1209981.222
67 | 2663540.609 | 1209981.222 | 2663522.3133 | 1209975.3895
68 | 2663514.9228 | 1209973.0336 | 2663522.3133 | 1209975.3895
69 | 2663514.9228 | 1209973.0336 | 2663510.1092 | 1209971.499 | 2663484.896 | 1209975.9335 | 2663473.7578 | 1209972.5566
70 | 2663458.0911 | 1209967.8068 | 2663473.7578 | 1209972.5566
71 | 2663446.3017 | 1209964.2324 | 2663458.0911 | 1209967.8068
72 | 2663446.3017 | 1209964.2324 | 2663419.5913 | 1209956.1343
73 | 2663419.5913 | 1209956.1343 | 2663411.9825 | 1209953.8275

## bus_geodata
| x | y | coords
0 | 2663614.7837 | 1209848.2607
1 | 2663589.9224 | 1209842.0137
2 | 2663626.0127 | 1209851.0822
3 | 2663588.6595 | 1209841.6963
4 | 2663642.5901 | 1209855.6916
5 | 2663629.3189 | 1209858.2329
6 | 2663573.7066 | 1209837.9391
7 | 2663657.2316 | 1209859.7627
8 | 2663553.6379 | 1209832.8066
9 | 2663581.0105 | 1209813.0351
10 | 2663665.638 | 1209862.1002
11 | 2663505.0149 | 1209839.3999
12 | 2663507.7591 | 1209840.2624
13 | 2663492.7875 | 1209835.5568
14 | 2663508.458 | 1209840.4821
15 | 2663482.381 | 1209832.2859
16 | 2663520.4712 | 1209843.7335
17 | 2663526.1186 | 1209831.3156
18 | 2663424.776 | 1209873.5187
19 | 2663410.1648 | 1209882.3377
20 | 2663359.447 | 1209937.8997
21 | 2663527.755 | 1209826.1872
22 | 2663553.5888 | 1209832.7941
23 | 2663596.0255 | 1209816.9288
24 | 2663702.6455 | 1209872.3903
25 | 2663701.7475 | 1209891.0032
26 | 2663753.6429 | 1209970.2389
27 | 2663735.3753 | 1209965.5409
28 | 2663701.1401 | 1209899.4796
29 | 2663679.3461 | 1209933.8792
30 | 2663691.9226 | 1209919.8827
31 | 2663670.618 | 1209949.7735
32 | 2663630.1806 | 1209919.9686
33 | 2663683.731 | 1209896.1683
34 | 2663633.0091 | 1209826.5196
35 | 2663621.2516 | 1209823.4706
36 | 2663634.332 | 1209826.9053
37 | 2663379.4724 | 1209943.971
38 | 2663355.1009 | 1209991.2103
39 | 2663648.483 | 1209831.0309
40 | 2663626.7059 | 1210007.0068
41 | 2663643.0093 | 1209938.2439
42 | 2663607.7527 | 1209913.0425
43 | 2663679.8948 | 1209895.2766
44 | 2663385.5431 | 1209945.8115
45 | 2663350.2073 | 1210007.0548
46 | 2663575.8417 | 1209904.2862
47 | 2663587.0674 | 1209907.3665
48 | 2663571.1814 | 1209903.0074
49 | 2663595.8779 | 1209909.7841
50 | 2663623.5406 | 1209928.6916
51 | 2663611.3213 | 1210066.9572
52 | 2663594.1659 | 1209998.2953
53 | 2663250.9012 | 1210000.898
54 | 2663353.3018 | 1210016.062
55 | 2663576.6181 | 1210034.6313
56 | 2663568.6047 | 1209990.1467
57 | 2663676.4679 | 1209894.48
58 | 2663538.3059 | 1210023.1218
59 | 2663499.3535 | 1210011.42
60 | 2663512.2897 | 1210056.4092
61 | 2663460.3995 | 1210040.9968
62 | 2663392.2327 | 1210020.1394
63 | 2663436.3068 | 1210033.744
64 | 2663391.0385 | 1210027.5129
65 | 2663406.8165 | 1210024.6801
66 | 2663547.3548 | 1209983.3725
67 | 2663540.609 | 1209981.222
68 | 2663522.3133 | 1209975.3895
69 | 2663514.9228 | 1209973.0336
70 | 2663473.7578 | 1209972.5566
71 | 2663458.0911 | 1209967.8068
72 | 2663446.3017 | 1209964.2324
73 | 2663419.5913 | 1209956.1343
74 | 2663411.9825 | 1209953.8275
75 | 2663626.7059 | 1210007.0068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97461 | -0.48832 | 0.0014779 | 0.00037039
1 | 0.97314 | -0.51719 | 0.0042022 | 0.0010532
2 | 0.97529 | -0.47499 | 0 | 0
3 | 0.97308 | -0.51856 | 0.0087294 | 0.0021878
4 | 0.97637 | -0.45382 | 0.0015855 | 0.00039736
5 | 0.97526 | -0.47563 | 0.004443 | 0.0011135
6 | 0.97238 | -0.53229 | 0 | 0
7 | 0.97734 | -0.43473 | 0.0034661 | 0.00086868
8 | 0.97161 | -0.54756 | 0.0075443 | 0.0018908
9 | 0.97218 | -0.53632 | 0 | 0
10 | 0.97793 | -0.42323 | 0.0014663 | 0.0003675
11 | 0.97032 | -0.57305 | 0.0051704 | 0.0012958
12 | 0.97035 | -0.57245 | 0.0039763 | 0.00099656
13 | 0.97025 | -0.5745 | 0.0030485 | 0.00076404
14 | 0.97036 | -0.57224 | 0.0027357 | 0.00068562
15 | 0.97021 | -0.57511 | 0.00305 | 0.00076441
16 | 0.97057 | -0.56809 | 0.0039744 | 0.00099608
17 | 0.97087 | -0.56221 | 0.002735 | 0.00068545
18 | 0.98578 | -0.27229 | 0.0026711 | 0.00066943
19 | 0.98583 | -0.27144 | 0 | 0
20 | 0.98603 | -0.26754 | 0 | 0
21 | 0.97099 | -0.55975 | 0 | 0
22 | 0.9716 | -0.54759 | 0.0077024 | 0.0019304
23 | 0.97205 | -0.53873 | 0.0036792 | 0.0009221
24 | 0.97925 | -0.39745 | 0 | 0
25 | 0.97998 | -0.38336 | 0 | 0
26 | 0.97977 | -0.38755 | 0 | 0
27 | 0.97961 | -0.39055 | 0.0059124 | 0.0014818
28 | 0.9803 | -0.37705 | 0 | 0
29 | 0.98245 | -0.33526 | 0 | 0
30 | 0.98134 | -0.35692 | 0.0045707 | 0.0011455
31 | 0.98379 | -0.30938 | 0 | 0
32 | 0.98007 | -0.38188 | 0.0085569 | 0.0021446
33 | 0.97983 | -0.38631 | 0.00091285 | 0.00022878
34 | 0.9719 | -0.54176 | 0 | 0
35 | 0.97194 | -0.54101 | 0.001389 | 0.0003481
36 | 0.9719 | -0.54184 | 0.0019703 | 0.0004938
37 | 0.98743 | -0.24038 | 0.013819 | 0.0034634
38 | 0.98243 | -0.33735 | 0.0056676 | 0.0014204
39 | 0.97188 | -0.54222 | 0.0013766 | 0.000345
40 | 0.9892 | -0.20516 | 0 | 0
41 | 0.98323 | -0.32024 | 0.010006 | 0.0025079
42 | 0.97924 | -0.398 | 0.0030706 | 0.00076956
43 | 0.9798 | -0.38682 | 0.0062973 | 0.0015782
44 | 0.98794 | -0.2306 | 0.012276 | 0.0030767
45 | 0.98144 | -0.35658 | 0 | 0
46 | 0.97839 | -0.41484 | 0.0068524 | 0.0017174
47 | 0.97861 | -0.41047 | 0.007746 | 0.0019413
48 | 0.97833 | -0.41605 | 0.01376 | 0.0034485
49 | 0.97885 | -0.40575 | 0.0062837 | 0.0015748
50 | 0.98303 | -0.32413 | 0.0099204 | 0.0024863
51 | 0.98696 | -0.24849 | 0 | 0
52 | 0.99221 | -0.14751 | 0.0044203 | 0.0011078
53 | 0.97921 | -0.40016 | 0 | 0
54 | 0.97732 | -0.43731 | 0.0034071 | 0.0008539
55 | 0.9854 | -0.27891 | 0.010184 | 0.0025522
56 | 0.99466 | -0.10083 | 0.0040867 | 0.0010242
57 | 0.9798 | -0.38688 | 0.0009121 | 0.00022859
58 | 0.98452 | -0.29607 | 0.011306 | 0.0028334
59 | 0.98405 | -0.30527 | 0.012572 | 0.0031508
60 | 0.97658 | -0.45193 | 0.014705 | 0.0036855
61 | 0.97732 | -0.43739 | 0.01401 | 0.0035112
62 | 0.9796 | -0.39255 | 0.0040035 | 0.0010034
63 | 0.97799 | -0.42421 | 0.0073503 | 0.0018422
64 | 0.97674 | -0.44858 | 0.015656 | 0.0039237
65 | 0.97902 | -0.40396 | 0.005006 | 0.0012546
66 | 0.99674 | -0.061394 | 0.0024966 | 0.00062572
67 | 0.99741 | -0.048755 | 0.0024952 | 0.00062535
68 | 0.99925 | -0.014144 | 0.0029533 | 0.00074016
69 | 1 | 0 | -0.3896 | -0.099643
70 | 0.99664 | -0.063854 | 0.01332 | 0.0033384
71 | 0.99544 | -0.08677 | 0.016209 | 0.0040624
72 | 0.99462 | -0.10229 | 0.013708 | 0.0034356
73 | 0.99129 | -0.16615 | 0.016568 | 0.0041523
74 | 0.99046 | -0.18208 | 0.01427 | 0.0035763
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.061464 | 0.015472 | -0.061379 | -0.015418 | 8.4698e-05 | 5.3888e-05 | 0.093867 | 0.093867 | 0.093867 | 0.97461 | -0.48832 | 0.97314 | -0.51719 | 25.7875
1 | -0.062942 | -0.015842 | 0.062982 | 0.015868 | 4.0116e-05 | 2.553e-05 | 0.096123 | 0.096123 | 0.096123 | 0.97461 | -0.48832 | 0.97529 | -0.47499 | 26.4074
2 | 0.057177 | 0.014365 | -0.057174 | -0.014362 | 3.7337e-06 | 2.3734e-06 | 0.087441 | 0.087441 | 0.087441 | 0.97314 | -0.51719 | 0.97308 | -0.51856 | 24.0223
3 | -0.067425 | -0.016981 | 0.067494 | 0.017025 | 6.8323e-05 | 4.3512e-05 | 0.1029 | 0.1029 | 0.1029 | 0.97529 | -0.47499 | 0.97637 | -0.45382 | 28.2697
4 | 0.0044431 | 0.0011135 | -0.004443 | -0.0011135 | 1.3576e-07 | -1.1418e-08 | 0.006779 | 0.006779 | 0.006779 | 0.97529 | -0.47499 | 0.97526 | -0.47563 | 1.8624
5 | 0.048444 | 0.012174 | -0.048412 | -0.012154 | 3.1739e-05 | 2.0122e-05 | 0.074092 | 0.074092 | 0.074092 | 0.97308 | -0.51856 | 0.97238 | -0.53229 | 20.3551
6 | -0.069079 | -0.017422 | 0.069142 | 0.017462 | 6.3211e-05 | 4.0265e-05 | 0.10532 | 0.10532 | 0.10532 | 0.97637 | -0.45382 | 0.97734 | -0.43473 | 28.9335
7 | 0.039994 | 0.010044 | -0.039965 | -0.010026 | 2.9104e-05 | 1.837e-05 | 0.06121 | 0.06121 | 0.06121 | 0.97238 | -0.53229 | 0.97161 | -0.54756 | 16.816
8 | 0.0084183 | 0.0021099 | -0.0084167 | -0.0021092 | 1.6151e-06 | 7.1181e-07 | 0.012882 | 0.012883 | 0.012883 | 0.97238 | -0.53229 | 0.97218 | -0.53632 | 3.5392
9 | -0.072608 | -0.018331 | 0.072648 | 0.018356 | 4.0021e-05 | 2.5504e-05 | 0.1106 | 0.1106 | 0.1106 | 0.97734 | -0.43473 | 0.97793 | -0.42323 | 30.3833
10 | 0.032421 | 0.0081352 | -0.032421 | -0.0081352 | 4.6821e-08 | 2.9335e-08 | 0.049656 | 0.049656 | 0.049656 | 0.97161 | -0.54756 | 0.9716 | -0.54759 | 13.6418
11 | 0.0084167 | 0.0021092 | -0.0084157 | -0.0021088 | 9.6537e-07 | 4.2553e-07 | 0.012883 | 0.012883 | 0.012883 | 0.97218 | -0.53632 | 0.97205 | -0.53873 | 3.5392
12 | -0.074115 | -0.018724 | 0.074206 | 0.018782 | 9.1681e-05 | 5.7711e-05 | 0.11283 | 0.11283 | 0.11283 | 0.97793 | -0.42323 | 0.97925 | -0.39745 | 15.4981
13 | -0.01127 | -0.0028243 | 0.01127 | 0.0028245 | 3.2218e-07 | 1.7066e-07 | 0.017282 | 0.017282 | 0.017282 | 0.97032 | -0.57305 | 0.97035 | -0.57245 | 4.7479
14 | 0.0060991 | 0.0015285 | -0.0060987 | -0.0015284 | 4.2047e-07 | 1.108e-07 | 0.0093531 | 0.0093532 | 0.0093532 | 0.97032 | -0.57305 | 0.97025 | -0.5745 | 2.5696
15 | -0.015246 | -0.003821 | 0.015246 | 0.0038211 | 1.5017e-07 | 8.7057e-08 | 0.02338 | 0.02338 | 0.02338 | 0.97035 | -0.57245 | 0.97036 | -0.57224 | 6.423
16 | 0.0030501 | 0.00076433 | -0.00305 | -0.00076441 | 8.9511e-08 | -7.743e-08 | 0.0046778 | 0.0046778 | 0.0046778 | 0.97025 | -0.5745 | 0.97021 | -0.57511 | 1.2851
17 | -0.017982 | -0.0045068 | 0.017986 | 0.0045089 | 3.5561e-06 | 2.1218e-06 | 0.027575 | 0.027575 | 0.027575 | 0.97036 | -0.57224 | 0.97057 | -0.56809 | 7.5755
18 | -0.02196 | -0.005505 | 0.021966 | 0.0055087 | 6.1599e-06 | 3.7632e-06 | 0.033668 | 0.033668 | 0.033668 | 0.97057 | -0.56809 | 0.97087 | -0.56221 | 9.2495
19 | -0.024701 | -0.0061942 | 0.024704 | 0.006196 | 2.8935e-06 | 1.7853e-06 | 0.03786 | 0.03786 | 0.03786 | 0.97087 | -0.56221 | 0.97099 | -0.55975 | 10.4011
20 | -0.0026711 | -0.00066943 | 0.0026712 | 0.00066927 | 1.0777e-07 | -1.5642e-07 | 0.0040319 | 0.0040318 | 0.0040319 | 0.98578 | -0.27229 | 0.98583 | -0.27144 | 1.1077
21 | -0.0026712 | -0.00066927 | 0.0026717 | 0.00066855 | 4.9589e-07 | -7.2014e-07 | 0.0040318 | 0.0040314 | 0.0040318 | 0.98583 | -0.27144 | 0.98603 | -0.26754 | 1.1076
22 | -0.073017 | -0.018502 | 0.073112 | 0.018563 | 9.5403e-05 | 6.079e-05 | 0.11026 | 0.11026 | 0.11026 | 0.98603 | -0.26754 | 0.98743 | -0.24038 | 30.2919
23 | 0.070345 | 0.017834 | -0.07011 | -0.017684 | 0.00023517 | 0.0001498 | 0.10623 | 0.10623 | 0.10623 | 0.98603 | -0.26754 | 0.98243 | -0.33735 | 29.1844
24 | -0.024704 | -0.006196 | 0.024718 | 0.0062048 | 1.4333e-05 | 8.843e-06 | 0.03786 | 0.03786 | 0.03786 | 0.97099 | -0.55975 | 0.9716 | -0.54759 | 10.4011
25 | 0.0047365 | 0.0011867 | -0.004736 | -0.0011867 | 5.1375e-07 | 5.7858e-09 | 0.0072505 | 0.0072506 | 0.0072506 | 0.97205 | -0.53873 | 0.97194 | -0.54101 | 1.9919
26 | -0.074206 | -0.018782 | 0.074257 | 0.018813 | 5.0227e-05 | 3.1615e-05 | 0.11283 | 0.11283 | 0.11283 | 0.97925 | -0.39745 | 0.97998 | -0.38336 | 15.4981
27 | -0.08238 | -0.020849 | 0.082405 | 0.020865 | 2.4975e-05 | 1.577e-05 | 0.12516 | 0.12516 | 0.12516 | 0.97998 | -0.38336 | 0.9803 | -0.37705 | 17.1924
28 | 0.0081235 | 0.0020361 | -0.0081224 | -0.0020356 | 1.1396e-06 | 4.7774e-07 | 0.012335 | 0.012335 | 0.012335 | 0.97998 | -0.38336 | 0.97983 | -0.38631 | 3.3888
29 | 0.0059132 | 0.001482 | -0.0059124 | -0.0014818 | 8.4232e-07 | 1.884e-07 | 0.0089806 | 0.0089808 | 0.0089808 | 0.97977 | -0.38755 | 0.97961 | -0.39055 | 2.4672
30 | -0.0059132 | -0.001482 | 0.0059162 | 0.0014826 | 2.96e-06 | 6.6113e-07 | 0.0089806 | 0.0089802 | 0.0089806 | 0.97977 | -0.38755 | 0.9803 | -0.37705 | 2.4672
31 | -0.088321 | -0.022348 | 0.088407 | 0.022402 | 8.5391e-05 | 5.4011e-05 | 0.13414 | 0.13414 | 0.13414 | 0.9803 | -0.37705 | 0.98134 | -0.35692 | 18.4259
32 | 0.093074 | 0.023609 | -0.092977 | -0.023547 | 9.6827e-05 | 6.1313e-05 | 0.14107 | 0.14107 | 0.14107 | 0.98245 | -0.33526 | 0.98134 | -0.35692 | 19.3779
33 | -0.1395 | -0.035303 | 0.13967 | 0.035414 | 0.00017352 | 0.00011053 | 0.21141 | 0.21141 | 0.21141 | 0.98245 | -0.33526 | 0.98379 | -0.30938 | 29.0396
34 | 0.046426 | 0.011695 | -0.046323 | -0.01163 | 0.00010325 | 6.5376e-05 | 0.070337 | 0.070338 | 0.070338 | 0.98245 | -0.33526 | 0.98007 | -0.38188 | 19.3236
35 | -0.15961 | -0.040415 | 0.16042 | 0.040927 | 0.00080318 | 0.00051216 | 0.24157 | 0.24157 | 0.24157 | 0.98379 | -0.30938 | 0.9892 | -0.20516 | 33.1824
36 | 0.019939 | 0.0050013 | -0.019929 | -0.004995 | 1.031e-05 | 6.2151e-06 | 0.03016 | 0.03016 | 0.03016 | 0.98379 | -0.30938 | 0.98323 | -0.32024 | 8.2857
37 | 0.037766 | 0.009485 | -0.037737 | -0.0094667 | 2.9028e-05 | 1.8281e-05 | 0.057346 | 0.057346 | 0.057346 | 0.98007 | -0.38188 | 0.97924 | -0.398 | 15.7544
38 | 0.0072095 | 0.0018069 | -0.0072094 | -0.0018068 | 1.7705e-07 | 6.3707e-08 | 0.010949 | 0.010949 | 0.010949 | 0.97983 | -0.38631 | 0.9798 | -0.38682 | 3.0079
39 | -0.0033469 | -0.00083863 | 0.003347 | 0.00083856 | 1.196e-07 | -7.3987e-08 | 0.0051242 | 0.0051241 | 0.0051242 | 0.9719 | -0.54176 | 0.97194 | -0.54101 | 1.4077
40 | 0.0033469 | 0.00083863 | -0.0033469 | -0.00083864 | 1.3568e-08 | -8.3925e-09 | 0.0051242 | 0.0051242 | 0.0051242 | 0.9719 | -0.54176 | 0.9719 | -0.54184 | 1.4077
41 | 0.0013766 | 0.00034484 | -0.0013766 | -0.000345 | 2.4553e-08 | -1.6695e-07 | 0.0021076 | 0.0021076 | 0.0021076 | 0.9719 | -0.54184 | 0.97188 | -0.54222 | 0.57902
42 | -0.086931 | -0.022027 | 0.086972 | 0.022053 | 4.0878e-05 | 2.608e-05 | 0.13109 | 0.13109 | 0.13109 | 0.98743 | -0.24038 | 0.98794 | -0.2306 | 36.0128
43 | 0.064442 | 0.016264 | -0.064383 | -0.016226 | 5.9294e-05 | 3.7738e-05 | 0.097647 | 0.097647 | 0.097647 | 0.98243 | -0.33735 | 0.98144 | -0.35658 | 26.8261
44 | 0.034206 | 0.008627 | -0.034136 | -0.0085826 | 7.0794e-05 | 4.4396e-05 | 0.051475 | 0.051475 | 0.051475 | 0.9892 | -0.20516 | 0.98696 | -0.24849 | 14.1415
45 | -0.19462 | -0.049554 | 0.19516 | 0.049901 | 0.00054269 | 0.00034645 | 0.29304 | 0.29304 | 0.29304 | 0.9892 | -0.20516 | 0.99221 | -0.14751 | 40.253
46 | 0.0099222 | 0.0024872 | -0.0099204 | -0.0024863 | 1.8419e-06 | 9.0262e-07 | 0.015016 | 0.015017 | 0.015017 | 0.98323 | -0.32024 | 0.98303 | -0.32413 | 4.1254
47 | 0.034666 | 0.0086971 | -0.034653 | -0.0086891 | 1.2815e-05 | 8.0467e-06 | 0.05268 | 0.05268 | 0.05268 | 0.97924 | -0.398 | 0.97885 | -0.40575 | 14.4726
48 | 0.0009121 | 0.00022855 | -0.0009121 | -0.00022859 | 2.5315e-09 | -4.269e-08 | 0.0013852 | 0.0013852 | 0.0013852 | 0.9798 | -0.38682 | 0.9798 | -0.38688 | 0.38055
49 | -0.099248 | -0.025129 | 0.09948 | 0.025277 | 0.0002318 | 0.00014799 | 0.14958 | 0.14958 | 0.14958 | 0.98794 | -0.2306 | 0.99046 | -0.18208 | 41.0925
50 | 0.045238 | 0.011399 | -0.045161 | -0.01135 | 7.7699e-05 | 4.9172e-05 | 0.06861 | 0.068611 | 0.068611 | 0.98144 | -0.35658 | 0.9796 | -0.39255 | 18.8491
51 | 0.019145 | 0.0048267 | -0.019105 | -0.0048028 | 3.9838e-05 | 2.3908e-05 | 0.029037 | 0.029037 | 0.029037 | 0.98144 | -0.35658 | 0.97921 | -0.40016 | 7.9773
52 | -0.020613 | -0.0051663 | 0.020617 | 0.0051689 | 4.2903e-06 | 2.5995e-06 | 0.03135 | 0.03135 | 0.03135 | 0.97839 | -0.41484 | 0.97861 | -0.41047 | 8.6127
53 | 0.013761 | 0.003449 | -0.01376 | -0.0034485 | 7.9374e-07 | 4.4731e-07 | 0.020928 | 0.020928 | 0.020928 | 0.97839 | -0.41484 | 0.97833 | -0.41605 | 5.7495
54 | -0.028363 | -0.0071103 | 0.02837 | 0.0071142 | 6.3726e-06 | 3.9636e-06 | 0.043128 | 0.043128 | 0.043128 | 0.97861 | -0.41047 | 0.97885 | -0.40575 | 11.8484
55 | 0.034136 | 0.0085826 | -0.034086 | -0.0085515 | 4.9517e-05 | 3.1055e-05 | 0.051475 | 0.051475 | 0.051475 | 0.98696 | -0.24849 | 0.9854 | -0.27891 | 14.1416
56 | -0.19959 | -0.051009 | 0.20004 | 0.051297 | 0.00045174 | 0.00028842 | 0.29967 | 0.29967 | 0.29967 | 0.99221 | -0.14751 | 0.99466 | -0.10083 | 41.1636
57 | 0.019105 | 0.0048028 | -0.019071 | -0.0047824 | 3.3832e-05 | 2.0309e-05 | 0.029037 | 0.029038 | 0.029038 | 0.97921 | -0.40016 | 0.97732 | -0.43731 | 7.9774
58 | 0.015664 | 0.0039285 | -0.015656 | -0.0039237 | 8.4122e-06 | 4.8899e-06 | 0.02385 | 0.02385 | 0.02385 | 0.97732 | -0.43731 | 0.97674 | -0.44858 | 6.5523
59 | 0.023903 | 0.0059993 | -0.023883 | -0.0059873 | 1.9547e-05 | 1.2001e-05 | 0.036098 | 0.036098 | 0.036098 | 0.9854 | -0.27891 | 0.98452 | -0.29607 | 9.917
60 | -0.20412 | -0.052321 | 0.20451 | 0.052571 | 0.00039102 | 0.00024968 | 0.30578 | 0.30578 | 0.30578 | 0.99466 | -0.10083 | 0.99674 | -0.061394 | 42.0033
61 | 0.012577 | 0.0031538 | -0.012572 | -0.0031508 | 5.512e-06 | 3.0107e-06 | 0.01901 | 0.01901 | 0.01901 | 0.98452 | -0.29607 | 0.98405 | -0.30527 | 5.2227
62 | -0.014705 | -0.0036855 | 0.014716 | 0.0036914 | 1.0192e-05 | 5.8451e-06 | 0.022407 | 0.022406 | 0.022407 | 0.97658 | -0.45193 | 0.97732 | -0.43739 | 6.1557
63 | -0.028726 | -0.0072026 | 0.028744 | 0.0072138 | 1.8049e-05 | 1.1236e-05 | 0.043737 | 0.043737 | 0.043737 | 0.97732 | -0.43739 | 0.97799 | -0.42421 | 12.0158
64 | 0.041157 | 0.010347 | -0.041135 | -0.010333 | 2.2396e-05 | 1.4141e-05 | 0.062529 | 0.062529 | 0.062529 | 0.9796 | -0.39255 | 0.97902 | -0.40396 | 17.1784
65 | -0.036094 | -0.009056 | 0.036129 | 0.0090779 | 3.4897e-05 | 2.1947e-05 | 0.054921 | 0.054921 | 0.054921 | 0.97799 | -0.42421 | 0.97902 | -0.40396 | 15.0881
66 | -0.20701 | -0.053197 | 0.20714 | 0.053278 | 0.00012718 | 8.1208e-05 | 0.30951 | 0.30951 | 0.30951 | 0.99674 | -0.061394 | 0.99741 | -0.048755 | 42.5153
67 | -0.20963 | -0.053903 | 0.20999 | 0.054129 | 0.00035327 | 0.00022559 | 0.31323 | 0.31323 | 0.31323 | 0.99741 | -0.048755 | 0.99925 | -0.014144 | 43.0266
68 | -0.21294 | -0.054869 | 0.21309 | 0.054963 | 0.00014673 | 9.3707e-05 | 0.31763 | 0.31763 | 0.31763 | 0.99925 | -0.014144 | 1 | 0 | 43.6306
69 | 0.17487 | 0.04468 | -0.17433 | -0.044337 | 0.00053814 | 0.00034331 | 0.26051 | 0.26051 | 0.26051 | 1 | 0 | 0.99664 | -0.063854 | 35.7842
70 | 0.16101 | 0.040998 | -0.16083 | -0.040885 | 0.00017772 | 0.00011332 | 0.24062 | 0.24062 | 0.24062 | 0.99664 | -0.063854 | 0.99544 | -0.08677 | 33.0524
71 | 0.14462 | 0.036823 | -0.14451 | -0.036754 | 0.00010816 | 6.8903e-05 | 0.21639 | 0.21639 | 0.21639 | 0.99544 | -0.08677 | 0.99462 | -0.10229 | 29.7242
72 | 0.13081 | 0.033318 | -0.1304 | -0.033062 | 0.00040161 | 0.00025667 | 0.19588 | 0.19588 | 0.19588 | 0.99462 | -0.10229 | 0.99129 | -0.16615 | 53.8143
73 | 0.11384 | 0.028909 | -0.11375 | -0.028854 | 8.7199e-05 | 5.5705e-05 | 0.17101 | 0.17101 | 0.17101 | 0.99129 | -0.16615 | 0.99046 | -0.18208 | 46.982

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39275 | 0.10043

## res_load
| p_mw | q_mvar
0 | 0.0014779 | 0.00037039
1 | 0.0042022 | 0.0010532
2 | 0.0087294 | 0.0021878
3 | 0.0015855 | 0.00039736
4 | 0.004443 | 0.0011135
5 | 0.0034661 | 0.00086868
6 | 0.0075443 | 0.0018908
7 | 0.0014663 | 0.0003675
8 | 0.0051704 | 0.0012958
9 | 0.0039763 | 0.00099656
10 | 0.0030485 | 0.00076404
11 | 0.0027357 | 0.00068562
12 | 0.00305 | 0.00076441
13 | 0.0039744 | 0.00099608
14 | 0.002735 | 0.00068545
15 | 0.0026711 | 0.00066943
16 | 0.0077024 | 0.0019304
17 | 0.0036792 | 0.0009221
18 | 0.0059124 | 0.0014818
19 | 0.0045707 | 0.0011455
20 | 0.0085569 | 0.0021446
21 | 0.00091285 | 0.00022878
22 | 0.001389 | 0.0003481
23 | 0.0019703 | 0.0004938
24 | 0.013819 | 0.0034634
25 | 0.0056676 | 0.0014204
26 | 0.0013766 | 0.000345
27 | 0.010006 | 0.0025079
28 | 0.0030706 | 0.00076956
29 | 0.0062973 | 0.0015782
30 | 0.012276 | 0.0030767
31 | 0.0068524 | 0.0017174
32 | 0.007746 | 0.0019413
33 | 0.01376 | 0.0034485
34 | 0.0062837 | 0.0015748
35 | 0.0099204 | 0.0024863
36 | 0.0044203 | 0.0011078
37 | 0.0034071 | 0.0008539
38 | 0.010184 | 0.0025522
39 | 0.0040867 | 0.0010242
40 | 0.0009121 | 0.00022859
41 | 0.011306 | 0.0028334
42 | 0.012572 | 0.0031508
43 | 0.014705 | 0.0036855
44 | 0.01401 | 0.0035112
45 | 0.0040035 | 0.0010034
46 | 0.0073503 | 0.0018422
47 | 0.015656 | 0.0039237
48 | 0.005006 | 0.0012546
49 | 0.0024966 | 0.00062572
50 | 0.0024952 | 0.00062535
51 | 0.0029533 | 0.00074016
52 | 0.003144 | 0.00078797
53 | 0.01332 | 0.0033384
54 | 0.016209 | 0.0040624
55 | 0.013708 | 0.0034356
56 | 0.016568 | 0.0041523
57 | 0.01427 | 0.0035763

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1