## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-15_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-15_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1059-15_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1059-15_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1059-15_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1059-15_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1059-15_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1059-15_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1059-15_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1059-15_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1059-15_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1059-15_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1059-15_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_1059-15_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1059-15_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1059-15_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_1059-15_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1059-15_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1059-15_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1059-15_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1059-15_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1059-15_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1059-15_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1059-15_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1059-15_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1059-15_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1059-15_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1059-15_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1059-15_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1059-15_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1059-15_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1059-15_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1059-15_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1059-15_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1059-15_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1059-15_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1059-15_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1059-15_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1059-15_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_MV_24_1_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-15_0_4_load_0 | 0 | 0.017406 | 0.0043624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-15_0_4_load_1 | 1 | 0.021204 | 0.0053141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-15_0_4_load_3 | 3 | 0.01741 | 0.0043634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-15_0_4_load_5 | 5 | 0.041539 | 0.010411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-15_0_4_load_22 | 6 | 0.013384 | 0.0033543 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-15_0_4_load_21 | 7 | 0.018611 | 0.0046643 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-15_0_4_load_6 | 8 | 0.029119 | 0.0072979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-15_0_4_load_23 | 9 | 0.016299 | 0.004085 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-15_0_4_load_8 | 11 | 0.029423 | 0.0073741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-15_0_4_load_44 | 16 | 0.0081202 | 0.0020351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-15_0_4_load_48 | 17 | 0.0041942 | 0.0010512 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-15_0_4_load_46 | 20 | 0.0097246 | 0.0024372 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-15_0_4_load_34 | 21 | 0.0052381 | 0.0013128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-15_0_4_load_24 | 23 | 0.01724 | 0.0043206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-15_0_4_load_27 | 25 | 0.0091499 | 0.0022932 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-15_0_4_load_26 | 26 | 0.012993 | 0.0032565 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-15_0_4_load_33 | 28 | 0.0094315 | 0.0023638 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-15_0_4_load_35 | 29 | 0.0080409 | 0.0020152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-15_0_4_load_47 | 31 | 0.011849 | 0.0029697 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-15_0_4_load_32 | 32 | 0.0047003 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-15_0_4_load_36 | 33 | 0.0085772 | 0.0021497 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-15_0_4_load_28 | 34 | 0.0051914 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-15_0_4_load_29 | 35 | 0.0038501 | 0.00096493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-15_0_4_load_30 | 36 | 0.0043432 | 0.0010885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-15_0_4_load_31 | 37 | 0.0044693 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-15_0_4_load_42 | 38 | 0.0035324 | 0.0008853 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-15_0_4_load_40 | 39 | 0.0044276 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-15_0_4_load_38 | 40 | 0.0065171 | 0.0016333 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-15_0_4_load_39 | 41 | 0.0042371 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-15_0_4_load_41 | 42 | 0.0046665 | 0.0011695 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-15_0_4_load_45 | 43 | 0.045742 | 0.011464 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-15_0_4_line_0 |  | 0 | 1 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-15_0_4_line_1 |  | 0 | 2 | 0.0067605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-15_0_4_line_2 |  | 1 | 3 | 0.01698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1059-15_0_4_line_3 |  | 2 | 4 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-15_0_4_line_4 |  | 2 | 5 | 0.031729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-15_0_4_line_5 |  | 3 | 6 | 0.035718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1059-15_0_4_line_6 |  | 4 | 7 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-15_0_4_line_7 |  | 4 | 8 | 0.031766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-15_0_4_line_8 |  | 6 | 9 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1059-15_0_4_line_9 |  | 8 | 10 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-15_0_4_line_10 |  | 9 | 12 | 0.035241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1059-15_0_4_line_11 |  | 10 | 11 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-15_0_4_line_12 |  | 12 | 13 | 0.030263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1059-15_0_4_line_13 |  | 12 | 14 | 0.053169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-15_0_4_line_14 |  | 13 | 21 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1059-15_0_4_line_15 |  | 14 | 22 | 0.032402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-15_0_4_line_16 |  | 14 | 23 | 0.081903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-15_0_4_line_17 |  | 15 | 16 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-15_0_4_line_18 |  | 15 | 17 | 0.0253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-15_0_4_line_19 |  | 16 | 30 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-15_0_4_line_20 |  | 17 | 31 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-15_0_4_line_21 |  | 18 | 19 | 0.04384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-15_0_4_line_22 |  | 18 | 20 | 0.0031998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-15_0_4_line_23 |  | 19 | 29 | 0.029259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-15_0_4_line_24 |  | 20 | 31 | 0.032904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-15_0_4_line_25 |  | 21 | 27 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1059-15_0_4_line_26 |  | 22 | 26 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-15_0_4_line_27 |  | 24 | 25 | 0.039592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-15_0_4_line_28 |  | 24 | 26 | 0.0097703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-15_0_4_line_29 |  | 27 | 28 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1059-15_0_4_line_30 |  | 28 | 32 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1059-15_0_4_line_31 |  | 29 | 33 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-15_0_4_line_32 |  | 30 | 43 | 0.00869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-15_0_4_line_33 |  | 30 | 42 | 0.0079327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-15_0_4_line_34 |  | 32 | 36 | 0.00037584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1059-15_0_4_line_35 |  | 34 | 35 | 0.0004751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1059-15_0_4_line_36 |  | 34 | 36 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1059-15_0_4_line_37 |  | 35 | 37 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1059-15_0_4_line_38 |  | 37 | 38 | 8.9773e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1059-15_0_4_line_39 |  | 38 | 39 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1059-15_0_4_line_40 |  | 39 | 40 | 0.0041345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1059-15_0_4_line_41 |  | 40 | 41 | 0.009479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1059-15_0_4_line_42 |  | 41 | 42 | 0.041428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-15_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 44 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663247.7687 | 1209676.4858 | 2663267.6252 | 1209675.7051
1 | 2663241.0134 | 1209676.7515 | 2663247.7687 | 1209676.4858
2 | 2663267.6252 | 1209675.7051 | 2663284.5922 | 1209675.0379
3 | 2663241.0134 | 1209676.7515 | 2663223.9409 | 1209677.5044
4 | 2663240.331 | 1209645.036 | 2663241.0134 | 1209676.7515
5 | 2663320.2831 | 1209673.633 | 2663297.3535 | 1209674.5361 | 2663284.5922 | 1209675.0379
6 | 2663223.9409 | 1209677.5044 | 2663208.874 | 1209678.1744
7 | 2663223.9409 | 1209677.5044 | 2663226.5511 | 1209645.8459
8 | 2663320.2831 | 1209673.633 | 2663330.3958 | 1209673.2346
9 | 2663228.5724 | 1209621.3304 | 2663226.5511 | 1209645.8459
10 | 2663365.6097 | 1209671.8476 | 2663330.3958 | 1209673.2346
11 | 2663228.5724 | 1209621.3304 | 2663230.3452 | 1209601.5641
12 | 2663380.564 | 1209645.8127 | 2663375.6814 | 1209658.224 | 2663365.6097 | 1209671.8476
13 | 2663332.4381 | 1209713.3986 | 2663359.2828 | 1209679.9742 | 2663365.6097 | 1209671.8476
14 | 2663380.564 | 1209645.8127 | 2663382.7183 | 1209631.1665
15 | 2663312.7967 | 1209739.2059 | 2663332.4381 | 1209713.3986
16 | 2663332.4381 | 1209713.3986 | 2663259.5431 | 1209717.0612 | 2663250.6336 | 1209717.4133
17 | 2663294.0393 | 1209552.7491 | 2663293.9109 | 1209554.1042 | 2663292.8255 | 1209565.4651
18 | 2663294.0393 | 1209552.7491 | 2663319.2533 | 1209554.8283
19 | 2663291.7134 | 1209577.106 | 2663292.8255 | 1209565.4651
20 | 2663319.2533 | 1209554.8283 | 2663337.9645 | 1209556.3713
21 | 2663373.9504 | 1209559.2898 | 2663394.4763 | 1209556.9063 | 2663409.7613 | 1209558.4474 | 2663409.8218 | 1209557.7587 | 2663410.1274 | 1209554.0375 | 2663410.4141 | 1209550.6607
22 | 2663373.9504 | 1209559.2898 | 2663370.7607 | 1209559.0352
23 | 2663410.4141 | 1209550.6607 | 2663381.3087 | 1209547.6648
24 | 2663370.7607 | 1209559.0352 | 2663355.4722 | 1209557.815 | 2663337.9645 | 1209556.3713
25 | 2663384.7015 | 1209617.6839 | 2663382.7183 | 1209631.1665
26 | 2663312.7967 | 1209739.2059 | 2663302.6091 | 1209749.9907
27 | 2663295.8999 | 1209757.0932 | 2663302.2143 | 1209764.4424 | 2663304.4344 | 1209770.8365 | 2663309.2279 | 1209774.6786 | 2663314.912 | 1209777.674 | 2663325.105 | 1209780.4547
28 | 2663295.8999 | 1209757.0932 | 2663302.6091 | 1209749.9907
29 | 2663384.7015 | 1209617.6839 | 2663372.5374 | 1209617.7217
30 | 2663358.2392 | 1209617.766 | 2663372.5374 | 1209617.7217
31 | 2663381.3087 | 1209547.6648 | 2663370.9079 | 1209546.5942 | 2663366.6297 | 1209546.9356
32 | 2663283.0188 | 1209577.703 | 2663291.7134 | 1209577.106
33 | 2663291.7134 | 1209577.106 | 2663290.9605 | 1209585.0028
34 | 2663357.8634 | 1209617.7672 | 2663358.2392 | 1209617.766
35 | 2663343.235 | 1209617.8125 | 2663343.7101 | 1209617.8111
36 | 2663343.7101 | 1209617.8111 | 2663357.8634 | 1209617.7672
37 | 2663343.235 | 1209617.8125 | 2663329.8902 | 1209617.8539
38 | 2663329.8004 | 1209617.8542 | 2663329.8902 | 1209617.8539
39 | 2663329.8004 | 1209617.8542 | 2663316.0491 | 1209617.8968
40 | 2663311.9146 | 1209617.9097 | 2663316.0491 | 1209617.8968
41 | 2663311.9146 | 1209617.9097 | 2663302.4357 | 1209617.939
42 | 2663290.9605 | 1209585.0028 | 2663288.831 | 1209607.3382 | 2663290.1893 | 1209611.8554 | 2663295.3609 | 1209616.6131 | 2663300.4167 | 1209617.9453 | 2663302.4357 | 1209617.939

## bus_geodata
| x | y | coords
0 | 2663247.7687 | 1209676.4858
1 | 2663267.6252 | 1209675.7051
2 | 2663241.0134 | 1209676.7515
3 | 2663284.5922 | 1209675.0379
4 | 2663223.9409 | 1209677.5044
5 | 2663240.331 | 1209645.036
6 | 2663320.2831 | 1209673.633
7 | 2663208.874 | 1209678.1744
8 | 2663226.5511 | 1209645.8459
9 | 2663330.3958 | 1209673.2346
10 | 2663228.5724 | 1209621.3304
11 | 2663230.3452 | 1209601.5641
12 | 2663365.6097 | 1209671.8476
13 | 2663380.564 | 1209645.8127
14 | 2663332.4381 | 1209713.3986
15 | 2663294.0393 | 1209552.7491
16 | 2663292.8255 | 1209565.4651
17 | 2663319.2533 | 1209554.8283
18 | 2663373.9504 | 1209559.2898
19 | 2663410.4141 | 1209550.6607
20 | 2663370.7607 | 1209559.0352
21 | 2663382.7183 | 1209631.1665
22 | 2663312.7967 | 1209739.2059
23 | 2663250.6336 | 1209717.4133
24 | 2663295.8999 | 1209757.0932
25 | 2663325.105 | 1209780.4547
26 | 2663302.6091 | 1209749.9907
27 | 2663384.7015 | 1209617.6839
28 | 2663372.5374 | 1209617.7217
29 | 2663381.3087 | 1209547.6648
30 | 2663291.7134 | 1209577.106
31 | 2663337.9645 | 1209556.3713
32 | 2663358.2392 | 1209617.766
33 | 2663366.6297 | 1209546.9356
34 | 2663343.7101 | 1209617.8111
35 | 2663343.235 | 1209617.8125
36 | 2663357.8634 | 1209617.7672
37 | 2663329.8902 | 1209617.8539
38 | 2663329.8004 | 1209617.8542
39 | 2663316.0491 | 1209617.8968
40 | 2663311.9146 | 1209617.9097
41 | 2663302.4357 | 1209617.939
42 | 2663290.9605 | 1209585.0028
43 | 2663283.0188 | 1209577.703
44 | 2663291.7134 | 1209577.106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98019 | -0.38061 | 0.017406 | 0.0043624
1 | 0.9827 | -0.33167 | 0.021204 | 0.0053141
2 | 0.97944 | -0.39518 | 0 | 0
3 | 0.98393 | -0.3076 | 0.01741 | 0.0043634
4 | 0.97822 | -0.41909 | 0 | 0
5 | 0.97822 | -0.41916 | 0.041539 | 0.010411
6 | 0.98586 | -0.27022 | 0.013384 | 0.0033543
7 | 0.97796 | -0.42421 | 0.018611 | 0.0046643
8 | 0.97649 | -0.45303 | 0.029119 | 0.0072979
9 | 0.98645 | -0.25885 | 0.016299 | 0.004085
10 | 0.97582 | -0.46627 | 0 | 0
11 | 0.97528 | -0.47696 | 0.029423 | 0.0073741
12 | 0.98867 | -0.21593 | 0 | 0
13 | 0.99095 | -0.17218 | 0 | 0
14 | 0.98675 | -0.25335 | 0 | 0
15 | 0.99445 | -0.10651 | 0 | 0
16 | 0.99495 | -0.096966 | 0.0081202 | 0.0020351
17 | 0.99347 | -0.12543 | 0.0041942 | 0.0010512
18 | 0.99198 | -0.15438 | 0 | 0
19 | 0.99131 | -0.1673 | 0 | 0
20 | 0.99202 | -0.15344 | 0.0097246 | 0.0024372
21 | 0.99206 | -0.15085 | 0.0052381 | 0.0013128
22 | 0.98609 | -0.2662 | 0 | 0
23 | 0.98545 | -0.27866 | 0.01724 | 0.0043206
24 | 0.9857 | -0.2737 | 0 | 0
25 | 0.98537 | -0.2802 | 0.0091499 | 0.0022932
26 | 0.98578 | -0.27209 | 0.012993 | 0.0032565
27 | 0.99311 | -0.13084 | 0 | 0
28 | 0.99404 | -0.11301 | 0.0094315 | 0.0023638
29 | 0.99086 | -0.17592 | 0.0080409 | 0.0020152
30 | 0.99549 | -0.086572 | 0 | 0
31 | 0.99282 | -0.1381 | 0.011849 | 0.0029697
32 | 0.99518 | -0.091305 | 0.0047003 | 0.001178
33 | 0.99075 | -0.17817 | 0.0085772 | 0.0021497
34 | 0.99638 | -0.068541 | 0.0051914 | 0.0013011
35 | 0.99642 | -0.067783 | 0.0038501 | 0.00096493
36 | 0.99521 | -0.090725 | 0.0043432 | 0.0010885
37 | 0.99756 | -0.046211 | 0.0044693 | 0.0011201
38 | 0.99756 | -0.046063 | 0.0035324 | 0.0008853
39 | 0.99877 | -0.023245 | 0.0044276 | 0.0011097
40 | 0.99914 | -0.016288 | 0.0065171 | 0.0016333
41 | 1 | 0 | -0.40319 | -0.10262
42 | 0.99618 | -0.073152 | 0.0046665 | 0.0011695
43 | 0.99513 | -0.093566 | 0.045742 | 0.011464
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13645 | -0.034333 | 0.13677 | 0.034537 | 0.0003199 | 0.00020449 | 0.20719 | 0.20719 | 0.20719 | 0.98019 | -0.38061 | 0.9827 | -0.33167 | 56.9207
1 | 0.11904 | 0.02997 | -0.11896 | -0.029917 | 8.2842e-05 | 5.2934e-05 | 0.18077 | 0.18077 | 0.18077 | 0.98019 | -0.38061 | 0.97944 | -0.39518 | 49.6613
2 | -0.15797 | -0.039851 | 0.15816 | 0.039967 | 0.00018231 | 0.00011625 | 0.2393 | 0.2393 | 0.2393 | 0.9827 | -0.33167 | 0.98393 | -0.3076 | 32.8707
3 | 0.077374 | 0.019477 | -0.077285 | -0.01942 | 8.8338e-05 | 5.6322e-05 | 0.11758 | 0.11758 | 0.11758 | 0.97944 | -0.39518 | 0.97822 | -0.41909 | 32.3024
4 | 0.041586 | 0.010441 | -0.041539 | -0.010411 | 4.7505e-05 | 3.0004e-05 | 0.063187 | 0.063187 | 0.063187 | 0.97944 | -0.39518 | 0.97822 | -0.41916 | 17.359
5 | -0.17557 | -0.044331 | 0.17588 | 0.044531 | 0.00031503 | 0.00020025 | 0.26563 | 0.26563 | 0.26563 | 0.98393 | -0.3076 | 0.98586 | -0.27022 | 24.3249
6 | 0.018615 | 0.004667 | -0.018611 | -0.0046643 | 4.535e-06 | 2.7131e-06 | 0.028317 | 0.028317 | 0.028317 | 0.97822 | -0.41909 | 0.97796 | -0.42421 | 7.7794
7 | 0.05867 | 0.014753 | -0.058575 | -0.014693 | 9.4917e-05 | 6.0349e-05 | 0.089264 | 0.089264 | 0.089264 | 0.97822 | -0.41909 | 0.97649 | -0.45303 | 24.523
8 | -0.18926 | -0.047885 | 0.18937 | 0.047951 | 0.00010335 | 6.5759e-05 | 0.28583 | 0.28583 | 0.28583 | 0.98586 | -0.27022 | 0.98645 | -0.25885 | 26.1747
9 | 0.029456 | 0.007395 | -0.029438 | -0.0073834 | 1.859e-05 | 1.159e-05 | 0.044891 | 0.044891 | 0.044891 | 0.97649 | -0.45303 | 0.97582 | -0.46627 | 12.3328
10 | -0.20567 | -0.052036 | 0.20609 | 0.052306 | 0.00042447 | 0.00027031 | 0.31041 | 0.31041 | 0.31041 | 0.98645 | -0.25885 | 0.98867 | -0.21593 | 28.4263
11 | 0.029438 | 0.0073834 | -0.029423 | -0.0073741 | 1.4998e-05 | 9.3507e-06 | 0.044891 | 0.044892 | 0.044892 | 0.97582 | -0.46627 | 0.97528 | -0.47696 | 12.3328
12 | -0.24559 | -0.062247 | 0.24611 | 0.062577 | 0.00051753 | 0.00033005 | 0.36988 | 0.36987 | 0.36988 | 0.98867 | -0.21593 | 0.99095 | -0.17218 | 33.8714
13 | 0.039497 | 0.0099407 | -0.039427 | -0.0098962 | 7.0495e-05 | 4.4436e-05 | 0.059461 | 0.059461 | 0.059461 | 0.98867 | -0.21593 | 0.98675 | -0.25335 | 16.3355
14 | -0.24611 | -0.062577 | 0.24636 | 0.062739 | 0.00025316 | 0.00016145 | 0.36987 | 0.36987 | 0.36987 | 0.99095 | -0.17218 | 0.99206 | -0.15085 | 33.8713
15 | 0.022167 | 0.0055633 | -0.022153 | -0.0055551 | 1.3579e-05 | 8.2772e-06 | 0.03343 | 0.03343 | 0.03343 | 0.98675 | -0.25335 | 0.98609 | -0.2662 | 9.1841
16 | 0.01726 | 0.0043329 | -0.01724 | -0.0043206 | 2.0813e-05 | 1.2275e-05 | 0.026031 | 0.026032 | 0.026032 | 0.98675 | -0.25335 | 0.98545 | -0.27866 | 7.1515
17 | -0.042486 | -0.010685 | 0.042505 | 0.010697 | 1.9367e-05 | 1.2229e-05 | 0.063585 | 0.063585 | 0.063585 | 0.99445 | -0.10651 | 0.99495 | -0.096966 | 17.4684
18 | 0.042486 | 0.010685 | -0.042447 | -0.01066 | 3.8358e-05 | 2.4221e-05 | 0.063585 | 0.063585 | 0.063585 | 0.99445 | -0.10651 | 0.99347 | -0.12543 | 17.4685
19 | -0.050625 | -0.012732 | 0.050651 | 0.012748 | 2.5149e-05 | 1.5943e-05 | 0.075729 | 0.075729 | 0.075729 | 0.99495 | -0.096966 | 0.99549 | -0.086572 | 20.8048
20 | 0.038253 | 0.0096091 | -0.03823 | -0.0095946 | 2.3119e-05 | 1.4553e-05 | 0.057303 | 0.057303 | 0.057303 | 0.99347 | -0.12543 | 0.99282 | -0.1381 | 15.7427
21 | 0.016636 | 0.0041753 | -0.016626 | -0.0041693 | 1.024e-05 | 5.988e-06 | 0.024957 | 0.024957 | 0.024957 | 0.99198 | -0.15438 | 0.99131 | -0.1673 | 6.8564
22 | -0.016636 | -0.0041753 | 0.016637 | 0.0041757 | 7.4738e-07 | 4.3702e-07 | 0.024957 | 0.024957 | 0.024957 | 0.99198 | -0.15438 | 0.99202 | -0.15344 | 6.8563
23 | 0.016626 | 0.0041693 | -0.016619 | -0.0041653 | 6.8343e-06 | 3.9969e-06 | 0.024957 | 0.024957 | 0.024957 | 0.99131 | -0.1673 | 0.99086 | -0.17592 | 6.8564
24 | -0.026361 | -0.0066129 | 0.026381 | 0.0066248 | 1.9295e-05 | 1.1923e-05 | 0.039544 | 0.039544 | 0.039544 | 0.99202 | -0.15344 | 0.99282 | -0.1381 | 10.8637
25 | -0.2516 | -0.064051 | 0.25184 | 0.064206 | 0.00024305 | 0.00015502 | 0.37773 | 0.37773 | 0.37773 | 0.99206 | -0.15085 | 0.99311 | -0.13084 | 34.5908
26 | 0.022153 | 0.0055551 | -0.022147 | -0.0055513 | 6.2176e-06 | 3.79e-06 | 0.03343 | 0.03343 | 0.03343 | 0.98609 | -0.2662 | 0.98578 | -0.27209 | 9.1842
27 | 0.0091527 | 0.0022945 | -0.0091499 | -0.0022932 | 2.8345e-06 | 1.3096e-06 | 0.013817 | 0.013817 | 0.013817 | 0.9857 | -0.2737 | 0.98537 | -0.2802 | 3.796
28 | -0.0091527 | -0.0022945 | 0.0091534 | 0.0022948 | 6.9948e-07 | 3.2312e-07 | 0.013817 | 0.013817 | 0.013817 | 0.9857 | -0.2737 | 0.98578 | -0.27209 | 3.7959
29 | -0.25184 | -0.064206 | 0.25206 | 0.064345 | 0.00021695 | 0.00013837 | 0.37773 | 0.37773 | 0.37773 | 0.99311 | -0.13084 | 0.99404 | -0.11301 | 34.5908
30 | -0.26149 | -0.066709 | 0.26176 | 0.066884 | 0.00027443 | 0.00017508 | 0.39185 | 0.39185 | 0.39185 | 0.99404 | -0.11301 | 0.99518 | -0.091305 | 35.8836
31 | 0.0085781 | 0.00215 | -0.0085772 | -0.0021497 | 9.1776e-07 | 3.9743e-07 | 0.012882 | 0.012882 | 0.012882 | 0.99086 | -0.17592 | 0.99075 | -0.17817 | 3.5391
32 | 0.045757 | 0.011474 | -0.045742 | -0.011464 | 1.5245e-05 | 9.6441e-06 | 0.068398 | 0.068398 | 0.068398 | 0.99549 | -0.086572 | 0.99513 | -0.093566 | 18.7907
33 | -0.096408 | -0.024221 | 0.096469 | 0.024261 | 6.1794e-05 | 3.9445e-05 | 0.14413 | 0.14413 | 0.14413 | 0.99549 | -0.086572 | 0.99618 | -0.073152 | 39.5954
34 | -0.26646 | -0.068062 | 0.26647 | 0.068066 | 7.4746e-06 | 4.7691e-06 | 0.39888 | 0.39888 | 0.39888 | 0.99518 | -0.091305 | 0.99521 | -0.090725 | 36.5272
35 | -0.2763 | -0.070641 | 0.27631 | 0.070648 | 1.0136e-05 | 6.4683e-06 | 0.41312 | 0.41312 | 0.41312 | 0.99638 | -0.068541 | 0.99642 | -0.067783 | 37.8318
36 | 0.27111 | 0.06934 | -0.27081 | -0.069155 | 0.00029072 | 0.00018551 | 0.40537 | 0.40537 | 0.40537 | 0.99638 | -0.068541 | 0.99521 | -0.090725 | 37.1218
37 | -0.28016 | -0.071613 | 0.28045 | 0.0718 | 0.00029268 | 0.00018679 | 0.41887 | 0.41887 | 0.41887 | 0.99642 | -0.067783 | 0.99756 | -0.046211 | 38.3583
38 | -0.28492 | -0.07292 | 0.28492 | 0.072921 | 2.0321e-06 | 1.297e-06 | 0.42554 | 0.42554 | 0.42554 | 0.99756 | -0.046211 | 0.99756 | -0.046063 | 38.9688
39 | -0.28845 | -0.073806 | 0.28877 | 0.07401 | 0.00031903 | 0.00020364 | 0.43081 | 0.43081 | 0.43081 | 0.99756 | -0.046063 | 0.99877 | -0.023245 | 39.4513
40 | -0.2932 | -0.07512 | 0.2933 | 0.075183 | 9.8878e-05 | 6.312e-05 | 0.4374 | 0.4374 | 0.4374 | 0.99877 | -0.023245 | 0.99914 | -0.016288 | 40.0553
41 | -0.29982 | -0.076816 | 0.30005 | 0.076967 | 0.00023687 | 0.00015122 | 0.44711 | 0.44711 | 0.44711 | 0.99914 | -0.016288 | 1 | 0 | 40.9441
42 | 0.10149 | 0.025657 | -0.10114 | -0.02543 | 0.00035468 | 0.00022646 | 0.1511 | 0.1511 | 0.1511 | 1 | 0 | 0.99618 | -0.073152 | 41.5104

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40743 | 0.10369

## res_load
| p_mw | q_mvar
0 | 0.017406 | 0.0043624
1 | 0.021204 | 0.0053141
2 | 0.01741 | 0.0043634
3 | 0.041539 | 0.010411
4 | 0.013384 | 0.0033543
5 | 0.018611 | 0.0046643
6 | 0.029119 | 0.0072979
7 | 0.016299 | 0.004085
8 | 0.029423 | 0.0073741
9 | 0.0081202 | 0.0020351
10 | 0.0041942 | 0.0010512
11 | 0.0097246 | 0.0024372
12 | 0.0052381 | 0.0013128
13 | 0.01724 | 0.0043206
14 | 0.0091499 | 0.0022932
15 | 0.012993 | 0.0032565
16 | 0.0094315 | 0.0023638
17 | 0.0080409 | 0.0020152
18 | 0.011849 | 0.0029697
19 | 0.0047003 | 0.001178
20 | 0.0085772 | 0.0021497
21 | 0.0051914 | 0.0013011
22 | 0.0038501 | 0.00096493
23 | 0.0043432 | 0.0010885
24 | 0.0044693 | 0.0011201
25 | 0.0035324 | 0.0008853
26 | 0.0044276 | 0.0011097
27 | 0.0065171 | 0.0016333
28 | 0.0042371 | 0.0010619
29 | 0.0046665 | 0.0011695
30 | 0.045742 | 0.011464

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1