## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-17_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1059-17_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1059-17_0_4_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_1059-17_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_1059-17_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1059-17_0_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1059-17_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_1059-17_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1059-17_0_4_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1059-17_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1059-17_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_1059-17_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1059-17_0_4_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_1059-17_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1059-17_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_1059-17_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1059-17_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1059-17_0_4_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1059-17_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1059-17_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1059-17_0_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1059-17_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1059-17_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1059-17_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1059-17_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_1059-17_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1059-17_0_4_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_1059-17_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1059-17_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_1059-17_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1059-17_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_1059-17_0_4_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1059-17_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1059-17_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1059-17_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1059-17_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1059-17_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_1059-17_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_1059-17_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1059-17_0_4_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1059-17_0_4_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_1059-17_0_4_node_6 | 0.4 | n |  | TRUE
48 | bus_LV_1059-17_0_4_node_7 | 0.4 | n |  | TRUE
49 | bus_LV_1059-17_0_4_node_9 | 0.4 | n |  | TRUE
50 | bus_LV_1059-17_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1059-17_0_4_node_12 | 0.4 | n |  | TRUE
52 | bus_LV_1059-17_0_4_node_14 | 0.4 | n |  | TRUE
53 | bus_LV_1059-17_0_4_node_15 | 0.4 | n |  | TRUE
54 | bus_LV_1059-17_0_4_node_13 | 0.4 | n |  | TRUE
55 | bus_LV_1059-17_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_1059-17_0_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_1059-17_0_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_1059-17_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1059-17_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1059-17_0_4_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_1059-17_0_4_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_1059-17_0_4_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_1059-17_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_1059-17_0_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_1059-17_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_1059-17_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_1059-17_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1059-17_0_4_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_1059-17_0_4_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_1059-17_0_4_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_1059-17_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_1059-17_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_1059-17_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_1059-17_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_1059-17_0_4_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_1059-17_0_4_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_1059-17_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_1059-17_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_1059-17_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_1059-17_0_4_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_1059-17_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_1059-17_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_1059-17_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_1059-17_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_1059-17_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_MV_24_1_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-17_0_4_load_0 | 0 | 0.017473 | 0.0043792 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-17_0_4_load_1 | 1 | 0.0036208 | 0.00090746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-17_0_4_load_2 | 2 | 0.0030939 | 0.0007754 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-17_0_4_load_3 | 3 | 0.0031934 | 0.00080035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-17_0_4_load_4 | 4 | 0.003024 | 0.00075788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-17_0_4_load_48 | 8 | 0.0070411 | 0.0017647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-17_0_4_load_47 | 9 | 0.0055921 | 0.0014015 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-17_0_4_load_57 | 11 | 0.0022561 | 0.00056544 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-17_0_4_load_56 | 12 | 0.019031 | 0.0047697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-17_0_4_load_70 | 14 | 0.015965 | 0.0040012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-17_0_4_load_69 | 16 | 0.012958 | 0.0032476 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-17_0_4_load_68 | 18 | 0.027941 | 0.0070026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-17_0_4_load_67 | 20 | 0.02577 | 0.0064586 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-17_0_4_load_51 | 23 | 0.0023549 | 0.00059019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-17_0_4_load_46 | 26 | 0.0028523 | 0.00071485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-17_0_4_load_60 | 30 | 0.004401 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-17_0_4_load_89 | 32 | 0.015074 | 0.003778 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-17_0_4_load_59 | 34 | 0.004672 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-17_0_4_load_58 | 36 | 0.0047038 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-17_0_4_load_63 | 37 | 0.0014704 | 0.00036853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-17_0_4_load_64 | 39 | 0.0065604 | 0.0016442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-17_0_4_load_54 | 41 | 0.0044047 | 0.0011039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-17_0_4_load_66 | 42 | 0.0060684 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-17_0_4_load_62 | 43 | 0.0042846 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-17_0_4_load_53 | 44 | 0.014145 | 0.003545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-17_0_4_load_92 | 46 | 0.0038921 | 0.00097544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-17_0_4_load_6 | 47 | 0.0057779 | 0.0014481 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-17_0_4_load_7 | 48 | 0.0042137 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-17_0_4_load_9 | 49 | 0.0077328 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-17_0_4_load_44 | 50 | 0.0068682 | 0.0017213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-17_0_4_load_72 | 55 | 0.003881 | 0.00097268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-17_0_4_load_95 | 56 | 0.0037224 | 0.00093291 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-17_0_4_load_96 | 57 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-17_0_4_load_43 | 58 | 0.0047413 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-17_0_4_load_71 | 59 | 0.004935 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-17_0_4_load_91 | 60 | 0.0038425 | 0.00096303 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-17_0_4_load_90 | 61 | 0.0039636 | 0.00099337 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-17_0_4_load_94 | 62 | 0.0019981 | 0.00050078 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-17_0_4_load_78 | 63 | 0.0027399 | 0.00068668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-17_0_4_load_65 | 65 | 0.0074889 | 0.0018769 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-17_0_4_load_42 | 66 | 0.0087643 | 0.0021965 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-17_0_4_load_50 | 67 | 0.013654 | 0.0034219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-17_0_4_load_45 | 68 | 0.0065042 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-17_0_4_load_77 | 69 | 0.0091081 | 0.0022827 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-17_0_4_load_88 | 70 | 0.0049702 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-17_0_4_load_87 | 71 | 0.0032791 | 0.00082181 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-17_0_4_load_55 | 72 | 0.013168 | 0.0033002 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-17_0_4_load_52 | 73 | 0.0052453 | 0.0013146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-17_0_4_load_76 | 74 | 0.005415 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-17_0_4_load_49 | 76 | 0.0085348 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-17_0_4_load_73 | 77 | 0.002484 | 0.00062254 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-17_0_4_load_80 | 79 | 0.00318 | 0.00079699 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-17_0_4_load_86 | 80 | 0.0059839 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-17_0_4_load_84 | 81 | 0.0053996 | 0.0013533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1059-17_0_4_load_81 | 82 | 0.0042792 | 0.0010725 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1059-17_0_4_load_82 | 83 | 0.0035552 | 0.00089102 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1059-17_0_4_load_83 | 84 | 0.0034568 | 0.00086635 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1059-17_0_4_load_85 | 85 | 0.0038199 | 0.00095736 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-17_0_4_line_0 |  | 0 | 1 | 0.0051211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-17_0_4_line_1 |  | 0 | 2 | 0.0072809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-17_0_4_line_2 |  | 1 | 3 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-17_0_4_line_3 |  | 2 | 4 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-17_0_4_line_4 |  | 3 | 5 | 0.029954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-17_0_4_line_5 |  | 5 | 6 | 0.044629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-17_0_4_line_6 |  | 6 | 24 | 0.04157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1059-17_0_4_line_7 |  | 6 | 25 | 0.041763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-17_0_4_line_8 |  | 6 | 26 | 0.013595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-17_0_4_line_9 |  | 7 | 8 | 0.050455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-17_0_4_line_10 |  | 7 | 9 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-17_0_4_line_11 |  | 8 | 30 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-17_0_4_line_12 |  | 10 | 11 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-17_0_4_line_13 |  | 10 | 12 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-17_0_4_line_14 |  | 12 | 40 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-17_0_4_line_15 |  | 13 | 14 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-17_0_4_line_16 |  | 13 | 15 | 0.0075091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-17_0_4_line_17 |  | 13 | 16 | 0.050845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-17_0_4_line_18 |  | 14 | 32 | 0.049476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-17_0_4_line_19 |  | 15 | 37 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-17_0_4_line_20 |  | 17 | 18 | 0.035738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-17_0_4_line_21 |  | 17 | 19 | 0.0083515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-17_0_4_line_22 |  | 17 | 20 | 0.040454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-17_0_4_line_23 |  | 19 | 43 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-17_0_4_line_24 |  | 19 | 44 | 0.067977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-17_0_4_line_25 |  | 20 | 35 | 0.026394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-17_0_4_line_26 |  | 21 | 22 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-17_0_4_line_27 |  | 21 | 23 | 0.0081086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-17_0_4_line_28 |  | 22 | 41 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-17_0_4_line_29 |  | 22 | 33 | 0.047362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-17_0_4_line_30 |  | 23 | 67 | 0.03924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-17_0_4_line_31 |  | 24 | 31 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1059-17_0_4_line_32 |  | 24 | 32 | 0.010095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-17_0_4_line_33 |  | 25 | 45 | 0.002181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-17_0_4_line_34 |  | 25 | 46 | 0.0072985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-17_0_4_line_35 |  | 26 | 68 | 0.0033429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-17_0_4_line_36 |  | 27 | 28 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1059-17_0_4_line_37 |  | 27 | 29 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1059-17_0_4_line_38 |  | 27 | 30 | 0.0083773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-17_0_4_line_39 |  | 28 | 38 | 0.006444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-17_0_4_line_40 |  | 28 | 39 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-17_0_4_line_41 |  | 29 | 42 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1059-17_0_4_line_42 |  | 29 | 40 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1059-17_0_4_line_43 |  | 31 | 40 | 0.023371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1059-17_0_4_line_44 |  | 33 | 34 | 0.045074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-17_0_4_line_45 |  | 33 | 35 | 0.038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-17_0_4_line_46 |  | 33 | 36 | 0.0024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-17_0_4_line_47 |  | 38 | 43 | 0.0078622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-17_0_4_line_48 |  | 39 | 65 | 0.033449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-17_0_4_line_49 |  | 41 | 72 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-17_0_4_line_50 |  | 42 | 66 | 0.022261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-17_0_4_line_51 |  | 44 | 73 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-17_0_4_line_52 |  | 45 | 74 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-17_0_4_line_53 |  | 45 | 69 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-17_0_4_line_54 |  | 46 | 75 | 0.013534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-17_0_4_line_55 |  | 47 | 48 | 0.013557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-17_0_4_line_56 |  | 48 | 49 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-17_0_4_line_57 |  | 49 | 50 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-17_0_4_line_58 |  | 50 | 58 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-17_0_4_line_59 |  | 51 | 52 | 0.008532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-17_0_4_line_60 |  | 51 | 53 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-17_0_4_line_61 |  | 52 | 56 | 0.0052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-17_0_4_line_62 |  | 53 | 57 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-17_0_4_line_63 |  | 53 | 54 | 0.005505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-17_0_4_line_64 |  | 54 | 55 | 0.024681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-17_0_4_line_65 |  | 55 | 59 | 0.02622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-17_0_4_line_66 |  | 57 | 64 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-17_0_4_line_67 |  | 58 | 68 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-17_0_4_line_68 |  | 60 | 61 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-17_0_4_line_69 |  | 61 | 85 | 0.010662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-17_0_4_line_70 |  | 62 | 63 | 0.0081803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-17_0_4_line_71 |  | 63 | 78 | 0.0098543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-17_0_4_line_72 |  | 64 | 75 | 0.032224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-17_0_4_line_73 |  | 64 | 78 | 0.003099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-17_0_4_line_74 |  | 67 | 76 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-17_0_4_line_75 |  | 70 | 71 | 0.028854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-17_0_4_line_76 |  | 71 | 80 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-17_0_4_line_77 |  | 74 | 80 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-17_0_4_line_78 |  | 75 | 81 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-17_0_4_line_79 |  | 77 | 78 | 0.017507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-17_0_4_line_80 |  | 78 | 79 | 0.045424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-17_0_4_line_81 |  | 81 | 83 | 0.0099755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-17_0_4_line_82 |  | 82 | 83 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-17_0_4_line_83 |  | 82 | 84 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-17_0_4_line_84 |  | 84 | 85 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-17_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 86 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2664357.9892 | 1209574.1226 | 2664363.082 | 1209574.6602
1 | 2664357.9892 | 1209574.1226 | 2664350.7486 | 1209573.3582
2 | 2664363.082 | 1209574.6602 | 2664375.0525 | 1209575.9238
3 | 2664350.7486 | 1209573.3582 | 2664337.3052 | 1209571.9391
4 | 2664402.4996 | 1209567.2472 | 2664389.5017 | 1209575.6788 | 2664376.2183 | 1209576.0469 | 2664375.0525 | 1209575.9238
5 | 2664402.4996 | 1209567.2472 | 2664420.667 | 1209551.7338 | 2664417.7031 | 1209548.1552 | 2664415.7148 | 1209540.8181 | 2664414.2011 | 1209532.4634
6 | 2664414.2011 | 1209532.4634 | 2664419.7627 | 1209532.0009 | 2664420.8691 | 1209536.5378 | 2664425.5694 | 1209547.5508 | 2664431.9212 | 1209555.5576 | 2664436.5901 | 1209558.9212 | 2664437.8628 | 1209555.7997
7 | 2664410.1435 | 1209497.1203 | 2664419.7627 | 1209532.0009 | 2664414.2011 | 1209532.4634
8 | 2664414.2011 | 1209532.4634 | 2664406.5167 | 1209533.1142 | 2664400.6683 | 1209532.479
9 | 2664354.3366 | 1209608.2417 | 2664384.7614 | 1209613.4396 | 2664390.6628 | 1209615.9937 | 2664394.1007 | 1209616.4978 | 2664403.685 | 1209617.886
10 | 2664354.3366 | 1209608.2417 | 2664353.7939 | 1209611.3377 | 2664351.067 | 1209622.6876
11 | 2664418.2392 | 1209619.9941 | 2664403.685 | 1209617.886
12 | 2664458.4017 | 1209597.9916 | 2664462.3726 | 1209597.7121 | 2664465.7025 | 1209596.9587 | 2664467.7819 | 1209593.0454 | 2664468.0788 | 1209591.0969
13 | 2664458.4017 | 1209597.9916 | 2664454.4773 | 1209597.4934 | 2664448.4057 | 1209596.6162
14 | 2664436.0407 | 1209595.0039 | 2664438.7506 | 1209595.3556 | 2664448.4057 | 1209596.6162
15 | 2664518.7396 | 1209572.7614 | 2664495.8087 | 1209568.6104
16 | 2664517.4131 | 1209580.1516 | 2664518.1456 | 1209576.3794 | 2664518.7396 | 1209572.7614
17 | 2664518.7396 | 1209572.7614 | 2664527.3944 | 1209522.658
18 | 2664447.1751 | 1209559.5482 | 2664452.1155 | 1209560.701 | 2664495.8087 | 1209568.6104
19 | 2664517.4131 | 1209580.1516 | 2664516.7714 | 1209583.9581 | 2664513.9473 | 1209595.5791 | 2664512.0394 | 1209602.5697
20 | 2664409.7081 | 1209662.0607 | 2664407.6427 | 1209659.7592 | 2664404.0115 | 1209658.8528 | 2664399.4543 | 1209657.8252 | 2664394.7169 | 1209657.9964 | 2664375.2875 | 1209659.5491
21 | 2664415.3181 | 1209659.2195 | 2664411.2027 | 1209663.7334 | 2664409.7081 | 1209662.0607
22 | 2664409.7081 | 1209662.0607 | 2664381.5619 | 1209691.118
23 | 2664415.3181 | 1209659.2195 | 2664435.5249 | 1209640.7462
24 | 2664415.3181 | 1209659.2195 | 2664420.0605 | 1209663.5066 | 2664422.3942 | 1209664.1989 | 2664446.8265 | 1209663.2954 | 2664451.6628 | 1209664.515 | 2664479.3754 | 1209675.2329
25 | 2664359.8603 | 1209704.9825 | 2664364.1575 | 1209704.0394 | 2664368.5467 | 1209702.319 | 2664374.3028 | 1209698.6122 | 2664381.5619 | 1209691.118
26 | 2664427.6911 | 1209723.4255 | 2664452.16 | 1209728.9597
27 | 2664452.16 | 1209728.9597 | 2664456.078 | 1209721.8606
28 | 2664427.6911 | 1209723.4255 | 2664430.9152 | 1209700.0794
29 | 2664387.5553 | 1209722.2028 | 2664387.7068 | 1209721.5485 | 2664388.3536 | 1209718.6648 | 2664389.0964 | 1209715.3375 | 2664389.2959 | 1209714.4613 | 2664427.6911 | 1209723.4255
30 | 2664487.3781 | 1209714.2489 | 2664463.0295 | 1209709.2651 | 2664456.078 | 1209721.8606
31 | 2664434.5952 | 1209573.3084 | 2664433.8338 | 1209572.0216 | 2664433.8646 | 1209569.1647 | 2664434.4012 | 1209565.9351 | 2664434.699 | 1209563.6925 | 2664436.5901 | 1209558.9212 | 2664437.8628 | 1209555.7997
32 | 2664437.8628 | 1209555.7997 | 2664439.6748 | 1209556.9421 | 2664445.4204 | 1209559.1388 | 2664447.1751 | 1209559.5482
33 | 2664410.1435 | 1209497.1203 | 2664412.2259 | 1209496.4534
34 | 2664410.1435 | 1209497.1203 | 2664407.9978 | 1209490.1443
35 | 2664400.6683 | 1209532.479 | 2664397.345 | 1209532.1181
36 | 2664444.837 | 1209630.0314 | 2664443.8203 | 1209629.8647 | 2664436.726 | 1209628.6763 | 2664434.556 | 1209628.3082 | 2664432.7035 | 1209624.5859 | 2664430.6737 | 1209621.7957 | 2664426.53 | 1209621.195
37 | 2664426.53 | 1209621.195 | 2664427.2208 | 1209614.9431 | 2664427.3297 | 1209614.0104 | 2664427.2056 | 1209612.8305 | 2664426.6494 | 1209607.3212
38 | 2664426.53 | 1209621.195 | 2664418.2392 | 1209619.9941
39 | 2664441.3277 | 1209635.4412 | 2664444.837 | 1209630.0314
40 | 2664444.837 | 1209630.0314 | 2664446.0813 | 1209630.2449 | 2664451.7416 | 1209631.1955 | 2664453.5853 | 1209631.5045 | 2664456.566 | 1209629.302 | 2664458.8002 | 1209628.558
41 | 2664426.6494 | 1209607.3212 | 2664417.5964 | 1209607.3124 | 2664414.9533 | 1209607.0234
42 | 2664426.6494 | 1209607.3212 | 2664434.1289 | 1209607.3353 | 2664435.5463 | 1209599.2567 | 2664436.0407 | 1209595.0039
43 | 2664434.5952 | 1209573.3084 | 2664433.7265 | 1209576.3231 | 2664431.9391 | 1209585.5761 | 2664432.3769 | 1209590.784 | 2664436.0407 | 1209595.0039
44 | 2664387.5553 | 1209722.2028 | 2664431.4609 | 1209732.3988
45 | 2664359.8603 | 1209704.9825 | 2664369.9068 | 1209708.0038 | 2664382.6667 | 1209713.1557 | 2664389.2959 | 1209714.4613 | 2664389.0964 | 1209715.3375 | 2664388.3536 | 1209718.6648 | 2664387.7068 | 1209721.5485 | 2664387.5553 | 1209722.2028
46 | 2664387.5553 | 1209722.2028 | 2664385.1915 | 1209721.6516
47 | 2664441.3277 | 1209635.4412 | 2664435.5249 | 1209640.7462
48 | 2664458.8002 | 1209628.558 | 2664461.578 | 1209627.6329 | 2664466.9271 | 1209627.8352 | 2664475.4273 | 1209629.05 | 2664491.5533 | 1209632.9108
49 | 2664420.4402 | 1209698.0318 | 2664430.9152 | 1209700.0794
50 | 2664414.9533 | 1209607.0234 | 2664410.1484 | 1209606.4982 | 2664397.6612 | 1209604.2398 | 2664392.9837 | 1209603.4848
51 | 2664493.8944 | 1209680.8481 | 2664479.3754 | 1209675.2329
52 | 2664412.2259 | 1209496.4534 | 2664431.4664 | 1209490.3207
53 | 2664412.2259 | 1209496.4534 | 2664417.3298 | 1209514.5723
54 | 2664404.0189 | 1209477.2087 | 2664407.9978 | 1209490.1443
55 | 2664331.3871 | 1209524.9547 | 2664344.8646 | 1209526.4184
56 | 2664344.8646 | 1209526.4184 | 2664357.5213 | 1209527.793
57 | 2664370.2525 | 1209529.1757 | 2664357.5213 | 1209527.793
58 | 2664370.2525 | 1209529.1757 | 2664382.8206 | 1209530.5406
59 | 2664390.6556 | 1209403.2639 | 2664385.2782 | 1209409.8988
60 | 2664385.2782 | 1209409.8988 | 2664383.383 | 1209412.2353 | 2664387.5226 | 1209421.6858
61 | 2664390.6556 | 1209403.2639 | 2664395.2245 | 1209400.7685
62 | 2664387.5226 | 1209421.6858 | 2664390.3758 | 1209429.8993 | 2664391.8008 | 1209434.3781
63 | 2664387.5226 | 1209421.6858 | 2664382.0415 | 1209421.0262
64 | 2664382.0415 | 1209421.0262 | 2664357.5372 | 1209418.0749
65 | 2664331.5058 | 1209414.9395 | 2664357.5372 | 1209418.0749
66 | 2664395.5369 | 1209446.1204 | 2664391.8008 | 1209434.3781
67 | 2664397.345 | 1209532.1181 | 2664382.8206 | 1209530.5406
68 | 2664325.5312 | 1209469.186 | 2664312 | 1209467.803
69 | 2664325.5312 | 1209469.186 | 2664336.138 | 1209470.2702
70 | 2664395.6834 | 1209435.7052 | 2664393.3544 | 1209427.8634
71 | 2664398.4891 | 1209445.1517 | 2664395.6834 | 1209435.7052
72 | 2664395.5369 | 1209446.1204 | 2664404.0189 | 1209477.2087
73 | 2664395.5369 | 1209446.1204 | 2664398.4891 | 1209445.1517
74 | 2664487.3781 | 1209714.2489 | 2664500.9201 | 1209717.0208
75 | 2664481.8995 | 1209469.0028 | 2664480.1802 | 1209469.2038 | 2664471.8273 | 1209469.1135 | 2664462.9311 | 1209471.4522 | 2664454.8565 | 1209476.5912
76 | 2664446.784 | 1209484.2857 | 2664446.784 | 1209484.2857 | 2664453.2947 | 1209477.5852 | 2664454.8565 | 1209476.5912
77 | 2664446.784 | 1209484.2857 | 2664442.9271 | 1209486.6677 | 2664431.4664 | 1209490.3207
78 | 2664404.0189 | 1209477.2087 | 2664383.5998 | 1209475.1215
79 | 2664398.4891 | 1209445.1517 | 2664403.0173 | 1209462.0627
80 | 2664398.4891 | 1209445.1517 | 2664441.6643 | 1209431.035
81 | 2664383.5998 | 1209475.1215 | 2664373.676 | 1209474.1072
82 | 2664361.2119 | 1209472.8332 | 2664373.676 | 1209474.1072
83 | 2664361.2119 | 1209472.8332 | 2664348.7712 | 1209471.5615
84 | 2664336.138 | 1209470.2702 | 2664348.7712 | 1209471.5615

## bus_geodata
| x | y | coords
0 | 2664357.9892 | 1209574.1226
1 | 2664363.082 | 1209574.6602
2 | 2664350.7486 | 1209573.3582
3 | 2664375.0525 | 1209575.9238
4 | 2664337.3052 | 1209571.9391
5 | 2664402.4996 | 1209567.2472
6 | 2664414.2011 | 1209532.4634
7 | 2664354.3366 | 1209608.2417
8 | 2664403.685 | 1209617.886
9 | 2664351.067 | 1209622.6876
10 | 2664458.4017 | 1209597.9916
11 | 2664468.0788 | 1209591.0969
12 | 2664448.4057 | 1209596.6162
13 | 2664518.7396 | 1209572.7614
14 | 2664495.8087 | 1209568.6104
15 | 2664517.4131 | 1209580.1516
16 | 2664527.3944 | 1209522.658
17 | 2664409.7081 | 1209662.0607
18 | 2664375.2875 | 1209659.5491
19 | 2664415.3181 | 1209659.2195
20 | 2664381.5619 | 1209691.118
21 | 2664452.16 | 1209728.9597
22 | 2664427.6911 | 1209723.4255
23 | 2664456.078 | 1209721.8606
24 | 2664437.8628 | 1209555.7997
25 | 2664410.1435 | 1209497.1203
26 | 2664400.6683 | 1209532.479
27 | 2664426.53 | 1209621.195
28 | 2664444.837 | 1209630.0314
29 | 2664426.6494 | 1209607.3212
30 | 2664418.2392 | 1209619.9941
31 | 2664434.5952 | 1209573.3084
32 | 2664447.1751 | 1209559.5482
33 | 2664387.5553 | 1209722.2028
34 | 2664431.4609 | 1209732.3988
35 | 2664359.8603 | 1209704.9825
36 | 2664385.1915 | 1209721.6516
37 | 2664512.0394 | 1209602.5697
38 | 2664441.3277 | 1209635.4412
39 | 2664458.8002 | 1209628.558
40 | 2664436.0407 | 1209595.0039
41 | 2664430.9152 | 1209700.0794
42 | 2664414.9533 | 1209607.0234
43 | 2664435.5249 | 1209640.7462
44 | 2664479.3754 | 1209675.2329
45 | 2664412.2259 | 1209496.4534
46 | 2664407.9978 | 1209490.1443
47 | 2664331.3871 | 1209524.9547
48 | 2664344.8646 | 1209526.4184
49 | 2664357.5213 | 1209527.793
50 | 2664370.2525 | 1209529.1757
51 | 2664385.2782 | 1209409.8988
52 | 2664390.6556 | 1209403.2639
53 | 2664387.5226 | 1209421.6858
54 | 2664382.0415 | 1209421.0262
55 | 2664357.5372 | 1209418.0749
56 | 2664395.2245 | 1209400.7685
57 | 2664391.8008 | 1209434.3781
58 | 2664382.8206 | 1209530.5406
59 | 2664331.5058 | 1209414.9395
60 | 2664312 | 1209467.803
61 | 2664325.5312 | 1209469.186
62 | 2664393.3544 | 1209427.8634
63 | 2664395.6834 | 1209435.7052
64 | 2664395.5369 | 1209446.1204
65 | 2664491.5533 | 1209632.9108
66 | 2664392.9837 | 1209603.4848
67 | 2664487.3781 | 1209714.2489
68 | 2664397.345 | 1209532.1181
69 | 2664417.3298 | 1209514.5723
70 | 2664481.8995 | 1209469.0028
71 | 2664454.8565 | 1209476.5912
72 | 2664420.4402 | 1209698.0318
73 | 2664493.8944 | 1209680.8481
74 | 2664431.4664 | 1209490.3207
75 | 2664404.0189 | 1209477.2087
76 | 2664500.9201 | 1209717.0208
77 | 2664403.0173 | 1209462.0627
78 | 2664398.4891 | 1209445.1517
79 | 2664441.6643 | 1209431.035
80 | 2664446.784 | 1209484.2857
81 | 2664383.5998 | 1209475.1215
82 | 2664361.2119 | 1209472.8332
83 | 2664373.676 | 1209474.1072
84 | 2664348.7712 | 1209471.5615
85 | 2664336.138 | 1209470.2702
86 | 2664426.6494 | 1209607.3212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98925 | -0.20656 | 0.017473 | 0.0043792
1 | 0.98936 | -0.20441 | 0.0036208 | 0.00090746
2 | 0.98921 | -0.20735 | 0.0030939 | 0.0007754
3 | 0.98966 | -0.19858 | 0.0031934 | 0.00080035
4 | 0.98917 | -0.20808 | 0.003024 | 0.00075788
5 | 0.9905 | -0.18238 | 0 | 0
6 | 0.99174 | -0.1583 | 0 | 0
7 | 0.99739 | -0.049763 | 0 | 0
8 | 0.99765 | -0.04482 | 0.0070411 | 0.0017647
9 | 0.99732 | -0.051215 | 0.0055921 | 0.0014015
10 | 0.99701 | -0.057008 | 0 | 0
11 | 0.99698 | -0.057554 | 0.0022561 | 0.00056544
12 | 0.99703 | -0.056609 | 0.019031 | 0.0047697
13 | 0.99261 | -0.14174 | 0 | 0
14 | 0.99292 | -0.13579 | 0.015965 | 0.0040012
15 | 0.9926 | -0.14193 | 0 | 0
16 | 0.99201 | -0.1534 | 0.012958 | 0.0032476
17 | 0.99085 | -0.17519 | 0 | 0
18 | 0.98993 | -0.19293 | 0.027941 | 0.0070026
19 | 0.99166 | -0.1596 | 0 | 0
20 | 0.98797 | -0.23084 | 0.02577 | 0.0064586
21 | 0.98245 | -0.33811 | 0 | 0
22 | 0.98302 | -0.32703 | 0 | 0
23 | 0.98227 | -0.34171 | 0.0023549 | 0.00059019
24 | 0.99471 | -0.10115 | 0 | 0
25 | 0.98842 | -0.22256 | 0 | 0
26 | 0.99126 | -0.16763 | 0.0028523 | 0.00071485
27 | 0.99795 | -0.039068 | 0 | 0
28 | 0.99649 | -0.066902 | 0 | 0
29 | 0.99863 | -0.026055 | 0 | 0
30 | 0.99782 | -0.041566 | 0.004401 | 0.001103
31 | 0.99584 | -0.079452 | 0 | 0
32 | 0.99429 | -0.10924 | 0.015074 | 0.003778
33 | 0.98486 | -0.29112 | 0 | 0
34 | 0.98467 | -0.2949 | 0.004672 | 0.0011709
35 | 0.98671 | -0.25515 | 0 | 0
36 | 0.98485 | -0.29132 | 0.0047038 | 0.0011789
37 | 0.99257 | -0.14253 | 0.0014704 | 0.00036853
38 | 0.99573 | -0.081492 | 0 | 0
39 | 0.9963 | -0.070586 | 0.0065604 | 0.0016442
40 | 0.99728 | -0.051956 | 0 | 0
41 | 0.98264 | -0.3345 | 0.0044047 | 0.0011039
42 | 1 | 0 | -0.39645 | -0.10037
43 | 0.99479 | -0.099324 | 0.0042846 | 0.0010738
44 | 0.99045 | -0.18299 | 0.014145 | 0.003545
45 | 0.98836 | -0.22368 | 0 | 0
46 | 0.98803 | -0.23009 | 0.0038921 | 0.00097544
47 | 0.99008 | -0.19057 | 0.0057779 | 0.0014481
48 | 0.99015 | -0.18918 | 0.0042137 | 0.0010561
49 | 0.99026 | -0.18692 | 0.0077328 | 0.001938
50 | 0.99047 | -0.18288 | 0.0068682 | 0.0017213
51 | 0.98623 | -0.26509 | 0 | 0
52 | 0.9862 | -0.26566 | 0 | 0
53 | 0.98628 | -0.26421 | 0 | 0
54 | 0.98623 | -0.26508 | 0 | 0
55 | 0.98603 | -0.26898 | 0.003881 | 0.00097268
56 | 0.98619 | -0.26601 | 0.0037224 | 0.00093291
57 | 0.98643 | -0.2612 | 0.0026138 | 0.00065508
58 | 0.99076 | -0.17736 | 0.0047413 | 0.0011883
59 | 0.98592 | -0.2713 | 0.004935 | 0.0012368
60 | 0.98596 | -0.27041 | 0.0038425 | 0.00096303
61 | 0.98601 | -0.26947 | 0.0039636 | 0.00099337
62 | 0.98652 | -0.25956 | 0.0019981 | 0.00050078
63 | 0.98653 | -0.25927 | 0.0027399 | 0.00068668
64 | 0.9866 | -0.25785 | 0 | 0
65 | 0.99607 | -0.074986 | 0.0074889 | 0.0018769
66 | 0.99982 | -0.0034013 | 0.0087643 | 0.0021965
67 | 0.98146 | -0.35745 | 0.013654 | 0.0034219
68 | 0.99115 | -0.16975 | 0.0065042 | 0.0016301
69 | 0.9882 | -0.22674 | 0.0091081 | 0.0022827
70 | 0.98756 | -0.23919 | 0.0049702 | 0.0012456
71 | 0.9877 | -0.23662 | 0.0032791 | 0.00082181
72 | 0.98251 | -0.33704 | 0.013168 | 0.0033002
73 | 0.99038 | -0.18444 | 0.0052453 | 0.0013146
74 | 0.988 | -0.23076 | 0.005415 | 0.0013571
75 | 0.98736 | -0.24311 | 0 | 0
76 | 0.98136 | -0.35958 | 0.0085348 | 0.002139
77 | 0.98654 | -0.25921 | 0.002484 | 0.00062254
78 | 0.98658 | -0.25843 | 0 | 0
79 | 0.98644 | -0.26102 | 0.00318 | 0.00079699
80 | 0.98778 | -0.23497 | 0.0059839 | 0.0014997
81 | 0.98683 | -0.25351 | 0.0053996 | 0.0013533
82 | 0.98639 | -0.26195 | 0.0042792 | 0.0010725
83 | 0.98662 | -0.25761 | 0.0035552 | 0.00089102
84 | 0.98622 | -0.26533 | 0.0034568 | 0.00086635
85 | 0.98609 | -0.26798 | 0.0038199 | 0.00095736
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023592 | -0.0059125 | 0.023594 | 0.005914 | 2.4183e-06 | 1.482e-06 | 0.035486 | 0.035486 | 0.035486 | 0.98925 | -0.20656 | 0.98936 | -0.20441 | 9.7489
1 | 0.0061182 | 0.0015332 | -0.006118 | -0.0015332 | 2.3124e-07 | 5.452e-08 | 0.0092029 | 0.0092029 | 0.0092029 | 0.98925 | -0.20656 | 0.98921 | -0.20735 | 2.5283
2 | -0.027215 | -0.0068214 | 0.027222 | 0.0068261 | 7.5626e-06 | 4.6854e-06 | 0.040932 | 0.040932 | 0.040932 | 0.98936 | -0.20441 | 0.98966 | -0.19858 | 11.245
3 | 0.0030241 | 0.00075777 | -0.003024 | -0.00075788 | 1.049e-07 | -1.064e-07 | 0.0045489 | 0.004549 | 0.004549 | 0.98921 | -0.20735 | 0.98917 | -0.20808 | 1.2497
4 | -0.030416 | -0.0076265 | 0.030439 | 0.0076411 | 2.3494e-05 | 1.4651e-05 | 0.045733 | 0.045733 | 0.045733 | 0.98966 | -0.19858 | 0.9905 | -0.18238 | 12.5641
5 | -0.030439 | -0.0076411 | 0.030474 | 0.0076629 | 3.5003e-05 | 2.1827e-05 | 0.045733 | 0.045733 | 0.045733 | 0.9905 | -0.18238 | 0.99174 | -0.1583 | 12.5641
6 | -0.15611 | -0.039312 | 0.15654 | 0.039584 | 0.00042789 | 0.00027277 | 0.2343 | 0.2343 | 0.2343 | 0.99174 | -0.1583 | 0.99471 | -0.10115 | 32.1842
7 | 0.086907 | 0.021926 | -0.08664 | -0.021756 | 0.0002665 | 0.00017002 | 0.13045 | 0.13045 | 0.13045 | 0.99174 | -0.1583 | 0.98842 | -0.22256 | 35.8372
8 | 0.038733 | 0.009723 | -0.038716 | -0.0097122 | 1.7221e-05 | 1.0846e-05 | 0.058121 | 0.058121 | 0.058121 | 0.99174 | -0.1583 | 0.99126 | -0.16763 | 15.9674
9 | -0.0055925 | -0.0014016 | 0.0055938 | 0.0014017 | 1.3171e-06 | 1.8428e-07 | 0.0083434 | 0.0083432 | 0.0083434 | 0.99739 | -0.049763 | 0.99765 | -0.04482 | 2.2922
10 | 0.0055925 | 0.0014016 | -0.0055921 | -0.0014015 | 3.8677e-07 | 5.4186e-08 | 0.0083434 | 0.0083435 | 0.0083435 | 0.99739 | -0.049763 | 0.99732 | -0.051215 | 2.2922
11 | -0.012635 | -0.0031664 | 0.012637 | 0.0031675 | 1.9585e-06 | 1.0614e-06 | 0.018845 | 0.018845 | 0.018845 | 0.99765 | -0.04482 | 0.99782 | -0.041566 | 5.1772
12 | 0.0022562 | 0.0005653 | -0.0022561 | -0.00056544 | 5.8665e-08 | -1.4238e-07 | 0.0033672 | 0.0033673 | 0.0033673 | 0.99701 | -0.057008 | 0.99698 | -0.057554 | 0.92508
13 | -0.0022562 | -0.0005653 | 0.0022562 | 0.00056519 | 4.2903e-08 | -1.0414e-07 | 0.0033672 | 0.0033672 | 0.0033672 | 0.99701 | -0.057008 | 0.99703 | -0.056609 | 0.92507
14 | -0.021287 | -0.0053348 | 0.021292 | 0.0053377 | 4.7198e-06 | 2.858e-06 | 0.03177 | 0.03177 | 0.03177 | 0.99703 | -0.056609 | 0.99728 | -0.051956 | 8.728
15 | -0.014436 | -0.0036197 | 0.01444 | 0.003622 | 4.0927e-06 | 2.318e-06 | 0.021641 | 0.021641 | 0.021641 | 0.99261 | -0.14174 | 0.99292 | -0.13579 | 5.9453
16 | 0.0014705 | 0.00036817 | -0.0014705 | -0.00036826 | 1.3682e-08 | -8.8305e-08 | 0.0022043 | 0.0022043 | 0.0022043 | 0.99261 | -0.14174 | 0.9926 | -0.14193 | 0.60559
17 | 0.012965 | 0.0032515 | -0.012958 | -0.0032476 | 7.2033e-06 | 3.9533e-06 | 0.019437 | 0.019437 | 0.019437 | 0.99261 | -0.14174 | 0.99201 | -0.1534 | 5.3398
18 | -0.030405 | -0.0076232 | 0.030443 | 0.0076472 | 3.8523e-05 | 2.4014e-05 | 0.045566 | 0.045566 | 0.045566 | 0.99292 | -0.13579 | 0.99429 | -0.10924 | 12.5183
19 | 0.0014705 | 0.00036826 | -0.0014704 | -0.00036853 | 4.2031e-08 | -2.7123e-07 | 0.0022043 | 0.0022044 | 0.0022044 | 0.9926 | -0.14193 | 0.99257 | -0.14253 | 0.60561
20 | 0.027964 | 0.0070173 | -0.027941 | -0.0070026 | 2.364e-05 | 1.467e-05 | 0.041999 | 0.041999 | 0.041999 | 0.99085 | -0.17519 | 0.98993 | -0.19293 | 11.5382
21 | -0.1057 | -0.026679 | 0.10578 | 0.026729 | 7.8976e-05 | 5.0437e-05 | 0.1588 | 0.1588 | 0.1588 | 0.99085 | -0.17519 | 0.99166 | -0.1596 | 43.6263
22 | 0.077733 | 0.019661 | -0.077526 | -0.01953 | 0.00020696 | 0.00013194 | 0.1168 | 0.1168 | 0.1168 | 0.99085 | -0.17519 | 0.98797 | -0.23084 | 32.0882
23 | -0.12519 | -0.031602 | 0.12555 | 0.031834 | 0.00036261 | 0.00023171 | 0.18793 | 0.18793 | 0.18793 | 0.99166 | -0.1596 | 0.99479 | -0.099324 | 51.6294
24 | 0.019412 | 0.0048726 | -0.01939 | -0.0048597 | 2.1633e-05 | 1.2969e-05 | 0.029131 | 0.029132 | 0.029132 | 0.99166 | -0.1596 | 0.99045 | -0.18299 | 8.0032
25 | 0.051757 | 0.013071 | -0.051696 | -0.013033 | 6.0199e-05 | 3.819e-05 | 0.077988 | 0.077988 | 0.077988 | 0.98797 | -0.23084 | 0.98671 | -0.25515 | 21.4253
26 | -0.024565 | -0.0061643 | 0.024578 | 0.0061723 | 1.2988e-05 | 7.9956e-06 | 0.037209 | 0.037209 | 0.037209 | 0.98245 | -0.33811 | 0.98302 | -0.32703 | 10.2222
27 | 0.024565 | 0.0061643 | -0.024561 | -0.0061617 | 4.2099e-06 | 2.5917e-06 | 0.037209 | 0.037209 | 0.037209 | 0.98245 | -0.33811 | 0.98227 | -0.34171 | 10.2222
28 | 0.01758 | 0.0044087 | -0.017574 | -0.004405 | 6.2594e-06 | 3.7073e-06 | 0.026613 | 0.026613 | 0.026613 | 0.98302 | -0.32703 | 0.98264 | -0.3345 | 7.3112
29 | -0.042158 | -0.010581 | 0.042231 | 0.010627 | 7.2343e-05 | 4.5698e-05 | 0.063821 | 0.063821 | 0.063821 | 0.98302 | -0.32703 | 0.98486 | -0.29112 | 17.5334
30 | 0.022206 | 0.0055715 | -0.022189 | -0.0055613 | 1.6654e-05 | 1.0162e-05 | 0.033642 | 0.033642 | 0.033642 | 0.98227 | -0.34171 | 0.98146 | -0.35745 | 9.2422
31 | -0.20208 | -0.051021 | 0.20229 | 0.051155 | 0.00021027 | 0.00013386 | 0.30243 | 0.30243 | 0.30243 | 0.99471 | -0.10115 | 0.99584 | -0.079452 | 27.6947
32 | 0.045535 | 0.011436 | -0.045517 | -0.011425 | 1.757e-05 | 1.1114e-05 | 0.068126 | 0.068126 | 0.068126 | 0.99471 | -0.10115 | 0.99429 | -0.10924 | 18.7159
33 | 0.02877 | 0.0072144 | -0.028768 | -0.0072135 | 1.5343e-06 | 9.5403e-07 | 0.043313 | 0.043313 | 0.043313 | 0.98842 | -0.22256 | 0.98836 | -0.22368 | 11.8992
34 | 0.057871 | 0.014541 | -0.05785 | -0.014528 | 2.078e-05 | 1.3206e-05 | 0.087135 | 0.087135 | 0.087135 | 0.98842 | -0.22256 | 0.98803 | -0.23009 | 23.9381
35 | 0.035864 | 0.0089974 | -0.03586 | -0.0089951 | 3.6337e-06 | 2.2825e-06 | 0.05384 | 0.05384 | 0.05384 | 0.99126 | -0.16763 | 0.99115 | -0.16975 | 14.7911
36 | 0.14429 | 0.036683 | -0.14409 | -0.03656 | 0.00019317 | 0.00012305 | 0.21532 | 0.21533 | 0.21533 | 0.99795 | -0.039068 | 0.99649 | -0.066902 | 29.5776
37 | -0.16133 | -0.040955 | 0.16143 | 0.041019 | 0.00010107 | 6.414e-05 | 0.24073 | 0.24073 | 0.24073 | 0.99795 | -0.039068 | 0.99863 | -0.026055 | 22.0451
38 | 0.01704 | 0.0042717 | -0.017038 | -0.0042705 | 2.0281e-06 | 1.1885e-06 | 0.025408 | 0.025408 | 0.025408 | 0.99795 | -0.039068 | 0.99782 | -0.041566 | 6.9803
39 | 0.13004 | 0.033037 | -0.12995 | -0.032979 | 9.1266e-05 | 5.8326e-05 | 0.19434 | 0.19434 | 0.19434 | 0.99649 | -0.066902 | 0.99573 | -0.081492 | 53.39
40 | 0.014053 | 0.003523 | -0.014051 | -0.0035217 | 2.4661e-06 | 1.3838e-06 | 0.020986 | 0.020986 | 0.020986 | 0.99649 | -0.066902 | 0.9963 | -0.070586 | 5.7653
41 | -0.38555 | -0.097859 | 0.38604 | 0.098168 | 0.00048391 | 0.00030924 | 0.57493 | 0.57493 | 0.57493 | 0.99863 | -0.026055 | 1 | 0 | 52.6491
42 | 0.22413 | 0.05684 | -0.22385 | -0.056662 | 0.0002787 | 0.00017758 | 0.3342 | 0.3342 | 0.3342 | 0.99863 | -0.026055 | 0.99728 | -0.051956 | 30.604
43 | -0.20229 | -0.051155 | 0.20255 | 0.051325 | 0.00026719 | 0.00017009 | 0.30243 | 0.30243 | 0.30243 | 0.99584 | -0.079452 | 0.99728 | -0.051956 | 27.6947
44 | 0.0046729 | 0.0011709 | -0.004672 | -0.0011709 | 8.4254e-07 | -3.423e-08 | 0.0070601 | 0.0070603 | 0.0070603 | 0.98486 | -0.29112 | 0.98467 | -0.2949 | 1.9396
45 | -0.051608 | -0.012976 | 0.051696 | 0.013033 | 8.8822e-05 | 5.6349e-05 | 0.077988 | 0.077988 | 0.077988 | 0.98486 | -0.29112 | 0.98671 | -0.25515 | 21.4254
46 | 0.0047038 | 0.0011789 | -0.0047038 | -0.0011789 | 4.5974e-08 | -1.4634e-09 | 0.0071069 | 0.0071069 | 0.0071069 | 0.98486 | -0.29112 | 0.98485 | -0.29132 | 1.9525
47 | 0.12995 | 0.032979 | -0.12984 | -0.032907 | 0.00011135 | 7.1164e-05 | 0.19434 | 0.19434 | 0.19434 | 0.99573 | -0.081492 | 0.99479 | -0.099324 | 53.39
48 | 0.0074905 | 0.0018775 | -0.0074889 | -0.0018769 | 1.5699e-06 | 5.6928e-07 | 0.011187 | 0.011188 | 0.011188 | 0.9963 | -0.070586 | 0.99607 | -0.074986 | 3.0735
49 | 0.013169 | 0.0033011 | -0.013168 | -0.0033002 | 1.5918e-06 | 8.8359e-07 | 0.019943 | 0.019943 | 0.019943 | 0.98264 | -0.3345 | 0.98251 | -0.33704 | 5.4788
50 | 0.0087657 | 0.0021972 | -0.0087643 | -0.0021965 | 1.4203e-06 | 6.17e-07 | 0.013044 | 0.013044 | 0.013044 | 1 | 0 | 0.99982 | -0.0034013 | 3.5834
51 | 0.0052456 | 0.0013146 | -0.0052453 | -0.0013146 | 3.6256e-07 | 3.1709e-08 | 0.0078808 | 0.0078809 | 0.0078809 | 0.99045 | -0.18299 | 0.99038 | -0.18444 | 2.1651
52 | 0.019659 | 0.0049302 | -0.019652 | -0.0049262 | 6.6343e-06 | 3.9872e-06 | 0.029598 | 0.029598 | 0.029598 | 0.98836 | -0.22368 | 0.988 | -0.23076 | 8.1314
53 | 0.0091094 | 0.0022833 | -0.0091081 | -0.0022827 | 1.3278e-06 | 6.0856e-07 | 0.013715 | 0.013715 | 0.013715 | 0.98836 | -0.22368 | 0.9882 | -0.22674 | 3.7678
54 | 0.053958 | 0.013553 | -0.053924 | -0.013531 | 3.3523e-05 | 2.1281e-05 | 0.081273 | 0.081273 | 0.081273 | 0.98803 | -0.23009 | 0.98736 | -0.24311 | 22.3278
55 | -0.0057779 | -0.0014481 | 0.0057782 | 0.0014481 | 3.8335e-07 | 7.099e-08 | 0.0086837 | 0.0086837 | 0.0086837 | 0.99008 | -0.19057 | 0.99015 | -0.18918 | 2.3856
56 | -0.0099919 | -0.0025042 | 0.009993 | 0.0025047 | 1.0765e-06 | 5.2519e-07 | 0.015016 | 0.015016 | 0.015016 | 0.99015 | -0.18918 | 0.99026 | -0.18692 | 4.1253
57 | -0.017726 | -0.0044427 | 0.017729 | 0.0044448 | 3.407e-06 | 2.0157e-06 | 0.026636 | 0.026636 | 0.026636 | 0.99026 | -0.18692 | 0.99047 | -0.18288 | 7.3175
58 | -0.024597 | -0.0061661 | 0.024604 | 0.0061701 | 6.4739e-06 | 3.9806e-06 | 0.036954 | 0.036954 | 0.036954 | 0.99047 | -0.18288 | 0.99076 | -0.17736 | 10.1522
59 | 0.0037225 | 0.00093284 | -0.0037224 | -0.00093289 | 1.0093e-07 | -4.4276e-08 | 0.0056165 | 0.0056165 | 0.0056165 | 0.98623 | -0.26509 | 0.9862 | -0.26566 | 1.543
60 | -0.0037225 | -0.00093284 | 0.0037227 | 0.00093277 | 1.5763e-07 | -6.9168e-08 | 0.0056165 | 0.0056164 | 0.0056165 | 0.98623 | -0.26509 | 0.98628 | -0.26421 | 1.543
61 | 0.0037224 | 0.00093289 | -0.0037224 | -0.00093291 | 6.1582e-08 | -2.7012e-08 | 0.0056165 | 0.0056165 | 0.0056165 | 0.9862 | -0.26566 | 0.98619 | -0.26601 | 1.543
62 | -0.012541 | -0.0031432 | 0.012543 | 0.0031442 | 1.7983e-06 | 9.7996e-07 | 0.018921 | 0.018921 | 0.018921 | 0.98628 | -0.26421 | 0.98643 | -0.2612 | 5.1981
63 | 0.0088185 | 0.0022104 | -0.0088182 | -0.0022102 | 3.6543e-07 | 1.6363e-07 | 0.013305 | 0.013305 | 0.013305 | 0.98628 | -0.26421 | 0.98623 | -0.26508 | 3.6552
64 | 0.0088182 | 0.0022102 | -0.0088165 | -0.0022095 | 1.6384e-06 | 7.337e-07 | 0.013305 | 0.013305 | 0.013305 | 0.98623 | -0.26508 | 0.98603 | -0.26898 | 3.6552
65 | 0.0049355 | 0.0012368 | -0.004935 | -0.0012368 | 5.4545e-07 | 1.4686e-08 | 0.0074481 | 0.0074482 | 0.0074482 | 0.98603 | -0.26898 | 0.98592 | -0.2713 | 2.0462
66 | -0.015157 | -0.0037992 | 0.015159 | 0.0038006 | 2.4156e-06 | 1.3887e-06 | 0.022864 | 0.022864 | 0.022864 | 0.98643 | -0.2612 | 0.9866 | -0.25785 | 6.2813
67 | -0.029345 | -0.0073583 | 0.029356 | 0.007365 | 1.0643e-05 | 6.6232e-06 | 0.044075 | 0.044075 | 0.044075 | 0.99076 | -0.17736 | 0.99115 | -0.16975 | 12.1085
68 | -0.0038425 | -0.00096303 | 0.0038427 | 0.00096297 | 1.7154e-07 | -6.3695e-08 | 0.0057992 | 0.0057991 | 0.0057992 | 0.98596 | -0.27041 | 0.98601 | -0.26947 | 1.5932
69 | -0.0078063 | -0.0019563 | 0.0078069 | 0.0019566 | 5.549e-07 | 2.1913e-07 | 0.011781 | 0.011781 | 0.011781 | 0.98601 | -0.26947 | 0.98609 | -0.26798 | 3.2365
70 | -0.0019981 | -0.00050078 | 0.0019982 | 0.0005007 | 2.7865e-08 | -8.6613e-08 | 0.0030139 | 0.0030139 | 0.0030139 | 0.98652 | -0.25956 | 0.98653 | -0.25927 | 0.828
71 | -0.004738 | -0.0011874 | 0.0047382 | 0.0011874 | 1.8873e-07 | -5.0407e-09 | 0.0071465 | 0.0071465 | 0.0071465 | 0.98653 | -0.25927 | 0.98658 | -0.25843 | 1.9633
72 | -0.025562 | -0.0064072 | 0.02558 | 0.0064183 | 1.7961e-05 | 1.1083e-05 | 0.038554 | 0.038554 | 0.038554 | 0.9866 | -0.25785 | 0.98736 | -0.24311 | 10.5917
73 | 0.010403 | 0.0026066 | -0.010403 | -0.0026064 | 2.8608e-07 | 1.4352e-07 | 0.01569 | 0.01569 | 0.01569 | 0.9866 | -0.25785 | 0.98658 | -0.25843 | 4.3104
74 | 0.0085357 | 0.0021394 | -0.0085348 | -0.002139 | 8.681e-07 | 3.8092e-07 | 0.012941 | 0.012941 | 0.012941 | 0.98146 | -0.35745 | 0.98136 | -0.35958 | 3.5553
75 | -0.0049702 | -0.0012456 | 0.0049708 | 0.0012457 | 6.0682e-07 | 1.9127e-08 | 0.0074888 | 0.0074887 | 0.0074888 | 0.98756 | -0.23919 | 0.9877 | -0.23662 | 2.0574
76 | -0.0082499 | -0.0020675 | 0.0082505 | 0.0020677 | 6.4844e-07 | 2.7172e-07 | 0.012429 | 0.012429 | 0.012429 | 0.9877 | -0.23662 | 0.98778 | -0.23497 | 3.4145
77 | 0.014237 | 0.0035691 | -0.014234 | -0.0035674 | 2.8557e-06 | 1.6156e-06 | 0.021443 | 0.021443 | 0.021443 | 0.988 | -0.23076 | 0.98778 | -0.23497 | 5.8909
78 | 0.028344 | 0.0071131 | -0.02833 | -0.0071043 | 1.4047e-05 | 8.7276e-06 | 0.042719 | 0.04272 | 0.04272 | 0.98736 | -0.24311 | 0.98683 | -0.25351 | 11.7361
79 | -0.002484 | -0.00062254 | 0.0024841 | 0.00062238 | 9.2153e-08 | -1.6456e-07 | 0.0037466 | 0.0037466 | 0.0037466 | 0.98654 | -0.25921 | 0.98658 | -0.25843 | 1.0293
80 | 0.0031804 | 0.00079666 | -0.00318 | -0.00079699 | 3.9196e-07 | -3.2911e-07 | 0.0047968 | 0.004797 | 0.004797 | 0.98658 | -0.25843 | 0.98644 | -0.26102 | 1.3178
81 | 0.02293 | 0.0057511 | -0.022926 | -0.0057483 | 4.4726e-06 | 2.735e-06 | 0.034578 | 0.034578 | 0.034578 | 0.98683 | -0.25351 | 0.98662 | -0.25761 | 9.4994
82 | -0.019367 | -0.0048549 | 0.019371 | 0.0048573 | 4.0103e-06 | 2.4067e-06 | 0.029216 | 0.029216 | 0.029216 | 0.98639 | -0.26195 | 0.98662 | -0.25761 | 8.0263
83 | 0.015087 | 0.0037824 | -0.015085 | -0.003781 | 2.4294e-06 | 1.3952e-06 | 0.02276 | 0.02276 | 0.02276 | 0.98639 | -0.26195 | 0.98622 | -0.26533 | 6.2529
84 | 0.011628 | 0.0029147 | -0.011627 | -0.0029139 | 1.4659e-06 | 7.7616e-07 | 0.017545 | 0.017545 | 0.017545 | 0.98622 | -0.26533 | 0.98609 | -0.26798 | 4.82

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40252 | 0.10189

## res_load
| p_mw | q_mvar
0 | 0.017473 | 0.0043792
1 | 0.0036208 | 0.00090746
2 | 0.0030939 | 0.0007754
3 | 0.0031934 | 0.00080035
4 | 0.003024 | 0.00075788
5 | 0.0070411 | 0.0017647
6 | 0.0055921 | 0.0014015
7 | 0.0022561 | 0.00056544
8 | 0.019031 | 0.0047697
9 | 0.015965 | 0.0040012
10 | 0.012958 | 0.0032476
11 | 0.027941 | 0.0070026
12 | 0.02577 | 0.0064586
13 | 0.0023549 | 0.00059019
14 | 0.0028523 | 0.00071485
15 | 0.004401 | 0.001103
16 | 0.015074 | 0.003778
17 | 0.004672 | 0.0011709
18 | 0.0047038 | 0.0011789
19 | 0.0014704 | 0.00036853
20 | 0.0065604 | 0.0016442
21 | 0.0044047 | 0.0011039
22 | 0.0060684 | 0.0015209
23 | 0.0042846 | 0.0010738
24 | 0.014145 | 0.003545
25 | 0.0038921 | 0.00097544
26 | 0.0057779 | 0.0014481
27 | 0.0042137 | 0.0010561
28 | 0.0077328 | 0.001938
29 | 0.0068682 | 0.0017213
30 | 0.003881 | 0.00097268
31 | 0.0037224 | 0.00093291
32 | 0.0026138 | 0.00065508
33 | 0.0047413 | 0.0011883
34 | 0.004935 | 0.0012368
35 | 0.0038425 | 0.00096303
36 | 0.0039636 | 0.00099337
37 | 0.0019981 | 0.00050078
38 | 0.0027399 | 0.00068668
39 | 0.0074889 | 0.0018769
40 | 0.0087643 | 0.0021965
41 | 0.013654 | 0.0034219
42 | 0.0065042 | 0.0016301
43 | 0.0091081 | 0.0022827
44 | 0.0049702 | 0.0012456
45 | 0.0032791 | 0.00082181
46 | 0.013168 | 0.0033002
47 | 0.0052453 | 0.0013146
48 | 0.005415 | 0.0013571
49 | 0.0085348 | 0.002139
50 | 0.002484 | 0.00062254
51 | 0.00318 | 0.00079699
52 | 0.0059839 | 0.0014997
53 | 0.0053996 | 0.0013533
54 | 0.0042792 | 0.0010725
55 | 0.0035552 | 0.00089102
56 | 0.0034568 | 0.00086635
57 | 0.0038199 | 0.00095736

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1