## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-18_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-18_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-18_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1059-18_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1059-18_0_7_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_1059-18_0_7_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1059-18_0_7_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_1059-18_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1059-18_0_7_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1059-18_0_7_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1059-18_0_7_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1059-18_0_7_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1059-18_0_7_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1059-18_0_7_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1059-18_0_7_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1059-18_0_7_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1059-18_0_7_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1059-18_0_7_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1059-18_0_7_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1059-18_0_7_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1059-18_0_7_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_1059-18_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1059-18_0_7_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1059-18_0_7_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1059-18_0_7_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1059-18_0_7_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_1059-18_0_7_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1059-18_0_7_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1059-18_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1059-18_0_7_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1059-18_0_7_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1059-18_0_7_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1059-18_0_7_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_1059-18_0_7_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_1059-18_0_7_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1059-18_0_7_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1059-18_0_7_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1059-18_0_7_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1059-18_0_7_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1059-18_0_7_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_1059-18_0_7_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1059-18_0_7_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1059-18_0_7_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1059-18_0_7_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_1059-18_0_7_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1059-18_0_7_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_1059-18_0_7_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1059-18_0_7_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1059-18_0_7_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1059-18_0_7_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1059-18_0_7_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1059-18_0_7_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1059-18_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1059-18_0_7_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_1059-18_0_7_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1059-18_0_7_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1059-18_0_7_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_1059-18_0_7_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1059-18_0_7_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_1059-18_0_7_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1059-18_0_7_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_1059-18_0_7_node_60 | 0.4 | n |  | TRUE
62 | bus_MV_24_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-18_0_7_load_0 | 0 | 0.028891 | 0.0072408 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-18_0_7_load_58 | 4 | 0.0071745 | 0.0017981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-18_0_7_load_41 | 5 | 0.01775 | 0.0044485 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-18_0_7_load_39 | 6 | 0.019926 | 0.0049938 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-18_0_7_load_30 | 10 | 0.050975 | 0.012776 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-18_0_7_load_35 | 13 | 0.019359 | 0.0048519 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-18_0_7_load_34 | 16 | 0.027219 | 0.0068218 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-18_0_7_load_43 | 19 | 0.016698 | 0.0041848 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-18_0_7_load_53 | 22 | 0.019578 | 0.0049068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-18_0_7_load_69 | 23 | 0.021962 | 0.0055042 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-18_0_7_load_55 | 25 | 0.019578 | 0.0049068 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-18_0_7_load_56 | 26 | 0.019735 | 0.0049461 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-18_0_7_load_51 | 27 | 0.0034649 | 0.00086839 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-18_0_7_load_33 | 30 | 0.027239 | 0.0068268 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-18_0_7_load_66 | 32 | 0.0073167 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-18_0_7_load_65 | 33 | 0.0093874 | 0.0023527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-18_0_7_load_38 | 35 | 0.02452 | 0.0061452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-18_0_7_load_37 | 37 | 0.010663 | 0.0026725 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-18_0_7_load_63 | 39 | 0.027639 | 0.0069271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-18_0_7_load_32 | 40 | 0.027074 | 0.0067853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-18_0_7_load_42 | 42 | 0.01242 | 0.0031127 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-18_0_7_load_64 | 43 | 0.0057328 | 0.0014368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-18_0_7_load_70 | 45 | 0.0032077 | 0.00080393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-18_0_7_load_57 | 46 | 0.02286 | 0.0057292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-18_0_7_load_36 | 47 | 0.0041448 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-18_0_7_load_52 | 49 | 0.015116 | 0.0037885 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-18_0_7_load_45 | 52 | 0.015241 | 0.0038196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-18_0_7_load_61 | 53 | 0.0096946 | 0.0024297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-18_0_7_load_67 | 54 | 0.0073479 | 0.0018416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-18_0_7_load_68 | 56 | 0.021518 | 0.0053929 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-18_0_7_load_31 | 58 | 0.027899 | 0.0069921 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-18_0_7_load_62 | 59 | 0.007497 | 0.0018789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-18_0_7_load_59 | 60 | 0.0096377 | 0.0024154 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-18_0_7_load_60 | 61 | 0.0074429 | 0.0018654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-18_0_7_line_0 |  | 0 | 1 | 0.023031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-18_0_7_line_1 |  | 1 | 2 | 0.042834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-18_0_7_line_2 |  | 2 | 3 | 0.038468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-18_0_7_line_3 |  | 2 | 4 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-18_0_7_line_4 |  | 3 | 5 | 0.009488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-18_0_7_line_5 |  | 3 | 6 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-18_0_7_line_6 |  | 4 | 15 | 0.0077092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-18_0_7_line_7 |  | 5 | 46 | 0.029852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-18_0_7_line_8 |  | 7 | 8 | 0.050606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1059-18_0_7_line_9 |  | 7 | 9 | 0.036126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-18_0_7_line_10 |  | 7 | 10 | 0.040484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-18_0_7_line_11 |  | 8 | 38 | 0.12175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1059-18_0_7_line_12 |  | 8 | 39 | 0.012519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-18_0_7_line_13 |  | 8 | 28 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-18_0_7_line_14 |  | 9 | 16 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-18_0_7_line_15 |  | 11 | 12 | 0.075484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-18_0_7_line_16 |  | 11 | 13 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-18_0_7_line_17 |  | 12 | 20 | 0.033471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-18_0_7_line_18 |  | 12 | 21 | 0.061426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-18_0_7_line_19 |  | 12 | 22 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-18_0_7_line_20 |  | 13 | 47 | 0.0051473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-18_0_7_line_21 |  | 14 | 15 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-18_0_7_line_22 |  | 14 | 16 | 0.0043049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-18_0_7_line_23 |  | 17 | 18 | 0.025398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-18_0_7_line_24 |  | 17 | 19 | 0.039881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-18_0_7_line_25 |  | 18 | 48 | 0.035851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-18_0_7_line_26 |  | 20 | 49 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-18_0_7_line_27 |  | 21 | 23 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-18_0_7_line_28 |  | 22 | 50 | 0.036377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1059-18_0_7_line_29 |  | 24 | 25 | 0.035742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-18_0_7_line_30 |  | 24 | 26 | 0.020305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-18_0_7_line_31 |  | 24 | 27 | 0.020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-18_0_7_line_32 |  | 27 | 57 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-18_0_7_line_33 |  | 28 | 29 | 0.052231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-18_0_7_line_34 |  | 28 | 30 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-18_0_7_line_35 |  | 29 | 40 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-18_0_7_line_36 |  | 31 | 32 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-18_0_7_line_37 |  | 31 | 33 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-18_0_7_line_38 |  | 32 | 54 | 0.0097106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-18_0_7_line_39 |  | 34 | 35 | 0.052886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1059-18_0_7_line_40 |  | 34 | 36 | 0.03059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1059-18_0_7_line_41 |  | 34 | 37 | 0.036284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-18_0_7_line_42 |  | 35 | 38 | 0.048816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1059-18_0_7_line_43 |  | 36 | 41 | 0.03084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1059-18_0_7_line_44 |  | 36 | 42 | 0.048408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-18_0_7_line_45 |  | 38 | 44 | 0.1242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-18_0_7_line_46 |  | 40 | 58 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-18_0_7_line_47 |  | 41 | 43 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1059-18_0_7_line_48 |  | 43 | 59 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1059-18_0_7_line_49 |  | 44 | 45 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-18_0_7_line_50 |  | 48 | 51 | 0.045397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1059-18_0_7_line_51 |  | 48 | 52 | 0.030501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1059-18_0_7_line_52 |  | 50 | 55 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-18_0_7_line_53 |  | 50 | 57 | 0.034581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1059-18_0_7_line_54 |  | 51 | 53 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1059-18_0_7_line_55 |  | 51 | 54 | 0.020554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-18_0_7_line_56 |  | 52 | 57 | 0.027267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1059-18_0_7_line_57 |  | 53 | 60 | 8.9177e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1059-18_0_7_line_58 |  | 55 | 56 | 0.002726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-18_0_7_line_59 |  | 59 | 61 | 0.009773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1059-18_0_7_line_60 |  | 60 | 61 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-18_0_7_trafo_27 | 0.63 MVA 20/0.4 kV | 62 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2663444.3435 | 1209545.9183 | 2663447.2426 | 1209546.3494 | 2663455.4192 | 1209546.5698 | 2663467.2547 | 1209547.9905
1 | 2663440.5956 | 1209511.6465 | 2663436.9154 | 1209526.0495 | 2663434.1259 | 1209533.9024 | 2663434.5837 | 1209543.0351 | 2663435.6801 | 1209544.2919 | 2663439.2739 | 1209545.1529 | 2663444.3435 | 1209545.9183
2 | 2663440.5956 | 1209511.6465 | 2663441.5555 | 1209507.8766 | 2663455.3635 | 1209511.0698 | 2663464.7687 | 1209514.4274 | 2663466.7313 | 1209511.4242 | 2663467.6122 | 1209510.0772 | 2663472.0054 | 1209507.2555
3 | 2663440.5956 | 1209511.6465 | 2663421.8945 | 1209507.3391
4 | 2663472.0054 | 1209507.2555 | 2663474.3021 | 1209500.0089 | 2663475.3676 | 1209498.4526 | 2663475.3676 | 1209498.4526
5 | 2663472.0054 | 1209507.2555 | 2663502.3512 | 1209507.8453 | 2663505.8794 | 1209507.6486
6 | 2663414.382 | 1209505.6088 | 2663421.8945 | 1209507.3391
7 | 2663475.3676 | 1209498.4526 | 2663497.5749 | 1209478.5029
8 | 2663421.7764 | 1209454.2894 | 2663415.1657 | 1209445.4694 | 2663414.0453 | 1209442.1777 | 2663414.5127 | 1209439.6812 | 2663415.4524 | 1209437.8011 | 2663417.0561 | 1209436.3951 | 2663416.4956 | 1209435.4886 | 2663413.918 | 1209431.2697 | 2663418.386 | 1209430.7057 | 2663423.962 | 1209431.0318 | 2663433.9639 | 1209432.6057 | 2663434.5589 | 1209429.5546
9 | 2663420.2921 | 1209464.491 | 2663409.6514 | 1209450.0692 | 2663410.0502 | 1209449.7399 | 2663412.1516 | 1209447.9833 | 2663414.5598 | 1209445.9744 | 2663415.1657 | 1209445.4694 | 2663421.7764 | 1209454.2894
10 | 2663421.7764 | 1209454.2894 | 2663423.5053 | 1209453.2516 | 2663425.8355 | 1209438.5563 | 2663449.1692 | 1209442.0144
11 | 2663346.7868 | 1209358.5239 | 2663347.4623 | 1209359.3426 | 2663350.5169 | 1209363.0328 | 2663352.6932 | 1209365.6798 | 2663353.3237 | 1209366.4425 | 2663352.4829 | 1209370.4582 | 2663352.7076 | 1209374.3519 | 2663393.4315 | 1209418.4555 | 2663397.7931 | 1209422.1818 | 2663401.3297 | 1209424.1428 | 2663410.6304 | 1209425.8982 | 2663434.5589 | 1209429.5546
12 | 2663434.5589 | 1209429.5546 | 2663435.1297 | 1209426.6256 | 2663439.7305 | 1209418.2742
13 | 2663446.0331 | 1209431.3555 | 2663434.5589 | 1209429.5546
14 | 2663420.2921 | 1209464.491 | 2663419.5836 | 1209468.9306 | 2663419.3066 | 1209470.6732 | 2663419.0129 | 1209472.5601 | 2663419.2862 | 1209476.0881
15 | 2663151.6711 | 1209498.5639 | 2663152.1135 | 1209490.5193 | 2663153.7038 | 1209485.3329 | 2663158.0565 | 1209479.8646 | 2663169.9449 | 1209473.4198 | 2663171.5045 | 1209471.1349 | 2663174.3736 | 1209449.2853 | 2663182.6854 | 1209450.385 | 2663182.7992 | 1209449.6969 | 2663183.3108 | 1209446.6005 | 2663183.7819 | 1209443.7482 | 2663184.0416 | 1209442.1944
16 | 2663151.6711 | 1209498.5639 | 2663131.9439 | 1209489.6798
17 | 2663151.1923 | 1209436.0764 | 2663174.3467 | 1209438.9009 | 2663184.0416 | 1209442.1944
18 | 2663184.0416 | 1209442.1944 | 2663198.7903 | 1209444.1628 | 2663208.7254 | 1209445.5911 | 2663218.6262 | 1209445.2402 | 2663226.8098 | 1209445.527 | 2663233.338 | 1209447.0971 | 2663239.2736 | 1209448.6387 | 2663240.0086 | 1209443.1209
19 | 2663184.0416 | 1209442.1944 | 2663197.0216 | 1209426.0051
20 | 2663131.9439 | 1209489.6798 | 2663127.2505 | 1209487.5661
21 | 2663414.382 | 1209505.6088 | 2663414.5499 | 1209504.8323 | 2663415.1894 | 1209501.8817 | 2663415.8443 | 1209498.9091 | 2663416.0201 | 1209498.0994 | 2663419.135 | 1209480.3772
22 | 2663419.135 | 1209480.3772 | 2663419.3939 | 1209477.4782 | 2663419.2862 | 1209476.0881
23 | 2663174.4141 | 1209338.4962 | 2663157.1211 | 1209337.0123 | 2663152.0808 | 1209336.3363 | 2663149.2414 | 1209335.2834
24 | 2663149.2414 | 1209335.2834 | 2663173.4438 | 1209303.5854
25 | 2663174.4141 | 1209338.4962 | 2663190.0445 | 1209339.7735 | 2663209.7268 | 1209344.6181
26 | 2663151.1923 | 1209436.0764 | 2663160.5814 | 1209424.2959
27 | 2663228.8997 | 1209434.8204 | 2663240.0086 | 1209443.1209
28 | 2663219.7769 | 1209397.6234 | 2663197.0216 | 1209426.0051
29 | 2663149.3125 | 1209388.8945 | 2663126.9546 | 1209416.7807
30 | 2663149.3125 | 1209388.8945 | 2663161.5909 | 1209372.7226
31 | 2663149.3125 | 1209388.8945 | 2663170.0401 | 1209391.3566
32 | 2663185.3817 | 1209393.1788 | 2663170.0401 | 1209391.3566
33 | 2663446.0331 | 1209431.3555 | 2663454.4794 | 1209432.6794 | 2663471.5251 | 1209435.2288 | 2663478.9782 | 1209421.2996 | 2663488.2882 | 1209426.4684
34 | 2663446.0331 | 1209431.3555 | 2663455.3363 | 1209412.8653 | 2663455.5415 | 1209412.4813
35 | 2663488.2882 | 1209426.4684 | 2663495.916 | 1209411.7096
36 | 2663290.1682 | 1209373.8104 | 2663271.1051 | 1209362.2747
37 | 2663290.1682 | 1209373.8104 | 2663295.967 | 1209363.6208
38 | 2663271.1051 | 1209362.2747 | 2663262.7972 | 1209357.2474
39 | 2663282.705 | 1209284.0879 | 2663286.4511 | 1209289.9645 | 2663287.1914 | 1209291.1175 | 2663288.9967 | 1209294.3497 | 2663309.7495 | 1209325.8333 | 2663311.6547 | 1209328.3242
40 | 2663263.0988 | 1209269.1932 | 2663266.4713 | 1209267.2834 | 2663274.314 | 1209278.9625 | 2663276.802 | 1209277.31 | 2663277.3685 | 1209276.938 | 2663279.2805 | 1209278.7149 | 2663279.774 | 1209279.4873 | 2663282.705 | 1209284.0879
41 | 2663282.705 | 1209284.0879 | 2663311.7279 | 1209267.6189 | 2663314.2729 | 1209266.1986
42 | 2663346.7868 | 1209358.5239 | 2663344.7655 | 1209359.1806 | 2663341.4371 | 1209359.0785 | 2663338.4672 | 1209358.1465 | 2663335.6451 | 1209356.182 | 2663321.1007 | 1209340.6738 | 2663311.6547 | 1209328.3242
43 | 2663263.0988 | 1209269.1932 | 2663270.7925 | 1209281.2932 | 2663275.802 | 1209289.1733 | 2663275.821 | 1209290.252 | 2663274.189 | 1209293.6145 | 2663274.2553 | 1209295.9611
44 | 2663263.0988 | 1209269.1932 | 2663245.3409 | 1209279.2779 | 2663243.6332 | 1209282.6062 | 2663241.7022 | 1209289.0786 | 2663232.5505 | 1209303.9845
45 | 2663346.7868 | 1209358.5239 | 2663348.4574 | 1209357.9746 | 2663351.2477 | 1209356.4922 | 2663429.7051 | 1209313.3991 | 2663429.4589 | 1209310.0945 | 2663427.8896 | 1209288.9649 | 2663427.5121 | 1209283.7133
46 | 2663501.7705 | 1209406.3413 | 2663499.3403 | 1209405.084 | 2663495.916 | 1209411.7096
47 | 2663274.2553 | 1209295.9611 | 2663271.4243 | 1209297.6988 | 2663267.0331 | 1209304.9618
48 | 2663260.5555 | 1209315.6756 | 2663267.0331 | 1209304.9618
49 | 2663427.5121 | 1209283.7133 | 2663384.1134 | 1209285.9648
50 | 2663209.7268 | 1209344.6181 | 2663223.8185 | 1209349.7816 | 2663237.3249 | 1209358.53 | 2663237.6263 | 1209358.0662 | 2663242.5859 | 1209350.5698 | 2663245.2125 | 1209346.6063
51 | 2663209.7268 | 1209344.6181 | 2663212.0454 | 1209358.2399 | 2663201.924 | 1209371.5024
52 | 2663229.9479 | 1209383.9673 | 2663219.7769 | 1209397.6234
53 | 2663185.3817 | 1209393.1788 | 2663219.7769 | 1209397.6234
54 | 2663245.2125 | 1209346.6063 | 2663244.4912 | 1209344.3751 | 2663246.2241 | 1209339.3793 | 2663249.0102 | 1209334.7711
55 | 2663245.2125 | 1209346.6063 | 2663262.7972 | 1209357.2474
56 | 2663185.3817 | 1209393.1788 | 2663201.924 | 1209371.5024
57 | 2663249.0563 | 1209334.6948 | 2663249.0102 | 1209334.7711
58 | 2663227.7608 | 1209382.332 | 2663229.9479 | 1209383.9673
59 | 2663255.499 | 1209324.0388 | 2663260.5555 | 1209315.6756
60 | 2663249.0563 | 1209334.6948 | 2663255.499 | 1209324.0388

## bus_geodata
| x | y | coords
0 | 2663467.2547 | 1209547.9905
1 | 2663444.3435 | 1209545.9183
2 | 2663440.5956 | 1209511.6465
3 | 2663472.0054 | 1209507.2555
4 | 2663421.8945 | 1209507.3391
5 | 2663475.3676 | 1209498.4526
6 | 2663505.8794 | 1209507.6486
7 | 2663421.7764 | 1209454.2894
8 | 2663434.5589 | 1209429.5546
9 | 2663420.2921 | 1209464.491
10 | 2663449.1692 | 1209442.0144
11 | 2663151.6711 | 1209498.5639
12 | 2663184.0416 | 1209442.1944
13 | 2663131.9439 | 1209489.6798
14 | 2663419.135 | 1209480.3772
15 | 2663414.382 | 1209505.6088
16 | 2663419.2862 | 1209476.0881
17 | 2663149.2414 | 1209335.2834
18 | 2663174.4141 | 1209338.4962
19 | 2663173.4438 | 1209303.5854
20 | 2663151.1923 | 1209436.0764
21 | 2663240.0086 | 1209443.1209
22 | 2663197.0216 | 1209426.0051
23 | 2663228.8997 | 1209434.8204
24 | 2663149.3125 | 1209388.8945
25 | 2663126.9546 | 1209416.7807
26 | 2663161.5909 | 1209372.7226
27 | 2663170.0401 | 1209391.3566
28 | 2663446.0331 | 1209431.3555
29 | 2663488.2882 | 1209426.4684
30 | 2663455.5415 | 1209412.4813
31 | 2663290.1682 | 1209373.8104
32 | 2663271.1051 | 1209362.2747
33 | 2663295.967 | 1209363.6208
34 | 2663282.705 | 1209284.0879
35 | 2663311.6547 | 1209328.3242
36 | 2663263.0988 | 1209269.1932
37 | 2663314.2729 | 1209266.1986
38 | 2663346.7868 | 1209358.5239
39 | 2663439.7305 | 1209418.2742
40 | 2663495.916 | 1209411.7096
41 | 2663274.2553 | 1209295.9611
42 | 2663232.5505 | 1209303.9845
43 | 2663267.0331 | 1209304.9618
44 | 2663427.5121 | 1209283.7133
45 | 2663384.1134 | 1209285.9648
46 | 2663497.5749 | 1209478.5029
47 | 2663127.2505 | 1209487.5661
48 | 2663209.7268 | 1209344.6181
49 | 2663160.5814 | 1209424.2959
50 | 2663219.7769 | 1209397.6234
51 | 2663245.2125 | 1209346.6063
52 | 2663201.924 | 1209371.5024
53 | 2663249.0102 | 1209334.7711
54 | 2663262.7972 | 1209357.2474
55 | 2663229.9479 | 1209383.9673
56 | 2663227.7608 | 1209382.332
57 | 2663185.3817 | 1209393.1788
58 | 2663501.7705 | 1209406.3413
59 | 2663260.5555 | 1209315.6756
60 | 2663249.0563 | 1209334.6948
61 | 2663255.499 | 1209324.0388
62 | 2663350.5169 | 1209363.0328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9729 | -0.52238 | 0.028891 | 0.0072408
1 | 0.97352 | -0.51013 | 0 | 0
2 | 0.97468 | -0.4874 | 0 | 0
3 | 0.9725 | -0.53022 | 0 | 0
4 | 0.97628 | -0.45596 | 0.0071745 | 0.0017981
5 | 0.97215 | -0.53732 | 0.01775 | 0.0044485
6 | 0.97187 | -0.54267 | 0.019926 | 0.0049938
7 | 0.98519 | -0.28264 | 0 | 0
8 | 0.9893 | -0.20354 | 0 | 0
9 | 0.98103 | -0.36331 | 0 | 0
10 | 0.98329 | -0.31977 | 0.050975 | 0.012776
11 | 0.97201 | -0.53989 | 0 | 0
12 | 0.97367 | -0.50721 | 0 | 0
13 | 0.97154 | -0.54928 | 0.019359 | 0.0048519
14 | 0.97929 | -0.39716 | 0 | 0
15 | 0.97697 | -0.44235 | 0 | 0
16 | 0.97967 | -0.3896 | 0.027219 | 0.0068218
17 | 0.97908 | -0.40114 | 0 | 0
18 | 0.97947 | -0.39343 | 0 | 0
19 | 0.97846 | -0.41325 | 0.016698 | 0.0041848
20 | 0.9732 | -0.51652 | 0 | 0
21 | 0.97241 | -0.53205 | 0 | 0
22 | 0.97484 | -0.48413 | 0.019578 | 0.0049068
23 | 0.97213 | -0.53765 | 0.021962 | 0.0055042
24 | 0.97592 | -0.46308 | 0 | 0
25 | 0.97527 | -0.4759 | 0.019578 | 0.0049068
26 | 0.97554 | -0.47042 | 0.019735 | 0.0049461
27 | 0.97668 | -0.44807 | 0.0034649 | 0.00086839
28 | 0.98843 | -0.22051 | 0 | 0
29 | 0.98578 | -0.27188 | 0 | 0
30 | 0.9879 | -0.23079 | 0.027239 | 0.0068268
31 | 0.98171 | -0.34988 | 0 | 0
32 | 0.9819 | -0.3461 | 0.0073167 | 0.0018337
33 | 0.98161 | -0.35187 | 0.0093874 | 0.0023527
34 | 0.99134 | -0.16412 | 0 | 0
35 | 0.99565 | -0.082068 | 0.02452 | 0.0061452
36 | 0.98895 | -0.20997 | 0 | 0
37 | 0.99099 | -0.17098 | 0.010663 | 0.0026725
38 | 1 | 0 | -0.58822 | -0.15112
39 | 0.98899 | -0.2097 | 0.027639 | 0.0069271
40 | 0.98494 | -0.28827 | 0.027074 | 0.0067853
41 | 0.98665 | -0.25413 | 0 | 0
42 | 0.98839 | -0.22069 | 0.01242 | 0.0031127
43 | 0.98577 | -0.27109 | 0.0057328 | 0.0014368
44 | 0.99964 | -0.0069539 | 0 | 0
45 | 0.99951 | -0.0093791 | 0.0032077 | 0.00080393
46 | 0.97151 | -0.54992 | 0.02286 | 0.0057292
47 | 0.97152 | -0.54967 | 0.0041448 | 0.0010388
48 | 0.98003 | -0.38256 | 0 | 0
49 | 0.97299 | -0.52071 | 0.015116 | 0.0037885
50 | 0.9762 | -0.45742 | 0 | 0
51 | 0.98251 | -0.33423 | 0 | 0
52 | 0.97852 | -0.41207 | 0.015241 | 0.0038196
53 | 0.98332 | -0.31854 | 0.0096946 | 0.0024297
54 | 0.98205 | -0.34316 | 0.0073479 | 0.0018416
55 | 0.97586 | -0.46412 | 0 | 0
56 | 0.97581 | -0.46519 | 0.021518 | 0.0053929
57 | 0.97729 | -0.436 | 0 | 0
58 | 0.98468 | -0.29338 | 0.027899 | 0.0069921
59 | 0.98486 | -0.28868 | 0.007497 | 0.0018789
60 | 0.98333 | -0.31843 | 0.0096377 | 0.0024154
61 | 0.98417 | -0.30199 | 0.0074429 | 0.0018654
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.028891 | -0.0072408 | 0.028908 | 0.0072513 | 1.6863e-05 | 1.0506e-05 | 0.044187 | 0.044187 | 0.044187 | 0.9729 | -0.52238 | 0.97352 | -0.51013 | 12.1394
1 | -0.028908 | -0.0072513 | 0.028939 | 0.0072708 | 3.1363e-05 | 1.9539e-05 | 0.044187 | 0.044187 | 0.044187 | 0.97352 | -0.51013 | 0.97468 | -0.4874 | 12.1394
2 | 0.060698 | 0.015275 | -0.060574 | -0.015196 | 0.00012393 | 7.8838e-05 | 0.092689 | 0.092689 | 0.092689 | 0.97468 | -0.4874 | 0.9725 | -0.53022 | 25.464
3 | -0.089637 | -0.022545 | 0.089772 | 0.022631 | 0.00013483 | 8.605e-05 | 0.13688 | 0.13688 | 0.13688 | 0.97468 | -0.4874 | 0.97628 | -0.45596 | 37.6033
4 | 0.040637 | 0.010195 | -0.040623 | -0.010186 | 1.3757e-05 | 8.6869e-06 | 0.062182 | 0.062182 | 0.062182 | 0.9725 | -0.53022 | 0.97215 | -0.53732 | 17.0828
5 | 0.019937 | 0.005001 | -0.019926 | -0.0049938 | 1.1826e-05 | 7.1488e-06 | 0.030507 | 0.030508 | 0.030508 | 0.9725 | -0.53022 | 0.97187 | -0.54267 | 8.3812
6 | -0.096947 | -0.02443 | 0.09701 | 0.02447 | 6.3162e-05 | 4.0327e-05 | 0.14781 | 0.14781 | 0.14781 | 0.97628 | -0.45596 | 0.97697 | -0.44235 | 40.6074
7 | 0.022873 | 0.0057376 | -0.02286 | -0.0057292 | 1.3724e-05 | 8.4132e-06 | 0.035013 | 0.035013 | 0.035013 | 0.97215 | -0.53732 | 0.97151 | -0.54992 | 9.619
8 | -0.17618 | -0.044691 | 0.17685 | 0.045121 | 0.00067286 | 0.00042934 | 0.26629 | 0.26629 | 0.26629 | 0.98519 | -0.28264 | 0.9893 | -0.20354 | 36.5788
9 | 0.12512 | 0.031859 | -0.12463 | -0.031549 | 0.0004847 | 0.00030975 | 0.18915 | 0.18915 | 0.18915 | 0.98519 | -0.28264 | 0.98103 | -0.36331 | 51.9653
10 | 0.051065 | 0.012833 | -0.050975 | -0.012776 | 9.0339e-05 | 5.7303e-05 | 0.07714 | 0.07714 | 0.07714 | 0.98519 | -0.28264 | 0.98329 | -0.31977 | 21.1924
11 | -0.28698 | -0.072825 | 0.28982 | 0.074638 | 0.0028398 | 0.0018127 | 0.43197 | 0.43197 | 0.43197 | 0.9893 | -0.20354 | 1 | 0 | 39.5576
12 | 0.027648 | 0.0069321 | -0.027639 | -0.0069271 | 8.1189e-06 | 5.0354e-06 | 0.041586 | 0.041586 | 0.041586 | 0.9893 | -0.20354 | 0.98899 | -0.2097 | 11.4247
13 | 0.082477 | 0.020772 | -0.08241 | -0.02073 | 6.6879e-05 | 4.2654e-05 | 0.12409 | 0.12409 | 0.12409 | 0.9893 | -0.20354 | 0.98843 | -0.22051 | 34.0908
14 | 0.12463 | 0.031549 | -0.12447 | -0.031448 | 0.00015709 | 0.00010039 | 0.18915 | 0.18915 | 0.18915 | 0.98103 | -0.36331 | 0.97967 | -0.3896 | 51.9653
15 | -0.023515 | -0.0058971 | 0.023551 | 0.0059197 | 3.6683e-05 | 2.254e-05 | 0.035999 | 0.035999 | 0.035999 | 0.97201 | -0.53989 | 0.97367 | -0.50721 | 9.8898
16 | 0.023515 | 0.0058971 | -0.023504 | -0.0058907 | 1.0514e-05 | 6.4611e-06 | 0.035999 | 0.035999 | 0.035999 | 0.97201 | -0.53989 | 0.97154 | -0.54928 | 9.8899
17 | 0.015126 | 0.0037941 | -0.015119 | -0.0037903 | 6.7079e-06 | 3.877e-06 | 0.023118 | 0.023118 | 0.023118 | 0.97367 | -0.50721 | 0.9732 | -0.51652 | 6.351
18 | 0.021994 | 0.0055237 | -0.021968 | -0.0055078 | 2.6031e-05 | 1.5897e-05 | 0.033616 | 0.033617 | 0.033617 | 0.97367 | -0.50721 | 0.97241 | -0.53205 | 9.2354
19 | -0.060671 | -0.015237 | 0.060738 | 0.01528 | 6.6915e-05 | 4.2567e-05 | 0.092733 | 0.092733 | 0.092733 | 0.97367 | -0.50721 | 0.97484 | -0.48413 | 25.476
20 | 0.0041449 | 0.0010388 | -0.0041448 | -0.0010388 | 7.7793e-08 | -1.3951e-08 | 0.0063484 | 0.0063484 | 0.0063484 | 0.97154 | -0.54928 | 0.97152 | -0.54967 | 1.7441
21 | 0.09722 | 0.024604 | -0.09701 | -0.02447 | 0.0002104 | 0.00013433 | 0.14781 | 0.14781 | 0.14781 | 0.97929 | -0.39716 | 0.97697 | -0.44235 | 40.6074
22 | -0.09722 | -0.024604 | 0.097255 | 0.024627 | 3.527e-05 | 2.2519e-05 | 0.14781 | 0.14781 | 0.14781 | 0.97929 | -0.39716 | 0.97967 | -0.3896 | 40.6074
23 | -0.016707 | -0.0041905 | 0.016713 | 0.0041941 | 6.1413e-06 | 3.6109e-06 | 0.025393 | 0.025393 | 0.025393 | 0.97908 | -0.40114 | 0.97947 | -0.39343 | 6.9761
24 | 0.016707 | 0.0041905 | -0.016698 | -0.0041848 | 9.6436e-06 | 5.6707e-06 | 0.025393 | 0.025393 | 0.025393 | 0.97908 | -0.40114 | 0.97846 | -0.41325 | 6.9762
25 | -0.016713 | -0.0041941 | 0.016722 | 0.0041992 | 8.6688e-06 | 5.0966e-06 | 0.025393 | 0.025393 | 0.025393 | 0.97947 | -0.39343 | 0.98003 | -0.38256 | 6.9761
26 | 0.015119 | 0.0037903 | -0.015116 | -0.0037885 | 3.0191e-06 | 1.7451e-06 | 0.023118 | 0.023118 | 0.023118 | 0.9732 | -0.51652 | 0.97299 | -0.52071 | 6.3511
27 | 0.021968 | 0.0055078 | -0.021962 | -0.0055042 | 5.866e-06 | 3.5826e-06 | 0.033617 | 0.033617 | 0.033617 | 0.97241 | -0.53205 | 0.97213 | -0.53765 | 9.2354
28 | -0.080317 | -0.020187 | 0.080419 | 0.020252 | 0.00010255 | 6.4724e-05 | 0.12262 | 0.12262 | 0.12262 | 0.97484 | -0.48413 | 0.9762 | -0.45742 | 16.8431
29 | 0.01959 | 0.004914 | -0.019578 | -0.0049068 | 1.196e-05 | 7.2082e-06 | 0.029872 | 0.029872 | 0.029872 | 0.97592 | -0.46308 | 0.97527 | -0.4759 | 8.2066
30 | 0.019742 | 0.0049503 | -0.019735 | -0.0049461 | 6.8998e-06 | 4.1623e-06 | 0.030102 | 0.030102 | 0.030102 | 0.97592 | -0.46308 | 0.97554 | -0.47042 | 8.2699
31 | -0.039332 | -0.0098643 | 0.039361 | 0.009882 | 2.8155e-05 | 1.7758e-05 | 0.059974 | 0.059974 | 0.059974 | 0.97592 | -0.46308 | 0.97668 | -0.44807 | 16.4764
32 | -0.042826 | -0.01075 | 0.04285 | 0.010766 | 2.4669e-05 | 1.5594e-05 | 0.065253 | 0.065253 | 0.065253 | 0.97668 | -0.44807 | 0.97729 | -0.436 | 17.9266
33 | 0.055157 | 0.013895 | -0.055022 | -0.013809 | 0.00013513 | 8.5817e-05 | 0.083061 | 0.083062 | 0.083062 | 0.98843 | -0.22051 | 0.98578 | -0.27188 | 22.8191
34 | 0.027253 | 0.0068351 | -0.027239 | -0.0068268 | 1.3341e-05 | 8.2678e-06 | 0.041029 | 0.041029 | 0.041029 | 0.98843 | -0.22051 | 0.9879 | -0.23079 | 11.2718
35 | 0.055022 | 0.013809 | -0.054979 | -0.013782 | 4.2982e-05 | 2.7297e-05 | 0.083062 | 0.083062 | 0.083062 | 0.98578 | -0.27188 | 0.98494 | -0.28827 | 22.8191
36 | -0.0093883 | -0.0023531 | 0.00939 | 0.0023539 | 1.692e-06 | 8.0111e-07 | 0.01423 | 0.01423 | 0.01423 | 0.98171 | -0.34988 | 0.9819 | -0.3461 | 3.9094
37 | 0.0093883 | 0.0023531 | -0.0093874 | -0.0023527 | 8.9031e-07 | 4.2157e-07 | 0.01423 | 0.01423 | 0.01423 | 0.98171 | -0.34988 | 0.98161 | -0.35187 | 3.9094
38 | -0.016707 | -0.0041877 | 0.016709 | 0.004189 | 2.3342e-06 | 1.3711e-06 | 0.025318 | 0.025318 | 0.025318 | 0.9819 | -0.3461 | 0.98205 | -0.34316 | 6.9555
39 | -0.26679 | -0.068111 | 0.26785 | 0.068789 | 0.0010625 | 0.00067792 | 0.4009 | 0.4009 | 0.4009 | 0.99134 | -0.16412 | 0.99565 | -0.082068 | 36.7121
40 | 0.25612 | 0.065437 | -0.25555 | -0.065075 | 0.00056644 | 0.00036134 | 0.38489 | 0.38489 | 0.38489 | 0.99134 | -0.16412 | 0.98895 | -0.20997 | 35.246
41 | 0.010667 | 0.0026742 | -0.010663 | -0.0026725 | 3.4883e-06 | 1.7649e-06 | 0.016011 | 0.016012 | 0.016012 | 0.99134 | -0.16412 | 0.99099 | -0.17098 | 4.3988
42 | -0.29237 | -0.074934 | 0.29354 | 0.07568 | 0.0011682 | 0.00074571 | 0.43754 | 0.43754 | 0.43754 | 0.99565 | -0.082068 | 1 | 0 | 40.0678
43 | 0.24313 | 0.061959 | -0.24261 | -0.061629 | 0.00051694 | 0.00032966 | 0.36619 | 0.36619 | 0.36619 | 0.98895 | -0.20997 | 0.98665 | -0.25413 | 33.5338
44 | 0.012426 | 0.0031161 | -0.01242 | -0.0031127 | 6.3464e-06 | 3.4409e-06 | 0.018698 | 0.018698 | 0.018698 | 0.98895 | -0.20997 | 0.98839 | -0.22069 | 5.1368
45 | 0.0032092 | 0.00080265 | -0.0032081 | -0.0008036 | 1.0619e-06 | -9.4917e-07 | 0.0047747 | 0.0047753 | 0.0047753 | 1 | 0 | 0.99964 | -0.0069539 | 1.3119
46 | 0.027905 | 0.0069963 | -0.027899 | -0.0069921 | 6.7949e-06 | 4.219e-06 | 0.04216 | 0.04216 | 0.04216 | 0.98494 | -0.28827 | 0.98468 | -0.29338 | 11.5823
47 | 0.24261 | 0.061629 | -0.24241 | -0.061503 | 0.00019794 | 0.00012623 | 0.36619 | 0.36619 | 0.36619 | 0.98665 | -0.25413 | 0.98577 | -0.27109 | 33.5338
48 | 0.23668 | 0.060066 | -0.23648 | -0.059939 | 0.00020005 | 0.00012756 | 0.35754 | 0.35754 | 0.35754 | 0.98577 | -0.27109 | 0.98486 | -0.28868 | 32.7414
49 | 0.0032081 | 0.0008036 | -0.0032077 | -0.00080393 | 3.7055e-07 | -3.3084e-07 | 0.0047753 | 0.0047755 | 0.0047755 | 0.99964 | -0.0069539 | 0.99951 | -0.0093791 | 1.3119
50 | -0.17725 | -0.044749 | 0.17767 | 0.04501 | 0.00041138 | 0.00026156 | 0.26925 | 0.26925 | 0.26925 | 0.98003 | -0.38256 | 0.98251 | -0.33423 | 24.6566
51 | 0.16053 | 0.04055 | -0.16031 | -0.040406 | 0.00022672 | 0.00014395 | 0.24386 | 0.24386 | 0.24386 | 0.98003 | -0.38256 | 0.97852 | -0.41207 | 22.3313
52 | 0.021526 | 0.0053977 | -0.021519 | -0.0053936 | 6.869e-06 | 4.1836e-06 | 0.032813 | 0.032813 | 0.032813 | 0.9762 | -0.45742 | 0.97586 | -0.46412 | 9.0145
53 | -0.10194 | -0.025649 | 0.10205 | 0.025715 | 0.00010443 | 6.5535e-05 | 0.15543 | 0.15543 | 0.15543 | 0.9762 | -0.45742 | 0.97729 | -0.436 | 14.2335
54 | -0.20173 | -0.051047 | 0.20189 | 0.051144 | 0.00015207 | 9.6828e-05 | 0.3057 | 0.3057 | 0.3057 | 0.98251 | -0.33423 | 0.98332 | -0.31854 | 27.9946
55 | 0.024067 | 0.0060369 | -0.024057 | -0.0060306 | 1.0241e-05 | 6.2943e-06 | 0.036452 | 0.036452 | 0.036452 | 0.98251 | -0.33423 | 0.98205 | -0.34316 | 10.0142
56 | 0.14507 | 0.036586 | -0.1449 | -0.036481 | 0.00016599 | 0.00010521 | 0.22068 | 0.22068 | 0.22068 | 0.97852 | -0.41207 | 0.97729 | -0.436 | 20.209
57 | -0.21158 | -0.053574 | 0.21158 | 0.053575 | 1.1441e-06 | 7.2884e-07 | 0.32037 | 0.32037 | 0.32037 | 0.98332 | -0.31854 | 0.98333 | -0.31843 | 29.338
58 | 0.021519 | 0.0053936 | -0.021518 | -0.0053929 | 1.1006e-06 | 6.7035e-07 | 0.032813 | 0.032813 | 0.032813 | 0.97586 | -0.46412 | 0.97581 | -0.46519 | 9.0145
59 | 0.22898 | 0.05806 | -0.22884 | -0.057967 | 0.00014642 | 9.3338e-05 | 0.34621 | 0.34621 | 0.34621 | 0.98486 | -0.28868 | 0.98417 | -0.30199 | 31.7041
60 | -0.22122 | -0.05599 | 0.22139 | 0.056101 | 0.00017464 | 0.00011129 | 0.33496 | 0.33496 | 0.33496 | 0.98333 | -0.31843 | 0.98417 | -0.30199 | 30.6736

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58822 | 0.15112

## res_load
| p_mw | q_mvar
0 | 0.028891 | 0.0072408
1 | 0.0071745 | 0.0017981
2 | 0.01775 | 0.0044485
3 | 0.019926 | 0.0049938
4 | 0.050975 | 0.012776
5 | 0.019359 | 0.0048519
6 | 0.027219 | 0.0068218
7 | 0.016698 | 0.0041848
8 | 0.019578 | 0.0049068
9 | 0.021962 | 0.0055042
10 | 0.019578 | 0.0049068
11 | 0.019735 | 0.0049461
12 | 0.0034649 | 0.00086839
13 | 0.027239 | 0.0068268
14 | 0.0073167 | 0.0018337
15 | 0.0093874 | 0.0023527
16 | 0.02452 | 0.0061452
17 | 0.010663 | 0.0026725
18 | 0.027639 | 0.0069271
19 | 0.027074 | 0.0067853
20 | 0.01242 | 0.0031127
21 | 0.0057328 | 0.0014368
22 | 0.0032077 | 0.00080393
23 | 0.02286 | 0.0057292
24 | 0.0041448 | 0.0010388
25 | 0.015116 | 0.0037885
26 | 0.015241 | 0.0038196
27 | 0.0096946 | 0.0024297
28 | 0.0073479 | 0.0018416
29 | 0.021518 | 0.0053929
30 | 0.027899 | 0.0069921
31 | 0.007497 | 0.0018789
32 | 0.0096377 | 0.0024154
33 | 0.0074429 | 0.0018654

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1