## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-19_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1059-19_0_6_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1059-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-19_0_6_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1059-19_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1059-19_0_6_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1059-19_0_6_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_1059-19_0_6_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_1059-19_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1059-19_0_6_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1059-19_0_6_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1059-19_0_6_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_1059-19_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1059-19_0_6_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_1059-19_0_6_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_1059-19_0_6_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1059-19_0_6_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_1059-19_0_6_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1059-19_0_6_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1059-19_0_6_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1059-19_0_6_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1059-19_0_6_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_1059-19_0_6_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_1059-19_0_6_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1059-19_0_6_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_1059-19_0_6_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1059-19_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1059-19_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1059-19_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1059-19_0_6_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1059-19_0_6_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1059-19_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1059-19_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1059-19_0_6_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1059-19_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1059-19_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1059-19_0_6_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_1059-19_0_6_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1059-19_0_6_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_1059-19_0_6_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1059-19_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1059-19_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1059-19_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1059-19_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1059-19_0_6_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_1059-19_0_6_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_1059-19_0_6_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_1059-19_0_6_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_1059-19_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_1059-19_0_6_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_1059-19_0_6_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_1059-19_0_6_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_1059-19_0_6_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_1059-19_0_6_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_1059-19_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_1059-19_0_6_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_1059-19_0_6_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_1059-19_0_6_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_1059-19_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_1059-19_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_1059-19_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1059-19_0_6_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1059-19_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_1059-19_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_1059-19_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_1059-19_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_1059-19_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_1059-19_0_6_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_1059-19_0_6_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_1059-19_0_6_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_1059-19_0_6_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_1059-19_0_6_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_1059-19_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_1059-19_0_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_1059-19_0_6_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_1059-19_0_6_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_1059-19_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_1059-19_0_6_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_1059-19_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_1059-19_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_1059-19_0_6_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_1059-19_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_1059-19_0_6_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_1059-19_0_6_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_1059-19_0_6_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_1059-19_0_6_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_1059-19_0_6_node_96 | 0.4 | n |  | TRUE
89 | bus_MV_24_1_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-19_0_6_load_0 | 0 | 0.0014745 | 0.00036955 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-19_0_6_load_43 | 5 | 0.001371 | 0.0003436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-19_0_6_load_44 | 7 | 0.0044675 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-19_0_6_load_75 | 9 | 0.0098042 | 0.0024572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-19_0_6_load_51 | 11 | 0.012049 | 0.0030198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-19_0_6_load_48 | 12 | 0.012145 | 0.0030438 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-19_0_6_load_88 | 13 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-19_0_6_load_85 | 15 | 0.0030618 | 0.00076736 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-19_0_6_load_42 | 16 | 0.0012452 | 0.00031208 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-19_0_6_load_63 | 18 | 0.016901 | 0.0042357 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-19_0_6_load_61 | 22 | 0.0090538 | 0.0022691 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-19_0_6_load_76 | 23 | 0.0097234 | 0.0024369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-19_0_6_load_49 | 24 | 0.013263 | 0.0033241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-19_0_6_load_45 | 25 | 0.0064404 | 0.0016141 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-19_0_6_load_86 | 26 | 0.0025552 | 0.0006404 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-19_0_6_load_11 | 27 | 0.0039417 | 0.00098788 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-19_0_6_load_13 | 29 | 0.0077095 | 0.0019322 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-19_0_6_load_39 | 35 | 0.010219 | 0.0025611 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-19_0_6_load_67 | 38 | 0.0075229 | 0.0018854 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-19_0_6_load_46 | 39 | 0.022873 | 0.0057326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-19_0_6_load_40 | 42 | 0.0097631 | 0.0024469 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-19_0_6_load_41 | 43 | 0.017503 | 0.0043866 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-19_0_6_load_73 | 46 | 0.0074435 | 0.0018655 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-19_0_6_load_72 | 48 | 0.01412 | 0.0035389 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-19_0_6_load_79 | 49 | 0.0076767 | 0.001924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-19_0_6_load_84 | 51 | 0.0034879 | 0.00087415 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-19_0_6_load_82 | 52 | 0.0034326 | 0.0008603 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-19_0_6_load_69 | 53 | 0.0039271 | 0.00098423 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-19_0_6_load_78 | 56 | 0.0076734 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-19_0_6_load_98 | 58 | 0.028131 | 0.0070502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-19_0_6_load_56 | 59 | 0.0075764 | 0.0018988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-19_0_6_load_37 | 60 | 0.0041135 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-19_0_6_load_54 | 61 | 0.0064274 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-19_0_6_load_52 | 62 | 0.012337 | 0.0030919 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-19_0_6_load_68 | 63 | 0.009496 | 0.0023799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-19_0_6_load_47 | 64 | 0.0019915 | 0.00049911 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-19_0_6_load_57 | 65 | 0.031163 | 0.0078102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-19_0_6_load_58 | 66 | 0.050131 | 0.012564 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-19_0_6_load_74 | 67 | 0.04251 | 0.010654 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-19_0_6_load_71 | 68 | 0.011569 | 0.0028994 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-19_0_6_load_83 | 69 | 0.004987 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-19_0_6_load_93 | 70 | 0.0044866 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-19_0_6_load_89 | 71 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-19_0_6_load_91 | 73 | 0.0065547 | 0.0016428 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-19_0_6_load_55 | 75 | 0.0096936 | 0.0024294 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-19_0_6_load_53 | 76 | 0.012344 | 0.0030937 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-19_0_6_load_70 | 78 | 0.013167 | 0.0032999 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-19_0_6_load_97 | 79 | 0.01185 | 0.00297 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-19_0_6_load_60 | 80 | 0.0090529 | 0.0022689 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-19_0_6_load_65 | 81 | 0.01255 | 0.0031454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-19_0_6_load_77 | 83 | 0.0076416 | 0.0019152 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-19_0_6_load_92 | 84 | 0.0036981 | 0.00092682 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-19_0_6_load_95 | 87 | 0.0040864 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-19_0_6_load_96 | 88 | 0.0050111 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-19_0_6_line_0 |  | 0 | 1 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-19_0_6_line_1 |  | 1 | 2 | 0.024556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-19_0_6_line_2 |  | 1 | 3 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-19_0_6_line_3 |  | 2 | 4 | 0.029819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-19_0_6_line_4 |  | 2 | 5 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-19_0_6_line_5 |  | 3 | 13 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-19_0_6_line_6 |  | 4 | 6 | 0.054211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-19_0_6_line_7 |  | 4 | 7 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-19_0_6_line_8 |  | 5 | 16 | 0.024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-19_0_6_line_9 |  | 6 | 8 | 0.036534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-19_0_6_line_10 |  | 6 | 9 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-19_0_6_line_11 |  | 7 | 20 | 0.034946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-19_0_6_line_12 |  | 8 | 21 | 0.033523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-19_0_6_line_13 |  | 8 | 22 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-19_0_6_line_14 |  | 9 | 23 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-19_0_6_line_15 |  | 10 | 11 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-19_0_6_line_16 |  | 10 | 12 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-19_0_6_line_17 |  | 11 | 19 | 0.065237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-19_0_6_line_18 |  | 12 | 24 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-19_0_6_line_19 |  | 13 | 14 | 0.019723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-19_0_6_line_20 |  | 14 | 15 | 0.0069995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-19_0_6_line_21 |  | 15 | 26 | 0.019266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-19_0_6_line_22 |  | 17 | 18 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-19_0_6_line_23 |  | 17 | 19 | 0.059834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-19_0_6_line_24 |  | 18 | 74 | 0.017377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-19_0_6_line_25 |  | 19 | 57 | 0.046711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-19_0_6_line_26 |  | 20 | 25 | 0.015392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-19_0_6_line_27 |  | 21 | 59 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-19_0_6_line_28 |  | 21 | 37 | 0.047744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-19_0_6_line_29 |  | 22 | 80 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-19_0_6_line_30 |  | 24 | 77 | 0.0083987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-19_0_6_line_31 |  | 26 | 85 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-19_0_6_line_32 |  | 27 | 28 | 0.011688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-19_0_6_line_33 |  | 27 | 29 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-19_0_6_line_34 |  | 28 | 30 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-19_0_6_line_35 |  | 29 | 31 | 0.001402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-19_0_6_line_36 |  | 29 | 32 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-19_0_6_line_37 |  | 30 | 53 | 0.0062612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-19_0_6_line_38 |  | 30 | 47 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-19_0_6_line_39 |  | 31 | 61 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-19_0_6_line_40 |  | 31 | 62 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-19_0_6_line_41 |  | 32 | 60 | 0.0021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-19_0_6_line_42 |  | 32 | 40 | 0.032374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-19_0_6_line_43 |  | 33 | 34 | 0.014658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-19_0_6_line_44 |  | 33 | 35 | 0.023461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-19_0_6_line_45 |  | 34 | 37 | 0.03849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-19_0_6_line_46 |  | 34 | 39 | 0.0090804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-19_0_6_line_47 |  | 35 | 42 | 0.026992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-19_0_6_line_48 |  | 36 | 37 | 0.039041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-19_0_6_line_49 |  | 36 | 38 | 0.043137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-19_0_6_line_50 |  | 37 | 49 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-19_0_6_line_51 |  | 37 | 44 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1059-19_0_6_line_52 |  | 38 | 63 | 0.012861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-19_0_6_line_53 |  | 39 | 64 | 0.03578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-19_0_6_line_54 |  | 40 | 41 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-19_0_6_line_55 |  | 40 | 42 | 0.039095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-19_0_6_line_56 |  | 41 | 43 | 0.0085895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-19_0_6_line_57 |  | 44 | 45 | 0.042721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-19_0_6_line_58 |  | 44 | 46 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-19_0_6_line_59 |  | 45 | 67 | 0.02342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-19_0_6_line_60 |  | 45 | 66 | 0.02389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-19_0_6_line_61 |  | 47 | 48 | 0.030306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-19_0_6_line_62 |  | 48 | 68 | 0.033867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-19_0_6_line_63 |  | 49 | 56 | 0.019027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-19_0_6_line_64 |  | 50 | 51 | 0.006272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-19_0_6_line_65 |  | 50 | 52 | 0.02912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-19_0_6_line_66 |  | 52 | 69 | 0.027245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-19_0_6_line_67 |  | 54 | 55 | 0.00321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-19_0_6_line_68 |  | 54 | 56 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-19_0_6_line_69 |  | 55 | 69 | 0.010341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-19_0_6_line_70 |  | 55 | 70 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-19_0_6_line_71 |  | 57 | 58 | 0.00047705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-19_0_6_line_72 |  | 59 | 75 | 0.018693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-19_0_6_line_73 |  | 62 | 76 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-19_0_6_line_74 |  | 63 | 77 | 0.036955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-19_0_6_line_75 |  | 65 | 66 | 0.0057522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-19_0_6_line_76 |  | 67 | 79 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-19_0_6_line_77 |  | 70 | 84 | 0.029653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-19_0_6_line_78 |  | 71 | 72 | 0.0076482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-19_0_6_line_79 |  | 72 | 73 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-19_0_6_line_80 |  | 73 | 88 | 0.040652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-19_0_6_line_81 |  | 74 | 81 | 0.00825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-19_0_6_line_82 |  | 74 | 82 | 0.010481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-19_0_6_line_83 |  | 77 | 78 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-19_0_6_line_84 |  | 82 | 83 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1059-19_0_6_line_85 |  | 85 | 86 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1059-19_0_6_line_86 |  | 85 | 87 | 0.028281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1059-19_0_6_line_87 |  | 86 | 88 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-19_0_6_trafo_24 | 0.63 MVA 20/0.4 kV | 89 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2663702.6455 | 1209872.3903 | 2663690.515 | 1209869.0173
1 | 2663709.0098 | 1209848.6771 | 2663707.6034 | 1209853.6874 | 2663703.5585 | 1209869.4538 | 2663702.6455 | 1209872.3903
2 | 2663702.6455 | 1209872.3903 | 2663705.3207 | 1209873.1304 | 2663704.8471 | 1209878.3285 | 2663709.8701 | 1209878.4377 | 2663710.9492 | 1209878.4604 | 2663710.7427 | 1209880.7151
3 | 2663709.0098 | 1209848.6771 | 2663712.6924 | 1209835.5195 | 2663713.3214 | 1209835.693 | 2663716.2394 | 1209836.4802 | 2663717.3878 | 1209832.1453 | 2663719.6891 | 1209824.4874
4 | 2663709.0098 | 1209848.6771 | 2663696.3776 | 1209844.9942
5 | 2663710.7427 | 1209880.7151 | 2663710.8776 | 1209889.433 | 2663712.1154 | 1209898.7963 | 2663714.7328 | 1209908.3509
6 | 2663719.6891 | 1209824.4874 | 2663717.3878 | 1209832.1453 | 2663716.2394 | 1209836.4802 | 2663719.0891 | 1209837.2444 | 2663719.8698 | 1209837.4528 | 2663721.8255 | 1209830.1248 | 2663723.1783 | 1209825.1584 | 2663730.7258 | 1209827.3181 | 2663738.7379 | 1209829.3827 | 2663747.5688 | 1209831.645
7 | 2663719.6891 | 1209824.4874 | 2663703.2239 | 1209819.9654
8 | 2663672.9157 | 1209838.1541 | 2663696.3776 | 1209844.9942
9 | 2663747.5688 | 1209831.645 | 2663782.9483 | 1209841.151
10 | 2663747.5688 | 1209831.645 | 2663742.8466 | 1209851.301
11 | 2663669.5255 | 1209810.7104 | 2663703.2239 | 1209819.9654
12 | 2663782.9483 | 1209841.151 | 2663815.4096 | 1209849.881
13 | 2663782.9483 | 1209841.151 | 2663778.1444 | 1209860.3271
14 | 2663739.1607 | 1209866.6433 | 2663742.8466 | 1209851.301
15 | 2663733.1616 | 1209788.5649 | 2663738.1842 | 1209770.2296 | 2663740.514 | 1209762.0948
16 | 2663733.1616 | 1209788.5649 | 2663749.9785 | 1209793.286
17 | 2663760.1271 | 1209700.6438 | 2663758.3987 | 1209701.6259 | 2663756.9419 | 1209703.5226 | 2663755.622 | 1209706.8216 | 2663747.7141 | 1209736.9556 | 2663740.514 | 1209762.0948
18 | 2663749.9785 | 1209793.286 | 2663769.4158 | 1209798.7427
19 | 2663719.5802 | 1209926.4707 | 2663720.71 | 1209922.4581 | 2663717.8976 | 1209918.9148 | 2663716.1902 | 1209913.6711 | 2663714.7328 | 1209908.3509
20 | 2663719.5802 | 1209926.4707 | 2663725.4371 | 1209930.3035
21 | 2663725.4371 | 1209930.3035 | 2663731.5665 | 1209934.3145 | 2663740.1295 | 1209941.0101 | 2663740.7538 | 1209941.8799
22 | 2663742.305 | 1209741.6673 | 2663766.3533 | 1209748.0851
23 | 2663742.305 | 1209741.6673 | 2663755.314 | 1209694.3886 | 2663761.0972 | 1209695.929 | 2663760.2715 | 1209699.9338 | 2663760.1271 | 1209700.6438
24 | 2663783.1429 | 1209752.5657 | 2663766.3533 | 1209748.0851
25 | 2663793.3484 | 1209719.4102 | 2663795.8791 | 1209710.2094 | 2663762.1289 | 1209700.3872 | 2663760.1271 | 1209700.6438
26 | 2663669.5255 | 1209810.7104 | 2663654.7454 | 1209806.4128
27 | 2663815.4096 | 1209849.881 | 2663811.2927 | 1209869.0518
28 | 2663815.4096 | 1209849.881 | 2663841.406 | 1209856.8633 | 2663858.2486 | 1209861.2128 | 2663857.3618 | 1209864.5275
29 | 2663773.6568 | 1209878.2405 | 2663778.1444 | 1209860.3271
30 | 2663777.5019 | 1209801.0128 | 2663769.4158 | 1209798.7427
31 | 2663746.1753 | 1209958.4964 | 2663745.3867 | 1209951.2057 | 2663743.0728 | 1209945.1106 | 2663740.7538 | 1209941.8799
32 | 2663981.6674 | 1209921.1598 | 2663983.4002 | 1209909.601
33 | 2663987.177 | 1209884.4076 | 2663983.4002 | 1209909.601
34 | 2663975.2266 | 1209941.2809 | 2663976.7152 | 1209943.5093 | 2663977.7442 | 1209940.4073 | 2663978.2951 | 1209937.9451 | 2663981.1608 | 1209925.168 | 2663981.6674 | 1209921.1598
35 | 2663987.177 | 1209884.4076 | 2663985.7706 | 1209884.4259
36 | 2663989.9215 | 1209861.6787 | 2663987.177 | 1209884.4076
37 | 2663975.2266 | 1209941.2809 | 2663975.7422 | 1209940.686 | 2663977.2404 | 1209935.421
38 | 2663961.8663 | 1209946.7744 | 2663964.3017 | 1209947.1896 | 2663968.3686 | 1209946.4327 | 2663972.7256 | 1209944.1447 | 2663975.2266 | 1209941.2809
39 | 2663985.7706 | 1209884.4259 | 2663984.6656 | 1209894.6202 | 2663982.8142 | 1209905.1509
40 | 2663985.7706 | 1209884.4259 | 2663982.1611 | 1209884.3427 | 2663980.5593 | 1209884.1587 | 2663970.4423 | 1209881.3473
41 | 2663989.9215 | 1209861.6787 | 2663990.4007 | 1209859.5389
42 | 2663959.1827 | 1209852.5326 | 2663961.2984 | 1209854.4119 | 2663975.6603 | 1209857.6011 | 2663988.3151 | 1209861.2168 | 2663989.9215 | 1209861.6787
43 | 2663867.4355 | 1209827.3793 | 2663868.2993 | 1209827.6332 | 2663871.5195 | 1209828.5793 | 2663874.2247 | 1209829.3643 | 2663875.1566 | 1209829.6411 | 2663873.4388 | 1209836.0266
44 | 2663873.4388 | 1209836.0266 | 2663878.0532 | 1209834.5529 | 2663883.9965 | 1209832.4819 | 2663895.8112 | 1209835.9857
45 | 2663857.3618 | 1209864.5275 | 2663858.2486 | 1209861.2128 | 2663859.2544 | 1209857.4323 | 2663867.4355 | 1209827.3793
46 | 2663867.4355 | 1209827.3793 | 2663869.871 | 1209818.6316
47 | 2663895.8112 | 1209835.9857 | 2663904.7268 | 1209838.6297 | 2663907.1779 | 1209841.1242 | 2663921.0924 | 1209843.9324
48 | 2663828.6028 | 1209849.3551 | 2663859.2544 | 1209857.4323 | 2663858.2486 | 1209861.2128 | 2663857.3618 | 1209864.5275
49 | 2663828.6028 | 1209849.3551 | 2663834.5178 | 1209829.3284 | 2663836.1565 | 1209820.3849 | 2663835.6963 | 1209818.6345 | 2663834.0132 | 1209816.8154 | 2663826.5509 | 1209814.5119 | 2663825.5288 | 1209814.2139
50 | 2663857.3618 | 1209864.5275 | 2663853.1018 | 1209880.4939
51 | 2663859.7037 | 1209885.0429 | 2663856.4904 | 1209884.1635 | 2663861.5227 | 1209865.6505 | 2663857.3618 | 1209864.5275
52 | 2663825.5288 | 1209814.2139 | 2663813.182 | 1209810.614
53 | 2663879.4677 | 1209784.1627 | 2663869.871 | 1209818.6316
54 | 2663952.3693 | 1209826.5771 | 2663959.1139 | 1209836.2664 | 2663961.0989 | 1209842.5359 | 2663959.8184 | 1209848.5369 | 2663959.1827 | 1209852.5326
55 | 2663959.1827 | 1209852.5326 | 2663952.3816 | 1209850.2472 | 2663921.0924 | 1209843.9324
56 | 2663952.3693 | 1209826.5771 | 2663947.9526 | 1209827.3413 | 2663943.9633 | 1209826.3646
57 | 2663901.0225 | 1209896.3475 | 2663859.7037 | 1209885.0429
58 | 2663859.7037 | 1209885.0429 | 2663854.0596 | 1209905.7364
59 | 2663901.0225 | 1209896.3475 | 2663923.612 | 1209902.5287
60 | 2663901.0225 | 1209896.3475 | 2663907.5869 | 1209873.3771
61 | 2663961.8663 | 1209946.7744 | 2663950.2356 | 1209944.7819 | 2663932.1384 | 1209940.9126
62 | 2663899.0199 | 1209933.8318 | 2663932.1384 | 1209940.9126
63 | 2663847.8304 | 1209898.7754 | 2663852.0168 | 1209884.5603 | 2663853.1018 | 1209880.4939
64 | 2663898.2026 | 1209946.7258 | 2663899.3935 | 1209940.5681
65 | 2663899.3935 | 1209940.5681 | 2663870.9847 | 1209934.616 | 2663870.894 | 1209934.5915
66 | 2663870.894 | 1209934.5915 | 2663844.5897 | 1209927.4929
67 | 2663835.422 | 1209921.6944 | 2663834.6059 | 1209924.7987
68 | 2663835.422 | 1209921.6944 | 2663836.3091 | 1209918.3463 | 2663838.5125 | 1209918.4254 | 2663840.3418 | 1209917.9558 | 2663841.7734 | 1209916.9928 | 2663842.9462 | 1209915.3599 | 2663847.8304 | 1209898.7754
69 | 2663834.6059 | 1209924.7987 | 2663844.5897 | 1209927.4929
70 | 2663834.6059 | 1209924.7987 | 2663815.333 | 1209919.6027
71 | 2663793.8093 | 1209719.5332 | 2663793.3484 | 1209719.4102
72 | 2663807.3678 | 1209887.3284 | 2663811.2927 | 1209869.0518
73 | 2663954.634 | 1209876.9543 | 2663970.4423 | 1209881.3473
74 | 2663777.5019 | 1209801.0128 | 2663785.6637 | 1209803.3014 | 2663795.4893 | 1209805.6634 | 2663807.1151 | 1209808.8451 | 2663813.182 | 1209810.614
75 | 2663909.1675 | 1209867.8463 | 2663907.5869 | 1209873.3771
76 | 2663923.612 | 1209902.5287 | 2663950.1549 | 1209909.7918
77 | 2663786.7018 | 1209911.8837 | 2663815.333 | 1209919.6027
78 | 2663829.6272 | 1209984.4818 | 2663837.0063 | 1209982.4706
79 | 2663829.6272 | 1209984.4818 | 2663811.1665 | 1209982.9279 | 2663805.0657 | 1209982.1534
80 | 2663805.0657 | 1209982.1534 | 2663800.4564 | 1209981.5682 | 2663789.7392 | 1209977.3177 | 2663777.5213 | 1209969.1155 | 2663773.9585 | 1209967.5098 | 2663770.5151 | 1209967.5397 | 2663768.1591 | 1209968.0451
81 | 2663783.1429 | 1209752.5657 | 2663785.8041 | 1209751.7826 | 2663788.7725 | 1209750.6914 | 2663789.9872 | 1209748.7032
82 | 2663783.1429 | 1209752.5657 | 2663784.1299 | 1209755.5225 | 2663784.094 | 1209758.8798 | 2663783.3071 | 1209762.8071
83 | 2663773.3323 | 1209817.0558 | 2663777.5019 | 1209801.0128
84 | 2663783.3071 | 1209762.8071 | 2663799.0988 | 1209766.656 | 2663797.8747 | 1209771.4398
85 | 2663746.1753 | 1209958.4964 | 2663746.5973 | 1209962.3922 | 2663748.4761 | 1209966.5259 | 2663751.2901 | 1209969.2131 | 2663753.6429 | 1209970.2389
86 | 2663774.4968 | 1209956.9758 | 2663757.4751 | 1209958.0168 | 2663746.1753 | 1209958.4964
87 | 2663753.6429 | 1209970.2389 | 2663754.7853 | 1209970.7403 | 2663758.2726 | 1209970.166 | 2663768.1591 | 1209968.0451

## bus_geodata
| x | y | coords
0 | 2663690.515 | 1209869.0173
1 | 2663702.6455 | 1209872.3903
2 | 2663709.0098 | 1209848.6771
3 | 2663710.7427 | 1209880.7151
4 | 2663719.6891 | 1209824.4874
5 | 2663696.3776 | 1209844.9942
6 | 2663747.5688 | 1209831.645
7 | 2663703.2239 | 1209819.9654
8 | 2663782.9483 | 1209841.151
9 | 2663742.8466 | 1209851.301
10 | 2663733.1616 | 1209788.5649
11 | 2663740.514 | 1209762.0948
12 | 2663749.9785 | 1209793.286
13 | 2663714.7328 | 1209908.3509
14 | 2663719.5802 | 1209926.4707
15 | 2663725.4371 | 1209930.3035
16 | 2663672.9157 | 1209838.1541
17 | 2663742.305 | 1209741.6673
18 | 2663766.3533 | 1209748.0851
19 | 2663760.1271 | 1209700.6438
20 | 2663669.5255 | 1209810.7104
21 | 2663815.4096 | 1209849.881
22 | 2663778.1444 | 1209860.3271
23 | 2663739.1607 | 1209866.6433
24 | 2663769.4158 | 1209798.7427
25 | 2663654.7454 | 1209806.4128
26 | 2663740.7538 | 1209941.8799
27 | 2663983.4002 | 1209909.601
28 | 2663981.6674 | 1209921.1598
29 | 2663987.177 | 1209884.4076
30 | 2663975.2266 | 1209941.2809
31 | 2663985.7706 | 1209884.4259
32 | 2663989.9215 | 1209861.6787
33 | 2663873.4388 | 1209836.0266
34 | 2663867.4355 | 1209827.3793
35 | 2663895.8112 | 1209835.9857
36 | 2663828.6028 | 1209849.3551
37 | 2663857.3618 | 1209864.5275
38 | 2663825.5288 | 1209814.2139
39 | 2663869.871 | 1209818.6316
40 | 2663959.1827 | 1209852.5326
41 | 2663952.3693 | 1209826.5771
42 | 2663921.0924 | 1209843.9324
43 | 2663943.9633 | 1209826.3646
44 | 2663859.7037 | 1209885.0429
45 | 2663901.0225 | 1209896.3475
46 | 2663854.0596 | 1209905.7364
47 | 2663961.8663 | 1209946.7744
48 | 2663932.1384 | 1209940.9126
49 | 2663853.1018 | 1209880.4939
50 | 2663899.3935 | 1209940.5681
51 | 2663898.2026 | 1209946.7258
52 | 2663870.894 | 1209934.5915
53 | 2663977.2404 | 1209935.421
54 | 2663835.422 | 1209921.6944
55 | 2663834.6059 | 1209924.7987
56 | 2663847.8304 | 1209898.7754
57 | 2663793.3484 | 1209719.4102
58 | 2663793.8093 | 1209719.5332
59 | 2663811.2927 | 1209869.0518
60 | 2663990.4007 | 1209859.5389
61 | 2663982.8142 | 1209905.1509
62 | 2663970.4423 | 1209881.3473
63 | 2663813.182 | 1209810.614
64 | 2663879.4677 | 1209784.1627
65 | 2663909.1675 | 1209867.8463
66 | 2663907.5869 | 1209873.3771
67 | 2663923.612 | 1209902.5287
68 | 2663899.0199 | 1209933.8318
69 | 2663844.5897 | 1209927.4929
70 | 2663815.333 | 1209919.6027
71 | 2663837.0063 | 1209982.4706
72 | 2663829.6272 | 1209984.4818
73 | 2663805.0657 | 1209982.1534
74 | 2663783.1429 | 1209752.5657
75 | 2663807.3678 | 1209887.3284
76 | 2663954.634 | 1209876.9543
77 | 2663777.5019 | 1209801.0128
78 | 2663773.3323 | 1209817.0558
79 | 2663950.1549 | 1209909.7918
80 | 2663773.6568 | 1209878.2405
81 | 2663789.9872 | 1209748.7032
82 | 2663783.3071 | 1209762.8071
83 | 2663797.8747 | 1209771.4398
84 | 2663786.7018 | 1209911.8837
85 | 2663746.1753 | 1209958.4964
86 | 2663753.6429 | 1209970.2389
87 | 2663774.4968 | 1209956.9758
88 | 2663768.1591 | 1209968.0451
89 | 2663858.2486 | 1209861.2128

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98725 | -0.24514 | 0.0014745 | 0.00036955
1 | 0.98727 | -0.24481 | 0 | 0
2 | 0.98795 | -0.2315 | 0 | 0
3 | 0.98683 | -0.25325 | 0 | 0
4 | 0.98886 | -0.21398 | 0 | 0
5 | 0.98792 | -0.23212 | 0.001371 | 0.0003436
6 | 0.99104 | -0.1717 | 0 | 0
7 | 0.98869 | -0.2173 | 0.0044675 | 0.0011197
8 | 0.99317 | -0.13069 | 0 | 0
9 | 0.99068 | -0.17871 | 0.0098042 | 0.0024572
10 | 0.98065 | -0.37024 | 0 | 0
11 | 0.97867 | -0.4088 | 0.012049 | 0.0030198
12 | 0.9819 | -0.34581 | 0.012145 | 0.0030438
13 | 0.98609 | -0.26775 | 0.0025759 | 0.00064558
14 | 0.98561 | -0.27704 | 0 | 0
15 | 0.98544 | -0.28034 | 0.0030618 | 0.00076736
16 | 0.98789 | -0.23266 | 0.0012452 | 0.00031208
17 | 0.97263 | -0.52736 | 0 | 0
18 | 0.97176 | -0.54439 | 0.016901 | 0.0042357
19 | 0.9747 | -0.48655 | 0 | 0
20 | 0.98848 | -0.22131 | 0 | 0
21 | 0.99568 | -0.082543 | 0 | 0
22 | 0.99284 | -0.13702 | 0.0090538 | 0.0022691
23 | 0.99054 | -0.18143 | 0.0097234 | 0.0024369
24 | 0.98358 | -0.31322 | 0.013263 | 0.0033241
25 | 0.98839 | -0.22308 | 0.0064404 | 0.0016141
26 | 0.98503 | -0.28837 | 0.0025552 | 0.0006404
27 | 0.98045 | -0.37605 | 0.0039417 | 0.00098788
28 | 0.98013 | -0.38233 | 0 | 0
29 | 0.98125 | -0.36056 | 0.0077095 | 0.0019322
30 | 0.97943 | -0.3961 | 0 | 0
31 | 0.98121 | -0.36135 | 0 | 0
32 | 0.98278 | -0.33061 | 0 | 0
33 | 0.99353 | -0.12307 | 0 | 0
34 | 0.99507 | -0.093612 | 0 | 0
35 | 0.99106 | -0.17041 | 0.010219 | 0.0025611
36 | 0.99518 | -0.090859 | 0 | 0
37 | 1 | 0 | -0.55742 | -0.1419
38 | 0.98986 | -0.19228 | 0.0075229 | 0.0018854
39 | 0.99487 | -0.097588 | 0.022873 | 0.0057326
40 | 0.98507 | -0.28602 | 0 | 0
41 | 0.98461 | -0.295 | 0 | 0
42 | 0.98847 | -0.22024 | 0.0097631 | 0.0024469
43 | 0.98447 | -0.29771 | 0.017503 | 0.0043866
44 | 0.99824 | -0.033514 | 0 | 0
45 | 0.99294 | -0.13542 | 0 | 0
46 | 0.9981 | -0.036307 | 0.0074435 | 0.0018655
47 | 0.97907 | -0.40324 | 0 | 0
48 | 0.97834 | -0.41741 | 0.01412 | 0.0035389
49 | 0.99947 | -0.010215 | 0.0076767 | 0.001924
50 | 0.99803 | -0.037834 | 0 | 0
51 | 0.99801 | -0.038217 | 0.0034879 | 0.00087415
52 | 0.99813 | -0.036057 | 0.0034326 | 0.0008603
53 | 0.97941 | -0.39655 | 0.0039271 | 0.00098423
54 | 0.99847 | -0.029476 | 0 | 0
55 | 0.99841 | -0.030604 | 0 | 0
56 | 0.99899 | -0.019439 | 0.0076734 | 0.0019231
57 | 0.97347 | -0.51069 | 0 | 0
58 | 0.97346 | -0.51094 | 0.028131 | 0.0070502
59 | 0.99537 | -0.088499 | 0.0075764 | 0.0018988
60 | 0.98277 | -0.33077 | 0.0041135 | 0.0010309
61 | 0.98108 | -0.36379 | 0.0064274 | 0.0016108
62 | 0.98085 | -0.36838 | 0.012337 | 0.0030919
63 | 0.98837 | -0.221 | 0.009496 | 0.0023799
64 | 0.9948 | -0.098843 | 0.0019915 | 0.00049911
65 | 0.991 | -0.173 | 0.031163 | 0.0078102
66 | 0.99117 | -0.16982 | 0.050131 | 0.012564
67 | 0.99178 | -0.15796 | 0.04251 | 0.010654
68 | 0.97798 | -0.42455 | 0.011569 | 0.0028994
69 | 0.9983 | -0.032758 | 0.004987 | 0.0012499
70 | 0.99826 | -0.033462 | 0.0044866 | 0.0011244
71 | 0.98365 | -0.31522 | 0.0049937 | 0.0012515
72 | 0.98369 | -0.31453 | 0 | 0
73 | 0.9838 | -0.31231 | 0.0065547 | 0.0016428
74 | 0.97144 | -0.55086 | 0 | 0
75 | 0.9952 | -0.091687 | 0.0096936 | 0.0024294
76 | 0.98066 | -0.37205 | 0.012344 | 0.0030937
77 | 0.98439 | -0.2977 | 0 | 0
78 | 0.98419 | -0.30163 | 0.013167 | 0.0032999
79 | 0.99148 | -0.16374 | 0.01185 | 0.00297
80 | 0.99269 | -0.13998 | 0.0090529 | 0.0022689
81 | 0.97134 | -0.55278 | 0.01255 | 0.0031454
82 | 0.97136 | -0.55234 | 0 | 0
83 | 0.97121 | -0.55534 | 0.0076416 | 0.0019152
84 | 0.99816 | -0.03538 | 0.0036981 | 0.00092682
85 | 0.98469 | -0.29499 | 0 | 0
86 | 0.98446 | -0.29943 | 0 | 0
87 | 0.98458 | -0.29707 | 0.0040864 | 0.0010241
88 | 0.98424 | -0.30386 | 0.0050111 | 0.0012559
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0014745 | -0.00036955 | 0.0014746 | 0.00036941 | 2.3321e-08 | -1.4607e-07 | 0.0022225 | 0.0022224 | 0.0022225 | 0.98725 | -0.24514 | 0.98727 | -0.24481 | 0.61057
1 | -0.030389 | -0.0076424 | 0.030408 | 0.0076545 | 1.9326e-05 | 1.2054e-05 | 0.045812 | 0.045812 | 0.045812 | 0.98727 | -0.24481 | 0.98795 | -0.2315 | 12.5857
2 | 0.028914 | 0.007273 | -0.028903 | -0.0072658 | 1.1659e-05 | 7.2525e-06 | 0.043589 | 0.043589 | 0.043589 | 0.98727 | -0.24481 | 0.98683 | -0.25325 | 11.9751
3 | -0.033025 | -0.0083098 | 0.033052 | 0.0083271 | 2.7678e-05 | 1.7332e-05 | 0.049752 | 0.049752 | 0.049752 | 0.98795 | -0.2315 | 0.98886 | -0.21398 | 13.6681
4 | 0.0026163 | 0.00065526 | -0.0026162 | -0.00065538 | 7.6614e-08 | -1.1945e-07 | 0.0039404 | 0.0039404 | 0.0039404 | 0.98795 | -0.2315 | 0.98792 | -0.23212 | 1.0825
5 | 0.028903 | 0.0072658 | -0.028883 | -0.0072533 | 2.0001e-05 | 1.2442e-05 | 0.043589 | 0.04359 | 0.04359 | 0.98683 | -0.25325 | 0.98609 | -0.26775 | 11.9752
6 | -0.043964 | -0.011062 | 0.044053 | 0.011119 | 8.9014e-05 | 5.6272e-05 | 0.066171 | 0.066171 | 0.066171 | 0.98886 | -0.21398 | 0.99104 | -0.1717 | 18.1789
7 | 0.010911 | 0.0027351 | -0.01091 | -0.0027343 | 1.7263e-06 | 8.858e-07 | 0.016419 | 0.01642 | 0.01642 | 0.98886 | -0.21398 | 0.98869 | -0.2173 | 4.5109
8 | 0.0012452 | 0.00031179 | -0.0012452 | -0.00031208 | 3.2238e-08 | -2.9228e-07 | 0.0018755 | 0.0018756 | 0.0018756 | 0.98792 | -0.23212 | 0.98789 | -0.23266 | 0.51527
9 | -0.063588 | -0.016017 | 0.063713 | 0.016097 | 0.00012496 | 7.9502e-05 | 0.095504 | 0.095503 | 0.095504 | 0.99104 | -0.1717 | 0.99317 | -0.13069 | 26.2373
10 | 0.019535 | 0.0048986 | -0.019529 | -0.0048947 | 6.5225e-06 | 3.914e-06 | 0.029333 | 0.029333 | 0.029333 | 0.99104 | -0.1717 | 0.99068 | -0.17871 | 8.0584
11 | 0.0064422 | 0.0016146 | -0.0064409 | -0.0016143 | 1.232e-06 | 3.404e-07 | 0.0096957 | 0.0096959 | 0.0096959 | 0.98869 | -0.2173 | 0.98848 | -0.22131 | 2.6637
12 | -0.081827 | -0.020638 | 0.082016 | 0.020759 | 0.00018908 | 0.00012058 | 0.12264 | 0.12264 | 0.12264 | 0.99317 | -0.13069 | 0.99568 | -0.082543 | 33.6931
13 | 0.018113 | 0.0045418 | -0.018108 | -0.0045386 | 5.4602e-06 | 3.2388e-06 | 0.027139 | 0.027139 | 0.027139 | 0.99317 | -0.13069 | 0.99284 | -0.13702 | 7.4559
14 | 0.0097247 | 0.0024375 | -0.0097234 | -0.0024369 | 1.2624e-06 | 6.0482e-07 | 0.014607 | 0.014607 | 0.014607 | 0.99068 | -0.17871 | 0.99054 | -0.18143 | 4.0128
15 | 0.077804 | 0.019703 | -0.07766 | -0.019611 | 0.00014377 | 9.1667e-05 | 0.11813 | 0.11813 | 0.11813 | 0.98065 | -0.37024 | 0.97867 | -0.4088 | 32.4539
16 | -0.077804 | -0.019703 | 0.077896 | 0.019761 | 9.1408e-05 | 5.8281e-05 | 0.11813 | 0.11813 | 0.11813 | 0.98065 | -0.37024 | 0.9819 | -0.34581 | 32.4539
17 | 0.065611 | 0.016592 | -0.065368 | -0.016436 | 0.00024372 | 0.00015517 | 0.099812 | 0.099812 | 0.099812 | 0.97867 | -0.4088 | 0.9747 | -0.48655 | 27.421
18 | -0.09004 | -0.022805 | 0.090182 | 0.022895 | 0.00014114 | 9.0071e-05 | 0.13654 | 0.13654 | 0.13654 | 0.9819 | -0.34581 | 0.98358 | -0.31322 | 37.5101
19 | 0.026307 | 0.0066078 | -0.026295 | -0.0066005 | 1.1659e-05 | 7.21e-06 | 0.039702 | 0.039703 | 0.039703 | 0.98609 | -0.26775 | 0.98561 | -0.27704 | 10.9073
20 | 0.026295 | 0.0066005 | -0.026291 | -0.006598 | 4.1375e-06 | 2.5588e-06 | 0.039703 | 0.039703 | 0.039703 | 0.98561 | -0.27704 | 0.98544 | -0.28034 | 10.9073
21 | 0.023229 | 0.0058306 | -0.02322 | -0.0058252 | 8.8904e-06 | 5.4445e-06 | 0.035079 | 0.035079 | 0.035079 | 0.98544 | -0.28034 | 0.98503 | -0.28837 | 9.6372
22 | 0.037132 | 0.0093203 | -0.037102 | -0.0093014 | 3.0126e-05 | 1.8972e-05 | 0.056813 | 0.056813 | 0.056813 | 0.97263 | -0.52736 | 0.97176 | -0.54439 | 15.608
23 | -0.037132 | -0.0093203 | 0.037204 | 0.0093659 | 7.2422e-05 | 4.5606e-05 | 0.056813 | 0.056813 | 0.056813 | 0.97263 | -0.52736 | 0.9747 | -0.48655 | 15.6079
24 | 0.020201 | 0.0050656 | -0.020195 | -0.0050619 | 6.2356e-06 | 3.7756e-06 | 0.030934 | 0.030934 | 0.030934 | 0.97176 | -0.54439 | 0.97144 | -0.55086 | 8.4983
25 | 0.028163 | 0.0070706 | -0.028131 | -0.0070504 | 3.2388e-05 | 2.0147e-05 | 0.043 | 0.043 | 0.043 | 0.9747 | -0.48655 | 0.97347 | -0.51069 | 11.8132
26 | 0.0064409 | 0.0016143 | -0.0064404 | -0.0016141 | 5.4264e-07 | 1.5e-07 | 0.0096959 | 0.009696 | 0.009696 | 0.98848 | -0.22131 | 0.98839 | -0.22308 | 2.6637
27 | 0.017276 | 0.0043318 | -0.017271 | -0.004329 | 4.9019e-06 | 2.8823e-06 | 0.02582 | 0.02582 | 0.02582 | 0.99568 | -0.082543 | 0.99537 | -0.088499 | 7.0934
28 | -0.099292 | -0.025091 | 0.099687 | 0.025343 | 0.00039462 | 0.00025194 | 0.14846 | 0.14846 | 0.14846 | 0.99568 | -0.082543 | 1 | 0 | 40.7863
29 | 0.0090542 | 0.0022695 | -0.0090529 | -0.0022689 | 1.2752e-06 | 5.7736e-07 | 0.01357 | 0.01357 | 0.01357 | 0.99284 | -0.13702 | 0.99269 | -0.13998 | 3.728
30 | -0.10344 | -0.026219 | 0.10352 | 0.026269 | 7.7239e-05 | 4.9326e-05 | 0.1566 | 0.1566 | 0.1566 | 0.98358 | -0.31322 | 0.98439 | -0.2977 | 43.0224
31 | 0.020665 | 0.0051848 | -0.020659 | -0.0051808 | 6.5166e-06 | 3.9437e-06 | 0.031219 | 0.031219 | 0.031219 | 0.98503 | -0.28837 | 0.98469 | -0.29499 | 8.5768
32 | 0.029675 | 0.0074584 | -0.029666 | -0.0074529 | 8.8931e-06 | 5.5442e-06 | 0.045044 | 0.045044 | 0.045044 | 0.98045 | -0.37605 | 0.98013 | -0.38233 | 12.3748
33 | -0.033616 | -0.0084463 | 0.033641 | 0.0084619 | 2.4874e-05 | 1.5598e-05 | 0.051027 | 0.051026 | 0.051027 | 0.98045 | -0.37605 | 0.98125 | -0.36056 | 14.0183
34 | 0.029666 | 0.0074529 | -0.029646 | -0.0074407 | 1.9483e-05 | 1.2147e-05 | 0.045044 | 0.045045 | 0.045045 | 0.98013 | -0.38233 | 0.97943 | -0.3961 | 12.3749
35 | 0.03112 | 0.0078036 | -0.031119 | -0.0078029 | 1.171e-06 | 7.3173e-07 | 0.047194 | 0.047194 | 0.047194 | 0.98125 | -0.36056 | 0.98121 | -0.36135 | 12.9654
36 | -0.072471 | -0.018198 | 0.072575 | 0.018264 | 0.00010373 | 6.6099e-05 | 0.10991 | 0.10991 | 0.10991 | 0.98125 | -0.36056 | 0.98278 | -0.33061 | 30.1955
37 | 0.0039272 | 0.00098421 | -0.0039271 | -0.00098423 | 8.3585e-08 | -2.5302e-08 | 0.0059665 | 0.0059665 | 0.0059665 | 0.97943 | -0.3961 | 0.97941 | -0.39655 | 1.6391
38 | 0.025719 | 0.0064565 | -0.02571 | -0.0064511 | 8.76e-06 | 5.414e-06 | 0.039078 | 0.039078 | 0.039078 | 0.97943 | -0.3961 | 0.97907 | -0.40324 | 10.7357
39 | 0.0064281 | 0.0016111 | -0.0064274 | -0.0016108 | 7.4646e-07 | 2.132e-07 | 0.0097484 | 0.0097485 | 0.0097485 | 0.98121 | -0.36135 | 0.98108 | -0.36379 | 2.6781
40 | 0.024691 | 0.0061918 | -0.024683 | -0.0061867 | 8.2675e-06 | 5.0927e-06 | 0.037446 | 0.037446 | 0.037446 | 0.98121 | -0.36135 | 0.98085 | -0.36838 | 10.2873
41 | 0.0041135 | 0.0010309 | -0.0041135 | -0.0010309 | 3.1898e-08 | -7.3707e-09 | 0.0062283 | 0.0062283 | 0.0062283 | 0.98278 | -0.33061 | 0.98277 | -0.33077 | 1.7111
42 | -0.076688 | -0.019295 | 0.076852 | 0.019399 | 0.00016375 | 0.00010439 | 0.11614 | 0.11614 | 0.11614 | 0.98278 | -0.33061 | 0.98507 | -0.28602 | 31.9065
43 | -0.11516 | -0.029317 | 0.11532 | 0.029422 | 0.00016382 | 0.00010465 | 0.17263 | 0.17263 | 0.17263 | 0.99353 | -0.12307 | 0.99507 | -0.093612 | 47.427
44 | 0.11516 | 0.029317 | -0.1149 | -0.02915 | 0.0002622 | 0.00016751 | 0.17263 | 0.17263 | 0.17263 | 0.99353 | -0.12307 | 0.99106 | -0.17041 | 47.4271
45 | -0.14019 | -0.035656 | 0.14083 | 0.036062 | 0.00063546 | 0.00040619 | 0.20982 | 0.20982 | 0.20982 | 0.99507 | -0.093612 | 1 | 0 | 57.644
46 | 0.02487 | 0.0062342 | -0.024865 | -0.0062313 | 4.7097e-06 | 2.8963e-06 | 0.03719 | 0.03719 | 0.03719 | 0.99507 | -0.093612 | 0.99487 | -0.097588 | 10.2171
47 | 0.10468 | 0.026589 | -0.10443 | -0.026429 | 0.00025042 | 0.00015992 | 0.15729 | 0.15729 | 0.15729 | 0.99106 | -0.17041 | 0.98847 | -0.22024 | 43.212
48 | -0.13498 | -0.034646 | 0.13558 | 0.035028 | 0.00059806 | 0.00038225 | 0.20211 | 0.20211 | 0.20211 | 0.99518 | -0.090859 | 1 | 0 | 55.5257
49 | 0.13498 | 0.034646 | -0.13432 | -0.034223 | 0.0006608 | 0.00042236 | 0.20211 | 0.20211 | 0.20211 | 0.99518 | -0.090859 | 0.98986 | -0.19228 | 55.5258
50 | 0.035487 | 0.0089086 | -0.035469 | -0.0088977 | 1.7282e-05 | 1.0844e-05 | 0.05281 | 0.05281 | 0.05281 | 1 | 0 | 0.99947 | -0.010215 | 14.5082
51 | 0.1442 | 0.036563 | -0.14396 | -0.036416 | 0.00023189 | 0.00014771 | 0.21471 | 0.21471 | 0.21471 | 1 | 0 | 0.99824 | -0.033514 | 29.4938
52 | 0.12679 | 0.032338 | -0.12662 | -0.032226 | 0.00017558 | 0.00011221 | 0.19081 | 0.19081 | 0.19081 | 0.98986 | -0.19228 | 0.98837 | -0.221 | 52.419
53 | 0.0019916 | 0.00049873 | -0.0019915 | -0.00049911 | 1.1905e-07 | -3.8838e-07 | 0.0029787 | 0.0029789 | 0.0029789 | 0.99487 | -0.097588 | 0.9948 | -0.098843 | 0.81837
54 | 0.017513 | 0.0043924 | -0.017505 | -0.004388 | 7.4968e-06 | 4.4345e-06 | 0.026455 | 0.026455 | 0.026455 | 0.98507 | -0.28602 | 0.98461 | -0.295 | 7.268
55 | -0.094365 | -0.023792 | 0.094663 | 0.023982 | 0.0002981 | 0.00019028 | 0.14259 | 0.14259 | 0.14259 | 0.98507 | -0.28602 | 0.98847 | -0.22024 | 39.1744
56 | 0.017505 | 0.004388 | -0.017503 | -0.0043866 | 2.2544e-06 | 1.3336e-06 | 0.026455 | 0.026455 | 0.026455 | 0.98461 | -0.295 | 0.98447 | -0.29771 | 7.268
57 | 0.13652 | 0.03455 | -0.13585 | -0.034125 | 0.00066421 | 0.00042454 | 0.20362 | 0.20362 | 0.20362 | 0.99824 | -0.033514 | 0.99294 | -0.13542 | 55.939
58 | 0.0074445 | 0.0018659 | -0.0074435 | -0.0018655 | 9.9053e-07 | 3.5357e-07 | 0.011097 | 0.011097 | 0.011097 | 0.99824 | -0.033514 | 0.9981 | -0.036307 | 3.0487
59 | 0.054422 | 0.013663 | -0.054364 | -0.013626 | 5.8429e-05 | 3.7092e-05 | 0.081565 | 0.081566 | 0.081566 | 0.99294 | -0.13542 | 0.99178 | -0.15796 | 22.4081
60 | 0.081432 | 0.020462 | -0.081299 | -0.020377 | 0.00013346 | 8.5104e-05 | 0.12205 | 0.12205 | 0.12205 | 0.99294 | -0.13542 | 0.99117 | -0.16982 | 33.531
61 | 0.02571 | 0.0064511 | -0.025693 | -0.0064404 | 1.7355e-05 | 1.0727e-05 | 0.039078 | 0.039078 | 0.039078 | 0.97907 | -0.40324 | 0.97834 | -0.41741 | 10.7358
62 | 0.011573 | 0.0029015 | -0.011569 | -0.0028994 | 3.9349e-06 | 2.0932e-06 | 0.017602 | 0.017602 | 0.017602 | 0.97834 | -0.41741 | 0.97798 | -0.42455 | 4.8357
63 | 0.027793 | 0.0069738 | -0.02778 | -0.0069662 | 1.2218e-05 | 7.5704e-06 | 0.041381 | 0.041381 | 0.041381 | 0.99947 | -0.010215 | 0.99899 | -0.019439 | 11.3684
64 | 0.003488 | 0.00087411 | -0.0034879 | -0.00087415 | 6.3607e-08 | -4.1251e-08 | 0.0052004 | 0.0052004 | 0.0052004 | 0.99803 | -0.037834 | 0.99801 | -0.038217 | 1.4287
65 | -0.003488 | -0.00087411 | 0.0034883 | 0.00087392 | 2.9531e-07 | -1.9157e-07 | 0.0052004 | 0.0052002 | 0.0052004 | 0.99803 | -0.037834 | 0.99813 | -0.036057 | 1.4287
66 | -0.0069209 | -0.0017342 | 0.006922 | 0.0017346 | 1.0876e-06 | 3.3992e-07 | 0.010318 | 0.010318 | 0.010318 | 0.99813 | -0.036057 | 0.9983 | -0.032758 | 2.8345
67 | 0.020097 | 0.0050373 | -0.020096 | -0.0050366 | 1.0799e-06 | 6.4913e-07 | 0.029951 | 0.029951 | 0.029951 | 0.99847 | -0.029476 | 0.99841 | -0.030604 | 8.2284
68 | -0.020097 | -0.0050373 | 0.020107 | 0.005043 | 9.615e-06 | 5.7796e-06 | 0.029951 | 0.029951 | 0.029951 | 0.99847 | -0.029476 | 0.99899 | -0.019439 | 8.2284
69 | 0.01191 | 0.0029851 | -0.011909 | -0.0029844 | 1.2219e-06 | 6.4679e-07 | 0.017751 | 0.017751 | 0.017751 | 0.99841 | -0.030604 | 0.9983 | -0.032758 | 4.8766
70 | 0.0081861 | 0.0020516 | -0.008185 | -0.0020511 | 1.1142e-06 | 4.521e-07 | 0.0122 | 0.012201 | 0.012201 | 0.99841 | -0.030604 | 0.99826 | -0.033462 | 3.3518
71 | 0.028131 | 0.0070504 | -0.028131 | -0.0070502 | 3.3077e-07 | 2.0576e-07 | 0.043 | 0.043 | 0.043 | 0.97347 | -0.51069 | 0.97346 | -0.51094 | 11.8132
72 | 0.009695 | 0.0024301 | -0.0096936 | -0.0024294 | 1.4726e-06 | 6.995e-07 | 0.014494 | 0.014494 | 0.014494 | 0.99537 | -0.088499 | 0.9952 | -0.091687 | 3.9818
73 | 0.012346 | 0.0030949 | -0.012344 | -0.0030937 | 2.1585e-06 | 1.1744e-06 | 0.01873 | 0.01873 | 0.01873 | 0.98085 | -0.36838 | 0.98066 | -0.37205 | 5.1457
74 | 0.11712 | 0.029846 | -0.11669 | -0.02957 | 0.00043175 | 0.00027585 | 0.17651 | 0.17651 | 0.17651 | 0.98837 | -0.221 | 0.98439 | -0.2977 | 48.4914
75 | -0.031163 | -0.0078102 | 0.031168 | 0.0078131 | 4.7229e-06 | 2.9486e-06 | 0.046792 | 0.046792 | 0.046792 | 0.991 | -0.173 | 0.99117 | -0.16982 | 12.855
76 | 0.011854 | 0.0029717 | -0.01185 | -0.00297 | 3.2642e-06 | 1.7341e-06 | 0.017785 | 0.017785 | 0.017785 | 0.99178 | -0.15796 | 0.99148 | -0.16374 | 4.886
77 | 0.0036984 | 0.00092665 | -0.0036981 | -0.00092682 | 3.3795e-07 | -1.7135e-07 | 0.0055128 | 0.0055129 | 0.0055129 | 0.99826 | -0.033462 | 0.99816 | -0.03538 | 1.5145
78 | -0.0049937 | -0.0012515 | 0.0049939 | 0.0012515 | 1.6367e-07 | 7.658e-09 | 0.0075542 | 0.0075541 | 0.0075542 | 0.98365 | -0.31522 | 0.98369 | -0.31453 | 2.0753
79 | -0.0049939 | -0.0012515 | 0.0049944 | 0.0012516 | 5.2804e-07 | 2.4654e-08 | 0.0075541 | 0.007554 | 0.0075541 | 0.98369 | -0.31453 | 0.9838 | -0.31231 | 2.0753
80 | -0.011549 | -0.0028943 | 0.011554 | 0.0028968 | 4.6516e-06 | 2.4606e-06 | 0.017468 | 0.017468 | 0.017468 | 0.9838 | -0.31231 | 0.98424 | -0.30386 | 4.7989
81 | 0.012551 | 0.003146 | -0.01255 | -0.0031454 | 1.1436e-06 | 6.2976e-07 | 0.019226 | 0.019226 | 0.019226 | 0.97144 | -0.55086 | 0.97134 | -0.55278 | 5.2819
82 | 0.0076433 | 0.0019158 | -0.0076427 | -0.0019156 | 5.3875e-07 | 2.1505e-07 | 0.011708 | 0.011708 | 0.011708 | 0.97144 | -0.55086 | 0.97136 | -0.55234 | 3.2164
83 | 0.013169 | 0.0033013 | -0.013167 | -0.0032999 | 2.4634e-06 | 1.3659e-06 | 0.019907 | 0.019907 | 0.019907 | 0.98439 | -0.2977 | 0.98419 | -0.30163 | 5.469
84 | 0.0076427 | 0.0019156 | -0.0076416 | -0.0019152 | 1.0893e-06 | 4.3488e-07 | 0.011708 | 0.011708 | 0.011708 | 0.97136 | -0.55234 | 0.97121 | -0.55534 | 3.2165
85 | 0.016572 | 0.0041568 | -0.016568 | -0.0041547 | 3.5052e-06 | 2.0538e-06 | 0.025044 | 0.025044 | 0.025044 | 0.98469 | -0.29499 | 0.98446 | -0.29943 | 6.8802
86 | 0.0040868 | 0.001024 | -0.0040864 | -0.0010241 | 4.0449e-07 | -1.0084e-07 | 0.0061757 | 0.0061758 | 0.0061758 | 0.98469 | -0.29499 | 0.98458 | -0.29707 | 1.6967
87 | 0.016568 | 0.0041547 | -0.016565 | -0.0041527 | 3.5029e-06 | 2.0525e-06 | 0.025044 | 0.025044 | 0.025044 | 0.98446 | -0.29943 | 0.98424 | -0.30386 | 6.8802

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55742 | 0.1419

## res_load
| p_mw | q_mvar
0 | 0.0014745 | 0.00036955
1 | 0.001371 | 0.0003436
2 | 0.0044675 | 0.0011197
3 | 0.0098042 | 0.0024572
4 | 0.012049 | 0.0030198
5 | 0.012145 | 0.0030438
6 | 0.0025759 | 0.00064558
7 | 0.0030618 | 0.00076736
8 | 0.0012452 | 0.00031208
9 | 0.016901 | 0.0042357
10 | 0.0090538 | 0.0022691
11 | 0.0097234 | 0.0024369
12 | 0.013263 | 0.0033241
13 | 0.0064404 | 0.0016141
14 | 0.0025552 | 0.0006404
15 | 0.0039417 | 0.00098788
16 | 0.0077095 | 0.0019322
17 | 0.010219 | 0.0025611
18 | 0.0075229 | 0.0018854
19 | 0.022873 | 0.0057326
20 | 0.0097631 | 0.0024469
21 | 0.017503 | 0.0043866
22 | 0.0074435 | 0.0018655
23 | 0.01412 | 0.0035389
24 | 0.0076767 | 0.001924
25 | 0.0034879 | 0.00087415
26 | 0.0034326 | 0.0008603
27 | 0.0039271 | 0.00098423
28 | 0.0076734 | 0.0019231
29 | 0.028131 | 0.0070502
30 | 0.0075764 | 0.0018988
31 | 0.0041135 | 0.0010309
32 | 0.0064274 | 0.0016108
33 | 0.012337 | 0.0030919
34 | 0.009496 | 0.0023799
35 | 0.0019915 | 0.00049911
36 | 0.031163 | 0.0078102
37 | 0.050131 | 0.012564
38 | 0.04251 | 0.010654
39 | 0.011569 | 0.0028994
40 | 0.004987 | 0.0012499
41 | 0.0044866 | 0.0011244
42 | 0.0049937 | 0.0012515
43 | 0.0065547 | 0.0016428
44 | 0.0096936 | 0.0024294
45 | 0.012344 | 0.0030937
46 | 0.013167 | 0.0032999
47 | 0.01185 | 0.00297
48 | 0.0090529 | 0.0022689
49 | 0.01255 | 0.0031454
50 | 0.0076416 | 0.0019152
51 | 0.0036981 | 0.00092682
52 | 0.0040864 | 0.0010241
53 | 0.0050111 | 0.0012559

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1