## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-22_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-22_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-22_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-22_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-22_0_5_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_1059-22_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1059-22_0_5_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1059-22_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1059-22_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1059-22_0_5_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1059-22_0_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1059-22_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1059-22_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1059-22_0_5_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1059-22_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1059-22_0_5_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1059-22_0_5_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1059-22_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1059-22_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1059-22_0_5_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_1059-22_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1059-22_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1059-22_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1059-22_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1059-22_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1059-22_0_5_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1059-22_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1059-22_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1059-22_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1059-22_0_5_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1059-22_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1059-22_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1059-22_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1059-22_0_5_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1059-22_0_5_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_1059-22_0_5_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1059-22_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1059-22_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1059-22_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1059-22_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1059-22_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1059-22_0_5_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1059-22_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1059-22_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1059-22_0_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1059-22_0_5_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_1059-22_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_1059-22_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_1059-22_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1059-22_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_MV_24_1_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-22_0_5_load_0 | 0 | 0.028237 | 0.0070768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-22_0_5_load_30 | 4 | 0.021108 | 0.00529 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-22_0_5_load_35 | 6 | 0.026912 | 0.0067448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-22_0_5_load_45 | 9 | 0.021678 | 0.005433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-22_0_5_load_33 | 10 | 0.019682 | 0.0049328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-22_0_5_load_29 | 13 | 0.0056928 | 0.0014267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-22_0_5_load_44 | 15 | 0.0049926 | 0.0012513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-22_0_5_load_43 | 16 | 0.0095172 | 0.0023852 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-22_0_5_load_53 | 19 | 0.018152 | 0.0045494 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-22_0_5_load_27 | 21 | 0.0051227 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-22_0_5_load_36 | 25 | 0.017177 | 0.0043049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-22_0_5_load_39 | 27 | 0.013814 | 0.0034622 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-22_0_5_load_41 | 28 | 0.016942 | 0.004246 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-22_0_5_load_40 | 33 | 0.017362 | 0.0043514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-22_0_5_load_52 | 34 | 0.022757 | 0.0057035 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-22_0_5_load_34 | 35 | 0.028247 | 0.0070794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-22_0_5_load_47 | 37 | 0.0064378 | 0.0016135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-22_0_5_load_32 | 38 | 0.011095 | 0.0027806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-22_0_5_load_37 | 40 | 0.017892 | 0.0044841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-22_0_5_load_46 | 41 | 0.0063604 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-22_0_5_load_38 | 42 | 0.015012 | 0.0037623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-22_0_5_load_54 | 43 | 0.0084562 | 0.0021193 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-22_0_5_load_49 | 44 | 0.0082263 | 0.0020617 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-22_0_5_load_48 | 45 | 0.0064136 | 0.0016074 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-22_0_5_load_24 | 46 | 0.019355 | 0.0048507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-22_0_5_load_25 | 47 | 0.019576 | 0.0049062 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-22_0_5_load_51 | 48 | 0.019385 | 0.0048583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-22_0_5_load_31 | 49 | 0.017677 | 0.0044302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-22_0_5_line_0 |  | 0 | 1 | 0.036557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-22_0_5_line_1 |  | 1 | 2 | 0.036495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-22_0_5_line_2 |  | 1 | 3 | 0.023504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-22_0_5_line_3 |  | 2 | 4 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-22_0_5_line_4 |  | 3 | 5 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1059-22_0_5_line_5 |  | 3 | 6 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-22_0_5_line_6 |  | 5 | 26 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1059-22_0_5_line_7 |  | 5 | 27 | 0.037107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-22_0_5_line_8 |  | 5 | 28 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1059-22_0_5_line_9 |  | 7 | 8 | 0.077692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-22_0_5_line_10 |  | 7 | 9 | 0.037374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-22_0_5_line_11 |  | 8 | 10 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-22_0_5_line_12 |  | 9 | 26 | 0.04523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1059-22_0_5_line_13 |  | 10 | 38 | 0.016144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-22_0_5_line_14 |  | 11 | 12 | 0.005481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-22_0_5_line_15 |  | 11 | 13 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-22_0_5_line_16 |  | 12 | 19 | 0.037967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-22_0_5_line_17 |  | 14 | 15 | 0.021821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-22_0_5_line_18 |  | 14 | 16 | 0.055751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-22_0_5_line_19 |  | 15 | 20 | 0.034636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-22_0_5_line_20 |  | 17 | 18 | 0.040353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-22_0_5_line_21 |  | 17 | 19 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-22_0_5_line_22 |  | 18 | 20 | 0.050537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-22_0_5_line_23 |  | 18 | 21 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-22_0_5_line_24 |  | 20 | 39 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-22_0_5_line_25 |  | 22 | 23 | 0.059305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-22_0_5_line_26 |  | 22 | 24 | 0.042428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-22_0_5_line_27 |  | 22 | 25 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-22_0_5_line_28 |  | 23 | 29 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-22_0_5_line_29 |  | 24 | 38 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-22_0_5_line_30 |  | 25 | 40 | 0.031098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-22_0_5_line_31 |  | 26 | 41 | 0.00702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-22_0_5_line_32 |  | 27 | 42 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-22_0_5_line_33 |  | 28 | 33 | 0.031009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1059-22_0_5_line_34 |  | 29 | 43 | 0.008293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-22_0_5_line_35 |  | 29 | 36 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-22_0_5_line_36 |  | 30 | 31 | 0.0049064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-22_0_5_line_37 |  | 30 | 32 | 0.034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-22_0_5_line_38 |  | 30 | 33 | 0.020739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1059-22_0_5_line_39 |  | 31 | 34 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-22_0_5_line_40 |  | 32 | 35 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-22_0_5_line_41 |  | 34 | 48 | 0.030474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-22_0_5_line_42 |  | 36 | 37 | 0.024108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-22_0_5_line_43 |  | 37 | 45 | 0.0097136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-22_0_5_line_44 |  | 38 | 49 | 0.029667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-22_0_5_line_45 |  | 39 | 48 | 0.024485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-22_0_5_line_46 |  | 39 | 47 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-22_0_5_line_47 |  | 44 | 45 | 0.028064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-22_0_5_line_48 |  | 46 | 47 | 0.044421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-22_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 50 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2663333.5558 | 1209469.929 | 2663338.1406 | 1209452.6338 | 2663339.5276 | 1209446.567 | 2663343.9879 | 1209443.8683 | 2663346.5544 | 1209437.1119
1 | 2663333.5558 | 1209469.929 | 2663340.7106 | 1209472.6065 | 2663367.6905 | 1209483.0992
2 | 2663333.5558 | 1209469.929 | 2663317.9665 | 1209464.0934 | 2663311.2889 | 1209462.277
3 | 2663367.6905 | 1209483.0992 | 2663370.4453 | 1209467.0362
4 | 2663307.5306 | 1209469.0302 | 2663308.1664 | 1209465.7016 | 2663311.2505 | 1209466.6126 | 2663311.2889 | 1209462.277
5 | 2663311.2889 | 1209462.277 | 2663311.3292 | 1209458.4863 | 2663316.2979 | 1209445.7361
6 | 2663336.2636 | 1209479.0744 | 2663330.246 | 1209476.6758 | 2663311.3965 | 1209470.0496 | 2663307.5306 | 1209469.0302
7 | 2663307.5306 | 1209469.0302 | 2663306.677 | 1209473.535 | 2663302.2884 | 1209502.4393 | 2663300.8748 | 1209505.4061
8 | 2663307.5306 | 1209469.0302 | 2663300.4658 | 1209467.1763 | 2663290.2793 | 1209465.1386
9 | 2663403.4386 | 1209435.9946 | 2663412.1516 | 1209447.9833 | 2663410.0502 | 1209449.7399 | 2663409.6514 | 1209450.0692 | 2663420.2921 | 1209464.491 | 2663419.5836 | 1209468.9306 | 2663419.3066 | 1209470.6732 | 2663419.0129 | 1209472.5601 | 2663419.3939 | 1209477.4782 | 2663419.135 | 1209480.3772 | 2663416.0201 | 1209498.0994 | 2663415.8443 | 1209498.9091 | 2663415.1894 | 1209501.8817 | 2663414.5499 | 1209504.8323 | 2663414.382 | 1209505.6088
10 | 2663414.382 | 1209505.6088 | 2663410.1964 | 1209504.6415 | 2663405.2016 | 1209503.2765 | 2663390.5509 | 1209499.2629 | 2663378.5186 | 1209495.1704
11 | 2663403.4386 | 1209435.9946 | 2663382.8107 | 1209413.4047
12 | 2663336.2636 | 1209479.0744 | 2663365.1099 | 1209490.6098 | 2663378.5186 | 1209495.1704
13 | 2663371.9248 | 1209401.4834 | 2663382.8107 | 1209413.4047
14 | 2663208.9667 | 1209551.9584 | 2663210.4895 | 1209546.6935
15 | 2663210.4895 | 1209546.6935 | 2663221.7241 | 1209549.3431
16 | 2663208.9667 | 1209551.9584 | 2663208.0331 | 1209571.2046 | 2663189.3411 | 1209570.7193
17 | 2663282.3538 | 1209542.9415 | 2663260.5965 | 1209541.2718
18 | 2663282.3538 | 1209542.9415 | 2663288.24 | 1209543.3931 | 2663325.3474 | 1209547.1667 | 2663337.8559 | 1209548.1714
19 | 2663226.5555 | 1209535.5124 | 2663245.5403 | 1209540.1163 | 2663260.5965 | 1209541.2718
20 | 2663168.9734 | 1209570.1905 | 2663169.0987 | 1209550.4576 | 2663169.4668 | 1209547.2818 | 2663172.2978 | 1209542.6645 | 2663174.88 | 1209542.8698 | 2663175.0217 | 1209541.6928 | 2663175.4052 | 1209538.4949 | 2663175.8806 | 1209534.5197 | 2663175.9976 | 1209533.5204
21 | 2663168.9734 | 1209570.1905 | 2663189.3411 | 1209570.7193
22 | 2663226.5555 | 1209535.5124 | 2663207.6759 | 1209533.8893 | 2663197.6892 | 1209533.0386 | 2663186.6766 | 1209532.8774 | 2663175.9976 | 1209533.5204
23 | 2663175.9976 | 1209533.5204 | 2663153.1818 | 1209532.4768
24 | 2663217.2924 | 1209528.0653 | 2663219.9337 | 1209529.1606 | 2663226.1154 | 1209534.0068 | 2663226.5555 | 1209535.5124
25 | 2663319.7989 | 1209350.8885 | 2663316.0363 | 1209346.5681 | 2663318.7689 | 1209344.0845 | 2663341.9283 | 1209368.6562 | 2663350.5169 | 1209363.0328 | 2663347.4623 | 1209359.3426 | 2663346.7868 | 1209358.5239
26 | 2663346.7868 | 1209358.5239 | 2663347.4623 | 1209359.3426 | 2663350.5169 | 1209363.0328 | 2663341.9283 | 1209368.6562 | 2663354.6123 | 1209382.5326 | 2663359.6768 | 1209388.0786
27 | 2663346.7868 | 1209358.5239 | 2663348.4574 | 1209357.9746 | 2663351.2477 | 1209356.4922 | 2663365.9685 | 1209348.4067
28 | 2663302.0471 | 1209356.1145 | 2663303.1139 | 1209356.5816 | 2663305.5952 | 1209356.9971 | 2663309.7963 | 1209356.5191 | 2663313.9743 | 1209354.6401 | 2663319.7989 | 1209350.8885
29 | 2663371.9248 | 1209401.4834 | 2663359.6768 | 1209388.0786
30 | 2663365.9685 | 1209348.4067 | 2663393.2254 | 1209333.4357
31 | 2663336.2636 | 1209479.0744 | 2663334.7542 | 1209485.9292
32 | 2663298.3625 | 1209515.1119 | 2663299.1786 | 1209508.9659 | 2663300.8748 | 1209505.4061
33 | 2663259.6315 | 1209460.5262 | 2663280.8047 | 1209463.2433 | 2663290.2793 | 1209465.1386
34 | 2663302.0471 | 1209356.1145 | 2663301.0652 | 1209358.3832 | 2663300.7375 | 1209364.1944
35 | 2663290.1682 | 1209373.8104 | 2663300.6019 | 1209355.4765 | 2663302.0471 | 1209356.1145
36 | 2663234.1957 | 1209457.2569 | 2663238.0899 | 1209457.754 | 2663239.0615 | 1209457.8866
37 | 2663265.0892 | 1209453.5375 | 2663263.9256 | 1209457.8945 | 2663238.5632 | 1209453.9789 | 2663239.0615 | 1209457.8866
38 | 2663239.0615 | 1209457.8866 | 2663259.6315 | 1209460.5262
39 | 2663234.1957 | 1209457.2569 | 2663231.6489 | 1209476.853
40 | 2663265.0892 | 1209453.5375 | 2663272.2686 | 1209426.7296
41 | 2663231.6489 | 1209476.853 | 2663227.7215 | 1209507.0726
42 | 2663290.1682 | 1209373.8104 | 2663310.606 | 1209386.5969
43 | 2663310.606 | 1209386.5969 | 2663318.8408 | 1209391.7488
44 | 2663371.9248 | 1209401.4834 | 2663384.8995 | 1209376.5394 | 2663383.5543 | 1209375.7677
45 | 2663217.2924 | 1209528.0653 | 2663226.3332 | 1209517.7548 | 2663227.7215 | 1209507.0726
46 | 2663217.2924 | 1209528.0653 | 2663209.9061 | 1209524.9963 | 2663206.3376 | 1209524.2455
47 | 2663342.3087 | 1209395.7526 | 2663338.856 | 1209399.5647 | 2663335.6804 | 1209400.8317 | 2663333.6262 | 1209400.9989 | 2663318.8408 | 1209391.7488
48 | 2663166.4825 | 1209506.1946 | 2663182.6584 | 1209516.814 | 2663186.7044 | 1209519.4918 | 2663193.1597 | 1209521.4725 | 2663206.3376 | 1209524.2455

## bus_geodata
| x | y | coords
0 | 2663346.5544 | 1209437.1119
1 | 2663333.5558 | 1209469.929
2 | 2663367.6905 | 1209483.0992
3 | 2663311.2889 | 1209462.277
4 | 2663370.4453 | 1209467.0362
5 | 2663307.5306 | 1209469.0302
6 | 2663316.2979 | 1209445.7361
7 | 2663414.382 | 1209505.6088
8 | 2663403.4386 | 1209435.9946
9 | 2663378.5186 | 1209495.1704
10 | 2663382.8107 | 1209413.4047
11 | 2663210.4895 | 1209546.6935
12 | 2663208.9667 | 1209551.9584
13 | 2663221.7241 | 1209549.3431
14 | 2663282.3538 | 1209542.9415
15 | 2663260.5965 | 1209541.2718
16 | 2663337.8559 | 1209548.1714
17 | 2663168.9734 | 1209570.1905
18 | 2663175.9976 | 1209533.5204
19 | 2663189.3411 | 1209570.7193
20 | 2663226.5555 | 1209535.5124
21 | 2663153.1818 | 1209532.4768
22 | 2663346.7868 | 1209358.5239
23 | 2663319.7989 | 1209350.8885
24 | 2663359.6768 | 1209388.0786
25 | 2663365.9685 | 1209348.4067
26 | 2663336.2636 | 1209479.0744
27 | 2663300.8748 | 1209505.4061
28 | 2663290.2793 | 1209465.1386
29 | 2663302.0471 | 1209356.1145
30 | 2663239.0615 | 1209457.8866
31 | 2663234.1957 | 1209457.2569
32 | 2663265.0892 | 1209453.5375
33 | 2663259.6315 | 1209460.5262
34 | 2663231.6489 | 1209476.853
35 | 2663272.2686 | 1209426.7296
36 | 2663290.1682 | 1209373.8104
37 | 2663310.606 | 1209386.5969
38 | 2663371.9248 | 1209401.4834
39 | 2663217.2924 | 1209528.0653
40 | 2663393.2254 | 1209333.4357
41 | 2663334.7542 | 1209485.9292
42 | 2663298.3625 | 1209515.1119
43 | 2663300.7375 | 1209364.1944
44 | 2663342.3087 | 1209395.7526
45 | 2663318.8408 | 1209391.7488
46 | 2663166.4825 | 1209506.1946
47 | 2663206.3376 | 1209524.2455
48 | 2663227.7215 | 1209507.0726
49 | 2663383.5543 | 1209375.7677
50 | 2663311.2505 | 1209466.6126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99801 | -0.038283 | 0.028237 | 0.0070768
1 | 0.99895 | -0.020237 | 0 | 0
2 | 0.99825 | -0.033702 | 0 | 0
3 | 1 | 0 | -0.43971 | -0.11163
4 | 0.99793 | -0.039721 | 0.021108 | 0.00529
5 | 0.9988 | -0.022723 | 0 | 0
6 | 0.99957 | -0.0082005 | 0.026912 | 0.0067448
7 | 0.99004 | -0.1887 | 0 | 0
8 | 0.98185 | -0.3462 | 0 | 0
9 | 0.99398 | -0.11385 | 0.021678 | 0.005433
10 | 0.97863 | -0.40894 | 0.019682 | 0.0049328
11 | 0.98379 | -0.31244 | 0 | 0
12 | 0.98382 | -0.31188 | 0 | 0
13 | 0.98373 | -0.31362 | 0.0056928 | 0.0014267
14 | 0.98604 | -0.26843 | 0 | 0
15 | 0.98624 | -0.26471 | 0.0049926 | 0.0012513
16 | 0.98556 | -0.27795 | 0.0095172 | 0.0023852
17 | 0.98446 | -0.29924 | 0 | 0
18 | 0.98535 | -0.28195 | 0 | 0
19 | 0.98401 | -0.30798 | 0.018152 | 0.0045494
20 | 0.9867 | -0.2557 | 0 | 0
21 | 0.98524 | -0.28405 | 0.0051227 | 0.0012839
22 | 0.97358 | -0.5081 | 0 | 0
23 | 0.97194 | -0.54037 | 0 | 0
24 | 0.97614 | -0.45783 | 0 | 0
25 | 0.97287 | -0.52212 | 0.017177 | 0.0043049
26 | 0.99681 | -0.060244 | 0 | 0
27 | 0.99783 | -0.04143 | 0.013814 | 0.0034622
28 | 0.99779 | -0.042023 | 0.016942 | 0.004246
29 | 0.97141 | -0.55093 | 0 | 0
30 | 0.99472 | -0.10074 | 0 | 0
31 | 0.99416 | -0.11151 | 0 | 0
32 | 0.99384 | -0.11773 | 0 | 0
33 | 0.99618 | -0.072868 | 0.017362 | 0.0043514
34 | 0.9919 | -0.15502 | 0.022757 | 0.0057035
35 | 0.99313 | -0.13157 | 0.028247 | 0.0070794
36 | 0.97096 | -0.55976 | 0 | 0
37 | 0.97049 | -0.56916 | 0.0064378 | 0.0016135
38 | 0.97723 | -0.43642 | 0.011095 | 0.0027806
39 | 0.98719 | -0.24616 | 0 | 0
40 | 0.97235 | -0.53237 | 0.017892 | 0.0044841
41 | 0.99677 | -0.061027 | 0.0063604 | 0.0015941
42 | 0.99769 | -0.044096 | 0.015012 | 0.0037623
43 | 0.97134 | -0.55223 | 0.0084562 | 0.0021193
44 | 0.97014 | -0.57607 | 0.0082263 | 0.0020617
45 | 0.97035 | -0.57179 | 0.0064136 | 0.0016074
46 | 0.98598 | -0.26968 | 0.019355 | 0.0048507
47 | 0.98677 | -0.25427 | 0.019576 | 0.0049062
48 | 0.98905 | -0.21014 | 0.019385 | 0.0048583
49 | 0.97674 | -0.446 | 0.017677 | 0.0044302
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.028237 | -0.0070768 | 0.028261 | 0.0070918 | 2.4298e-05 | 1.5072e-05 | 0.0421 | 0.0421 | 0.0421 | 0.99801 | -0.038283 | 0.99895 | -0.020237 | 11.566
1 | 0.021127 | 0.0053019 | -0.021114 | -0.0052937 | 1.3556e-05 | 8.1987e-06 | 0.031473 | 0.031473 | 0.031473 | 0.99895 | -0.020237 | 0.99825 | -0.033702 | 8.6465
2 | -0.049388 | -0.012394 | 0.049436 | 0.012424 | 4.771e-05 | 3.0227e-05 | 0.073573 | 0.073573 | 0.073573 | 0.99895 | -0.020237 | 1 | 0 | 20.2124
3 | 0.021114 | 0.0052937 | -0.021108 | -0.00529 | 6.054e-06 | 3.6615e-06 | 0.031473 | 0.031473 | 0.031473 | 0.99825 | -0.033702 | 0.99793 | -0.039721 | 8.6465
4 | 0.36171 | 0.092458 | -0.36131 | -0.092205 | 0.0003971 | 0.00025372 | 0.53886 | 0.53886 | 0.53886 | 1 | 0 | 0.9988 | -0.022723 | 49.3466
5 | 0.026923 | 0.0067513 | -0.026912 | -0.0067448 | 1.0518e-05 | 6.5024e-06 | 0.040063 | 0.040063 | 0.040063 | 1 | 0 | 0.99957 | -0.0082005 | 11.0063
6 | 0.14381 | 0.037092 | -0.14355 | -0.036925 | 0.00026236 | 0.00016712 | 0.21462 | 0.21462 | 0.21462 | 0.9988 | -0.022723 | 0.99681 | -0.060244 | 29.4813
7 | 0.028854 | 0.0072415 | -0.028828 | -0.0072255 | 2.5717e-05 | 1.5974e-05 | 0.04299 | 0.04299 | 0.04299 | 0.9988 | -0.022723 | 0.99783 | -0.04143 | 11.8104
8 | 0.18865 | 0.047871 | -0.18847 | -0.04776 | 0.00017494 | 0.00011127 | 0.28125 | 0.28125 | 0.28125 | 0.9988 | -0.022723 | 0.99779 | -0.042023 | 25.7558
9 | 0.11474 | 0.029404 | -0.11387 | -0.028849 | 0.00086872 | 0.00055499 | 0.17268 | 0.17268 | 0.17268 | 0.99004 | -0.1887 | 0.98185 | -0.3462 | 47.4391
10 | -0.11474 | -0.029404 | 0.11515 | 0.029671 | 0.0004179 | 0.00026697 | 0.17268 | 0.17268 | 0.17268 | 0.99004 | -0.1887 | 0.99398 | -0.11385 | 47.439
11 | 0.11387 | 0.028849 | -0.11352 | -0.02863 | 0.00034206 | 0.00021853 | 0.17268 | 0.17268 | 0.17268 | 0.98185 | -0.3462 | 0.97863 | -0.40894 | 47.4391
12 | -0.13683 | -0.035104 | 0.13719 | 0.035331 | 0.00035685 | 0.00022721 | 0.20513 | 0.20513 | 0.20513 | 0.99398 | -0.11385 | 0.99681 | -0.060244 | 28.1771
13 | 0.093842 | 0.023698 | -0.093719 | -0.023619 | 0.00012337 | 7.8752e-05 | 0.14275 | 0.14275 | 0.14275 | 0.97863 | -0.40894 | 0.97723 | -0.43642 | 39.2176
14 | -0.0056931 | -0.0014268 | 0.0056932 | 0.0014268 | 1.524e-07 | 2.7942e-08 | 0.008611 | 0.008611 | 0.008611 | 0.98379 | -0.31244 | 0.98382 | -0.31188 | 2.3657
15 | 0.0056931 | 0.0014268 | -0.0056928 | -0.0014267 | 3.2096e-07 | 5.8861e-08 | 0.008611 | 0.008611 | 0.008611 | 0.98379 | -0.31244 | 0.98373 | -0.31362 | 2.3657
16 | -0.0056932 | -0.0014268 | 0.0056943 | 0.001427 | 1.0557e-06 | 1.9343e-07 | 0.008611 | 0.0086108 | 0.008611 | 0.98382 | -0.31188 | 0.98401 | -0.30798 | 2.3656
17 | -0.0095215 | -0.0023873 | 0.0095232 | 0.0023881 | 1.6895e-06 | 8.0288e-07 | 0.014369 | 0.014369 | 0.014369 | 0.98604 | -0.26843 | 0.98624 | -0.26471 | 3.9475
18 | 0.0095215 | 0.0023873 | -0.0095172 | -0.0023852 | 4.3166e-06 | 2.0518e-06 | 0.014369 | 0.014369 | 0.014369 | 0.98604 | -0.26843 | 0.98556 | -0.27795 | 3.9476
19 | -0.014516 | -0.0036393 | 0.014522 | 0.0036429 | 6.2302e-06 | 3.5452e-06 | 0.021902 | 0.021901 | 0.021902 | 0.98624 | -0.26471 | 0.9867 | -0.2557 | 6.0169
20 | -0.023856 | -0.0059825 | 0.023876 | 0.0059946 | 1.9677e-05 | 1.208e-05 | 0.03606 | 0.03606 | 0.03606 | 0.98446 | -0.29924 | 0.98535 | -0.28195 | 9.9067
21 | 0.023856 | 0.0059825 | -0.023847 | -0.0059764 | 9.9353e-06 | 6.0996e-06 | 0.03606 | 0.03606 | 0.03606 | 0.98446 | -0.29924 | 0.98401 | -0.30798 | 9.9067
22 | -0.028999 | -0.0072785 | 0.029036 | 0.0073011 | 3.6352e-05 | 2.262e-05 | 0.043797 | 0.043797 | 0.043797 | 0.98535 | -0.28195 | 0.9867 | -0.2557 | 12.0321
23 | 0.0051232 | 0.0012839 | -0.0051227 | -0.0012839 | 5.1268e-07 | 3.7221e-08 | 0.0077368 | 0.0077369 | 0.0077369 | 0.98535 | -0.28195 | 0.98524 | -0.28405 | 2.1255
24 | -0.043558 | -0.010944 | 0.043578 | 0.010957 | 1.9846e-05 | 1.2544e-05 | 0.065698 | 0.065698 | 0.065698 | 0.9867 | -0.2557 | 0.98719 | -0.24616 | 18.0489
25 | 0.029617 | 0.0074528 | -0.029571 | -0.0074243 | 4.5591e-05 | 2.8442e-05 | 0.045277 | 0.045277 | 0.045277 | 0.97358 | -0.5081 | 0.97194 | -0.54037 | 12.4388
26 | -0.064717 | -0.016262 | 0.064873 | 0.016361 | 0.00015572 | 9.9129e-05 | 0.098929 | 0.098929 | 0.098929 | 0.97358 | -0.5081 | 0.97614 | -0.45783 | 27.1783
27 | 0.035101 | 0.0088089 | -0.035077 | -0.0087942 | 2.3439e-05 | 1.4731e-05 | 0.053652 | 0.053652 | 0.053652 | 0.97358 | -0.5081 | 0.97287 | -0.52212 | 14.7396
28 | 0.029571 | 0.0074243 | -0.029556 | -0.0074151 | 1.4893e-05 | 9.2913e-06 | 0.045277 | 0.045277 | 0.045277 | 0.97194 | -0.54037 | 0.97141 | -0.55093 | 12.4389
29 | -0.064873 | -0.016361 | 0.06494 | 0.016403 | 6.6557e-05 | 4.237e-05 | 0.098929 | 0.098929 | 0.098929 | 0.97614 | -0.45783 | 0.97723 | -0.43642 | 27.1783
30 | 0.0179 | 0.0044893 | -0.017892 | -0.0044841 | 8.7424e-06 | 5.2092e-06 | 0.02738 | 0.02738 | 0.02738 | 0.97287 | -0.52212 | 0.97235 | -0.53237 | 7.522
31 | 0.0063607 | 0.0015941 | -0.0063604 | -0.0015941 | 2.3734e-07 | 6.0389e-08 | 0.0094951 | 0.0094951 | 0.0094951 | 0.99681 | -0.060244 | 0.99677 | -0.061027 | 2.6085
32 | 0.015014 | 0.0037634 | -0.015012 | -0.0037623 | 1.9067e-06 | 1.0878e-06 | 0.022389 | 0.022389 | 0.022389 | 0.99783 | -0.04143 | 0.99769 | -0.044096 | 6.1509
33 | 0.17153 | 0.043514 | -0.17127 | -0.043352 | 0.000254 | 0.00016135 | 0.25599 | 0.25599 | 0.25599 | 0.99779 | -0.042023 | 0.99618 | -0.072868 | 23.4421
34 | 0.0084568 | 0.0021196 | -0.0084562 | -0.0021193 | 5.2188e-07 | 2.3134e-07 | 0.012954 | 0.012954 | 0.012954 | 0.97141 | -0.55093 | 0.97134 | -0.55223 | 3.5589
35 | 0.021099 | 0.0052955 | -0.021091 | -0.0052901 | 8.8781e-06 | 5.4016e-06 | 0.032323 | 0.032323 | 0.032323 | 0.97141 | -0.55093 | 0.97096 | -0.55976 | 8.88
36 | 0.12542 | 0.031764 | -0.12535 | -0.031723 | 6.4844e-05 | 4.1436e-05 | 0.18773 | 0.18773 | 0.18773 | 0.99472 | -0.10074 | 0.99416 | -0.11151 | 51.5744
37 | 0.028289 | 0.0071052 | -0.028266 | -0.007091 | 2.2914e-05 | 1.4222e-05 | 0.042323 | 0.042323 | 0.042323 | 0.99472 | -0.10074 | 0.99384 | -0.11773 | 11.6273
38 | -0.15371 | -0.03887 | 0.15391 | 0.039001 | 0.0002058 | 0.00013117 | 0.23005 | 0.23005 | 0.23005 | 0.99472 | -0.10074 | 0.99618 | -0.072868 | 31.6008
39 | 0.12535 | 0.031723 | -0.12509 | -0.031556 | 0.00026116 | 0.00016689 | 0.18773 | 0.18773 | 0.18773 | 0.99416 | -0.11151 | 0.9919 | -0.15502 | 51.5744
40 | 0.028266 | 0.007091 | -0.028247 | -0.0070794 | 1.8642e-05 | 1.1572e-05 | 0.042323 | 0.042323 | 0.042323 | 0.99384 | -0.11773 | 0.99313 | -0.13157 | 11.6273
41 | 0.10233 | 0.025853 | -0.10206 | -0.02568 | 0.00026958 | 0.00017214 | 0.15359 | 0.15359 | 0.15359 | 0.9919 | -0.15502 | 0.98905 | -0.21014 | 42.1955
42 | 0.021091 | 0.0052901 | -0.021081 | -0.0052843 | 9.4455e-06 | 5.7471e-06 | 0.032323 | 0.032323 | 0.032323 | 0.97096 | -0.55976 | 0.97049 | -0.56916 | 8.8801
43 | 0.014643 | 0.0036709 | -0.014642 | -0.0036698 | 1.8363e-06 | 1.0552e-06 | 0.022453 | 0.022453 | 0.022453 | 0.97049 | -0.56916 | 0.97035 | -0.57179 | 6.1683
44 | 0.017685 | 0.0044349 | -0.017677 | -0.0044302 | 8.0679e-06 | 4.7919e-06 | 0.026929 | 0.026929 | 0.026929 | 0.97723 | -0.43642 | 0.97674 | -0.446 | 7.3981
45 | -0.082538 | -0.020732 | 0.08268 | 0.020822 | 0.00014215 | 9.0665e-05 | 0.12443 | 0.12443 | 0.12443 | 0.98719 | -0.24616 | 0.98905 | -0.21014 | 34.1833
46 | 0.03896 | 0.009775 | -0.038945 | -0.0097655 | 1.5062e-05 | 9.4909e-06 | 0.058729 | 0.058729 | 0.058729 | 0.98719 | -0.24616 | 0.98677 | -0.25427 | 16.1344
47 | -0.0082263 | -0.0020617 | 0.0082279 | 0.0020624 | 1.6754e-06 | 7.2569e-07 | 0.012618 | 0.012617 | 0.012618 | 0.97014 | -0.57607 | 0.97035 | -0.57179 | 3.4664
48 | -0.019355 | -0.0048507 | 0.019369 | 0.0048593 | 1.4212e-05 | 8.5289e-06 | 0.029209 | 0.029209 | 0.029209 | 0.98598 | -0.26968 | 0.98677 | -0.25427 | 8.0246

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43971 | 0.11163

## res_load
| p_mw | q_mvar
0 | 0.028237 | 0.0070768
1 | 0.021108 | 0.00529
2 | 0.026912 | 0.0067448
3 | 0.021678 | 0.005433
4 | 0.019682 | 0.0049328
5 | 0.0056928 | 0.0014267
6 | 0.0049926 | 0.0012513
7 | 0.0095172 | 0.0023852
8 | 0.018152 | 0.0045494
9 | 0.0051227 | 0.0012839
10 | 0.017177 | 0.0043049
11 | 0.013814 | 0.0034622
12 | 0.016942 | 0.004246
13 | 0.017362 | 0.0043514
14 | 0.022757 | 0.0057035
15 | 0.028247 | 0.0070794
16 | 0.0064378 | 0.0016135
17 | 0.011095 | 0.0027806
18 | 0.017892 | 0.0044841
19 | 0.0063604 | 0.0015941
20 | 0.015012 | 0.0037623
21 | 0.0084562 | 0.0021193
22 | 0.0082263 | 0.0020617
23 | 0.0064136 | 0.0016074
24 | 0.019355 | 0.0048507
25 | 0.019576 | 0.0049062
26 | 0.019385 | 0.0048583
27 | 0.017677 | 0.0044302

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1