## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-24_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-24_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-24_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-24_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-24_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-24_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-24_0_7_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1059-24_0_7_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_1059-24_0_7_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_1059-24_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1059-24_0_7_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1059-24_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1059-24_0_7_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_1059-24_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1059-24_0_7_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1059-24_0_7_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_1059-24_0_7_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1059-24_0_7_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1059-24_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1059-24_0_7_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1059-24_0_7_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1059-24_0_7_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_1059-24_0_7_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1059-24_0_7_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1059-24_0_7_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1059-24_0_7_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1059-24_0_7_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1059-24_0_7_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1059-24_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1059-24_0_7_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_1059-24_0_7_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1059-24_0_7_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1059-24_0_7_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1059-24_0_7_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_1059-24_0_7_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_1059-24_0_7_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1059-24_0_7_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1059-24_0_7_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_1059-24_0_7_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1059-24_0_7_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1059-24_0_7_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_1059-24_0_7_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_1059-24_0_7_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1059-24_0_7_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_1059-24_0_7_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_1059-24_0_7_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_1059-24_0_7_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_1059-24_0_7_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_1059-24_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1059-24_0_7_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_1059-24_0_7_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_1059-24_0_7_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_1059-24_0_7_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1059-24_0_7_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1059-24_0_7_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_1059-24_0_7_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1059-24_0_7_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_1059-24_0_7_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1059-24_0_7_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_1059-24_0_7_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_1059-24_0_7_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_1059-24_0_7_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1059-24_0_7_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1059-24_0_7_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1059-24_0_7_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1059-24_0_7_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1059-24_0_7_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_1059-24_0_7_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_1059-24_0_7_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1059-24_0_7_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_1059-24_0_7_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1059-24_0_7_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_1059-24_0_7_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_1059-24_0_7_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_1059-24_0_7_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_1059-24_0_7_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_1059-24_0_7_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_1059-24_0_7_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1059-24_0_7_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_1059-24_0_7_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_1059-24_0_7_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_1059-24_0_7_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_1059-24_0_7_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_1059-24_0_7_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_1059-24_0_7_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_1059-24_0_7_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_1059-24_0_7_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_1059-24_0_7_node_84 | 0.4 | n |  | TRUE
88 | bus_MV_24_1_node_199 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-24_0_7_load_0 | 0 | 0.014248 | 0.0035709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-24_0_7_load_1 | 1 | 0.013363 | 0.003349 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-24_0_7_load_27 | 6 | 0.0031515 | 0.00078985 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-24_0_7_load_29 | 8 | 0.0045584 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-24_0_7_load_56 | 12 | 0.010928 | 0.0027388 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-24_0_7_load_55 | 15 | 0.010424 | 0.0026124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-24_0_7_load_40 | 19 | 0.0030853 | 0.00077326 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-24_0_7_load_74 | 21 | 0.0022482 | 0.00056345 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-24_0_7_load_41 | 22 | 0.0050433 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-24_0_7_load_37 | 23 | 0.0099507 | 0.0024939 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-24_0_7_load_36 | 24 | 0.014998 | 0.0037588 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-24_0_7_load_32 | 26 | 0.0044117 | 0.0011057 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-24_0_7_load_54 | 29 | 0.0044919 | 0.0011258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-24_0_7_load_52 | 30 | 0.012617 | 0.0031622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-24_0_7_load_66 | 33 | 0.015661 | 0.0039249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-24_0_7_load_86 | 34 | 0.0022866 | 0.00057309 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-24_0_7_load_53 | 37 | 0.012162 | 0.003048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-24_0_7_load_31 | 38 | 0.0085265 | 0.0021369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-24_0_7_load_89 | 40 | 0.014919 | 0.003739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-24_0_7_load_90 | 41 | 0.016855 | 0.0042243 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-24_0_7_load_63 | 43 | 0.015837 | 0.003969 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-24_0_7_load_62 | 44 | 0.012741 | 0.0031931 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-24_0_7_load_61 | 45 | 0.013233 | 0.0033165 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-24_0_7_load_35 | 48 | 0.0021702 | 0.00054391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-24_0_7_load_30 | 49 | 0.0091515 | 0.0022936 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-24_0_7_load_85 | 50 | 0.0031784 | 0.00079657 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-24_0_7_load_83 | 51 | 0.01076 | 0.0026968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-24_0_7_load_39 | 52 | 0.0057473 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-24_0_7_load_50 | 53 | 0.0022491 | 0.00056367 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-24_0_7_load_38 | 54 | 0.0099482 | 0.0024933 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-24_0_7_load_60 | 57 | 0.012387 | 0.0031044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-24_0_7_load_33 | 59 | 0.0044567 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-24_0_7_load_43 | 61 | 0.0022841 | 0.00057246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-24_0_7_load_44 | 62 | 0.0022844 | 0.00057253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-24_0_7_load_46 | 64 | 0.0022869 | 0.00057316 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-24_0_7_load_47 | 65 | 0.0022483 | 0.00056348 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-24_0_7_load_49 | 66 | 0.0022505 | 0.00056402 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-24_0_7_load_73 | 67 | 0.0068032 | 0.001705 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-24_0_7_load_51 | 68 | 0.0027386 | 0.00068636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-24_0_7_load_72 | 69 | 0.0027395 | 0.00068659 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-24_0_7_load_57 | 70 | 0.013105 | 0.0032844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-24_0_7_load_58 | 71 | 0.0097276 | 0.002438 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-24_0_7_load_65 | 73 | 0.007984 | 0.002001 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-24_0_7_load_68 | 74 | 0.005712 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-24_0_7_load_71 | 77 | 0.0014814 | 0.00037127 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-24_0_7_load_87 | 78 | 0.0059217 | 0.0014841 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-24_0_7_load_88 | 79 | 0.0053679 | 0.0013453 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-24_0_7_load_75 | 80 | 0.0014368 | 0.0003601 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-24_0_7_load_76 | 81 | 0.0014229 | 0.00035661 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-24_0_7_load_77 | 82 | 0.0016536 | 0.00041442 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-24_0_7_load_78 | 83 | 0.0092917 | 0.0023287 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-24_0_7_load_81 | 85 | 0.010083 | 0.002527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-24_0_7_load_82 | 86 | 0.0096178 | 0.0024104 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-24_0_7_load_84 | 87 | 0.0083359 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-24_0_7_line_0 |  | 0 | 1 | 0.045104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1059-24_0_7_line_1 |  | 0 | 2 | 0.0097839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-24_0_7_line_2 |  | 1 | 3 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1059-24_0_7_line_3 |  | 2 | 4 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-24_0_7_line_4 |  | 3 | 5 | 0.002884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1059-24_0_7_line_5 |  | 4 | 6 | 0.0348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-24_0_7_line_6 |  | 5 | 7 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-24_0_7_line_7 |  | 5 | 8 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1059-24_0_7_line_8 |  | 7 | 49 | 0.022771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-24_0_7_line_9 |  | 8 | 9 | 0.034824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1059-24_0_7_line_10 |  | 9 | 10 | 0.022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1059-24_0_7_line_11 |  | 10 | 22 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1059-24_0_7_line_12 |  | 11 | 12 | 0.069541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-24_0_7_line_13 |  | 11 | 13 | 0.29625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1059-24_0_7_line_14 |  | 11 | 14 | 0.051079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1059-24_0_7_line_15 |  | 11 | 15 | 0.041902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-24_0_7_line_16 |  | 12 | 46 | 0.022266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-24_0_7_line_17 |  | 13 | 20 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1059-24_0_7_line_18 |  | 13 | 21 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-24_0_7_line_19 |  | 14 | 23 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1059-24_0_7_line_20 |  | 14 | 24 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-24_0_7_line_21 |  | 16 | 17 | 0.021147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1059-24_0_7_line_22 |  | 16 | 18 | 0.042567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1059-24_0_7_line_23 |  | 16 | 19 | 0.059667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1059-24_0_7_line_24 |  | 17 | 50 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-24_0_7_line_25 |  | 17 | 51 | 0.007954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-24_0_7_line_26 |  | 18 | 22 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1059-24_0_7_line_27 |  | 19 | 52 | 0.032689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1059-24_0_7_line_28 |  | 20 | 34 | 0.050184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1059-24_0_7_line_29 |  | 21 | 53 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-24_0_7_line_30 |  | 23 | 54 | 0.027307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1059-24_0_7_line_31 |  | 25 | 26 | 0.037615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-24_0_7_line_32 |  | 25 | 27 | 0.045444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-24_0_7_line_33 |  | 26 | 29 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-24_0_7_line_34 |  | 27 | 38 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-24_0_7_line_35 |  | 28 | 29 | 0.05411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-24_0_7_line_36 |  | 28 | 30 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-24_0_7_line_37 |  | 30 | 37 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-24_0_7_line_38 |  | 31 | 32 | 0.043635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-24_0_7_line_39 |  | 31 | 33 | 0.011245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-24_0_7_line_40 |  | 32 | 34 | 0.082326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1059-24_0_7_line_41 |  | 32 | 39 | 0.06253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-24_0_7_line_42 |  | 32 | 42 | 0.09107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1059-24_0_7_line_43 |  | 33 | 55 | 0.023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-24_0_7_line_44 |  | 35 | 36 | 0.025696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-24_0_7_line_45 |  | 35 | 37 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-24_0_7_line_46 |  | 36 | 45 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-24_0_7_line_47 |  | 36 | 39 | 0.043246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-24_0_7_line_48 |  | 39 | 40 | 0.006573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-24_0_7_line_49 |  | 39 | 41 | 0.031124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-24_0_7_line_50 |  | 42 | 43 | 0.0073091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-24_0_7_line_51 |  | 42 | 44 | 0.038554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-24_0_7_line_52 |  | 43 | 56 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-24_0_7_line_53 |  | 45 | 57 | 0.020915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-24_0_7_line_54 |  | 46 | 47 | 0.12622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-24_0_7_line_55 |  | 47 | 48 | 0.039556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-24_0_7_line_56 |  | 48 | 58 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-24_0_7_line_57 |  | 51 | 60 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-24_0_7_line_58 |  | 52 | 54 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1059-24_0_7_line_59 |  | 53 | 65 | 0.008913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-24_0_7_line_60 |  | 55 | 74 | 0.018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-24_0_7_line_61 |  | 55 | 75 | 0.035686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-24_0_7_line_62 |  | 56 | 73 | 0.0056335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-24_0_7_line_63 |  | 57 | 72 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-24_0_7_line_64 |  | 58 | 59 | 0.0054325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-24_0_7_line_65 |  | 60 | 86 | 0.030901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-24_0_7_line_66 |  | 60 | 83 | 0.0035768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-24_0_7_line_67 |  | 61 | 62 | 0.00015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-24_0_7_line_68 |  | 61 | 63 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-24_0_7_line_69 |  | 62 | 64 | 0.00016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-24_0_7_line_70 |  | 63 | 65 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-24_0_7_line_71 |  | 64 | 66 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-24_0_7_line_72 |  | 66 | 67 | 0.0024809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-24_0_7_line_73 |  | 67 | 69 | 0.0037708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-24_0_7_line_74 |  | 68 | 69 | 0.0038545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-24_0_7_line_75 |  | 70 | 71 | 0.022921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-24_0_7_line_76 |  | 70 | 72 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-24_0_7_line_77 |  | 75 | 76 | 0.005914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-24_0_7_line_78 |  | 75 | 77 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-24_0_7_line_79 |  | 76 | 78 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-24_0_7_line_80 |  | 76 | 79 | 0.037778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-24_0_7_line_81 |  | 77 | 80 | 0.008444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-24_0_7_line_82 |  | 80 | 81 | 0.0068968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-24_0_7_line_83 |  | 81 | 82 | 0.0055373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-24_0_7_line_84 |  | 83 | 84 | 0.0269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1059-24_0_7_line_85 |  | 84 | 85 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1059-24_0_7_line_86 |  | 86 | 87 | 0.0067664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-24_0_7_trafo_22 | 0.63 MVA 20/0.4 kV | 88 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2664092.4439 | 1209935.5251 | 2664083.0409 | 1209942.2602 | 2664059.1005 | 1209939.2347 | 2664049.8953 | 1209937.2996
1 | 2664100.3979 | 1209929.8279 | 2664092.4439 | 1209935.5251
2 | 2664035.1671 | 1209934.1415 | 2664035.6366 | 1209934.3022 | 2664049.8953 | 1209937.2996
3 | 2664115.0317 | 1209921.1353 | 2664100.3979 | 1209929.8279
4 | 2664032.4254 | 1209933.2226 | 2664035.1671 | 1209934.1415
5 | 2664115.0317 | 1209921.1353 | 2664126.1334 | 1209920.7098 | 2664139.0184 | 1209919.8589 | 2664149.5153 | 1209917.0144
6 | 2664024.7642 | 1209945.2255 | 2664030.9636 | 1209937.6985 | 2664032.4254 | 1209933.2226
7 | 2664032.4254 | 1209933.2226 | 2664028.0422 | 1209932.2861 | 2664015.5662 | 1209929.1305
8 | 2664024.7642 | 1209945.2255 | 2664037.9482 | 1209940.5863 | 2664046.4891 | 1209942.6818
9 | 2663981.6674 | 1209921.1598 | 2663992.5781 | 1209923.6672 | 2664011.5628 | 1209928.1179 | 2664015.5662 | 1209929.1305
10 | 2663976.7152 | 1209943.5093 | 2663977.7442 | 1209940.4073 | 2663978.2951 | 1209937.9451 | 2663981.1608 | 1209925.168 | 2663981.6674 | 1209921.1598
11 | 2663976.7152 | 1209943.5093 | 2663980.3926 | 1209949.3078 | 2663981.9784 | 1209952.4045 | 2663987.2052 | 1209959.0201 | 2663993.1747 | 1209965.3514
12 | 2664206.8716 | 1210088.5692 | 2664205.1442 | 1210092.2973 | 2664201.4406 | 1210095.3149 | 2664198.3637 | 1210096.6048 | 2664194.1751 | 1210097.3713 | 2664170.0049 | 1210098.8123 | 2664141.3388 | 1210102.0395
13 | 2664206.8716 | 1210088.5692 | 2664211.8053 | 1210089.9008 | 2664212.6314 | 1210090.121 | 2664213.1004 | 1210088.9142 | 2664214.3629 | 1210087.4268 | 2664216.4709 | 1210085.7707 | 2664219.1303 | 1210085.1434 | 2664221.6271 | 1210085.4927 | 2664224.1216 | 1210086.0643 | 2664224.2736 | 1210085.3544 | 2664224.898 | 1210082.426 | 2664225.5226 | 1210079.4754 | 2664225.7068 | 1210078.6102 | 2664228.0954 | 1210079.1251 | 2664289.1153 | 1210092.3345 | 2664300.8152 | 1210094.2061 | 2664315.3258 | 1210095.5188 | 2664332.9046 | 1210095.6528 | 2664364.9129 | 1210095.4533 | 2664376.182 | 1210094.9856 | 2664387.915 | 1210094.5008 | 2664394.4672 | 1210094.4603 | 2664406.8418 | 1210094.3827 | 2664407.3751 | 1210076.6665 | 2664407.9535 | 1210072.3701 | 2664405.5715 | 1210071.2437 | 2664403.8585 | 1210033.4911 | 2664403.2196 | 1210019.4534 | 2664393.7025 | 1210020.2512
14 | 2664177.9643 | 1210066.8784 | 2664173.9335 | 1210069.2253 | 2664178.9094 | 1210070.8687 | 2664209.0816 | 1210078.8537 | 2664206.8716 | 1210088.5692
15 | 2664206.8716 | 1210088.5692 | 2664202.1049 | 1210087.2615 | 2664201.6275 | 1210087.1341 | 2664201.7047 | 1210084.9002 | 2664199.2925 | 1210081.6278 | 2664194.531 | 1210079.1307 | 2664177.7515 | 1210075.3479 | 2664170.5274 | 1210073.0278
16 | 2664120.0111 | 1210108.4365 | 2664141.3388 | 1210102.0395
17 | 2664393.7025 | 1210020.2512 | 2664394.3407 | 1210016.0555 | 2664392.3823 | 1210010.1752 | 2664388.0492 | 1210007.4268 | 2664382.9022 | 1210006.1372
18 | 2664393.7025 | 1210020.2512 | 2664391.8378 | 1210024.0111 | 2664388.3211 | 1210026.597 | 2664383.5132 | 1210027.7014 | 2664378.3866 | 1210028.0564
19 | 2664177.9643 | 1210066.8784 | 2664172.8801 | 1210065.4006 | 2664161.4766 | 1210062.1781
20 | 2664177.9643 | 1210066.8784 | 2664182.6855 | 1210065.3504 | 2664189.6521 | 1210066.0274
21 | 2664049.584 | 1210002.2711 | 2664036.0884 | 1209998.4239 | 2664030.3719 | 1210002.743
22 | 2664030.3719 | 1210002.743 | 2664024.2168 | 1209999.0636 | 2664017.1946 | 1209994.7301 | 2663999.4432 | 1209983.0326 | 2663994.6226 | 1209979.6566
23 | 2664030.3719 | 1210002.743 | 2664041.8512 | 1210009.6148 | 2664065.6992 | 1210022.6342 | 2664082.921 | 1210030.9346
24 | 2664060.728 | 1210004.9701 | 2664056.0779 | 1210004.1197 | 2664049.584 | 1210002.2711
25 | 2664049.584 | 1210002.2711 | 2664051.7213 | 1209996.4682 | 2664052.7619 | 1209995.0363
26 | 2663994.6226 | 1209979.6566 | 2664000.5691 | 1209975.151 | 2663997.0009 | 1209969.7984 | 2663993.2625 | 1209965.4445 | 2663993.1747 | 1209965.3514
27 | 2664082.921 | 1210030.9346 | 2664087.6881 | 1210033.2323 | 2664112.6301 | 1210044.5671
28 | 2664382.9022 | 1210006.1372 | 2664356.7876 | 1210005.9999 | 2664340.8988 | 1210002.7822 | 2664333.4131 | 1210000.3921
29 | 2664378.3866 | 1210028.0564 | 2664367.958 | 1210028.7786
30 | 2664161.4766 | 1210062.1781 | 2664156.1109 | 1210060.6619 | 2664140.1621 | 1210055.2538 | 2664135.5976 | 1210053.4995
31 | 2664387.6727 | 1209928.9303 | 2664377.1712 | 1209929.3729 | 2664353.2853 | 1209929.76 | 2664350.1154 | 1209930.2962
32 | 2664366.744 | 1209895.4619 | 2664367.6753 | 1209909.1804 | 2664369.3274 | 1209919.4934 | 2664373.3351 | 1209924.2284 | 2664387.6727 | 1209928.9303
33 | 2664328.2665 | 1209932.1152 | 2664338.2082 | 1209932.3101 | 2664350.1154 | 1209930.2962
34 | 2664366.744 | 1209895.4619 | 2664373.4563 | 1209893.2774 | 2664386.9544 | 1209893.4423
35 | 2664275.9839 | 1209919.9878 | 2664285.4514 | 1209924.5036 | 2664301.6051 | 1209928.5579 | 2664320.578 | 1209931.9644 | 2664328.2665 | 1209932.1152
36 | 2664275.9839 | 1209919.9878 | 2664266.0605 | 1209917.5886
37 | 2664266.0605 | 1209917.5886 | 2664246.3953 | 1209912.8341
38 | 2664253.6943 | 1209985.977 | 2664249.2094 | 1209981.0813 | 2664248.1971 | 1209979.803 | 2664246.2869 | 1209974.3791 | 2664252.903 | 1209971.9488 | 2664274.0865 | 1209964.1721
39 | 2664274.0865 | 1209964.1721 | 2664275.2324 | 1209957.9918 | 2664278.7812 | 1209954.5279
40 | 2664253.6943 | 1209985.977 | 2664258.2756 | 1209988.2833 | 2664266.6721 | 1209990.6084 | 2664275.3205 | 1209990.7239 | 2664284.0985 | 1209989.3954 | 2664293.2305 | 1209989.0713 | 2664303.7073 | 1209990.9075 | 2664333.4131 | 1210000.3921
41 | 2664220.0161 | 1209953.4391 | 2664237.4446 | 1209950.625 | 2664238.5748 | 1209955.0732 | 2664240.3396 | 1209973.2922 | 2664245.6667 | 1209971.9821 | 2664246.2869 | 1209974.3791 | 2664248.1971 | 1209979.803 | 2664249.2094 | 1209981.0813 | 2664253.6943 | 1209985.977
42 | 2664170.972 | 1209989.8339 | 2664201.1979 | 1209990.0368 | 2664220.4615 | 1209994.6691 | 2664222.4006 | 1209994.5899 | 2664233.4237 | 1209988.049 | 2664240.4592 | 1209984.0667 | 2664241.1979 | 1209986.0537 | 2664249.2094 | 1209981.0813 | 2664253.6943 | 1209985.977
43 | 2664300.4752 | 1209947.3572 | 2664294.5277 | 1209947.6933 | 2664286.2662 | 1209949.7612 | 2664278.7812 | 1209954.5279
44 | 2664226.7571 | 1209927.4069 | 2664234.3741 | 1209924.4871 | 2664238.2818 | 1209922.9949 | 2664236.2833 | 1209916.5917 | 2664234.9778 | 1209910.0737
45 | 2664234.9778 | 1209910.0737 | 2664246.3953 | 1209912.8341
46 | 2664226.7571 | 1209927.4069 | 2664213.6177 | 1209934.2364 | 2664205.9185 | 1209936.6513
47 | 2664220.0161 | 1209953.4391 | 2664237.4446 | 1209950.625 | 2664233.6799 | 1209940.9563 | 2664226.7571 | 1209927.4069
48 | 2664220.0161 | 1209953.4391 | 2664220.067 | 1209960.0104
49 | 2664220.0161 | 1209953.4391 | 2664199.9226 | 1209956.6917 | 2664196.8554 | 1209957.7816 | 2664195.8151 | 1209959.8049 | 2664195.2491 | 1209965.0798
50 | 2664170.972 | 1209989.8339 | 2664163.663 | 1209989.7855
51 | 2664170.972 | 1209989.8339 | 2664170.9026 | 1209992.0456 | 2664175.8902 | 1209992.6107 | 2664180.8175 | 1209993.8311 | 2664203.1776 | 1210004.5448 | 2664204.5678 | 1210004.9624
52 | 2664151.1342 | 1209990.5322 | 2664152.1159 | 1209989.7089 | 2664163.663 | 1209989.7855
53 | 2664205.9185 | 1209936.6513 | 2664185.9617 | 1209942.9109
54 | 2664120.0111 | 1210108.4365 | 2664071.3489 | 1210127.1476 | 2664074.1229 | 1210132.8252 | 2664076.5995 | 1210137.8883 | 2664079.8329 | 1210139.713 | 2664082.1523 | 1210141.0164 | 2664087.8314 | 1210140.8773 | 2664106.4636 | 1210136.3302 | 2664107.7819 | 1210136.0108 | 2664128.7964 | 1210133.9798 | 2664137.1865 | 1210134.7704
55 | 2664137.1865 | 1210134.7704 | 2664158.1277 | 1210136.7411 | 2664176.5634 | 1210138.5285
56 | 2664192.4387 | 1210140.0676 | 2664176.5634 | 1210138.5285
57 | 2664058.8898 | 1209980.0907 | 2664058.4034 | 1209985.7445 | 2664054.784 | 1209992.2541 | 2664052.7619 | 1209995.0363
58 | 2664135.5976 | 1210053.4995 | 2664114.1234 | 1210045.2457 | 2664112.6301 | 1210044.5671
59 | 2664359.0663 | 1210029.3943 | 2664367.958 | 1210028.7786
60 | 2664300.4752 | 1209947.3572 | 2664301.5803 | 1209954.1288 | 2664302.7201 | 1209966.1484
61 | 2664300.4752 | 1209947.3572 | 2664310.8678 | 1209948.5477 | 2664316.3817 | 1209950.3526 | 2664333.9933 | 1209958.7586
62 | 2664151.1342 | 1209990.5322 | 2664150.6278 | 1209990.9715 | 2664149.5864 | 1209995.8242
63 | 2664170.9854 | 1209947.6083 | 2664185.9617 | 1209942.9109
64 | 2664192.4387 | 1210140.0676 | 2664197.8456 | 1210140.594
65 | 2664058.8898 | 1209980.0907 | 2664067.1338 | 1209983.1811 | 2664073.1262 | 1209986.4363 | 2664087.6891 | 1209991.0541
66 | 2664058.8898 | 1209980.0907 | 2664059.0113 | 1209978.6801 | 2664057.6084 | 1209977.0365
67 | 2664330.3492 | 1210038.0658 | 2664330.505 | 1210038.0596
68 | 2664349.1565 | 1210033.4789 | 2664341.2924 | 1210036.7628 | 2664336.2264 | 1210037.831 | 2664330.505 | 1210038.0596
69 | 2664330.185 | 1210038.0724 | 2664330.3492 | 1210038.0658
70 | 2664349.1565 | 1210033.4789 | 2664353.3786 | 1210031.7233 | 2664359.0663 | 1210029.3943
71 | 2664330.185 | 1210038.0724 | 2664325.2691 | 1210038.2688 | 2664322.4558 | 1210039.0723 | 2664319.9629 | 1210041.18 | 2664319.4096 | 1210042.9757
72 | 2664319.4096 | 1210042.9757 | 2664318.679 | 1210045.3465 | 2664318.679 | 1210045.3465
73 | 2664319.6811 | 1210048.9817 | 2664319.6811 | 1210048.9817 | 2664318.679 | 1210045.3465
74 | 2664319.6811 | 1210048.9817 | 2664322.9115 | 1210051.0845
75 | 2664151.3181 | 1209952.8632 | 2664147.0654 | 1209953.9995 | 2664128.5505 | 1209954.3868
76 | 2664170.9854 | 1209947.6083 | 2664151.3181 | 1209952.8632
77 | 2664333.9933 | 1209958.7586 | 2664339.0912 | 1209961.7821
78 | 2664333.9933 | 1209958.7586 | 2664337.5147 | 1209957.8516 | 2664346.8234 | 1209958.7636 | 2664356.5314 | 1209961.3859
79 | 2664339.0912 | 1209961.7821 | 2664339.5459 | 1209972.4824
80 | 2664339.0912 | 1209961.7821 | 2664367.5403 | 1209979.4552 | 2664369.3215 | 1209983.4324
81 | 2664364.8176 | 1209962.9528 | 2664361.642 | 1209962.559 | 2664357.1986 | 1209961.5661 | 2664356.5314 | 1209961.3859
82 | 2664364.8176 | 1209962.9528 | 2664371.6619 | 1209963.8016
83 | 2664377.1572 | 1209964.4831 | 2664371.6619 | 1209963.8016
84 | 2664034.5764 | 1209965.0873 | 2664039.2289 | 1209969.9736 | 2664055.5059 | 1209974.5733 | 2664057.6084 | 1209977.0365
85 | 2664034.5764 | 1209965.0873 | 2664033.0046 | 1209971.3187 | 2664032.5562 | 1209979.808 | 2664028.5851 | 1209983.5331
86 | 2664094.1391 | 1209993.0993 | 2664087.6891 | 1209991.0541

## bus_geodata
| x | y | coords
0 | 2664092.4439 | 1209935.5251
1 | 2664049.8953 | 1209937.2996
2 | 2664100.3979 | 1209929.8279
3 | 2664035.1671 | 1209934.1415
4 | 2664115.0317 | 1209921.1353
5 | 2664032.4254 | 1209933.2226
6 | 2664149.5153 | 1209917.0144
7 | 2664024.7642 | 1209945.2255
8 | 2664015.5662 | 1209929.1305
9 | 2663981.6674 | 1209921.1598
10 | 2663976.7152 | 1209943.5093
11 | 2664206.8716 | 1210088.5692
12 | 2664141.3388 | 1210102.0395
13 | 2664393.7025 | 1210020.2512
14 | 2664177.9643 | 1210066.8784
15 | 2664170.5274 | 1210073.0278
16 | 2664030.3719 | 1210002.743
17 | 2664049.584 | 1210002.2711
18 | 2663994.6226 | 1209979.6566
19 | 2664082.921 | 1210030.9346
20 | 2664382.9022 | 1210006.1372
21 | 2664378.3866 | 1210028.0564
22 | 2663993.1747 | 1209965.3514
23 | 2664161.4766 | 1210062.1781
24 | 2664189.6521 | 1210066.0274
25 | 2664387.6727 | 1209928.9303
26 | 2664350.1154 | 1209930.2962
27 | 2664366.744 | 1209895.4619
28 | 2664275.9839 | 1209919.9878
29 | 2664328.2665 | 1209932.1152
30 | 2664266.0605 | 1209917.5886
31 | 2664274.0865 | 1209964.1721
32 | 2664253.6943 | 1209985.977
33 | 2664278.7812 | 1209954.5279
34 | 2664333.4131 | 1210000.3921
35 | 2664234.9778 | 1209910.0737
36 | 2664226.7571 | 1209927.4069
37 | 2664246.3953 | 1209912.8341
38 | 2664386.9544 | 1209893.4423
39 | 2664220.0161 | 1209953.4391
40 | 2664220.067 | 1209960.0104
41 | 2664195.2491 | 1209965.0798
42 | 2664170.972 | 1209989.8339
43 | 2664163.663 | 1209989.7855
44 | 2664204.5678 | 1210004.9624
45 | 2664205.9185 | 1209936.6513
46 | 2664120.0111 | 1210108.4365
47 | 2664137.1865 | 1210134.7704
48 | 2664176.5634 | 1210138.5285
49 | 2664046.4891 | 1209942.6818
50 | 2664060.728 | 1210004.9701
51 | 2664052.7619 | 1209995.0363
52 | 2664112.6301 | 1210044.5671
53 | 2664367.958 | 1210028.7786
54 | 2664135.5976 | 1210053.4995
55 | 2664300.4752 | 1209947.3572
56 | 2664151.1342 | 1209990.5322
57 | 2664185.9617 | 1209942.9109
58 | 2664192.4387 | 1210140.0676
59 | 2664197.8456 | 1210140.594
60 | 2664058.8898 | 1209980.0907
61 | 2664330.505 | 1210038.0596
62 | 2664330.3492 | 1210038.0658
63 | 2664349.1565 | 1210033.4789
64 | 2664330.185 | 1210038.0724
65 | 2664359.0663 | 1210029.3943
66 | 2664319.4096 | 1210042.9757
67 | 2664318.679 | 1210045.3465
68 | 2664322.9115 | 1210051.0845
69 | 2664319.6811 | 1210048.9817
70 | 2664151.3181 | 1209952.8632
71 | 2664128.5505 | 1209954.3868
72 | 2664170.9854 | 1209947.6083
73 | 2664149.5864 | 1209995.8242
74 | 2664302.7201 | 1209966.1484
75 | 2664333.9933 | 1209958.7586
76 | 2664339.0912 | 1209961.7821
77 | 2664356.5314 | 1209961.3859
78 | 2664339.5459 | 1209972.4824
79 | 2664369.3215 | 1209983.4324
80 | 2664364.8176 | 1209962.9528
81 | 2664371.6619 | 1209963.8016
82 | 2664377.1572 | 1209964.4831
83 | 2664057.6084 | 1209977.0365
84 | 2664034.5764 | 1209965.0873
85 | 2664028.5851 | 1209983.5331
86 | 2664087.6891 | 1209991.0541
87 | 2664094.1391 | 1209993.0993
88 | 2664151.1342 | 1209990.5322

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97204 | -0.53918 | 0.014248 | 0.0035709
1 | 0.97241 | -0.53194 | 0.013363 | 0.003349
2 | 0.97201 | -0.53975 | 0 | 0
3 | 0.97249 | -0.53024 | 0 | 0
4 | 0.97196 | -0.54074 | 0 | 0
5 | 0.97251 | -0.52991 | 0 | 0
6 | 0.97186 | -0.54276 | 0.0031515 | 0.00078985
7 | 0.97239 | -0.53235 | 0 | 0
8 | 0.97264 | -0.52736 | 0.0045584 | 0.0011424
9 | 0.97293 | -0.52165 | 0 | 0
10 | 0.97312 | -0.51789 | 0 | 0
11 | 0.97858 | -0.41064 | 0 | 0
12 | 0.97744 | -0.43289 | 0.010928 | 0.0027388
13 | 0.9881 | -0.2263 | 0 | 0
14 | 0.9772 | -0.43756 | 0 | 0
15 | 0.97817 | -0.41859 | 0.010424 | 0.0026124
16 | 0.97392 | -0.50204 | 0 | 0
17 | 0.97341 | -0.51201 | 0 | 0
18 | 0.97353 | -0.50979 | 0 | 0
19 | 0.97504 | -0.47995 | 0.0030853 | 0.00077326
20 | 0.98887 | -0.21136 | 0 | 0
21 | 0.98761 | -0.23566 | 0.0022482 | 0.00056345
22 | 0.97334 | -0.51339 | 0.0050433 | 0.001264
23 | 0.97679 | -0.44567 | 0.0099507 | 0.0024939
24 | 0.97703 | -0.44083 | 0.014998 | 0.0037588
25 | 0.97954 | -0.39373 | 0 | 0
26 | 0.97983 | -0.3879 | 0.0044117 | 0.0011057
27 | 0.97918 | -0.40077 | 0 | 0
28 | 0.98097 | -0.36563 | 0 | 0
29 | 0.9801 | -0.38273 | 0.0044919 | 0.0011258
30 | 0.98113 | -0.36241 | 0.012617 | 0.0031622
31 | 0.99231 | -0.14615 | 0 | 0
32 | 0.99385 | -0.11633 | 0 | 0
33 | 0.99191 | -0.15385 | 0.015661 | 0.0039249
34 | 0.99075 | -0.17552 | 0.0022866 | 0.00057309
35 | 0.98216 | -0.34244 | 0 | 0
36 | 0.98316 | -0.32286 | 0 | 0
37 | 0.9817 | -0.3514 | 0.012162 | 0.003048
38 | 0.97902 | -0.40396 | 0.0085265 | 0.0021369
39 | 0.98678 | -0.25241 | 0 | 0
40 | 0.98669 | -0.25417 | 0.014919 | 0.003739
41 | 0.9863 | -0.26181 | 0.016855 | 0.0042243
42 | 1 | 0 | -0.40909 | -0.10471
43 | 0.99984 | -0.0030352 | 0.015837 | 0.003969
44 | 0.99955 | -0.0085657 | 0.012741 | 0.0031931
45 | 0.98213 | -0.34287 | 0.013233 | 0.0033165
46 | 0.97731 | -0.43559 | 0 | 0
47 | 0.97653 | -0.45087 | 0 | 0
48 | 0.97629 | -0.45567 | 0.0021702 | 0.00054391
49 | 0.97219 | -0.53619 | 0.0091515 | 0.0022936
50 | 0.97338 | -0.51267 | 0.0031784 | 0.00079657
51 | 0.97306 | -0.51904 | 0.01076 | 0.0026968
52 | 0.97567 | -0.46751 | 0.0057473 | 0.0014404
53 | 0.98736 | -0.2405 | 0.0022491 | 0.00056367
54 | 0.97618 | -0.45761 | 0.0099482 | 0.0024933
55 | 0.99142 | -0.16336 | 0 | 0
56 | 0.99975 | -0.0048212 | 0 | 0
57 | 0.98145 | -0.35619 | 0.012387 | 0.0031044
58 | 0.97622 | -0.45697 | 0 | 0
59 | 0.9762 | -0.45741 | 0.0044567 | 0.0011169
60 | 0.97248 | -0.53043 | 0 | 0
61 | 0.98658 | -0.25581 | 0.0022841 | 0.00057246
62 | 0.98658 | -0.25586 | 0.0022844 | 0.00057253
63 | 0.98696 | -0.24837 | 0 | 0
64 | 0.98657 | -0.25591 | 0.0022869 | 0.00057316
65 | 0.98717 | -0.24427 | 0.0022483 | 0.00056348
66 | 0.9864 | -0.25929 | 0.0022505 | 0.00056402
67 | 0.98637 | -0.25984 | 0.0068032 | 0.001705
68 | 0.98634 | -0.2604 | 0.0027386 | 0.00068636
69 | 0.98635 | -0.26021 | 0.0027395 | 0.00068659
70 | 0.98069 | -0.37109 | 0.013105 | 0.0032844
71 | 0.98049 | -0.37514 | 0.0097276 | 0.002438
72 | 0.98112 | -0.36267 | 0 | 0
73 | 0.99971 | -0.0056056 | 0.007984 | 0.002001
74 | 0.99132 | -0.16528 | 0.005712 | 0.0014316
75 | 0.99086 | -0.17431 | 0 | 0
76 | 0.9908 | -0.1755 | 0 | 0
77 | 0.99073 | -0.17676 | 0.0014814 | 0.00037127
78 | 0.99074 | -0.17662 | 0.0059217 | 0.0014841
79 | 0.99061 | -0.1791 | 0.0053679 | 0.0013453
80 | 0.9907 | -0.17744 | 0.0014368 | 0.0003601
81 | 0.99068 | -0.17782 | 0.0014229 | 0.00035661
82 | 0.99067 | -0.17798 | 0.0016536 | 0.00041442
83 | 0.97242 | -0.53171 | 0.0092917 | 0.0023287
84 | 0.97216 | -0.53671 | 0 | 0
85 | 0.97197 | -0.5405 | 0.010083 | 0.002527
86 | 0.97196 | -0.54066 | 0.0096178 | 0.0024104
87 | 0.97191 | -0.5417 | 0.0083359 | 0.0020892
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0174 | -0.0043603 | 0.017406 | 0.004363 | 5.9999e-06 | 2.7213e-06 | 0.026636 | 0.026636 | 0.026636 | 0.97204 | -0.53918 | 0.97241 | -0.53194 | 3.6588
1 | 0.0031521 | 0.00078943 | -0.003152 | -0.00078949 | 8.5417e-08 | -6.6609e-08 | 0.004825 | 0.0048251 | 0.0048251 | 0.97204 | -0.53918 | 0.97201 | -0.53975 | 1.3256
2 | -0.030769 | -0.0077121 | 0.030771 | 0.0077127 | 2.5051e-06 | 6.6864e-07 | 0.047084 | 0.047084 | 0.047084 | 0.97241 | -0.53194 | 0.97249 | -0.53024 | 2.587
3 | 0.003152 | 0.00078949 | -0.0031518 | -0.00078961 | 1.483e-07 | -1.1562e-07 | 0.0048251 | 0.0048251 | 0.0048251 | 0.97201 | -0.53975 | 0.97196 | -0.54074 | 1.3256
4 | -0.030771 | -0.0077127 | 0.030772 | 0.0077129 | 4.7951e-07 | 1.2797e-07 | 0.047084 | 0.047084 | 0.047084 | 0.97249 | -0.53024 | 0.97251 | -0.52991 | 2.587
5 | 0.0031518 | 0.00078961 | -0.0031515 | -0.00078985 | 3.0384e-07 | -2.368e-07 | 0.0048251 | 0.0048253 | 0.0048253 | 0.97196 | -0.54074 | 0.97186 | -0.54276 | 1.3256
6 | 0.0091543 | 0.0022949 | -0.0091532 | -0.0022944 | 1.0631e-06 | 5.011e-07 | 0.014007 | 0.014007 | 0.014007 | 0.97251 | -0.52991 | 0.97239 | -0.53235 | 3.8481
7 | -0.039926 | -0.010008 | 0.039931 | 0.01001 | 4.8566e-06 | 2.0316e-06 | 0.061091 | 0.06109 | 0.061091 | 0.97251 | -0.52991 | 0.97264 | -0.52736 | 3.3566
8 | 0.0091532 | 0.0022944 | -0.0091515 | -0.0022936 | 1.6753e-06 | 7.8981e-07 | 0.014007 | 0.014007 | 0.014007 | 0.97239 | -0.53235 | 0.97219 | -0.53619 | 3.8481
9 | -0.044489 | -0.011152 | 0.044501 | 0.011158 | 1.21e-05 | 5.5821e-06 | 0.068064 | 0.068063 | 0.068064 | 0.97264 | -0.52736 | 0.97293 | -0.52165 | 3.7398
10 | -0.044501 | -0.011158 | 0.044509 | 0.011161 | 7.9654e-06 | 3.6741e-06 | 0.068063 | 0.068063 | 0.068063 | 0.97293 | -0.52165 | 0.97312 | -0.51789 | 3.7397
11 | -0.044509 | -0.011161 | 0.044519 | 0.011166 | 9.547e-06 | 4.4028e-06 | 0.068063 | 0.068062 | 0.068063 | 0.97312 | -0.51789 | 0.97334 | -0.51339 | 3.7397
12 | 0.017581 | 0.0044129 | -0.017562 | -0.0044019 | 1.8641e-05 | 1.1058e-05 | 0.026736 | 0.026736 | 0.026736 | 0.97858 | -0.41064 | 0.97744 | -0.43289 | 7.3451
13 | -0.1732 | -0.04365 | 0.17474 | 0.044618 | 0.0015421 | 0.00096813 | 0.26345 | 0.26344 | 0.26345 | 0.97858 | -0.41064 | 0.9881 | -0.2263 | 14.4753
14 | 0.14519 | 0.036623 | -0.145 | -0.036506 | 0.00018687 | 0.00011639 | 0.22086 | 0.22086 | 0.22086 | 0.97858 | -0.41064 | 0.9772 | -0.43756 | 12.1352
15 | 0.010427 | 0.0026144 | -0.010424 | -0.0026124 | 3.9508e-06 | 2.0023e-06 | 0.015856 | 0.015857 | 0.015857 | 0.97858 | -0.41064 | 0.97817 | -0.41859 | 4.3562
16 | 0.0066345 | 0.0016631 | -0.0066336 | -0.0016628 | 8.518e-07 | 2.661e-07 | 0.0101 | 0.0101 | 0.0101 | 0.97744 | -0.43289 | 0.97731 | -0.43559 | 2.7748
17 | -0.20291 | -0.051692 | 0.20306 | 0.051784 | 0.00014633 | 9.2313e-05 | 0.30587 | 0.30587 | 0.30587 | 0.9881 | -0.2263 | 0.98887 | -0.21136 | 16.8061
18 | 0.02817 | 0.0070735 | -0.028158 | -0.0070657 | 1.2579e-05 | 7.8118e-06 | 0.042428 | 0.042428 | 0.042428 | 0.9881 | -0.2263 | 0.98761 | -0.23566 | 11.6559
19 | 0.13 | 0.032746 | -0.12995 | -0.032715 | 5.042e-05 | 3.1195e-05 | 0.19802 | 0.19802 | 0.19802 | 0.9772 | -0.43756 | 0.97679 | -0.44567 | 10.8802
20 | 0.015 | 0.0037602 | -0.014998 | -0.0037588 | 2.3403e-06 | 1.348e-06 | 0.022842 | 0.022842 | 0.022842 | 0.9772 | -0.43756 | 0.97703 | -0.44083 | 6.2752
21 | 0.051343 | 0.012895 | -0.051318 | -0.01288 | 2.4405e-05 | 1.5093e-05 | 0.078454 | 0.078454 | 0.078454 | 0.97392 | -0.50204 | 0.97341 | -0.51201 | 10.7767
22 | 0.049589 | 0.012443 | -0.049571 | -0.012434 | 1.8329e-05 | 9.0832e-06 | 0.075771 | 0.075772 | 0.075772 | 0.97392 | -0.50204 | 0.97353 | -0.50979 | 4.1633
23 | -0.10093 | -0.025338 | 0.10104 | 0.025403 | 0.00010644 | 6.4404e-05 | 0.15423 | 0.15422 | 0.15423 | 0.97392 | -0.50204 | 0.97504 | -0.47995 | 8.4739
24 | 0.0031785 | 0.00079649 | -0.0031784 | -0.00079657 | 1.0135e-07 | -7.7443e-08 | 0.0048587 | 0.0048588 | 0.0048588 | 0.97341 | -0.51201 | 0.97338 | -0.51267 | 1.3348
25 | 0.04814 | 0.012083 | -0.048124 | -0.012073 | 1.6156e-05 | 1.0241e-05 | 0.073596 | 0.073596 | 0.073596 | 0.97341 | -0.51201 | 0.97306 | -0.51904 | 20.2186
26 | 0.049571 | 0.012434 | -0.049562 | -0.01243 | 8.5088e-06 | 4.2174e-06 | 0.075772 | 0.075772 | 0.075772 | 0.97353 | -0.50979 | 0.97334 | -0.51339 | 4.1633
27 | -0.10412 | -0.026176 | 0.10419 | 0.026213 | 6.1927e-05 | 3.7593e-05 | 0.15893 | 0.15893 | 0.15893 | 0.97504 | -0.47995 | 0.97567 | -0.46751 | 8.7325
28 | -0.20306 | -0.051784 | 0.20341 | 0.052006 | 0.00035213 | 0.00022214 | 0.30587 | 0.30587 | 0.30587 | 0.98887 | -0.21136 | 0.99075 | -0.17552 | 16.8061
29 | 0.025909 | 0.0065023 | -0.025903 | -0.0064986 | 5.9748e-06 | 3.6901e-06 | 0.03904 | 0.03904 | 0.03904 | 0.98761 | -0.23566 | 0.98736 | -0.2405 | 10.7254
30 | 0.12 | 0.030221 | -0.11993 | -0.030179 | 6.8481e-05 | 4.212e-05 | 0.18286 | 0.18286 | 0.18286 | 0.97679 | -0.44567 | 0.97618 | -0.45761 | 10.0473
31 | -0.0085306 | -0.0021388 | 0.008533 | 0.0021398 | 2.3689e-06 | 1.0424e-06 | 0.012959 | 0.012959 | 0.012959 | 0.97954 | -0.39373 | 0.97983 | -0.3879 | 3.5602
32 | 0.0085306 | 0.0021388 | -0.0085278 | -0.0021375 | 2.862e-06 | 1.2598e-06 | 0.012959 | 0.012959 | 0.012959 | 0.97954 | -0.39373 | 0.97918 | -0.40077 | 3.5603
33 | -0.012945 | -0.0032455 | 0.012948 | 0.0032472 | 3.1912e-06 | 1.765e-06 | 0.019659 | 0.019659 | 0.019659 | 0.97983 | -0.3879 | 0.9801 | -0.38273 | 5.4008
34 | 0.0085278 | 0.0021375 | -0.0085265 | -0.0021369 | 1.2947e-06 | 5.7008e-07 | 0.012959 | 0.012959 | 0.012959 | 0.97918 | -0.40077 | 0.97902 | -0.40396 | 3.5603
35 | 0.017454 | 0.0043814 | -0.01744 | -0.004373 | 1.4226e-05 | 8.4223e-06 | 0.026478 | 0.026478 | 0.026478 | 0.98097 | -0.36563 | 0.9801 | -0.38273 | 7.2743
36 | -0.017454 | -0.0043814 | 0.017457 | 0.004383 | 2.6841e-06 | 1.5889e-06 | 0.026478 | 0.026478 | 0.026478 | 0.98097 | -0.36563 | 0.98113 | -0.36241 | 7.2742
37 | -0.030074 | -0.0075452 | 0.03009 | 0.0075551 | 1.5785e-05 | 9.8471e-06 | 0.045614 | 0.045614 | 0.045614 | 0.98113 | -0.36241 | 0.9817 | -0.3514 | 12.5313
38 | -0.038694 | -0.0097096 | 0.038749 | 0.0097442 | 5.5097e-05 | 3.4697e-05 | 0.058027 | 0.058027 | 0.058027 | 0.99231 | -0.14615 | 0.99385 | -0.11633 | 15.9416
39 | 0.038694 | 0.0097096 | -0.03868 | -0.0097006 | 1.4199e-05 | 8.942e-06 | 0.058027 | 0.058027 | 0.058027 | 0.99231 | -0.14615 | 0.99191 | -0.15385 | 15.9416
40 | 0.20629 | 0.052952 | -0.2057 | -0.052579 | 0.0005907 | 0.00037273 | 0.3093 | 0.3093 | 0.3093 | 0.99385 | -0.11633 | 0.99075 | -0.17552 | 16.9947
41 | 0.12374 | 0.031517 | -0.12294 | -0.031001 | 0.00080646 | 0.00051533 | 0.18545 | 0.18545 | 0.18545 | 0.99385 | -0.11633 | 0.98678 | -0.25241 | 50.9482
42 | -0.36878 | -0.094213 | 0.37087 | 0.095542 | 0.0020871 | 0.0013298 | 0.55278 | 0.55278 | 0.55278 | 0.99385 | -0.11633 | 1 | 0 | 30.3725
43 | 0.023019 | 0.0057757 | -0.023009 | -0.0057693 | 1.0442e-05 | 6.3814e-06 | 0.034534 | 0.034534 | 0.034534 | 0.99191 | -0.15385 | 0.99142 | -0.16336 | 9.4874
44 | -0.04227 | -0.010615 | 0.042309 | 0.01064 | 3.9528e-05 | 2.4972e-05 | 0.064048 | 0.064048 | 0.064048 | 0.98216 | -0.34244 | 0.98316 | -0.32286 | 17.5957
45 | 0.04227 | 0.010615 | -0.042252 | -0.010603 | 1.807e-05 | 1.1416e-05 | 0.064048 | 0.064048 | 0.064048 | 0.98216 | -0.34244 | 0.9817 | -0.3514 | 17.5957
46 | 0.048539 | 0.012197 | -0.048492 | -0.012168 | 4.6315e-05 | 2.9352e-05 | 0.073475 | 0.073475 | 0.073475 | 0.98316 | -0.32286 | 0.98213 | -0.34287 | 20.1856
47 | -0.090848 | -0.022837 | 0.091155 | 0.023033 | 0.00030671 | 0.00019574 | 0.13752 | 0.13752 | 0.13752 | 0.98316 | -0.32286 | 0.98678 | -0.25241 | 37.7812
48 | 0.01492 | 0.0037398 | -0.014919 | -0.003739 | 1.2477e-06 | 7.1459e-07 | 0.022499 | 0.022499 | 0.022499 | 0.98678 | -0.25241 | 0.98669 | -0.25417 | 6.181
49 | 0.016863 | 0.0042288 | -0.016855 | -0.0042243 | 7.5473e-06 | 4.4329e-06 | 0.025429 | 0.025429 | 0.025429 | 0.98678 | -0.25241 | 0.9863 | -0.26181 | 6.9861
50 | 0.023825 | 0.0059725 | -0.023822 | -0.0059704 | 3.445e-06 | 2.1089e-06 | 0.035453 | 0.035453 | 0.035453 | 1 | 0 | 0.99984 | -0.0030352 | 9.7397
51 | 0.012746 | 0.0031959 | -0.012741 | -0.0031931 | 5.201e-06 | 2.8231e-06 | 0.018967 | 0.018967 | 0.018967 | 1 | 0 | 0.99955 | -0.0085657 | 5.2107
52 | 0.007985 | 0.0020014 | -0.0079843 | -0.0020011 | 6.7939e-07 | 2.6658e-07 | 0.011884 | 0.011884 | 0.011884 | 0.99984 | -0.0030352 | 0.99975 | -0.0048212 | 3.2648
53 | 0.03526 | 0.0088517 | -0.035237 | -0.0088376 | 2.2388e-05 | 1.4064e-05 | 0.053427 | 0.053427 | 0.053427 | 0.98213 | -0.34287 | 0.98145 | -0.35619 | 14.6777
54 | 0.0066336 | 0.0016628 | -0.0066288 | -0.0016613 | 4.8289e-06 | 1.5101e-06 | 0.0101 | 0.010101 | 0.010101 | 0.97731 | -0.43559 | 0.97653 | -0.45087 | 2.7749
55 | 0.0066288 | 0.0016613 | -0.0066273 | -0.0016608 | 1.5134e-06 | 4.7385e-07 | 0.010101 | 0.010101 | 0.010101 | 0.97653 | -0.45087 | 0.97629 | -0.45567 | 2.775
56 | 0.004457 | 0.0011169 | -0.0044568 | -0.0011169 | 2.7602e-07 | -2.2778e-08 | 0.0067932 | 0.0067933 | 0.0067933 | 0.97629 | -0.45567 | 0.97622 | -0.45697 | 1.8663
57 | 0.037363 | 0.0093764 | -0.037343 | -0.0093636 | 2.0279e-05 | 1.2773e-05 | 0.057141 | 0.057141 | 0.057141 | 0.97306 | -0.51904 | 0.97248 | -0.53043 | 15.6981
58 | -0.10993 | -0.027654 | 0.10998 | 0.027686 | 5.1983e-05 | 3.1729e-05 | 0.1677 | 0.1677 | 0.1677 | 0.97567 | -0.46751 | 0.97618 | -0.45761 | 9.2141
59 | 0.023654 | 0.0059349 | -0.02365 | -0.0059323 | 4.2481e-06 | 2.6048e-06 | 0.035651 | 0.035651 | 0.035651 | 0.98736 | -0.2405 | 0.98717 | -0.24427 | 9.7942
60 | 0.0057125 | 0.0014316 | -0.005712 | -0.0014316 | 5.2206e-07 | 8.9931e-08 | 0.0085738 | 0.0085739 | 0.0085739 | 0.99142 | -0.16336 | 0.99132 | -0.16528 | 2.3555
61 | 0.017296 | 0.0043377 | -0.017287 | -0.0043324 | 9.019e-06 | 5.3122e-06 | 0.02596 | 0.025961 | 0.025961 | 0.99142 | -0.16336 | 0.99086 | -0.17431 | 7.132
62 | 0.0079843 | 0.0020011 | -0.007984 | -0.002001 | 2.9835e-07 | 1.1708e-07 | 0.011884 | 0.011884 | 0.011884 | 0.99975 | -0.0048212 | 0.99971 | -0.0056056 | 3.2648
63 | 0.022851 | 0.0057332 | -0.022844 | -0.0057289 | 7.0655e-06 | 4.3237e-06 | 0.034647 | 0.034647 | 0.034647 | 0.98145 | -0.35619 | 0.98112 | -0.36267 | 9.5184
64 | 0.0044568 | 0.0011169 | -0.0044567 | -0.0011169 | 9.4013e-08 | -7.751e-09 | 0.0067933 | 0.0067933 | 0.0067933 | 0.97622 | -0.45697 | 0.9762 | -0.45741 | 1.8663
65 | 0.017963 | 0.004505 | -0.017954 | -0.0044998 | 8.7548e-06 | 5.2199e-06 | 0.027486 | 0.027487 | 0.027487 | 0.97248 | -0.53043 | 0.97196 | -0.54066 | 7.5512
66 | 0.01938 | 0.0048586 | -0.019379 | -0.0048579 | 1.1795e-06 | 7.1052e-07 | 0.029655 | 0.029655 | 0.029655 | 0.97248 | -0.53043 | 0.97242 | -0.53171 | 8.1469
67 | 0.019106 | 0.0047892 | -0.019106 | -0.0047892 | 4.8564e-08 | 2.909e-08 | 0.028817 | 0.028817 | 0.028817 | 0.98658 | -0.25581 | 0.98658 | -0.25586 | 7.9168
68 | -0.02139 | -0.0053617 | 0.021398 | 0.0053663 | 7.5821e-06 | 4.6044e-06 | 0.032262 | 0.032262 | 0.032262 | 0.98658 | -0.25581 | 0.98696 | -0.24837 | 8.8632
69 | 0.016821 | 0.0042167 | -0.016821 | -0.0042166 | 3.9667e-08 | 2.3288e-08 | 0.025372 | 0.025372 | 0.025372 | 0.98658 | -0.25586 | 0.98657 | -0.25591 | 6.9702
70 | -0.021398 | -0.0053663 | 0.021402 | 0.0053688 | 4.1836e-06 | 2.5405e-06 | 0.032262 | 0.032262 | 0.032262 | 0.98696 | -0.24837 | 0.98717 | -0.24427 | 8.8632
71 | 0.014535 | 0.0036435 | -0.014532 | -0.0036421 | 2.3409e-06 | 1.3323e-06 | 0.021922 | 0.021922 | 0.021922 | 0.98657 | -0.25591 | 0.9864 | -0.25929 | 6.0226
72 | 0.012282 | 0.0030781 | -0.012281 | -0.003078 | 3.1935e-07 | 1.7271e-07 | 0.018527 | 0.018527 | 0.018527 | 0.9864 | -0.25929 | 0.98637 | -0.25984 | 5.0899
73 | 0.0054782 | 0.0013729 | -0.0054781 | -0.0013729 | 9.6579e-08 | 1.368e-08 | 0.0082643 | 0.0082643 | 0.0082643 | 0.98637 | -0.25984 | 0.98635 | -0.26021 | 2.2704
74 | -0.0027386 | -0.00068636 | 0.0027386 | 0.00068633 | 2.4673e-08 | -3.3407e-08 | 0.0041315 | 0.0041315 | 0.0041315 | 0.98634 | -0.2604 | 0.98635 | -0.26021 | 1.135
75 | 0.0097295 | 0.0024389 | -0.0097276 | -0.002438 | 1.8733e-06 | 9.0975e-07 | 0.014763 | 0.014763 | 0.014763 | 0.98069 | -0.37109 | 0.98049 | -0.37514 | 4.0557
76 | -0.022834 | -0.0057233 | 0.022844 | 0.0057289 | 9.164e-06 | 5.608e-06 | 0.034647 | 0.034647 | 0.034647 | 0.98069 | -0.37109 | 0.98112 | -0.36267 | 9.5185
77 | 0.011292 | 0.0028299 | -0.011291 | -0.0028296 | 6.3769e-07 | 3.3195e-07 | 0.016957 | 0.016957 | 0.016957 | 0.99086 | -0.17431 | 0.9908 | -0.1755 | 4.6585
78 | 0.0059955 | 0.0015024 | -0.0059948 | -0.0015023 | 7.0059e-07 | 1.5158e-07 | 0.0090037 | 0.0090038 | 0.0090038 | 0.99086 | -0.17431 | 0.99073 | -0.17676 | 2.4736
79 | 0.005922 | 0.0014842 | -0.0059217 | -0.0014841 | 3.1775e-07 | 6.5412e-08 | 0.0088939 | 0.008894 | 0.008894 | 0.9908 | -0.1755 | 0.99074 | -0.17662 | 2.4434
80 | 0.0053688 | 0.0013454 | -0.0053679 | -0.0013453 | 9.2104e-07 | 1.0302e-07 | 0.0080631 | 0.0080632 | 0.0080632 | 0.9908 | -0.1755 | 0.99061 | -0.1791 | 2.2152
81 | 0.0045134 | 0.001131 | -0.0045133 | -0.001131 | 1.4551e-07 | -1.5605e-08 | 0.0067788 | 0.0067789 | 0.0067789 | 0.99073 | -0.17676 | 0.9907 | -0.17744 | 1.8623
82 | 0.0030765 | 0.00077091 | -0.0030765 | -0.00077097 | 5.5223e-08 | -5.3461e-08 | 0.0046208 | 0.0046209 | 0.0046209 | 0.9907 | -0.17744 | 0.99068 | -0.17782 | 1.2695
83 | 0.0016536 | 0.00041436 | -0.0016536 | -0.00041442 | 1.2809e-08 | -6.3099e-08 | 0.0024837 | 0.0024837 | 0.0024837 | 0.99068 | -0.17782 | 0.99067 | -0.17798 | 0.68233
84 | 0.010087 | 0.0025292 | -0.010085 | -0.002528 | 2.4036e-06 | 1.2047e-06 | 0.015436 | 0.015436 | 0.015436 | 0.97242 | -0.53171 | 0.97216 | -0.53671 | 4.2407
85 | 0.010085 | 0.002528 | -0.010083 | -0.002527 | 1.8204e-06 | 9.125e-07 | 0.015436 | 0.015436 | 0.015436 | 0.97216 | -0.53671 | 0.97197 | -0.5405 | 4.2408
86 | 0.0083363 | 0.0020893 | -0.0083359 | -0.0020892 | 4.1329e-07 | 1.8065e-07 | 0.012762 | 0.012762 | 0.012762 | 0.97196 | -0.54066 | 0.97191 | -0.5417 | 3.5061

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40909 | 0.10471

## res_load
| p_mw | q_mvar
0 | 0.014248 | 0.0035709
1 | 0.013363 | 0.003349
2 | 0.0031515 | 0.00078985
3 | 0.0045584 | 0.0011424
4 | 0.010928 | 0.0027388
5 | 0.010424 | 0.0026124
6 | 0.0030853 | 0.00077326
7 | 0.0022482 | 0.00056345
8 | 0.0050433 | 0.001264
9 | 0.0099507 | 0.0024939
10 | 0.014998 | 0.0037588
11 | 0.0044117 | 0.0011057
12 | 0.0044919 | 0.0011258
13 | 0.012617 | 0.0031622
14 | 0.015661 | 0.0039249
15 | 0.0022866 | 0.00057309
16 | 0.012162 | 0.003048
17 | 0.0085265 | 0.0021369
18 | 0.014919 | 0.003739
19 | 0.016855 | 0.0042243
20 | 0.015837 | 0.003969
21 | 0.012741 | 0.0031931
22 | 0.013233 | 0.0033165
23 | 0.0021702 | 0.00054391
24 | 0.0091515 | 0.0022936
25 | 0.0031784 | 0.00079657
26 | 0.01076 | 0.0026968
27 | 0.0057473 | 0.0014404
28 | 0.0022491 | 0.00056367
29 | 0.0099482 | 0.0024933
30 | 0.012387 | 0.0031044
31 | 0.0044567 | 0.0011169
32 | 0.0022841 | 0.00057246
33 | 0.0022844 | 0.00057253
34 | 0.0022869 | 0.00057316
35 | 0.0022483 | 0.00056348
36 | 0.0022505 | 0.00056402
37 | 0.0068032 | 0.001705
38 | 0.0027386 | 0.00068636
39 | 0.0027395 | 0.00068659
40 | 0.013105 | 0.0032844
41 | 0.0097276 | 0.002438
42 | 0.007984 | 0.002001
43 | 0.005712 | 0.0014316
44 | 0.0014814 | 0.00037127
45 | 0.0059217 | 0.0014841
46 | 0.0053679 | 0.0013453
47 | 0.0014368 | 0.0003601
48 | 0.0014229 | 0.00035661
49 | 0.0016536 | 0.00041442
50 | 0.0092917 | 0.0023287
51 | 0.010083 | 0.002527
52 | 0.0096178 | 0.0024104
53 | 0.0083359 | 0.0020892

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1