## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-26_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1059-26_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1059-26_0_4_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_1059-26_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1059-26_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_1059-26_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1059-26_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1059-26_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1059-26_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1059-26_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_1059-26_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1059-26_0_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_1059-26_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1059-26_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1059-26_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_1059-26_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1059-26_0_4_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_1059-26_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1059-26_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1059-26_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_1059-26_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1059-26_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1059-26_0_4_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_1059-26_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1059-26_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_1059-26_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1059-26_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1059-26_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1059-26_0_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1059-26_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1059-26_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1059-26_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1059-26_0_4_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_1059-26_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1059-26_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1059-26_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_1059-26_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1059-26_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1059-26_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1059-26_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1059-26_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_1059-26_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1059-26_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1059-26_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1059-26_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1059-26_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1059-26_0_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1059-26_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1059-26_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_1059-26_0_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1059-26_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1059-26_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1059-26_0_4_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_1059-26_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_1059-26_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_1059-26_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1059-26_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_1059-26_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_1059-26_0_4_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_1059-26_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_1059-26_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1059-26_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1059-26_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_1059-26_0_4_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_1059-26_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_1059-26_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_1059-26_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_MV_24_1_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-26_0_4_load_0 | 0 | 0.035724 | 0.0089534 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-26_0_4_load_1 | 1 | 0.020431 | 0.0051205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-26_0_4_load_3 | 3 | 0.026091 | 0.0065391 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-26_0_4_load_75 | 6 | 0.0051058 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-26_0_4_load_73 | 8 | 0.0035462 | 0.00088876 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-26_0_4_load_77 | 13 | 0.0075698 | 0.0018972 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-26_0_4_load_76 | 15 | 0.0030586 | 0.00076655 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-26_0_4_load_71 | 16 | 0.0017683 | 0.00044317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-26_0_4_load_67 | 18 | 0.0044455 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-26_0_4_load_62 | 20 | 0.0051539 | 0.0012917 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-26_0_4_load_60 | 23 | 0.0052081 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-26_0_4_load_57 | 26 | 0.05343 | 0.013391 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-26_0_4_load_55 | 27 | 0.0054309 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-26_0_4_load_51 | 28 | 0.0070337 | 0.0017628 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-26_0_4_load_49 | 30 | 0.0031453 | 0.00078828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-26_0_4_load_40 | 32 | 0.005101 | 0.0012784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-26_0_4_load_41 | 33 | 0.012582 | 0.0031535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-26_0_4_load_39 | 34 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-26_0_4_load_63 | 36 | 0.028902 | 0.0072435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-26_0_4_load_50 | 37 | 0.0026617 | 0.00066709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-26_0_4_load_52 | 38 | 0.0054798 | 0.0013734 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-26_0_4_load_58 | 39 | 0.0073357 | 0.0018385 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-26_0_4_load_46 | 42 | 0.037976 | 0.0095176 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-26_0_4_load_56 | 44 | 0.010403 | 0.0026072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-26_0_4_load_45 | 46 | 0.0061169 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-26_0_4_load_43 | 48 | 0.0089102 | 0.0022331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-26_0_4_load_61 | 50 | 0.0062007 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-26_0_4_load_37 | 51 | 0.0046079 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-26_0_4_load_66 | 52 | 0.013856 | 0.0034726 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-26_0_4_load_65 | 53 | 0.010679 | 0.0026765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-26_0_4_load_42 | 54 | 0.0035475 | 0.00088909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-26_0_4_load_47 | 55 | 0.027824 | 0.0069734 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-26_0_4_load_72 | 56 | 0.0057417 | 0.001439 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-26_0_4_load_54 | 59 | 0.0025466 | 0.00063824 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-26_0_4_load_53 | 60 | 0.0044018 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-26_0_4_load_74 | 62 | 0.0032097 | 0.00080442 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-26_0_4_load_59 | 63 | 0.018299 | 0.0045863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-26_0_4_load_64 | 64 | 0.013054 | 0.0032716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-26_0_4_load_48 | 65 | 0.0057994 | 0.0014535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-26_0_4_load_69 | 66 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-26_0_4_load_38 | 67 | 0.024723 | 0.0061961 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-26_0_4_load_44 | 68 | 0.010871 | 0.0027244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-26_0_4_load_70 | 69 | 0.0020323 | 0.00050935 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-26_0_4_load_68 | 70 | 0.0041701 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-26_0_4_line_0 |  | 0 | 1 | 0.036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-26_0_4_line_1 |  | 1 | 2 | 0.0064526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-26_0_4_line_2 |  | 2 | 3 | 0.023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-26_0_4_line_3 |  | 2 | 4 | 0.0068823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-26_0_4_line_4 |  | 4 | 29 | 0.005249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-26_0_4_line_5 |  | 4 | 30 | 0.027586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-26_0_4_line_6 |  | 5 | 6 | 0.005283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-26_0_4_line_7 |  | 5 | 7 | 0.0091141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1059-26_0_4_line_8 |  | 5 | 8 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1059-26_0_4_line_9 |  | 7 | 15 | 0.037436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-26_0_4_line_10 |  | 7 | 16 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1059-26_0_4_line_11 |  | 8 | 62 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1059-26_0_4_line_12 |  | 9 | 10 | 0.0092124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1059-26_0_4_line_13 |  | 9 | 11 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1059-26_0_4_line_14 |  | 10 | 38 | 0.046146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-26_0_4_line_15 |  | 10 | 39 | 0.029229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-26_0_4_line_16 |  | 11 | 27 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-26_0_4_line_17 |  | 11 | 17 | 0.0088663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1059-26_0_4_line_18 |  | 12 | 13 | 0.10408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-26_0_4_line_19 |  | 12 | 14 | 0.041689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-26_0_4_line_20 |  | 14 | 28 | 0.078105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-26_0_4_line_21 |  | 16 | 66 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1059-26_0_4_line_22 |  | 17 | 18 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1059-26_0_4_line_23 |  | 18 | 20 | 0.027433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1059-26_0_4_line_24 |  | 19 | 20 | 0.018147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1059-26_0_4_line_25 |  | 19 | 21 | 0.0072717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1059-26_0_4_line_26 |  | 19 | 22 | 0.0098761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1059-26_0_4_line_27 |  | 19 | 23 | 0.031325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-26_0_4_line_28 |  | 21 | 37 | 0.0094169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1059-26_0_4_line_29 |  | 22 | 43 | 0.0073848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-26_0_4_line_30 |  | 22 | 44 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1059-26_0_4_line_31 |  | 24 | 25 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-26_0_4_line_32 |  | 24 | 26 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-26_0_4_line_33 |  | 25 | 35 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-26_0_4_line_34 |  | 25 | 36 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-26_0_4_line_35 |  | 26 | 39 | 0.030431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-26_0_4_line_36 |  | 28 | 38 | 0.014258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-26_0_4_line_37 |  | 29 | 56 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-26_0_4_line_38 |  | 29 | 32 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-26_0_4_line_39 |  | 31 | 32 | 0.030807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-26_0_4_line_40 |  | 31 | 33 | 0.004578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-26_0_4_line_41 |  | 31 | 34 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-26_0_4_line_42 |  | 34 | 67 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-26_0_4_line_43 |  | 35 | 52 | 0.0067155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-26_0_4_line_44 |  | 35 | 53 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-26_0_4_line_45 |  | 36 | 64 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-26_0_4_line_46 |  | 37 | 60 | 0.028488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1059-26_0_4_line_47 |  | 40 | 41 | 0.055277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-26_0_4_line_48 |  | 40 | 42 | 0.033062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-26_0_4_line_49 |  | 41 | 49 | 0.06762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-26_0_4_line_50 |  | 41 | 50 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-26_0_4_line_51 |  | 42 | 47 | 0.037752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-26_0_4_line_52 |  | 43 | 51 | 0.009505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-26_0_4_line_53 |  | 45 | 46 | 0.039784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-26_0_4_line_54 |  | 45 | 47 | 0.042513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-26_0_4_line_55 |  | 45 | 48 | 0.0086874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-26_0_4_line_56 |  | 46 | 65 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-26_0_4_line_57 |  | 47 | 55 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-26_0_4_line_58 |  | 48 | 68 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-26_0_4_line_59 |  | 49 | 54 | 0.036274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-26_0_4_line_60 |  | 51 | 68 | 0.030271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-26_0_4_line_61 |  | 56 | 69 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-26_0_4_line_62 |  | 57 | 58 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1059-26_0_4_line_63 |  | 57 | 59 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-26_0_4_line_64 |  | 57 | 60 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1059-26_0_4_line_65 |  | 58 | 61 | 0.013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-26_0_4_line_66 |  | 58 | 62 | 0.012966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1059-26_0_4_line_67 |  | 61 | 63 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-26_0_4_line_68 |  | 66 | 70 | 0.0079336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_1059-26_0_4_line_69 |  | 69 | 70 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-26_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 71 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2664634.3702 | 1209496.5404 | 2664632.4201 | 1209506.4951 | 2664627.7148 | 1209524.7442 | 2664625.7989 | 1209531.5356
1 | 2664624.047 | 1209537.7458 | 2664625.7989 | 1209531.5356
2 | 2664624.047 | 1209537.7458 | 2664620.5377 | 1209552.25 | 2664618.3749 | 1209560.763
3 | 2664617.3523 | 1209536.1501 | 2664618.118 | 1209536.3363 | 2664620.6125 | 1209536.9192 | 2664623.1372 | 1209537.5247 | 2664624.047 | 1209537.7458
4 | 2664617.3523 | 1209536.1501 | 2664617.8218 | 1209534.2096 | 2664618.5857 | 1209531.0492
5 | 2664617.3523 | 1209536.1501 | 2664615.8803 | 1209542.2157 | 2664612.4011 | 1209555.3527 | 2664610.3677 | 1209562.8356
6 | 2664529.8979 | 1209520.0943 | 2664535.1259 | 1209520.9513
7 | 2664530.9209 | 1209513.3568 | 2664527.8947 | 1209519.7613 | 2664529.8979 | 1209520.0943
8 | 2664529.8979 | 1209520.0943 | 2664527.4207 | 1209536.1773 | 2664526.378 | 1209543.6076
9 | 2664530.9209 | 1209513.3568 | 2664528.8063 | 1209509.2759 | 2664529.8434 | 1209493.5108 | 2664525.4585 | 1209477.0438
10 | 2664530.9209 | 1209513.3568 | 2664537.0284 | 1209511.6218 | 2664542.5544 | 1209512.9381
11 | 2664526.378 | 1209543.6076 | 2664523.8387 | 1209561.7017
12 | 2664582.4436 | 1209672.6779 | 2664578.0043 | 1209670.5953 | 2664574.1097 | 1209668.752
13 | 2664582.4436 | 1209672.6779 | 2664582.7627 | 1209671.9921 | 2664584.7167 | 1209667.7328 | 2664585.1214 | 1209666.8589 | 2664585.5109 | 1209665.9848 | 2664587.6142 | 1209661.2825 | 2664587.9647 | 1209660.4969 | 2664587.1727 | 1209659.9324 | 2664585.3293 | 1209658.8896
14 | 2664574.1097 | 1209668.752 | 2664532.4173 | 1209648.9728
15 | 2664574.1097 | 1209668.752 | 2664564.2761 | 1209696.2769
16 | 2664585.3293 | 1209658.8896 | 2664585.5021 | 1209654.8668 | 2664587.769 | 1209649.0834
17 | 2664577.3593 | 1209655.0455 | 2664581.2947 | 1209656.6335 | 2664585.3293 | 1209658.8896
18 | 2664415.3181 | 1209659.2195 | 2664420.0605 | 1209663.5066 | 2664422.3942 | 1209664.1989 | 2664446.8265 | 1209663.2954 | 2664451.6628 | 1209664.515 | 2664513.2937 | 1209688.3509
19 | 2664415.3181 | 1209659.2195 | 2664441.3277 | 1209635.4412 | 2664444.837 | 1209630.0314
20 | 2664444.837 | 1209630.0314 | 2664446.0813 | 1209630.2449 | 2664451.7416 | 1209631.1955 | 2664453.5853 | 1209631.5045 | 2664456.566 | 1209629.302 | 2664461.578 | 1209627.6329 | 2664466.9271 | 1209627.8352 | 2664475.4273 | 1209629.05 | 2664494.5405 | 1209633.6259 | 2664504.5469 | 1209636.836 | 2664519.3866 | 1209643.1906
21 | 2664542.5544 | 1209512.9381 | 2664565.8174 | 1209518.4795
22 | 2664577.3593 | 1209655.0455 | 2664578.7673 | 1209652.7704 | 2664581.8744 | 1209644.9985
23 | 2664591.3521 | 1209619.2554 | 2664582.1971 | 1209644.1912 | 2664581.8744 | 1209644.9985
24 | 2664597.0427 | 1209602.0261 | 2664592.3085 | 1209616.6505 | 2664591.3521 | 1209619.2554
25 | 2664597.0427 | 1209602.0261 | 2664597.2863 | 1209601.2949 | 2664598.2442 | 1209598.4703 | 2664599.1788 | 1209595.7009 | 2664599.3673 | 1209595.1359
26 | 2664606.3489 | 1209605.3288 | 2664604.1912 | 1209604.5272 | 2664601.2613 | 1209603.4393 | 2664597.9138 | 1209602.3135 | 2664597.0427 | 1209602.0261
27 | 2664597.0427 | 1209602.0261 | 2664588.3984 | 1209598.6749 | 2664567.3677 | 1209592.0367
28 | 2664599.3673 | 1209595.1359 | 2664590.4452 | 1209592.1236
29 | 2664606.3489 | 1209605.3288 | 2664606.6942 | 1209604.3319 | 2664607.5964 | 1209601.7401 | 2664608.5774 | 1209598.8935 | 2664608.7657 | 1209598.3507
30 | 2664606.3489 | 1209605.3288 | 2664605.2894 | 1209605.5953 | 2664604.2222 | 1209606.5843 | 2664600.6175 | 1209615.8621 | 2664599.6599 | 1209618.3453
31 | 2664543.8877 | 1209743.204 | 2664551.3654 | 1209744.0632 | 2664556.0033 | 1209744.647
32 | 2664543.8877 | 1209743.204 | 2664547.8832 | 1209739.9341 | 2664549.2379 | 1209738.37 | 2664554.0382 | 1209724.9337
33 | 2664560.8664 | 1209753.2271 | 2664560.991 | 1209752.25 | 2664561.3657 | 1209749.23 | 2664561.7246 | 1209746.2654 | 2664561.833 | 1209745.3772 | 2664556.0033 | 1209744.647
34 | 2664556.0033 | 1209744.647 | 2664557.5352 | 1209737.2479 | 2664561.6912 | 1209724.7742 | 2664561.9735 | 1209724.0021
35 | 2664554.0382 | 1209724.9337 | 2664564.2761 | 1209696.2769
36 | 2664519.3866 | 1209643.1906 | 2664528.0398 | 1209646.8961 | 2664532.4173 | 1209648.9728
37 | 2664618.5857 | 1209531.0492 | 2664599.2337 | 1209526.4395
38 | 2664618.5857 | 1209531.0492 | 2664619.5725 | 1209526.9686 | 2664619.9226 | 1209525.527 | 2664620.8695 | 1209521.6127 | 2664622.3438 | 1209515.642
39 | 2664629.256 | 1209485.6259 | 2664626.7367 | 1209497.8506 | 2664622.3438 | 1209515.642
40 | 2664624.7423 | 1209484.7877 | 2664629.256 | 1209485.6259
41 | 2664629.256 | 1209485.6259 | 2664631.8975 | 1209468.4329 | 2664632.2242 | 1209465.6068
42 | 2664634.3063 | 1209447.1467 | 2664633.7344 | 1209452.5431 | 2664632.2242 | 1209465.6068
43 | 2664560.8664 | 1209753.2271 | 2664567.5335 | 1209754.0314
44 | 2664560.8664 | 1209753.2271 | 2664537.3695 | 1209750.4033
45 | 2664561.9735 | 1209724.0021 | 2664570.4846 | 1209700.7309
46 | 2664563.3637 | 1209583.3134 | 2664567.6946 | 1209584.4423 | 2664590.4452 | 1209592.1236
47 | 2664698.9678 | 1209710.663 | 2664699.235 | 1209709.1538 | 2664701.1863 | 1209705.1503 | 2664718.2304 | 1209683.2106 | 2664717.8159 | 1209682.8837 | 2664713.9655 | 1209679.7622 | 2664710.281 | 1209676.776 | 2664709.6781 | 1209676.2914 | 2664712.8087 | 1209672.1895 | 2664713.5491 | 1209670.5076 | 2664714.3083 | 1209667.0804
48 | 2664714.3083 | 1209667.0804 | 2664713.8934 | 1209664.6856 | 2664712.4676 | 1209662.2909 | 2664709.4926 | 1209659.7571 | 2664693.7873 | 1209650.7702 | 2664688.7627 | 1209647.7897
49 | 2664649.1137 | 1209728.0557 | 2664659.2458 | 1209728.0654 | 2664665.3542 | 1209718.5147 | 2664666.4279 | 1209716.9364 | 2664668.4286 | 1209713.9785 | 2664671.3562 | 1209709.6632 | 2664671.9202 | 1209708.8243 | 2664672.5076 | 1209707.9301 | 2664675.1581 | 1209703.9342 | 2664675.5985 | 1209703.2719 | 2664677.5105 | 1209704.2932 | 2664679.4593 | 1209704.7257 | 2664681.1012 | 1209704.7213 | 2664683.2731 | 1209704.2112 | 2664685.04 | 1209703.1852 | 2664686.5786 | 1209701.4898 | 2664687.2723 | 1209702.0087 | 2664691.5705 | 1209705.1906 | 2664698.1987 | 1209710.0876 | 2664698.9678 | 1209710.663
50 | 2664698.9678 | 1209710.663 | 2664698.7818 | 1209711.6949 | 2664699.1227 | 1209714.6004 | 2664700.4703 | 1209717.9059 | 2664704.2613 | 1209720.4769
51 | 2664656.1256 | 1209628.8266 | 2664662.8215 | 1209632.4013 | 2664688.7627 | 1209647.7897
52 | 2664608.7657 | 1209598.3507 | 2664617.6518 | 1209601.7245
53 | 2664676.0838 | 1209631.1664 | 2664678.42 | 1209630.9249 | 2664680.5253 | 1209629.5469 | 2664683.7935 | 1209619.7541 | 2664690.5855 | 1209597.6475 | 2664691.0565 | 1209596.2558
54 | 2664676.0838 | 1209631.1664 | 2664677.0961 | 1209631.7444 | 2664682.3236 | 1209634.7473 | 2664681.168 | 1209638.2703 | 2664656.5303 | 1209625.1509 | 2664656.1256 | 1209628.8266
55 | 2664676.0838 | 1209631.1664 | 2664674.3614 | 1209630.1805 | 2664668.5618 | 1209626.82
56 | 2664698.6429 | 1209573.7137 | 2664698.0222 | 1209575.6703 | 2664691.0565 | 1209596.2558
57 | 2664656.1256 | 1209628.8266 | 2664654.4092 | 1209644.2731
58 | 2664645.3712 | 1209613.8572 | 2664655.5903 | 1209619.3038 | 2664668.5618 | 1209626.82
59 | 2664649.1137 | 1209728.0557 | 2664644.7285 | 1209725.1953 | 2664636.8537 | 1209723.7981 | 2664630.0966 | 1209723.0689 | 2664625.3237 | 1209721.6164 | 2664620.3476 | 1209721.3734 | 2664614.5005 | 1209723.6449
60 | 2664617.6518 | 1209601.7245 | 2664622.0588 | 1209603.3977 | 2664643.347 | 1209612.7784 | 2664645.3712 | 1209613.8572
61 | 2664586.7689 | 1209523.4703 | 2664599.2337 | 1209526.4395
62 | 2664549.0481 | 1209579.5821 | 2664524.8363 | 1209574.1281
63 | 2664554.9299 | 1209558.6551 | 2664549.0481 | 1209579.5821
64 | 2664549.0481 | 1209579.5821 | 2664563.3637 | 1209583.3134
65 | 2664517.4131 | 1209580.1516 | 2664518.1456 | 1209576.3794 | 2664518.7396 | 1209572.7614 | 2664524.8363 | 1209574.1281
66 | 2664524.8363 | 1209574.1281 | 2664523.3302 | 1209571.4102 | 2664522.7673 | 1209569.3362 | 2664523.8387 | 1209561.7017
67 | 2664517.4131 | 1209580.1516 | 2664516.7714 | 1209583.9581 | 2664513.9473 | 1209595.5791 | 2664512.3423 | 1209601.46
68 | 2664573.5351 | 1209520.3179 | 2664565.8174 | 1209518.4795
69 | 2664573.5351 | 1209520.3179 | 2664586.7689 | 1209523.4703

## bus_geodata
| x | y | coords
0 | 2664634.3702 | 1209496.5404
1 | 2664625.7989 | 1209531.5356
2 | 2664624.047 | 1209537.7458
3 | 2664618.3749 | 1209560.763
4 | 2664617.3523 | 1209536.1501
5 | 2664529.8979 | 1209520.0943
6 | 2664535.1259 | 1209520.9513
7 | 2664530.9209 | 1209513.3568
8 | 2664526.378 | 1209543.6076
9 | 2664582.4436 | 1209672.6779
10 | 2664574.1097 | 1209668.752
11 | 2664585.3293 | 1209658.8896
12 | 2664415.3181 | 1209659.2195
13 | 2664513.2937 | 1209688.3509
14 | 2664444.837 | 1209630.0314
15 | 2664525.4585 | 1209477.0438
16 | 2664542.5544 | 1209512.9381
17 | 2664577.3593 | 1209655.0455
18 | 2664581.8744 | 1209644.9985
19 | 2664597.0427 | 1209602.0261
20 | 2664591.3521 | 1209619.2554
21 | 2664599.3673 | 1209595.1359
22 | 2664606.3489 | 1209605.3288
23 | 2664567.3677 | 1209592.0367
24 | 2664543.8877 | 1209743.204
25 | 2664556.0033 | 1209744.647
26 | 2664554.0382 | 1209724.9337
27 | 2664587.769 | 1209649.0834
28 | 2664519.3866 | 1209643.1906
29 | 2664618.5857 | 1209531.0492
30 | 2664610.3677 | 1209562.8356
31 | 2664629.256 | 1209485.6259
32 | 2664622.3438 | 1209515.642
33 | 2664624.7423 | 1209484.7877
34 | 2664632.2242 | 1209465.6068
35 | 2664560.8664 | 1209753.2271
36 | 2664561.9735 | 1209724.0021
37 | 2664590.4452 | 1209592.1236
38 | 2664532.4173 | 1209648.9728
39 | 2664564.2761 | 1209696.2769
40 | 2664714.3083 | 1209667.0804
41 | 2664698.9678 | 1209710.663
42 | 2664688.7627 | 1209647.7897
43 | 2664608.7657 | 1209598.3507
44 | 2664599.6599 | 1209618.3453
45 | 2664676.0838 | 1209631.1664
46 | 2664691.0565 | 1209596.2558
47 | 2664656.1256 | 1209628.8266
48 | 2664668.5618 | 1209626.82
49 | 2664649.1137 | 1209728.0557
50 | 2664704.2613 | 1209720.4769
51 | 2664617.6518 | 1209601.7245
52 | 2664567.5335 | 1209754.0314
53 | 2664537.3695 | 1209750.4033
54 | 2664614.5005 | 1209723.6449
55 | 2664654.4092 | 1209644.2731
56 | 2664599.2337 | 1209526.4395
57 | 2664549.0481 | 1209579.5821
58 | 2664524.8363 | 1209574.1281
59 | 2664554.9299 | 1209558.6551
60 | 2664563.3637 | 1209583.3134
61 | 2664517.4131 | 1209580.1516
62 | 2664523.8387 | 1209561.7017
63 | 2664512.3423 | 1209601.46
64 | 2664570.4846 | 1209700.7309
65 | 2664698.6429 | 1209573.7137
66 | 2664565.8174 | 1209518.4795
67 | 2664634.3063 | 1209447.1467
68 | 2664645.3712 | 1209613.8572
69 | 2664586.7689 | 1209523.4703
70 | 2664573.5351 | 1209520.3179
71 | 2664606.3489 | 1209605.3288

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98144 | -0.35727 | 0.035724 | 0.0089534
1 | 0.98263 | -0.334 | 0.020431 | 0.0051205
2 | 0.98296 | -0.32746 | 0 | 0
3 | 0.98239 | -0.33862 | 0.026091 | 0.0065391
4 | 0.98349 | -0.31725 | 0 | 0
5 | 0.99181 | -0.15625 | 0 | 0
6 | 0.99178 | -0.15672 | 0.0051058 | 0.0012796
7 | 0.99149 | -0.16244 | 0 | 0
8 | 0.99268 | -0.13956 | 0.0035462 | 0.00088876
9 | 0.99461 | -0.10278 | 0 | 0
10 | 0.99398 | -0.11475 | 0 | 0
11 | 0.99517 | -0.092102 | 0 | 0
12 | 0.99212 | -0.15086 | 0 | 0
13 | 0.9914 | -0.16482 | 0.0075698 | 0.0018972
14 | 0.99241 | -0.14527 | 0 | 0
15 | 0.99138 | -0.16447 | 0.0030586 | 0.00076655
16 | 0.99107 | -0.17047 | 0.0017683 | 0.00044317
17 | 0.99548 | -0.086143 | 0 | 0
18 | 0.99586 | -0.078725 | 0.0044455 | 0.0011141
19 | 0.99753 | -0.046879 | 0 | 0
20 | 0.99686 | -0.059792 | 0.0051539 | 0.0012917
21 | 0.99721 | -0.053035 | 0 | 0
22 | 0.99835 | -0.031285 | 0 | 0
23 | 0.99738 | -0.049738 | 0.0052081 | 0.0013053
24 | 0.98589 | -0.27124 | 0 | 0
25 | 0.98514 | -0.2858 | 0 | 0
26 | 0.9872 | -0.24564 | 0.05343 | 0.013391
27 | 0.99511 | -0.09308 | 0.0054309 | 0.0013611
28 | 0.99295 | -0.1348 | 0.0070337 | 0.0017628
29 | 0.9839 | -0.30918 | 0 | 0
30 | 0.98341 | -0.31882 | 0.0031453 | 0.00078828
31 | 0.98203 | -0.34571 | 0 | 0
32 | 0.98322 | -0.32254 | 0.005101 | 0.0012784
33 | 0.98198 | -0.34675 | 0.012582 | 0.0031535
34 | 0.98149 | -0.35636 | 0.004359 | 0.0010925
35 | 0.98483 | -0.29188 | 0 | 0
36 | 0.98431 | -0.30204 | 0.028902 | 0.0072435
37 | 0.99679 | -0.061014 | 0.0026617 | 0.00066709
38 | 0.99314 | -0.13112 | 0.0054798 | 0.0013734
39 | 0.99056 | -0.1806 | 0.0073357 | 0.0018385
40 | 0.98568 | -0.2756 | 0 | 0
41 | 0.98518 | -0.28528 | 0 | 0
42 | 0.98597 | -0.26982 | 0.037976 | 0.0095176
43 | 0.99759 | -0.045742 | 0 | 0
44 | 1 | 0 | -0.48009 | -0.12212
45 | 0.99058 | -0.18034 | 0 | 0
46 | 0.99015 | -0.18876 | 0.0061169 | 0.001533
47 | 0.98763 | -0.23756 | 0 | 0
48 | 0.99128 | -0.16685 | 0.0089102 | 0.0022331
49 | 0.98496 | -0.28959 | 0 | 0
50 | 0.98511 | -0.28663 | 0.0062007 | 0.001554
51 | 0.99662 | -0.064383 | 0.0046079 | 0.0011548
52 | 0.98474 | -0.29355 | 0.013856 | 0.0034726
53 | 0.9846 | -0.29642 | 0.010679 | 0.0026765
54 | 0.98484 | -0.2919 | 0.0035475 | 0.00088909
55 | 0.98723 | -0.24529 | 0.027824 | 0.0069734
56 | 0.98633 | -0.26196 | 0.0057417 | 0.001439
57 | 0.9949 | -0.096975 | 0 | 0
58 | 0.99386 | -0.11701 | 0 | 0
59 | 0.99485 | -0.09795 | 0.0025466 | 0.00063824
60 | 0.99554 | -0.084857 | 0.0044018 | 0.0011032
61 | 0.99363 | -0.12145 | 0 | 0
62 | 0.99336 | -0.12647 | 0.0032097 | 0.00080442
63 | 0.99326 | -0.12853 | 0.018299 | 0.0045863
64 | 0.98401 | -0.30786 | 0.013054 | 0.0032716
65 | 0.99002 | -0.19122 | 0.0057994 | 0.0014535
66 | 0.99025 | -0.18625 | 0.0045368 | 0.001137
67 | 0.98106 | -0.36467 | 0.024723 | 0.0061961
68 | 0.99364 | -0.12153 | 0.010871 | 0.0027244
69 | 0.98796 | -0.23035 | 0.0020323 | 0.00050935
70 | 0.98972 | -0.19642 | 0.0041701 | 0.0010451
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035724 | -0.0089534 | 0.035764 | 0.0089783 | 3.9656e-05 | 2.4924e-05 | 0.054164 | 0.054164 | 0.054164 | 0.98144 | -0.35727 | 0.98263 | -0.334 | 14.8801
1 | -0.056195 | -0.014099 | 0.056213 | 0.01411 | 1.7525e-05 | 1.1134e-05 | 0.085103 | 0.085103 | 0.085103 | 0.98263 | -0.334 | 0.98296 | -0.32746 | 23.3799
2 | 0.026105 | 0.0065477 | -0.026091 | -0.0065391 | 1.3885e-05 | 8.5858e-06 | 0.03952 | 0.03952 | 0.03952 | 0.98296 | -0.32746 | 0.98239 | -0.33862 | 10.8572
3 | -0.082318 | -0.020658 | 0.082358 | 0.020683 | 4.0083e-05 | 2.5566e-05 | 0.12462 | 0.12462 | 0.12462 | 0.98296 | -0.32746 | 0.98349 | -0.31725 | 34.2371
4 | -0.085504 | -0.021471 | 0.085537 | 0.021492 | 3.295e-05 | 2.1021e-05 | 0.12938 | 0.12938 | 0.12938 | 0.98349 | -0.31725 | 0.9839 | -0.30918 | 35.5445
5 | 0.0031455 | 0.00078808 | -0.0031453 | -0.00078828 | 2.343e-07 | -2.0007e-07 | 0.004759 | 0.0047592 | 0.0047592 | 0.98349 | -0.31725 | 0.98341 | -0.31882 | 1.3075
6 | 0.0051059 | 0.0012796 | -0.0051058 | -0.0012796 | 1.1626e-07 | 6.228e-09 | 0.0076604 | 0.0076605 | 0.0076605 | 0.99181 | -0.15625 | 0.99178 | -0.15672 | 2.1045
7 | 0.15474 | 0.039271 | -0.15469 | -0.039242 | 4.612e-05 | 2.9047e-05 | 0.23233 | 0.23233 | 0.23233 | 0.99181 | -0.15625 | 0.99149 | -0.16244 | 15.9567
8 | -0.15984 | -0.04055 | 0.15997 | 0.040631 | 0.00012838 | 8.0933e-05 | 0.23999 | 0.23999 | 0.23999 | 0.99181 | -0.15625 | 0.99268 | -0.13956 | 16.4828
9 | 0.0030589 | 0.00076626 | -0.0030586 | -0.00076655 | 2.9586e-07 | -2.9341e-07 | 0.0045906 | 0.0045908 | 0.0045908 | 0.99149 | -0.16244 | 0.99138 | -0.16447 | 1.2612
10 | 0.15163 | 0.038475 | -0.15157 | -0.038439 | 5.8492e-05 | 3.6815e-05 | 0.22774 | 0.22774 | 0.22774 | 0.99149 | -0.16244 | 0.99107 | -0.17047 | 15.6414
11 | -0.16352 | -0.04152 | 0.16362 | 0.041585 | 0.00010307 | 6.5022e-05 | 0.2453 | 0.2453 | 0.2453 | 0.99268 | -0.13956 | 0.99336 | -0.12647 | 16.8478
12 | 0.14841 | 0.037604 | -0.14832 | -0.037549 | 8.5263e-05 | 5.4329e-05 | 0.22217 | 0.22217 | 0.22217 | 0.99461 | -0.10278 | 0.99398 | -0.11475 | 30.5185
13 | -0.14841 | -0.037604 | 0.14848 | 0.037651 | 7.6192e-05 | 4.7908e-05 | 0.22217 | 0.22217 | 0.22217 | 0.99461 | -0.10278 | 0.99517 | -0.092102 | 15.2592
14 | 0.020112 | 0.0050483 | -0.020097 | -0.0050388 | 1.569e-05 | 9.4442e-06 | 0.030111 | 0.030112 | 0.030112 | 0.99398 | -0.11475 | 0.99314 | -0.13112 | 8.2724
15 | 0.12821 | 0.032501 | -0.12781 | -0.032243 | 0.00040432 | 0.00025839 | 0.19206 | 0.19206 | 0.19206 | 0.99398 | -0.11475 | 0.99056 | -0.1806 | 52.7647
16 | 0.0054312 | 0.0013611 | -0.0054309 | -0.0013611 | 2.5321e-07 | 2.9034e-08 | 0.0081209 | 0.008121 | 0.008121 | 0.99517 | -0.092102 | 0.99511 | -0.09308 | 2.231
17 | -0.15391 | -0.039013 | 0.15396 | 0.03904 | 4.4084e-05 | 2.7753e-05 | 0.2303 | 0.23029 | 0.2303 | 0.99517 | -0.092102 | 0.99548 | -0.086143 | 15.817
18 | 0.0075748 | 0.0018991 | -0.0075698 | -0.0018972 | 5.0379e-06 | 1.8813e-06 | 0.011361 | 0.011362 | 0.011362 | 0.99212 | -0.15086 | 0.9914 | -0.16482 | 3.1214
19 | -0.0075748 | -0.0018991 | 0.0075769 | 0.0018998 | 2.0179e-06 | 7.5296e-07 | 0.011361 | 0.011361 | 0.011361 | 0.99212 | -0.15086 | 0.99241 | -0.14527 | 3.1212
20 | -0.0075769 | -0.0018998 | 0.0075806 | 0.0019012 | 3.7804e-06 | 1.4097e-06 | 0.011361 | 0.011361 | 0.011361 | 0.99241 | -0.14527 | 0.99295 | -0.1348 | 3.1212
21 | 0.14981 | 0.037995 | -0.14969 | -0.037924 | 0.00011358 | 7.1461e-05 | 0.22508 | 0.22508 | 0.22508 | 0.99107 | -0.17047 | 0.99025 | -0.18625 | 15.4591
22 | -0.15396 | -0.03904 | 0.15401 | 0.039075 | 5.4919e-05 | 3.4574e-05 | 0.23029 | 0.23029 | 0.23029 | 0.99548 | -0.086143 | 0.99586 | -0.078725 | 15.817
23 | -0.15846 | -0.040189 | 0.1586 | 0.04028 | 0.00014438 | 9.0974e-05 | 0.23694 | 0.23694 | 0.23694 | 0.99586 | -0.078725 | 0.99686 | -0.059792 | 16.2732
24 | 0.16386 | 0.041636 | -0.16376 | -0.041572 | 0.00010181 | 6.421e-05 | 0.24463 | 0.24463 | 0.24463 | 0.99753 | -0.046879 | 0.99686 | -0.059792 | 16.8015
25 | 0.19547 | 0.049845 | -0.19541 | -0.049808 | 5.8081e-05 | 3.6792e-05 | 0.29189 | 0.29189 | 0.29189 | 0.99753 | -0.046879 | 0.99721 | -0.053035 | 20.0471
26 | -0.36454 | -0.092786 | 0.36481 | 0.092961 | 0.00027429 | 0.00017503 | 0.54429 | 0.54429 | 0.54429 | 0.99753 | -0.046879 | 0.99835 | -0.031285 | 37.3822
27 | 0.0052088 | 0.0013053 | -0.0052081 | -0.0013053 | 7.0919e-07 | 4.5013e-08 | 0.00777 | 0.0077701 | 0.0077701 | 0.99753 | -0.046879 | 0.99738 | -0.049738 | 2.1346
28 | 0.19541 | 0.049808 | -0.19534 | -0.049761 | 7.5216e-05 | 4.7647e-05 | 0.29189 | 0.29189 | 0.29189 | 0.99721 | -0.053035 | 0.99679 | -0.061014 | 20.0471
29 | 0.1129 | 0.028698 | -0.11282 | -0.028648 | 7.855e-05 | 5.0175e-05 | 0.16842 | 0.16842 | 0.16842 | 0.99835 | -0.031285 | 0.99759 | -0.045742 | 46.2686
30 | -0.47771 | -0.12166 | 0.47844 | 0.12212 | 0.00072203 | 0.00046131 | 0.7127 | 0.7127 | 0.7127 | 0.99835 | -0.031285 | 1 | 0 | 48.9494
31 | 0.066584 | 0.016722 | -0.066537 | -0.016693 | 4.6222e-05 | 2.9426e-05 | 0.10051 | 0.10051 | 0.10051 | 0.98589 | -0.27124 | 0.98514 | -0.2858 | 27.6121
32 | -0.066584 | -0.016722 | 0.066665 | 0.016774 | 8.1447e-05 | 5.1852e-05 | 0.10051 | 0.10051 | 0.10051 | 0.98589 | -0.27124 | 0.9872 | -0.24564 | 27.6121
33 | 0.024546 | 0.0061552 | -0.024538 | -0.0061509 | 7.1059e-06 | 4.3723e-06 | 0.037076 | 0.037076 | 0.037076 | 0.98514 | -0.2858 | 0.98483 | -0.29188 | 10.1858
34 | 0.041992 | 0.010538 | -0.041959 | -0.010517 | 3.2479e-05 | 2.0513e-05 | 0.063432 | 0.063432 | 0.063432 | 0.98514 | -0.2858 | 0.98431 | -0.30204 | 17.4263
35 | -0.1201 | -0.030165 | 0.12047 | 0.030404 | 0.00037403 | 0.00023899 | 0.18104 | 0.18104 | 0.18104 | 0.9872 | -0.24564 | 0.99056 | -0.1806 | 49.7374
36 | -0.014614 | -0.003664 | 0.014617 | 0.0036655 | 2.5647e-06 | 1.4569e-06 | 0.021901 | 0.021901 | 0.021901 | 0.99295 | -0.1348 | 0.99314 | -0.13112 | 6.0168
37 | -0.1324 | -0.033276 | 0.1327 | 0.033468 | 0.00029922 | 0.00019125 | 0.20027 | 0.20027 | 0.20027 | 0.9839 | -0.30918 | 0.98633 | -0.26196 | 55.0204
38 | 0.046866 | 0.011784 | -0.046836 | -0.011765 | 2.9889e-05 | 1.8928e-05 | 0.070892 | 0.070892 | 0.070892 | 0.9839 | -0.30918 | 0.98322 | -0.32254 | 19.4759
39 | -0.041689 | -0.010458 | 0.041735 | 0.010487 | 4.6104e-05 | 2.9116e-05 | 0.063173 | 0.063172 | 0.063173 | 0.98203 | -0.34571 | 0.98322 | -0.32254 | 17.3551
40 | 0.012583 | 0.0031538 | -0.012582 | -0.0031535 | 6.2409e-07 | 3.415e-07 | 0.019066 | 0.019067 | 0.019067 | 0.98203 | -0.34571 | 0.98198 | -0.34675 | 5.2381
41 | 0.029106 | 0.0073038 | -0.029091 | -0.0072946 | 1.4765e-05 | 9.1937e-06 | 0.044106 | 0.044106 | 0.044106 | 0.98203 | -0.34571 | 0.98149 | -0.35636 | 12.1171
42 | 0.024732 | 0.0062021 | -0.024723 | -0.0061961 | 9.7954e-06 | 6.0344e-06 | 0.037498 | 0.037498 | 0.037498 | 0.98149 | -0.35636 | 0.98106 | -0.36467 | 10.3016
43 | 0.013857 | 0.0034732 | -0.013856 | -0.0034726 | 1.1039e-06 | 6.2108e-07 | 0.020937 | 0.020937 | 0.020937 | 0.98483 | -0.29188 | 0.98474 | -0.29355 | 5.752
44 | 0.010682 | 0.0026776 | -0.010679 | -0.0026765 | 2.3117e-06 | 1.1784e-06 | 0.016139 | 0.016139 | 0.016139 | 0.98483 | -0.29188 | 0.9846 | -0.29642 | 4.4339
45 | 0.013057 | 0.0032736 | -0.013054 | -0.0032716 | 3.6208e-06 | 2.0024e-06 | 0.01974 | 0.01974 | 0.01974 | 0.98431 | -0.30204 | 0.98401 | -0.30786 | 5.4231
46 | 0.19268 | 0.049094 | -0.19245 | -0.048953 | 0.00022139 | 0.00014021 | 0.28791 | 0.28791 | 0.28791 | 0.99679 | -0.061014 | 0.99554 | -0.084857 | 19.7743
47 | 0.0097542 | 0.0024448 | -0.0097497 | -0.0024426 | 4.4949e-06 | 2.1725e-06 | 0.014725 | 0.014726 | 0.014726 | 0.98568 | -0.2756 | 0.98518 | -0.28528 | 4.0455
48 | -0.0097542 | -0.0024448 | 0.0097569 | 0.0024461 | 2.6884e-06 | 1.299e-06 | 0.014725 | 0.014725 | 0.014725 | 0.98568 | -0.2756 | 0.98597 | -0.26982 | 4.0454
49 | 0.0035486 | 0.00088849 | -0.0035479 | -0.00088888 | 7.2843e-07 | -3.9464e-07 | 0.0053595 | 0.0053599 | 0.0053599 | 0.98518 | -0.28528 | 0.98496 | -0.28959 | 1.4725
50 | 0.0062011 | 0.0015541 | -0.0062007 | -0.001554 | 3.9884e-07 | 1.0089e-07 | 0.0093661 | 0.0093661 | 0.0093661 | 0.98518 | -0.28528 | 0.98511 | -0.28663 | 2.5731
51 | -0.047733 | -0.011964 | 0.047806 | 0.01201 | 7.3467e-05 | 4.6536e-05 | 0.072037 | 0.072037 | 0.072037 | 0.98597 | -0.26982 | 0.98763 | -0.23756 | 19.7905
52 | 0.11282 | 0.028648 | -0.11272 | -0.028583 | 0.0001011 | 6.4582e-05 | 0.16842 | 0.16842 | 0.16842 | 0.99759 | -0.045742 | 0.99662 | -0.064383 | 46.2686
53 | 0.011922 | 0.0029892 | -0.011917 | -0.0029866 | 4.785e-06 | 2.5505e-06 | 0.017909 | 0.017909 | 0.017909 | 0.99058 | -0.18034 | 0.99015 | -0.18876 | 4.9201
54 | 0.075848 | 0.019122 | -0.07564 | -0.01899 | 0.0002071 | 0.000132 | 0.11398 | 0.11398 | 0.11398 | 0.99058 | -0.18034 | 0.98763 | -0.23756 | 31.3119
55 | -0.087769 | -0.022111 | 0.087826 | 0.022147 | 5.6664e-05 | 3.6153e-05 | 0.13188 | 0.13188 | 0.13188 | 0.99058 | -0.18034 | 0.99128 | -0.16685 | 36.2319
56 | 0.0058001 | 0.0014536 | -0.0057994 | -0.0014535 | 6.7767e-07 | 1.2782e-07 | 0.0087164 | 0.0087165 | 0.0087165 | 0.99015 | -0.18876 | 0.99002 | -0.19122 | 2.3947
57 | 0.027835 | 0.0069798 | -0.027824 | -0.0069734 | 1.0251e-05 | 6.3616e-06 | 0.041938 | 0.041938 | 0.041938 | 0.98763 | -0.23756 | 0.98723 | -0.24529 | 11.5215
58 | -0.096736 | -0.02438 | 0.096946 | 0.024515 | 0.00021025 | 0.00013422 | 0.14526 | 0.14526 | 0.14526 | 0.99128 | -0.16685 | 0.99364 | -0.12153 | 39.9063
59 | 0.0035479 | 0.00088888 | -0.0035475 | -0.00088909 | 3.9079e-07 | -2.1152e-07 | 0.0053599 | 0.00536 | 0.00536 | 0.98496 | -0.28959 | 0.98484 | -0.2919 | 1.4725
60 | 0.10811 | 0.027428 | -0.10782 | -0.027239 | 0.00029622 | 0.00018919 | 0.16154 | 0.16154 | 0.16154 | 0.99662 | -0.064383 | 0.99364 | -0.12153 | 44.3786
61 | -0.13844 | -0.034907 | 0.13865 | 0.035041 | 0.00020976 | 0.00013408 | 0.20894 | 0.20894 | 0.20894 | 0.98633 | -0.26196 | 0.98796 | -0.23035 | 57.4001
62 | 0.1854 | 0.047143 | -0.18522 | -0.04703 | 0.00017871 | 0.00011309 | 0.27753 | 0.27753 | 0.27753 | 0.9949 | -0.096975 | 0.99386 | -0.11701 | 19.0609
63 | 0.0025467 | 0.00063803 | -0.0025466 | -0.00063824 | 1.1827e-07 | -2.0658e-07 | 0.0038089 | 0.003809 | 0.003809 | 0.9949 | -0.096975 | 0.99485 | -0.09795 | 1.0464
64 | -0.18794 | -0.047781 | 0.18805 | 0.04785 | 0.00010977 | 6.9486e-05 | 0.28133 | 0.28133 | 0.28133 | 0.9949 | -0.096975 | 0.99554 | -0.084857 | 19.3224
65 | 0.018309 | 0.0045922 | -0.018306 | -0.0045899 | 3.8772e-06 | 2.3032e-06 | 0.027414 | 0.027414 | 0.027414 | 0.99386 | -0.11701 | 0.99363 | -0.12145 | 7.5314
66 | 0.16691 | 0.042437 | -0.16683 | -0.042389 | 7.6039e-05 | 4.7993e-05 | 0.25011 | 0.25011 | 0.25011 | 0.99386 | -0.11701 | 0.99336 | -0.12647 | 17.178
67 | 0.018306 | 0.0045899 | -0.018299 | -0.0045863 | 6.1765e-06 | 3.6692e-06 | 0.027414 | 0.027415 | 0.027415 | 0.99363 | -0.12145 | 0.99326 | -0.12853 | 7.5315
68 | 0.14516 | 0.036787 | -0.14509 | -0.036742 | 7.0867e-05 | 4.5151e-05 | 0.21827 | 0.21827 | 0.21827 | 0.99025 | -0.18625 | 0.98972 | -0.19642 | 29.9817
69 | -0.14069 | -0.03555 | 0.14091 | 0.035697 | 0.00022928 | 0.00014656 | 0.212 | 0.212 | 0.212 | 0.98796 | -0.23035 | 0.98972 | -0.19642 | 58.241

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49049 | 0.12473

## res_load
| p_mw | q_mvar
0 | 0.035724 | 0.0089534
1 | 0.020431 | 0.0051205
2 | 0.026091 | 0.0065391
3 | 0.0051058 | 0.0012796
4 | 0.0035462 | 0.00088876
5 | 0.0075698 | 0.0018972
6 | 0.0030586 | 0.00076655
7 | 0.0017683 | 0.00044317
8 | 0.0044455 | 0.0011141
9 | 0.0051539 | 0.0012917
10 | 0.0052081 | 0.0013053
11 | 0.05343 | 0.013391
12 | 0.0054309 | 0.0013611
13 | 0.0070337 | 0.0017628
14 | 0.0031453 | 0.00078828
15 | 0.005101 | 0.0012784
16 | 0.012582 | 0.0031535
17 | 0.004359 | 0.0010925
18 | 0.028902 | 0.0072435
19 | 0.0026617 | 0.00066709
20 | 0.0054798 | 0.0013734
21 | 0.0073357 | 0.0018385
22 | 0.037976 | 0.0095176
23 | 0.010403 | 0.0026072
24 | 0.0061169 | 0.001533
25 | 0.0089102 | 0.0022331
26 | 0.0062007 | 0.001554
27 | 0.0046079 | 0.0011548
28 | 0.013856 | 0.0034726
29 | 0.010679 | 0.0026765
30 | 0.0035475 | 0.00088909
31 | 0.027824 | 0.0069734
32 | 0.0057417 | 0.001439
33 | 0.0025466 | 0.00063824
34 | 0.0044018 | 0.0011032
35 | 0.0032097 | 0.00080442
36 | 0.018299 | 0.0045863
37 | 0.013054 | 0.0032716
38 | 0.0057994 | 0.0014535
39 | 0.0045368 | 0.001137
40 | 0.024723 | 0.0061961
41 | 0.010871 | 0.0027244
42 | 0.0020323 | 0.00050935
43 | 0.0041701 | 0.0010451

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1