## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-27_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-27_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1059-27_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1059-27_0_5_node_83 | 0.4 | n |  | TRUE
4 | bus_LV_1059-27_0_5_node_85 | 0.4 | n |  | TRUE
5 | bus_LV_1059-27_0_5_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_1059-27_0_5_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_1059-27_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1059-27_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1059-27_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1059-27_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1059-27_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1059-27_0_5_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_1059-27_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1059-27_0_5_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_1059-27_0_5_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_1059-27_0_5_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_1059-27_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1059-27_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1059-27_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1059-27_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1059-27_0_5_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1059-27_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1059-27_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1059-27_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1059-27_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1059-27_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1059-27_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1059-27_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1059-27_0_5_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1059-27_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1059-27_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1059-27_0_5_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_1059-27_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1059-27_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1059-27_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1059-27_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1059-27_0_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1059-27_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_1059-27_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1059-27_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1059-27_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1059-27_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_1059-27_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1059-27_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1059-27_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1059-27_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1059-27_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1059-27_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1059-27_0_5_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_1059-27_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1059-27_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1059-27_0_5_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1059-27_0_5_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_1059-27_0_5_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_1059-27_0_5_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_1059-27_0_5_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_1059-27_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1059-27_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1059-27_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_1059-27_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_1059-27_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1059-27_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_1059-27_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_1059-27_0_5_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_1059-27_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1059-27_0_5_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1059-27_0_5_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_1059-27_0_5_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_1059-27_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1059-27_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_1059-27_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_1059-27_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_1059-27_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_1059-27_0_5_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_1059-27_0_5_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_1059-27_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_1059-27_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_1059-27_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_1059-27_0_5_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_1059-27_0_5_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_1059-27_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_1059-27_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_1059-27_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_1059-27_0_5_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_1059-27_0_5_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_1059-27_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_1059-27_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_MV_24_1_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-27_0_5_load_0 | 0 | 0.028947 | 0.0072547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-27_0_5_load_83 | 3 | 0.0016789 | 0.00042077 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-27_0_5_load_85 | 4 | 0.0034349 | 0.00086087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-27_0_5_load_82 | 5 | 0.0031619 | 0.00079245 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-27_0_5_load_86 | 6 | 0.0045274 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-27_0_5_load_4 | 7 | 0.0099205 | 0.0024863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-27_0_5_load_5 | 8 | 0.011711 | 0.0029351 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-27_0_5_load_7 | 10 | 0.0062521 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-27_0_5_load_8 | 11 | 0.0095499 | 0.0023934 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-27_0_5_load_84 | 14 | 0.0033325 | 0.00083521 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-27_0_5_load_88 | 16 | 0.013017 | 0.0032624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-27_0_5_load_9 | 17 | 0.022935 | 0.0057481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-27_0_5_load_10 | 18 | 0.010142 | 0.0025418 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-27_0_5_load_11 | 19 | 0.014839 | 0.0037189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-27_0_5_load_20 | 23 | 0.0014989 | 0.00037565 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-27_0_5_load_23 | 24 | 0.003308 | 0.00082907 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-27_0_5_load_15 | 27 | 0.0067954 | 0.0017031 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-27_0_5_load_32 | 29 | 0.0056316 | 0.0014114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-27_0_5_load_36 | 30 | 0.0018664 | 0.00046776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-27_0_5_load_91 | 32 | 0.011653 | 0.0029206 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-27_0_5_load_42 | 36 | 0.035529 | 0.0089043 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-27_0_5_load_40 | 37 | 0.0070867 | 0.0017761 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-27_0_5_load_24 | 40 | 0.0018673 | 0.00046799 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-27_0_5_load_54 | 42 | 0.0033893 | 0.00084943 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-27_0_5_load_25 | 43 | 0.0028727 | 0.00071996 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-27_0_5_load_31 | 44 | 0.0020823 | 0.00052186 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-27_0_5_load_27 | 45 | 0.0051861 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-27_0_5_load_26 | 46 | 0.0028716 | 0.00071969 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-27_0_5_load_37 | 47 | 0.011463 | 0.0028728 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-27_0_5_load_29 | 50 | 0.0018711 | 0.00046895 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-27_0_5_load_30 | 51 | 0.0034561 | 0.00086618 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-27_0_5_load_74 | 52 | 0.0023016 | 0.00057683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-27_0_5_load_89 | 53 | 0.023469 | 0.0058818 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-27_0_5_load_90 | 54 | 0.0098004 | 0.0024562 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-27_0_5_load_39 | 55 | 0.018252 | 0.0045744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-27_0_5_load_81 | 56 | 0.065641 | 0.016451 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-27_0_5_load_44 | 57 | 0.0012794 | 0.00032064 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-27_0_5_load_45 | 58 | 0.00099074 | 0.0002483 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-27_0_5_load_46 | 59 | 0.0016459 | 0.0004125 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-27_0_5_load_60 | 62 | 0.001306 | 0.00032732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-27_0_5_load_61 | 63 | 0.0017702 | 0.00044365 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-27_0_5_load_69 | 64 | 0.0026995 | 0.00067656 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-27_0_5_load_63 | 65 | 0.0018448 | 0.00046236 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-27_0_5_load_68 | 66 | 0.003677 | 0.00092155 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-27_0_5_load_72 | 67 | 0.005671 | 0.0014213 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-27_0_5_load_49 | 70 | 0.0064848 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-27_0_5_load_50 | 71 | 0.0033583 | 0.00084166 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-27_0_5_load_62 | 75 | 0.0031734 | 0.00079533 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-27_0_5_load_57 | 76 | 0.0024228 | 0.0006072 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-27_0_5_load_75 | 77 | 0.015524 | 0.0038906 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-27_0_5_load_66 | 78 | 0.0026211 | 0.0006569 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-27_0_5_load_56 | 79 | 0.0017409 | 0.00043632 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-27_0_5_load_58 | 80 | 0.0055894 | 0.0014008 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-27_0_5_load_70 | 81 | 0.0035627 | 0.00089288 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1059-27_0_5_load_71 | 82 | 0.0035224 | 0.00088279 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1059-27_0_5_load_80 | 83 | 0.0019182 | 0.00048074 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1059-27_0_5_load_64 | 84 | 0.0022018 | 0.00055182 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1059-27_0_5_load_65 | 85 | 0.0023165 | 0.00058058 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1059-27_0_5_load_87 | 87 | 0.0047528 | 0.0011912 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-27_0_5_line_0 |  | 0 | 1 | 0.083151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-27_0_5_line_1 |  | 1 | 2 | 0.030024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-27_0_5_line_2 |  | 2 | 3 | 0.026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-27_0_5_line_3 |  | 2 | 4 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-27_0_5_line_4 |  | 3 | 5 | 0.023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-27_0_5_line_5 |  | 4 | 6 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1059-27_0_5_line_6 |  | 5 | 86 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-27_0_5_line_7 |  | 6 | 87 | 0.024527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1059-27_0_5_line_8 |  | 7 | 8 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-27_0_5_line_9 |  | 8 | 9 | 0.0196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-27_0_5_line_10 |  | 9 | 10 | 0.063981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1059-27_0_5_line_11 |  | 9 | 11 | 0.024223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1059-27_0_5_line_12 |  | 10 | 12 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1059-27_0_5_line_13 |  | 11 | 13 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1059-27_0_5_line_14 |  | 12 | 14 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1059-27_0_5_line_15 |  | 12 | 15 | 0.003463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1059-27_0_5_line_16 |  | 13 | 16 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1059-27_0_5_line_17 |  | 14 | 87 | 0.02386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1059-27_0_5_line_18 |  | 15 | 82 | 0.030685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1059-27_0_5_line_19 |  | 16 | 35 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1059-27_0_5_line_20 |  | 17 | 18 | 0.037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-27_0_5_line_21 |  | 17 | 19 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-27_0_5_line_22 |  | 18 | 20 | 0.032987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-27_0_5_line_23 |  | 19 | 21 | 0.10097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-27_0_5_line_24 |  | 20 | 22 | 0.042404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-27_0_5_line_25 |  | 21 | 24 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-27_0_5_line_26 |  | 21 | 23 | 0.004006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-27_0_5_line_27 |  | 22 | 28 | 0.004445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1059-27_0_5_line_28 |  | 22 | 29 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1059-27_0_5_line_29 |  | 25 | 26 | 0.002461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1059-27_0_5_line_30 |  | 25 | 27 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1059-27_0_5_line_31 |  | 26 | 30 | 0.014575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-27_0_5_line_32 |  | 26 | 29 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1059-27_0_5_line_33 |  | 27 | 31 | 0.002146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1059-27_0_5_line_34 |  | 28 | 32 | 0.0064287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1059-27_0_5_line_35 |  | 31 | 38 | 0.003213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1059-27_0_5_line_36 |  | 32 | 33 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1059-27_0_5_line_37 |  | 33 | 34 | 0.051544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1059-27_0_5_line_38 |  | 34 | 35 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1059-27_0_5_line_39 |  | 34 | 36 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-27_0_5_line_40 |  | 34 | 37 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-27_0_5_line_41 |  | 35 | 53 | 0.007448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-27_0_5_line_42 |  | 36 | 54 | 0.025917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-27_0_5_line_43 |  | 38 | 39 | 0.040808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-27_0_5_line_44 |  | 38 | 40 | 0.0099869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1059-27_0_5_line_45 |  | 39 | 41 | 0.001167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-27_0_5_line_46 |  | 39 | 42 | 0.045146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-27_0_5_line_47 |  | 40 | 43 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1059-27_0_5_line_48 |  | 41 | 44 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-27_0_5_line_49 |  | 41 | 45 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-27_0_5_line_50 |  | 43 | 46 | 0.010205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1059-27_0_5_line_51 |  | 44 | 49 | 0.035756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-27_0_5_line_52 |  | 46 | 47 | 0.0010137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1059-27_0_5_line_53 |  | 47 | 48 | 0.030928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1059-27_0_5_line_54 |  | 48 | 55 | 0.02402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1059-27_0_5_line_55 |  | 49 | 52 | 0.028321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-27_0_5_line_56 |  | 49 | 51 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-27_0_5_line_57 |  | 50 | 51 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-27_0_5_line_58 |  | 55 | 56 | 0.022216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-27_0_5_line_59 |  | 57 | 58 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-27_0_5_line_60 |  | 57 | 59 | 0.012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-27_0_5_line_61 |  | 58 | 60 | 0.01713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-27_0_5_line_62 |  | 59 | 61 | 0.0045539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-27_0_5_line_63 |  | 60 | 62 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-27_0_5_line_64 |  | 60 | 63 | 0.021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-27_0_5_line_65 |  | 61 | 64 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-27_0_5_line_66 |  | 62 | 65 | 0.023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-27_0_5_line_67 |  | 63 | 66 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-27_0_5_line_68 |  | 64 | 69 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-27_0_5_line_69 |  | 65 | 84 | 0.02399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-27_0_5_line_70 |  | 67 | 68 | 0.025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-27_0_5_line_71 |  | 68 | 86 | 0.003501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-27_0_5_line_72 |  | 69 | 81 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-27_0_5_line_73 |  | 69 | 82 | 0.011776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_1059-27_0_5_line_74 |  | 69 | 80 | 0.03209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1059-27_0_5_line_75 |  | 70 | 71 | 0.038502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-27_0_5_line_76 |  | 70 | 72 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-27_0_5_line_77 |  | 71 | 73 | 0.042643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-27_0_5_line_78 |  | 72 | 74 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-27_0_5_line_79 |  | 73 | 75 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-27_0_5_line_80 |  | 74 | 76 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-27_0_5_line_81 |  | 74 | 77 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-27_0_5_line_82 |  | 75 | 78 | 0.022072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-27_0_5_line_83 |  | 76 | 79 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-27_0_5_line_84 |  | 79 | 80 | 0.0053532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1059-27_0_5_line_85 |  | 81 | 83 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1059-27_0_5_line_86 |  | 84 | 85 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-27_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 88 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2664569.0132 | 1209891.7109 | 2664617.512 | 1209898.2397 | 2664622.404 | 1209864.3766
1 | 2664568.3248 | 1209921.5995 | 2664567.5541 | 1209918.367 | 2664569.0132 | 1209891.7109
2 | 2664568.3248 | 1209921.5995 | 2664567.7988 | 1209925.2516 | 2664565.2862 | 1209928.4597 | 2664564.0295 | 1209947.1309
3 | 2664568.3248 | 1209921.5995 | 2664574.1283 | 1209921.2287 | 2664580.3958 | 1209921.7271
4 | 2664562.4584 | 1209970.4735 | 2664564.0295 | 1209947.1309
5 | 2664580.3958 | 1209921.7271 | 2664581.8972 | 1209921.8465 | 2664600.294 | 1209925.6131
6 | 2664560.8573 | 1209994.2631 | 2664562.4584 | 1209970.4735
7 | 2664600.294 | 1209925.6131 | 2664602.4802 | 1209926.0607 | 2664623.7551 | 1209932.7287
8 | 2664697.5108 | 1209905.6746 | 2664711.5021 | 1209908.2878
9 | 2664730.7688 | 1209911.8863 | 2664711.5021 | 1209908.2878
10 | 2664730.7688 | 1209911.8863 | 2664701.4336 | 1209937.4394 | 2664694.6029 | 1209942.1238 | 2664688.1155 | 1209944.5883 | 2664678.2761 | 1209945.1315
11 | 2664730.7688 | 1209911.8863 | 2664747.6406 | 1209894.5054
12 | 2664663.1136 | 1209947.6526 | 2664666.5695 | 1209945.7778 | 2664678.2761 | 1209945.1315
13 | 2664765.8668 | 1209875.7338 | 2664765.4672 | 1209876.1408 | 2664747.6406 | 1209894.5054
14 | 2664663.1136 | 1209947.6526 | 2664646.0698 | 1209941.173
15 | 2664663.1136 | 1209947.6526 | 2664662.1048 | 1209950.966
16 | 2664765.8668 | 1209875.7338 | 2664785.8443 | 1209893.4315
17 | 2664623.7551 | 1209932.7287 | 2664624.342 | 1209932.9126 | 2664646.0698 | 1209941.173
18 | 2664662.1048 | 1209950.966 | 2664658.4039 | 1209952.3045 | 2664655.7789 | 1209953.2544 | 2664645.2918 | 1209974.7946
19 | 2664799.2706 | 1209905.3256 | 2664785.8443 | 1209893.4315
20 | 2664902.6006 | 1210033.6615 | 2664880.7157 | 1210019.7581 | 2664887.2373 | 1210009.975
21 | 2664902.6006 | 1210033.6615 | 2664922.4975 | 1210046.3019
22 | 2664905.5343 | 1209982.5273 | 2664887.2373 | 1210009.975
23 | 2664922.4975 | 1210046.3019 | 2665019.3445 | 1210017.732
24 | 2664869.9537 | 1209959.5932 | 2664874.765 | 1209963.092 | 2664899.9153 | 1209979.9202 | 2664905.5343 | 1209982.5273
25 | 2665019.3445 | 1210017.732 | 2665028.8113 | 1210021.733
26 | 2665019.3445 | 1210017.732 | 2665021.0144 | 1210014.0906
27 | 2664869.9537 | 1209959.5932 | 2664871.8312 | 1209956.7896 | 2664872.4262 | 1209955.8956
28 | 2664869.9537 | 1209959.5932 | 2664867.1721 | 1209963.7655 | 2664866.8012 | 1209964.3174 | 2664866.959 | 1209965.8867 | 2664866.2803 | 1209969.5816 | 2664864.7388 | 1209972.3003
29 | 2664859.9312 | 1209985.8892 | 2664857.925 | 1209984.4554
30 | 2664859.9312 | 1209985.8892 | 2664839.2508 | 1210017.0176
31 | 2664857.925 | 1209984.4554 | 2664846.0734 | 1209975.9722
32 | 2664857.925 | 1209984.4554 | 2664863.0411 | 1209975.2943 | 2664864.7388 | 1209972.3003
33 | 2664838.0633 | 1210018.8051 | 2664839.2508 | 1210017.0176
34 | 2664872.4262 | 1209955.8956 | 2664870.2475 | 1209954.2486 | 2664867.2856 | 1209952.0352
35 | 2664838.0633 | 1210018.8051 | 2664835.4616 | 1210016.909
36 | 2664856.2204 | 1209943.3896 | 2664857.4302 | 1209944.6702 | 2664867.2856 | 1209952.0352
37 | 2664817.1015 | 1209922.8743 | 2664820.2215 | 1209920.4401 | 2664824.838 | 1209924.3815 | 2664839.4912 | 1209935.6809 | 2664854.1874 | 1209947.2143 | 2664856.2204 | 1209943.3896
38 | 2664799.2706 | 1209905.3256 | 2664808.9299 | 1209914.5472 | 2664817.1015 | 1209922.8743
39 | 2664817.1015 | 1209922.8743 | 2664800.9883 | 1209935.4182 | 2664799.7625 | 1209938.4067 | 2664800.4199 | 1209941.5602 | 2664806.3781 | 1209946.2539
40 | 2664817.1015 | 1209922.8743 | 2664825.3475 | 1209929.9571 | 2664825.6581 | 1209930.1907
41 | 2664792.6582 | 1209908.7892 | 2664799.2706 | 1209905.3256
42 | 2664826.7367 | 1209962.292 | 2664806.3781 | 1209946.2539
43 | 2664804.5171 | 1210032.4825 | 2664805.0602 | 1210031.4656 | 2664806.2937 | 1210029.1664 | 2664807.9305 | 1210026.1268 | 2664808.2797 | 1210025.4635 | 2664810.4477 | 1210026.6989 | 2664813.1272 | 1210027.7286 | 2664818.292 | 1210028.7631 | 2664821.6509 | 1210028.8219 | 2664824.5317 | 1210028.1083 | 2664826.7712 | 1210026.9541 | 2664829.4855 | 1210024.7823 | 2664833.2384 | 1210020.0535 | 2664835.4616 | 1210016.909
44 | 2664835.4616 | 1210016.909 | 2664827.3825 | 1210011.0382
45 | 2664804.5171 | 1210032.4825 | 2664803.5205 | 1210031.8713
46 | 2664804.5171 | 1210032.4825 | 2664820 | 1210040.8558 | 2664832.5578 | 1210049.1083 | 2664842.5001 | 1210056.7128
47 | 2664812.5291 | 1210000.5259 | 2664821.1409 | 1210006.5027 | 2664827.3825 | 1210011.0382
48 | 2664803.5205 | 1210031.8713 | 2664802.8712 | 1210032.8649 | 2664798.0449 | 1210039.8501 | 2664796.6317 | 1210041.9027 | 2664794.956 | 1210044.3304 | 2664792.993 | 1210047.1564
49 | 2664803.5205 | 1210031.8713 | 2664785.2516 | 1210021.886
50 | 2664812.5291 | 1210000.5259 | 2664807.7959 | 1209997.241 | 2664804.0966 | 1209994.7783
51 | 2664773.3267 | 1210077.0156 | 2664783.8484 | 1210060.6976 | 2664787.8737 | 1210054.6821 | 2664790.6625 | 1210050.5432 | 2664792.8635 | 1210047.3429 | 2664792.993 | 1210047.1564
52 | 2664803.2528 | 1209994.2165 | 2664804.0966 | 1209994.7783
53 | 2664777.3431 | 1209977.3316 | 2664788.5607 | 1209984.4355 | 2664803.2528 | 1209994.2165
54 | 2664777.3431 | 1209977.3316 | 2664770.1824 | 1209967.6035 | 2664765.974 | 1209958.9748 | 2664764.9477 | 1209956.8713
55 | 2664773.3267 | 1210077.0156 | 2664785.7164 | 1210088.8574 | 2664794.1545 | 1210096.1947
56 | 2664773.3267 | 1210077.0156 | 2664762.9143 | 1210066.463
57 | 2664762.9143 | 1210066.463 | 2664733.8141 | 1210036.9709
58 | 2664749.3202 | 1209952.0265 | 2664760.4495 | 1209947.6523 | 2664764.9477 | 1209956.8713
59 | 2664637.8121 | 1210041.7359 | 2664659.2982 | 1210053.0731
60 | 2664637.8121 | 1210041.7359 | 2664626.4804 | 1210035.7567
61 | 2664674.4481 | 1210061.067 | 2664659.2982 | 1210053.0731
62 | 2664622.4528 | 1210033.6315 | 2664626.4804 | 1210035.7567
63 | 2664674.4481 | 1210061.067 | 2664667.1714 | 1210073.7401
64 | 2664674.4481 | 1210061.067 | 2664691.3386 | 1210072.1124 | 2664692.5375 | 1210072.9937
65 | 2664622.4528 | 1210033.6315 | 2664623.4241 | 1210030.9738 | 2664632.6204 | 1210005.8886
66 | 2664667.3726 | 1210091.7508 | 2664659.9072 | 1210086.3916 | 2664667.1714 | 1210073.7401
67 | 2664714.7999 | 1210089.5412 | 2664713.2287 | 1210088.204 | 2664692.5375 | 1210072.9937
68 | 2664640.138 | 1209985.3824 | 2664632.6204 | 1210005.8886
69 | 2664667.3726 | 1210091.7508 | 2664669.3421 | 1210093.1647 | 2664686.2568 | 1210106.5431
70 | 2664563.7082 | 1209996.3063 | 2664564.1248 | 1209998.5455 | 2664566.2795 | 1210001.0148 | 2664571.3097 | 1210003.9599 | 2664583.6659 | 1210011.1286
71 | 2664560.8573 | 1209994.2631 | 2664563.7082 | 1209996.3063
72 | 2664640.138 | 1209985.3824 | 2664629.4905 | 1209980.3641 | 2664617.9358 | 1209977.704 | 2664616.5447 | 1209977.6605
73 | 2664640.138 | 1209985.3824 | 2664641.0631 | 1209983.4802 | 2664645.2918 | 1209974.7946
74 | 2664640.138 | 1209985.3824 | 2664659.6748 | 1209999.1469 | 2664667.0007 | 1210002.8122
75 | 2664721.5375 | 1210029.2357 | 2664721.5375 | 1210029.2357 | 2664748.1309 | 1210057.0784
76 | 2664713.7705 | 1210014.4425 | 2664715.8216 | 1210021.5468 | 2664721.5375 | 1210029.2357
77 | 2664778.0475 | 1210087.4399 | 2664771.1759 | 1210081.206 | 2664748.1309 | 1210057.0784
78 | 2664701.337 | 1210003.8123 | 2664705.0228 | 1210005.2643 | 2664710.8715 | 1210015.4339 | 2664713.7705 | 1210014.4425
79 | 2664778.0475 | 1210087.4399 | 2664771.0341 | 1210098.1661
80 | 2664701.337 | 1210003.8123 | 2664701.2842 | 1210009.3818 | 2664698.986 | 1210011.7361 | 2664694.2473 | 1210012.0627 | 2664687.1315 | 1210010.0819
81 | 2664701.337 | 1210003.8123 | 2664696.9331 | 1209998.4947 | 2664693.6079 | 1209995.2431
82 | 2664758.9548 | 1210116.6399 | 2664771.0341 | 1210098.1661
83 | 2664671.7882 | 1210005.2074 | 2664674.507 | 1210006.5677 | 2664687.1315 | 1210010.0819
84 | 2664671.7882 | 1210005.2074 | 2664667.0007 | 1210002.8122
85 | 2664602.0463 | 1209978.0656 | 2664608.1341 | 1209977.3977 | 2664616.5447 | 1209977.6605
86 | 2664686.2568 | 1210106.5431 | 2664692.6584 | 1210111.6064 | 2664702.8429 | 1210121.7116

## bus_geodata
| x | y | coords
0 | 2664622.404 | 1209864.3766
1 | 2664569.0132 | 1209891.7109
2 | 2664568.3248 | 1209921.5995
3 | 2664564.0295 | 1209947.1309
4 | 2664580.3958 | 1209921.7271
5 | 2664562.4584 | 1209970.4735
6 | 2664600.294 | 1209925.6131
7 | 2664697.5108 | 1209905.6746
8 | 2664711.5021 | 1209908.2878
9 | 2664730.7688 | 1209911.8863
10 | 2664678.2761 | 1209945.1315
11 | 2664747.6406 | 1209894.5054
12 | 2664663.1136 | 1209947.6526
13 | 2664765.8668 | 1209875.7338
14 | 2664646.0698 | 1209941.173
15 | 2664662.1048 | 1209950.966
16 | 2664785.8443 | 1209893.4315
17 | 2664902.6006 | 1210033.6615
18 | 2664887.2373 | 1210009.975
19 | 2664922.4975 | 1210046.3019
20 | 2664905.5343 | 1209982.5273
21 | 2665019.3445 | 1210017.732
22 | 2664869.9537 | 1209959.5932
23 | 2665021.0144 | 1210014.0906
24 | 2665028.8113 | 1210021.733
25 | 2664859.9312 | 1209985.8892
26 | 2664857.925 | 1209984.4554
27 | 2664839.2508 | 1210017.0176
28 | 2664872.4262 | 1209955.8956
29 | 2664864.7388 | 1209972.3003
30 | 2664846.0734 | 1209975.9722
31 | 2664838.0633 | 1210018.8051
32 | 2664867.2856 | 1209952.0352
33 | 2664856.2204 | 1209943.3896
34 | 2664817.1015 | 1209922.8743
35 | 2664799.2706 | 1209905.3256
36 | 2664806.3781 | 1209946.2539
37 | 2664825.6581 | 1209930.1907
38 | 2664835.4616 | 1210016.909
39 | 2664804.5171 | 1210032.4825
40 | 2664827.3825 | 1210011.0382
41 | 2664803.5205 | 1210031.8713
42 | 2664842.5001 | 1210056.7128
43 | 2664812.5291 | 1210000.5259
44 | 2664792.993 | 1210047.1564
45 | 2664785.2516 | 1210021.886
46 | 2664804.0966 | 1209994.7783
47 | 2664803.2528 | 1209994.2165
48 | 2664777.3431 | 1209977.3316
49 | 2664773.3267 | 1210077.0157
50 | 2664733.8141 | 1210036.9709
51 | 2664762.9143 | 1210066.463
52 | 2664794.1545 | 1210096.1947
53 | 2664792.6582 | 1209908.7892
54 | 2664826.7367 | 1209962.292
55 | 2664764.9477 | 1209956.8713
56 | 2664749.3202 | 1209952.0265
57 | 2664637.8121 | 1210041.7359
58 | 2664659.2982 | 1210053.0731
59 | 2664626.4804 | 1210035.7567
60 | 2664674.4481 | 1210061.067
61 | 2664622.4528 | 1210033.6315
62 | 2664667.1714 | 1210073.7401
63 | 2664692.5375 | 1210072.9937
64 | 2664632.6204 | 1210005.8886
65 | 2664667.3726 | 1210091.7508
66 | 2664714.7999 | 1210089.5412
67 | 2664583.6659 | 1210011.1286
68 | 2664563.7082 | 1209996.3063
69 | 2664640.138 | 1209985.3824
70 | 2664721.5375 | 1210029.2357
71 | 2664748.1309 | 1210057.0784
72 | 2664713.7705 | 1210014.4425
73 | 2664778.0475 | 1210087.4399
74 | 2664701.337 | 1210003.8123
75 | 2664771.0341 | 1210098.1661
76 | 2664687.1315 | 1210010.0819
77 | 2664693.6079 | 1209995.2431
78 | 2664758.9548 | 1210116.6399
79 | 2664671.7882 | 1210005.2074
80 | 2664667.0007 | 1210002.8122
81 | 2664616.5447 | 1209977.6605
82 | 2664645.2918 | 1209974.7946
83 | 2664602.0463 | 1209978.0656
84 | 2664686.2568 | 1210106.5431
85 | 2664702.8429 | 1210121.7116
86 | 2664560.8573 | 1209994.2631
87 | 2664623.7551 | 1209932.7287
88 | 2664777.3431 | 1209977.3316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97025 | -0.5747 | 0.028947 | 0.0072547
1 | 0.9725 | -0.53024 | 0 | 0
2 | 0.97331 | -0.51424 | 0 | 0
3 | 0.97305 | -0.51936 | 0.0016789 | 0.00042077
4 | 0.97375 | -0.50545 | 0.0034349 | 0.00086087
5 | 0.97286 | -0.52316 | 0.0031619 | 0.00079245
6 | 0.97416 | -0.49746 | 0.0045274 | 0.0011347
7 | 0.97685 | -0.44466 | 0.0099205 | 0.0024863
8 | 0.97698 | -0.44208 | 0.011711 | 0.0029351
9 | 0.97738 | -0.43434 | 0 | 0
10 | 0.97542 | -0.47278 | 0.0062521 | 0.0015669
11 | 0.97824 | -0.41744 | 0.0095499 | 0.0023934
12 | 0.97496 | -0.48176 | 0 | 0
13 | 0.97923 | -0.39808 | 0 | 0
14 | 0.97472 | -0.4864 | 0.0033325 | 0.00083521
15 | 0.9749 | -0.48287 | 0 | 0
16 | 0.98024 | -0.37838 | 0.013017 | 0.0032624
17 | 0.98148 | -0.35494 | 0.022935 | 0.0057481
18 | 0.98296 | -0.32595 | 0.010142 | 0.0025418
19 | 0.98105 | -0.36333 | 0.014839 | 0.0037189
20 | 0.98457 | -0.29463 | 0 | 0
21 | 0.9806 | -0.37213 | 0 | 0
22 | 0.98663 | -0.25451 | 0 | 0
23 | 0.9806 | -0.37224 | 0.0014989 | 0.00037565
24 | 0.98057 | -0.37274 | 0.003308 | 0.00082907
25 | 0.98889 | -0.21099 | 0 | 0
26 | 0.98871 | -0.21454 | 0 | 0
27 | 0.9917 | -0.15728 | 0.0067954 | 0.0017031
28 | 0.98636 | -0.25975 | 0 | 0
29 | 0.98767 | -0.23453 | 0.0056316 | 0.0014114
30 | 0.98868 | -0.21502 | 0.0018664 | 0.00046776
31 | 0.99186 | -0.15414 | 0 | 0
32 | 0.98597 | -0.26733 | 0.011653 | 0.0029206
33 | 0.98515 | -0.2832 | 0 | 0
34 | 0.98213 | -0.3416 | 0 | 0
35 | 0.98098 | -0.3641 | 0 | 0
36 | 0.98069 | -0.36986 | 0.035529 | 0.0089043
37 | 0.98206 | -0.34304 | 0.0070867 | 0.0017761
38 | 0.99211 | -0.14944 | 0 | 0
39 | 0.99143 | -0.16267 | 0 | 0
40 | 0.99292 | -0.13404 | 0.0018673 | 0.00046799
41 | 0.99141 | -0.16298 | 0 | 0
42 | 0.99129 | -0.16538 | 0.0033893 | 0.00084943
43 | 0.9944 | -0.1059 | 0.0028727 | 0.00071996
44 | 0.99125 | -0.16617 | 0.0020823 | 0.00052186
45 | 0.99131 | -0.16489 | 0.0051861 | 0.0012998
46 | 0.99523 | -0.090025 | 0.0028716 | 0.00071969
47 | 0.99532 | -0.088436 | 0.011463 | 0.0028728
48 | 0.99795 | -0.038557 | 0 | 0
49 | 0.991 | -0.17102 | 0 | 0
50 | 0.99086 | -0.1738 | 0.0018711 | 0.00046895
51 | 0.99093 | -0.17242 | 0.0034561 | 0.00086618
52 | 0.99094 | -0.17217 | 0.0023016 | 0.00057683
53 | 0.98081 | -0.36727 | 0.023469 | 0.0058818
54 | 0.98045 | -0.37446 | 0.0098004 | 0.0024562
55 | 1 | 0 | -0.44199 | -0.11311
56 | 0.99868 | -0.02545 | 0.065641 | 0.016451
57 | 0.9731 | -0.51848 | 0.0012794 | 0.00032064
58 | 0.97278 | -0.5248 | 0.00099074 | 0.0002483
59 | 0.97328 | -0.51486 | 0.0016459 | 0.0004125
60 | 0.97257 | -0.52894 | 0 | 0
61 | 0.97335 | -0.51343 | 0 | 0
62 | 0.97246 | -0.531 | 0.001306 | 0.00032732
63 | 0.97246 | -0.53111 | 0.0017702 | 0.00044365
64 | 0.97382 | -0.50417 | 0.0026995 | 0.00067656
65 | 0.97232 | -0.53379 | 0.0018448 | 0.00046236
66 | 0.97236 | -0.53299 | 0.003677 | 0.00092155
67 | 0.97258 | -0.5287 | 0.005671 | 0.0014213
68 | 0.97271 | -0.52602 | 0 | 0
69 | 0.97422 | -0.49625 | 0 | 0
70 | 0.9718 | -0.54413 | 0.0064848 | 0.0016252
71 | 0.97147 | -0.55064 | 0.0033583 | 0.00084166
72 | 0.97205 | -0.53923 | 0 | 0
73 | 0.97124 | -0.55521 | 0 | 0
74 | 0.97232 | -0.53383 | 0 | 0
75 | 0.97117 | -0.55658 | 0.0031734 | 0.00079533
76 | 0.97293 | -0.52177 | 0.0024228 | 0.0006072
77 | 0.97215 | -0.53714 | 0.015524 | 0.0038906
78 | 0.97111 | -0.55765 | 0.0026211 | 0.0006569
79 | 0.97343 | -0.51179 | 0.0017409 | 0.00043632
80 | 0.97361 | -0.50831 | 0.0055894 | 0.0014008
81 | 0.9741 | -0.49877 | 0.0035627 | 0.00089288
82 | 0.9744 | -0.49267 | 0.0035224 | 0.00088279
83 | 0.97407 | -0.49928 | 0.0019182 | 0.00048074
84 | 0.97222 | -0.53579 | 0.0022018 | 0.00055182
85 | 0.97217 | -0.53675 | 0.0023165 | 0.00058058
86 | 0.97273 | -0.52566 | 0 | 0
87 | 0.97443 | -0.49212 | 0.0047528 | 0.0011912
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.028947 | -0.0072547 | 0.029008 | 0.007293 | 6.1452e-05 | 3.83e-05 | 0.044394 | 0.044393 | 0.044394 | 0.97025 | -0.5747 | 0.9725 | -0.53024 | 12.1961
1 | -0.029008 | -0.007293 | 0.02903 | 0.0073068 | 2.2189e-05 | 1.3828e-05 | 0.044393 | 0.044393 | 0.044393 | 0.9725 | -0.53024 | 0.97331 | -0.51424 | 12.196
2 | 0.010518 | 0.0026369 | -0.010515 | -0.0026356 | 2.5673e-06 | 1.3141e-06 | 0.01608 | 0.01608 | 0.01608 | 0.97331 | -0.51424 | 0.97305 | -0.51936 | 4.4175
3 | -0.039548 | -0.0099437 | 0.039564 | 0.0099542 | 1.6597e-05 | 1.0472e-05 | 0.060473 | 0.060473 | 0.060473 | 0.97331 | -0.51424 | 0.97375 | -0.50545 | 16.6135
4 | 0.0088361 | 0.0022148 | -0.0088345 | -0.002214 | 1.6019e-06 | 7.3466e-07 | 0.013512 | 0.013513 | 0.013513 | 0.97305 | -0.51936 | 0.97286 | -0.52316 | 3.7122
5 | -0.042999 | -0.010815 | 0.043016 | 0.010825 | 1.6428e-05 | 1.0009e-05 | 0.065722 | 0.065722 | 0.065722 | 0.97375 | -0.50545 | 0.97416 | -0.49746 | 9.0277
6 | 0.0056725 | 0.0014216 | -0.0056719 | -0.0014215 | 6.7309e-07 | 1.3476e-07 | 0.0086763 | 0.0086764 | 0.0086764 | 0.97286 | -0.52316 | 0.97273 | -0.52566 | 2.3836
7 | -0.047543 | -0.01196 | 0.047555 | 0.011966 | 1.2132e-05 | 6.5426e-06 | 0.072637 | 0.072637 | 0.072637 | 0.97416 | -0.49746 | 0.97443 | -0.49212 | 4.9888
8 | -0.0099205 | -0.0024863 | 0.0099218 | 0.0024869 | 1.2189e-06 | 6.0188e-07 | 0.015112 | 0.015112 | 0.015112 | 0.97685 | -0.44466 | 0.97698 | -0.44208 | 4.1516
9 | -0.021633 | -0.005422 | 0.021641 | 0.0054268 | 7.9791e-06 | 4.8611e-06 | 0.032948 | 0.032948 | 0.032948 | 0.97698 | -0.44208 | 0.97738 | -0.43434 | 9.0518
10 | 0.13202 | 0.033306 | -0.13178 | -0.033154 | 0.00024251 | 0.00015201 | 0.20107 | 0.20108 | 0.20108 | 0.97738 | -0.43434 | 0.97542 | -0.47278 | 13.8101
11 | -0.15366 | -0.038733 | 0.15379 | 0.038811 | 0.00012437 | 7.8381e-05 | 0.23402 | 0.23402 | 0.23402 | 0.97738 | -0.43434 | 0.97824 | -0.41744 | 16.073
12 | 0.12553 | 0.031587 | -0.12547 | -0.031553 | 5.3847e-05 | 3.3681e-05 | 0.19154 | 0.19154 | 0.19154 | 0.97542 | -0.47278 | 0.97496 | -0.48176 | 13.1551
13 | -0.16334 | -0.041205 | 0.16349 | 0.0413 | 0.00015153 | 9.5665e-05 | 0.24855 | 0.24855 | 0.24855 | 0.97824 | -0.41744 | 0.97923 | -0.39808 | 17.0706
14 | 0.055667 | 0.014008 | -0.055655 | -0.014001 | 1.2345e-05 | 6.9916e-06 | 0.084981 | 0.084982 | 0.084982 | 0.97496 | -0.48176 | 0.97472 | -0.4864 | 5.8366
15 | 0.069804 | 0.017546 | -0.069801 | -0.017544 | 3.6862e-06 | 2.1865e-06 | 0.10656 | 0.10656 | 0.10656 | 0.97496 | -0.48176 | 0.9749 | -0.48287 | 7.3184
16 | -0.16349 | -0.0413 | 0.16364 | 0.041398 | 0.00015457 | 9.758e-05 | 0.24855 | 0.24855 | 0.24855 | 0.97923 | -0.39808 | 0.98024 | -0.37838 | 17.0706
17 | 0.052322 | 0.013165 | -0.052308 | -0.013157 | 1.4278e-05 | 7.9488e-06 | 0.079894 | 0.079895 | 0.079895 | 0.97472 | -0.4864 | 0.97443 | -0.49212 | 5.4873
18 | 0.069801 | 0.017544 | -0.069768 | -0.017524 | 3.2663e-05 | 1.9375e-05 | 0.10656 | 0.10656 | 0.10656 | 0.9749 | -0.48287 | 0.9744 | -0.49267 | 7.3185
19 | -0.17666 | -0.04466 | 0.17678 | 0.044737 | 0.00012106 | 7.657e-05 | 0.26831 | 0.26831 | 0.26831 | 0.98024 | -0.37838 | 0.98098 | -0.3641 | 18.4277
20 | -0.042591 | -0.010676 | 0.04265 | 0.010714 | 5.8925e-05 | 3.7235e-05 | 0.064573 | 0.064572 | 0.064573 | 0.98148 | -0.35494 | 0.98296 | -0.32595 | 17.7397
21 | 0.019656 | 0.0049283 | -0.019648 | -0.0049235 | 7.8503e-06 | 4.7264e-06 | 0.0298 | 0.029801 | 0.029801 | 0.98148 | -0.35494 | 0.98105 | -0.36333 | 8.187
22 | -0.052792 | -0.013255 | 0.052871 | 0.013306 | 7.9021e-05 | 5.0155e-05 | 0.079925 | 0.079925 | 0.079925 | 0.98296 | -0.32595 | 0.98457 | -0.29463 | 21.9575
23 | 0.004809 | 0.0012046 | -0.004807 | -0.0012046 | 2.0146e-06 | 1.4939e-08 | 0.0072939 | 0.0072943 | 0.0072943 | 0.98105 | -0.36333 | 0.9806 | -0.37213 | 2.0039
24 | -0.052871 | -0.013306 | 0.052972 | 0.01337 | 0.00010158 | 6.447e-05 | 0.079925 | 0.079925 | 0.079925 | 0.98457 | -0.29463 | 0.98663 | -0.25451 | 21.9574
25 | 0.0033081 | 0.000829 | -0.003308 | -0.00082907 | 9.7121e-08 | -6.7492e-08 | 0.0050199 | 0.0050199 | 0.0050199 | 0.9806 | -0.37213 | 0.98057 | -0.37274 | 1.3791
26 | 0.0014989 | 0.0003756 | -0.0014989 | -0.00037565 | 7.7713e-09 | -4.5562e-08 | 0.0022744 | 0.0022745 | 0.0022745 | 0.9806 | -0.37213 | 0.9806 | -0.37224 | 0.62485
27 | 0.26567 | 0.067535 | -0.2656 | -0.067492 | 6.7014e-05 | 4.2662e-05 | 0.40102 | 0.40102 | 0.40102 | 0.98663 | -0.25451 | 0.98636 | -0.25975 | 27.5423
28 | -0.31864 | -0.080905 | 0.31895 | 0.081101 | 0.0003066 | 0.0001955 | 0.48094 | 0.48094 | 0.48094 | 0.98663 | -0.25451 | 0.98767 | -0.23453 | 33.0317
29 | 0.32681 | 0.083215 | -0.32676 | -0.083179 | 5.5902e-05 | 3.5651e-05 | 0.49223 | 0.49223 | 0.49223 | 0.98889 | -0.21099 | 0.98871 | -0.21454 | 33.8073
30 | -0.32681 | -0.083215 | 0.32766 | 0.083756 | 0.0008489 | 0.00054138 | 0.49223 | 0.49223 | 0.49223 | 0.98889 | -0.21099 | 0.9917 | -0.15728 | 33.8073
31 | 0.0018664 | 0.0004676 | -0.0018664 | -0.00046776 | 4.3125e-08 | -1.5931e-07 | 0.0028089 | 0.002809 | 0.002809 | 0.98871 | -0.21454 | 0.98868 | -0.21502 | 0.77171
32 | 0.32489 | 0.082712 | -0.32458 | -0.082512 | 0.00031293 | 0.00019956 | 0.48943 | 0.48943 | 0.48943 | 0.98871 | -0.21454 | 0.98767 | -0.23453 | 33.6144
33 | -0.33446 | -0.085459 | 0.33451 | 0.085492 | 5.0787e-05 | 3.2393e-05 | 0.50243 | 0.50243 | 0.50243 | 0.9917 | -0.15728 | 0.99186 | -0.15414 | 34.5075
34 | 0.2656 | 0.067492 | -0.2655 | -0.067431 | 9.6922e-05 | 6.1702e-05 | 0.40102 | 0.40102 | 0.40102 | 0.98636 | -0.25975 | 0.98597 | -0.26733 | 27.5423
35 | -0.33451 | -0.085492 | 0.33459 | 0.08554 | 7.6038e-05 | 4.8499e-05 | 0.50243 | 0.50243 | 0.50243 | 0.99186 | -0.15414 | 0.99211 | -0.14944 | 34.5075
36 | 0.25385 | 0.06451 | -0.25366 | -0.064387 | 0.00019386 | 0.00012335 | 0.38343 | 0.38343 | 0.38343 | 0.98597 | -0.26733 | 0.98515 | -0.2832 | 26.3344
37 | 0.25366 | 0.064387 | -0.25295 | -0.063935 | 0.00071043 | 0.00045206 | 0.38343 | 0.38343 | 0.38343 | 0.98515 | -0.2832 | 0.98213 | -0.3416 | 26.3345
38 | 0.20047 | 0.050758 | -0.20025 | -0.050621 | 0.00021635 | 0.0001372 | 0.30391 | 0.30391 | 0.30391 | 0.98213 | -0.3416 | 0.98098 | -0.3641 | 20.8731
39 | 0.045392 | 0.0114 | -0.045331 | -0.011362 | 6.1129e-05 | 3.8687e-05 | 0.068782 | 0.068782 | 0.068782 | 0.98213 | -0.3416 | 0.98069 | -0.36986 | 18.8961
40 | 0.0070872 | 0.0017763 | -0.0070867 | -0.0017761 | 4.868e-07 | 1.6909e-07 | 0.010738 | 0.010738 | 0.010738 | 0.98213 | -0.3416 | 0.98206 | -0.34304 | 2.9499
41 | 0.023472 | 0.005884 | -0.023469 | -0.0058818 | 3.5407e-06 | 2.172e-06 | 0.035605 | 0.035605 | 0.035605 | 0.98098 | -0.3641 | 0.98081 | -0.36727 | 9.7816
42 | 0.0098026 | 0.0024573 | -0.0098004 | -0.0024562 | 2.1501e-06 | 1.0491e-06 | 0.014874 | 0.014874 | 0.014874 | 0.98069 | -0.36986 | 0.98045 | -0.37446 | 4.0862
43 | 0.018303 | 0.0045904 | -0.018291 | -0.0045835 | 1.1533e-05 | 6.8547e-06 | 0.027453 | 0.027453 | 0.027453 | 0.99211 | -0.14944 | 0.99143 | -0.16267 | 7.542
44 | -0.35289 | -0.090131 | 0.35315 | 0.090298 | 0.00026288 | 0.00016773 | 0.52988 | 0.52988 | 0.52988 | 0.99211 | -0.14944 | 0.99292 | -0.13404 | 36.393
45 | 0.014902 | 0.0037344 | -0.014901 | -0.0037343 | 2.1891e-07 | 1.2505e-07 | 0.022366 | 0.022366 | 0.022366 | 0.99143 | -0.16267 | 0.99141 | -0.16298 | 6.1444
46 | 0.0033897 | 0.00084913 | -0.0033893 | -0.00084943 | 4.3818e-07 | -3.0165e-07 | 0.0050874 | 0.0050876 | 0.0050876 | 0.99143 | -0.16267 | 0.99129 | -0.16538 | 1.3977
47 | -0.35502 | -0.090766 | 0.3555 | 0.091075 | 0.00048409 | 0.00030888 | 0.53268 | 0.53268 | 0.53268 | 0.99292 | -0.13404 | 0.9944 | -0.1059 | 36.5852
48 | 0.0097149 | 0.0024345 | -0.0097134 | -0.0024338 | 1.4798e-06 | 7.0776e-07 | 0.014581 | 0.014581 | 0.014581 | 0.99141 | -0.16298 | 0.99125 | -0.16617 | 4.0058
49 | 0.0051865 | 0.0012998 | -0.0051861 | -0.0012998 | 4.7312e-07 | 3.4353e-08 | 0.0077845 | 0.0077846 | 0.0077846 | 0.99141 | -0.16298 | 0.99131 | -0.16489 | 2.1386
50 | -0.35838 | -0.091795 | 0.35865 | 0.091971 | 0.00027588 | 0.00017603 | 0.53698 | 0.53698 | 0.53698 | 0.9944 | -0.1059 | 0.99523 | -0.090025 | 36.8804
51 | 0.0076312 | 0.0019119 | -0.0076294 | -0.0019113 | 1.7595e-06 | 6.6531e-07 | 0.011455 | 0.011455 | 0.011455 | 0.99125 | -0.16617 | 0.991 | -0.17102 | 3.1471
52 | -0.36152 | -0.092691 | 0.36155 | 0.092709 | 2.7841e-05 | 1.7766e-05 | 0.54127 | 0.54127 | 0.54127 | 0.99523 | -0.090025 | 0.99532 | -0.088436 | 37.1752
53 | -0.37301 | -0.095581 | 0.37392 | 0.096158 | 0.00090412 | 0.00057702 | 0.55841 | 0.55841 | 0.55841 | 0.99532 | -0.088436 | 0.99795 | -0.038557 | 38.3522
54 | -0.37392 | -0.096158 | 0.37462 | 0.096607 | 0.00070218 | 0.00044814 | 0.55841 | 0.55841 | 0.55841 | 0.99795 | -0.038557 | 1 | 0 | 38.3522
55 | 0.0023017 | 0.00057654 | -0.0023016 | -0.00057683 | 1.2685e-07 | -2.8368e-07 | 0.0034559 | 0.0034561 | 0.0034561 | 0.991 | -0.17102 | 0.99094 | -0.17217 | 0.94947
56 | 0.0053277 | 0.0013347 | -0.0053274 | -0.0013347 | 3.5576e-07 | 3.6694e-08 | 0.0079995 | 0.0079996 | 0.0079996 | 0.991 | -0.17102 | 0.99093 | -0.17242 | 2.1977
57 | -0.0018711 | -0.00046895 | 0.0018712 | 0.00046849 | 1.2267e-07 | -4.5519e-07 | 0.00281 | 0.0028098 | 0.00281 | 0.99086 | -0.1738 | 0.99093 | -0.17242 | 0.77197
58 | 0.06572 | 0.016502 | -0.065641 | -0.016451 | 7.969e-05 | 5.0711e-05 | 0.097804 | 0.097804 | 0.097804 | 1 | 0 | 0.99868 | -0.02545 | 26.8692
59 | 0.014117 | 0.0035397 | -0.014113 | -0.0035373 | 4.2456e-06 | 2.4155e-06 | 0.021588 | 0.021588 | 0.021588 | 0.9731 | -0.51848 | 0.97278 | -0.5248 | 5.9307
60 | -0.015396 | -0.0038604 | 0.015399 | 0.0038619 | 2.6633e-06 | 1.5453e-06 | 0.023544 | 0.023544 | 0.023544 | 0.9731 | -0.51848 | 0.97328 | -0.51486 | 6.4681
61 | 0.013122 | 0.003289 | -0.013119 | -0.0032875 | 2.5881e-06 | 1.4437e-06 | 0.020072 | 0.020072 | 0.020072 | 0.97278 | -0.5248 | 0.97257 | -0.52894 | 5.5144
62 | -0.017045 | -0.0042744 | 0.017046 | 0.0042751 | 1.1598e-06 | 6.8566e-07 | 0.02606 | 0.02606 | 0.02606 | 0.97328 | -0.51486 | 0.97335 | -0.51343 | 7.1594
63 | 0.0076713 | 0.0019224 | -0.0076705 | -0.0019221 | 7.5491e-07 | 3.0182e-07 | 0.011737 | 0.011737 | 0.011737 | 0.97257 | -0.52894 | 0.97246 | -0.531 | 3.2244
64 | 0.0054481 | 0.0013652 | -0.0054476 | -0.0013651 | 5.646e-07 | 9.2473e-08 | 0.0083355 | 0.0083356 | 0.0083356 | 0.97257 | -0.52894 | 0.97246 | -0.53111 | 2.29
65 | -0.017046 | -0.0042751 | 0.017054 | 0.0042795 | 7.5251e-06 | 4.4486e-06 | 0.02606 | 0.02606 | 0.02606 | 0.97335 | -0.51343 | 0.97382 | -0.50417 | 7.1594
66 | 0.0063645 | 0.0015948 | -0.0063637 | -0.0015945 | 8.4569e-07 | 2.4627e-07 | 0.0097386 | 0.0097387 | 0.0097387 | 0.97246 | -0.531 | 0.97232 | -0.53379 | 2.6755
67 | 0.0036774 | 0.00092142 | -0.003677 | -0.00092155 | 3.2941e-07 | -1.3335e-07 | 0.0056269 | 0.005627 | 0.005627 | 0.97246 | -0.53111 | 0.97236 | -0.53299 | 1.5459
68 | -0.019753 | -0.0049561 | 0.019761 | 0.0049606 | 7.4625e-06 | 4.5041e-06 | 0.030185 | 0.030185 | 0.030185 | 0.97382 | -0.50417 | 0.97422 | -0.49625 | 8.2926
69 | 0.0045188 | 0.0011322 | -0.0045184 | -0.0011322 | 4.3024e-07 | -2.2172e-08 | 0.0069154 | 0.0069155 | 0.0069155 | 0.97232 | -0.53379 | 0.97222 | -0.53579 | 1.8999
70 | -0.005671 | -0.0014213 | 0.0056718 | 0.0014214 | 7.2465e-07 | 1.4519e-07 | 0.0086765 | 0.0086764 | 0.0086765 | 0.97258 | -0.5287 | 0.97271 | -0.52602 | 2.3837
71 | -0.0056718 | -0.0014214 | 0.0056719 | 0.0014215 | 9.8834e-08 | 1.9795e-08 | 0.0086764 | 0.0086764 | 0.0086764 | 0.97271 | -0.52602 | 0.97273 | -0.52566 | 2.3836
72 | 0.0054815 | 0.0013736 | -0.0054809 | -0.0013735 | 6.5767e-07 | 1.0942e-07 | 0.0083723 | 0.0083724 | 0.0083724 | 0.97422 | -0.49625 | 0.9741 | -0.49877 | 2.3001
73 | -0.066234 | -0.016635 | 0.066246 | 0.016642 | 1.1301e-05 | 6.6462e-06 | 0.10118 | 0.10118 | 0.10118 | 0.97422 | -0.49625 | 0.9744 | -0.49267 | 6.9491
74 | 0.040992 | 0.010301 | -0.040969 | -0.010286 | 2.3595e-05 | 1.4302e-05 | 0.062621 | 0.062621 | 0.062621 | 0.97422 | -0.49625 | 0.97361 | -0.50831 | 8.6018
75 | 0.0091573 | 0.0022954 | -0.0091545 | -0.0022941 | 2.8388e-06 | 1.34e-06 | 0.014022 | 0.014022 | 0.014022 | 0.9718 | -0.54413 | 0.97147 | -0.55064 | 3.8522
76 | -0.015642 | -0.0039206 | 0.015646 | 0.0039228 | 3.6518e-06 | 2.1268e-06 | 0.023951 | 0.023951 | 0.023951 | 0.9718 | -0.54413 | 0.97205 | -0.53923 | 6.58
77 | 0.0057962 | 0.0014524 | -0.005795 | -0.0014521 | 1.2605e-06 | 2.7884e-07 | 0.0088781 | 0.0088783 | 0.0088783 | 0.97147 | -0.55064 | 0.97124 | -0.55521 | 2.4391
78 | -0.015646 | -0.0039228 | 0.01565 | 0.0039251 | 4.0295e-06 | 2.3466e-06 | 0.023951 | 0.023951 | 0.023951 | 0.97205 | -0.53923 | 0.97232 | -0.53383 | 6.58
79 | 0.005795 | 0.0014521 | -0.0057946 | -0.001452 | 3.7882e-07 | 8.3857e-08 | 0.0088783 | 0.0088784 | 0.0088784 | 0.97124 | -0.55521 | 0.97117 | -0.55658 | 2.4391
80 | -0.031176 | -0.0078171 | 0.031194 | 0.0078283 | 1.7924e-05 | 1.1211e-05 | 0.047712 | 0.047712 | 0.047712 | 0.97232 | -0.53383 | 0.97293 | -0.52177 | 13.1077
81 | 0.015526 | 0.003892 | -0.015524 | -0.0038906 | 2.4465e-06 | 1.4224e-06 | 0.023761 | 0.023761 | 0.023761 | 0.97232 | -0.53383 | 0.97215 | -0.53714 | 6.5277
82 | 0.0026212 | 0.00065671 | -0.0026211 | -0.0006569 | 1.3351e-07 | -1.8766e-07 | 0.0040161 | 0.0040162 | 0.0040162 | 0.97117 | -0.55658 | 0.97111 | -0.55765 | 1.1034
83 | -0.033616 | -0.0084355 | 0.033632 | 0.0084456 | 1.6006e-05 | 1.0043e-05 | 0.051417 | 0.051417 | 0.051417 | 0.97293 | -0.52177 | 0.97343 | -0.51179 | 14.1257
84 | -0.035373 | -0.0088819 | 0.035379 | 0.0088856 | 5.8708e-06 | 3.6907e-06 | 0.054079 | 0.054079 | 0.054079 | 0.97343 | -0.51179 | 0.97361 | -0.50831 | 14.8568
85 | 0.0019182 | 0.00048059 | -0.0019182 | -0.00048074 | 4.6813e-08 | -1.5102e-07 | 0.0029302 | 0.0029303 | 0.0029303 | 0.9741 | -0.49877 | 0.97407 | -0.49928 | 0.80501
86 | 0.0023166 | 0.00058037 | -0.0023165 | -0.00058058 | 1.0612e-07 | -2.112e-07 | 0.0035456 | 0.0035457 | 0.0035457 | 0.97222 | -0.53579 | 0.97217 | -0.53675 | 0.9741

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46024 | 0.11768

## res_load
| p_mw | q_mvar
0 | 0.028947 | 0.0072547
1 | 0.0016789 | 0.00042077
2 | 0.0034349 | 0.00086087
3 | 0.0031619 | 0.00079245
4 | 0.0045274 | 0.0011347
5 | 0.0099205 | 0.0024863
6 | 0.011711 | 0.0029351
7 | 0.0062521 | 0.0015669
8 | 0.0095499 | 0.0023934
9 | 0.0033325 | 0.00083521
10 | 0.013017 | 0.0032624
11 | 0.022935 | 0.0057481
12 | 0.010142 | 0.0025418
13 | 0.014839 | 0.0037189
14 | 0.0014989 | 0.00037565
15 | 0.003308 | 0.00082907
16 | 0.0067954 | 0.0017031
17 | 0.0056316 | 0.0014114
18 | 0.0018664 | 0.00046776
19 | 0.011653 | 0.0029206
20 | 0.035529 | 0.0089043
21 | 0.0070867 | 0.0017761
22 | 0.0018673 | 0.00046799
23 | 0.0033893 | 0.00084943
24 | 0.0028727 | 0.00071996
25 | 0.0020823 | 0.00052186
26 | 0.0051861 | 0.0012998
27 | 0.0028716 | 0.00071969
28 | 0.011463 | 0.0028728
29 | 0.0018711 | 0.00046895
30 | 0.0034561 | 0.00086618
31 | 0.0023016 | 0.00057683
32 | 0.023469 | 0.0058818
33 | 0.0098004 | 0.0024562
34 | 0.018252 | 0.0045744
35 | 0.065641 | 0.016451
36 | 0.0012794 | 0.00032064
37 | 0.00099074 | 0.0002483
38 | 0.0016459 | 0.0004125
39 | 0.001306 | 0.00032732
40 | 0.0017702 | 0.00044365
41 | 0.0026995 | 0.00067656
42 | 0.0018448 | 0.00046236
43 | 0.003677 | 0.00092155
44 | 0.005671 | 0.0014213
45 | 0.0064848 | 0.0016252
46 | 0.0033583 | 0.00084166
47 | 0.0031734 | 0.00079533
48 | 0.0024228 | 0.0006072
49 | 0.015524 | 0.0038906
50 | 0.0026211 | 0.0006569
51 | 0.0017409 | 0.00043632
52 | 0.0055894 | 0.0014008
53 | 0.0035627 | 0.00089288
54 | 0.0035224 | 0.00088279
55 | 0.0019182 | 0.00048074
56 | 0.0022018 | 0.00055182
57 | 0.0023165 | 0.00058058
58 | 0.0047528 | 0.0011912

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1