## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-28_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1059-28_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1059-28_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-28_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-28_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1059-28_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1059-28_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1059-28_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1059-28_0_3_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1059-28_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1059-28_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1059-28_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1059-28_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1059-28_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1059-28_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1059-28_0_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1059-28_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1059-28_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1059-28_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1059-28_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1059-28_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1059-28_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1059-28_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1059-28_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1059-28_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1059-28_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1059-28_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1059-28_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1059-28_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1059-28_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1059-28_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1059-28_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_MV_24_1_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-28_0_3_load_0 | 0 | 0.016519 | 0.00414 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-28_0_3_load_1 | 1 | 0.02491 | 0.0062432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-28_0_3_load_3 | 2 | 0.022008 | 0.0055156 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-28_0_3_load_4 | 4 | 0.0034092 | 0.00085442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-28_0_3_load_19 | 7 | 0.014919 | 0.0037392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-28_0_3_load_31 | 9 | 0.0065583 | 0.0016437 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-28_0_3_load_36 | 10 | 0.011083 | 0.0027776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-28_0_3_load_26 | 14 | 0.019073 | 0.0047801 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-28_0_3_load_34 | 17 | 0.0085766 | 0.0021495 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-28_0_3_load_30 | 19 | 0.018124 | 0.0045423 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-28_0_3_load_27 | 20 | 0.012361 | 0.003098 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-28_0_3_load_21 | 21 | 0.012684 | 0.003179 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-28_0_3_load_20 | 22 | 0.014309 | 0.0035862 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-28_0_3_load_37 | 24 | 0.025012 | 0.0062687 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-28_0_3_load_18 | 25 | 0.011066 | 0.0027733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-28_0_3_load_32 | 26 | 0.0074707 | 0.0018723 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-28_0_3_load_25 | 27 | 0.0082055 | 0.0020565 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-28_0_3_load_29 | 28 | 0.01015 | 0.0025439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-28_0_3_load_28 | 29 | 0.0075527 | 0.0018929 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-28_0_3_load_22 | 30 | 0.0055564 | 0.0013926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-28_0_3_load_35 | 31 | 0.0084775 | 0.0021247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-28_0_3_load_23 | 32 | 0.022597 | 0.0056633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-28_0_3_load_33 | 33 | 0.0073511 | 0.0018424 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-28_0_3_line_0 |  | 0 | 1 | 0.037448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-28_0_3_line_1 |  | 1 | 2 | 0.036592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-28_0_3_line_2 |  | 2 | 6 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-28_0_3_line_3 |  | 3 | 4 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-28_0_3_line_4 |  | 3 | 5 | 0.0080462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-28_0_3_line_5 |  | 4 | 7 | 0.0048985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-28_0_3_line_6 |  | 5 | 8 | 0.044998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-28_0_3_line_7 |  | 5 | 9 | 0.052847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-28_0_3_line_8 |  | 6 | 15 | 0.0081196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-28_0_3_line_9 |  | 7 | 25 | 0.042587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-28_0_3_line_10 |  | 8 | 10 | 0.05071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-28_0_3_line_11 |  | 8 | 11 | 0.057488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-28_0_3_line_12 |  | 9 | 26 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-28_0_3_line_13 |  | 11 | 23 | 0.22182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-28_0_3_line_14 |  | 12 | 13 | 0.012916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-28_0_3_line_15 |  | 12 | 14 | 0.0047936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-28_0_3_line_16 |  | 13 | 21 | 0.0054266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-28_0_3_line_17 |  | 13 | 22 | 0.0442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-28_0_3_line_18 |  | 14 | 27 | 0.034205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-28_0_3_line_19 |  | 15 | 16 | 0.004248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-28_0_3_line_20 |  | 15 | 17 | 0.0090015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1059-28_0_3_line_21 |  | 16 | 30 | 0.012444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-28_0_3_line_22 |  | 16 | 18 | 0.00554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-28_0_3_line_23 |  | 17 | 31 | 0.022904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1059-28_0_3_line_24 |  | 18 | 19 | 0.033639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-28_0_3_line_25 |  | 18 | 20 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-28_0_3_line_26 |  | 20 | 29 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-28_0_3_line_27 |  | 23 | 24 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-28_0_3_line_28 |  | 26 | 33 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-28_0_3_line_29 |  | 27 | 32 | 0.027711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-28_0_3_line_30 |  | 28 | 29 | 0.012916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-28_0_3_line_31 |  | 30 | 32 | 0.059397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-28_0_3_line_32 |  | 31 | 33 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-28_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 34 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2664687.8435 | 1209811.0838 | 2664716.5926 | 1209835.0798
1 | 2664716.5926 | 1209835.0798 | 2664744.6846 | 1209858.5273
2 | 2664756.8301 | 1209868.6648 | 2664744.6846 | 1209858.5273
3 | 2664636.0282 | 1209774.7314 | 2664636.2154 | 1209776.39 | 2664633.3589 | 1209793.3402
4 | 2664636.0282 | 1209774.7314 | 2664636.2784 | 1209774.0892 | 2664637.6004 | 1209770.6348 | 2664638.4594 | 1209768.5206 | 2664638.9824 | 1209767.2477
5 | 2664632.5449 | 1209798.1705 | 2664633.3589 | 1209793.3402
6 | 2664638.9824 | 1209767.2477 | 2664639.4133 | 1209759.0473 | 2664642.0808 | 1209754.8848 | 2664650.0757 | 1209742.386 | 2664659.2458 | 1209728.0654
7 | 2664638.9824 | 1209767.2477 | 2664650.316 | 1209773.5187 | 2664679.2082 | 1209793.0881 | 2664683.0581 | 1209796.2756
8 | 2664756.8301 | 1209868.6648 | 2664757.5535 | 1209867.8388 | 2664759.4472 | 1209865.6469 | 2664761.5485 | 1209863.2238 | 2664762.1489 | 1209862.5298
9 | 2664625.8921 | 1209840.2314 | 2664628.5065 | 1209822.1345 | 2664632.5449 | 1209798.1705
10 | 2664659.2458 | 1209728.0654 | 2664665.4758 | 1209729.7339 | 2664676.1615 | 1209738.9776 | 2664697.5014 | 1209760.3663
11 | 2664659.2458 | 1209728.0654 | 2664665.3542 | 1209718.5147 | 2664666.4279 | 1209716.9364 | 2664668.4286 | 1209713.9785 | 2664671.3562 | 1209709.6632 | 2664671.9202 | 1209708.8243 | 2664672.5076 | 1209707.9301 | 2664675.1581 | 1209703.9342 | 2664675.5985 | 1209703.2719 | 2664677.5105 | 1209704.2932 | 2664679.4593 | 1209704.7257 | 2664681.1012 | 1209704.7213 | 2664683.2731 | 1209704.2112 | 2664685.04 | 1209703.1852 | 2664686.5786 | 1209701.4898 | 2664687.2723 | 1209702.0087 | 2664691.5705 | 1209705.1906 | 2664698.1987 | 1209710.0876 | 2664698.9678 | 1209710.663
12 | 2664683.0581 | 1209796.2756 | 2664701.979 | 1209811.941
13 | 2664698.9678 | 1209710.663 | 2664699.235 | 1209709.1538 | 2664701.1863 | 1209705.1503 | 2664718.2304 | 1209683.2106 | 2664725.1683 | 1209674.2803 | 2664734.0874 | 1209662.8034 | 2664739.1949 | 1209657.2443 | 2664743.7866 | 1209654.3812 | 2664748.6417 | 1209652.4771 | 2664753.6045 | 1209651.1413 | 2664761.1738 | 1209651.279 | 2664767.225 | 1209652.6233 | 2664773.1483 | 1209655.2336 | 2664778.6714 | 1209659.0069 | 2664798.364 | 1209679.4888 | 2664810.3384 | 1209691.8485 | 2664820.3263 | 1209702.3412 | 2664830.3064 | 1209713.5453 | 2664834.001 | 1209717.6991 | 2664814.6748 | 1209734.8775 | 2664814.7528 | 1209736.7906 | 2664817.0805 | 1209739.4286
14 | 2664739.5571 | 1209768.1493 | 2664740.3179 | 1209767.3904 | 2664744.1908 | 1209763.5189 | 2664747.887 | 1209759.8234 | 2664748.6938 | 1209759.0206
15 | 2664739.5571 | 1209768.1493 | 2664742.9024 | 1209771.5826
16 | 2664748.6938 | 1209759.0206 | 2664744.963 | 1209755.0799
17 | 2664748.6938 | 1209759.0206 | 2664752.4286 | 1209762.9746 | 2664767.9268 | 1209783.3108 | 2664776.5582 | 1209793.2875
18 | 2664765.6515 | 1209797.124 | 2664743.7067 | 1209772.408 | 2664742.9024 | 1209771.5826
19 | 2664762.1489 | 1209862.5298 | 2664765.5646 | 1209865.0685
20 | 2664762.1489 | 1209862.5298 | 2664755.1312 | 1209856.8927
21 | 2664765.5646 | 1209865.0685 | 2664769.0098 | 1209864.8835 | 2664772.2653 | 1209862.573 | 2664775.6779 | 1209858.9157
22 | 2664765.5646 | 1209865.0685 | 2664769.9899 | 1209868.4185
23 | 2664755.1312 | 1209856.8927 | 2664744.2603 | 1209848.1603 | 2664737.5038 | 1209842.275
24 | 2664769.9899 | 1209868.4185 | 2664770.4441 | 1209867.1894 | 2664784.982 | 1209852.0379 | 2664792.8708 | 1209843.9042
25 | 2664769.9899 | 1209868.4185 | 2664774.8527 | 1209872.0846 | 2664779.0938 | 1209875.9338
26 | 2664779.0938 | 1209875.9338 | 2664779.1053 | 1209875.9443 | 2664789.4737 | 1209885.3371
27 | 2664817.0805 | 1209739.4286 | 2664813.2968 | 1209742.7784 | 2664810.313 | 1209744.5583 | 2664807.1547 | 1209744.9131 | 2664802.0005 | 1209744.2789
28 | 2664718.4008 | 1209825.6348 | 2664716.1366 | 1209823.6626 | 2664701.979 | 1209811.941
29 | 2664765.6515 | 1209797.124 | 2664769.8612 | 1209801.8653 | 2664768.2977 | 1209804.4611 | 2664780.2527 | 1209818.3692
30 | 2664789.4737 | 1209885.3371 | 2664795.0547 | 1209890.3929 | 2664798.9879 | 1209894.071
31 | 2664775.6779 | 1209858.9157 | 2664798.1051 | 1209834.8809 | 2664787.946 | 1209823.3747 | 2664785.8545 | 1209824.8863 | 2664780.2527 | 1209818.3692
32 | 2664718.4008 | 1209825.6348 | 2664737.5038 | 1209842.275

## bus_geodata
| x | y | coords
0 | 2664687.8435 | 1209811.0838
1 | 2664716.5926 | 1209835.0798
2 | 2664744.6846 | 1209858.5273
3 | 2664636.0282 | 1209774.7314
4 | 2664633.3589 | 1209793.3402
5 | 2664638.9824 | 1209767.2477
6 | 2664756.8301 | 1209868.6648
7 | 2664632.5449 | 1209798.1705
8 | 2664659.2458 | 1209728.0654
9 | 2664683.0581 | 1209796.2756
10 | 2664697.5014 | 1209760.3663
11 | 2664698.9678 | 1209710.663
12 | 2664739.5571 | 1209768.1493
13 | 2664748.6938 | 1209759.0206
14 | 2664742.9024 | 1209771.5826
15 | 2664762.1489 | 1209862.5298
16 | 2664765.5646 | 1209865.0685
17 | 2664755.1312 | 1209856.8927
18 | 2664769.9899 | 1209868.4185
19 | 2664792.8708 | 1209843.9042
20 | 2664779.0938 | 1209875.9338
21 | 2664744.963 | 1209755.0799
22 | 2664776.5582 | 1209793.2875
23 | 2664817.0805 | 1209739.4286
24 | 2664802.0005 | 1209744.2789
25 | 2664625.8921 | 1209840.2314
26 | 2664701.979 | 1209811.941
27 | 2664765.6515 | 1209797.124
28 | 2664798.9879 | 1209894.071
29 | 2664789.4737 | 1209885.3371
30 | 2664775.6779 | 1209858.9157
31 | 2664737.5038 | 1209842.275
32 | 2664780.2527 | 1209818.3692
33 | 2664718.4008 | 1209825.6348
34 | 2664762.1489 | 1209862.5298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99129 | -0.16742 | 0.016519 | 0.00414
1 | 0.99185 | -0.15645 | 0.02491 | 0.0062432
2 | 0.99324 | -0.12963 | 0.022008 | 0.0055156
3 | 0.99343 | -0.12578 | 0 | 0
4 | 0.99293 | -0.13558 | 0.0034092 | 0.00085442
5 | 0.99365 | -0.1216 | 0 | 0
6 | 0.99416 | -0.11191 | 0 | 0
7 | 0.99281 | -0.13783 | 0.014919 | 0.0037392
8 | 0.99216 | -0.15033 | 0 | 0
9 | 0.99682 | -0.060689 | 0.0065583 | 0.0016437
10 | 0.99164 | -0.16029 | 0.011083 | 0.0027776
11 | 0.99083 | -0.17583 | 0 | 0
12 | 0.98603 | -0.26911 | 0 | 0
13 | 0.98571 | -0.27536 | 0 | 0
14 | 0.98615 | -0.26679 | 0.019073 | 0.0047801
15 | 0.99463 | -0.10283 | 0 | 0
16 | 0.99412 | -0.11262 | 0 | 0
17 | 0.99543 | -0.087458 | 0.0085766 | 0.0021495
18 | 0.99387 | -0.11732 | 0 | 0
19 | 0.99332 | -0.12809 | 0.018124 | 0.0045423
20 | 0.99355 | -0.1236 | 0.012361 | 0.003098
21 | 0.98564 | -0.27659 | 0.012684 | 0.003179
22 | 0.98512 | -0.28671 | 0.014309 | 0.0035862
23 | 0.98573 | -0.27486 | 0 | 0
24 | 0.98534 | -0.28243 | 0.025012 | 0.0062687
25 | 0.99238 | -0.14616 | 0.011066 | 0.0027733
26 | 0.99844 | -0.029689 | 0.0074707 | 0.0018723
27 | 0.9876 | -0.23859 | 0.0082055 | 0.0020565
28 | 0.9932 | -0.13029 | 0.01015 | 0.0025439
29 | 0.99332 | -0.12798 | 0.0075527 | 0.0018929
30 | 0.99318 | -0.13072 | 0.0055564 | 0.0013926
31 | 0.99755 | -0.046725 | 0.0084775 | 0.0021247
32 | 0.98898 | -0.21175 | 0.022597 | 0.0056633
33 | 1 | 0 | -0.29471 | -0.074381
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016519 | -0.00414 | 0.016527 | 0.004145 | 8.6341e-06 | 5.0428e-06 | 0.024796 | 0.024796 | 0.024796 | 0.99129 | -0.16742 | 0.99185 | -0.15645 | 6.8121
1 | -0.041438 | -0.010388 | 0.041491 | 0.010422 | 5.3032e-05 | 3.3468e-05 | 0.062168 | 0.062167 | 0.062168 | 0.99185 | -0.15645 | 0.99324 | -0.12963 | 17.079
2 | -0.063498 | -0.015937 | 0.063552 | 0.015971 | 5.3698e-05 | 3.4162e-05 | 0.095138 | 0.095138 | 0.095138 | 0.99324 | -0.12963 | 0.99416 | -0.11191 | 26.1369
3 | 0.029415 | 0.0073794 | -0.029402 | -0.0073709 | 1.373e-05 | 8.5431e-06 | 0.044062 | 0.044062 | 0.044062 | 0.99343 | -0.12578 | 0.99293 | -0.13558 | 12.105
4 | -0.029415 | -0.0073794 | 0.029421 | 0.0073831 | 5.8581e-06 | 3.645e-06 | 0.044062 | 0.044062 | 0.044062 | 0.99343 | -0.12578 | 0.99365 | -0.1216 | 12.105
5 | 0.025992 | 0.0065165 | -0.02599 | -0.0065148 | 2.7873e-06 | 1.7205e-06 | 0.038953 | 0.038953 | 0.038953 | 0.99293 | -0.13558 | 0.99281 | -0.13783 | 10.7015
6 | 0.036308 | 0.0091779 | -0.036259 | -0.0091465 | 4.9938e-05 | 3.1378e-05 | 0.054401 | 0.054401 | 0.054401 | 0.99365 | -0.1216 | 0.99216 | -0.15033 | 14.9453
7 | -0.06573 | -0.016561 | 0.065922 | 0.016683 | 0.00019213 | 0.00012228 | 0.098463 | 0.098463 | 0.098463 | 0.99365 | -0.1216 | 0.99682 | -0.060689 | 27.0502
8 | -0.063552 | -0.015971 | 0.06358 | 0.015989 | 2.756e-05 | 1.7533e-05 | 0.095138 | 0.095138 | 0.095138 | 0.99416 | -0.11191 | 0.99463 | -0.10283 | 26.1368
9 | 0.01107 | 0.0027756 | -0.011066 | -0.0027733 | 4.3966e-06 | 2.2634e-06 | 0.016592 | 0.016592 | 0.016592 | 0.99281 | -0.13783 | 0.99238 | -0.14616 | 4.5583
10 | 0.011088 | 0.0027803 | -0.011083 | -0.0027776 | 5.259e-06 | 2.7112e-06 | 0.01663 | 0.01663 | 0.01663 | 0.99216 | -0.15033 | 0.99164 | -0.16029 | 4.5687
11 | 0.025171 | 0.0063663 | -0.02514 | -0.0063473 | 3.0756e-05 | 1.8942e-05 | 0.037771 | 0.037771 | 0.037771 | 0.99216 | -0.15033 | 0.99083 | -0.17583 | 10.3767
12 | -0.07248 | -0.018327 | 0.072588 | 0.018396 | 0.00010795 | 6.8765e-05 | 0.10825 | 0.10825 | 0.10825 | 0.99682 | -0.060689 | 0.99844 | -0.029689 | 29.7397
13 | 0.02514 | 0.0063473 | -0.025021 | -0.0062742 | 0.00011868 | 7.3111e-05 | 0.037771 | 0.037772 | 0.037772 | 0.99083 | -0.17583 | 0.98573 | -0.27486 | 10.377
14 | 0.02701 | 0.006775 | -0.027002 | -0.00677 | 8.0477e-06 | 4.9859e-06 | 0.040763 | 0.040763 | 0.040763 | 0.98603 | -0.26911 | 0.98571 | -0.27536 | 11.1986
15 | -0.02701 | -0.006775 | 0.027013 | 0.0067768 | 2.9869e-06 | 1.8505e-06 | 0.040763 | 0.040763 | 0.040763 | 0.98603 | -0.26911 | 0.98615 | -0.26679 | 11.1986
16 | 0.012685 | 0.0031794 | -0.012684 | -0.003179 | 7.4624e-07 | 4.0843e-07 | 0.01915 | 0.01915 | 0.01915 | 0.98571 | -0.27536 | 0.98564 | -0.27659 | 5.2609
17 | 0.014317 | 0.0035906 | -0.014309 | -0.0035862 | 7.7428e-06 | 4.3923e-06 | 0.021613 | 0.021613 | 0.021613 | 0.98571 | -0.27536 | 0.98512 | -0.28671 | 5.9378
18 | -0.046086 | -0.011557 | 0.046148 | 0.011596 | 6.2031e-05 | 3.9263e-05 | 0.069542 | 0.069542 | 0.069542 | 0.98615 | -0.26679 | 0.9876 | -0.23859 | 19.1049
19 | 0.13123 | 0.033126 | -0.13117 | -0.033087 | 6.1455e-05 | 3.9276e-05 | 0.19641 | 0.19641 | 0.19641 | 0.99463 | -0.10283 | 0.99412 | -0.11262 | 53.9595
20 | -0.19481 | -0.049115 | 0.19495 | 0.049207 | 0.00014346 | 9.1583e-05 | 0.29155 | 0.29155 | 0.29155 | 0.99463 | -0.10283 | 0.99543 | -0.087458 | 40.0481
21 | 0.082947 | 0.020989 | -0.082875 | -0.020944 | 7.2019e-05 | 4.5931e-05 | 0.12423 | 0.12423 | 0.12423 | 0.99412 | -0.11262 | 0.99318 | -0.13072 | 34.1287
22 | 0.048222 | 0.012098 | -0.048211 | -0.012091 | 1.0825e-05 | 6.8561e-06 | 0.072184 | 0.072184 | 0.072184 | 0.99412 | -0.11262 | 0.99387 | -0.11732 | 19.8308
23 | -0.20353 | -0.051357 | 0.20393 | 0.051611 | 0.00039785 | 0.00025403 | 0.30437 | 0.30437 | 0.30437 | 0.99543 | -0.087458 | 0.99755 | -0.046725 | 41.8092
24 | 0.018133 | 0.0045478 | -0.018124 | -0.0045423 | 9.2985e-06 | 5.5154e-06 | 0.02715 | 0.02715 | 0.02715 | 0.99387 | -0.11732 | 0.99332 | -0.12809 | 7.4588
25 | 0.030078 | 0.0075432 | -0.030069 | -0.0075376 | 8.9875e-06 | 5.5989e-06 | 0.045034 | 0.045034 | 0.045034 | 0.99387 | -0.11732 | 0.99355 | -0.1236 | 12.3721
26 | 0.017708 | 0.0044395 | -0.017704 | -0.0044373 | 3.6942e-06 | 2.183e-06 | 0.026521 | 0.026521 | 0.026521 | 0.99355 | -0.1236 | 0.99332 | -0.12798 | 7.286
27 | 0.025021 | 0.0062742 | -0.025012 | -0.0062687 | 9.0206e-06 | 5.5584e-06 | 0.037772 | 0.037772 | 0.037772 | 0.98573 | -0.27486 | 0.98534 | -0.28243 | 10.377
28 | -0.080059 | -0.020268 | 0.080173 | 0.020341 | 0.00011429 | 7.2865e-05 | 0.11939 | 0.11939 | 0.11939 | 0.99844 | -0.029689 | 1 | 0 | 32.7984
29 | -0.054353 | -0.013653 | 0.054423 | 0.013697 | 6.9711e-05 | 4.426e-05 | 0.081905 | 0.081905 | 0.081905 | 0.9876 | -0.23859 | 0.98898 | -0.21175 | 22.5014
30 | -0.01015 | -0.0025439 | 0.010151 | 0.0025444 | 1.12e-06 | 5.4966e-07 | 0.015207 | 0.015207 | 0.015207 | 0.9932 | -0.13029 | 0.99332 | -0.12798 | 4.1778
31 | 0.077319 | 0.019551 | -0.07702 | -0.01936 | 0.00029922 | 0.00019074 | 0.1159 | 0.1159 | 0.1159 | 0.99318 | -0.13072 | 0.98898 | -0.21175 | 31.8418
32 | -0.21241 | -0.053735 | 0.21288 | 0.05404 | 0.00047739 | 0.00030487 | 0.31702 | 0.31702 | 0.31702 | 0.99755 | -0.046725 | 1 | 0 | 43.5462

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30206 | 0.076224

## res_load
| p_mw | q_mvar
0 | 0.016519 | 0.00414
1 | 0.02491 | 0.0062432
2 | 0.022008 | 0.0055156
3 | 0.0034092 | 0.00085442
4 | 0.014919 | 0.0037392
5 | 0.0065583 | 0.0016437
6 | 0.011083 | 0.0027776
7 | 0.019073 | 0.0047801
8 | 0.0085766 | 0.0021495
9 | 0.018124 | 0.0045423
10 | 0.012361 | 0.003098
11 | 0.012684 | 0.003179
12 | 0.014309 | 0.0035862
13 | 0.025012 | 0.0062687
14 | 0.011066 | 0.0027733
15 | 0.0074707 | 0.0018723
16 | 0.0082055 | 0.0020565
17 | 0.01015 | 0.0025439
18 | 0.0075527 | 0.0018929
19 | 0.0055564 | 0.0013926
20 | 0.0084775 | 0.0021247
21 | 0.022597 | 0.0056633
22 | 0.0073511 | 0.0018424

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1