## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-2_0_5_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_1059-2_0_5_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_1059-2_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1059-2_0_5_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1059-2_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1059-2_0_5_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_1059-2_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1059-2_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1059-2_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1059-2_0_5_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1059-2_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1059-2_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1059-2_0_5_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_1059-2_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1059-2_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1059-2_0_5_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_1059-2_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1059-2_0_5_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_1059-2_0_5_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_1059-2_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1059-2_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1059-2_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1059-2_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1059-2_0_5_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_1059-2_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1059-2_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1059-2_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1059-2_0_5_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_1059-2_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1059-2_0_5_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1059-2_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1059-2_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1059-2_0_5_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_1059-2_0_5_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_1059-2_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1059-2_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1059-2_0_5_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_1059-2_0_5_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_1059-2_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1059-2_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1059-2_0_5_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_1059-2_0_5_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_1059-2_0_5_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_1059-2_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1059-2_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1059-2_0_5_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1059-2_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_1059-2_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_1059-2_0_5_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_1059-2_0_5_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_1059-2_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1059-2_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1059-2_0_5_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_1059-2_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1059-2_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1059-2_0_5_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_1059-2_0_5_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_1059-2_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1059-2_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1059-2_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_1059-2_0_5_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_1059-2_0_5_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_1059-2_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1059-2_0_5_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_1059-2_0_5_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_1059-2_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_1059-2_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_24_1_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-2_0_5_load_0 | 0 | 0.0048151 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-2_0_5_load_3 | 3 | 0.0052948 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-2_0_5_load_32 | 4 | 0.0093472 | 0.0023426 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-2_0_5_load_59 | 5 | 0.0088126 | 0.0022087 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-2_0_5_load_55 | 9 | 0.0060934 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-2_0_5_load_47 | 13 | 0.012729 | 0.0031901 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-2_0_5_load_48 | 16 | 0.0067267 | 0.0016859 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-2_0_5_load_78 | 19 | 0.0092699 | 0.0023232 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-2_0_5_load_68 | 22 | 0.085699 | 0.021478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-2_0_5_load_42 | 26 | 0.0099179 | 0.0024857 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-2_0_5_load_49 | 27 | 0.018255 | 0.0045752 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-2_0_5_load_60 | 31 | 0.0068705 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-2_0_5_load_35 | 32 | 0.0036953 | 0.00092612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-2_0_5_load_46 | 33 | 0.0020401 | 0.0005113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-2_0_5_load_50 | 34 | 0.005181 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-2_0_5_load_67 | 36 | 0.025345 | 0.0063521 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-2_0_5_load_44 | 38 | 0.012024 | 0.0030134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-2_0_5_load_51 | 39 | 0.008853 | 0.0022188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-2_0_5_load_76 | 41 | 0.011009 | 0.0027591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-2_0_5_load_75 | 44 | 0.015197 | 0.0038087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-2_0_5_load_62 | 45 | 0.018629 | 0.0046689 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-2_0_5_load_52 | 47 | 0.0092693 | 0.0023231 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-2_0_5_load_33 | 48 | 0.0067627 | 0.0016949 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-2_0_5_load_58 | 49 | 0.014448 | 0.0036211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-2_0_5_load_79 | 52 | 0.0077392 | 0.0019396 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-2_0_5_load_40 | 54 | 0.012402 | 0.0031084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-2_0_5_load_77 | 55 | 0.09141 | 0.02291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-2_0_5_load_64 | 56 | 0.0057499 | 0.0014411 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-2_0_5_load_53 | 58 | 0.00057725 | 0.00014467 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-2_0_5_load_74 | 59 | 0.0064128 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-2_0_5_load_73 | 60 | 0.019122 | 0.0047923 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-2_0_5_load_43 | 61 | 0.010241 | 0.0025666 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-2_0_5_load_45 | 62 | 0.0031165 | 0.00078107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-2_0_5_load_41 | 63 | 0.0037062 | 0.00092885 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-2_0_5_load_34 | 64 | 0.010611 | 0.0026593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-2_0_5_load_38 | 65 | 0.0059603 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-2_0_5_load_56 | 66 | 0.00082167 | 0.00020593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-2_0_5_load_37 | 67 | 0.0029332 | 0.00073514 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-2_0_5_load_39 | 68 | 0.0033283 | 0.00083414 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-2_0_5_load_72 | 69 | 0.010039 | 0.0025159 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-2_0_5_load_71 | 70 | 0.011374 | 0.0028506 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-2_0_5_line_0 |  | 0 | 1 | 0.031688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-2_0_5_line_1 |  | 0 | 2 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-2_0_5_line_2 |  | 1 | 3 | 0.033533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-2_0_5_line_3 |  | 2 | 4 | 0.0084556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-2_0_5_line_4 |  | 3 | 5 | 0.056282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-2_0_5_line_5 |  | 5 | 57 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-2_0_5_line_6 |  | 6 | 7 | 0.0051644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-2_0_5_line_7 |  | 6 | 8 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-2_0_5_line_8 |  | 6 | 9 | 0.0024526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-2_0_5_line_9 |  | 7 | 45 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-2_0_5_line_10 |  | 7 | 49 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-2_0_5_line_11 |  | 8 | 27 | 0.0073527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-2_0_5_line_12 |  | 9 | 11 | 0.023064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-2_0_5_line_13 |  | 10 | 11 | 0.025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-2_0_5_line_14 |  | 10 | 12 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-2_0_5_line_15 |  | 10 | 13 | 0.031368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-2_0_5_line_16 |  | 12 | 57 | 0.004637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-2_0_5_line_17 |  | 12 | 58 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-2_0_5_line_18 |  | 14 | 15 | 0.007488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-2_0_5_line_19 |  | 14 | 16 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-2_0_5_line_20 |  | 15 | 32 | 0.0044779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-2_0_5_line_21 |  | 15 | 28 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-2_0_5_line_22 |  | 17 | 18 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-2_0_5_line_23 |  | 17 | 19 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-2_0_5_line_24 |  | 18 | 35 | 0.009373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-2_0_5_line_25 |  | 18 | 36 | 0.010448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-2_0_5_line_26 |  | 19 | 51 | 0.024409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-2_0_5_line_27 |  | 20 | 21 | 0.028049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-2_0_5_line_28 |  | 20 | 22 | 0.022759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-2_0_5_line_29 |  | 21 | 59 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-2_0_5_line_30 |  | 21 | 60 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-2_0_5_line_31 |  | 23 | 24 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-2_0_5_line_32 |  | 23 | 25 | 0.0059627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-2_0_5_line_33 |  | 23 | 26 | 0.0076663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1059-2_0_5_line_34 |  | 24 | 45 | 0.0079058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-2_0_5_line_35 |  | 25 | 48 | 0.0020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-2_0_5_line_36 |  | 26 | 61 | 0.0099857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1059-2_0_5_line_37 |  | 27 | 34 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-2_0_5_line_38 |  | 28 | 29 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-2_0_5_line_39 |  | 28 | 30 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-2_0_5_line_40 |  | 28 | 31 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-2_0_5_line_41 |  | 29 | 33 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-2_0_5_line_42 |  | 29 | 34 | 0.0075471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-2_0_5_line_43 |  | 30 | 56 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-2_0_5_line_44 |  | 33 | 62 | 0.0098648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-2_0_5_line_45 |  | 35 | 46 | 0.018139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-2_0_5_line_46 |  | 37 | 38 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1059-2_0_5_line_47 |  | 37 | 39 | 0.0064965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1059-2_0_5_line_48 |  | 38 | 61 | 0.016297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1059-2_0_5_line_49 |  | 39 | 43 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1059-2_0_5_line_50 |  | 40 | 41 | 0.024757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-2_0_5_line_51 |  | 40 | 42 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-2_0_5_line_52 |  | 40 | 43 | 0.027946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1059-2_0_5_line_53 |  | 40 | 44 | 0.0087555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1059-2_0_5_line_54 |  | 42 | 55 | 0.040456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-2_0_5_line_55 |  | 43 | 53 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1059-2_0_5_line_56 |  | 44 | 59 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-2_0_5_line_57 |  | 46 | 47 | 0.006772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-2_0_5_line_58 |  | 47 | 63 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-2_0_5_line_59 |  | 48 | 64 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-2_0_5_line_60 |  | 50 | 51 | 0.026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-2_0_5_line_61 |  | 50 | 52 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-2_0_5_line_62 |  | 53 | 54 | 0.023925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1059-2_0_5_line_63 |  | 54 | 65 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1059-2_0_5_line_64 |  | 57 | 66 | 0.038788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-2_0_5_line_65 |  | 60 | 69 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-2_0_5_line_66 |  | 63 | 68 | 0.016821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-2_0_5_line_67 |  | 65 | 67 | 0.0012005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-2_0_5_line_68 |  | 67 | 68 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-2_0_5_line_69 |  | 69 | 70 | 0.0066179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-2_0_5_trafo_38 | 0.63 MVA 20/0.4 kV | 71 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2663892.7498 | 1209468.6649 | 2663906.7596 | 1209440.242
1 | 2663918.1999 | 1209424.6217 | 2663916.0311 | 1209429.1012 | 2663909.9367 | 1209441.688 | 2663906.7596 | 1209440.242
2 | 2663892.7498 | 1209468.6649 | 2663898.6248 | 1209471.5851 | 2663920.1784 | 1209457.763 | 2663921.2398 | 1209456.9006
3 | 2663918.1999 | 1209424.6217 | 2663920.3277 | 1209424.6778 | 2663921.1137 | 1209418.3998
4 | 2663960.2084 | 1209417.1376 | 2663959.6979 | 1209418.0844 | 2663954.9876 | 1209426.3501 | 2663951.401 | 1209431.1924 | 2663944.8548 | 1209437.704 | 2663938.5974 | 1209442.7956 | 2663921.2398 | 1209456.9006
5 | 2663968.1226 | 1209404.3996 | 2663966.2832 | 1209405.803 | 2663963.3275 | 1209411.3525 | 2663960.2084 | 1209417.1376
6 | 2663974.8488 | 1209456.9593 | 2663975.3034 | 1209457.0976 | 2663977.5232 | 1209457.7885 | 2663979.296 | 1209458.3411 | 2663979.7809 | 1209458.4909
7 | 2663979.7809 | 1209458.4909 | 2663980.8994 | 1209461.2267 | 2663983.6907 | 1209464.6143 | 2663987.4741 | 1209467.6456
8 | 2663979.7809 | 1209458.4909 | 2663980.1304 | 1209456.0633
9 | 2663974.8488 | 1209456.9593 | 2663973.7509 | 1209465.0636 | 2663972.8009 | 1209467.806
10 | 2663974.8488 | 1209456.9593 | 2663976.7325 | 1209443.1698
11 | 2663987.4741 | 1209467.6456 | 2663993.9467 | 1209471.1339
12 | 2663983.9882 | 1209433.3317 | 2663981.7849 | 1209444.5705 | 2663980.1304 | 1209456.0633
13 | 2663984.8577 | 1209409.6711 | 2663981.6164 | 1209431.9277 | 2663983.9882 | 1209433.3317
14 | 2663970.6576 | 1209400.5133 | 2663984.8577 | 1209409.6711
15 | 2663984.8577 | 1209409.6711 | 2664011.8258 | 1209425.6916
16 | 2663970.6576 | 1209400.5133 | 2663968.8491 | 1209403.2845 | 2663968.1226 | 1209404.3996
17 | 2663970.6576 | 1209400.5133 | 2663958.1214 | 1209392.6468
18 | 2664013.255 | 1209502.6433 | 2664012.9611 | 1209500.2832 | 2664011.783 | 1209495.3119
19 | 2664013.255 | 1209502.6433 | 2664009.4726 | 1209503.0697 | 2663998.1088 | 1209508.7179
20 | 2664011.783 | 1209495.3119 | 2664010.6493 | 1209493.2874 | 2664009.5967 | 1209491.404
21 | 2664011.783 | 1209495.3119 | 2664012.383 | 1209495.3628 | 2664016.3321 | 1209495.6943 | 2664016.9321 | 1209495.7452 | 2664019.4914 | 1209495.9617 | 2664020.7901 | 1209496.0645 | 2664021.7014 | 1209496.1521 | 2664025.248 | 1209496.4459 | 2664026.6379 | 1209496.5609
22 | 2664032.6731 | 1209565.9902 | 2664032.8162 | 1209564.6909 | 2664033.2704 | 1209560.6155 | 2664033.9859 | 1209554.1526 | 2664034.0703 | 1209553.3752
23 | 2664032.6731 | 1209565.9902 | 2664051.9093 | 1209568.3535 | 2664052.528 | 1209568.4133
24 | 2664034.0703 | 1209553.3752 | 2664030.1108 | 1209551.8874 | 2664026.663 | 1209548.0481
25 | 2664034.0703 | 1209553.3752 | 2664044.4509 | 1209554.5627
26 | 2664076.8232 | 1209570.7668 | 2664073.0038 | 1209570.3923 | 2664052.528 | 1209568.4133
27 | 2663921.3459 | 1209606.3327 | 2663915.8967 | 1209594.9007 | 2663904.5473 | 1209588.5865 | 2663902.9171 | 1209586.7791
28 | 2663921.3459 | 1209606.3327 | 2663898.5951 | 1209605.7246
29 | 2663902.9171 | 1209586.7791 | 2663897.8015 | 1209581.0986 | 2663898.4849 | 1209574.5838
30 | 2663902.9171 | 1209586.7791 | 2663891.1371 | 1209585.273
31 | 2663960.9053 | 1209483.426 | 2663965.6342 | 1209480.5082 | 2663968.6197 | 1209477.8497 | 2663970.2132 | 1209475.2763
32 | 2663960.9053 | 1209483.426 | 2663961.3833 | 1209484.2205 | 2663962.5335 | 1209486.1229 | 2663963.0489 | 1209486.9734 | 2663963.99 | 1209488.5288
33 | 2663960.9053 | 1209483.426 | 2663954.3831 | 1209487.4551
34 | 2663970.2132 | 1209475.2763 | 2663972.8009 | 1209467.806
35 | 2663963.99 | 1209488.5288 | 2663962.2951 | 1209489.6708
36 | 2663945.8877 | 1209492.7032 | 2663954.3831 | 1209487.4551
37 | 2664010.6494 | 1209480.6969 | 2664000.6926 | 1209474.7694 | 2663993.9467 | 1209471.1339
38 | 2664017.4655 | 1209483.5768 | 2664017.6441 | 1209484.6461 | 2664017.9791 | 1209486.7176 | 2664018.6782 | 1209490.9944 | 2664019.4914 | 1209495.9617 | 2664020.7901 | 1209496.0645 | 2664021.7014 | 1209496.1521 | 2664025.248 | 1209496.4459 | 2664026.6379 | 1209496.5609
39 | 2664034.3156 | 1209495.8206 | 2664029.3993 | 1209492.8216 | 2664026.6379 | 1209496.5609
40 | 2664026.6379 | 1209496.5609 | 2664023.5347 | 1209502.3978 | 2664022.5101 | 1209506.9726
41 | 2664017.4655 | 1209483.5768 | 2664020.6391 | 1209483.2218 | 2664029.1924 | 1209473.4514
42 | 2664017.4655 | 1209483.5768 | 2664015.0133 | 1209483.2948 | 2664010.6494 | 1209480.6969
43 | 2664034.3156 | 1209495.8206 | 2664043.9668 | 1209501.7166 | 2664045.9586 | 1209502.2061
44 | 2664029.1924 | 1209473.4514 | 2664032.8753 | 1209469.2445 | 2664035.7829 | 1209466.1126
45 | 2664010.3394 | 1209551.931 | 2664015.1836 | 1209551.7272 | 2664016.835 | 1209548.7098 | 2664017.5273 | 1209548.6616 | 2664021.8175 | 1209548.3741 | 2664026.1229 | 1209548.0868 | 2664026.663 | 1209548.0481
46 | 2663919.0003 | 1209506.7136 | 2663921.7872 | 1209504.8423 | 2663930.4426 | 1209502.2445 | 2663932.023 | 1209501.2682
47 | 2663919.0003 | 1209506.7136 | 2663913.7919 | 1209510.5966
48 | 2663945.8877 | 1209492.7032 | 2663932.023 | 1209501.2682
49 | 2663899.9563 | 1209523.9869 | 2663912.6787 | 1209511.4265 | 2663913.7919 | 1209510.5966
50 | 2663901.0835 | 1209550.7486 | 2663897.3116 | 1209550.1968 | 2663883.4876 | 1209547.1025 | 2663877.9947 | 1209546.1209 | 2663876.8147 | 1209545.9085
51 | 2663901.0835 | 1209550.7486 | 2663908.5423 | 1209552.6963 | 2663909.6187 | 1209552.9746 | 2663912.6116 | 1209554.5854 | 2663917.527 | 1209554.8271 | 2663920.8547 | 1209554.9851 | 2663923.3909 | 1209554.523
52 | 2663899.9563 | 1209523.9869 | 2663903.0127 | 1209530.3123 | 2663904.024 | 1209532.4133 | 2663903.8735 | 1209533.6903 | 2663902.9019 | 1209542.0739 | 2663901.5882 | 1209548.3414 | 2663901.5 | 1209548.7629 | 2663901.0835 | 1209550.7486
53 | 2663901.0835 | 1209550.7486 | 2663900.646 | 1209553.9792 | 2663900.0728 | 1209559.4446
54 | 2663923.3909 | 1209554.523 | 2663927.0202 | 1209552.772 | 2663930.3796 | 1209552.808 | 2663936.4475 | 1209553.3288 | 2663947.097 | 1209554.7326 | 2663963.1818 | 1209556.9359
55 | 2663899.9563 | 1209523.9869 | 2663903.0127 | 1209530.3123 | 2663908.1197 | 1209531.1231 | 2663909.5919 | 1209531.3501 | 2663916.505 | 1209532.447 | 2663917.575 | 1209532.6141 | 2663918.8954 | 1209532.8172
56 | 2663898.4849 | 1209574.5838 | 2663900.0728 | 1209559.4446
57 | 2664010.3394 | 1209551.931 | 2664003.6347 | 1209550.9786
58 | 2664003.6347 | 1209550.9786 | 2663989.7886 | 1209549.0117
59 | 2663962.2951 | 1209489.6708 | 2663957.9642 | 1209492.589 | 2663955.0716 | 1209495.8044 | 2663949.1958 | 1209499.4138
60 | 2664076.8232 | 1209570.7668 | 2664076.222 | 1209562.333 | 2664077.0574 | 1209551.7911 | 2664077.691 | 1209544.4601
61 | 2664077.691 | 1209544.4601 | 2664079.3171 | 1209527.5681
62 | 2663918.8954 | 1209532.8172 | 2663918.6805 | 1209535.1386 | 2663918.7256 | 1209535.8951 | 2663919.2895 | 1209536.4792 | 2663920.5319 | 1209536.8706 | 2663939.1103 | 1209539.1815
63 | 2663939.1103 | 1209539.1815 | 2663939.1151 | 1209539.1821 | 2663943.6768 | 1209539.8091 | 2663946.0178 | 1209541.2462 | 2663948.6503 | 1209543.1422 | 2663958.8364 | 1209544.6034
64 | 2663968.1226 | 1209404.3996 | 2663950.7545 | 1209393.6403 | 2663934.6635 | 1209384.8057
65 | 2663891.1371 | 1209585.273 | 2663879.6273 | 1209583.8014
66 | 2663989.7886 | 1209549.0117 | 2663973.1349 | 1209546.6461
67 | 2663960.0247 | 1209544.7739 | 2663958.8364 | 1209544.6034
68 | 2663960.0247 | 1209544.7739 | 2663967.0779 | 1209545.7857 | 2663973.1349 | 1209546.6461
69 | 2663873.0629 | 1209582.9621 | 2663879.6273 | 1209583.8014

## bus_geodata
| x | y | coords
0 | 2663906.7596 | 1209440.242
1 | 2663892.7498 | 1209468.6649
2 | 2663918.1999 | 1209424.6217
3 | 2663921.2398 | 1209456.9006
4 | 2663921.1137 | 1209418.3998
5 | 2663960.2084 | 1209417.1376
6 | 2663979.7809 | 1209458.4909
7 | 2663974.8488 | 1209456.9593
8 | 2663987.4741 | 1209467.6456
9 | 2663980.1304 | 1209456.0633
10 | 2663984.8577 | 1209409.6711
11 | 2663983.9882 | 1209433.3317
12 | 2663970.6575 | 1209400.5133
13 | 2664011.8258 | 1209425.6916
14 | 2664013.255 | 1209502.6433
15 | 2664011.783 | 1209495.3119
16 | 2663998.1088 | 1209508.7179
17 | 2664032.6731 | 1209565.9902
18 | 2664034.0703 | 1209553.3752
19 | 2664052.528 | 1209568.4133
20 | 2663921.3459 | 1209606.3327
21 | 2663902.9171 | 1209586.7791
22 | 2663898.5951 | 1209605.7246
23 | 2663960.9053 | 1209483.426
24 | 2663970.2132 | 1209475.2763
25 | 2663963.99 | 1209488.5288
26 | 2663954.3831 | 1209487.4551
27 | 2663993.9467 | 1209471.1339
28 | 2664026.6379 | 1209496.5609
29 | 2664017.4655 | 1209483.5768
30 | 2664034.3156 | 1209495.8206
31 | 2664022.5101 | 1209506.9726
32 | 2664009.5967 | 1209491.404
33 | 2664029.1924 | 1209473.4514
34 | 2664010.6494 | 1209480.6969
35 | 2664026.663 | 1209548.0481
36 | 2664044.4509 | 1209554.5627
37 | 2663919.0003 | 1209506.7136
38 | 2663932.023 | 1209501.2682
39 | 2663913.7919 | 1209510.5966
40 | 2663901.0835 | 1209550.7486
41 | 2663876.8147 | 1209545.9085
42 | 2663923.3909 | 1209554.523
43 | 2663899.9563 | 1209523.9869
44 | 2663900.0728 | 1209559.4446
45 | 2663972.8009 | 1209467.806
46 | 2664010.3394 | 1209551.931
47 | 2664003.6347 | 1209550.9786
48 | 2663962.2951 | 1209489.6708
49 | 2663976.7325 | 1209443.1698
50 | 2664077.691 | 1209544.4601
51 | 2664076.8232 | 1209570.7668
52 | 2664079.3171 | 1209527.5681
53 | 2663918.8954 | 1209532.8172
54 | 2663939.1103 | 1209539.1815
55 | 2663963.1818 | 1209556.9359
56 | 2664045.9586 | 1209502.2061
57 | 2663968.1226 | 1209404.3996
58 | 2663958.1214 | 1209392.6468
59 | 2663898.4849 | 1209574.5838
60 | 2663891.1371 | 1209585.273
61 | 2663945.8877 | 1209492.7032
62 | 2664035.7829 | 1209466.1126
63 | 2663989.7886 | 1209549.0117
64 | 2663949.1958 | 1209499.4138
65 | 2663958.8364 | 1209544.6034
66 | 2663934.6635 | 1209384.8057
67 | 2663960.0247 | 1209544.7739
68 | 2663973.1349 | 1209546.6461
69 | 2663879.6273 | 1209583.8014
70 | 2663873.0629 | 1209582.9621
71 | 2663918.8954 | 1209532.8172

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98076 | -0.37103 | 0.0048151 | 0.0012068
1 | 0.98118 | -0.3629 | 0 | 0
2 | 0.98057 | -0.37483 | 0 | 0
3 | 0.98161 | -0.3543 | 0.0052948 | 0.001327
4 | 0.98049 | -0.37626 | 0.0093472 | 0.0023426
5 | 0.98263 | -0.33451 | 0.0088126 | 0.0022087
6 | 0.98561 | -0.27635 | 0 | 0
7 | 0.98609 | -0.26707 | 0 | 0
8 | 0.98503 | -0.28764 | 0 | 0
9 | 0.9855 | -0.27848 | 0.0060934 | 0.0015271
10 | 0.98361 | -0.31532 | 0 | 0
11 | 0.9846 | -0.29605 | 0 | 0
12 | 0.98315 | -0.32434 | 0 | 0
13 | 0.98324 | -0.32251 | 0.012729 | 0.0031901
14 | 0.98328 | -0.32175 | 0 | 0
15 | 0.98333 | -0.32084 | 0 | 0
16 | 0.98318 | -0.32375 | 0.0067267 | 0.0016859
17 | 0.9962 | -0.072989 | 0 | 0
18 | 0.9964 | -0.069197 | 0 | 0
19 | 0.99589 | -0.078967 | 0.0092699 | 0.0023232
20 | 0.9851 | -0.28626 | 0 | 0
21 | 0.98732 | -0.24318 | 0 | 0
22 | 0.9833 | -0.32135 | 0.085699 | 0.021478
23 | 0.98977 | -0.1957 | 0 | 0
24 | 0.98823 | -0.22552 | 0 | 0
25 | 0.98968 | -0.19754 | 0 | 0
26 | 0.9903 | -0.18544 | 0.0099179 | 0.0024857
27 | 0.98468 | -0.29446 | 0.018255 | 0.0045752
28 | 0.98347 | -0.31804 | 0 | 0
29 | 0.98389 | -0.30985 | 0 | 0
30 | 0.98342 | -0.31912 | 0 | 0
31 | 0.9834 | -0.31944 | 0.0068705 | 0.0017219
32 | 0.98332 | -0.32114 | 0.0036953 | 0.00092612
33 | 0.98382 | -0.31135 | 0.0020401 | 0.0005113
34 | 0.98409 | -0.30602 | 0.005181 | 0.0012985
35 | 0.99676 | -0.06223 | 0 | 0
36 | 0.99616 | -0.073847 | 0.025345 | 0.0063521
37 | 0.99191 | -0.15443 | 0 | 0
38 | 0.99131 | -0.16597 | 0.012024 | 0.0030134
39 | 0.99218 | -0.14917 | 0.008853 | 0.0022188
40 | 0.99142 | -0.1638 | 0 | 0
41 | 0.99118 | -0.16863 | 0.011009 | 0.0027591
42 | 0.98949 | -0.20123 | 0 | 0
43 | 0.99303 | -0.13284 | 0 | 0
44 | 0.99083 | -0.17528 | 0.015197 | 0.0038087
45 | 0.98726 | -0.24434 | 0.018629 | 0.0046689
46 | 0.99746 | -0.048761 | 0 | 0
47 | 0.99772 | -0.043737 | 0.0092693 | 0.0023231
48 | 0.98964 | -0.19818 | 0.0067627 | 0.0016949
49 | 0.9859 | -0.27068 | 0.014448 | 0.0036211
50 | 0.99554 | -0.085879 | 0 | 0
51 | 0.99572 | -0.082288 | 0 | 0
52 | 0.99542 | -0.088189 | 0.0077392 | 0.0019396
53 | 0.99538 | -0.087832 | 0 | 0
54 | 0.99782 | -0.041447 | 0.012402 | 0.0031084
55 | 0.98609 | -0.26729 | 0.09141 | 0.02291
56 | 0.98335 | -0.3205 | 0.0057499 | 0.0014411
57 | 0.98302 | -0.32677 | 0 | 0
58 | 0.98314 | -0.32449 | 0.00057725 | 0.00014467
59 | 0.98897 | -0.21119 | 0.0064128 | 0.0016072
60 | 0.98688 | -0.25179 | 0.019122 | 0.0047923
61 | 0.99067 | -0.17832 | 0.010241 | 0.0025666
62 | 0.98379 | -0.31191 | 0.0031165 | 0.00078107
63 | 0.99838 | -0.031103 | 0.0037062 | 0.00092885
64 | 0.98948 | -0.20128 | 0.010611 | 0.0026593
65 | 1 | 0 | -0.5235 | -0.1331
66 | 0.98299 | -0.32735 | 0.00082167 | 0.00020593
67 | 0.99993 | -0.001289 | 0.0029332 | 0.00073514
68 | 0.99923 | -0.014841 | 0.0033283 | 0.00083414
69 | 0.98665 | -0.25624 | 0.010039 | 0.0025159
70 | 0.98658 | -0.25759 | 0.011374 | 0.0028506
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014165 | -0.0035505 | 0.01417 | 0.0035536 | 5.4882e-06 | 3.1124e-06 | 0.021491 | 0.021491 | 0.021491 | 0.98076 | -0.37103 | 0.98118 | -0.3629 | 5.9041
1 | 0.0093495 | 0.0023437 | -0.0093478 | -0.0023429 | 1.6942e-06 | 8.0104e-07 | 0.014185 | 0.014185 | 0.014185 | 0.98076 | -0.37103 | 0.98057 | -0.37483 | 3.8971
2 | -0.01417 | -0.0035536 | 0.014176 | 0.0035569 | 5.8077e-06 | 3.2932e-06 | 0.021491 | 0.021491 | 0.021491 | 0.98118 | -0.3629 | 0.98161 | -0.3543 | 5.904
3 | 0.0093478 | 0.0023429 | -0.0093472 | -0.0023426 | 6.3806e-07 | 3.0171e-07 | 0.014185 | 0.014185 | 0.014185 | 0.98057 | -0.37483 | 0.98049 | -0.37626 | 3.8971
4 | -0.019471 | -0.0048839 | 0.019489 | 0.004895 | 1.8388e-05 | 1.1056e-05 | 0.029517 | 0.029517 | 0.029517 | 0.98161 | -0.3543 | 0.98263 | -0.33451 | 8.109
5 | -0.028302 | -0.0071036 | 0.028312 | 0.0071101 | 1.0453e-05 | 6.4979e-06 | 0.042862 | 0.042862 | 0.042862 | 0.98263 | -0.33451 | 0.98302 | -0.32677 | 11.7752
6 | -0.10035 | -0.025231 | 0.10039 | 0.025259 | 4.4469e-05 | 2.8394e-05 | 0.15153 | 0.15153 | 0.15153 | 0.98561 | -0.27635 | 0.98609 | -0.26707 | 41.6295
7 | 0.051716 | 0.012991 | -0.051689 | -0.012973 | 2.7852e-05 | 1.767e-05 | 0.078089 | 0.078089 | 0.078089 | 0.98561 | -0.27635 | 0.98503 | -0.28764 | 21.453
8 | 0.048634 | 0.01224 | -0.048629 | -0.012237 | 4.9608e-06 | 3.1436e-06 | 0.073442 | 0.073442 | 0.073442 | 0.98561 | -0.27635 | 0.9855 | -0.27848 | 20.1765
9 | -0.11485 | -0.028882 | 0.11497 | 0.028962 | 0.00012485 | 7.9761e-05 | 0.17334 | 0.17334 | 0.17334 | 0.98609 | -0.26707 | 0.98726 | -0.24434 | 47.6203
10 | 0.014451 | 0.0036225 | -0.014448 | -0.0036211 | 2.4818e-06 | 1.4108e-06 | 0.021807 | 0.021807 | 0.021807 | 0.98609 | -0.26707 | 0.9859 | -0.27068 | 5.9908
11 | 0.051689 | 0.012973 | -0.051672 | -0.012962 | 1.6814e-05 | 1.0667e-05 | 0.078089 | 0.078089 | 0.078089 | 0.98503 | -0.28764 | 0.98468 | -0.29446 | 21.453
12 | 0.042535 | 0.01071 | -0.042499 | -0.010687 | 3.5695e-05 | 2.2551e-05 | 0.064242 | 0.064242 | 0.064242 | 0.9855 | -0.27848 | 0.9846 | -0.29605 | 17.6489
13 | -0.04246 | -0.010663 | 0.042499 | 0.010687 | 3.9074e-05 | 2.4687e-05 | 0.064242 | 0.064242 | 0.064242 | 0.98361 | -0.31532 | 0.9846 | -0.29605 | 17.6489
14 | 0.029727 | 0.0074702 | -0.029715 | -0.0074622 | 1.2793e-05 | 7.9738e-06 | 0.044979 | 0.044979 | 0.044979 | 0.98361 | -0.31532 | 0.98315 | -0.32434 | 12.3569
15 | 0.012733 | 0.0031925 | -0.012729 | -0.0031901 | 4.3649e-06 | 2.3955e-06 | 0.019263 | 0.019263 | 0.019263 | 0.98361 | -0.31532 | 0.98324 | -0.32251 | 5.2921
16 | 0.029137 | 0.0073177 | -0.029134 | -0.0073156 | 3.3826e-06 | 2.1061e-06 | 0.044105 | 0.044105 | 0.044105 | 0.98315 | -0.32434 | 0.98302 | -0.32677 | 12.1169
17 | 0.00057725 | 0.00014449 | -0.00057725 | -0.00014467 | 4.2361e-09 | -1.8496e-07 | 0.00087362 | 0.00087369 | 0.00087369 | 0.98315 | -0.32434 | 0.98314 | -0.32449 | 0.24002
18 | -0.0067274 | -0.0016861 | 0.0067276 | 0.0016862 | 2.9103e-07 | 9.1276e-08 | 0.010181 | 0.010181 | 0.010181 | 0.98328 | -0.32175 | 0.98333 | -0.32084 | 2.7969
19 | 0.0067274 | 0.0016861 | -0.0067267 | -0.0016859 | 6.4117e-07 | 2.0112e-07 | 0.010181 | 0.010181 | 0.010181 | 0.98328 | -0.32175 | 0.98318 | -0.32375 | 2.7969
20 | 0.0036953 | 0.0009261 | -0.0036953 | -0.00092612 | 5.2508e-08 | -2.3199e-08 | 0.0055919 | 0.0055919 | 0.0055919 | 0.98333 | -0.32084 | 0.98332 | -0.32114 | 1.5362
21 | -0.010423 | -0.0026123 | 0.010424 | 0.002613 | 1.3907e-06 | 7.009e-07 | 0.015772 | 0.015772 | 0.015772 | 0.98333 | -0.32084 | 0.98347 | -0.31804 | 4.3331
22 | -0.017017 | -0.004267 | 0.01702 | 0.0042688 | 3.0753e-06 | 1.8029e-06 | 0.025419 | 0.025419 | 0.025419 | 0.9962 | -0.072989 | 0.9964 | -0.069197 | 6.9833
23 | 0.017017 | 0.004267 | -0.017012 | -0.0042642 | 4.8466e-06 | 2.8415e-06 | 0.025419 | 0.025419 | 0.025419 | 0.9962 | -0.072989 | 0.99589 | -0.078967 | 6.9833
24 | -0.042371 | -0.010624 | 0.042385 | 0.010633 | 1.4074e-05 | 8.8853e-06 | 0.063279 | 0.063279 | 0.063279 | 0.9964 | -0.069197 | 0.99676 | -0.06223 | 17.3842
25 | 0.025351 | 0.0063556 | -0.025345 | -0.0063521 | 5.616e-06 | 3.4582e-06 | 0.037859 | 0.037859 | 0.037859 | 0.9964 | -0.069197 | 0.99616 | -0.073847 | 10.401
26 | 0.0077426 | 0.0019409 | -0.0077413 | -0.0019404 | 1.2251e-06 | 4.6648e-07 | 0.011569 | 0.011569 | 0.011569 | 0.99589 | -0.078967 | 0.99572 | -0.082288 | 3.1782
27 | -0.085842 | -0.02157 | 0.086019 | 0.021683 | 0.0001769 | 0.00011286 | 0.12969 | 0.12969 | 0.12969 | 0.9851 | -0.28626 | 0.98732 | -0.24318 | 35.6281
28 | 0.085842 | 0.02157 | -0.085699 | -0.021478 | 0.00014354 | 9.1576e-05 | 0.12969 | 0.12969 | 0.12969 | 0.9851 | -0.28626 | 0.9833 | -0.32135 | 35.6281
29 | -0.12658 | -0.031855 | 0.12677 | 0.031979 | 0.00019381 | 0.00012386 | 0.19081 | 0.19081 | 0.19081 | 0.98732 | -0.24318 | 0.98897 | -0.21119 | 52.4211
30 | 0.040556 | 0.010173 | -0.04054 | -0.010162 | 1.664e-05 | 1.0498e-05 | 0.061127 | 0.061127 | 0.061127 | 0.98732 | -0.24318 | 0.98688 | -0.25179 | 16.793
31 | 0.13391 | 0.03383 | -0.13372 | -0.033707 | 0.00019111 | 0.00012215 | 0.20142 | 0.20142 | 0.20142 | 0.98977 | -0.1957 | 0.98823 | -0.22552 | 55.334
32 | 0.017377 | 0.0043562 | -0.017376 | -0.0043553 | 1.5261e-06 | 9.0008e-07 | 0.026125 | 0.026125 | 0.026125 | 0.98977 | -0.1957 | 0.98968 | -0.19754 | 7.1772
33 | -0.15129 | -0.038186 | 0.15136 | 0.038233 | 7.4423e-05 | 4.7434e-05 | 0.22754 | 0.22754 | 0.22754 | 0.98977 | -0.1957 | 0.9903 | -0.18544 | 31.2556
34 | 0.13372 | 0.033707 | -0.1336 | -0.033631 | 0.00012027 | 7.6873e-05 | 0.20142 | 0.20142 | 0.20142 | 0.98823 | -0.22552 | 0.98726 | -0.24434 | 55.334
35 | 0.017376 | 0.0043553 | -0.017375 | -0.004355 | 5.2307e-07 | 3.0851e-07 | 0.026125 | 0.026125 | 0.026125 | 0.98968 | -0.19754 | 0.98964 | -0.19818 | 7.1772
36 | -0.16128 | -0.040719 | 0.16133 | 0.040754 | 5.5026e-05 | 3.4703e-05 | 0.24244 | 0.24244 | 0.24244 | 0.9903 | -0.18544 | 0.99067 | -0.17832 | 16.6513
37 | 0.033417 | 0.0083873 | -0.033398 | -0.0083757 | 1.8412e-05 | 1.1539e-05 | 0.050502 | 0.050502 | 0.050502 | 0.98468 | -0.29446 | 0.98409 | -0.30602 | 13.8743
38 | -0.023046 | -0.0057762 | 0.023055 | 0.0057817 | 8.9917e-06 | 5.5043e-06 | 0.034869 | 0.034869 | 0.034869 | 0.98347 | -0.31804 | 0.98389 | -0.30985 | 9.5794
39 | 0.0057506 | 0.0014412 | -0.0057503 | -0.0014411 | 2.9545e-07 | 5.7036e-08 | 0.0087008 | 0.0087008 | 0.0087008 | 0.98347 | -0.31804 | 0.98342 | -0.31912 | 2.3903
40 | 0.006871 | 0.0017221 | -0.0068705 | -0.0017219 | 4.5792e-07 | 1.4971e-07 | 0.010396 | 0.010396 | 0.010396 | 0.98347 | -0.31804 | 0.9834 | -0.31944 | 2.856
41 | 0.005157 | 0.0012923 | -0.0051567 | -0.0012923 | 3.6906e-07 | 3.0742e-08 | 0.0077993 | 0.0077994 | 0.0077994 | 0.98389 | -0.30985 | 0.98382 | -0.31135 | 2.1427
42 | -0.028212 | -0.0070741 | 0.028217 | 0.0070773 | 5.1525e-06 | 3.2018e-06 | 0.042668 | 0.042668 | 0.042668 | 0.98389 | -0.30985 | 0.98409 | -0.30602 | 11.7221
43 | 0.0057503 | 0.0014411 | -0.0057499 | -0.0014411 | 3.793e-07 | 7.3247e-08 | 0.0087008 | 0.0087009 | 0.0087009 | 0.98342 | -0.31912 | 0.98335 | -0.3205 | 2.3904
44 | 0.0031166 | 0.00078099 | -0.0031165 | -0.00078107 | 8.2198e-08 | -7.2654e-08 | 0.0047138 | 0.0047138 | 0.0047138 | 0.98382 | -0.31135 | 0.98379 | -0.31191 | 1.295
45 | -0.042385 | -0.010633 | 0.042412 | 0.01065 | 2.7236e-05 | 1.7195e-05 | 0.063279 | 0.063278 | 0.063279 | 0.99676 | -0.06223 | 0.99746 | -0.048761 | 17.3842
46 | 0.1838 | 0.046462 | -0.1837 | -0.046398 | 0.00010168 | 6.4342e-05 | 0.27587 | 0.27587 | 0.27587 | 0.99191 | -0.15443 | 0.99131 | -0.16597 | 18.9473
47 | -0.1838 | -0.046462 | 0.18385 | 0.046491 | 4.6352e-05 | 2.933e-05 | 0.27587 | 0.27587 | 0.27587 | 0.99191 | -0.15443 | 0.99218 | -0.14917 | 18.9473
48 | 0.17168 | 0.043384 | -0.17158 | -0.04332 | 0.00010156 | 6.4159e-05 | 0.25782 | 0.25783 | 0.25783 | 0.99131 | -0.16597 | 0.99067 | -0.17832 | 17.7078
49 | -0.1927 | -0.04871 | 0.19285 | 0.048806 | 0.00015101 | 9.5653e-05 | 0.28915 | 0.28915 | 0.28915 | 0.99218 | -0.14917 | 0.99303 | -0.13284 | 19.8592
50 | 0.011012 | 0.0027604 | -0.011009 | -0.0027591 | 2.536e-06 | 1.3038e-06 | 0.016527 | 0.016528 | 0.016528 | 0.99142 | -0.1638 | 0.99118 | -0.16863 | 4.5405
51 | 0.091863 | 0.023199 | -0.091699 | -0.023094 | 0.00016447 | 0.00010496 | 0.13794 | 0.13794 | 0.13794 | 0.99142 | -0.1638 | 0.98949 | -0.20123 | 37.8953
52 | -0.25156 | -0.063553 | 0.25194 | 0.063791 | 0.00037385 | 0.00023782 | 0.37775 | 0.37775 | 0.37775 | 0.99142 | -0.1638 | 0.99303 | -0.13284 | 25.9443
53 | 0.14869 | 0.037594 | -0.14861 | -0.037541 | 8.1846e-05 | 5.2155e-05 | 0.22328 | 0.22328 | 0.22328 | 0.99142 | -0.1638 | 0.99083 | -0.17528 | 30.6708
54 | 0.091699 | 0.023094 | -0.09141 | -0.02291 | 0.00028866 | 0.00018423 | 0.13794 | 0.13794 | 0.13794 | 0.98949 | -0.20123 | 0.98609 | -0.26729 | 37.8953
55 | -0.44479 | -0.1126 | 0.44576 | 0.11321 | 0.00096334 | 0.00061534 | 0.6669 | 0.6669 | 0.6669 | 0.99303 | -0.13284 | 0.99538 | -0.087832 | 45.8035
56 | 0.13341 | 0.033733 | -0.13318 | -0.033586 | 0.00022939 | 0.00014661 | 0.20046 | 0.20046 | 0.20046 | 0.99083 | -0.17528 | 0.98897 | -0.21119 | 55.0718
57 | -0.042412 | -0.01065 | 0.042423 | 0.010657 | 1.0169e-05 | 6.4195e-06 | 0.063278 | 0.063278 | 0.063278 | 0.99746 | -0.048761 | 0.99772 | -0.043737 | 17.3842
58 | -0.051692 | -0.01298 | 0.051723 | 0.013 | 3.1177e-05 | 1.977e-05 | 0.077103 | 0.077103 | 0.077103 | 0.99772 | -0.043737 | 0.99838 | -0.031103 | 21.1821
59 | 0.010612 | 0.0026601 | -0.010611 | -0.0026593 | 1.57e-06 | 7.9357e-07 | 0.015957 | 0.015957 | 0.015957 | 0.98964 | -0.19818 | 0.98948 | -0.20128 | 4.3837
60 | -0.00774 | -0.0019399 | 0.0077413 | 0.0019404 | 1.3244e-06 | 5.0446e-07 | 0.011569 | 0.011569 | 0.011569 | 0.99554 | -0.085879 | 0.99572 | -0.082288 | 3.1783
61 | 0.00774 | 0.0019399 | -0.0077392 | -0.0019396 | 8.5174e-07 | 3.2449e-07 | 0.011569 | 0.011569 | 0.011569 | 0.99554 | -0.085879 | 0.99542 | -0.088189 | 3.1783
62 | -0.44576 | -0.11321 | 0.44675 | 0.11385 | 0.00099757 | 0.0006372 | 0.6669 | 0.6669 | 0.6669 | 0.99538 | -0.087832 | 0.99782 | -0.041447 | 45.8034
63 | -0.45916 | -0.11696 | 0.46008 | 0.11754 | 0.00092004 | 0.00058773 | 0.68539 | 0.68539 | 0.68539 | 0.99782 | -0.041447 | 1 | 0 | 47.0737
64 | 0.00082169 | 0.00020545 | -0.00082167 | -0.00020593 | 2.2499e-08 | -4.7732e-07 | 0.0012436 | 0.0012438 | 0.0012438 | 0.98302 | -0.32677 | 0.98299 | -0.32735 | 0.34171
65 | 0.021418 | 0.0053697 | -0.021414 | -0.0053669 | 4.5383e-06 | 2.7563e-06 | 0.032295 | 0.032295 | 0.032295 | 0.98688 | -0.25179 | 0.98665 | -0.25624 | 8.8722
66 | -0.055429 | -0.013929 | 0.055472 | 0.013956 | 4.3064e-05 | 2.7341e-05 | 0.082626 | 0.082626 | 0.082626 | 0.99838 | -0.031103 | 0.99923 | -0.014841 | 22.6996
67 | 0.061776 | 0.015552 | -0.061772 | -0.015549 | 3.8061e-06 | 2.4202e-06 | 0.091948 | 0.091948 | 0.091948 | 1 | 0 | 0.99993 | -0.001289 | 25.2603
68 | 0.058839 | 0.014814 | -0.058801 | -0.01479 | 3.8094e-05 | 2.4207e-05 | 0.087583 | 0.087583 | 0.087583 | 0.99993 | -0.001289 | 0.99923 | -0.014841 | 24.0612
69 | 0.011375 | 0.002851 | -0.011374 | -0.0028506 | 7.3036e-07 | 3.8292e-07 | 0.017155 | 0.017155 | 0.017155 | 0.98665 | -0.25624 | 0.98658 | -0.25759 | 4.7129

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52946 | 0.13459

## res_load
| p_mw | q_mvar
0 | 0.0048151 | 0.0012068
1 | 0.0052948 | 0.001327
2 | 0.0093472 | 0.0023426
3 | 0.0088126 | 0.0022087
4 | 0.0060934 | 0.0015271
5 | 0.012729 | 0.0031901
6 | 0.0067267 | 0.0016859
7 | 0.0092699 | 0.0023232
8 | 0.085699 | 0.021478
9 | 0.0099179 | 0.0024857
10 | 0.018255 | 0.0045752
11 | 0.0068705 | 0.0017219
12 | 0.0036953 | 0.00092612
13 | 0.0020401 | 0.0005113
14 | 0.005181 | 0.0012985
15 | 0.025345 | 0.0063521
16 | 0.012024 | 0.0030134
17 | 0.008853 | 0.0022188
18 | 0.011009 | 0.0027591
19 | 0.015197 | 0.0038087
20 | 0.018629 | 0.0046689
21 | 0.0092693 | 0.0023231
22 | 0.0067627 | 0.0016949
23 | 0.014448 | 0.0036211
24 | 0.0077392 | 0.0019396
25 | 0.012402 | 0.0031084
26 | 0.09141 | 0.02291
27 | 0.0057499 | 0.0014411
28 | 0.00057725 | 0.00014467
29 | 0.0064128 | 0.0016072
30 | 0.019122 | 0.0047923
31 | 0.010241 | 0.0025666
32 | 0.0031165 | 0.00078107
33 | 0.0037062 | 0.00092885
34 | 0.010611 | 0.0026593
35 | 0.0059603 | 0.0014938
36 | 0.00082167 | 0.00020593
37 | 0.0029332 | 0.00073514
38 | 0.0033283 | 0.00083414
39 | 0.010039 | 0.0025159
40 | 0.011374 | 0.0028506

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1