## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-30_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1059-30_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1059-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-30_0_3_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1059-30_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1059-30_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1059-30_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1059-30_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1059-30_0_3_node_128 | 0.4 | n |  | TRUE
10 | bus_LV_1059-30_0_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1059-30_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1059-30_0_3_node_98 | 0.4 | n |  | TRUE
13 | bus_LV_1059-30_0_3_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_1059-30_0_3_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_1059-30_0_3_node_129 | 0.4 | n |  | TRUE
16 | bus_LV_1059-30_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1059-30_0_3_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_1059-30_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1059-30_0_3_node_111 | 0.4 | n |  | TRUE
20 | bus_LV_1059-30_0_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_1059-30_0_3_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1059-30_0_3_node_120 | 0.4 | n |  | TRUE
23 | bus_LV_1059-30_0_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1059-30_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1059-30_0_3_node_121 | 0.4 | n |  | TRUE
26 | bus_LV_1059-30_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1059-30_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1059-30_0_3_node_113 | 0.4 | n |  | TRUE
29 | bus_LV_1059-30_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1059-30_0_3_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_1059-30_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1059-30_0_3_node_130 | 0.4 | n |  | TRUE
33 | bus_LV_1059-30_0_3_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_1059-30_0_3_node_9 | 0.4 | n |  | TRUE
35 | bus_LV_1059-30_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1059-30_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1059-30_0_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_1059-30_0_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_1059-30_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1059-30_0_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_1059-30_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_1059-30_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_1059-30_0_3_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_1059-30_0_3_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_1059-30_0_3_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_1059-30_0_3_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1059-30_0_3_node_125 | 0.4 | n |  | TRUE
48 | bus_LV_1059-30_0_3_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_1059-30_0_3_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_1059-30_0_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_1059-30_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_1059-30_0_3_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_1059-30_0_3_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_1059-30_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_1059-30_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_1059-30_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_1059-30_0_3_node_115 | 0.4 | n |  | TRUE
58 | bus_LV_1059-30_0_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_1059-30_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_1059-30_0_3_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_1059-30_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_1059-30_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_1059-30_0_3_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_1059-30_0_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_1059-30_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_1059-30_0_3_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_1059-30_0_3_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_1059-30_0_3_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_1059-30_0_3_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_1059-30_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_1059-30_0_3_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_1059-30_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_1059-30_0_3_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_1059-30_0_3_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_1059-30_0_3_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_1059-30_0_3_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_1059-30_0_3_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_1059-30_0_3_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_1059-30_0_3_node_124 | 0.4 | n |  | TRUE
80 | bus_LV_1059-30_0_3_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_1059-30_0_3_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_1059-30_0_3_node_102 | 0.4 | n |  | TRUE
83 | bus_LV_1059-30_0_3_node_103 | 0.4 | n |  | TRUE
84 | bus_LV_1059-30_0_3_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_1059-30_0_3_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_1059-30_0_3_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_1059-30_0_3_node_107 | 0.4 | n |  | TRUE
88 | bus_LV_1059-30_0_3_node_131 | 0.4 | n |  | TRUE
89 | bus_LV_1059-30_0_3_node_123 | 0.4 | n |  | TRUE
90 | bus_LV_1059-30_0_3_node_108 | 0.4 | n |  | TRUE
91 | bus_LV_1059-30_0_3_node_109 | 0.4 | n |  | TRUE
92 | bus_MV_24_1_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-30_0_3_load_0 | 0 | 0.056692 | 0.014208 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-30_0_3_load_7 | 2 | 0.042373 | 0.01062 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-30_0_3_load_8 | 8 | 0.02249 | 0.0056365 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-30_0_3_load_128 | 9 | 0.0035399 | 0.00088718 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-30_0_3_load_98 | 12 | 0.012104 | 0.0030335 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-30_0_3_load_99 | 13 | 0.0030338 | 0.00076034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-30_0_3_load_83 | 14 | 0.0023104 | 0.00057903 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-30_0_3_load_129 | 15 | 0.0068133 | 0.0017076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-30_0_3_load_112 | 17 | 0.002096 | 0.0005253 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-30_0_3_load_111 | 19 | 0.0054482 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-30_0_3_load_120 | 22 | 0.0066689 | 0.0016714 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-30_0_3_load_121 | 25 | 0.0025525 | 0.00063973 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-30_0_3_load_113 | 28 | 0.0090437 | 0.0022666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-30_0_3_load_122 | 30 | 0.0049036 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-30_0_3_load_130 | 32 | 0.0084355 | 0.0021141 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-30_0_3_load_67 | 37 | 0.0038973 | 0.00097676 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-30_0_3_load_81 | 38 | 0.0034399 | 0.00086212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-30_0_3_load_82 | 41 | 0.0032507 | 0.0008147 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-30_0_3_load_65 | 42 | 0.0022124 | 0.00055449 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-30_0_3_load_97 | 43 | 0.0034514 | 0.00086501 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-30_0_3_load_68 | 44 | 0.0064429 | 0.0016148 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-30_0_3_load_118 | 45 | 0.0021806 | 0.00054652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-30_0_3_load_74 | 46 | 0.0069389 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-30_0_3_load_125 | 47 | 0.0070995 | 0.0017793 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-30_0_3_load_75 | 48 | 0.0019005 | 0.00047632 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-30_0_3_load_63 | 49 | 0.0058692 | 0.001471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-30_0_3_load_93 | 50 | 0.0045896 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-30_0_3_load_89 | 51 | 0.0054701 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-30_0_3_load_116 | 52 | 0.0011368 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-30_0_3_load_117 | 53 | 0.0032139 | 0.00080548 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-30_0_3_load_62 | 54 | 0.0043117 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-30_0_3_load_64 | 55 | 0.0016551 | 0.00041481 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-30_0_3_load_66 | 56 | 0.001654 | 0.00041454 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-30_0_3_load_115 | 57 | 0.0016568 | 0.00041524 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-30_0_3_load_73 | 58 | 0.001654 | 0.00041452 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-30_0_3_load_69 | 59 | 0.0029801 | 0.00074689 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-30_0_3_load_70 | 60 | 0.0039799 | 0.00099745 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-30_0_3_load_71 | 61 | 0.0024426 | 0.00061217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-30_0_3_load_72 | 62 | 0.0069288 | 0.0017365 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-30_0_3_load_78 | 64 | 0.002429 | 0.00060878 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-30_0_3_load_79 | 65 | 0.0018614 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-30_0_3_load_114 | 66 | 0.0016778 | 0.00042049 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-30_0_3_load_119 | 67 | 0.0015357 | 0.00038487 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-30_0_3_load_104 | 68 | 0.0013942 | 0.00034942 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-30_0_3_load_100 | 69 | 0.0011475 | 0.00028758 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-30_0_3_load_84 | 70 | 0.0014106 | 0.00035354 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-30_0_3_load_85 | 71 | 0.00344 | 0.00086213 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-30_0_3_load_86 | 72 | 0.0036448 | 0.00091347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-30_0_3_load_87 | 73 | 0.0034195 | 0.00085701 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-30_0_3_load_88 | 74 | 0.0035191 | 0.00088197 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-30_0_3_load_92 | 75 | 0.0035953 | 0.00090107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-30_0_3_load_94 | 76 | 0.00097545 | 0.00024447 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-30_0_3_load_90 | 77 | 0.0032594 | 0.00081687 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-30_0_3_load_95 | 78 | 0.00097398 | 0.0002441 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1059-30_0_3_load_124 | 79 | 0.0046898 | 0.0011754 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1059-30_0_3_load_96 | 80 | 0.0045298 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1059-30_0_3_load_101 | 81 | 0.0096757 | 0.002425 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1059-30_0_3_load_102 | 82 | 0.0037547 | 0.00094102 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1059-30_0_3_load_110 | 86 | 0.0081258 | 0.0020365 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1059-30_0_3_load_107 | 87 | 0.0089576 | 0.002245 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1059-30_0_3_load_131 | 88 | 0.0040331 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1059-30_0_3_load_123 | 89 | 0.0081228 | 0.0020358 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1059-30_0_3_load_108 | 90 | 0.0089577 | 0.002245 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1059-30_0_3_load_109 | 91 | 0.0043991 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-30_0_3_line_0 |  | 0 | 1 | 0.021945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-30_0_3_line_1 |  | 1 | 2 | 0.0098231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-30_0_3_line_2 |  | 2 | 6 | 0.0070429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-30_0_3_line_3 |  | 3 | 4 | 0.05337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-30_0_3_line_4 |  | 3 | 5 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-30_0_3_line_5 |  | 4 | 9 | 0.026874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-30_0_3_line_6 |  | 4 | 10 | 0.037092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-30_0_3_line_7 |  | 5 | 14 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1059-30_0_3_line_8 |  | 5 | 38 | 0.0071163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1059-30_0_3_line_9 |  | 6 | 7 | 0.12366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-30_0_3_line_10 |  | 7 | 8 | 0.067424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1059-30_0_3_line_11 |  | 8 | 34 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1059-30_0_3_line_12 |  | 10 | 15 | 0.012558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-30_0_3_line_13 |  | 11 | 12 | 0.020908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1059-30_0_3_line_14 |  | 11 | 13 | 0.032434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-30_0_3_line_15 |  | 11 | 14 | 0.013748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1059-30_0_3_line_16 |  | 12 | 18 | 0.025284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1059-30_0_3_line_17 |  | 16 | 17 | 0.00395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-30_0_3_line_18 |  | 16 | 18 | 0.046125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-30_0_3_line_19 |  | 16 | 19 | 0.017857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-30_0_3_line_20 |  | 18 | 20 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1059-30_0_3_line_21 |  | 19 | 23 | 0.0093342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-30_0_3_line_22 |  | 20 | 50 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-30_0_3_line_23 |  | 20 | 51 | 0.030452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1059-30_0_3_line_24 |  | 21 | 22 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-30_0_3_line_25 |  | 21 | 23 | 0.0078017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-30_0_3_line_26 |  | 24 | 25 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-30_0_3_line_27 |  | 24 | 26 | 0.020796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-30_0_3_line_28 |  | 25 | 29 | 0.039902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-30_0_3_line_29 |  | 26 | 27 | 0.00468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1059-30_0_3_line_30 |  | 26 | 28 | 0.014528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1059-30_0_3_line_31 |  | 27 | 43 | 0.036581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1059-30_0_3_line_32 |  | 27 | 39 | 0.033608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1059-30_0_3_line_33 |  | 28 | 46 | 0.0031497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1059-30_0_3_line_34 |  | 29 | 30 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-30_0_3_line_35 |  | 30 | 45 | 0.0043874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-30_0_3_line_36 |  | 31 | 32 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-30_0_3_line_37 |  | 31 | 33 | 0.06234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-30_0_3_line_38 |  | 33 | 48 | 0.009372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-30_0_3_line_39 |  | 33 | 40 | 0.003534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-30_0_3_line_40 |  | 34 | 35 | 0.037321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1059-30_0_3_line_41 |  | 35 | 42 | 0.016327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1059-30_0_3_line_42 |  | 35 | 36 | 0.036817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-30_0_3_line_43 |  | 36 | 37 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-30_0_3_line_44 |  | 37 | 44 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-30_0_3_line_45 |  | 38 | 41 | 0.031201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1059-30_0_3_line_46 |  | 39 | 40 | 0.029797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-30_0_3_line_47 |  | 39 | 41 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1059-30_0_3_line_48 |  | 40 | 47 | 0.053694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-30_0_3_line_49 |  | 42 | 49 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1059-30_0_3_line_50 |  | 44 | 59 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-30_0_3_line_51 |  | 45 | 53 | 0.00041336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-30_0_3_line_52 |  | 46 | 62 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1059-30_0_3_line_53 |  | 49 | 54 | 0.025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1059-30_0_3_line_54 |  | 50 | 79 | 0.026695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-30_0_3_line_55 |  | 51 | 77 | 0.031646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1059-30_0_3_line_56 |  | 52 | 53 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-30_0_3_line_57 |  | 54 | 55 | 0.0017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1059-30_0_3_line_58 |  | 55 | 56 | 0.0057153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1059-30_0_3_line_59 |  | 56 | 57 | 0.005721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1059-30_0_3_line_60 |  | 57 | 58 | 0.0057215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_1059-30_0_3_line_61 |  | 58 | 61 | 0.0078022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_1059-30_0_3_line_62 |  | 60 | 61 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1059-30_0_3_line_63 |  | 60 | 62 | 0.0033809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1059-30_0_3_line_64 |  | 63 | 64 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-30_0_3_line_65 |  | 63 | 65 | 0.013275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-30_0_3_line_66 |  | 64 | 66 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-30_0_3_line_67 |  | 65 | 67 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-30_0_3_line_68 |  | 66 | 68 | 0.0085677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-30_0_3_line_69 |  | 67 | 69 | 0.00088846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-30_0_3_line_70 |  | 68 | 82 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-30_0_3_line_71 |  | 69 | 80 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-30_0_3_line_72 |  | 70 | 71 | 1.2583e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-30_0_3_line_73 |  | 70 | 72 | 0.003449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-30_0_3_line_74 |  | 71 | 73 | 0.0050489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-30_0_3_line_75 |  | 72 | 74 | 0.015195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-30_0_3_line_76 |  | 73 | 75 | 0.020261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_1059-30_0_3_line_77 |  | 74 | 76 | 0.0027708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-30_0_3_line_78 |  | 75 | 77 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_1059-30_0_3_line_79 |  | 76 | 78 | 0.00029413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-30_0_3_line_80 |  | 78 | 80 | 0.0016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-30_0_3_line_81 |  | 81 | 82 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-30_0_3_line_82 |  | 81 | 83 | 0.046156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-30_0_3_line_83 |  | 83 | 84 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-30_0_3_line_84 |  | 83 | 85 | 0.15894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1059-30_0_3_line_85 |  | 84 | 86 | 0.049938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1059-30_0_3_line_86 |  | 84 | 87 | 0.013882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1059-30_0_3_line_87 |  | 85 | 88 | 0.050252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1059-30_0_3_line_88 |  | 86 | 89 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1059-30_0_3_line_89 |  | 87 | 90 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1059-30_0_3_line_90 |  | 90 | 91 | 0.0051303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-30_0_3_trafo_97 | 0.63 MVA 20/0.4 kV | 92 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2664377.7118 | 1209254.4891 | 2664359.3232 | 1209266.4665
1 | 2664377.7118 | 1209254.4891 | 2664385.9571 | 1209249.1499
2 | 2664391.0552 | 1209244.3935 | 2664388.2836 | 1209247.6434 | 2664385.9571 | 1209249.1499
3 | 2664267.771 | 1209151.9531 | 2664269.9967 | 1209149.987 | 2664281.005 | 1209143.5572 | 2664290.224 | 1209136.6856 | 2664304.0827 | 1209126.7621 | 2664309.4067 | 1209122.9839 | 2664309.1752 | 1209122.5922 | 2664308.1233 | 1209120.7464
4 | 2664259.0624 | 1209143.1985 | 2664259.9699 | 1209143.6308 | 2664263.3504 | 1209145.257 | 2664266.6019 | 1209147.5712 | 2664269.9967 | 1209149.987 | 2664267.771 | 1209151.9531
5 | 2664294.8592 | 1209097.356 | 2664308.1233 | 1209120.7464
6 | 2664338.3532 | 1209099.1368 | 2664308.1233 | 1209120.7464
7 | 2664259.0624 | 1209143.1985 | 2664261.5525 | 1209138.5669 | 2664263.6739 | 1209132.1636 | 2664264.8153 | 1209123.5929 | 2664265.0013 | 1209116.929
8 | 2664259.0624 | 1209143.1985 | 2664255.3255 | 1209149.2547
9 | 2664391.0552 | 1209244.3935 | 2664391.3789 | 1209239.7609 | 2664391.0317 | 1209233.898 | 2664390.5256 | 1209230.0791 | 2664388.9118 | 1209227.4712 | 2664395.0876 | 1209225.759 | 2664400.9928 | 1209223.777 | 2664407.8597 | 1209220.7159 | 2664413.6265 | 1209218.877 | 2664418.5578 | 1209218.3744 | 2664422.3636 | 1209220.7391 | 2664423.5684 | 1209223.2092 | 2664429.0978 | 1209232.0854 | 2664437.2418 | 1209245.9262 | 2664408.7024 | 1209262.3615 | 2664404.8013 | 1209264.6097 | 2664401.5853 | 1209266.7652
10 | 2664401.5853 | 1209266.7652 | 2664390.8886 | 1209273.9208 | 2664345.5569 | 1209304.2723
11 | 2664337.8669 | 1209319.7549 | 2664334.8728 | 1209314.7307 | 2664334.8179 | 1209312.7733 | 2664335.451 | 1209311.1681 | 2664340.1307 | 1209307.9054 | 2664345.5569 | 1209304.2723
12 | 2664331.4346 | 1209088.6447 | 2664338.3532 | 1209099.1368
13 | 2664265.3848 | 1209103.1866 | 2664265.6409 | 1209082.2802
14 | 2664232.8764 | 1209102.0361 | 2664265.3848 | 1209103.1866
15 | 2664265.3848 | 1209103.1866 | 2664265.0013 | 1209116.929
16 | 2664265.9507 | 1209056.9979 | 2664265.6409 | 1209082.2802
17 | 2664279.5569 | 1209018.3097 | 2664275.6287 | 1209018.8233
18 | 2664265.9507 | 1209056.9979 | 2664269.5056 | 1209057.2586 | 2664270.9545 | 1209019.44 | 2664275.6287 | 1209018.8233
19 | 2664275.6287 | 1209018.8233 | 2664275.8996 | 1209016.258 | 2664277.5026 | 1209001.0647
20 | 2664255.2625 | 1209054.8705 | 2664263.2619 | 1209056.7911 | 2664265.9507 | 1209056.9979
21 | 2664278.4819 | 1208991.782 | 2664277.5026 | 1209001.0647
22 | 2664255.2625 | 1209054.8705 | 2664255.1665 | 1209051.0782 | 2664252.7245 | 1209044.8926 | 2664250.5063 | 1209042.634 | 2664244.9991 | 1209039.8438
23 | 2664255.2625 | 1209054.8705 | 2664227.8613 | 1209041.5852
24 | 2664270.7792 | 1208990.5428 | 2664273.6969 | 1208976.5657 | 2664274.1468 | 1208974.7627
25 | 2664270.7792 | 1208990.5428 | 2664274.5889 | 1208991.1508 | 2664278.4819 | 1208991.782
26 | 2664204.1837 | 1209224.5465 | 2664203.1559 | 1209226.103 | 2664193.7536 | 1209241.2559
27 | 2664216.9032 | 1209213.7767 | 2664212.9485 | 1209211.1215 | 2664204.1837 | 1209224.5465
28 | 2664172.7155 | 1209275.1612 | 2664193.7536 | 1209241.2559
29 | 2664216.9032 | 1209213.7767 | 2664219.4843 | 1209209.8688
30 | 2664216.9032 | 1209213.7767 | 2664228.958 | 1209221.8847
31 | 2664219.4843 | 1209209.8688 | 2664224.4842 | 1209202.2846 | 2664225.7903 | 1209200.2975 | 2664235.9208 | 1209185.0083 | 2664240.1288 | 1209179.6945
32 | 2664219.4843 | 1209209.8688 | 2664218.714 | 1209209.3935 | 2664215.3838 | 1209207.3342 | 2664220.1176 | 1209199.7583 | 2664229.1217 | 1209186.0024 | 2664227.3061 | 1209184.4819 | 2664226.4998 | 1209183.8173
33 | 2664228.958 | 1209221.8847 | 2664231.5715 | 1209223.6426
34 | 2664172.7155 | 1209275.1612 | 2664192.8323 | 1209289.1655
35 | 2664192.8323 | 1209289.1655 | 2664196.0903 | 1209291.4335 | 2664196.337 | 1209291.7706
36 | 2664139.6425 | 1209151.2525 | 2664121.3947 | 1209154.4028
37 | 2664139.6425 | 1209151.2525 | 2664141.9196 | 1209150.8656 | 2664144.571 | 1209151.0164 | 2664152.4187 | 1209151.4788 | 2664175.3003 | 1209156.4055 | 2664200.892 | 1209162.3954
38 | 2664200.892 | 1209162.3954 | 2664192.9097 | 1209157.4844
39 | 2664200.892 | 1209162.3954 | 2664203.6041 | 1209164.6704
40 | 2664337.8669 | 1209319.7549 | 2664329.7347 | 1209323.8475 | 2664322.5034 | 1209326.8714 | 2664314.7036 | 1209329.7447 | 2664308.3133 | 1209331.6103 | 2664305.8655 | 1209332.3289 | 2664303.0765 | 1209332.9547
41 | 2664303.0765 | 1209332.9547 | 2664302.8422 | 1209332.1295 | 2664296.0274 | 1209318.2422
42 | 2664266.5095 | 1209337.5082 | 2664269.7875 | 1209337.3545 | 2664280.2227 | 1209336.811 | 2664295.7921 | 1209334.5662 | 2664303.0765 | 1209332.9547
43 | 2664266.5095 | 1209337.5082 | 2664265.0232 | 1209323.5615
44 | 2664265.0232 | 1209323.5615 | 2664263.2855 | 1209307.255 | 2664261.695 | 1209306.5967
45 | 2664255.3255 | 1209149.2547 | 2664254.3738 | 1209150.7971 | 2664235.7107 | 1209173.4996
46 | 2664203.6041 | 1209164.6704 | 2664226.4998 | 1209183.8173
47 | 2664226.4998 | 1209183.8173 | 2664234.162 | 1209175.3835 | 2664235.7107 | 1209173.4996
48 | 2664203.6041 | 1209164.6704 | 2664206.2801 | 1209161.8308 | 2664225.4066 | 1209115.8589
49 | 2664285.3783 | 1209296.541 | 2664296.0274 | 1209318.2422
50 | 2664254.4613 | 1209303.6023 | 2664261.695 | 1209306.5967
51 | 2664196.5812 | 1209292.1041 | 2664196.337 | 1209291.7706
52 | 2664245.0576 | 1209232.7133 | 2664231.5715 | 1209223.6426
53 | 2664274.1337 | 1209273.6263 | 2664285.3783 | 1209296.541
54 | 2664231.3919 | 1209024.5618 | 2664230.2901 | 1209026.629 | 2664229.3127 | 1209028.4529 | 2664227.8619 | 1209031.1612 | 2664244.9991 | 1209039.8438
55 | 2664227.8613 | 1209041.5852 | 2664213.0261 | 1209034.3924 | 2664206.3613 | 1209035.6104 | 2664201.0207 | 1209042.0731
56 | 2664208.4429 | 1209311.3931 | 2664205.14 | 1209303.7939 | 2664196.5812 | 1209292.1041
57 | 2664274.1337 | 1209273.6263 | 2664273.3661 | 1209272.062
58 | 2664273.3661 | 1209272.062 | 2664270.8483 | 1209266.9311
59 | 2664268.328 | 1209261.7952 | 2664270.8483 | 1209266.9311
60 | 2664265.8075 | 1209256.6588 | 2664268.328 | 1209261.7952
61 | 2664262.3704 | 1209249.6545 | 2664265.8075 | 1209256.6588
62 | 2664247.8629 | 1209234.6002 | 2664249.2575 | 1209235.5381 | 2664255.5217 | 1209241.1423 | 2664262.3704 | 1209249.6545 | 2664262.3704 | 1209249.6545
63 | 2664247.8629 | 1209234.6002 | 2664245.0576 | 1209232.7133
64 | 2664161.6641 | 1209147.0866 | 2664135.3392 | 1209138.5235
65 | 2664161.6641 | 1209147.0866 | 2664166.4974 | 1209134.7226
66 | 2664135.3392 | 1209138.5235 | 2664119.0553 | 1209133.2265
67 | 2664173.8756 | 1209115.8484 | 2664166.4974 | 1209134.7226
68 | 2664119.0553 | 1209133.2265 | 2664110.9079 | 1209130.5763
69 | 2664174.199 | 1209115.0209 | 2664173.8756 | 1209115.8484
70 | 2664110.9079 | 1209130.5763 | 2664101.3053 | 1209127.4527
71 | 2664174.199 | 1209115.0209 | 2664180.0757 | 1209099.9878
72 | 2664188.5626 | 1209078.2771 | 2664188.5622 | 1209078.2783 | 2664188.5622 | 1209078.2783
73 | 2664188.5622 | 1209078.2783 | 2664187.3065 | 1209081.4906
74 | 2664188.5626 | 1209078.2771 | 2664189.9615 | 1209073.4258
75 | 2664187.3065 | 1209081.4906 | 2664181.7743 | 1209095.6425
76 | 2664195.5752 | 1209053.9582 | 2664189.9615 | 1209073.4258
77 | 2664180.7655 | 1209098.2231 | 2664181.7743 | 1209095.6425
78 | 2664201.0207 | 1209042.0731 | 2664199.5679 | 1209043.8312 | 2664196.2456 | 1209051.6336 | 2664195.5752 | 1209053.9582
79 | 2664180.7655 | 1209098.2231 | 2664180.6584 | 1209098.4971
80 | 2664180.6584 | 1209098.4971 | 2664180.0757 | 1209099.9878
81 | 2664084.6291 | 1209122.0281 | 2664101.3053 | 1209127.4527
82 | 2664040.7737 | 1209111.5669 | 2664046.4354 | 1209109.6042 | 2664084.6291 | 1209122.0281
83 | 2664040.7737 | 1209111.5669 | 2664025.6007 | 1209122.1662
84 | 2663965.5441 | 1209217.3692 | 2663966.9104 | 1209214.0152 | 2663974.2468 | 1209167.8657 | 2663977.5496 | 1209156.8944 | 2663978.7163 | 1209153.0156 | 2663984.1696 | 1209140.6999 | 2663989.2887 | 1209135.4516 | 2663998.7392 | 1209128.2263 | 2664005.1787 | 1209118.9452 | 2664013.7348 | 1209100.8593 | 2664036.5044 | 1209109.8756 | 2664040.7737 | 1209111.5669
85 | 2664025.6007 | 1209122.1662 | 2663996.5188 | 1209142.4667 | 2664008.9054 | 1209149.9498
86 | 2664025.6007 | 1209122.1662 | 2664037.4143 | 1209129.4567
87 | 2663965.5441 | 1209217.3692 | 2663975.7422 | 1209212.7312 | 2663994.5429 | 1209209.0305 | 2664014.182 | 1209205.1276
88 | 2664008.9054 | 1209149.9498 | 2664022.8565 | 1209158.3781
89 | 2664037.4143 | 1209129.4567 | 2664051.7064 | 1209138.2768
90 | 2664056.0722 | 1209140.9712 | 2664051.7064 | 1209138.2768

## bus_geodata
| x | y | coords
0 | 2664359.3232 | 1209266.4665
1 | 2664377.7118 | 1209254.4891
2 | 2664385.9571 | 1209249.1499
3 | 2664267.771 | 1209151.9531
4 | 2664308.1233 | 1209120.7464
5 | 2664259.0624 | 1209143.1985
6 | 2664391.0552 | 1209244.3935
7 | 2664401.5853 | 1209266.7652
8 | 2664345.5569 | 1209304.2723
9 | 2664294.8592 | 1209097.356
10 | 2664338.3532 | 1209099.1368
11 | 2664265.3848 | 1209103.1866
12 | 2664265.6409 | 1209082.2802
13 | 2664232.8764 | 1209102.0361
14 | 2664265.0013 | 1209116.929
15 | 2664331.4346 | 1209088.6447
16 | 2664275.6287 | 1209018.8233
17 | 2664279.5569 | 1209018.3097
18 | 2664265.9507 | 1209056.9979
19 | 2664277.5026 | 1209001.0647
20 | 2664255.2625 | 1209054.8705
21 | 2664270.7792 | 1208990.5428
22 | 2664274.1468 | 1208974.7627
23 | 2664278.4819 | 1208991.782
24 | 2664204.1837 | 1209224.5465
25 | 2664193.7536 | 1209241.2559
26 | 2664216.9032 | 1209213.7767
27 | 2664219.4843 | 1209209.8688
28 | 2664228.958 | 1209221.8847
29 | 2664172.7155 | 1209275.1612
30 | 2664192.8323 | 1209289.1655
31 | 2664139.6425 | 1209151.2525
32 | 2664121.3947 | 1209154.4028
33 | 2664200.892 | 1209162.3954
34 | 2664337.8669 | 1209319.7549
35 | 2664303.0765 | 1209332.9547
36 | 2664266.5095 | 1209337.5082
37 | 2664265.0232 | 1209323.5615
38 | 2664255.3255 | 1209149.2547
39 | 2664226.4998 | 1209183.8173
40 | 2664203.6041 | 1209164.6704
41 | 2664235.7107 | 1209173.4996
42 | 2664296.0274 | 1209318.2422
43 | 2664240.1288 | 1209179.6945
44 | 2664261.695 | 1209306.5967
45 | 2664196.337 | 1209291.7706
46 | 2664231.5715 | 1209223.6426
47 | 2664225.4066 | 1209115.8589
48 | 2664192.9097 | 1209157.4844
49 | 2664285.3783 | 1209296.541
50 | 2664244.9991 | 1209039.8438
51 | 2664227.8613 | 1209041.5852
52 | 2664208.4429 | 1209311.3931
53 | 2664196.5812 | 1209292.1041
54 | 2664274.1337 | 1209273.6263
55 | 2664273.3661 | 1209272.062
56 | 2664270.8483 | 1209266.9311
57 | 2664268.328 | 1209261.7952
58 | 2664265.8075 | 1209256.6588
59 | 2664254.4613 | 1209303.6023
60 | 2664247.8629 | 1209234.6002
61 | 2664262.3704 | 1209249.6545
62 | 2664245.0576 | 1209232.7133
63 | 2664161.6641 | 1209147.0866
64 | 2664135.3392 | 1209138.5235
65 | 2664166.4974 | 1209134.7226
66 | 2664119.0553 | 1209133.2265
67 | 2664173.8756 | 1209115.8484
68 | 2664110.9079 | 1209130.5763
69 | 2664174.199 | 1209115.0209
70 | 2664188.5622 | 1209078.2783
71 | 2664188.5626 | 1209078.2771
72 | 2664187.3065 | 1209081.4906
73 | 2664189.9615 | 1209073.4258
74 | 2664181.7743 | 1209095.6425
75 | 2664195.5752 | 1209053.9582
76 | 2664180.7655 | 1209098.2231
77 | 2664201.0207 | 1209042.0731
78 | 2664180.6584 | 1209098.4971
79 | 2664231.3919 | 1209024.5618
80 | 2664180.0757 | 1209099.9878
81 | 2664084.6291 | 1209122.0281
82 | 2664101.3053 | 1209127.4527
83 | 2664040.7737 | 1209111.5669
84 | 2664025.6007 | 1209122.1662
85 | 2663965.5441 | 1209217.3692
86 | 2664008.9054 | 1209149.9498
87 | 2664037.4143 | 1209129.4567
88 | 2664014.182 | 1209205.1276
89 | 2664022.8565 | 1209158.3781
90 | 2664051.7064 | 1209138.2768
91 | 2664056.0722 | 1209140.9712
92 | 2664219.4843 | 1209209.8688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9703 | -0.57266 | 0.056692 | 0.014208
1 | 0.97146 | -0.54965 | 0 | 0
2 | 0.97198 | -0.53937 | 0.042373 | 0.01062
3 | 0.99132 | -0.16501 | 0 | 0
4 | 0.99082 | -0.17482 | 0 | 0
5 | 0.99147 | -0.1621 | 0 | 0
6 | 0.97263 | -0.52651 | 0 | 0
7 | 0.98408 | -0.30343 | 0 | 0
8 | 0.98616 | -0.26344 | 0.02249 | 0.0056365
9 | 0.99073 | -0.17651 | 0.0035399 | 0.00088718
10 | 0.99059 | -0.17931 | 0 | 0
11 | 0.98969 | -0.19626 | 0 | 0
12 | 0.98882 | -0.21314 | 0.012104 | 0.0030335
13 | 0.9896 | -0.19801 | 0.0030338 | 0.00076034
14 | 0.99028 | -0.18494 | 0.0023104 | 0.00057903
15 | 0.99051 | -0.18083 | 0.0068133 | 0.0017076
16 | 0.98725 | -0.24348 | 0 | 0
17 | 0.98724 | -0.24362 | 0.002096 | 0.0005253
18 | 0.98785 | -0.23176 | 0 | 0
19 | 0.98705 | -0.24735 | 0.0054482 | 0.0013654
20 | 0.98748 | -0.23887 | 0 | 0
21 | 0.98694 | -0.24939 | 0 | 0
22 | 0.98684 | -0.25132 | 0.0066689 | 0.0016714
23 | 0.98699 | -0.24846 | 0 | 0
24 | 0.99524 | -0.090146 | 0 | 0
25 | 0.99499 | -0.094996 | 0.0025525 | 0.00063973
26 | 0.99551 | -0.085027 | 0 | 0
27 | 0.99579 | -0.079617 | 0 | 0
28 | 0.99469 | -0.10065 | 0.0090437 | 0.0022666
29 | 0.99458 | -0.10303 | 0 | 0
30 | 0.99432 | -0.10797 | 0.0049036 | 0.001229
31 | 0.99299 | -0.1334 | 0 | 0
32 | 0.99284 | -0.13616 | 0.0084355 | 0.0021141
33 | 0.99347 | -0.12411 | 0 | 0
34 | 0.98698 | -0.24765 | 0 | 0
35 | 0.98839 | -0.22063 | 0 | 0
36 | 0.98794 | -0.22938 | 0 | 0
37 | 0.98777 | -0.23272 | 0.0038973 | 0.00097676
38 | 0.99181 | -0.15572 | 0.0034399 | 0.00086212
39 | 0.99397 | -0.11429 | 0 | 0
40 | 0.9935 | -0.12347 | 0 | 0
41 | 0.9933 | -0.12718 | 0.0032507 | 0.0008147
42 | 0.98908 | -0.20754 | 0.0022124 | 0.00055449
43 | 1 | 0 | -0.38099 | -0.097521
44 | 0.98762 | -0.23577 | 0.0064429 | 0.0016148
45 | 0.99429 | -0.10848 | 0.0021806 | 0.00054652
46 | 0.99452 | -0.10387 | 0.0069389 | 0.0017391
47 | 0.99315 | -0.1302 | 0.0070995 | 0.0017793
48 | 0.99345 | -0.12443 | 0.0019005 | 0.00047632
49 | 0.99011 | -0.18787 | 0.0058692 | 0.001471
50 | 0.98731 | -0.24215 | 0.0045896 | 0.0011503
51 | 0.98653 | -0.25709 | 0.0054701 | 0.0013709
52 | 0.99427 | -0.10897 | 0.0011368 | 0.00028492
53 | 0.99429 | -0.10851 | 0.0032139 | 0.00080548
54 | 0.99124 | -0.16627 | 0.0043117 | 0.0010806
55 | 0.99132 | -0.16475 | 0.0016551 | 0.00041481
56 | 0.99158 | -0.15972 | 0.001654 | 0.00041454
57 | 0.99185 | -0.15463 | 0.0016568 | 0.00041524
58 | 0.99212 | -0.14949 | 0.001654 | 0.00041452
59 | 0.98759 | -0.23619 | 0.0029801 | 0.00074689
60 | 0.99351 | -0.12304 | 0.0039799 | 0.00099745
61 | 0.99249 | -0.1424 | 0.0024426 | 0.00061217
62 | 0.99367 | -0.11985 | 0.0069288 | 0.0017365
63 | 0.97917 | -0.39991 | 0 | 0
64 | 0.97758 | -0.43093 | 0.002429 | 0.00060878
65 | 0.97993 | -0.38507 | 0.0018614 | 0.0004665
66 | 0.97663 | -0.44941 | 0.0016778 | 0.00042049
67 | 0.98113 | -0.36178 | 0.0015357 | 0.00038487
68 | 0.97618 | -0.45841 | 0.0013942 | 0.00034942
69 | 0.98118 | -0.36073 | 0.0011475 | 0.00028758
70 | 0.98382 | -0.30958 | 0.0014106 | 0.00035354
71 | 0.98382 | -0.30958 | 0.00344 | 0.00086213
72 | 0.98356 | -0.31454 | 0.0036448 | 0.00091347
73 | 0.98421 | -0.30189 | 0.0034195 | 0.00085701
74 | 0.98249 | -0.33539 | 0.0035191 | 0.00088197
75 | 0.98504 | -0.28587 | 0.0035953 | 0.00090107
76 | 0.9823 | -0.33902 | 0.00097545 | 0.00024447
77 | 0.9856 | -0.27503 | 0.0032594 | 0.00081687
78 | 0.98228 | -0.3394 | 0.00097398 | 0.0002441
79 | 0.9872 | -0.24439 | 0.0046898 | 0.0011754
80 | 0.98217 | -0.34144 | 0.0045298 | 0.0011353
81 | 0.97479 | -0.48557 | 0.0096757 | 0.002425
82 | 0.97565 | -0.46876 | 0.0037547 | 0.00094102
83 | 0.97296 | -0.52171 | 0 | 0
84 | 0.97229 | -0.53483 | 0 | 0
85 | 0.97236 | -0.53353 | 0 | 0
86 | 0.97154 | -0.54981 | 0.0081258 | 0.0020365
87 | 0.97201 | -0.54055 | 0.0089576 | 0.002245
88 | 0.97217 | -0.53727 | 0.0040331 | 0.0010108
89 | 0.97141 | -0.55225 | 0.0081228 | 0.0020358
90 | 0.9718 | -0.54469 | 0.0089577 | 0.002245
91 | 0.97177 | -0.5451 | 0.0043991 | 0.0011025
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.056692 | -0.014208 | 0.056755 | 0.014248 | 6.2205e-05 | 3.954e-05 | 0.086941 | 0.086941 | 0.086941 | 0.9703 | -0.57266 | 0.97146 | -0.54965 | 23.885
1 | -0.056755 | -0.014248 | 0.056782 | 0.014266 | 2.7844e-05 | 1.7698e-05 | 0.086941 | 0.086941 | 0.086941 | 0.97146 | -0.54965 | 0.97198 | -0.53937 | 23.885
2 | -0.099155 | -0.024885 | 0.099216 | 0.024924 | 6.0868e-05 | 3.8868e-05 | 0.15181 | 0.15181 | 0.15181 | 0.97198 | -0.53937 | 0.97263 | -0.52651 | 41.7061
3 | 0.01036 | 0.0025976 | -0.010355 | -0.0025952 | 4.8404e-06 | 2.4101e-06 | 0.015552 | 0.015552 | 0.015552 | 0.99132 | -0.16501 | 0.99082 | -0.17482 | 4.2725
4 | -0.01036 | -0.0025976 | 0.010362 | 0.0025983 | 1.4406e-06 | 7.1715e-07 | 0.015552 | 0.015552 | 0.015552 | 0.99132 | -0.16501 | 0.99147 | -0.1621 | 4.2724
5 | 0.0035402 | 0.00088702 | -0.0035399 | -0.00088718 | 2.8486e-07 | -1.6378e-07 | 0.0053166 | 0.0053167 | 0.0053167 | 0.99082 | -0.17482 | 0.99073 | -0.17651 | 1.4606
6 | 0.0068153 | 0.0017082 | -0.0068138 | -0.0017077 | 1.4572e-06 | 4.5499e-07 | 0.010235 | 0.010235 | 0.010235 | 0.99082 | -0.17482 | 0.99059 | -0.17931 | 2.8119
7 | 0.14274 | 0.036336 | -0.14258 | -0.036237 | 0.00015699 | 9.942e-05 | 0.21442 | 0.21442 | 0.21442 | 0.99147 | -0.1621 | 0.99028 | -0.18494 | 19.6357
8 | -0.1531 | -0.038934 | 0.15315 | 0.038964 | 4.7046e-05 | 2.9834e-05 | 0.22997 | 0.22997 | 0.22997 | 0.99147 | -0.1621 | 0.99181 | -0.15572 | 21.0598
9 | -0.099216 | -0.024924 | 0.10028 | 0.025607 | 0.0010687 | 0.0006824 | 0.15181 | 0.15181 | 0.15181 | 0.97263 | -0.52651 | 0.98408 | -0.30343 | 41.7061
10 | -0.10028 | -0.025607 | 0.10048 | 0.025728 | 0.00019423 | 0.00012173 | 0.15181 | 0.15181 | 0.15181 | 0.98408 | -0.30343 | 0.98616 | -0.26344 | 13.902
11 | -0.12297 | -0.031365 | 0.12306 | 0.031424 | 9.3873e-05 | 5.9245e-05 | 0.18574 | 0.18574 | 0.18574 | 0.98616 | -0.26344 | 0.98698 | -0.24765 | 17.0095
12 | 0.0068138 | 0.0017077 | -0.0068133 | -0.0017076 | 4.9336e-07 | 1.541e-07 | 0.010235 | 0.010235 | 0.010235 | 0.99059 | -0.17931 | 0.99051 | -0.18083 | 2.8119
13 | 0.13716 | 0.034849 | -0.13705 | -0.034779 | 0.00011133 | 7.0444e-05 | 0.20639 | 0.20639 | 0.20639 | 0.98969 | -0.19626 | 0.98882 | -0.21314 | 18.9001
14 | 0.0030341 | 0.00076009 | -0.0030338 | -0.00076034 | 2.531e-07 | -2.5477e-07 | 0.0045616 | 0.0045618 | 0.0045618 | 0.98969 | -0.19626 | 0.9896 | -0.19801 | 1.2532
15 | -0.14019 | -0.035609 | 0.14027 | 0.035658 | 7.6472e-05 | 4.8412e-05 | 0.21095 | 0.21095 | 0.21095 | 0.98969 | -0.19626 | 0.99028 | -0.18494 | 19.3178
16 | 0.12494 | 0.031745 | -0.12483 | -0.031675 | 0.00011191 | 7.0653e-05 | 0.18818 | 0.18818 | 0.18818 | 0.98882 | -0.21314 | 0.98785 | -0.23176 | 17.2322
17 | 0.002096 | 0.00052525 | -0.002096 | -0.0005253 | 1.4783e-08 | -4.1046e-08 | 0.0031591 | 0.0031591 | 0.0031591 | 0.98725 | -0.24348 | 0.98724 | -0.24362 | 0.86789
18 | -0.014217 | -0.0035637 | 0.014224 | 0.0035682 | 7.942e-06 | 4.4927e-06 | 0.021428 | 0.021428 | 0.021428 | 0.98725 | -0.24348 | 0.98785 | -0.23176 | 5.8868
19 | 0.012121 | 0.0030384 | -0.012118 | -0.0030372 | 2.2349e-06 | 1.2021e-06 | 0.018269 | 0.018269 | 0.018269 | 0.98725 | -0.24348 | 0.98705 | -0.24735 | 5.0189
20 | 0.11061 | 0.028106 | -0.11057 | -0.028083 | 3.786e-05 | 2.3812e-05 | 0.16675 | 0.16675 | 0.16675 | 0.98785 | -0.23176 | 0.98748 | -0.23887 | 15.27
21 | 0.0066701 | 0.0016718 | -0.0066698 | -0.0016716 | 3.5393e-07 | 1.0722e-07 | 0.010056 | 0.010056 | 0.010056 | 0.98705 | -0.24735 | 0.98699 | -0.24846 | 2.7625
22 | 0.0092814 | 0.0023263 | -0.0092799 | -0.0023256 | 1.4512e-06 | 6.757e-07 | 0.013986 | 0.013986 | 0.013986 | 0.98748 | -0.23887 | 0.98731 | -0.24215 | 3.8423
23 | 0.10129 | 0.025756 | -0.1012 | -0.025701 | 8.883e-05 | 5.5684e-05 | 0.15276 | 0.15276 | 0.15276 | 0.98748 | -0.23887 | 0.98653 | -0.25709 | 13.9893
24 | 0.0066695 | 0.0016716 | -0.0066689 | -0.0016714 | 6.1187e-07 | 1.8541e-07 | 0.010056 | 0.010056 | 0.010056 | 0.98694 | -0.24939 | 0.98684 | -0.25132 | 2.7625
25 | -0.0066695 | -0.0016716 | 0.0066698 | 0.0016716 | 2.9583e-07 | 8.9626e-08 | 0.010056 | 0.010056 | 0.010056 | 0.98694 | -0.24939 | 0.98699 | -0.24846 | 2.7625
26 | 0.013998 | 0.0035109 | -0.013995 | -0.0035091 | 3.2358e-06 | 1.815e-06 | 0.02093 | 0.02093 | 0.02093 | 0.99524 | -0.090146 | 0.99499 | -0.094996 | 5.75
27 | -0.013998 | -0.0035109 | 0.014001 | 0.0035128 | 3.4162e-06 | 1.9161e-06 | 0.02093 | 0.02093 | 0.02093 | 0.99524 | -0.090146 | 0.99551 | -0.085027 | 5.7499
28 | 0.011442 | 0.0028693 | -0.011438 | -0.002867 | 4.3819e-06 | 2.2864e-06 | 0.017113 | 0.017113 | 0.017113 | 0.99499 | -0.094996 | 0.99458 | -0.10303 | 4.7013
29 | -0.19992 | -0.051146 | 0.19998 | 0.05118 | 5.237e-05 | 3.3334e-05 | 0.2992 | 0.2992 | 0.2992 | 0.99551 | -0.085027 | 0.99579 | -0.079617 | 27.3994
30 | 0.18592 | 0.047634 | -0.18578 | -0.047544 | 0.00014062 | 8.9431e-05 | 0.27827 | 0.27827 | 0.27827 | 0.99551 | -0.085027 | 0.99469 | -0.10065 | 25.4828
31 | -0.37788 | -0.096587 | 0.37934 | 0.097521 | 0.0014614 | 0.00093386 | 0.56533 | 0.56533 | 0.56533 | 0.99579 | -0.079617 | 1 | 0 | 51.7701
32 | 0.1779 | 0.045407 | -0.1776 | -0.045218 | 0.00029753 | 0.00018911 | 0.26613 | 0.26613 | 0.26613 | 0.99579 | -0.079617 | 0.99397 | -0.11429 | 24.3707
33 | 0.17674 | 0.045278 | -0.17671 | -0.04526 | 2.7595e-05 | 1.7538e-05 | 0.26474 | 0.26474 | 0.26474 | 0.99469 | -0.10065 | 0.99452 | -0.10387 | 24.2439
34 | 0.011438 | 0.002867 | -0.011435 | -0.0028656 | 2.6918e-06 | 1.4047e-06 | 0.017113 | 0.017113 | 0.017113 | 0.99458 | -0.10303 | 0.99432 | -0.10797 | 4.7013
35 | 0.0065315 | 0.0016367 | -0.0065314 | -0.0016366 | 1.5719e-07 | 4.3696e-08 | 0.0097745 | 0.0097745 | 0.0097745 | 0.99432 | -0.10797 | 0.99429 | -0.10848 | 2.6853
36 | 0.0084366 | 0.0021146 | -0.0084355 | -0.0021141 | 1.1068e-06 | 4.6953e-07 | 0.012643 | 0.012643 | 0.012643 | 0.99299 | -0.1334 | 0.99284 | -0.13616 | 3.4733
37 | -0.0084366 | -0.0021146 | 0.0084404 | 0.0021162 | 3.7365e-06 | 1.5845e-06 | 0.012643 | 0.012642 | 0.012643 | 0.99299 | -0.1334 | 0.99347 | -0.12411 | 3.4732
38 | 0.0019006 | 0.00047621 | -0.0019005 | -0.00047632 | 2.8479e-08 | -1.0312e-07 | 0.0028466 | 0.0028467 | 0.0028467 | 0.99347 | -0.12411 | 0.99345 | -0.12443 | 0.78205
39 | -0.010341 | -0.0025924 | 0.010341 | 0.0025926 | 3.1794e-07 | 1.5772e-07 | 0.015489 | 0.015489 | 0.015489 | 0.99347 | -0.12411 | 0.9935 | -0.12347 | 4.2552
40 | -0.12306 | -0.031424 | 0.12322 | 0.031526 | 0.00016095 | 0.00010157 | 0.18574 | 0.18574 | 0.18574 | 0.98698 | -0.24765 | 0.98839 | -0.22063 | 17.0094
41 | -0.13655 | -0.034869 | 0.13664 | 0.034924 | 8.6448e-05 | 5.4699e-05 | 0.20581 | 0.20581 | 0.20581 | 0.98839 | -0.22063 | 0.98908 | -0.20754 | 18.8471
42 | 0.01333 | 0.0033433 | -0.013324 | -0.0033402 | 5.5604e-06 | 3.087e-06 | 0.020068 | 0.020069 | 0.020069 | 0.98839 | -0.22063 | 0.98794 | -0.22938 | 5.5133
43 | 0.013324 | 0.0033402 | -0.013322 | -0.003339 | 2.1183e-06 | 1.1761e-06 | 0.020069 | 0.020069 | 0.020069 | 0.98794 | -0.22938 | 0.98777 | -0.23272 | 5.5133
44 | 0.0094245 | 0.0023622 | -0.0094231 | -0.0023616 | 1.3697e-06 | 6.4468e-07 | 0.014197 | 0.014198 | 0.014198 | 0.98777 | -0.23272 | 0.98762 | -0.23577 | 3.9004
45 | -0.15659 | -0.039826 | 0.1568 | 0.039963 | 0.00021563 | 0.00013679 | 0.23513 | 0.23513 | 0.23513 | 0.99181 | -0.15572 | 0.9933 | -0.12718 | 21.5324
46 | 0.017451 | 0.0043771 | -0.017443 | -0.0043726 | 7.6267e-06 | 4.4951e-06 | 0.026126 | 0.026126 | 0.026126 | 0.99397 | -0.11429 | 0.9935 | -0.12347 | 7.1774
47 | 0.16015 | 0.040841 | -0.16005 | -0.040778 | 9.9603e-05 | 6.3208e-05 | 0.24 | 0.24 | 0.24 | 0.99397 | -0.11429 | 0.9933 | -0.12718 | 21.9783
48 | 0.0071018 | 0.0017801 | -0.0070995 | -0.0017793 | 2.2782e-06 | 7.6299e-07 | 0.010637 | 0.010637 | 0.010637 | 0.9935 | -0.12347 | 0.99315 | -0.1302 | 2.9223
49 | -0.13885 | -0.035478 | 0.13898 | 0.035562 | 0.00013216 | 8.3653e-05 | 0.20914 | 0.20914 | 0.20914 | 0.98908 | -0.20754 | 0.99011 | -0.18787 | 19.1519
50 | 0.0029802 | 0.00074683 | -0.0029801 | -0.00074689 | 5.9192e-08 | -6.2297e-08 | 0.0044901 | 0.0044902 | 0.0044902 | 0.98762 | -0.23577 | 0.98759 | -0.23619 | 1.2336
51 | 0.0043508 | 0.0010901 | -0.0043507 | -0.0010901 | 6.5721e-09 | -1.1555e-09 | 0.006511 | 0.006511 | 0.006511 | 0.99429 | -0.10848 | 0.99429 | -0.10851 | 1.7887
52 | 0.16977 | 0.043521 | -0.16964 | -0.043438 | 0.00013144 | 8.3492e-05 | 0.25436 | 0.25436 | 0.25436 | 0.99452 | -0.10387 | 0.99367 | -0.11985 | 23.2932
53 | -0.14485 | -0.037033 | 0.14501 | 0.037129 | 0.00015157 | 9.6022e-05 | 0.21796 | 0.21796 | 0.21796 | 0.99011 | -0.18787 | 0.99124 | -0.16627 | 19.9596
54 | 0.0046903 | 0.0011754 | -0.0046898 | -0.0011754 | 5.0024e-07 | -2.1201e-08 | 0.0070689 | 0.007069 | 0.007069 | 0.98731 | -0.24215 | 0.9872 | -0.24439 | 1.942
55 | 0.095729 | 0.02433 | -0.095647 | -0.024278 | 8.2611e-05 | 5.166e-05 | 0.14451 | 0.14451 | 0.14451 | 0.98653 | -0.25709 | 0.9856 | -0.27503 | 13.2338
56 | -0.0011368 | -0.00028492 | 0.0011369 | 0.00028464 | 2.472e-08 | -2.7955e-07 | 0.0017014 | 0.0017013 | 0.0017014 | 0.99427 | -0.10897 | 0.99429 | -0.10851 | 0.46741
57 | -0.14932 | -0.038209 | 0.14933 | 0.038216 | 1.0971e-05 | 6.9541e-06 | 0.22443 | 0.22443 | 0.22443 | 0.99124 | -0.16627 | 0.99132 | -0.16475 | 20.5523
58 | -0.15098 | -0.038631 | 0.15102 | 0.038654 | 3.6786e-05 | 2.3322e-05 | 0.22692 | 0.22692 | 0.22692 | 0.99132 | -0.16475 | 0.99158 | -0.15972 | 20.7798
59 | -0.15267 | -0.039069 | 0.15271 | 0.039093 | 3.7632e-05 | 2.3863e-05 | 0.2294 | 0.2294 | 0.2294 | 0.99158 | -0.15972 | 0.99185 | -0.15463 | 21.0071
60 | -0.15437 | -0.039508 | 0.15441 | 0.039532 | 3.8455e-05 | 2.439e-05 | 0.23188 | 0.23188 | 0.23188 | 0.99185 | -0.15463 | 0.99212 | -0.14949 | 21.2347
61 | -0.15606 | -0.039947 | 0.15611 | 0.039981 | 5.3568e-05 | 3.3981e-05 | 0.23436 | 0.23436 | 0.23436 | 0.99212 | -0.14949 | 0.99249 | -0.1424 | 21.4619
62 | 0.15871 | 0.040688 | -0.15856 | -0.040593 | 0.0001488 | 9.4418e-05 | 0.23803 | 0.23803 | 0.23803 | 0.99351 | -0.12304 | 0.99249 | -0.1424 | 21.7972
63 | -0.16269 | -0.041685 | 0.16271 | 0.041701 | 2.5158e-05 | 1.5969e-05 | 0.24399 | 0.24399 | 0.24399 | 0.99351 | -0.12304 | 0.99367 | -0.11985 | 22.3431
64 | 0.061889 | 0.015646 | -0.061797 | -0.015587 | 9.1921e-05 | 5.8482e-05 | 0.0941 | 0.0941 | 0.0941 | 0.97917 | -0.39991 | 0.97758 | -0.43093 | 25.8516
65 | -0.061889 | -0.015646 | 0.061933 | 0.015674 | 4.408e-05 | 2.8044e-05 | 0.0941 | 0.094099 | 0.0941 | 0.97917 | -0.39991 | 0.97993 | -0.38507 | 25.8515
66 | 0.059368 | 0.014979 | -0.059315 | -0.014945 | 5.248e-05 | 3.3372e-05 | 0.090402 | 0.090402 | 0.090402 | 0.97758 | -0.43093 | 0.97663 | -0.44941 | 24.8358
67 | -0.063794 | -0.01614 | 0.063866 | 0.016186 | 7.1394e-05 | 4.5436e-05 | 0.096926 | 0.096926 | 0.096926 | 0.97993 | -0.38507 | 0.98113 | -0.36178 | 26.628
68 | 0.057638 | 0.014525 | -0.057613 | -0.014509 | 2.4794e-05 | 1.5761e-05 | 0.087846 | 0.087846 | 0.087846 | 0.97663 | -0.44941 | 0.97618 | -0.45841 | 24.1336
69 | -0.065401 | -0.016571 | 0.065405 | 0.016573 | 3.2823e-06 | 2.0894e-06 | 0.099255 | 0.099255 | 0.099255 | 0.98113 | -0.36178 | 0.98118 | -0.36073 | 27.2678
70 | 0.056219 | 0.014159 | -0.056191 | -0.014142 | 2.7825e-05 | 1.7682e-05 | 0.085721 | 0.085721 | 0.085721 | 0.97618 | -0.45841 | 0.97565 | -0.46876 | 23.5497
71 | -0.066552 | -0.01686 | 0.066614 | 0.0169 | 6.1739e-05 | 3.9309e-05 | 0.101 | 0.10099 | 0.101 | 0.98118 | -0.36073 | 0.98217 | -0.34144 | 27.7459
72 | -0.081785 | -0.020747 | 0.081785 | 0.020747 | 7.2305e-09 | 4.6275e-09 | 0.12379 | 0.12379 | 0.12379 | 0.98382 | -0.30958 | 0.98382 | -0.30958 | 34.0078
73 | 0.080374 | 0.020394 | -0.080355 | -0.020381 | 1.9142e-05 | 1.2207e-05 | 0.12165 | 0.12165 | 0.12165 | 0.98382 | -0.30958 | 0.98356 | -0.31454 | 33.4216
74 | -0.085225 | -0.021609 | 0.085256 | 0.021629 | 3.1503e-05 | 2.0098e-05 | 0.12899 | 0.12899 | 0.12899 | 0.98382 | -0.30958 | 0.98421 | -0.30189 | 35.4371
75 | 0.07671 | 0.019468 | -0.076633 | -0.019419 | 7.6859e-05 | 4.8997e-05 | 0.11614 | 0.11614 | 0.11614 | 0.98356 | -0.31454 | 0.98249 | -0.33539 | 31.9068
76 | -0.088676 | -0.022486 | 0.088744 | 0.02253 | 6.8377e-05 | 4.3246e-05 | 0.13416 | 0.13416 | 0.13416 | 0.98421 | -0.30189 | 0.98504 | -0.28587 | 18.4287
77 | 0.073114 | 0.018537 | -0.073101 | -0.018529 | 1.2758e-05 | 8.1303e-06 | 0.11081 | 0.11081 | 0.11081 | 0.98249 | -0.33539 | 0.9823 | -0.33902 | 30.4425
78 | -0.092339 | -0.023431 | 0.092387 | 0.023461 | 4.8156e-05 | 3.0484e-05 | 0.13959 | 0.13959 | 0.13959 | 0.98504 | -0.28587 | 0.9856 | -0.27503 | 19.1747
79 | 0.072126 | 0.018284 | -0.072125 | -0.018283 | 1.3185e-06 | 8.401e-07 | 0.10933 | 0.10933 | 0.10933 | 0.9823 | -0.33902 | 0.98228 | -0.3394 | 30.0366
80 | 0.071151 | 0.018039 | -0.071144 | -0.018035 | 6.9827e-06 | 4.4487e-06 | 0.10786 | 0.10786 | 0.10786 | 0.98228 | -0.3394 | 0.98217 | -0.34144 | 29.6313
81 | -0.052394 | -0.013174 | 0.052436 | 0.013201 | 4.2081e-05 | 2.6713e-05 | 0.079995 | 0.079994 | 0.079995 | 0.97479 | -0.48557 | 0.97565 | -0.46876 | 21.9765
82 | 0.042718 | 0.010749 | -0.042645 | -0.010703 | 7.3635e-05 | 4.6552e-05 | 0.065225 | 0.065225 | 0.065225 | 0.97479 | -0.48557 | 0.97296 | -0.52171 | 17.9189
83 | 0.038609 | 0.0096924 | -0.038584 | -0.0096772 | 2.4159e-05 | 1.5232e-05 | 0.059053 | 0.059053 | 0.059053 | 0.97296 | -0.52171 | 0.97229 | -0.53483 | 16.2233
84 | 0.0040361 | 0.0010101 | -0.0040338 | -0.0010106 | 2.2709e-06 | -5.1936e-07 | 0.0061722 | 0.0061729 | 0.0061729 | 0.97296 | -0.52171 | 0.97236 | -0.53353 | 1.6959
85 | 0.016261 | 0.0040795 | -0.01625 | -0.0040727 | 1.16e-05 | 6.8049e-06 | 0.024888 | 0.024888 | 0.024888 | 0.97229 | -0.53483 | 0.97154 | -0.54981 | 6.8374
86 | 0.022323 | 0.0055977 | -0.022317 | -0.005594 | 6.0764e-06 | 3.7168e-06 | 0.034165 | 0.034165 | 0.034165 | 0.97229 | -0.53483 | 0.97201 | -0.54055 | 9.386
87 | 0.0040338 | 0.0010106 | -0.0040331 | -0.0010108 | 7.1809e-07 | -1.6363e-07 | 0.0061729 | 0.0061731 | 0.0061731 | 0.97236 | -0.53353 | 0.97217 | -0.53727 | 1.6959
88 | 0.0081238 | 0.0020362 | -0.0081228 | -0.0020358 | 9.4628e-07 | 4.0381e-07 | 0.012443 | 0.012443 | 0.012443 | 0.97154 | -0.54981 | 0.97141 | -0.55225 | 3.4183
89 | 0.013359 | 0.003349 | -0.013357 | -0.0033475 | 2.6343e-06 | 1.4779e-06 | 0.020452 | 0.020452 | 0.020452 | 0.97201 | -0.54055 | 0.9718 | -0.54469 | 5.6187
90 | 0.0043992 | 0.0011025 | -0.0043991 | -0.0011025 | 8.7295e-08 | -7.6934e-09 | 0.006736 | 0.0067361 | 0.0067361 | 0.9718 | -0.54469 | 0.97177 | -0.5451 | 1.8506

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38444 | 0.098386

## res_load
| p_mw | q_mvar
0 | 0.056692 | 0.014208
1 | 0.042373 | 0.01062
2 | 0.02249 | 0.0056365
3 | 0.0035399 | 0.00088718
4 | 0.012104 | 0.0030335
5 | 0.0030338 | 0.00076034
6 | 0.0023104 | 0.00057903
7 | 0.0068133 | 0.0017076
8 | 0.002096 | 0.0005253
9 | 0.0054482 | 0.0013654
10 | 0.0066689 | 0.0016714
11 | 0.0025525 | 0.00063973
12 | 0.0090437 | 0.0022666
13 | 0.0049036 | 0.001229
14 | 0.0084355 | 0.0021141
15 | 0.0038973 | 0.00097676
16 | 0.0034399 | 0.00086212
17 | 0.0032507 | 0.0008147
18 | 0.0022124 | 0.00055449
19 | 0.0034514 | 0.00086501
20 | 0.0064429 | 0.0016148
21 | 0.0021806 | 0.00054652
22 | 0.0069389 | 0.0017391
23 | 0.0070995 | 0.0017793
24 | 0.0019005 | 0.00047632
25 | 0.0058692 | 0.001471
26 | 0.0045896 | 0.0011503
27 | 0.0054701 | 0.0013709
28 | 0.0011368 | 0.00028492
29 | 0.0032139 | 0.00080548
30 | 0.0043117 | 0.0010806
31 | 0.0016551 | 0.00041481
32 | 0.001654 | 0.00041454
33 | 0.0016568 | 0.00041524
34 | 0.001654 | 0.00041452
35 | 0.0029801 | 0.00074689
36 | 0.0039799 | 0.00099745
37 | 0.0024426 | 0.00061217
38 | 0.0069288 | 0.0017365
39 | 0.002429 | 0.00060878
40 | 0.0018614 | 0.0004665
41 | 0.0016778 | 0.00042049
42 | 0.0015357 | 0.00038487
43 | 0.0013942 | 0.00034942
44 | 0.0011475 | 0.00028758
45 | 0.0014106 | 0.00035354
46 | 0.00344 | 0.00086213
47 | 0.0036448 | 0.00091347
48 | 0.0034195 | 0.00085701
49 | 0.0035191 | 0.00088197
50 | 0.0035953 | 0.00090107
51 | 0.00097545 | 0.00024447
52 | 0.0032594 | 0.00081687
53 | 0.00097398 | 0.0002441
54 | 0.0046898 | 0.0011754
55 | 0.0045298 | 0.0011353
56 | 0.0096757 | 0.002425
57 | 0.0037547 | 0.00094102
58 | 0.0081258 | 0.0020365
59 | 0.0089576 | 0.002245
60 | 0.0040331 | 0.0010108
61 | 0.0081228 | 0.0020358
62 | 0.0089577 | 0.002245
63 | 0.0043991 | 0.0011025

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1