## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-31_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-31_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-31_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1059-31_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1059-31_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1059-31_0_4_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_1059-31_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1059-31_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1059-31_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1059-31_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1059-31_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1059-31_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_1059-31_0_4_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_1059-31_0_4_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_1059-31_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1059-31_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_1059-31_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1059-31_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_1059-31_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_1059-31_0_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1059-31_0_4_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_1059-31_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1059-31_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1059-31_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1059-31_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1059-31_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1059-31_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1059-31_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1059-31_0_4_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_1059-31_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1059-31_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1059-31_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_1059-31_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1059-31_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1059-31_0_4_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_1059-31_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1059-31_0_4_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_1059-31_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1059-31_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1059-31_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1059-31_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_1059-31_0_4_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_1059-31_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1059-31_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1059-31_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1059-31_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1059-31_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1059-31_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_1059-31_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1059-31_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1059-31_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1059-31_0_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_1059-31_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1059-31_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1059-31_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_1059-31_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_1059-31_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_1059-31_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1059-31_0_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_1059-31_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_1059-31_0_4_node_23 | 0.4 | n |  | TRUE
62 | bus_LV_1059-31_0_4_node_24 | 0.4 | n |  | TRUE
63 | bus_LV_1059-31_0_4_node_25 | 0.4 | n |  | TRUE
64 | bus_LV_1059-31_0_4_node_26 | 0.4 | n |  | TRUE
65 | bus_LV_1059-31_0_4_node_27 | 0.4 | n |  | TRUE
66 | bus_LV_1059-31_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_1059-31_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_1059-31_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_1059-31_0_4_node_32 | 0.4 | n |  | TRUE
70 | bus_LV_1059-31_0_4_node_33 | 0.4 | n |  | TRUE
71 | bus_LV_1059-31_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_1059-31_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_1059-31_0_4_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_1059-31_0_4_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_1059-31_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_1059-31_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_1059-31_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_1059-31_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_1059-31_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_1059-31_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_1059-31_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_1059-31_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_1059-31_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_1059-31_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_1059-31_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_1059-31_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_1059-31_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_1059-31_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_MV_24_1_node_197 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-31_0_4_load_0 | 0 | 0.0018733 | 0.00046948 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-31_0_4_load_90 | 6 | 0.0011946 | 0.00029939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-31_0_4_load_37 | 9 | 0.00062631 | 0.00015697 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-31_0_4_load_60 | 12 | 0.0048068 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-31_0_4_load_88 | 13 | 0.00026769 | 6.7089e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-31_0_4_load_89 | 14 | 0.050993 | 0.01278 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-31_0_4_load_57 | 16 | 0.0021234 | 0.00053217 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-31_0_4_load_55 | 18 | 0.0036102 | 0.00090479 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-31_0_4_load_48 | 19 | 0.0048399 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-31_0_4_load_80 | 21 | 0.00046372 | 0.00011622 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-31_0_4_load_49 | 25 | 0.0036817 | 0.00092271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-31_0_4_load_82 | 29 | 0.0076757 | 0.0019237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-31_0_4_load_74 | 32 | 0.0047803 | 0.0011981 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-31_0_4_load_41 | 34 | 0.0051169 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-31_0_4_load_83 | 35 | 0.0096007 | 0.0024062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-31_0_4_load_31 | 36 | 0.0041946 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-31_0_4_load_65 | 37 | 0.0042446 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-31_0_4_load_30 | 39 | 0.00028343 | 7.1034e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-31_0_4_load_63 | 42 | 0.023965 | 0.0060063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-31_0_4_load_39 | 43 | 0.00058125 | 0.00014567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-31_0_4_load_36 | 45 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-31_0_4_load_61 | 46 | 0.0048219 | 0.0012085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-31_0_4_load_62 | 47 | 0.0024344 | 0.00061011 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-31_0_4_load_54 | 50 | 0.0006121 | 0.00015341 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-31_0_4_load_51 | 51 | 0.00022531 | 5.6469e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-31_0_4_load_81 | 52 | 0.00091327 | 0.00022889 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-31_0_4_load_40 | 54 | 0.004912 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-31_0_4_load_29 | 55 | 0.00026997 | 6.7661e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-31_0_4_load_28 | 56 | 0.0064203 | 0.0016091 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-31_0_4_load_42 | 57 | 0.0065284 | 0.0016362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-31_0_4_load_78 | 59 | 0.014761 | 0.0036995 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-31_0_4_load_75 | 60 | 0.012081 | 0.0030277 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-31_0_4_load_23 | 61 | 0.0038556 | 0.00096632 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-31_0_4_load_24 | 62 | 0.00021524 | 5.3944e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-31_0_4_load_25 | 63 | 0.00021501 | 5.3888e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-31_0_4_load_26 | 64 | 0.00016323 | 4.091e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-31_0_4_load_27 | 65 | 0.00021514 | 5.392e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-31_0_4_load_71 | 67 | 0.00018338 | 4.596e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-31_0_4_load_67 | 68 | 0.0017113 | 0.00042889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-31_0_4_load_32 | 69 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-31_0_4_load_33 | 70 | 0.002161 | 0.00054159 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-31_0_4_load_38 | 71 | 0.00028932 | 7.251e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-31_0_4_load_46 | 72 | 0.0087918 | 0.0022034 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-31_0_4_load_91 | 73 | 0.001837 | 0.0004604 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-31_0_4_load_79 | 75 | 0.0019033 | 0.00047702 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-31_0_4_load_58 | 77 | 0.0026533 | 0.00066499 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-31_0_4_load_59 | 78 | 0.012465 | 0.0031241 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-31_0_4_load_86 | 82 | 0.002442 | 0.00061202 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-31_0_4_load_84 | 83 | 0.0017891 | 0.0004484 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-31_0_4_load_69 | 84 | 0.005518 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-31_0_4_load_87 | 86 | 0.0016824 | 0.00042164 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-31_0_4_load_92 | 87 | 0.011736 | 0.0029413 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-31_0_4_load_77 | 88 | 0.032382 | 0.0081158 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-31_0_4_line_0 |  | 0 | 1 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-31_0_4_line_1 |  | 0 | 2 | 0.06191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-31_0_4_line_2 |  | 1 | 3 | 0.023242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-31_0_4_line_3 |  | 2 | 4 | 0.095425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-31_0_4_line_4 |  | 3 | 8 | 0.041959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-31_0_4_line_5 |  | 3 | 9 | 0.0051827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-31_0_4_line_6 |  | 4 | 14 | 0.069089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-31_0_4_line_7 |  | 5 | 6 | 0.11836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-31_0_4_line_8 |  | 5 | 7 | 0.003813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-31_0_4_line_9 |  | 7 | 43 | 0.027776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-31_0_4_line_10 |  | 7 | 44 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-31_0_4_line_11 |  | 8 | 20 | 0.036619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-31_0_4_line_12 |  | 8 | 21 | 0.0098686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-31_0_4_line_13 |  | 8 | 10 | 0.026661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-31_0_4_line_14 |  | 9 | 45 | 0.0064789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-31_0_4_line_15 |  | 10 | 11 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-31_0_4_line_16 |  | 10 | 12 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-31_0_4_line_17 |  | 11 | 13 | 0.006475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-31_0_4_line_18 |  | 12 | 46 | 0.027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-31_0_4_line_19 |  | 15 | 16 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-31_0_4_line_20 |  | 15 | 17 | 0.043014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-31_0_4_line_21 |  | 15 | 18 | 0.004332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-31_0_4_line_22 |  | 16 | 47 | 0.00080923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-31_0_4_line_23 |  | 17 | 19 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-31_0_4_line_24 |  | 18 | 48 | 0.024366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-31_0_4_line_25 |  | 19 | 49 | 0.064883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-31_0_4_line_26 |  | 20 | 50 | 0.021806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-31_0_4_line_27 |  | 20 | 51 | 0.0058829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-31_0_4_line_28 |  | 21 | 52 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-31_0_4_line_29 |  | 22 | 23 | 0.026687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1059-31_0_4_line_30 |  | 22 | 24 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-31_0_4_line_31 |  | 22 | 25 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1059-31_0_4_line_32 |  | 23 | 53 | 0.002533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1059-31_0_4_line_33 |  | 24 | 33 | 0.024145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-31_0_4_line_34 |  | 24 | 34 | 0.0087248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-31_0_4_line_35 |  | 25 | 30 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1059-31_0_4_line_36 |  | 26 | 27 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-31_0_4_line_37 |  | 26 | 28 | 0.034342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-31_0_4_line_38 |  | 26 | 29 | 0.0021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-31_0_4_line_39 |  | 27 | 32 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-31_0_4_line_40 |  | 28 | 41 | 0.002868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-31_0_4_line_41 |  | 28 | 42 | 0.032629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-31_0_4_line_42 |  | 29 | 31 | 0.043018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1059-31_0_4_line_43 |  | 30 | 31 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1059-31_0_4_line_44 |  | 31 | 35 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-31_0_4_line_45 |  | 33 | 36 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-31_0_4_line_46 |  | 33 | 37 | 0.013538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-31_0_4_line_47 |  | 34 | 54 | 0.032986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-31_0_4_line_48 |  | 36 | 55 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-31_0_4_line_49 |  | 38 | 39 | 0.090209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-31_0_4_line_50 |  | 38 | 40 | 0.13965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-31_0_4_line_51 |  | 39 | 56 | 0.0042514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-31_0_4_line_52 |  | 40 | 58 | 0.037352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-31_0_4_line_53 |  | 41 | 59 | 0.007202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-31_0_4_line_54 |  | 41 | 60 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-31_0_4_line_55 |  | 43 | 71 | 0.029955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-31_0_4_line_56 |  | 44 | 69 | 0.028087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-31_0_4_line_57 |  | 45 | 71 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-31_0_4_line_58 |  | 48 | 77 | 0.00078507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-31_0_4_line_59 |  | 48 | 78 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-31_0_4_line_60 |  | 49 | 72 | 0.064327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-31_0_4_line_61 |  | 50 | 75 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-31_0_4_line_62 |  | 51 | 64 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-31_0_4_line_63 |  | 53 | 73 | 0.007225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-31_0_4_line_64 |  | 53 | 74 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_1059-31_0_4_line_65 |  | 55 | 56 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-31_0_4_line_66 |  | 57 | 58 | 0.020087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-31_0_4_line_67 |  | 60 | 81 | 0.0021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-31_0_4_line_68 |  | 61 | 62 | 0.019866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-31_0_4_line_69 |  | 61 | 63 | 0.0048047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-31_0_4_line_70 |  | 62 | 64 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-31_0_4_line_71 |  | 63 | 65 | 0.0062745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-31_0_4_line_72 |  | 64 | 66 | 0.022268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1059-31_0_4_line_73 |  | 66 | 67 | 0.006978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-31_0_4_line_74 |  | 66 | 68 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1059-31_0_4_line_75 |  | 68 | 76 | 0.0080438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_1059-31_0_4_line_76 |  | 69 | 70 | 0.022364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-31_0_4_line_77 |  | 74 | 82 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-31_0_4_line_78 |  | 74 | 83 | 0.0024699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_1059-31_0_4_line_79 |  | 76 | 84 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-31_0_4_line_80 |  | 76 | 85 | 0.006566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_1059-31_0_4_line_81 |  | 77 | 79 | 0.007987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1059-31_0_4_line_82 |  | 79 | 80 | 0.024801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1059-31_0_4_line_83 |  | 80 | 87 | 0.007378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1059-31_0_4_line_84 |  | 80 | 81 | 0.009671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1059-31_0_4_line_85 |  | 81 | 88 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1059-31_0_4_line_86 |  | 83 | 85 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_1059-31_0_4_line_87 |  | 85 | 86 | 0.00605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-31_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 89 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2665034.2808 | 1209338.5349 | 2665037.0236 | 1209338.6537 | 2665042.5855 | 1209338.8811 | 2665053.1069 | 1209339.2829
1 | 2665114.7897 | 1209343.3599 | 2665106.4003 | 1209341.7229 | 2665100.8578 | 1209341.1066 | 2665053.1069 | 1209339.2829
2 | 2665015.0422 | 1209346.8081 | 2665017.9706 | 1209346.6399 | 2665021.0207 | 1209346.473 | 2665024.7402 | 1209346.2579 | 2665025.265 | 1209346.2302 | 2665025.6657 | 1209343.6441 | 2665026.6939 | 1209342.0655 | 2665028.4886 | 1209340.6064 | 2665031.3161 | 1209339.2363 | 2665034.2808 | 1209338.5349
3 | 2665114.7897 | 1209343.3599 | 2665120.2681 | 1209345.6655 | 2665122.6893 | 1209346.7037 | 2665124.3008 | 1209347.3994 | 2665132.9573 | 1209352.4303 | 2665138.8504 | 1209357.8312 | 2665142.4095 | 1209361.8614 | 2665146.5498 | 1209369.7559 | 2665150.1365 | 1209380.3126 | 2665152.4668 | 1209391.7561 | 2665156.2546 | 1209421.4823
4 | 2664980.7738 | 1209332.1928 | 2664985.1456 | 1209332.1181 | 2664988.4765 | 1209328.4966 | 2664995.9717 | 1209332.6807 | 2665000.944 | 1209334.6916 | 2665005.3241 | 1209337.341 | 2665011.0026 | 1209342.2169 | 2665015.0422 | 1209346.8081
5 | 2665015.0422 | 1209346.8081 | 2665018.0808 | 1209351.0065
6 | 2665113.7154 | 1209395.8247 | 2665118.3149 | 1209426.4158 | 2665156.2546 | 1209421.4823
7 | 2665052.9812 | 1209275.0443 | 2665060.1913 | 1209318.6161 | 2665062.9865 | 1209322.3044 | 2665065.7338 | 1209325.503 | 2665068.4408 | 1209327.5226 | 2665071.4918 | 1209353.7497 | 2665072.8322 | 1209368.8513 | 2665072.8298 | 1209373.9544 | 2665071.8806 | 1209379.4363 | 2665069.1408 | 1209388.7899
8 | 2665069.1408 | 1209388.7899 | 2665069.5894 | 1209390.1734 | 2665069.8984 | 1209392.5115
9 | 2665069.8984 | 1209392.5115 | 2665069.4672 | 1209396.4982 | 2665066.5448 | 1209400.302 | 2665065.0695 | 1209391.2915 | 2665060.0577 | 1209386.634 | 2665057.659 | 1209384.8372
10 | 2665069.8984 | 1209392.5115 | 2665075.4839 | 1209391.961 | 2665085.4526 | 1209390.9802
11 | 2664980.7738 | 1209332.1928 | 2664944.0518 | 1209332.7713
12 | 2664980.7738 | 1209332.1928 | 2664980.705 | 1209335.7164 | 2664975.4281 | 1209339.2383
13 | 2664980.7738 | 1209332.1928 | 2664985.1456 | 1209332.1181 | 2664988.4765 | 1209328.4966 | 2664981.8491 | 1209323.4991 | 2664982.4277 | 1209322.7272 | 2664984.6566 | 1209319.783 | 2664986.8701 | 1209316.8609 | 2664987.3175 | 1209316.2654
14 | 2665021.8795 | 1209356.255 | 2665021.8795 | 1209356.255 | 2665018.0808 | 1209351.0065
15 | 2664975.8689 | 1209316.3186 | 2664978.8901 | 1209313.9166 | 2664984.6566 | 1209319.783 | 2664986.8701 | 1209316.8609 | 2664987.3175 | 1209316.2654
16 | 2664987.3175 | 1209316.2654 | 2664985.2375 | 1209314.6084 | 2664982.6527 | 1209311.8341 | 2664978.3926 | 1209307.2405 | 2664977.1411 | 1209305.4493
17 | 2664975.8689 | 1209316.3186 | 2664973.6903 | 1209317.4289 | 2664969.6646 | 1209317.8408
18 | 2664977.1411 | 1209305.4493 | 2664971.0499 | 1209296.7319 | 2664962.9844 | 1209281.6076
19 | 2664931.1908 | 1209267.0357 | 2664932.4657 | 1209282.7362
20 | 2664931.1908 | 1209267.0357 | 2664944.1049 | 1209265.742 | 2664944.9075 | 1209265.3394 | 2664948.3085 | 1209263.6643 | 2664938.7098 | 1209244.6038 | 2664942.3391 | 1209242.9089
21 | 2664931.1908 | 1209267.0357 | 2664926.8807 | 1209267.4704
22 | 2664932.5312 | 1209283.5428 | 2664932.4657 | 1209282.7362
23 | 2664942.3391 | 1209242.9089 | 2664959.1025 | 1209234.7803
24 | 2664902.638 | 1209269.9158 | 2664926.8807 | 1209267.4704
25 | 2665017.4838 | 1209206.4712 | 2664959.1025 | 1209234.7803
26 | 2664944.0518 | 1209332.7713 | 2664944.3728 | 1209354.5745
27 | 2664944.0518 | 1209332.7713 | 2664938.1697 | 1209332.8643
28 | 2664960.6431 | 1209349.1062 | 2664975.4281 | 1209339.2383
29 | 2664844.9023 | 1209334.3499 | 2664818.1401 | 1209334.7707
30 | 2664811.1275 | 1209344.2336 | 2664810.8904 | 1209335.27 | 2664814.2247 | 1209334.8282 | 2664818.1401 | 1209334.7707
31 | 2664818.1401 | 1209334.7707 | 2664817.7386 | 1209321.5189
32 | 2664844.9023 | 1209334.3499 | 2664847.4418 | 1209334.2997
33 | 2664818.6752 | 1209361.0814 | 2664814.7516 | 1209361.1944 | 2664814.2907 | 1209344.1457 | 2664811.8879 | 1209344.2085 | 2664811.1275 | 1209344.2336
34 | 2664811.1275 | 1209344.2336 | 2664811.256 | 1209349.1936 | 2664811.3287 | 1209352.9561
35 | 2664817.3344 | 1209308.179 | 2664817.7386 | 1209321.5189
36 | 2664803.9696 | 1209251.5994 | 2664804.539 | 1209255.1633 | 2664805.9479 | 1209264.0284 | 2664806.5228 | 1209268.4818
37 | 2664806.5228 | 1209268.4818 | 2664807.1697 | 1209268.411 | 2664810.3432 | 1209268.0786 | 2664811.5919 | 1209279.0878 | 2664815.595 | 1209278.6643 | 2664830.9138 | 1209277.1297
38 | 2664806.5228 | 1209268.4818 | 2664806.8016 | 1209270.6552
39 | 2664803.9696 | 1209251.5994 | 2664803.1868 | 1209246.6879 | 2664801.6562 | 1209237.9929
40 | 2664833.7752 | 1209276.8384 | 2664830.9138 | 1209277.1297
41 | 2664830.9138 | 1209277.1297 | 2664829.2146 | 1209262.8137 | 2664833.7631 | 1209256.9706 | 2664832.1567 | 1209246.2826
42 | 2664810.3287 | 1209313.5062 | 2664809.3991 | 1209294.8069 | 2664808.2539 | 1209281.9755 | 2664806.8016 | 1209270.6552
43 | 2664810.3287 | 1209313.5062 | 2664813.8194 | 1209313.3551 | 2664813.7226 | 1209308.2732 | 2664817.3344 | 1209308.179
44 | 2664796.1755 | 1209314.1085 | 2664810.3287 | 1209313.5062
45 | 2664818.6752 | 1209361.0814 | 2664819.0009 | 1209377.2582
46 | 2664818.6752 | 1209361.0814 | 2664832.2072 | 1209360.6766
47 | 2664811.3287 | 1209352.9561 | 2664811.8253 | 1209378.6622 | 2664812.022 | 1209385.935
48 | 2664819.5216 | 1209403.1294 | 2664819.0009 | 1209377.2582
49 | 2664813.537 | 1209517.7769 | 2664817.4158 | 1209498.6851 | 2664820.0832 | 1209473.5654 | 2664820.5249 | 1209462.2967 | 2664820.3834 | 1209445.9407 | 2664820.0245 | 1209428.1117
50 | 2664813.537 | 1209517.7769 | 2664949.2583 | 1209550.6722
51 | 2664819.9389 | 1209423.8611 | 2664820.0245 | 1209428.1117
52 | 2664949.2583 | 1209550.6722 | 2664973.4827 | 1209547.2781 | 2664973.2278 | 1209534.3897
53 | 2664833.7752 | 1209276.8384 | 2664834.4651 | 1209284.0058
54 | 2664833.7752 | 1209276.8384 | 2664857.3751 | 1209274.4647
55 | 2665033.8835 | 1209366.6216 | 2665040.959 | 1209372.3283 | 2665057.659 | 1209384.8372
56 | 2665085.4526 | 1209390.9802 | 2665088.068 | 1209411.8437 | 2665088.8846 | 1209418.8564
57 | 2665021.8795 | 1209356.255 | 2665026.9433 | 1209361.0242 | 2665033.8835 | 1209366.6216
58 | 2664901.8568 | 1209269.9939 | 2664902.638 | 1209269.9158
59 | 2664902.638 | 1209269.9158 | 2664903.3957 | 1209277.8289 | 2664904.1608 | 1209284.9405
60 | 2665017.4838 | 1209206.4712 | 2665022.3252 | 1209238.6325 | 2665029.7152 | 1209269.5655
61 | 2664944.5544 | 1209366.9087 | 2664944.3728 | 1209354.5745
62 | 2664920.7413 | 1209333.1402 | 2664938.1697 | 1209332.8643
63 | 2664847.4418 | 1209334.2997 | 2664847.1706 | 1209327.0813
64 | 2664847.4418 | 1209334.2997 | 2664859.059 | 1209334.1147
65 | 2664819.9389 | 1209423.8611 | 2664819.5216 | 1209403.1294
66 | 2664973.2278 | 1209534.3897 | 2664969.5827 | 1209534.061 | 2664967.0476 | 1209533.0216 | 2664966.5082 | 1209531.5927 | 2664966.334 | 1209525.954 | 2664963.0646 | 1209526.0296 | 2664963.0418 | 1209525.3289 | 2664962.9964 | 1209523.216 | 2664962.9859 | 1209522.7823
67 | 2664859.5122 | 1209274.2497 | 2664857.3751 | 1209274.4647
68 | 2664911.986 | 1209369.0661 | 2664918.3516 | 1209369.025 | 2664920.0093 | 1209368.2759 | 2664920.6899 | 1209366.5044 | 2664920.8826 | 1209362.0705 | 2664920.8565 | 1209356.7256
69 | 2664911.986 | 1209369.0661 | 2664907.1814 | 1209369.0971
70 | 2664920.7413 | 1209333.1402 | 2664920.8565 | 1209356.7256
71 | 2664900.9071 | 1209369.1376 | 2664907.1814 | 1209369.0971
72 | 2664898.4116 | 1209333.4976 | 2664920.7413 | 1209333.1402
73 | 2664898.4116 | 1209333.4976 | 2664898.2062 | 1209326.5244
74 | 2664898.4116 | 1209333.4976 | 2664887.4776 | 1209333.6669
75 | 2664879.4348 | 1209333.7915 | 2664887.4776 | 1209333.6669
76 | 2665088.8846 | 1209418.8564 | 2665091.4716 | 1209441.0699
77 | 2664859.059 | 1209334.1147 | 2664859.4709 | 1209350.7627
78 | 2664859.059 | 1209334.1147 | 2664861.5286 | 1209334.0759
79 | 2664879.4348 | 1209333.7915 | 2664879.7931 | 1209349.0714
80 | 2664872.8507 | 1209333.8978 | 2664879.4348 | 1209333.7915
81 | 2664893.9094 | 1209270.7881 | 2664901.8568 | 1209269.9939
82 | 2664893.9094 | 1209270.7881 | 2664869.1617 | 1209273.2762
83 | 2664869.1617 | 1209273.2762 | 2664868.4814 | 1209265.931
84 | 2664869.1617 | 1209273.2762 | 2664859.5122 | 1209274.2497
85 | 2664859.5122 | 1209274.2497 | 2664860.9053 | 1209287.3507
86 | 2664872.8507 | 1209333.8978 | 2664861.5286 | 1209334.0759
87 | 2664872.8507 | 1209333.8978 | 2664872.81 | 1209327.8492

## bus_geodata
| x | y | coords
0 | 2665053.1069 | 1209339.2829
1 | 2665034.2808 | 1209338.5349
2 | 2665114.7897 | 1209343.3599
3 | 2665015.0422 | 1209346.8081
4 | 2665156.2546 | 1209421.4823
5 | 2665069.1408 | 1209388.7899
6 | 2665052.9812 | 1209275.0443
7 | 2665069.8984 | 1209392.5115
8 | 2664980.7738 | 1209332.1928
9 | 2665018.0808 | 1209351.0065
10 | 2664987.3175 | 1209316.2654
11 | 2664975.8689 | 1209316.3186
12 | 2664977.1411 | 1209305.4493
13 | 2664969.6646 | 1209317.8408
14 | 2665113.7154 | 1209395.8247
15 | 2664931.1908 | 1209267.0357
16 | 2664932.4657 | 1209282.7362
17 | 2664942.3391 | 1209242.9089
18 | 2664926.8807 | 1209267.4704
19 | 2664959.1025 | 1209234.7803
20 | 2664944.0518 | 1209332.7713
21 | 2664975.4281 | 1209339.2383
22 | 2664818.1401 | 1209334.7707
23 | 2664844.9023 | 1209334.3499
24 | 2664811.1275 | 1209344.2336
25 | 2664817.7386 | 1209321.5189
26 | 2664806.5228 | 1209268.4818
27 | 2664803.9696 | 1209251.5994
28 | 2664830.9138 | 1209277.1297
29 | 2664806.8016 | 1209270.6552
30 | 2664817.3344 | 1209308.179
31 | 2664810.3287 | 1209313.5062
32 | 2664801.6562 | 1209237.9929
33 | 2664818.6752 | 1209361.0814
34 | 2664811.3287 | 1209352.9561
35 | 2664796.1755 | 1209314.1085
36 | 2664819.0009 | 1209377.2582
37 | 2664832.2072 | 1209360.6766
38 | 2664813.5369 | 1209517.7769
39 | 2664820.0245 | 1209428.1117
40 | 2664949.2583 | 1209550.6722
41 | 2664833.7752 | 1209276.8384
42 | 2664832.1567 | 1209246.2826
43 | 2665057.659 | 1209384.8372
44 | 2665085.4526 | 1209390.9802
45 | 2665021.8795 | 1209356.255
46 | 2664962.9844 | 1209281.6076
47 | 2664932.5312 | 1209283.5428
48 | 2664902.638 | 1209269.9158
49 | 2665017.4838 | 1209206.4712
50 | 2664944.3728 | 1209354.5745
51 | 2664938.1697 | 1209332.8644
52 | 2664960.6431 | 1209349.1062
53 | 2664847.4418 | 1209334.2997
54 | 2664812.022 | 1209385.935
55 | 2664819.5216 | 1209403.1294
56 | 2664819.9389 | 1209423.8611
57 | 2664962.9859 | 1209522.7823
58 | 2664973.2278 | 1209534.3897
59 | 2664834.4651 | 1209284.0058
60 | 2664857.3751 | 1209274.4647
61 | 2664911.986 | 1209369.0661
62 | 2664920.8565 | 1209356.7256
63 | 2664907.1814 | 1209369.0971
64 | 2664920.7413 | 1209333.1402
65 | 2664900.9071 | 1209369.1376
66 | 2664898.4116 | 1209333.4976
67 | 2664898.2062 | 1209326.5244
68 | 2664887.4776 | 1209333.6669
69 | 2665088.8846 | 1209418.8564
70 | 2665091.4716 | 1209441.0699
71 | 2665033.8835 | 1209366.6216
72 | 2665029.7152 | 1209269.5655
73 | 2664847.1706 | 1209327.0813
74 | 2664859.059 | 1209334.1147
75 | 2664944.5544 | 1209366.9087
76 | 2664879.4348 | 1209333.7915
77 | 2664901.8568 | 1209269.9939
78 | 2664904.1608 | 1209284.9405
79 | 2664893.9094 | 1209270.7881
80 | 2664869.1617 | 1209273.2762
81 | 2664859.5122 | 1209274.2497
82 | 2664859.4709 | 1209350.7627
83 | 2664861.5286 | 1209334.0759
84 | 2664879.7931 | 1209349.0714
85 | 2664872.8507 | 1209333.8978
86 | 2664872.81 | 1209327.8492
87 | 2664868.4814 | 1209265.931
88 | 2664860.9053 | 1209287.3507
89 | 2664898.4116 | 1209333.4976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99132 | -0.16533 | 0.0018733 | 0.00046948
1 | 0.99224 | -0.14768 | 0 | 0
2 | 0.9884 | -0.2215 | 0 | 0
3 | 0.99338 | -0.12595 | 0 | 0
4 | 0.9839 | -0.30871 | 0 | 0
5 | 0.99293 | -0.13479 | 0 | 0
6 | 0.9928 | -0.13729 | 0.0011946 | 0.00029939
7 | 0.99293 | -0.13471 | 0 | 0
8 | 0.99583 | -0.079224 | 0 | 0
9 | 0.99333 | -0.12689 | 0.00062631 | 0.00015697
10 | 0.99559 | -0.083864 | 0 | 0
11 | 0.99559 | -0.083942 | 0 | 0
12 | 0.99546 | -0.086388 | 0.0048068 | 0.0012047
13 | 0.99558 | -0.083972 | 0.00026769 | 6.7089e-05
14 | 0.98064 | -0.37236 | 0.050993 | 0.01278
15 | 0.97587 | -0.46508 | 0 | 0
16 | 0.9758 | -0.4664 | 0.0021234 | 0.00053217
17 | 0.97532 | -0.47583 | 0 | 0
18 | 0.97594 | -0.46364 | 0.0036102 | 0.00090479
19 | 0.97509 | -0.48048 | 0.0048399 | 0.001213
20 | 0.99834 | -0.031408 | 0 | 0
21 | 0.99582 | -0.079463 | 0.00046372 | 0.00011622
22 | 0.99067 | -0.17748 | 0 | 0
23 | 0.99301 | -0.13266 | 0 | 0
24 | 0.99019 | -0.18672 | 0 | 0
25 | 0.9897 | -0.19606 | 0.0036817 | 0.00092271
26 | 0.98472 | -0.29207 | 0 | 0
27 | 0.98465 | -0.29354 | 0 | 0
28 | 0.98052 | -0.37381 | 0 | 0
29 | 0.985 | -0.28669 | 0.0076757 | 0.0019237
30 | 0.98875 | -0.21435 | 0 | 0
31 | 0.98788 | -0.23109 | 0 | 0
32 | 0.98459 | -0.29472 | 0.0047803 | 0.0011981
33 | 0.98971 | -0.19614 | 0 | 0
34 | 0.99011 | -0.18827 | 0.0051169 | 0.0012824
35 | 0.98775 | -0.23351 | 0.0096007 | 0.0024062
36 | 0.98944 | -0.20124 | 0.0041946 | 0.0010513
37 | 0.98965 | -0.19717 | 0.0042446 | 0.0010638
38 | 0.9883 | -0.2234 | 0 | 0
39 | 0.98885 | -0.21288 | 0.00028343 | 7.1034e-05
40 | 0.98747 | -0.23969 | 0 | 0
41 | 0.98023 | -0.37942 | 0 | 0
42 | 0.9798 | -0.388 | 0.023965 | 0.0060063
43 | 0.99305 | -0.13239 | 0.00058125 | 0.00014567
44 | 0.99288 | -0.13568 | 0 | 0
45 | 0.99328 | -0.128 | 0.004101 | 0.0010278
46 | 0.99534 | -0.088744 | 0.0048219 | 0.0012085
47 | 0.9758 | -0.46643 | 0.0024344 | 0.00061011
48 | 0.97644 | -0.45392 | 0 | 0
49 | 0.97456 | -0.49095 | 0 | 0
50 | 0.99829 | -0.032368 | 0.0006121 | 0.00015341
51 | 0.99876 | -0.02349 | 0.00022531 | 5.6469e-05
52 | 0.9958 | -0.079749 | 0.00091327 | 0.00022889
53 | 0.99323 | -0.12842 | 0 | 0
54 | 0.98996 | -0.19115 | 0.004912 | 0.0012311
55 | 0.98912 | -0.20747 | 0.00026997 | 6.7661e-05
56 | 0.98887 | -0.21236 | 0.0064203 | 0.0016091
57 | 0.98712 | -0.24639 | 0.0065284 | 0.0016362
58 | 0.98724 | -0.24405 | 0 | 0
59 | 0.98014 | -0.38135 | 0.014761 | 0.0036995
60 | 0.97818 | -0.41957 | 0.012081 | 0.0030277
61 | 0.99983 | -0.0033357 | 0.0038556 | 0.00096632
62 | 0.9999 | -0.0018511 | 0.00021524 | 5.3944e-05
63 | 0.99982 | -0.0033717 | 0.00021501 | 5.3888e-05
64 | 1 | 0 | -0.29257 | -0.07464
65 | 0.99982 | -0.0033953 | 0.00021514 | 5.392e-05
66 | 0.99789 | -0.039819 | 0 | 0
67 | 0.99789 | -0.039842 | 0.00018338 | 4.596e-05
68 | 0.99686 | -0.059417 | 0.0017113 | 0.00042889
69 | 0.99279 | -0.13743 | 0.0013646 | 0.000342
70 | 0.99275 | -0.13828 | 0.002161 | 0.00054159
71 | 0.99319 | -0.12957 | 0.00028932 | 7.251e-05
72 | 0.97403 | -0.50133 | 0.0087918 | 0.0022034
73 | 0.99322 | -0.12865 | 0.001837 | 0.0004604
74 | 0.99426 | -0.10885 | 0 | 0
75 | 0.99827 | -0.032778 | 0.0019033 | 0.00047702
76 | 0.9961 | -0.073738 | 0 | 0
77 | 0.97646 | -0.45343 | 0.0026533 | 0.00066499
78 | 0.97626 | -0.45737 | 0.012465 | 0.0031241
79 | 0.97673 | -0.44804 | 0 | 0
80 | 0.97759 | -0.43132 | 0 | 0
81 | 0.97802 | -0.42275 | 0 | 0
82 | 0.99422 | -0.10957 | 0.002442 | 0.00061202
83 | 0.99448 | -0.10463 | 0.0017891 | 0.0004484
84 | 0.99603 | -0.07522 | 0.005518 | 0.0013829
85 | 0.9955 | -0.085126 | 0 | 0
86 | 0.99549 | -0.085305 | 0.0016824 | 0.00042164
87 | 0.97751 | -0.4329 | 0.011736 | 0.0029413
88 | 0.97763 | -0.43052 | 0.032382 | 0.0081158
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.053375 | -0.013572 | 0.05342 | 0.013601 | 4.543e-05 | 2.8832e-05 | 0.080187 | 0.080187 | 0.080187 | 0.99132 | -0.16533 | 0.99224 | -0.14768 | 22.0294
1 | 0.051501 | 0.013103 | -0.051362 | -0.013014 | 0.00013899 | 8.8161e-05 | 0.077375 | 0.077376 | 0.077376 | 0.99132 | -0.16533 | 0.9884 | -0.2215 | 21.257
2 | -0.05342 | -0.013601 | 0.053476 | 0.013636 | 5.6041e-05 | 3.5566e-05 | 0.080187 | 0.080187 | 0.080187 | 0.99224 | -0.14768 | 0.99338 | -0.12595 | 22.0294
3 | 0.051362 | 0.013014 | -0.051148 | -0.012878 | 0.00021424 | 0.0001359 | 0.077376 | 0.077376 | 0.077376 | 0.9884 | -0.2215 | 0.9839 | -0.30871 | 21.2572
4 | -0.063797 | -0.016221 | 0.063941 | 0.016313 | 0.00014395 | 9.1581e-05 | 0.095647 | 0.095646 | 0.095647 | 0.99338 | -0.12595 | 0.99583 | -0.079224 | 26.2765
5 | 0.010321 | 0.0025845 | -0.010321 | -0.0025843 | 4.6451e-07 | 2.3019e-07 | 0.01546 | 0.01546 | 0.01546 | 0.99338 | -0.12595 | 0.99333 | -0.12689 | 4.2472
6 | 0.051148 | 0.012878 | -0.050993 | -0.01278 | 0.00015512 | 9.8399e-05 | 0.077376 | 0.077376 | 0.077376 | 0.9839 | -0.30871 | 0.98064 | -0.37236 | 21.2572
7 | 0.0011947 | 0.00029795 | -0.0011946 | -0.00029939 | 1.4224e-07 | -1.4397e-06 | 0.0017899 | 0.0017904 | 0.0017904 | 0.99293 | -0.13479 | 0.9928 | -0.13729 | 0.49188
8 | -0.0011947 | -0.00029795 | 0.0011947 | 0.0002979 | 4.5809e-09 | -4.6387e-08 | 0.0017899 | 0.0017899 | 0.0017899 | 0.99293 | -0.13479 | 0.99293 | -0.13471 | 0.49173
9 | -0.0047208 | -0.001181 | 0.0047213 | 0.001181 | 5.2121e-07 | -2.5736e-08 | 0.0070739 | 0.0070738 | 0.0070739 | 0.99293 | -0.13471 | 0.99305 | -0.13239 | 1.9434
10 | 0.0035261 | 0.00088308 | -0.0035259 | -0.00088318 | 1.6317e-07 | -9.713e-08 | 0.005284 | 0.0052841 | 0.0052841 | 0.99293 | -0.13471 | 0.99288 | -0.13568 | 1.4517
11 | -0.075219 | -0.019139 | 0.075392 | 0.01925 | 0.00017379 | 0.00011075 | 0.1125 | 0.1125 | 0.1125 | 0.99583 | -0.079224 | 0.99834 | -0.031408 | 30.9059
12 | 0.001377 | 0.00034476 | -0.001377 | -0.00034488 | 1.5666e-08 | -1.1836e-07 | 0.0020575 | 0.0020575 | 0.0020575 | 0.99583 | -0.079224 | 0.99582 | -0.079463 | 0.56525
13 | 0.0099003 | 0.0024816 | -0.0098981 | -0.0024805 | 2.1881e-06 | 1.0536e-06 | 0.014794 | 0.014794 | 0.014794 | 0.99583 | -0.079224 | 0.99559 | -0.083864 | 4.0642
14 | 0.0096945 | 0.0024273 | -0.009694 | -0.0024271 | 5.1234e-07 | 2.4404e-07 | 0.014522 | 0.014522 | 0.014522 | 0.99333 | -0.12689 | 0.99328 | -0.128 | 3.9895
15 | 0.00026769 | 6.6792e-05 | -0.00026769 | -6.7005e-05 | 9.8991e-10 | -2.1388e-07 | 0.00039999 | 0.00040006 | 0.00040006 | 0.99559 | -0.083864 | 0.99559 | -0.083942 | 0.10991
16 | 0.0096304 | 0.0024137 | -0.0096292 | -0.0024132 | 1.1577e-06 | 5.4719e-07 | 0.014394 | 0.014394 | 0.014394 | 0.99559 | -0.083864 | 0.99546 | -0.086388 | 3.9543
17 | 0.00026769 | 6.7005e-05 | -0.00026769 | -6.7089e-05 | 3.8867e-10 | -8.395e-08 | 0.00040006 | 0.00040009 | 0.00040009 | 0.99559 | -0.083942 | 0.99558 | -0.083972 | 0.10992
18 | 0.0048225 | 0.0012085 | -0.0048219 | -0.0012085 | 5.4124e-07 | -1.4647e-08 | 0.0072086 | 0.0072087 | 0.0072087 | 0.99546 | -0.086388 | 0.99534 | -0.088744 | 1.9804
19 | 0.004558 | 0.0011423 | -0.0045578 | -0.0011423 | 2.8534e-07 | -1.4173e-08 | 0.0069501 | 0.0069502 | 0.0069502 | 0.97587 | -0.46508 | 0.9758 | -0.4664 | 1.9094
20 | 0.01365 | 0.003426 | -0.013643 | -0.0034221 | 6.9895e-06 | 3.9362e-06 | 0.020816 | 0.020816 | 0.020816 | 0.97587 | -0.46508 | 0.97532 | -0.47583 | 5.7188
21 | -0.018208 | -0.0045683 | 0.01821 | 0.0045691 | 1.2524e-06 | 7.4742e-07 | 0.027766 | 0.027766 | 0.027766 | 0.97587 | -0.46508 | 0.97594 | -0.46364 | 7.6281
22 | 0.0024344 | 0.0006101 | -0.0024344 | -0.00061011 | 4.1818e-09 | -7.4327e-09 | 0.0037122 | 0.0037122 | 0.0037122 | 0.9758 | -0.4664 | 0.9758 | -0.46643 | 1.0198
23 | 0.013643 | 0.0034221 | -0.01364 | -0.0034204 | 3.0273e-06 | 1.705e-06 | 0.020816 | 0.020816 | 0.020816 | 0.97532 | -0.47583 | 0.97509 | -0.48048 | 5.7188
24 | -0.02182 | -0.0054738 | 0.02183 | 0.00548 | 1.0114e-05 | 6.1685e-06 | 0.033271 | 0.033271 | 0.033271 | 0.97594 | -0.46364 | 0.97644 | -0.45392 | 9.1403
25 | 0.0088005 | 0.0022074 | -0.0087961 | -0.0022054 | 4.3889e-06 | 2e-06 | 0.013431 | 0.013431 | 0.013431 | 0.97509 | -0.48048 | 0.97456 | -0.49095 | 3.6898
26 | 0.0025156 | 0.00063007 | -0.0025155 | -0.00063029 | 1.1495e-07 | -2.1154e-07 | 0.0037493 | 0.0037494 | 0.0037494 | 0.99834 | -0.031408 | 0.99829 | -0.032368 | 1.0301
27 | -0.077908 | -0.01988 | 0.077938 | 0.019899 | 2.9811e-05 | 1.9002e-05 | 0.11625 | 0.11625 | 0.11625 | 0.99834 | -0.031408 | 0.99876 | -0.02349 | 31.9358
28 | 0.00091328 | 0.00022866 | -0.00091327 | -0.00022889 | 1.2414e-08 | -2.2331e-07 | 0.0013646 | 0.0013647 | 0.0013647 | 0.99582 | -0.079463 | 0.9958 | -0.079749 | 0.37491
29 | -0.19129 | -0.048606 | 0.19171 | 0.04887 | 0.00041378 | 0.00026413 | 0.28756 | 0.28756 | 0.28756 | 0.99067 | -0.17748 | 0.99301 | -0.13266 | 39.5003
30 | 0.032018 | 0.0080372 | -0.032004 | -0.0080284 | 1.4093e-05 | 8.8104e-06 | 0.048096 | 0.048096 | 0.048096 | 0.99067 | -0.17748 | 0.99019 | -0.18672 | 13.2133
31 | 0.15927 | 0.040569 | -0.15913 | -0.040478 | 0.00014255 | 9.089e-05 | 0.23947 | 0.23947 | 0.23947 | 0.99067 | -0.17748 | 0.9897 | -0.19606 | 32.8938
32 | -0.19171 | -0.04887 | 0.19174 | 0.048895 | 3.9274e-05 | 2.507e-05 | 0.28756 | 0.28756 | 0.28756 | 0.99301 | -0.13266 | 0.99323 | -0.12842 | 39.5003
33 | 0.021973 | 0.0055145 | -0.021963 | -0.0055085 | 9.874e-06 | 6.0089e-06 | 0.033023 | 0.033023 | 0.033023 | 0.99019 | -0.18672 | 0.98971 | -0.19614 | 9.0723
34 | 0.01003 | 0.0025139 | -0.01003 | -0.0025135 | 7.4335e-07 | 3.6352e-07 | 0.015073 | 0.015073 | 0.015073 | 0.99019 | -0.18672 | 0.99011 | -0.18827 | 4.141
35 | 0.15545 | 0.039555 | -0.15531 | -0.039468 | 0.00013694 | 8.7299e-05 | 0.23393 | 0.23393 | 0.23393 | 0.9897 | -0.19606 | 0.98875 | -0.21435 | 32.1334
36 | 0.0047809 | 0.001198 | -0.0047806 | -0.0011981 | 3.3421e-07 | -3.3205e-09 | 0.0072244 | 0.0072244 | 0.0072244 | 0.98472 | -0.29207 | 0.98465 | -0.29354 | 1.9847
37 | 0.13271 | 0.033589 | -0.13219 | -0.033258 | 0.00051848 | 0.00033139 | 0.20065 | 0.20065 | 0.20065 | 0.98472 | -0.29207 | 0.98052 | -0.37381 | 55.1234
38 | -0.13749 | -0.034787 | 0.13752 | 0.03481 | 3.5506e-05 | 2.2696e-05 | 0.20787 | 0.20787 | 0.20787 | 0.98472 | -0.29207 | 0.985 | -0.28669 | 57.1081
39 | 0.0047806 | 0.0011981 | -0.0047803 | -0.0011981 | 2.7014e-07 | -2.6563e-09 | 0.0072244 | 0.0072245 | 0.0072245 | 0.98465 | -0.29354 | 0.98459 | -0.29472 | 1.9848
40 | 0.10821 | 0.027242 | -0.10818 | -0.027223 | 2.9016e-05 | 1.8534e-05 | 0.16425 | 0.16425 | 0.16425 | 0.98052 | -0.37381 | 0.98023 | -0.37942 | 45.1246
41 | 0.023981 | 0.0060162 | -0.023965 | -0.0060063 | 1.6209e-05 | 9.9622e-06 | 0.036396 | 0.036396 | 0.036396 | 0.98052 | -0.37381 | 0.9798 | -0.388 | 9.9989
42 | -0.1452 | -0.036734 | 0.14559 | 0.036981 | 0.0003885 | 0.00024754 | 0.21947 | 0.21947 | 0.21947 | 0.985 | -0.28669 | 0.98788 | -0.23109 | 30.1468
43 | 0.15531 | 0.039468 | -0.15519 | -0.039388 | 0.00012508 | 7.9737e-05 | 0.23393 | 0.23393 | 0.23393 | 0.98875 | -0.21435 | 0.98788 | -0.23109 | 32.1334
44 | 0.0096018 | 0.0024067 | -0.0096007 | -0.0024062 | 1.108e-06 | 5.283e-07 | 0.014463 | 0.014463 | 0.014463 | 0.98788 | -0.23109 | 0.98775 | -0.23351 | 3.9734
45 | 0.017719 | 0.0044447 | -0.017714 | -0.0044422 | 4.3065e-06 | 2.5483e-06 | 0.026641 | 0.026641 | 0.026641 | 0.98971 | -0.19614 | 0.98944 | -0.20124 | 7.3191
46 | 0.0042448 | 0.0010637 | -0.0042446 | -0.0010638 | 2.0678e-07 | -4.1626e-08 | 0.006382 | 0.006382 | 0.006382 | 0.98971 | -0.19614 | 0.98965 | -0.19717 | 1.7533
47 | 0.0049127 | 0.0012311 | -0.004912 | -0.0012311 | 6.7431e-07 | 7.3772e-09 | 0.0073831 | 0.0073833 | 0.0073833 | 0.99011 | -0.18827 | 0.98996 | -0.19115 | 2.0284
48 | 0.01352 | 0.0033909 | -0.013516 | -0.0033887 | 4.0119e-06 | 2.2354e-06 | 0.020333 | 0.020333 | 0.020333 | 0.98944 | -0.20124 | 0.98912 | -0.20747 | 5.5861
49 | -0.0065355 | -0.0016382 | 0.0065388 | 0.0016392 | 3.2754e-06 | 9.3969e-07 | 0.0098402 | 0.0098398 | 0.0098402 | 0.9883 | -0.2234 | 0.98885 | -0.21288 | 2.7033
50 | 0.0065355 | 0.0016382 | -0.0065305 | -0.0016368 | 5.0712e-06 | 1.4576e-06 | 0.0098402 | 0.0098408 | 0.0098408 | 0.9883 | -0.2234 | 0.98747 | -0.23969 | 2.7035
51 | -0.0068222 | -0.0017102 | 0.0068224 | 0.0017103 | 1.6803e-07 | 5.3e-08 | 0.010266 | 0.010266 | 0.010266 | 0.98885 | -0.21288 | 0.98887 | -0.21236 | 2.8204
52 | 0.0065305 | 0.0016368 | -0.0065291 | -0.0016364 | 1.3565e-06 | 3.9043e-07 | 0.0098408 | 0.009841 | 0.009841 | 0.98747 | -0.23969 | 0.98724 | -0.24405 | 2.7036
53 | 0.014762 | 0.0037002 | -0.014761 | -0.0036995 | 1.3563e-06 | 7.7726e-07 | 0.02241 | 0.02241 | 0.02241 | 0.98023 | -0.37942 | 0.98014 | -0.38135 | 6.1565
54 | 0.093414 | 0.023523 | -0.093235 | -0.023409 | 0.00017896 | 0.00011423 | 0.14184 | 0.14184 | 0.14184 | 0.98023 | -0.37942 | 0.97818 | -0.41957 | 38.9681
55 | -0.0053026 | -0.0013266 | 0.0053033 | 0.0013267 | 7.0902e-07 | 6.6168e-08 | 0.0079448 | 0.0079446 | 0.0079448 | 0.99305 | -0.13239 | 0.99319 | -0.12957 | 2.1826
56 | 0.0035259 | 0.00088318 | -0.0035256 | -0.00088335 | 2.9409e-07 | -1.75e-07 | 0.0052841 | 0.0052842 | 0.0052842 | 0.99288 | -0.13568 | 0.99279 | -0.13743 | 1.4517
57 | 0.005593 | 0.0013993 | -0.0055926 | -0.0013992 | 4.1779e-07 | 6.1958e-08 | 0.008378 | 0.0083781 | 0.0083781 | 0.99328 | -0.128 | 0.99319 | -0.12957 | 2.3017
58 | -0.034297 | -0.0086052 | 0.034298 | 0.0086057 | 8.0436e-07 | 5.0497e-07 | 0.05227 | 0.05227 | 0.05227 | 0.97644 | -0.45392 | 0.97646 | -0.45343 | 14.3599
59 | 0.012467 | 0.0031252 | -0.012465 | -0.0031241 | 2.0443e-06 | 1.1195e-06 | 0.019 | 0.019 | 0.019 | 0.97644 | -0.45392 | 0.97626 | -0.45737 | 5.2197
60 | 0.0087961 | 0.0022054 | -0.0087918 | -0.0022034 | 4.3515e-06 | 1.9839e-06 | 0.013431 | 0.013431 | 0.013431 | 0.97456 | -0.49095 | 0.97403 | -0.50133 | 3.6899
61 | 0.0019034 | 0.00047688 | -0.0019033 | -0.00047702 | 3.7233e-08 | -1.3745e-07 | 0.002837 | 0.0028371 | 0.0028371 | 0.99829 | -0.032368 | 0.99827 | -0.032778 | 0.77942
62 | -0.078163 | -0.019955 | 0.078252 | 0.020012 | 8.8839e-05 | 5.6629e-05 | 0.11658 | 0.11658 | 0.11658 | 0.99876 | -0.02349 | 1 | 0 | 32.028
63 | 0.001837 | 0.00046032 | -0.001837 | -0.0004604 | 2.0522e-08 | -8.0373e-08 | 0.0027521 | 0.0027522 | 0.0027522 | 0.99323 | -0.12842 | 0.99322 | -0.12865 | 0.75609
64 | -0.19358 | -0.049355 | 0.19376 | 0.049472 | 0.00018308 | 0.00011687 | 0.29031 | 0.29031 | 0.29031 | 0.99323 | -0.12842 | 0.99426 | -0.10885 | 39.8783
65 | 0.013246 | 0.003321 | -0.013243 | -0.0033193 | 3.0878e-06 | 1.7101e-06 | 0.019927 | 0.019927 | 0.019927 | 0.98912 | -0.20747 | 0.98887 | -0.21236 | 5.4745
66 | -0.0065284 | -0.0016362 | 0.0065291 | 0.0016364 | 7.295e-07 | 2.1007e-07 | 0.0098411 | 0.009841 | 0.0098411 | 0.98712 | -0.24639 | 0.98724 | -0.24405 | 2.7036
67 | 0.081154 | 0.020381 | -0.081142 | -0.020373 | 1.2278e-05 | 7.8313e-06 | 0.12347 | 0.12347 | 0.12347 | 0.97818 | -0.41957 | 0.97802 | -0.42275 | 33.9195
68 | -0.0042858 | -0.001074 | 0.0042861 | 0.0010739 | 3.0308e-07 | -6.6584e-08 | 0.0063784 | 0.0063783 | 0.0063784 | 0.99983 | -0.0033357 | 0.9999 | -0.0018511 | 1.7523
69 | 0.00043016 | 0.00010766 | -0.00043016 | -0.00010773 | 7.3839e-10 | -6.254e-08 | 0.00064014 | 0.00064016 | 0.00064016 | 0.99983 | -0.0033357 | 0.99982 | -0.0033717 | 0.17587
70 | -0.0045013 | -0.0011279 | 0.0045017 | 0.0011278 | 3.9687e-07 | -5.5403e-08 | 0.0066986 | 0.0066985 | 0.0066986 | 0.9999 | -0.0018511 | 1 | 0 | 1.8403
71 | 0.00021514 | 5.3838e-05 | -0.00021514 | -5.392e-05 | 2.4124e-10 | -8.2133e-08 | 0.00032016 | 0.00032019 | 0.00032019 | 0.99982 | -0.0033717 | 0.99982 | -0.0033953 | 0.087965
72 | 0.20817 | 0.0535 | -0.20777 | -0.053244 | 0.00040184 | 0.0002566 | 0.31023 | 0.31023 | 0.31023 | 1 | 0 | 0.99789 | -0.039819 | 42.6142
73 | 0.00018338 | 4.5869e-05 | -0.00018338 | -4.596e-05 | 1.9563e-10 | -9.1035e-08 | 0.00027342 | 0.00027345 | 0.00027345 | 0.99789 | -0.039819 | 0.99789 | -0.039842 | 0.075124
74 | 0.20758 | 0.053198 | -0.20739 | -0.053072 | 0.00019699 | 0.00012579 | 0.30996 | 0.30996 | 0.30996 | 0.99789 | -0.039819 | 0.99686 | -0.059417 | 42.5767
75 | 0.20568 | 0.052643 | -0.20553 | -0.052552 | 0.00014252 | 9.1004e-05 | 0.3074 | 0.3074 | 0.3074 | 0.99686 | -0.059417 | 0.9961 | -0.073738 | 42.2258
76 | 0.002161 | 0.00054135 | -0.002161 | -0.00054159 | 8.7982e-08 | -2.3286e-07 | 0.0032389 | 0.003239 | 0.003239 | 0.99279 | -0.13743 | 0.99275 | -0.13828 | 0.88985
77 | 0.0024421 | 0.00061186 | -0.002442 | -0.00061202 | 8.3431e-08 | -1.6261e-07 | 0.0036548 | 0.0036548 | 0.0036548 | 0.99426 | -0.10885 | 0.99422 | -0.10957 | 1.0041
78 | -0.19621 | -0.050084 | 0.19625 | 0.050109 | 4.002e-05 | 2.5549e-05 | 0.29397 | 0.29397 | 0.29397 | 0.99426 | -0.10885 | 0.99448 | -0.10463 | 40.3803
79 | 0.0055184 | 0.001383 | -0.005518 | -0.0013829 | 3.8957e-07 | 5.0348e-08 | 0.0082436 | 0.0082436 | 0.0082436 | 0.9961 | -0.073738 | 0.99603 | -0.07522 | 2.2647
80 | 0.20002 | 0.051169 | -0.19991 | -0.051099 | 0.00011018 | 7.0346e-05 | 0.29916 | 0.29916 | 0.29916 | 0.9961 | -0.073738 | 0.9955 | -0.085126 | 41.0935
81 | -0.036951 | -0.0092707 | 0.036961 | 0.0092767 | 9.4982e-06 | 5.9789e-06 | 0.056313 | 0.056313 | 0.056313 | 0.97646 | -0.45343 | 0.97673 | -0.44804 | 15.4707
82 | -0.036961 | -0.0092767 | 0.03699 | 0.0092953 | 2.9493e-05 | 1.8565e-05 | 0.056313 | 0.056313 | 0.056313 | 0.97673 | -0.44804 | 0.97759 | -0.43132 | 15.4707
83 | 0.011737 | 0.0029418 | -0.011736 | -0.0029413 | 8.8306e-07 | 4.7266e-07 | 0.017865 | 0.017865 | 0.017865 | 0.97759 | -0.43132 | 0.97751 | -0.4329 | 4.908
84 | -0.048727 | -0.012237 | 0.048747 | 0.01225 | 1.9955e-05 | 1.265e-05 | 0.074179 | 0.074179 | 0.074179 | 0.97759 | -0.43132 | 0.97802 | -0.42275 | 20.3787
85 | 0.032394 | 0.0081233 | -0.032382 | -0.0081158 | 1.2004e-05 | 7.5175e-06 | 0.049288 | 0.049288 | 0.049288 | 0.97802 | -0.42275 | 0.97763 | -0.43052 | 13.5408
86 | -0.19804 | -0.050558 | 0.19822 | 0.050677 | 0.00018684 | 0.00011928 | 0.29665 | 0.29665 | 0.29665 | 0.99448 | -0.10463 | 0.9955 | -0.085126 | 40.7481
87 | 0.0016824 | 0.00042157 | -0.0016824 | -0.00042164 | 1.4347e-08 | -6.9477e-08 | 0.0025147 | 0.0025147 | 0.0025147 | 0.9955 | -0.085126 | 0.99549 | -0.085305 | 0.69086

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29274 | 0.074681

## res_load
| p_mw | q_mvar
0 | 0.0018733 | 0.00046948
1 | 0.0011946 | 0.00029939
2 | 0.00062631 | 0.00015697
3 | 0.0048068 | 0.0012047
4 | 0.00026769 | 6.7089e-05
5 | 0.050993 | 0.01278
6 | 0.0021234 | 0.00053217
7 | 0.0036102 | 0.00090479
8 | 0.0048399 | 0.001213
9 | 0.00046372 | 0.00011622
10 | 0.0036817 | 0.00092271
11 | 0.0076757 | 0.0019237
12 | 0.0047803 | 0.0011981
13 | 0.0051169 | 0.0012824
14 | 0.0096007 | 0.0024062
15 | 0.0041946 | 0.0010513
16 | 0.0042446 | 0.0010638
17 | 0.00028343 | 7.1034e-05
18 | 0.023965 | 0.0060063
19 | 0.00058125 | 0.00014567
20 | 0.004101 | 0.0010278
21 | 0.0048219 | 0.0012085
22 | 0.0024344 | 0.00061011
23 | 0.0006121 | 0.00015341
24 | 0.00022531 | 5.6469e-05
25 | 0.00091327 | 0.00022889
26 | 0.004912 | 0.0012311
27 | 0.00026997 | 6.7661e-05
28 | 0.0064203 | 0.0016091
29 | 0.0065284 | 0.0016362
30 | 0.014761 | 0.0036995
31 | 0.012081 | 0.0030277
32 | 0.0038556 | 0.00096632
33 | 0.00021524 | 5.3944e-05
34 | 0.00021501 | 5.3888e-05
35 | 0.00016323 | 4.091e-05
36 | 0.00021514 | 5.392e-05
37 | 0.00018338 | 4.596e-05
38 | 0.0017113 | 0.00042889
39 | 0.0013646 | 0.000342
40 | 0.002161 | 0.00054159
41 | 0.00028932 | 7.251e-05
42 | 0.0087918 | 0.0022034
43 | 0.001837 | 0.0004604
44 | 0.0019033 | 0.00047702
45 | 0.0026533 | 0.00066499
46 | 0.012465 | 0.0031241
47 | 0.002442 | 0.00061202
48 | 0.0017891 | 0.0004484
49 | 0.005518 | 0.0013829
50 | 0.0016824 | 0.00042164
51 | 0.011736 | 0.0029413
52 | 0.032382 | 0.0081158

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1