## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-35_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1059-35_0_4_node_79 | 0.4 | n |  | TRUE
5 | bus_LV_1059-35_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1059-35_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_1059-35_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1059-35_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1059-35_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1059-35_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1059-35_0_4_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_1059-35_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1059-35_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1059-35_0_4_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_1059-35_0_4_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1059-35_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1059-35_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1059-35_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1059-35_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1059-35_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1059-35_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1059-35_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1059-35_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1059-35_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_1059-35_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1059-35_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1059-35_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1059-35_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1059-35_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1059-35_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1059-35_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_1059-35_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_1059-35_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1059-35_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1059-35_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1059-35_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1059-35_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_1059-35_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1059-35_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_1059-35_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_1059-35_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1059-35_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1059-35_0_4_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_1059-35_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1059-35_0_4_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_1059-35_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_1059-35_0_4_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_1059-35_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1059-35_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1059-35_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1059-35_0_4_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_1059-35_0_4_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_1059-35_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1059-35_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_1059-35_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1059-35_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_1059-35_0_4_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_1059-35_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1059-35_0_4_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_1059-35_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_1059-35_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_1059-35_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_1059-35_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_1059-35_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1059-35_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_1059-35_0_4_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_1059-35_0_4_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_1059-35_0_4_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_1059-35_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1059-35_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1059-35_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_1059-35_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1059-35_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_1059-35_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_1059-35_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_1059-35_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_1059-35_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_1059-35_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_1059-35_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_1059-35_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_MV_24_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-35_0_4_load_0 | 0 | 0.0057054 | 0.0014299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-35_0_4_load_79 | 4 | 0.0036365 | 0.00091139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-35_0_4_load_61 | 6 | 0.0067063 | 0.0016808 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-35_0_4_load_25 | 8 | 0.0053878 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-35_0_4_load_73 | 11 | 0.0048333 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-35_0_4_load_63 | 14 | 0.0033737 | 0.00084553 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-35_0_4_load_62 | 15 | 0.0044626 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-35_0_4_load_40 | 18 | 0.0018968 | 0.00047537 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-35_0_4_load_35 | 23 | 0.01438 | 0.0036039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-35_0_4_load_29 | 25 | 0.03395 | 0.0085087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-35_0_4_load_28 | 29 | 0.017057 | 0.0042749 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-35_0_4_load_78 | 31 | 0.0065008 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-35_0_4_load_64 | 32 | 0.0053363 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-35_0_4_load_46 | 34 | 0.00043648 | 0.00010939 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-35_0_4_load_45 | 35 | 0.00067326 | 0.00016874 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-35_0_4_load_51 | 37 | 0.00066386 | 0.00016638 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-35_0_4_load_50 | 39 | 0.0017862 | 0.00044768 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-35_0_4_load_42 | 42 | 0.024537 | 0.0061495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-35_0_4_load_75 | 45 | 0.0063114 | 0.0015818 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-35_0_4_load_74 | 47 | 0.0048315 | 0.0012109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-35_0_4_load_47 | 48 | 0.00076701 | 0.00019223 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-35_0_4_load_48 | 50 | 0.011326 | 0.0028385 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-35_0_4_load_76 | 51 | 0.0062699 | 0.0015714 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-35_0_4_load_77 | 52 | 0.0064139 | 0.0016075 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-35_0_4_load_36 | 53 | 0.022322 | 0.0055945 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-35_0_4_load_65 | 54 | 0.0022977 | 0.00057586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-35_0_4_load_60 | 55 | 0.00036674 | 9.1915e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-35_0_4_load_81 | 56 | 0.0091704 | 0.0022983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-35_0_4_load_43 | 58 | 0.0064113 | 0.0016068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-35_0_4_load_30 | 59 | 0.0045271 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-35_0_4_load_32 | 61 | 0.00053594 | 0.00013432 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-35_0_4_load_33 | 62 | 0.012396 | 0.0031067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-35_0_4_load_55 | 63 | 0.060618 | 0.015192 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-35_0_4_load_53 | 64 | 0.0045812 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-35_0_4_load_38 | 66 | 0.014883 | 0.00373 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-35_0_4_load_80 | 68 | 0.0088359 | 0.0022145 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-35_0_4_load_67 | 70 | 0.034649 | 0.0086838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-35_0_4_load_56 | 71 | 0.00033983 | 8.5168e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-35_0_4_load_82 | 73 | 0.0096555 | 0.0024199 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-35_0_4_load_58 | 74 | 0.010559 | 0.0026464 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-35_0_4_load_68 | 75 | 0.010901 | 0.0027319 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-35_0_4_load_52 | 76 | 0.010065 | 0.0025225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-35_0_4_load_57 | 78 | 0.0051745 | 0.0012968 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-35_0_4_load_59 | 79 | 0.0021065 | 0.00052794 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-35_0_4_load_71 | 80 | 0.010923 | 0.0027376 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-35_0_4_line_0 |  | 0 | 1 | 0.012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-35_0_4_line_1 |  | 1 | 2 | 0.009433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-35_0_4_line_2 |  | 1 | 3 | 0.039067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-35_0_4_line_3 |  | 2 | 4 | 0.02711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-35_0_4_line_4 |  | 2 | 5 | 0.022472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-35_0_4_line_5 |  | 3 | 7 | 0.011807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-35_0_4_line_6 |  | 3 | 8 | 0.028561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-35_0_4_line_7 |  | 5 | 6 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-35_0_4_line_8 |  | 6 | 9 | 0.03277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-35_0_4_line_9 |  | 7 | 22 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-35_0_4_line_10 |  | 7 | 23 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-35_0_4_line_11 |  | 8 | 19 | 0.024693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-35_0_4_line_12 |  | 9 | 10 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-35_0_4_line_13 |  | 10 | 11 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-35_0_4_line_14 |  | 10 | 12 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-35_0_4_line_15 |  | 12 | 46 | 0.004656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-35_0_4_line_16 |  | 12 | 15 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-35_0_4_line_17 |  | 12 | 43 | 0.047351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-35_0_4_line_18 |  | 13 | 14 | 0.006397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-35_0_4_line_19 |  | 13 | 15 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-35_0_4_line_20 |  | 16 | 17 | 0.020424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-35_0_4_line_21 |  | 16 | 18 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-35_0_4_line_22 |  | 17 | 49 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-35_0_4_line_23 |  | 17 | 50 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-35_0_4_line_24 |  | 18 | 28 | 0.024749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-35_0_4_line_25 |  | 19 | 20 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-35_0_4_line_26 |  | 19 | 21 | 0.025097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-35_0_4_line_27 |  | 20 | 24 | 0.019422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1059-35_0_4_line_28 |  | 20 | 25 | 0.026788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1059-35_0_4_line_29 |  | 21 | 52 | 0.003073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-35_0_4_line_30 |  | 21 | 30 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-35_0_4_line_31 |  | 22 | 39 | 0.025122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-35_0_4_line_32 |  | 24 | 53 | 0.031071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-35_0_4_line_33 |  | 25 | 29 | 0.039164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1059-35_0_4_line_34 |  | 26 | 27 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-35_0_4_line_35 |  | 26 | 28 | 0.0081133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-35_0_4_line_36 |  | 26 | 29 | 0.031879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1059-35_0_4_line_37 |  | 27 | 32 | 0.017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-35_0_4_line_38 |  | 30 | 31 | 0.003962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-35_0_4_line_39 |  | 32 | 54 | 0.030597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-35_0_4_line_40 |  | 33 | 34 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-35_0_4_line_41 |  | 33 | 35 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-35_0_4_line_42 |  | 34 | 55 | 0.0092859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-35_0_4_line_43 |  | 35 | 38 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-35_0_4_line_44 |  | 36 | 37 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-35_0_4_line_45 |  | 36 | 38 | 0.030977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-35_0_4_line_46 |  | 36 | 39 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-35_0_4_line_47 |  | 38 | 48 | 0.00869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-35_0_4_line_48 |  | 40 | 41 | 0.00644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-35_0_4_line_49 |  | 40 | 42 | 0.018984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-35_0_4_line_50 |  | 41 | 56 | 0.008799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-35_0_4_line_51 |  | 41 | 57 | 0.001467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-35_0_4_line_52 |  | 42 | 58 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-35_0_4_line_53 |  | 43 | 44 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-35_0_4_line_54 |  | 43 | 45 | 0.003703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-35_0_4_line_55 |  | 44 | 51 | 0.005489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-35_0_4_line_56 |  | 46 | 47 | 0.009574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-35_0_4_line_57 |  | 49 | 72 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-35_0_4_line_58 |  | 53 | 65 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-35_0_4_line_59 |  | 54 | 62 | 0.0064687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-35_0_4_line_60 |  | 55 | 74 | 0.0043963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-35_0_4_line_61 |  | 57 | 73 | 0.0076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-35_0_4_line_62 |  | 57 | 72 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-35_0_4_line_63 |  | 59 | 60 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-35_0_4_line_64 |  | 60 | 61 | 0.0041864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-35_0_4_line_65 |  | 60 | 62 | 0.029224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-35_0_4_line_66 |  | 61 | 63 | 0.023209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-35_0_4_line_67 |  | 63 | 64 | 0.0013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-35_0_4_line_68 |  | 65 | 66 | 0.029939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-35_0_4_line_69 |  | 65 | 67 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-35_0_4_line_70 |  | 67 | 68 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-35_0_4_line_71 |  | 67 | 69 | 0.000675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-35_0_4_line_72 |  | 69 | 70 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-35_0_4_line_73 |  | 69 | 71 | 0.031066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-35_0_4_line_74 |  | 71 | 77 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-35_0_4_line_75 |  | 72 | 75 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-35_0_4_line_76 |  | 76 | 77 | 0.035405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-35_0_4_line_77 |  | 77 | 78 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-35_0_4_line_78 |  | 78 | 79 | 0.0052725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-35_0_4_line_79 |  | 78 | 80 | 0.15093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-35_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 81 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2664827.1442 | 1209094.4662 | 2664828.4961 | 1209098.7724 | 2664836.2862 | 1209096.1441
1 | 2664818.2308 | 1209097.6269 | 2664827.1442 | 1209094.4662
2 | 2664860.81 | 1209096.1329 | 2664859.0048 | 1209092.2665 | 2664856.7486 | 1209089.3291 | 2664854.2675 | 1209088.1903 | 2664848.3853 | 1209087.337 | 2664844.9785 | 1209088.1449 | 2664843.788 | 1209088.5656 | 2664827.1442 | 1209094.4662
3 | 2664807.1583 | 1209113.4052 | 2664805.413 | 1209107.516 | 2664820.1119 | 1209102.9061 | 2664818.2308 | 1209097.6269
4 | 2664818.2308 | 1209097.6269 | 2664796.9931 | 1209105.1454
5 | 2664860.81 | 1209096.1329 | 2664861.6416 | 1209095.864 | 2664865.2884 | 1209094.6584 | 2664866.1428 | 1209094.3787 | 2664867.1194 | 1209094.0557 | 2664870.9111 | 1209092.8073 | 2664872.025 | 1209092.4414
6 | 2664860.81 | 1209096.1329 | 2664872.8819 | 1209122.0171
7 | 2664796.9931 | 1209105.1454 | 2664800.9053 | 1209116.6568
8 | 2664782.331 | 1209133.6703 | 2664804.028 | 1209125.8455 | 2664800.9053 | 1209116.6568
9 | 2664880.7542 | 1209074.0584 | 2664878.5696 | 1209075.0241 | 2664874.8192 | 1209077.3626 | 2664872.6102 | 1209080.5627 | 2664871.5151 | 1209084.0974 | 2664871.2591 | 1209087.3744 | 2664871.724 | 1209090.7593 | 2664872.025 | 1209092.4414
10 | 2664872.025 | 1209092.4414 | 2664872.9787 | 1209097.7105 | 2664874.6804 | 1209104.5303
11 | 2664883.3189 | 1209144.3958 | 2664872.8819 | 1209122.0171
12 | 2664775.2809 | 1209138.8637 | 2664778.8208 | 1209137.7014 | 2664778.0953 | 1209135.2031 | 2664782.331 | 1209133.6703
13 | 2664775.2809 | 1209138.8637 | 2664764.3637 | 1209142.4585
14 | 2664775.2809 | 1209138.8637 | 2664776.0583 | 1209141.4848 | 2664783.9907 | 1209169.1433 | 2664784.6947 | 1209171.5191
15 | 2664780.2621 | 1209172.983 | 2664784.6947 | 1209171.5191
16 | 2664784.6947 | 1209171.5191 | 2664789.4488 | 1209187.5919
17 | 2664784.6947 | 1209171.5191 | 2664788.3033 | 1209170.3242 | 2664787.5775 | 1209167.8592 | 2664786.4045 | 1209163.8774 | 2664790.7054 | 1209162.6344 | 2664801.1223 | 1209159.6123 | 2664808.4201 | 1209157.5014 | 2664821.7805 | 1209153.633
18 | 2664795.2473 | 1209209.1899 | 2664789.0055 | 1209210.6675
19 | 2664795.2473 | 1209209.1899 | 2664791.778 | 1209195.4661 | 2664789.4488 | 1209187.5919
20 | 2664892.5136 | 1209206.9228 | 2664897.1979 | 1209206.0732 | 2664912.6069 | 1209203.2613
21 | 2664912.6069 | 1209203.2613 | 2664919.0321 | 1209215.6105
22 | 2664892.5136 | 1209206.9228 | 2664870.1886 | 1209210.9938
23 | 2664892.5136 | 1209206.9228 | 2664895.989 | 1209223.3105
24 | 2664930.4549 | 1209237.5652 | 2664919.0321 | 1209215.6105
25 | 2664883.3189 | 1209144.3958 | 2664887.0545 | 1209143.4136 | 2664888.3315 | 1209146.2181 | 2664889.6658 | 1209148.6452 | 2664893.2582 | 1209146.8498
26 | 2664879.4722 | 1209162.5874 | 2664876.1637 | 1209150.166 | 2664875.1236 | 1209146.5414 | 2664883.3189 | 1209144.3958
27 | 2664910.6699 | 1209138.1449 | 2664893.2582 | 1209146.8498
28 | 2664893.2582 | 1209146.8498 | 2664896.0931 | 1209152.4952 | 2664898.5411 | 1209158.0697 | 2664905.147 | 1209170.845
29 | 2664876.4335 | 1209163.0991 | 2664879.4722 | 1209162.5874
30 | 2664879.4722 | 1209162.5874 | 2664884.2219 | 1209180.1942
31 | 2664880.7542 | 1209074.0584 | 2664883.4888 | 1209072.854 | 2664889.8797 | 1209068.8766 | 2664901.982 | 1209060.6981
32 | 2664910.6699 | 1209138.1449 | 2664938.4595 | 1209124.2482
33 | 2664923.0825 | 1209205.661 | 2664907.8029 | 1209175.9813 | 2664905.147 | 1209170.845
34 | 2664937.7308 | 1209233.9755 | 2664939.875 | 1209238.1236 | 2664942.3391 | 1209242.9089
35 | 2664930.4549 | 1209237.5652 | 2664931.2039 | 1209237.1954 | 2664933.9936 | 1209235.8137 | 2664936.5539 | 1209234.5519 | 2664937.7308 | 1209233.9755
36 | 2664937.7308 | 1209233.9755 | 2664933.748 | 1209226.2497 | 2664924.8059 | 1209209.0086 | 2664923.0825 | 1209205.661
37 | 2664942.3391 | 1209242.9089 | 2664957.8372 | 1209235.3938
38 | 2664884.2219 | 1209180.1942 | 2664881.1313 | 1209182.6843
39 | 2664957.8372 | 1209235.3938 | 2664985.368 | 1209222.0441
40 | 2664977.5808 | 1209010.4616 | 2664984.7662 | 1209023.8645
41 | 2664977.5808 | 1209010.4616 | 2664974.1963 | 1209012.7039 | 2664952.6134 | 1209026.8683
42 | 2664984.7662 | 1209023.8645 | 2664989.1537 | 1209032.0485
43 | 2664940.2068 | 1209035.1366 | 2664951.9995 | 1209027.2712 | 2664952.6134 | 1209026.8683
44 | 2664914.438 | 1209052.4336 | 2664917.3973 | 1209056.4237 | 2664923.4553 | 1209052.6339
45 | 2664914.438 | 1209052.4336 | 2664919.3692 | 1209049.163 | 2664930.1371 | 1209041.8534 | 2664940.2068 | 1209035.1366
46 | 2664914.438 | 1209052.4336 | 2664902.4928 | 1209060.353 | 2664901.982 | 1209060.6981
47 | 2664940.2068 | 1209035.1366 | 2664944.6486 | 1209042.6117
48 | 2664828.7147 | 1209218.5701 | 2664835.0673 | 1209217.4051
49 | 2664828.7147 | 1209218.5701 | 2664823.6734 | 1209200.2674
50 | 2664835.0673 | 1209217.4051 | 2664836.6989 | 1209226.0503
51 | 2664836.5144 | 1209217.1428 | 2664835.0673 | 1209217.4051
52 | 2664818.4835 | 1209181.4252 | 2664818.4835 | 1209181.4252 | 2664823.6734 | 1209200.2674
53 | 2664821.7805 | 1209153.633 | 2664838.982 | 1209149.5728
54 | 2664821.2426 | 1209149.9693 | 2664821.7805 | 1209153.633
55 | 2664838.982 | 1209149.5728 | 2664837.5038 | 1209144.2869
56 | 2664780.2621 | 1209172.983 | 2664777.5416 | 1209163.8034
57 | 2664857.1333 | 1209213.3756 | 2664870.1886 | 1209210.9938
58 | 2664954.1229 | 1209116.4154 | 2664938.4595 | 1209124.2482
59 | 2664985.368 | 1209222.0441 | 2664991.1886 | 1209219.2218
60 | 2664991.2309 | 1209035.9231 | 2664989.1537 | 1209032.0485
61 | 2664836.5144 | 1209217.1428 | 2664835.2656 | 1209209.6469
62 | 2664836.5144 | 1209217.1428 | 2664857.1333 | 1209213.3756
63 | 2665017.4838 | 1209206.4712 | 2665019.7176 | 1209221.3103
64 | 2665017.4838 | 1209206.4712 | 2665017.2365 | 1209202.2922
65 | 2665017.4838 | 1209206.4712 | 2664991.1886 | 1209219.2218
66 | 2665015.8655 | 1209179.1232 | 2665017.2365 | 1209202.2922
67 | 2665015.7853 | 1209177.7671 | 2665015.8655 | 1209179.1232
68 | 2664954.1229 | 1209116.4154 | 2664968.3599 | 1209142.7529
69 | 2664963.5244 | 1209111.7148 | 2664954.1229 | 1209116.4154
70 | 2664963.5244 | 1209111.7148 | 2664951.9238 | 1209089.3861
71 | 2664964.1283 | 1209111.4101 | 2664963.5244 | 1209111.7148
72 | 2664964.1283 | 1209111.4101 | 2664972.4087 | 1209127.2877
73 | 2664964.1283 | 1209111.4101 | 2664991.9153 | 1209097.5182
74 | 2665009.7677 | 1209088.593 | 2664991.9153 | 1209097.5182
75 | 2664857.1333 | 1209213.3756 | 2664858.6013 | 1209221.6855 | 2664864.1327 | 1209220.7152
76 | 2665009.7677 | 1209088.593 | 2665013.9421 | 1209098.2777 | 2665017.2239 | 1209112.4332 | 2665017.5496 | 1209122.7566
77 | 2665009.7677 | 1209088.593 | 2665013.9248 | 1209085.214 | 2665014.6324 | 1209079.5738 | 2665011.9053 | 1209074.487
78 | 2665011.9053 | 1209074.487 | 2665009.4141 | 1209069.8401
79 | 2665011.9053 | 1209074.487 | 2665159.2193 | 1209041.6443

## bus_geodata
| x | y | coords
0 | 2664836.2862 | 1209096.1441
1 | 2664827.1442 | 1209094.4662
2 | 2664818.2308 | 1209097.6269
3 | 2664860.81 | 1209096.1329
4 | 2664807.1583 | 1209113.4052
5 | 2664796.9931 | 1209105.1454
6 | 2664800.9053 | 1209116.6568
7 | 2664872.025 | 1209092.4414
8 | 2664872.8819 | 1209122.0171
9 | 2664782.331 | 1209133.6703
10 | 2664775.2809 | 1209138.8637
11 | 2664764.3637 | 1209142.4585
12 | 2664784.6947 | 1209171.5191
13 | 2664795.2473 | 1209209.1899
14 | 2664789.0055 | 1209210.6675
15 | 2664789.4488 | 1209187.5919
16 | 2664912.6069 | 1209203.2613
17 | 2664892.5136 | 1209206.9228
18 | 2664919.0321 | 1209215.6105
19 | 2664883.3189 | 1209144.3958
20 | 2664893.2582 | 1209146.8498
21 | 2664879.4722 | 1209162.5874
22 | 2664880.7542 | 1209074.0584
23 | 2664874.6804 | 1209104.5303
24 | 2664910.6699 | 1209138.1449
25 | 2664905.147 | 1209170.845
26 | 2664937.7308 | 1209233.9755
27 | 2664942.3391 | 1209242.9089
28 | 2664930.4549 | 1209237.5652
29 | 2664923.0825 | 1209205.661
30 | 2664884.2219 | 1209180.1942
31 | 2664881.1313 | 1209182.6843
32 | 2664957.8372 | 1209235.3938
33 | 2664977.5808 | 1209010.4616
34 | 2664984.7662 | 1209023.8645
35 | 2664952.6134 | 1209026.8683
36 | 2664914.438 | 1209052.4336
37 | 2664923.4553 | 1209052.6339
38 | 2664940.2068 | 1209035.1366
39 | 2664901.982 | 1209060.6981
40 | 2664828.7147 | 1209218.5701
41 | 2664835.0673 | 1209217.4051
42 | 2664823.6734 | 1209200.2674
43 | 2664821.7805 | 1209153.633
44 | 2664838.982 | 1209149.5728
45 | 2664821.2426 | 1209149.9693
46 | 2664780.2622 | 1209172.983
47 | 2664777.5416 | 1209163.8034
48 | 2664944.6486 | 1209042.6117
49 | 2664870.1886 | 1209210.9938
50 | 2664895.989 | 1209223.3105
51 | 2664837.5038 | 1209144.2869
52 | 2664876.4335 | 1209163.0991
53 | 2664938.4595 | 1209124.2482
54 | 2664985.368 | 1209222.0441
55 | 2664989.1537 | 1209032.0485
56 | 2664836.6989 | 1209226.0503
57 | 2664836.5144 | 1209217.1428
58 | 2664818.4835 | 1209181.4252
59 | 2665019.7176 | 1209221.3103
60 | 2665017.4838 | 1209206.4712
61 | 2665017.2365 | 1209202.2922
62 | 2664991.1886 | 1209219.2218
63 | 2665015.8655 | 1209179.1232
64 | 2665015.7853 | 1209177.7671
65 | 2664954.1229 | 1209116.4154
66 | 2664968.3599 | 1209142.7529
67 | 2664963.5244 | 1209111.7148
68 | 2664951.9238 | 1209089.3861
69 | 2664964.1283 | 1209111.4101
70 | 2664972.4087 | 1209127.2877
71 | 2664991.9153 | 1209097.5182
72 | 2664857.1333 | 1209213.3756
73 | 2664835.2656 | 1209209.6469
74 | 2664991.2309 | 1209035.9231
75 | 2664864.1327 | 1209220.7152
76 | 2665017.5496 | 1209122.7566
77 | 2665009.7677 | 1209088.593
78 | 2665011.9053 | 1209074.487
79 | 2665009.4141 | 1209069.8401
80 | 2665159.2193 | 1209041.6443
81 | 2664893.2582 | 1209146.8498

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99144 | -0.16417 | 0.0057054 | 0.0014299
1 | 0.99151 | -0.16288 | 0 | 0
2 | 0.99116 | -0.16964 | 0 | 0
3 | 0.99316 | -0.13097 | 0 | 0
4 | 0.99107 | -0.17139 | 0.0036365 | 0.00091139
5 | 0.9904 | -0.18432 | 0 | 0
6 | 0.98999 | -0.19228 | 0.0067063 | 0.0016808
7 | 0.99284 | -0.13716 | 0 | 0
8 | 0.99514 | -0.092802 | 0.0053878 | 0.0013503
9 | 0.98909 | -0.20983 | 0 | 0
10 | 0.98879 | -0.21564 | 0 | 0
11 | 0.98874 | -0.21662 | 0.0048333 | 0.0012113
12 | 0.988 | -0.23095 | 0 | 0
13 | 0.98781 | -0.23464 | 0 | 0
14 | 0.98779 | -0.23503 | 0.0033737 | 0.00084553
15 | 0.98788 | -0.23329 | 0.0044626 | 0.0011184
16 | 0.98864 | -0.21753 | 0 | 0
17 | 0.98729 | -0.24379 | 0 | 0
18 | 0.98957 | -0.19967 | 0.0018968 | 0.00047537
19 | 0.99698 | -0.057591 | 0 | 0
20 | 0.99816 | -0.034966 | 0 | 0
21 | 0.99668 | -0.063277 | 0 | 0
22 | 0.99252 | -0.14331 | 0 | 0
23 | 0.99268 | -0.14031 | 0.01438 | 0.0036039
24 | 1 | 0 | -0.42412 | -0.10738
25 | 0.99639 | -0.068643 | 0.03395 | 0.0085087
26 | 0.9918 | -0.15654 | 0 | 0
27 | 0.99097 | -0.17263 | 0 | 0
28 | 0.99125 | -0.16717 | 0 | 0
29 | 0.99421 | -0.11028 | 0.017057 | 0.0042749
30 | 0.99658 | -0.065357 | 0 | 0
31 | 0.99655 | -0.065809 | 0.0065008 | 0.0016293
32 | 0.98953 | -0.20027 | 0.0053363 | 0.0013374
33 | 0.99115 | -0.16989 | 0 | 0
34 | 0.99099 | -0.17296 | 0.00043648 | 0.00010939
35 | 0.99146 | -0.16387 | 0.00067326 | 0.00016874
36 | 0.99199 | -0.15366 | 0 | 0
37 | 0.99198 | -0.1538 | 0.00066386 | 0.00016638
38 | 0.99163 | -0.16069 | 0 | 0
39 | 0.99217 | -0.15009 | 0.0017862 | 0.00044768
40 | 0.98409 | -0.30612 | 0 | 0
41 | 0.98427 | -0.30253 | 0 | 0
42 | 0.98354 | -0.3167 | 0.024537 | 0.0061495
43 | 0.98745 | -0.24159 | 0 | 0
44 | 0.98735 | -0.24357 | 0 | 0
45 | 0.98743 | -0.24201 | 0.0063114 | 0.0015818
46 | 0.98798 | -0.23135 | 0 | 0
47 | 0.98794 | -0.23218 | 0.0048315 | 0.0012109
48 | 0.99162 | -0.16081 | 0.00076701 | 0.00019223
49 | 0.98602 | -0.26837 | 0 | 0
50 | 0.98711 | -0.24718 | 0.011326 | 0.0028385
51 | 0.98732 | -0.24418 | 0.0062699 | 0.0015714
52 | 0.99667 | -0.063623 | 0.0064139 | 0.0016075
53 | 0.9969 | -0.059381 | 0.022322 | 0.0055945
54 | 0.98714 | -0.24665 | 0.0022977 | 0.00057586
55 | 0.9909 | -0.17476 | 0.00036674 | 9.1915e-05
56 | 0.98419 | -0.30399 | 0.0091704 | 0.0022983
57 | 0.98432 | -0.30147 | 0 | 0
58 | 0.98343 | -0.31896 | 0.0064113 | 0.0016068
59 | 0.98469 | -0.29428 | 0.0045271 | 0.0011346
60 | 0.98475 | -0.29306 | 0 | 0
61 | 0.9845 | -0.29801 | 0.00053594 | 0.00013432
62 | 0.98664 | -0.25622 | 0.012396 | 0.0031067
63 | 0.9831 | -0.32526 | 0.060618 | 0.015192
64 | 0.98309 | -0.32537 | 0.0045812 | 0.0011482
65 | 0.99551 | -0.086135 | 0 | 0
66 | 0.99511 | -0.093975 | 0.014883 | 0.00373
67 | 0.99482 | -0.099443 | 0 | 0
68 | 0.99462 | -0.10336 | 0.0088359 | 0.0022145
69 | 0.99478 | -0.10019 | 0 | 0
70 | 0.99422 | -0.11112 | 0.034649 | 0.0086838
71 | 0.99397 | -0.11587 | 0.00033983 | 8.5168e-05
72 | 0.98528 | -0.28278 | 0 | 0
73 | 0.98426 | -0.30279 | 0.0096555 | 0.0024199
74 | 0.99086 | -0.17558 | 0.010559 | 0.0026464
75 | 0.98514 | -0.28553 | 0.010901 | 0.0027319
76 | 0.99313 | -0.13212 | 0.010065 | 0.0025225
77 | 0.99346 | -0.12583 | 0 | 0
78 | 0.99318 | -0.13124 | 0.0051745 | 0.0012968
79 | 0.99317 | -0.13143 | 0.0021065 | 0.00052794
80 | 0.99167 | -0.16042 | 0.010923 | 0.0027376
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0057054 | -0.0014299 | 0.0057057 | 0.00143 | 3.5017e-07 | 5.9869e-08 | 0.008563 | 0.0085629 | 0.008563 | 0.99144 | -0.16417 | 0.99151 | -0.16288 | 2.3525
1 | 0.040539 | 0.010201 | -0.040526 | -0.010193 | 1.31e-05 | 8.2622e-06 | 0.060854 | 0.060854 | 0.060854 | 0.99151 | -0.16288 | 0.99116 | -0.16964 | 16.7182
2 | -0.046245 | -0.011631 | 0.046316 | 0.011675 | 7.0596e-05 | 4.4677e-05 | 0.069417 | 0.069417 | 0.069417 | 0.99151 | -0.16288 | 0.99316 | -0.13097 | 19.0706
3 | 0.0036368 | 0.00091123 | -0.0036365 | -0.00091139 | 3.0305e-07 | -1.5542e-07 | 0.0054598 | 0.0054599 | 0.0054599 | 0.99116 | -0.16964 | 0.99107 | -0.17139 | 1.5
4 | 0.036889 | 0.0092813 | -0.036864 | -0.0092651 | 2.5859e-05 | 1.626e-05 | 0.055395 | 0.055395 | 0.055395 | 0.99116 | -0.16964 | 0.9904 | -0.18432 | 15.2183
5 | 0.029668 | 0.0074464 | -0.029659 | -0.0074409 | 8.7496e-06 | 5.447e-06 | 0.044454 | 0.044454 | 0.044454 | 0.99316 | -0.13097 | 0.99284 | -0.13716 | 12.2127
6 | -0.075984 | -0.019122 | 0.076122 | 0.01921 | 0.00013888 | 8.8511e-05 | 0.11387 | 0.11387 | 0.11387 | 0.99316 | -0.13097 | 0.99514 | -0.092802 | 31.2833
7 | 0.036864 | 0.0092651 | -0.03685 | -0.0092563 | 1.399e-05 | 8.7975e-06 | 0.055395 | 0.055395 | 0.055395 | 0.9904 | -0.18432 | 0.98999 | -0.19228 | 15.2183
8 | 0.030143 | 0.0075755 | -0.030118 | -0.0075598 | 2.5234e-05 | 1.5729e-05 | 0.045315 | 0.045315 | 0.045315 | 0.98999 | -0.19228 | 0.98909 | -0.20983 | 12.4491
9 | 0.015277 | 0.0038358 | -0.015273 | -0.0038332 | 4.4821e-06 | 2.5739e-06 | 0.022899 | 0.022899 | 0.022899 | 0.99284 | -0.13716 | 0.99252 | -0.14331 | 6.2909
10 | 0.014382 | 0.0036052 | -0.01438 | -0.0036039 | 2.1577e-06 | 1.2208e-06 | 0.021555 | 0.021555 | 0.021555 | 0.99284 | -0.13716 | 0.99268 | -0.14031 | 5.9218
11 | -0.08151 | -0.020561 | 0.081648 | 0.020648 | 0.00013766 | 8.778e-05 | 0.12193 | 0.12193 | 0.12193 | 0.99514 | -0.092802 | 0.99698 | -0.057591 | 33.4965
12 | 0.030118 | 0.0075598 | -0.03011 | -0.0075546 | 8.3409e-06 | 5.1992e-06 | 0.045315 | 0.045315 | 0.045315 | 0.98909 | -0.20983 | 0.98879 | -0.21564 | 12.4491
13 | 0.0048336 | 0.0012113 | -0.0048333 | -0.0012113 | 2.2746e-07 | -1.4608e-09 | 0.007274 | 0.007274 | 0.007274 | 0.98879 | -0.21564 | 0.98874 | -0.21662 | 1.9984
14 | 0.025276 | 0.0063432 | -0.025258 | -0.0063319 | 1.8442e-05 | 1.1367e-05 | 0.038041 | 0.038041 | 0.038041 | 0.98879 | -0.21564 | 0.988 | -0.23095 | 10.4508
15 | 0.0048318 | 0.0012109 | -0.0048317 | -0.0012109 | 9.2461e-08 | -4.4961e-10 | 0.0072771 | 0.0072771 | 0.0072771 | 0.988 | -0.23095 | 0.98798 | -0.23135 | 1.9992
16 | 0.0078374 | 0.0019641 | -0.0078365 | -0.0019638 | 8.7576e-07 | 3.4586e-07 | 0.011804 | 0.011804 | 0.011804 | 0.988 | -0.23095 | 0.98788 | -0.23329 | 3.2428
17 | 0.012589 | 0.0031569 | -0.012582 | -0.0031534 | 6.3834e-06 | 3.4793e-06 | 0.01896 | 0.01896 | 0.01896 | 0.988 | -0.23095 | 0.98745 | -0.24159 | 5.2089
18 | 0.0033738 | 0.00084549 | -0.0033737 | -0.00084553 | 6.196e-08 | -4.2234e-08 | 0.0050822 | 0.0050822 | 0.0050822 | 0.98781 | -0.23464 | 0.98779 | -0.23503 | 1.3962
19 | -0.0033738 | -0.00084549 | 0.003374 | 0.00084534 | 2.1664e-07 | -1.477e-07 | 0.0050822 | 0.0050821 | 0.0050822 | 0.98781 | -0.23464 | 0.98788 | -0.23329 | 1.3962
20 | 0.072277 | 0.01822 | -0.072186 | -0.018162 | 9.07e-05 | 5.7787e-05 | 0.10882 | 0.10882 | 0.10882 | 0.98864 | -0.21753 | 0.98729 | -0.24379 | 29.8962
21 | -0.072277 | -0.01822 | 0.072339 | 0.018259 | 6.182e-05 | 3.9386e-05 | 0.10882 | 0.10882 | 0.10882 | 0.98864 | -0.21753 | 0.98957 | -0.19967 | 29.8962
22 | 0.060858 | 0.015322 | -0.060787 | -0.015277 | 7.1434e-05 | 4.5429e-05 | 0.091749 | 0.091749 | 0.091749 | 0.98729 | -0.24379 | 0.98602 | -0.26837 | 25.2059
23 | 0.011328 | 0.0028395 | -0.011326 | -0.0028385 | 1.8311e-06 | 9.5773e-07 | 0.017073 | 0.017073 | 0.017073 | 0.98729 | -0.24379 | 0.98711 | -0.24718 | 4.6904
24 | -0.074235 | -0.018734 | 0.074351 | 0.018808 | 0.00011574 | 7.3756e-05 | 0.11167 | 0.11167 | 0.11167 | 0.98957 | -0.19967 | 0.99125 | -0.16717 | 30.6797
25 | -0.094567 | -0.023887 | 0.09467 | 0.023953 | 0.00010267 | 6.5527e-05 | 0.14121 | 0.14121 | 0.14121 | 0.99698 | -0.057591 | 0.99816 | -0.034966 | 38.7938
26 | 0.012919 | 0.0032389 | -0.012916 | -0.003237 | 3.4992e-06 | 1.9123e-06 | 0.019282 | 0.019283 | 0.019283 | 0.99698 | -0.057591 | 0.99668 | -0.063277 | 5.2974
27 | -0.31209 | -0.0793 | 0.31261 | 0.079636 | 0.00052636 | 0.00033611 | 0.46563 | 0.46563 | 0.46563 | 0.99816 | -0.034966 | 1 | 0 | 42.6401
28 | 0.21742 | 0.055347 | -0.21707 | -0.055123 | 0.00035242 | 0.0002245 | 0.32442 | 0.32442 | 0.32442 | 0.99816 | -0.034966 | 0.99639 | -0.068643 | 29.7089
29 | 0.006414 | 0.0016075 | -0.0064139 | -0.0016075 | 1.0567e-07 | 2.758e-08 | 0.0095758 | 0.0095759 | 0.0095759 | 0.99668 | -0.063277 | 0.99667 | -0.063623 | 2.6307
30 | 0.0065016 | 0.0016295 | -0.0065009 | -0.0016293 | 6.4432e-07 | 1.7473e-07 | 0.0097067 | 0.0097067 | 0.0097067 | 0.99668 | -0.063277 | 0.99658 | -0.065357 | 2.6667
31 | 0.015273 | 0.0038332 | -0.015268 | -0.0038303 | 4.94e-06 | 2.837e-06 | 0.022899 | 0.022899 | 0.022899 | 0.99252 | -0.14331 | 0.99217 | -0.15009 | 6.291
32 | 0.10985 | 0.027742 | -0.10954 | -0.027543 | 0.00031161 | 0.00019903 | 0.16354 | 0.16354 | 0.16354 | 1 | 0 | 0.9969 | -0.059381 | 44.9279
33 | 0.18312 | 0.046614 | -0.18275 | -0.046381 | 0.00036679 | 0.00023322 | 0.27372 | 0.27372 | 0.27372 | 0.99639 | -0.068643 | 0.99421 | -0.11028 | 25.066
34 | 0.090934 | 0.023039 | -0.090864 | -0.022994 | 7.0218e-05 | 4.481e-05 | 0.13652 | 0.13652 | 0.13652 | 0.9918 | -0.15654 | 0.99097 | -0.17263 | 37.5051
35 | 0.074389 | 0.018832 | -0.074351 | -0.018808 | 3.7943e-05 | 2.4179e-05 | 0.11167 | 0.11167 | 0.11167 | 0.9918 | -0.15654 | 0.99125 | -0.16717 | 30.6797
36 | -0.16532 | -0.041871 | 0.16569 | 0.042106 | 0.0003682 | 0.00023482 | 0.24819 | 0.24819 | 0.24819 | 0.9918 | -0.15654 | 0.99421 | -0.11028 | 34.0924
37 | 0.090864 | 0.022994 | -0.090744 | -0.022917 | 0.00012038 | 7.6821e-05 | 0.13652 | 0.13652 | 0.13652 | 0.99097 | -0.17263 | 0.98953 | -0.20027 | 37.5051
38 | 0.0065009 | 0.0016293 | -0.0065008 | -0.0016293 | 1.3999e-07 | 3.7971e-08 | 0.0097067 | 0.0097068 | 0.0097068 | 0.99658 | -0.065357 | 0.99655 | -0.065809 | 2.6667
39 | 0.085407 | 0.02158 | -0.085218 | -0.021459 | 0.00018944 | 0.00012085 | 0.12849 | 0.12849 | 0.12849 | 0.98953 | -0.20027 | 0.98714 | -0.24665 | 35.3006
40 | 0.011366 | 0.0028493 | -0.011364 | -0.0028484 | 1.6604e-06 | 8.6672e-07 | 0.017063 | 0.017063 | 0.017063 | 0.99115 | -0.16989 | 0.99099 | -0.17296 | 4.6878
41 | -0.011366 | -0.0028493 | 0.011369 | 0.002851 | 3.2619e-06 | 1.7025e-06 | 0.017063 | 0.017063 | 0.017063 | 0.99115 | -0.16989 | 0.99146 | -0.16387 | 4.6878
42 | 0.010927 | 0.002739 | -0.010926 | -0.0027385 | 9.375e-07 | 4.8037e-07 | 0.016408 | 0.016408 | 0.016408 | 0.99099 | -0.17296 | 0.9909 | -0.17476 | 4.5077
43 | -0.012042 | -0.0030197 | 0.012044 | 0.0030207 | 1.8264e-06 | 9.7656e-07 | 0.018074 | 0.018074 | 0.018074 | 0.99146 | -0.16387 | 0.99163 | -0.16069 | 4.9653
44 | 0.00066387 | 0.00016623 | -0.00066386 | -0.00016638 | 4.5045e-09 | -1.535e-07 | 0.00099577 | 0.00099583 | 0.00099583 | 0.99199 | -0.15366 | 0.99198 | -0.1538 | 0.27358
45 | 0.012815 | 0.0032152 | -0.012811 | -0.0032128 | 4.2932e-06 | 2.3479e-06 | 0.019224 | 0.019225 | 0.019225 | 0.99199 | -0.15366 | 0.99163 | -0.16069 | 5.2815
46 | -0.013479 | -0.0033814 | 0.013481 | 0.0033827 | 2.2919e-06 | 1.2738e-06 | 0.02022 | 0.02022 | 0.02022 | 0.99199 | -0.15366 | 0.99217 | -0.15009 | 5.555
47 | 0.00076702 | 0.00019212 | -0.00076701 | -0.00019223 | 4.3169e-09 | -1.0934e-07 | 0.0011509 | 0.001151 | 0.001151 | 0.99163 | -0.16069 | 0.99162 | -0.16081 | 0.3162
48 | -0.030964 | -0.0077662 | 0.03097 | 0.0077696 | 5.2945e-06 | 3.3067e-06 | 0.046823 | 0.046823 | 0.046823 | 0.98409 | -0.30612 | 0.98427 | -0.30253 | 12.8634
49 | 0.030964 | 0.0077662 | -0.030949 | -0.0077565 | 1.5608e-05 | 9.7479e-06 | 0.046823 | 0.046823 | 0.046823 | 0.98409 | -0.30612 | 0.98354 | -0.3167 | 12.8634
50 | 0.009171 | 0.0022986 | -0.0091704 | -0.0022983 | 6.3429e-07 | 2.9412e-07 | 0.013865 | 0.013865 | 0.013865 | 0.98427 | -0.30253 | 0.98419 | -0.30399 | 3.809
51 | -0.040141 | -0.010068 | 0.040143 | 0.010069 | 2.0261e-06 | 1.278e-06 | 0.060687 | 0.060687 | 0.060687 | 0.98427 | -0.30253 | 0.98432 | -0.30147 | 16.6723
52 | 0.006412 | 0.001607 | -0.0064113 | -0.0016068 | 6.8969e-07 | 1.934e-07 | 0.0097007 | 0.0097008 | 0.0097008 | 0.98354 | -0.3167 | 0.98343 | -0.31896 | 2.6651
53 | 0.0062706 | 0.0015716 | -0.0062701 | -0.0015714 | 5.902e-07 | 1.5228e-07 | 0.0094494 | 0.0094495 | 0.0094495 | 0.98745 | -0.24159 | 0.98735 | -0.24357 | 2.596
54 | 0.0063115 | 0.0015818 | -0.0063114 | -0.0015818 | 1.2561e-07 | 3.3024e-08 | 0.009511 | 0.009511 | 0.009511 | 0.98745 | -0.24159 | 0.98743 | -0.24201 | 2.6129
55 | 0.0062701 | 0.0015714 | -0.0062699 | -0.0015714 | 1.838e-07 | 4.7432e-08 | 0.0094495 | 0.0094495 | 0.0094495 | 0.98735 | -0.24357 | 0.98732 | -0.24418 | 2.596
56 | 0.0048317 | 0.0012109 | -0.0048315 | -0.0012109 | 1.9013e-07 | -9.1557e-10 | 0.0072771 | 0.0072771 | 0.0072771 | 0.98798 | -0.23135 | 0.98794 | -0.23218 | 1.9992
57 | 0.060787 | 0.015277 | -0.060745 | -0.01525 | 4.1776e-05 | 2.6568e-05 | 0.091749 | 0.091749 | 0.091749 | 0.98602 | -0.26837 | 0.98528 | -0.28278 | 25.2059
58 | 0.087219 | 0.021949 | -0.087108 | -0.021878 | 0.00011136 | 7.1042e-05 | 0.13022 | 0.13022 | 0.13022 | 0.9969 | -0.059381 | 0.99551 | -0.086135 | 35.7743
59 | 0.08292 | 0.020883 | -0.082882 | -0.020859 | 3.7921e-05 | 2.4187e-05 | 0.12503 | 0.12503 | 0.12503 | 0.98714 | -0.24665 | 0.98664 | -0.25622 | 34.3491
60 | 0.01056 | 0.0026466 | -0.010559 | -0.0026464 | 4.1455e-07 | 2.0869e-07 | 0.015857 | 0.015857 | 0.015857 | 0.9909 | -0.17476 | 0.99086 | -0.17558 | 4.3564
61 | 0.0096561 | 0.0024202 | -0.0096555 | -0.0024199 | 6.0729e-07 | 2.9207e-07 | 0.014597 | 0.014597 | 0.014597 | 0.98432 | -0.30147 | 0.98426 | -0.30279 | 4.0103
62 | -0.049799 | -0.01249 | 0.049843 | 0.012518 | 4.4423e-05 | 2.8165e-05 | 0.075285 | 0.075285 | 0.075285 | 0.98432 | -0.30147 | 0.98528 | -0.28278 | 20.6826
63 | -0.0045271 | -0.0011346 | 0.0045273 | 0.0011346 | 2.6336e-07 | -2.2348e-08 | 0.0068411 | 0.0068411 | 0.0068411 | 0.98469 | -0.29428 | 0.98475 | -0.29306 | 1.8794
64 | 0.065835 | 0.016539 | -0.06582 | -0.016529 | 1.5541e-05 | 9.8928e-06 | 0.099495 | 0.099495 | 0.099495 | 0.98475 | -0.29306 | 0.9845 | -0.29801 | 27.3338
65 | -0.070363 | -0.017673 | 0.070486 | 0.017752 | 0.00012391 | 7.8933e-05 | 0.10634 | 0.10634 | 0.10634 | 0.98475 | -0.29306 | 0.98664 | -0.25622 | 29.2132
66 | 0.065284 | 0.016394 | -0.065199 | -0.01634 | 8.4761e-05 | 5.3953e-05 | 0.098685 | 0.098685 | 0.098685 | 0.9845 | -0.29801 | 0.9831 | -0.32526 | 27.1112
67 | 0.0045813 | 0.0011482 | -0.0045812 | -0.0011482 | 2.4495e-08 | -1.5483e-09 | 0.0069342 | 0.0069342 | 0.0069342 | 0.9831 | -0.32526 | 0.98309 | -0.32537 | 1.905
68 | 0.014889 | 0.0037332 | -0.014883 | -0.00373 | 5.5606e-06 | 3.1697e-06 | 0.022255 | 0.022255 | 0.022255 | 0.99551 | -0.086135 | 0.99511 | -0.093975 | 6.114
69 | 0.072219 | 0.018145 | -0.072173 | -0.018115 | 4.5839e-05 | 2.9201e-05 | 0.10796 | 0.10796 | 0.10796 | 0.99551 | -0.086135 | 0.99482 | -0.099443 | 29.6603
70 | 0.0088375 | 0.0022152 | -0.0088359 | -0.0022145 | 1.648e-06 | 7.2826e-07 | 0.013219 | 0.013219 | 0.013219 | 0.99482 | -0.099443 | 0.99462 | -0.10336 | 3.6316
71 | 0.063336 | 0.0159 | -0.063334 | -0.015899 | 2.2722e-06 | 1.4454e-06 | 0.094745 | 0.094745 | 0.094745 | 0.99482 | -0.099443 | 0.99478 | -0.10019 | 26.0287
72 | 0.034667 | 0.0086951 | -0.034649 | -0.0086838 | 1.8049e-05 | 1.1319e-05 | 0.051858 | 0.051858 | 0.051858 | 0.99478 | -0.10019 | 0.99422 | -0.11112 | 14.2466
73 | 0.028667 | 0.0072037 | -0.028645 | -0.0071904 | 2.1427e-05 | 1.3311e-05 | 0.042887 | 0.042887 | 0.042887 | 0.99478 | -0.10019 | 0.99397 | -0.11587 | 11.7822
74 | 0.028305 | 0.0071052 | -0.028292 | -0.0070969 | 1.3442e-05 | 8.3443e-06 | 0.042378 | 0.042378 | 0.042378 | 0.99397 | -0.11587 | 0.99346 | -0.12583 | 11.6424
75 | 0.010902 | 0.0027327 | -0.010901 | -0.0027319 | 1.4288e-06 | 7.3544e-07 | 0.016465 | 0.016465 | 0.016465 | 0.98528 | -0.28278 | 0.98514 | -0.28553 | 4.5233
76 | -0.010065 | -0.0025225 | 0.010068 | 0.002524 | 3.0194e-06 | 1.4741e-06 | 0.01508 | 0.01508 | 0.01508 | 0.99313 | -0.13212 | 0.99346 | -0.12583 | 4.143
77 | 0.018224 | 0.0045729 | -0.018219 | -0.0045701 | 4.6984e-06 | 2.7894e-06 | 0.027298 | 0.027298 | 0.027298 | 0.99346 | -0.12583 | 0.99318 | -0.13124 | 7.4995
78 | 0.0021065 | 0.00052788 | -0.0021065 | -0.00052794 | 1.9694e-08 | -5.5626e-08 | 0.0031561 | 0.0031561 | 0.0031561 | 0.99318 | -0.13124 | 0.99317 | -0.13143 | 0.86705
79 | 0.010938 | 0.0027454 | -0.010923 | -0.0027376 | 1.5204e-05 | 7.7806e-06 | 0.01639 | 0.01639 | 0.01639 | 0.99318 | -0.13124 | 0.99167 | -0.16042 | 4.5028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42412 | 0.10738

## res_load
| p_mw | q_mvar
0 | 0.0057054 | 0.0014299
1 | 0.0036365 | 0.00091139
2 | 0.0067063 | 0.0016808
3 | 0.0053878 | 0.0013503
4 | 0.0048333 | 0.0012113
5 | 0.0033737 | 0.00084553
6 | 0.0044626 | 0.0011184
7 | 0.0018968 | 0.00047537
8 | 0.01438 | 0.0036039
9 | 0.03395 | 0.0085087
10 | 0.017057 | 0.0042749
11 | 0.0065008 | 0.0016293
12 | 0.0053363 | 0.0013374
13 | 0.00043648 | 0.00010939
14 | 0.00067326 | 0.00016874
15 | 0.00066386 | 0.00016638
16 | 0.0017862 | 0.00044768
17 | 0.024537 | 0.0061495
18 | 0.0063114 | 0.0015818
19 | 0.0048315 | 0.0012109
20 | 0.00076701 | 0.00019223
21 | 0.011326 | 0.0028385
22 | 0.0062699 | 0.0015714
23 | 0.0064139 | 0.0016075
24 | 0.022322 | 0.0055945
25 | 0.0022977 | 0.00057586
26 | 0.00036674 | 9.1915e-05
27 | 0.0091704 | 0.0022983
28 | 0.0064113 | 0.0016068
29 | 0.0045271 | 0.0011346
30 | 0.00053594 | 0.00013432
31 | 0.012396 | 0.0031067
32 | 0.060618 | 0.015192
33 | 0.0045812 | 0.0011482
34 | 0.014883 | 0.00373
35 | 0.0088359 | 0.0022145
36 | 0.034649 | 0.0086838
37 | 0.00033983 | 8.5168e-05
38 | 0.0096555 | 0.0024199
39 | 0.010559 | 0.0026464
40 | 0.010901 | 0.0027319
41 | 0.010065 | 0.0025225
42 | 0.0051745 | 0.0012968
43 | 0.0021065 | 0.00052794
44 | 0.010923 | 0.0027376

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1