## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-43_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1059-43_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1059-43_1_2_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_1059-43_1_2_node_102 | 0.4 | n |  | TRUE
4 | bus_LV_1059-43_1_2_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_1059-43_1_2_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1059-43_1_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1059-43_1_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1059-43_1_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1059-43_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1059-43_1_2_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_1059-43_1_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1059-43_1_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1059-43_1_2_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_1059-43_1_2_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_1059-43_1_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1059-43_1_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1059-43_1_2_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1059-43_1_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1059-43_1_2_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_1059-43_1_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1059-43_1_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1059-43_1_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_1059-43_1_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1059-43_1_2_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1059-43_1_2_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_1059-43_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1059-43_1_2_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_1059-43_1_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1059-43_1_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1059-43_1_2_node_101 | 0.4 | n |  | TRUE
31 | bus_LV_1059-43_1_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1059-43_1_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1059-43_1_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1059-43_1_2_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_1059-43_1_2_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_1059-43_1_2_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1059-43_1_2_node_108 | 0.4 | n |  | TRUE
38 | bus_LV_1059-43_1_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1059-43_1_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1059-43_1_2_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1059-43_1_2_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_1059-43_1_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_1059-43_1_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1059-43_1_2_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1059-43_1_2_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_1059-43_1_2_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_1059-43_1_2_node_107 | 0.4 | n |  | TRUE
48 | bus_MV_23_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-43_1_2_load_102 | 3 | 0.0022441 | 0.00056243 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-43_1_2_load_105 | 4 | 0.027707 | 0.006944 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-43_1_2_load_58 | 10 | 0.0036865 | 0.00092393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-43_1_2_load_98 | 13 | 0.07716 | 0.019338 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-43_1_2_load_100 | 14 | 0.0033204 | 0.00083217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-43_1_2_load_59 | 17 | 0.0022684 | 0.00056851 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-43_1_2_load_99 | 19 | 0.0069418 | 0.0017398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-43_1_2_load_51 | 22 | 0.0041247 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-43_1_2_load_57 | 24 | 0.0049292 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-43_1_2_load_106 | 25 | 0.0034341 | 0.00086067 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-43_1_2_load_109 | 27 | 0.0014102 | 0.00035342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-43_1_2_load_101 | 30 | 0.0011015 | 0.00027606 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-43_1_2_load_104 | 34 | 0.028311 | 0.0070954 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-43_1_2_load_103 | 35 | 0.0033309 | 0.00083481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-43_1_2_load_52 | 36 | 0.0056784 | 0.0014231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-43_1_2_load_108 | 37 | 0.0016189 | 0.00040574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-43_1_2_load_93 | 41 | 0.00050033 | 0.00012539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-43_1_2_load_53 | 42 | 0.028006 | 0.0070189 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-43_1_2_load_54 | 43 | 0.00091646 | 0.00022969 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-43_1_2_load_97 | 45 | 0.00090502 | 0.00022682 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-43_1_2_load_92 | 46 | 0.00045034 | 0.00011287 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-43_1_2_load_107 | 47 | 0.0010918 | 0.00027364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-43_1_2_line_0 |  | 0 | 1 | 0.004725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-43_1_2_line_1 |  | 0 | 2 | 0.05781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-43_1_2_line_2 |  | 0 | 3 | 0.021221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-43_1_2_line_3 |  | 1 | 4 | 0.038843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-43_1_2_line_4 |  | 2 | 23 | 0.052755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-43_1_2_line_5 |  | 2 | 14 | 0.035736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-43_1_2_line_6 |  | 3 | 38 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-43_1_2_line_7 |  | 4 | 32 | 0.029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-43_1_2_line_8 |  | 5 | 6 | 0.074339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-43_1_2_line_9 |  | 5 | 7 | 0.004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-43_1_2_line_10 |  | 6 | 15 | 0.009522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-43_1_2_line_11 |  | 6 | 16 | 0.003197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-43_1_2_line_12 |  | 6 | 17 | 0.15305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-43_1_2_line_13 |  | 7 | 22 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-43_1_2_line_14 |  | 8 | 9 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-43_1_2_line_15 |  | 8 | 10 | 0.035802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-43_1_2_line_16 |  | 9 | 24 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-43_1_2_line_17 |  | 9 | 20 | 0.008047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-43_1_2_line_18 |  | 11 | 12 | 0.028493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-43_1_2_line_19 |  | 11 | 13 | 0.036872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-43_1_2_line_20 |  | 12 | 14 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-43_1_2_line_21 |  | 13 | 18 | 0.026907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-43_1_2_line_22 |  | 15 | 45 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-43_1_2_line_23 |  | 15 | 44 | 0.048572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-43_1_2_line_24 |  | 16 | 36 | 0.05136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-43_1_2_line_25 |  | 17 | 39 | 0.062162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-43_1_2_line_26 |  | 18 | 19 | 0.072995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-43_1_2_line_27 |  | 20 | 21 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-43_1_2_line_28 |  | 20 | 22 | 0.020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-43_1_2_line_29 |  | 21 | 25 | 0.019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-43_1_2_line_30 |  | 23 | 26 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-43_1_2_line_31 |  | 23 | 27 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-43_1_2_line_32 |  | 25 | 31 | 0.011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-43_1_2_line_33 |  | 26 | 37 | 0.05311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-43_1_2_line_34 |  | 28 | 29 | 0.026282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-43_1_2_line_35 |  | 28 | 30 | 0.018396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-43_1_2_line_36 |  | 29 | 35 | 0.053514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-43_1_2_line_37 |  | 30 | 38 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-43_1_2_line_38 |  | 31 | 32 | 0.039345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-43_1_2_line_39 |  | 33 | 34 | 0.039164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-43_1_2_line_40 |  | 33 | 35 | 0.037557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-43_1_2_line_41 |  | 37 | 47 | 0.0088946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-43_1_2_line_42 |  | 39 | 40 | 0.079301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-43_1_2_line_43 |  | 40 | 41 | 0.0059275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-43_1_2_line_44 |  | 42 | 43 | 0.040967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-43_1_2_line_45 |  | 43 | 44 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-43_1_2_line_46 |  | 45 | 46 | 0.028214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-43_1_2_trafo_105 | 0.63 MVA 20/0.4 kV | 48 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2665509.4212 | 1208811.4301 | 2665513.5465 | 1208813.7546
1 | 2665513.5465 | 1208813.7546 | 2665509.7369 | 1208820.7615 | 2665540.0628 | 1208838.016 | 2665536.6809 | 1208843.4489 | 2665532.2598 | 1208850.7603
2 | 2665513.5465 | 1208813.7546 | 2665532.0427 | 1208824.1575
3 | 2665509.4212 | 1208811.4301 | 2665501.1781 | 1208806.7813 | 2665475.4764 | 1208792.5493
4 | 2665532.2598 | 1208850.7603 | 2665534.4246 | 1208855.7649 | 2665561.9244 | 1208871.4431 | 2665566.4789 | 1208864.4555 | 2665572.7069 | 1208868.4486
5 | 2665532.2598 | 1208850.7603 | 2665513.3725 | 1208881.0972
6 | 2665556.3489 | 1208837.828 | 2665532.0427 | 1208824.1575
7 | 2665449.6318 | 1208778.6321 | 2665466.3962 | 1208787.5213 | 2665475.4764 | 1208792.5493
8 | 2665344.8719 | 1208733.5125 | 2665353.8578 | 1208730.0532 | 2665405.7062 | 1208760.5508 | 2665404.9191 | 1208756.0616
9 | 2665404.9191 | 1208756.0616 | 2665408.7364 | 1208758.0602
10 | 2665344.8719 | 1208733.5125 | 2665336.5046 | 1208738.1015
11 | 2665344.8719 | 1208733.5125 | 2665346.3843 | 1208736.3308
12 | 2665344.8719 | 1208733.5125 | 2665344.4178 | 1208730.5502 | 2665345.2846 | 1208725.6789 | 2665421.1784 | 1208684.8407 | 2665422.4735 | 1208678.351 | 2665420.0749 | 1208673.8553 | 2665407.073 | 1208669.8437 | 2665384.5323 | 1208661.4695 | 2665375.6364 | 1208657.9797
13 | 2665408.7364 | 1208758.0602 | 2665407.8548 | 1208754.5707 | 2665409.1784 | 1208751.7167 | 2665415.0075 | 1208741.2139
14 | 2665419.9742 | 1208723.9403 | 2665420.4101 | 1208719.5535 | 2665421.8768 | 1208715.4448 | 2665420.2491 | 1208710.6574 | 2665422.9035 | 1208707.0843
15 | 2665422.9035 | 1208707.0843 | 2665422.254 | 1208705.3095 | 2665420.4467 | 1208701.6541 | 2665420.4369 | 1208697.696 | 2665422.3909 | 1208692.8256 | 2665425.3282 | 1208689.8003 | 2665430.1348 | 1208690.32 | 2665440.0665 | 1208696.2695
16 | 2665419.9742 | 1208723.9403 | 2665413.6033 | 1208735.696
17 | 2665427.3275 | 1208727.2451 | 2665423.7811 | 1208725.5052 | 2665419.9742 | 1208723.9403
18 | 2665478.4052 | 1208883.356 | 2665493.9351 | 1208893.1768 | 2665502.6361 | 1208898.3421
19 | 2665478.4052 | 1208883.356 | 2665468.4168 | 1208877.0426 | 2665481.1536 | 1208855.4653
20 | 2665502.6361 | 1208898.3421 | 2665513.3725 | 1208881.0972
21 | 2665494.8315 | 1208832.2939 | 2665481.1536 | 1208855.4653
22 | 2665336.5046 | 1208738.1015 | 2665323.9647 | 1208745.1873
23 | 2665377.5913 | 1208764.145 | 2665346.0918 | 1208744.9885 | 2665336.5046 | 1208738.1015
24 | 2665346.3843 | 1208736.3308 | 2665332.0012 | 1208744.6118 | 2665301.6112 | 1208761.4915
25 | 2665317.1086 | 1208639.0177 | 2665321.771 | 1208638.8242 | 2665330.1185 | 1208639.527 | 2665355.2896 | 1208649.9978 | 2665375.6364 | 1208657.9797
26 | 2665494.8315 | 1208832.2939 | 2665484.2839 | 1208824.9737 | 2665454.5856 | 1208873.8334 | 2665453.0216 | 1208876.3681
27 | 2665427.3275 | 1208727.2451 | 2665428.7793 | 1208727.9615 | 2665436.031 | 1208731.5209 | 2665445.7325 | 1208736.2857 | 2665447.3674 | 1208739.7168
28 | 2665427.3275 | 1208727.2451 | 2665424.2742 | 1208727.6786 | 2665422.107 | 1208728.422 | 2665415.0075 | 1208741.2139
29 | 2665447.3674 | 1208739.7168 | 2665437.659 | 1208756.6524
30 | 2665572.7069 | 1208868.4486 | 2665575.1678 | 1208870.0322 | 2665591.1166 | 1208879.0796 | 2665598.9517 | 1208883.4795
31 | 2665572.7069 | 1208868.4486 | 2665565.5846 | 1208880.122 | 2665563.7368 | 1208883.1422
32 | 2665431.9514 | 1208766.6087 | 2665437.659 | 1208756.6524
33 | 2665598.9517 | 1208883.4795 | 2665596.2094 | 1208889.5086 | 2665587.9197 | 1208905.027 | 2665580.6798 | 1208917.0214 | 2665573.4454 | 1208929.2161 | 2665573.1457 | 1208929.8527
34 | 2665595.8722 | 1208820.6072 | 2665572.2587 | 1208808.9295
35 | 2665572.2587 | 1208808.9295 | 2665563.1642 | 1208824.9202
36 | 2665595.8722 | 1208820.6072 | 2665605.3817 | 1208801.3332 | 2665584.3677 | 1208777.1713
37 | 2665556.3489 | 1208837.828 | 2665562.9019 | 1208825.3813 | 2665563.1642 | 1208824.9202
38 | 2665431.9514 | 1208766.6087 | 2665434.2204 | 1208770.447 | 2665439.1898 | 1208769.2897 | 2665434.6266 | 1208775.6991 | 2665436.895 | 1208776.8136 | 2665439.466 | 1208778.0759 | 2665445.8008 | 1208784.8161 | 2665449.6318 | 1208778.6321
39 | 2665559.7215 | 1208748.8329 | 2665540.2414 | 1208727.6394 | 2665533.129 | 1208720.0822
40 | 2665559.7215 | 1208748.8329 | 2665584.3677 | 1208777.1713
41 | 2665569.3569 | 1208937.9 | 2665573.1457 | 1208929.8527
42 | 2665317.1086 | 1208639.0177 | 2665304.836 | 1208670.4693 | 2665302.8055 | 1208675.3946 | 2665287.8157 | 1208712.709
43 | 2665287.8157 | 1208712.709 | 2665285.5679 | 1208718.1937
44 | 2665346.26 | 1208818.1281 | 2665366.8244 | 1208782.6962
45 | 2665377.5913 | 1208764.145 | 2665366.8244 | 1208782.6962
46 | 2665299.4012 | 1208759.0669 | 2665323.9647 | 1208745.1873

## bus_geodata
| x | y | coords
0 | 2665513.5465 | 1208813.7546
1 | 2665509.4212 | 1208811.4301
2 | 2665532.2598 | 1208850.7603
3 | 2665532.0427 | 1208824.1575
4 | 2665475.4764 | 1208792.5493
5 | 2665404.9191 | 1208756.0616
6 | 2665344.8719 | 1208733.5125
7 | 2665408.7364 | 1208758.0602
8 | 2665422.9035 | 1208707.0843
9 | 2665419.9742 | 1208723.9403
10 | 2665440.0665 | 1208696.2695
11 | 2665478.4052 | 1208883.356
12 | 2665502.6361 | 1208898.3421
13 | 2665481.1536 | 1208855.4653
14 | 2665513.3725 | 1208881.0972
15 | 2665336.5046 | 1208738.1015
16 | 2665346.3843 | 1208736.3308
17 | 2665375.6364 | 1208657.9797
18 | 2665494.8315 | 1208832.2939
19 | 2665453.0216 | 1208876.3681
20 | 2665427.3275 | 1208727.2451
21 | 2665447.3674 | 1208739.7168
22 | 2665415.0075 | 1208741.2139
23 | 2665572.7069 | 1208868.4486
24 | 2665413.6033 | 1208735.696
25 | 2665437.659 | 1208756.6524
26 | 2665598.9517 | 1208883.4795
27 | 2665563.7368 | 1208883.1422
28 | 2665572.2587 | 1208808.9295
29 | 2665595.8722 | 1208820.6072
30 | 2665563.1642 | 1208824.9202
31 | 2665431.9514 | 1208766.6087
32 | 2665449.6318 | 1208778.6321
33 | 2665559.7215 | 1208748.8329
34 | 2665533.129 | 1208720.0822
35 | 2665584.3677 | 1208777.1713
36 | 2665301.6112 | 1208761.4915
37 | 2665573.1457 | 1208929.8527
38 | 2665556.3489 | 1208837.828
39 | 2665317.1086 | 1208639.0177
40 | 2665287.8157 | 1208712.709
41 | 2665285.5679 | 1208718.1937
42 | 2665346.26 | 1208818.1281
43 | 2665366.8244 | 1208782.6962
44 | 2665377.5913 | 1208764.145
45 | 2665323.9647 | 1208745.1873
46 | 2665299.4012 | 1208759.0669
47 | 2665569.3569 | 1208937.9
48 | 2665449.6318 | 1208778.6321

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99491 | -0.096592 | 0 | 0
1 | 0.99546 | -0.086068 | 0 | 0
2 | 0.99001 | -0.19025 | 0 | 0
3 | 0.99423 | -0.10968 | 0.0022441 | 0.00056243
4 | 1 | 0 | -0.18561 | -0.047068
5 | 0.99229 | -0.14774 | 0 | 0
6 | 0.98964 | -0.19886 | 0 | 0
7 | 0.99244 | -0.1448 | 0 | 0
8 | 0.99377 | -0.11921 | 0 | 0
9 | 0.99383 | -0.11802 | 0 | 0
10 | 0.99365 | -0.12154 | 0.0036865 | 0.00092393
11 | 0.98332 | -0.31969 | 0 | 0
12 | 0.98554 | -0.27658 | 0 | 0
13 | 0.98046 | -0.37575 | 0.07716 | 0.019338
14 | 0.98712 | -0.24597 | 0.0033204 | 0.00083217
15 | 0.98938 | -0.20399 | 0 | 0
16 | 0.98962 | -0.19919 | 0 | 0
17 | 0.98925 | -0.20643 | 0.0022684 | 0.00056851
18 | 0.98028 | -0.37914 | 0 | 0
19 | 0.97981 | -0.38834 | 0.0069418 | 0.0017398
20 | 0.99389 | -0.1168 | 0 | 0
21 | 0.99504 | -0.094743 | 0 | 0
22 | 0.99311 | -0.13194 | 0.0041247 | 0.0010337
23 | 0.98981 | -0.19412 | 0 | 0
24 | 0.99377 | -0.11919 | 0.0049292 | 0.0012354
25 | 0.99596 | -0.077065 | 0.0034341 | 0.00086067
26 | 0.98974 | -0.19558 | 0 | 0
27 | 0.98979 | -0.19455 | 0.0014102 | 0.00035342
28 | 0.99242 | -0.14454 | 0 | 0
29 | 0.99165 | -0.15927 | 0 | 0
30 | 0.99295 | -0.13424 | 0.0011015 | 0.00027606
31 | 0.99654 | -0.065996 | 0 | 0
32 | 0.99852 | -0.028144 | 0 | 0
33 | 0.98912 | -0.20825 | 0 | 0
34 | 0.98811 | -0.22803 | 0.028311 | 0.0070954
35 | 0.9901 | -0.18933 | 0.0033309 | 0.00083481
36 | 0.98936 | -0.20438 | 0.0056784 | 0.0014231
37 | 0.98961 | -0.19815 | 0.0016189 | 0.00040574
38 | 0.99339 | -0.12579 | 0 | 0
39 | 0.98922 | -0.20698 | 0 | 0
40 | 0.98919 | -0.20769 | 0 | 0
41 | 0.98919 | -0.20775 | 0.00050033 | 0.00012539
42 | 0.98646 | -0.26065 | 0.028006 | 0.0070189
43 | 0.98751 | -0.24013 | 0.00091646 | 0.00022969
44 | 0.98809 | -0.22904 | 0 | 0
45 | 0.98936 | -0.20434 | 0.00090502 | 0.00022682
46 | 0.98935 | -0.20457 | 0.00045034 | 0.00011287
47 | 0.9896 | -0.19832 | 0.0010918 | 0.00027364
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12791 | -0.032586 | 0.12798 | 0.032627 | 6.4975e-05 | 4.1522e-05 | 0.19149 | 0.19149 | 0.19149 | 0.99491 | -0.096592 | 0.99546 | -0.086068 | 52.6083
1 | 0.092726 | 0.023694 | -0.092308 | -0.023428 | 0.00041793 | 0.00026673 | 0.13885 | 0.13885 | 0.13885 | 0.99491 | -0.096592 | 0.99001 | -0.19025 | 38.1446
2 | 0.035184 | 0.0088915 | -0.035162 | -0.0088776 | 2.2058e-05 | 1.3842e-05 | 0.052648 | 0.052649 | 0.052649 | 0.99491 | -0.096592 | 0.99423 | -0.10968 | 14.4639
3 | -0.12798 | -0.032627 | 0.12851 | 0.032969 | 0.00053414 | 0.00034134 | 0.19149 | 0.19149 | 0.19149 | 0.99546 | -0.086068 | 1 | 0 | 52.6083
4 | 0.0041222 | 0.0010316 | -0.0041215 | -0.0010317 | 7.5933e-07 | -1.9224e-07 | 0.0061953 | 0.0061955 | 0.0061955 | 0.99001 | -0.19025 | 0.98981 | -0.19412 | 1.7021
5 | 0.088186 | 0.022396 | -0.08795 | -0.022246 | 0.00023581 | 0.00015046 | 0.13265 | 0.13265 | 0.13265 | 0.99001 | -0.19025 | 0.98712 | -0.24597 | 36.4427
6 | 0.032918 | 0.0083152 | -0.032893 | -0.0082993 | 2.5407e-05 | 1.5899e-05 | 0.04929 | 0.04929 | 0.04929 | 0.99423 | -0.10968 | 0.99339 | -0.12579 | 13.5412
7 | 0.055447 | 0.014099 | -0.055372 | -0.014051 | 7.5066e-05 | 4.7657e-05 | 0.082578 | 0.082578 | 0.082578 | 1 | 0 | 0.99852 | -0.028144 | 22.6864
8 | 0.038907 | 0.0098145 | -0.038812 | -0.0097546 | 9.497e-05 | 5.9823e-05 | 0.058367 | 0.058368 | 0.058368 | 0.99229 | -0.14774 | 0.98964 | -0.19886 | 16.035
9 | -0.038907 | -0.0098145 | 0.038913 | 0.0098179 | 5.4921e-06 | 3.4594e-06 | 0.058367 | 0.058367 | 0.058367 | 0.99229 | -0.14774 | 0.99244 | -0.1448 | 16.0349
10 | 0.030363 | 0.0076405 | -0.030355 | -0.0076359 | 7.4457e-06 | 4.643e-06 | 0.045664 | 0.045664 | 0.045664 | 0.98964 | -0.19886 | 0.98938 | -0.20399 | 12.5451
11 | 0.0056799 | 0.0014234 | -0.0056798 | -0.0014234 | 8.744e-08 | 1.4885e-08 | 0.0085402 | 0.0085402 | 0.0085402 | 0.98964 | -0.19886 | 0.98962 | -0.19919 | 2.3462
12 | 0.0027697 | 0.00069071 | -0.0027688 | -0.00069203 | 9.95e-07 | -1.329e-06 | 0.0041633 | 0.004164 | 0.004164 | 0.98964 | -0.19886 | 0.98925 | -0.20643 | 1.144
13 | -0.038913 | -0.0098179 | 0.038937 | 0.009833 | 2.3963e-05 | 1.5094e-05 | 0.058367 | 0.058367 | 0.058367 | 0.99244 | -0.1448 | 0.99311 | -0.13194 | 16.0349
14 | -0.0036869 | -0.00092373 | 0.0036871 | 0.00092362 | 2.0889e-07 | -1.0315e-07 | 0.0055205 | 0.0055204 | 0.0055205 | 0.99377 | -0.11921 | 0.99383 | -0.11802 | 1.5166
15 | 0.0036869 | 0.00092373 | -0.0036865 | -0.00092393 | 4.0918e-07 | -2.0194e-07 | 0.0055205 | 0.0055207 | 0.0055207 | 0.99377 | -0.11921 | 0.99365 | -0.12154 | 1.5167
16 | 0.0049294 | 0.0012354 | -0.0049292 | -0.0012354 | 2.7314e-07 | 1.5579e-09 | 0.0073806 | 0.0073806 | 0.0073806 | 0.99383 | -0.11802 | 0.99377 | -0.11919 | 2.0276
17 | -0.0086166 | -0.002159 | 0.0086171 | 0.0021592 | 5.0224e-07 | 2.1715e-07 | 0.012901 | 0.012901 | 0.012901 | 0.99383 | -0.11802 | 0.99389 | -0.1168 | 3.5442
18 | -0.084332 | -0.021223 | 0.084506 | 0.021334 | 0.0001741 | 0.00011106 | 0.12765 | 0.12765 | 0.12765 | 0.98332 | -0.31969 | 0.98554 | -0.27658 | 35.0676
19 | 0.084332 | 0.021223 | -0.084106 | -0.021079 | 0.00022529 | 0.00014372 | 0.12765 | 0.12765 | 0.12765 | 0.98332 | -0.31969 | 0.98046 | -0.37575 | 35.0677
20 | -0.084506 | -0.021334 | 0.08463 | 0.021413 | 0.00012412 | 7.9178e-05 | 0.12765 | 0.12765 | 0.12765 | 0.98554 | -0.27658 | 0.98712 | -0.24597 | 35.0676
21 | 0.006946 | 0.0017412 | -0.0069448 | -0.0017408 | 1.1213e-06 | 3.7838e-07 | 0.010542 | 0.010542 | 0.010542 | 0.98046 | -0.37575 | 0.98028 | -0.37914 | 2.8961
22 | 0.0013554 | 0.00033916 | -0.0013554 | -0.00033933 | 2.2441e-08 | -1.706e-07 | 0.0020383 | 0.0020384 | 0.0020384 | 0.98938 | -0.20399 | 0.98936 | -0.20434 | 0.55999
23 | 0.029 | 0.0072967 | -0.028965 | -0.0072752 | 3.4666e-05 | 2.1563e-05 | 0.043626 | 0.043626 | 0.043626 | 0.98938 | -0.20399 | 0.98809 | -0.22904 | 11.9851
24 | 0.0056798 | 0.0014234 | -0.0056784 | -0.0014231 | 1.4048e-06 | 2.3934e-07 | 0.0085402 | 0.0085405 | 0.0085405 | 0.98962 | -0.19919 | 0.98936 | -0.20438 | 2.3463
25 | 0.00050036 | 0.00012352 | -0.00050035 | -0.00012431 | 1.3186e-08 | -7.8962e-07 | 0.00075197 | 0.00075225 | 0.00075225 | 0.98925 | -0.20643 | 0.98922 | -0.20698 | 0.20666
26 | 0.0069448 | 0.0017408 | -0.0069418 | -0.0017398 | 3.0421e-06 | 1.0272e-06 | 0.010542 | 0.010542 | 0.010542 | 0.98028 | -0.37914 | 0.97981 | -0.38834 | 2.8962
27 | -0.05171 | -0.013046 | 0.051764 | 0.01308 | 5.4673e-05 | 3.4675e-05 | 0.077448 | 0.077448 | 0.077448 | 0.99389 | -0.1168 | 0.99504 | -0.094743 | 21.277
28 | 0.043093 | 0.010887 | -0.043061 | -0.010867 | 3.1255e-05 | 1.9744e-05 | 0.064547 | 0.064547 | 0.064547 | 0.99389 | -0.1168 | 0.99311 | -0.13194 | 17.7328
29 | -0.051764 | -0.01308 | 0.051808 | 0.013108 | 4.3909e-05 | 2.7848e-05 | 0.077448 | 0.077448 | 0.077448 | 0.99504 | -0.094743 | 0.99596 | -0.077065 | 21.2769
30 | 0.0027113 | 0.00067853 | -0.0027111 | -0.0006788 | 1.8842e-07 | -2.6818e-07 | 0.0040756 | 0.0040758 | 0.0040758 | 0.98981 | -0.19412 | 0.98974 | -0.19558 | 1.1197
31 | 0.0014102 | 0.00035322 | -0.0014102 | -0.00035342 | 2.9013e-08 | -2.027e-07 | 0.0021199 | 0.00212 | 0.00212 | 0.98981 | -0.19412 | 0.98979 | -0.19455 | 0.58241
32 | -0.055242 | -0.013969 | 0.055272 | 0.013988 | 2.9347e-05 | 1.8633e-05 | 0.082579 | 0.082579 | 0.082579 | 0.99596 | -0.077065 | 0.99654 | -0.065996 | 22.6864
33 | 0.0027111 | 0.0006788 | -0.0027108 | -0.00067927 | 3.3086e-07 | -4.707e-07 | 0.0040758 | 0.004076 | 0.004076 | 0.98974 | -0.19558 | 0.98961 | -0.19815 | 1.1198
34 | 0.031762 | 0.0080051 | -0.03174 | -0.0079911 | 2.2368e-05 | 1.3976e-05 | 0.04764 | 0.04764 | 0.04764 | 0.99242 | -0.14454 | 0.99165 | -0.15927 | 13.0878
35 | -0.031762 | -0.0080051 | 0.031778 | 0.0080149 | 1.5656e-05 | 9.7822e-06 | 0.04764 | 0.047639 | 0.04764 | 0.99242 | -0.14454 | 0.99295 | -0.13424 | 13.0878
36 | 0.03174 | 0.0079911 | -0.031694 | -0.0079627 | 4.5545e-05 | 2.8459e-05 | 0.04764 | 0.04764 | 0.04764 | 0.99165 | -0.15927 | 0.9901 | -0.18933 | 13.0879
37 | -0.032879 | -0.008291 | 0.032893 | 0.0082993 | 1.3299e-05 | 8.3222e-06 | 0.04929 | 0.04929 | 0.04929 | 0.99295 | -0.13424 | 0.99339 | -0.12579 | 13.5412
38 | -0.055272 | -0.013988 | 0.055372 | 0.014051 | 0.00010061 | 6.3879e-05 | 0.082579 | 0.082578 | 0.082579 | 0.99654 | -0.065996 | 0.99852 | -0.028144 | 22.6864
39 | 0.028338 | 0.007112 | -0.028311 | -0.0070954 | 2.6695e-05 | 1.6583e-05 | 0.042634 | 0.042634 | 0.042634 | 0.98912 | -0.20825 | 0.98811 | -0.22803 | 11.7127
40 | -0.028338 | -0.007112 | 0.028363 | 0.0071279 | 2.5599e-05 | 1.5901e-05 | 0.042634 | 0.042634 | 0.042634 | 0.98912 | -0.20825 | 0.9901 | -0.18933 | 11.7126
41 | 0.0010919 | 0.00027353 | -0.0010918 | -0.00027364 | 8.9901e-09 | -1.0852e-07 | 0.0016417 | 0.0016418 | 0.0016418 | 0.98961 | -0.19815 | 0.9896 | -0.19832 | 0.45103
42 | 0.00050035 | 0.00012431 | -0.00050033 | -0.00012532 | 1.6836e-08 | -1.0073e-06 | 0.00075225 | 0.00075261 | 0.00075261 | 0.98922 | -0.20698 | 0.98919 | -0.20769 | 0.20676
43 | 0.00050033 | 0.00012532 | -0.00050033 | -0.00012539 | 1.2591e-09 | -7.5286e-08 | 0.00075261 | 0.00075264 | 0.00075264 | 0.98919 | -0.20769 | 0.98919 | -0.20775 | 0.20677
44 | -0.028006 | -0.0070189 | 0.028033 | 0.007036 | 2.7417e-05 | 1.7023e-05 | 0.042245 | 0.042245 | 0.042245 | 0.98646 | -0.26065 | 0.98751 | -0.24013 | 11.6058
45 | -0.02895 | -0.0072657 | 0.028965 | 0.0072752 | 1.5309e-05 | 9.5229e-06 | 0.043626 | 0.043626 | 0.043626 | 0.98751 | -0.24013 | 0.98809 | -0.22904 | 11.9852
46 | 0.00045034 | 0.00011251 | -0.00045034 | -0.00011287 | 4.8529e-09 | -3.592e-07 | 0.0006772 | 0.00067733 | 0.00067733 | 0.98936 | -0.20434 | 0.98935 | -0.20457 | 0.18608

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21331 | 0.054012

## res_load
| p_mw | q_mvar
0 | 0.0022441 | 0.00056243
1 | 0.027707 | 0.006944
2 | 0.0036865 | 0.00092393
3 | 0.07716 | 0.019338
4 | 0.0033204 | 0.00083217
5 | 0.0022684 | 0.00056851
6 | 0.0069418 | 0.0017398
7 | 0.0041247 | 0.0010337
8 | 0.0049292 | 0.0012354
9 | 0.0034341 | 0.00086067
10 | 0.0014102 | 0.00035342
11 | 0.0011015 | 0.00027606
12 | 0.028311 | 0.0070954
13 | 0.0033309 | 0.00083481
14 | 0.0056784 | 0.0014231
15 | 0.0016189 | 0.00040574
16 | 0.00050033 | 0.00012539
17 | 0.028006 | 0.0070189
18 | 0.00091646 | 0.00022969
19 | 0.00090502 | 0.00022682
20 | 0.00045034 | 0.00011287
21 | 0.0010918 | 0.00027364

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1