## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-4_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1059-4_0_5_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1059-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-4_0_5_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1059-4_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1059-4_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1059-4_0_5_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_1059-4_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1059-4_0_5_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1059-4_0_5_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_1059-4_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1059-4_0_5_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1059-4_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1059-4_0_5_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_1059-4_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1059-4_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1059-4_0_5_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1059-4_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1059-4_0_5_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_1059-4_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1059-4_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1059-4_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1059-4_0_5_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_1059-4_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1059-4_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_1059-4_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1059-4_0_5_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_1059-4_0_5_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1059-4_0_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1059-4_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1059-4_0_5_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_1059-4_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_1059-4_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1059-4_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1059-4_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1059-4_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1059-4_0_5_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_1059-4_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1059-4_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1059-4_0_5_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_1059-4_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1059-4_0_5_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1059-4_0_5_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_1059-4_0_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1059-4_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1059-4_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_1059-4_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1059-4_0_5_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_1059-4_0_5_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_1059-4_0_5_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_1059-4_0_5_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1059-4_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1059-4_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_1059-4_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_1059-4_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_1059-4_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_1059-4_0_5_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_1059-4_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_1059-4_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1059-4_0_5_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_1059-4_0_5_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_1059-4_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1059-4_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1059-4_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1059-4_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1059-4_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1059-4_0_5_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_1059-4_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_MV_24_1_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-4_0_5_load_0 | 0 | 0.0034096 | 0.00085453 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-4_0_5_load_1 | 1 | 0.0055116 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-4_0_5_load_4 | 3 | 0.0020308 | 0.00050897 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-4_0_5_load_54 | 6 | 0.005251 | 0.001316 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-4_0_5_load_45 | 8 | 0.0030984 | 0.00077653 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-4_0_5_load_57 | 9 | 0.0093416 | 0.0023412 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-4_0_5_load_40 | 11 | 0.043051 | 0.01079 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-4_0_5_load_38 | 12 | 0.0032755 | 0.00082091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-4_0_5_load_65 | 16 | 0.014486 | 0.0036307 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-4_0_5_load_34 | 19 | 0.0030688 | 0.00076912 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-4_0_5_load_62 | 21 | 0.0018871 | 0.00047295 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-4_0_5_load_61 | 22 | 0.0014136 | 0.00035429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-4_0_5_load_66 | 25 | 0.0010097 | 0.00025307 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-4_0_5_load_63 | 27 | 0.016059 | 0.0040247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-4_0_5_load_67 | 29 | 0.0052994 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-4_0_5_load_68 | 30 | 0.016015 | 0.0040138 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-4_0_5_load_42 | 31 | 0.035112 | 0.0087999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-4_0_5_load_69 | 34 | 0.044714 | 0.011206 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-4_0_5_load_73 | 39 | 0.031938 | 0.0080044 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-4_0_5_load_75 | 42 | 0.059809 | 0.014989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-4_0_5_load_50 | 44 | 0.0012875 | 0.00032267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-4_0_5_load_52 | 45 | 0.001248 | 0.00031277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-4_0_5_load_55 | 46 | 0.0040211 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-4_0_5_load_53 | 47 | 0.0023536 | 0.00058988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-4_0_5_load_56 | 49 | 0.0034492 | 0.00086444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-4_0_5_load_74 | 50 | 0.0045208 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-4_0_5_load_76 | 52 | 0.035791 | 0.00897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-4_0_5_load_33 | 53 | 0.00224 | 0.00056139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-4_0_5_load_44 | 54 | 0.0054288 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-4_0_5_load_39 | 56 | 0.0098655 | 0.0024725 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-4_0_5_load_64 | 57 | 0.0093378 | 0.0023403 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-4_0_5_load_36 | 58 | 0.0067638 | 0.0016952 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-4_0_5_load_72 | 59 | 0.012761 | 0.0031982 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-4_0_5_load_71 | 60 | 0.008049 | 0.0020173 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-4_0_5_load_77 | 62 | 0.031182 | 0.007815 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-4_0_5_load_58 | 64 | 0.079666 | 0.019966 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-4_0_5_load_48 | 65 | 0.004607 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-4_0_5_load_46 | 66 | 0.0039197 | 0.00098238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-4_0_5_load_47 | 67 | 0.001288 | 0.00032281 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-4_0_5_load_51 | 68 | 0.006591 | 0.0016519 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-4_0_5_load_49 | 69 | 0.0012478 | 0.00031273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-4_0_5_load_60 | 70 | 0.025164 | 0.0063066 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-4_0_5_line_0 |  | 0 | 1 | 0.010564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-4_0_5_line_1 |  | 0 | 2 | 0.020251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-4_0_5_line_2 |  | 2 | 3 | 0.028019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-4_0_5_line_3 |  | 3 | 4 | 0.037479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-4_0_5_line_4 |  | 4 | 47 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1059-4_0_5_line_5 |  | 4 | 26 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1059-4_0_5_line_6 |  | 5 | 6 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-4_0_5_line_7 |  | 5 | 7 | 0.018846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-4_0_5_line_8 |  | 5 | 8 | 0.050922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-4_0_5_line_9 |  | 7 | 9 | 0.029801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-4_0_5_line_10 |  | 8 | 54 | 0.024994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-4_0_5_line_11 |  | 10 | 11 | 0.022662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-4_0_5_line_12 |  | 10 | 12 | 0.042203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-4_0_5_line_13 |  | 11 | 55 | 0.03282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-4_0_5_line_14 |  | 12 | 56 | 0.030486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-4_0_5_line_15 |  | 13 | 14 | 0.034716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1059-4_0_5_line_16 |  | 13 | 15 | 0.047312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1059-4_0_5_line_17 |  | 13 | 16 | 0.0056771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1059-4_0_5_line_18 |  | 14 | 50 | 0.034207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1059-4_0_5_line_19 |  | 15 | 31 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1059-4_0_5_line_20 |  | 16 | 57 | 0.039661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1059-4_0_5_line_21 |  | 17 | 18 | 0.024369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-4_0_5_line_22 |  | 17 | 19 | 0.049388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-4_0_5_line_23 |  | 18 | 23 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-4_0_5_line_24 |  | 19 | 37 | 0.0058755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-4_0_5_line_25 |  | 20 | 21 | 0.016008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-4_0_5_line_26 |  | 20 | 22 | 0.037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-4_0_5_line_27 |  | 22 | 26 | 0.0031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-4_0_5_line_28 |  | 23 | 58 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-4_0_5_line_29 |  | 24 | 25 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-4_0_5_line_30 |  | 24 | 26 | 0.005644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1059-4_0_5_line_31 |  | 24 | 27 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1059-4_0_5_line_32 |  | 25 | 30 | 0.031741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-4_0_5_line_33 |  | 27 | 57 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1059-4_0_5_line_34 |  | 28 | 29 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-4_0_5_line_35 |  | 28 | 30 | 0.036112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-4_0_5_line_36 |  | 31 | 55 | 0.047858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1059-4_0_5_line_37 |  | 32 | 33 | 0.03605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-4_0_5_line_38 |  | 32 | 34 | 0.029646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-4_0_5_line_39 |  | 33 | 59 | 0.02938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-4_0_5_line_40 |  | 34 | 35 | 0.027189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-4_0_5_line_41 |  | 35 | 36 | 0.03967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-4_0_5_line_42 |  | 35 | 37 | 0.016923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-4_0_5_line_43 |  | 36 | 60 | 0.015719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-4_0_5_line_44 |  | 36 | 38 | 0.052334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-4_0_5_line_45 |  | 37 | 53 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-4_0_5_line_46 |  | 38 | 39 | 0.019931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-4_0_5_line_47 |  | 40 | 41 | 0.051214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1059-4_0_5_line_48 |  | 40 | 42 | 0.032113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-4_0_5_line_49 |  | 41 | 46 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-4_0_5_line_50 |  | 41 | 43 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1059-4_0_5_line_51 |  | 42 | 51 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-4_0_5_line_52 |  | 43 | 44 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-4_0_5_line_53 |  | 43 | 45 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1059-4_0_5_line_54 |  | 44 | 65 | 0.00059263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-4_0_5_line_55 |  | 45 | 47 | 0.026206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1059-4_0_5_line_56 |  | 46 | 48 | 0.01357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-4_0_5_line_57 |  | 48 | 49 | 0.037877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-4_0_5_line_58 |  | 50 | 59 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-4_0_5_line_59 |  | 51 | 52 | 0.041627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-4_0_5_line_60 |  | 54 | 66 | 0.00014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-4_0_5_line_61 |  | 55 | 61 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-4_0_5_line_62 |  | 61 | 62 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-4_0_5_line_63 |  | 61 | 63 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-4_0_5_line_64 |  | 63 | 64 | 0.025286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-4_0_5_line_65 |  | 64 | 70 | 0.016572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-4_0_5_line_66 |  | 65 | 69 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-4_0_5_line_67 |  | 66 | 67 | 0.02255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-4_0_5_line_68 |  | 67 | 68 | 8.0048e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-4_0_5_line_69 |  | 68 | 69 | 0.007885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-4_0_5_trafo_41 | 0.63 MVA 20/0.4 kV | 71 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2664314.1128 | 1209359.3637 | 2664315.7029 | 1209360.4409 | 2664324.3434 | 1209360.6674
1 | 2664307.5456 | 1209340.7743 | 2664310.0357 | 1209353.7646 | 2664311.1797 | 1209356.234 | 2664313.7182 | 1209359.0964 | 2664314.1128 | 1209359.3637
2 | 2664307.5456 | 1209340.7743 | 2664296.6619 | 1209343.4365 | 2664285.9034 | 1209345.0549 | 2664279.9769 | 1209345.3782
3 | 2664245.28 | 1209352.1775 | 2664245.419 | 1209351.2673 | 2664246.0362 | 1209349.7175 | 2664247.35 | 1209348.4308 | 2664250.9717 | 1209346.7021 | 2664261.0545 | 1209346.4104 | 2664279.9769 | 1209345.3782
4 | 2664245.28 | 1209352.1775 | 2664243.3322 | 1209365.0533 | 2664243.3138 | 1209365.1764
5 | 2664226.2118 | 1209339.0866 | 2664226.2475 | 1209340.0097 | 2664226.3666 | 1209343.0684 | 2664226.4847 | 1209346.2161 | 2664226.5024 | 1209346.6943 | 2664232.2158 | 1209346.9671 | 2664235.4558 | 1209349.6369 | 2664236.5357 | 1209351.7053 | 2664237.1435 | 1209351.7341 | 2664241.5802 | 1209351.982 | 2664244.6494 | 1209352.1485 | 2664245.28 | 1209352.1775
6 | 2664382.0415 | 1209421.0262 | 2664375.0337 | 1209406.8642 | 2664369.2259 | 1209396.4279
7 | 2664385.2782 | 1209409.8988 | 2664383.383 | 1209412.2353 | 2664387.5226 | 1209421.6858 | 2664382.0415 | 1209421.0262
8 | 2664382.0415 | 1209421.0262 | 2664331.485 | 1209414.937
9 | 2664385.2782 | 1209409.8988 | 2664370.3439 | 1209384.1097
10 | 2664331.485 | 1209414.937 | 2664306.67 | 1209411.9482
11 | 2664109.3609 | 1209384.3248 | 2664127.4268 | 1209398.006
12 | 2664109.3609 | 1209384.3248 | 2664083.6293 | 1209417.7755
13 | 2664153.5912 | 1209417.8203 | 2664127.4268 | 1209398.006
14 | 2664083.6293 | 1209417.7755 | 2664079.1642 | 1209423.58 | 2664072.6953 | 1209435.6179 | 2664068.7203 | 1209441.2342 | 2664067.2058 | 1209443.3679
15 | 2664116.5012 | 1209338.1177 | 2664117.3444 | 1209336.7593 | 2664118.845 | 1209334.3517 | 2664120.1676 | 1209332.2313 | 2664121.1965 | 1209330.5747 | 2664124.5342 | 1209331.9336 | 2664126.8913 | 1209331.87 | 2664129.0313 | 1209330.7923 | 2664133.0594 | 1209324.4984 | 2664134.9055 | 1209321.7721 | 2664135.8961 | 1209322.2609 | 2664140.9168 | 1209324.7497
16 | 2664140.9168 | 1209324.7497 | 2664138.1242 | 1209332.0797 | 2664136.9744 | 1209335.0914 | 2664140.4977 | 1209336.8636 | 2664143.1037 | 1209339.8157 | 2664144.4245 | 1209343.521 | 2664144.3 | 1209347.322 | 2664142.8028 | 1209350.8303 | 2664140.1509 | 1209353.559 | 2664141.0065 | 1209356.7034 | 2664142.5128 | 1209362.2452 | 2664145.3087 | 1209360.9745 | 2664146.1566 | 1209360.5834
17 | 2664140.9168 | 1209324.7497 | 2664145.1665 | 1209326.8299 | 2664146.0133 | 1209327.2504
18 | 2664116.5012 | 1209338.1177 | 2664103.4106 | 1209339.6003 | 2664091.0189 | 1209339.0002 | 2664082.3983 | 1209338.6721
19 | 2664146.1566 | 1209360.5834 | 2664149.2639 | 1209367.1096 | 2664149.5658 | 1209369.4365 | 2664149.6285 | 1209372.4933
20 | 2664146.0133 | 1209327.2504 | 2664146.0133 | 1209327.2504 | 2664145.5664 | 1209331.3481 | 2664146.3038 | 1209334.1688 | 2664147.7318 | 1209336.3966 | 2664150.6118 | 1209338.6067 | 2664155.2694 | 1209340.2244 | 2664161.0555 | 1209340.8092 | 2664176.6494 | 1209340.3523
21 | 2664017.4655 | 1209483.5768 | 2664017.6441 | 1209484.6461 | 2664017.9791 | 1209486.7176 | 2664018.6782 | 1209490.9944 | 2664019.4914 | 1209495.9617 | 2664020.7901 | 1209496.0645 | 2664021.7014 | 1209496.1521 | 2664025.248 | 1209496.4459 | 2664026.6379 | 1209496.5609 | 2664029.3993 | 1209492.8216
22 | 2664017.4655 | 1209483.5768 | 2664020.6391 | 1209483.2218 | 2664032.8753 | 1209469.2445 | 2664045.9566 | 1209455.154 | 2664046.6151 | 1209453.9937 | 2664046.2385 | 1209452.9668 | 2664041.4868 | 1209449.3632
23 | 2664055.5899 | 1209500.9519 | 2664049.5012 | 1209503.0768 | 2664043.9668 | 1209501.7166 | 2664034.3156 | 1209495.8206 | 2664029.3993 | 1209492.8216
24 | 2664043.6375 | 1209444.5894 | 2664043.1583 | 1209445.3291 | 2664041.0164 | 1209448.7082 | 2664040.8851 | 1209448.9069 | 2664041.4868 | 1209449.3632
25 | 2664266.5095 | 1209337.5082 | 2664264.8132 | 1209321.5907
26 | 2664266.5095 | 1209337.5082 | 2664249.078 | 1209338.321 | 2664229.4207 | 1209338.9877 | 2664229.3924 | 1209338.9886
27 | 2664226.2118 | 1209339.0866 | 2664229.3924 | 1209338.9886
28 | 2664055.5899 | 1209500.9519 | 2664059.811 | 1209502.854 | 2664064.3985 | 1209499.6679 | 2664070.3981 | 1209499.4655 | 2664075.0202 | 1209494.4676 | 2664075.8182 | 1209490.9407
29 | 2664220.5544 | 1209339.2591 | 2664214.7277 | 1209325.8531
30 | 2664226.2118 | 1209339.0866 | 2664220.5544 | 1209339.2591
31 | 2664220.5544 | 1209339.2591 | 2664208.6159 | 1209339.631 | 2664197.9484 | 1209339.8634
32 | 2664214.7277 | 1209325.8531 | 2664205.14 | 1209303.7939 | 2664200.598 | 1209297.5904
33 | 2664197.9484 | 1209339.8634 | 2664179.9285 | 1209340.2562 | 2664176.6494 | 1209340.3523
34 | 2664172.7155 | 1209275.1612 | 2664163.0979 | 1209290.1593
35 | 2664172.7155 | 1209275.1612 | 2664196.0903 | 1209291.4335 | 2664200.598 | 1209297.5904
36 | 2664153.5912 | 1209417.8203 | 2664154.4508 | 1209412.1039 | 2664155.6365 | 1209400.8097 | 2664155.2649 | 1209398.6044 | 2664154.3055 | 1209397.3378 | 2664149.7501 | 1209393.2975 | 2664149.8102 | 1209381.3464 | 2664149.6285 | 1209372.4933
37 | 2664057.665 | 1209373.5299 | 2664088.2677 | 1209392.7256
38 | 2664088.2677 | 1209392.7256 | 2664074.1313 | 1209410.9072 | 2664070.3482 | 1209416.334
39 | 2664057.665 | 1209373.5299 | 2664066.4713 | 1209359.0267 | 2664073.6176 | 1209348.8772
40 | 2664054.7995 | 1209438.6388 | 2664070.3482 | 1209416.334
41 | 2664020.1384 | 1209419.3775 | 2664022.8246 | 1209420.5292 | 2664049.3822 | 1209435.5677 | 2664054.7995 | 1209438.6388
42 | 2664043.6375 | 1209444.5894 | 2664043.9391 | 1209444.1145 | 2664047.7971 | 1209438.0633 | 2664049.3822 | 1209435.5677 | 2664054.7995 | 1209438.6388
43 | 2664020.1384 | 1209419.3775 | 2664021.561 | 1209417.1469 | 2664022.574 | 1209415.5457 | 2664028.57 | 1209406.111
44 | 2663972.8065 | 1209397.1788 | 2663977.1441 | 1209399.5712 | 2663987.5373 | 1209405.7641 | 2663993.4449 | 1209408.4846 | 2664004.5128 | 1209412.0166 | 2664012.5262 | 1209416.1272 | 2664020.1384 | 1209419.3775
45 | 2664043.6375 | 1209444.5894 | 2664031.8867 | 1209437.6087
46 | 2663972.8065 | 1209397.1788 | 2663975.8683 | 1209396.6224 | 2663977.9208 | 1209393.0644 | 2663979.321 | 1209390.0887 | 2663980.0994 | 1209383.4263 | 2663980.7242 | 1209380.7844
47 | 2664217.9898 | 1209467.343 | 2664220.4317 | 1209465.0567 | 2664226.5143 | 1209425.3758 | 2664227.3418 | 1209425.4736 | 2664230.2645 | 1209425.8386 | 2664233.2327 | 1209426.2041 | 2664234.1817 | 1209426.3144
48 | 2664217.9898 | 1209467.343 | 2664214.0853 | 1209493.2279 | 2664213.2672 | 1209495.0869 | 2664210.7645 | 1209498.084
49 | 2664234.1817 | 1209426.3144 | 2664233.3301 | 1209431.9865 | 2664232.1226 | 1209439.6448 | 2664231.134 | 1209445.9156
50 | 2664234.1817 | 1209426.3144 | 2664237.573 | 1209403.6259
51 | 2664208.6303 | 1209509.9238 | 2664209.8246 | 1209501.3648 | 2664210.7645 | 1209498.084
52 | 2664237.573 | 1209403.6259 | 2664257.1188 | 1209405.9801
53 | 2664237.573 | 1209403.6259 | 2664239.444 | 1209391.0949
54 | 2664257.1188 | 1209405.9801 | 2664257.7072 | 1209406.051
55 | 2664239.444 | 1209391.0949 | 2664243.3138 | 1209365.1764
56 | 2664229.045 | 1209459.3237 | 2664230.0421 | 1209452.8416 | 2664231.134 | 1209445.9156
57 | 2664229.045 | 1209459.3237 | 2664266.7261 | 1209463.1753
58 | 2664073.6176 | 1209348.8772 | 2664080.8446 | 1209338.613 | 2664082.3983 | 1209338.6721
59 | 2664167.1217 | 1209505.4636 | 2664208.6303 | 1209509.9238
60 | 2664306.5262 | 1209411.9309 | 2664306.67 | 1209411.9482
61 | 2664153.5912 | 1209417.8203 | 2664151.3264 | 1209431.9157
62 | 2664124.3341 | 1209424.0987 | 2664151.3264 | 1209431.9157
63 | 2664148.9407 | 1209453.014 | 2664150.9124 | 1209435.0687 | 2664151.3264 | 1209431.9157
64 | 2664148.9407 | 1209453.014 | 2664123.9812 | 1209448.9645
65 | 2664107.623 | 1209446.3105 | 2664123.9812 | 1209448.9645
66 | 2664257.7072 | 1209406.051 | 2664276.2304 | 1209408.282
67 | 2664306.5262 | 1209411.9309 | 2664284.1383 | 1209409.2344
68 | 2664284.0588 | 1209409.2249 | 2664284.1383 | 1209409.2344
69 | 2664284.0588 | 1209409.2249 | 2664276.2304 | 1209408.282

## bus_geodata
| x | y | coords
0 | 2664314.1128 | 1209359.3637
1 | 2664324.3434 | 1209360.6674
2 | 2664307.5456 | 1209340.7743
3 | 2664279.9769 | 1209345.3782
4 | 2664245.28 | 1209352.1775
5 | 2664382.0415 | 1209421.0262
6 | 2664369.2259 | 1209396.4279
7 | 2664385.2782 | 1209409.8988
8 | 2664331.485 | 1209414.937
9 | 2664370.3439 | 1209384.1097
10 | 2664109.3609 | 1209384.3248
11 | 2664127.4268 | 1209398.006
12 | 2664083.6293 | 1209417.7755
13 | 2664140.9168 | 1209324.7497
14 | 2664116.5012 | 1209338.1177
15 | 2664146.1566 | 1209360.5834
16 | 2664146.0133 | 1209327.2504
17 | 2664017.4655 | 1209483.5768
18 | 2664029.3993 | 1209492.8216
19 | 2664041.4868 | 1209449.3632
20 | 2664266.5095 | 1209337.5082
21 | 2664264.8132 | 1209321.5907
22 | 2664229.3924 | 1209338.9886
23 | 2664055.5899 | 1209500.952
24 | 2664220.5544 | 1209339.2591
25 | 2664214.7277 | 1209325.8531
26 | 2664226.2118 | 1209339.0866
27 | 2664197.9484 | 1209339.8634
28 | 2664172.7155 | 1209275.1612
29 | 2664163.0979 | 1209290.1593
30 | 2664200.598 | 1209297.5904
31 | 2664149.6285 | 1209372.4933
32 | 2664088.2677 | 1209392.7256
33 | 2664057.665 | 1209373.5299
34 | 2664070.3482 | 1209416.334
35 | 2664054.7995 | 1209438.6388
36 | 2664020.1384 | 1209419.3775
37 | 2664043.6375 | 1209444.5894
38 | 2663972.8065 | 1209397.1788
39 | 2663980.7242 | 1209380.7844
40 | 2664217.9898 | 1209467.343
41 | 2664234.1817 | 1209426.3144
42 | 2664210.7645 | 1209498.084
43 | 2664237.573 | 1209403.6259
44 | 2664257.1188 | 1209405.9801
45 | 2664239.444 | 1209391.0949
46 | 2664231.134 | 1209445.9156
47 | 2664243.3138 | 1209365.1764
48 | 2664229.045 | 1209459.3237
49 | 2664266.7261 | 1209463.1753
50 | 2664082.3983 | 1209338.6721
51 | 2664208.6303 | 1209509.9238
52 | 2664167.1217 | 1209505.4636
53 | 2664031.8867 | 1209437.6087
54 | 2664306.67 | 1209411.9482
55 | 2664153.5912 | 1209417.8203
56 | 2664067.2058 | 1209443.3679
57 | 2664176.6494 | 1209340.3523
58 | 2664075.8182 | 1209490.9407
59 | 2664073.6176 | 1209348.8772
60 | 2664028.57 | 1209406.111
61 | 2664151.3264 | 1209431.9157
62 | 2664124.3341 | 1209424.0987
63 | 2664148.9407 | 1209453.014
64 | 2664123.9812 | 1209448.9645
65 | 2664257.7072 | 1209406.051
66 | 2664306.5262 | 1209411.9309
67 | 2664284.1383 | 1209409.2344
68 | 2664284.0588 | 1209409.2249
69 | 2664276.2304 | 1209408.282
70 | 2664107.623 | 1209446.3105
71 | 2664151.3264 | 1209431.9157

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98005 | -0.38173 | 0.0034096 | 0.00085453
1 | 0.98 | -0.38279 | 0.0055116 | 0.0013813
2 | 0.98022 | -0.37845 | 0 | 0
3 | 0.98045 | -0.37392 | 0.0020308 | 0.00050897
4 | 0.98083 | -0.36648 | 0 | 0
5 | 0.97511 | -0.4785 | 0 | 0
6 | 0.97498 | -0.48117 | 0.005251 | 0.001316
7 | 0.97495 | -0.48173 | 0 | 0
8 | 0.9758 | -0.46489 | 0.0030984 | 0.00077653
9 | 0.97469 | -0.48684 | 0.0093416 | 0.0023412
10 | 0.99805 | -0.037411 | 0 | 0
11 | 0.99832 | -0.0322 | 0.043051 | 0.01079
12 | 0.99755 | -0.047121 | 0.0032755 | 0.00082091
13 | 0.98815 | -0.22494 | 0 | 0
14 | 0.98692 | -0.24854 | 0 | 0
15 | 0.99312 | -0.1299 | 0 | 0
16 | 0.98775 | -0.23256 | 0.014486 | 0.0036307
17 | 0.97321 | -0.51549 | 0 | 0
18 | 0.97305 | -0.51852 | 0 | 0
19 | 0.97352 | -0.50934 | 0.0030688 | 0.00076912
20 | 0.98217 | -0.34037 | 0 | 0
21 | 0.98215 | -0.34091 | 0.0018871 | 0.00047295
22 | 0.98224 | -0.3391 | 0.0014136 | 0.00035429
23 | 0.97287 | -0.52216 | 0 | 0
24 | 0.98253 | -0.33337 | 0 | 0
25 | 0.98223 | -0.33926 | 0.0010097 | 0.00025307
26 | 0.98225 | -0.33891 | 0 | 0
27 | 0.98383 | -0.30818 | 0.016059 | 0.0040247
28 | 0.98143 | -0.35496 | 0 | 0
29 | 0.98134 | -0.35667 | 0.0052994 | 0.0013281
30 | 0.98161 | -0.3515 | 0.016015 | 0.0040138
31 | 0.99445 | -0.10469 | 0.035112 | 0.0087999
32 | 0.97776 | -0.42607 | 0 | 0
33 | 0.98101 | -0.36267 | 0 | 0
34 | 0.97508 | -0.47853 | 0.044714 | 0.011206
35 | 0.97376 | -0.50452 | 0 | 0
36 | 0.97228 | -0.53372 | 0 | 0
37 | 0.97357 | -0.50827 | 0 | 0
38 | 0.97072 | -0.56459 | 0 | 0
39 | 0.97012 | -0.57637 | 0.031938 | 0.0080044
40 | 0.97621 | -0.45684 | 0 | 0
41 | 0.97773 | -0.42704 | 0 | 0
42 | 0.97334 | -0.51316 | 0.059809 | 0.014989
43 | 0.97846 | -0.41267 | 0 | 0
44 | 0.97769 | -0.42776 | 0.0012875 | 0.00032267
45 | 0.97903 | -0.40152 | 0.001248 | 0.00031277
46 | 0.97759 | -0.42974 | 0.0040211 | 0.0010078
47 | 0.98022 | -0.37829 | 0.0023536 | 0.00058988
48 | 0.97755 | -0.43059 | 0 | 0
49 | 0.97743 | -0.43298 | 0.0034492 | 0.00086444
50 | 0.9851 | -0.28351 | 0.0045208 | 0.001133
51 | 0.97294 | -0.5211 | 0 | 0
52 | 0.97155 | -0.54857 | 0.035791 | 0.00897
53 | 0.97354 | -0.50884 | 0.00224 | 0.00056139
54 | 0.97622 | -0.4568 | 0.0054288 | 0.0013606
55 | 1 | 0 | -0.57669 | -0.14739
56 | 0.99728 | -0.052391 | 0.0098655 | 0.0024725
57 | 0.98516 | -0.28246 | 0.0093378 | 0.0023403
58 | 0.9727 | -0.52548 | 0.0067638 | 0.0016952
59 | 0.98366 | -0.31131 | 0.012761 | 0.0031982
60 | 0.97216 | -0.53606 | 0.008049 | 0.0020173
61 | 0.99823 | -0.033908 | 0 | 0
62 | 0.99743 | -0.049207 | 0.031182 | 0.007815
63 | 0.9962 | -0.072922 | 0 | 0
64 | 0.99378 | -0.11959 | 0.079666 | 0.019966
65 | 0.97767 | -0.4282 | 0.004607 | 0.0011546
66 | 0.97622 | -0.45674 | 0.0039197 | 0.00098238
67 | 0.97679 | -0.44559 | 0.001288 | 0.00032281
68 | 0.97679 | -0.44555 | 0.006591 | 0.0016519
69 | 0.97704 | -0.44052 | 0.0012478 | 0.00031273
70 | 0.9934 | -0.12695 | 0.025164 | 0.0063066
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0055119 | 0.0013814 | -0.0055116 | -0.0013813 | 2.7745e-07 | 4.4457e-08 | 0.0083688 | 0.0083688 | 0.0083688 | 0.98005 | -0.38173 | 0.98 | -0.38279 | 2.2991
1 | -0.0089216 | -0.0022359 | 0.0089229 | 0.0022366 | 1.3934e-06 | 6.3653e-07 | 0.013546 | 0.013546 | 0.013546 | 0.98005 | -0.38173 | 0.98022 | -0.37845 | 3.7213
2 | -0.0089229 | -0.0022366 | 0.0089249 | 0.0022374 | 1.9279e-06 | 8.8056e-07 | 0.013546 | 0.013545 | 0.013546 | 0.98022 | -0.37845 | 0.98045 | -0.37392 | 3.7213
3 | -0.010956 | -0.0027464 | 0.01096 | 0.0027484 | 3.8857e-06 | 2.014e-06 | 0.016628 | 0.016627 | 0.016628 | 0.98045 | -0.37392 | 0.98083 | -0.36648 | 4.568
4 | 0.14968 | 0.037875 | -0.1496 | -0.037821 | 8.4838e-05 | 5.3799e-05 | 0.22721 | 0.22721 | 0.22721 | 0.98083 | -0.36648 | 0.98022 | -0.37829 | 20.807
5 | -0.16064 | -0.040623 | 0.16085 | 0.040758 | 0.00021272 | 0.00013506 | 0.24384 | 0.24384 | 0.24384 | 0.98083 | -0.36648 | 0.98225 | -0.33891 | 22.3296
6 | 0.0052517 | 0.0013161 | -0.005251 | -0.001316 | 6.6822e-07 | 8.1611e-08 | 0.008014 | 0.0080142 | 0.0080142 | 0.97511 | -0.4785 | 0.97498 | -0.48117 | 2.2017
7 | 0.0093453 | 0.002343 | -0.0093439 | -0.0023423 | 1.4374e-06 | 6.8487e-07 | 0.014261 | 0.014261 | 0.014261 | 0.97511 | -0.4785 | 0.97495 | -0.48173 | 3.9179
8 | -0.014597 | -0.0036591 | 0.014607 | 0.0036645 | 9.4749e-06 | 5.4283e-06 | 0.022275 | 0.022275 | 0.022275 | 0.97511 | -0.4785 | 0.9758 | -0.46489 | 6.1196
9 | 0.0093439 | 0.0023423 | -0.0093416 | -0.0023412 | 2.2729e-06 | 1.0831e-06 | 0.014261 | 0.014261 | 0.014261 | 0.97495 | -0.48173 | 0.97469 | -0.48684 | 3.918
10 | -0.017705 | -0.0044411 | 0.017712 | 0.0044451 | 6.8327e-06 | 4.0606e-06 | 0.027 | 0.027 | 0.027 | 0.9758 | -0.46489 | 0.97622 | -0.4568 | 7.4175
11 | -0.01315 | -0.003298 | 0.013153 | 0.0032998 | 3.2665e-06 | 1.7944e-06 | 0.019606 | 0.019606 | 0.019606 | 0.99805 | -0.037411 | 0.99832 | -0.0322 | 5.3862
12 | 0.01315 | 0.003298 | -0.013143 | -0.0032946 | 6.0834e-06 | 3.3421e-06 | 0.019606 | 0.019606 | 0.019606 | 0.99805 | -0.037411 | 0.99755 | -0.047121 | 5.3863
13 | -0.056204 | -0.014089 | 0.056291 | 0.014144 | 8.6377e-05 | 5.4851e-05 | 0.083774 | 0.083774 | 0.083774 | 0.99832 | -0.0322 | 1 | 0 | 23.015
14 | 0.009868 | 0.0024737 | -0.0098655 | -0.0024725 | 2.4772e-06 | 1.1875e-06 | 0.01472 | 0.01472 | 0.01472 | 0.99755 | -0.047121 | 0.99728 | -0.052391 | 4.044
15 | 0.11551 | 0.029505 | -0.11537 | -0.029422 | 0.00013159 | 8.2883e-05 | 0.17414 | 0.17414 | 0.17414 | 0.98815 | -0.22494 | 0.98692 | -0.24854 | 15.9465
16 | -0.343 | -0.087402 | 0.34458 | 0.088412 | 0.0015809 | 0.00101 | 0.51703 | 0.51703 | 0.51703 | 0.98815 | -0.22494 | 0.99312 | -0.1299 | 47.3471
17 | 0.2275 | 0.057897 | -0.22741 | -0.057844 | 8.3437e-05 | 5.3181e-05 | 0.3429 | 0.3429 | 0.3429 | 0.98815 | -0.22494 | 0.98775 | -0.23256 | 31.4007
18 | 0.11537 | 0.029422 | -0.11518 | -0.029299 | 0.00019449 | 0.0001236 | 0.17414 | 0.17414 | 0.17414 | 0.98692 | -0.24854 | 0.9851 | -0.28351 | 23.9198
19 | -0.34458 | -0.088412 | 0.34501 | 0.088682 | 0.0004221 | 0.00026965 | 0.51703 | 0.51703 | 0.51703 | 0.99312 | -0.1299 | 0.99445 | -0.10469 | 47.3471
20 | 0.21293 | 0.054213 | -0.21242 | -0.053887 | 0.00051107 | 0.00032556 | 0.32107 | 0.32107 | 0.32107 | 0.98775 | -0.23256 | 0.98516 | -0.28246 | 29.4023
21 | 0.006767 | 0.0016962 | -0.006766 | -0.0016959 | 9.7835e-07 | 3.2338e-07 | 0.010347 | 0.010347 | 0.010347 | 0.97321 | -0.51549 | 0.97305 | -0.51852 | 2.8425
22 | -0.006767 | -0.0016962 | 0.006769 | 0.0016969 | 1.9827e-06 | 6.5504e-07 | 0.010347 | 0.010347 | 0.010347 | 0.97321 | -0.51549 | 0.97352 | -0.50934 | 2.8425
23 | 0.006766 | 0.0016959 | -0.0067649 | -0.0016955 | 1.173e-06 | 3.8784e-07 | 0.010347 | 0.010347 | 0.010347 | 0.97305 | -0.51852 | 0.97287 | -0.52216 | 2.8426
24 | -0.0098378 | -0.002466 | 0.0098383 | 0.0024663 | 4.9821e-07 | 2.4579e-07 | 0.015037 | 0.015037 | 0.015037 | 0.97352 | -0.50934 | 0.97357 | -0.50827 | 4.1311
25 | 0.0018871 | 0.00047278 | -0.0018871 | -0.00047295 | 4.9068e-08 | -1.7118e-07 | 0.002859 | 0.0028591 | 0.0028591 | 0.98217 | -0.34037 | 0.98215 | -0.34091 | 0.78546
26 | -0.0018871 | -0.00047278 | 0.0018873 | 0.00047238 | 1.1386e-07 | -3.9729e-07 | 0.002859 | 0.0028588 | 0.002859 | 0.98217 | -0.34037 | 0.98224 | -0.3391 | 0.78544
27 | -0.0033009 | -0.00082667 | 0.0033009 | 0.00082665 | 2.9836e-08 | -2.1182e-08 | 0.0050004 | 0.0050003 | 0.0050004 | 0.98224 | -0.3391 | 0.98225 | -0.33891 | 1.3737
28 | 0.0067649 | 0.0016955 | -0.0067638 | -0.0016952 | 1.0696e-06 | 3.538e-07 | 0.010347 | 0.010347 | 0.010347 | 0.97287 | -0.52216 | 0.9727 | -0.52548 | 2.8426
29 | 0.022344 | 0.0056065 | -0.022338 | -0.0056027 | 6.2779e-06 | 3.8328e-06 | 0.033842 | 0.033842 | 0.033842 | 0.98253 | -0.33337 | 0.98223 | -0.33926 | 9.2972
30 | 0.1642 | 0.041612 | -0.16416 | -0.041585 | 4.3685e-05 | 2.7744e-05 | 0.24884 | 0.24884 | 0.24884 | 0.98253 | -0.33337 | 0.98225 | -0.33891 | 22.7875
31 | -0.18654 | -0.047219 | 0.18677 | 0.047363 | 0.00022589 | 0.00014371 | 0.28268 | 0.28268 | 0.28268 | 0.98253 | -0.33337 | 0.98383 | -0.30818 | 25.8866
32 | 0.021328 | 0.0053496 | -0.021316 | -0.0053421 | 1.2428e-05 | 7.5522e-06 | 0.032312 | 0.032312 | 0.032312 | 0.98223 | -0.33926 | 0.98161 | -0.3515 | 8.877
33 | -0.20283 | -0.051387 | 0.20308 | 0.051547 | 0.00025094 | 0.00015979 | 0.30697 | 0.30697 | 0.30697 | 0.98383 | -0.30818 | 0.98516 | -0.28246 | 28.1107
34 | 0.0052998 | 0.0013282 | -0.0052994 | -0.0013281 | 4.314e-07 | 5.0969e-08 | 0.0080353 | 0.0080354 | 0.0080354 | 0.98143 | -0.35496 | 0.98134 | -0.35667 | 2.2075
35 | -0.0052998 | -0.0013282 | 0.0053007 | 0.0013283 | 8.7434e-07 | 1.0317e-07 | 0.0080353 | 0.0080352 | 0.0080353 | 0.98143 | -0.35496 | 0.98161 | -0.3515 | 2.2075
36 | -0.38012 | -0.097482 | 0.38206 | 0.098722 | 0.0019407 | 0.0012402 | 0.56957 | 0.56957 | 0.56957 | 0.99445 | -0.10469 | 1 | 0 | 52.1582
37 | -0.097212 | -0.02453 | 0.097508 | 0.024719 | 0.00029613 | 0.00018907 | 0.148 | 0.148 | 0.148 | 0.97776 | -0.42607 | 0.98101 | -0.36267 | 40.6604
38 | 0.097212 | 0.02453 | -0.096969 | -0.024374 | 0.00024352 | 0.00015548 | 0.148 | 0.148 | 0.148 | 0.97776 | -0.42607 | 0.97508 | -0.47853 | 40.6604
39 | -0.097508 | -0.024719 | 0.09775 | 0.024873 | 0.00024134 | 0.00015409 | 0.148 | 0.148 | 0.148 | 0.98101 | -0.36267 | 0.98366 | -0.31131 | 40.6604
40 | 0.052254 | 0.013168 | -0.052189 | -0.013127 | 6.4877e-05 | 4.1183e-05 | 0.079768 | 0.079768 | 0.079768 | 0.97508 | -0.47853 | 0.97376 | -0.50452 | 21.9143
41 | 0.040109 | 0.010098 | -0.040053 | -0.010063 | 5.5914e-05 | 3.5292e-05 | 0.061307 | 0.061308 | 0.061308 | 0.97376 | -0.50452 | 0.97228 | -0.53372 | 16.8428
42 | 0.012081 | 0.0030287 | -0.012078 | -0.0030275 | 2.1627e-06 | 1.1737e-06 | 0.018461 | 0.018461 | 0.018461 | 0.97376 | -0.50452 | 0.97357 | -0.50827 | 5.0717
43 | 0.0080499 | 0.0020176 | -0.008049 | -0.0020173 | 8.947e-07 | 3.7769e-07 | 0.01232 | 0.01232 | 0.01232 | 0.97228 | -0.53372 | 0.97216 | -0.53606 | 3.3846
44 | 0.032003 | 0.0080452 | -0.031956 | -0.0080157 | 4.7097e-05 | 2.9494e-05 | 0.048988 | 0.048988 | 0.048988 | 0.97228 | -0.53372 | 0.97072 | -0.56459 | 13.4582
45 | 0.00224 | 0.00056126 | -0.00224 | -0.00056139 | 6.0078e-08 | -1.3151e-07 | 0.0034236 | 0.0034237 | 0.0034237 | 0.97357 | -0.50827 | 0.97354 | -0.50884 | 0.94057
46 | 0.031956 | 0.0080157 | -0.031938 | -0.0080044 | 1.7936e-05 | 1.1233e-05 | 0.048988 | 0.048988 | 0.048988 | 0.97072 | -0.56459 | 0.97012 | -0.57637 | 13.4583
47 | -0.095917 | -0.024162 | 0.096054 | 0.024248 | 0.00013693 | 8.5709e-05 | 0.14625 | 0.14625 | 0.14625 | 0.97621 | -0.45684 | 0.97773 | -0.42704 | 13.3928
48 | 0.095917 | 0.024162 | -0.09566 | -0.023997 | 0.00025758 | 0.00016445 | 0.14625 | 0.14625 | 0.14625 | 0.97621 | -0.45684 | 0.97334 | -0.51316 | 40.1785
49 | 0.0074718 | 0.0018723 | -0.0074708 | -0.0018719 | 9.6189e-07 | 3.6686e-07 | 0.011371 | 0.011371 | 0.011371 | 0.97773 | -0.42704 | 0.97759 | -0.42974 | 3.124
50 | -0.10353 | -0.02612 | 0.1036 | 0.026165 | 7.1253e-05 | 4.4738e-05 | 0.15762 | 0.15762 | 0.15762 | 0.97773 | -0.42704 | 0.97846 | -0.41267 | 14.4341
51 | 0.035851 | 0.009008 | -0.035837 | -0.0089995 | 1.3583e-05 | 8.5436e-06 | 0.054816 | 0.054816 | 0.054816 | 0.97334 | -0.51316 | 0.97294 | -0.5211 | 15.0594
52 | 0.042157 | 0.0106 | -0.042127 | -0.010581 | 3.0356e-05 | 1.9181e-05 | 0.064124 | 0.064124 | 0.064124 | 0.97846 | -0.41267 | 0.97769 | -0.42776 | 17.6164
53 | -0.14575 | -0.036765 | 0.14583 | 0.036814 | 7.7873e-05 | 4.9361e-05 | 0.22174 | 0.22174 | 0.22174 | 0.97846 | -0.41267 | 0.97903 | -0.40152 | 20.3062
54 | 0.040839 | 0.010258 | -0.040838 | -0.010258 | 8.5881e-07 | 5.4221e-07 | 0.062164 | 0.062164 | 0.062164 | 0.97769 | -0.42776 | 0.97767 | -0.4282 | 17.0781
55 | -0.14708 | -0.037127 | 0.14724 | 0.037231 | 0.00016383 | 0.00010386 | 0.22364 | 0.22364 | 0.22364 | 0.97903 | -0.40152 | 0.98022 | -0.37829 | 20.4799
56 | 0.0034497 | 0.00086414 | -0.0034495 | -0.00086422 | 1.403e-07 | -8.034e-08 | 0.0052507 | 0.0052508 | 0.0052508 | 0.97759 | -0.42974 | 0.97755 | -0.43059 | 1.4425
57 | 0.0034495 | 0.00086422 | -0.0034492 | -0.00086444 | 3.9163e-07 | -2.2416e-07 | 0.0052508 | 0.0052509 | 0.0052509 | 0.97755 | -0.43059 | 0.97743 | -0.43298 | 1.4426
58 | 0.11066 | 0.028166 | -0.11051 | -0.028071 | 0.00014809 | 9.4599e-05 | 0.16731 | 0.16731 | 0.16731 | 0.9851 | -0.28351 | 0.98366 | -0.31131 | 45.9635
59 | 0.035837 | 0.0089995 | -0.035791 | -0.00897 | 4.6906e-05 | 2.9503e-05 | 0.054816 | 0.054816 | 0.054816 | 0.97294 | -0.5211 | 0.97155 | -0.54857 | 15.0595
60 | -0.023141 | -0.0058057 | 0.023141 | 0.0058058 | 6.7574e-08 | 4.1436e-08 | 0.035275 | 0.035275 | 0.035275 | 0.97622 | -0.4568 | 0.97622 | -0.45674 | 9.6908
61 | 0.13669 | 0.034524 | -0.13647 | -0.034382 | 0.00022173 | 0.00014172 | 0.2035 | 0.2035 | 0.2035 | 1 | 0 | 0.99823 | -0.033908 | 55.9059
62 | 0.031205 | 0.0078292 | -0.031182 | -0.007815 | 2.2743e-05 | 1.419e-05 | 0.046519 | 0.046519 | 0.046519 | 0.99823 | -0.033908 | 0.99743 | -0.049207 | 12.78
63 | 0.10527 | 0.026553 | -0.10507 | -0.026427 | 0.00019621 | 0.0001253 | 0.15698 | 0.15698 | 0.15698 | 0.99823 | -0.033908 | 0.9962 | -0.072922 | 43.126
64 | 0.10507 | 0.026427 | -0.10484 | -0.026278 | 0.00023366 | 0.00014922 | 0.15698 | 0.15698 | 0.15698 | 0.9962 | -0.072922 | 0.99378 | -0.11959 | 43.126
65 | 0.025172 | 0.006312 | -0.025164 | -0.0063066 | 8.8291e-06 | 5.436e-06 | 0.037693 | 0.037693 | 0.037693 | 0.99378 | -0.11959 | 0.9934 | -0.12695 | 10.3551
66 | 0.036231 | 0.0091032 | -0.03621 | -0.0090898 | 2.1281e-05 | 1.3386e-05 | 0.055152 | 0.055152 | 0.055152 | 0.97767 | -0.4282 | 0.97704 | -0.44052 | 15.1518
67 | -0.02706 | -0.0067881 | 0.027075 | 0.0067971 | 1.4388e-05 | 8.9263e-06 | 0.041249 | 0.041249 | 0.041249 | 0.97622 | -0.45674 | 0.97679 | -0.44559 | 11.3322
68 | -0.028363 | -0.0071199 | 0.028363 | 0.0071199 | 5.605e-08 | 3.4872e-08 | 0.043211 | 0.043211 | 0.043211 | 0.97679 | -0.44559 | 0.97679 | -0.44555 | 11.8713
69 | -0.034954 | -0.0087718 | 0.034962 | 0.008777 | 8.385e-06 | 5.2677e-06 | 0.053252 | 0.053252 | 0.053252 | 0.97679 | -0.44555 | 0.97704 | -0.44052 | 14.6297

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57669 | 0.14739

## res_load
| p_mw | q_mvar
0 | 0.0034096 | 0.00085453
1 | 0.0055116 | 0.0013813
2 | 0.0020308 | 0.00050897
3 | 0.005251 | 0.001316
4 | 0.0030984 | 0.00077653
5 | 0.0093416 | 0.0023412
6 | 0.043051 | 0.01079
7 | 0.0032755 | 0.00082091
8 | 0.014486 | 0.0036307
9 | 0.0030688 | 0.00076912
10 | 0.0018871 | 0.00047295
11 | 0.0014136 | 0.00035429
12 | 0.0010097 | 0.00025307
13 | 0.016059 | 0.0040247
14 | 0.0052994 | 0.0013281
15 | 0.016015 | 0.0040138
16 | 0.035112 | 0.0087999
17 | 0.044714 | 0.011206
18 | 0.031938 | 0.0080044
19 | 0.059809 | 0.014989
20 | 0.0012875 | 0.00032267
21 | 0.001248 | 0.00031277
22 | 0.0040211 | 0.0010078
23 | 0.0023536 | 0.00058988
24 | 0.0034492 | 0.00086444
25 | 0.0045208 | 0.001133
26 | 0.035791 | 0.00897
27 | 0.00224 | 0.00056139
28 | 0.0054288 | 0.0013606
29 | 0.0098655 | 0.0024725
30 | 0.0093378 | 0.0023403
31 | 0.0067638 | 0.0016952
32 | 0.012761 | 0.0031982
33 | 0.008049 | 0.0020173
34 | 0.031182 | 0.007815
35 | 0.079666 | 0.019966
36 | 0.004607 | 0.0011546
37 | 0.0039197 | 0.00098238
38 | 0.001288 | 0.00032281
39 | 0.006591 | 0.0016519
40 | 0.0012478 | 0.00031273
41 | 0.025164 | 0.0063066

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1