## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-52_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-52_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-52_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-52_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1059-52_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1059-52_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1059-52_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1059-52_0_5_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_1059-52_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1059-52_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1059-52_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1059-52_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1059-52_0_5_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1059-52_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1059-52_0_5_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1059-52_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1059-52_0_5_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_1059-52_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_1059-52_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1059-52_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1059-52_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1059-52_0_5_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_1059-52_0_5_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1059-52_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1059-52_0_5_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_1059-52_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1059-52_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1059-52_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1059-52_0_5_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_1059-52_0_5_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1059-52_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1059-52_0_5_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1059-52_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1059-52_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1059-52_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1059-52_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1059-52_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1059-52_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1059-52_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1059-52_0_5_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1059-52_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1059-52_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1059-52_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1059-52_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1059-52_0_5_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1059-52_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1059-52_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1059-52_0_5_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_1059-52_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1059-52_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1059-52_0_5_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_1059-52_0_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1059-52_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1059-52_0_5_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_1059-52_0_5_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_1059-52_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1059-52_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_1059-52_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_1059-52_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_1059-52_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1059-52_0_5_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_1059-52_0_5_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1059-52_0_5_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_1059-52_0_5_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1059-52_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_1059-52_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_1059-52_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1059-52_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1059-52_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_1059-52_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_1059-52_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_1059-52_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_1059-52_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_1059-52_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1059-52_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_1059-52_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_1059-52_0_5_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_1059-52_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_1059-52_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_1059-52_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_MV_24_1_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-52_0_5_load_0 | 0 | 0.017097 | 0.004285 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-52_0_5_load_5 | 4 | 0.0042873 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-52_0_5_load_3 | 6 | 0.010028 | 0.0025133 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-52_0_5_load_74 | 7 | 0.0090375 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-52_0_5_load_15 | 9 | 0.0080441 | 0.002016 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-52_0_5_load_12 | 10 | 0.0076739 | 0.0019233 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-52_0_5_load_30 | 12 | 0.0072763 | 0.0018236 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-52_0_5_load_29 | 14 | 0.0020201 | 0.00050627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-52_0_5_load_77 | 16 | 0.0014064 | 0.00035247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-52_0_5_load_13 | 19 | 0.0065656 | 0.0016455 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-52_0_5_load_42 | 21 | 0.0027494 | 0.00068907 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-52_0_5_load_25 | 22 | 0.0032988 | 0.00082676 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-52_0_5_load_76 | 24 | 0.0010654 | 0.00026702 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-52_0_5_load_14 | 25 | 0.0092856 | 0.0023272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-52_0_5_load_16 | 26 | 0.011129 | 0.0027892 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-52_0_5_load_44 | 27 | 0.009732 | 0.0024391 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-52_0_5_load_58 | 28 | 0.0093024 | 0.0023314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-52_0_5_load_56 | 29 | 0.012265 | 0.0030738 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-52_0_5_load_43 | 30 | 0.011318 | 0.0028366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-52_0_5_load_18 | 32 | 0.01014 | 0.0025413 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-52_0_5_load_20 | 34 | 0.0036893 | 0.00092463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-52_0_5_load_21 | 35 | 0.0063407 | 0.0015891 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-52_0_5_load_22 | 36 | 0.0045278 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-52_0_5_load_23 | 37 | 0.0081936 | 0.0020535 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-52_0_5_load_24 | 38 | 0.002648 | 0.00066366 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-52_0_5_load_60 | 39 | 0.0018679 | 0.00046813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-52_0_5_load_41 | 41 | 0.0062123 | 0.001557 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-52_0_5_load_55 | 44 | 0.010666 | 0.0026732 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-52_0_5_load_79 | 47 | 0.0025671 | 0.00064337 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-52_0_5_load_78 | 50 | 0.011213 | 0.0028104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-52_0_5_load_54 | 51 | 0.0069634 | 0.0017452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-52_0_5_load_81 | 53 | 0.0024203 | 0.0006066 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-52_0_5_load_71 | 54 | 0.00705 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-52_0_5_load_59 | 56 | 0.0092169 | 0.00231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-52_0_5_load_61 | 57 | 0.014702 | 0.0036846 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-52_0_5_load_82 | 58 | 0.0045875 | 0.0011497 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-52_0_5_load_62 | 59 | 0.0019892 | 0.00049855 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-52_0_5_load_80 | 60 | 0.0023354 | 0.00058531 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-52_0_5_load_72 | 63 | 0.012025 | 0.0030136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-52_0_5_load_63 | 64 | 0.0015795 | 0.00039585 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-52_0_5_load_45 | 65 | 0.011251 | 0.0028197 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-52_0_5_load_46 | 66 | 0.011287 | 0.0028288 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-52_0_5_load_47 | 67 | 0.010226 | 0.0025629 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-52_0_5_load_52 | 68 | 0.011085 | 0.0027781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-52_0_5_load_48 | 69 | 0.010442 | 0.0026171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-52_0_5_load_49 | 70 | 0.010851 | 0.0027195 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-52_0_5_load_50 | 71 | 0.0091494 | 0.0022931 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-52_0_5_load_51 | 72 | 0.010681 | 0.0026769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-52_0_5_load_64 | 73 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-52_0_5_load_73 | 74 | 0.0020744 | 0.0005199 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-52_0_5_load_65 | 75 | 0.0057412 | 0.0014389 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-52_0_5_load_66 | 76 | 0.013928 | 0.0034907 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-52_0_5_load_68 | 78 | 0.0043575 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-52_0_5_load_70 | 79 | 0.011683 | 0.0029281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-52_0_5_line_0 |  | 0 | 1 | 0.034215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-52_0_5_line_1 |  | 0 | 2 | 0.082006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1059-52_0_5_line_2 |  | 1 | 3 | 0.025554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-52_0_5_line_3 |  | 1 | 4 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-52_0_5_line_4 |  | 2 | 5 | 0.0063538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1059-52_0_5_line_5 |  | 3 | 6 | 0.030728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-52_0_5_line_6 |  | 5 | 7 | 0.18044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1059-52_0_5_line_7 |  | 7 | 17 | 0.23114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1059-52_0_5_line_8 |  | 8 | 9 | 0.016572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-52_0_5_line_9 |  | 8 | 10 | 0.028992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-52_0_5_line_10 |  | 9 | 18 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-52_0_5_line_11 |  | 10 | 19 | 0.028864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-52_0_5_line_12 |  | 11 | 12 | 0.028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1059-52_0_5_line_13 |  | 11 | 13 | 0.003581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1059-52_0_5_line_14 |  | 12 | 20 | 0.040972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1059-52_0_5_line_15 |  | 13 | 14 | 0.054578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-52_0_5_line_16 |  | 13 | 15 | 0.25186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1059-52_0_5_line_17 |  | 14 | 21 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-52_0_5_line_18 |  | 15 | 16 | 0.14482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1059-52_0_5_line_19 |  | 16 | 24 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1059-52_0_5_line_20 |  | 17 | 24 | 0.1461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1059-52_0_5_line_21 |  | 18 | 28 | 0.030765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-52_0_5_line_22 |  | 18 | 29 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-52_0_5_line_23 |  | 19 | 25 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-52_0_5_line_24 |  | 20 | 40 | 0.032361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1059-52_0_5_line_25 |  | 20 | 23 | 0.006626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-52_0_5_line_26 |  | 21 | 59 | 0.0021366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-52_0_5_line_27 |  | 22 | 23 | 0.034181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-52_0_5_line_28 |  | 23 | 37 | 0.013869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-52_0_5_line_29 |  | 25 | 26 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1059-52_0_5_line_30 |  | 26 | 27 | 0.0053161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1059-52_0_5_line_31 |  | 27 | 30 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1059-52_0_5_line_32 |  | 29 | 31 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-52_0_5_line_33 |  | 30 | 65 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1059-52_0_5_line_34 |  | 31 | 44 | 0.028103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-52_0_5_line_35 |  | 32 | 33 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-52_0_5_line_36 |  | 32 | 34 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-52_0_5_line_37 |  | 33 | 35 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-52_0_5_line_38 |  | 33 | 36 | 0.0060362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-52_0_5_line_39 |  | 35 | 37 | 0.0021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-52_0_5_line_40 |  | 36 | 38 | 0.023645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-52_0_5_line_41 |  | 38 | 39 | 0.024665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-52_0_5_line_42 |  | 40 | 41 | 0.0024524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-52_0_5_line_43 |  | 40 | 42 | 0.0071876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1059-52_0_5_line_44 |  | 42 | 47 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1059-52_0_5_line_45 |  | 43 | 44 | 0.033471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-52_0_5_line_46 |  | 43 | 45 | 0.10395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-52_0_5_line_47 |  | 43 | 46 | 0.004032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-52_0_5_line_48 |  | 45 | 54 | 0.032578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-52_0_5_line_49 |  | 46 | 51 | 0.028327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-52_0_5_line_50 |  | 47 | 60 | 0.0086211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1059-52_0_5_line_51 |  | 48 | 49 | 0.008404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-52_0_5_line_52 |  | 48 | 50 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-52_0_5_line_53 |  | 49 | 52 | 0.024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1059-52_0_5_line_54 |  | 49 | 53 | 0.030099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1059-52_0_5_line_55 |  | 52 | 58 | 0.005505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-52_0_5_line_56 |  | 52 | 55 | 0.043943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1059-52_0_5_line_57 |  | 53 | 60 | 0.0085264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1059-52_0_5_line_58 |  | 54 | 61 | 0.043547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-52_0_5_line_59 |  | 55 | 56 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1059-52_0_5_line_60 |  | 55 | 57 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-52_0_5_line_61 |  | 56 | 62 | 0.028972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_1059-52_0_5_line_62 |  | 59 | 64 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-52_0_5_line_63 |  | 61 | 63 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-52_0_5_line_64 |  | 61 | 77 | 0.003766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-52_0_5_line_65 |  | 62 | 68 | 0.0056663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-52_0_5_line_66 |  | 62 | 67 | 0.011501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1059-52_0_5_line_67 |  | 64 | 73 | 0.0018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-52_0_5_line_68 |  | 65 | 66 | 0.010123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1059-52_0_5_line_69 |  | 66 | 67 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1059-52_0_5_line_70 |  | 68 | 71 | 0.04681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-52_0_5_line_71 |  | 69 | 70 | 0.010696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-52_0_5_line_72 |  | 69 | 71 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-52_0_5_line_73 |  | 70 | 72 | 0.010829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-52_0_5_line_74 |  | 73 | 74 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-52_0_5_line_75 |  | 75 | 76 | 0.0045863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-52_0_5_line_76 |  | 75 | 77 | 0.052585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-52_0_5_line_77 |  | 76 | 78 | 0.038425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-52_0_5_line_78 |  | 77 | 79 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-52_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 80 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2664004.0162 | 1208790.7887 | 2664005.1334 | 1208785.8532 | 2664003.9562 | 1208775.8234 | 2663998.7523 | 1208768.3964 | 2663991.0617 | 1208762.0245
1 | 2663936.4122 | 1208701.8324 | 2663940.1441 | 1208704.752 | 2663944.6406 | 1208710.1034 | 2663961.1801 | 1208735.2291 | 2663970.4345 | 1208744.9342 | 2663991.0617 | 1208762.0245
2 | 2664004.0162 | 1208790.7887 | 2663996.5319 | 1208815.2233
3 | 2664004.0162 | 1208790.7887 | 2663983.3014 | 1208788.7674
4 | 2663931.5635 | 1208705.9386 | 2663933.8881 | 1208703.9734 | 2663936.4122 | 1208701.8324
5 | 2663996.5319 | 1208815.2233 | 2664019.2036 | 1208812.2201 | 2664025.6454 | 1208807.7198
6 | 2663931.5635 | 1208705.9386 | 2663924.6697 | 1208700.1168 | 2663915.6772 | 1208695.7623 | 2663903.9803 | 1208695.4591 | 2663856.846 | 1208708.9185 | 2663848.0097 | 1208709.1353 | 2663837.2043 | 1208705.8177 | 2663798.7438 | 1208679.5239 | 2663788.7084 | 1208668.8769 | 2663780.9604 | 1208654.7633 | 2663780.2692 | 1208651.5899
7 | 2663691.1164 | 1208453.0595 | 2663718.8403 | 1208491.0784 | 2663755.9507 | 1208516.5123 | 2663762.6054 | 1208524.1102 | 2663766.9498 | 1208537.3201 | 2663778.4312 | 1208643.1515 | 2663780.2692 | 1208651.5899
8 | 2663849.9048 | 1208952.6035 | 2663848.5483 | 1208958.6038 | 2663848.0548 | 1208969.0121
9 | 2663849.9048 | 1208952.6035 | 2663847.7775 | 1208951.7803 | 2663845.6334 | 1208948.9668 | 2663831.5887 | 1208930.5338
10 | 2663847.5048 | 1208986.4985 | 2663847.6647 | 1208977.239 | 2663848.0548 | 1208969.0121
11 | 2663812.218 | 1208922.5631 | 2663820.5041 | 1208915.9891 | 2663823.0006 | 1208919.2622 | 2663831.5887 | 1208930.5338
12 | 2663646.5295 | 1208901.801 | 2663670.979 | 1208898.1373 | 2663674.816 | 1208898.388
13 | 2663646.5295 | 1208901.801 | 2663646.1646 | 1208898.2394
14 | 2663702.0357 | 1208924.996 | 2663697.2959 | 1208914.6614 | 2663691.0818 | 1208904.9892 | 2663685.9944 | 1208900.8658 | 2663679.928 | 1208898.722 | 2663674.816 | 1208898.388
15 | 2663646.1646 | 1208898.2394 | 2663645.2221 | 1208888.9571 | 2663649.0391 | 1208878.9139 | 2663655.8566 | 1208872.6494 | 2663675.9814 | 1208857.4073
16 | 2663612.7496 | 1208714.6162 | 2663614.218 | 1208719.5015 | 2663646.141 | 1208759.3437 | 2663658.0022 | 1208774.1458 | 2663658.4937 | 1208775.1072 | 2663660.1548 | 1208778.3157 | 2663664.4823 | 1208786.7003 | 2663666.25 | 1208797.7258 | 2663668.8306 | 1208813.7853 | 2663670.769 | 1208816.6522 | 2663671.2106 | 1208817.3017 | 2663663.0786 | 1208824.2081 | 2663633.0761 | 1208848.8365 | 2663621.452 | 1208858.8521 | 2663618.3859 | 1208862.6439 | 2663615.2344 | 1208867.3132 | 2663613.8825 | 1208870.7564 | 2663613.4003 | 1208875.343 | 2663613.4955 | 1208877.1117 | 2663613.6775 | 1208880.7158 | 2663614.7096 | 1208885.1629 | 2663616.9525 | 1208889.4116 | 2663619.1307 | 1208891.8919 | 2663620.8431 | 1208893.8557 | 2663624.5568 | 1208896.3413 | 2663628.24 | 1208898.1261 | 2663634.7286 | 1208899.1736 | 2663640.7593 | 1208898.9711 | 2663646.1646 | 1208898.2394
17 | 2663691.5081 | 1208845.6476 | 2663675.9814 | 1208857.4073
18 | 2663612.7496 | 1208714.6162 | 2663617.8774 | 1208678.6045 | 2663641.257 | 1208648.4576 | 2663663.9193 | 1208620.0153 | 2663674.8969 | 1208610.7823 | 2663692.7944 | 1208602.835 | 2663692.7944 | 1208602.835
19 | 2663703.3075 | 1208589.6825 | 2663692.7944 | 1208602.835
20 | 2663691.1164 | 1208453.0595 | 2663712.2015 | 1208530.3981 | 2663721.0368 | 1208557.3532 | 2663716.3036 | 1208573.4236 | 2663703.3075 | 1208589.6825
21 | 2663847.5048 | 1208986.4985 | 2663816.65 | 1208986.3351
22 | 2663847.5048 | 1208986.4985 | 2663847.0031 | 1209008.6684
23 | 2663812.218 | 1208922.5631 | 2663794.364 | 1208936.728
24 | 2663690.9492 | 1208953.017 | 2663690.2992 | 1208952.6654 | 2663688.8106 | 1208951.8268 | 2663700.3331 | 1208928.5355 | 2663702.0357 | 1208924.996
25 | 2663702.0357 | 1208924.996 | 2663705.0634 | 1208924.0944 | 2663708.0697 | 1208922.3366
26 | 2663691.5081 | 1208845.6476 | 2663693.2114 | 1208844.3576
27 | 2663708.0697 | 1208922.3366 | 2663706.3066 | 1208920.8613 | 2663705.8922 | 1208920.5122 | 2663703.5373 | 1208920.3537 | 2663702.3265 | 1208919.8293 | 2663701.8131 | 1208918.0783 | 2663700.3147 | 1208913.1705 | 2663697.5697 | 1208908.2382 | 2663693.2198 | 1208902.6884 | 2663688.8798 | 1208899.051 | 2663686.856 | 1208897.8656
28 | 2663708.0697 | 1208922.3366 | 2663708.674 | 1208921.9872 | 2663717.686 | 1208912.3813
29 | 2663781.351 | 1208947.0523 | 2663794.364 | 1208936.728
30 | 2663781.351 | 1208947.0523 | 2663777.1865 | 1208950.3563
31 | 2663777.1865 | 1208950.3563 | 2663759.0237 | 1208964.7663
32 | 2663846.4781 | 1209021.342 | 2663847 | 1209008.8067 | 2663847.0031 | 1209008.6684
33 | 2663750.9908 | 1208971.7793 | 2663753.4707 | 1208969.1719 | 2663759.0237 | 1208964.7663
34 | 2663846.4781 | 1209021.342 | 2663844.9702 | 1209034.3894 | 2663843.536 | 1209040.5445 | 2663840.8844 | 1209048.777
35 | 2663729.0285 | 1208900.2913 | 2663737.5079 | 1208898.5808 | 2663744.8045 | 1208895.1566
36 | 2663769.4049 | 1208894.4522 | 2663765.8286 | 1208896.1817 | 2663761.4741 | 1208893.2001 | 2663756.558 | 1208890.835 | 2663750.2264 | 1208892.1682 | 2663744.8045 | 1208895.1566
37 | 2663729.0285 | 1208900.2913 | 2663719.1877 | 1208910.7807
38 | 2663729.0285 | 1208900.2913 | 2663733.6268 | 1208896.3809
39 | 2663719.1877 | 1208910.7807 | 2663717.686 | 1208912.3813
40 | 2663751.6392 | 1208881.0631 | 2663733.6268 | 1208896.3809
41 | 2663770.4284 | 1208865.0848 | 2663751.6392 | 1208881.0631
42 | 2663690.9492 | 1208953.017 | 2663689.8795 | 1208955.2238
43 | 2663690.9492 | 1208953.017 | 2663690.2992 | 1208952.6654 | 2663688.8106 | 1208951.8268 | 2663684.7235 | 1208949.4262
44 | 2663684.7235 | 1208949.4262 | 2663682.2599 | 1208955.17 | 2663678.2053 | 1208963.8671
45 | 2663825.6982 | 1209078.5435 | 2663837.4346 | 1209057.3116 | 2663840.3671 | 1209050.3832 | 2663840.8844 | 1209048.777
46 | 2663820.1679 | 1209113.7169 | 2663818.4109 | 1209114.5208 | 2663816.9295 | 1209115.1387 | 2663792.9463 | 1209125.0328 | 2663784.2193 | 1209128.5973 | 2663802.67 | 1209106.4588 | 2663811.7836 | 1209096.6058 | 2663814.8956 | 1209092.7923 | 2663820.9619 | 1209084.9746 | 2663825.6982 | 1209078.5435
47 | 2663825.6982 | 1209078.5435 | 2663822.8323 | 1209075.7
48 | 2663820.1679 | 1209113.7169 | 2663849.0673 | 1209098.6785
49 | 2663822.8323 | 1209075.7 | 2663814.3692 | 1209067.3823 | 2663808.0771 | 1209061.4781 | 2663806.4543 | 1209061.105 | 2663804.4058 | 1209061.4388 | 2663801.0673 | 1209063.8042
50 | 2663678.2053 | 1208963.8671 | 2663674.5626 | 1208971.6808
51 | 2663660.6059 | 1209007.5042 | 2663661.5404 | 1209007.5476 | 2663664.5571 | 1209007.6687 | 2663668.1057 | 1209007.8177 | 2663669.0022 | 1209007.8607
52 | 2663669.0022 | 1209007.8607 | 2663668.9209 | 1209005.5139 | 2663669.2298 | 1209001.4926 | 2663670.2888 | 1208997.0011 | 2663672.6126 | 1208990.8221 | 2663673.1106 | 1208989.7954
53 | 2663660.6059 | 1209007.5042 | 2663657.8967 | 1209009.9101 | 2663657.684 | 1209010.6083 | 2663656.4947 | 1209014.4869 | 2663655.5571 | 1209017.5787 | 2663655.4469 | 1209017.9333 | 2663657.4225 | 1209018.7327 | 2663661.2159 | 1209020.8633 | 2663663.148 | 1209022.8851 | 2663664.9112 | 1209025.7835
54 | 2663660.6059 | 1209007.5042 | 2663661.8049 | 1209004.8487 | 2663664.4201 | 1208993.4364 | 2663670.9598 | 1208979.4087
55 | 2663664.9112 | 1209025.7835 | 2663660.3174 | 1209028.8364
56 | 2663664.9112 | 1209025.7835 | 2663668.4449 | 1209031.5914 | 2663668.8491 | 1209031.4734 | 2663671.4799 | 1209030.7121 | 2663674.2402 | 1209029.9188 | 2663674.8121 | 1209029.7582 | 2663675.4691 | 1209030.877 | 2663679.2415 | 1209035.6979 | 2663686.4387 | 1209042.9902 | 2663688.7702 | 1209044.6272 | 2663691.2445 | 1209044.9983 | 2663693.1762 | 1209044.9188 | 2663695.3611 | 1209043.9082 | 2663695.7227 | 1209044.2234 | 2663697.7411 | 1209045.9904
57 | 2663670.9598 | 1208979.4087 | 2663674.5626 | 1208971.6808
58 | 2663886.7289 | 1209076.8731 | 2663864.131 | 1209090.8398 | 2663849.0673 | 1209098.6785
59 | 2663697.7411 | 1209045.9904 | 2663708.3552 | 1209029.9618
60 | 2663697.7411 | 1209045.9904 | 2663700.1287 | 1209048.0727 | 2663700.5882 | 1209048.4667 | 2663700.1017 | 1209052.0304 | 2663700.2774 | 1209054.7895 | 2663700.5693 | 1209056.6493 | 2663701.8536 | 1209058.8199 | 2663707.0159 | 1209064.9237
61 | 2663724.3514 | 1209005.8055 | 2663708.3552 | 1209029.9618
62 | 2663693.2114 | 1208844.3576 | 2663709.1364 | 1208832.2963
63 | 2663886.7289 | 1209076.8731 | 2663896.721 | 1209092.5466
64 | 2663886.7289 | 1209076.8731 | 2663887.6701 | 1209076.2939 | 2663889.7781 | 1209074.6599
65 | 2663724.3514 | 1209005.8055 | 2663730.0039 | 1209005.4101 | 2663730.0039 | 1209005.4101
66 | 2663724.3514 | 1209005.8055 | 2663730.7032 | 1208996.2175
67 | 2663710.5969 | 1208831.1901 | 2663709.1364 | 1208832.2963
68 | 2663744.0141 | 1208979.1148 | 2663750.9908 | 1208971.7793
69 | 2663744.0141 | 1208979.1148 | 2663737.4865 | 1208985.9781 | 2663730.7032 | 1208996.2175
70 | 2663730.0039 | 1209005.4101 | 2663736.5831 | 1209000.8108 | 2663741.5314 | 1208995.1713 | 2663745.6436 | 1208992.3691 | 2663749.0924 | 1208994.0292 | 2663760.298 | 1209013.513
71 | 2663772.9878 | 1209035.5774 | 2663767.6554 | 1209026.3058
72 | 2663760.298 | 1209013.513 | 2663767.6554 | 1209026.3058
73 | 2663778.3868 | 1209044.9649 | 2663772.9878 | 1209035.5774
74 | 2663719.5916 | 1208824.3778 | 2663710.5969 | 1208831.1901
75 | 2663931.4406 | 1209054.6234 | 2663934.834 | 1209057.7086
76 | 2663889.7781 | 1209074.6599 | 2663922.7248 | 1209049.1082 | 2663925.2574 | 1209049.0019 | 2663931.4406 | 1209054.6234
77 | 2663934.834 | 1209057.7086 | 2663945.5394 | 1209067.4414 | 2663959.1438 | 1209076.2258 | 2663966.0829 | 1209079.7065
78 | 2663889.7781 | 1209074.6599 | 2663874.3156 | 1209055.6698

## bus_geodata
| x | y | coords
0 | 2663991.0617 | 1208762.0245
1 | 2664004.0162 | 1208790.7887
2 | 2663936.4122 | 1208701.8324
3 | 2663996.5319 | 1208815.2233
4 | 2663983.3014 | 1208788.7674
5 | 2663931.5635 | 1208705.9386
6 | 2664025.6454 | 1208807.7198
7 | 2663780.2692 | 1208651.5899
8 | 2663849.9048 | 1208952.6035
9 | 2663848.0548 | 1208969.0121
10 | 2663831.5887 | 1208930.5338
11 | 2663646.5295 | 1208901.801
12 | 2663674.816 | 1208898.388
13 | 2663646.1646 | 1208898.2394
14 | 2663675.9814 | 1208857.4073
15 | 2663612.7496 | 1208714.6162
16 | 2663692.7944 | 1208602.835
17 | 2663691.1164 | 1208453.0595
18 | 2663847.5048 | 1208986.4985
19 | 2663812.218 | 1208922.5631
20 | 2663702.0357 | 1208924.996
21 | 2663691.5081 | 1208845.6476
22 | 2663686.856 | 1208897.8656
23 | 2663708.0697 | 1208922.3366
24 | 2663703.3075 | 1208589.6825
25 | 2663794.364 | 1208936.728
26 | 2663781.351 | 1208947.0523
27 | 2663777.1865 | 1208950.3563
28 | 2663816.65 | 1208986.3351
29 | 2663847.0031 | 1209008.6684
30 | 2663759.0237 | 1208964.7663
31 | 2663846.4781 | 1209021.342
32 | 2663744.8045 | 1208895.1566
33 | 2663729.0285 | 1208900.2913
34 | 2663769.4049 | 1208894.4522
35 | 2663719.1877 | 1208910.7807
36 | 2663733.6268 | 1208896.3809
37 | 2663717.686 | 1208912.3813
38 | 2663751.6392 | 1208881.0631
39 | 2663770.4284 | 1208865.0848
40 | 2663690.9492 | 1208953.017
41 | 2663689.8795 | 1208955.2238
42 | 2663684.7235 | 1208949.4262
43 | 2663825.6982 | 1209078.5435
44 | 2663840.8844 | 1209048.777
45 | 2663820.1679 | 1209113.7169
46 | 2663822.8323 | 1209075.7
47 | 2663678.2053 | 1208963.8671
48 | 2663669.0022 | 1209007.8607
49 | 2663660.6059 | 1209007.5042
50 | 2663673.1106 | 1208989.7954
51 | 2663801.0673 | 1209063.8042
52 | 2663664.9112 | 1209025.7835
53 | 2663670.9598 | 1208979.4087
54 | 2663849.0673 | 1209098.6785
55 | 2663697.7411 | 1209045.9904
56 | 2663708.3552 | 1209029.9618
57 | 2663707.0159 | 1209064.9237
58 | 2663660.3174 | 1209028.8364
59 | 2663693.2114 | 1208844.3576
60 | 2663674.5626 | 1208971.6808
61 | 2663886.7289 | 1209076.8731
62 | 2663724.3514 | 1209005.8055
63 | 2663896.721 | 1209092.5466
64 | 2663709.1364 | 1208832.2963
65 | 2663750.9908 | 1208971.7793
66 | 2663744.0141 | 1208979.1148
67 | 2663730.7032 | 1208996.2175
68 | 2663730.0039 | 1209005.4101
69 | 2663767.6554 | 1209026.3058
70 | 2663772.9878 | 1209035.5774
71 | 2663760.298 | 1209013.513
72 | 2663778.3868 | 1209044.9649
73 | 2663710.5969 | 1208831.1901
74 | 2663719.5916 | 1208824.3778
75 | 2663931.4406 | 1209054.6234
76 | 2663934.834 | 1209057.7086
77 | 2663889.7781 | 1209074.6599
78 | 2663966.0829 | 1209079.7065
79 | 2663874.3156 | 1209055.6699
80 | 2663781.351 | 1208947.0523

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97132 | -0.55518 | 0.017097 | 0.004285
1 | 0.97086 | -0.56423 | 0 | 0
2 | 0.97212 | -0.53932 | 0 | 0
3 | 0.97062 | -0.56897 | 0 | 0
4 | 0.97078 | -0.56588 | 0.0042873 | 0.0010745
5 | 0.97218 | -0.5381 | 0 | 0
6 | 0.97033 | -0.57468 | 0.010028 | 0.0025133
7 | 0.97395 | -0.50329 | 0.0090375 | 0.002265
8 | 0.9909 | -0.1727 | 0 | 0
9 | 0.98933 | -0.20277 | 0.0080441 | 0.002016
10 | 0.99364 | -0.12033 | 0.0076739 | 0.0019233
11 | 0.98427 | -0.30187 | 0 | 0
12 | 0.98476 | -0.29241 | 0.0072763 | 0.0018236
13 | 0.98421 | -0.30306 | 0 | 0
14 | 0.9836 | -0.31506 | 0.0020201 | 0.00050627
15 | 0.98085 | -0.36826 | 0 | 0
16 | 0.97891 | -0.40593 | 0.0014064 | 0.00035247
17 | 0.97686 | -0.44614 | 0 | 0
18 | 0.9878 | -0.2321 | 0 | 0
19 | 0.99658 | -0.064589 | 0.0065656 | 0.0016455
20 | 0.98555 | -0.27707 | 0 | 0
21 | 0.98341 | -0.31864 | 0.0027494 | 0.00068907
22 | 0.9852 | -0.28394 | 0.0032988 | 0.00082676
23 | 0.9853 | -0.28192 | 0 | 0
24 | 0.9787 | -0.41018 | 0.0010654 | 0.00026702
25 | 0.99904 | -0.018195 | 0.0092856 | 0.0023272
26 | 1 | 0 | -0.39478 | -0.10048
27 | 0.99957 | -0.0081124 | 0.009732 | 0.0024391
28 | 0.98754 | -0.23721 | 0.0093024 | 0.0023314
29 | 0.98606 | -0.26571 | 0.012265 | 0.0030738
30 | 0.99778 | -0.042257 | 0.011318 | 0.0028366
31 | 0.9852 | -0.28219 | 0 | 0
32 | 0.98425 | -0.30246 | 0.01014 | 0.0025413
33 | 0.98446 | -0.2983 | 0 | 0
34 | 0.98416 | -0.30428 | 0.0036893 | 0.00092463
35 | 0.98477 | -0.29239 | 0.0063407 | 0.0015891
36 | 0.98441 | -0.29929 | 0.0045278 | 0.0011348
37 | 0.98483 | -0.29124 | 0.0081936 | 0.0020535
38 | 0.98432 | -0.30121 | 0.002648 | 0.00066366
39 | 0.98427 | -0.30204 | 0.0018679 | 0.00046813
40 | 0.98658 | -0.25711 | 0 | 0
41 | 0.98657 | -0.25739 | 0.0062123 | 0.001557
42 | 0.98683 | -0.25242 | 0 | 0
43 | 0.98138 | -0.35615 | 0 | 0
44 | 0.9833 | -0.31881 | 0.010666 | 0.0026732
45 | 0.97606 | -0.45979 | 0 | 0
46 | 0.98135 | -0.35665 | 0 | 0
47 | 0.98736 | -0.24208 | 0.0025671 | 0.00064337
48 | 0.98895 | -0.2113 | 0 | 0
49 | 0.98904 | -0.20962 | 0 | 0
50 | 0.98876 | -0.21504 | 0.011213 | 0.0028104
51 | 0.98117 | -0.36023 | 0.0069634 | 0.0017452
52 | 0.99001 | -0.19087 | 0 | 0
53 | 0.98796 | -0.23052 | 0.0024203 | 0.0006066
54 | 0.9744 | -0.4925 | 0.00705 | 0.0017669
55 | 0.99181 | -0.1564 | 0 | 0
56 | 0.99268 | -0.13969 | 0.0092169 | 0.00231
57 | 0.99151 | -0.16227 | 0.014702 | 0.0036846
58 | 0.98999 | -0.19132 | 0.0045875 | 0.0011497
59 | 0.9834 | -0.31892 | 0.0019892 | 0.00049855
60 | 0.98766 | -0.23632 | 0.0023354 | 0.00058531
61 | 0.97246 | -0.53074 | 0 | 0
62 | 0.99407 | -0.11299 | 0 | 0
63 | 0.97225 | -0.53486 | 0.012025 | 0.0030136
64 | 0.9833 | -0.32089 | 0.0015795 | 0.00039585
65 | 0.99699 | -0.05733 | 0.011251 | 0.0028197
66 | 0.99627 | -0.070963 | 0.011287 | 0.0028288
67 | 0.99481 | -0.098885 | 0.010226 | 0.0025629
68 | 0.9938 | -0.11821 | 0.011085 | 0.0027781
69 | 0.99161 | -0.1606 | 0.010442 | 0.0026171
70 | 0.9914 | -0.16468 | 0.010851 | 0.0027195
71 | 0.99204 | -0.15224 | 0.0091494 | 0.0022931
72 | 0.9913 | -0.16674 | 0.010681 | 0.0026769
73 | 0.98329 | -0.32102 | 0.0017997 | 0.00045104
74 | 0.98327 | -0.32144 | 0.0020744 | 0.0005199
75 | 0.97115 | -0.55654 | 0.0057412 | 0.0014389
76 | 0.97107 | -0.55809 | 0.013928 | 0.0034907
77 | 0.97233 | -0.53322 | 0 | 0
78 | 0.97092 | -0.56119 | 0.0043575 | 0.0010921
79 | 0.97206 | -0.53849 | 0.011683 | 0.0029281
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014327 | 0.0035938 | -0.014321 | -0.0035902 | 6.1815e-06 | 3.5328e-06 | 0.021949 | 0.021949 | 0.021949 | 0.97132 | -0.55518 | 0.97086 | -0.56423 | 6.0301
1 | -0.031424 | -0.0078788 | 0.031448 | 0.0078909 | 2.3757e-05 | 1.2157e-05 | 0.048142 | 0.048141 | 0.048142 | 0.97132 | -0.55518 | 0.97212 | -0.53932 | 4.4086
2 | 0.010033 | 0.0025158 | -0.010031 | -0.0025146 | 2.2662e-06 | 1.1344e-06 | 0.015378 | 0.015378 | 0.015378 | 0.97086 | -0.56423 | 0.97062 | -0.56897 | 4.2247
3 | 0.0042876 | 0.0010745 | -0.0042873 | -0.0010745 | 3.3706e-07 | -4.1635e-08 | 0.0065715 | 0.0065716 | 0.0065716 | 0.97086 | -0.56423 | 0.97078 | -0.56588 | 1.8054
4 | -0.031448 | -0.0078909 | 0.03145 | 0.0078919 | 1.8406e-06 | 9.4165e-07 | 0.048141 | 0.04814 | 0.048141 | 0.97212 | -0.53932 | 0.97218 | -0.5381 | 4.4085
5 | 0.010031 | 0.0025146 | -0.010028 | -0.0025133 | 2.725e-06 | 1.3643e-06 | 0.015378 | 0.015378 | 0.015378 | 0.97062 | -0.56897 | 0.97033 | -0.57468 | 4.2248
6 | -0.03145 | -0.0078919 | 0.031502 | 0.0079186 | 5.227e-05 | 2.6728e-05 | 0.04814 | 0.048138 | 0.04814 | 0.97218 | -0.5381 | 0.97395 | -0.50329 | 4.4085
7 | -0.04054 | -0.010184 | 0.040651 | 0.010246 | 0.00011086 | 6.2297e-05 | 0.061946 | 0.061943 | 0.061946 | 0.97395 | -0.50329 | 0.97686 | -0.44614 | 5.6727
8 | 0.10324 | 0.026338 | -0.10309 | -0.026243 | 0.00014968 | 9.5579e-05 | 0.15519 | 0.15519 | 0.15519 | 0.9909 | -0.1727 | 0.98933 | -0.20277 | 42.6359
9 | -0.10324 | -0.026338 | 0.1035 | 0.026506 | 0.00026186 | 0.00016722 | 0.15519 | 0.15519 | 0.15519 | 0.9909 | -0.1727 | 0.99364 | -0.12033 | 42.6359
10 | 0.095043 | 0.024227 | -0.094908 | -0.024141 | 0.00013435 | 8.5762e-05 | 0.1431 | 0.1431 | 0.1431 | 0.98933 | -0.20277 | 0.9878 | -0.2321 | 39.3121
11 | -0.11117 | -0.028429 | 0.11147 | 0.028621 | 0.00030074 | 0.0001921 | 0.16669 | 0.16669 | 0.16669 | 0.99364 | -0.12033 | 0.99658 | -0.064589 | 45.7929
12 | -0.05564 | -0.014099 | 0.055665 | 0.014114 | 2.5299e-05 | 1.5102e-05 | 0.084171 | 0.084171 | 0.084171 | 0.98427 | -0.30187 | 0.98476 | -0.29241 | 7.708
13 | 0.05564 | 0.014099 | -0.055637 | -0.014097 | 3.1713e-06 | 1.8931e-06 | 0.084171 | 0.084171 | 0.084171 | 0.98427 | -0.30187 | 0.98421 | -0.30306 | 7.708
14 | -0.062941 | -0.015937 | 0.062988 | 0.015966 | 4.6382e-05 | 2.812e-05 | 0.095166 | 0.095165 | 0.095166 | 0.98476 | -0.29241 | 0.98555 | -0.27707 | 8.7148
15 | 0.012222 | 0.0030653 | -0.012215 | -0.0030615 | 6.9887e-06 | 3.7796e-06 | 0.018479 | 0.018479 | 0.018479 | 0.98421 | -0.30306 | 0.9836 | -0.31506 | 5.0766
16 | 0.043415 | 0.011031 | -0.043279 | -0.010954 | 0.00013587 | 7.7387e-05 | 0.065693 | 0.065696 | 0.065696 | 0.98421 | -0.30306 | 0.98085 | -0.36826 | 6.0161
17 | 0.010195 | 0.0025553 | -0.010193 | -0.0025544 | 1.7374e-06 | 8.6476e-07 | 0.015423 | 0.015423 | 0.015423 | 0.9836 | -0.31506 | 0.98341 | -0.31864 | 4.2371
18 | 0.043279 | 0.010954 | -0.043201 | -0.01091 | 7.8132e-05 | 4.4532e-05 | 0.065696 | 0.065698 | 0.065698 | 0.98085 | -0.36826 | 0.97891 | -0.40593 | 6.0163
19 | 0.041795 | 0.010557 | -0.041786 | -0.010552 | 8.503e-06 | 4.807e-06 | 0.06356 | 0.063561 | 0.063561 | 0.97891 | -0.40593 | 0.9787 | -0.41018 | 5.8206
20 | -0.040651 | -0.010246 | 0.040721 | 0.010285 | 7.0067e-05 | 3.9345e-05 | 0.061943 | 0.061941 | 0.061943 | 0.97686 | -0.44614 | 0.9787 | -0.41018 | 5.6724
21 | 0.0093047 | 0.0023325 | -0.0093024 | -0.0023314 | 2.2667e-06 | 1.0569e-06 | 0.014017 | 0.014017 | 0.014017 | 0.9878 | -0.2321 | 0.98754 | -0.23721 | 3.8508
22 | 0.085604 | 0.021809 | -0.085465 | -0.02172 | 0.00013855 | 8.8392e-05 | 0.12908 | 0.12908 | 0.12908 | 0.9878 | -0.2321 | 0.98606 | -0.26571 | 35.4614
23 | -0.11804 | -0.030267 | 0.1183 | 0.030437 | 0.00026621 | 0.00017008 | 0.17649 | 0.17649 | 0.17649 | 0.99658 | -0.064589 | 0.99904 | -0.018195 | 48.486
24 | -0.10373 | -0.02619 | 0.10383 | 0.026252 | 9.931e-05 | 6.232e-05 | 0.15669 | 0.15669 | 0.15669 | 0.98555 | -0.27707 | 0.98658 | -0.25711 | 14.3486
25 | 0.040744 | 0.010224 | -0.040735 | -0.010218 | 9.4045e-06 | 5.9345e-06 | 0.061521 | 0.061521 | 0.061521 | 0.98555 | -0.27707 | 0.9853 | -0.28192 | 16.9015
26 | 0.0074435 | 0.0018653 | -0.0074434 | -0.0018653 | 1.0164e-07 | 3.794e-08 | 0.011263 | 0.011263 | 0.011263 | 0.98341 | -0.31864 | 0.9834 | -0.31892 | 3.0942
27 | -0.0032988 | -0.00082676 | 0.0032991 | 0.00082653 | 3.1819e-07 | -2.3166e-07 | 0.0049824 | 0.0049823 | 0.0049824 | 0.9852 | -0.28394 | 0.9853 | -0.28192 | 1.3688
28 | 0.037436 | 0.0093918 | -0.037419 | -0.0093813 | 1.6626e-05 | 1.0464e-05 | 0.056539 | 0.056539 | 0.056539 | 0.9853 | -0.28192 | 0.98483 | -0.29124 | 15.5328
29 | -0.12759 | -0.032764 | 0.1277 | 0.032836 | 0.00011281 | 7.1766e-05 | 0.19032 | 0.19032 | 0.19032 | 0.99904 | -0.018195 | 1 | 0 | 26.1428
30 | 0.26543 | 0.067642 | -0.26532 | -0.067576 | 0.00010387 | 6.6266e-05 | 0.39536 | 0.39536 | 0.39536 | 1 | 0 | 0.99957 | -0.0081124 | 36.2048
31 | 0.25559 | 0.065137 | -0.25517 | -0.064869 | 0.0004204 | 0.00026815 | 0.38087 | 0.38087 | 0.38087 | 0.99957 | -0.0081124 | 0.99778 | -0.042257 | 34.8781
32 | 0.0732 | 0.018646 | -0.073142 | -0.018609 | 5.8155e-05 | 3.7058e-05 | 0.11057 | 0.11057 | 0.11057 | 0.98606 | -0.26571 | 0.9852 | -0.28219 | 30.3768
33 | 0.24385 | 0.062032 | -0.24368 | -0.061919 | 0.00017698 | 0.00011285 | 0.36399 | 0.36399 | 0.36399 | 0.99778 | -0.042257 | 0.99699 | -0.05733 | 33.3324
34 | 0.073142 | 0.018609 | -0.073013 | -0.018527 | 0.00012885 | 8.2105e-05 | 0.11057 | 0.11057 | 0.11057 | 0.9852 | -0.28219 | 0.9833 | -0.31881 | 30.3768
35 | -0.013829 | -0.0034658 | 0.013832 | 0.0034673 | 2.7392e-06 | 1.5407e-06 | 0.020908 | 0.020908 | 0.020908 | 0.98425 | -0.30246 | 0.98446 | -0.2983 | 5.7438
36 | 0.0036896 | 0.00092449 | -0.0036893 | -0.00092463 | 3.1932e-07 | -1.4342e-07 | 0.005578 | 0.0055781 | 0.0055781 | 0.98425 | -0.30246 | 0.98416 | -0.30428 | 1.5325
37 | -0.022877 | -0.0057337 | 0.022883 | 0.0057377 | 6.4489e-06 | 3.9443e-06 | 0.034578 | 0.034578 | 0.034578 | 0.98446 | -0.2983 | 0.98477 | -0.29239 | 9.4995
38 | 0.0090446 | 0.0022665 | -0.0090442 | -0.0022663 | 4.2304e-07 | 1.94e-07 | 0.013671 | 0.013671 | 0.013671 | 0.98446 | -0.2983 | 0.98441 | -0.29929 | 3.7557
39 | -0.029224 | -0.0073268 | 0.029225 | 0.0073278 | 1.605e-06 | 9.9928e-07 | 0.044159 | 0.044159 | 0.044159 | 0.98477 | -0.29239 | 0.98483 | -0.29124 | 12.1316
40 | 0.0045164 | 0.0011315 | -0.004516 | -0.0011315 | 4.1324e-07 | -3.6108e-08 | 0.0068267 | 0.0068268 | 0.0068268 | 0.98441 | -0.29929 | 0.98432 | -0.30121 | 1.8755
41 | 0.0018679 | 0.00046787 | -0.0018679 | -0.00046813 | 7.375e-08 | -2.663e-07 | 0.0028237 | 0.0028238 | 0.0028238 | 0.98432 | -0.30121 | 0.98427 | -0.30204 | 0.77578
42 | 0.0062124 | 0.001557 | -0.0062123 | -0.001557 | 8.0741e-08 | 2.0359e-08 | 0.0093699 | 0.0093699 | 0.0093699 | 0.98658 | -0.25711 | 0.98657 | -0.25739 | 2.5742
43 | -0.11004 | -0.027809 | 0.11007 | 0.027825 | 2.4774e-05 | 1.558e-05 | 0.16606 | 0.16606 | 0.16606 | 0.98658 | -0.25711 | 0.98683 | -0.25242 | 15.2066
44 | -0.11007 | -0.027825 | 0.11012 | 0.027859 | 5.4617e-05 | 3.4347e-05 | 0.16606 | 0.16606 | 0.16606 | 0.98683 | -0.25242 | 0.98736 | -0.24208 | 15.2066
45 | -0.062235 | -0.015783 | 0.062347 | 0.015854 | 0.00011192 | 7.1208e-05 | 0.094431 | 0.094431 | 0.094431 | 0.98138 | -0.35615 | 0.9833 | -0.31881 | 25.9425
46 | 0.05527 | 0.014037 | -0.054996 | -0.013863 | 0.00027421 | 0.00017419 | 0.08387 | 0.083871 | 0.083871 | 0.98138 | -0.35615 | 0.97606 | -0.45979 | 23.0415
47 | 0.0069648 | 0.0017457 | -0.0069646 | -0.0017456 | 1.6862e-07 | 5.6975e-08 | 0.01056 | 0.01056 | 0.01056 | 0.98138 | -0.35615 | 0.98135 | -0.35665 | 2.9012
48 | 0.054996 | 0.013863 | -0.05491 | -0.013808 | 8.5937e-05 | 5.4593e-05 | 0.083871 | 0.083871 | 0.083871 | 0.97606 | -0.45979 | 0.9744 | -0.4925 | 23.0415
49 | 0.0069646 | 0.0017456 | -0.0069634 | -0.0017452 | 1.1847e-06 | 4.0036e-07 | 0.01056 | 0.010561 | 0.010561 | 0.98135 | -0.35665 | 0.98117 | -0.36023 | 2.9013
50 | -0.11269 | -0.028502 | 0.11272 | 0.028522 | 3.1116e-05 | 1.9583e-05 | 0.16992 | 0.16992 | 0.16992 | 0.98736 | -0.24208 | 0.98766 | -0.23632 | 15.5608
51 | -0.011215 | -0.0028114 | 0.011216 | 0.0028119 | 8.9747e-07 | 4.6654e-07 | 0.016875 | 0.016875 | 0.016875 | 0.98895 | -0.2113 | 0.98904 | -0.20962 | 4.6361
52 | 0.011215 | 0.0028114 | -0.011213 | -0.0028104 | 2.0011e-06 | 1.0403e-06 | 0.016875 | 0.016875 | 0.016875 | 0.98895 | -0.2113 | 0.98876 | -0.21504 | 4.6361
53 | -0.12884 | -0.03262 | 0.12896 | 0.032694 | 0.00011608 | 7.3338e-05 | 0.19396 | 0.19396 | 0.19396 | 0.98904 | -0.20962 | 0.99001 | -0.19087 | 17.7622
54 | 0.11763 | 0.029808 | -0.11751 | -0.029734 | 0.00011799 | 7.4355e-05 | 0.17709 | 0.17709 | 0.17709 | 0.98904 | -0.20962 | 0.98796 | -0.23052 | 16.2169
55 | 0.0045876 | 0.0011497 | -0.0045875 | -0.0011497 | 9.8149e-08 | -7.9693e-09 | 0.0068952 | 0.0068953 | 0.0068953 | 0.99001 | -0.19087 | 0.98999 | -0.19132 | 1.8943
56 | -0.13355 | -0.033843 | 0.13377 | 0.033983 | 0.0002216 | 0.00014013 | 0.20086 | 0.20086 | 0.20086 | 0.99001 | -0.19087 | 0.99181 | -0.1564 | 18.3936
57 | 0.11509 | 0.029127 | -0.11506 | -0.029107 | 3.2062e-05 | 2.0192e-05 | 0.17344 | 0.17344 | 0.17344 | 0.98796 | -0.23052 | 0.98766 | -0.23632 | 15.883
58 | 0.04786 | 0.012041 | -0.047773 | -0.011986 | 8.7273e-05 | 5.5314e-05 | 0.073105 | 0.073105 | 0.073105 | 0.9744 | -0.4925 | 0.97246 | -0.53074 | 20.0838
59 | -0.14847 | -0.03767 | 0.14859 | 0.037746 | 0.00011942 | 7.5681e-05 | 0.22292 | 0.22292 | 0.22292 | 0.99181 | -0.1564 | 0.99268 | -0.13969 | 20.414
60 | 0.014706 | 0.003687 | -0.014702 | -0.0036846 | 4.1136e-06 | 2.342e-06 | 0.022064 | 0.022064 | 0.022064 | 0.99181 | -0.1564 | 0.99151 | -0.16227 | 6.0615
61 | -0.15781 | -0.040056 | 0.15801 | 0.040185 | 0.00020297 | 0.00012877 | 0.23674 | 0.23674 | 0.23674 | 0.99268 | -0.13969 | 0.99407 | -0.11299 | 21.6792
62 | 0.0054542 | 0.0013667 | -0.0054536 | -0.0013667 | 5.1024e-07 | 7.3123e-08 | 0.0082528 | 0.0082529 | 0.0082529 | 0.9834 | -0.31892 | 0.9833 | -0.32089 | 2.2673
63 | 0.012027 | 0.0030149 | -0.012025 | -0.0030136 | 2.3608e-06 | 1.2803e-06 | 0.018403 | 0.018404 | 0.018404 | 0.97246 | -0.53074 | 0.97225 | -0.53486 | 5.0559
64 | 0.035746 | 0.0089712 | -0.035742 | -0.0089686 | 4.2258e-06 | 2.6578e-06 | 0.054702 | 0.054702 | 0.054702 | 0.97246 | -0.53074 | 0.97233 | -0.53322 | 15.0279
65 | 0.052306 | 0.013146 | -0.052293 | -0.013138 | 1.303e-05 | 8.266e-06 | 0.078309 | 0.078309 | 0.078309 | 0.99407 | -0.11299 | 0.9938 | -0.11821 | 21.5135
66 | -0.21032 | -0.053331 | 0.21046 | 0.053422 | 0.00014269 | 9.0874e-05 | 0.31504 | 0.31504 | 0.31504 | 0.99407 | -0.11299 | 0.99481 | -0.098885 | 28.8503
67 | 0.0038742 | 0.00097082 | -0.0038742 | -0.00097083 | 2.3615e-08 | -8.1264e-09 | 0.0058627 | 0.0058627 | 0.0058627 | 0.9833 | -0.32089 | 0.98329 | -0.32102 | 1.6106
68 | 0.23242 | 0.0591 | -0.23227 | -0.059003 | 0.00015254 | 9.7232e-05 | 0.3472 | 0.3472 | 0.3472 | 0.99699 | -0.05733 | 0.99627 | -0.070963 | 31.7947
69 | 0.22099 | 0.056174 | -0.22069 | -0.055985 | 0.00029674 | 0.00018907 | 0.33034 | 0.33034 | 0.33034 | 0.99627 | -0.070963 | 0.99481 | -0.098885 | 30.251
70 | 0.041208 | 0.01036 | -0.041141 | -0.010317 | 6.6851e-05 | 4.2179e-05 | 0.061712 | 0.061712 | 0.061712 | 0.9938 | -0.11821 | 0.99204 | -0.15224 | 16.9539
71 | 0.021537 | 0.0053994 | -0.021533 | -0.0053969 | 4.1894e-06 | 2.5433e-06 | 0.032319 | 0.032319 | 0.032319 | 0.99161 | -0.1606 | 0.9914 | -0.16468 | 8.8788
72 | -0.031979 | -0.0080165 | 0.031992 | 0.0080244 | 1.2744e-05 | 7.966e-06 | 0.047988 | 0.047988 | 0.047988 | 0.99161 | -0.1606 | 0.99204 | -0.15224 | 13.1837
73 | 0.010682 | 0.0026774 | -0.010681 | -0.0026769 | 1.0439e-06 | 5.2845e-07 | 0.016033 | 0.016033 | 0.016033 | 0.9914 | -0.16468 | 0.9913 | -0.16674 | 4.4046
74 | 0.0020745 | 0.00051979 | -0.0020744 | -0.0005199 | 4.17e-08 | -1.1643e-07 | 0.0031393 | 0.0031393 | 0.0031393 | 0.98329 | -0.32102 | 0.98327 | -0.32144 | 0.86245
75 | 0.018288 | 0.0045836 | -0.018286 | -0.0045828 | 1.3504e-06 | 8.075e-07 | 0.028021 | 0.028021 | 0.028021 | 0.97115 | -0.55654 | 0.97107 | -0.55809 | 7.698
76 | -0.024029 | -0.0060225 | 0.024056 | 0.0060389 | 2.673e-05 | 1.6456e-05 | 0.036818 | 0.036817 | 0.036818 | 0.97115 | -0.55654 | 0.97233 | -0.53322 | 10.1148
77 | 0.0043581 | 0.001092 | -0.0043575 | -0.0010921 | 6.4264e-07 | -6.4008e-08 | 0.0066781 | 0.0066783 | 0.0066783 | 0.97107 | -0.55809 | 0.97092 | -0.56119 | 1.8347
78 | 0.011686 | 0.0029296 | -0.011683 | -0.0029281 | 2.9373e-06 | 1.5762e-06 | 0.017884 | 0.017884 | 0.017884 | 0.97233 | -0.53322 | 0.97206 | -0.53849 | 4.9133

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40591 | 0.10327

## res_load
| p_mw | q_mvar
0 | 0.017097 | 0.004285
1 | 0.0042873 | 0.0010745
2 | 0.010028 | 0.0025133
3 | 0.0090375 | 0.002265
4 | 0.0080441 | 0.002016
5 | 0.0076739 | 0.0019233
6 | 0.0072763 | 0.0018236
7 | 0.0020201 | 0.00050627
8 | 0.0014064 | 0.00035247
9 | 0.0065656 | 0.0016455
10 | 0.0027494 | 0.00068907
11 | 0.0032988 | 0.00082676
12 | 0.0010654 | 0.00026702
13 | 0.0092856 | 0.0023272
14 | 0.011129 | 0.0027892
15 | 0.009732 | 0.0024391
16 | 0.0093024 | 0.0023314
17 | 0.012265 | 0.0030738
18 | 0.011318 | 0.0028366
19 | 0.01014 | 0.0025413
20 | 0.0036893 | 0.00092463
21 | 0.0063407 | 0.0015891
22 | 0.0045278 | 0.0011348
23 | 0.0081936 | 0.0020535
24 | 0.002648 | 0.00066366
25 | 0.0018679 | 0.00046813
26 | 0.0062123 | 0.001557
27 | 0.010666 | 0.0026732
28 | 0.0025671 | 0.00064337
29 | 0.011213 | 0.0028104
30 | 0.0069634 | 0.0017452
31 | 0.0024203 | 0.0006066
32 | 0.00705 | 0.0017669
33 | 0.0092169 | 0.00231
34 | 0.014702 | 0.0036846
35 | 0.0045875 | 0.0011497
36 | 0.0019892 | 0.00049855
37 | 0.0023354 | 0.00058531
38 | 0.012025 | 0.0030136
39 | 0.0015795 | 0.00039585
40 | 0.011251 | 0.0028197
41 | 0.011287 | 0.0028288
42 | 0.010226 | 0.0025629
43 | 0.011085 | 0.0027781
44 | 0.010442 | 0.0026171
45 | 0.010851 | 0.0027195
46 | 0.0091494 | 0.0022931
47 | 0.010681 | 0.0026769
48 | 0.0017997 | 0.00045104
49 | 0.0020744 | 0.0005199
50 | 0.0057412 | 0.0014389
51 | 0.013928 | 0.0034907
52 | 0.0043575 | 0.0010921
53 | 0.011683 | 0.0029281

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1