## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-55_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-55_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1059-55_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1059-55_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-55_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-55_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-55_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1059-55_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1059-55_0_5_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1059-55_0_5_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1059-55_0_5_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1059-55_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1059-55_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1059-55_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1059-55_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1059-55_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1059-55_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1059-55_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1059-55_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1059-55_0_5_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1059-55_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1059-55_0_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1059-55_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1059-55_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1059-55_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1059-55_0_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1059-55_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1059-55_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1059-55_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1059-55_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1059-55_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1059-55_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1059-55_0_5_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1059-55_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1059-55_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1059-55_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1059-55_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1059-55_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1059-55_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1059-55_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_MV_23_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-55_0_5_load_0 | 0 | 0.019261 | 0.0048272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-55_0_5_load_6 | 6 | 0.0040369 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-55_0_5_load_19 | 9 | 0.0029574 | 0.00074119 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-55_0_5_load_20 | 10 | 0.0069373 | 0.0017387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-55_0_5_load_24 | 12 | 0.060445 | 0.015149 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-55_0_5_load_39 | 19 | 0.019216 | 0.004816 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-55_0_5_load_38 | 21 | 0.035841 | 0.0089826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-55_0_5_load_22 | 23 | 0.053947 | 0.01352 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-55_0_5_load_34 | 25 | 0.079175 | 0.019843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-55_0_5_load_28 | 26 | 0.0039128 | 0.00098064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-55_0_5_load_40 | 27 | 0.025774 | 0.0064597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-55_0_5_load_26 | 28 | 0.0067301 | 0.0016867 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-55_0_5_load_36 | 30 | 0.0016994 | 0.00042592 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-55_0_5_load_35 | 31 | 0.0026226 | 0.00065729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-55_0_5_load_33 | 32 | 0.0042469 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-55_0_5_load_29 | 33 | 0.00065572 | 0.00016434 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-55_0_5_load_23 | 34 | 0.025825 | 0.0064725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-55_0_5_load_21 | 35 | 0.028004 | 0.0070186 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-55_0_5_load_37 | 36 | 0.01441 | 0.0036116 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-55_0_5_load_27 | 37 | 0.0025574 | 0.00064095 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-55_0_5_load_32 | 38 | 0.00092368 | 0.0002315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-55_0_5_load_30 | 39 | 0.0028544 | 0.00071538 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-55_0_5_line_0 |  | 0 | 1 | 0.0039815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-55_0_5_line_1 |  | 1 | 5 | 0.010939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-55_0_5_line_2 |  | 2 | 3 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-55_0_5_line_3 |  | 2 | 4 | 0.045373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-55_0_5_line_4 |  | 3 | 6 | 0.050501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-55_0_5_line_5 |  | 3 | 7 | 0.074356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-55_0_5_line_6 |  | 4 | 8 | 0.013124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-55_0_5_line_7 |  | 4 | 9 | 0.0060171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-55_0_5_line_8 |  | 5 | 10 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-55_0_5_line_9 |  | 6 | 11 | 0.022153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-55_0_5_line_10 |  | 7 | 12 | 0.023543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-55_0_5_line_11 |  | 7 | 13 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-55_0_5_line_12 |  | 8 | 26 | 0.049513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-55_0_5_line_13 |  | 10 | 32 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-55_0_5_line_14 |  | 11 | 33 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-55_0_5_line_15 |  | 13 | 34 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-55_0_5_line_16 |  | 14 | 15 | 0.0355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1059-55_0_5_line_17 |  | 14 | 16 | 0.051759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1059-55_0_5_line_18 |  | 15 | 22 | 0.038568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1059-55_0_5_line_19 |  | 15 | 23 | 0.043027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-55_0_5_line_20 |  | 16 | 17 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1059-55_0_5_line_21 |  | 17 | 26 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-55_0_5_line_22 |  | 18 | 19 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-55_0_5_line_23 |  | 18 | 20 | 0.1353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-55_0_5_line_24 |  | 18 | 21 | 0.046613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-55_0_5_line_25 |  | 19 | 36 | 0.031467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-55_0_5_line_26 |  | 20 | 27 | 0.005323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-55_0_5_line_27 |  | 20 | 24 | 0.15041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1059-55_0_5_line_28 |  | 22 | 24 | 0.081784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1059-55_0_5_line_29 |  | 22 | 25 | 0.051531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-55_0_5_line_30 |  | 23 | 35 | 0.003966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-55_0_5_line_31 |  | 24 | 28 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-55_0_5_line_32 |  | 28 | 37 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-55_0_5_line_33 |  | 29 | 30 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-55_0_5_line_34 |  | 29 | 31 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-55_0_5_line_35 |  | 30 | 36 | 0.022928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-55_0_5_line_36 |  | 32 | 38 | 0.0063637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-55_0_5_line_37 |  | 33 | 39 | 0.0008977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-55_0_5_line_38 |  | 38 | 39 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-55_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 40 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2665164.1059 | 1208423.4588 | 2665167.3401 | 1208421.1366
1 | 2665157.6182 | 1208414.6381 | 2665164.1059 | 1208423.4588
2 | 2665209.1809 | 1208436.1364 | 2665220.048 | 1208435.8883
3 | 2665183.2831 | 1208463.5481 | 2665178.4744 | 1208456.2356 | 2665209.1809 | 1208436.1364
4 | 2665220.048 | 1208435.8883 | 2665214.9669 | 1208428.4616 | 2665210.742 | 1208405.3013 | 2665208.4631 | 1208393.9918 | 2665205.7746 | 1208388.1589
5 | 2665220.048 | 1208435.8883 | 2665232.7863 | 1208457.1071 | 2665252.4302 | 1208453.0748 | 2665256.3621 | 1208452.2618 | 2665281.4069 | 1208447.2658
6 | 2665172.1746 | 1208470.5867 | 2665183.2831 | 1208463.5481
7 | 2665183.2831 | 1208463.5481 | 2665188.3658 | 1208460.3276
8 | 2665157.6182 | 1208414.6381 | 2665148.8756 | 1208402.7466
9 | 2665190.4455 | 1208372.3263 | 2665198.5824 | 1208379.1081 | 2665205.7746 | 1208388.1589
10 | 2665281.4069 | 1208447.2658 | 2665287.2392 | 1208470.0747
11 | 2665281.4069 | 1208447.2658 | 2665290.4634 | 1208445.0302 | 2665299.863 | 1208442.7093
12 | 2665172.1746 | 1208470.5867 | 2665174.8854 | 1208474.3741 | 2665191.7452 | 1208499.0066 | 2665197.7809 | 1208500.4734 | 2665205.3825 | 1208496.0514
13 | 2665148.8756 | 1208402.7466 | 2665148.8756 | 1208402.7466 | 2665161.5018 | 1208393.5069
14 | 2665190.4455 | 1208372.3263 | 2665176.9467 | 1208382.2045
15 | 2665299.863 | 1208442.7093 | 2665306.7884 | 1208471.4173
16 | 2665250.046 | 1208518.144 | 2665254.9753 | 1208527.6259 | 2665261.8823 | 1208537.0071 | 2665270.3473 | 1208547.128
17 | 2665226.1909 | 1208501.2731 | 2665224.0325 | 1208498.4255 | 2665229.7146 | 1208494.6742 | 2665239.7356 | 1208489.7474 | 2665250.046 | 1208518.144
18 | 2665270.3473 | 1208547.128 | 2665281.9041 | 1208560.9517 | 2665293.4035 | 1208571.6729 | 2665291.4911 | 1208573.4419 | 2665289.5483 | 1208574.5214
19 | 2665270.3473 | 1208547.128 | 2665312.131 | 1208536.8601
20 | 2665218.0416 | 1208488.6875 | 2665221.8363 | 1208494.8549 | 2665224.0325 | 1208498.4255 | 2665226.1909 | 1208501.2731
21 | 2665218.0416 | 1208488.6875 | 2665205.3825 | 1208496.0514
22 | 2665196.4982 | 1208683.2597 | 2665199.2724 | 1208683.3234 | 2665208.4239 | 1208682.1004 | 2665216.2415 | 1208681.8856
23 | 2665196.4982 | 1208683.2597 | 2665173.1871 | 1208682.7493 | 2665173.6509 | 1208674.3938 | 2665174.1176 | 1208666.4718 | 2665176.1126 | 1208662.7024 | 2665178.9038 | 1208659.82 | 2665185.2861 | 1208653.8972 | 2665192.1067 | 1208646.1336 | 2665192.6003 | 1208645.4941 | 2665198.4502 | 1208637.5087 | 2665201.3392 | 1208635.4167 | 2665212.4078 | 1208641.0411 | 2665231.3546 | 1208646.4736 | 2665234.5537 | 1208641.0497 | 2665242.5242 | 1208627.5619
24 | 2665196.4982 | 1208683.2597 | 2665196.137 | 1208688.4923 | 2665195.9263 | 1208721.688 | 2665195.8756 | 1208729.8595
25 | 2665247.4934 | 1208685.0346 | 2665245.7807 | 1208685.0214 | 2665228.663 | 1208684.056 | 2665216.2415 | 1208681.8856
26 | 2665242.5242 | 1208627.5619 | 2665238.0089 | 1208624.7219
27 | 2665242.5242 | 1208627.5619 | 2665253.8327 | 1208609.1631 | 2665255.595 | 1208600.9552 | 2665274.2373 | 1208606.429 | 2665282.6749 | 1208608.6226 | 2665287.0088 | 1208609.2815 | 2665292.2381 | 1208609.3943 | 2665297.1393 | 1208609.6147 | 2665310.294 | 1208612.8717 | 2665325.0194 | 1208617.102 | 2665325.7171 | 1208615.1751 | 2665327.4027 | 1208610.513 | 2665329.144 | 1208605.629 | 2665329.4812 | 1208604.6877 | 2665331.5517 | 1208598.8957 | 2665334.0861 | 1208594.4763 | 2665340.727 | 1208585.7881 | 2665350.2308 | 1208578.0986 | 2665351.3997 | 1208577.5777
28 | 2665289.5483 | 1208574.5214 | 2665291.4911 | 1208573.4419 | 2665293.4035 | 1208571.6729 | 2665302.457 | 1208580.1215 | 2665321.1393 | 1208595.135 | 2665331.5517 | 1208598.8957 | 2665334.0861 | 1208594.4763 | 2665340.727 | 1208585.7881 | 2665350.2308 | 1208578.0986 | 2665351.3997 | 1208577.5777
29 | 2665289.5483 | 1208574.5214 | 2665279.8213 | 1208564.3977 | 2665271.2232 | 1208553.9307 | 2665260.6813 | 1208540.4628 | 2665256.3936 | 1208535.1294
30 | 2665315.9824 | 1208535.9136 | 2665312.131 | 1208536.8601
31 | 2665351.3997 | 1208577.5777 | 2665347.9725 | 1208562.505
32 | 2665345.5101 | 1208551.6752 | 2665347.9725 | 1208562.505
33 | 2665279.5032 | 1208704.6465 | 2665279.2903 | 1208693.5374 | 2665277.4784 | 1208688.9036 | 2665270.3548 | 1208686.1351
34 | 2665279.5032 | 1208704.6465 | 2665277.2321 | 1208711.4147 | 2665271.9082 | 1208722.7411
35 | 2665270.3548 | 1208686.1351 | 2665270.3548 | 1208686.1351 | 2665263.09 | 1208685.1551 | 2665247.4934 | 1208685.0346
36 | 2665161.5018 | 1208393.5069 | 2665166.6372 | 1208389.7489
37 | 2665176.9467 | 1208382.2045 | 2665176.2223 | 1208382.7346
38 | 2665176.2223 | 1208382.7346 | 2665166.6372 | 1208389.7489

## bus_geodata
| x | y | coords
0 | 2665167.3401 | 1208421.1366
1 | 2665164.1059 | 1208423.4588
2 | 2665209.1809 | 1208436.1364
3 | 2665220.048 | 1208435.8883
4 | 2665183.283 | 1208463.5481
5 | 2665157.6182 | 1208414.6381
6 | 2665205.7746 | 1208388.1589
7 | 2665281.4069 | 1208447.2658
8 | 2665172.1746 | 1208470.5867
9 | 2665188.3658 | 1208460.3276
10 | 2665148.8756 | 1208402.7466
11 | 2665190.4455 | 1208372.3263
12 | 2665287.2392 | 1208470.0747
13 | 2665299.863 | 1208442.7093
14 | 2665250.046 | 1208518.144
15 | 2665270.3473 | 1208547.128
16 | 2665226.1909 | 1208501.2731
17 | 2665218.0416 | 1208488.6875
18 | 2665196.4982 | 1208683.2597
19 | 2665216.2415 | 1208681.8856
20 | 2665242.5242 | 1208627.5619
21 | 2665195.8756 | 1208729.8595
22 | 2665289.5483 | 1208574.5214
23 | 2665312.131 | 1208536.8601
24 | 2665351.3997 | 1208577.5777
25 | 2665256.3936 | 1208535.1294
26 | 2665205.3825 | 1208496.0514
27 | 2665238.0089 | 1208624.7219
28 | 2665347.9725 | 1208562.505
29 | 2665279.5032 | 1208704.6465
30 | 2665270.3548 | 1208686.1351
31 | 2665271.9082 | 1208722.7411
32 | 2665161.5018 | 1208393.5069
33 | 2665176.9467 | 1208382.2045
34 | 2665306.7884 | 1208471.4173
35 | 2665315.9824 | 1208535.9136
36 | 2665247.4934 | 1208685.0346
37 | 2665345.5101 | 1208551.6752
38 | 2665166.6372 | 1208389.7489
39 | 2665176.2223 | 1208382.7346
40 | 2665293.4035 | 1208571.6729

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97324 | -0.51313 | 0.019261 | 0.0048272
1 | 0.97332 | -0.51172 | 0 | 0
2 | 0.97907 | -0.39868 | 0 | 0
3 | 0.97781 | -0.42338 | 0 | 0
4 | 0.98438 | -0.29595 | 0 | 0
5 | 0.97351 | -0.50785 | 0 | 0
6 | 0.97598 | -0.45928 | 0.0040369 | 0.0010117
7 | 0.97181 | -0.54104 | 0 | 0
8 | 0.98595 | -0.26575 | 0 | 0
9 | 0.98436 | -0.29627 | 0.0029574 | 0.00074119
10 | 0.97378 | -0.50262 | 0.0069373 | 0.0017387
11 | 0.97526 | -0.47343 | 0 | 0
12 | 0.97048 | -0.56734 | 0.060445 | 0.015149
13 | 0.97135 | -0.55011 | 0 | 0
14 | 0.99781 | -0.04095 | 0 | 0
15 | 1 | 0 | -0.41001 | -0.10479
16 | 0.99461 | -0.10098 | 0 | 0
17 | 0.99369 | -0.11845 | 0 | 0
18 | 0.97629 | -0.45616 | 0 | 0
19 | 0.97559 | -0.46993 | 0.019216 | 0.004816
20 | 0.98558 | -0.27529 | 0 | 0
21 | 0.97473 | -0.48676 | 0.035841 | 0.0089826
22 | 0.99666 | -0.063419 | 0 | 0
23 | 0.99679 | -0.061656 | 0.053947 | 0.01352
24 | 0.99253 | -0.14186 | 0 | 0
25 | 0.99293 | -0.13528 | 0.079175 | 0.019843
26 | 0.99188 | -0.15266 | 0.0039128 | 0.00098064
27 | 0.98545 | -0.27776 | 0.025774 | 0.0064597
28 | 0.9924 | -0.1444 | 0.0067301 | 0.0016867
29 | 0.97489 | -0.48369 | 0 | 0
30 | 0.97495 | -0.48255 | 0.0016994 | 0.00042592
31 | 0.97484 | -0.48464 | 0.0026226 | 0.00065729
32 | 0.97416 | -0.49509 | 0.0042469 | 0.0010644
33 | 0.97471 | -0.48413 | 0.00065572 | 0.00016434
34 | 0.97064 | -0.56421 | 0.025825 | 0.0064725
35 | 0.99669 | -0.063605 | 0.028004 | 0.0070186
36 | 0.97504 | -0.48073 | 0.01441 | 0.0036116
37 | 0.99237 | -0.14491 | 0.0025574 | 0.00064095
38 | 0.97434 | -0.49153 | 0.00092368 | 0.0002315
39 | 0.97469 | -0.48469 | 0.0028544 | 0.00071538
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019261 | -0.0048272 | 0.019262 | 0.004828 | 1.2948e-06 | 7.7918e-07 | 0.029448 | 0.029448 | 0.029448 | 0.97324 | -0.51313 | 0.97332 | -0.51172 | 8.0901
1 | -0.019262 | -0.004828 | 0.019265 | 0.0048301 | 3.5573e-06 | 2.1407e-06 | 0.029448 | 0.029448 | 0.029448 | 0.97332 | -0.51172 | 0.97351 | -0.50785 | 8.0901
2 | 0.12607 | 0.031937 | -0.12592 | -0.031842 | 0.0001494 | 9.548e-05 | 0.19173 | 0.19173 | 0.19173 | 0.97907 | -0.39868 | 0.97781 | -0.42338 | 52.6725
3 | -0.12607 | -0.031937 | 0.1267 | 0.032337 | 0.00062546 | 0.00039972 | 0.19173 | 0.19173 | 0.19173 | 0.97907 | -0.39868 | 0.98438 | -0.29595 | 52.6725
4 | 0.039059 | 0.0098433 | -0.038992 | -0.009801 | 6.6953e-05 | 4.2218e-05 | 0.05946 | 0.05946 | 0.05946 | 0.97781 | -0.42338 | 0.97598 | -0.45928 | 16.3351
5 | 0.086862 | 0.021998 | -0.086374 | -0.021687 | 0.00048782 | 0.00031128 | 0.13227 | 0.13227 | 0.13227 | 0.97781 | -0.42338 | 0.97181 | -0.54104 | 36.3376
6 | -0.12965 | -0.033078 | 0.12984 | 0.033199 | 0.00018945 | 0.00012108 | 0.1962 | 0.1962 | 0.1962 | 0.98438 | -0.29595 | 0.98595 | -0.26575 | 53.9006
7 | 0.0029574 | 0.00074114 | -0.0029574 | -0.00074119 | 4.5095e-08 | -4.7631e-08 | 0.0044705 | 0.0044705 | 0.0044705 | 0.98438 | -0.29595 | 0.98436 | -0.29627 | 1.2282
8 | -0.019265 | -0.0048301 | 0.01927 | 0.004833 | 4.7997e-06 | 2.8882e-06 | 0.029448 | 0.029448 | 0.029448 | 0.97351 | -0.50785 | 0.97378 | -0.50262 | 8.0901
9 | 0.034955 | 0.0087893 | -0.034932 | -0.0087745 | 2.3605e-05 | 1.483e-05 | 0.053305 | 0.053305 | 0.053305 | 0.97598 | -0.45928 | 0.97526 | -0.47343 | 14.6442
10 | 0.06052 | 0.015197 | -0.060445 | -0.015149 | 7.583e-05 | 4.824e-05 | 0.092678 | 0.092678 | 0.092678 | 0.97181 | -0.54104 | 0.97048 | -0.56734 | 25.461
11 | 0.025854 | 0.0064901 | -0.025843 | -0.0064832 | 1.1174e-05 | 6.9159e-06 | 0.039591 | 0.039591 | 0.039591 | 0.97181 | -0.54104 | 0.97135 | -0.55011 | 10.8766
12 | -0.12984 | -0.033199 | 0.13056 | 0.033656 | 0.00071472 | 0.00045679 | 0.1962 | 0.1962 | 0.1962 | 0.98595 | -0.26575 | 0.99188 | -0.15266 | 53.9005
13 | -0.026208 | -0.0065716 | 0.026217 | 0.0065775 | 9.4104e-06 | 5.8279e-06 | 0.040049 | 0.040049 | 0.040049 | 0.97378 | -0.50262 | 0.97416 | -0.49509 | 11.0024
14 | 0.034932 | 0.0087745 | -0.034914 | -0.0087633 | 1.7823e-05 | 1.1198e-05 | 0.053305 | 0.053305 | 0.053305 | 0.97526 | -0.47343 | 0.97471 | -0.48413 | 14.6443
15 | 0.025843 | 0.0064832 | -0.025825 | -0.0064725 | 1.7358e-05 | 1.0744e-05 | 0.039591 | 0.039591 | 0.039591 | 0.97135 | -0.55011 | 0.97064 | -0.56421 | 10.8766
16 | -0.13521 | -0.035105 | 0.13548 | 0.035278 | 0.00027178 | 0.00017301 | 0.20207 | 0.20207 | 0.20207 | 0.99781 | -0.04095 | 1 | 0 | 27.7564
17 | 0.13521 | 0.035105 | -0.13481 | -0.034853 | 0.00039626 | 0.00025226 | 0.20207 | 0.20207 | 0.20207 | 0.99781 | -0.04095 | 0.99461 | -0.10098 | 27.7565
18 | 0.19068 | 0.048813 | -0.1901 | -0.048441 | 0.00058369 | 0.00037255 | 0.2841 | 0.2841 | 0.2841 | 1 | 0 | 0.99666 | -0.063419 | 39.0253
19 | 0.082196 | 0.020695 | -0.081954 | -0.020541 | 0.0002415 | 0.000154 | 0.12234 | 0.12234 | 0.12234 | 1 | 0 | 0.99679 | -0.061656 | 33.6104
20 | 0.13481 | 0.034853 | -0.13469 | -0.03478 | 0.00011489 | 7.3139e-05 | 0.20207 | 0.20207 | 0.20207 | 0.99461 | -0.10098 | 0.99369 | -0.11845 | 27.7565
21 | 0.13469 | 0.03478 | -0.13447 | -0.034637 | 0.00022424 | 0.00014333 | 0.20207 | 0.20207 | 0.20207 | 0.99369 | -0.11845 | 0.99188 | -0.15266 | 55.5131
22 | 0.037983 | 0.0095318 | -0.037959 | -0.0095161 | 2.4925e-05 | 1.5704e-05 | 0.057897 | 0.057897 | 0.057897 | 0.97629 | -0.45616 | 0.97559 | -0.46993 | 15.9058
23 | -0.073877 | -0.018547 | 0.07452 | 0.018957 | 0.00064342 | 0.00041008 | 0.11261 | 0.11261 | 0.11261 | 0.97629 | -0.45616 | 0.98558 | -0.27529 | 30.9371
24 | 0.035893 | 0.0090155 | -0.035841 | -0.0089826 | 5.2328e-05 | 3.2908e-05 | 0.054714 | 0.054714 | 0.054714 | 0.97629 | -0.45616 | 0.97473 | -0.48676 | 15.0314
25 | 0.018743 | 0.0047001 | -0.018733 | -0.0046944 | 9.6442e-06 | 5.7796e-06 | 0.028588 | 0.028588 | 0.028588 | 0.97559 | -0.46993 | 0.97504 | -0.48073 | 7.8539
26 | 0.025777 | 0.0064615 | -0.025774 | -0.0064597 | 3.0235e-06 | 1.8672e-06 | 0.038919 | 0.038919 | 0.038919 | 0.98558 | -0.27529 | 0.98545 | -0.27776 | 10.692
27 | -0.1003 | -0.025419 | 0.10094 | 0.025829 | 0.00064754 | 0.00041056 | 0.15153 | 0.15153 | 0.15153 | 0.98558 | -0.27529 | 0.99253 | -0.14186 | 20.8145
28 | 0.11065 | 0.028424 | -0.11023 | -0.028158 | 0.00041978 | 0.00026653 | 0.16545 | 0.16545 | 0.16545 | 0.99666 | -0.063419 | 0.99253 | -0.14186 | 22.7271
29 | 0.079447 | 0.020017 | -0.079175 | -0.019843 | 0.00027205 | 0.00017345 | 0.11865 | 0.11865 | 0.11865 | 0.99666 | -0.063419 | 0.99293 | -0.13528 | 32.5968
30 | 0.028007 | 0.0070202 | -0.028004 | -0.0070186 | 2.5998e-06 | 1.6122e-06 | 0.041809 | 0.041809 | 0.041809 | 0.99679 | -0.061656 | 0.99669 | -0.063605 | 11.4861
31 | 0.0092887 | 0.0023281 | -0.0092876 | -0.0023276 | 1.1241e-06 | 5.197e-07 | 0.013926 | 0.013926 | 0.013926 | 0.99253 | -0.14186 | 0.9924 | -0.1444 | 3.8258
32 | 0.0025575 | 0.00064084 | -0.0025574 | -0.00064095 | 6.1243e-08 | -1.043e-07 | 0.0038347 | 0.0038347 | 0.0038347 | 0.9924 | -0.1444 | 0.99237 | -0.14491 | 1.0535
33 | -0.0026227 | -0.00065712 | 0.0026229 | 0.00065692 | 1.4259e-07 | -2.0463e-07 | 0.0040031 | 0.004003 | 0.0040031 | 0.97489 | -0.48369 | 0.97495 | -0.48255 | 1.0998
34 | 0.0026227 | 0.00065712 | -0.0026226 | -0.00065729 | 1.1811e-07 | -1.6946e-07 | 0.0040031 | 0.0040032 | 0.0040032 | 0.97489 | -0.48369 | 0.97484 | -0.48464 | 1.0998
35 | -0.0043223 | -0.0010828 | 0.0043227 | 0.0010828 | 3.7415e-07 | -4.6481e-08 | 0.0065968 | 0.0065967 | 0.0065968 | 0.97495 | -0.48255 | 0.97504 | -0.48073 | 1.8123
36 | -0.030464 | -0.0076418 | 0.030469 | 0.0076451 | 5.1679e-06 | 3.2282e-06 | 0.046536 | 0.046536 | 0.046536 | 0.97416 | -0.49509 | 0.97434 | -0.49153 | 12.7846
37 | 0.034258 | 0.0085989 | -0.034257 | -0.0085984 | 9.2095e-07 | 5.7822e-07 | 0.052304 | 0.052304 | 0.052304 | 0.97471 | -0.48413 | 0.97469 | -0.48469 | 14.3692
38 | -0.031393 | -0.0078766 | 0.031403 | 0.007883 | 1.0239e-05 | 6.4051e-06 | 0.047946 | 0.047946 | 0.047946 | 0.97434 | -0.49153 | 0.97469 | -0.48469 | 13.1721

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41001 | 0.10479

## res_load
| p_mw | q_mvar
0 | 0.019261 | 0.0048272
1 | 0.0040369 | 0.0010117
2 | 0.0029574 | 0.00074119
3 | 0.0069373 | 0.0017387
4 | 0.060445 | 0.015149
5 | 0.019216 | 0.004816
6 | 0.035841 | 0.0089826
7 | 0.053947 | 0.01352
8 | 0.079175 | 0.019843
9 | 0.0039128 | 0.00098064
10 | 0.025774 | 0.0064597
11 | 0.0067301 | 0.0016867
12 | 0.0016994 | 0.00042592
13 | 0.0026226 | 0.00065729
14 | 0.0042469 | 0.0010644
15 | 0.00065572 | 0.00016434
16 | 0.025825 | 0.0064725
17 | 0.028004 | 0.0070186
18 | 0.01441 | 0.0036116
19 | 0.0025574 | 0.00064095
20 | 0.00092368 | 0.0002315
21 | 0.0028544 | 0.00071538

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1