## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-56_2_1_node_141 | 0.4 | n |  | TRUE
1 | bus_LV_1059-56_2_1_node_166 | 0.4 | n |  | TRUE
2 | bus_LV_1059-56_2_1_node_178 | 0.4 | n |  | TRUE
3 | bus_LV_1059-56_2_1_node_167 | 0.4 | n |  | TRUE
4 | bus_LV_1059-56_2_1_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_1059-56_2_1_node_170 | 0.4 | n |  | TRUE
6 | bus_LV_1059-56_2_1_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1059-56_2_1_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1059-56_2_1_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1059-56_2_1_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1059-56_2_1_node_180 | 0.4 | n |  | TRUE
11 | bus_LV_1059-56_2_1_node_168 | 0.4 | n |  | TRUE
12 | bus_LV_1059-56_2_1_node_169 | 0.4 | n |  | TRUE
13 | bus_LV_1059-56_2_1_node_171 | 0.4 | n |  | TRUE
14 | bus_LV_1059-56_2_1_node_172 | 0.4 | n |  | TRUE
15 | bus_LV_1059-56_2_1_node_173 | 0.4 | n |  | TRUE
16 | bus_LV_1059-56_2_1_node_174 | 0.4 | n |  | TRUE
17 | bus_LV_1059-56_2_1_node_175 | 0.4 | n |  | TRUE
18 | bus_LV_1059-56_2_1_node_176 | 0.4 | n |  | TRUE
19 | bus_LV_1059-56_2_1_node_177 | 0.4 | n |  | TRUE
20 | bus_MV_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-56_2_1_load_141 | 0 | 0.00056765 | 0.00014227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-56_2_1_load_166 | 1 | 0.00038339 | 9.6085e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-56_2_1_load_178 | 2 | 0.00039598 | 9.9242e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-56_2_1_load_167 | 3 | 0.00062504 | 0.00015665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-56_2_1_load_44 | 4 | 0.00086105 | 0.0002158 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-56_2_1_load_170 | 5 | 0.00048438 | 0.0001214 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-56_2_1_load_40 | 6 | 0.00060781 | 0.00015233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-56_2_1_load_42 | 8 | 0.00068506 | 0.00017169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-56_2_1_load_43 | 9 | 0.00077445 | 0.00019409 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-56_2_1_load_180 | 10 | 0.0035879 | 0.00089921 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-56_2_1_load_168 | 11 | 0.0056142 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-56_2_1_load_171 | 13 | 0.0011296 | 0.00028311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-56_2_1_load_172 | 14 | 0.0011158 | 0.00027965 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-56_2_1_load_173 | 15 | 0.00032664 | 8.1864e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-56_2_1_load_174 | 16 | 0.00076953 | 0.00019286 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-56_2_1_load_175 | 17 | 0.00056524 | 0.00014166 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-56_2_1_load_176 | 18 | 0.0011921 | 0.00029878 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-56_2_1_load_177 | 19 | 0.00070728 | 0.00017726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-56_2_1_line_0 |  | 0 | 1 | 0.0055438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-56_2_1_line_1 |  | 1 | 2 | 0.016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-56_2_1_line_2 |  | 2 | 19 | 0.023039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-56_2_1_line_3 |  | 3 | 4 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-56_2_1_line_4 |  | 3 | 5 | 0.15239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-56_2_1_line_5 |  | 4 | 9 | 0.0073054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-56_2_1_line_6 |  | 5 | 14 | 0.005807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-56_2_1_line_7 |  | 5 | 12 | 0.036372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-56_2_1_line_8 |  | 6 | 7 | 0.10511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-56_2_1_line_9 |  | 6 | 8 | 0.013629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-56_2_1_line_10 |  | 7 | 9 | 0.13109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-56_2_1_line_11 |  | 7 | 10 | 0.1952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-56_2_1_line_12 |  | 10 | 11 | 0.16729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-56_2_1_line_13 |  | 12 | 13 | 0.13126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-56_2_1_line_14 |  | 13 | 15 | 0.030585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-56_2_1_line_15 |  | 14 | 16 | 0.0075655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-56_2_1_line_16 |  | 15 | 17 | 0.045506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-56_2_1_line_17 |  | 17 | 18 | 0.0094319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-56_2_1_line_18 |  | 18 | 19 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-56_2_1_trafo_168 | 0.63 MVA 20/0.4 kV | 20 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2663317.8985 | 1208744.6285 | 2663317.9487 | 1208745.8791 | 2663319.8292 | 1208749.7374
1 | 2663318.9945 | 1208727.8802 | 2663317.6601 | 1208738.6939 | 2663317.8985 | 1208744.6285
2 | 2663323.8175 | 1208705.4045 | 2663320.0223 | 1208719.5518 | 2663318.9945 | 1208727.8802
3 | 2663350.3873 | 1208435.2761 | 2663350.8237 | 1208452.7612 | 2663351.3134 | 1208458.4114
4 | 2663310.0295 | 1208605.1029 | 2663351.3134 | 1208458.4114
5 | 2663350.205 | 1208427.9729 | 2663350.3873 | 1208435.2761
6 | 2663310.0295 | 1208605.1029 | 2663304.2226 | 1208605.136
7 | 2663327.5195 | 1208629.8881 | 2663324.1839 | 1208610.3742 | 2663323.1499 | 1208608.2286 | 2663321.9126 | 1208606.6145 | 2663320.2337 | 1208605.785 | 2663317.1091 | 1208605.0626 | 2663310.0295 | 1208605.1029
8 | 2663433.9124 | 1208339.1412 | 2663431.3322 | 1208337.9797 | 2663426.6409 | 1208338.0077 | 2663413.7531 | 1208342.3956 | 2663404.2403 | 1208344.7071 | 2663395.0145 | 1208345.0427 | 2663371.4632 | 1208344.1144 | 2663343.5569 | 1208344.4962 | 2663330.4103 | 1208347.4463
9 | 2663317.1121 | 1208350.4304 | 2663330.4103 | 1208347.4463
10 | 2663433.9124 | 1208339.1412 | 2663436.1325 | 1208342.7113 | 2663436.9894 | 1208347.9236 | 2663432.5363 | 1208355.5921 | 2663423.5885 | 1208362.6791 | 2663400.4901 | 1208375.6639 | 2663394.6266 | 1208380.1265 | 2663388.1729 | 1208387.896 | 2663374.9877 | 1208399.5409 | 2663365.446 | 1208406.0102 | 2663356.2939 | 1208412.3058 | 2663351.8881 | 1208419.1076 | 2663350.205 | 1208427.9729
11 | 2663433.9124 | 1208339.1412 | 2663611.2685 | 1208420.6775
12 | 2663611.2685 | 1208420.6775 | 2663515.6709 | 1208557.9652
13 | 2663327.5195 | 1208629.8881 | 2663322.2473 | 1208630.955 | 2663318.7703 | 1208631.2072 | 2663312.8074 | 1208630.7325 | 2663273.302 | 1208623.854 | 2663267.3416 | 1208623.146 | 2663263.5546 | 1208623.2392 | 2663258.2225 | 1208624.2167 | 2663244.3764 | 1208627.9945 | 2663238.7157 | 1208629.8579 | 2663235.213 | 1208631.8109 | 2663232.8173 | 1208634.0535 | 2663230.8739 | 1208636.6567 | 2663229.7828 | 1208639.9027 | 2663229.5042 | 1208643.2351 | 2663229.914 | 1208646.8861 | 2663231.646 | 1208651.3182 | 2663234.323 | 1208654.8154 | 2663237.6586 | 1208657.8637 | 2663241.8002 | 1208660.1756 | 2663243.065 | 1208660.7426
14 | 2663243.065 | 1208660.7426 | 2663246.7789 | 1208662.4075 | 2663259.6834 | 1208666.4133 | 2663272.1703 | 1208670.0391
15 | 2663296.6572 | 1208605.1791 | 2663304.2226 | 1208605.136
16 | 2663272.1703 | 1208670.0391 | 2663288.2564 | 1208674.71 | 2663309.0075 | 1208680.0444 | 2663316.0564 | 1208682.0537
17 | 2663316.0564 | 1208682.0537 | 2663316.0564 | 1208682.0537 | 2663321.6427 | 1208686.4934 | 2663322.8497 | 1208688.4468
18 | 2663322.8497 | 1208688.4468 | 2663325.432 | 1208692.6262 | 2663325.1436 | 1208700.4612 | 2663323.8175 | 1208705.4045

## bus_geodata
| x | y | coords
0 | 2663319.8292 | 1208749.7374
1 | 2663317.8985 | 1208744.6285
2 | 2663318.9945 | 1208727.8802
3 | 2663351.3134 | 1208458.4114
4 | 2663350.3873 | 1208435.2761
5 | 2663310.0295 | 1208605.1029
6 | 2663330.4103 | 1208347.4463
7 | 2663433.9124 | 1208339.1412
8 | 2663317.1121 | 1208350.4304
9 | 2663350.205 | 1208427.9729
10 | 2663611.2685 | 1208420.6775
11 | 2663515.6709 | 1208557.9652
12 | 2663327.5195 | 1208629.8881
13 | 2663243.065 | 1208660.7426
14 | 2663304.2226 | 1208605.136
15 | 2663272.1703 | 1208670.0391
16 | 2663296.6572 | 1208605.1791
17 | 2663316.0564 | 1208682.0537
18 | 2663322.8497 | 1208688.4468
19 | 2663323.8175 | 1208705.4045
20 | 2663515.6709 | 1208557.9652

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99208 | -0.15276 | 0.00056765 | 0.00014227
1 | 0.99208 | -0.1527 | 0.00038339 | 9.6085e-05
2 | 0.9921 | -0.15242 | 0.00039598 | 9.9242e-05
3 | 0.99433 | -0.10915 | 0.00062504 | 0.00015665
4 | 0.99451 | -0.10577 | 0.00086105 | 0.0002158
5 | 0.99327 | -0.12973 | 0.00048438 | 0.0001214
6 | 0.99563 | -0.084106 | 0.00060781 | 0.00015233
7 | 0.99575 | -0.081713 | 0 | 0
8 | 0.99562 | -0.08427 | 0.00068506 | 0.00017169
9 | 0.99457 | -0.10459 | 0.00077445 | 0.00019409
10 | 0.99775 | -0.043291 | 0.0035879 | 0.00089921
11 | 1 | 0 | -0.016506 | -0.0037385
12 | 0.99309 | -0.13312 | 0 | 0
13 | 0.99246 | -0.14536 | 0.0011296 | 0.00028311
14 | 0.99326 | -0.12992 | 0.0011158 | 0.00027965
15 | 0.99235 | -0.14761 | 0.00032664 | 8.1864e-05
16 | 0.99325 | -0.13002 | 0.00076953 | 0.00019286
17 | 0.99219 | -0.15068 | 0.00056524 | 0.00014166
18 | 0.99216 | -0.15122 | 0.0011921 | 0.00029878
19 | 0.99213 | -0.15187 | 0.00070728 | 0.00017726
20 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00056765 | -0.00014227 | 0.00056765 | 0.00014219 | 1.507e-09 | -7.0619e-08 | 0.00085141 | 0.00085138 | 0.00085141 | 0.99208 | -0.15276 | 0.99208 | -0.1527 | 0.2339
1 | -0.00095103 | -0.00023828 | 0.00095105 | 0.00023807 | 1.2844e-08 | -2.0916e-07 | 0.0014264 | 0.0014263 | 0.0014264 | 0.99208 | -0.1527 | 0.9921 | -0.15242 | 0.39187
2 | -0.001347 | -0.00033731 | 0.0013471 | 0.00033704 | 3.526e-08 | -2.7494e-07 | 0.0020203 | 0.0020202 | 0.0020203 | 0.9921 | -0.15242 | 0.99213 | -0.15187 | 0.55502
3 | -0.0082753 | -0.0020727 | 0.0082766 | 0.0020732 | 1.332e-06 | 5.5197e-07 | 0.012384 | 0.012383 | 0.012384 | 0.99433 | -0.10915 | 0.99451 | -0.10577 | 3.4021
4 | 0.0076503 | 0.001916 | -0.0076428 | -0.0019132 | 7.4901e-06 | 2.8191e-06 | 0.011448 | 0.011449 | 0.011449 | 0.99433 | -0.10915 | 0.99327 | -0.12973 | 3.1453
5 | -0.0091377 | -0.002289 | 0.0091382 | 0.0022893 | 5.1206e-07 | 2.3292e-07 | 0.013672 | 0.013672 | 0.013672 | 0.99451 | -0.10577 | 0.99457 | -0.10459 | 3.756
6 | 0.0018853 | 0.00047235 | -0.0018853 | -0.00047241 | 1.7371e-08 | -6.4044e-08 | 0.0028244 | 0.0028244 | 0.0028244 | 0.99327 | -0.12973 | 0.99326 | -0.12992 | 0.77594
7 | 0.0052731 | 0.0013195 | -0.0052722 | -0.0013194 | 8.51e-07 | 7.3951e-08 | 0.0078988 | 0.007899 | 0.007899 | 0.99327 | -0.12973 | 0.99309 | -0.13312 | 2.17
8 | -0.0012929 | -0.00032385 | 0.001293 | 0.00032258 | 1.4712e-07 | -1.2729e-06 | 0.0019322 | 0.0019317 | 0.0019322 | 0.99563 | -0.084106 | 0.99575 | -0.081713 | 0.53082
9 | 0.00068507 | 0.00017152 | -0.00068506 | -0.00017169 | 5.3574e-09 | -1.7381e-07 | 0.0010238 | 0.0010239 | 0.0010239 | 0.99563 | -0.084106 | 0.99562 | -0.08427 | 0.28128
10 | 0.0099235 | 0.0024886 | -0.0099126 | -0.0024833 | 1.0812e-05 | 5.2162e-06 | 0.01483 | 0.01483 | 0.01483 | 0.99575 | -0.081713 | 0.99457 | -0.10459 | 4.0743
11 | -0.011216 | -0.0028111 | 0.011237 | 0.0028218 | 2.0564e-05 | 1.0617e-05 | 0.016762 | 0.016761 | 0.016762 | 0.99575 | -0.081713 | 0.99775 | -0.043291 | 4.6048
12 | -0.014825 | -0.003721 | 0.014856 | 0.0037384 | 3.0671e-05 | 1.744e-05 | 0.022112 | 0.022111 | 0.022112 | 0.99775 | -0.043291 | 1 | 0 | 6.0746
13 | 0.0052722 | 0.0013194 | -0.0052691 | -0.0013191 | 3.0715e-06 | 2.6845e-07 | 0.007899 | 0.0078996 | 0.0078996 | 0.99309 | -0.13312 | 0.99246 | -0.14536 | 2.1702
14 | 0.0041395 | 0.001036 | -0.0041391 | -0.0010361 | 4.4173e-07 | -1.1247e-07 | 0.0062059 | 0.0062061 | 0.0062061 | 0.99246 | -0.14536 | 0.99235 | -0.14761 | 1.705
15 | 0.00076953 | 0.00019277 | -0.00076953 | -0.00019286 | 3.7705e-09 | -9.5507e-08 | 0.0011528 | 0.0011528 | 0.0011528 | 0.99326 | -0.12992 | 0.99325 | -0.13002 | 0.31672
16 | 0.0038124 | 0.00095425 | -0.0038119 | -0.00095448 | 5.5762e-07 | -2.3093e-07 | 0.0057163 | 0.0057165 | 0.0057165 | 0.99235 | -0.14761 | 0.99219 | -0.15068 | 1.5705
17 | 0.0032466 | 0.00081282 | -0.0032465 | -0.00081289 | 8.3844e-08 | -6.8151e-08 | 0.0048688 | 0.0048688 | 0.0048688 | 0.99219 | -0.15068 | 0.99216 | -0.15122 | 1.3376
18 | 0.0020544 | 0.00051411 | -0.0020543 | -0.0005143 | 6.3613e-08 | -1.9008e-07 | 0.0030809 | 0.0030809 | 0.0030809 | 0.99216 | -0.15122 | 0.99213 | -0.15187 | 0.84641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.02212 | 0.0051456

## res_load
| p_mw | q_mvar
0 | 0.00056765 | 0.00014227
1 | 0.00038339 | 9.6085e-05
2 | 0.00039598 | 9.9242e-05
3 | 0.00062504 | 0.00015665
4 | 0.00086105 | 0.0002158
5 | 0.00048438 | 0.0001214
6 | 0.00060781 | 0.00015233
7 | 0.00068506 | 0.00017169
8 | 0.00077445 | 0.00019409
9 | 0.0035879 | 0.00089921
10 | 0.0056142 | 0.001407
11 | 0.0011296 | 0.00028311
12 | 0.0011158 | 0.00027965
13 | 0.00032664 | 8.1864e-05
14 | 0.00076953 | 0.00019286
15 | 0.00056524 | 0.00014166
16 | 0.0011921 | 0.00029878
17 | 0.00070728 | 0.00017726

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1