## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-57_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-57_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-57_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-57_0_5_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_1059-57_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1059-57_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1059-57_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1059-57_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1059-57_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1059-57_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1059-57_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1059-57_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1059-57_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1059-57_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1059-57_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1059-57_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1059-57_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1059-57_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1059-57_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1059-57_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1059-57_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_1059-57_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1059-57_0_5_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1059-57_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1059-57_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1059-57_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1059-57_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1059-57_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1059-57_0_5_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1059-57_0_5_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1059-57_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1059-57_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1059-57_0_5_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_1059-57_0_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1059-57_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1059-57_0_5_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_1059-57_0_5_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_1059-57_0_5_node_141 | 0.4 | n |  | TRUE
38 | bus_LV_1059-57_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1059-57_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1059-57_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1059-57_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1059-57_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1059-57_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_1059-57_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1059-57_0_5_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1059-57_0_5_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1059-57_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1059-57_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_1059-57_0_5_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_1059-57_0_5_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1059-57_0_5_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1059-57_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_1059-57_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1059-57_0_5_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1059-57_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_1059-57_0_5_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_1059-57_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_1059-57_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_1059-57_0_5_node_164 | 0.4 | n |  | TRUE
60 | bus_LV_1059-57_0_5_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_1059-57_0_5_node_140 | 0.4 | n |  | TRUE
62 | bus_LV_1059-57_0_5_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_1059-57_0_5_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_1059-57_0_5_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_1059-57_0_5_node_122 | 0.4 | n |  | TRUE
66 | bus_LV_1059-57_0_5_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_1059-57_0_5_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_1059-57_0_5_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_1059-57_0_5_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_1059-57_0_5_node_174 | 0.4 | n |  | TRUE
71 | bus_LV_1059-57_0_5_node_118 | 0.4 | n |  | TRUE
72 | bus_LV_1059-57_0_5_node_120 | 0.4 | n |  | TRUE
73 | bus_LV_1059-57_0_5_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_1059-57_0_5_node_146 | 0.4 | n |  | TRUE
75 | bus_LV_1059-57_0_5_node_147 | 0.4 | n |  | TRUE
76 | bus_LV_1059-57_0_5_node_126 | 0.4 | n |  | TRUE
77 | bus_LV_1059-57_0_5_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_1059-57_0_5_node_138 | 0.4 | n |  | TRUE
79 | bus_LV_1059-57_0_5_node_139 | 0.4 | n |  | TRUE
80 | bus_LV_1059-57_0_5_node_149 | 0.4 | n |  | TRUE
81 | bus_LV_1059-57_0_5_node_151 | 0.4 | n |  | TRUE
82 | bus_LV_1059-57_0_5_node_175 | 0.4 | n |  | TRUE
83 | bus_MV_24_1_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-57_0_5_load_0 | 0 | 0.0035379 | 0.00088667 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-57_0_5_load_1 | 1 | 0.0037657 | 0.00094378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-57_0_5_load_2 | 2 | 0.0027985 | 0.00070136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-57_0_5_load_15 | 3 | 0.015808 | 0.0039618 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-57_0_5_load_6 | 5 | 0.0024449 | 0.00061275 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-57_0_5_load_7 | 7 | 0.0022044 | 0.00055247 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-57_0_5_load_9 | 8 | 0.0026326 | 0.00065979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-57_0_5_load_8 | 9 | 0.002289 | 0.00057367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-57_0_5_load_10 | 10 | 0.0026915 | 0.00067455 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-57_0_5_load_11 | 11 | 0.0023539 | 0.00058995 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-57_0_5_load_12 | 12 | 0.0038804 | 0.00097252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-57_0_5_load_16 | 13 | 0.0024233 | 0.00060733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-57_0_5_load_14 | 14 | 0.0029884 | 0.00074897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-57_0_5_load_19 | 15 | 0.0025103 | 0.00062913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-57_0_5_load_17 | 16 | 0.0026492 | 0.00066396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-57_0_5_load_18 | 17 | 0.0021523 | 0.00053942 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-57_0_5_load_21 | 18 | 0.0033823 | 0.00084769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-57_0_5_load_20 | 19 | 0.0022676 | 0.00056831 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-57_0_5_load_50 | 20 | 0.0030735 | 0.0007703 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-57_0_5_load_40 | 21 | 0.0015839 | 0.00039696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-57_0_5_load_54 | 22 | 0.001143 | 0.00028645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-57_0_5_load_23 | 23 | 0.0048542 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-57_0_5_load_24 | 24 | 0.0040046 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-57_0_5_load_26 | 26 | 0.0043872 | 0.0010995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-57_0_5_load_25 | 27 | 0.0050532 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-57_0_5_load_27 | 28 | 0.0032777 | 0.00082146 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-57_0_5_load_29 | 30 | 0.0015047 | 0.00037712 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-57_0_5_load_30 | 31 | 0.0031281 | 0.00078398 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-57_0_5_load_73 | 33 | 0.0031733 | 0.0007953 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-57_0_5_load_33 | 34 | 0.0060996 | 0.0015287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-57_0_5_load_78 | 35 | 0.0034409 | 0.00086236 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-57_0_5_load_141 | 37 | 0.0052337 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-57_0_5_load_41 | 38 | 0.0072221 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-57_0_5_load_48 | 39 | 0.0042358 | 0.0010616 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-57_0_5_load_42 | 40 | 0.003692 | 0.00092529 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-57_0_5_load_55 | 43 | 0.0039129 | 0.00098065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-57_0_5_load_51 | 44 | 0.0020426 | 0.00051192 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-57_0_5_load_49 | 45 | 0.0041843 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-57_0_5_load_57 | 46 | 0.001826 | 0.00045764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-57_0_5_load_52 | 47 | 0.0030548 | 0.00076561 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-57_0_5_load_58 | 48 | 0.0018643 | 0.00046723 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-57_0_5_load_59 | 49 | 0.0085421 | 0.0021409 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-57_0_5_load_60 | 50 | 0.0065302 | 0.0016366 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-57_0_5_load_62 | 52 | 0.0085393 | 0.0021402 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1059-57_0_5_load_64 | 54 | 0.011557 | 0.0028964 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1059-57_0_5_load_65 | 55 | 0.0027155 | 0.00068057 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1059-57_0_5_load_66 | 56 | 0.0031125 | 0.00078007 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1059-57_0_5_load_67 | 57 | 0.007131 | 0.0017872 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1059-57_0_5_load_164 | 59 | 0.0027127 | 0.00067986 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1059-57_0_5_load_125 | 60 | 0.0081527 | 0.0020433 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1059-57_0_5_load_85 | 62 | 0.005535 | 0.0013872 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1059-57_0_5_load_86 | 63 | 0.0061332 | 0.0015371 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1059-57_0_5_load_79 | 64 | 0.0026147 | 0.00065531 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1059-57_0_5_load_122 | 65 | 0.0056367 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1059-57_0_5_load_82 | 66 | 0.0038379 | 0.00096188 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1059-57_0_5_load_87 | 68 | 0.0057476 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1059-57_0_5_load_88 | 69 | 0.0027132 | 0.00068 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1059-57_0_5_load_174 | 70 | 0.005535 | 0.0013872 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1059-57_0_5_load_118 | 71 | 0.0061547 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1059-57_0_5_load_120 | 72 | 0.0032233 | 0.00080784 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1059-57_0_5_load_121 | 73 | 0.0032409 | 0.00081224 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1059-57_0_5_load_146 | 74 | 0.0033818 | 0.00084755 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1059-57_0_5_load_126 | 76 | 0.0031098 | 0.00077938 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1059-57_0_5_load_127 | 77 | 0.0031129 | 0.00078016 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1059-57_0_5_load_138 | 78 | 0.0052118 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1059-57_0_5_load_139 | 79 | 0.0088867 | 0.0022272 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1059-57_0_5_load_149 | 80 | 0.0041962 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1059-57_0_5_load_151 | 81 | 0.0051508 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1059-57_0_5_load_175 | 82 | 0.005743 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-57_0_5_line_0 |  | 0 | 1 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-57_0_5_line_1 |  | 0 | 2 | 0.022059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-57_0_5_line_2 |  | 0 | 3 | 0.058856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-57_0_5_line_3 |  | 2 | 4 | 0.04284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-57_0_5_line_4 |  | 3 | 9 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-57_0_5_line_5 |  | 4 | 5 | 0.047938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-57_0_5_line_6 |  | 5 | 6 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-57_0_5_line_7 |  | 6 | 22 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-57_0_5_line_8 |  | 7 | 8 | 0.0069811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-57_0_5_line_9 |  | 8 | 11 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-57_0_5_line_10 |  | 8 | 9 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-57_0_5_line_11 |  | 9 | 10 | 0.024521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1059-57_0_5_line_12 |  | 10 | 12 | 0.025234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-57_0_5_line_13 |  | 12 | 13 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-57_0_5_line_14 |  | 13 | 16 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-57_0_5_line_15 |  | 14 | 15 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-57_0_5_line_16 |  | 14 | 16 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-57_0_5_line_17 |  | 15 | 18 | 0.0088731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-57_0_5_line_18 |  | 15 | 17 | 0.0094241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-57_0_5_line_19 |  | 18 | 21 | 0.0061764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-57_0_5_line_20 |  | 19 | 20 | 0.025555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-57_0_5_line_21 |  | 19 | 21 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-57_0_5_line_22 |  | 20 | 31 | 0.050286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-57_0_5_line_23 |  | 20 | 38 | 0.008738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-57_0_5_line_24 |  | 22 | 43 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-57_0_5_line_25 |  | 23 | 24 | 0.026571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-57_0_5_line_26 |  | 23 | 25 | 0.024888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-57_0_5_line_27 |  | 24 | 26 | 0.022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-57_0_5_line_28 |  | 25 | 29 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1059-57_0_5_line_29 |  | 25 | 34 | 0.031812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-57_0_5_line_30 |  | 25 | 27 | 0.003913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-57_0_5_line_31 |  | 28 | 29 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-57_0_5_line_32 |  | 29 | 35 | 0.024724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-57_0_5_line_33 |  | 29 | 36 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-57_0_5_line_34 |  | 30 | 31 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-57_0_5_line_35 |  | 30 | 32 | 0.028577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-57_0_5_line_36 |  | 31 | 33 | 0.0051315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-57_0_5_line_37 |  | 32 | 64 | 0.007939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-57_0_5_line_38 |  | 32 | 36 | 0.002988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-57_0_5_line_39 |  | 34 | 37 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1059-57_0_5_line_40 |  | 35 | 65 | 0.026637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-57_0_5_line_41 |  | 37 | 61 | 0.019356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-57_0_5_line_42 |  | 38 | 39 | 0.024575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-57_0_5_line_43 |  | 39 | 44 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-57_0_5_line_44 |  | 40 | 41 | 0.0099367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-57_0_5_line_45 |  | 41 | 42 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-57_0_5_line_46 |  | 42 | 43 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-57_0_5_line_47 |  | 44 | 45 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-57_0_5_line_48 |  | 45 | 46 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-57_0_5_line_49 |  | 46 | 48 | 0.0057366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-57_0_5_line_50 |  | 46 | 47 | 0.0061593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-57_0_5_line_51 |  | 49 | 50 | 0.0010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-57_0_5_line_52 |  | 49 | 51 | 0.026144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-57_0_5_line_53 |  | 50 | 52 | 0.026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-57_0_5_line_54 |  | 51 | 53 | 0.003433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-57_0_5_line_55 |  | 51 | 54 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-57_0_5_line_56 |  | 52 | 55 | 0.00035847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-57_0_5_line_57 |  | 53 | 56 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-57_0_5_line_58 |  | 53 | 57 | 0.0087722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-57_0_5_line_59 |  | 54 | 58 | 0.038596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-57_0_5_line_60 |  | 55 | 59 | 0.0070618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-57_0_5_line_61 |  | 56 | 60 | 0.0081136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-57_0_5_line_62 |  | 57 | 61 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-57_0_5_line_63 |  | 58 | 62 | 0.0073547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-57_0_5_line_64 |  | 58 | 63 | 0.0036542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-57_0_5_line_65 |  | 60 | 76 | 0.0041563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-57_0_5_line_66 |  | 61 | 79 | 0.034314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-57_0_5_line_67 |  | 62 | 68 | 0.0019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-57_0_5_line_68 |  | 63 | 69 | 0.02017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-57_0_5_line_69 |  | 65 | 72 | 0.030037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-57_0_5_line_70 |  | 66 | 67 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1059-57_0_5_line_71 |  | 67 | 71 | 0.040893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1059-57_0_5_line_72 |  | 68 | 70 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1059-57_0_5_line_73 |  | 69 | 71 | 0.0094919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1059-57_0_5_line_74 |  | 70 | 82 | 0.0069781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1059-57_0_5_line_75 |  | 72 | 73 | 0.02327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1059-57_0_5_line_76 |  | 72 | 74 | 0.0044075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1059-57_0_5_line_77 |  | 73 | 75 | 0.0050985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1059-57_0_5_line_78 |  | 75 | 80 | 0.030609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1059-57_0_5_line_79 |  | 76 | 77 | 0.006805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1059-57_0_5_line_80 |  | 78 | 79 | 0.033695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1059-57_0_5_line_81 |  | 80 | 81 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-57_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 83 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2664688.2308 | 1210108.1044 | 2664692.6584 | 1210111.6064 | 2664705.2489 | 1210124.0988
1 | 2664688.2308 | 1210108.1044 | 2664670.9292 | 1210094.42
2 | 2664647.6488 | 1210150.732 | 2664688.2308 | 1210108.1044
3 | 2664674.4481 | 1210061.067 | 2664659.9072 | 1210086.3916 | 2664669.3421 | 1210093.1647 | 2664670.9292 | 1210094.42
4 | 2664651.8301 | 1210159.844 | 2664647.6488 | 1210150.732
5 | 2664674.4481 | 1210061.067 | 2664632.0503 | 1210038.6957
6 | 2664622.4528 | 1210033.6315 | 2664632.0503 | 1210038.6957
7 | 2664622.4528 | 1210033.6315 | 2664607.4389 | 1210024.9209
8 | 2664668.3061 | 1210174.1118 | 2664674.9923 | 1210176.1193
9 | 2664668.3061 | 1210174.1118 | 2664684.5018 | 1210188.1369
10 | 2664651.8301 | 1210159.844 | 2664668.3061 | 1210174.1118
11 | 2664632.5645 | 1210144.7365 | 2664641.318 | 1210150.7408 | 2664651.8301 | 1210159.844
12 | 2664632.5645 | 1210144.7365 | 2664624.026 | 1210138.8796 | 2664610.6125 | 1210132.4386
13 | 2664610.6125 | 1210132.4386 | 2664621.2969 | 1210133.8929
14 | 2664596.0134 | 1210122.7176 | 2664614.0131 | 1210130.0325 | 2664621.2969 | 1210133.8929
15 | 2664561.8056 | 1210116.5183 | 2664571.3704 | 1210118.4194 | 2664584.0997 | 1210122.2395
16 | 2664584.0997 | 1210122.2395 | 2664596.0134 | 1210122.7176
17 | 2664561.8056 | 1210116.5183 | 2664554.1644 | 1210112.0078
18 | 2664561.8056 | 1210116.5183 | 2664571.1064 | 1210114.9985
19 | 2664548.069 | 1210111.0111 | 2664554.1644 | 1210112.0078
20 | 2664510.7491 | 1210106.7974 | 2664534.3971 | 1210111.0706 | 2664535.8921 | 1210111.3678
21 | 2664535.8921 | 1210111.3678 | 2664548.069 | 1210111.0111
22 | 2664510.7491 | 1210106.7974 | 2664490.0622 | 1210152.6307
23 | 2664510.7491 | 1210106.7974 | 2664519.4748 | 1210106.3356
24 | 2664607.4389 | 1210024.9209 | 2664590.9147 | 1210015.3341
25 | 2664612.7161 | 1210220.5432 | 2664634.7951 | 1210235.326
26 | 2664590.3029 | 1210209.7246 | 2664612.7161 | 1210220.5432
27 | 2664634.7951 | 1210235.326 | 2664653.455 | 1210247.8196
28 | 2664590.3029 | 1210209.7246 | 2664570.5451 | 1210196.7695
29 | 2664590.3029 | 1210209.7246 | 2664590.6522 | 1210219.5788 | 2664592.5978 | 1210241.4436
30 | 2664590.3029 | 1210209.7246 | 2664590.7522 | 1210205.8375
31 | 2664570.5451 | 1210196.7695 | 2664573.7124 | 1210183.0713
32 | 2664570.5451 | 1210196.7695 | 2664567.1786 | 1210198.8344 | 2664561.3473 | 1210199.6941 | 2664546.4978 | 1210198.7406
33 | 2664570.5451 | 1210196.7695 | 2664571.2469 | 1210194.4313 | 2664571.5398 | 1210190.5432 | 2664570.4655 | 1210186.5736 | 2664566.4933 | 1210182.0945 | 2664557.9431 | 1210176.443 | 2664551.2575 | 1210172.6684
34 | 2664490.0622 | 1210152.6307 | 2664497.821 | 1210152.7341 | 2664508.6003 | 1210153.9847 | 2664526.4187 | 1210157.9464 | 2664526.4187 | 1210157.9464
35 | 2664549.3627 | 1210174.9827 | 2664526.4187 | 1210157.9464
36 | 2664490.0622 | 1210152.6307 | 2664486.5568 | 1210156.3783
37 | 2664549.3627 | 1210174.9827 | 2664546.0276 | 1210179.0602 | 2664544.8614 | 1210181.4713
38 | 2664549.3627 | 1210174.9827 | 2664551.2575 | 1210172.6684
39 | 2664592.5978 | 1210241.4436 | 2664593.7543 | 1210254.4399
40 | 2664546.4978 | 1210198.7406 | 2664520.058 | 1210195.5029
41 | 2664595.4699 | 1210273.7197 | 2664593.7543 | 1210254.4399
42 | 2664495.2215 | 1210102.3699 | 2664519.4748 | 1210106.3356
43 | 2664480.3821 | 1210102.7818 | 2664495.2215 | 1210102.3699
44 | 2664555.1717 | 1210014.6474 | 2664554.7809 | 1210020.5579 | 2664551.6601 | 1210023.0813
45 | 2664555.1717 | 1210014.6474 | 2664558.6094 | 1210014.4512 | 2664560.8573 | 1209994.2631 | 2664563.7082 | 1209996.3063
46 | 2664563.7082 | 1209996.3063 | 2664564.1248 | 1209998.5455 | 2664566.2795 | 1210001.0148 | 2664571.3097 | 1210003.9599 | 2664590.9147 | 1210015.3341
47 | 2664480.3821 | 1210102.7818 | 2664467.9914 | 1210098.1199
48 | 2664467.9914 | 1210098.1199 | 2664452.8564 | 1210096.4473 | 2664446.9949 | 1210096.0104
49 | 2664446.9949 | 1210096.0104 | 2664441.2742 | 1210095.584
50 | 2664451.7799 | 1210099.8886 | 2664446.9949 | 1210096.0104
51 | 2664572.9352 | 1210282.3687 | 2664572.1069 | 1210281.683
52 | 2664594.0197 | 1210296.7403 | 2664584.7452 | 1210289.2131 | 2664580.9247 | 1210288.9827 | 2664572.9352 | 1210282.3687
53 | 2664572.1069 | 1210281.683 | 2664551.3191 | 1210264.4741
54 | 2664594.0197 | 1210296.7403 | 2664597.4623 | 1210296.7775
55 | 2664594.0197 | 1210296.7403 | 2664590.4442 | 1210301.2599 | 2664593.9697 | 1210304.1665 | 2664592.7533 | 1210305.5986 | 2664589.8423 | 1210303.4992 | 2664588.964 | 1210304.6015 | 2664591.8689 | 1210307.2568 | 2664590.6532 | 1210308.6333
56 | 2664551.3191 | 1210264.4741 | 2664551.043 | 1210264.2455
57 | 2664597.4623 | 1210296.7775 | 2664613.6988 | 1210310.579
58 | 2664597.4623 | 1210296.7775 | 2664596.7071 | 1210288.0379
59 | 2664563.5254 | 1210315.8554 | 2664573.791 | 1210304.1481 | 2664583.2201 | 1210311.4324 | 2664587.7032 | 1210305.922 | 2664590.6532 | 1210308.6333
60 | 2664545.6033 | 1210259.7423 | 2664551.043 | 1210264.2455
61 | 2664613.6988 | 1210310.579 | 2664619.8808 | 1210315.8338
62 | 2664595.4699 | 1210273.7197 | 2664596.7071 | 1210288.0379
63 | 2664563.5254 | 1210315.8554 | 2664569.2209 | 1210320.5087 | 2664569.2209 | 1210320.5087
64 | 2664563.5254 | 1210315.8554 | 2664560.6973 | 1210313.5413
65 | 2664623.0476 | 1210318.5257 | 2664619.8808 | 1210315.8338
66 | 2664595.4699 | 1210273.7197 | 2664597.5034 | 1210273.3303 | 2664606.8078 | 1210262.6578 | 2664620.8433 | 1210274.0628
67 | 2664571.176 | 1210320.7773 | 2664569.2209 | 1210320.5087
68 | 2664560.6973 | 1210313.5413 | 2664553.694 | 1210307.8108 | 2664549.2637 | 1210304.9389 | 2664543.4894 | 1210304.0537 | 2664543.4894 | 1210304.0537
69 | 2664520.058 | 1210195.5029 | 2664516.3243 | 1210195.9716 | 2664506.4841 | 1210197.8553 | 2664500.2357 | 1210200.0447 | 2664491.5861 | 1210204.2871 | 2664491.5861 | 1210204.2871
70 | 2664497.9122 | 1210320.7378 | 2664478.9828 | 1210322.3685
71 | 2664497.9122 | 1210320.7378 | 2664537.1323 | 1210309.1626
72 | 2664593.1751 | 1210333.7219 | 2664578.7983 | 1210321.8242 | 2664571.176 | 1210320.7773
73 | 2664537.1323 | 1210309.1626 | 2664542.9359 | 1210307.4498 | 2664543.4894 | 1210304.0537
74 | 2664593.1751 | 1210333.7219 | 2664598.5511 | 1210338.1708
75 | 2664491.5861 | 1210204.2871 | 2664479.5546 | 1210212.0174 | 2664472.871 | 1210217.9994
76 | 2664494.7695 | 1210207.3353 | 2664491.5861 | 1210204.2871
77 | 2664473.309 | 1210223.079 | 2664472.871 | 1210217.9994
78 | 2664473.309 | 1210223.079 | 2664474.5703 | 1210224.5268 | 2664476.6433 | 1210226.8061 | 2664478.1743 | 1210227.9123 | 2664483.5614 | 1210230.1718 | 2664501.4106 | 1210231.1777
79 | 2664628.2325 | 1210322.933 | 2664623.0476 | 1210318.5257
80 | 2664646.993 | 1210295.3116 | 2664620.8433 | 1210274.0628
81 | 2664521.2826 | 1210239.9855 | 2664511.5467 | 1210232.2311 | 2664508.2174 | 1210231.5613 | 2664501.4106 | 1210231.1777

## bus_geodata
| x | y | coords
0 | 2664688.2308 | 1210108.1044
1 | 2664705.2489 | 1210124.0988
2 | 2664670.9292 | 1210094.42
3 | 2664647.6488 | 1210150.732
4 | 2664674.4481 | 1210061.067
5 | 2664632.0503 | 1210038.6957
6 | 2664622.4528 | 1210033.6315
7 | 2664674.9923 | 1210176.1193
8 | 2664668.3061 | 1210174.1118
9 | 2664651.8301 | 1210159.844
10 | 2664632.5645 | 1210144.7365
11 | 2664684.5018 | 1210188.1369
12 | 2664610.6125 | 1210132.4386
13 | 2664621.2969 | 1210133.8929
14 | 2664584.0997 | 1210122.2395
15 | 2664561.8056 | 1210116.5183
16 | 2664596.0134 | 1210122.7176
17 | 2664571.1064 | 1210114.9985
18 | 2664554.1644 | 1210112.0078
19 | 2664535.8921 | 1210111.3678
20 | 2664510.7491 | 1210106.7974
21 | 2664548.069 | 1210111.0111
22 | 2664607.4389 | 1210024.9209
23 | 2664612.7161 | 1210220.5432
24 | 2664634.7951 | 1210235.326
25 | 2664590.3029 | 1210209.7246
26 | 2664653.455 | 1210247.8196
27 | 2664590.7522 | 1210205.8375
28 | 2664573.7124 | 1210183.0713
29 | 2664570.5451 | 1210196.7695
30 | 2664526.4187 | 1210157.9464
31 | 2664490.0622 | 1210152.6307
32 | 2664549.3627 | 1210174.9827
33 | 2664486.5568 | 1210156.3783
34 | 2664592.5978 | 1210241.4436
35 | 2664546.4978 | 1210198.7406
36 | 2664551.2575 | 1210172.6684
37 | 2664593.7543 | 1210254.4399
38 | 2664519.4748 | 1210106.3356
39 | 2664495.2215 | 1210102.3699
40 | 2664551.6601 | 1210023.0813
41 | 2664555.1717 | 1210014.6474
42 | 2664563.7082 | 1209996.3063
43 | 2664590.9147 | 1210015.3341
44 | 2664480.3821 | 1210102.7818
45 | 2664467.9914 | 1210098.1199
46 | 2664446.9949 | 1210096.0104
47 | 2664451.7799 | 1210099.8886
48 | 2664441.2742 | 1210095.584
49 | 2664572.9352 | 1210282.3687
50 | 2664572.1069 | 1210281.683
51 | 2664594.0197 | 1210296.7403
52 | 2664551.3191 | 1210264.4741
53 | 2664597.4623 | 1210296.7775
54 | 2664590.6532 | 1210308.6333
55 | 2664551.043 | 1210264.2455
56 | 2664613.6988 | 1210310.579
57 | 2664596.7071 | 1210288.0379
58 | 2664563.5254 | 1210315.8554
59 | 2664545.6033 | 1210259.7423
60 | 2664619.8808 | 1210315.8338
61 | 2664595.4699 | 1210273.7197
62 | 2664569.2209 | 1210320.5087
63 | 2664560.6973 | 1210313.5413
64 | 2664544.8614 | 1210181.4713
65 | 2664520.058 | 1210195.5029
66 | 2664478.9828 | 1210322.3685
67 | 2664497.9122 | 1210320.7378
68 | 2664571.176 | 1210320.7773
69 | 2664543.4894 | 1210304.0537
70 | 2664593.1751 | 1210333.7219
71 | 2664537.1323 | 1210309.1626
72 | 2664491.5861 | 1210204.2871
73 | 2664472.871 | 1210217.9994
74 | 2664494.7695 | 1210207.3353
75 | 2664473.309 | 1210223.079
76 | 2664623.0476 | 1210318.5257
77 | 2664628.2325 | 1210322.933
78 | 2664646.993 | 1210295.3116
79 | 2664620.8433 | 1210274.0628
80 | 2664501.4106 | 1210231.1777
81 | 2664521.2826 | 1210239.9855
82 | 2664598.5511 | 1210338.1708
83 | 2664570.5451 | 1210196.7695

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9722 | -0.53604 | 0.0035379 | 0.00088667
1 | 0.97212 | -0.53766 | 0.0037657 | 0.00094378
2 | 0.97192 | -0.54173 | 0.0027985 | 0.00070136
3 | 0.97337 | -0.51294 | 0.015808 | 0.0039618
4 | 0.97147 | -0.55059 | 0 | 0
5 | 0.97097 | -0.56051 | 0.0024449 | 0.00061275
6 | 0.97088 | -0.56226 | 0 | 0
7 | 0.97356 | -0.50927 | 0.0022044 | 0.00055247
8 | 0.97357 | -0.50898 | 0.0026326 | 0.00065979
9 | 0.97372 | -0.5061 | 0.002289 | 0.00057367
10 | 0.97479 | -0.48512 | 0.0026915 | 0.00067455
11 | 0.97353 | -0.50991 | 0.0023539 | 0.00058995
12 | 0.97594 | -0.46234 | 0.0038804 | 0.00097252
13 | 0.97648 | -0.45185 | 0.0024233 | 0.00060733
14 | 0.97856 | -0.41112 | 0.0029884 | 0.00074897
15 | 0.97987 | -0.38548 | 0.0025103 | 0.00062913
16 | 0.97791 | -0.42377 | 0.0026492 | 0.00066396
17 | 0.97986 | -0.38585 | 0.0021523 | 0.00053942
18 | 0.98042 | -0.37487 | 0.0033823 | 0.00084769
19 | 0.98162 | -0.35149 | 0.0022676 | 0.00056831
20 | 0.98336 | -0.31774 | 0.0030735 | 0.0007703
21 | 0.98082 | -0.36711 | 0.0015839 | 0.00039696
22 | 0.97074 | -0.56507 | 0.001143 | 0.00028645
23 | 0.9997 | -0.0057484 | 0.0048542 | 0.0012166
24 | 0.9995 | -0.0096385 | 0.0040046 | 0.0010036
25 | 1 | 0 | -0.29823 | -0.075732
26 | 0.99941 | -0.011358 | 0.0043872 | 0.0010995
27 | 0.99998 | -0.00034465 | 0.0050532 | 0.0012665
28 | 0.9984 | -0.030157 | 0.0032777 | 0.00082146
29 | 0.99845 | -0.029351 | 0 | 0
30 | 0.99172 | -0.15684 | 0.0015047 | 0.00037712
31 | 0.98806 | -0.22696 | 0.0031281 | 0.00078398
32 | 0.9946 | -0.10208 | 0 | 0
33 | 0.98804 | -0.22725 | 0.0031733 | 0.0007953
34 | 0.99615 | -0.073505 | 0.0060996 | 0.0015287
35 | 0.99781 | -0.041582 | 0.0034409 | 0.00086236
36 | 0.99491 | -0.096234 | 0 | 0
37 | 0.99464 | -0.10242 | 0.0052337 | 0.0013117
38 | 0.98316 | -0.32159 | 0.0072221 | 0.00181
39 | 0.98277 | -0.32922 | 0.0042358 | 0.0010616
40 | 0.97035 | -0.57263 | 0.003692 | 0.00092529
41 | 0.97039 | -0.57195 | 0 | 0
42 | 0.97048 | -0.57009 | 0 | 0
43 | 0.9706 | -0.56776 | 0.0039129 | 0.00098065
44 | 0.98259 | -0.3327 | 0.0020426 | 0.00051192
45 | 0.98246 | -0.33531 | 0.0041843 | 0.0010487
46 | 0.98233 | -0.33788 | 0.001826 | 0.00045764
47 | 0.98231 | -0.33822 | 0.0030548 | 0.00076561
48 | 0.98232 | -0.33807 | 0.0018643 | 0.00046723
49 | 0.98934 | -0.20484 | 0.0085421 | 0.0021409
50 | 0.98932 | -0.20523 | 0.0065302 | 0.0016366
51 | 0.99003 | -0.19133 | 0 | 0
52 | 0.98897 | -0.21195 | 0.0085393 | 0.0021402
53 | 0.99029 | -0.18633 | 0 | 0
54 | 0.98892 | -0.213 | 0.011557 | 0.0028964
55 | 0.98897 | -0.21198 | 0.0027155 | 0.00068057
56 | 0.98995 | -0.19295 | 0.0031125 | 0.00078007
57 | 0.99109 | -0.17083 | 0.007131 | 0.0017872
58 | 0.98745 | -0.24152 | 0 | 0
59 | 0.98895 | -0.21232 | 0.0027127 | 0.00067986
60 | 0.98984 | -0.19503 | 0.0081527 | 0.0020433
61 | 0.9925 | -0.14367 | 0 | 0
62 | 0.9873 | -0.24449 | 0.005535 | 0.0013872
63 | 0.98739 | -0.24275 | 0.0061332 | 0.0015371
64 | 0.99458 | -0.10244 | 0.0026147 | 0.00065531
65 | 0.99721 | -0.053169 | 0.0056367 | 0.0014127
66 | 0.98685 | -0.25315 | 0.0038379 | 0.00096188
67 | 0.98692 | -0.25184 | 0 | 0
68 | 0.98727 | -0.24509 | 0.0057476 | 0.0014405
69 | 0.98715 | -0.24734 | 0.0027132 | 0.00068
70 | 0.98699 | -0.25041 | 0.005535 | 0.0013872
71 | 0.98706 | -0.24903 | 0.0061547 | 0.0015425
72 | 0.99668 | -0.06328 | 0.0032233 | 0.00080784
73 | 0.99642 | -0.068422 | 0.0032409 | 0.00081224
74 | 0.99667 | -0.063542 | 0.0033818 | 0.00084755
75 | 0.99637 | -0.069259 | 0 | 0
76 | 0.98982 | -0.19549 | 0.0031098 | 0.00077938
77 | 0.9898 | -0.19586 | 0.0031129 | 0.00078016
78 | 0.9919 | -0.15535 | 0.0052118 | 0.0013062
79 | 0.99206 | -0.15224 | 0.0088867 | 0.0022272
80 | 0.99611 | -0.074284 | 0.0041962 | 0.0010517
81 | 0.99601 | -0.076335 | 0.0051508 | 0.0012909
82 | 0.98696 | -0.25112 | 0.005743 | 0.0014393
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.003766 | 0.00094368 | -0.0037657 | -0.00094378 | 2.9132e-07 | -1.0347e-07 | 0.005764 | 0.0057641 | 0.0057641 | 0.9722 | -0.53604 | 0.97212 | -0.53766 | 1.5836
1 | 0.014009 | 0.0035149 | -0.014005 | -0.0035127 | 3.8034e-06 | 2.1607e-06 | 0.021443 | 0.021443 | 0.021443 | 0.9722 | -0.53604 | 0.97192 | -0.54173 | 5.8908
2 | -0.021313 | -0.0053452 | 0.021336 | 0.0053595 | 2.3487e-05 | 1.4301e-05 | 0.032622 | 0.032621 | 0.032622 | 0.9722 | -0.53604 | 0.97337 | -0.51294 | 8.962
3 | 0.011206 | 0.0028114 | -0.011202 | -0.0028089 | 4.7297e-06 | 2.4963e-06 | 0.017158 | 0.017158 | 0.017158 | 0.97192 | -0.54173 | 0.97147 | -0.55059 | 4.7138
4 | -0.037144 | -0.0093213 | 0.037156 | 0.0093289 | 1.2124e-05 | 7.6344e-06 | 0.056787 | 0.056787 | 0.056787 | 0.97337 | -0.51294 | 0.97372 | -0.5061 | 15.6008
5 | 0.011202 | 0.0028089 | -0.011196 | -0.0028061 | 5.2926e-06 | 2.794e-06 | 0.017158 | 0.017159 | 0.017159 | 0.97147 | -0.55059 | 0.97097 | -0.56051 | 4.7139
6 | 0.0087515 | 0.0021933 | -0.0087508 | -0.002193 | 7.3198e-07 | 3.3426e-07 | 0.013412 | 0.013412 | 0.013412 | 0.97097 | -0.56051 | 0.97088 | -0.56226 | 3.6846
7 | 0.0087508 | 0.002193 | -0.0087496 | -0.0021925 | 1.1709e-06 | 5.3473e-07 | 0.013412 | 0.013412 | 0.013412 | 0.97088 | -0.56226 | 0.97074 | -0.56507 | 3.6846
8 | -0.0022044 | -0.00055247 | 0.0022044 | 0.00055241 | 2.9718e-08 | -6.7789e-08 | 0.0033693 | 0.0033692 | 0.0033693 | 0.97356 | -0.50927 | 0.97357 | -0.50898 | 0.92562
9 | 0.002354 | 0.00058975 | -0.0023539 | -0.00058995 | 1.04e-07 | -1.9984e-07 | 0.0035979 | 0.003598 | 0.003598 | 0.97357 | -0.50898 | 0.97353 | -0.50991 | 0.98845
10 | -0.0071911 | -0.001802 | 0.0071921 | 0.0018023 | 9.8729e-07 | 3.608e-07 | 0.010991 | 0.010991 | 0.010991 | 0.97357 | -0.50898 | 0.97372 | -0.5061 | 3.0194
11 | -0.046637 | -0.011705 | 0.046684 | 0.011735 | 4.6713e-05 | 2.9591e-05 | 0.071275 | 0.071275 | 0.071275 | 0.97372 | -0.5061 | 0.97479 | -0.48512 | 19.5811
12 | -0.049375 | -0.012409 | 0.049429 | 0.012443 | 5.3774e-05 | 3.41e-05 | 0.075384 | 0.075384 | 0.075384 | 0.97479 | -0.48512 | 0.97594 | -0.46234 | 20.7098
13 | -0.053309 | -0.013416 | 0.053336 | 0.013433 | 2.6727e-05 | 1.697e-05 | 0.0813 | 0.0813 | 0.0813 | 0.97594 | -0.46234 | 0.97648 | -0.45185 | 22.3352
14 | -0.055759 | -0.01404 | 0.055834 | 0.014088 | 7.4963e-05 | 4.763e-05 | 0.084993 | 0.084993 | 0.084993 | 0.97648 | -0.45185 | 0.97791 | -0.42377 | 23.3497
15 | -0.061507 | -0.015523 | 0.061583 | 0.015571 | 7.565e-05 | 4.8126e-05 | 0.093568 | 0.093568 | 0.093568 | 0.97856 | -0.41112 | 0.97987 | -0.38548 | 25.7055
16 | 0.058519 | 0.014774 | -0.058483 | -0.014752 | 3.5436e-05 | 2.2529e-05 | 0.089024 | 0.089024 | 0.089024 | 0.97856 | -0.41112 | 0.97791 | -0.42377 | 24.4571
17 | -0.066246 | -0.01674 | 0.066279 | 0.016761 | 3.3707e-05 | 2.1461e-05 | 0.10065 | 0.10065 | 0.10065 | 0.97987 | -0.38548 | 0.98042 | -0.37487 | 27.6507
18 | 0.0021524 | 0.00053933 | -0.0021523 | -0.00053942 | 3.7755e-08 | -9.4546e-08 | 0.0032685 | 0.0032685 | 0.0032685 | 0.97987 | -0.38548 | 0.97986 | -0.38585 | 0.89795
19 | -0.069662 | -0.017609 | 0.069688 | 0.017625 | 2.5917e-05 | 1.6509e-05 | 0.10578 | 0.10578 | 0.10578 | 0.98042 | -0.37487 | 0.98082 | -0.36711 | 29.0609
20 | -0.073592 | -0.018625 | 0.073712 | 0.018701 | 0.0001194 | 7.6094e-05 | 0.11162 | 0.11162 | 0.11162 | 0.98162 | -0.35149 | 0.98336 | -0.31774 | 30.6654
21 | 0.071325 | 0.018056 | -0.071271 | -0.018022 | 5.3467e-05 | 3.4065e-05 | 0.10818 | 0.10818 | 0.10818 | 0.98162 | -0.35149 | 0.98082 | -0.36711 | 29.7211
22 | -0.10123 | -0.025602 | 0.10167 | 0.025885 | 0.00044295 | 0.00028285 | 0.15326 | 0.15326 | 0.15326 | 0.98336 | -0.31774 | 0.98806 | -0.22696 | 42.1057
23 | 0.024445 | 0.0061312 | -0.024441 | -0.0061285 | 4.4839e-06 | 2.7589e-06 | 0.036992 | 0.036992 | 0.036992 | 0.98336 | -0.31774 | 0.98316 | -0.32159 | 10.1626
24 | 0.0076066 | 0.001906 | -0.0076057 | -0.0019056 | 9.7396e-07 | 3.8719e-07 | 0.01166 | 0.01166 | 0.01166 | 0.97074 | -0.56507 | 0.9706 | -0.56776 | 3.2033
25 | 0.0083937 | 0.0021038 | -0.0083922 | -0.0021031 | 1.5554e-06 | 6.4712e-07 | 0.012494 | 0.012494 | 0.012494 | 0.9997 | -0.0057484 | 0.9995 | -0.0096385 | 3.4324
26 | -0.013248 | -0.0033203 | 0.013252 | 0.0033223 | 3.629e-06 | 1.9961e-06 | 0.019719 | 0.019719 | 0.019719 | 0.9997 | -0.0057484 | 1 | 0 | 5.4173
27 | 0.0043876 | 0.0010995 | -0.0043872 | -0.0010995 | 3.5931e-07 | -6.4328e-08 | 0.006532 | 0.0065321 | 0.0065321 | 0.9995 | -0.0096385 | 0.99941 | -0.011358 | 1.7945
28 | 0.14495 | 0.037237 | -0.14475 | -0.037106 | 0.0002063 | 0.00013141 | 0.21601 | 0.21601 | 0.21601 | 1 | 0 | 0.99845 | -0.029351 | 29.6722
29 | 0.13333 | 0.033906 | -0.13285 | -0.033606 | 0.00047035 | 0.00030061 | 0.19856 | 0.19856 | 0.19856 | 1 | 0 | 0.99615 | -0.073505 | 54.5505
30 | 0.0050533 | 0.0012665 | -0.0050532 | -0.0012665 | 8.2968e-08 | 1.7648e-09 | 0.0075194 | 0.0075194 | 0.0075194 | 1 | 0 | 0.99998 | -0.00034465 | 2.0658
31 | -0.0032777 | -0.00082146 | 0.0032778 | 0.00082136 | 1.2581e-07 | -1.0335e-07 | 0.004885 | 0.004885 | 0.004885 | 0.9984 | -0.030157 | 0.99845 | -0.029351 | 1.342
32 | 0.028316 | 0.0071124 | -0.0283 | -0.0071021 | 1.6516e-05 | 1.0247e-05 | 0.042206 | 0.042206 | 0.042206 | 0.99845 | -0.029351 | 0.99781 | -0.041582 | 11.5951
33 | 0.11315 | 0.029172 | -0.11278 | -0.028937 | 0.00036727 | 0.0002346 | 0.16892 | 0.16892 | 0.16892 | 0.99845 | -0.029351 | 0.99491 | -0.096234 | 46.4076
34 | 0.10834 | 0.027698 | -0.10797 | -0.027464 | 0.00036619 | 0.00023389 | 0.16275 | 0.16275 | 0.16275 | 0.99172 | -0.15684 | 0.98806 | -0.22696 | 44.7127
35 | -0.10985 | -0.028075 | 0.11014 | 0.028262 | 0.0002918 | 0.00018638 | 0.16501 | 0.16501 | 0.16501 | 0.99172 | -0.15684 | 0.9946 | -0.10208 | 45.3329
36 | 0.0031733 | 0.00079526 | -0.0031733 | -0.0007953 | 4.3949e-08 | -3.7595e-08 | 0.004779 | 0.004779 | 0.004779 | 0.98806 | -0.22696 | 0.98804 | -0.22725 | 1.3129
37 | 0.0026147 | 0.00065523 | -0.0026147 | -0.00065531 | 4.5559e-08 | -7.3872e-08 | 0.0039119 | 0.0039119 | 0.0039119 | 0.9946 | -0.10208 | 0.99458 | -0.10244 | 1.0747
38 | -0.11275 | -0.028917 | 0.11278 | 0.028937 | 3.1974e-05 | 2.0424e-05 | 0.16892 | 0.16892 | 0.16892 | 0.9946 | -0.10208 | 0.99491 | -0.096234 | 46.4076
39 | 0.12676 | 0.032077 | -0.12658 | -0.031965 | 0.00017562 | 0.00011223 | 0.18945 | 0.18945 | 0.18945 | 0.99615 | -0.073505 | 0.99464 | -0.10242 | 52.0474
40 | 0.024859 | 0.0062397 | -0.024845 | -0.0062313 | 1.373e-05 | 8.4398e-06 | 0.037075 | 0.037075 | 0.037075 | 0.99781 | -0.041582 | 0.99721 | -0.053169 | 10.1855
41 | 0.12135 | 0.030653 | -0.12111 | -0.0305 | 0.00023943 | 0.00015299 | 0.18162 | 0.18162 | 0.18162 | 0.99464 | -0.10242 | 0.9925 | -0.14367 | 49.8964
42 | 0.017219 | 0.0043184 | -0.017212 | -0.0043147 | 6.2593e-06 | 3.6944e-06 | 0.026061 | 0.026061 | 0.026061 | 0.98316 | -0.32159 | 0.98277 | -0.32922 | 7.1597
43 | 0.012976 | 0.0032531 | -0.012974 | -0.0032519 | 2.1491e-06 | 1.1873e-06 | 0.019648 | 0.019648 | 0.019648 | 0.98277 | -0.32922 | 0.98259 | -0.3327 | 5.3978
44 | -0.003692 | -0.00092529 | 0.0036921 | 0.00092525 | 1.1944e-07 | -4.6313e-08 | 0.0056615 | 0.0056615 | 0.0056615 | 0.97035 | -0.57263 | 0.97039 | -0.57195 | 1.5554
45 | -0.0036921 | -0.00092525 | 0.0036924 | 0.00092512 | 3.2769e-07 | -1.2712e-07 | 0.0056615 | 0.0056614 | 0.0056615 | 0.97039 | -0.57195 | 0.97048 | -0.57009 | 1.5554
46 | -0.0036924 | -0.00092512 | 0.0036928 | 0.00092496 | 4.0923e-07 | -1.5886e-07 | 0.0056614 | 0.0056612 | 0.0056614 | 0.97048 | -0.57009 | 0.9706 | -0.56776 | 1.5553
47 | 0.010932 | 0.00274 | -0.01093 | -0.0027393 | 1.3606e-06 | 7.031e-07 | 0.016555 | 0.016555 | 0.016555 | 0.98259 | -0.3327 | 0.98246 | -0.33531 | 4.548
48 | 0.006746 | 0.0016906 | -0.0067452 | -0.0016904 | 8.2622e-07 | 2.6156e-07 | 0.010217 | 0.010217 | 0.010217 | 0.98246 | -0.33531 | 0.98233 | -0.33788 | 2.807
49 | 0.0018643 | 0.00046716 | -0.0018643 | -0.00046723 | 1.7155e-08 | -6.1644e-08 | 0.0028239 | 0.002824 | 0.002824 | 0.98233 | -0.33788 | 0.98232 | -0.33807 | 0.77581
50 | 0.0030549 | 0.00076557 | -0.0030548 | -0.00076561 | 4.946e-08 | -4.6319e-08 | 0.0046275 | 0.0046275 | 0.0046275 | 0.98233 | -0.33788 | 0.98231 | -0.33822 | 1.2713
51 | 0.020503 | 0.0051399 | -0.020502 | -0.0051397 | 3.8348e-07 | 2.3162e-07 | 0.030838 | 0.030838 | 0.030838 | 0.98934 | -0.20484 | 0.98932 | -0.20523 | 8.4719
52 | -0.029045 | -0.0072808 | 0.029063 | 0.0072924 | 1.871e-05 | 1.1638e-05 | 0.043685 | 0.043685 | 0.043685 | 0.98934 | -0.20484 | 0.99003 | -0.19133 | 12.0015
53 | 0.013972 | 0.003503 | -0.013968 | -0.0035005 | 4.4695e-06 | 2.5141e-06 | 0.021016 | 0.021016 | 0.021016 | 0.98932 | -0.20523 | 0.98897 | -0.21195 | 5.7735
54 | -0.082143 | -0.020641 | 0.082163 | 0.020653 | 1.9629e-05 | 1.2518e-05 | 0.12348 | 0.12348 | 0.12348 | 0.99003 | -0.19133 | 0.99029 | -0.18633 | 33.9231
55 | 0.05308 | 0.013349 | -0.053025 | -0.013314 | 5.4874e-05 | 3.4824e-05 | 0.079795 | 0.079795 | 0.079795 | 0.99003 | -0.19133 | 0.98892 | -0.213 | 21.9217
56 | 0.0054282 | 0.0013604 | -0.0054282 | -0.0013604 | 8.9666e-09 | 1.139e-09 | 0.0081673 | 0.0081673 | 0.0081673 | 0.98897 | -0.21195 | 0.98897 | -0.21198 | 2.2438
57 | 0.017495 | 0.0043869 | -0.017489 | -0.0043837 | 5.5227e-06 | 3.2605e-06 | 0.026289 | 0.026289 | 0.026289 | 0.99029 | -0.18633 | 0.98995 | -0.19295 | 7.2222
58 | -0.099658 | -0.02504 | 0.099732 | 0.025088 | 7.3788e-05 | 4.7111e-05 | 0.14977 | 0.14977 | 0.14977 | 0.99029 | -0.18633 | 0.99109 | -0.17083 | 41.1453
59 | 0.041468 | 0.010417 | -0.041412 | -0.010382 | 5.6366e-05 | 3.558e-05 | 0.062405 | 0.062406 | 0.062406 | 0.98892 | -0.213 | 0.98745 | -0.24152 | 17.1444
60 | 0.0027127 | 0.0006798 | -0.0027127 | -0.00067986 | 4.4116e-08 | -6.2377e-08 | 0.0040815 | 0.0040816 | 0.0040816 | 0.98897 | -0.21198 | 0.98895 | -0.21232 | 1.1213
61 | 0.014377 | 0.0036036 | -0.014376 | -0.0036028 | 1.4209e-06 | 8.0509e-07 | 0.02161 | 0.02161 | 0.02161 | 0.98995 | -0.19295 | 0.98984 | -0.19503 | 5.9369
62 | -0.10686 | -0.026875 | 0.107 | 0.026963 | 0.00013879 | 8.8639e-05 | 0.16048 | 0.16048 | 0.16048 | 0.99109 | -0.17083 | 0.9925 | -0.14367 | 44.0866
63 | 0.022567 | 0.005658 | -0.022564 | -0.005656 | 3.1898e-06 | 1.9474e-06 | 0.034008 | 0.034008 | 0.034008 | 0.98745 | -0.24152 | 0.9873 | -0.24449 | 9.3429
64 | 0.018844 | 0.0047238 | -0.018843 | -0.0047231 | 1.1051e-06 | 6.605e-07 | 0.028398 | 0.028398 | 0.028398 | 0.98745 | -0.24152 | 0.98739 | -0.24275 | 7.8016
65 | 0.0062229 | 0.0015595 | -0.0062227 | -0.0015595 | 1.3639e-07 | 3.3868e-08 | 0.0093547 | 0.0093547 | 0.0093547 | 0.98984 | -0.19503 | 0.98982 | -0.19549 | 2.57
66 | 0.014105 | 0.0035367 | -0.014099 | -0.0035335 | 5.7549e-06 | 3.2399e-06 | 0.021148 | 0.021148 | 0.021148 | 0.9925 | -0.14367 | 0.99206 | -0.15224 | 5.8099
67 | 0.017029 | 0.0042688 | -0.017029 | -0.0042685 | 4.875e-07 | 2.8676e-07 | 0.025666 | 0.025666 | 0.025666 | 0.9873 | -0.24449 | 0.98727 | -0.24509 | 7.0511
68 | 0.01271 | 0.003186 | -0.012707 | -0.0031845 | 2.7753e-06 | 1.5182e-06 | 0.019155 | 0.019155 | 0.019155 | 0.98739 | -0.24275 | 0.98715 | -0.24734 | 5.2623
69 | 0.019209 | 0.0048186 | -0.019199 | -0.0048131 | 9.2548e-06 | 5.5314e-06 | 0.028664 | 0.028664 | 0.028664 | 0.99721 | -0.053169 | 0.99668 | -0.06328 | 7.8748
70 | -0.0038379 | -0.00096188 | 0.0038382 | 0.00096179 | 2.386e-07 | -9.006e-08 | 0.005787 | 0.0057869 | 0.005787 | 0.98685 | -0.25315 | 0.98692 | -0.25184 | 1.5898
71 | -0.0038382 | -0.00096179 | 0.0038387 | 0.00096159 | 5.1352e-07 | -1.9396e-07 | 0.0057869 | 0.0057867 | 0.0057869 | 0.98692 | -0.25184 | 0.98706 | -0.24903 | 1.5898
72 | 0.011281 | 0.0028281 | -0.011278 | -0.0028266 | 2.8573e-06 | 1.4918e-06 | 0.017003 | 0.017003 | 0.017003 | 0.98727 | -0.24509 | 0.98699 | -0.25041 | 4.6712
73 | 0.0099942 | 0.0025045 | -0.0099934 | -0.0025041 | 8.0784e-07 | 3.9568e-07 | 0.015065 | 0.015065 | 0.015065 | 0.98715 | -0.24734 | 0.98706 | -0.24903 | 4.1387
74 | 0.0057432 | 0.0014394 | -0.005743 | -0.0014393 | 1.9618e-07 | 3.638e-08 | 0.0086586 | 0.0086586 | 0.0086586 | 0.98699 | -0.25041 | 0.98696 | -0.25112 | 2.3787
75 | 0.012594 | 0.0031577 | -0.012591 | -0.0031561 | 3.0853e-06 | 1.6714e-06 | 0.018803 | 0.018803 | 0.018803 | 0.99668 | -0.06328 | 0.99642 | -0.068422 | 5.1657
76 | 0.0033818 | 0.00084752 | -0.0033818 | -0.00084755 | 4.2133e-08 | -3.0474e-08 | 0.0050489 | 0.0050489 | 0.0050489 | 0.99668 | -0.06328 | 0.99667 | -0.063542 | 1.3871
77 | 0.0093502 | 0.0023438 | -0.0093498 | -0.0023437 | 3.7278e-07 | 1.7217e-07 | 0.013963 | 0.013963 | 0.013963 | 0.99642 | -0.068422 | 0.99637 | -0.069259 | 3.8361
78 | 0.0093498 | 0.0023437 | -0.0093475 | -0.0023426 | 2.2381e-06 | 1.0338e-06 | 0.013963 | 0.013964 | 0.013964 | 0.99637 | -0.069259 | 0.99611 | -0.074284 | 3.8361
79 | 0.0031129 | 0.00078011 | -0.0031129 | -0.00078016 | 5.5886e-08 | -5.17e-08 | 0.0046797 | 0.0046798 | 0.0046798 | 0.98982 | -0.19549 | 0.9898 | -0.19586 | 1.2856
80 | -0.0052118 | -0.0013062 | 0.0052126 | 0.0013063 | 7.724e-07 | 5.9354e-08 | 0.0078186 | 0.0078185 | 0.0078186 | 0.9919 | -0.15535 | 0.99206 | -0.15224 | 2.148
81 | 0.0051513 | 0.0012909 | -0.0051508 | -0.0012909 | 5.0319e-07 | 2.7093e-08 | 0.0076951 | 0.0076952 | 0.0076952 | 0.99611 | -0.074284 | 0.99601 | -0.076335 | 2.1141

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29823 | 0.075732

## res_load
| p_mw | q_mvar
0 | 0.0035379 | 0.00088667
1 | 0.0037657 | 0.00094378
2 | 0.0027985 | 0.00070136
3 | 0.015808 | 0.0039618
4 | 0.0024449 | 0.00061275
5 | 0.0022044 | 0.00055247
6 | 0.0026326 | 0.00065979
7 | 0.002289 | 0.00057367
8 | 0.0026915 | 0.00067455
9 | 0.0023539 | 0.00058995
10 | 0.0038804 | 0.00097252
11 | 0.0024233 | 0.00060733
12 | 0.0029884 | 0.00074897
13 | 0.0025103 | 0.00062913
14 | 0.0026492 | 0.00066396
15 | 0.0021523 | 0.00053942
16 | 0.0033823 | 0.00084769
17 | 0.0022676 | 0.00056831
18 | 0.0030735 | 0.0007703
19 | 0.0015839 | 0.00039696
20 | 0.001143 | 0.00028645
21 | 0.0048542 | 0.0012166
22 | 0.0040046 | 0.0010036
23 | 0.0043872 | 0.0010995
24 | 0.0050532 | 0.0012665
25 | 0.0032777 | 0.00082146
26 | 0.0015047 | 0.00037712
27 | 0.0031281 | 0.00078398
28 | 0.0031733 | 0.0007953
29 | 0.0060996 | 0.0015287
30 | 0.0034409 | 0.00086236
31 | 0.0052337 | 0.0013117
32 | 0.0072221 | 0.00181
33 | 0.0042358 | 0.0010616
34 | 0.003692 | 0.00092529
35 | 0.0039129 | 0.00098065
36 | 0.0020426 | 0.00051192
37 | 0.0041843 | 0.0010487
38 | 0.001826 | 0.00045764
39 | 0.0030548 | 0.00076561
40 | 0.0018643 | 0.00046723
41 | 0.0085421 | 0.0021409
42 | 0.0065302 | 0.0016366
43 | 0.0085393 | 0.0021402
44 | 0.011557 | 0.0028964
45 | 0.0027155 | 0.00068057
46 | 0.0031125 | 0.00078007
47 | 0.007131 | 0.0017872
48 | 0.0027127 | 0.00067986
49 | 0.0081527 | 0.0020433
50 | 0.005535 | 0.0013872
51 | 0.0061332 | 0.0015371
52 | 0.0026147 | 0.00065531
53 | 0.0056367 | 0.0014127
54 | 0.0038379 | 0.00096188
55 | 0.0057476 | 0.0014405
56 | 0.0027132 | 0.00068
57 | 0.005535 | 0.0013872
58 | 0.0061547 | 0.0015425
59 | 0.0032233 | 0.00080784
60 | 0.0032409 | 0.00081224
61 | 0.0033818 | 0.00084755
62 | 0.0031098 | 0.00077938
63 | 0.0031129 | 0.00078016
64 | 0.0052118 | 0.0013062
65 | 0.0088867 | 0.0022272
66 | 0.0041962 | 0.0010517
67 | 0.0051508 | 0.0012909
68 | 0.005743 | 0.0014393

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1