## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-61_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-61_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-61_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1059-61_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1059-61_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-61_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-61_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1059-61_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1059-61_0_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_1059-61_0_3_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_1059-61_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1059-61_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1059-61_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1059-61_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1059-61_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1059-61_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1059-61_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1059-61_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1059-61_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1059-61_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1059-61_0_3_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_1059-61_0_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1059-61_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1059-61_0_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_1059-61_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1059-61_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1059-61_0_3_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_1059-61_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1059-61_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1059-61_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1059-61_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1059-61_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1059-61_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1059-61_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1059-61_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_1059-61_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_1059-61_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_1059-61_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_1059-61_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1059-61_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1059-61_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1059-61_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1059-61_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1059-61_0_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_1059-61_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_1059-61_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1059-61_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1059-61_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1059-61_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1059-61_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1059-61_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1059-61_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_1059-61_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1059-61_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_1059-61_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_1059-61_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1059-61_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_1059-61_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1059-61_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_1059-61_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1059-61_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1059-61_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1059-61_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_1059-61_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1059-61_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_1059-61_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1059-61_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1059-61_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_1059-61_0_3_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_1059-61_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_1059-61_0_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_1059-61_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_24_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-61_0_3_load_0 | 0 | 0.027064 | 0.0067829 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-61_0_3_load_4 | 4 | 0.043358 | 0.010867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-61_0_3_load_5 | 5 | 0.012354 | 0.0030962 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-61_0_3_load_64 | 6 | 0.025151 | 0.0063035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-61_0_3_load_62 | 8 | 0.009368 | 0.0023478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-61_0_3_load_39 | 9 | 0.0047826 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-61_0_3_load_6 | 11 | 0.006552 | 0.0016421 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-61_0_3_load_10 | 15 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-61_0_3_load_22 | 18 | 0.0050157 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-61_0_3_load_40 | 19 | 0.0014949 | 0.00037464 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-61_0_3_load_59 | 20 | 0.0018278 | 0.00045809 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-61_0_3_load_71 | 21 | 0.013349 | 0.0033456 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-61_0_3_load_52 | 23 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-61_0_3_load_21 | 24 | 0.004947 | 0.0012398 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-61_0_3_load_60 | 25 | 0.0015028 | 0.00037664 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-61_0_3_load_72 | 26 | 0.0018817 | 0.00047159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-61_0_3_load_53 | 28 | 0.0021306 | 0.00053398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-61_0_3_load_13 | 29 | 0.024008 | 0.0060169 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-61_0_3_load_15 | 31 | 0.0092634 | 0.0023216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-61_0_3_load_32 | 32 | 0.0081339 | 0.0020386 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-61_0_3_load_16 | 34 | 0.0039993 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-61_0_3_load_17 | 35 | 0.0047518 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-61_0_3_load_18 | 36 | 0.002132 | 0.00053434 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-61_0_3_load_20 | 38 | 0.0019491 | 0.0004885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-61_0_3_load_38 | 39 | 0.007975 | 0.0019987 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-61_0_3_load_70 | 43 | 0.017956 | 0.0045001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-61_0_3_load_29 | 45 | 0.0071977 | 0.0018039 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-61_0_3_load_31 | 47 | 0.010066 | 0.0025229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1059-61_0_3_load_43 | 50 | 0.0018884 | 0.00047327 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1059-61_0_3_load_55 | 51 | 0.0019352 | 0.000485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1059-61_0_3_load_49 | 52 | 0.0017523 | 0.00043916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1059-61_0_3_load_25 | 53 | 0.012633 | 0.0031661 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1059-61_0_3_load_34 | 55 | 0.0030436 | 0.00076279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1059-61_0_3_load_42 | 56 | 0.0017855 | 0.00044749 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1059-61_0_3_load_44 | 57 | 0.0020119 | 0.00050422 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1059-61_0_3_load_66 | 58 | 0.0023539 | 0.00058995 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1059-61_0_3_load_46 | 60 | 0.001942 | 0.00048672 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1059-61_0_3_load_47 | 61 | 0.0019233 | 0.00048202 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1059-61_0_3_load_65 | 62 | 0.0040268 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1059-61_0_3_load_68 | 63 | 0.0018857 | 0.00047261 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1059-61_0_3_load_56 | 65 | 0.001749 | 0.00043835 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1059-61_0_3_load_76 | 68 | 0.0015864 | 0.00039759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1059-61_0_3_load_75 | 70 | 0.0016389 | 0.00041074 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1059-61_0_3_load_73 | 71 | 0.001846 | 0.00046265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-61_0_3_line_0 |  | 0 | 1 | 0.0070834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-61_0_3_line_1 |  | 0 | 2 | 0.023578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-61_0_3_line_2 |  | 1 | 3 | 0.030645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1059-61_0_3_line_3 |  | 2 | 4 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1059-61_0_3_line_4 |  | 2 | 5 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1059-61_0_3_line_5 |  | 3 | 6 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-61_0_3_line_6 |  | 3 | 7 | 0.061377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1059-61_0_3_line_7 |  | 5 | 8 | 0.092233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-61_0_3_line_8 |  | 7 | 9 | 0.034044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1059-61_0_3_line_9 |  | 7 | 10 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1059-61_0_3_line_10 |  | 9 | 54 | 0.010957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1059-61_0_3_line_11 |  | 10 | 39 | 0.015778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1059-61_0_3_line_12 |  | 10 | 55 | 0.0056615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1059-61_0_3_line_13 |  | 11 | 12 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1059-61_0_3_line_14 |  | 11 | 13 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1059-61_0_3_line_15 |  | 12 | 14 | 0.009821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1059-61_0_3_line_16 |  | 13 | 15 | 0.07791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1059-61_0_3_line_17 |  | 13 | 16 | 0.042713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1059-61_0_3_line_18 |  | 13 | 17 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-61_0_3_line_19 |  | 14 | 18 | 0.038906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-61_0_3_line_20 |  | 15 | 19 | 0.026377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-61_0_3_line_21 |  | 15 | 20 | 0.067408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-61_0_3_line_22 |  | 16 | 21 | 0.005382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-61_0_3_line_23 |  | 17 | 22 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-61_0_3_line_24 |  | 17 | 23 | 0.0071992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1059-61_0_3_line_25 |  | 18 | 24 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-61_0_3_line_26 |  | 20 | 25 | 0.022124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1059-61_0_3_line_27 |  | 22 | 26 | 0.007903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-61_0_3_line_28 |  | 22 | 27 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-61_0_3_line_29 |  | 23 | 28 | 0.00077542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1059-61_0_3_line_30 |  | 27 | 62 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-61_0_3_line_31 |  | 27 | 49 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-61_0_3_line_32 |  | 29 | 30 | 0.053224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1059-61_0_3_line_33 |  | 30 | 31 | 0.02565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1059-61_0_3_line_34 |  | 31 | 32 | 0.04119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1059-61_0_3_line_35 |  | 32 | 33 | 0.041768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1059-61_0_3_line_36 |  | 33 | 54 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-61_0_3_line_37 |  | 34 | 35 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-61_0_3_line_38 |  | 34 | 36 | 0.089106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1059-61_0_3_line_39 |  | 35 | 37 | 0.041491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1059-61_0_3_line_40 |  | 36 | 38 | 0.00081248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-61_0_3_line_41 |  | 37 | 39 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1059-61_0_3_line_42 |  | 37 | 40 | 0.094044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1059-61_0_3_line_43 |  | 38 | 41 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-61_0_3_line_44 |  | 40 | 47 | 0.003147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1059-61_0_3_line_45 |  | 40 | 45 | 0.03152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1059-61_0_3_line_46 |  | 41 | 48 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-61_0_3_line_47 |  | 41 | 49 | 0.039517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-61_0_3_line_48 |  | 41 | 50 | 0.022302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-61_0_3_line_49 |  | 42 | 43 | 0.018057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1059-61_0_3_line_50 |  | 42 | 44 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-61_0_3_line_51 |  | 44 | 45 | 0.037115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1059-61_0_3_line_52 |  | 44 | 46 | 0.074608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-61_0_3_line_53 |  | 46 | 53 | 0.058186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1059-61_0_3_line_54 |  | 48 | 58 | 0.010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-61_0_3_line_55 |  | 48 | 59 | 0.002818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1059-61_0_3_line_56 |  | 49 | 60 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1059-61_0_3_line_57 |  | 50 | 56 | 0.0093087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1059-61_0_3_line_58 |  | 51 | 52 | 0.0049039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1059-61_0_3_line_59 |  | 52 | 61 | 0.0058367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1059-61_0_3_line_60 |  | 56 | 57 | 0.0048795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1059-61_0_3_line_61 |  | 59 | 63 | 0.009381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1059-61_0_3_line_62 |  | 59 | 64 | 0.006859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1059-61_0_3_line_63 |  | 60 | 61 | 0.0060411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1059-61_0_3_line_64 |  | 64 | 71 | 0.008181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1059-61_0_3_line_65 |  | 64 | 69 | 0.003196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1059-61_0_3_line_66 |  | 65 | 66 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1059-61_0_3_line_67 |  | 66 | 67 | 0.00311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1059-61_0_3_line_68 |  | 67 | 68 | 0.009587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1059-61_0_3_line_69 |  | 67 | 69 | 0.006909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1059-61_0_3_line_70 |  | 69 | 70 | 0.008912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-61_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 72 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2664701.5899 | 1208636.1248 | 2664705.9886 | 1208630.5727
1 | 2664724.0584 | 1208633.022 | 2664710.8472 | 1208624.4402 | 2664705.9886 | 1208630.5727
2 | 2664682.4681 | 1208660.1099 | 2664701.5899 | 1208636.1248
3 | 2664711.5281 | 1208649.2738 | 2664724.0584 | 1208633.022
4 | 2664732.2309 | 1208621.826 | 2664724.0584 | 1208633.022
5 | 2664682.4681 | 1208660.1099 | 2664672.1441 | 1208653.0827
6 | 2664644.7289 | 1208708.5863 | 2664682.4681 | 1208660.1099
7 | 2664732.2309 | 1208621.826 | 2664781.3029 | 1208543.7304
8 | 2664644.7289 | 1208708.5863 | 2664649.1367 | 1208711.5358 | 2664672.3671 | 1208728.4572
9 | 2664635.4825 | 1208720.6935 | 2664644.7289 | 1208708.5863
10 | 2664681.2239 | 1208734.9087 | 2664672.3671 | 1208728.4572
11 | 2664635.4825 | 1208720.6935 | 2664627.0836 | 1208708.6064 | 2664626.6383 | 1208707.6448
12 | 2664635.4825 | 1208720.6935 | 2664639.0535 | 1208725.0868
13 | 2664536.5328 | 1208503.9578 | 2664559.7916 | 1208505.481
14 | 2664570.1722 | 1208514.0054 | 2664567.7378 | 1208509.2318 | 2664565.7575 | 1208505.3524 | 2664565.5118 | 1208504.8717 | 2664563.7842 | 1208505.7424 | 2664559.7916 | 1208505.481
15 | 2664541.4903 | 1208495.4729 | 2664538.6861 | 1208500.2789 | 2664537.2764 | 1208502.6873 | 2664536.5328 | 1208503.9578
16 | 2664570.1722 | 1208514.0054 | 2664599.9724 | 1208495.939 | 2664640.9717 | 1208482.7748
17 | 2664570.1722 | 1208514.0054 | 2664563.4146 | 1208518.1126 | 2664566.8042 | 1208522.4408 | 2664567.5167 | 1208523.338 | 2664571.2363 | 1208528.0811 | 2664572.7061 | 1208529.9537 | 2664573.9285 | 1208531.5123 | 2664574.7234 | 1208532.5215 | 2664575.8483 | 1208533.9567 | 2664576.2307 | 1208534.4501 | 2664578.4309 | 1208532.7617 | 2664578.8434 | 1208533.2887 | 2664579.6159 | 1208534.2643 | 2664580.5384 | 1208535.4306 | 2664581.131 | 1208536.1708 | 2664581.506 | 1208536.6418 | 2664581.0224 | 1208537.0702 | 2664578.9963 | 1208538.8271 | 2664578.6355 | 1208539.1456 | 2664579.0556 | 1208539.6727 | 2664579.8805 | 1208540.7156 | 2664580.1956 | 1208541.1081
18 | 2664570.1722 | 1208514.0054 | 2664563.4146 | 1208518.1126 | 2664548.461 | 1208527.1787
19 | 2664541.4903 | 1208495.4729 | 2664539.7581 | 1208494.6537 | 2664530.7902 | 1208493.6562 | 2664525.9374 | 1208494.5709 | 2664518.5475 | 1208499.5052 | 2664507.7288 | 1208508.6137
20 | 2664666.9569 | 1208478.252 | 2664652.2664 | 1208480.9293 | 2664640.9717 | 1208482.7748
21 | 2664640.9717 | 1208482.7748 | 2664590.9685 | 1208437.5702
22 | 2664584.4059 | 1208537.7405 | 2664580.1956 | 1208541.1081
23 | 2664548.461 | 1208527.1787 | 2664541.0378 | 1208531.6789 | 2664538.7559 | 1208533.1885
24 | 2664548.461 | 1208527.1787 | 2664552.2216 | 1208532.3447 | 2664552.9554 | 1208532.6862
25 | 2664507.7288 | 1208508.6137 | 2664496.1746 | 1208518.3416 | 2664484.5732 | 1208528.9898
26 | 2664590.9685 | 1208437.5702 | 2664598.9386 | 1208431.3218 | 2664608.0776 | 1208423.55
27 | 2664538.7559 | 1208533.1885 | 2664543.5689 | 1208539.4666
28 | 2664538.7559 | 1208533.1885 | 2664535.9228 | 1208535.0479 | 2664527.339 | 1208540.7142
29 | 2664553.7308 | 1208532.6946 | 2664552.9554 | 1208532.6862 | 2664552.9554 | 1208532.6862
30 | 2664527.339 | 1208540.7142 | 2664535.2887 | 1208550.0947
31 | 2664527.339 | 1208540.7142 | 2664512.4273 | 1208550.8369
32 | 2664616.4165 | 1208806.973 | 2664593.6326 | 1208823.1141 | 2664588.0132 | 1208823.9427 | 2664586.0499 | 1208822.0092 | 2664578.2308 | 1208807.0643
33 | 2664616.4165 | 1208806.973 | 2664637.3483 | 1208792.1479
34 | 2664670.164 | 1208767.3974 | 2664665.0412 | 1208772.5341 | 2664637.3483 | 1208792.1479
35 | 2664697.4679 | 1208735.8186 | 2664675.3633 | 1208762.184 | 2664670.164 | 1208767.3974
36 | 2664681.2239 | 1208734.9087 | 2664697.4679 | 1208735.8186
37 | 2664612.017 | 1208661.7415 | 2664606.4968 | 1208655.907 | 2664605.6713 | 1208649.9945 | 2664599.4865 | 1208642.1148
38 | 2664553.8194 | 1208586.2227 | 2664562.9931 | 1208595.0104 | 2664563.0953 | 1208599.6143 | 2664557.6127 | 1208609.5611 | 2664556.3553 | 1208616.1626 | 2664558.6657 | 1208619.7454 | 2664563.9859 | 1208621.2927 | 2664569.8459 | 1208620.0331 | 2664573.4473 | 1208620.2277 | 2664581.4057 | 1208624.572 | 2664596.4475 | 1208638.2431 | 2664599.4865 | 1208642.1148
39 | 2664622.3589 | 1208698.4046 | 2664620.7669 | 1208690.9717 | 2664622.3246 | 1208679.8151 | 2664621.7393 | 1208669.9805 | 2664614.404 | 1208664.2643 | 2664612.017 | 1208661.7415
40 | 2664553.2327 | 1208585.6607 | 2664553.8194 | 1208586.2227
41 | 2664622.3589 | 1208698.4046 | 2664626.6383 | 1208707.6448
42 | 2664570.3592 | 1208675.1611 | 2664570.6863 | 1208676.5544 | 2664570.4478 | 1208681.7327 | 2664568.0138 | 1208692.3796 | 2664571.7021 | 1208690.8741 | 2664606.0931 | 1208671.4232 | 2664609.3665 | 1208671.7255 | 2664615.1433 | 1208681.6496 | 2664622.3589 | 1208698.4046
43 | 2664540.1636 | 1208573.1392 | 2664546.6122 | 1208579.3126 | 2664548.8244 | 1208581.4379 | 2664553.2327 | 1208585.6607
44 | 2664570.3592 | 1208675.1611 | 2664569.6474 | 1208672.096
45 | 2664570.3592 | 1208675.1611 | 2664565.8437 | 1208676.5353 | 2664552.4363 | 1208678.347 | 2664542.5411 | 1208687.1899
46 | 2664531.1473 | 1208582.2473 | 2664536.5667 | 1208576.0354 | 2664540.1636 | 1208573.1392
47 | 2664512.4273 | 1208550.8369 | 2664515.5295 | 1208554.3281 | 2664517.7324 | 1208556.6089 | 2664533.9201 | 1208573.3051 | 2664536.3186 | 1208575.777 | 2664536.5667 | 1208576.0354 | 2664540.1636 | 1208573.1392
48 | 2664540.1636 | 1208573.1392 | 2664557.3332 | 1208558.9059
49 | 2664556.3748 | 1208723.9729 | 2664550.3953 | 1208716.6149 | 2664548.8874 | 1208714.753 | 2664548.0546 | 1208713.7323 | 2664545.5938 | 1208710.7039 | 2664544.9786 | 1208709.9412
50 | 2664533.896 | 1208713.3012 | 2664536.374 | 1208716.1519 | 2664537.1699 | 1208717.0722 | 2664541.0358 | 1208713.901 | 2664544.9786 | 1208709.9412
51 | 2664533.896 | 1208713.3012 | 2664526.5826 | 1208704.8615 | 2664527.404 | 1208704.1254 | 2664530.0144 | 1208701.7633 | 2664532.425 | 1208699.5881 | 2664533.4616 | 1208698.6431 | 2664544.0411 | 1208689.085 | 2664542.5411 | 1208687.1899
52 | 2664533.896 | 1208713.3012 | 2664492.9419 | 1208744.9668 | 2664494.603 | 1208748.1311 | 2664502.1784 | 1208762.5773 | 2664503.5489 | 1208765.1937
53 | 2664503.5489 | 1208765.1937 | 2664520.4203 | 1208767.1328 | 2664529.4171 | 1208766.1294 | 2664537.3433 | 1208763.5913 | 2664554.7108 | 1208747.277
54 | 2664531.1473 | 1208582.2473 | 2664532.5245 | 1208583.5518 | 2664534.022 | 1208584.9689 | 2664538.6275 | 1208589.3435
55 | 2664531.1473 | 1208582.2473 | 2664529.2921 | 1208584.3729
56 | 2664512.4273 | 1208550.8369 | 2664506.2356 | 1208556.0621 | 2664501.2141 | 1208560.641
57 | 2664564.4996 | 1208552.9651 | 2664557.3332 | 1208558.9059
58 | 2664492.8633 | 1208569.083 | 2664489.6382 | 1208572.7772
59 | 2664492.8633 | 1208569.083 | 2664493.5284 | 1208568.3212 | 2664496.9264 | 1208564.8952
60 | 2664568.2562 | 1208549.851 | 2664564.4996 | 1208552.9651
61 | 2664529.2921 | 1208584.3729 | 2664530.3979 | 1208585.4633 | 2664531.8572 | 1208586.9022 | 2664535.9794 | 1208590.9715
62 | 2664529.2921 | 1208584.3729 | 2664524.781 | 1208589.5496
63 | 2664501.2141 | 1208560.641 | 2664500.4999 | 1208561.2922 | 2664496.9264 | 1208564.8952
64 | 2664524.781 | 1208589.5496 | 2664525.7664 | 1208590.5275 | 2664527.3913 | 1208592.1238 | 2664530.6108 | 1208595.305
65 | 2664524.781 | 1208589.5496 | 2664522.6795 | 1208591.9617
66 | 2664516.0824 | 1208599.5172 | 2664517.624 | 1208601.0792 | 2664519.3536 | 1208602.8323 | 2664522.8881 | 1208606.4172 | 2664519.3559 | 1208610.3592 | 2664523.7317 | 1208614.8759
67 | 2664518.13 | 1208597.1712 | 2664516.0824 | 1208599.5172
68 | 2664518.13 | 1208597.1712 | 2664519.5585 | 1208598.6542 | 2664521.1598 | 1208600.317 | 2664524.7834 | 1208604.0918
69 | 2664522.6795 | 1208591.9617 | 2664518.13 | 1208597.1712
70 | 2664522.6795 | 1208591.9617 | 2664524.1307 | 1208593.4449 | 2664525.4239 | 1208594.7819 | 2664528.9052 | 1208598.3551

## bus_geodata
| x | y | coords
0 | 2664705.9886 | 1208630.5727
1 | 2664701.5899 | 1208636.1248
2 | 2664724.0584 | 1208633.022
3 | 2664682.4681 | 1208660.1099
4 | 2664711.5281 | 1208649.2738
5 | 2664732.2309 | 1208621.826
6 | 2664672.1441 | 1208653.0827
7 | 2664644.7289 | 1208708.5863
8 | 2664781.3029 | 1208543.7304
9 | 2664672.3671 | 1208728.4572
10 | 2664635.4825 | 1208720.6935
11 | 2664559.7916 | 1208505.481
12 | 2664536.5328 | 1208503.9578
13 | 2664570.1722 | 1208514.0054
14 | 2664541.4903 | 1208495.4729
15 | 2664640.9717 | 1208482.7748
16 | 2664580.1956 | 1208541.1081
17 | 2664548.461 | 1208527.1787
18 | 2664507.7288 | 1208508.6137
19 | 2664666.9569 | 1208478.252
20 | 2664590.9685 | 1208437.5702
21 | 2664584.4059 | 1208537.7405
22 | 2664538.7559 | 1208533.1885
23 | 2664552.9554 | 1208532.6862
24 | 2664484.5732 | 1208528.9898
25 | 2664608.0776 | 1208423.55
26 | 2664543.5689 | 1208539.4666
27 | 2664527.339 | 1208540.7142
28 | 2664553.7308 | 1208532.6946
29 | 2664578.2308 | 1208807.0643
30 | 2664616.4165 | 1208806.973
31 | 2664637.3483 | 1208792.1479
32 | 2664670.164 | 1208767.3974
33 | 2664697.4678 | 1208735.8186
34 | 2664599.4865 | 1208642.1148
35 | 2664612.017 | 1208661.7415
36 | 2664553.8194 | 1208586.2227
37 | 2664622.3589 | 1208698.4046
38 | 2664553.2327 | 1208585.6607
39 | 2664626.6383 | 1208707.6448
40 | 2664570.3592 | 1208675.1611
41 | 2664540.1636 | 1208573.1392
42 | 2664544.9786 | 1208709.9412
43 | 2664556.3748 | 1208723.9729
44 | 2664533.896 | 1208713.3012
45 | 2664542.5411 | 1208687.1899
46 | 2664503.5489 | 1208765.1937
47 | 2664569.6474 | 1208672.096
48 | 2664531.1473 | 1208582.2473
49 | 2664512.4273 | 1208550.8369
50 | 2664557.3332 | 1208558.9059
51 | 2664489.6382 | 1208572.7772
52 | 2664492.8633 | 1208569.083
53 | 2664554.7108 | 1208747.277
54 | 2664681.2239 | 1208734.9087
55 | 2664639.0535 | 1208725.0868
56 | 2664564.4996 | 1208552.9651
57 | 2664568.2562 | 1208549.851
58 | 2664538.6275 | 1208589.3435
59 | 2664529.2921 | 1208584.3729
60 | 2664501.2141 | 1208560.641
61 | 2664496.9264 | 1208564.8952
62 | 2664535.2887 | 1208550.0947
63 | 2664535.9794 | 1208590.9715
64 | 2664524.781 | 1208589.5496
65 | 2664523.7317 | 1208614.8759
66 | 2664516.0824 | 1208599.5172
67 | 2664518.13 | 1208597.1712
68 | 2664524.7834 | 1208604.0918
69 | 2664522.6795 | 1208591.9617
70 | 2664528.9052 | 1208598.3551
71 | 2664530.6108 | 1208595.305
72 | 2664622.3589 | 1208698.4046

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98271 | -0.33231 | 0.027064 | 0.0067829
1 | 0.98331 | -0.32054 | 0 | 0
2 | 0.98129 | -0.36005 | 0 | 0
3 | 0.98592 | -0.26977 | 0 | 0
4 | 0.98047 | -0.37615 | 0.043358 | 0.010867
5 | 0.98101 | -0.3655 | 0.012354 | 0.0030962
6 | 0.98563 | -0.27539 | 0.025151 | 0.0063035
7 | 0.99257 | -0.14154 | 0 | 0
8 | 0.98021 | -0.38116 | 0.009368 | 0.0023478
9 | 0.99113 | -0.1694 | 0.0047826 | 0.0011986
10 | 0.99372 | -0.11955 | 0 | 0
11 | 0.98612 | -0.26712 | 0.006552 | 0.0016421
12 | 0.9859 | -0.27129 | 0 | 0
13 | 0.98636 | -0.26233 | 0 | 0
14 | 0.98581 | -0.27304 | 0 | 0
15 | 0.98589 | -0.27163 | 0.0018323 | 0.00045923
16 | 0.98584 | -0.27255 | 0 | 0
17 | 0.98722 | -0.24572 | 0 | 0
18 | 0.98546 | -0.28 | 0.0050157 | 0.0012571
19 | 0.98585 | -0.27234 | 0.0014949 | 0.00037464
20 | 0.98568 | -0.27566 | 0.0018278 | 0.00045809
21 | 0.98577 | -0.27384 | 0.013349 | 0.0033456
22 | 0.98764 | -0.23746 | 0 | 0
23 | 0.98719 | -0.24624 | 0.0018951 | 0.00047496
24 | 0.98532 | -0.28274 | 0.004947 | 0.0012398
25 | 0.98565 | -0.27626 | 0.0015028 | 0.00037664
26 | 0.98763 | -0.23773 | 0.0018817 | 0.00047159
27 | 0.98818 | -0.2271 | 0 | 0
28 | 0.98719 | -0.24627 | 0.0021306 | 0.00053398
29 | 0.9855 | -0.27859 | 0.024008 | 0.0060169
30 | 0.98667 | -0.25569 | 0 | 0
31 | 0.98724 | -0.24467 | 0.0092634 | 0.0023216
32 | 0.9885 | -0.22019 | 0.0081339 | 0.0020386
33 | 0.99009 | -0.18939 | 0 | 0
34 | 0.99826 | -0.033071 | 0.0039993 | 0.0010023
35 | 1 | 0 | -0.30673 | -0.077951
36 | 0.99214 | -0.15046 | 0.002132 | 0.00053434
37 | 0.99575 | -0.080754 | 0 | 0
38 | 0.99208 | -0.15151 | 0.0019491 | 0.0004885
39 | 0.99493 | -0.096386 | 0.007975 | 0.0019987
40 | 0.99163 | -0.16021 | 0 | 0
41 | 0.99091 | -0.17422 | 0 | 0
42 | 0.98924 | -0.20652 | 0 | 0
43 | 0.98894 | -0.2123 | 0.017956 | 0.0045001
44 | 0.98949 | -0.20154 | 0 | 0
45 | 0.99053 | -0.18134 | 0.0071977 | 0.0018039
46 | 0.98863 | -0.21833 | 0 | 0
47 | 0.9916 | -0.16077 | 0.010066 | 0.0025229
48 | 0.99078 | -0.17674 | 0 | 0
49 | 0.98894 | -0.21219 | 0 | 0
50 | 0.99079 | -0.17647 | 0.0018884 | 0.00047327
51 | 0.98878 | -0.21535 | 0.0019352 | 0.000485
52 | 0.98879 | -0.21518 | 0.0017523 | 0.00043916
53 | 0.98795 | -0.23145 | 0.012633 | 0.0031661
54 | 0.99071 | -0.17745 | 0 | 0
55 | 0.9937 | -0.11985 | 0.0030436 | 0.00076279
56 | 0.99076 | -0.1771 | 0.0017855 | 0.00044749
57 | 0.99075 | -0.17727 | 0.0020119 | 0.00050422
58 | 0.99075 | -0.17717 | 0.0023539 | 0.00058995
59 | 0.99075 | -0.17718 | 0 | 0
60 | 0.98884 | -0.21419 | 0.001942 | 0.00048672
61 | 0.98881 | -0.2148 | 0.0019233 | 0.00048202
62 | 0.98813 | -0.22798 | 0.0040268 | 0.0010092
63 | 0.99074 | -0.17749 | 0.0018857 | 0.00047261
64 | 0.99071 | -0.17801 | 0 | 0
65 | 0.99064 | -0.17946 | 0.001749 | 0.00043835
66 | 0.99067 | -0.1788 | 0 | 0
67 | 0.99067 | -0.1787 | 0 | 0
68 | 0.99066 | -0.17897 | 0.0015864 | 0.00039759
69 | 0.9907 | -0.17829 | 0 | 0
70 | 0.99068 | -0.17855 | 0.0016389 | 0.00041074
71 | 0.9907 | -0.17828 | 0.001846 | 0.00046265
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.092277 | -0.023176 | 0.092329 | 0.023209 | 5.1872e-05 | 3.3108e-05 | 0.13974 | 0.13974 | 0.13974 | 0.98271 | -0.33231 | 0.98331 | -0.32054 | 38.391
1 | 0.065212 | 0.016393 | -0.065126 | -0.016338 | 8.6242e-05 | 5.4897e-05 | 0.098763 | 0.098763 | 0.098763 | 0.98271 | -0.33231 | 0.98129 | -0.36005 | 27.1326
2 | -0.092329 | -0.023209 | 0.092553 | 0.023353 | 0.00022442 | 0.00014324 | 0.13974 | 0.13974 | 0.13974 | 0.98331 | -0.32054 | 0.98592 | -0.26977 | 38.391
3 | 0.043391 | 0.010888 | -0.043358 | -0.010867 | 3.329e-05 | 2.1047e-05 | 0.065803 | 0.065803 | 0.065803 | 0.98129 | -0.36005 | 0.98047 | -0.37615 | 18.0778
4 | 0.021735 | 0.0054508 | -0.021729 | -0.0054474 | 5.6422e-06 | 3.4361e-06 | 0.03296 | 0.03296 | 0.03296 | 0.98129 | -0.36005 | 0.98101 | -0.3655 | 9.0549
5 | 0.025158 | 0.0063077 | -0.025151 | -0.0063035 | 6.739e-06 | 4.1541e-06 | 0.037971 | 0.037971 | 0.037971 | 0.98592 | -0.26977 | 0.98563 | -0.27539 | 10.4316
6 | -0.11771 | -0.02966 | 0.11844 | 0.030125 | 0.00072691 | 0.00046443 | 0.17771 | 0.17771 | 0.17771 | 0.98592 | -0.26977 | 0.99257 | -0.14154 | 48.8226
7 | 0.009375 | 0.0023512 | -0.009368 | -0.0023478 | 6.9949e-06 | 3.3131e-06 | 0.014221 | 0.014221 | 0.014221 | 0.98101 | -0.3655 | 0.98021 | -0.38116 | 3.9069
8 | 0.046428 | 0.011727 | -0.046366 | -0.011688 | 6.1905e-05 | 3.918e-05 | 0.069635 | 0.069635 | 0.069635 | 0.99257 | -0.14154 | 0.99113 | -0.1694 | 19.1306
9 | -0.16487 | -0.041852 | 0.16504 | 0.041963 | 0.0001746 | 0.00011135 | 0.24735 | 0.24735 | 0.24735 | 0.99257 | -0.14154 | 0.99372 | -0.11955 | 33.9765
10 | 0.041584 | 0.010489 | -0.041568 | -0.010479 | 1.6028e-05 | 1.0117e-05 | 0.062455 | 0.062455 | 0.062455 | 0.99113 | -0.1694 | 0.99071 | -0.17745 | 17.158
11 | -0.16808 | -0.042726 | 0.16827 | 0.042845 | 0.00018773 | 0.00011974 | 0.25191 | 0.25191 | 0.25191 | 0.99372 | -0.11955 | 0.99493 | -0.096386 | 34.6026
12 | 0.0030436 | 0.00076275 | -0.0030436 | -0.00076279 | 4.4099e-08 | -4.512e-08 | 0.0045576 | 0.0045576 | 0.0045576 | 0.99372 | -0.11955 | 0.9937 | -0.11985 | 1.2521
13 | 0.0099695 | 0.0024999 | -0.0099675 | -0.002499 | 1.9783e-06 | 9.6879e-07 | 0.015044 | 0.015044 | 0.015044 | 0.98612 | -0.26712 | 0.9859 | -0.27129 | 4.133
14 | -0.016522 | -0.004142 | 0.016525 | 0.0041442 | 3.7735e-06 | 2.2084e-06 | 0.024931 | 0.024931 | 0.024931 | 0.98612 | -0.26712 | 0.98636 | -0.26233 | 6.8491
15 | 0.0099675 | 0.002499 | -0.0099667 | -0.0024985 | 8.3354e-07 | 4.0824e-07 | 0.015044 | 0.015044 | 0.015044 | 0.9859 | -0.27129 | 0.98581 | -0.27304 | 4.133
16 | 0.0066615 | 0.0016685 | -0.0066585 | -0.0016676 | 2.9504e-06 | 8.9433e-07 | 0.010049 | 0.010049 | 0.010049 | 0.98636 | -0.26233 | 0.98589 | -0.27163 | 2.7608
17 | 0.013357 | 0.0033497 | -0.01335 | -0.0033461 | 6.5037e-06 | 3.6175e-06 | 0.02015 | 0.020151 | 0.020151 | 0.98636 | -0.26233 | 0.98584 | -0.27255 | 5.5359
18 | -0.036543 | -0.0091624 | 0.036572 | 0.0091806 | 2.8944e-05 | 1.82e-05 | 0.05513 | 0.05513 | 0.05513 | 0.98636 | -0.26233 | 0.98722 | -0.24572 | 15.1457
19 | 0.0099667 | 0.0024985 | -0.0099634 | -0.0024969 | 3.3021e-06 | 1.6175e-06 | 0.015044 | 0.015044 | 0.015044 | 0.98581 | -0.27304 | 0.98546 | -0.28 | 4.1331
20 | 0.0014949 | 0.00037434 | -0.0014949 | -0.00037464 | 5.0352e-08 | -3.0411e-07 | 0.0022562 | 0.0022563 | 0.0022563 | 0.98589 | -0.27163 | 0.98585 | -0.27234 | 0.61986
21 | 0.0033313 | 0.00083402 | -0.0033306 | -0.00083447 | 6.3899e-07 | -4.5042e-07 | 0.0050276 | 0.0050279 | 0.0050279 | 0.98589 | -0.27163 | 0.98568 | -0.27566 | 1.3813
22 | 0.01335 | 0.0033461 | -0.013349 | -0.0033456 | 8.195e-07 | 4.5587e-07 | 0.020151 | 0.020151 | 0.020151 | 0.98584 | -0.27255 | 0.98577 | -0.27384 | 5.5359
23 | -0.040598 | -0.01019 | 0.040614 | 0.0102 | 1.6002e-05 | 1.0096e-05 | 0.061198 | 0.061198 | 0.061198 | 0.98722 | -0.24572 | 0.98764 | -0.23746 | 16.8127
24 | 0.0040258 | 0.0010089 | -0.0040257 | -0.0010089 | 9.9405e-08 | -2.8427e-08 | 0.006068 | 0.006068 | 0.006068 | 0.98722 | -0.24572 | 0.98719 | -0.24624 | 1.667
25 | 0.0049477 | 0.0012399 | -0.004947 | -0.0012398 | 6.4573e-07 | 2.0261e-08 | 0.0074708 | 0.007471 | 0.007471 | 0.98546 | -0.28 | 0.98532 | -0.28274 | 2.0525
26 | 0.0015028 | 0.00037638 | -0.0015028 | -0.00037664 | 4.2702e-08 | -2.5466e-07 | 0.0022686 | 0.0022687 | 0.0022687 | 0.98568 | -0.27566 | 0.98565 | -0.27626 | 0.62328
27 | 0.0018817 | 0.0004715 | -0.0018817 | -0.00047159 | 2.3819e-08 | -8.5889e-08 | 0.002835 | 0.002835 | 0.002835 | 0.98764 | -0.23746 | 0.98763 | -0.23773 | 0.77885
28 | -0.042496 | -0.010671 | 0.042517 | 0.010684 | 2.1025e-05 | 1.3281e-05 | 0.064033 | 0.064033 | 0.064033 | 0.98764 | -0.23746 | 0.98818 | -0.2271 | 17.5915
29 | 0.0021306 | 0.00053397 | -0.0021306 | -0.00053398 | 2.9991e-09 | -7.9946e-09 | 0.0032115 | 0.0032115 | 0.0032115 | 0.98719 | -0.24624 | 0.98719 | -0.24627 | 0.88228
30 | 0.0040269 | 0.0010092 | -0.0040268 | -0.0010092 | 1.6936e-07 | -4.8948e-08 | 0.0060638 | 0.0060639 | 0.0060639 | 0.98818 | -0.2271 | 0.98813 | -0.22798 | 1.6659
31 | -0.046544 | -0.011694 | 0.046577 | 0.011715 | 3.3146e-05 | 2.0983e-05 | 0.070097 | 0.070097 | 0.070097 | 0.98818 | -0.2271 | 0.98894 | -0.21219 | 19.2574
32 | -0.024008 | -0.0060169 | 0.024034 | 0.006033 | 2.6227e-05 | 1.6106e-05 | 0.036249 | 0.036249 | 0.036249 | 0.9855 | -0.27859 | 0.98667 | -0.25569 | 9.9586
33 | -0.024034 | -0.006033 | 0.024047 | 0.0060408 | 1.2639e-05 | 7.7612e-06 | 0.036249 | 0.036249 | 0.036249 | 0.98667 | -0.25569 | 0.98724 | -0.24467 | 9.9586
34 | -0.03331 | -0.0083624 | 0.033349 | 0.0083868 | 3.8942e-05 | 2.4396e-05 | 0.050211 | 0.050211 | 0.050211 | 0.98724 | -0.24467 | 0.9885 | -0.22019 | 13.7943
35 | -0.041483 | -0.010425 | 0.041544 | 0.010464 | 6.1097e-05 | 3.8566e-05 | 0.062455 | 0.062455 | 0.062455 | 0.9885 | -0.22019 | 0.99009 | -0.18939 | 17.1581
36 | -0.041544 | -0.010464 | 0.041568 | 0.010479 | 2.3729e-05 | 1.4978e-05 | 0.062455 | 0.062455 | 0.062455 | 0.99009 | -0.18939 | 0.99071 | -0.17745 | 17.158
37 | -0.079563 | -0.020214 | 0.07969 | 0.020295 | 0.0001269 | 8.0899e-05 | 0.11869 | 0.11869 | 0.11869 | 0.99826 | -0.033071 | 1 | 0 | 32.6084
38 | 0.075564 | 0.019212 | -0.07514 | -0.018941 | 0.00042466 | 0.00027063 | 0.11273 | 0.11273 | 0.11273 | 0.99826 | -0.033071 | 0.99214 | -0.15046 | 30.9708
39 | 0.22539 | 0.057656 | -0.22451 | -0.057096 | 0.00087721 | 0.00056033 | 0.33579 | 0.3358 | 0.3358 | 1 | 0 | 0.99575 | -0.080754 | 46.1257
40 | 0.073007 | 0.018407 | -0.073004 | -0.018405 | 3.6556e-06 | 2.3291e-06 | 0.10954 | 0.10954 | 0.10954 | 0.99214 | -0.15046 | 0.99208 | -0.15151 | 30.0924
41 | 0.17638 | 0.044929 | -0.17625 | -0.044844 | 0.0001329 | 8.4794e-05 | 0.26383 | 0.26383 | 0.26383 | 0.99575 | -0.080754 | 0.99493 | -0.096386 | 36.2409
42 | 0.048131 | 0.012167 | -0.047948 | -0.012051 | 0.00018263 | 0.00011566 | 0.071962 | 0.071962 | 0.071962 | 0.99575 | -0.080754 | 0.99163 | -0.16021 | 19.7698
43 | 0.071055 | 0.017916 | -0.070978 | -0.017867 | 7.7146e-05 | 4.914e-05 | 0.10661 | 0.10661 | 0.10661 | 0.99208 | -0.15151 | 0.99091 | -0.17422 | 29.2892
44 | 0.010067 | 0.002523 | -0.010066 | -0.0025229 | 2.6929e-07 | 1.3175e-07 | 0.015106 | 0.015106 | 0.015106 | 0.99163 | -0.16021 | 0.9916 | -0.16077 | 4.15
45 | 0.037881 | 0.0095279 | -0.037843 | -0.0095039 | 3.821e-05 | 2.4048e-05 | 0.056856 | 0.056856 | 0.056856 | 0.99163 | -0.16021 | 0.99053 | -0.18134 | 15.6199
46 | 0.011062 | 0.0027719 | -0.011061 | -0.0027712 | 1.3309e-06 | 6.861e-07 | 0.016611 | 0.016611 | 0.016611 | 0.99091 | -0.17422 | 0.99078 | -0.17674 | 4.5636
47 | 0.054229 | 0.01367 | -0.054131 | -0.013608 | 9.834e-05 | 6.2429e-05 | 0.081462 | 0.081462 | 0.081462 | 0.99091 | -0.17422 | 0.98894 | -0.21219 | 22.3798
48 | 0.0056865 | 0.001425 | -0.0056859 | -0.0014249 | 6.0984e-07 | 1.0304e-07 | 0.0085392 | 0.0085393 | 0.0085393 | 0.99091 | -0.17422 | 0.99079 | -0.17647 | 2.346
49 | 0.017961 | 0.004503 | -0.017956 | -0.0045001 | 4.9426e-06 | 2.9315e-06 | 0.027017 | 0.027017 | 0.027017 | 0.98924 | -0.20652 | 0.98894 | -0.2123 | 7.4223
50 | -0.017961 | -0.004503 | 0.017965 | 0.0045056 | 4.2651e-06 | 2.5296e-06 | 0.027017 | 0.027017 | 0.027017 | 0.98924 | -0.20652 | 0.98949 | -0.20154 | 7.4223
51 | -0.030616 | -0.0076815 | 0.030645 | 0.0077 | 2.9507e-05 | 1.8407e-05 | 0.046044 | 0.046044 | 0.046044 | 0.98949 | -0.20154 | 0.99053 | -0.18134 | 12.6494
52 | 0.012651 | 0.003176 | -0.012641 | -0.0031704 | 1.0129e-05 | 5.5249e-06 | 0.019027 | 0.019027 | 0.019027 | 0.98949 | -0.20154 | 0.98863 | -0.21833 | 5.2272
53 | 0.012641 | 0.0031704 | -0.012633 | -0.0031661 | 7.8995e-06 | 4.3101e-06 | 0.019027 | 0.019027 | 0.019027 | 0.98863 | -0.21833 | 0.98795 | -0.23145 | 5.2273
54 | 0.002354 | 0.00058984 | -0.0023539 | -0.00058995 | 4.8257e-08 | -1.0171e-07 | 0.0035353 | 0.0035353 | 0.0035353 | 0.99078 | -0.17674 | 0.99075 | -0.17717 | 0.97125
55 | 0.0087067 | 0.0021814 | -0.0087066 | -0.0021813 | 1.8069e-07 | 7.935e-08 | 0.013076 | 0.013076 | 0.013076 | 0.99078 | -0.17674 | 0.99075 | -0.17718 | 3.5923
56 | 0.0075538 | 0.0018931 | -0.007553 | -0.0018929 | 7.2168e-07 | 2.7075e-07 | 0.011366 | 0.011366 | 0.011366 | 0.98894 | -0.21219 | 0.98884 | -0.21419 | 3.1225
57 | 0.0037975 | 0.00095162 | -0.0037974 | -0.00095166 | 1.1355e-07 | -4.7212e-08 | 0.0057033 | 0.0057033 | 0.0057033 | 0.99079 | -0.17647 | 0.99076 | -0.1771 | 1.5668
58 | -0.0019352 | -0.000485 | 0.0019352 | 0.00048495 | 1.5596e-08 | -5.2919e-08 | 0.0029122 | 0.0029122 | 0.0029122 | 0.98878 | -0.21535 | 0.98879 | -0.21518 | 0.80007
59 | -0.0036875 | -0.00092411 | 0.0036875 | 0.00092408 | 6.74e-08 | -3.1732e-08 | 0.0055492 | 0.0055492 | 0.0055492 | 0.98879 | -0.21518 | 0.98881 | -0.2148 | 1.5245
60 | 0.0020119 | 0.00050417 | -0.0020119 | -0.00050422 | 1.6707e-08 | -5.2145e-08 | 0.0030216 | 0.0030216 | 0.0030216 | 0.99076 | -0.1771 | 0.99075 | -0.17727 | 0.83012
61 | 0.0018858 | 0.00047251 | -0.0018857 | -0.00047261 | 2.8218e-08 | -1.0274e-07 | 0.0028322 | 0.0028322 | 0.0028322 | 0.99075 | -0.17718 | 0.99074 | -0.17749 | 0.77809
62 | 0.0068208 | 0.0017088 | -0.0068205 | -0.0017087 | 2.6992e-07 | 8.4421e-08 | 0.010244 | 0.010244 | 0.010244 | 0.99075 | -0.17718 | 0.99071 | -0.17801 | 2.8143
63 | 0.005611 | 0.0014061 | -0.0056108 | -0.0014061 | 1.6151e-07 | 2.587e-08 | 0.0084434 | 0.0084435 | 0.0084435 | 0.98884 | -0.21419 | 0.98881 | -0.2148 | 2.3196
64 | 0.001846 | 0.00046256 | -0.001846 | -0.00046265 | 2.3584e-08 | -9.0249e-08 | 0.0027726 | 0.0027726 | 0.0027726 | 0.99071 | -0.17801 | 0.9907 | -0.17828 | 0.76172
65 | 0.0049745 | 0.0012461 | -0.0049745 | -0.0012461 | 6.6902e-08 | 1.6641e-09 | 0.0074714 | 0.0074714 | 0.0074714 | 0.99071 | -0.17801 | 0.9907 | -0.17829 | 2.0526
66 | -0.001749 | -0.00043835 | 0.0017491 | 0.00043811 | 5.5059e-08 | -2.3866e-07 | 0.0026272 | 0.0026271 | 0.0026272 | 0.99064 | -0.17946 | 0.99067 | -0.1788 | 0.72175
67 | -0.0017491 | -0.00043811 | 0.0017491 | 0.00043807 | 8.0489e-09 | -3.4892e-08 | 0.0026271 | 0.0026271 | 0.0026271 | 0.99067 | -0.1788 | 0.99067 | -0.1787 | 0.72172
68 | 0.0015864 | 0.00039748 | -0.0015864 | -0.00039759 | 2.0412e-08 | -1.1037e-07 | 0.0023828 | 0.0023828 | 0.0023828 | 0.99067 | -0.1787 | 0.99066 | -0.17897 | 0.65463
69 | -0.0033355 | -0.00083555 | 0.0033356 | 0.0008355 | 6.5027e-08 | -4.7343e-08 | 0.0050099 | 0.0050098 | 0.0050099 | 0.99067 | -0.1787 | 0.9907 | -0.17829 | 1.3763
70 | 0.0016389 | 0.00041064 | -0.0016389 | -0.00041074 | 2.025e-08 | -1.0179e-07 | 0.0024616 | 0.0024616 | 0.0024616 | 0.9907 | -0.17829 | 0.99068 | -0.17855 | 0.67626

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31148 | 0.079142

## res_load
| p_mw | q_mvar
0 | 0.027064 | 0.0067829
1 | 0.043358 | 0.010867
2 | 0.012354 | 0.0030962
3 | 0.025151 | 0.0063035
4 | 0.009368 | 0.0023478
5 | 0.0047826 | 0.0011986
6 | 0.006552 | 0.0016421
7 | 0.0018323 | 0.00045923
8 | 0.0050157 | 0.0012571
9 | 0.0014949 | 0.00037464
10 | 0.0018278 | 0.00045809
11 | 0.013349 | 0.0033456
12 | 0.0018951 | 0.00047496
13 | 0.004947 | 0.0012398
14 | 0.0015028 | 0.00037664
15 | 0.0018817 | 0.00047159
16 | 0.0021306 | 0.00053398
17 | 0.024008 | 0.0060169
18 | 0.0092634 | 0.0023216
19 | 0.0081339 | 0.0020386
20 | 0.0039993 | 0.0010023
21 | 0.0047518 | 0.0011909
22 | 0.002132 | 0.00053434
23 | 0.0019491 | 0.0004885
24 | 0.007975 | 0.0019987
25 | 0.017956 | 0.0045001
26 | 0.0071977 | 0.0018039
27 | 0.010066 | 0.0025229
28 | 0.0018884 | 0.00047327
29 | 0.0019352 | 0.000485
30 | 0.0017523 | 0.00043916
31 | 0.012633 | 0.0031661
32 | 0.0030436 | 0.00076279
33 | 0.0017855 | 0.00044749
34 | 0.0020119 | 0.00050422
35 | 0.0023539 | 0.00058995
36 | 0.001942 | 0.00048672
37 | 0.0019233 | 0.00048202
38 | 0.0040268 | 0.0010092
39 | 0.0018857 | 0.00047261
40 | 0.001749 | 0.00043835
41 | 0.0015864 | 0.00039759
42 | 0.0016389 | 0.00041074
43 | 0.001846 | 0.00046265

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1