## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1059-62_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1059-62_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1059-62_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1059-62_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1059-62_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1059-62_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1059-62_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1059-62_0_5_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1059-62_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_1059-62_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1059-62_0_5_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_1059-62_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1059-62_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1059-62_0_5_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_1059-62_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1059-62_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1059-62_0_5_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1059-62_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1059-62_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_1059-62_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1059-62_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1059-62_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1059-62_0_5_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_1059-62_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1059-62_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1059-62_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1059-62_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1059-62_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1059-62_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1059-62_0_5_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1059-62_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1059-62_0_5_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1059-62_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1059-62_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1059-62_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1059-62_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1059-62_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1059-62_0_5_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1059-62_0_5_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_1059-62_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1059-62_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1059-62_0_5_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_1059-62_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1059-62_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1059-62_0_5_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_1059-62_0_5_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1059-62_0_5_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1059-62_0_5_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_1059-62_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1059-62_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1059-62_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1059-62_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1059-62_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1059-62_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1059-62_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_1059-62_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1059-62_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_MV_24_1_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1059-62_0_5_load_0 | 0 | 0.031127 | 0.0078012 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1059-62_0_5_load_1 | 1 | 0.018566 | 0.0046532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1059-62_0_5_load_4 | 4 | 0.013943 | 0.0034944 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1059-62_0_5_load_52 | 8 | 0.016461 | 0.0041256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1059-62_0_5_load_55 | 10 | 0.027522 | 0.0068976 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1059-62_0_5_load_33 | 13 | 0.01201 | 0.0030101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1059-62_0_5_load_37 | 14 | 0.019862 | 0.0049778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1059-62_0_5_load_54 | 16 | 0.011747 | 0.0029441 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1059-62_0_5_load_56 | 22 | 0.0089424 | 0.0022412 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1059-62_0_5_load_29 | 27 | 0.026883 | 0.0067375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1059-62_0_5_load_34 | 28 | 0.035962 | 0.0090129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1059-62_0_5_load_43 | 29 | 0.0053514 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1059-62_0_5_load_24 | 30 | 0.005978 | 0.0014982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1059-62_0_5_load_42 | 33 | 0.022978 | 0.0057589 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1059-62_0_5_load_53 | 35 | 0.011745 | 0.0029435 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1059-62_0_5_load_58 | 37 | 0.018979 | 0.0047567 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1059-62_0_5_load_57 | 38 | 0.015317 | 0.0038389 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1059-62_0_5_load_17 | 41 | 0.045826 | 0.011485 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1059-62_0_5_load_50 | 43 | 0.021002 | 0.0052636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1059-62_0_5_load_49 | 45 | 0.020998 | 0.0052625 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1059-62_0_5_load_44 | 48 | 0.012249 | 0.0030698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1059-62_0_5_load_46 | 49 | 0.01746 | 0.004376 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1059-62_0_5_load_51 | 50 | 0.020999 | 0.0052629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1059-62_0_5_load_38 | 52 | 0.0086425 | 0.002166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1059-62_0_5_load_48 | 53 | 0.012253 | 0.0030708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1059-62_0_5_load_31 | 54 | 0.04104 | 0.010286 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1059-62_0_5_load_32 | 55 | 0.026883 | 0.0067375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1059-62_0_5_load_36 | 56 | 0.032239 | 0.0080799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1059-62_0_5_line_0 |  | 0 | 1 | 0.020916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1059-62_0_5_line_1 |  | 1 | 2 | 0.032097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1059-62_0_5_line_2 |  | 2 | 6 | 0.040133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1059-62_0_5_line_3 |  | 2 | 3 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1059-62_0_5_line_4 |  | 3 | 4 | 0.027172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1059-62_0_5_line_5 |  | 3 | 5 | 0.0063089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1059-62_0_5_line_6 |  | 4 | 7 | 0.03618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1059-62_0_5_line_7 |  | 5 | 8 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1059-62_0_5_line_8 |  | 6 | 9 | 0.054952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1059-62_0_5_line_9 |  | 6 | 10 | 0.036107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1059-62_0_5_line_10 |  | 7 | 31 | 0.0060045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1059-62_0_5_line_11 |  | 7 | 32 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1059-62_0_5_line_12 |  | 9 | 14 | 0.061008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1059-62_0_5_line_13 |  | 11 | 12 | 0.034939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1059-62_0_5_line_14 |  | 11 | 13 | 0.031267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1059-62_0_5_line_15 |  | 12 | 30 | 0.0061151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1059-62_0_5_line_16 |  | 13 | 26 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1059-62_0_5_line_17 |  | 14 | 19 | 0.011675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1059-62_0_5_line_18 |  | 15 | 16 | 0.003801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1059-62_0_5_line_19 |  | 15 | 17 | 0.099937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1059-62_0_5_line_20 |  | 15 | 18 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1059-62_0_5_line_21 |  | 17 | 28 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1059-62_0_5_line_22 |  | 18 | 35 | 0.003853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1059-62_0_5_line_23 |  | 18 | 36 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1059-62_0_5_line_24 |  | 19 | 20 | 0.0793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1059-62_0_5_line_25 |  | 20 | 29 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1059-62_0_5_line_26 |  | 20 | 21 | 0.060679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1059-62_0_5_line_27 |  | 21 | 22 | 0.006377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1059-62_0_5_line_28 |  | 21 | 23 | 0.023126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1059-62_0_5_line_29 |  | 21 | 24 | 0.038636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1059-62_0_5_line_30 |  | 23 | 37 | 0.008301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1059-62_0_5_line_31 |  | 23 | 38 | 0.02876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1059-62_0_5_line_32 |  | 24 | 30 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1059-62_0_5_line_33 |  | 25 | 26 | 0.029914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1059-62_0_5_line_34 |  | 25 | 27 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1059-62_0_5_line_35 |  | 27 | 39 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_1059-62_0_5_line_36 |  | 28 | 40 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1059-62_0_5_line_37 |  | 31 | 33 | 0.033221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1059-62_0_5_line_38 |  | 31 | 34 | 0.041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1059-62_0_5_line_39 |  | 32 | 41 | 0.070379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1059-62_0_5_line_40 |  | 34 | 50 | 0.006839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1059-62_0_5_line_41 |  | 34 | 51 | 0.072243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1059-62_0_5_line_42 |  | 34 | 42 | 0.024048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1059-62_0_5_line_43 |  | 36 | 53 | 0.004041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1059-62_0_5_line_44 |  | 36 | 47 | 0.016919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1059-62_0_5_line_45 |  | 39 | 54 | 0.081333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1059-62_0_5_line_46 |  | 39 | 55 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1059-62_0_5_line_47 |  | 40 | 56 | 0.030267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1059-62_0_5_line_48 |  | 42 | 43 | 0.00614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1059-62_0_5_line_49 |  | 42 | 44 | 0.0382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_1059-62_0_5_line_50 |  | 44 | 45 | 0.005934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1059-62_0_5_line_51 |  | 44 | 46 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1059-62_0_5_line_52 |  | 46 | 49 | 0.006044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1059-62_0_5_line_53 |  | 46 | 47 | 0.040131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1059-62_0_5_line_54 |  | 47 | 48 | 0.003943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1059-62_0_5_line_55 |  | 51 | 52 | 0.092704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1059-62_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 57 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2664673.0599 | 1209020.9724 | 2664679.2865 | 1209034.2368 | 2664673.5965 | 1209036.8523
1 | 2664644.4328 | 1209050.258 | 2664673.5965 | 1209036.8523
2 | 2664644.4328 | 1209050.258 | 2664647.4403 | 1209055.427 | 2664657.6287 | 1209075.6052 | 2664662.4713 | 1209086.1085
3 | 2664637.6989 | 1209036.7879 | 2664639.1624 | 1209039.939 | 2664641.7268 | 1209045.3145 | 2664642.485 | 1209046.9015 | 2664644.4328 | 1209050.258
4 | 2664637.6989 | 1209036.7879 | 2664630.9607 | 1209022.3173 | 2664626.3776 | 1209012.0878
5 | 2664637.6989 | 1209036.7879 | 2664635.3858 | 1209039.0865 | 2664634.0701 | 1209036.3373
6 | 2664616.2469 | 1208977.7642 | 2664616.5372 | 1208981.136 | 2664616.9553 | 1208986.7551 | 2664617.4479 | 1208990.4071 | 2664619.4483 | 1208996.6214 | 2664626.3776 | 1209012.0878
7 | 2664609.1605 | 1209045.9735 | 2664609.8589 | 1209047.4709 | 2664634.0701 | 1209036.3373
8 | 2664662.4713 | 1209086.1085 | 2664667.1727 | 1209096.3101 | 2664681.5439 | 1209128.2297 | 2664685.3356 | 1209136.0978
9 | 2664687.601 | 1209068.7813 | 2664690.4229 | 1209073.5481 | 2664662.4713 | 1209086.1085
10 | 2664612.7577 | 1208977.0482 | 2664613.0512 | 1208979.4306 | 2664616.2469 | 1208977.7642
11 | 2664635.0081 | 1208967.9946 | 2664616.2469 | 1208977.7642
12 | 2664685.3356 | 1209136.0978 | 2664686.6964 | 1209137.4912 | 2664688.2868 | 1209138.0421 | 2664689.5632 | 1209138.1115 | 2664691.7451 | 1209137.3903 | 2664702.8347 | 1209132.6187 | 2664706.0425 | 1209131.2415 | 2664735.8982 | 1209119.0244 | 2664741.4524 | 1209116.8104
13 | 2664825.1764 | 1209041.1901 | 2664827.4437 | 1209039.6138 | 2664839.7178 | 1209034.2994 | 2664845.9726 | 1209031.6546 | 2664843.7214 | 1209019.8563
14 | 2664843.7214 | 1209019.8563 | 2664837.5392 | 1208989.2066
15 | 2664825.1764 | 1209041.1901 | 2664821.722 | 1209043.5763 | 2664820.7991 | 1209045.2562
16 | 2664831.675 | 1208960.1335 | 2664837.5392 | 1208989.2066
17 | 2664752.298 | 1209112.4871 | 2664741.4524 | 1209116.8104
18 | 2664779.7671 | 1208868.503 | 2664781.3107 | 1208871.9774
19 | 2664740.2923 | 1208833.8648 | 2664747.4807 | 1208829.2733 | 2664767.7101 | 1208819.4756 | 2664771.3033 | 1208825.3293 | 2664795.3676 | 1208864.9257 | 2664781.3107 | 1208871.9774
20 | 2664781.3107 | 1208871.9774 | 2664766.9604 | 1208878.737
21 | 2664740.2923 | 1208833.8648 | 2664736.8857 | 1208836.0403 | 2664729.9431 | 1208839.5576
22 | 2664765.3182 | 1208875.2504 | 2664766.9604 | 1208878.737
23 | 2664766.9604 | 1208878.737 | 2664748.1089 | 1208887.6713
24 | 2664752.298 | 1209112.4871 | 2664803.995 | 1209093.1919 | 2664815.139 | 1209089.0325 | 2664826.1138 | 1209083.6484
25 | 2664826.1138 | 1209083.6484 | 2664820.2576 | 1209070.6102
26 | 2664784.3399 | 1209069.7754 | 2664788.818 | 1209080.2303 | 2664790.8097 | 1209083.0314 | 2664792.0688 | 1209083.9901 | 2664798.7267 | 1209081.3163 | 2664803.995 | 1209093.1919 | 2664815.139 | 1209089.0325 | 2664826.1138 | 1209083.6484
27 | 2664784.3399 | 1209069.7754 | 2664778.4444 | 1209072.2462
28 | 2664775.6193 | 1209053.7821 | 2664779.0335 | 1209052.296 | 2664783.8794 | 1209063.1775 | 2664783.1614 | 1209063.4921 | 2664782.6162 | 1209064.698 | 2664783.1241 | 1209066.9271 | 2664784.3399 | 1209069.7754
29 | 2664784.3399 | 1209069.7754 | 2664783.1241 | 1209066.9271 | 2664782.6162 | 1209064.698 | 2664783.1614 | 1209063.4921 | 2664783.8794 | 1209063.1775 | 2664810.7469 | 1209051.7732 | 2664811.2835 | 1209050.6673 | 2664811.9407 | 1209050.352
30 | 2664775.6193 | 1209053.7821 | 2664767.9889 | 1209057.1013
31 | 2664755.0574 | 1209042.4521 | 2664760.2801 | 1209040.3408 | 2664764.8122 | 1209041.613 | 2664769.2689 | 1209041.439 | 2664770.1138 | 1209042.0374 | 2664772.6319 | 1209047.4681 | 2664775.6193 | 1209053.7821
32 | 2664811.9407 | 1209050.352 | 2664814.5996 | 1209049.1134 | 2664815.5636 | 1209047.8454 | 2664820.7991 | 1209045.2562
33 | 2664824.3957 | 1208931.1256 | 2664828.7741 | 1208947.2608 | 2664831.675 | 1208960.1335
34 | 2664824.3957 | 1208931.1256 | 2664803.3243 | 1208940.665
35 | 2664786.503 | 1208948.2803 | 2664803.3243 | 1208940.665
36 | 2664699.8291 | 1208852.4819 | 2664706.5049 | 1208849.5747 | 2664721.9107 | 1208843.627 | 2664729.9431 | 1208839.5576
37 | 2664583.3579 | 1208989.9379 | 2664583.7647 | 1208990.9874 | 2664612.7577 | 1208977.0482
38 | 2664612.7577 | 1208977.0482 | 2664612.3252 | 1208973.4636 | 2664610.5809 | 1208969.5645 | 2664608.8671 | 1208967.0667 | 2664606.775 | 1208965.0984 | 2664604.7185 | 1208963.364 | 2664602.9959 | 1208962.3781 | 2664604.7732 | 1208959.0063 | 2664607.1976 | 1208955.5638 | 2664609.9954 | 1208954.1377 | 2664617.469 | 1208947.748 | 2664618.8599 | 1208947.0738
39 | 2664635.0081 | 1208967.9946 | 2664637.8964 | 1208974.352 | 2664642.7563 | 1208977.6622 | 2664650.7049 | 1208977.9485 | 2664654.3718 | 1208978.3996 | 2664658.6138 | 1208981.9032 | 2664661.2203 | 1208986.2007 | 2664693.3376 | 1208971.457
40 | 2664616.2982 | 1208940.731 | 2664618.8599 | 1208947.0738
41 | 2664555.6719 | 1208937.8957 | 2664572.0579 | 1208944.5992 | 2664595.2177 | 1208954.0666 | 2664601.9279 | 1208957.0966 | 2664604.7732 | 1208959.0063 | 2664607.1976 | 1208955.5638 | 2664609.9954 | 1208954.1377 | 2664617.469 | 1208947.748 | 2664618.8599 | 1208947.0738
42 | 2664618.8599 | 1208947.0738 | 2664640.5262 | 1208936.513
43 | 2664746.4995 | 1208883.9627 | 2664748.1089 | 1208887.6713
44 | 2664748.1089 | 1208887.6713 | 2664732.7357 | 1208894.8311
45 | 2664786.503 | 1208948.2803 | 2664805.2966 | 1208993.6564 | 2664802.5931 | 1208998.2965 | 2664778.21 | 1209009.5346
46 | 2664786.503 | 1208948.2803 | 2664769.5079 | 1208956.3828
47 | 2664699.8291 | 1208852.4819 | 2664694.2912 | 1208854.9012 | 2664681.8523 | 1208860.6699 | 2664671.7423 | 1208863.5496
48 | 2664638.2541 | 1208930.8071 | 2664640.5262 | 1208936.513
49 | 2664640.5262 | 1208936.513 | 2664657.0654 | 1208929.0653 | 2664675.3616 | 1208920.8363
50 | 2664672.8657 | 1208915.4504 | 2664675.3616 | 1208920.8363
51 | 2664696.2622 | 1208911.5015 | 2664675.3616 | 1208920.8363
52 | 2664693.5843 | 1208906.0803 | 2664696.2622 | 1208911.5015
53 | 2664696.2622 | 1208911.5015 | 2664715.4693 | 1208902.7154 | 2664717.0015 | 1208902.3318 | 2664732.7357 | 1208894.8311
54 | 2664731.0945 | 1208891.2445 | 2664732.7357 | 1208894.8311
55 | 2664555.6719 | 1208937.8957 | 2664567.7316 | 1208923.584 | 2664579.9755 | 1208904.2046 | 2664581.7948 | 1208887.8366 | 2664582.1618 | 1208872.887 | 2664586.0389 | 1208856.7413 | 2664587.4197 | 1208854.0357

## bus_geodata
| x | y | coords
0 | 2664673.0599 | 1209020.9724
1 | 2664673.5965 | 1209036.8523
2 | 2664644.4328 | 1209050.258
3 | 2664637.6989 | 1209036.7879
4 | 2664626.3776 | 1209012.0878
5 | 2664634.0701 | 1209036.3373
6 | 2664662.4713 | 1209086.1085
7 | 2664616.2469 | 1208977.7642
8 | 2664609.1605 | 1209045.9735
9 | 2664685.3356 | 1209136.0978
10 | 2664687.601 | 1209068.7813
11 | 2664843.7214 | 1209019.8563
12 | 2664825.1764 | 1209041.1901
13 | 2664837.5392 | 1208989.2066
14 | 2664741.4524 | 1209116.8104
15 | 2664781.3107 | 1208871.9774
16 | 2664779.7671 | 1208868.503
17 | 2664740.2923 | 1208833.8648
18 | 2664766.9604 | 1208878.737
19 | 2664752.298 | 1209112.4871
20 | 2664826.1138 | 1209083.6484
21 | 2664784.3399 | 1209069.7754
22 | 2664778.4444 | 1209072.2462
23 | 2664775.6193 | 1209053.7821
24 | 2664811.9407 | 1209050.352
25 | 2664824.3957 | 1208931.1256
26 | 2664831.675 | 1208960.1335
27 | 2664803.3243 | 1208940.665
28 | 2664729.9431 | 1208839.5576
29 | 2664820.2576 | 1209070.6102
30 | 2664820.7991 | 1209045.2562
31 | 2664612.7577 | 1208977.0482
32 | 2664635.0081 | 1208967.9946
33 | 2664583.3579 | 1208989.9379
34 | 2664618.8599 | 1208947.0738
35 | 2664765.3182 | 1208875.2504
36 | 2664748.1089 | 1208887.6713
37 | 2664767.9889 | 1209057.1013
38 | 2664755.0574 | 1209042.4521
39 | 2664786.503 | 1208948.2803
40 | 2664699.8291 | 1208852.4819
41 | 2664693.3376 | 1208971.457
42 | 2664640.5262 | 1208936.513
43 | 2664638.2541 | 1208930.8071
44 | 2664675.3616 | 1208920.8363
45 | 2664672.8657 | 1208915.4504
46 | 2664696.2622 | 1208911.5015
47 | 2664732.7357 | 1208894.8311
48 | 2664731.0945 | 1208891.2445
49 | 2664693.5843 | 1208906.0803
50 | 2664616.2982 | 1208940.731
51 | 2664555.6719 | 1208937.8957
52 | 2664587.4197 | 1208854.0357
53 | 2664746.4995 | 1208883.9627
54 | 2664778.21 | 1209009.5346
55 | 2664769.5079 | 1208956.3828
56 | 2664671.7423 | 1208863.5496
57 | 2664723.5175 | 1208957.6028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98513 | -0.28443 | 0.031127 | 0.0078012
1 | 0.98573 | -0.27274 | 0.018566 | 0.0046532
2 | 0.9872 | -0.24417 | 0 | 0
3 | 0.98792 | -0.23025 | 0 | 0
4 | 0.9893 | -0.20359 | 0.013943 | 0.0034944
5 | 0.98782 | -0.2321 | 0 | 0
6 | 0.98564 | -0.27421 | 0 | 0
7 | 0.99124 | -0.16643 | 0 | 0
8 | 0.9874 | -0.24041 | 0.016461 | 0.0041256
9 | 0.98378 | -0.31003 | 0 | 0
10 | 0.98472 | -0.29205 | 0.027522 | 0.0068976
11 | 0.97538 | -0.474 | 0 | 0
12 | 0.97608 | -0.46033 | 0 | 0
13 | 0.97476 | -0.48625 | 0.01201 | 0.0030101
14 | 0.98173 | -0.34996 | 0.019862 | 0.0049778
15 | 0.98236 | -0.33792 | 0 | 0
16 | 0.98232 | -0.33873 | 0.011747 | 0.0029441
17 | 0.97602 | -0.46183 | 0 | 0
18 | 0.98354 | -0.31509 | 0 | 0
19 | 0.98138 | -0.35678 | 0 | 0
20 | 0.97899 | -0.40323 | 0 | 0
21 | 0.97723 | -0.43774 | 0 | 0
22 | 0.97718 | -0.43878 | 0.0089424 | 0.0022412
23 | 0.97649 | -0.45223 | 0 | 0
24 | 0.97642 | -0.45367 | 0 | 0
25 | 0.97371 | -0.507 | 0 | 0
26 | 0.97423 | -0.49658 | 0 | 0
27 | 0.9733 | -0.51507 | 0.026883 | 0.0067375
28 | 0.97527 | -0.47659 | 0.035962 | 0.0090129
29 | 0.97892 | -0.40462 | 0.0053514 | 0.0013412
30 | 0.9762 | -0.45794 | 0.005978 | 0.0014982
31 | 0.99099 | -0.17129 | 0 | 0
32 | 0.99326 | -0.12777 | 0 | 0
33 | 0.99029 | -0.18485 | 0.022978 | 0.0057589
34 | 0.98943 | -0.20122 | 0 | 0
35 | 0.9835 | -0.31591 | 0.011745 | 0.0029435
36 | 0.98531 | -0.28077 | 0 | 0
37 | 0.97635 | -0.45511 | 0.018979 | 0.0047567
38 | 0.97608 | -0.46028 | 0.015317 | 0.0038389
39 | 0.97306 | -0.51968 | 0 | 0
40 | 0.97428 | -0.49599 | 0 | 0
41 | 1 | 0 | -0.52797 | -0.13541
42 | 0.98865 | -0.21628 | 0 | 0
43 | 0.98854 | -0.21858 | 0.021002 | 0.0052636
44 | 0.98756 | -0.23737 | 0 | 0
45 | 0.98745 | -0.2396 | 0.020998 | 0.0052625
46 | 0.987 | -0.24829 | 0 | 0
47 | 0.98613 | -0.26499 | 0 | 0
48 | 0.98609 | -0.26586 | 0.012249 | 0.0030698
49 | 0.9869 | -0.25018 | 0.01746 | 0.004376
50 | 0.9893 | -0.20378 | 0.020999 | 0.0052629
51 | 0.98886 | -0.21235 | 0 | 0
52 | 0.98813 | -0.22664 | 0.0086425 | 0.002166
53 | 0.98527 | -0.28166 | 0.012253 | 0.0030708
54 | 0.97228 | -0.53506 | 0.04104 | 0.010286
55 | 0.97259 | -0.52901 | 0.026883 | 0.0067375
56 | 0.97337 | -0.51393 | 0.032239 | 0.0080799
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031127 | -0.0078012 | 0.031144 | 0.007812 | 1.7338e-05 | 1.083e-05 | 0.047017 | 0.047017 | 0.047017 | 0.98513 | -0.28443 | 0.98573 | -0.27274 | 12.9167
1 | -0.049711 | -0.012465 | 0.049779 | 0.012508 | 6.7784e-05 | 4.2972e-05 | 0.075044 | 0.075044 | 0.075044 | 0.98573 | -0.27274 | 0.9872 | -0.24417 | 20.6164
2 | 0.21091 | 0.053654 | -0.21061 | -0.053461 | 0.00030475 | 0.00019248 | 0.31819 | 0.31819 | 0.31819 | 0.9872 | -0.24417 | 0.98564 | -0.27421 | 17.4831
3 | -0.26069 | -0.066162 | 0.26086 | 0.066273 | 0.00017477 | 0.00011089 | 0.39324 | 0.39324 | 0.39324 | 0.9872 | -0.24417 | 0.98792 | -0.23025 | 21.6063
4 | -0.27733 | -0.070403 | 0.27769 | 0.070629 | 0.00035614 | 0.00022619 | 0.41804 | 0.41804 | 0.41804 | 0.98792 | -0.23025 | 0.9893 | -0.20359 | 22.9694
5 | 0.016469 | 0.0041303 | -0.016468 | -0.0041294 | 1.4559e-06 | 8.5103e-07 | 0.024807 | 0.024807 | 0.024807 | 0.98792 | -0.23025 | 0.98782 | -0.2321 | 6.8152
6 | -0.29163 | -0.074124 | 0.29215 | 0.074456 | 0.00052298 | 0.00033238 | 0.43901 | 0.43901 | 0.43901 | 0.9893 | -0.20359 | 0.99124 | -0.16643 | 24.1216
7 | 0.016468 | 0.0041294 | -0.016461 | -0.0041256 | 6.5167e-06 | 3.8094e-06 | 0.024807 | 0.024808 | 0.024808 | 0.98782 | -0.2321 | 0.9874 | -0.24041 | 6.8153
8 | 0.18306 | 0.046549 | -0.18274 | -0.046351 | 0.00031533 | 0.00019832 | 0.27661 | 0.27661 | 0.27661 | 0.98564 | -0.27421 | 0.98378 | -0.31003 | 15.1982
9 | 0.027545 | 0.0069121 | -0.027522 | -0.0068976 | 2.3419e-05 | 1.4528e-05 | 0.041588 | 0.041588 | 0.041588 | 0.98564 | -0.27421 | 0.98472 | -0.29205 | 11.4253
10 | 0.22994 | 0.058262 | -0.22989 | -0.058228 | 5.3728e-05 | 3.3999e-05 | 0.34541 | 0.34541 | 0.34541 | 0.99124 | -0.16643 | 0.99099 | -0.17129 | 18.9785
11 | -0.5221 | -0.13272 | 0.52307 | 0.13334 | 0.00097397 | 0.00062198 | 0.78442 | 0.78442 | 0.78442 | 0.99124 | -0.16643 | 0.99326 | -0.12777 | 43.1
12 | 0.18274 | 0.046351 | -0.18239 | -0.046131 | 0.00035009 | 0.00022019 | 0.27661 | 0.27661 | 0.27661 | 0.98378 | -0.31003 | 0.98173 | -0.34996 | 15.1982
13 | -0.10707 | -0.026918 | 0.10714 | 0.026961 | 6.9937e-05 | 4.2578e-05 | 0.16337 | 0.16337 | 0.16337 | 0.97538 | -0.474 | 0.97608 | -0.46033 | 8.9763
14 | 0.10707 | 0.026918 | -0.107 | -0.02688 | 6.2587e-05 | 3.8106e-05 | 0.16337 | 0.16337 | 0.16337 | 0.97538 | -0.474 | 0.97476 | -0.48625 | 8.9763
15 | -0.10714 | -0.026961 | 0.10715 | 0.026968 | 1.2241e-05 | 7.4517e-06 | 0.16337 | 0.16337 | 0.16337 | 0.97608 | -0.46033 | 0.9762 | -0.45794 | 8.9763
16 | 0.094994 | 0.02387 | -0.094947 | -0.023842 | 4.6791e-05 | 2.8099e-05 | 0.14504 | 0.14504 | 0.14504 | 0.97476 | -0.48625 | 0.97423 | -0.49658 | 7.969
17 | 0.16253 | 0.041153 | -0.16248 | -0.041119 | 5.3208e-05 | 3.3316e-05 | 0.2465 | 0.2465 | 0.2465 | 0.98173 | -0.34996 | 0.98138 | -0.35678 | 13.5442
18 | 0.011747 | 0.0029443 | -0.011747 | -0.0029441 | 4.5132e-07 | 2.4073e-07 | 0.017794 | 0.017794 | 0.017794 | 0.98236 | -0.33792 | 0.98232 | -0.33873 | 4.8885
19 | 0.068713 | 0.017418 | -0.068307 | -0.017159 | 0.00040654 | 0.00025893 | 0.10415 | 0.10415 | 0.10415 | 0.98236 | -0.33792 | 0.97602 | -0.46183 | 28.6136
20 | -0.080461 | -0.020363 | 0.080549 | 0.020419 | 8.8256e-05 | 5.6283e-05 | 0.12195 | 0.12195 | 0.12195 | 0.98236 | -0.33792 | 0.98354 | -0.31509 | 33.502
21 | 0.068307 | 0.017159 | -0.068259 | -0.017129 | 4.8103e-05 | 3.0638e-05 | 0.10415 | 0.10415 | 0.10415 | 0.97602 | -0.46183 | 0.97527 | -0.47659 | 28.6136
22 | 0.011745 | 0.0029438 | -0.011745 | -0.0029435 | 4.5624e-07 | 2.431e-07 | 0.01777 | 0.01777 | 0.01777 | 0.98354 | -0.31509 | 0.9835 | -0.31591 | 4.8818
23 | -0.092294 | -0.023363 | 0.092447 | 0.02346 | 0.00015236 | 9.7244e-05 | 0.13972 | 0.13972 | 0.13972 | 0.98354 | -0.31509 | 0.98531 | -0.28077 | 38.3838
24 | 0.16248 | 0.041119 | -0.16212 | -0.040893 | 0.0003614 | 0.0002263 | 0.2465 | 0.24651 | 0.24651 | 0.98138 | -0.35678 | 0.97899 | -0.40323 | 13.5443
25 | 0.0053517 | 0.0013412 | -0.0053514 | -0.0013412 | 3.5453e-07 | 4.7257e-08 | 0.0081344 | 0.0081344 | 0.0081344 | 0.97899 | -0.40323 | 0.97892 | -0.40462 | 2.2347
26 | 0.15677 | 0.039552 | -0.15651 | -0.03939 | 0.00025859 | 0.00016169 | 0.23837 | 0.23837 | 0.23837 | 0.97899 | -0.40323 | 0.97723 | -0.43774 | 13.0974
27 | 0.0089428 | 0.0022414 | -0.0089424 | -0.0022412 | 4.4343e-07 | 2.039e-07 | 0.013617 | 0.013617 | 0.013617 | 0.97723 | -0.43774 | 0.97718 | -0.43878 | 3.741
28 | 0.034329 | 0.0086154 | -0.034305 | -0.0086005 | 2.37e-05 | 1.4878e-05 | 0.052276 | 0.052276 | 0.052276 | 0.97723 | -0.43774 | 0.97649 | -0.45223 | 14.3617
29 | 0.11324 | 0.028533 | -0.11315 | -0.028481 | 8.6205e-05 | 5.2753e-05 | 0.17248 | 0.17248 | 0.17248 | 0.97723 | -0.43774 | 0.97642 | -0.45367 | 9.4769
30 | 0.018982 | 0.0047582 | -0.018979 | -0.0047567 | 2.6045e-06 | 1.5631e-06 | 0.028926 | 0.028926 | 0.028926 | 0.97649 | -0.45223 | 0.97635 | -0.45511 | 7.9466
31 | 0.015323 | 0.0038423 | -0.015317 | -0.0038389 | 5.8806e-06 | 3.404e-06 | 0.023351 | 0.023351 | 0.023351 | 0.97649 | -0.45223 | 0.97608 | -0.46028 | 6.4151
32 | 0.11315 | 0.028481 | -0.11313 | -0.028467 | 2.3131e-05 | 1.4155e-05 | 0.17248 | 0.17248 | 0.17248 | 0.97642 | -0.45367 | 0.9762 | -0.45794 | 9.4769
33 | -0.0949 | -0.023814 | 0.094947 | 0.023842 | 4.7194e-05 | 2.8343e-05 | 0.14504 | 0.14504 | 0.14504 | 0.97371 | -0.507 | 0.97423 | -0.49658 | 7.969
34 | 0.0949 | 0.023814 | -0.094863 | -0.023792 | 3.6492e-05 | 2.1917e-05 | 0.14504 | 0.14504 | 0.14504 | 0.97371 | -0.507 | 0.9733 | -0.51507 | 7.9691
35 | 0.06798 | 0.017054 | -0.067965 | -0.017046 | 1.4961e-05 | 8.4277e-06 | 0.10394 | 0.10394 | 0.10394 | 0.9733 | -0.51507 | 0.97306 | -0.51968 | 5.7109
36 | 0.032297 | 0.0081159 | -0.032267 | -0.0080972 | 2.9876e-05 | 1.8712e-05 | 0.049285 | 0.049285 | 0.049285 | 0.97527 | -0.47659 | 0.97428 | -0.49599 | 13.5398
37 | 0.022993 | 0.005768 | -0.022978 | -0.0057589 | 1.4852e-05 | 9.0773e-06 | 0.034527 | 0.034527 | 0.034527 | 0.99099 | -0.17129 | 0.99029 | -0.18485 | 9.4856
38 | 0.2069 | 0.05246 | -0.2066 | -0.052273 | 0.00029719 | 0.00018756 | 0.31088 | 0.31088 | 0.31088 | 0.99099 | -0.17129 | 0.98943 | -0.20122 | 17.0814
39 | -0.52307 | -0.13334 | 0.52632 | 0.13541 | 0.0032479 | 0.0020741 | 0.78442 | 0.78442 | 0.78442 | 0.99326 | -0.12777 | 1 | 0 | 43.1
40 | 0.021002 | 0.0052645 | -0.020999 | -0.0052629 | 2.5585e-06 | 1.5496e-06 | 0.031585 | 0.031585 | 0.031585 | 0.98943 | -0.20122 | 0.9893 | -0.20378 | 8.6772
41 | 0.008653 | 0.0021706 | -0.0086484 | -0.0021686 | 4.5884e-06 | 2.0092e-06 | 0.013014 | 0.013014 | 0.013014 | 0.98943 | -0.20122 | 0.98886 | -0.21235 | 3.5754
42 | 0.17694 | 0.044837 | -0.17682 | -0.044757 | 0.00012789 | 8.0305e-05 | 0.26628 | 0.26628 | 0.26628 | 0.98943 | -0.20122 | 0.98865 | -0.21628 | 14.631
43 | 0.012253 | 0.0030711 | -0.012253 | -0.0030708 | 5.1889e-07 | 2.8062e-07 | 0.018505 | 0.018505 | 0.018505 | 0.98531 | -0.28077 | 0.98527 | -0.28166 | 5.0837
44 | -0.1047 | -0.026531 | 0.10478 | 0.026581 | 7.9416e-05 | 5.0395e-05 | 0.15822 | 0.15822 | 0.15822 | 0.98531 | -0.28077 | 0.98613 | -0.26499 | 21.7337
45 | 0.04107 | 0.010301 | -0.04104 | -0.010286 | 3.008e-05 | 1.5213e-05 | 0.062808 | 0.06281 | 0.06281 | 0.97306 | -0.51968 | 0.97228 | -0.53506 | 4.3138
46 | 0.026895 | 0.0067449 | -0.026883 | -0.0067375 | 1.1944e-05 | 7.4102e-06 | 0.04113 | 0.04113 | 0.04113 | 0.97306 | -0.51968 | 0.97259 | -0.52901 | 11.2993
47 | 0.032267 | 0.0080972 | -0.032239 | -0.0080799 | 2.7569e-05 | 1.7268e-05 | 0.049285 | 0.049285 | 0.049285 | 0.97428 | -0.49599 | 0.97337 | -0.51393 | 13.5398
48 | 0.021004 | 0.005265 | -0.021002 | -0.0052636 | 2.3012e-06 | 1.394e-06 | 0.031614 | 0.031614 | 0.031614 | 0.98865 | -0.21628 | 0.98854 | -0.21858 | 8.6851
49 | 0.15581 | 0.039492 | -0.15565 | -0.039394 | 0.00015778 | 9.8531e-05 | 0.23467 | 0.23467 | 0.23467 | 0.98865 | -0.21628 | 0.98756 | -0.23737 | 12.894
50 | 0.021 | 0.0052638 | -0.020998 | -0.0052625 | 2.2279e-06 | 1.35e-06 | 0.031642 | 0.031642 | 0.031642 | 0.98756 | -0.23737 | 0.98745 | -0.2396 | 8.6928
51 | 0.13466 | 0.03413 | -0.13458 | -0.034086 | 7.0599e-05 | 4.3723e-05 | 0.20303 | 0.20303 | 0.20303 | 0.98756 | -0.23737 | 0.987 | -0.24829 | 11.1555
52 | 0.017462 | 0.0043769 | -0.01746 | -0.004376 | 1.5708e-06 | 9.281e-07 | 0.026326 | 0.026326 | 0.026326 | 0.987 | -0.24829 | 0.9869 | -0.25018 | 7.2325
53 | 0.11712 | 0.029709 | -0.11703 | -0.029652 | 9.3981e-05 | 5.7585e-05 | 0.1767 | 0.1767 | 0.1767 | 0.987 | -0.24829 | 0.98613 | -0.26499 | 9.709
54 | 0.012249 | 0.0030701 | -0.012249 | -0.0030698 | 5.0516e-07 | 2.73e-07 | 0.018484 | 0.018484 | 0.018484 | 0.98613 | -0.26499 | 0.98609 | -0.26586 | 5.0779
55 | 0.0086484 | 0.0021686 | -0.0086425 | -0.002166 | 5.8882e-06 | 2.5801e-06 | 0.013014 | 0.013015 | 0.013015 | 0.98886 | -0.21235 | 0.98813 | -0.22664 | 3.5755

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5738 | 0.1469

## res_load
| p_mw | q_mvar
0 | 0.031127 | 0.0078012
1 | 0.018566 | 0.0046532
2 | 0.013943 | 0.0034944
3 | 0.016461 | 0.0041256
4 | 0.027522 | 0.0068976
5 | 0.01201 | 0.0030101
6 | 0.019862 | 0.0049778
7 | 0.011747 | 0.0029441
8 | 0.0089424 | 0.0022412
9 | 0.026883 | 0.0067375
10 | 0.035962 | 0.0090129
11 | 0.0053514 | 0.0013412
12 | 0.005978 | 0.0014982
13 | 0.022978 | 0.0057589
14 | 0.011745 | 0.0029435
15 | 0.018979 | 0.0047567
16 | 0.015317 | 0.0038389
17 | 0.045826 | 0.011485
18 | 0.021002 | 0.0052636
19 | 0.020998 | 0.0052625
20 | 0.012249 | 0.0030698
21 | 0.01746 | 0.004376
22 | 0.020999 | 0.0052629
23 | 0.0086425 | 0.002166
24 | 0.012253 | 0.0030708
25 | 0.04104 | 0.010286
26 | 0.026883 | 0.0067375
27 | 0.032239 | 0.0080799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1