## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-100_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-100_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-100_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-100_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-100_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1061-100_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1061-100_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1061-100_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1061-100_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1061-100_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1061-100_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-100_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1061-100_0_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_1061-100_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1061-100_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1061-100_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1061-100_0_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_1061-100_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1061-100_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1061-100_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1061-100_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1061-100_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_1061-100_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1061-100_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1061-100_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_1061-100_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1061-100_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1061-100_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_1061-100_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1061-100_0_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1061-100_0_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1061-100_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1061-100_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1061-100_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1061-100_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1061-100_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1061-100_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1061-100_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_1061-100_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_1061-100_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1061-100_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1061-100_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_1061-100_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_1061-100_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1061-100_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1061-100_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1061-100_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1061-100_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1061-100_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_1061-100_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_1061-100_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1061-100_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1061-100_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_1061-100_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1061-100_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1061-100_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1061-100_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_1061-100_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1061-100_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1061-100_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1061-100_0_4_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_1061-100_0_4_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_1061-100_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_1061-100_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1061-100_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_1061-100_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_1061-100_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_1061-100_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_1061-100_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1061-100_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1061-100_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_1061-100_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_215_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-100_0_4_load_0 | 0 | 0.0098196 | 0.002461 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-100_0_4_load_3 | 5 | 0.016496 | 0.0041343 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-100_0_4_load_32 | 7 | 0.0038905 | 0.00097505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-100_0_4_load_26 | 9 | 0.0080459 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-100_0_4_load_73 | 12 | 0.0078781 | 0.0019744 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-100_0_4_load_29 | 14 | 0.01282 | 0.0032129 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-100_0_4_load_75 | 16 | 0.0024282 | 0.00060856 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-100_0_4_load_35 | 19 | 0.0065066 | 0.0016307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-100_0_4_load_76 | 21 | 0.0026135 | 0.000655 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-100_0_4_load_48 | 24 | 0.0037707 | 0.00094502 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-100_0_4_load_37 | 26 | 0.0039624 | 0.00099308 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-100_0_4_load_69 | 27 | 0.020689 | 0.0051851 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-100_0_4_load_46 | 28 | 0.015214 | 0.0038129 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-100_0_4_load_51 | 30 | 0.0031631 | 0.00079276 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-100_0_4_load_47 | 31 | 0.0097601 | 0.0024461 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-100_0_4_load_50 | 33 | 0.0036075 | 0.00090413 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-100_0_4_load_53 | 35 | 0.0033012 | 0.00082736 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-100_0_4_load_57 | 38 | 0.0036381 | 0.0009118 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-100_0_4_load_66 | 41 | 0.0055689 | 0.0013957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-100_0_4_load_74 | 42 | 0.0075652 | 0.001896 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-100_0_4_load_45 | 44 | 0.007881 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-100_0_4_load_44 | 45 | 0.015646 | 0.0039212 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-100_0_4_load_34 | 46 | 0.047991 | 0.012028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-100_0_4_load_30 | 47 | 0.010352 | 0.0025944 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-100_0_4_load_27 | 48 | 0.0080177 | 0.0020094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-100_0_4_load_67 | 49 | 0.0018071 | 0.00045291 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-100_0_4_load_40 | 51 | 0.014163 | 0.0035495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-100_0_4_load_36 | 52 | 0.0038006 | 0.00095252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-100_0_4_load_49 | 53 | 0.015069 | 0.0037768 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-100_0_4_load_59 | 54 | 0.0039623 | 0.00099305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-100_0_4_load_60 | 57 | 0.0038034 | 0.00095321 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-100_0_4_load_54 | 58 | 0.0035322 | 0.00088525 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-100_0_4_load_64 | 59 | 0.005399 | 0.0013531 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-100_0_4_load_28 | 60 | 0.023502 | 0.0058902 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-100_0_4_load_33 | 61 | 0.0079983 | 0.0020046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-100_0_4_load_61 | 62 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-100_0_4_load_62 | 63 | 0.011898 | 0.0029819 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-100_0_4_load_39 | 64 | 0.010807 | 0.0027085 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-100_0_4_load_41 | 65 | 0.0035512 | 0.00089002 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-100_0_4_load_43 | 66 | 0.010576 | 0.0026506 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-100_0_4_load_68 | 67 | 0.0025811 | 0.00064689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-100_0_4_load_63 | 68 | 0.010618 | 0.0026611 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-100_0_4_load_65 | 69 | 0.0056173 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-100_0_4_load_71 | 70 | 0.0060664 | 0.0015204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-100_0_4_load_72 | 71 | 0.0039152 | 0.00098125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-100_0_4_line_0 |  | 0 | 1 | 0.030383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1061-100_0_4_line_1 |  | 0 | 2 | 0.039142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1061-100_0_4_line_2 |  | 1 | 3 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-100_0_4_line_3 |  | 2 | 4 | 0.030275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1061-100_0_4_line_4 |  | 3 | 7 | 0.030544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-100_0_4_line_5 |  | 4 | 8 | 0.004829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1061-100_0_4_line_6 |  | 4 | 9 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-100_0_4_line_7 |  | 5 | 6 | 0.0060089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-100_0_4_line_8 |  | 6 | 46 | 0.032589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-100_0_4_line_9 |  | 6 | 47 | 0.048869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-100_0_4_line_10 |  | 7 | 13 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-100_0_4_line_11 |  | 8 | 11 | 0.0089442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-100_0_4_line_12 |  | 8 | 19 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1061-100_0_4_line_13 |  | 9 | 48 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-100_0_4_line_14 |  | 10 | 11 | 0.005166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-100_0_4_line_15 |  | 10 | 12 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-100_0_4_line_16 |  | 11 | 28 | 0.036669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-100_0_4_line_17 |  | 12 | 44 | 0.014684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-100_0_4_line_18 |  | 13 | 14 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-100_0_4_line_19 |  | 14 | 47 | 0.022315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-100_0_4_line_20 |  | 15 | 16 | 0.008098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-100_0_4_line_21 |  | 15 | 17 | 0.0090512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-100_0_4_line_22 |  | 15 | 18 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-100_0_4_line_23 |  | 17 | 29 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-100_0_4_line_24 |  | 17 | 30 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-100_0_4_line_25 |  | 18 | 31 | 0.03102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-100_0_4_line_26 |  | 18 | 25 | 0.090393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-100_0_4_line_27 |  | 19 | 52 | 0.032105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1061-100_0_4_line_28 |  | 20 | 21 | 0.013112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-100_0_4_line_29 |  | 20 | 22 | 0.026845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-100_0_4_line_30 |  | 22 | 32 | 0.001692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-100_0_4_line_31 |  | 22 | 33 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-100_0_4_line_32 |  | 23 | 24 | 0.034714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-100_0_4_line_33 |  | 23 | 25 | 0.026898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1061-100_0_4_line_34 |  | 23 | 26 | 0.017183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1061-100_0_4_line_35 |  | 24 | 53 | 0.020292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-100_0_4_line_36 |  | 25 | 27 | 0.057091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-100_0_4_line_37 |  | 26 | 52 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1061-100_0_4_line_38 |  | 27 | 56 | 0.04052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-100_0_4_line_39 |  | 29 | 49 | 0.0093853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-100_0_4_line_40 |  | 29 | 34 | 0.018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-100_0_4_line_41 |  | 30 | 33 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-100_0_4_line_42 |  | 31 | 42 | 0.024074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-100_0_4_line_43 |  | 32 | 57 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-100_0_4_line_44 |  | 34 | 35 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-100_0_4_line_45 |  | 35 | 58 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-100_0_4_line_46 |  | 36 | 37 | 0.001485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-100_0_4_line_47 |  | 36 | 38 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-100_0_4_line_48 |  | 37 | 58 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-100_0_4_line_49 |  | 39 | 40 | 0.02329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1061-100_0_4_line_50 |  | 39 | 41 | 0.053194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-100_0_4_line_51 |  | 40 | 42 | 0.090392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-100_0_4_line_52 |  | 41 | 59 | 0.024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-100_0_4_line_53 |  | 43 | 44 | 0.029487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-100_0_4_line_54 |  | 43 | 45 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1061-100_0_4_line_55 |  | 45 | 50 | 0.066735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-100_0_4_line_56 |  | 48 | 60 | 0.0093499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-100_0_4_line_57 |  | 49 | 67 | 0.0027792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-100_0_4_line_58 |  | 50 | 51 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-100_0_4_line_59 |  | 51 | 64 | 0.043563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-100_0_4_line_60 |  | 54 | 55 | 0.0074354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-100_0_4_line_61 |  | 55 | 57 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-100_0_4_line_62 |  | 56 | 70 | 0.039962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-100_0_4_line_63 |  | 56 | 71 | 0.053283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-100_0_4_line_64 |  | 59 | 69 | 0.049766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-100_0_4_line_65 |  | 60 | 61 | 0.006254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-100_0_4_line_66 |  | 62 | 63 | 0.035073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-100_0_4_line_67 |  | 63 | 68 | 0.025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-100_0_4_line_68 |  | 64 | 65 | 0.0084109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-100_0_4_line_69 |  | 65 | 66 | 0.0089374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-100_0_4_line_70 |  | 68 | 69 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-100_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 72 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2666580.2376 | 1210126.3171 | 2666585.0051 | 1210140.4456 | 2666576.5419 | 1210148.2671 | 2666574.2321 | 1210151.468
1 | 2666548.5644 | 1210180.2637 | 2666557.5122 | 1210174.6378 | 2666574.2321 | 1210151.468
2 | 2666569.767 | 1210120.5968 | 2666580.2376 | 1210126.3171
3 | 2666548.5644 | 1210180.2637 | 2666557.1309 | 1210192.4667 | 2666558.4103 | 1210194.2821 | 2666564.7108 | 1210203.1689 | 2666566.1124 | 1210204.9301
4 | 2666569.767 | 1210120.5968 | 2666572.4371 | 1210119.0256 | 2666579.9977 | 1210107.6362 | 2666584.8134 | 1210103.1427 | 2666591.5466 | 1210100.6229
5 | 2666566.1124 | 1210204.9301 | 2666569.1256 | 1210208.7105
6 | 2666566.1124 | 1210204.9301 | 2666571.9507 | 1210200.7482 | 2666577.6599 | 1210192.4284
7 | 2666670.8003 | 1210128.9296 | 2666664.7918 | 1210128.8625
8 | 2666670.8003 | 1210128.9296 | 2666675.0531 | 1210130.6115 | 2666686.3815 | 1210129.6152 | 2666695.6763 | 1210128.3294 | 2666702.813 | 1210126.9972
9 | 2666670.8003 | 1210128.9296 | 2666668.5296 | 1210124.6794 | 2666666.295 | 1210119.9182 | 2666663.3631 | 1210117.7063 | 2666663.6361 | 1210113.0064 | 2666664.191 | 1210107.5537 | 2666660.0101 | 1210105.5614 | 2666650.144 | 1210101.5265 | 2666640.5863 | 1210100.2763
10 | 2666603.6506 | 1210096.093 | 2666591.5466 | 1210100.6229
11 | 2666562.7322 | 1210214.9652 | 2666563.2547 | 1210214.4597 | 2666566.0288 | 1210211.7445 | 2666568.6952 | 1210209.1393 | 2666569.1256 | 1210208.7105
12 | 2666569.1256 | 1210208.7105 | 2666571.2469 | 1210211.3691 | 2666576.77 | 1210217.4624
13 | 2666577.6599 | 1210192.4284 | 2666582.1493 | 1210185.8862 | 2666587.223 | 1210179.4815
14 | 2666562.7322 | 1210214.9652 | 2666559.9625 | 1210213.1999 | 2666558.0798 | 1210213.001
15 | 2666558.0798 | 1210213.001 | 2666555.5273 | 1210213.5729 | 2666552.0542 | 1210215.5799 | 2666551.6616 | 1210219.4334 | 2666547.2249 | 1210225.6226
16 | 2666562.7322 | 1210214.9652 | 2666583.2362 | 1210233.5498 | 2666590.3666 | 1210239.0352
17 | 2666547.2249 | 1210225.6226 | 2666541.8178 | 1210233.1655 | 2666538.5477 | 1210237.4668
18 | 2666603.6506 | 1210096.093 | 2666618.4255 | 1210097.6731
19 | 2666618.4255 | 1210097.6731 | 2666630.8133 | 1210098.998 | 2666640.5863 | 1210100.2763
20 | 2666729.7635 | 1210273.1884 | 2666728.0648 | 1210274.8816 | 2666725.4831 | 1210276.0201 | 2666722.5996 | 1210276.288
21 | 2666729.7635 | 1210273.1884 | 2666731.7602 | 1210270.6648 | 2666736.4026 | 1210274.1966
22 | 2666714.1187 | 1210261.9066 | 2666718.9364 | 1210264.7177 | 2666729.7635 | 1210273.1884
23 | 2666744.3069 | 1210283.0349 | 2666745.8176 | 1210280.4835 | 2666740.457 | 1210277.2883 | 2666736.4026 | 1210274.1966
24 | 2666736.4026 | 1210274.1966 | 2666738.2507 | 1210271.3711 | 2666744.8316 | 1210261.3199
25 | 2666714.1187 | 1210261.9066 | 2666712.7748 | 1210263.1479 | 2666704.1256 | 1210265.1747 | 2666698.3709 | 1210270.7138 | 2666696.1924 | 1210276.5819 | 2666696.0258 | 1210282.6394 | 2666696.0258 | 1210282.6394
26 | 2666646.62 | 1210233.9353 | 2666646.8267 | 1210238.5627 | 2666647.5658 | 1210242.4733 | 2666648.8972 | 1210245.0787 | 2666650.6821 | 1210248.5897 | 2666655.601 | 1210251.8688 | 2666661.2115 | 1210251.7425 | 2666691.7868 | 1210249.8274 | 2666697.8337 | 1210250.1062 | 2666707.1029 | 1210251.7664 | 2666716.6334 | 1210255.2084 | 2666716.3905 | 1210255.8616 | 2666715.2233 | 1210258.9616 | 2666714.3146 | 1210261.3862 | 2666714.1187 | 1210261.9066
27 | 2666601.8309 | 1210237.2818 | 2666591.8249 | 1210230.8106 | 2666585.1451 | 1210225.9553 | 2666578.5973 | 1210219.4783 | 2666576.77 | 1210217.4624
28 | 2666743.6914 | 1210227.327 | 2666741.5151 | 1210226.202 | 2666737.1084 | 1210223.3399 | 2666732.9752 | 1210219.8137
29 | 2666743.6914 | 1210227.327 | 2666745.8527 | 1210228.4408 | 2666749.9263 | 1210222.3493 | 2666764.302 | 1210231.5824
30 | 2666764.302 | 1210231.5824 | 2666765.7282 | 1210232.4989
31 | 2666764.302 | 1210231.5824 | 2666755.1391 | 1210245.577
32 | 2666634.3906 | 1210243.4713 | 2666636.819 | 1210240.4076 | 2666637.4183 | 1210237.1123 | 2666637.1647 | 1210231.9173 | 2666636.9486 | 1210224.0434 | 2666638.1206 | 1210215.0621 | 2666639.2069 | 1210209.8543
33 | 2666634.3906 | 1210243.4713 | 2666638.2149 | 1210246.0822 | 2666642.3919 | 1210245.6953 | 2666646.3864 | 1210245.3174 | 2666648.8972 | 1210245.0787 | 2666647.5658 | 1210242.4733 | 2666646.8267 | 1210238.5627 | 2666646.62 | 1210233.9353
34 | 2666634.3906 | 1210243.4713 | 2666631.2025 | 1210245.826 | 2666627.672 | 1210246.8539 | 2666623.4513 | 1210246.3954 | 2666618.4213 | 1210244.7345
35 | 2666639.2069 | 1210209.8543 | 2666639.791 | 1210207.0536 | 2666642.8255 | 1210200.0832 | 2666647.611 | 1210191.498
36 | 2666646.62 | 1210233.9353 | 2666662.7151 | 1210231.4579 | 2666672.3454 | 1210229.3753 | 2666700.1009 | 1210224.7493 | 2666702.6573 | 1210223.5704
37 | 2666618.4213 | 1210244.7345 | 2666613.9023 | 1210243.2424 | 2666602.6006 | 1210237.7796 | 2666601.8309 | 1210237.2818
38 | 2666689.9264 | 1210187.1346 | 2666692.6314 | 1210192.646 | 2666693.1961 | 1210193.7975 | 2666704.6118 | 1210218.2957 | 2666704.4127 | 1210221.829 | 2666703.3021 | 1210223.273 | 2666702.6573 | 1210223.5704
39 | 2666744.3069 | 1210283.0349 | 2666739.5327 | 1210291.1151
40 | 2666744.3069 | 1210283.0349 | 2666755.0831 | 1210288.581 | 2666758.9815 | 1210289.9922 | 2666759.3677 | 1210289.4406 | 2666760.3645 | 1210287.9842
41 | 2666755.1391 | 1210245.577 | 2666744.8316 | 1210261.3199
42 | 2666696.0258 | 1210282.6394 | 2666699.5914 | 1210290.0282 | 2666707.8786 | 1210303.5618
43 | 2666765.7282 | 1210232.4989 | 2666773.0779 | 1210221.3631
44 | 2666760.3645 | 1210287.9842 | 2666762.4033 | 1210285.0941 | 2666768.419 | 1210276.5743
45 | 2666768.419 | 1210276.5743 | 2666779.2823 | 1210261.1887
46 | 2666788.9933 | 1210247.4351 | 2666790.246 | 1210248.2385
47 | 2666790.246 | 1210248.2385 | 2666797.8612 | 1210236.7756
48 | 2666788.9933 | 1210247.4351 | 2666779.2823 | 1210261.1887
49 | 2666727.0726 | 1210396.1897 | 2666733.283 | 1210396.1035 | 2666735.7384 | 1210396.7313 | 2666736.8538 | 1210395.5431 | 2666743.944 | 1210384.749
50 | 2666727.0726 | 1210396.1897 | 2666716.3925 | 1210396.337 | 2666698.3801 | 1210397.6699 | 2666673.9624 | 1210398.9453
51 | 2666743.944 | 1210384.749 | 2666741.0639 | 1210379.9583 | 2666737.3551 | 1210373.1571 | 2666734.0218 | 1210365.3928 | 2666733.5881 | 1210362.0415 | 2666733.619 | 1210359.2734 | 2666734.1073 | 1210354.3537 | 2666732.9359 | 1210349.0039 | 2666731.7109 | 1210345.0433 | 2666729.4451 | 1210339.6925 | 2666721.0954 | 1210325.1457 | 2666707.8786 | 1210303.5618
52 | 2666649.5578 | 1210400.2201 | 2666673.9624 | 1210398.9453
53 | 2666516.3112 | 1210254.9168 | 2666525.3531 | 1210250.3814 | 2666528.9687 | 1210247.1753 | 2666532.0085 | 1210244.4853 | 2666532.8529 | 1210243.7387 | 2666533.2505 | 1210241.4751 | 2666534.1316 | 1210240.1619 | 2666537.0739 | 1210239.4053 | 2666538.5477 | 1210237.4668
54 | 2666516.3112 | 1210254.9168 | 2666517.3331 | 1210263.4667 | 2666514.7985 | 1210267.1617
55 | 2666540.0987 | 1210309.5933 | 2666513.9578 | 1210294.2036 | 2666503.9064 | 1210287.7098 | 2666502.8391 | 1210284.596 | 2666514.7985 | 1210267.1617
56 | 2666587.223 | 1210179.4815 | 2666593.0289 | 1210172.1527
57 | 2666739.5327 | 1210291.1151 | 2666738.1189 | 1210293.5078
58 | 2666540.0987 | 1210309.5933 | 2666552.0186 | 1210311.8234
59 | 2666552.0186 | 1210311.8234 | 2666555.8974 | 1210312.5491 | 2666579.2615 | 1210319.3138 | 2666583.1326 | 1210319.7684 | 2666589.1164 | 1210310.0705
60 | 2666779.4441 | 1210211.7173 | 2666783.5429 | 1210205.5137
61 | 2666779.4441 | 1210211.7173 | 2666773.0779 | 1210221.3631
62 | 2666658.09 | 1210206.6466 | 2666657.6069 | 1210202.95 | 2666661.5294 | 1210202.2156 | 2666668.3998 | 1210199.5351 | 2666680.8071 | 1210191.0907 | 2666689.9264 | 1210187.1346
63 | 2666738.0576 | 1210199.6359 | 2666718.3324 | 1210185.5289 | 2666711.2057 | 1210183.2589 | 2666702.3259 | 1210184.1491 | 2666689.9264 | 1210187.1346
64 | 2666649.5578 | 1210400.2201 | 2666631.5802 | 1210401.1592 | 2666620.4785 | 1210400.9574 | 2666607.1111 | 1210399.4628 | 2666600.0709 | 1210397.9108
65 | 2666596.9124 | 1210167.2505 | 2666593.0289 | 1210172.1527
66 | 2666517.9818 | 1210379.2638 | 2666552.1349 | 1210387.2437
67 | 2666552.1349 | 1210387.2437 | 2666559.6728 | 1210389.0049 | 2666577.0191 | 1210392.8289
68 | 2666593.533 | 1210302.9126 | 2666589.1164 | 1210310.0705
69 | 2666597.4707 | 1210294.9242 | 2666595.5869 | 1210299.5838 | 2666593.533 | 1210302.9126
70 | 2666600.0709 | 1210397.9108 | 2666577.0191 | 1210392.8289

## bus_geodata
| x | y | coords
0 | 2666574.2321 | 1210151.468
1 | 2666580.2376 | 1210126.3171
2 | 2666548.5644 | 1210180.2637
3 | 2666569.767 | 1210120.5968
4 | 2666566.1124 | 1210204.9301
5 | 2666664.7918 | 1210128.8625
6 | 2666670.8003 | 1210128.9296
7 | 2666591.5466 | 1210100.6229
8 | 2666569.1256 | 1210208.7105
9 | 2666577.6599 | 1210192.4284
10 | 2666558.0798 | 1210213.001
11 | 2666562.7322 | 1210214.9652
12 | 2666547.2249 | 1210225.6226
13 | 2666603.6506 | 1210096.093
14 | 2666618.4255 | 1210097.6731
15 | 2666729.7635 | 1210273.1884
16 | 2666722.5996 | 1210276.288
17 | 2666736.4026 | 1210274.1966
18 | 2666714.1187 | 1210261.9066
19 | 2666576.77 | 1210217.4624
20 | 2666743.6914 | 1210227.327
21 | 2666732.9752 | 1210219.8137
22 | 2666764.302 | 1210231.5824
23 | 2666634.3906 | 1210243.4713
24 | 2666639.2069 | 1210209.8543
25 | 2666646.62 | 1210233.9353
26 | 2666618.4213 | 1210244.7345
27 | 2666702.6573 | 1210223.5704
28 | 2666590.3666 | 1210239.0352
29 | 2666744.3069 | 1210283.0349
30 | 2666744.8316 | 1210261.3199
31 | 2666696.0258 | 1210282.6394
32 | 2666765.7282 | 1210232.4989
33 | 2666755.1391 | 1210245.577
34 | 2666760.3645 | 1210287.9842
35 | 2666768.419 | 1210276.5743
36 | 2666790.246 | 1210248.2385
37 | 2666788.9933 | 1210247.4351
38 | 2666797.8612 | 1210236.7756
39 | 2666727.0726 | 1210396.1897
40 | 2666743.944 | 1210384.749
41 | 2666673.9624 | 1210398.9453
42 | 2666707.8786 | 1210303.5618
43 | 2666516.3112 | 1210254.9168
44 | 2666538.5477 | 1210237.4668
45 | 2666514.7985 | 1210267.1617
46 | 2666702.813 | 1210126.9972
47 | 2666640.5863 | 1210100.2763
48 | 2666587.223 | 1210179.4815
49 | 2666739.5327 | 1210291.1151
50 | 2666540.0987 | 1210309.5933
51 | 2666552.0186 | 1210311.8234
52 | 2666601.8309 | 1210237.2818
53 | 2666647.611 | 1210191.498
54 | 2666783.5429 | 1210205.5137
55 | 2666779.4441 | 1210211.7173
56 | 2666689.9264 | 1210187.1346
57 | 2666773.0779 | 1210221.3631
58 | 2666779.2823 | 1210261.1887
59 | 2666649.5578 | 1210400.2201
60 | 2666593.0289 | 1210172.1527
61 | 2666596.9124 | 1210167.2505
62 | 2666517.9818 | 1210379.2638
63 | 2666552.1349 | 1210387.2437
64 | 2666589.1164 | 1210310.0705
65 | 2666593.533 | 1210302.9126
66 | 2666597.4707 | 1210294.9242
67 | 2666738.1189 | 1210293.5078
68 | 2666577.0191 | 1210392.8289
69 | 2666600.0709 | 1210397.9108
70 | 2666658.09 | 1210206.6466
71 | 2666738.0576 | 1210199.6359
72 | 2666648.8972 | 1210245.0787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98415 | -0.30261 | 0.0098196 | 0.002461
1 | 0.98285 | -0.32767 | 0 | 0
2 | 0.986 | -0.26697 | 0 | 0
3 | 0.98184 | -0.34736 | 0 | 0
4 | 0.98743 | -0.2395 | 0 | 0
5 | 0.97237 | -0.53271 | 0.016496 | 0.0041343
6 | 0.97246 | -0.53088 | 0 | 0
7 | 0.97923 | -0.39805 | 0.0038905 | 0.00097505
8 | 0.98777 | -0.23307 | 0 | 0
9 | 0.98668 | -0.25419 | 0.0080459 | 0.0020165
10 | 0.98672 | -0.2533 | 0 | 0
11 | 0.98706 | -0.24678 | 0 | 0
12 | 0.98554 | -0.27619 | 0.0078781 | 0.0019744
13 | 0.97817 | -0.41867 | 0 | 0
14 | 0.97696 | -0.44242 | 0.01282 | 0.0032129
15 | 0.99094 | -0.17284 | 0 | 0
16 | 0.99092 | -0.17319 | 0.0024282 | 0.00060856
17 | 0.99067 | -0.17798 | 0 | 0
18 | 0.99155 | -0.16105 | 0 | 0
19 | 0.98903 | -0.20873 | 0.0065066 | 0.0016307
20 | 0.98997 | -0.19169 | 0 | 0
21 | 0.98994 | -0.1923 | 0.0026135 | 0.000655
22 | 0.99003 | -0.19044 | 0 | 0
23 | 0.99667 | -0.062981 | 0 | 0
24 | 0.99607 | -0.074464 | 0.0037707 | 0.00094502
25 | 1 | 0 | -0.4077 | -0.10419
26 | 0.99468 | -0.10058 | 0.0039624 | 0.00099308
27 | 0.99841 | -0.030573 | 0.020689 | 0.0051851
28 | 0.98654 | -0.25676 | 0.015214 | 0.0038129
29 | 0.99048 | -0.18176 | 0 | 0
30 | 0.99043 | -0.18267 | 0.0031631 | 0.00079276
31 | 0.98963 | -0.19792 | 0.0097601 | 0.0024461
32 | 0.99002 | -0.19067 | 0 | 0
33 | 0.99019 | -0.18735 | 0.0036075 | 0.00090413
34 | 0.9903 | -0.18524 | 0 | 0
35 | 0.99017 | -0.18784 | 0.0033012 | 0.00082736
36 | 0.98998 | -0.19143 | 0 | 0
37 | 0.98999 | -0.19133 | 0 | 0
38 | 0.98994 | -0.19232 | 0.0036381 | 0.0009118
39 | 0.98312 | -0.32354 | 0 | 0
40 | 0.98419 | -0.30274 | 0 | 0
41 | 0.98068 | -0.37122 | 0.0055689 | 0.0013957
42 | 0.98835 | -0.22243 | 0.0075652 | 0.001896
43 | 0.9832 | -0.32177 | 0 | 0
44 | 0.98469 | -0.29271 | 0.007881 | 0.0019752
45 | 0.98253 | -0.3347 | 0.015646 | 0.0039212
46 | 0.971 | -0.55975 | 0.047991 | 0.012028
47 | 0.9754 | -0.47297 | 0.010352 | 0.0025944
48 | 0.98609 | -0.2656 | 0.0080177 | 0.0020094
49 | 0.99044 | -0.18249 | 0.0018071 | 0.00045291
50 | 0.98012 | -0.38193 | 0 | 0
51 | 0.97968 | -0.39053 | 0.014163 | 0.0035495
52 | 0.99262 | -0.14 | 0.0038006 | 0.00095252
53 | 0.99579 | -0.079838 | 0.015069 | 0.0037768
54 | 0.98986 | -0.19385 | 0.0039623 | 0.00099305
55 | 0.98988 | -0.19333 | 0 | 0
56 | 0.99804 | -0.03765 | 0 | 0
57 | 0.98993 | -0.19252 | 0.0038034 | 0.00095321
58 | 0.99004 | -0.19024 | 0.0035322 | 0.00088525
59 | 0.97968 | -0.39073 | 0.005399 | 0.0013531
60 | 0.98582 | -0.27088 | 0.023502 | 0.0058902
61 | 0.98577 | -0.27177 | 0.0079983 | 0.0020046
62 | 0.9763 | -0.45702 | 0.010472 | 0.0026246
63 | 0.97664 | -0.45031 | 0.011898 | 0.0029819
64 | 0.97867 | -0.41028 | 0.010807 | 0.0027085
65 | 0.97856 | -0.41244 | 0.0035512 | 0.00089002
66 | 0.97847 | -0.41416 | 0.010576 | 0.0026506
67 | 0.99044 | -0.18262 | 0.0025811 | 0.00064689
68 | 0.97717 | -0.43989 | 0.010618 | 0.0026611
69 | 0.97789 | -0.42568 | 0.0056173 | 0.0014078
70 | 0.99782 | -0.041894 | 0.0060664 | 0.0015204
71 | 0.99785 | -0.041302 | 0.0039152 | 0.00098125
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.092517 | 0.023561 | -0.092405 | -0.02349 | 0.00011168 | 7.0707e-05 | 0.14002 | 0.14002 | 0.14002 | 0.98415 | -0.30261 | 0.98285 | -0.32767 | 19.2332
1 | -0.10234 | -0.026022 | 0.10251 | 0.026133 | 0.00017601 | 0.00011165 | 0.15486 | 0.15486 | 0.15486 | 0.98415 | -0.30261 | 0.986 | -0.26697 | 21.2726
2 | 0.092405 | 0.02349 | -0.092318 | -0.023434 | 8.7524e-05 | 5.5865e-05 | 0.14002 | 0.14002 | 0.14002 | 0.98285 | -0.32767 | 0.98184 | -0.34736 | 38.4665
3 | -0.10251 | -0.026133 | 0.10265 | 0.02622 | 0.00013614 | 8.6357e-05 | 0.15486 | 0.15486 | 0.15486 | 0.986 | -0.26697 | 0.98743 | -0.2395 | 21.2726
4 | 0.092318 | 0.023434 | -0.092093 | -0.023291 | 0.00022456 | 0.00014333 | 0.14002 | 0.14002 | 0.14002 | 0.98184 | -0.34736 | 0.97923 | -0.39805 | 38.4665
5 | -0.15028 | -0.03818 | 0.15032 | 0.03821 | 4.651e-05 | 2.9643e-05 | 0.22664 | 0.22664 | 0.22664 | 0.98743 | -0.2395 | 0.98777 | -0.23307 | 31.1324
6 | 0.047627 | 0.01196 | -0.047594 | -0.011939 | 3.3372e-05 | 2.1137e-05 | 0.071781 | 0.071781 | 0.071781 | 0.98743 | -0.2395 | 0.98668 | -0.25419 | 19.72
7 | -0.016496 | -0.0041343 | 0.016498 | 0.0041352 | 1.436e-06 | 8.4447e-07 | 0.025244 | 0.025244 | 0.025244 | 0.97237 | -0.53271 | 0.97246 | -0.53088 | 6.9352
8 | 0.048057 | 0.01207 | -0.047991 | -0.012028 | 6.61e-05 | 4.19e-05 | 0.073545 | 0.073545 | 0.073545 | 0.97246 | -0.53088 | 0.971 | -0.55975 | 20.2046
9 | -0.064555 | -0.016205 | 0.064734 | 0.016319 | 0.00017885 | 0.00011385 | 0.098789 | 0.098789 | 0.098789 | 0.97246 | -0.53088 | 0.9754 | -0.47297 | 27.1398
10 | 0.088203 | 0.022316 | -0.088115 | -0.02226 | 8.7161e-05 | 5.562e-05 | 0.13411 | 0.13411 | 0.13411 | 0.97923 | -0.39805 | 0.97817 | -0.41867 | 36.8424
11 | 0.086169 | 0.021769 | -0.086113 | -0.021733 | 5.6572e-05 | 3.6091e-05 | 0.12987 | 0.12987 | 0.12987 | 0.98777 | -0.23307 | 0.98706 | -0.24678 | 35.6789
12 | -0.23649 | -0.059979 | 0.23677 | 0.060156 | 0.00027705 | 0.00017701 | 0.35652 | 0.35652 | 0.35652 | 0.98777 | -0.23307 | 0.98903 | -0.20873 | 48.9719
13 | 0.039548 | 0.0099228 | -0.039526 | -0.0099093 | 2.1487e-05 | 1.3546e-05 | 0.059647 | 0.059647 | 0.059647 | 0.98668 | -0.25419 | 0.98609 | -0.2656 | 16.3864
14 | -0.07087 | -0.017902 | 0.070892 | 0.017916 | 2.2148e-05 | 1.4109e-05 | 0.10692 | 0.10692 | 0.10692 | 0.98672 | -0.2533 | 0.98706 | -0.24678 | 29.3748
15 | 0.07087 | 0.017902 | -0.070792 | -0.017853 | 7.7667e-05 | 4.9476e-05 | 0.10692 | 0.10692 | 0.10692 | 0.98672 | -0.2533 | 0.98554 | -0.27619 | 29.3749
16 | 0.015221 | 0.0038171 | -0.015214 | -0.0038129 | 7.2407e-06 | 4.1656e-06 | 0.022947 | 0.022947 | 0.022947 | 0.98706 | -0.24678 | 0.98654 | -0.25676 | 6.3041
17 | 0.062914 | 0.015878 | -0.062864 | -0.015847 | 4.9727e-05 | 3.1638e-05 | 0.09503 | 0.09503 | 0.09503 | 0.98554 | -0.27619 | 0.98469 | -0.29271 | 26.1071
18 | 0.088115 | 0.02226 | -0.088015 | -0.022196 | 0.00010021 | 6.395e-05 | 0.13411 | 0.13411 | 0.13411 | 0.97817 | -0.41867 | 0.97696 | -0.44242 | 36.8424
19 | 0.075195 | 0.018983 | -0.075086 | -0.018913 | 0.00010986 | 7.0032e-05 | 0.11458 | 0.11458 | 0.11458 | 0.97696 | -0.44242 | 0.9754 | -0.47297 | 31.4782
20 | 0.0024282 | 0.00060848 | -0.0024282 | -0.00060856 | 4.0375e-08 | -7.8482e-08 | 0.0036463 | 0.0036463 | 0.0036463 | 0.99094 | -0.17284 | 0.99092 | -0.17319 | 1.0017
21 | 0.032034 | 0.008035 | -0.032026 | -0.0080301 | 7.8547e-06 | 4.9104e-06 | 0.048106 | 0.048106 | 0.048106 | 0.99094 | -0.17284 | 0.99067 | -0.17798 | 13.2158
22 | -0.034462 | -0.0086435 | 0.034482 | 0.0086556 | 1.9373e-05 | 1.215e-05 | 0.051752 | 0.051752 | 0.051752 | 0.99094 | -0.17284 | 0.99155 | -0.16105 | 14.2175
23 | 0.014867 | 0.0037273 | -0.014864 | -0.0037258 | 2.6749e-06 | 1.5278e-06 | 0.022331 | 0.022331 | 0.022331 | 0.99067 | -0.17798 | 0.99048 | -0.18176 | 6.1349
24 | 0.01716 | 0.0043028 | -0.017156 | -0.0043005 | 3.8341e-06 | 2.2557e-06 | 0.025775 | 0.025775 | 0.025775 | 0.99067 | -0.17798 | 0.99043 | -0.18267 | 7.081
25 | 0.067585 | 0.017201 | -0.067465 | -0.017125 | 0.00011988 | 7.6326e-05 | 0.10152 | 0.10152 | 0.10152 | 0.99155 | -0.16105 | 0.98963 | -0.19792 | 27.8898
26 | -0.10207 | -0.025857 | 0.10286 | 0.026365 | 0.00079631 | 0.00050846 | 0.15327 | 0.15327 | 0.15327 | 0.99155 | -0.16105 | 1 | 0 | 42.1072
27 | -0.24328 | -0.061787 | 0.24408 | 0.062303 | 0.00080772 | 0.00051611 | 0.3663 | 0.3663 | 0.3663 | 0.98903 | -0.20873 | 0.99262 | -0.14 | 50.3165
28 | 0.0026136 | 0.00065488 | -0.0026135 | -0.000655 | 7.5881e-08 | -1.2002e-07 | 0.0039284 | 0.0039284 | 0.0039284 | 0.98997 | -0.19169 | 0.98994 | -0.1923 | 1.0792
29 | -0.0026136 | -0.00065488 | 0.0026137 | 0.00065464 | 1.5535e-07 | -2.4575e-07 | 0.0039284 | 0.0039283 | 0.0039284 | 0.98997 | -0.19169 | 0.99003 | -0.19044 | 1.0792
30 | 0.0077667 | 0.0019465 | -0.0077666 | -0.0019464 | 8.6461e-08 | 3.3577e-08 | 0.011673 | 0.011673 | 0.011673 | 0.99003 | -0.19044 | 0.99002 | -0.19067 | 3.2069
31 | -0.01038 | -0.0026011 | 0.010382 | 0.0026019 | 1.5268e-06 | 7.6204e-07 | 0.015602 | 0.015601 | 0.015602 | 0.99003 | -0.19044 | 0.99019 | -0.18735 | 4.2861
32 | 0.018854 | 0.0047301 | -0.018844 | -0.004724 | 1.0316e-05 | 6.1504e-06 | 0.028151 | 0.028151 | 0.028151 | 0.99667 | -0.062981 | 0.99607 | -0.074464 | 7.7338
33 | -0.27163 | -0.069575 | 0.27247 | 0.070107 | 0.00083164 | 0.00053155 | 0.40608 | 0.40608 | 0.40608 | 0.99667 | -0.062981 | 1 | 0 | 55.7801
34 | 0.25278 | 0.064845 | -0.25232 | -0.064551 | 0.00046018 | 0.00029407 | 0.37793 | 0.37793 | 0.37793 | 0.99667 | -0.062981 | 0.99468 | -0.10058 | 51.9133
35 | 0.015073 | 0.003779 | -0.015069 | -0.0037768 | 3.8586e-06 | 2.2054e-06 | 0.022518 | 0.022518 | 0.022518 | 0.99607 | -0.074464 | 0.99579 | -0.079838 | 6.1863
36 | 0.030721 | 0.0077163 | -0.030676 | -0.0076884 | 4.475e-05 | 2.7892e-05 | 0.045719 | 0.045719 | 0.045719 | 1 | 0 | 0.99841 | -0.030573 | 12.5602
37 | 0.24836 | 0.063558 | -0.24788 | -0.063255 | 0.00047297 | 0.00030223 | 0.372 | 0.372 | 0.372 | 0.99468 | -0.10058 | 0.99262 | -0.14 | 51.0991
38 | 0.0099869 | 0.0025033 | -0.0099836 | -0.0025016 | 3.3665e-06 | 1.6248e-06 | 0.014884 | 0.014885 | 0.014885 | 0.99841 | -0.030573 | 0.99804 | -0.03765 | 4.0892
39 | 0.0043884 | 0.0010998 | -0.0043883 | -0.0010998 | 1.5297e-07 | -2.2887e-08 | 0.0065928 | 0.0065928 | 0.0065928 | 0.99048 | -0.18176 | 0.99044 | -0.18249 | 1.8112
40 | 0.010476 | 0.002626 | -0.010474 | -0.0026252 | 1.7373e-06 | 8.7116e-07 | 0.015738 | 0.015738 | 0.015738 | 0.99048 | -0.18176 | 0.9903 | -0.18524 | 4.3237
41 | 0.013993 | 0.0035078 | -0.013989 | -0.003506 | 3.1186e-06 | 1.7538e-06 | 0.021023 | 0.021023 | 0.021023 | 0.99043 | -0.18267 | 0.99019 | -0.18735 | 5.7755
42 | 0.057705 | 0.014679 | -0.057637 | -0.014635 | 6.8084e-05 | 4.3265e-05 | 0.086843 | 0.086844 | 0.086844 | 0.98963 | -0.19792 | 0.98835 | -0.22243 | 23.8581
43 | 0.0077666 | 0.0019464 | -0.0077659 | -0.0019462 | 6.818e-07 | 2.648e-07 | 0.011673 | 0.011673 | 0.011673 | 0.99002 | -0.19067 | 0.98993 | -0.19252 | 3.207
44 | 0.010474 | 0.0026252 | -0.010473 | -0.0026245 | 1.2973e-06 | 6.5058e-07 | 0.015738 | 0.015738 | 0.015738 | 0.9903 | -0.18524 | 0.99017 | -0.18784 | 4.3237
45 | 0.0071715 | 0.0017972 | -0.0071707 | -0.0017969 | 8.2034e-07 | 2.8279e-07 | 0.010777 | 0.010777 | 0.010777 | 0.99017 | -0.18784 | 0.99004 | -0.19024 | 2.9608
46 | -0.0036383 | -0.00091172 | 0.0036383 | 0.00091172 | 1.6653e-08 | -8.4357e-09 | 0.0054686 | 0.0054686 | 0.0054686 | 0.98998 | -0.19143 | 0.98999 | -0.19133 | 1.5024
47 | 0.0036383 | 0.00091172 | -0.0036381 | -0.0009118 | 1.5433e-07 | -7.8165e-08 | 0.0054686 | 0.0054686 | 0.0054686 | 0.98998 | -0.19143 | 0.98994 | -0.19232 | 1.5024
48 | -0.0036383 | -0.00091172 | 0.0036385 | 0.00091162 | 1.8881e-07 | -9.5655e-08 | 0.0054686 | 0.0054685 | 0.0054686 | 0.98999 | -0.19133 | 0.99004 | -0.19024 | 1.5024
49 | -0.049829 | -0.012585 | 0.049879 | 0.012617 | 4.9723e-05 | 3.1527e-05 | 0.075454 | 0.075454 | 0.075454 | 0.98312 | -0.32354 | 0.98419 | -0.30274 | 20.7292
50 | 0.049829 | 0.012585 | -0.049716 | -0.012513 | 0.00011357 | 7.2012e-05 | 0.075454 | 0.075455 | 0.075455 | 0.98312 | -0.32354 | 0.98068 | -0.37122 | 20.7293
51 | -0.049879 | -0.012617 | 0.050072 | 0.012739 | 0.00019299 | 0.00012236 | 0.075454 | 0.075454 | 0.075454 | 0.98419 | -0.30274 | 0.98835 | -0.22243 | 20.7292
52 | 0.044147 | 0.011118 | -0.044106 | -0.011092 | 4.1144e-05 | 2.6024e-05 | 0.067005 | 0.067005 | 0.067005 | 0.98068 | -0.37122 | 0.97968 | -0.39073 | 18.4079
53 | -0.054907 | -0.013823 | 0.054983 | 0.013871 | 7.6397e-05 | 4.852e-05 | 0.083121 | 0.08312 | 0.083121 | 0.9832 | -0.32177 | 0.98469 | -0.29271 | 22.8353
54 | 0.054907 | 0.013823 | -0.054873 | -0.013801 | 3.3919e-05 | 2.1542e-05 | 0.083121 | 0.083121 | 0.083121 | 0.9832 | -0.32177 | 0.98253 | -0.3347 | 22.8353
55 | 0.039227 | 0.0098801 | -0.039138 | -0.0098244 | 8.8375e-05 | 5.5717e-05 | 0.059425 | 0.059426 | 0.059426 | 0.98253 | -0.3347 | 0.98012 | -0.38193 | 16.3258
56 | 0.031509 | 0.0078998 | -0.031501 | -0.0078949 | 7.9268e-06 | 4.9539e-06 | 0.047548 | 0.047548 | 0.047548 | 0.98609 | -0.2656 | 0.98582 | -0.27088 | 13.0626
57 | 0.0025811 | 0.00064686 | -0.0025811 | -0.00064689 | 1.5672e-08 | -2.5737e-08 | 0.0038778 | 0.0038778 | 0.0038778 | 0.99044 | -0.18249 | 0.99044 | -0.18262 | 1.0653
58 | 0.039138 | 0.0098244 | -0.039122 | -0.0098143 | 1.6059e-05 | 1.0125e-05 | 0.059426 | 0.059426 | 0.059426 | 0.98012 | -0.38193 | 0.97968 | -0.39053 | 16.3258
59 | 0.02496 | 0.0062648 | -0.024936 | -0.0062503 | 2.3483e-05 | 1.4481e-05 | 0.037914 | 0.037914 | 0.037914 | 0.97968 | -0.39053 | 0.97867 | -0.41028 | 10.4161
60 | -0.0039623 | -0.00099305 | 0.0039624 | 0.00099302 | 9.8923e-08 | -3.227e-08 | 0.0059564 | 0.0059564 | 0.0059564 | 0.98986 | -0.19385 | 0.98988 | -0.19333 | 1.6364
61 | -0.0039624 | -0.00099302 | 0.0039626 | 0.00099297 | 1.5376e-07 | -5.0171e-08 | 0.0059564 | 0.0059563 | 0.0059564 | 0.98988 | -0.19333 | 0.98993 | -0.19252 | 1.6364
62 | 0.0060677 | 0.0015207 | -0.0060664 | -0.0015204 | 1.2264e-06 | 2.6281e-07 | 0.0090465 | 0.0090467 | 0.0090467 | 0.99804 | -0.03765 | 0.99782 | -0.041894 | 2.4853
63 | 0.0039159 | 0.00098099 | -0.0039152 | -0.00098125 | 6.8108e-07 | -2.6028e-07 | 0.0058382 | 0.0058384 | 0.0058384 | 0.99804 | -0.03765 | 0.99785 | -0.041302 | 1.604
64 | 0.038707 | 0.0097386 | -0.038642 | -0.0096979 | 6.4533e-05 | 4.0675e-05 | 0.058804 | 0.058804 | 0.058804 | 0.97968 | -0.39073 | 0.97789 | -0.42568 | 16.1551
65 | 0.0079987 | 0.0020047 | -0.0079983 | -0.0020046 | 3.4186e-07 | 1.3906e-07 | 0.012073 | 0.012073 | 0.012073 | 0.98582 | -0.27088 | 0.98577 | -0.27177 | 3.3169
66 | -0.010472 | -0.0026246 | 0.010475 | 0.0026263 | 3.3505e-06 | 1.7056e-06 | 0.015961 | 0.015961 | 0.015961 | 0.9763 | -0.45702 | 0.97664 | -0.45031 | 4.3849
67 | -0.022373 | -0.0056081 | 0.022384 | 0.0056149 | 1.1113e-05 | 6.7932e-06 | 0.034088 | 0.034088 | 0.034088 | 0.97664 | -0.45031 | 0.97717 | -0.43989 | 9.3649
68 | 0.014129 | 0.0035418 | -0.014128 | -0.003541 | 1.4557e-06 | 8.2597e-07 | 0.021483 | 0.021483 | 0.021483 | 0.97867 | -0.41028 | 0.97856 | -0.41244 | 5.902
69 | 0.010577 | 0.002651 | -0.010576 | -0.0026506 | 8.6694e-07 | 4.4257e-07 | 0.016083 | 0.016083 | 0.016083 | 0.97856 | -0.41244 | 0.97847 | -0.41416 | 4.4185
70 | -0.033002 | -0.008276 | 0.033025 | 0.00829 | 2.2358e-05 | 1.4013e-05 | 0.050257 | 0.050257 | 0.050257 | 0.97717 | -0.43989 | 0.97789 | -0.42568 | 13.8069

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4077 | 0.10419

## res_load
| p_mw | q_mvar
0 | 0.0098196 | 0.002461
1 | 0.016496 | 0.0041343
2 | 0.0038905 | 0.00097505
3 | 0.0080459 | 0.0020165
4 | 0.0078781 | 0.0019744
5 | 0.01282 | 0.0032129
6 | 0.0024282 | 0.00060856
7 | 0.0065066 | 0.0016307
8 | 0.0026135 | 0.000655
9 | 0.0037707 | 0.00094502
10 | 0.0039624 | 0.00099308
11 | 0.020689 | 0.0051851
12 | 0.015214 | 0.0038129
13 | 0.0031631 | 0.00079276
14 | 0.0097601 | 0.0024461
15 | 0.0036075 | 0.00090413
16 | 0.0033012 | 0.00082736
17 | 0.0036381 | 0.0009118
18 | 0.0055689 | 0.0013957
19 | 0.0075652 | 0.001896
20 | 0.007881 | 0.0019752
21 | 0.015646 | 0.0039212
22 | 0.047991 | 0.012028
23 | 0.010352 | 0.0025944
24 | 0.0080177 | 0.0020094
25 | 0.0018071 | 0.00045291
26 | 0.014163 | 0.0035495
27 | 0.0038006 | 0.00095252
28 | 0.015069 | 0.0037768
29 | 0.0039623 | 0.00099305
30 | 0.0038034 | 0.00095321
31 | 0.0035322 | 0.00088525
32 | 0.005399 | 0.0013531
33 | 0.023502 | 0.0058902
34 | 0.0079983 | 0.0020046
35 | 0.010472 | 0.0026246
36 | 0.011898 | 0.0029819
37 | 0.010807 | 0.0027085
38 | 0.0035512 | 0.00089002
39 | 0.010576 | 0.0026506
40 | 0.0025811 | 0.00064689
41 | 0.010618 | 0.0026611
42 | 0.0056173 | 0.0014078
43 | 0.0060664 | 0.0015204
44 | 0.0039152 | 0.00098125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1